## Panel Errors
Panel Errors
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.2
Controls DE
Phone:
Controls ME
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
FLOATING | PANEL | SC | WHT | 008552 | 20 | 99.B5 | AF0085:52 | A | 99.B7
FLOATING | PANEL | SC | WHT | 008650 | 20 | 99.B5 | AF0086:50 | A | 99.A7
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 11/25/2025 1:41 PM

## DOOR_S
CONTROL,JB70;TT6
DOOR
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.3
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:NEG | -0V | WHT | 14 | 180 | XT0111:22 | JB70 R RAIL | AT1100
AT1100:POS | FU1100 | WHT | 14 | 220 | FU1100:LD | B
SA0471:B1-13 | SA0471B113 | WHT | 20 | 240 | AF0087:40 | A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 240 | AF0087:08 | A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 240 | AF0087:39 | A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 240 | AF0087:07 | A
SA0473:11 | SA047311 | WHT | 20 | 240 | AF0087:37 | A | SA0473
SA0473:12 | SA047312 | WHT | 20 | 240 | AF0087:05 | A
SA0473:13 | SA047313 | WHT | 20 | 240 | AF0087:38 | A
SA0473:14 | SA047314 | WHT | 20 | 240 | AF0087:06 | A
SA0474:B1-13 | SA0474B113 | WHT | 20 | 240 | AF0087:45 | A | SA0474
SA0474:B1-14 | SA0474B114 | WHT | 20 | 240 | AF0087:13 | A
SA0474:B2-13 | SA0474B213 | WHT | 20 | 240 | AF0087:44 | A
SA0474:B2-14 | SA0474B214 | WHT | 20 | 240 | AF0087:12 | A
SB0471:11 | SB047111 | WHT | 20 | 240 | AF0087:34 | A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 240 | AF0087:02 | A
SB0472:B1-12 | ESTOPA | WHT | 20 | 180 | XT0111:20 | JB70 R RAIL | SB0472
SB0472:B1-11 | ESTOPB | WHT | 20 | 180 | XT0111:19 | JB70 R RAIL
SB0472:B2-11 | SB0472B211 | WHT | 20 | 240 | AF0081:36 | A
SB0472:B2-12 | SB0472B212 | WHT | 20 | 240 | AF0081:04 | A
SB0473:13 | SB047313 | WHT | 20 | 240 | AF0087:35 | A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 240 | AF0087:03 | A
SB0474:13 | SB047413 | WHT | 20 | 240 | AF0087:36 | A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 240 | AF0087:04 | A
SH0470:11 | SH047011 | WHT | 20 | 180 | XT0111:7 | JB70 R RAIL | SH0470
SH0470:12 | SH047012 | WHT | 20 | 180 | XT0111:8 | JB70 R RAIL
SH0470:13 | SH047013 | WHT | 20 | 180 | XT0111:9 | JB70 R RAIL
SH0470:14 | SH047014 | WHT | 20 | 180 | XT0111:10 | JB70 R RAIL
SH0470:X1 | SH0470X1 | WHT | 20 | 180 | XT0111:12 | JB70 R RAIL
SH0470:X2 | SH0470X2 | WHT | 20 | 180 | XT0111:11 | JB70 R RAIL
SH0471:11 | SH047111 | WHT | 20 | 180 | XT0111:1 | JB70 R RAIL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 180 | XT0111:2 | JB70 R RAIL
SH0471:13 | SH047113 | WHT | 20 | 180 | XT0111:3 | JB70 R RAIL
SH0471:14 | SH047114 | WHT | 20 | 180 | XT0111:4 | JB70 R RAIL
SH0471:X1 | SH0471X1 | WHT | 20 | 180 | XT0111:6 | JB70 R RAIL
SH0471:X2 | SH0471X2 | WHT | 20 | 180 | XT0111:5 | JB70 R RAIL
SH0472:13 | FU0139 | WHT | 20 | 180 | XT0111:15 | JB70 R RAIL | SH0472
SH0472:14 | KA0241A1 | WHT | 20 | 180 | XT0111:16 | JB70 R RAIL
SH0472:11 | SH047211 | WHT | 20 | 180 | XT0111:13 | JB70 R RAIL
SH0472:12 | SH047212 | WHT | 20 | 180 | XT0111:14 | JB70 R RAIL
SH0472:X1 | SH0472X1 | WHT | 20 | 180 | XT0111:18 | JB70 R RAIL
SH0472:X2 | SH0472X2 | WHT | 20 | 180 | XT0111:17 | JB70 R RAIL

## JB70 L RAIL_S
JB70 LEFT RAIL
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.3
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UAI6321:8 | -008504 | WHT | 20 | 140 | AF0085:04 | A | UAI-A
UAI6321:7 | -008536 | WHT | 20 | 140 | AF0085:36 | A
UAI6320:8 | -008602 | WHT | 20 | 140 | AF0086:02 | A
UAI6320:7 | -008634 | WHT | 20 | 140 | AF0086:34 | A

## JB70 R RAIL_S
JB70 RIGHT RAIL
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.3
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
XT0111:20 | ESTOPA | WHT | 20 | 240 | XT0089:4 | A | XT-A
XT0111:19 | ESTOPB | WHT | 20 | 240 | XT0089:3 | A
XT0111:15 | FU0139 | WHT | 20 | 240 | XT0081:6 | A
XT0111:24 | HA047201 | WHT | 20 | 240 | AF0092:28 | A
XT0111:23 | HA047202 | WHT | 20 | 240 | AF0092:12 | A
XT0111:16 | KA0241A1 | WHT | 20 | 240 | XT0081:7 | A
XT0111:7 | SH047011 | WHT | 20 | 240 | AF0087:33 | A
XT0111:8 | SH047012 | WHT | 20 | 240 | AF0087:01 | A
XT0111:12 | SH0470X1 | WHT | 20 | 240 | AF0093:22 | A
XT0111:11 | SH0470X2 | WHT | 20 | 240 | AF0093:06 | A
XT0111:3 | SH047113 | WHT | 20 | 240 | AF0087:32 | A
XT0111:4 | SH047114 | WHT | 20 | 240 | AF0087:00 | A
XT0111:6 | SH0471X1 | WHT | 20 | 240 | AF0093:31 | A
XT0111:5 | SH0471X2 | WHT | 20 | 240 | AF0093:15 | A
XT0111:18 | SH0472X1 | WHT | 20 | 240 | AF0092:29 | A
XT0111:17 | SH0472X2 | WHT | 20 | 240 | AF0092:13 | A
XT0111:17 | SH0472X2 | WHT | 20 | 240 | KA0240:21 | A
XT0111:22 | -0V | WHT | 14 | 240 | XT0003:6 | A
XT0111:21 | FU0136 | WHT | 14 | 240 | XT0002:6 | A
XT0111:22 | -0V | WHT | 16 | 200 | UV0291:24V(-) | B | XT-B
XT0111:21 | FU0136 | WHT | 14 | 200 | FU0291:LI | B
XT0111:21 | FU0136 | WHT | 14 | 200 | FU1100:LI | B

## PLC_S
PLC
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.3
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UV0600:(-) | -0V | WHT | 14 | 80 | XT0003:4 | A | BA/UV-A
BA1300:V1(-) | -0V | WHT | 14 | 80 | XT0003:6 | A
BA1300:V1(+) | FU0136 | WHT | 14 | 80 | XT0002:6 | A
AT0680:NEG | -0V | WHT | 14 | 80 | XT0680:2 | B | AT-B
AT0680:POS | AT0680POS | WHT | 14 | 80 | XT0680:1 | B
BA0001:V1(-) | -0V | WHT | 16 | 80 | XT0051:5 | B | BA/UV-B
BA0002:V1(-) | -0V | WHT | 16 | 80 | XT0051:6 | B
BA0009:V1(-) | -0V | WHT | 16 | 80 | XT0051:7 | B
BA0001:V1(+) | FU0021 | WHT | 16 | 80 | FU0021:LD | B
BA0002:V1(+) | FU0022 | WHT | 16 | 80 | FU0022:LD | B
BA0009:V1(+) | FU0029 | WHT | 16 | 80 | FU0029:LD | B
UV0600:(+) | FU0010 | WHT | 14 | 80 | FU0010:LD | B

## A_S
CONTROL A
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.3
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0081:00 | UA1200J21 | WHT | 20 | 80 | XT0089:20 | A | AF/AU080s
AF0083:V+ | AF0083P | WHT | 16 | 60 | AF0084:V+ | A
AF0083:COM | AF0083N | WHT | 16 | 60 | AF0084:COM | A
AF0092:COM | -0V | WHT | 16 | 60 | XT0080:3 | A | AF/AU090s
AF0093:COM | -0V | WHT | 16 | 80 | XT0080:4 | A
AF0095:COM | -0V | WHT | 16 | 80 | XT0080:5 | A
AU0080:COM | -0V | WHT | 16 | 60 | XT0080:1 | A
AU0090:COM | -0V | WHT | 16 | 60 | XT0080:3 | A
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | A
AF0091:V+ | AF0091P | WHT | 16 | 60 | AF0094:V+ | A
AU0080:V+ | FU0081 | WHT | 16 | 60 | FU0081:LD | A
AU0090:V+ | FU0090 | WHT | 16 | 60 | FU0090:LD | A
AF0092:V+ | FU0091 | WHT | 16 | 60 | FU0091:LD | A
AF0093:V+ | FU0092 | WHT | 16 | 60 | FU0092:LD | A
AF0095:V+ | FU0093 | WHT | 16 | 60 | FU0093:LD | A
AF0094:05 | -0V | WHT | 14 | 60 | XT0003:5 | A
AF0094:07 | -0V | WHT | 14 | 60 | XT0003:5 | A
FU0389:LD | FU0389 | WHT | 16 | 60 | XT0089:21 | A | FU
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0080:LD | A
FU0081:LI | FU0080 | WHT | 14 | 80 | FU0090:LI | A
FU0137:LI | FU0136 | WHT | 14 | 60 | XT0002:2 | A
FU0139:LD | FU0139 | WHT | 14 | 60 | XT0081:1 | A
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0137:LD | A
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0139:LI | A
KA0239:A1 | ESTOP | WHT | 20 | 60 | KA0240:A1 | A | KA A1
KA0130:A1 | KA0130A1 | WHT | 20 | 80 | AF0081:35 | A
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | KA0130:11 | A
KA0131:A1 | KA0131A1 | WHT | 20 | 60 | KA0242:14 | A
KA0132:A1 | KA0131A1 | WHT | 20 | 60 | KA0141:A1 | A
KA0133:A1 | KA0133A1 | WHT | 20 | 100 | AF0092:02 | A
KA0134:A1 | KA0134A1 | WHT | 20 | 100 | AF0091:12 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 80 | XT0089:23 | A
KA0241:A1 | KA0241A1 | WHT | 20 | 60 | XT0081:7 | A
KA2160:A1 | KA2160A1 | WHT | 20 | 60 | AF0092:04 | A
KA2161:A1 | KA2161A1 | WHT | 20 | 60 | AF0092:07 | A
KA3103:A1 | KA3103A1 | WHT | 20 | 120 | AF0092:08 | A
KA0243:A1 | KA9982C | WHT | 20 | 60 | XT0089:10 | A
KA0245:A1 | KA9984C | WHT | 20 | 60 | XT0089:11 | A
KA0136:A1 | PS32002 | WHT | 20 | 60 | XT0089:14 | A
KA0133:A2 | -0V | WHT | 20 | 60 | KA0136:A2 | A | KA A2
KA0135:A2 | -0V | WHT | 20 | 60 | KA0137:A2 | A
KA0136:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | A
KA0239:A2 | -0V | WHT | 20 | 60 | KA0240:A2 | A
KA0241:A2 | -0V | WHT | 20 | 80 | XT0080:9 | A
KA0243:A2 | -0V | WHT | 20 | 80 | XT0080:8 | A
KA0131:A2 | KA0131A2 | WHT | 20 | 60 | AF0081:24 | A
KA0132:A2 | KA0131A2 | WHT | 20 | 60 | KA0141:A2 | A
KA2160:A2 | KA2160A2 | WHT | 20 | 60 | AF0092:20 | A
KA2161:A2 | KA2161A2 | WHT | 20 | 60 | AF0092:23 | A
KA3103:A2 | KA3103A2 | WHT | 20 | 140 | AF0092:24 | A
KA0243:24 | ESTOPD | WHT | 20 | 60 | XT0089:1 | A | KA
KA0132:11 | FU0139 | WHT | 20 | 60 | XT0081:1 | A
KA0134:11 | FU0139 | WHT | 20 | 60 | KA0136:11 | A
KA0137:21 | FU0139 | WHT | 20 | 60 | KA0244:11 | A
KA0244:11 | FU0139 | WHT | 20 | 60 | XT0081:2 | A
KA0130:14 | KA013014 | WHT | 20 | 60 | AF0081:03 | A
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | A
KA0137:24 | KA013112 | WHT | 20 | 80 | AF0087:09 | A
KA0131:14 | KA013114 | WHT | 20 | 100 | AF0092:06 | A
KA0242:14 | KA0131A1 | WHT | 20 | 60 | KA0231:14 | A
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | A
KA0131:11 | KA0135A1 | WHT | 20 | 60 | KA0135:A1 | A
KA0136:21 | KA013621 | WHT | 20 | 80 | AF0087:43 | A
KA0136:24 | KA013624 | WHT | 20 | 80 | AF0087:11 | A
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | A
KA0132:21 | KA0138A1 | WHT | 20 | 60 | KA0138:A1 | A
KA0141:11 | KA014111 | WHT | 20 | 100 | AF0091:39 | A
KA0141:14 | KA014114 | WHT | 20 | 100 | AF0091:07 | A
KA0141:24 | KA014124 | WHT | 20 | 80 | AF0081:40 | A
KA0141:24 | KA014124 | WHT | 20 | 60 | KA0241:24 | A
KA0231:24 | KA023124 | WHT | 20 | 60 | KA0245:21 | A
KA0239:11 | KA023911 | WHT | 20 | 80 | AF0081:41 | A
KA0239:14 | KA023914 | WHT | 20 | 80 | AF0081:09 | A
KA0240:22 | KA024022 | WHT | 20 | 100 | AF0092:45 | A
KA0236:24 | KA024114 | WHT | 20 | 60 | KA0241:14 | A
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:21 | A
KA0239:21 | KA024224 | WHT | 20 | 60 | KA0242:24 | A
KA0243:11 | KA024311 | WHT | 20 | 80 | AF0081:33 | A
KA0243:14 | KA024314 | WHT | 20 | 80 | AF0081:01 | A
KA0245:11 | KA024511 | WHT | 20 | 80 | AF0081:34 | A
KA0245:14 | KA024514 | WHT | 20 | 80 | AF0081:02 | A
KA0243:21 | KA024524 | WHT | 20 | 60 | KA0245:24 | A
KA0138:11 | KM3170EP | WHT | 20 | 80 | XT0080:11 | A
KA0132:12 | KT014315 | WHT | 20 | 60 | KA0133:12 | A
KA0242:11 | KT014618 | WHT | 20 | 60 | KA0231:11 | A
KA0141:21 | KT0146A1 | WHT | 20 | 60 | KA0241:21 | A
KA0240:11 | PS32004 | WHT | 20 | 60 | XT0089:15 | A
KA0236:21 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | A
KA0241:11 | UA1200J21 | WHT | 20 | 60 | XT0089:20 | A
KA0240:14 | UF1300 | WHT | 20 | 60 | XT0084:1 | A
KA0138:14 | FU0388 | WHT | 16 | 60 | FU0388:LD | A
KA0242:21 | KA024221 | WHT | 16 | 60 | XT0237:1 T2 | A
KT0140:A2 | -0V | WHT | 20 | 80 | XT0080:6 | A | KT L/S
KT0142:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | A
KT0143:A2 | -0V | WHT | 20 | 60 | KA0134:A2 | A
KT0143:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | A
KT0144:A2 | -0V | WHT | 20 | 60 | KA0133:A2 | A
KT0145:A2 | -0V | WHT | 20 | 60 | KA0135:A2 | A
KT0145:A2 | -0V | WHT | 20 | 80 | XT0080:7 | A
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0132:22 | A
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0137:14 | A
KT0144:18 | KA013222 | WHT | 20 | 60 | KA0137:14 | A
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KA0137:A1 | A
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KT0142:18 | A
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | A
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | A
KT0146:18 | KT014618 | WHT | 20 | 80 | AF0081:08 | A
KT0146:18 | KT014618 | WHT | 20 | 60 | KA0242:11 | A
KT0140:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | A | KT R/S
KT0142:15 | FU0139 | WHT | 20 | 60 | KA0137:21 | A
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0145:15 | A
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0134:11 | A
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | A
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0133:11 | A
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0136:11 | A
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | A
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0143:15 | A
KT0142:A1 | KT014315 | WHT | 20 | 60 | KA0132:12 | A
KT0144:B1 | KT0144B1 | WHT | 20 | 60 | KA0138:24 | A
KT0145:A1 | KT0145A1 | WHT | 20 | 60 | KA0244:12 | A
KT0146:A1 | KT0146A1 | WHT | 20 | 60 | KA0141:21 | A
UA1200:J1-9 | -0V | WHT | 20 | 120 | XT0089:22 | A | UA1200
UA1200:J1-10 | FU0389 | WHT | 20 | 120 | XT0089:21 | A
UA1200:J2-2 | FU0389 | WHT | 20 | 120 | XT0089:21 | A
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | A
UA1200:J1-5 | UA1200J15 | WHT | 20 | 140 | XT0237:1 B1 | A
UA1200:J2-1 | UA1200J21 | WHT | 20 | 120 | XT0089:20 | A
UA1200:J2-6 | UA1200J26 | WHT | 20 | 120 | KA0130:A2 | A
UA1200:J2-7 | UA1200J27 | WHT | 20 | 100 | AF0081:19 | A
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 140 | AF0094:06 | A | UJ0131
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 120 | AF0091:41 | A
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 120 | AF0091:09 | A
UJ0131:VIN | UJ0131VIN | WHT | 20 | 140 | AF0094:04 | A
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | A
XT0081:3 | FU0139 | WHT | 20 | 60 | XT0089:12 | A | XT
XT0081:4 | FU0139 | WHT | 20 | 60 | XT0089:13 | A
XT0089:22 | -0V | WHT | 16 | 60 | XT0082:4 | A
XT0081:1 | FU0139 | WHT | 16 | 80 | XT0089:17 | A
XT0080:1 | -0V | WHT | 14 | 60 | XT0082:2 | A
XT0080:6 | -0V | WHT | 14 | 80 | XT0089:19 | A
XT0082:2 | -0V | WHT | 14 | 60 | XT0080:6 | A
XT0003:2 | -0V | WHT | 12 | 60 | XT0082:1 | A
AF0093:12 | -009312 | WHT | 20 | 160 | PC0470:INP_A | B | AF-B
AF0093:28 | -009328 | WHT | 20 | 160 | PC0470:-PWR | B
AF0093:44 | -009344 | WHT | 20 | 160 | PC0470:+PWR | B
AF0095:02 | -009502 | WHT | 20 | 160 | KA0221:14 | B
KA0236:A2 | -0V | WHT | 20 | 160 | KA0237:A2 | B | KA-B
KA0236:A2 | -0V | WHT | 20 | 160 | KA0235:A2 | B
KA0239:A2 | -0V | WHT | 20 | 160 | KA0237:A2 | B
KA0240:A2 | -0V | WHT | 20 | 160 | KA0251:A2 | B
KA0242:A2 | -0V | WHT | 20 | 160 | KA0235:A2 | B
KA0236:A1 | ESTOP | WHT | 20 | 160 | KA0235:A1 | B
KA0236:A1 | ESTOP | WHT | 20 | 160 | KA0237:A1 | B
KA0239:A1 | ESTOP | WHT | 20 | 160 | KA0237:A1 | B
KA0240:A1 | ESTOP | WHT | 20 | 160 | KA0251:A1 | B
KA0232:A1 | KA0131A1 | WHT | 20 | 160 | KA0233:A1 | B
KA0232:A2 | KA0131A2 | WHT | 20 | 160 | KA0233:A2 | B
KA0134:A1 | KA0134A1 | WHT | 20 | 160 | AF0067:12 | B
KA0239:22 | FU0212LD | WHT | 16 | 160 | FU0212:LD | B
KT0146:15 | KT014615 | WHT | 20 | 160 | AF0076:10 | B | KT-B
KT0146:A2 | KT0146A2 | WHT | 20 | 160 | AF0076:29 | B
KT0146:B1 | KT0146B1 | WHT | 20 | 160 | AF0076:13 | B
UA1200:J1-4 | UA1200J14 | WHT | 20 | 180 | AF0076:11 | B | UA1200-B
XT0089:18 | -007405 | WHT | 20 | 160 | AF0074:05 | B | XT-B
XT0237:1 B2 | -007612 | WHT | 20 | 160 | AF0076:12 | B
XT0089:5 | ESTOP | WHT | 20 | 160 | KA0235:A1 | B
XT0089:6 | ESTOP | WHT | 20 | 160 | KA0251:A1 | B
XT0089:8 | KA0131A1 | WHT | 20 | 160 | KA0234:A1 | B
XT0003:1 | -0V | WHT | 14 | 160 | XT0062:1 | B
XT0003:3 | -0V | WHT | 14 | 160 | XT0401:1 | B
XT0003:7 | -0V | WHT | 14 | 160 | XT0051:5 | B
XT0089:19 | -0V | WHT | 14 | 160 | AF0074:21 | B
XT0002:1 | FU0136 | WHT | 14 | 160 | FU0210:LI | B
XT0002:3 | FU0136 | WHT | 14 | 160 | FU0410:LI | B
XT0002:4 | FU0136 | WHT | 14 | 160 | FU0010:LI | B
XT0002:7 | FU0136 | WHT | 14 | 160 | XT0051:1 | B

## B_S
CONTROL B
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.3
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0061:COM | -0V | WHT | 16 | 100 | XT0060:2 | B | AF/AU060s
AF0062:COM | -0V | WHT | 16 | 100 | XT0060:3 | B
AF0067:COM | -0V | WHT | 16 | 80 | XT0060:3 | B
AU0060:COM | -0V | WHT | 16 | 100 | XT0060:2 | B
AF0066:COM | AF0066N | WHT | 16 | 60 | AF0068:COM | B
AF0066:V+ | AF0066P | WHT | 16 | 60 | AF0068:V+ | B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | B
AU0060:V+ | FU0061 | WHT | 16 | 60 | FU0061:LD | B
AF0061:V+ | FU0062 | WHT | 16 | 60 | FU0062:LD | B
AF0062:V+ | FU0063 | WHT | 16 | 60 | FU0063:LD | B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | B
AF0076:COM | -0V | WHT | 16 | 80 | XT0060:4 | B | AF/AU070s
AU0070:COM | -0V | WHT | 16 | 60 | XT0060:4 | B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | B
AF0076:V+ | FU0076 | WHT | 16 | 80 | FU0076:LD | B
AF0410:53 | -0V | WHT | 16 | 60 | XT0401:2 | B | 1444s
AF0410:54 | -0V | WHT | 16 | 60 | AF0420:53 | B
AF0420:54 | -0V | WHT | 16 | 60 | AF0430:53 | B
AF0430:54 | -0V | WHT | 16 | 60 | AF0450:53 | B
AF0410:55 | FU0410 | WHT | 16 | 60 | FU0410:LD | B
AF0410:56 | FU0410 | WHT | 16 | 60 | AF0420:55 | B
AF0420:56 | FU0410 | WHT | 16 | 60 | AF0430:55 | B
AF0430:56 | FU0410 | WHT | 16 | 60 | AF0450:55 | B
BA1100:POS | FU1101LD | WHT | 16 | 60 | FU1101:LD | B | BA
BA1100:NEG | UV0291OUT1(-) | WHT | 16 | 60 | XT0291:6 | B
FU0021:LI | FU0136 | WHT | 16 | 60 | XT0051:1 | B | FU
FU0022:LI | FU0136 | WHT | 16 | 60 | XT0051:2 | B
FU0029:LI | FU0136 | WHT | 16 | 60 | XT0051:3 | B
FU1101:LI | UV0291OUT1(+) | WHT | 16 | 60 | XT0291:2 | B
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | B
FU0061:LI | FU0060 | WHT | 14 | 60 | FU0060:LD | B
FU0064:LI | FU0060 | WHT | 14 | 80 | FU0070:LI | B
FU0680:LI | FU0136 | WHT | 14 | 60 | XT0051:4 | B
FU0060:LI | FU0210 | WHT | 12 | 60 | FU0100:LI | B
FU0060:LI | FU0210 | WHT | 12 | 80 | FU0210:LD | B
FU0100:LI | FU0210 | WHT | 12 | 60 | FU0113:LI | B
FU0115:LI | FU0210 | WHT | 12 | 80 | FU0212:LI | B
KA0221:A1 | -007602 | WHT | 20 | 60 | AF0076:02 | B | KA A1/A2
KA0222:A1 | -007604 | WHT | 20 | 60 | AF0076:04 | B
KA0224:A1 | -007615 | WHT | 20 | 60 | AF0076:15 | B
KA1020:A1 | KA1020A1 | WHT | 20 | 60 | AF0076:08 | B
KA0221:A2 | -007618 | WHT | 20 | 60 | AF0076:18 | B
KA0222:A2 | -007620 | WHT | 20 | 60 | AF0076:20 | B
KA0224:A2 | -007631 | WHT | 20 | 60 | AF0076:31 | B
KA1020:A2 | KA1020A2 | WHT | 20 | 60 | AF0076:24 | B
KA0233:14 | -006102 | WHT | 20 | 100 | AF0061:02 | B | KA
KA0234:14 | -006114 | WHT | 20 | 100 | AF0061:14 | B
KA0222:14 | -006200 | WHT | 20 | 100 | AF0062:00 | B
KA0221:11 | -023524 | WHT | 20 | 60 | KA0235:24 | B
KA0222:11 | -023724 | WHT | 20 | 60 | KA0237:24 | B
KA0235:14 | KA023514 | WHT | 20 | 60 | AF0076:00 | B
KA0237:14 | KA023714 | WHT | 20 | 60 | AF0076:01 | B
KA1020:14 | FU0100 | WHT | 16 | 60 | FU0100:LD | B
KA1020:24 | -0V | WHT | 14 | 80 | XT0062:2 | B
UV0291:24V(+) | FU0291LD | WHT | 16 | 60 | FU0291:LD | B | UV
UV0291:OUT1(-) | UV0291OUT1(-) | WHT | 16 | 60 | XT0291:5 | B
UV0291:OUT1(+) | UV0291OUT1(+) | WHT | 16 | 60 | XT0291:1 | B
XT0062:2 | -0V | WHT | 14 | 60 | XT0060:1 | B | XT
XT0680:2 | -0V | WHT | 14 | 60 | XT0051:8 | B

## HPC_S
HPC CTRL
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.3
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0510:53 | -0V | WHT | 16 | 60 | XT0510:2 | HPC | 1444s
AF0510:54 | -0V | WHT | 16 | 60 | AF0520:53 | HPC
AF0510:55 | FU0510 | WHT | 16 | 60 | FU0510:LD | HPC
AF0510:56 | FU0510 | WHT | 16 | 60 | AF0520:55 | HPC
AF1201:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC | AF/AU1200s
AU1200:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC
AF1202:COM | AF1202N | WHT | 16 | 60 | AU1200:COM | HPC
AF1202:V+ | AF1202P | WHT | 16 | 60 | AU1200:V+ | HPC
AF1206:COM | AF1207N | WHT | 16 | 60 | AF1207:COM | HPC
AF1206:V+ | AF1207P | WHT | 16 | 60 | AF1207:V+ | HPC
AU1200:V+ | FU0120 | WHT | 16 | 100 | FU0120:LD | HPC
AF1201:V+ | FU0121 | WHT | 16 | 100 | FU0121:LD | HPC
FU0120:LI | FU0122 | WHT | 14 | 60 | FU0122:LD | HPC | FU
FU0121:LI | FU0122 | WHT | 14 | 60 | FU0510:LI | HPC
FU0510:LI | FU0122 | WHT | 14 | 60 | XT0121:1 | HPC
FU0122:LI | FU0332 | WHT | 12 | 60 | XT0335:2 | HPC
FU0332:LD | FU0332 | WHT | 12 | 60 | XT0335:1 | HPC
KA0120:A1 | KA0131A1 | WHT | 20 | 80 | XT0120:4 | HPC | KA
KA0120:A2 | -0V | WHT | 20 | 60 | XT0120:3 | HPC
KA4401:A2 | -120718 | WHT | 20 | 80 | AF1207:18 | HPC
KA4401:14 | -120702 | WHT | 20 | 80 | AF1207:02 | HPC
KA4401:11 | PS44012 | WHT | 20 | 80 | AF1207:34 | HPC
KA4401:11 | PS44012 | WHT | 20 | 60 | XT0120:5 | HPC
XT0120:3 | -0V | WHT | 14 | 60 | XT0510:1 | HPC | XT
XT0510:2 | -0V | WHT | 14 | 60 | XT0121:3 | HPC
XT0510:2 | -0V | WHT | 14 | 60 | XT0121:6 | HPC
XT0336:2 | -0V | WHT | 12 | 60 | XT0120:1 | HPC

## VFD_S
FO CONV,VFD
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.3
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0005:V1(+) | FU1123 | WHT | 16 | 60 | FU1123:LD | VFD | BA
BA0006:V1(+) | FU1124 | WHT | 16 | 60 | FU1124:LD | VFD
UJ0005:V1(+) | UJ0005V1+ | WHT | 16 | 60 | FU1123:LI | VFD | UJ
UJ0005:V2(+) | UJ0005V2+ | WHT | 16 | 60 | FU1124:LI | VFD
UJ0005:V3(-) | UJ0005V3- | WHT | 16 | 60 | BA0005:V1(-) | VFD
UJ0005:V4(-) | UJ0005V4- | WHT | 16 | 60 | BA0006:V1(-) | VFD
UJ0005:N | -522NEG | WHT | 14 | 60 | XT1123:2 | VFD
UJ0005:L | FU0005 | WHT | 14 | 60 | FU0005:LD | VFD

## BOP RAIL_S
BOP BOX
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.3
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
KA0534:A1 | ESTOP | WHT | 20 | 60 | KA0537:A1 | BOP BOX | KA A1/A2
KA0540:A1 | KA053124 | WHT | 20 | 80 | KA0531:24 | BOP BOX
KA0541:A1 | KA053224 | WHT | 20 | 80 | KA0532:24 | BOP BOX
KA0531:A2 | -0V | WHT | 20 | 60 | KA0536:A2 | BOP BOX
KA0534:A2 | -0V | WHT | 20 | 60 | KA0537:A2 | BOP BOX
KA0540:11 | KA054011 | WHT | 20 | 60 | KA0550:11 | BOP BOX | KA
KA0541:11 | KA054111 | WHT | 20 | 60 | KA0551:21 | BOP BOX
KA0535:11 | KA055411 | WHT | 20 | 60 | KA0554:11 | BOP BOX
KA0536:11 | KA055514 | WHT | 20 | 60 | KA0555:14 | BOP BOX
KA0550:A1 | -018400 | WHT | 20 | 160 | AF0184:00 | BOP CTRL | KA A1-BOP CTRL
KA0552:A1 | -018401 | WHT | 20 | 180 | AF0184:01 | BOP CTRL
KA0551:A1 | -018402 | WHT | 20 | 180 | AF0184:02 | BOP CTRL
KA0553:A1 | -018403 | WHT | 20 | 180 | AF0184:03 | BOP CTRL
KA0531:A1 | ESTOP | WHT | 20 | 140 | XT0140:8 | BOP CTRL
KA0535:A1 | KA0131A1 | WHT | 20 | 140 | XT0140:7 | BOP CTRL
KA0554:A1 | KA0554A2 | WHT | 20 | 180 | AF0184:05 | BOP CTRL
KA0555:A1 | KA0555A2 | WHT | 20 | 180 | AF0184:04 | BOP CTRL
KA0535:A2 | -0V | WHT | 20 | 140 | XT0140:6 | BOP CTRL | KA A2-BOP CTRL
KA0550:A2 | KA0550A1 | WHT | 20 | 180 | AF0184:16 | BOP CTRL
KA0551:A2 | KA0551A2 | WHT | 20 | 180 | AF0184:18 | BOP CTRL
KA0552:A2 | KA0552A2 | WHT | 20 | 180 | AF0184:17 | BOP CTRL
KA0553:A2 | KA0553A2 | WHT | 20 | 180 | AF0184:19 | BOP CTRL
KA0554:A2 | KA0554A1 | WHT | 20 | 180 | AF0184:21 | BOP CTRL
KA0555:A2 | KA0555A1 | WHT | 20 | 180 | AF0184:20 | BOP CTRL
KA0540:A2 | SV7621-A2 | WHT | 20 | 140 | XT0572:3 | BOP CTRL
KA0541:A2 | SV76412 | WHT | 20 | 140 | XT0572:5 | BOP CTRL
KA0552:14 | -014102 | WHT | 20 | 140 | AF0141:02 | BOP CTRL | KA-BOP CTRL
KA0553:14 | -014106 | WHT | 20 | 140 | AF0141:06 | BOP CTRL
KA0555:11 | -014108 | WHT | 20 | 140 | AF0141:08 | BOP CTRL
KA0554:14 | -014112 | WHT | 20 | 140 | AF0141:12 | BOP CTRL
KA0551:24 | -014136 | WHT | 20 | 140 | AF0141:36 | BOP CTRL
KA0531:11 | KA053111 | WHT | 20 | 140 | AF0141:14 | BOP CTRL
KA0531:21 | KA053121 | WHT | 20 | 140 | AF0141:00 | BOP CTRL
KA0532:21 | KA053221 | WHT | 20 | 140 | AF0141:04 | BOP CTRL
KA0533:12 | KA053312 | WHT | 20 | 140 | KT0573:15 | BOP CTRL
KA0536:14 | KA053614 | WHT | 20 | 140 | XT0573:4 B2 | BOP CTRL
KA0536:21 | KA053621 | WHT | 20 | 140 | KT7601:A1 | BOP CTRL
KA0540:22 | KA054012 | WHT | 20 | 140 | KT0572:A1 | BOP CTRL
KA0541:22 | KA054112 | WHT | 20 | 140 | KT0573:A1 | BOP CTRL
KA0550:14 | KA055014 | WHT | 20 | 140 | AF0141:32 | BOP CTRL
KA0552:11 | KA055211 | WHT | 20 | 140 | XT0573:2 B2 | BOP CTRL
KA0553:11 | KA055311 | WHT | 20 | 140 | XT0573:3 B2 | BOP CTRL
KA0531:14 | SV76111 | WHT | 20 | 140 | XT0572:1 | BOP CTRL
KA0540:21 | ZSC76212 | WHT | 20 | 140 | XT0572:4 | BOP CTRL
KA0541:21 | ZSC76412 | WHT | 20 | 140 | XT0572:6 | BOP CTRL
KA0536:22 | ZSO76012 | WHT | 20 | 160 | XT1124:1 | BOP CTRL
KA0533:11 | FU0143 | WHT | 16 | 140 | XT0140:9 | BOP CTRL

## BOP CTRL_S
BOP CTRL
Project # | 4K491
Project Name | Southern Star Central Gas Pipeline Inc
Revision | C.3
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0141:16 | SV7621-A2 | WHT | 20 | 60 | XT0572:3 | BOP CTRL | AF/AU140s
AF0141:20 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP CTRL
AF0141:10 | XT0573B2 | WHT | 20 | 60 | XT0573:1 B2 | BOP CTRL
AF0142:07 | ZSC76112 | WHT | 20 | 60 | XT0572:2 | BOP CTRL
AF0142:06 | ZSO76012 | WHT | 20 | 60 | XT1124:1 | BOP CTRL
AF0141:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP CTRL
AF0146:COM | -0V | WHT | 16 | 60 | XT0140:3 | BOP CTRL
AU0140:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP CTRL
AF0142:COM | AU0140N | WHT | 16 | 60 | AU0140:COM | BOP CTRL
AF0142:V+ | AU0140P | WHT | 16 | 60 | AU0140:V+ | BOP CTRL
AU0140:V+ | FU0140 | WHT | 16 | 60 | FU0140:LD | BOP CTRL
AF0141:V+ | FU0141 | WHT | 16 | 60 | FU0141:LD | BOP CTRL
AF0146:V+ | FU0142 | WHT | 16 | 60 | FU0142:LD | BOP CTRL
AF0183:04 | ZSC76212 | WHT | 20 | 60 | XT0572:4 | BOP CTRL | AF/AU180s
AF0183:05 | ZSC76412 | WHT | 20 | 60 | XT0572:6 | BOP CTRL
AF0181:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP CTRL
AF0184:COM | -0V | WHT | 16 | 80 | XT0140:5 | BOP CTRL
AU0180:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP CTRL
AF0183:COM | AF0183N | WHT | 16 | 60 | AF0185:COM | BOP CTRL
AF0183:V+ | AF0183P | WHT | 16 | 60 | AF0185:V+ | BOP CTRL
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | BOP CTRL
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | BOP CTRL
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | BOP CTRL
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | BOP CTRL
AF0184:V+ | FU0182 | WHT | 16 | 80 | FU0182:LD | BOP CTRL
BA0007:V1(-) | -0V | WHT | 16 | 60 | XT0007:4 | BOP CTRL | BA
BA0008:V1(-) | -0V | WHT | 16 | 60 | XT0007:4 | BOP CTRL
BA0007:V1(+) | FU0027 | WHT | 16 | 60 | FU0027:LD | BOP CTRL
BA0008:V1(+) | FU0028 | WHT | 16 | 60 | FU0028:LD | BOP CTRL
BA1212:POS | FU1212LD | WHT | 16 | 60 | FU1212:LD | BOP CTRL
BA1212:NEG | UV0291OUT1(-) | WHT | 16 | 60 | XT1212:2 | BOP CTRL
XT0007:3 | -0V | WHT | 20 | 60 | XT0140:6 | BOP CTRL | FU/XT
FU0143:LD | FU0143 | WHT | 16 | 60 | XT0140:9 | BOP CTRL
FU0027:LI | FU0183 | WHT | 16 | 60 | XT0007:2 | BOP CTRL
FU0028:LI | FU0183 | WHT | 16 | 60 | XT0007:2 | BOP CTRL
FU0183:LD | FU0183 | WHT | 16 | 60 | XT0007:1 | BOP CTRL
FU1212:LI | UV0291OUT1(+) | WHT | 16 | 60 | XT1212:1 | BOP CTRL
FU0140:LI | FU0146 | WHT | 14 | 60 | FU0146:LD | BOP CTRL
FU0143:LI | FU0146 | WHT | 14 | 60 | FU0180:LI | BOP CTRL
FU0182:LI | FU0146 | WHT | 14 | 60 | FU0183:LI | BOP CTRL
KA1800:A1 | -018100 | WHT | 20 | 60 | AF0181:00 | BOP CTRL | KA A1/A2
KA1801:A1 | -018102 | WHT | 20 | 60 | AF0181:02 | BOP CTRL
KA1810:A1 | -018104 | WHT | 20 | 60 | AF0181:04 | BOP CTRL
KA1811:A1 | -018106 | WHT | 20 | 60 | AF0181:06 | BOP CTRL
KA1800:A2 | -018116 | WHT | 20 | 60 | AF0181:16 | BOP CTRL
KA1801:A2 | -018118 | WHT | 20 | 60 | AF0181:18 | BOP CTRL
KA1810:A2 | -018120 | WHT | 20 | 60 | AF0181:20 | BOP CTRL
KA1811:A2 | -018122 | WHT | 20 | 60 | AF0181:22 | BOP CTRL
KT7601:A2 | -014222 | WHT | 20 | 60 | AF0142:22 | BOP CTRL | KT L/S
KT0571:16 | KT057116 | WHT | 20 | 60 | XT0573:1 T2 | BOP CTRL
KT0571:A2 | KT0571A2 | WHT | 20 | 60 | AF0142:23 | BOP CTRL
KT0572:16 | KT057216 | WHT | 20 | 60 | XT0573:2 T2 | BOP CTRL
KT0572:A2 | KT0572A2 | WHT | 20 | 80 | AF0183:20 | BOP CTRL
KT0573:16 | KT057316 | WHT | 20 | 60 | XT0573:3 T2 | BOP CTRL
KT0573:A2 | KT0573A2 | WHT | 20 | 80 | AF0183:21 | BOP CTRL
KT7601:16 | KT760116 | WHT | 20 | 60 | XT0573:4 T2 | BOP CTRL
KT0571:15 | KA053312 | WHT | 20 | 60 | KT0572:25 | BOP CTRL | KT R/S
KT0572:28 | KT057228 | WHT | 20 | 60 | KT0573:25 | BOP CTRL
KT0573:28 | KT057328 | WHT | 20 | 60 | KT7601:15 | BOP CTRL
KT0571:A1 | ZSC76112 | WHT | 20 | 60 | XT0572:2 | BOP CTRL

## Bundle Tag Info
STAR-CV #1
4K491
C.3
DOOR | JB70 L RAIL | JB70 R RAIL | PLC | A | B | HPC | VFD | BOP BOX | BOP CTRL | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT1100 | UAI-A | XT-A | BA/UV-A | AF/AU080s | AF/AU060s | 1444s | BA | KA A1/A2 | AF/AU140s
SA0471 |  | XT-B | AT-B | AF/AU090s | AF/AU070s | AF/AU1200s | UJ | KA | AF/AU180s
SA0473 |  |  | BA/UV-B | FU | 1444s | FU |  | KA A1-BOP CTRL | BA
SA0474 |  |  |  | KA A1 | BA | KA |  | KA A2-BOP CTRL | FU/XT
SB0471 |  |  |  | KA A2 | FU | XT |  | KA-BOP CTRL | KA A1/A2
SB0472 |  |  |  | KA | KA A1/A2 |  |  |  | KT L/S
SB0473 |  |  |  | KT L/S | KA |  |  |  | KT R/S
SB0474 |  |  |  | KT R/S | UV
SH0470 |  |  |  | UA1200 | XT
SH0471 |  |  |  | UJ0131
SH0472 |  |  |  | XT
AF-B
KA-B
KT-B
UA1200-B
XT-B

## Bundle Tags2
DOOR | JB70 L RAIL | JB70 R RAIL | PLC | A | B | HPC | VFD | BOP BOX | BOP CTRL
STAR-CV #1 4K491 C.3 DOOR AT1100 | STAR-CV #1 4K491 C.3 JB70 L RAIL UAI-A | STAR-CV #1 4K491 C.3 JB70 R RAIL XT-A | STAR-CV #1 4K491 C.3 PLC BA/UV-A | STAR-CV #1 4K491 C.3 A AF/AU080s | STAR-CV #1 4K491 C.3 B AF/AU060s | STAR-CV #1 4K491 C.3 HPC 1444s | STAR-CV #1 4K491 C.3 VFD BA | STAR-CV #1 4K491 C.3 BOP BOX KA A1/A2 | STAR-CV #1 4K491 C.3 BOP CTRL AF/AU140s
STAR-CV #1 4K491 C.3 DOOR SA0471 |  | STAR-CV #1 4K491 C.3 JB70 R RAIL XT-B | STAR-CV #1 4K491 C.3 PLC AT-B | STAR-CV #1 4K491 C.3 A AF/AU090s | STAR-CV #1 4K491 C.3 B AF/AU070s | STAR-CV #1 4K491 C.3 HPC AF/AU1200s | STAR-CV #1 4K491 C.3 VFD UJ | STAR-CV #1 4K491 C.3 BOP BOX KA | STAR-CV #1 4K491 C.3 BOP CTRL AF/AU180s
STAR-CV #1 4K491 C.3 DOOR SA0473 |  |  | STAR-CV #1 4K491 C.3 PLC BA/UV-B | STAR-CV #1 4K491 C.3 A FU | STAR-CV #1 4K491 C.3 B 1444s | STAR-CV #1 4K491 C.3 HPC FU |  | STAR-CV #1 4K491 C.3 BOP BOX KA A1-BOP CTRL | STAR-CV #1 4K491 C.3 BOP CTRL BA
STAR-CV #1 4K491 C.3 DOOR SA0474 |  |  |  | STAR-CV #1 4K491 C.3 A KA A1 | STAR-CV #1 4K491 C.3 B BA | STAR-CV #1 4K491 C.3 HPC KA |  | STAR-CV #1 4K491 C.3 BOP BOX KA A2-BOP CTRL | STAR-CV #1 4K491 C.3 BOP CTRL FU/XT
STAR-CV #1 4K491 C.3 DOOR SB0471 |  |  |  | STAR-CV #1 4K491 C.3 A KA A2 | STAR-CV #1 4K491 C.3 B FU | STAR-CV #1 4K491 C.3 HPC XT |  | STAR-CV #1 4K491 C.3 BOP BOX KA-BOP CTRL | STAR-CV #1 4K491 C.3 BOP CTRL KA A1/A2
STAR-CV #1 4K491 C.3 DOOR SB0472 |  |  |  | STAR-CV #1 4K491 C.3 A KA | STAR-CV #1 4K491 C.3 B KA A1/A2 |  |  |  | STAR-CV #1 4K491 C.3 BOP CTRL KT L/S
STAR-CV #1 4K491 C.3 DOOR SB0473 |  |  |  | STAR-CV #1 4K491 C.3 A KT L/S | STAR-CV #1 4K491 C.3 B KA |  |  |  | STAR-CV #1 4K491 C.3 BOP CTRL KT R/S
STAR-CV #1 4K491 C.3 DOOR SB0474 |  |  |  | STAR-CV #1 4K491 C.3 A KT R/S | STAR-CV #1 4K491 C.3 B UV
STAR-CV #1 4K491 C.3 DOOR SH0470 |  |  |  | STAR-CV #1 4K491 C.3 A UA1200 | STAR-CV #1 4K491 C.3 B XT
STAR-CV #1 4K491 C.3 DOOR SH0471 |  |  |  | STAR-CV #1 4K491 C.3 A UJ0131
STAR-CV #1 4K491 C.3 DOOR SH0472 |  |  |  | STAR-CV #1 4K491 C.3 A XT
STAR-CV #1 4K491 C.3 A AF-B
STAR-CV #1 4K491 C.3 A KA-B
STAR-CV #1 4K491 C.3 A KT-B
STAR-CV #1 4K491 C.3 A UA1200-B
STAR-CV #1 4K491 C.3 A XT-B

## ALL
ALL
STAR-CV #1 4K491 C.3 DOOR AT1100
STAR-CV #1 4K491 C.3 DOOR SA0471
STAR-CV #1 4K491 C.3 DOOR SA0473
STAR-CV #1 4K491 C.3 DOOR SA0474
STAR-CV #1 4K491 C.3 DOOR SB0471
STAR-CV #1 4K491 C.3 DOOR SB0472
STAR-CV #1 4K491 C.3 DOOR SB0473
STAR-CV #1 4K491 C.3 DOOR SB0474
STAR-CV #1 4K491 C.3 DOOR SH0470
STAR-CV #1 4K491 C.3 DOOR SH0471
STAR-CV #1 4K491 C.3 DOOR SH0472
STAR-CV #1 4K491 C.3 JB70 L RAIL UAI-A
STAR-CV #1 4K491 C.3 JB70 R RAIL XT-A
STAR-CV #1 4K491 C.3 JB70 R RAIL XT-B
STAR-CV #1 4K491 C.3 PLC BA/UV-A
STAR-CV #1 4K491 C.3 PLC AT-B
STAR-CV #1 4K491 C.3 PLC BA/UV-B
STAR-CV #1 4K491 C.3 A AF/AU080s
STAR-CV #1 4K491 C.3 A AF/AU090s
STAR-CV #1 4K491 C.3 A FU
STAR-CV #1 4K491 C.3 A KA A1
STAR-CV #1 4K491 C.3 A KA A2
STAR-CV #1 4K491 C.3 A KA
STAR-CV #1 4K491 C.3 A KT L/S
STAR-CV #1 4K491 C.3 A KT R/S
STAR-CV #1 4K491 C.3 A UA1200
STAR-CV #1 4K491 C.3 A UJ0131
STAR-CV #1 4K491 C.3 A XT
STAR-CV #1 4K491 C.3 A AF-B
STAR-CV #1 4K491 C.3 A KA-B
STAR-CV #1 4K491 C.3 A KT-B
STAR-CV #1 4K491 C.3 A UA1200-B
STAR-CV #1 4K491 C.3 A XT-B
STAR-CV #1 4K491 C.3 B AF/AU060s
STAR-CV #1 4K491 C.3 B AF/AU070s
STAR-CV #1 4K491 C.3 B 1444s
STAR-CV #1 4K491 C.3 B BA
STAR-CV #1 4K491 C.3 B FU
STAR-CV #1 4K491 C.3 B KA A1/A2
STAR-CV #1 4K491 C.3 B KA
STAR-CV #1 4K491 C.3 B UV
STAR-CV #1 4K491 C.3 B XT
STAR-CV #1 4K491 C.3 HPC 1444s
STAR-CV #1 4K491 C.3 HPC AF/AU1200s
STAR-CV #1 4K491 C.3 HPC FU
STAR-CV #1 4K491 C.3 HPC KA
STAR-CV #1 4K491 C.3 HPC XT
STAR-CV #1 4K491 C.3 VFD BA
STAR-CV #1 4K491 C.3 VFD UJ
STAR-CV #1 4K491 C.3 BOP BOX KA A1/A2
STAR-CV #1 4K491 C.3 BOP BOX KA
STAR-CV #1 4K491 C.3 BOP BOX KA A1-BOP CTRL
STAR-CV #1 4K491 C.3 BOP BOX KA A2-BOP CTRL
STAR-CV #1 4K491 C.3 BOP BOX KA-BOP CTRL
STAR-CV #1 4K491 C.3 BOP CTRL AF/AU140s
STAR-CV #1 4K491 C.3 BOP CTRL AF/AU180s
STAR-CV #1 4K491 C.3 BOP CTRL BA
STAR-CV #1 4K491 C.3 BOP CTRL FU/XT
STAR-CV #1 4K491 C.3 BOP CTRL KA A1/A2
STAR-CV #1 4K491 C.3 BOP CTRL KT L/S
STAR-CV #1 4K491 C.3 BOP CTRL KT R/S