## JB70_S
JB70
Project # | 4K931
Project Name | NORTHERN NATURAL GAS COMPANY
Revision | B
Controls DE | S. LOPEZ
Phone:
Controls ME | H. MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
SA0471:B1-13 | SA0471B113 | WHT | 20 | 220 | AF0087:40 | A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 220 | AF0087:08 | A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 220 | AF0087:39 | A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 220 | AF0087:07 | A
SA0473:11 | SA047311 | WHT | 20 | 220 | AF0087:37 | A | SA0473
SA0473:12 | SA047312 | WHT | 20 | 220 | AF0087:05 | A
SA0473:13 | SA047313 | WHT | 20 | 220 | AF0087:38 | A
SA0473:14 | SA047314 | WHT | 20 | 220 | AF0087:06 | A
SA0474:B1-13 | SA0474B113 | WHT | 20 | 220 | AF0087:45 | A | SA0474
SA0474:B1-14 | SA0474B114 | WHT | 20 | 220 | AF0087:13 | A
SA0474:B2-13 | SA0474B213 | WHT | 20 | 220 | AF0087:44 | A
SA0474:B2-14 | SA0474B214 | WHT | 20 | 220 | AF0087:12 | A
SB0471:11 | SB047111 | WHT | 20 | 220 | AF0087:34 | A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 220 | AF0087:02 | A
SB0472:B1-12 | ESTOPA | WHT | 20 | 180 | XT0111:20 | JB70 R RAIL | SB0472
SB0472:B1-11 | ESTOPB | WHT | 20 | 180 | XT0111:19 | JB70 R RAIL
SB0472:B2-11 | SB0472B211 | WHT | 20 | 220 | AF0081:36 | A
SB0472:B2-12 | SB0472B212 | WHT | 20 | 220 | AF0081:04 | A
SB0473:13 | SB047313 | WHT | 20 | 220 | AF0087:35 | A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 220 | AF0087:03 | A
SB0474:13 | SB047413 | WHT | 20 | 220 | AF0087:36 | A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 220 | AF0087:04 | A
SH0470:11 | SH047011 | WHT | 20 | 180 | XT0111:7 | JB70 R RAIL | SH0470
SH0470:12 | SH047012 | WHT | 20 | 180 | XT0111:8 | JB70 R RAIL
SH0470:13 | SH047013 | WHT | 20 | 180 | XT0111:9 | JB70 R RAIL
SH0470:14 | SH047014 | WHT | 20 | 180 | XT0111:10 | JB70 R RAIL
SH0470:X1 | SH0470X1 | WHT | 20 | 180 | XT0111:12 | JB70 R RAIL
SH0470:X2 | SH0470X2 | WHT | 20 | 180 | XT0111:11 | JB70 R RAIL
SH0471:11 | SH047111 | WHT | 20 | 180 | XT0111:1 | JB70 R RAIL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 180 | XT0111:2 | JB70 R RAIL
SH0471:13 | SH047113 | WHT | 20 | 180 | XT0111:3 | JB70 R RAIL
SH0471:14 | SH047114 | WHT | 20 | 180 | XT0111:4 | JB70 R RAIL
SH0471:X1 | SH0471X1 | WHT | 20 | 180 | XT0111:6 | JB70 R RAIL
SH0471:X2 | SH0471X2 | WHT | 20 | 180 | XT0111:5 | JB70 R RAIL
SH0472:13 | FU0139 | WHT | 20 | 180 | XT0111:15 | JB70 R RAIL | SH0472
SH0472:14 | KA0241A1 | WHT | 20 | 180 | XT0111:16 | JB70 R RAIL
SH0472:11 | SH047211 | WHT | 20 | 180 | XT0111:13 | JB70 R RAIL
SH0472:12 | SH047212 | WHT | 20 | 180 | XT0111:14 | JB70 R RAIL
SH0472:X1 | SH0472X1 | WHT | 20 | 180 | XT0111:18 | JB70 R RAIL
SH0472:X2 | SH0472X2 | WHT | 20 | 180 | XT0111:17 | JB70 R RAIL
AT1100:NEG | -0V | WHT | 16 | 180 | XT0111:22 | JB70 R RAIL | AT1100
AT1100:POS | FU1100 | WHT | 14 |  | FU1100:LD | JB70 | MRCA
Note on D64: Mikko Benaso: AT1100 AWG should only be 14G
Note on H66: Mikko Benaso: FU1100:LD exists in the ELS but not in the LAY

## JB70 RIGHT RAIL_S
JB70 R RAIL
TURBINE CONTROL BOX, RIGHT RAIL
Project # | 4K931
Project Name | NORTHERN NATURAL GAS COMPANY
Revision | B
Controls DE | S. LOPEZ
Phone:
Controls ME | H. MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA1100:NEG | BA1100N | WHT | 16 | 60 | UJ0231:OUT1(-) | JB70 R RAIL | BA
BA1100:POS | BA1100P | WHT | 16 | 60 | UJ0231:OUT1(+) | JB70 R RAIL
XT0111:22 | -0V | WHT | 16 | 60 | UJ0231:24V(-) | JB70 R RAIL | FU/XT
FU1101:LI | FU0131 | WHT | 14 | 80 | XT0111:21 | JB70 R RAIL
FU1101:LD | FU1101 | WHT | 14 | 80 | UJ0231:24V(+) | JB70 R RAIL
XT0111:20 | ESTOPA | WHT | 20 | 100 | XT0089:4 | A | XT-A
XT0111:19 | ESTOPB | WHT | 20 | 100 | XT0089:3 | A
XT0111:15 | FU0139 | WHT | 20 | 100 | XT0081:6 | A
XT0111:24 | HA047201 | WHT | 20 | 120 | AF0092:28 | A
XT0111:23 | HA047202 | WHT | 20 | 120 | AF0092:12 | A
XT0111:16 | KA0241A1 | WHT | 20 | 100 | XT0081:7 | A
XT0111:7 | SH047011 | WHT | 20 | 120 | AF0087:33 | A
XT0111:8 | SH047012 | WHT | 20 | 120 | AF0087:01 | A
XT0111:12 | SH0470X1 | WHT | 20 | 120 | AF0093:22 | A
XT0111:11 | SH0470X2 | WHT | 20 | 120 | AF0093:06 | A
XT0111:3 | SH047113 | WHT | 20 | 120 | AF0087:32 | A
XT0111:4 | SH047114 | WHT | 20 | 120 | AF0087:00 | A
XT0111:6 | SH0471X1 | WHT | 20 | 120 | AF0093:31 | A
XT0111:5 | SH0471X2 | WHT | 20 | 120 | AF0093:15 | A
XT0111:18 | SH0472X1 | WHT | 20 | 120 | AF0092:29 | A
XT0111:17 | SH0472X2 | WHT | 20 | 120 | AF0092:13 | A
XT0111:22 | -0V | WHT | 14 | 120 | XT0003:6 | A
XT0111:21 | FU0131 | WHT | 14 | 120 | XT0002:6 | A
BA0001:V1(-) | -0V | WHT | 16 | 100 | XT0051:5 | B | BA-B
BA0002:V1(-) | -0V | WHT | 16 | 100 | XT0051:6 | B
BA0009:V1(-) | -0V | WHT | 16 | 100 | XT0051:7 | B
BA0001:V1(+) | FU0021 | WHT | 16 | 100 | FU0021:LD | B
BA0002:V1(+) | FU0022 | WHT | 16 | 100 | FU0022:LD | B
BA0009:V1(+) | FU0029 | WHT | 16 | 100 | FU0029:LD | B
XT0111:17 | SH0472X2 | WHT | 20 | 100 | KA0240:21 | B | XT-B

## PLC_S
PLC
PLC PANEL,JB70
Project # | 4K931
Project Name | NORTHERN NATURAL GAS COMPANY
Revision | B
Controls DE | S. LOPEZ
Phone:
Controls ME | H. MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | PLC | AT/FU
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
UV0600:(-) | -0V | WHT | 14 | 80 | XT0003:4 | A | UV-A
UV0600:(+) | FU0010 | WHT | 14 | 80 | FU0010:LD | A
XT0680:2 | -0V | WHT | 14 | 80 | XT0051:8 | B | FU/XT-A
FU0680:LI | FU0131 | WHT | 14 | 80 | XT0051:4 | B

## PANEL A_S
PANEL A
CONTROL A,JB70
Project # | 4K931
Project Name | NORTHERN NATURAL GAS COMPANY
Revision | B
Controls DE | S. LOPEZ
Phone:
Controls ME | H. MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0081:00 | UA1200J21 | WHT | 20 | 60 | XT0089:20 | A | AF080s
AU0080:COM | -0V | WHT | 16 | 60 | XT0080:1 | A
AU0080:V+ | FU0081 | WHT | 16 | 60 | FU0081:LD | A
AF0094:01 | -0V | WHT | 20 | 60 | XT0082:6 | A | AF090s
AF0094:03 | -0V | WHT | 20 | 60 | XT0082:6 | A
AF0094:05 | -0V | WHT | 20 | 60 | XT0082:7 | A
AF0094:07 | -0V | WHT | 20 | 60 | XT0082:7 | A
AF0092:COM | -0V | WHT | 16 | 60 | XT0080:2 | A
AF0093:COM | -0V | WHT | 16 | 60 | XT0080:3 | A
AF0095:COM | -0V | WHT | 16 | 60 | XT0080:4 | A
AU0090:COM | -0V | WHT | 16 | 60 | XT0080:2 | A
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | A
AF0091:V+ | AF0091P | WHT | 16 | 60 | AF0094:V+ | A
AU0090:V+ | FU0090 | WHT | 16 | 60 | FU0090:LD | A
AF0092:V+ | FU0091 | WHT | 16 | 60 | FU0091:LD | A
AF0093:V+ | FU0092 | WHT | 16 | 60 | FU0092:LD | A
AF0095:V+ | FU0093 | WHT | 16 | 60 | FU0093:LD | A
FU0139:LD | FU0139 | WHT | 16 | 60 | XT0081:1 | A | FU
FU0340:LD | FU0340 | WHT | 16 | 60 | XT0089:17 | A
FU0389:LD | FU0389 | WHT | 16 | 60 | XT0089:21 | A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0080:LD | A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0090:LI | A
FU0010:LI | FU0131 | WHT | 14 | 60 | XT0002:4 | A
FU0137:LI | FU0131 | WHT | 12 | 80 | XT0002:2 | A
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0137:LD | A
KA0910:A1 | -009200 | WHT | 20 | 60 | AF0092:00 | A | KA A1
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | AF0081:35 | A
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | KA0130:11 | A
KA0234:A1 | KA0131A1 | WHT | 20 | 60 | XT0089:8 | A
KA0133:A1 | KA0133A1 | WHT | 20 | 100 | AF0092:02 | A
KA0134:A1 | KA0134A1 | WHT | 20 | 100 | AF0091:12 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 80 | XT0089:23 | A
KA2160:A1 | KA2160A1 | WHT | 20 | 120 | AF0092:04 | A
KA2161:A1 | KA2161A1 | WHT | 20 | 120 | AF0092:07 | A
KA3103:A1 | KA3103A1 | WHT | 20 | 120 | AF0092:08 | A
KA0243:A1 | KA9982C | WHT | 20 | 60 | XT0089:10 | A
KA0245:A1 | KA9984C | WHT | 20 | 60 | XT0089:11 | A
KA0136:A1 | PS32002 | WHT | 20 | 60 | XT0089:14 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 60 | KA0131:11 | A
KA0138:A1 | KA0138A1 | WHT | 20 | 60 | KA0132:21 | A
KA0910:A2 | -009216 | WHT | 20 | 60 | AF0092:16 | A | KA A2
KA0135:A2 | -0V | WHT | 20 | 60 | KA0137:A2 | A
KA0243:A2 | -0V | WHT | 20 | 80 | XT0080:7 | A
KA0244:A2 | -0V | WHT | 20 | 60 | KA0245:A2 | A
KA0131:A2 | KA0131A2 | WHT | 20 | 60 | AF0081:24 | A
KA2160:A2 | KA2160A2 | WHT | 20 | 120 | AF0092:20 | A
KA2161:A2 | KA2161A2 | WHT | 20 | 120 | AF0092:23 | A
KA3103:A2 | KA3103A2 | WHT | 20 | 120 | AF0092:24 | A
KA0243:24 | ESTOPE | WHT | 20 | 60 | XT0089:1 | A | KA
KA0132:11 | FU0139 | WHT | 20 | 60 | KA0133:11 | A
KA0132:11 | FU0139 | WHT | 20 | 80 | XT0081:1 | A
KA0134:11 | FU0139 | WHT | 20 | 60 | KA0136:11 | A
KA0137:21 | FU0139 | WHT | 20 | 60 | KA0244:11 | A
KA0244:11 | FU0139 | WHT | 20 | 80 | XT0081:2 | A
KA0130:14 | KA013014 | WHT | 20 | 60 | AF0081:03 | A
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | A
KA0137:24 | KA013112 | WHT | 20 | 60 | AF0087:09 | A
KA0131:14 | KA013114 | WHT | 20 | 80 | AF0092:06 | A
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | A
KA0136:21 | KA013621 | WHT | 20 | 60 | AF0087:43 | A
KA0136:24 | KA013624 | WHT | 20 | 60 | AF0087:11 | A
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | A
KA0141:11 | KA014111 | WHT | 20 | 80 | AF0091:39 | A
KA0141:14 | KA014114 | WHT | 20 | 80 | AF0091:07 | A
KA0141:24 | KA014124 | WHT | 20 | 60 | AF0081:40 | A
KA0231:24 | KA023124 | WHT | 20 | 60 | KA0245:21 | A
KA0243:11 | KA024311 | WHT | 20 | 60 | AF0081:33 | A
KA0243:14 | KA024314 | WHT | 20 | 60 | AF0081:01 | A
KA0245:11 | KA024511 | WHT | 20 | 60 | AF0081:34 | A
KA0245:14 | KA024514 | WHT | 20 | 60 | AF0081:02 | A
KA0243:21 | KA024524 | WHT | 20 | 60 | KA0245:24 | A
KA0138:11 | KM3170EP | WHT | 20 | 80 | XT0080:9 | A
KA0132:12 | KT014315 | WHT | 20 | 60 | KA0133:12 | A
KA0910:14 | VS32203 | WHT | 20 | 60 | XT3220:1 | A
KA0910:11 | FU0387 | WHT | 16 | 60 | FU0387:LD | A
KA0138:14 | FU0388 | WHT | 16 | 60 | FU0388:LD | A
KT0140:A2 | -0V | WHT | 20 | 80 | XT0080:5 | A | KT L/S
KT0142:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | A
KT0143:A2 | -0V | WHT | 20 | 60 | KA0134:A2 | A
KT0143:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | A
KT0144:A2 | -0V | WHT | 20 | 60 | KA0133:A2 | A
KT0145:A2 | -0V | WHT | 20 | 60 | KA0135:A2 | A
KT0145:A2 | -0V | WHT | 20 | 80 | XT0080:6 | A
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0132:22 | A
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0137:14 | A
KT0144:18 | KA013222 | WHT | 20 | 60 | KA0137:14 | A
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KA0137:A1 | A
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KT0142:18 | A
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | A
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | A
KT0146:18 | KT014618 | WHT | 20 | 60 | AF0081:08 | A
KT0140:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | A | KT R/S
KT0142:15 | FU0139 | WHT | 20 | 60 | KA0137:21 | A
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0145:15 | A
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0134:11 | A
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | A
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0133:11 | A
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0136:11 | A
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | A
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0143:15 | A
KT0142:A1 | KT014315 | WHT | 20 | 60 | KA0132:12 | A
KT0144:B1 | KT0144B1 | WHT | 20 | 60 | KA0138:24 | A
KT0145:A1 | KT0145A1 | WHT | 20 | 60 | KA0244:12 | A
KT0146:A1 | KT0146A1 | WHT | 20 | 60 | KA0141:21 | A
UA1200:J1-9 | -0V | WHT | 20 | 120 | XT0089:22 | A | UA
UA1200:J1-10 | FU0389 | WHT | 20 | 120 | XT0089:21 | A
UA1200:J2-2 | FU0389 | WHT | 20 | 120 | XT0089:21 | A
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | A
UA1200:J2-1 | UA1200J21 | WHT | 20 | 120 | XT0089:20 | A
UA1200:J2-6 | UA1200J26 | WHT | 20 | 140 | KA0130:A2 | A
UA1200:J2-7 | UA1200J27 | WHT | 20 | 120 | AF0081:19 | A
XT0082:2 | -0V | WHT | 20 | 60 | XT0080:5 | A | XT
XT0082:4 | -0V | WHT | 20 | 80 | XT0089:22 | A
XT0082:5 | -0V | WHT | 20 | 80 | XT0089:19 | A
XT3220:2 | -0V | WHT | 20 | 80 | XT0082:3 | A
XT0081:3 | FU0139 | WHT | 20 | 80 | XT0089:12 | A
XT0081:4 | FU0139 | WHT | 20 | 80 | XT0089:13 | A
XT0080:1 | -0V | WHT | 14 | 60 | XT0082:2 | A
XT0003:2 | -0V | WHT | 12 | 60 | XT0082:1 | A
AF0093:12 | -009312 | WHT | 20 | 160 | PC0470:INP_A | B | AF090s-B
AF0093:28 | -009328 | WHT | 20 | 160 | PC0470:-PWR | B
AF0093:44 | -009344 | WHT | 20 | 160 | PC0470:+PWR | B
AF0095:02 | -009502 | WHT | 20 | 160 | KA0221:14 | B
AF0081:41 | KA023911 | WHT | 20 | 160 | KA0239:11 | B
AF0081:09 | KA023914 | WHT | 20 | 160 | KA0239:14 | B
AF0092:45 | KA024022 | WHT | 20 | 160 | KA0240:22 | B
KA0131:A1 | KA0131A1 | WHT | 20 | 160 | KA0242:14 | B | KA A1-B
KA0134:A1 | KA0134A1 | WHT | 20 | 160 | AF0067:12 | B
KA0141:21 | KT0146A1 | WHT | 20 | 160 | KA0241:21 | B | KA-B
KA0141:24 | KA014124 | WHT | 20 | 160 | KA0241:24 | B
KA0231:11 | KT014618 | WHT | 20 | 160 | KA0242:11 | B
KA0231:14 | KA0131A1 | WHT | 20 | 160 | KA0242:14 | B
KA0231:21 | KA024114 | WHT | 20 | 160 | KA0241:14 | B
KA0233:14 | -006102 | WHT | 20 | 160 | AF0061:02 | B
KA0234:14 | -006114 | WHT | 20 | 160 | AF0061:14 | B
KT0146:18 | KT014618 | WHT | 20 | 160 | KA0242:11 | B | KT L/S-B
KT0146:A2 | KT0146A2 | WHT | 20 | 160 | AF0076:29 | B
KT0146:15 | KT014615 | WHT | 20 | 160 | AF0076:10 | B | KT R/S-B
KT0146:B1 | KT0146B1 | WHT | 20 | 160 | AF0076:13 | B
UA1200:J1-4 | UA1200J14 | WHT | 20 | 180 | AF0076:11 | B | UA-B
UA1200:J1-5 | UA1200J15 | WHT | 20 | 180 | XT0237:1 B1 | B
XT0089:18 | -007405 | WHT | 20 | 160 | AF0074:05 | B | FU/XT-B
XT0080:8 | -0V | WHT | 20 | 160 | KA0241:A2 | B
XT0089:19 | -0V | WHT | 20 | 160 | AF0074:21 | B
XT0089:5 | ESTOP | WHT | 20 | 160 | KA0235:A1 | B
XT0089:6 | ESTOP | WHT | 20 | 160 | KA0251:A1 | B
XT0081:7 | KA0241A1 | WHT | 20 | 160 | KA0241:A1 | B
XT0089:15 | PS32004 | WHT | 20 | 160 | KA0240:11 | B
XT0089:20 | UA1200J21 | WHT | 20 | 160 | KA0241:11 | B
XT0084:1 | UF1300 | WHT | 20 | 160 | KA0240:14 | B
FU0341:LD | FU0341 | WHT | 16 | 160 | KA0239:22 | B
XT0003:3 | -0V | WHT | 14 | 160 | XT0401:1 | B
XT0003:7 | -0V | WHT | 14 | 160 | XT0051:5 | B
XT0002:3 | FU0131 | WHT | 14 | 160 | FU0410:LI | B
XT0002:7 | FU0131 | WHT | 14 | 160 | XT0051:1 | B
XT0003:1 | -0V | WHT | 12 | 160 | XT0062:1 | B
XT0002:1 | FU0131 | WHT | 12 | 160 | FU0210:LI | B

## PANEL B_S
PANEL B
CONTROL B,JB70
Project # | 4K931
Project Name | NORTHERN NATURAL GAS COMPANY
Revision | B
Controls DE | S. LOPEZ
Phone:
Controls ME | H. MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0061:COM | -0V | WHT | 16 | 80 | XT0060:2 | B | AF060s
AF0062:COM | -0V | WHT | 16 | 80 | XT0060:3 | B
AF0067:COM | -0V | WHT | 16 | 60 | XT0060:3 | B
AU0060:COM | -0V | WHT | 16 | 80 | XT0060:2 | B
AF0066:COM | AF0066N | WHT | 16 | 60 | AF0068:COM | B
AF0066:V+ | AF0066P | WHT | 16 | 60 | AF0068:V+ | B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | B
AU0060:V+ | FU0061 | WHT | 16 | 80 | FU0061:LD | B
AF0061:V+ | FU0062 | WHT | 16 | 80 | FU0062:LD | B
AF0062:V+ | FU0063 | WHT | 16 | 80 | FU0063:LD | B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | B
AF0076:12 | -007612 | WHT | 20 | 120 | XT0237:1 B2 | B | AF070s
AF0076:COM | -0V | WHT | 16 | 120 | XT0060:4 | B
AU0070:COM | -0V | WHT | 16 | 100 | XT0060:4 | B
AF0075:COM | AF0075N | WHT | 16 | 60 | AF0077:COM | B
AF0075:V+ | AF0075P | WHT | 16 | 60 | AF0077:V+ | B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | B
AF0076:V+ | FU0076 | WHT | 16 | 80 | FU0076:LD | B
AF0410:53 | -0V | WHT | 16 | 60 | XT0401:2 | B | 1444s
AF0410:54 | -0V | WHT | 16 | 60 | AF0420:53 | B
AF0420:54 | -0V | WHT | 16 | 60 | AF0430:53 | B
AF0430:54 | -0V | WHT | 16 | 60 | AF0450:53 | B
AF0410:55 | FU0410 | WHT | 16 | 80 | FU0410:LD | B
AF0410:56 | FU0410 | WHT | 16 | 60 | AF0420:55 | B
AF0420:56 | FU0410 | WHT | 16 | 60 | AF0430:55 | B
AF0430:56 | FU0410 | WHT | 16 | 60 | AF0450:55 | B
FU0021:LI | FU0131 | WHT | 16 | 60 | XT0051:1 | B | FU/XT
FU0022:LI | FU0131 | WHT | 16 | 60 | XT0051:2 | B
FU0029:LI | FU0131 | WHT | 16 | 60 | XT0051:3 | B
XT0062:2 | -0V | WHT | 14 | 60 | XT0060:1 | B
FU0061:LI | FU0060 | WHT | 14 | 60 | FU0060:LD | B
FU0064:LI | FU0060 | WHT | 14 | 60 | FU0070:LI | B
FU0060:LI | FU0210 | WHT | 12 | 60 | FU0210:LD | B
KA0221:A1 | -007602 | WHT | 20 | 80 | AF0076:02 | B | KA A1
KA0222:A1 | -007604 | WHT | 20 | 80 | AF0076:04 | B
KA0224:A1 | -007606 | WHT | 20 | 60 | AF0076:06 | B
KA1020:A1 | KA1020A1 | WHT | 20 | 80 | AF0076:08 | B
KA0221:A2 | -007618 | WHT | 20 | 80 | AF0076:18 | B | KA A2
KA0222:A2 | -007620 | WHT | 20 | 80 | AF0076:20 | B
KA0224:A2 | -007622 | WHT | 20 | 60 | AF0076:22 | B
KA1020:A2 | KA1020A2 | WHT | 20 | 80 | AF0076:24 | B
KA0222:14 | -006200 | WHT | 20 | 100 | AF0062:00 | B | KA
KA0221:11 | -023524 | WHT | 20 | 80 | KA0235:24 | B
KA0222:11 | -023724 | WHT | 20 | 80 | KA0237:24 | B
KA0235:14 | KA023514 | WHT | 20 | 120 | AF0076:00 | B
KA0237:14 | KA023714 | WHT | 20 | 120 | AF0076:01 | B
KA0236:24 | KA024114 | WHT | 20 | 60 | KA0241:14 | B
KA0242:21 | KA024221 | WHT | 20 | 60 | XT0237:1 T2 | B
KA0239:21 | KA024224 | WHT | 20 | 60 | KA0242:24 | B
KA0236:21 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | B
KA1020:14 | FU0100 | WHT | 16 | 60 | FU0100:LD | B
KA1020:24 | -0V | WHT | 14 | 80 | XT0062:2 | B

## MEDIA CONVERTER_S
MEDIA CONVERTER
MCC CABINET (ASSY1100)
Project # | 4K931
Project Name | NORTHERN NATURAL GAS COMPANY
Revision | B
Controls DE | S. LOPEZ
Phone:
Controls ME | H. MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0005:V1(+) | FU1123 | WHT | 16 | 60 | FU1123:LD | MEDIA CONVERTER | BA
BA0006:V1(+) | FU1124 | WHT | 16 | 60 | FU1124:LD | MEDIA CONVERTER
BA0010:V1(+) | FU1125 | WHT | 16 | 60 | FU1125:LD | MEDIA CONVERTER

## PWR_S
JB130
POWER SUPPLY BOX (JB130)
Project # | 4K931
Project Name | NORTHERN NATURAL GAS COMPANY
Revision | B
Controls DE | S. LOPEZ
Phone:
Controls ME | H. MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UJ0031:IS | UJ0131IS | WHT | 20 | 60 | UJ0131:IS | JB130 | UJ0031
UJ0031:- | UJ0031N | WHT | 12 | 60 | XT0011:2 | JB130
UJ0031:+ | UJ0031P | WHT | 12 | 60 | FU0019:LD | JB130
UJ0131:- | -521NEG | WHT | 12 | 80 | XT0011:1 | JB130 | UJ0131
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | JB130

## JB73 LEFT RAIL_S
JB73 LEFT RAIL
0
Project # | 4K931
Project Name | NORTHERN NATURAL GAS COMPANY
Revision | B
Controls DE | S. LOPEZ
Phone:
Controls ME | H. MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
FU1212:LI | UJ0231P2 | WHT | 16 | 60 | XT0007:1 | JB73 L RAIL | FU/XT
FU0332:LD | FU0332 | WHT | 12 | 60 | XT0335:1 | JB73 L RAIL
FU2108:LI | FU0332 | WHT | 12 | 60 | XT0335:3 | JB73 L RAIL
FU1212:LD | FU1212 | WHT | 16 | 180 | BA1212:POS | BOP | FU/XT-BOP
XT0007:2 | UJ0231N2 | WHT | 16 | 180 | BA1212:NEG | BOP
XT0336:1 | -0V | WHT | 14 | 220 | XT0140:1 | BOP
XT0335:1 | FU0332 | WHT | 12 | 220 | FU0146:LI | BOP
XT0121:3 | -0V | WHT | 14 | 200 | XT0510:2 | HPC | XT-HPC
XT0121:1 | FU0122 | WHT | 14 | 200 | FU0510:LI | HPC
XT0336:2 | -0V | WHT | 12 | 210 | XT0120:1 | HPC
XT0335:2 | FU0332 | WHT | 12 | 210 | FU0122:LI | HPC

## BOP PNL_S
BOP PNL
BALANCE OF PLANT PANEL, JB73
Project # | 4K931
Project Name | NORTHERN NATURAL GAS COMPANY
Revision | B
Controls DE | S. LOPEZ
Phone:
Controls ME | H. MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0141:16 | SV76212 | WHT | 20 | 60 | XT0572:3 | BOP | AF140s
AF0141:20 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
AF0142:07 | ZSC76112 | WHT | 20 | 60 | XT0572:2 | BOP
AF0142:06 | ZSO76012 | WHT | 20 | 60 | XT0572:7 | BOP
AF0141:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP
AF0146:COM | -0V | WHT | 16 | 60 | XT0140:3 | BOP
AU0140:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP
AF0142:COM | AU0140N | WHT | 16 | 60 | AU0140:COM | BOP
AF0142:V+ | AU0140P | WHT | 16 | 60 | AU0140:V+ | BOP
AU0140:V+ | FU0140 | WHT | 16 | 60 | FU0140:LD | BOP
AF0141:V+ | FU0141 | WHT | 16 | 60 | FU0141:LD | BOP
AF0146:V+ | FU0142 | WHT | 16 | 80 | FU0142:LD | BOP
AF0181:18 | SV76232 | WHT | 20 | 60 | XT0572:10 | BOP | AF180s
AF0181:22 | SV76432 | WHT | 20 | 60 | XT0572:12 | BOP
AF0182:05 | ZSC76122 | WHT | 20 | 80 | XT0572:9 | BOP
AF0183:04 | ZSC76212 | WHT | 20 | 80 | XT0572:4 | BOP
AF0182:12 | ZSC76232 | WHT | 20 | 80 | XT0572:11 | BOP
AF0183:05 | ZSC76412 | WHT | 20 | 80 | XT0572:6 | BOP
AF0182:08 | ZSC76432 | WHT | 20 | 80 | XT0572:13 | BOP
AF0181:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP
AF0184:COM | -0V | WHT | 16 | 80 | XT0140:5 | BOP
AU0180:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP
AF0183:COM | AF0183N | WHT | 16 | 60 | AF0185:COM | BOP
AF0183:V+ | AF0183P | WHT | 16 | 60 | AF0185:V+ | BOP
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | BOP
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | BOP
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | BOP
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | BOP
AF0184:V+ | FU0182 | WHT | 16 | 60 | FU0182:LD | BOP
KA0558:A1 | -018406 | WHT | 20 | 100 | AF0184:06 | BOP | KA A1
KA0560:A1 | -018407 | WHT | 20 | 100 | AF0184:07 | BOP
KA0557:A1 | -018408 | WHT | 20 | 100 | AF0184:08 | BOP
KA0559:A1 | -018409 | WHT | 20 | 100 | AF0184:09 | BOP
KA0531:A1 | ESTOP | WHT | 20 | 60 | XT0140:8 | BOP
KA0535:A1 | KA0131A1 | WHT | 20 | 60 | XT0140:7 | BOP
KA0540:A1 | KA053124 | WHT | 20 | 60 | KA0531:24 | BOP
KA0541:A1 | KA053224 | WHT | 20 | 60 | KA0532:24 | BOP
KA0542:A1 | KA053414 | WHT | 20 | 60 | KA0534:14 | BOP
KA0543:A1 | KA053424 | WHT | 20 | 60 | KA0534:24 | BOP
KA0550:A1 | KA0550A1 | WHT | 20 | 100 | AF0184:00 | BOP
KA0551:A1 | KA0551A1 | WHT | 20 | 100 | AF0184:02 | BOP
KA0552:A1 | KA0552A1 | WHT | 20 | 100 | AF0184:01 | BOP
KA0553:A1 | KA0553A1 | WHT | 20 | 100 | AF0184:03 | BOP
KA0554:A1 | KA0554A1 | WHT | 20 | 100 | AF0184:05 | BOP
KA0555:A1 | KA0555A1 | WHT | 20 | 100 | AF0184:04 | BOP
KA1260:A1 | KA1260A1 | WHT | 20 | 80 | AF0181:10 | BOP
KA0558:A2 | -018422 | WHT | 20 | 100 | AF0184:22 | BOP | KA A2
KA0560:A2 | -018423 | WHT | 20 | 100 | AF0184:23 | BOP
KA0557:A2 | -018424 | WHT | 20 | 100 | AF0184:24 | BOP
KA0559:A2 | -018425 | WHT | 20 | 100 | AF0184:25 | BOP
KA0535:A2 | -0V | WHT | 20 | 60 | XT0140:6 | BOP
KA0537:A2 | -0V | WHT | 20 | 60 | KA0573:A2 | BOP
KA0550:A2 | KA0550A2 | WHT | 20 | 100 | AF0184:16 | BOP
KA0551:A2 | KA0551A2 | WHT | 20 | 100 | AF0184:18 | BOP
KA0552:A2 | KA0552A2 | WHT | 20 | 100 | AF0184:17 | BOP
KA0553:A2 | KA0553A2 | WHT | 20 | 100 | AF0184:19 | BOP
KA0554:A2 | KA0554A2 | WHT | 20 | 100 | AF0184:21 | BOP
KA0555:A2 | KA0555A2 | WHT | 20 | 100 | AF0184:20 | BOP
KA1260:A2 | KA1260A2 | WHT | 20 | 100 | AF0181:26 | BOP
KA0540:A2 | SV76212 | WHT | 20 | 60 | XT0572:3 | BOP
KA0542:A2 | SV76232 | WHT | 20 | 60 | XT0572:10 | BOP
KA0541:A2 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
KA0543:A2 | SV76432 | WHT | 20 | 60 | XT0572:12 | BOP
KA0555:11 | -014108 | WHT | 20 | 60 | AF0141:08 | BOP | KA
KA0554:11 | -014112 | WHT | 20 | 60 | AF0141:12 | BOP
KA0532:14 | -014612 | WHT | 20 | 60 | AF0146:12 | BOP
KA0533:21 | -018100 | WHT | 20 | 80 | AF0181:00 | BOP
KA0558:11 | -018102 | WHT | 20 | 80 | AF0181:02 | BOP
KA0560:11 | -018104 | WHT | 20 | 80 | AF0181:04 | BOP
KA0557:11 | -018106 | WHT | 20 | 80 | AF0181:06 | BOP
KA0559:11 | -018108 | WHT | 20 | 80 | AF0181:08 | BOP
KA0542:11 | -018134 | WHT | 20 | 80 | AF0181:34 | BOP
KA0543:11 | -018138 | WHT | 20 | 80 | AF0181:38 | BOP
KA0531:11 | KA053111 | WHT | 20 | 60 | AF0141:14 | BOP
KA0531:21 | KA053121 | WHT | 20 | 60 | KA0550:11 | BOP
KA0532:21 | KA053221 | WHT | 20 | 60 | KA0551:11 | BOP
KA0533:12 | KA053312 | WHT | 20 | 60 | KT0573:15 | BOP
KA0535:14 | KA053514 | WHT | 20 | 60 | XT0573:3 B2 | BOP
KA0535:22 | KA053522 | WHT | 20 | 60 | XT0574:1 T2 | BOP
KA0536:21 | KA053611 | WHT | 20 | 60 | XT0573:4 B1 | BOP
KA0536:22 | KA053612 | WHT | 20 | 60 | XT0573:3 T1 | BOP
KA0536:11 | KA053621 | WHT | 20 | 60 | KA0555:14 | BOP
KA0540:11 | KA054011 | WHT | 20 | 60 | AF0141:32 | BOP
KA0541:11 | KA054111 | WHT | 20 | 60 | AF0141:36 | BOP
KA0550:14 | KA055014 | WHT | 20 | 60 | AF0141:00 | BOP
KA0551:14 | KA055114 | WHT | 20 | 60 | AF0141:04 | BOP
KA0552:11 | KA055211 | WHT | 20 | 60 | XT0573:1 B2 | BOP
KA0552:14 | KA055214 | WHT | 20 | 60 | AF0141:02 | BOP
KA0553:11 | KA055311 | WHT | 20 | 60 | XT0573:2 B2 | BOP
KA0553:14 | KA055314 | WHT | 20 | 60 | AF0141:06 | BOP
KA0535:11 | KA055414 | WHT | 20 | 60 | KA0554:14 | BOP
KA0534:21 | KA055714 | WHT | 20 | 60 | KA0557:14 | BOP
KA0534:11 | KA055814 | WHT | 20 | 60 | KA0558:14 | BOP
KA0559:14 | KA055914 | WHT | 20 | 60 | XT0573:6 B2 | BOP
KA0560:14 | KA056014 | WHT | 20 | 60 | XT0573:5 B2 | BOP
KA0573:12 | KA057312 | WHT | 20 | 60 | XT0573:2 T2 | BOP
KA0573:12 | KA057312 | WHT | 20 | 60 | XT0573:7 B2 | BOP
KA0573:24 | KA057324 | WHT | 20 | 60 | KT0576:15 | BOP
KA0531:14 | SV76111 | WHT | 20 | 60 | XT0572:1 | BOP
KA0533:24 | SV76121 | WHT | 20 | 60 | XT0572:8 | BOP
KA0536:14 | XT0574B2 | WHT | 20 | 60 | XT0574:1 B2 | BOP
KA0540:21 | ZSC76212 | WHT | 20 | 60 | XT0572:4 | BOP
KA0542:21 | ZSC76232 | WHT | 20 | 60 | XT0572:11 | BOP
KA0541:21 | ZSC76412 | WHT | 20 | 60 | XT0572:6 | BOP
KA0543:21 | ZSC76432 | WHT | 20 | 60 | XT0572:13 | BOP
KA0533:11 | FU0143 | WHT | 16 | 60 | XT0140:9 | BOP
KT0575:A2 | -014222 | WHT | 20 | 60 | AF0142:22 | BOP | KT L/S
KT0574:A2 | -018221 | WHT | 20 | 100 | AF0182:21 | BOP
KT0577:A2 | -018224 | WHT | 20 | 100 | AF0182:24 | BOP
KT0576:A2 | -018228 | WHT | 20 | 100 | AF0182:28 | BOP
KT0571:A2 | KT0571A2 | WHT | 20 | 60 | AF0142:23 | BOP
KT0572:16 | KT057216 | WHT | 20 | 60 | XT0573:1 T2 | BOP
KT0572:16 | KT057216 | WHT | 20 | 60 | XT0573:4 B2 | BOP
KT0572:18 | KT057218 | WHT | 20 | 60 | KA0573:21 | BOP
KT0572:A2 | KT0572A2 | WHT | 20 | 100 | AF0183:20 | BOP
KT0573:18 | KT057318 | WHT | 20 | 60 | KA0573:A1 | BOP
KT0573:A2 | KT0573A2 | WHT | 20 | 100 | AF0183:21 | BOP
KT0575:16 | KT057516 | WHT | 20 | 60 | KA0535:21 | BOP
KT0576:16 | KT057616 | WHT | 20 | 60 | XT0573:5 T2 | BOP
KT0576:16 | KT057616 | WHT | 20 | 60 | XT0573:8 T2 | BOP
KT0572:15 | KA053312 | WHT | 20 | 60 | KT0576:15 | BOP | KT R/S
KT0572:15 | KA053312 | WHT | 20 | 60 | KT0576:15 | BOP
KT0573:15 | KA053312 | WHT | 20 | 60 | KT0577:15 | BOP
KT0577:15 | KA053312 | WHT | 20 | 60 | KA0573:11 | BOP
KT0572:A1 | KA054012 | WHT | 20 | 60 | KA0540:22 | BOP
KT0573:A1 | KA054112 | WHT | 20 | 60 | KA0541:22 | BOP
KT0576:A1 | KA054222 | WHT | 20 | 60 | KA0542:22 | BOP
KT0577:A1 | KA054322 | WHT | 20 | 60 | KA0543:22 | BOP
KT0571:A1 | ZSC76112 | WHT | 20 | 60 | XT0572:2 | BOP
KT0574:A1 | ZSC76122 | WHT | 20 | 60 | XT0572:9 | BOP
KT0575:A1 | ZSO76012 | WHT | 20 | 60 | XT0572:7 | BOP
FU0143:LD | FU0143 | WHT | 16 | 60 | XT0140:9 | BOP | FU/XT
FU0140:LI | FU0146 | WHT | 14 | 60 | FU0146:LD | BOP
FU0143:LI | FU0146 | WHT | 14 | 60 | FU0180:LI | BOP
KA0573:A2 | -0V | WHT | 20 | 120 | KA0577:A2 | HPC | KA-HPC
KA0573:11 | KA053312 | WHT | 20 | 120 | KA0577:21 | HPC
KT0576:18 | KT057618 | WHT | 20 | 120 | KA0577:11 | HPC | KT-HPC
KT0577:18 | KT057718 | WHT | 20 | 120 | KA0577:A1 | HPC
KT0572:15 | KA053312 | WHT | 20 | 120 | KA0577:21 | HPC
KT0575:15 | KA057714 | WHT | 20 | 120 | KA0577:14 | HPC
XT0573:6 T2 | KA057722 | WHT | 20 | 120 | KA0577:22 | HPC | XT-HPC
XT0573:8 B2 | KA057722 | WHT | 20 | 120 | KA0577:22 | HPC

## HPC PNL_S
HPC PNL
HP COMPRESSOR PANEL,JB73
Project # | 4K931
Project Name | NORTHERN NATURAL GAS COMPANY
Revision | B
Controls DE | S. LOPEZ
Phone:
Controls ME | H. MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0510:53 | -0V | WHT | 16 | 60 | XT0510:2 | HPC | 1444s
AF0510:54 | -0V | WHT | 16 | 60 | AF0520:53 | HPC
AF0510:55 | FU0510 | WHT | 16 | 60 | FU0510:LD | HPC
AF0510:56 | FU0510 | WHT | 16 | 60 | AF0520:55 | HPC
AF1207:32 | PS74302 | WHT | 20 | 80 | XT0240:1 | HPC | AF
AF1207:00 | PS74303 | WHT | 20 | 80 | XT0240:2 | HPC
AF1207:40 | PS74312 | WHT | 20 | 80 | XT0240:3 | HPC
AF1207:08 | PS74313 | WHT | 20 | 80 | XT0240:4 | HPC
AF1201:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC
AU1200:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC
AF1202:COM | AF1202N | WHT | 16 | 60 | AU1200:COM | HPC
AF1202:V+ | AF1202P | WHT | 16 | 60 | AU1200:V+ | HPC
AF1206:COM | AF1207N | WHT | 16 | 60 | AF1207:COM | HPC
AF1206:V+ | AF1207P | WHT | 16 | 60 | AF1207:V+ | HPC
AU1200:V+ | FU0120 | WHT | 16 | 100 | FU0120:LD | HPC
AF1201:V+ | FU0121 | WHT | 16 | 100 | FU0121:LD | HPC
KA0120:A1 | KA0131A1 | WHT | 20 | 60 | XT0120:4 | HPC | KA A1/A2
KA0120:A2 | -0V | WHT | 20 | 60 | XT0120:3 | HPC
KA4401:A2 | -120718 | WHT | 20 | 80 | AF1207:18 | HPC
KA4401:14 | -120702 | WHT | 20 | 80 | AF1207:02 | HPC | KA
KA4401:11 | PS44012 | WHT | 20 | 80 | AF1207:34 | HPC
KA4401:11 | PS44012 | WHT | 20 | 60 | XT0120:5 | HPC
XT0120:3 | -0V | WHT | 14 | 60 | XT0510:1 | HPC | FU/XT
FU0120:LI | FU0122 | WHT | 14 | 60 | FU0122:LD | HPC
FU0121:LI | FU0122 | WHT | 14 | 60 | FU0510:LI | HPC

## Bundle Tag Info
NNG-BUR
4K931
B.1
A PNL | B PNL | PLC | MEDIA CONV | JB130 | JB70 | JB70 R RAIL | JB73 L RAIL | BOP | HPC | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AF080s | AF060s | AT/FU | BA | UJ0031 | SA0471 | BA | FU/XT | AF140s | 1444s
AF090s | AF070s | UV-A |  | UJ0131 | SA0473 | FU/XT | FU/XT-BOP | AF180s | AF
FU | 1444s | FU/XT-A |  |  | SA0474 | XT-A | XT-HPC | KA A1 | KA A1/A2
KA A1 | FU/XT |  |  |  | SB0471 | BA-B |  | KA A2 | KA
KA A2 | KA A1 |  |  |  | SB0472 | XT-B |  | KA | FU/XT
KA | KA A2 |  |  |  | SB0473 |  |  | KT L/S
KT L/S | KA |  |  |  | SB0474 |  |  | KT R/S
KT R/S |  |  |  |  | SH0470 |  |  | FU/XT
UA |  |  |  |  | SH0471 |  |  | KA-HPC
XT |  |  |  |  | SH0472 |  |  | KT-HPC
AF090s-B |  |  |  |  | AT1100 |  |  | XT-HPC
KA A1-B
KA-B
KT L/S
KT R/S
UA-B
FU/XT-B

## Bundle Tags2
A PNL | B PNL | PLC | MEDIA CONV | JB130 | JB70 | JB70 R RAIL | JB73 L RAIL | BOP | HPC | 0
NNG-BUR 4K931 B.1 A PNL AF080s | NNG-BUR 4K931 B.1 B PNL AF060s | NNG-BUR 4K931 B.1 PLC AT/FU | NNG-BUR 4K931 B.1 MEDIA CONV BA | NNG-BUR 4K931 B.1 JB130 UJ0031 | NNG-BUR 4K931 B.1 JB70 SA0471 | NNG-BUR 4K931 B.1 JB70 R RAIL BA | NNG-BUR 4K931 B.1 JB73 L RAIL FU/XT | NNG-BUR 4K931 B.1 BOP AF140s | NNG-BUR 4K931 B.1 HPC 1444s
NNG-BUR 4K931 B.1 A PNL AF090s | NNG-BUR 4K931 B.1 B PNL AF070s | NNG-BUR 4K931 B.1 PLC UV-A |  | NNG-BUR 4K931 B.1 JB130 UJ0131 | NNG-BUR 4K931 B.1 JB70 SA0473 | NNG-BUR 4K931 B.1 JB70 R RAIL FU/XT | NNG-BUR 4K931 B.1 JB73 L RAIL FU/XT-BOP | NNG-BUR 4K931 B.1 BOP AF180s | NNG-BUR 4K931 B.1 HPC AF
NNG-BUR 4K931 B.1 A PNL FU | NNG-BUR 4K931 B.1 B PNL 1444s | NNG-BUR 4K931 B.1 PLC FU/XT-A |  |  | NNG-BUR 4K931 B.1 JB70 SA0474 | NNG-BUR 4K931 B.1 JB70 R RAIL XT-A | NNG-BUR 4K931 B.1 JB73 L RAIL XT-HPC | NNG-BUR 4K931 B.1 BOP KA A1 | NNG-BUR 4K931 B.1 HPC KA A1/A2
NNG-BUR 4K931 B.1 A PNL KA A1 | NNG-BUR 4K931 B.1 B PNL FU/XT |  |  |  | NNG-BUR 4K931 B.1 JB70 SB0471 | NNG-BUR 4K931 B.1 JB70 R RAIL BA-B |  | NNG-BUR 4K931 B.1 BOP KA A2 | NNG-BUR 4K931 B.1 HPC KA
NNG-BUR 4K931 B.1 A PNL KA A2 | NNG-BUR 4K931 B.1 B PNL KA A1 |  |  |  | NNG-BUR 4K931 B.1 JB70 SB0472 | NNG-BUR 4K931 B.1 JB70 R RAIL XT-B |  | NNG-BUR 4K931 B.1 BOP KA | NNG-BUR 4K931 B.1 HPC FU/XT
NNG-BUR 4K931 B.1 A PNL KA | NNG-BUR 4K931 B.1 B PNL KA A2 |  |  |  | NNG-BUR 4K931 B.1 JB70 SB0473 |  |  | NNG-BUR 4K931 B.1 BOP KT L/S
NNG-BUR 4K931 B.1 A PNL KT L/S | NNG-BUR 4K931 B.1 B PNL KA |  |  |  | NNG-BUR 4K931 B.1 JB70 SB0474 |  |  | NNG-BUR 4K931 B.1 BOP KT R/S
NNG-BUR 4K931 B.1 A PNL KT R/S |  |  |  |  | NNG-BUR 4K931 B.1 JB70 SH0470 |  |  | NNG-BUR 4K931 B.1 BOP FU/XT
NNG-BUR 4K931 B.1 A PNL UA |  |  |  |  | NNG-BUR 4K931 B.1 JB70 SH0471 |  |  | NNG-BUR 4K931 B.1 BOP KA-HPC
NNG-BUR 4K931 B.1 A PNL XT |  |  |  |  | NNG-BUR 4K931 B.1 JB70 SH0472 |  |  | NNG-BUR 4K931 B.1 BOP KT-HPC
NNG-BUR 4K931 B.1 A PNL AF090s-B |  |  |  |  | NNG-BUR 4K931 B.1 JB70 AT1100 |  |  | NNG-BUR 4K931 B.1 BOP XT-HPC
NNG-BUR 4K931 B.1 A PNL KA A1-B
NNG-BUR 4K931 B.1 A PNL KA-B
NNG-BUR 4K931 B.1 A PNL KT L/S
NNG-BUR 4K931 B.1 A PNL KT R/S
NNG-BUR 4K931 B.1 A PNL UA-B
NNG-BUR 4K931 B.1 A PNL FU/XT-B

## ALL
A PNL | B PNL | PLC | MEDIA CONV | JB130 | JB70 | JB70 R RAIL | JB73 L RAIL | BOP | HPC | 0
NNG-BUR 4K931 B.1 A PNL AF080s | NNG-BUR 4K931 B.1 B PNL AF060s | NNG-BUR 4K931 B.1 PLC AT/FU | NNG-BUR 4K931 B.1 MEDIA CONV BA | NNG-BUR 4K931 B.1 JB130 UJ0031 | NNG-BUR 4K931 B.1 JB70 SA0471 | NNG-BUR 4K931 B.1 JB70 R RAIL BA | NNG-BUR 4K931 B.1 JB73 L RAIL FU/XT | NNG-BUR 4K931 B.1 BOP AF140s | NNG-BUR 4K931 B.1 HPC 1444s
NNG-BUR 4K931 B.1 A PNL AF090s | NNG-BUR 4K931 B.1 B PNL AF070s | NNG-BUR 4K931 B.1 PLC UV-A |  | NNG-BUR 4K931 B.1 JB130 UJ0131 | NNG-BUR 4K931 B.1 JB70 SA0473 | NNG-BUR 4K931 B.1 JB70 R RAIL FU/XT | NNG-BUR 4K931 B.1 JB73 L RAIL FU/XT-BOP | NNG-BUR 4K931 B.1 BOP AF180s | NNG-BUR 4K931 B.1 HPC AF
NNG-BUR 4K931 B.1 A PNL FU | NNG-BUR 4K931 B.1 B PNL 1444s | NNG-BUR 4K931 B.1 PLC FU/XT-A |  |  | NNG-BUR 4K931 B.1 JB70 SA0474 | NNG-BUR 4K931 B.1 JB70 R RAIL XT-A | NNG-BUR 4K931 B.1 JB73 L RAIL XT-HPC | NNG-BUR 4K931 B.1 BOP KA A1 | NNG-BUR 4K931 B.1 HPC KA A1/A2
NNG-BUR 4K931 B.1 A PNL KA A1 | NNG-BUR 4K931 B.1 B PNL FU/XT |  |  |  | NNG-BUR 4K931 B.1 JB70 SB0471 | NNG-BUR 4K931 B.1 JB70 R RAIL BA-B |  | NNG-BUR 4K931 B.1 BOP KA A2 | NNG-BUR 4K931 B.1 HPC KA
NNG-BUR 4K931 B.1 A PNL KA A2 | NNG-BUR 4K931 B.1 B PNL KA A1 |  |  |  | NNG-BUR 4K931 B.1 JB70 SB0472 | NNG-BUR 4K931 B.1 JB70 R RAIL XT-B |  | NNG-BUR 4K931 B.1 BOP KA | NNG-BUR 4K931 B.1 HPC FU/XT
NNG-BUR 4K931 B.1 A PNL KA | NNG-BUR 4K931 B.1 B PNL KA A2 |  |  |  | NNG-BUR 4K931 B.1 JB70 SB0473 |  |  | NNG-BUR 4K931 B.1 BOP KT L/S
NNG-BUR 4K931 B.1 A PNL KT L/S | NNG-BUR 4K931 B.1 B PNL KA |  |  |  | NNG-BUR 4K931 B.1 JB70 SB0474 |  |  | NNG-BUR 4K931 B.1 BOP KT R/S
NNG-BUR 4K931 B.1 A PNL KT R/S |  |  |  |  | NNG-BUR 4K931 B.1 JB70 SH0470 |  |  | NNG-BUR 4K931 B.1 BOP FU/XT
NNG-BUR 4K931 B.1 A PNL UA |  |  |  |  | NNG-BUR 4K931 B.1 JB70 SH0471 |  |  | NNG-BUR 4K931 B.1 BOP KA-HPC
NNG-BUR 4K931 B.1 A PNL XT |  |  |  |  | NNG-BUR 4K931 B.1 JB70 SH0472 |  |  | NNG-BUR 4K931 B.1 BOP KT-HPC
NNG-BUR 4K931 B.1 A PNL AF090s-B |  |  |  |  | NNG-BUR 4K931 B.1 JB70 AT1100 |  |  | NNG-BUR 4K931 B.1 BOP XT-HPC
NNG-BUR 4K931 B.1 A PNL KA A1-B
NNG-BUR 4K931 B.1 A PNL KA-B
NNG-BUR 4K931 B.1 A PNL KT L/S
NNG-BUR 4K931 B.1 A PNL KT R/S
NNG-BUR 4K931 B.1 A PNL UA-B
NNG-BUR 4K931 B.1 A PNL FU/XT-B