## LIGHTS_S
LIGHTS
Project # | 4L961
Project Name | SMT60 Stock Unit Pre-Release - April 2025
Revision | 0.3_M.2
Controls DE | JONATHAN S.
Phone:
Controls ME | NOMAR L.
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
EL0273:W1 | -0V | WHT | 16 | 180 | XT0562:2 | PWR RAIL | EL0273
EL0273:B1 | FU0273LD | WHT | 16 | 180 | FU0273:LD | PWR RAIL

## FS CTRL_S
FIRE SYSTEM CONTROL
Project # | 4L961
Project Name | SMT60 Stock Unit Pre-Release - April 2025
Revision | 0.3_M.2
Controls DE | JONATHAN S.
Phone:
Controls ME | NOMAR L.
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0176:5P1 | AT01765P1 | WHT | 20 | 60 | AT0178:2P1 | FS CTRL | AT
AT0171:18 | HL0971X1 | WHT | 20 | 60 | XT0200:5 | FS CTRL
AT0171:21 | HL0972X1 | WHT | 20 | 60 | XT0200:8 | FS CTRL
AT0171:24 | HL0973X1 | WHT | 20 | 60 | XT0200:11 | FS CTRL
AT0171:2 | SB097013 | WHT | 20 | 60 | XT0200:1 | FS CTRL
AT0171:3 | SB097014 | WHT | 20 | 60 | XT0200:2 | FS CTRL
AT0171:17 | VD0975A | WHT | 20 | 60 | XT0200:3 | FS CTRL
AT0171:23 | VD0975D | WHT | 20 | 60 | XT0200:9 | FS CTRL
AT0171:20 | VD0975I | WHT | 20 | 60 | XT0200:6 | FS CTRL
AT0176:4P1 | AT01764P1 | WHT | 14 | 60 | AT0178:1P1 | FS CTRL
AT0171:1P1 | AT01784P1 | WHT | 14 | 60 | AT0178:4P1 | FS CTRL
AT0171:2P1 | AT01785P1 | WHT | 14 | 60 | AT0178:5P1 | FS CTRL
UV0170:10(-) | UV017010 | WHT | 14 | 60 | AT0175:2P1 | FS CTRL | UV
UV0170:11(+) | UV017011 | WHT | 14 | 60 | AT0176:1P1 | FS CTRL
UV0170:12(-) | UV017012 | WHT | 14 | 60 | AT0176:2P1 | FS CTRL
UV0170:9(+) | UV01709 | WHT | 14 | 60 | AT0175:1P1 | FS CTRL
AT0175:11 | -017511 | WHT | 20 | 220 | KA6510:12 | FGVIB | AT-VIB
AT0178:24 | KA0178A2 | WHT | 20 | 220 | XT0170:17 | FGVIB
AT0178:23 | VD0178 | WHT | 20 | 220 | XT0170:16 | FGVIB
AT0175:4P1 | AT01754P1 | WHT | 16 | 220 | XT0170:24 | FGVIB
AT0175:5P1 | KA6510A2 | WHT | 16 | 220 | KA6510:A2 | FGVIB
UV0170:2(-) | -0V | WHT | 14 | 220 | XT0170:3 | FGVIB | UV-VIB
UV0170:4(-) | -0V | WHT | 14 | 220 | XT0170:3 | FGVIB
UV0170:1(+) | FU0170 | WHT | 14 | 220 | XT0170:2 | FGVIB
UV0170:3(+) | FU0170 | WHT | 14 | 220 | XT0170:2 | FGVIB
UV0170:14(-) | LON0N | WHT | 14 | 220 | XT0170:19 | FGVIB
UV0170:13(+) | LON0P | WHT | 14 | 220 | XT0170:18 | FGVIB
UV0170:16(-) | LON2N | WHT | 14 | 220 | XT0170:22 | FGVIB
UV0170:15(+) | LON2P | WHT | 14 | 220 | XT0170:21 | FGVIB
UV0170:5(+) | UV01705 | WHT | 14 | 220 | AT0170:1 | FGVIB
UV0170:6(-) | UV01706 | WHT | 14 | 220 | AT0170:2 | FGVIB
UV0170:7(+) | UV01707 | WHT | 14 | 220 | AT0170:3 | FGVIB
UV0170:8(-) | UV01708 | WHT | 14 | 220 | AT0170:4 | FGVIB

## PWR RAIL_S
POWER RAIL
Project # | 4L961
Project Name | SMT60 Stock Unit Pre-Release - April 2025
Revision | 0.3_M.2
Controls DE | JONATHAN S.
Phone:
Controls ME | NOMAR L.
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
FU0190:LI | FU0560 | WHT | 12 | 60 | FU0701:LI | PWR RAIL | FU
FU0201:LI | FU0560 | WHT | 12 | 60 | FU0273:LI | PWR RAIL
FU0560:LD | FU0560 | WHT | 12 | 60 | XT0561:1 | PWR RAIL
XT0562:4 | -0V | WHT | 14 | 100 | AT0190:NEG | DOOR | FU/XT-DOOR
FU0190:LD | FU0190 | WHT | 14 | 100 | AT0190:POS | DOOR
FU0560:LI | FU0137 | WHT | 14 | 220 | XT0139:3 | CONTROL A | FU/XT-A
XT0562:1 | -0V | WHT | 12 | 220 | XT0135:2 | CONTROL A
XT0563:4 | -0V | WHT | 20 | 240 | XT0240:9 | CONTROL B | XT-B
XT0563:2 | ESTOP | WHT | 20 | 240 | XT0240:4 | CONTROL B
XT0563:1 | ESTOPA | WHT | 20 | 240 | XT0240:3 | CONTROL B
XT0563:6 | FU0139 | WHT | 20 | 240 | XT0240:11 | CONTROL B
XT0563:3 | KA023612 | WHT | 20 | 240 | XT0240:13 | CONTROL B
XT0563:5 | KA0241A1 | WHT | 20 | 240 | XT0240:6 | CONTROL B

## DOOR_S
CONSOLE DOOR
Project # | 4L961
Project Name | SMT60 Stock Unit Pre-Release - April 2025
Revision | 0.3_M.2
Controls DE | JONATHAN S.
Phone:
Controls ME | NOMAR L.
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
KA0460:34 | KA0333A1 | WHT | 20 | 200 | XT0460:5 | GEN CTRL | KA
KA0460:10 | KA046010 | WHT | 20 | 200 | KA0330:22 | GEN CTRL
KA0460:11 | KA046011 | WHT | 20 | 200 | KA0334:11 | GEN CTRL
KA0460:12 | KA046012 | WHT | 20 | 200 | AF0122:43 | GEN CTRL
KA0460:13 | KA046013 | WHT | 20 | 200 | AF0122:11 | GEN CTRL
KA0460:15 | KA046015 | WHT | 20 | 200 | AF0122:44 | GEN CTRL
KA0460:16 | KA046016 | WHT | 20 | 200 | AF0122:12 | GEN CTRL
KA0460:18 | KA046018 | WHT | 20 | 200 | AF0122:35 | GEN CTRL
KA0460:19 | KA046019 | WHT | 20 | 200 | AF0122:03 | GEN CTRL
KA0460:23 | KA046023 | WHT | 20 | 200 | AF0122:09 | GEN CTRL
KA0460:24 | KA046024 | WHT | 20 | 200 | AF0122:41 | GEN CTRL
KA0460:29 | KA046029 | WHT | 20 | 200 | AF0122:04 | GEN CTRL
KA0460:30 | KA046030 | WHT | 20 | 200 | AF0122:36 | GEN CTRL
KA0460:5 | KA04605 | WHT | 20 | 200 | KA0330:24 | GEN CTRL
KA0460:6 | KA04606 | WHT | 20 | 200 | KA0334:14 | GEN CTRL
KA0460:63 | -0V | WHT | 14 | 180 | XT0761:1 | FGVIB
KA0460:31 | FU0460 | WHT | 14 | 200 | XT0460:2 | GEN CTRL
KA0460:33 | FU0460 | WHT | 14 | 200 | XT0460:3 | GEN CTRL
KA0460:62 | FU0460 | WHT | 14 | 200 | XT0460:1 | GEN CTRL
KA0460:32 | KA046032 | WHT | 14 | 200 | XT0460:4 | GEN CTRL
KA0460:65 | VBUSA | RED | 16R | 200 | XT0351:1 | GEN CTRL | KA RED
KA0460:64 | VBUSB | RED | 16R | 200 | XT0351:3 | GEN CTRL
KA0460:39 | VGENA | RED | 16R | 200 | XT0351:7 | GEN CTRL
KA0460:41 | VGENB | RED | 16R | 200 | XT0351:9 | GEN CTRL
KA0460:43 | VGENC | RED | 16R | 200 | XT0351:11 | GEN CTRL
KA0460:54 | DCT01 | BLU | 12B | 200 | XT0454:4 | GEN CTRL | KA BLU
KA0460:56 | DCT01 | BLU | 12B | 200 | XT0454:5 | GEN CTRL
KA0460:58 | DCT01 | BLU | 12B | 200 | XT0454:6 | GEN CTRL
KA0460:55 | DCT02 | BLU | 12B | 200 | XT0454:1 | GEN CTRL
KA0460:57 | DCT03 | BLU | 12B | 200 | XT0454:2 | GEN CTRL
KA0460:59 | DCT06 | BLU | 12B | 200 | XT0454:3 | GEN CTRL
KA0460:46 | DCTAX1 | BLU | 12B | 200 | XT0353:1 | GEN CTRL
KA0460:48 | DCTBX1 | BLU | 12B | 200 | XT0353:2 | GEN CTRL
KA0460:50 | DCTCX1 | BLU | 12B | 200 | XT0353:3 | GEN CTRL
KA0461:16 | KA0333A1 | WHT | 20 | 200 | XT0337:6 | GEN CTRL | KA0461
KA0461:16 | KA0333A1 | WHT | 20 | 200 | XT0460:5 | GEN CTRL
KA0461:11 | KA046111 | WHT | 20 | 200 | XT0460:8 | GEN CTRL
KA0461:13 | KA046113 | WHT | 20 | 200 | XT0460:7 | GEN CTRL
KA0461:B | -0V | WHT | 14 | 200 | XT0460:6 | GEN CTRL
KA0461:14 | FU0460 | WHT | 14 | 200 | XT0460:2 | GEN CTRL
KA0461:G | KA046032 | WHT | 14 | 200 | XT0460:4 | GEN CTRL
SA0710:B1-13 | -008746 | WHT | 20 | 220 | AF0087:46 | CONTROL A | SA0710
SA0710:B1-14 | -008714 | WHT | 20 | 220 | AF0087:14 | CONTROL A

## FGVIB_S
FGVIB SYS CTRL
Project # | 4L961
Project Name | SMT60 Stock Unit Pre-Release - April 2025
Revision | 0.3_M.2
Controls DE | JONATHAN S.
Phone:
Controls ME | NOMAR L.
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0182:45 | KA7500C | WHT | 20 | 60 | XT0181:1 | FGVIB | AF/AU0180s
AF0182:13 | KA7500NO | WHT | 20 | 60 | XT0181:2 | FGVIB
AF0182:36 | SB75001 | WHT | 20 | 60 | XT0181:6 | FGVIB
AF0182:04 | SB75002 | WHT | 20 | 60 | XT0181:7 | FGVIB
AF0182:32 | SB75011 | WHT | 20 | 60 | XT0183:1 | FGVIB
AF0182:00 | SB75012 | WHT | 20 | 80 | XT0183:2 | FGVIB
AF0182:33 | SB75021 | WHT | 20 | 80 | XT0183:3 | FGVIB
AF0182:01 | SB75022 | WHT | 20 | 80 | XT0183:4 | FGVIB
AF0182:38 | SB75031 | WHT | 20 | 60 | XT0181:8 | FGVIB
AF0182:06 | SB75032 | WHT | 20 | 60 | XT0181:9 | FGVIB
AF0181:COM | -0V | WHT | 14 | 60 | XT0761:3 | FGVIB
AF0182:COM | -0V | WHT | 14 | 60 | XT0761:3 | FGVIB
AU0180:COM | -0V | WHT | 14 | 60 | XT0761:3 | FGVIB
AU0180:V+ | FU0180 | WHT | 14 | 60 | FU0180:LD | FGVIB
AF0181:V+ | FU0181 | WHT | 14 | 60 | FU0181:LD | FGVIB
AF0182:V+ | FU0182 | WHT | 14 | 60 | FU0182:LD | FGVIB
AF0410:53 | -0V | WHT | 16 | 60 | XT0130:4 | FGVIB | 1444s
AF0410:54 | AF0410N | WHT | 16 | 60 | AF0420:53 | FGVIB
AF0410:56 | AF0410P | WHT | 16 | 60 | AF0420:55 | FGVIB
AF0420:54 | AF0420N | WHT | 16 | 60 | AF0440:53 | FGVIB
AF0420:56 | AF0420P | WHT | 16 | 60 | AF0440:55 | FGVIB
AF0440:54 | AF0440N | WHT | 16 | 60 | AF0450:53 | FGVIB
AF0440:56 | AF0440P | WHT | 16 | 60 | AF0450:55 | FGVIB
AF0410:55 | FU0113 | WHT | 16 | 60 | FU0113:LD | FGVIB
AT0170:11 | SA0170B113 | WHT | 20 | 60 | XT0170:11 | FGVIB | AT
AT0170:12 | SA0170B114 | WHT | 20 | 60 | XT0170:12 | FGVIB
FU0170:LD | FU0170 | WHT | 14 | 60 | XT0170:2 | FGVIB | FU
FU0180:LI | FU0332 | WHT | 14 | 60 | XT0760:3 | FGVIB
KA0172:A1 | AT017025 | WHT | 20 | 100 | AT0170:25 | FGVIB | KA A1
KA0174:A1 | AT017031 | WHT | 20 | 100 | AT0170:31 | FGVIB
KA0171:A1 | AT017046 | WHT | 20 | 100 | AT0170:46 | FGVIB
KA0178:A1 | KA0178A1 | WHT | 20 | 100 | XT0170:15 | FGVIB
KA0185:A1 | KA0185A1 | WHT | 20 | 120 | AF0181:10 | FGVIB
KA2160:A1 | -018106 | WHT | 16 | 120 | AF0181:06 | FGVIB
KA2161:A1 | KA2161A1 | WHT | 16 | 120 | AF0181:08 | FGVIB
KA6510:A1 | SA0170B214 | WHT | 16 | 100 | XT0170:25 | FGVIB
KA0172:A2 | -0V | WHT | 20 | 100 | XT0170:4 | FGVIB | KA A2
KA0174:A2 | -0V | WHT | 20 | 60 | KA0171:A2 | FGVIB
KA0176:A2 | -0V | WHT | 20 | 100 | XT0170:3 | FGVIB
KA0178:A2 | KA0178A2 | WHT | 20 | 100 | XT0170:17 | FGVIB
KA0185:A2 | KA0185A2 | WHT | 20 | 120 | AF0181:26 | FGVIB
KA2160:A2 | -018122 | WHT | 16 | 120 | AF0181:22 | FGVIB
KA2161:A2 | KA2161A2 | WHT | 16 | 120 | AF0181:24 | FGVIB
KA0875:14 | FU0170 | WHT | 20 | 80 | XT0170:1 | FGVIB | KA
KA0875:11 | HA0472BLK-2 | WHT | 20 | 60 | KA0178:11 | FGVIB
KA0875:11 | HA0472BLK-2 | WHT | 20 | 80 | XT0170:13 | FGVIB
KA0171:11 | KA017111 | WHT | 20 | 80 | XT0170:5 | FGVIB
KA0171:12 | KA017112 | WHT | 20 | 80 | XT0170:6 | FGVIB
KA0172:11 | KA017211 | WHT | 20 | 80 | XT0170:7 | FGVIB
KA0172:12 | KA017212 | WHT | 20 | 80 | XT0170:8 | FGVIB
KA0174:11 | KA017411 | WHT | 20 | 80 | XT0170:9 | FGVIB
KA0174:12 | KA017412 | WHT | 20 | 80 | XT0170:10 | FGVIB
KA0176:11 | KA017611 | WHT | 20 | 80 | XT0171:1 | FGVIB
KA0176:21 | KA017621 | WHT | 20 | 80 | XT0171:3 | FGVIB
KA0177:11 | KA017711 | WHT | 20 | 80 | XT0171:5 | FGVIB
KA0177:21 | KA017721 | WHT | 20 | 80 | XT0171:7 | FGVIB
KA2160:11 | KA216011 | WHT | 16 | 60 | XT0182:4 | FGVIB
KA2160:14 | KA216014 | WHT | 16 | 60 | XT0182:3 | FGVIB
KA2161:11 | KA216111 | WHT | 16 | 60 | XT0182:6 | FGVIB
KA2161:14 | KA216114 | WHT | 16 | 60 | XT0182:5 | FGVIB
XT0172:6 | LON0S2 | WHT | 16 | 60 | XT0172:15 | FGVIB | XT
XT0170:14 | -0V | WHT | 14 | 60 | XT0170:4 | FGVIB
XT0170:4 | -0V | WHT | 14 | 60 | XT0172:5 | FGVIB
XT0172:14 | -0V | WHT | 14 | 60 | XT0172:8 | FGVIB
XT0172:5 | -0V | WHT | 14 | 60 | XT0172:14 | FGVIB
XT0170:1 | FU0170 | WHT | 14 | 60 | XT0172:4 | FGVIB
XT0172:13 | FU0170 | WHT | 14 | 60 | XT0172:7 | FGVIB
XT0172:4 | FU0170 | WHT | 14 | 60 | XT0172:13 | FGVIB
XT0172:15 | LON0S2 | WHT | 14 | 60 | XT0172:9 | FGVIB
KA0176:14 | -009336 | WHT | 20 | 160 | AF0093:36 | CONTROL A | KA-A
KA0177:14 | -009337 | WHT | 20 | 160 | AF0093:37 | CONTROL A
KA0177:24 | -009340 | WHT | 20 | 160 | AF0093:40 | CONTROL A
KA0176:24 | -009345 | WHT | 20 | 160 | AF0093:45 | CONTROL A
KA0176:A1 | KA0176A1 | WHT | 20 | 200 | KA0135:21 | CONTROL A
XT0171:2 | -009304 | WHT | 20 | 160 | AF0093:04 | CONTROL A | FU/XT-A
XT0171:6 | -009305 | WHT | 20 | 160 | AF0093:05 | CONTROL A
XT0171:4 | -009313 | WHT | 20 | 160 | AF0093:13 | CONTROL A
XT0170:14 | -0V | WHT | 20 | 200 | XT0173:2 | CONTROL A
XT0170:3 | -0V | WHT | 20 | 200 | XT0135:3 | CONTROL A
XT0170:13 | HA0472BLK-2 | WHT | 20 | 200 | XT0173:1 | CONTROL A
XT0171:8 | -009308 | WHT | 16 | 160 | AF0093:08 | CONTROL A
FU0170:LI | FU0137 | WHT | 14 | 200 | XT0139:4 | CONTROL A
AT0170:24 | FU0139 | WHT | 20 | 200 | XT0240:12 | CONTROL B | AT-B
AT0170:30 | FU0139 | WHT | 20 | 200 | XT0240:12 | CONTROL B
AT0170:26 | KA0243A1 | WHT | 20 | 200 | XT0240:7 | CONTROL B
AT0170:32 | KA0245A1 | WHT | 20 | 200 | XT0240:8 | CONTROL B
KA0875:14 | FU0170 | WHT | 20 | 200 | KA0232:12 | CONTROL B | KA-B
KA0178:14 | KA017814 | WHT | 20 | 200 | KA0232:11 | CONTROL B
XT0170:2 | FU0170 | WHT | 20 | 200 | KA0232:22 | CONTROL B | XT-B
XT0171:1 | KA017611 | WHT | 20 | 200 | KA0246:11 | CONTROL B
XT0171:3 | KA017621 | WHT | 20 | 200 | KA0246:21 | CONTROL B
XT0171:5 | KA017711 | WHT | 20 | 200 | KA0251:11 | CONTROL B
XT0171:7 | KA017721 | WHT | 20 | 200 | KA0251:21 | CONTROL B
KA0185:11 | KA012111 | WHT | 20 | 240 | XT0337:11 | GEN CTRL | KA-GEN
KA0185:14 | KA0332A1 | WHT | 20 | 240 | XT0337:12 | GEN CTRL
XT0182:1 | KA96041 | WHT | 16 | 240 | AF0122:39 | GEN CTRL | FU/XT-GEN
XT0182:2 | KA96042 | WHT | 16 | 240 | AF0122:07 | GEN CTRL
XT0130:2 | -0V | WHT | 14 | 240 | XT0336:3 | GEN CTRL
XT0130:2 | -0V | WHT | 14 | 240 | XT0120:1 | GEN CTRL
XT0130:4 | -0V | WHT | 14 | 240 | XT0336:4 | GEN CTRL
XT0761:1 | -0V | WHT | 14 | 240 | XT0460:6 | GEN CTRL
XT0761:1 | -0V | WHT | 14 | 240 | XT0120:3 | GEN CTRL
FU0113:LI | FU0332 | WHT | 14 | 240 | FU0335:LI | GEN CTRL
XT0130:1 | FU0332 | WHT | 14 | 240 | FU0120:LI | GEN CTRL
XT0130:1 | FU0332 | WHT | 14 | 240 | FU0332:LD | GEN CTRL
XT0760:1 | FU0332 | WHT | 14 | 240 | FU0122:LI | GEN CTRL
XT0760:2 | FU0332 | WHT | 14 | 240 | FU0460:LI | GEN CTRL

## PLC_S
PLC
Project # | 4L961
Project Name | SMT60 Stock Unit Pre-Release - April 2025
Revision | 0.3_M.2
Controls DE | JONATHAN S.
Phone:
Controls ME | NOMAR L.
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UV0600:(-) | -0V | WHT | 14 | 80 | XT0134:2 | CONTROL A | UV0600
UV0600:(+) | FU0010 | WHT | 14 | 80 | FU0010:LD | CONTROL A

## CONTROL A_S
CONTROL A
Project # | 4L961
Project Name | SMT60 Stock Unit Pre-Release - April 2025
Revision | 0.3_M.2
Controls DE | JONATHAN S.
Phone:
Controls ME | NOMAR L.
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0081:46 | SB7512B111 | WHT | 16 | 80 | XT0140:1 | CONTROL A | AF/AU080s
AF0081:47 | SB751411 | WHT | 16 | 80 | XT0140:3 | CONTROL A
AF0081:15 | SB751512 | WHT | 16 | 80 | XT0140:4 | CONTROL A
AF0081:39 | SB751611 | WHT | 16 | 80 | XT0140:7 | CONTROL A
AF0081:07 | SB751612 | WHT | 16 | 80 | XT0140:8 | CONTROL A
AF0082:COM | -0V | WHT | 14 | 60 | XT0080:2 | CONTROL A
AU0080:COM | -0V | WHT | 14 | 60 | XT0080:1 | CONTROL A
AU0080:V+ | FU0080 | WHT | 14 | 60 | FU0080:LD | CONTROL A
AF0082:V+ | FU0081 | WHT | 14 | 60 | FU0081:LD | CONTROL A
AF0091:42 | SH047513 | WHT | 20 | 100 | XT0137:5 | CONTROL A | AF/AU090s
AF0091:10 | SH047514 | WHT | 20 | 100 | XT0137:6 | CONTROL A
AF0092:26 | SH0475AX1 | WHT | 20 | 100 | XT0137:10 | CONTROL A
AF0092:10 | SH0475AX2 | WHT | 20 | 100 | XT0137:9 | CONTROL A
AF0092:COM | -0V | WHT | 14 | 80 | XT0090:2 | CONTROL A
AF0093:COM | -0V | WHT | 14 | 80 | XT0090:2 | CONTROL A
AF0095:COM | -0V | WHT | 14 | 80 | XT0090:2 | CONTROL A
AU0090:COM | -0V | WHT | 14 | 80 | XT0090:1 | CONTROL A
AU0090:V+ | FU0090 | WHT | 14 | 80 | FU0090:LD | CONTROL A
AF0092:V+ | FU0091 | WHT | 14 | 80 | FU0091:LD | CONTROL A
AF0093:V+ | FU0092 | WHT | 14 | 80 | FU0092:LD | CONTROL A
AF0095:V+ | FU0093 | WHT | 14 | 80 | FU0093:LD | CONTROL A
FU0010:LI | FU0137 | WHT | 14 | 60 | XT0138:2 | CONTROL A | FU
FU0090:LI | FU0137 | WHT | 14 | 60 | XT0139:3 | CONTROL A
FU0137:LD | FU0137 | WHT | 14 | 60 | XT0139:2 | CONTROL A
FU0139:LI | FU0137 | WHT | 14 | 60 | XT0139:2 | CONTROL A
FU0080:LI | FU0137 | WHT | 14 | 100 | XT0139:2 | CONTROL A
FU0139:LD | FU0139 | WHT | 14 | 60 | XT0136:1 | CONTROL A
FU0137:LI | FU0137 | WHT | 12 | 60 | XT0139:1 | CONTROL A
KA0130:A1 | -008135 | WHT | 20 | 60 | AF0081:35 | CONTROL A | KA A1
KA0130:A1 | -008135 | WHT | 20 | 100 | KA0130:11 | CONTROL A
KA0133:A1 | KA0133A1 | WHT | 20 | 80 | AF0092:02 | CONTROL A
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0091:12 | CONTROL A
KA0135:A1 | KA0135A1 | WHT | 20 | 120 | KA0131:11 | CONTROL A
KA0138:A1 | KA0138A1 | WHT | 20 | 100 | KA0132:21 | CONTROL A
KA0136:A1 | PS32002 | WHT | 20 | 60 | XT0136:5 | CONTROL A
KA0400:A1 | KA0400A1 | WHT | 16 | 60 | AF0092:01 | CONTROL A
KA0410:A1 | KA0410A1 | WHT | 16 | 60 | AF0092:04 | CONTROL A
KA0134:A2 | -0V | WHT | 20 | 60 | KA0135:A2 | CONTROL A | KA A2
KA0135:A2 | -0V | WHT | 20 | 60 | KA0136:A2 | CONTROL A
KA0400:A2 | KA0400A2 | WHT | 16 | 60 | AF0092:17 | CONTROL A
KA0410:A2 | KA0410A2 | WHT | 16 | 60 | AF0092:20 | CONTROL A
KA0130:14 | -008103 | WHT | 20 | 60 | AF0081:03 | CONTROL A | KA
KA0132:11 | FU0139 | WHT | 20 | 60 | KA0133:11 | CONTROL A
KA0138:14 | FU0139 | WHT | 20 | 60 | XT0136:9 | CONTROL A
KA0131:14 | KA013114 | WHT | 20 | 60 | AF0092:06 | CONTROL A
KA0132:22 | KA013222 | WHT | 20 | 60 | KA0137:14 | CONTROL A
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | CONTROL A
KA0136:21 | KA013621 | WHT | 20 | 60 | AF0087:43 | CONTROL A
KA0136:24 | KA013624 | WHT | 20 | 60 | AF0087:11 | CONTROL A
KA0131:12 | KA013724 | WHT | 20 | 60 | KA0137:24 | CONTROL A
KA0137:24 | KA013724 | WHT | 20 | 60 | AF0087:09 | CONTROL A
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | CONTROL A
KA0141:11 | KA014111 | WHT | 20 | 80 | AF0091:39 | CONTROL A
KA0141:14 | KA014114 | WHT | 20 | 80 | AF0091:07 | CONTROL A
KA0141:24 | KA024124 | WHT | 20 | 60 | AF0081:40 | CONTROL A
KA0400:11 | KA040011 | WHT | 20 | 60 | XT0410:1 | CONTROL A
KA0400:14 | KA040014 | WHT | 20 | 60 | XT0410:2 | CONTROL A
KA0410:11 | KA041011 | WHT | 20 | 60 | XT0410:3 | CONTROL A
KA0410:14 | KA041014 | WHT | 20 | 60 | XT0410:4 | CONTROL A
KA1238:14 | KA123814 | WHT | 20 | 100 | AF0095:02 | CONTROL A
KA0132:12 | KT0141A1 | WHT | 20 | 60 | KA0133:12 | CONTROL A
KT0140:A2 | -0V | WHT | 20 | 60 | XT0136:3 | CONTROL A | KT L/S
KT0145:A2 | -0V | WHT | 20 | 60 | KA0131:A2 | CONTROL A
KT0141:18 | KA013222 | WHT | 20 | 120 | KA0132:22 | CONTROL A | KT L/S
KT0141:18 | KA013222 | WHT | 20 | 60 | KT0144:18 | CONTROL A
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KA0137:A1 | CONTROL A
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KT0145:18 | CONTROL A
KT0140:16 | KT014115 | WHT | 20 | 120 | KT0141:15 | CONTROL A
KT0140:18 | KT0143A1 | WHT | 20 | 120 | KT0143:A1 | CONTROL A
KT0140:15 | FU0139 | WHT | 20 | 60 | KT0142:15 | CONTROL A | KT R/S
KT0140:15 | FU0139 | WHT | 20 | 60 | XT0136:2 | CONTROL A
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0144:A1 | CONTROL A
KT0145:15 | FU0139 | WHT | 20 | 60 | KA0132:11 | CONTROL A
KT0140:A1 | KT0140A1 | WHT | 20 | 120 | KT0143:16 | CONTROL A
KT0141:A1 | KT0141A1 | WHT | 20 | 60 | KT0143:15 | CONTROL A
KT0142:A1 | KT0141A1 | WHT | 20 | 60 | KA0132:12 | CONTROL A
KT0144:B1 | KT0144B1 | WHT | 20 | 60 | KA0138:24 | CONTROL A
KT0146:A1 | KT0146A1 | WHT | 20 | 60 | KA0141:21 | CONTROL A
PC0470:INP_A | -009312 | WHT | 20 | 60 | AF0093:12 | CONTROL A | PC
PC0470:-PWR | -009328 | WHT | 20 | 60 | AF0093:28 | CONTROL A
PC0470:+PWR | -009344 | WHT | 20 | 60 | AF0093:44 | CONTROL A
QS0790:LD-1 | -0V | WHT | 12 | 60 | XT0134:1 | CONTROL A | QS
QS0790:LD-3 | FU0137 | WHT | 12 | 60 | XT0138:4 | CONTROL A
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 60 | AF0094:06 | CONTROL A | UJ0131
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0091:41 | CONTROL A
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0091:09 | CONTROL A
UJ0131:VIN | UJ0131VIN | WHT | 20 | 60 | AF0094:04 | CONTROL A
UJ0131:- | -524NEG | WHT | 12 | 60 | XT0011:1 | CONTROL A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | CONTROL A
XT0136:3 | -0V | WHT | 20 | 60 | XT0136:10 | CONTROL A | XT
XT0136:1 | FU0139 | WHT | 20 | 60 | XT0136:9 | CONTROL A
XT0090:1 | -0V | WHT | 14 | 60 | XT0135:2 | CONTROL A
XT0134:1 | -0V | WHT | 14 | 60 | XT0135:1 | CONTROL A
XT0135:1 | -0V | WHT | 14 | 100 | XT0080:1 | CONTROL A
XT0136:3 | -0V | WHT | 14 | 60 | XT0135:1 | CONTROL A
XT0138:1 | FU0137 | WHT | 14 | 60 | XT0139:1 | CONTROL A
AF0081:41 | KA023921 | WHT | 20 | 160 | KA0239:21 | CONTROL B | AF-B
AF0081:09 | KA023924 | WHT | 20 | 160 | KA0239:24 | CONTROL B
AF0081:08 | KA024214 | WHT | 20 | 160 | KA0242:14 | CONTROL B
AF0081:33 | KA024311 | WHT | 20 | 160 | KA0243:11 | CONTROL B
AF0081:01 | KA024314 | WHT | 20 | 160 | KA0243:14 | CONTROL B
AF0081:34 | KA024521 | WHT | 20 | 160 | KA0245:21 | CONTROL B
AF0081:02 | KA024524 | WHT | 20 | 160 | KA0245:24 | CONTROL B
AF0095:18 | SV21202 | WHT | 20 | 160 | XT0060:4 | CONTROL B
AF0081:00 | UA1200J21 | WHT | 20 | 160 | KA0241:11 | CONTROL B
AF0081:19 | UA1200J27 | WHT | 20 | 180 | UA1200:J2-7 | CONTROL B
KA1238:A1 | -007602 | WHT | 20 | 160 | AF0076:02 | CONTROL B | KA A1-B
KA0134:A1 | KA0134A1 | WHT | 20 | 160 | AF0062:10 | CONTROL B
KA0131:A1 | KA0231A1 | WHT | 20 | 160 | KA0242:11 | CONTROL B
KA1238:A2 | -007618 | WHT | 20 | 160 | AF0076:18 | CONTROL B | KA A2-B
KA0130:A2 | UA1200J26 | WHT | 20 | 180 | UA1200:J2-6 | CONTROL B
KA0135:22 | -013522 | WHT | 20 | 160 | KA0232:21 | CONTROL B | KA-B
KA0135:21 | KA0176A1 | WHT | 20 | 160 | KA0249:11 | CONTROL B
KA1238:11 | KA023524 | WHT | 20 | 160 | KA0235:24 | CONTROL B
KA0141:24 | KA024124 | WHT | 20 | 160 | KA0241:24 | CONTROL B
KA0141:21 | KT0146A1 | WHT | 20 | 160 | KA0241:21 | CONTROL B
KT0146:18 | KA024214 | WHT | 20 | 160 | KA0231:14 | CONTROL B | KT L/S-B
KT0146:A2 | KT0146A2 | WHT | 20 | 160 | AF0076:29 | CONTROL B
KT0145:A1 | KA024412 | WHT | 20 | 160 | KA0244:12 | CONTROL B | KT R/S-B
KT0146:15 | KT014615 | WHT | 20 | 160 | AF0076:10 | CONTROL B
KT0146:B1 | KT0146B1 | WHT | 20 | 160 | AF0076:13 | CONTROL B
XT0085:2 | -007404 | WHT | 20 | 160 | AF0074:05 | CONTROL B | XT-B
XT0136:3 | -0V | WHT | 20 | 160 | XT0240:10 | CONTROL B
XT0136:1 | FU0139 | WHT | 20 | 160 | XT0240:12 | CONTROL B
XT0136:6 | PS32004 | WHT | 20 | 160 | KA0240:11 | CONTROL B
XT0136:7 | UF1300 | WHT | 20 | 160 | KA0240:14 | CONTROL B
XT0135:3 | -0V | WHT | 16 | 160 | BA0703:V1- | CONTROL B
XT0140:9 | ESTOPA | WHT | 16 | 160 | XT0240:3 | CONTROL B
XT0140:10 | ESTOPB | WHT | 16 | 160 | XT0240:2 | CONTROL B
XT0140:2 | ESTOPB | WHT | 16 | 160 | XT0240:2 | CONTROL B
XT0085:3 | -0V | WHT | 14 | 160 | XT0235:2 | CONTROL B
XT0085:3 | -0V | WHT | 14 | 160 | AF0074:21 | CONTROL B
XT0134:2 | -0V | WHT | 14 | 160 | XT0050:1 | CONTROL B
XT0135:1 | -0V | WHT | 14 | 160 | XT0235:1 | CONTROL B
XT0138:2 | FU0137 | WHT | 14 | 160 | FU0050:LI | CONTROL B
XT0138:4 | FU0137 | WHT | 14 | 160 | FU2700:LI | CONTROL B
XT0139:4 | FU0137 | WHT | 14 | 160 | FU2703:LI | CONTROL B
XT0139:4 | FU0137 | WHT | 14 | 160 | FU2701:LI | CONTROL B
XT0085:1 | FU0212 | WHT | 14 | 160 | XT0233:4 | CONTROL B
XT0139:1 | FU0137 | WHT | 12 | 160 | FU0210:LI | CONTROL B
AF0093:20 | -009320 | WHT | 20 | 220 | KA6241:A2 | GEN CTRL | AF-GEN
AF0093:21 | -009321 | WHT | 20 | 220 | KA6221:A2 | GEN CTRL
AF0093:24 | -009324 | WHT | 20 | 220 | KA6222:A2 | GEN CTRL
AF0093:29 | -009329 | WHT | 20 | 220 | KA6242:A2 | GEN CTRL
AF0094:05 | -0V | WHT | 20 | 220 | XT0336:5 | GEN CTRL
AF0094:07 | -0V | WHT | 20 | 220 | XT0336:5 | GEN CTRL
AF0095:06 | KA0334A1 | WHT | 20 | 220 | KA0334:A1 | GEN CTRL
AF0095:22 | KA0334A2 | WHT | 20 | 220 | KA0334:A2 | GEN CTRL
AF0092:08 | -009208 | WHT | 16 | 220 | KA3103:A1 | GEN CTRL
AF0092:24 | -009224 | WHT | 16 | 220 | KA3103:A2 | GEN CTRL
KA0141:A1 | KA0231A1 | WHT | 20 | 220 | XT0334:2 | GEN CTRL | KA-GEN
XT0138:3 | FU0137 | WHT | 14 | 220 | XT0332:1 | GEN CTRL | XT-GEN
XT0134:3 | -0V | WHT | 12 | 220 | XT0334:1 | GEN CTRL

## CONTROL B_S
CONTROL B
Project # | 4L961
Project Name | SMT60 Stock Unit Pre-Release - April 2025
Revision | 0.3_M.2
Controls DE | JONATHAN S.
Phone:
Controls ME | NOMAR L.
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UA1200:J1-9 | -0V | WHT | 20 | 120 | XT0235:4 | CONTROL B | UA1200
UA1200:J1-10 | FU0212 | WHT | 20 | 120 | XT0233:4 | CONTROL B
UA1200:J2-2 | FU0212 | WHT | 20 | 120 | XT0233:4 | CONTROL B
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | CONTROL B
UA1200:J1-4 | UA1200J14 | WHT | 20 | 120 | AF0076:11 | CONTROL B
UA1200:J1-5 | UA1200J15 | WHT | 20 | 120 | XT0237:1 B1 | CONTROL B
UA1200:J2-1 | UA1200J21 | WHT | 20 | 120 | XT0060:3 | CONTROL B
AF0051:COM | -0V | WHT | 16 | 60 | XT0050:2 | CONTROL B | AF050s
AF0052:COM | -0V | WHT | 16 | 60 | XT0050:2 | CONTROL B
AU0050:COM | -0V | WHT | 16 | 60 | XT0050:1 | CONTROL B
AU0050:V+ | FU0051 | WHT | 16 | 60 | FU0051:LD | CONTROL B
AF0051:V+ | FU0052 | WHT | 14 | 60 | FU0052:LD | CONTROL B
AF0052:V+ | FU0053 | WHT | 14 | 60 | FU0053:LD | CONTROL B
AF0062:16 | SV21242 | WHT | 20 | 60 | XT0060:5 | CONTROL B | AF060s
AF0061:COM | -0V | WHT | 14 | 60 | XT0060:2 | CONTROL B
AF0063:COM | -0V | WHT | 14 | 60 | XT0060:2 | CONTROL B
AU0060:COM | -0V | WHT | 14 | 80 | XT0060:1 | CONTROL B
AU0060:V+ | FU0060 | WHT | 14 | 60 | FU0060:LD | CONTROL B
AF0061:V+ | FU0061 | WHT | 14 | 60 | FU0061:LD | CONTROL B
AF0062:V+ | FU0062 | WHT | 14 | 60 | FU0062:LD | CONTROL B
AF0063:V+ | FU0063 | WHT | 14 | 60 | FU0063:LD | CONTROL B
AF0076:12 | -007612 | WHT | 20 | 100 | XT0237:1 B2 | CONTROL B | AF070s
AF0076:COM | -0V | WHT | 14 | 60 | XT0070:1 | CONTROL B
AU0070:COM | -0V | WHT | 14 | 60 | XT0070:1 | CONTROL B
AU0070:V+ | FU0070 | WHT | 14 | 60 | FU0070:LD | CONTROL B
AF0076:V+ | FU0071 | WHT | 14 | 60 | FU0071:LD | CONTROL B
BA0700:V1(-) | -0V | WHT | 16 | 120 | XT0235:2 | CONTROL B | BA
BA0701:0V | -0V | WHT | 16 | 120 | XT0235:3 | CONTROL B
BA0700:V1(+) | FU2700 | WHT | 16 | 60 | FU2700:LD | CONTROL B
BA0701:24V | FU2701 | WHT | 16 | 60 | FU2701:LD | CONTROL B
BA0703:V1+ | FU2703 | WHT | 16 | 60 | FU2703:LD | CONTROL B
FU0212:LD | FU0212 | WHT | 16 | 60 | XT0233:4 | CONTROL B | FU
FU0050:LD | FU0050 | WHT | 14 | 80 | FU0051:LI | CONTROL B
FU0054:LD | FU0054 | WHT | 14 | 60 | XT0050:4 | CONTROL B
FU0060:LI | FU0210 | WHT | 14 | 60 | XT0233:1 | CONTROL B
FU0070:LI | FU0210 | WHT | 14 | 60 | XT0233:2 | CONTROL B
FU0210:LD | FU0210 | WHT | 14 | 60 | XT0233:1 | CONTROL B
FU0211:LI | FU0210 | WHT | 14 | 60 | XT0233:1 | CONTROL B
FU0213:LI | FU0210 | WHT | 14 | 80 | XT0233:3 | CONTROL B
FU0214:LI | FU0210 | WHT | 14 | 80 | XT0233:3 | CONTROL B
KA0235:A1 | ESTOP | WHT | 20 | 60 | XT0240:4 | CONTROL B | KA A1
KA0240:A1 | ESTOP | WHT | 20 | 60 | KA0248:A1 | CONTROL B
KA0248:A1 | ESTOP | WHT | 20 | 60 | KA0250:A1 | CONTROL B
KA0241:A1 | KA0241A1 | WHT | 20 | 60 | XT0240:6 | CONTROL B
KA0243:A1 | KA0243A1 | WHT | 20 | 60 | XT0240:7 | CONTROL B
KA0244:A1 | KA0243A1 | WHT | 20 | 60 | KA0246:A1 | CONTROL B
KA0247:A1 | KA0243A1 | WHT | 20 | 60 | KA0251:A1 | CONTROL B
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | KA0249:A1 | CONTROL B
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | XT0240:8 | CONTROL B
KA1020:A1 | KA1020A1 | WHT | 20 | 100 | AF0076:08 | CONTROL B
KA1239:A1 | KA1239A1 | WHT | 20 | 80 | AF0076:04 | CONTROL B
KA0240:A2 | -0V | WHT | 20 | 60 | KA0248:A2 | CONTROL B | KA A2
KA0241:A2 | -0V | WHT | 20 | 60 | KA0250:A2 | CONTROL B
KA0244:A2 | -0V | WHT | 20 | 60 | KA0246:A2 | CONTROL B
KA0245:A2 | -0V | WHT | 20 | 60 | KA0249:A2 | CONTROL B
KA0245:A2 | -0V | WHT | 20 | 60 | KA0252:A2 | CONTROL B
KA0247:A2 | -0V | WHT | 20 | 60 | KA0251:A2 | CONTROL B
KA0248:A2 | -0V | WHT | 20 | 60 | KA0250:A2 | CONTROL B
KA0249:A2 | -0V | WHT | 20 | 60 | XT0240:10 | CONTROL B
KA0231:A2 | KA0231A2 | WHT | 20 | 80 | AF0076:26 | CONTROL B
KA1020:A2 | KA1020A2 | WHT | 20 | 100 | AF0076:24 | CONTROL B
KA1239:A2 | KA1239A2 | WHT | 20 | 80 | AF0076:20 | CONTROL B
KA0234:14 | -006114 | WHT | 20 | 100 | AF0061:14 | CONTROL B | KA
KA0232:21 | -013522 | WHT | 20 | 60 | KA0249:12 | CONTROL B
KA0242:21 | -024221 | WHT | 20 | 80 | XT0237:1 T2 | CONTROL B
KA0242:24 | -024822 | WHT | 20 | 60 | KA0248:22 | CONTROL B
KA0243:21 | ESTOPC | WHT | 20 | 60 | XT0240:1 | CONTROL B
KA0236:11 | FU0139 | WHT | 20 | 60 | KA0244:11 | CONTROL B
KA0236:11 | FU0139 | WHT | 20 | 60 | XT0240:12 | CONTROL B
KA0231:21 | KA023121 | WHT | 20 | 60 | KA0245:14 | CONTROL B
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0231:A1 | CONTROL B
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0242:11 | CONTROL B
KA0233:14 | KA023314 | WHT | 20 | 100 | AF0062:08 | CONTROL B
KA0236:12 | KA023612 | WHT | 20 | 60 | XT0240:13 | CONTROL B
KA0236:24 | KA023624 | WHT | 20 | 60 | KA1239:11 | CONTROL B
KA0237:14 | KA023714 | WHT | 20 | 60 | AF0076:00 | CONTROL B
KA0237:24 | KA023724 | WHT | 20 | 60 | AF0076:01 | CONTROL B
KA0235:14 | KA024114 | WHT | 20 | 60 | KA0241:14 | CONTROL B
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:24 | CONTROL B
KA0231:14 | KA024214 | WHT | 20 | 60 | KA0242:14 | CONTROL B
KA0243:24 | KA024511 | WHT | 20 | 60 | KA0245:11 | CONTROL B
KA1239:14 | KA123914 | WHT | 20 | 80 | AF0062:00 | CONTROL B
KA0235:11 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | CONTROL B
KA0235:11 | UA1200J21 | WHT | 20 | 80 | XT0060:3 | CONTROL B
KA0248:21 | FU0212 | WHT | 16 | 80 | FU0212:LD | CONTROL B
KA1020:24 | -0V | WHT | 14 | 60 | XT0235:2 | CONTROL B
KA1020:14 | FU0211 | WHT | 14 | 60 | FU0211:LD | CONTROL B
XT0070:1 | -0V | WHT | 14 | 80 | XT0235:1 | CONTROL B | XT
XT0235:1 | -0V | WHT | 14 | 60 | XT0060:1 | CONTROL B
XT0240:5 | ESTOP | WHT | 20 | 140 | XT0336:1 | GEN CTRL | KA/XT-GEN
KA0251:14 | KA6221A1 | WHT | 20 | 140 | KA6221:A1 | GEN CTRL
KA0251:24 | KA6222A1 | WHT | 20 | 140 | KA6222:A1 | GEN CTRL
KA0246:14 | KA6241A1 | WHT | 20 | 140 | KA6241:A1 | GEN CTRL
KA0246:24 | KA6242A1 | WHT | 20 | 140 | KA6242:A1 | GEN CTRL

## GEN CTRL_S
GEN CTRL
Project # | 4L961
Project Name | SMT60 Stock Unit Pre-Release - April 2025
Revision | 0.3_M.2
Controls DE | JONATHAN S.
Phone:
Controls ME | NOMAR L.
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0122:10 | KA046111 | WHT | 20 | 60 | XT0460:8 | GEN CTRL | AF
AF0122:42 | KA046113 | WHT | 20 | 60 | XT0460:7 | GEN CTRL
AF0121:COM | -0V | WHT | 14 | 60 | XT0120:2 | GEN CTRL
AF0122:COM | -0V | WHT | 14 | 60 | XT0120:3 | GEN CTRL
AU0120:COM | -0V | WHT | 14 | 60 | XT0120:1 | GEN CTRL
AU0120:V+ | FU0120 | WHT | 14 | 60 | FU0120:LD | GEN CTRL
AF0121:V+ | FU0121 | WHT | 14 | 60 | FU0121:LD | GEN CTRL
AF0122:V+ | FU0122 | WHT | 14 | 60 | FU0122:LD | GEN CTRL
AT0140:29 FLT | KA0310A2 | WHT | 20 | 60 | KA0310:A2 | GEN CTRL | AT
AT0140:3 EX-D(-) | -0V | WHT | 16 | 100 | XT0336:4 | GEN CTRL
AT0140:30 FLT | -0V | WHT | 16 | 100 | XT0336:5 | GEN CTRL
AT0140:48 BAT(-) | -0V | WHT | 16 | 100 | XT0336:4 | GEN CTRL
AT0140:47 BAT(+) | FU0334 | WHT | 16 | 60 | XT0335:2 | GEN CTRL
AT0140:4 EX-D(+) | KA012314 | WHT | 16 | 60 | KA0123:14 | GEN CTRL
AT0140:34 ID RES(-) | AT014034 | WHT | 12 | 60 | AT0140:42 ID(+) | GEN CTRL
AT0140:17 VBUS-A | VBUSA | RED | 16R | 120 | XT0351:1 | GEN CTRL | AT RED
AT0140:18 VBUS-B | VBUSB | RED | 16R | 120 | XT0351:3 | GEN CTRL
AT0140:19 VBUS-C | VBUSC | RED | 16R | 120 | XT0351:5 | GEN CTRL
AT0140:13 VGEN-A | VGENA | RED | 16R | 120 | XT0351:7 | GEN CTRL
AT0140:14 VGEN-B | VGENB | RED | 16R | 120 | XT0351:9 | GEN CTRL
AT0140:15 VGEN-C | VGENC | RED | 16R | 120 | XT0351:11 | GEN CTRL
AT0140:28 ID RLY | CCT1(-) | BLU | 12B | 120 | XT0350:4 | GEN CTRL | AT BLU
AT0140:43 ID(-) | CCT1(-) | BLU | 12B | 120 | XT0350:3 | GEN CTRL
AT0140:27 ID RLY | CCT1(+) | BLU | 12B | 120 | XT0350:2 | GEN CTRL
AT0140:33 ID RES(+) | CCT1(+) | BLU | 12B | 120 | XT0350:1 | GEN CTRL
AT0140:36 I1(+) | MCTA | BLU | 12B | 120 | XT0352:1 | GEN CTRL
AT0140:37 I1(-) | MCTAN | BLU | 12B | 120 | XT0352:6 | GEN CTRL
AT0140:38 I2(+) | MCTB | BLU | 12B | 120 | XT0352:2 | GEN CTRL
AT0140:39 I2(-) | MCTBN | BLU | 12B | 120 | XT0352:5 | GEN CTRL
AT0140:40 I3(+) | MCTC | BLU | 12B | 120 | XT0352:3 | GEN CTRL
AT0140:41 I3(-) | MCTN | BLU | 12B | 120 | XT0352:4 | GEN CTRL
FU0333:LD | FU0333 | WHT | 16 | 60 | XT0335:1 | GEN CTRL | FU
FU0332:LD | FU0332 | WHT | 14 | 60 | FU0333:LI | GEN CTRL
FU0334:LD | FU0334 | WHT | 14 | 60 | XT0335:2 | GEN CTRL
FU0335:LD | FU0335 | WHT | 14 | 60 | XT0335:3 | GEN CTRL
FU0460:LD | FU0460 | WHT | 14 | 80 | XT0460:1 | GEN CTRL
FU0332:LI | FU0137 | WHT | 12 | 60 | XT0332:1 | GEN CTRL
KA0335:A1 | ESTOP | WHT | 20 | 80 | XT0336:1 | GEN CTRL | KA A1
KA0310:A1 | FU0334 | WHT | 20 | 60 | XT0335:2 | GEN CTRL
KA0310:A1 | FU0334 | WHT | 20 | 60 | KA0123:11 | GEN CTRL
KA0121:A1 | KA0121A1 | WHT | 20 | 60 | AF0121:01 | GEN CTRL
KA0123:A1 | KA0123A1 | WHT | 20 | 60 | AF0121:03 | GEN CTRL
KA0123:A1 | KA0123A1 | WHT | 20 | 80 | KA0313:2 | GEN CTRL
KA0128:A1 | KA0128A1 | WHT | 20 | 60 | AF0121:08 | GEN CTRL
KA0337:A1 | KA0231A1 | WHT | 20 | 60 | XT0334:2 | GEN CTRL
KA0330:A1 | KA0330A1 | WHT | 20 | 60 | XT0337:7 | GEN CTRL
KA0331:A1 | KA0331A1 | WHT | 20 | 60 | XT0337:5 | GEN CTRL
KA0332:A1 | KA0332A1 | WHT | 20 | 60 | XT0337:12 | GEN CTRL
KA0333:A1 | KA0333A1 | WHT | 20 | 60 | XT0337:6 | GEN CTRL
KA4100:A1 | KA033730 | WHT | 20 | 80 | KA0337:14 | GEN CTRL
KA0340:A1 | KA0340A1 | WHT | 20 | 60 | AF0121:10 | GEN CTRL
KA4100:A2 | -012130 | WHT | 20 | 80 | AF0121:30 | GEN CTRL | KA A2
KA0330:A2 | -0V | WHT | 20 | 60 | KA0333:A2 | GEN CTRL
KA0332:A2 | -0V | WHT | 20 | 80 | XT0337:16 | GEN CTRL
KA0335:A2 | -0V | WHT | 20 | 80 | XT0336:2 | GEN CTRL
KA0121:A2 | KA0121A2 | WHT | 20 | 60 | AF0121:17 | GEN CTRL
KA0123:A2 | KA0123A2 | WHT | 20 | 60 | AF0121:19 | GEN CTRL
KA0123:A2 | KA0123A2 | WHT | 20 | 80 | KA0313:7 | GEN CTRL
KA0128:A2 | KA0128A2 | WHT | 20 | 60 | AF0121:24 | GEN CTRL
KA0340:A2 | KA0340A2 | WHT | 20 | 60 | AF0121:26 | GEN CTRL
KA0337:A2 | -0V | WHT | 14 | 80 | XT0336:2 | GEN CTRL
KA0337:11 | -012114 | WHT | 20 | 60 | AF0121:14 | GEN CTRL | KA
KA0330:11 | -012200 | WHT | 20 | 60 | AF0122:00 | GEN CTRL
KA0331:11 | -012201 | WHT | 20 | 60 | AF0122:01 | GEN CTRL
KA0310:11 | -012202 | WHT | 20 | 60 | AF0122:02 | GEN CTRL
KA0330:14 | -012232 | WHT | 20 | 60 | AF0122:32 | GEN CTRL
KA0331:14 | -012233 | WHT | 20 | 60 | AF0122:33 | GEN CTRL
KA0310:14 | -012234 | WHT | 20 | 60 | AF0122:34 | GEN CTRL
KA0121:14 | FU0333 | WHT | 20 | 80 | XT0337:9 | GEN CTRL
KA0128:14 | FU0333 | WHT | 20 | 60 | KA0335:22 | GEN CTRL
KA0128:14 | FU0333 | WHT | 20 | 80 | XT0337:8 | GEN CTRL
KA0310:24 | FU0333 | WHT | 20 | 60 | KA0335:22 | GEN CTRL
KA0121:11 | KA012111 | WHT | 20 | 80 | XT0337:11 | GEN CTRL
KA0332:11 | KA033211 | WHT | 20 | 60 | XT0337:1 | GEN CTRL
KA0332:14 | KA033214 | WHT | 20 | 80 | XT0337:2 | GEN CTRL
KA0333:11 | KA033311 | WHT | 20 | 60 | XT0337:3 | GEN CTRL
KA0333:14 | KA033314 | WHT | 20 | 60 | KA0335:12 | GEN CTRL
KA0333:14 | KA033314 | WHT | 20 | 80 | XT0337:4 | GEN CTRL
KA0128:11 | KA0333A1 | WHT | 20 | 60 | KA0335:21 | GEN CTRL
KA0310:21 | KA0333A1 | WHT | 20 | 60 | KA0335:21 | GEN CTRL
KA0310:21 | KA0333A1 | WHT | 20 | 80 | XT0337:6 | GEN CTRL
KA0330:21 | KA046011 | WHT | 20 | 60 | KA0334:11 | GEN CTRL
KA3103:11 | H3103T1 | RED | 16R | 80 | XT0360:6 | GEN CTRL | KA RED
KA3103:14 | KM3103EP | RED | 16R | 80 | XT0360:5 | GEN CTRL
XT0337:9 | FU0333 | WHT | 16 | 60 | XT0335:1 | GEN CTRL | XT
XT0334:1 | -0V | WHT | 14 | 60 | XT0336:2 | GEN CTRL
XT0336:3 | -0V | WHT | 14 | 60 | XT0337:16 | GEN CTRL

## Bundle Tag Info
S60-85
4L961
0.3_M2
LIGHTS | FS CTRL | PWR RAIL | DOOR | FGVIB | PLC | A | B | GEN CTRL | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
EL0273 | AT | FU | KA | AF/AU0180s | UV0600 | AF/AU080s | UA1200 | AF
| UV | FU/XT-DOOR | KA RED | 1444s |  | AF/AU090s | AF050s | AT
| AT-VIB | FU/XT-A | KA BLU | AT |  | FU | AF060s | AT RED
| UV-VIB | XT-B | KA0461 | FU |  | KA A1 | AF070s | AT BLU
|  |  | SA0710 | KA A1 |  | KA A2 | BA | FU
|  |  |  | KA A2 |  | KA | FU | KA A1
|  |  |  | KA |  | KT L/S | KA A1 | KA A2
|  |  |  | XT |  | KT R/S | KA A2 | KA
|  |  |  | KA-A |  | PC | KA | KA RED
|  |  |  | FU/XT-A |  | QS | XT | XT
|  |  |  | AT-B |  | UJ0131 | KA/XT-GEN
|  |  |  | KA-B |  | XT
|  |  |  | XT-B |  | AF-B
|  |  |  | KA-GEN |  | KA A1-B
|  |  |  | FU/XT-GEN |  | KA A2-B
KA-B
KT L/S-B
KT R/S-B
XT-B
AF-GEN
KA-GEN
XT-GEN

## Bundle Tags2
LIGHTS | FS CTRL | PWR RAIL | DOOR | FGVIB | PLC | A | B | GEN CTRL
S60-85 4L961 0.3_M2 LIGHTS EL0273 | S60-85 4L961 0.3_M2 FS CTRL AT | S60-85 4L961 0.3_M2 PWR RAIL FU | S60-85 4L961 0.3_M2 DOOR KA | S60-85 4L961 0.3_M2 FGVIB AF/AU0180s | S60-85 4L961 0.3_M2 PLC UV0600 | S60-85 4L961 0.3_M2 A AF/AU080s | S60-85 4L961 0.3_M2 B UA1200 | S60-85 4L961 0.3_M2 GEN CTRL AF
| S60-85 4L961 0.3_M2 FS CTRL UV | S60-85 4L961 0.3_M2 PWR RAIL FU/XT-DOOR | S60-85 4L961 0.3_M2 DOOR KA RED | S60-85 4L961 0.3_M2 FGVIB 1444s |  | S60-85 4L961 0.3_M2 A AF/AU090s | S60-85 4L961 0.3_M2 B AF050s | S60-85 4L961 0.3_M2 GEN CTRL AT
| S60-85 4L961 0.3_M2 FS CTRL AT-VIB | S60-85 4L961 0.3_M2 PWR RAIL FU/XT-A | S60-85 4L961 0.3_M2 DOOR KA BLU | S60-85 4L961 0.3_M2 FGVIB AT |  | S60-85 4L961 0.3_M2 A FU | S60-85 4L961 0.3_M2 B AF060s | S60-85 4L961 0.3_M2 GEN CTRL AT RED
| S60-85 4L961 0.3_M2 FS CTRL UV-VIB | S60-85 4L961 0.3_M2 PWR RAIL XT-B | S60-85 4L961 0.3_M2 DOOR KA0461 | S60-85 4L961 0.3_M2 FGVIB FU |  | S60-85 4L961 0.3_M2 A KA A1 | S60-85 4L961 0.3_M2 B AF070s | S60-85 4L961 0.3_M2 GEN CTRL AT BLU
|  |  | S60-85 4L961 0.3_M2 DOOR SA0710 | S60-85 4L961 0.3_M2 FGVIB KA A1 |  | S60-85 4L961 0.3_M2 A KA A2 | S60-85 4L961 0.3_M2 B BA | S60-85 4L961 0.3_M2 GEN CTRL FU
|  |  |  | S60-85 4L961 0.3_M2 FGVIB KA A2 |  | S60-85 4L961 0.3_M2 A KA | S60-85 4L961 0.3_M2 B FU | S60-85 4L961 0.3_M2 GEN CTRL KA A1
|  |  |  | S60-85 4L961 0.3_M2 FGVIB KA |  | S60-85 4L961 0.3_M2 A KT L/S | S60-85 4L961 0.3_M2 B KA A1 | S60-85 4L961 0.3_M2 GEN CTRL KA A2
|  |  |  | S60-85 4L961 0.3_M2 FGVIB XT |  | S60-85 4L961 0.3_M2 A KT R/S | S60-85 4L961 0.3_M2 B KA A2 | S60-85 4L961 0.3_M2 GEN CTRL KA
|  |  |  | S60-85 4L961 0.3_M2 FGVIB KA-A |  | S60-85 4L961 0.3_M2 A PC | S60-85 4L961 0.3_M2 B KA | S60-85 4L961 0.3_M2 GEN CTRL KA RED
|  |  |  | S60-85 4L961 0.3_M2 FGVIB FU/XT-A |  | S60-85 4L961 0.3_M2 A QS | S60-85 4L961 0.3_M2 B XT | S60-85 4L961 0.3_M2 GEN CTRL XT
|  |  |  | S60-85 4L961 0.3_M2 FGVIB AT-B |  | S60-85 4L961 0.3_M2 A UJ0131 | S60-85 4L961 0.3_M2 B KA/XT-GEN
|  |  |  | S60-85 4L961 0.3_M2 FGVIB KA-B |  | S60-85 4L961 0.3_M2 A XT
|  |  |  | S60-85 4L961 0.3_M2 FGVIB XT-B |  | S60-85 4L961 0.3_M2 A AF-B
|  |  |  | S60-85 4L961 0.3_M2 FGVIB KA-GEN |  | S60-85 4L961 0.3_M2 A KA A1-B
|  |  |  | S60-85 4L961 0.3_M2 FGVIB FU/XT-GEN |  | S60-85 4L961 0.3_M2 A KA A2-B
S60-85 4L961 0.3_M2 A KA-B
S60-85 4L961 0.3_M2 A KT L/S-B
S60-85 4L961 0.3_M2 A KT R/S-B
S60-85 4L961 0.3_M2 A XT-B
S60-85 4L961 0.3_M2 A AF-GEN
S60-85 4L961 0.3_M2 A KA-GEN
S60-85 4L961 0.3_M2 A XT-GEN

## ALL
ALL
S60-85 4L961 0.3_M2 LIGHTS EL0273
S60-85 4L961 0.3_M2 FS CTRL AT
S60-85 4L961 0.3_M2 FS CTRL UV
S60-85 4L961 0.3_M2 FS CTRL AT-VIB
S60-85 4L961 0.3_M2 FS CTRL UV-VIB
S60-85 4L961 0.3_M2 PWR RAIL FU
S60-85 4L961 0.3_M2 PWR RAIL FU/XT-DOOR
S60-85 4L961 0.3_M2 PWR RAIL FU/XT-A
S60-85 4L961 0.3_M2 PWR RAIL XT-B
S60-85 4L961 0.3_M2 DOOR KA
S60-85 4L961 0.3_M2 DOOR KA RED
S60-85 4L961 0.3_M2 DOOR KA BLU
S60-85 4L961 0.3_M2 DOOR KA0461
S60-85 4L961 0.3_M2 DOOR SA0710
S60-85 4L961 0.3_M2 FGVIB AF/AU0180s
S60-85 4L961 0.3_M2 FGVIB 1444s
S60-85 4L961 0.3_M2 FGVIB AT
S60-85 4L961 0.3_M2 FGVIB FU
S60-85 4L961 0.3_M2 FGVIB KA A1
S60-85 4L961 0.3_M2 FGVIB KA A2
S60-85 4L961 0.3_M2 FGVIB KA
S60-85 4L961 0.3_M2 FGVIB XT
S60-85 4L961 0.3_M2 FGVIB KA-A
S60-85 4L961 0.3_M2 FGVIB FU/XT-A
S60-85 4L961 0.3_M2 FGVIB AT-B
S60-85 4L961 0.3_M2 FGVIB KA-B
S60-85 4L961 0.3_M2 FGVIB XT-B
S60-85 4L961 0.3_M2 FGVIB KA-GEN
S60-85 4L961 0.3_M2 FGVIB FU/XT-GEN
S60-85 4L961 0.3_M2 PLC UV0600
S60-85 4L961 0.3_M2 A AF/AU080s
S60-85 4L961 0.3_M2 A AF/AU090s
S60-85 4L961 0.3_M2 A FU
S60-85 4L961 0.3_M2 A KA A1
S60-85 4L961 0.3_M2 A KA A2
S60-85 4L961 0.3_M2 A KA
S60-85 4L961 0.3_M2 A KT L/S
S60-85 4L961 0.3_M2 A KT R/S
S60-85 4L961 0.3_M2 A PC
S60-85 4L961 0.3_M2 A QS
S60-85 4L961 0.3_M2 A UJ0131
S60-85 4L961 0.3_M2 A XT
S60-85 4L961 0.3_M2 A AF-B
S60-85 4L961 0.3_M2 A KA A1-B
S60-85 4L961 0.3_M2 A KA A2-B
S60-85 4L961 0.3_M2 A KA-B
S60-85 4L961 0.3_M2 A KT L/S-B
S60-85 4L961 0.3_M2 A KT R/S-B
S60-85 4L961 0.3_M2 A XT-B
S60-85 4L961 0.3_M2 A AF-GEN
S60-85 4L961 0.3_M2 A KA-GEN
S60-85 4L961 0.3_M2 A XT-GEN
S60-85 4L961 0.3_M2 B UA1200
S60-85 4L961 0.3_M2 B AF050s
S60-85 4L961 0.3_M2 B AF060s
S60-85 4L961 0.3_M2 B AF070s
S60-85 4L961 0.3_M2 B BA
S60-85 4L961 0.3_M2 B FU
S60-85 4L961 0.3_M2 B KA A1
S60-85 4L961 0.3_M2 B KA A2
S60-85 4L961 0.3_M2 B KA
S60-85 4L961 0.3_M2 B XT
S60-85 4L961 0.3_M2 B KA/XT-GEN
S60-85 4L961 0.3_M2 GEN CTRL AF
S60-85 4L961 0.3_M2 GEN CTRL AT
S60-85 4L961 0.3_M2 GEN CTRL AT RED
S60-85 4L961 0.3_M2 GEN CTRL AT BLU
S60-85 4L961 0.3_M2 GEN CTRL FU
S60-85 4L961 0.3_M2 GEN CTRL KA A1
S60-85 4L961 0.3_M2 GEN CTRL KA A2
S60-85 4L961 0.3_M2 GEN CTRL KA
S60-85 4L961 0.3_M2 GEN CTRL KA RED
S60-85 4L961 0.3_M2 GEN CTRL XT