## Blue Labels
(SHT 1) LER 1 | (SHT 2) LER 1 ESTOP | (SHT 3) LER,PNL,REAR | (SHT 4) LER,PNL,LFT
EL0273 | SB0500 | FU7040 | XT1036
ZS0273 |  | BA7040 | XT0136
FG0273 |  | BA7041 | KA0210
|  | BA7042 | KA0211
|  | BA7140 | KA0212
|  | BA7141 | KA0213
|  | FU0103 | KA0215
|  | FU0104 | KA0216
|  | FU0105 | KA0217
|  | FU0106 | KA0218
|  | XT0090 | KA0600
|  | GR1033 | KA0601
|  | KA0530 | KA0602
|  | KA0531 | KA0603
|  | KA0532 | KA0604
|  | KA0533 | KA0605
|  | KA0540 | XT0536
|  | KA0541 | XT0537
|  | KA0542 | XT0538
|  | KA0543 | KT0554
|  | FU0273 | KT0555
|  | FU0190 | KA0060
|  | FU0262 | KA0061
|  | FU0263 | GR1034
|  | FU0264 | FU0100
|  | XT0262 | FU0101
|  | XT0260 | FU0102
|  | XT0261 | XT0100
|  | FU0260 | AU0100
|  | XT0025 | AF0101
|  | FU1033 | AF0102
|  | FU1032 | AF0103
|  | XT1033 | AF0104
|  | XT1032 | AF0105
|  | GR1030 | AF0106
|  | QS1032 | AF0107
|  | GR1031 | AF0108
|  | QS1033 | AF0109
|  | GR1032 | AF0110
|  | UJ1032 | AF0111
|  | UJ1033 | AF0112
|  | XT1011 | AF0113
|  | IEG0260 | KA0270
|  | PEG0260 | KA0271
KA0607
KA0608
KA0610
KA0611
KA0612
KA0613
KA0291
KA0292
KA0293
KA0391
KA0392
KA0393
XT0265
GR0265

## White Labels
(SHT 4) LER,PNL,LFT - (SHT 3) LER,PNL,REAR | (SHT 3) LER,PNL,REAR
AF0109G | IEG02601
IEG02603
IEG02604G

## LER 1
LER 1
LER 1 RIO CONSOLE
Project # | 4M037
Project Name | Bayrunner Pipeline
Revision | 0.1
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
EL0273:B1 | SC | ZS0273 | WHT | 14 | 5.C3 | ZS0273:2 | LER 1 | 5.C2 | USED
EL0273:W1 | SC | 0V1 | WHT | 14 | 5.C3 | XT0262:4 | LER,PNL,REAR | 5.C4 | USED
ZS0273:1 | SC | FU0273 | WHT | 14 | 5.C2 | FU0273:LD | LER,PNL,REAR | 5.C2 | USED
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 2/13/2026 1:25 PM

## LER 1 ESTOP
LER 1 ESTOP
LER 1 RIO CONSOLE ESTOP DOOR PANEL
Project # | 4M037
Project Name | Bayrunner Pipeline
Revision | 0.1
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
SB0500:B1-11 | SC | SB0500B111 | WHT | 20 | 8.D5 | XT1036:3 | LER,PNL,LFT | 8.D6 | USED
SB0500:B1-12 | SC | SB0500B112 | WHT | 20 | 8.D5 | XT1036:4 | LER,PNL,LFT | 8.D6 | USED
SB0500:B2-11 | SC | ESTOP2 | WHT | 20 | 8.D5 | XT1036:1 | LER,PNL,LFT | 8.D5 | USED
SB0500:B2-12 | SC | ESTOP3 | WHT | 20 | 8.D5 | XT1036:2 | LER,PNL,LFT | 8.D5 | USED
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 2/13/2026 1:25 PM

## LER,PNL,LFT
LER,PNL,LFT
LER 1 RIO CONSOLE PANEL^LEFT SIDE PANEL
Project # | 4M037
Project Name | Bayrunner Pipeline
Revision | 0.1
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
XT0100:1 | JC | 0V1 | CLIP | --- | 6.B1 | XT0100:2 | LER,PNL,LFT | 6.B1 | USED
XT0100:2 | JC | 0V1 | CLIP | --- | 6.B1 | XT0100:3 | LER,PNL,LFT | 6.B1 | USED
XT0536:1 | JC | FU0190 | CLIP | --- | 7.A2 | XT0536:2 | LER,PNL,LFT | 7.B2 | USED
XT0536:10 | JC | KA023624 | CLIP | --- | 7.A3 | XT0536:11 | LER,PNL,LFT | 7.A4 | USED
XT0536:2 | JC | FU0190 | CLIP | --- | 7.B2 | XT0536:3 | LER,PNL,LFT | 7.B2 | USED
XT0536:3 | JC | FU0190 | CLIP | --- | 7.B2 | XT0536:4 | LER,PNL,LFT | 7.C2 | USED
XT0536:5 | JC | 0V1 | CLIP | --- | 7.A6 | XT0536:6 | LER,PNL,LFT | 7.B6 | USED
XT0536:6 | JC | 0V1 | CLIP | --- | 7.B6 | XT0536:7 | LER,PNL,LFT | 7.B6 | USED
XT0536:7 | JC | 0V1 | CLIP | --- | 7.B6 | XT0536:8 | LER,PNL,LFT | 7.C6 | USED
KA0600:A1 | SC | KA0600A1 | WHT | 20 | 26.C7 | AF0101:00 | LER,PNL,LFT | 26.C6 | USED
KA0601:A1 | SC | KA0601A1 | WHT | 20 | 23.B7 | AF0101:02 | LER,PNL,LFT | 23.B6 | USED
KA0602:A1 | SC | KA0602A1 | WHT | 20 | 24.B7 | AF0101:04 | LER,PNL,LFT | 24.B6 | USED
KA0060:A1 | SC | 010110 | WHT | 20 | 31.A7 | AF0101:10 | LER,PNL,LFT | 31.A5 | USED
KA0600:A2 | SC | KA0600A2 | WHT | 20 | 26.C7 | AF0101:16 | LER,PNL,LFT | 26.C6 | USED
KA0601:A2 | SC | KA0601A2 | WHT | 20 | 23.B7 | AF0101:18 | LER,PNL,LFT | 23.B6 | USED
KA0602:A2 | SC | KA0602A2 | WHT | 20 | 24.B7 | AF0101:20 | LER,PNL,LFT | 24.B6 | USED
KA0060:A2 | SC | 010126 | WHT | 20 | 31.A7 | AF0101:26 | LER,PNL,LFT | 31.A5 | USED
AF0101:COM | SC | 0V1 | WHT | 14 | 6.A2 | XT0100:2 | LER,PNL,LFT | 6.B1 | USED
AF0101:V+ | SC | FU0101 | WHT | 14 | 6.A2 | FU0101:LD | LER,PNL,LFT | 6.B1 | USED
AF0102:06 | SC | ZSC11712 | WHT | 20 | 14.B7 | XT0265:20 | LER,PNL,LFT | 14.B5 | USED
KT0555:A2 | SC | KT0555A2 | WHT | 20 | 14.B7 | AF0102:22 | LER,PNL,LFT | 14.B5 | USED
AF0102:38 | SC | ZSC11711 | WHT | 20 | 14.B7 | XT0265:19 | LER,PNL,LFT | 14.B5 | USED
AF0102:COM | SC | 0V1 | WHT | 14 | 6.A3 | XT0100:3 | LER,PNL,LFT | 6.B1 | USED
AF0102:COM | SC | AF0102N | WHT | 16 | 6.A3 | AF0103:COM | LER,PNL,LFT | 6.A3 | USED
AF0102:V+ | SC | FU0102 | WHT | 14 | 6.A3 | FU0102:LD | LER,PNL,LFT | 6.B1 | USED
AF0102:V+ | SC | AF0102P | WHT | 16 | 6.A3 | AF0103:V+ | LER,PNL,LFT | 6.A3 | USED
AF0103:COM | SC | AF0103N | WHT | 16 | 6.A3 | AF0104:COM | LER,PNL,LFT | 6.A4 | USED
AF0103:V+ | SC | AF0103P | WHT | 16 | 6.A3 | AF0104:V+ | LER,PNL,LFT | 6.A4 | USED
AF0104:07 | SC | SB0500B112 | WHT | 20 | 8.D6 | XT1036:4 | LER,PNL,LFT | 8.D6 | USED
AF0104:04 | SC | JP33 | VIO | 20 | 8.C7 | AF0104:36 | LER,PNL,LFT | 8.C7 | USED
AF0104:05 | SC | JP34 | VIO | 20 | 8.C7 | AF0104:37 | LER,PNL,LFT | 8.C7 | USED
XT0537:2 | SC | JP13 | VIO | 20 | 8.A6 | XT0537:1 | LER,PNL,LFT | 8.A6 | USED
XT0537:3 | SC | JP14 | VIO | 20 | 8.A6 | XT0537:2 | LER,PNL,LFT | 8.A6 | USED
XT0538:10 | SC | JPESD9 | VIO | 20 | 8.B6 | XT0538:9 | LER,PNL,LFT | 8.B6 | USED
XT0538:11 | SC | JPESD10 | VIO | 20 | 8.B6 | XT0538:10 | LER,PNL,LFT | 8.B6 | USED
XT0538:12 | SC | JPESD11 | VIO | 20 | 8.B6 | XT0538:11 | LER,PNL,LFT | 8.B6 | USED
XT0538:13 | SC | JPESD12 | VIO | 20 | 8.B6 | XT0538:12 | LER,PNL,LFT | 8.B6 | USED
XT0538:14 | SC | JPESD13 | VIO | 20 | 8.B6 | XT0538:13 | LER,PNL,LFT | 8.B6 | USED
XT0538:2 | SC | JPESD1 | VIO | 20 | 8.A6 | XT0538:1 | LER,PNL,LFT | 8.A6 | USED
XT0538:3 | SC | JPESD2 | VIO | 20 | 8.A6 | XT0538:2 | LER,PNL,LFT | 8.A6 | USED
XT0538:4 | SC | JPESD3 | VIO | 20 | 8.A6 | XT0538:3 | LER,PNL,LFT | 8.A6 | USED
XT0538:5 | SC | JPESD4 | VIO | 20 | 8.A6 | XT0538:4 | LER,PNL,LFT | 8.A6 | USED
XT0538:6 | SC | JPESD5 | VIO | 20 | 8.A6 | XT0538:5 | LER,PNL,LFT | 8.A6 | USED
XT0538:7 | SC | JPESD6 | VIO | 20 | 8.B6 | XT0538:6 | LER,PNL,LFT | 8.A6 | USED
XT0538:8 | SC | JPESD7 | VIO | 20 | 8.B6 | XT0538:7 | LER,PNL,LFT | 8.B6 | USED
XT0538:9 | SC | JPESD8 | VIO | 20 | 8.B6 | XT0538:8 | LER,PNL,LFT | 8.B6 | USED
AF0104:39 | SC | SB0500B111 | WHT | 20 | 8.D6 | XT1036:3 | LER,PNL,LFT | 8.D6 | USED
AF0104:COM | SC | AF0104N | WHT | 16 | 6.A4 | AF0105:COM | LER,PNL,LFT | 6.A5 | USED
AF0104:V+ | SC | AF0104P | WHT | 16 | 6.A4 | AF0105:V+ | LER,PNL,LFT | 6.A5 | USED
KA0612:14 | SC | KA061214 | WHT | 20 | 23.A7 | AF0105:09 | LER,PNL,LFT | 23.A6 | USED
KA0613:14 | SC | KA061314 | WHT | 20 | 24.A7 | AF0105:12 | LER,PNL,LFT | 24.A6 | USED
KA0612:11 | SC | KA061211 | WHT | 20 | 23.A7 | AF0105:41 | LER,PNL,LFT | 23.A6 | USED
KA0613:11 | SC | KA061311 | WHT | 20 | 24.A7 | AF0105:44 | LER,PNL,LFT | 24.A6 | USED
AF0105:COM | SC | AF0105N | WHT | 16 | 6.A5 | AF0106:COM | LER,PNL,LFT | 6.A5 | USED
AF0105:V+ | SC | AF0105P | WHT | 16 | 6.A5 | AF0106:V+ | LER,PNL,LFT | 6.A5 | USED
AF0106:COM | SC | AF0106N | WHT | 16 | 6.A5 | AF0107:COM | LER,PNL,LFT | 6.A6 | USED
AF0106:V+ | SC | AF0106P | WHT | 16 | 6.A5 | AF0107:V+ | LER,PNL,LFT | 6.A6 | USED
AF0108:01 | SC | ZSC11612 | WHT | 20 | 12.B7 | XT0265:12 | LER,PNL,LFT | 12.B5 | USED
KT0554:A2 | SC | KT0554A2 | WHT | 20 | 12.B7 | AF0108:17 | LER,PNL,LFT | 12.B5 | USED
AF0108:33 | SC | ZSC11611 | WHT | 20 | 12.B7 | XT0265:11 | LER,PNL,LFT | 12.B5 | USED
AF0108:COM | SC | AF0108N | WHT | 16 | 6.C3 | AF0109:COM | LER,PNL,LFT | 6.C3 | USED
AF0108:V+ | SC | AF0108P | WHT | 16 | 6.C3 | AF0109:V+ | LER,PNL,LFT | 6.C3 | USED
AF0109:COM | SC | AF0109N | WHT | 16 | 6.C3 | AF0110:COM | LER,PNL,LFT | 6.B4 | USED
AF0109:V+ | SC | AF0109P | WHT | 16 | 6.C3 | AF0110:V+ | LER,PNL,LFT | 6.B4 | USED
KA0610:A1 | SC | KA0610A1 | WHT | 20 | 26.A7 | AF0111:00 | LER,PNL,LFT | 26.B6 | USED
KA0611:A1 | SC | KA0611A1 | WHT | 20 | 26.B7 | AF0111:02 | LER,PNL,LFT | 26.B6 | USED
KA0603:A1 | SC | KA0603A1 | WHT | 20 | 10.A7 | AF0111:10 | LER,PNL,LFT | 10.A6 | USED
KA0604:A1 | SC | KA0604A1 | WHT | 20 | 10.A7 | AF0111:12 | LER,PNL,LFT | 10.A6 | USED
KA0605:A1 | SC | KA0605A1 | WHT | 20 | 10.B7 | AF0111:14 | LER,PNL,LFT | 10.B6 | USED
KA0610:A2 | SC | KA0610A2 | WHT | 20 | 26.A7 | AF0111:16 | LER,PNL,LFT | 26.B6 | USED
KA0611:A2 | SC | KA0611A2 | WHT | 20 | 26.B7 | AF0111:18 | LER,PNL,LFT | 26.B6 | USED
KA0603:A2 | SC | KA0603A2 | WHT | 20 | 10.A7 | AF0111:26 | LER,PNL,LFT | 10.A6 | USED
KA0604:A2 | SC | KA0604A2 | WHT | 20 | 10.A7 | AF0111:28 | LER,PNL,LFT | 10.A6 | USED
KA0605:A2 | SC | KA0605A2 | WHT | 20 | 10.B7 | AF0111:30 | LER,PNL,LFT | 10.B6 | USED
KA0216:14 | SC | KA021614 | WHT | 20 | 13.A7 | AF0112:00 | LER,PNL,LFT | 13.A6 | USED
KA0216:24 | SC | KA021624 | WHT | 20 | 15.A7 | AF0112:04 | LER,PNL,LFT | 15.A6 | USED
KA0211:14 | SC | KA021114 | WHT | 20 | 12.A7 | AF0112:08 | LER,PNL,LFT | 12.A6 | USED
AF0112:10 | SC | 011210 | WHT | 20 | 12.B7 | XT0265:14 | LER,PNL,LFT | 12.C6 | USED
KA0211:24 | SC | KA021124 | WHT | 20 | 14.A7 | AF0112:12 | LER,PNL,LFT | 14.A6 | USED
AF0112:14 | SC | 011214 | WHT | 20 | 14.B7 | XT0265:22 | LER,PNL,LFT | 14.C6 | USED
AF0112:16 | SC | SV101N | WHT | 20 | 13.A7 | XT0265:4 | LER,PNL,LFT | 13.A5 | USED
AF0112:20 | SC | SV1022 | WHT | 20 | 15.A7 | XT0265:8 | LER,PNL,LFT | 15.A5 | USED
AF0112:24 | SC | SVO1161N | WHT | 20 | 12.A7 | XT0265:10 | LER,PNL,LFT | 12.A5 | USED
AF0112:26 | SC | SVC11612 | WHT | 20 | 12.B7 | XT0265:16 | LER,PNL,LFT | 12.C5 | USED
AF0112:28 | SC | SVO11712 | WHT | 20 | 14.A7 | XT0265:18 | LER,PNL,LFT | 14.A5 | USED
AF0112:30 | SC | SVC11712 | WHT | 20 | 14.B7 | XT0265:24 | LER,PNL,LFT | 14.C5 | USED
KA0270:14 | SC | KA027014 | WHT | 20 | 12.A7 | AF0112:40 | LER,PNL,LFT | 12.A6 | USED
KA0271:14 | SC | KA027114 | WHT | 20 | 14.A7 | AF0112:44 | LER,PNL,LFT | 14.A6 | USED
KA0291:A1 | SC | KA0291A1 | WHT | 20 | 29.A7 | AF0113:01 | LER,PNL,LFT | 29.A5 | USED
KA0391:A1 | SC | KA0391A1 | WHT | 20 | 30.A7 | AF0113:02 | LER,PNL,LFT | 30.A5 | USED
KA0291:A2 | SC | KA0291A2 | WHT | 20 | 29.A7 | AF0113:17 | LER,PNL,LFT | 29.A5 | USED
KA0391:A2 | SC | KA0391A2 | WHT | 20 | 30.A7 | AF0113:18 | LER,PNL,LFT | 30.A5 | USED
AU0100:COM | SC | 0V1 | WHT | 14 | 6.A2 | XT0100:1 | LER,PNL,LFT | 6.B1 | USED
AU0100:V+ | SC | FU0100 | WHT | 14 | 6.A2 | FU0100:LD | LER,PNL,LFT | 6.A1 | USED
FU0100:LI | SC | FU0260 | WHT | 14 | 6.A1 | FU0101:LI | LER,PNL,LFT | 6.B1 | USED
FU0101:LI | SC | FU0260 | WHT | 14 | 6.B1 | FU0102:LI | LER,PNL,LFT | 6.B1 | USED
GR1034: | SC | GR1034 | GRN/YEL | 14 | 2.C3 | FRAME | LER,PNL,LFT | 2.C4 | USED
KA0060:11 | SC | FSTOP12 | WHT | 20 | 31.B5 | XT0265:34 | LER,PNL,LFT | 31.B4 | USED
KA0060:14 | SC | FSTOP11 | WHT | 20 | 31.B5 | XT0265:33 | LER,PNL,LFT | 31.B4 | USED
KA0060:21 | SC | FSTOP22 | WHT | 20 | 31.B5 | XT0265:36 | LER,PNL,LFT | 31.B4 | USED
KA0060:24 | SC | FSTOP21 | WHT | 20 | 31.B5 | XT0265:35 | LER,PNL,LFT | 31.B4 | USED
KA0060:A1 | SC | 010110 | WHT | 20 | 31.A5 | KA0061:A1 | LER,PNL,LFT | 31.A5 | USED
KA0060:A2 | SC | 010126 | WHT | 20 | 31.A5 | KA0061:A2 | LER,PNL,LFT | 31.A5 | USED
KA0210:21 | SC | FU0264 | WHT | 14 | 9.C2 | XT0136:1 | LER,PNL,LFT | 9.C2 | USED
KA0210:A1 | SC | KA053114 | WHT | 20 | 9.B3 | KA0211:A1 | LER,PNL,LFT | 9.B3 | USED
KA0210:A1 | SC | KA053114 | WHT | 20 | 9.B3 | XT0136:10 | LER,PNL,LFT | 9.B2 | USED
KA0210:A2 | SC | 0V1 | WHT | 20 | 9.B3 | KA0211:A2 | LER,PNL,LFT | 9.B3 | USED
KA0210:A2 | SC | 0V1 | WHT | 20 | 9.B3 | XT0136:2 | LER,PNL,LFT | 9.A6 | USED
KA0211:11 | SC | KA021111 | WHT | 20 | 12.A6 | KA0270:A1 | LER,PNL,LFT | 12.A5 | USED
KA0211:21 | SC | KA021121 | WHT | 20 | 14.A6 | KA0271:A1 | LER,PNL,LFT | 14.A5 | USED
KA0211:A1 | SC | KA053114 | WHT | 20 | 9.B3 | KA0212:A1 | LER,PNL,LFT | 9.B3 | USED
KA0211:A2 | SC | 0V1 | WHT | 20 | 9.B3 | KA0212:A2 | LER,PNL,LFT | 9.B3 | USED
KA0212:11 | SC | KA060014 | WHT | 20 | 26.C5 | KA0600:14 | LER,PNL,LFT | 26.C5 | USED
KA0212:21 | SC | KA021214 | WHT | 20 | 23.B5 | KA0601:14 | LER,PNL,LFT | 23.B5 | USED
KA0212:A1 | SC | KA053114 | WHT | 20 | 9.B3 | KA0213:A1 | LER,PNL,LFT | 9.C3 | USED
KA0212:A2 | SC | 0V1 | WHT | 20 | 9.B3 | KA0213:A2 | LER,PNL,LFT | 9.C3 | USED
KA0213:11 | SC | KA021311 | WHT | 20 | 24.B5 | KA0602:14 | LER,PNL,LFT | 24.B5 | USED
KA0215:21 | SC | KA021521 | WHT | 20 | 9.C5 | XT0136:7 | LER,PNL,LFT | 9.C5 | USED
KA0215:22 | SC | KA021522 | WHT | 20 | 9.C5 | XT0136:8 | LER,PNL,LFT | 9.C6 | USED
KA0215:A1 | SC | KA022914 | WHT | 20 | 9.A3 | KA0216:A1 | LER,PNL,LFT | 9.A3 | USED
KA0215:A1 | SC | KA022914 | WHT | 20 | 9.A3 | XT0136:9 | LER,PNL,LFT | 9.A2 | USED
KA0215:A2 | SC | 0V1 | WHT | 20 | 9.A3 | XT0136:2 | LER,PNL,LFT | 9.A6 | USED
KA0215:A2 | SC | 0V1 | WHT | 20 | 9.A3 | KA0216:A2 | LER,PNL,LFT | 9.A3 | USED
KA0216:11 | SC | KA021611 | WHT | 20 | 13.A6 | XT0265:3 | LER,PNL,LFT | 13.A6 | USED
KA0216:21 | SC | KA021621 | WHT | 20 | 15.A6 | XT0265:7 | LER,PNL,LFT | 15.A6 | USED
KA0216:A1 | SC | KA022914 | WHT | 20 | 9.A3 | KA0217:A1 | LER,PNL,LFT | 9.A3 | USED
KA0216:A2 | SC | 0V1 | WHT | 20 | 9.A3 | KA0217:A2 | LER,PNL,LFT | 9.A3 | USED
KA0217:24 | SC | KA023624 | WHT | 20 | 7.A3 | XT0536:10 | LER,PNL,LFT | 7.A3 | USED
KA0217:A1 | SC | KA022914 | WHT | 20 | 9.A3 | KA0218:A1 | LER,PNL,LFT | 9.A3 | USED
KA0217:A2 | SC | 0V1 | WHT | 20 | 9.A3 | KA0218:A2 | LER,PNL,LFT | 9.A3 | USED
KA0270:11 | SC | SVO1161P | WHT | 20 | 12.A6 | XT0265:9 | LER,PNL,LFT | 12.A5 | USED
KA0270:A2 | SC | SVO1161N | WHT | 20 | 12.A5 | XT0265:10 | LER,PNL,LFT | 12.A5 | USED
KA0271:11 | SC | SVO11711 | WHT | 20 | 14.A6 | XT0265:17 | LER,PNL,LFT | 14.A5 | USED
KA0271:A2 | SC | SVO11712 | WHT | 20 | 14.A5 | XT0265:18 | LER,PNL,LFT | 14.A5 | USED
KA0291:11 | SC | CCESTOP1A2 | WHT | 20 | 29.B5 | XT0265:26 | LER,PNL,LFT | 29.B4 | USED
KA0291:21 | SC | CCESTOP2A2 | WHT | 20 | 29.B5 | XT0265:28 | LER,PNL,LFT | 29.B4 | USED
KA0291:A1 | SC | KA0291A1 | WHT | 20 | 29.A5 | KA0292:A1 | LER,PNL,LFT | 29.A5 | USED
KA0291:A2 | SC | KA0291A2 | WHT | 20 | 29.A5 | KA0292:A2 | LER,PNL,LFT | 29.A5 | USED
KA0292:A1 | SC | KA0291A1 | WHT | 20 | 29.A5 | KA0293:A1 | LER,PNL,LFT | 29.B5 | USED
KA0292:A2 | SC | KA0291A2 | WHT | 20 | 29.A5 | KA0293:A2 | LER,PNL,LFT | 29.B5 | USED
KA0391:11 | SC | CCESTOP1B2 | WHT | 20 | 30.B5 | XT0265:30 | LER,PNL,LFT | 30.B4 | USED
KA0391:21 | SC | CCESTOP2B2 | WHT | 20 | 30.B5 | XT0265:32 | LER,PNL,LFT | 30.B4 | USED
KA0391:A1 | SC | KA0391A1 | WHT | 20 | 30.A5 | KA0392:A1 | LER,PNL,LFT | 30.A5 | USED
KA0391:A2 | SC | KA0391A2 | WHT | 20 | 30.A5 | KA0392:A2 | LER,PNL,LFT | 30.A5 | USED
KA0392:A1 | SC | KA0391A1 | WHT | 20 | 30.A5 | KA0393:A1 | LER,PNL,LFT | 30.A5 | USED
KA0392:A2 | SC | KA0391A2 | WHT | 20 | 30.A5 | KA0393:A2 | LER,PNL,LFT | 30.A5 | USED
KA0210:22 | SC | KA021022 | WHT | 20 | 9.C3 | KT0554:15 | LER,PNL,LFT | 9.C2 | USED
KT0554:15 | SC | KA021022 | WHT | 20 | 9.C3 | KT0555:15 | LER,PNL,LFT | 9.C3 | USED
KT0554:16 | SC | KT055416 | WHT | 20 | 9.C3 | XT0136:3 | LER,PNL,LFT | 9.C3 | USED
KT0554:A1 | SC | ZSC11612 | WHT | 20 | 12.B5 | XT0265:12 | LER,PNL,LFT | 12.B5 | USED
KT0555:16 | SC | KT055516 | WHT | 20 | 9.C3 | XT0136:5 | LER,PNL,LFT | 9.C3 | USED
KT0555:A1 | SC | ZSC11712 | WHT | 20 | 14.B5 | XT0265:20 | LER,PNL,LFT | 14.B5 | USED
VD0231:--1N4005/1 | SC | KA021521 | LEAD |  | 9.C4 | XT0136:4 | LER,PNL,LFT | 9.C4 | USED
VD0231:+-1N4005/1 | SC | KT055416 | LEAD |  | 9.C4 | XT0136:3 | LER,PNL,LFT | 9.C3 | USED
VD0232:--1N4005/1 | SC | KA021521 | LEAD |  | 9.C4 | XT0136:6 | LER,PNL,LFT | 9.C4 | USED
VD0232:+-1N4005/1 | SC | KT055516 | LEAD |  | 9.C4 | XT0136:5 | LER,PNL,LFT | 9.C3 | USED
VD0233:--1N4005/1 | SC | SVC11611 | LEAD |  | 12.B5 | XT0265:15 | LER,PNL,LFT | 12.C5 | USED
VD0233:+-1N4005/1 | SC | KA021521 | LEAD |  | 12.B5 | XT0265:13 | LER,PNL,LFT | 12.B6 | USED
VD0234:--1N4005/1 | SC | SVC11611 | LEAD |  | 12.C5 | XT0265:15 | LER,PNL,LFT | 12.C5 | USED
VD0234:+-1N4005/1 | SC | 011210 | LEAD |  | 12.C5 | XT0265:14 | LER,PNL,LFT | 12.C6 | USED
VD0235:--1N4005/1 | SC | SVC11711 | LEAD |  | 14.B5 | XT0265:23 | LER,PNL,LFT | 14.C5 | USED
VD0235:+-1N4005/1 | SC | KA021521 | LEAD |  | 14.B5 | XT0265:21 | LER,PNL,LFT | 14.B6 | USED
VD0236:--1N4005/1 | SC | SVC11711 | LEAD |  | 14.C5 | XT0265:23 | LER,PNL,LFT | 14.C5 | USED
VD0236:+-1N4005/1 | SC | 011214 | LEAD |  | 14.C5 | XT0265:22 | LER,PNL,LFT | 14.C6 | USED
VD0237:--1N4005/1 | SC | SV101P | LEAD |  | 13.A5 | XT0265:1 | LER,PNL,LFT | 13.A5 | USED
VD0237:+-1N4005/1 | SC | KA021522 | LEAD |  | 13.A5 | XT0265:2 | LER,PNL,LFT | 13.A6 | USED
VD0238:--1N4005/1 | SC | SV101P | LEAD |  | 13.A5 | XT0265:1 | LER,PNL,LFT | 13.A5 | USED
VD0238:+-1N4005/1 | SC | KA021611 | LEAD |  | 13.A5 | XT0265:3 | LER,PNL,LFT | 13.A6 | USED
VD0239:--1N4005/1 | SC | SV1021 | LEAD |  | 15.A5 | XT0265:6 | LER,PNL,LFT | 15.A5 | USED
VD0239:+-1N4005/1 | SC | KA021522 | LEAD |  | 15.A5 | XT0265:5 | LER,PNL,LFT | 15.A6 | USED
VD0240:--1N4005/1 | SC | SV1021 | LEAD |  | 15.A5 | XT0265:6 | LER,PNL,LFT | 15.A5 | USED
VD0240:+-1N4005/1 | SC | KA021621 | LEAD |  | 15.A5 | XT0265:7 | LER,PNL,LFT | 15.A6 | USED
XT0136:4 | SC | KA021521 | WHT | 20 | 9.C4 | XT0136:7 | LER,PNL,LFT | 9.C5 | USED
XT0136:6 | SC | KA021521 | WHT | 20 | 9.C4 | XT0265:21 | LER,PNL,LFT | 14.B6 | USED
XT0136:7 | SC | KA021521 | WHT | 20 | 9.C5 | XT0136:6 | LER,PNL,LFT | 9.C4 | USED
XT0136:8 | SC | KA021522 | WHT | 20 | 9.C6 | XT0265:5 | LER,PNL,LFT | 15.A6 | USED
XT0265:13 | SC | KA021521 | WHT | 20 | 12.B6 | XT0136:4 | LER,PNL,LFT | 9.C4 | USED
XT0265:2 | SC | KA021522 | WHT | 20 | 13.A6 | XT0136:8 | LER,PNL,LFT | 9.C6 | USED
XT0536:12 | SC | KA023621 | WHT | 20 | 7.A4 | XT0537:1 | LER,PNL,LFT | 8.A6 | USED
XT0536:13 | SC | ESTOP3 | WHT | 20 | 7.A5 | XT1036:2 | LER,PNL,LFT | 8.D5 | USED
XT0536:14 | SC | KA053114 | WHT | 20 | 7.C3 | XT0136:10 | LER,PNL,LFT | 9.B2 | USED
XT0536:16 | SC | KA0542A1 | WHT | 20 | 7.B5 | XT0538:14 | LER,PNL,LFT | 8.B6 | USED
XT0536:2 | SC | FU0190 | WHT | 20 | 7.B2 | XT0538:1 | LER,PNL,LFT | 8.A6 | USED
XT0536:8 | SC | 0V1 | WHT | 14 | 7.C6 | XT0136:2 | LER,PNL,LFT | 9.A6 | USED
XT0536:9 | SC | KA022914 | WHT | 20 | 7.C3 | XT0136:9 | LER,PNL,LFT | 9.A2 | USED
XT1036:1 | SC | ESTOP2 | WHT | 20 | 8.D5 | XT0537:3 | LER,PNL,LFT | 8.A6 | USED
XT1036:1 | SC | ESTOP2 | WHT | 20 | 8.D5 | SB0500:B2-11 | LER 1 ESTOP | 8.D5 | USED
XT1036:2 | SC | ESTOP3 | WHT | 20 | 8.D5 | SB0500:B2-12 | LER 1 ESTOP | 8.D5 | USED
XT1036:3 | SC | SB0500B111 | WHT | 20 | 8.D6 | SB0500:B1-11 | LER 1 ESTOP | 8.D5 | USED
XT1036:4 | SC | SB0500B112 | WHT | 20 | 8.D6 | SB0500:B1-12 | LER 1 ESTOP | 8.D5 | USED
AF0102:01 | SC | UJ1032OK2 | WHT | 20 | 4.B6 | UJ1032:OK2 | LER,PNL,REAR | 4.A3 | USED
AF0102:07 | SC | UJ1033OK2 | WHT | 20 | 4.C6 | UJ1033:OK2 | LER,PNL,REAR | 4.C3 | USED
AF0102:33 | SC | UJ1032OK1 | WHT | 16 | 4.B6 | UJ1032:OK1 | LER,PNL,REAR | 4.A3 | USED
AF0102:39 | SC | UJ1033OK1 | WHT | 20 | 4.C6 | UJ1033:OK1 | LER,PNL,REAR | 4.C3 | USED
AF0103:00 | SC | 010300 | WHT | 16 | 4.B6 | XT0025:2 | LER,PNL,REAR | 4.B6 | USED
AF0103:01 | SC | 0V1 | WHT | 16 | 4.B6 | XT0025:3 | LER,PNL,REAR | 4.B5 | USED
AF0103:02 | SC | UJ1032VIN | WHT | 20 | 4.A6 | UJ1032:VIN | LER,PNL,REAR | 4.A3 | USED
AF0103:03 | SC | 0V1 | WHT | 16 | 4.A6 | XT0025:5 | LER,PNL,REAR | 4.A6 | USED
AF0103:04 | SC | UJ1032IOUT | WHT | 16 | 4.A6 | UJ1032:IOUT | LER,PNL,REAR | 4.A3 | USED
AF0103:05 | SC | 0V1 | WHT | 16 | 4.A6 | XT0025:6 | LER,PNL,REAR | 4.A6 | USED
AF0103:12 | SC | UJ1033VIN | WHT | 20 | 4.C6 | UJ1033:VIN | LER,PNL,REAR | 4.C3 | USED
AF0103:13 | SC | 0V1 | WHT | 16 | 4.C6 | XT0025:5 | LER,PNL,REAR | 4.A6 | USED
AF0103:14 | SC | UJ1033IOUT | WHT | 16 | 4.C6 | UJ1033:IOUT | LER,PNL,REAR | 4.C3 | USED
AF0103:15 | SC | 0V1 | WHT | 16 | 4.C6 | XT0025:6 | LER,PNL,REAR | 4.A6 | USED
AF0103:SH | SC | IEG02604G | GRN | 14 | 6.A3 | IEG0260:4 | LER,PNL,REAR | 6.B4 | USED
AF0108:COM | SC | 0V1 | WHT | 14 | 6.C3 | XT0090:1 | LER,PNL,REAR | 6.C2 | USED
AF0108:V+ | SC | FU0103 | WHT | 14 | 6.C3 | FU0103:LD | LER,PNL,REAR | 6.C2 | USED
AF0109:SH | SC | AF0109G | GRN | 14 | 6.C3 | IEG0260:5 | LER,PNL,REAR | 6.C4 | USED
AF0110:00 | SC | 011000 | WHT | 20 | 7.D6 | KA0530:14 | LER,PNL,REAR | 7.D5 | USED
AF0110:32 | SC | 011032 | WHT | 20 | 7.D6 | KA0530:11 | LER,PNL,REAR | 7.D5 | USED
AF0111:COM | SC | 0V1 | WHT | 14 | 6.C5 | XT0090:2 | LER,PNL,REAR | 6.C2 | USED
AF0111:V+ | SC | FU0104 | WHT | 14 | 6.C5 | FU0104:LD | LER,PNL,REAR | 6.C2 | USED
AF0112:COM | SC | 0V1 | WHT | 14 | 6.C5 | XT0090:3 | LER,PNL,REAR | 6.D2 | USED
AF0112:V+ | SC | FU0105 | WHT | 14 | 6.C5 | FU0105:LD | LER,PNL,REAR | 6.D2 | USED
AF0113:COM | SC | 0V1 | WHT | 14 | 6.B6 | XT0090:4 | LER,PNL,REAR | 6.D2 | USED
AF0113:V+ | SC | FU0106 | WHT | 14 | 6.B6 | FU0106:LD | LER,PNL,REAR | 6.D2 | USED
FU0100:LI | SC | FU0260 | WHT | 14 | 6.A1 | XT0261:2 | LER,PNL,REAR | 5.A4 | USED
GR0265: | SC | IEG02603 | GRN | 14 | 2.B3 | IEG0260:3 | LER,PNL,REAR | 2.B4 | USED
KA0217:21 | SC | KA053024 | WHT | 20 | 7.A3 | KA0530:24 | LER,PNL,REAR | 7.A2 | USED
KA0291:14 | SC | KA029114 | WHT | 20 | 29.B5 | KA0532:11 | LER,PNL,REAR | 29.B5 | USED
KA0291:24 | SC | KA029124 | WHT | 20 | 29.B5 | KA0532:21 | LER,PNL,REAR | 29.B5 | USED
KA0391:14 | SC | KA039114 | WHT | 20 | 30.B5 | KA0533:11 | LER,PNL,REAR | 30.B5 | USED
KA0391:24 | SC | KA039124 | WHT | 20 | 30.B5 | KA0533:21 | LER,PNL,REAR | 30.B5 | USED
XT0100:1 | SC | 0V1 | WHT | 14 | 6.B1 | XT0262:2 | LER,PNL,REAR | 5.C4 | USED
XT0136:1 | SC | FU0264 | WHT | 14 | 9.C2 | FU0264:LD | LER,PNL,REAR | 5.B5 | USED
XT0265:25 | SC | CCESTOP1A1 | WHT | 20 | 29.B4 | KA0532:14 | LER,PNL,REAR | 29.B5 | USED
XT0265:27 | SC | CCESTOP2A1 | WHT | 20 | 29.B4 | KA0532:24 | LER,PNL,REAR | 29.B5 | USED
XT0265:29 | SC | CCESTOP1B1 | WHT | 20 | 30.B4 | KA0533:14 | LER,PNL,REAR | 30.B5 | USED
XT0265:31 | SC | CCESTOP2B1 | WHT | 20 | 30.B4 | KA0533:24 | LER,PNL,REAR | 30.B5 | USED
XT0536:1 | SC | FU0190 | WHT | 12 | 7.A2 | FU0190:LD | LER,PNL,REAR | 5.B5 | USED
XT0536:1 | SC | FU0190 | WHT | 20 | 7.A2 | KA0530:21 | LER,PNL,REAR | 7.A2 | USED
XT0536:13 | SC | ESTOP3 | WHT | 20 | 7.A5 | KA0530:A1 | LER,PNL,REAR | 7.A5 | USED
XT0536:14 | SC | KA053114 | WHT | 20 | 7.C3 | KA0531:14 | LER,PNL,REAR | 7.C2 | USED
XT0536:15 | SC | KA024324 | WHT | 20 | 7.B5 | KA0540:A1 | LER,PNL,REAR | 7.B5 | USED
XT0536:16 | SC | KA0542A1 | WHT | 20 | 7.B5 | KA0542:A1 | LER,PNL,REAR | 7.B5 | USED
XT0536:17 | SC | KA054211 | WHT | 20 | 7.D2 | KA0542:11 | LER,PNL,REAR | 7.D5 | USED
XT0536:18 | SC | KA054214 | WHT | 20 | 7.D2 | KA0542:14 | LER,PNL,REAR | 7.D5 | USED
XT0536:4 | SC | FU0190 | WHT | 20 | 7.C2 | KA0531:11 | LER,PNL,REAR | 7.C2 | USED
XT0536:5 | SC | 0V1 | WHT | 14 | 7.A6 | XT0262:4 | LER,PNL,REAR | 5.C4 | USED
XT0536:5 | SC | 0V1 | WHT | 20 | 7.A6 | KA0530:A2 | LER,PNL,REAR | 7.A5 | USED
XT0536:6 | SC | 0V1 | WHT | 20 | 7.B6 | KA0542:A2 | LER,PNL,REAR | 7.B5 | USED
XT0536:7 | SC | 0V1 | WHT | 20 | 7.B6 | KA0540:A2 | LER,PNL,REAR | 7.B5 | USED
AU0100:L1 | WC0010L1 | BA7140RJ45 | ENET | CABLE | 6.A2 | BA7140:RJ45 | LER,PNL,REAR | 3.A3 | USED
AU0100:L2 | WC0010L2 | AU0100L2 | ENET | CABLE | 6.A2 | BA7141:RJ45 | LER,PNL,REAR | 3.B3 | USED
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 2/13/2026 1:25 PM

## LER,PNL,REAR
LER,PNL,REAR
LER 1 RIO CONSOLE REAR PANEL
Project # | 4M037
Project Name | Bayrunner Pipeline
Revision | 0.1
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
XT0025:2 | JC | 010300 | CLIP | --- | 4.B6 | XT0025:4 | LER,PNL,REAR | 4.B6 | USED
XT0090:1 | JC | 0V1 | CLIP | --- | 6.C2 | XT0090:2 | LER,PNL,REAR | 6.C2 | USED
XT0090:2 | JC | 0V1 | CLIP | --- | 6.C2 | XT0090:3 | LER,PNL,REAR | 6.D2 | USED
XT0090:3 | JC | 0V1 | CLIP | --- | 6.D2 | XT0090:4 | LER,PNL,REAR | 6.D2 | USED
XT0261:1 | JC | FU0260 | CLIP | --- | 5.A4 | XT0261:2 | LER,PNL,REAR | 5.A4 | USED
XT0261:2 | JC | FU0260 | CLIP | --- | 5.A4 | XT0261:3 | LER,PNL,REAR | 5.B4 | USED
XT0261:3 | JC | FU0260 | CLIP | --- | 5.B4 | XT0261:4 | LER,PNL,REAR | 5.B4 | USED
XT0261:4 | JC | FU0260 | CLIP | --- | 5.B4 | XT0261:5 | LER,PNL,REAR | 5.B4 | USED
XT0262:1 | JC | 0V1 | CLIP | --- | 5.C4 | XT0262:2 | LER,PNL,REAR | 5.C4 | USED
XT0262:2 | JC | 0V1 | CLIP | --- | 5.C4 | XT0262:3 | LER,PNL,REAR | 5.C4 | USED
XT0262:3 | JC | 0V1 | CLIP | --- | 5.C4 | XT0262:4 | LER,PNL,REAR | 5.C4 | USED
XT0262:4 | JC | 0V1 | CLIP | --- | 5.C4 | XT0262:5 | LER,PNL,REAR | 5.C4 | USED
XT1011:1 | JC | QS1032P | CLIP | --- | 4.A2 | XT1011:2 | LER,PNL,REAR | 4.C2 | USED
XT1011:3 | JC | QS1032N | CLIP | --- | 4.B2 | XT1011:4 | LER,PNL,REAR | 4.C2 | USED
XT1032:2 | JC | FU1032 | CLIP | --- | 4.B4 | XT1032:1 | LER,PNL,REAR | 4.B4 | USED
XT1032:3 | JC | 0V1 | CLIP | --- | 4.B4 | XT1032:4 | LER,PNL,REAR | 4.B4 | USED
XT1032:5 | JC | VD10324 | CLIP | --- | 4.C6 | XT1032:6 | LER,PNL,REAR | 4.C6 | USED
XT1033:1 | JC | FU1033 | CLIP | --- | 4.D4 | XT1033:2 | LER,PNL,REAR | 4.D4 | USED
XT1033:3 | JC | 0V1 | CLIP | --- | 4.D4 | XT1033:4 | LER,PNL,REAR | 4.D4 | USED
BA7040:0V | SC | 0V1 | WHT | 16 | 3.A5 | XT0262:3 | LER,PNL,REAR | 5.C4 | USED
BA7040:P1 | SC | FU7040 | WHT | 16 | 3.A5 | FU7040:LD | LER,PNL,REAR | 3.A6 | USED
BA7041:V1(-) | SC | 0V1 | WHT | 16 | 3.A3 | XT0262:5 | LER,PNL,REAR | 5.C4 | USED
BA7042:V1(-) | SC | 0V1 | WHT | 16 | 3.C3 | XT0262:5 | LER,PNL,REAR | 5.C4 | USED
BA7042:V1(+) | SC | FU0262 | WHT | 16 | 3.C3 | FU0262:LD | LER,PNL,REAR | 5.B5 | USED
BA7140:V1(-) | SC | 0V1 | WHT | 16 | 3.A3 | XT0262:5 | LER,PNL,REAR | 5.C4 | USED
BA7141:V1(-) | SC | 0V1 | WHT | 16 | 3.B3 | XT0262:5 | LER,PNL,REAR | 5.C4 | USED
BA7141:V1(+) | SC | FU0263 | WHT | 16 | 3.B3 | FU0263:LD | LER,PNL,REAR | 5.B5 | USED
FU0103:LI | SC | FU0260 | WHT | 14 | 6.C2 | FU0104:LI | LER,PNL,REAR | 6.C2 | USED
FU0103:LI | SC | FU0260 | WHT | 14 | 6.C2 | XT0261:2 | LER,PNL,REAR | 5.A4 | USED
FU0104:LI | SC | FU0260 | WHT | 14 | 6.C2 | FU0105:LI | LER,PNL,REAR | 6.D2 | USED
FU0105:LI | SC | FU0260 | WHT | 14 | 6.D2 | FU0106:LI | LER,PNL,REAR | 6.D2 | USED
FU0190:LI | SC | FU0260 | WHT | 14 | 5.B5 | XT0261:3 | LER,PNL,REAR | 5.B4 | USED
FU0260:LD | SC | FU0260 | WHT | 14 | 5.A3 | XT0261:1 | LER,PNL,REAR | 5.A4 | USED
FU0260:LI | SC | VD10324 | WHT | 10 | 5.A3 | XT1032:6 | LER,PNL,REAR | 4.C6 | USED
FU0262:LD | SC | FU0262 | WHT | 16 | 5.B5 | BA7041:V1(+) | LER,PNL,REAR | 3.A3 | USED
FU0262:LI | SC | FU0260 | WHT | 14 | 5.B5 | XT0261:4 | LER,PNL,REAR | 5.B4 | USED
FU0263:LD | SC | FU0263 | WHT | 16 | 5.B5 | BA7140:V1(+) | LER,PNL,REAR | 3.A3 | USED
FU0263:LI | SC | FU0260 | WHT | 14 | 5.B5 | XT0261:5 | LER,PNL,REAR | 5.B4 | USED
FU0264:LI | SC | FU0260 | WHT | 14 | 5.B5 | XT0261:5 | LER,PNL,REAR | 5.B4 | USED
FU0273:LI | SC | FU0260 | WHT | 14 | 5.C2 | XT0261:3 | LER,PNL,REAR | 5.B4 | USED
FU1032:LD | SC | FU1032 | WHT | 10 | 4.B4 | XT1032:1 | LER,PNL,REAR | 4.B4 | USED
FU1032:LI | SC | 24V3 | WHT | 10 | 4.B4 | UJ1032:OUT(+) | LER,PNL,REAR | 4.A3 | USED
FU1033:LD | SC | FU1033 | WHT | 10 | 4.D4 | XT1033:2 | LER,PNL,REAR | 4.D4 | USED
FU1033:LI | SC | 24V4 | WHT | 10 | 4.D4 | UJ1033:OUT(+) | LER,PNL,REAR | 4.C3 | USED
FU7040:LI | SC | FU0260 | WHT | 14 | 3.A6 | XT0261:1 | LER,PNL,REAR | 5.A4 | USED
GR1030: | SC | GR1030 | GRN/YEL | 14 | 2.B3 | FRAME | LER,PNL,REAR | 2.B4 | USED
GR1031: | SC | GR1031 | GRN/YEL | 14 | 2.B3 | FRAME | LER,PNL,REAR | 2.B4 | USED
GR1032: | SC | GR1032 | GRN/YEL | 14 | 2.B3 | FRAME | LER,PNL,REAR | 2.B4 | USED
GR1033: | SC | IEG02601 | GRN | 14 | 2.C3 | IEG0260:1 | LER,PNL,REAR | 2.C4 | USED
KA0530:21 | SC | FU0190 | WHT | 20 | 7.A2 | KA0540:11 | LER,PNL,REAR | 7.A2 | USED
KA0530:24 | SC | KA053024 | WHT | 20 | 7.A2 | KA0540:14 | LER,PNL,REAR | 7.A2 | USED
KA0530:A1 | SC | ESTOP3 | WHT | 20 | 7.A5 | KA0531:A1 | LER,PNL,REAR | 7.A5 | USED
KA0530:A2 | SC | 0V1 | WHT | 20 | 7.A5 | KA0531:A2 | LER,PNL,REAR | 7.A5 | USED
KA0531:A1 | SC | ESTOP3 | WHT | 20 | 7.A5 | KA0532:A1 | LER,PNL,REAR | 7.A5 | USED
KA0531:A2 | SC | 0V1 | WHT | 20 | 7.A5 | KA0532:A2 | LER,PNL,REAR | 7.A5 | USED
KA0532:A1 | SC | ESTOP3 | WHT | 20 | 7.A5 | KA0533:A1 | LER,PNL,REAR | 7.B5 | USED
KA0532:A2 | SC | 0V1 | WHT | 20 | 7.A5 | KA0533:A2 | LER,PNL,REAR | 7.B5 | USED
KA0540:A1 | SC | KA024324 | WHT | 20 | 7.B5 | KA0541:A1 | LER,PNL,REAR | 7.B5 | USED
KA0540:A2 | SC | 0V1 | WHT | 20 | 7.B5 | KA0541:A2 | LER,PNL,REAR | 7.B5 | USED
KA0542:A1 | SC | KA0542A1 | WHT | 20 | 7.B5 | KA0543:A1 | LER,PNL,REAR | 7.B5 | USED
KA0542:A2 | SC | 0V1 | WHT | 20 | 7.B5 | KA0543:A2 | LER,PNL,REAR | 7.B5 | USED
QS1032:LD-1 | SC | UJ1032P | WHT | 12 | 4.A2 | UJ1032:+ | LER,PNL,REAR | 4.A3 | USED
QS1032:LD-3 | SC | UJ1032N | WHT | 12 | 4.A2 | UJ1032:- | LER,PNL,REAR | 4.A3 | USED
QS1032:LI-2 | SC | QS1032P | WHT | 12 | 4.A2 | XT1011:1 | LER,PNL,REAR | 4.A2 | USED
QS1032:LI-4 | SC | QS1032N | WHT | 12 | 4.A2 | XT1011:3 | LER,PNL,REAR | 4.B2 | USED
QS1033:LD-1 | SC | UJ1033P | WHT | 12 | 4.C2 | UJ1033:+ | LER,PNL,REAR | 4.C3 | USED
QS1033:LD-3 | SC | UJ1033N | WHT | 12 | 4.C2 | UJ1033:- | LER,PNL,REAR | 4.C3 | USED
QS1033:LI-2 | SC | QS1032P | WHT | 12 | 4.C2 | XT1011:2 | LER,PNL,REAR | 4.C2 | USED
QS1033:LI-4 | SC | QS1032N | WHT | 12 | 4.C2 | XT1011:4 | LER,PNL,REAR | 4.C2 | USED
RR0251: -3.01K OHM | SC | 010300 | LEAD | --- | 4.B5 | XT0025:2 | LER,PNL,REAR | 4.B6 | USED
RR0251: -3.01K OHM | SC | VD10324 | LEAD | --- | 4.B5 | XT0025:1 | LER,PNL,REAR | 4.B5 | USED
RR0252: -1.0K OHM | SC | 010300 | LEAD | --- | 4.B5 | XT0025:4 | LER,PNL,REAR | 4.B6 | USED
RR0252: -1.0K OHM | SC | 0V1 | LEAD | --- | 4.B5 | XT0025:3 | LER,PNL,REAR | 4.B5 | USED
UJ1032:G | SC | UJ1032G | GRN/YEL | 12 | 4.A3 | FRAME | LER,PNL,REAR | 4.B3 | USED
UJ1032:OUT(-) | SC | 0V1 | WHT | 10 | 4.A3 | XT1032:3 | LER,PNL,REAR | 4.B4 | USED
UJ1033:G | SC | UJ1033G | GRN/YEL | 12 | 4.C3 | FRAME | LER,PNL,REAR | 4.C3 | USED
UJ1033:OUT(-) | SC | 0V1 | WHT | 10 | 4.C3 | XT1033:4 | LER,PNL,REAR | 4.D4 | USED
VD1032:1 | SC | FU1032 | LEAD | --- | 4.C5 | XT1032:1 | LER,PNL,REAR | 4.B4 | USED
VD1032:2 | SC | VD10324 | LEAD | --- | 4.C5 | XT1032:5 | LER,PNL,REAR | 4.C6 | USED
VD1032:3 | SC | FU1033 | LEAD | --- | 4.C5 | XT1033:1 | LER,PNL,REAR | 4.D4 | USED
VD1032:4 | SC | VD10324 | LEAD | --- | 4.C5 | XT1032:6 | LER,PNL,REAR | 4.C6 | USED
XT0025:1 | SC | VD10324 | WHT | 12 | 4.B5 | XT1032:5 | LER,PNL,REAR | 4.C6 | USED
XT0025:5 | SC | 0V1 | WHT | 14 | 4.A6 | XT0262:1 | LER,PNL,REAR | 5.C4 | USED
XT0025:6 | SC | 0V1 | WHT | 14 | 4.A6 | XT0262:2 | LER,PNL,REAR | 5.C4 | USED
XT0260:1 | SC | 0V1 | WHT | 14 | 5.C3 | XT0262:1 | LER,PNL,REAR | 5.C4 | USED
XT0262:2 | SC | 0V1 | WHT | 14 | 5.C4 | XT0090:1 | LER,PNL,REAR | 6.C2 | USED
XT1032:3 | SC | 0V1 | WHT | 10 | 4.B4 | XT1033:3 | LER,PNL,REAR | 4.D4 | USED
XT1032:4 | SC | 0V1 | WHT | 12 | 4.B4 | XT0025:3 | LER,PNL,REAR | 4.B5 | USED
XT1033:4 | SC | 0V1 | WHT | 10 | 4.D4 | XT0260:1 | LER,PNL,REAR | 5.C3 | USED
BA7040:1 | WC7041 | BA7041RJ45 | ENET | CABLE | 3.A2 | BA7041:RJ45 | LER,PNL,REAR | 3.A3 | USED
BA7040:2 | WC7042 | BA7042RJ45 | ENET | CABLE | 3.C2 | BA7042:RJ45 | LER,PNL,REAR | 3.C3 | USED
FU0273:LD | SC | FU0273 | WHT | 14 | 5.C2 | ZS0273:1 | LER 1 | 5.C2 | USED
XT0262:4 | SC | 0V1 | WHT | 14 | 5.C4 | EL0273:W1 | LER 1 | 5.C3 | USED
FU0103:LD | SC | FU0103 | WHT | 14 | 6.C2 | AF0108:V+ | LER,PNL,LFT | 6.C3 | USED
FU0104:LD | SC | FU0104 | WHT | 14 | 6.C2 | AF0111:V+ | LER,PNL,LFT | 6.C5 | USED
FU0105:LD | SC | FU0105 | WHT | 14 | 6.D2 | AF0112:V+ | LER,PNL,LFT | 6.C5 | USED
FU0106:LD | SC | FU0106 | WHT | 14 | 6.D2 | AF0113:V+ | LER,PNL,LFT | 6.B6 | USED
FU0190:LD | SC | FU0190 | WHT | 12 | 5.B5 | XT0536:1 | LER,PNL,LFT | 7.A2 | USED
FU0264:LD | SC | FU0264 | WHT | 14 | 5.B5 | XT0136:1 | LER,PNL,LFT | 9.C2 | USED
IEG0260:3 | SC | IEG02603 | GRN | 14 | 2.B4 | GR0265: | LER,PNL,LFT | 2.B3 | USED
IEG0260:4 | SC | IEG02604G | GRN | 14 | 6.B4 | AF0103:SH | LER,PNL,LFT | 6.A3 | USED
IEG0260:5 | SC | AF0109G | GRN | 14 | 6.C4 | AF0109:SH | LER,PNL,LFT | 6.C3 | USED
KA0530:11 | SC | 011032 | WHT | 20 | 7.D5 | AF0110:32 | LER,PNL,LFT | 7.D6 | USED
KA0530:14 | SC | 011000 | WHT | 20 | 7.D5 | AF0110:00 | LER,PNL,LFT | 7.D6 | USED
KA0530:21 | SC | FU0190 | WHT | 20 | 7.A2 | XT0536:1 | LER,PNL,LFT | 7.A2 | USED
KA0530:24 | SC | KA053024 | WHT | 20 | 7.A2 | KA0217:21 | LER,PNL,LFT | 7.A3 | USED
KA0530:A1 | SC | ESTOP3 | WHT | 20 | 7.A5 | XT0536:13 | LER,PNL,LFT | 7.A5 | USED
KA0530:A2 | SC | 0V1 | WHT | 20 | 7.A5 | XT0536:5 | LER,PNL,LFT | 7.A6 | USED
KA0531:11 | SC | FU0190 | WHT | 20 | 7.C2 | XT0536:4 | LER,PNL,LFT | 7.C2 | USED
KA0531:14 | SC | KA053114 | WHT | 20 | 7.C2 | XT0536:14 | LER,PNL,LFT | 7.C3 | USED
KA0532:11 | SC | KA029114 | WHT | 20 | 29.B5 | KA0291:14 | LER,PNL,LFT | 29.B5 | USED
KA0532:14 | SC | CCESTOP1A1 | WHT | 20 | 29.B5 | XT0265:25 | LER,PNL,LFT | 29.B4 | USED
KA0532:21 | SC | KA029124 | WHT | 20 | 29.B5 | KA0291:24 | LER,PNL,LFT | 29.B5 | USED
KA0532:24 | SC | CCESTOP2A1 | WHT | 20 | 29.B5 | XT0265:27 | LER,PNL,LFT | 29.B4 | USED
KA0533:11 | SC | KA039114 | WHT | 20 | 30.B5 | KA0391:14 | LER,PNL,LFT | 30.B5 | USED
KA0533:14 | SC | CCESTOP1B1 | WHT | 20 | 30.B5 | XT0265:29 | LER,PNL,LFT | 30.B4 | USED
KA0533:21 | SC | KA039124 | WHT | 20 | 30.B5 | KA0391:24 | LER,PNL,LFT | 30.B5 | USED
KA0533:24 | SC | CCESTOP2B1 | WHT | 20 | 30.B5 | XT0265:31 | LER,PNL,LFT | 30.B4 | USED
KA0540:A1 | SC | KA024324 | WHT | 20 | 7.B5 | XT0536:15 | LER,PNL,LFT | 7.B5 | USED
KA0540:A2 | SC | 0V1 | WHT | 20 | 7.B5 | XT0536:7 | LER,PNL,LFT | 7.B6 | USED
KA0542:11 | SC | KA054211 | WHT | 20 | 7.D5 | XT0536:17 | LER,PNL,LFT | 7.D2 | USED
KA0542:14 | SC | KA054214 | WHT | 20 | 7.D5 | XT0536:18 | LER,PNL,LFT | 7.D2 | USED
KA0542:A1 | SC | KA0542A1 | WHT | 20 | 7.B5 | XT0536:16 | LER,PNL,LFT | 7.B5 | USED
KA0542:A2 | SC | 0V1 | WHT | 20 | 7.B5 | XT0536:6 | LER,PNL,LFT | 7.B6 | USED
UJ1032:IOUT | SC | UJ1032IOUT | WHT | 16 | 4.A3 | AF0103:04 | LER,PNL,LFT | 4.A6 | USED
UJ1032:OK1 | SC | UJ1032OK1 | WHT | 16 | 4.A3 | AF0102:33 | LER,PNL,LFT | 4.B6 | USED
UJ1032:OK2 | SC | UJ1032OK2 | WHT | 20 | 4.A3 | AF0102:01 | LER,PNL,LFT | 4.B6 | USED
UJ1032:VIN | SC | UJ1032VIN | WHT | 20 | 4.A3 | AF0103:02 | LER,PNL,LFT | 4.A6 | USED
UJ1033:IOUT | SC | UJ1033IOUT | WHT | 16 | 4.C3 | AF0103:14 | LER,PNL,LFT | 4.C6 | USED
UJ1033:OK1 | SC | UJ1033OK1 | WHT | 20 | 4.C3 | AF0102:39 | LER,PNL,LFT | 4.C6 | USED
UJ1033:OK2 | SC | UJ1033OK2 | WHT | 20 | 4.C3 | AF0102:07 | LER,PNL,LFT | 4.C6 | USED
UJ1033:VIN | SC | UJ1033VIN | WHT | 20 | 4.C3 | AF0103:12 | LER,PNL,LFT | 4.C6 | USED
XT0025:2 | SC | 010300 | WHT | 16 | 4.B6 | AF0103:00 | LER,PNL,LFT | 4.B6 | USED
XT0025:3 | SC | 0V1 | WHT | 16 | 4.B5 | AF0103:01 | LER,PNL,LFT | 4.B6 | USED
XT0025:5 | SC | 0V1 | WHT | 16 | 4.A6 | AF0103:03 | LER,PNL,LFT | 4.A6 | USED
XT0025:5 | SC | 0V1 | WHT | 16 | 4.A6 | AF0103:13 | LER,PNL,LFT | 4.C6 | USED
XT0025:6 | SC | 0V1 | WHT | 16 | 4.A6 | AF0103:05 | LER,PNL,LFT | 4.A6 | USED
XT0025:6 | SC | 0V1 | WHT | 16 | 4.A6 | AF0103:15 | LER,PNL,LFT | 4.C6 | USED
XT0090:1 | SC | 0V1 | WHT | 14 | 6.C2 | AF0108:COM | LER,PNL,LFT | 6.C3 | USED
XT0090:2 | SC | 0V1 | WHT | 14 | 6.C2 | AF0111:COM | LER,PNL,LFT | 6.C5 | USED
XT0090:3 | SC | 0V1 | WHT | 14 | 6.D2 | AF0112:COM | LER,PNL,LFT | 6.C5 | USED
XT0090:4 | SC | 0V1 | WHT | 14 | 6.D2 | AF0113:COM | LER,PNL,LFT | 6.B6 | USED
XT0261:2 | SC | FU0260 | WHT | 14 | 5.A4 | FU0100:LI | LER,PNL,LFT | 6.A1 | USED
XT0262:2 | SC | 0V1 | WHT | 14 | 5.C4 | XT0100:1 | LER,PNL,LFT | 6.B1 | USED
XT0262:4 | SC | 0V1 | WHT | 14 | 5.C4 | XT0536:5 | LER,PNL,LFT | 7.A6 | USED
BA7140:RJ45 | WC0010L1 | BA7140RJ45 | ENET | CABLE | 3.A3 | AU0100:L1 | LER,PNL,LFT | 6.A2 | USED
BA7141:RJ45 | WC0010L2 | AU0100L2 | ENET | CABLE | 3.B3 | AU0100:L2 | LER,PNL,LFT | 6.A2 | USED
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 2/13/2026 1:25 PM

## Panel Errors
Panel Errors
Project # | 4M037
Project Name | Bayrunner Pipeline
Revision | 0.1
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
XT0536:11 | LER,PNL,LFT | SC |  | KA023624 |  | 7.A4 | CCSCPNOESD:1 | PANEL | 7.A4
XT0536:12 | LER,PNL,LFT | SC |  | KA023621 |  | 7.A4 | CCSCPNOESD:2 | PANEL | 7.A4
XT0536:3 | LER,PNL,LFT | SC |  | FU0190 |  | 7.B2 | CCSCPBACKUP:1 | PANEL | 7.B3
CCSCPBACKUP-2:1 | PANEL | SC |  | KA024324 |  | 7.B5 | XT0536:15 | LER,PNL,LFT | 7.B5
CCSCPCONTACTIVE:1 | PANEL | SC |  | FU0190 |  | 7.C2 | XT0536:4 | LER,PNL,LFT | 7.C2
CCSCPCONTACTIVE:2 | PANEL | SC |  | KA022914 |  | 7.C2 | XT0536:9 | LER,PNL,LFT | 7.C3
Report date: 2/13/2026 1:25 PM |  |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)

## Cable Part Numbers
Cable Part Numbers |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | 4M037
Report date: 2/13/2026 1:25 PM
Project Name | Bayrunner Pipeline
Revision | 0.1
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
Device ID |  | Part Number |  | Description
WC0010L1 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0010L2 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC7041 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC7042 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES

## Part Number List
Part Number List |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | 4M037
Report date: 2/13/2026 1:25 PM
Project Name | Bayrunner Pipeline
Revision | 0.1
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
Device ID | Part Number | Description | Location
EL0273 | 1015796,1022899,1024594-100 | LIGHT, LED, WHITE | LER 1
ZS0273 | 1113474-1 | LIMIT SWITCH, LER RIO 1 CONSOLE DOOR OPEN | LER 1
SB0500 | 2380746-4 | PUSHBUTTON SWITCH, LER1 EMERGENCY STOP | LER 1 ESTOP
AF0101 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | LER,PNL,LFT
AF0102 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | LER,PNL,LFT
AF0103 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | LER,PNL,LFT
AF0104 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | LER,PNL,LFT
AF0105 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | LER,PNL,LFT
AF0106 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | LER,PNL,LFT
AF0107 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | LER,PNL,LFT
AF0108 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | LER,PNL,LFT
AF0109 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | LER,PNL,LFT
AF0110 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | LER,PNL,LFT
AF0111 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | LER,PNL,LFT
AF0112 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | LER,PNL,LFT
AF0113 | 2684693-18,2684693-55 | 5094-OB16SXT, 16 DISCRETE OUTPUT, S | LER,PNL,LFT
AU0100 | 2684693-50 | 5094-AEN2TRXT, FLEX 5000 I/O | LER,PNL,LFT
FU0100 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,LFT
FU0101 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,LFT
FU0102 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,LFT
GR0265 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,LFT
GR1034 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,LFT
KA0060 | 1061979-1 | RELAY, FAST STOP UNIT | LER,PNL,LFT
KA0061 | 1061979-1 | RELAY, FAST STOP UNIT | LER,PNL,LFT
KA0210 | 1061979-1 | RELAY, NO LER 1 ESD SUMMARY | LER,PNL,LFT
KA0211 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, NO LER 1 ESD SUMMARY | LER,PNL,LFT
KA0212 | [2]1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, NO LER 1 ESD SUMMARY | LER,PNL,LFT
KA0213 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, NO LER 1 ESD SUMMARY | LER,PNL,LFT
KA0215 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, CONTROLLER ACTIVE | LER,PNL,LFT
KA0216 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, CONTROLLER ACTIVE | LER,PNL,LFT
KA0217 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, CONTROLLER ACTIVE | LER,PNL,LFT
KA0218 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, CONTROLLER ACTIVE | LER,PNL,LFT
KA0270 | 1061979-1 | RELAY, OPEN TRAIN 1 SUCTION VALVE | LER,PNL,LFT
KA0271 | 1061979-1 | RELAY, OPEN TRAIN 1 DISCHARGE VALVE | LER,PNL,LFT
KA0291 | 1061979-1 | RELAY, EMERGENCY STOP A | LER,PNL,LFT
KA0292 | 1061979-1 | RELAY, EMERGENCY STOP A | LER,PNL,LFT
KA0293 | 1061979-1 | RELAY, EMERGENCY STOP A | LER,PNL,LFT
KA0391 | 1061979-1 | RELAY, EMERGENCY STOP B | LER,PNL,LFT
KA0392 | 1061979-1 | RELAY, EMERGENCY STOP B | LER,PNL,LFT
KA0393 | 1061979-1 | RELAY, EMERGENCY STOP B | LER,PNL,LFT
KA0600 | 1061979-1 | RELAY, GENERATOR^REMOTE START/STOP | LER,PNL,LFT
KA0601 | 1061979-1 | RELAY, IA COMPRESSOR^RUN PERMISSIVE TRAIN 1 UNIT A | LER,PNL,LFT
KA0602 | 1061979-1 | RELAY, IA COMPRESSOR RUN PERMISSIVE^TRAIN 1 UNIT B | LER,PNL,LFT
KA0603 | 1061979-1 | RELAY, SPARE 1 | LER,PNL,LFT
KA0604 | 1061979-1 | RELAY, SPARE 2 | LER,PNL,LFT
KA0605 | 1061979-1 | RELAY, SPARE 3 | LER,PNL,LFT
KA0610 | 1061979-1 | RELAY, GENERATOR UNIT SHUTDOWN | LER,PNL,LFT
KA0611 | 1061979-1 | RELAY, GENERATOR UNIT SHUTDOWN | LER,PNL,LFT
KA0612 | 1061979-1 | RELAY, IA DRYER RUN STATUS^TRAIN 1 UNIT A | LER,PNL,LFT
KA0613 | 1061979-1 | RELAY, IA DRYER RUN STATUS^TRAIN 1 UNIT B | LER,PNL,LFT
KT0554 | 1066730-7,1066730-8,1067996-4,2651077-1 | TIMER RELAY, TRAIN 1 SUCTION VALVE^FULLY CLOSED | LER,PNL,LFT
KT0555 | 2651077-1 | TIMER RELAY, TRAIN 1 DISCHARGE VALVE^FULLY CLOSED | LER,PNL,LFT
XT0100 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT0136 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT0265 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT0536 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT0537 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT0538 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT1036 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
BA7040 | 1948791-1 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | LER,PNL,REAR
BA7041 | 1271449-1 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | LER,PNL,REAR
BA7042 | 1271449-1 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | LER,PNL,REAR
BA7140 | 1271449-1 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | LER,PNL,REAR
BA7141 | 1271449-1 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | LER,PNL,REAR
FU0103 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,REAR
FU0104 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,REAR
FU0105 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,REAR
FU0106 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,REAR
FU0190 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,REAR
FU0260 | 1043265-1,1043265-7 | FUSE, 20A | LER,PNL,REAR
FU0262 | 1043265-1,1043265-4 | FUSE, 5A | LER,PNL,REAR
FU0263 | 1043265-1,1043265-4 | FUSE, 5A | LER,PNL,REAR
FU0264 | 1043265-1,1043265-4 | FUSE, 5A | LER,PNL,REAR
FU0273 | 1043265-1,1043265-4 | FUSE, 5A | LER,PNL,REAR
FU1032 | 1043265-1,1043265-9 | FUSE, 30A | LER,PNL,REAR
FU1033 | 1043265-1,1043265-9 | FUSE, 30A | LER,PNL,REAR
FU7040 | 1043265-1,1043265-3 | FUSE, 2A | LER,PNL,REAR
GR1030 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,REAR
GR1031 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,REAR
GR1032 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,REAR
GR1033 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,REAR
IEG0260 | 232941-200 | BUS BAR, INSTRUMENT EARTH GROUNDING | LER,PNL,REAR
KA0530 | 1061979-1 | RELAY, NO LER 1 ESD SUMMARY | LER,PNL,REAR
KA0531 | 1061979-1 | RELAY, NO LER 1 ESD SUMMARY | LER,PNL,REAR
KA0532 | 1061979-1 | RELAY, NO LER 1 ESD SUMMARY | LER,PNL,REAR
KA0533 | 1061979-1 | RELAY, NO LER 1 ESD SUMMARY | LER,PNL,REAR
KA0540 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | LER,PNL,REAR
KA0541 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | LER,PNL,REAR
KA0542 | 1061979-1 | RELAY, STATION ESD PUSHBUTTON^(LER) | LER,PNL,REAR
KA0543 | 1061979-1 | RELAY, STATION ESD PUSHBUTTON^(LER) | LER,PNL,REAR
PEG0260 | 232941-200 | BUS BAR, POWER EARTH GROUNDING | LER,PNL,REAR
QS1032 | 1126803 | CIRCUIT BREAKER, DOUBLE POLE - RAIL MOUNTABLE | LER,PNL,REAR
QS1033 | 1126803 | CIRCUIT BREAKER, DOUBLE POLE - RAIL MOUNTABLE | LER,PNL,REAR
RR0251 | 981090C1 | RESISTOR, 3.01K OHM | LER,PNL,REAR
RR0252 | 981089C1 | RESISTOR, 1.0K OHM | LER,PNL,REAR
UJ1032 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | LER,PNL,REAR
UJ1033 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | LER,PNL,REAR
VD1032 | 2504354-1 | DUAL DIODE, REDUNDANT POWER | LER,PNL,REAR
XT0025 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,REAR
XT0090 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,REAR
XT0260 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | LER,PNL,REAR
XT0261 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,REAR
XT0262 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,REAR
XT1011 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | LER,PNL,REAR
XT1032 | 1066730-16 | TERMINAL STRIP, 2 CONDUCTOR | LER,PNL,REAR
XT1033 | 1066730-16 | TERMINAL STRIP, 2 CONDUCTOR | LER,PNL,REAR
CC7041 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, BACKUP GENERATOR^CONNECTION | PANEL
CC7140 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, CMS CONSOLE^CONNECTION | PANEL
CC7141 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, CMS CONSOLE^CONNECTION | PANEL
CCSCPBACKUP | CUSTOMER CONNECTION | CUSTOMER CONNECTION, SCP BACKUP^SYSTEM RESET | PANEL
CCSCPBACKUP-2 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, SCP BACKUP^SYSTEM RESET | PANEL
CCSCPCONTACTIVE | CUSTOMER CONNECTION | CUSTOMER CONNECTION, SCP CONTROLLER ACTIVE | PANEL
CCSCPNOESD | CUSTOMER CONNECTION | CUSTOMER CONNECTION, SCP NO STATION ESD | PANEL
VD0231 | 1066738-10 | DIODE, 15 pF | PANEL
VD0232 | 1066738-10 | DIODE, 15 pF | PANEL
VD0233 | 1066738-10 | DIODE, 15 pF | PANEL
VD0234 | 1066738-10 | DIODE, 15 pF | PANEL
VD0235 | 1066738-10 | DIODE, 15 pF | PANEL
VD0236 | 1066738-10 | DIODE, 15 pF | PANEL
VD0237 | 1066738-10 | DIODE, 15 pF | PANEL
VD0238 | 1066738-10 | DIODE, 15 pF | PANEL
VD0239 | 1066738-10 | DIODE, 15 pF | PANEL
VD0240 | 1066738-10 | DIODE, 15 pF | PANEL

## DOOR_S
DOOR
LER 1 RIO CONSOLE ESTOP DOOR PANEL
Project # | 4M037
Project Name | Bayrunner Pipeline
Revision | 0.1
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
SB0500:B2-11 | ESTOP2 | WHT | 20 | 240 | XT1036:1 | LEFT PNL | SB0500
SB0500:B2-12 | ESTOP3 | WHT | 20 | 240 | XT1036:2 | LEFT PNL
SB0500:B1-11 | SB0500B111 | WHT | 20 | 240 | XT1036:3 | LEFT PNL
SB0500:B1-12 | SB0500B112 | WHT | 20 | 240 | XT1036:4 | LEFT PNL

## LEFT PNL_S
LEFT PANEL
LER 1 RIO CONSOLE PANEL^LEFT SIDE PANEL
Project # | 4M037
Project Name | Bayrunner Pipeline
Revision | 0.1
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0112:10 | -011210 | WHT | 20 | 60 | XT0265:14 | LEFT PNL | AF/AU
AF0112:14 | -011214 | WHT | 20 | 60 | XT0265:22 | LEFT PNL
AF0104:39 | SB0500B111 | WHT | 20 | 60 | XT1036:3 | LEFT PNL
AF0104:07 | SB0500B112 | WHT | 20 | 60 | XT1036:4 | LEFT PNL
AF0112:16 | SV101N | WHT | 20 | 60 | XT0265:4 | LEFT PNL
AF0112:20 | SV1022 | WHT | 20 | 60 | XT0265:8 | LEFT PNL
AF0112:26 | SVC11612 | WHT | 20 | 60 | XT0265:16 | LEFT PNL
AF0112:30 | SVC11712 | WHT | 20 | 60 | XT0265:24 | LEFT PNL
AF0112:24 | SVO1161N | WHT | 20 | 60 | XT0265:10 | LEFT PNL
AF0112:28 | SVO11712 | WHT | 20 | 60 | XT0265:18 | LEFT PNL
AF0108:33 | ZSC11611 | WHT | 20 | 60 | XT0265:11 | LEFT PNL
AF0108:01 | ZSC11612 | WHT | 20 | 60 | XT0265:12 | LEFT PNL
AF0102:38 | ZSC11711 | WHT | 20 | 80 | XT0265:19 | LEFT PNL
AF0102:06 | ZSC11712 | WHT | 20 | 80 | XT0265:20 | LEFT PNL
AF0101:COM | -0V1 | WHT | 14 | 60 | XT0100:2 | LEFT PNL
AF0102:COM | -0V1 | WHT | 14 | 60 | XT0100:3 | LEFT PNL
AU0100:COM | -0V1 | WHT | 14 | 60 | XT0100:1 | LEFT PNL
AU0100:V+ | FU0100 | WHT | 14 | 60 | FU0100:LD | LEFT PNL
AF0101:V+ | FU0101 | WHT | 14 | 80 | FU0101:LD | LEFT PNL
AF0102:V+ | FU0102 | WHT | 14 | 80 | FU0102:LD | LEFT PNL
KA0060:A1 | -010110 | WHT | 20 | 100 | AF0101:10 | LEFT PNL | KA A1
KA0215:A1 | KA022914 | WHT | 20 | 60 | XT0136:9 | LEFT PNL
KA0291:A1 | KA0291A1 | WHT | 20 | 60 | AF0113:01 | LEFT PNL
KA0391:A1 | KA0391A1 | WHT | 20 | 60 | AF0113:02 | LEFT PNL
KA0210:A1 | KA053114 | WHT | 20 | 60 | XT0136:10 | LEFT PNL
KA0600:A1 | KA0600A1 | WHT | 20 | 80 | AF0101:00 | LEFT PNL
KA0601:A1 | KA0601A1 | WHT | 20 | 80 | AF0101:02 | LEFT PNL
KA0602:A1 | KA0602A1 | WHT | 20 | 80 | AF0101:04 | LEFT PNL
KA0603:A1 | KA0603A1 | WHT | 20 | 100 | AF0111:10 | LEFT PNL
KA0604:A1 | KA0604A1 | WHT | 20 | 100 | AF0111:12 | LEFT PNL
KA0605:A1 | KA0605A1 | WHT | 20 | 100 | AF0111:14 | LEFT PNL
KA0610:A1 | KA0610A1 | WHT | 20 | 100 | AF0111:00 | LEFT PNL
KA0611:A1 | KA0611A1 | WHT | 20 | 100 | AF0111:02 | LEFT PNL
KA0060:A2 | -010126 | WHT | 20 | 100 | AF0101:26 | LEFT PNL | KA A2
KA0210:A2 | -0V1 | WHT | 20 | 60 | XT0136:2 | LEFT PNL
KA0215:A2 | -0V1 | WHT | 20 | 60 | XT0136:2 | LEFT PNL
KA0291:A2 | KA0291A2 | WHT | 20 | 60 | AF0113:17 | LEFT PNL
KA0391:A2 | KA0391A2 | WHT | 20 | 60 | AF0113:18 | LEFT PNL
KA0600:A2 | KA0600A2 | WHT | 20 | 100 | AF0101:16 | LEFT PNL
KA0601:A2 | KA0601A2 | WHT | 20 | 100 | AF0101:18 | LEFT PNL
KA0602:A2 | KA0602A2 | WHT | 20 | 100 | AF0101:20 | LEFT PNL
KA0603:A2 | KA0603A2 | WHT | 20 | 100 | AF0111:26 | LEFT PNL
KA0604:A2 | KA0604A2 | WHT | 20 | 100 | AF0111:28 | LEFT PNL
KA0605:A2 | KA0605A2 | WHT | 20 | 100 | AF0111:30 | LEFT PNL
KA0610:A2 | KA0610A2 | WHT | 20 | 60 | AF0111:16 | LEFT PNL
KA0611:A2 | KA0611A2 | WHT | 20 | 60 | AF0111:18 | LEFT PNL
KA0270:A2 | SVO1161N | WHT | 20 | 60 | XT0265:10 | LEFT PNL
KA0271:A2 | SVO11712 | WHT | 20 | 60 | XT0265:18 | LEFT PNL
KA0291:11 | CCESTOP1A2 | WHT | 20 | 60 | XT0265:26 | LEFT PNL | KA
KA0391:11 | CCESTOP1B2 | WHT | 20 | 60 | XT0265:30 | LEFT PNL
KA0291:21 | CCESTOP2A2 | WHT | 20 | 60 | XT0265:28 | LEFT PNL
KA0391:21 | CCESTOP2B2 | WHT | 20 | 60 | XT0265:32 | LEFT PNL
KA0060:14 | FSTOP11 | WHT | 20 | 80 | XT0265:33 | LEFT PNL
KA0060:11 | FSTOP12 | WHT | 20 | 80 | XT0265:34 | LEFT PNL
KA0060:24 | FSTOP21 | WHT | 20 | 80 | XT0265:35 | LEFT PNL
KA0060:21 | FSTOP22 | WHT | 20 | 80 | XT0265:36 | LEFT PNL
KA0210:22 | KA021022 | WHT | 20 | 60 | KT0554:15 | LEFT PNL
KA0211:11 | KA021111 | WHT | 20 | 80 | KA0270:A1 | LEFT PNL
KA0211:14 | KA021114 | WHT | 20 | 60 | AF0112:08 | LEFT PNL
KA0211:21 | KA021121 | WHT | 20 | 80 | KA0271:A1 | LEFT PNL
KA0211:24 | KA021124 | WHT | 20 | 60 | AF0112:12 | LEFT PNL
KA0212:21 | KA021214 | WHT | 20 | 60 | KA0601:14 | LEFT PNL
KA0213:11 | KA021311 | WHT | 20 | 60 | KA0602:14 | LEFT PNL
KA0215:21 | KA021521 | WHT | 20 | 60 | XT0136:7 | LEFT PNL
KA0215:22 | KA021522 | WHT | 20 | 60 | XT0136:8 | LEFT PNL
KA0216:11 | KA021611 | WHT | 20 | 80 | XT0265:3 | LEFT PNL
KA0216:14 | KA021614 | WHT | 20 | 80 | AF0112:00 | LEFT PNL
KA0216:21 | KA021621 | WHT | 20 | 80 | XT0265:7 | LEFT PNL
KA0216:24 | KA021624 | WHT | 20 | 60 | AF0112:04 | LEFT PNL
KA0217:24 | KA023624 | WHT | 20 | 60 | XT0536:10 | LEFT PNL
KA0270:14 | KA027014 | WHT | 20 | 140 | AF0112:40 | LEFT PNL
KA0271:14 | KA027114 | WHT | 20 | 140 | AF0112:44 | LEFT PNL
KA0212:11 | KA060014 | WHT | 20 | 60 | KA0600:14 | LEFT PNL
KA0612:11 | KA061211 | WHT | 20 | 60 | AF0105:41 | LEFT PNL
KA0612:14 | KA061214 | WHT | 20 | 120 | AF0105:09 | LEFT PNL
KA0613:11 | KA061311 | WHT | 20 | 140 | AF0105:44 | LEFT PNL
KA0613:14 | KA061314 | WHT | 20 | 140 | AF0105:12 | LEFT PNL
KA0270:11 | SVO1161P | WHT | 20 | 60 | XT0265:9 | LEFT PNL
KA0271:11 | SVO11711 | WHT | 20 | 60 | XT0265:17 | LEFT PNL
KA0210:21 | FU0264 | WHT | 14 | 60 | XT0136:1 | LEFT PNL
KT0554:16 | KT055416 | WHT | 20 | 60 | XT0136:3 | LEFT PNL | KT
KT0554:A2 | KT0554A2 | WHT | 20 | 120 | AF0108:17 | LEFT PNL
KT0555:16 | KT055516 | WHT | 20 | 60 | XT0136:5 | LEFT PNL
KT0555:A2 | KT0555A2 | WHT | 20 | 100 | AF0102:22 | LEFT PNL
KT0554:A1 | ZSC11612 | WHT | 20 | 80 | XT0265:12 | LEFT PNL
KT0555:A1 | ZSC11712 | WHT | 20 | 80 | XT0265:20 | LEFT PNL
XT1036:1 | ESTOP2 | WHT | 20 | 60 | XT0537:3 | LEFT PNL | XT
XT0536:13 | ESTOP3 | WHT | 20 | 60 | XT1036:2 | LEFT PNL
XT0536:2 | FU0190 | WHT | 20 | 60 | XT0538:1 | LEFT PNL
XT0136:4 | KA021521 | WHT | 20 | 60 | XT0136:7 | LEFT PNL
XT0136:6 | KA021521 | WHT | 20 | 80 | XT0265:21 | LEFT PNL
XT0265:13 | KA021521 | WHT | 20 | 80 | XT0136:4 | LEFT PNL
XT0136:8 | KA021522 | WHT | 20 | 80 | XT0265:5 | LEFT PNL
XT0265:2 | KA021522 | WHT | 20 | 80 | XT0136:8 | LEFT PNL
XT0536:9 | KA022914 | WHT | 20 | 60 | XT0136:9 | LEFT PNL
XT0536:12 | KA023621 | WHT | 20 | 60 | XT0537:1 | LEFT PNL
XT0536:14 | KA053114 | WHT | 20 | 60 | XT0136:10 | LEFT PNL
XT0536:16 | KA0542A1 | WHT | 20 | 60 | XT0538:14 | LEFT PNL
XT0536:8 | -0V1 | WHT | 14 | 60 | XT0136:2 | LEFT PNL
AF0110:00 | -011000 | WHT | 20 | 200 | KA0530:14 | REAR PNL | AF-REAR
AF0110:32 | -011032 | WHT | 20 | 200 | KA0530:11 | REAR PNL
AF0102:01 | UJ1032OK2 | WHT | 20 | 200 | UJ1032:OK2 | REAR PNL
AF0103:02 | UJ1032VIN | WHT | 20 | 200 | UJ1032:VIN | REAR PNL
AF0102:39 | UJ1033OK1 | WHT | 20 | 200 | UJ1033:OK1 | REAR PNL
AF0102:07 | UJ1033OK2 | WHT | 20 | 200 | UJ1033:OK2 | REAR PNL
AF0103:12 | UJ1033VIN | WHT | 20 | 200 | UJ1033:VIN | REAR PNL
AF0103:00 | -010300 | WHT | 16 | 200 | XT0025:2 | REAR PNL
AF0103:01 | -0V1 | WHT | 16 | 200 | XT0025:3 | REAR PNL
AF0103:03 | -0V1 | WHT | 16 | 200 | XT0025:5 | REAR PNL
AF0103:05 | -0V1 | WHT | 16 | 200 | XT0025:6 | REAR PNL
AF0103:13 | -0V1 | WHT | 16 | 200 | XT0025:5 | REAR PNL
AF0103:15 | -0V1 | WHT | 16 | 200 | XT0025:6 | REAR PNL
AF0103:04 | UJ1032IOUT | WHT | 16 | 200 | UJ1032:IOUT | REAR PNL
AF0102:33 | UJ1032OK1 | WHT | 16 | 200 | UJ1032:OK1 | REAR PNL
AF0103:14 | UJ1033IOUT | WHT | 16 | 200 | UJ1033:IOUT | REAR PNL
AF0108:COM | -0V1 | WHT | 14 | 200 | XT0090:1 | REAR PNL
AF0111:COM | -0V1 | WHT | 14 | 200 | XT0090:2 | REAR PNL
AF0112:COM | -0V1 | WHT | 14 | 200 | XT0090:3 | REAR PNL
AF0113:COM | -0V1 | WHT | 14 | 200 | XT0090:4 | REAR PNL
AF0108:V+ | FU0103 | WHT | 14 | 200 | FU0103:LD | REAR PNL
AF0111:V+ | FU0104 | WHT | 14 | 200 | FU0104:LD | REAR PNL
AF0112:V+ | FU0105 | WHT | 14 | 200 | FU0105:LD | REAR PNL
AF0113:V+ | FU0106 | WHT | 14 | 200 | FU0106:LD | REAR PNL
KA0291:14 | KA029114 | WHT | 20 | 200 | KA0532:11 | REAR PNL | KA-REAR
KA0291:24 | KA029124 | WHT | 20 | 200 | KA0532:21 | REAR PNL
KA0391:14 | KA039114 | WHT | 20 | 200 | KA0533:11 | REAR PNL
KA0391:24 | KA039124 | WHT | 20 | 200 | KA0533:21 | REAR PNL
KA0217:21 | KA053024 | WHT | 20 | 200 | KA0530:24 | REAR PNL
XT0536:5 | -0V1 | WHT | 20 | 200 | KA0530:A2 | REAR PNL | XT/FU-REAR
XT0536:6 | -0V1 | WHT | 20 | 200 | KA0542:A2 | REAR PNL
XT0536:7 | -0V1 | WHT | 20 | 200 | KA0540:A2 | REAR PNL
XT0265:25 | CCESTOP1A1 | WHT | 20 | 200 | KA0532:14 | REAR PNL
XT0265:29 | CCESTOP1B1 | WHT | 20 | 200 | KA0533:14 | REAR PNL
XT0265:27 | CCESTOP2A1 | WHT | 20 | 200 | KA0532:24 | REAR PNL
XT0265:31 | CCESTOP2B1 | WHT | 20 | 200 | KA0533:24 | REAR PNL
XT0536:13 | ESTOP3 | WHT | 20 | 200 | KA0530:A1 | REAR PNL
XT0536:1 | FU0190 | WHT | 20 | 200 | KA0530:21 | REAR PNL
XT0536:4 | FU0190 | WHT | 20 | 200 | KA0531:11 | REAR PNL
XT0536:15 | KA024324 | WHT | 20 | 200 | KA0540:A1 | REAR PNL
XT0536:14 | KA053114 | WHT | 20 | 200 | KA0531:14 | REAR PNL
XT0536:17 | KA054211 | WHT | 20 | 200 | KA0542:11 | REAR PNL
XT0536:18 | KA054214 | WHT | 20 | 200 | KA0542:14 | REAR PNL
XT0536:16 | KA0542A1 | WHT | 20 | 200 | KA0542:A1 | REAR PNL
XT0100:1 | -0V1 | WHT | 14 | 200 | XT0262:2 | REAR PNL
XT0536:5 | -0V1 | WHT | 14 | 200 | XT0262:4 | REAR PNL
XT0136:1 | FU0264 | WHT | 14 | 200 | FU0264:LD | REAR PNL
XT0536:1 | FU0190 | WHT | 12 | 200 | FU0190:LD | REAR PNL
FU0100:LI | FU0260 | WHT | 14 | 200 | XT0261:2 | REAR PNL

## REAR PNL_S
REAR PANEL
LER 1 RIO CONSOLE REAR PANEL
Project # | 4M037
Project Name | Bayrunner Pipeline
Revision | 0.1
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
KA0530:21 | FU0190 | WHT | 20 | 60 | KA0540:11 | REAR PNL | KA
KA0530:24 | KA053024 | WHT | 20 | 60 | KA0540:14 | REAR PNL
BA7040:0V | -0V1 | WHT | 16 | 80 | XT0262:3 | REAR PNL | BA
BA7041:V1(-) | -0V1 | WHT | 16 | 80 | XT0262:5 | REAR PNL
BA7042:V1(-) | -0V1 | WHT | 16 | 80 | XT0262:5 | REAR PNL
BA7140:V1(-) | -0V1 | WHT | 16 | 80 | XT0262:5 | REAR PNL
BA7141:V1(-) | -0V1 | WHT | 16 | 80 | XT0262:5 | REAR PNL
BA7042:V1(+) | FU0262 | WHT | 16 | 80 | FU0262:LD | REAR PNL
BA7141:V1(+) | FU0263 | WHT | 16 | 80 | FU0263:LD | REAR PNL
BA7040:P1 | FU7040 | WHT | 16 | 80 | FU7040:LD | REAR PNL
FU0262:LD | FU0262 | WHT | 16 | 80 | BA7041:V1(+) | REAR PNL | FU
FU0263:LD | FU0263 | WHT | 16 | 80 | BA7140:V1(+) | REAR PNL
FU0103:LI | FU0260 | WHT | 14 | 60 | XT0261:2 | REAR PNL
FU0190:LI | FU0260 | WHT | 14 | 60 | XT0261:3 | REAR PNL
FU0260:LD | FU0260 | WHT | 14 | 60 | XT0261:1 | REAR PNL
FU0262:LI | FU0260 | WHT | 14 | 60 | XT0261:4 | REAR PNL
FU0263:LI | FU0260 | WHT | 14 | 60 | XT0261:5 | REAR PNL
FU0264:LI | FU0260 | WHT | 14 | 60 | XT0261:5 | REAR PNL
FU0273:LI | FU0260 | WHT | 14 | 60 | XT0261:3 | REAR PNL
FU7040:LI | FU0260 | WHT | 14 | 60 | XT0261:1 | REAR PNL
XT0025:5 | -0V1 | WHT | 14 | 60 | XT0262:1 | REAR PNL | XT
XT0025:6 | -0V1 | WHT | 14 | 60 | XT0262:2 | REAR PNL
XT0260:1 | -0V1 | WHT | 14 | 60 | XT0262:1 | REAR PNL
XT0262:2 | -0V1 | WHT | 14 | 60 | XT0090:1 | REAR PNL
XT1032:4 | -0V1 | WHT | 12 | 60 | XT0025:3 | REAR PNL
XT0025:1 | VD10324 | WHT | 12 | 60 | XT1032:5 | REAR PNL
QS1032:LI-4 | QS1032N | WHT | 12 | 60 | XT1011:3 | REAR PNL | QS
QS1033:LI-4 | QS1032N | WHT | 12 | 60 | XT1011:4 | REAR PNL
QS1032:LI-2 | QS1032P | WHT | 12 | 60 | XT1011:1 | REAR PNL
QS1033:LI-2 | QS1032P | WHT | 12 | 60 | XT1011:2 | REAR PNL
QS1032:LD-3 | UJ1032N | WHT | 12 | 60 | UJ1032:- | REAR PNL
QS1032:LD-1 | UJ1032P | WHT | 12 | 60 | UJ1032:+ | REAR PNL
QS1033:LD-3 | UJ1033N | WHT | 12 | 60 | UJ1033:- | REAR PNL
QS1033:LD-1 | UJ1033P | WHT | 12 | 60 | UJ1033:+ | REAR PNL

## Bundle Tag Info
WP-ADSC STA
4M037
Rev 0.1
DOOR | LEFT PNL | REAR PNL | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
SB0500 | AF/AU | KA
| KA A1 | BA
| KA A2 | FU
| KA | XT
| KT | QS
XT
AF-REAR
KA-REAR
XT/FU-REAR

## Bundle Tags2
DOOR | LEFT PNL | REAR PNL
WP-ADSC STA 4M037 Rev 0.1 DOOR SB0500 | WP-ADSC STA 4M037 Rev 0.1 LEFT PNL AF/AU | WP-ADSC STA 4M037 Rev 0.1 REAR PNL KA
| WP-ADSC STA 4M037 Rev 0.1 LEFT PNL KA A1 | WP-ADSC STA 4M037 Rev 0.1 REAR PNL BA
| WP-ADSC STA 4M037 Rev 0.1 LEFT PNL KA A2 | WP-ADSC STA 4M037 Rev 0.1 REAR PNL FU
| WP-ADSC STA 4M037 Rev 0.1 LEFT PNL KA | WP-ADSC STA 4M037 Rev 0.1 REAR PNL XT
| WP-ADSC STA 4M037 Rev 0.1 LEFT PNL KT | WP-ADSC STA 4M037 Rev 0.1 REAR PNL QS
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL XT
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL AF-REAR
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL KA-REAR
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL XT/FU-REAR

## ALL
WP-ADSC STA 4M037 Rev 0.1 DOOR SB0500
WP-ADSC STA 4M037 Rev 0.1 REAR PNL KA
WP-ADSC STA 4M037 Rev 0.1 REAR PNL BA
WP-ADSC STA 4M037 Rev 0.1 REAR PNL FU
WP-ADSC STA 4M037 Rev 0.1 REAR PNL XT
WP-ADSC STA 4M037 Rev 0.1 REAR PNL QS
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL AF/AU
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL KA A1
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL KA A2
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL KA
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL KT
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL XT
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL AF-REAR
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL KA-REAR
WP-ADSC STA 4M037 Rev 0.1 LEFT PNL XT/FU-REAR