## Blue Labels
(SHT 1) LER 1 | (SHT 2) LER 3 ESTOP | (SHT 3) LER,PNL,REAR | (SHT 4) LER,PNL,LFT
EL0273 | SB0500 | FU7040 | XT1036
ZS0273 |  | BA7040 | XT0136
FG0273 |  | BA7041 | KA0210
|  | BA7042 | KA0211
|  | BA7140 | KA0212
|  | BA7141 | KA0213
|  | FU0103 | KA0215
|  | FU0104 | KA0216
|  | FU0105 | KA0217
|  | FU0106 | KA0218
|  | XT0090 | KA0600
|  | GR1033 | KA0601
|  | KA0530 | KA0602
|  | KA0531 | KA0603
|  | KA0532 | KA0604
|  | KA0533 | KA0605
|  | KA0540 | XT0536
|  | KA0541 | XT0537
|  | KA0542 | XT0538
|  | KA0543 | KT0554
|  | FU0273 | KT0555
|  | FU0190 | KA0060
|  | FU0262 | KA0061
|  | FU0263 | KA0391
|  | FU0264 | KA0392
|  | XT0262 | KA0393
|  | XT0260 | FU0100
|  | XT0261 | FU0101
|  | FU0260 | FU0102
|  | XT0025 | XT0100
|  | FU1033 | GR1034
|  | FU1032 | AU0700
|  | XT1033 | AF0701
|  | XT1032 | AF0702
|  | GR1030 | AF0703
|  | QS1032 | AF0704
|  | GR1031 | AF0705
|  | QS1033 | AF0706
|  | GR1032 | AF0707
|  | UJ1032 | AF0708
|  | UJ1033 | AF0709
|  | XT1011 | AF0710
|  | IEG0260 | AF0711
|  | PEG0260 | AF0712
AF0713
AF0714
KA0270
KA0271
KA0607
KA0608
KA0610
KA0611
KA0612
KA0613
KA0291
KA0292
KA0293
XT0265
GR0265

## White Labels
(SHT 4) LER,PNL,LFT | (SHT 4) LER,PNL,LFT - (SHT 3) LER,PNL,REAR | (SHT 3) LER,PNL,REAR
AU0100 | AF0109G | IEG02601
AF0114
IEG02603
IEG02604G

## Panel Errors
Panel Errors
Project # | 4M047
Project Name | Bayrunner Pipeline
Revision | 0.2
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
XT0536:11 | LER,PNL,LFT | SC |  | KA023624 |  | 7.A4 | CCSCPNOESD:1 | PANEL | 7.A4
XT0536:12 | LER,PNL,LFT | SC |  | KA023621 |  | 7.A4 | CCSCPNOESD:2 | PANEL | 7.A4
XT0536:3 | LER,PNL,LFT | SC |  | FU0190 |  | 7.B2 | CCSCPBACKUP:1 | PANEL | 7.B3
CCSCPBACKUP-2:1 | PANEL | SC |  | KA024324 |  | 7.B5 | XT0536:15 | LER,PNL,LFT | 7.B5
CCSCPCONTACTIVE:1 | PANEL | SC |  | FU0190 |  | 7.C2 | XT0536:4 | LER,PNL,LFT | 7.C2
CCSCPCONTACTIVE:2 | PANEL | SC |  | KA022914 |  | 7.C2 | XT0536:9 | LER,PNL,LFT | 7.C3
Report date: 4/13/2026 6:08 AM |  |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)

## Cable Part Numbers
Cable Part Numbers |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | 4M047
Report date: 4/13/2026 6:11 AM
Project Name | Bayrunner Pipeline
Revision | 0.2
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
Device ID |  | Part Number |  | Description
WC0010L1 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0010L2 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC7041 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC7042 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES

## Part Number List
Part Number List |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | 4M047
Report date: 4/13/2026 6:09 AM
Project Name | Bayrunner Pipeline
Revision | 0.2
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
Device ID | Part Number | Description | Location
EL0273 | 1015796,1022899,1024594-100 | LIGHT, LED, WHITE | LER 1
ZS0273 | 1113474-1 | LIMIT SWITCH, LER RIO 1 CONSOLE DOOR OPEN | LER 1
SB0500 | 2380746-4 | PUSHBUTTON SWITCH, LER1 EMERGENCY STOP | LER 3 ESTOP
AF0701 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | LER,PNL,LFT
AF0702 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | LER,PNL,LFT
AF0703 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | LER,PNL,LFT
AF0704 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | LER,PNL,LFT
AF0705 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | LER,PNL,LFT
AF0706 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | LER,PNL,LFT
AF0707 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | LER,PNL,LFT
AF0708 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | LER,PNL,LFT
AF0709 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | LER,PNL,LFT
AF0710 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | LER,PNL,LFT
AF0711 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | LER,PNL,LFT
AF0712 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | LER,PNL,LFT
AF0713 | 2684693-18,2684693-55 | 5094-OB16SXT, 16 DISCRETE OUTPUT, S | LER,PNL,LFT
AF0714 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | LER,PNL,LFT
AU0700 | 2684693-50 | 5094-AEN2TR, FLEX 5000 I/O | LER,PNL,LFT
FU0100 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,LFT
FU0101 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,LFT
FU0102 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,LFT
GR0265 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,LFT
GR1034 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,LFT
KA0060 | 1061979-1 | RELAY, FAST STOP UNIT | LER,PNL,LFT
KA0061 | 1061979-1 | RELAY, FAST STOP UNIT | LER,PNL,LFT
KA0210 | 1061979-1 | RELAY, NO LER 3 ESD SUMMARY | LER,PNL,LFT
KA0211 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, NO LER 3 ESD SUMMARY | LER,PNL,LFT
KA0212 | [2]1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, NO LER 3 ESD SUMMARY | LER,PNL,LFT
KA0213 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, NO LER 3 ESD SUMMARY | LER,PNL,LFT
KA0215 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, CONTROLLER ACTIVE | LER,PNL,LFT
KA0216 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, CONTROLLER ACTIVE | LER,PNL,LFT
KA0217 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, CONTROLLER ACTIVE | LER,PNL,LFT
KA0218 | 1061979-1,1066730-7,1066730-8,1067996-4 | RELAY, CONTROLLER ACTIVE | LER,PNL,LFT
KA0270 | 1061979-1 | RELAY, OPEN TRAIN 3 SUCTION VALVE | LER,PNL,LFT
KA0271 | 1061979-1 | RELAY, OPEN TRAIN 3 DISCHARGE VALVE | LER,PNL,LFT
KA0291 | 1061979-1 | RELAY, EMERGENCY STOP A | LER,PNL,LFT
KA0292 | 1061979-1 | RELAY, EMERGENCY STOP A | LER,PNL,LFT
KA0293 | 1061979-1 | RELAY, EMERGENCY STOP A | LER,PNL,LFT
KA0391 | 1061979-1 | RELAY, EMERGENCY STOP B | LER,PNL,LFT
KA0392 | 1061979-1 | RELAY, EMERGENCY STOP B | LER,PNL,LFT
KA0393 | 1061979-1 | RELAY, EMERGENCY STOP B | LER,PNL,LFT
KA0600 | 1061979-1 | RELAY, GENERATOR^REMOTE START/STOP | LER,PNL,LFT
KA0601 | 1061979-1 | RELAY, IA COMPRESSOR^RUN PERMISSIVE TRAIN 3 UNIT A | LER,PNL,LFT
KA0602 | 1061979-1 | RELAY, IA COMPRESSOR RUN PERMISSIVE^TRAIN 3 UNIT B | LER,PNL,LFT
KA0603 | 1061979-1 | RELAY, SPARE 1 | LER,PNL,LFT
KA0604 | 1061979-1 | RELAY, SPARE 2 | LER,PNL,LFT
KA0605 | 1061979-1 | RELAY, SPARE 3 | LER,PNL,LFT
KA0610 | 1061979-1 | RELAY, GENERATOR UNIT SHUTDOWN | LER,PNL,LFT
KA0611 | 1061979-1 | RELAY, GENERATOR UNIT SHUTDOWN | LER,PNL,LFT
KA0612 | 1061979-1 | RELAY, IA DRYER RUN STATUS^TRAIN 3 UNIT A | LER,PNL,LFT
KA0613 | 1061979-1 | RELAY, IA DRYER RUN STATUS^TRAIN 3 UNIT B | LER,PNL,LFT
KT0554 | 1066730-7,1066730-8,1067996-4,2651077-1 | TIMER RELAY, TRAIN 3 SUCTION VALVE^FULLY CLOSED | LER,PNL,LFT
KT0555 | 2651077-1 | TIMER RELAY, TRAIN 3 DISCHARGE VALVE^FULLY CLOSED | LER,PNL,LFT
XT0100 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT0136 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT0265 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT0536 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT0537 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT0538 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
XT1036 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,LFT
BA7040 | 1948791-1 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | LER,PNL,REAR
BA7041 | 1271449-1 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | LER,PNL,REAR
BA7042 | 1271449-1 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | LER,PNL,REAR
BA7140 | 1271449-1 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | LER,PNL,REAR
BA7141 | 1271449-1 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | LER,PNL,REAR
FU0103 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,REAR
FU0104 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,REAR
FU0105 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,REAR
FU0106 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,REAR
FU0190 | 1043265-1,1043265-5 | FUSE, 10A | LER,PNL,REAR
FU0260 | 1043265-1,1043265-7 | FUSE, 20A | LER,PNL,REAR
FU0262 | 1043265-1,1043265-4 | FUSE, 5A | LER,PNL,REAR
FU0263 | 1043265-1,1043265-4 | FUSE, 5A | LER,PNL,REAR
FU0264 | 1043265-1,1043265-4 | FUSE, 5A | LER,PNL,REAR
FU0273 | 1043265-1,1043265-4 | FUSE, 5A | LER,PNL,REAR
FU1032 | 1043265-1,1043265-9 | FUSE, 30A | LER,PNL,REAR
FU1033 | 1043265-1,1043265-9 | FUSE, 30A | LER,PNL,REAR
FU7040 | 1043265-1,1043265-3 | FUSE, 2A | LER,PNL,REAR
GR1030 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,REAR
GR1031 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,REAR
GR1032 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,REAR
GR1033 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LER,PNL,REAR
IEG0260 | 232941-200 | BUS BAR, INSTRUMENT EARTH GROUNDING | LER,PNL,REAR
KA0530 | 1061979-1 | RELAY, NO LER 3 ESD SUMMARY | LER,PNL,REAR
KA0531 | 1061979-1 | RELAY, NO LER 3 ESD SUMMARY | LER,PNL,REAR
KA0532 | 1061979-1 | RELAY, NO LER 3 ESD SUMMARY | LER,PNL,REAR
KA0533 | 1061979-1 | RELAY, NO LER 3 ESD SUMMARY | LER,PNL,REAR
KA0540 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | LER,PNL,REAR
KA0541 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | LER,PNL,REAR
KA0542 | 1061979-1 | RELAY, STATION ESD PUSHBUTTON^(LER) | LER,PNL,REAR
KA0543 | 1061979-1 | RELAY, STATION ESD PUSHBUTTON^(LER) | LER,PNL,REAR
PEG0260 | 232941-200 | BUS BAR, POWER EARTH GROUNDING | LER,PNL,REAR
QS1032 | 1126803 | CIRCUIT BREAKER, DOUBLE POLE - RAIL MOUNTABLE | LER,PNL,REAR
QS1033 | 1126803 | CIRCUIT BREAKER, DOUBLE POLE - RAIL MOUNTABLE | LER,PNL,REAR
RR0251 | 981090C1 | RESISTOR, 3.01K OHM | LER,PNL,REAR
RR0252 | 981089C1 | RESISTOR, 1.0K OHM | LER,PNL,REAR
UJ1032 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | LER,PNL,REAR
UJ1033 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | LER,PNL,REAR
VD1032 | 2504354-1 | DUAL DIODE, REDUNDANT POWER | LER,PNL,REAR
XT0025 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,REAR
XT0090 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,REAR
XT0260 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | LER,PNL,REAR
XT0261 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,REAR
XT0262 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LER,PNL,REAR
XT1011 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | LER,PNL,REAR
XT1032 | 1066730-16 | TERMINAL STRIP, 2 CONDUCTOR | LER,PNL,REAR
XT1033 | 1066730-16 | TERMINAL STRIP, 2 CONDUCTOR | LER,PNL,REAR
CC7041 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, BACKUP GENERATOR^CONNECTION | PANEL
CC7140 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, CMS CONSOLE^CONNECTION | PANEL
CC7141 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, CMS CONSOLE^CONNECTION | PANEL
CCSCPBACKUP | CUSTOMER CONNECTION | CUSTOMER CONNECTION, SCP BACKUP^SYSTEM RESET | PANEL
CCSCPBACKUP-2 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, SCP BACKUP^SYSTEM RESET | PANEL
CCSCPCONTACTIVE | CUSTOMER CONNECTION | CUSTOMER CONNECTION, SCP CONTROLLER ACTIVE | PANEL
CCSCPNOESD | CUSTOMER CONNECTION | CUSTOMER CONNECTION, SCP NO STATION ESD | PANEL
VD0231 | 1066738-10 | DIODE, 15 pF | PANEL
VD0232 | 1066738-10 | DIODE, 15 pF | PANEL
VD0233 | 1066738-10 | DIODE, 15 pF | PANEL
VD0234 | 1066738-10 | DIODE, 15 pF | PANEL
VD0235 | 1066738-10 | DIODE, 15 pF | PANEL
VD0236 | 1066738-10 | DIODE, 15 pF | PANEL
VD0237 | 1066738-10 | DIODE, 15 pF | PANEL
VD0238 | 1066738-10 | DIODE, 15 pF | PANEL
VD0239 | 1066738-10 | DIODE, 15 pF | PANEL
VD0240 | 1066738-10 | DIODE, 15 pF | PANEL

## DOOR SWITCH
DOOR SWITCH
LER 3 RIO CONSOLE ESTOP DOOR PANEL
Project # | 4M047
Project Name | Bayrunner Pipeline
Revision | 0.2
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
SB0500:B2-11 | ESTOP2 | WHT | 20 | 180 | XT1036:1 | DOOR SWT | SB0500
SB0500:B2-12 | ESTOP3 | WHT | 20 | 180 | XT1036:2 | DOOR SWT
SB0500:B1-11 | SB0500B111 | WHT | 20 | 180 | XT1036:3 | DOOR SWT
SB0500:B1-12 | SB0500B112 | WHT | 20 | 180 | XT1036:4 | DOOR SWT

## LEFT PNL
LEFT PNL
LER 3 RIO CONSOLE PANEL^LEFT SIDE PANEL
Project # | 4M047
Project Name | Bayrunner Pipeline
Revision | 0.2
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0712:10 | -011210 | WHT | 20 | 60 | XT0265:14 | LEFT PNL | AF'S
AF0712:14 | -011214 | WHT | 20 | 60 | XT0265:22 | LEFT PNL
AF0704:39 | SB0500B111 | WHT | 20 | 80 | XT1036:3 | LEFT PNL
AF0704:07 | SB0500B112 | WHT | 20 | 80 | XT1036:4 | LEFT PNL
AF0712:16 | SV101N | WHT | 20 | 60 | XT0265:4 | LEFT PNL
AF0712:20 | SV1022 | WHT | 20 | 60 | XT0265:8 | LEFT PNL
AF0712:26 | SVC11602 | WHT | 20 | 60 | XT0265:16 | LEFT PNL
AF0712:30 | SVC11702 | WHT | 20 | 60 | XT0265:24 | LEFT PNL
AF0712:24 | SVO1160N | WHT | 20 | 60 | XT0265:10 | LEFT PNL
AF0712:28 | SVO11702 | WHT | 20 | 60 | XT0265:18 | LEFT PNL
AF0708:33 | ZSC11601 | WHT | 20 | 60 | XT0265:11 | LEFT PNL
AF0708:01 | ZSC11602 | WHT | 20 | 60 | XT0265:12 | LEFT PNL
AF0702:38 | ZSC11701 | WHT | 20 | 80 | XT0265:19 | LEFT PNL
AF0702:06 | ZSC11702 | WHT | 20 | 80 | XT0265:20 | LEFT PNL
AF0710:COM | AF0114N | WHT | 16 | 60 | AF0714:COM | LEFT PNL
AF0710:V+ | AF0114P | WHT | 16 | 60 | AF0714:V+ | LEFT PNL
AF0701:COM | -0V1 | WHT | 14 | 60 | XT0100:2 | LEFT PNL
AF0702:COM | -0V1 | WHT | 14 | 60 | XT0100:3 | LEFT PNL
AU0700:COM | -0V1 | WHT | 14 | 60 | XT0100:1 | LEFT PNL
AU0700:V+ | FU0100 | WHT | 14 | 60 | FU0100:LD | LEFT PNL
AF0701:V+ | FU0101 | WHT | 14 | 60 | FU0101:LD | LEFT PNL
AF0702:V+ | FU0102 | WHT | 14 | 60 | FU0102:LD | LEFT PNL
KA0291:11 | CCESTOP1A2 | WHT | 20 | 60 | XT0265:26 | LEFT PNL | KA'S
KA0391:11 | CCESTOP1B2 | WHT | 20 | 60 | XT0265:30 | LEFT PNL
KA0291:21 | CCESTOP2A2 | WHT | 20 | 60 | XT0265:28 | LEFT PNL
KA0391:21 | CCESTOP2B2 | WHT | 20 | 60 | XT0265:32 | LEFT PNL
KA0060:14 | FSTOP11 | WHT | 20 | 60 | XT0265:33 | LEFT PNL
KA0060:11 | FSTOP12 | WHT | 20 | 60 | XT0265:34 | LEFT PNL
KA0060:24 | FSTOP21 | WHT | 20 | 60 | XT0265:35 | LEFT PNL
KA0060:21 | FSTOP22 | WHT | 20 | 60 | XT0265:36 | LEFT PNL
KA0210:22 | KA021022 | WHT | 20 | 60 | KT0554:15 | LEFT PNL
KA0211:11 | KA021111 | WHT | 20 | 100 | KA0270:A1 | LEFT PNL
KA0211:14 | KA021114 | WHT | 20 | 100 | AF0712:08 | LEFT PNL
KA0211:21 | KA021121 | WHT | 20 | 100 | KA0271:A1 | LEFT PNL
KA0211:24 | KA021124 | WHT | 20 | 100 | AF0712:12 | LEFT PNL
KA0212:21 | KA021214 | WHT | 20 | 60 | KA0601:14 | LEFT PNL
KA0213:11 | KA021311 | WHT | 20 | 60 | KA0602:14 | LEFT PNL
KA0215:21 | KA021521 | WHT | 20 | 60 | XT0136:7 | LEFT PNL
KA0215:22 | KA021522 | WHT | 20 | 60 | XT0136:8 | LEFT PNL
KA0216:11 | KA021611 | WHT | 20 | 100 | XT0265:3 | LEFT PNL
KA0216:14 | KA021614 | WHT | 20 | 100 | AF0712:00 | LEFT PNL
KA0216:21 | KA021621 | WHT | 20 | 100 | XT0265:7 | LEFT PNL
KA0216:24 | KA021624 | WHT | 20 | 100 | AF0712:04 | LEFT PNL
KA0270:14 | KA027014 | WHT | 20 | 160 | AF0712:40 | LEFT PNL
KA0271:14 | KA027114 | WHT | 20 | 160 | AF0712:44 | LEFT PNL
KA0212:11 | KA060014 | WHT | 20 | 60 | KA0600:14 | LEFT PNL
KA0612:11 | KA061211 | WHT | 20 | 160 | AF0705:41 | LEFT PNL
KA0612:14 | KA061214 | WHT | 20 | 160 | AF0705:09 | LEFT PNL
KA0613:11 | KA061311 | WHT | 20 | 160 | AF0705:44 | LEFT PNL
KA0613:14 | KA061314 | WHT | 20 | 160 | AF0705:12 | LEFT PNL
KA0270:11 | SVO1160P | WHT | 20 | 60 | XT0265:9 | LEFT PNL
KA0271:11 | SVO11701 | WHT | 20 | 60 | XT0265:17 | LEFT PNL
KA0210:21 | FU0264 | WHT | 14 | 60 | XT0136:1 | LEFT PNL
KA0060:A1 | -010110 | WHT | 20 | 100 | AF0701:10 | LEFT PNL | KA:A1/2
KA0060:A2 | -010126 | WHT | 20 | 100 | AF0701:26 | LEFT PNL
KA0210:A2 | -0V1 | WHT | 20 | 60 | XT0136:2 | LEFT PNL
KA0215:A2 | -0V1 | WHT | 20 | 60 | XT0136:2 | LEFT PNL
KA0215:A1 | KA022914 | WHT | 20 | 60 | XT0136:9 | LEFT PNL
KA0217:24 | KA023624 | WHT | 20 | 60 | XT0536:10 | LEFT PNL
KA0291:A1 | KA0291A1 | WHT | 20 | 160 | AF0713:01 | LEFT PNL
KA0291:A2 | KA0291A2 | WHT | 20 | 60 | AF0713:17 | LEFT PNL
KA0391:A1 | KA0391A1 | WHT | 20 | 160 | AF0713:02 | LEFT PNL
KA0391:A2 | KA0391A2 | WHT | 20 | 160 | AF0713:18 | LEFT PNL
KA0210:A1 | KA053114 | WHT | 20 | 60 | XT0136:10 | LEFT PNL
KA0600:A1 | KA0600A1 | WHT | 20 | 60 | AF0701:00 | LEFT PNL
KA0600:A2 | KA0600A2 | WHT | 20 | 60 | AF0701:16 | LEFT PNL
KA0601:A1 | KA0601A1 | WHT | 20 | 60 | AF0701:02 | LEFT PNL
KA0601:A2 | KA0601A2 | WHT | 20 | 60 | AF0701:18 | LEFT PNL
KA0602:A1 | KA0602A1 | WHT | 20 | 60 | AF0701:04 | LEFT PNL
KA0602:A2 | KA0602A2 | WHT | 20 | 60 | AF0701:20 | LEFT PNL
KA0603:A1 | KA0603A1 | WHT | 20 | 100 | AF0711:10 | LEFT PNL
KA0603:A2 | KA0603A2 | WHT | 20 | 100 | AF0711:26 | LEFT PNL
KA0604:A1 | KA0604A1 | WHT | 20 | 100 | AF0711:12 | LEFT PNL
KA0604:A2 | KA0604A2 | WHT | 20 | 100 | AF0711:28 | LEFT PNL
KA0605:A1 | KA0605A1 | WHT | 20 | 100 | AF0711:14 | LEFT PNL
KA0605:A2 | KA0605A2 | WHT | 20 | 100 | AF0711:30 | LEFT PNL
KA0610:A1 | KA0610A1 | WHT | 20 | 60 | AF0711:00 | LEFT PNL
KA0610:A2 | KA0610A2 | WHT | 20 | 60 | AF0711:16 | LEFT PNL
KA0611:A1 | KA0611A1 | WHT | 20 | 60 | AF0711:02 | LEFT PNL
KA0611:A2 | KA0611A2 | WHT | 20 | 60 | AF0711:18 | LEFT PNL
KA0270:A2 | SVO1160N | WHT | 20 | 60 | XT0265:10 | LEFT PNL
KA0271:A2 | SVO11702 | WHT | 20 | 60 | XT0265:18 | LEFT PNL
KT0554:16 | KT055416 | WHT | 20 | 60 | XT0136:3 | LEFT PNL | KT'S
KT0554:A2 | KT0554A2 | WHT | 20 | 100 | AF0708:17 | LEFT PNL
KT0555:16 | KT055516 | WHT | 20 | 60 | XT0136:5 | LEFT PNL
KT0555:A2 | KT0555A2 | WHT | 20 | 100 | AF0702:22 | LEFT PNL
KT0554:A1 | ZSC11602 | WHT | 20 | 100 | XT0265:12 | LEFT PNL
KT0555:A1 | ZSC11702 | WHT | 20 | 100 | XT0265:20 | LEFT PNL
XT1036:1 | ESTOP2 | WHT | 20 | 60 | XT0537:3 | LEFT PNL | XT'S
XT0536:13 | ESTOP3 | WHT | 20 | 60 | XT1036:2 | LEFT PNL
XT0536:2 | FU0190 | WHT | 20 | 60 | XT0538:1 | LEFT PNL
XT0136:6 | KA021521 | WHT | 20 | 100 | XT0265:21 | LEFT PNL
XT0265:13 | KA021521 | WHT | 20 | 100 | XT0136:4 | LEFT PNL
XT0136:8 | KA021522 | WHT | 20 | 100 | XT0265:5 | LEFT PNL
XT0265:2 | KA021522 | WHT | 20 | 100 | XT0136:8 | LEFT PNL
XT0536:9 | KA022914 | WHT | 20 | 60 | XT0136:9 | LEFT PNL
XT0536:12 | KA023621 | WHT | 20 | 60 | XT0537:1 | LEFT PNL
XT0536:14 | KA053114 | WHT | 20 | 60 | XT0136:10 | LEFT PNL
XT0536:16 | KA0542A1 | WHT | 20 | 60 | XT0538:14 | LEFT PNL
XT0536:8 | -0V1 | WHT | 14 | 60 | XT0136:2 | LEFT PNL
AF0710:00 | -011000 | WHT | 20 | 180 | KA0530:14 | REAR PNL | AF-REAR
AF0710:32 | -011032 | WHT | 20 | 180 | KA0530:11 | REAR PNL
AF0702:01 | UJ1032OK2 | WHT | 20 | 180 | UJ1032:OK2 | REAR PNL
AF0703:02 | UJ1032VIN | WHT | 20 | 180 | UJ1032:VIN | REAR PNL
AF0702:39 | UJ1033OK1 | WHT | 20 | 180 | UJ1033:OK1 | REAR PNL
AF0702:07 | UJ1033OK2 | WHT | 20 | 180 | UJ1033:OK2 | REAR PNL
AF0703:12 | UJ1033VIN | WHT | 20 | 180 | UJ1033:VIN | REAR PNL
AF0703:00 | -010300 | WHT | 16 | 180 | XT0025:2 | REAR PNL
AF0703:01 | -0V1 | WHT | 16 | 180 | XT0025:3 | REAR PNL
AF0703:03 | -0V1 | WHT | 16 | 180 | XT0025:5 | REAR PNL
AF0703:05 | -0V1 | WHT | 16 | 180 | XT0025:6 | REAR PNL
AF0703:13 | -0V1 | WHT | 16 | 180 | XT0025:5 | REAR PNL
AF0703:15 | -0V1 | WHT | 16 | 180 | XT0025:6 | REAR PNL
AF0703:04 | UJ1032IOUT | WHT | 16 | 180 | UJ1032:IOUT | REAR PNL
AF0702:33 | UJ1032OK1 | WHT | 16 | 180 | UJ1032:OK1 | REAR PNL
AF0703:14 | UJ1033IOUT | WHT | 16 | 180 | UJ1033:IOUT | REAR PNL
AF0708:COM | -0V1 | WHT | 14 | 180 | XT0090:1 | REAR PNL
AF0711:COM | -0V1 | WHT | 14 | 180 | XT0090:2 | REAR PNL
AF0712:COM | -0V1 | WHT | 14 | 180 | XT0090:3 | REAR PNL
AF0713:COM | -0V1 | WHT | 14 | 180 | XT0090:4 | REAR PNL
AF0708:V+ | FU0103 | WHT | 14 | 180 | FU0103:LD | REAR PNL
AF0711:V+ | FU0104 | WHT | 14 | 180 | FU0104:LD | REAR PNL
AF0712:V+ | FU0105 | WHT | 14 | 180 | FU0105:LD | REAR PNL
AF0713:V+ | FU0106 | WHT | 14 | 180 | FU0106:LD | REAR PNL
KA0217:21 | KA053024 | WHT | 20 | 180 | KA0530:24 | REAR PNL | KA-REAR
KA0291:14 | KA029114 | WHT | 20 | 180 | KA0532:11 | REAR PNL
KA0291:24 | KA029124 | WHT | 20 | 180 | KA0532:21 | REAR PNL
KA0391:14 | KA039114 | WHT | 20 | 180 | KA0533:11 | REAR PNL
KA0391:24 | KA039124 | WHT | 20 | 180 | KA0533:21 | REAR PNL
XT0536:5 | -0V1 | WHT | 20 | 180 | KA0530:A2 | REAR PNL | XT-REAR
XT0536:6 | -0V1 | WHT | 20 | 180 | KA0542:A2 | REAR PNL
XT0536:7 | -0V1 | WHT | 20 | 180 | KA0540:A2 | REAR PNL
XT0265:25 | CCESTOP1A1 | WHT | 20 | 180 | KA0532:14 | REAR PNL
XT0265:29 | CCESTOP1B1 | WHT | 20 | 180 | KA0533:14 | REAR PNL
XT0265:27 | CCESTOP2A1 | WHT | 20 | 180 | KA0532:24 | REAR PNL
XT0265:31 | CCESTOP2B1 | WHT | 20 | 180 | KA0533:24 | REAR PNL
XT0536:13 | ESTOP3 | WHT | 20 | 180 | KA0530:A1 | REAR PNL
XT0536:1 | FU0190 | WHT | 20 | 180 | KA0530:21 | REAR PNL
XT0536:4 | FU0190 | WHT | 20 | 180 | KA0531:11 | REAR PNL
XT0536:15 | KA024324 | WHT | 20 | 180 | KA0540:A1 | REAR PNL
XT0536:14 | KA053114 | WHT | 20 | 180 | KA0531:14 | REAR PNL
XT0536:17 | KA054211 | WHT | 20 | 180 | KA0542:11 | REAR PNL
XT0536:18 | KA054214 | WHT | 20 | 180 | KA0542:14 | REAR PNL
XT0536:16 | KA0542A1 | WHT | 20 | 180 | KA0542:A1 | REAR PNL
XT0536:5 | -0V1 | WHT | 14 | 180 | XT0262:4 | REAR PNL
XT0100:1 | -0V1 | WHT | 14 | 180 | XT0262:2 | REAR PNL
XT0136:1 | FU0264 | WHT | 14 | 180 | FU0264:LD | REAR PNL
XT0536:1 | FU0190 | WHT | 12 | 180 | FU0190:LD | REAR PNL
FU0100:LI | FU0260 | WHT | 14 | 180 | XT0261:2 | REAR PNL

## REAR PNL
REAR PNL
LER 3 RIO CONSOLE REAR PANEL
Project # | 4M047
Project Name | Bayrunner Pipeline
Revision | 0.2
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
KA0530:21 | FU0190 | WHT | 20 | 60 | KA0540:11 | REAR PNL | KA
KA0530:24 | KA053024 | WHT | 20 | 60 | KA0540:14 | REAR PNL
BA7040:0V | -0V1 | WHT | 16 | 60 | XT0262:3 | REAR PNL | BA'S
BA7041:V1(-) | -0V1 | WHT | 16 | 60 | XT0262:5 | REAR PNL
BA7042:V1(-) | -0V1 | WHT | 16 | 60 | XT0262:5 | REAR PNL
BA7140:V1(-) | -0V1 | WHT | 16 | 60 | XT0262:5 | REAR PNL
BA7141:V1(-) | -0V1 | WHT | 16 | 60 | XT0262:5 | REAR PNL
BA7042:V1(+) | FU0262 | WHT | 16 | 60 | FU0262:LD | REAR PNL
BA7141:V1(+) | FU0263 | WHT | 16 | 60 | FU0263:LD | REAR PNL
BA7040:P1 | FU7040 | WHT | 16 | 60 | FU7040:LD | REAR PNL
FU0262:LD | FU0262 | WHT | 16 | 60 | BA7041:V1(+) | REAR PNL
FU0263:LD | FU0263 | WHT | 16 | 60 | BA7140:V1(+) | REAR PNL
FU0103:LI | FU0260 | WHT | 14 | 60 | XT0261:2 | REAR PNL | FU'S
FU0190:LI | FU0260 | WHT | 14 | 60 | XT0261:3 | REAR PNL
FU0260:LD | FU0260 | WHT | 14 | 60 | XT0261:1 | REAR PNL
FU0262:LI | FU0260 | WHT | 14 | 60 | XT0261:4 | REAR PNL
FU0263:LI | FU0260 | WHT | 14 | 60 | XT0261:5 | REAR PNL
FU0264:LI | FU0260 | WHT | 14 | 60 | XT0261:5 | REAR PNL
FU0273:LI | FU0260 | WHT | 14 | 60 | XT0261:3 | REAR PNL
FU7040:LI | FU0260 | WHT | 14 | 60 | XT0261:1 | REAR PNL
XT0025:5 | -0V1 | WHT | 14 | 60 | XT0262:1 | REAR PNL | XT'S
XT0025:6 | -0V1 | WHT | 14 | 60 | XT0262:2 | REAR PNL
XT0260:1 | -0V1 | WHT | 14 | 60 | XT0262:1 | REAR PNL
XT0262:2 | -0V1 | WHT | 14 | 60 | XT0090:1 | REAR PNL
XT1032:4 | -0V1 | WHT | 12 | 60 | XT0025:3 | REAR PNL
XT0025:1 | VD10324 | WHT | 12 | 60 | XT1032:5 | REAR PNL
QS1032:LI-4 | QS1032N | WHT | 12 | 60 | XT1011:3 | REAR PNL | QS'S
QS1033:LI-4 | QS1032N | WHT | 12 | 60 | XT1011:4 | REAR PNL
QS1032:LI-2 | QS1032P | WHT | 12 | 60 | XT1011:1 | REAR PNL
QS1033:LI-2 | QS1032P | WHT | 12 | 60 | XT1011:2 | REAR PNL
QS1032:LD-3 | UJ1032N | WHT | 12 | 60 | UJ1032:- | REAR PNL
QS1032:LD-1 | UJ1032P | WHT | 12 | 60 | UJ1032:+ | REAR PNL
QS1033:LD-3 | UJ1033N | WHT | 12 | 60 | UJ1033:- | REAR PNL
QS1033:LD-1 | UJ1033P | WHT | 12 | 60 | UJ1033:+ | REAR PNL

## LIGHT
LIGHT
LER 3 RIO CONSOLE
Project # | 4M047
Project Name | Bayrunner Pipeline
Revision | 0.2
Controls DE | ALEX. JEZEQUEL
Phone:
Controls ME | HECTOR, MEDRANO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
EL0273:W1 | -0V1 | WHT | 14 | 180 | XT0262:4 | REAR PNL | LIGHT
ZS0273:1 | FU0273 | WHT | 14 | 180 | FU0273:LD | REAR PNL

## Bundle Tag Info
WP-HAR STA
4M047
Rev 0.2
DOOR SWITCH | LEFT PNL | RIGHT PNL | DOOR SWITCH | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
SB0500 | AF'S | KA | LIGHT
| KA'S | BA'S
| KA:A1/2 | FU'S
| KT'S | XT'S
| XT'S | QS'S
AF-REAR
KA-REAR
XT-REAR

## Bundle Tags2
ALL
WP-HAR STA 4M047 Rev 0.2 DOOR SWITCH SB0500
WP-HAR STA 4M047 REV 0.2 AF'S
WP-HAR STA 4M047 REV 0.2 KA'S
WP-HAR STA 4M047 Rev 0.2 LEFT PNL KA:A1/2
WP-HAR STA 4M047 Rev 0.2 LEFT PNL KT'S
WP-HAR STA 4M047 Rev 0.2 LEFT PNL XT'S
WP-HAR STA 4M047 Rev 0.2 LEFT PNL AF-REAR
WP-HAR STA 4M047 Rev 0.2 LEFT PNL KA-REAR
WP-HAR STA 4M047 Rev 0.2 LEFT PNL XT-REAR
WP-HAR STA 4M047 Rev 0.2 RIGHT PNL KA
WP-HAR STA 4M047 Rev 0.2 RIGHT PNL BA'S
WP-HAR STA 4M047 Rev 0.2 RIGHT PNL FU'S
WP-HAR STA 4M047 Rev 0.2 RIGHT PNL XT'S
WP-HAR STA 4M047 Rev 0.2 RIGHT PNL QS'S
WP-HAR STA 4M047 Rev 0.2 DOOR SWITCH LIGHT