## JB70_S
JB70
Project # | 4M081
Project Name
Revision | C
Controls DE | J. UNGER
Phone: | 0
Controls ME | K. MURPHY
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:POS | FU1100 | WHT | 14 | 180 | FU1100:LD | JB70 R RAIL | AT1100
AT1100:NEG | -0V | WHT | 12 | 220 | XT0134:5 | PANEL A
BA0014:V1(-) | -0V | WHT | 16 | 200 | XT0235:2 | PANEL B | BA0014
BA0014:V1(+) | FU9114LD | WHT | 16 | 180 | FU9114:LD | JB70 R RAIL
SA0471:B1-13 | SA0471B113 | WHT | 20 | 220 | AF0087:40 | PANEL A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 220 | AF0087:08 | PANEL A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 220 | AF0087:39 | PANEL A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 220 | AF0087:07 | PANEL A
SA0472:B1-13 | SA0472B113 | WHT | 20 | 220 | AF0091:47 | PANEL A | SA0472
SA0472:B1-14 | SA0472B114 | WHT | 20 | 220 | AF0091:15 | PANEL A
SA0472:B2-13 | SA0472B213 | WHT | 20 | 220 | AF0091:46 | PANEL A
SA0472:B2-14 | SA0472B214 | WHT | 20 | 220 | AF0091:14 | PANEL A
SA0473:11 | SA047311 | WHT | 20 | 220 | AF0087:37 | PANEL A | SA0473
SA0473:12 | SA047312 | WHT | 20 | 220 | AF0087:05 | PANEL A
SA0473:13 | SA047313 | WHT | 20 | 220 | AF0087:38 | PANEL A
SA0473:14 | SA047314 | WHT | 20 | 220 | AF0087:06 | PANEL A
SB0471:11 | SB047111 | WHT | 20 | 220 | AF0087:34 | PANEL A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 220 | AF0087:02 | PANEL A
SB0472:B1-11 | ESTOPA | WHT | 20 | 220 | XT0137:1 | PANEL A | SB0472
SB0472:B1-12 | ESTOP | WHT | 20 | 220 | XT0137:2 | PANEL A
SB0472:B2-11 | SB0472B211 | WHT | 20 | 220 | AF0081:36 | PANEL A
SB0472:B2-12 | SB0472B212 | WHT | 20 | 220 | AF0081:04 | PANEL A
SB0473:13 | SB047313 | WHT | 20 | 220 | AF0087:35 | PANEL A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 220 | AF0087:03 | PANEL A
SB0474:13 | SB047413 | WHT | 20 | 220 | AF0087:36 | PANEL A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 220 | AF0087:04 | PANEL A
SH0470:11 | SH047011 | WHT | 20 | 220 | AF0087:33 | PANEL A | SH0470
SH0470:12 | SH047012 | WHT | 20 | 220 | AF0087:01 | PANEL A
SH0470:13 | SH047013 | WHT | 20 | 220 | XT0137:5 | PANEL A
SH0470:14 | SH047014 | WHT | 20 | 220 | XT0137:6 | PANEL A
SH0470:X1 | SH0470X1 | WHT | 20 | 220 | AF0093:22 | PANEL A
SH0470:X2 | SH0470X2 | WHT | 20 | 220 | AF0093:06 | PANEL A
SH0471:11 | SH047111 | WHT | 20 | 220 | XT0137:3 | PANEL A | SH0471
SH0471:12 | SH047112 | WHT | 20 | 220 | XT0137:4 | PANEL A
SH0471:13 | SH047113 | WHT | 20 | 220 | AF0087:32 | PANEL A
SH0471:14 | SH047114 | WHT | 20 | 220 | AF0087:00 | PANEL A
SH0471:X1 | SH0471X1 | WHT | 20 | 220 | AF0093:31 | PANEL A
SH0471:X2 | SH0471X2 | WHT | 20 | 220 | AF0093:15 | PANEL A
SH0472:X1 | -0V | WHT | 20 | 200 | XT0236:3 | PANEL B | SH0472
SH0472:13 | FU0139 | WHT | 20 | 200 | XT0236:1 | PANEL B
SH0472:14 | KA0241A1 | WHT | 20 | 200 | XT0236:2 | PANEL B
SH0472:11 | SH047211 | WHT | 20 | 200 | XT0236:4 | PANEL B
SH0472:12 | SH047212 | WHT | 20 | 200 | XT0236:5 | PANEL B
SH0472:X2 | SH0472X2 | WHT | 20 | 200 | XT0237:2 B1 | PANEL B

## JB70 R RAIL_S
JB70 RIGHT RAIL
Project # | 4M081
Project Name
Revision | C
Controls DE | J. UNGER
Phone: | 0
Controls ME | K. MURPHY
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
FU1100:LI | FU0136 | WHT | 14 | 220 | XT0138:5 | PANEL A | FU
FU9114:LI | FU0210 | WHT | 12 | 200 | XT0233:2 | PANEL B

## PLC_S
PLC PANEL
JB70
Project # | 4M081
Project Name
Revision | C
Controls DE | J. UNGER
Phone: | 0
Controls ME | K. MURPHY
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0001:V1(-) | -0V | WHT | 16 | 60 | XT0001:2 | PLC PANEL | BA
BA0001:V1(+) | FU0001 | WHT | 16 | 60 | FU0001:LD | PLC PANEL
BA0002:V1(-) | -0V | WHT | 16 | 60 | XT0001:5 | PLC PANEL
BA0002:V1(+) | FU0002 | WHT | 16 | 60 | FU0002:LD | PLC PANEL
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | PLC PANEL | ATFU
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC PANEL
FU0001:LI | FU0210 | WHT | 16 | 60 | XT0001:1 | PLC PANEL
FU0002:LI | FU0210 | WHT | 16 | 60 | XT0001:4 | PLC PANEL
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC PANEL
UV0600:(+) | FU0010 | WHT | 14 | 80 | FU0010:LD | PANEL A | UV-A
UV0600:(-) | -0V | WHT | 14 | 80 | XT0135:1 | PANEL A
XT0680:2 | -0V | WHT | 14 | 80 | XT0235:3 | PANEL B | FU/XT-B
FU0680:LI | FU0210 | WHT | 14 | 80 | XT0233:3 | PANEL B
XT0001:2 | -0V | WHT | 12 | 80 | XT0235:3 | PANEL B
XT0001:5 | -0V | WHT | 12 | 80 | XT0235:3 | PANEL B
XT0001:1 | FU0210 | WHT | 12 | 80 | XT0233:3 | PANEL B
XT0001:4 | FU0210 | WHT | 12 | 80 | XT0233:3 | PANEL B

## A PNL_S
PANEL A
JB70
Project # | 4M081
Project Name
Revision | C
Controls DE | J. UNGER
Phone: | 0
Controls ME | K. MURPHY
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 60 | AF0094:06 | PANEL A | UJ
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0091:41 | PANEL A
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0091:09 | PANEL A
UJ0131:VIN | UJ0131VIN | WHT | 20 | 60 | AF0094:04 | PANEL A
UJ0131:OUT(-) | -0V | WHT | 12 | 80 | XT0134:1 | PANEL A
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | PANEL A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | PANEL A
PC0470:INP_A | -009312 | WHT | 20 | 60 | AF0093:12 | PANEL A | PC0470
PC0470:-PWR | -009328 | WHT | 20 | 60 | AF0093:28 | PANEL A
PC0470:+PWR | -009344 | WHT | 20 | 60 | AF0093:44 | PANEL A
AU0080:COM | -0V | WHT | 14 | 60 | XT0080:1 | PANEL A | AU
AU0090:COM | -0V | WHT | 14 | 60 | XT0081:1 | PANEL A
AU0080:V+ | FU0080 | WHT | 14 | 60 | FU0080:LD | PANEL A
AU0090:V+ | FU0090 | WHT | 14 | 60 | FU0090:LD | PANEL A
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | PANEL A | AF
AF0092:COM | -0V | WHT | 14 | 60 | XT0081:1 | PANEL A
AF0093:COM | -0V | WHT | 14 | 60 | XT0081:2 | PANEL A
AF0094:05 | -0V | WHT | 14 | 60 | XT0135:4 | PANEL A
AF0094:07 | -0V | WHT | 14 | 60 | XT0135:4 | PANEL A
AF0095:COM | -0V | WHT | 14 | 80 | XT0081:2 | PANEL A
AF0091:V+ | AF0091P | WHT | 14 | 60 | AF0094:V+ | PANEL A
AF0092:V+ | FU0091 | WHT | 14 | 60 | FU0091:LD | PANEL A
AF0093:V+ | FU0092 | WHT | 14 | 60 | FU0092:LD | PANEL A
AF0095:V+ | FU0093 | WHT | 14 | 60 | FU0093:LD | PANEL A
KA0130:A1 | -008135 | WHT | 20 | 80 | AF0081:35 | PANEL A | KA A1
KA0130:A1 | -008135 | WHT | 20 | 100 | KA0130:11 | PANEL A
KA3330:A1 | -009200 | WHT | 20 | 60 | AF0092:00 | PANEL A
KA3331:A1 | -009201 | WHT | 20 | 60 | AF0092:01 | PANEL A
KA2160:A1 | -009204 | WHT | 20 | 60 | AF0092:04 | PANEL A
KA2161:A1 | -009207 | WHT | 20 | 60 | AF0092:07 | PANEL A
KA3103:A1 | -009208 | WHT | 20 | 80 | AF0092:08 | PANEL A
KA0133:A1 | KA0133A1 | WHT | 20 | 60 | AF0092:02 | PANEL A
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0091:12 | PANEL A
KA0135:A1 | KA0135A1 | WHT | 20 | 60 | KA0144:A1 | PANEL A
KA0131:A1 | KA0231A1 | WHT | 20 | 60 | KA0132:A1 | PANEL A
KA0131:A1 | KA0231A1 | WHT | 20 | 120 | XT0136:10 | PANEL A
KA0132:A1 | KA0231A1 | WHT | 20 | 60 | KA0141:A1 | PANEL A
KA0136:A1 | PS32002 | WHT | 20 | 120 | XT0136:7 | PANEL A
KA0135:A1 | KA0135A1 | WHT | 20 | 120 | KA0131:11 | PANEL A
KA0138:A1 | KA0138A1 | WHT | 20 | 100 | KA0132:21 | PANEL A
KA3330:A2 | -009216 | WHT | 20 | 60 | AF0092:16 | PANEL A | KA A2
KA3331:A2 | -009217 | WHT | 20 | 60 | AF0092:17 | PANEL A
KA2160:A2 | -009220 | WHT | 20 | 60 | AF0092:20 | PANEL A
KA2161:A2 | -009223 | WHT | 20 | 60 | AF0092:23 | PANEL A
KA3103:A2 | -009224 | WHT | 20 | 60 | AF0092:24 | PANEL A
KA0134:A2 | -0V | WHT | 20 | 60 | KA0144:A2 | PANEL A
KA0135:A2 | -0V | WHT | 20 | 60 | KA0136:A2 | PANEL A
KA0135:A2 | -0V | WHT | 20 | 60 | KA0144:A2 | PANEL A
KA0130:14 | -008103 | WHT | 20 | 60 | AF0081:03 | PANEL A | KA
KA0221:14 | -009502 | WHT | 20 | 60 | AF0095:02 | PANEL A
KA0132:11 | FU0139 | WHT | 20 | 60 | KA0133:11 | PANEL A
KA0136:11 | FU0139 | WHT | 20 | 60 | KA0137:21 | PANEL A
KA0138:14 | FU0139 | WHT | 20 | 60 | XT0136:11 | PANEL A
KA0141:24 | FU0139 | WHT | 20 | 60 | XT0136:2 | PANEL A
KA0131:14 | KA013114 | WHT | 20 | 80 | AF0092:06 | PANEL A
KA0132:22 | KA013222 | WHT | 20 | 60 | KA0137:14 | PANEL A
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | PANEL A
KA0136:21 | KA013621 | WHT | 20 | 60 | AF0087:43 | PANEL A
KA0136:24 | KA013624 | WHT | 20 | 60 | AF0087:11 | PANEL A
KA0131:12 | KA013724 | WHT | 20 | 60 | KA0137:24 | PANEL A
KA0137:24 | KA013724 | WHT | 20 | 60 | AF0087:09 | PANEL A
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | PANEL A
KA0141:11 | KA014111 | WHT | 20 | 80 | AF0091:39 | PANEL A
KA0141:14 | KA014114 | WHT | 20 | 80 | AF0091:07 | PANEL A
KA0138:11 | KM3170EP | WHT | 20 | 60 | XT0136:4 | PANEL A
KA0132:12 | KT0141A1 | WHT | 20 | 60 | KA0133:12 | PANEL A
KT0140:15 | FU0139 | WHT | 20 | 60 | KT0142:15 | PANEL A | KT R/S
KT0140:15 | FU0139 | WHT | 20 | 60 | XT0136:2 | PANEL A
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0144:A1 | PANEL A
KT0145:15 | FU0139 | WHT | 20 | 60 | KA0132:11 | PANEL A
KT0140:A1 | KT0140A1 | WHT | 20 | 120 | KT0143:16 | PANEL A
KT0141:A1 | KT0141A1 | WHT | 20 | 60 | KT0143:15 | PANEL A
KT0142:A1 | KT0141A1 | WHT | 20 | 60 | KA0132:12 | PANEL A
KT0144:B1 | KT0144B1 | WHT | 20 | 60 | KA0138:24 | PANEL A
KT0146:A1 | KT0146A1 | WHT | 20 | 60 | KA0141:21 | PANEL A
KT0141:15 | KT014115 | WHT | 20 | 120 | KT0140:16 | PANEL A
KT0143:A1 | KT0143A1 | WHT | 20 | 120 | KT0140:18 | PANEL A
KT0140:A2 | -0V | WHT | 20 | 120 | XT0136:3 | PANEL A | KT L/S
KT0145:A2 | -0V | WHT | 20 | 60 | KA0131:A2 | PANEL A
KT0141:18 | KA013222 | WHT | 20 | 100 | KA0132:22 | PANEL A
KT0141:18 | KA013222 | WHT | 20 | 60 | KT0144:18 | PANEL A
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KA0137:A1 | PANEL A
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KT0145:18 | PANEL A
XT0136:12 | -0V | WHT | 20 | 60 | XT0136:3 | PANEL A | XT/FU
XT0136:1 | FU0139 | WHT | 20 | 60 | XT0136:11 | PANEL A
XT0135:1 | -0V | WHT | 14 | 120 | XT0136:3 | PANEL A
XT0085:1 | FU0136 | WHT | 14 | 80 | XT0138:2 | PANEL A
FU0137:LI | FU0136 | WHT | 14 | 60 | XT0138:1 | PANEL A
FU0010:LI | FU0137 | WHT | 14 | 60 | XT0139:1 | PANEL A
FU0080:LI | FU0137 | WHT | 14 | 60 | XT0139:1 | PANEL A
FU0090:LI | FU0137 | WHT | 14 | 60 | XT0139:2 | PANEL A
FU0139:LD | FU0139 | WHT | 14 | 100 | XT0136:1 | PANEL A
XT0080:1 | -0V | WHT | 12 | 80 | XT0135:2 | PANEL A
XT0085:3 | -0V | WHT | 12 | 80 | XT0134:2 | PANEL A
XT0135:1 | -0V | WHT | 12 | 60 | XT0134:1 | PANEL A
XT0135:2 | -0V | WHT | 12 | 80 | XT0081:1 | PANEL A
FU0137:LD | FU0137 | WHT | 12 | 60 | XT0139:1 | PANEL A
AF0092:13 | -009213 | WHT | 20 | 160 | XT0237:2 T2 | PANEL B | AF-B
AF0081:41 | KA023921 | WHT | 20 | 160 | KA0239:21 | PANEL B
AF0081:09 | KA023924 | WHT | 20 | 160 | KA0239:24 | PANEL B
AF0081:08 | KA024214 | WHT | 20 | 160 | KA0242:14 | PANEL B
AF0081:33 | KA024311 | WHT | 20 | 160 | KA0243:11 | PANEL B
AF0081:01 | KA024314 | WHT | 20 | 160 | KA0243:14 | PANEL B
AF0081:34 | KA024521 | WHT | 20 | 160 | KA0245:21 | PANEL B
AF0081:02 | KA024524 | WHT | 20 | 160 | KA0245:24 | PANEL B
AF0095:18 | SV21202 | WHT | 20 | 160 | XT0060:4 | PANEL B
AF0081:00 | UA1200J21 | WHT | 20 | 160 | KA0241:11 | PANEL B
AF0081:19 | UA1200J27 | WHT | 20 | 180 | UA1200:J2-7 | PANEL B
KA0221:A1 | -007602 | WHT | 20 | 160 | AF0076:02 | PANEL B | KA-B
KA0221:A2 | -007618 | WHT | 20 | 160 | AF0076:18 | PANEL B
KA0141:24 | FU0139 | WHT | 20 | 160 | KA0241:24 | PANEL B
KA0134:A1 | KA0134A1 | WHT | 20 | 160 | AF0067:12 | PANEL B
KA0221:11 | KA022111 | WHT | 20 | 160 | KA0235:24 | PANEL B
KA0141:21 | KT0146A1 | WHT | 20 | 160 | KA0241:21 | PANEL B
KA0130:A2 | UA1200J26 | WHT | 20 | 180 | UA1200:J2-6 | PANEL B
KT0145:A1 | KA024214 | WHT | 20 | 160 | KA0231:14 | PANEL B | KT-B
KT0146:15 | KA024412 | WHT | 20 | 160 | KA0244:12 | PANEL B
KT0146:18 | KT014615 | WHT | 20 | 160 | AF0076:10 | PANEL B
KT0146:A2 | KT0146A2 | WHT | 20 | 160 | AF0076:29 | PANEL B
KT0146:B1 | KT0146B1 | WHT | 20 | 160 | AF0076:13 | PANEL B
XT0137:2 | ESTOP | WHT | 20 | 160 | XT0240:4 | PANEL B | XT-B
XT0137:1 | ESTOPA | WHT | 20 | 160 | XT0240:3 | PANEL B
XT0136:1 | FU0139 | WHT | 20 | 160 | XT0240:12 | PANEL B
XT0136:10 | KA0231A1 | WHT | 20 | 160 | KA0242:11 | PANEL B
XT0136:8 | PS32004 | WHT | 20 | 160 | KA0240:11 | PANEL B
XT0136:5 | UF1300 | WHT | 20 | 160 | KA0240:14 | PANEL B
XT0085:2 | -007404 | WHT | 14 | 160 | AF0074:04 | PANEL B
XT0085:3 | -0V | WHT | 14 | 160 | AF0074:20 | PANEL B
XT0134:5 | -0V | WHT | 14 | 180 | UV0291:24V(-) | PANEL B
XT0136:3 | -0V | WHT | 14 | 160 | XT0240:10 | PANEL B
XT0138:4 | FU0136 | WHT | 14 | 160 | FU0210:LI | PANEL B
XT0138:5 | FU0136 | WHT | 14 | 160 | FU0291:LD | PANEL B
XT0139:3 | FU0137 | WHT | 14 | 160 | FU0211:LI | PANEL B
XT0134:4 | -0V | WHT | 12 | 160 | XT0235:1 | PANEL B
XT0135:1 | -0V | WHT | 12 | 160 | KA1020:24 | PANEL B

## B PNL_S
PANEL B
JB70
Project # | 4M081
Project Name
Revision | C
Controls DE | J. UNGER
Phone: | 0
Controls ME | K. MURPHY
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UA1200:J1-10 | FU0212 | WHT | 20 | 140 | XT0233:4 | PANEL B | UA
UA1200:J2-2 | FU0212 | WHT | 20 | 140 | XT0233:4 | PANEL B
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | PANEL B
UA1200:J1-5 | UA1200J15 | WHT | 20 | 120 | XT0237:1 B1 | PANEL B
UA1200:J2-1 | UA1200J21 | WHT | 20 | 140 | XT0060:3 | PANEL B
AF0076:11 | UA1200J14 | WHT | 20 | 60 | UA1200:J1-4 | PANEL B
UA1200:J1-9 | -0V | WHT | 16 | 120 | XT0235:4 | PANEL B
BA1100:POS | FU1101LD | WHT | 16 | 60 | FU1101:LD | PANEL B | BA
BA1100:NEG | UV0291N | WHT | 16 | 60 | UV0291:OUT1(-) | PANEL B
AF0062:16 | SV21242 | WHT | 20 | 60 | XT0060:5 | PANEL B | AF/AU060s
AF0065:COM | AF0065N | WHT | 16 | 60 | AF0068:COM | PANEL B
AF0065:V+ | AF0065P | WHT | 16 | 60 | AF0068:V+ | PANEL B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | PANEL B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | PANEL B
AF0066:V+ | FU0063 | WHT | 16 | 60 | FU0063:LD | PANEL B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | PANEL B
AF0061:COM | -0V | WHT | 14 | 80 | XT0060:2 | PANEL B
AF0062:COM | -0V | WHT | 14 | 80 | XT0060:2 | PANEL B
AF0066:COM | -0V | WHT | 14 | 60 | XT0060:2 | PANEL B
AF0067:COM | -0V | WHT | 14 | 60 | XT0060:2 | PANEL B
AU0060:COM | -0V | WHT | 14 | 80 | XT0060:1 | PANEL B
AU0060:V+ | FU0060 | WHT | 14 | 80 | FU0060:LD | PANEL B
AF0061:V+ | FU0061 | WHT | 14 | 80 | FU0061:LD | PANEL B
AF0062:V+ | FU0062 | WHT | 14 | 80 | FU0062:LD | PANEL B
AF0076:12 | -007612 | WHT | 20 | 80 | XT0237:1 B2 | PANEL B | AF/AU070s
AF0075:COM | AF0075N | WHT | 16 | 60 | AF0077:COM | PANEL B
AF0075:V+ | AF0075P | WHT | 16 | 60 | AF0077:V+ | PANEL B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | PANEL B
AF0076:V+ | FU0071 | WHT | 16 | 60 | FU0071:LD | PANEL B
AF0076:COM | -0V | WHT | 14 | 60 | XT0070:1 | PANEL B
AU0070:COM | -0V | WHT | 14 | 60 | XT0070:1 | PANEL B
FU0212:LD | FU0212 | WHT | 16 | 60 | XT0233:4 | PANEL B | FU
FU0291:LI | FU0291LI | WHT | 16 | 60 | UV0291:24V(+) | PANEL B
FU1101:LI | UV0291P | WHT | 16 | 60 | UV0291:OUT1(+) | PANEL B
FU0070:LI | FU0210 | WHT | 14 | 60 | XT0233:2 | PANEL B
FU0060:LI | FU0210 | WHT | 12 | 60 | XT0233:1 | PANEL B
FU0210:LD | FU0210 | WHT | 12 | 60 | XT0233:1 | PANEL B
FU0212:LI | FU0210 | WHT | 12 | 60 | XT0233:1 | PANEL B
KA0222:A1 | -007604 | WHT | 20 | 60 | AF0076:04 | PANEL B | KA A1
KA1020:A1 | -007608 | WHT | 20 | 100 | AF0076:08 | PANEL B
KA0224:A1 | -007615 | WHT | 20 | 60 | AF0076:15 | PANEL B
KA0235:A1 | ESTOP | WHT | 20 | 60 | XT0240:4 | PANEL B
KA0241:A1 | KA0241A1 | WHT | 20 | 60 | XT0240:6 | PANEL B
KA0243:A1 | KA0243A1 | WHT | 20 | 60 | XT0240:7 | PANEL B
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | XT0240:8 | PANEL B
KA0222:A2 | -007620 | WHT | 20 | 60 | AF0076:20 | PANEL B | KA A2
KA1020:A2 | -007624 | WHT | 20 | 100 | AF0076:24 | PANEL B
KA0224:A2 | -007631 | WHT | 20 | 60 | AF0076:31 | PANEL B
KA0249:A2 | -0V | WHT | 20 | 60 | XT0240:10 | PANEL B
KA0231:A2 | KA0231A2 | WHT | 20 | 60 | AF0076:26 | PANEL B
KA0233:14 | -006102 | WHT | 20 | 100 | AF0061:02 | PANEL B | KA
KA0234:14 | -006114 | WHT | 20 | 100 | AF0061:14 | PANEL B
KA0222:14 | -006200 | WHT | 20 | 120 | AF0062:00 | PANEL B
KA0237:14 | -007600 | WHT | 20 | 60 | AF0076:00 | PANEL B
KA0237:24 | -007601 | WHT | 20 | 60 | AF0076:01 | PANEL B
KA0242:21 | -024221 | WHT | 20 | 60 | XT0237:1 T2 | PANEL B
KA0242:24 | -024822 | WHT | 20 | 60 | KA0248:22 | PANEL B
KA0243:21 | ESTOPC | WHT | 20 | 60 | XT0240:1 | PANEL B
KA0236:11 | FU0139 | WHT | 20 | 60 | KA0244:11 | PANEL B
KA0236:11 | FU0139 | WHT | 20 | 60 | XT0240:12 | PANEL B
KA0222:11 | KA022211 | WHT | 20 | 60 | KA0236:24 | PANEL B
KA0224:11 | KA022411 | WHT | 20 | 60 | XT0224:1 | PANEL B
KA0224:14 | KA022414 | WHT | 20 | 60 | XT0224:2 | PANEL B
KA0231:21 | KA023121 | WHT | 20 | 60 | KA0245:14 | PANEL B
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0231:A1 | PANEL B
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0242:11 | PANEL B
KA0236:12 | KA023612 | WHT | 20 | 60 | XT0240:13 | PANEL B
KA0235:14 | KA024114 | WHT | 20 | 60 | KA0241:14 | PANEL B
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:24 | PANEL B
KA0231:14 | KA024214 | WHT | 20 | 60 | KA0242:14 | PANEL B
KA0243:24 | KA024511 | WHT | 20 | 60 | KA0245:11 | PANEL B
KA0235:11 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | PANEL B
KA0235:11 | UA1200J21 | WHT | 20 | 80 | XT0060:3 | PANEL B
KA0248:21 | FU0212 | WHT | 16 | 60 | FU0212:LD | PANEL B
KA1020:14 | FU0211 | WHT | 14 | 60 | FU0211:LD | PANEL B
XT0236:3 | -0V | WHT | 20 | 80 | XT0240:9 | PANEL B | XT
XT0236:1 | FU0139 | WHT | 20 | 80 | XT0240:11 | PANEL B
XT0237:2 B2 | KA023612 | WHT | 20 | 80 | XT0240:13 | PANEL B
XT0236:2 | KA0241A1 | WHT | 20 | 80 | XT0240:6 | PANEL B
XT0050:3 | -0V | WHT | 12 | 60 | XT0235:3 | PANEL B
XT0070:1 | -0V | WHT | 12 | 60 | XT0235:1 | PANEL B
XT0235:1 | -0V | WHT | 12 | 60 | XT0060:1 | PANEL B
XT0050:1 | FU0210 | WHT | 12 | 60 | XT0233:3 | PANEL B

## JB72 L RAIL_S
JB72 LEFT RAIL
Project # | 4M081
Project Name
Revision | C
Controls DE | J. UNGER
Phone: | 0
Controls ME | K. MURPHY
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0123:09 | -012309 | WHT | 20 | 60 | XT0120:5 | JB72 L RAIL | AF/AU120s
AF0123:41 | -012341 | WHT | 20 | 60 | XT0120:4 | JB72 L RAIL
AF0122:COM | -0V | WHT | 20 | 60 | XT0120:3 | JB72 L RAIL
AU0120:COM | -0V | WHT | 20 | 60 | XT0120:1 | JB72 L RAIL
AF0123:COM | AU0120N | WHT | 20 | 60 | AU0120:COM | JB72 L RAIL
AF0123:V+ | AU0120P | WHT | 20 | 60 | AU0120:V+ | JB72 L RAIL
AF0121:COM | -0V | WHT | 14 | 60 | XT0120:2 | JB72 L RAIL
AU0120:V+ | FU0120 | WHT | 14 | 60 | FU0120:LD | JB72 L RAIL
AF0121:V+ | FU0121 | WHT | 14 | 60 | FU0121:LD | JB72 L RAIL
AF0122:V+ | FU0122 | WHT | 14 | 60 | FU0122:LD | JB72 L RAIL
XT0124:1 | -0V | WHT | 20 | 60 | XT0120:3 | JB72 L RAIL | FU/XT
FU0123:LD | FU0123 | WHT | 16 | 60 | XT0123:1 | JB72 L RAIL
KA2400:A1 | FU0123 | WHT | 20 | 60 | XT0123:1 | JB72 L RAIL | KA A1/A2
KA2401:A1 | FU0123 | WHT | 20 | 60 | XT0123:1 | JB72 L RAIL
KA2402:A1 | FU0123 | WHT | 20 | 60 | XT0123:1 | JB72 L RAIL
KA7610:A1 | KA7610A1 | WHT | 20 | 60 | AF0121:09 | JB72 L RAIL
KA7610:A2 | KA7610A2 | WHT | 20 | 60 | AF0121:25 | JB72 L RAIL
KA2401:21 | -0V | WHT | 20 | 60 | XT0124:1 | JB72 L RAIL | KA
KA2400:11 | KA240011 | WHT | 20 | 80 | AF0124:01 | JB72 L RAIL
KA2400:12 | KA240012 | WHT | 20 | 80 | AF0124:33 | JB72 L RAIL
KA2401:11 | KA240111 | WHT | 20 | 80 | AF0124:02 | JB72 L RAIL
KA2401:12 | KA240112 | WHT | 20 | 80 | AF0124:34 | JB72 L RAIL
KA2402:11 | KA240211 | WHT | 20 | 80 | AF0124:15 | JB72 L RAIL
KA2402:12 | KA240212 | WHT | 20 | 80 | AF0124:47 | JB72 L RAIL
KA2401:22 | KA2402A2 | WHT | 20 | 60 | KA2402:A2 | JB72 L RAIL
AF0121:01 | -012101 | WHT | 20 | 180 | KA0121:A1 | GEN | AF121s-GEN
AF0121:03 | -012103 | WHT | 20 | 180 | KA0123:A1 | GEN
AF0121:08 | -012108 | WHT | 20 | 180 | KA0128:A1 | GEN
AF0121:14 | -012146 | WHT | 20 | 180 | KA0336:11 | GEN
AF0121:17 | -012117 | WHT | 20 | 180 | KA0121:A2 | GEN
AF0121:19 | -012119 | WHT | 20 | 180 | KA0123:A2 | GEN
AF0121:24 | -012124 | WHT | 20 | 180 | KA0128:A2 | GEN
AF0121:30 | -012114 | WHT | 20 | 180 | KA4100:A2 | GEN
AF0122:00 | KA2500A1 | WHT | 20 | 180 | XT0380:25 | GEN | AF122s-GEN
AF0122:01 | KA2501A1 | WHT | 20 | 180 | XT0380:27 | GEN
AF0122:02 | KA2502A1 | WHT | 20 | 180 | XT0380:29 | GEN
AF0122:03 | KA2503A1 | WHT | 20 | 180 | XT0380:31 | GEN
AF0122:04 | KA2504A1 | WHT | 20 | 180 | XT0380:33 | GEN
AF0122:05 | KA2505A1 | WHT | 20 | 180 | XT0380:35 | GEN
AF0122:06 | KA2506A1 | WHT | 20 | 180 | XT0380:37 | GEN
AF0122:07 | KA2507A1 | WHT | 20 | 180 | XT0380:39 | GEN
AF0122:08 | KA2508A1 | WHT | 20 | 180 | XT0380:41 | GEN
AF0122:09 | KA2509A1 | WHT | 20 | 180 | XT0380:43 | GEN
AF0122:10 | KA2510A1 | WHT | 20 | 180 | XT0380:45 | GEN
AF0122:11 | KA2511A1 | WHT | 20 | 180 | XT0380:47 | GEN
AF0122:12 | KA2512A1 | WHT | 20 | 180 | XT0380:49 | GEN
AF0122:13 | KA2513A1 | WHT | 20 | 180 | XT0380:51 | GEN
AF0122:14 | KA2514A1 | WHT | 20 | 180 | XT0380:53 | GEN
AF0122:15 | KA2515A1 | WHT | 20 | 180 | XT0380:55 | GEN
AF0122:16 | KA2500A2 | WHT | 20 | 180 | XT0380:26 | GEN
AF0122:17 | KA2501A2 | WHT | 20 | 180 | XT0380:28 | GEN
AF0122:18 | KA2502A2 | WHT | 20 | 180 | XT0380:30 | GEN
AF0122:19 | KS2503A2 | WHT | 20 | 180 | XT0380:32 | GEN
AF0122:20 | KA2504A2 | WHT | 20 | 180 | XT0380:34 | GEN
AF0122:21 | KA2505A2 | WHT | 20 | 180 | XT0380:36 | GEN
AF0122:22 | KA2506A2 | WHT | 20 | 180 | XT0380:38 | GEN
AF0122:23 | KA2507A2 | WHT | 20 | 180 | XT0380:40 | GEN
AF0122:24 | KA2508A2 | WHT | 20 | 180 | XT0380:42 | GEN
AF0122:25 | KA2509A2 | WHT | 20 | 180 | XT0380:44 | GEN
AF0122:26 | KA2510A2 | WHT | 20 | 180 | XT0380:46 | GEN
AF0122:27 | KA2511A2 | WHT | 20 | 180 | XT0380:48 | GEN
AF0122:28 | KA2512A2 | WHT | 20 | 180 | XT0380:50 | GEN
AF0122:29 | KA2413A2 | WHT | 20 | 180 | XT0380:52 | GEN
AF0122:30 | KA2514A2 | WHT | 20 | 180 | XT0380:54 | GEN
AF0122:31 | KA2515A2 | WHT | 20 | 180 | XT0380:56 | GEN
AF0123:00 | -012300 | WHT | 20 | 180 | KA0330:11 | GEN | AF123s-GEN
AF0123:01 | -012301 | WHT | 20 | 180 | KA0331:11 | GEN
AF0123:02 | -012302 | WHT | 20 | 180 | KA0310:11 | GEN
AF0123:32 | -012332 | WHT | 20 | 180 | KA0330:14 | GEN
AF0123:33 | -012333 | WHT | 20 | 180 | KA0331:14 | GEN
AF0123:34 | -012334 | WHT | 20 | 180 | KA0310:14 | GEN
AF0124:00 | AT0250WC | WHT | 20 | 180 | XT0380:2 | GEN | AF124s-GEN
AF0124:03 | AT0250R3N | WHT | 20 | 180 | XT0380:8 | GEN
AF0124:04 | AT0250R4N | WHT | 20 | 180 | XT0380:10 | GEN
AF0124:05 | AT0250R5N | WHT | 20 | 180 | XT0380:12 | GEN
AF0124:06 | AT0250R6N | WHT | 20 | 180 | XT0380:14 | GEN
AF0124:07 | AT0250R7N | WHT | 20 | 180 | XT0380:16 | GEN
AF0124:08 | AT0250R8N | WHT | 20 | 180 | XT0380:18 | GEN
AF0124:09 | AT0250R9N | WHT | 20 | 180 | XT0380:20 | GEN
AF0124:10 | AT0250R10N | WHT | 20 | 180 | XT0380:22 | GEN
AF0124:11 | AT0250R11N | WHT | 20 | 180 | XT0380:24 | GEN
AF0124:32 | AT0250W2P | WHT | 20 | 180 | XT0380:1 | GEN
AF0124:35 | AT0250R3P | WHT | 20 | 180 | XT0380:7 | GEN
AF0124:36 | AT0250R4P | WHT | 20 | 180 | XT0380:9 | GEN
AF0124:37 | AT0250R5P | WHT | 20 | 180 | XT0380:11 | GEN
AF0124:38 | AT0250R6P | WHT | 20 | 180 | XT0380:13 | GEN
AF0124:39 | AT0250R7P | WHT | 20 | 180 | XT0380:15 | GEN
AF0124:40 | AT0250R8P | WHT | 20 | 180 | XT0380:17 | GEN
AF0124:41 | AT0250R9P | WHT | 20 | 180 | XT0380:19 | GEN
AF0124:42 | AT0250R10P | WHT | 20 | 180 | XT0380:21 | GEN
AF0124:43 | AT0250R11P | WHT | 20 | 180 | XT0380:23 | GEN
KA2400:A2 | AT0250R1P | WHT | 20 | 180 | XT0380:3 | GEN | KA-GEN
KA2401:A2 | AT0250R2P | WHT | 20 | 180 | XT0380:5 | GEN
XT0124:1 | -0V | WHT | 20 | 180 | XT0380:6 | GEN | FU/XT-GEN
XT0124:1 | -0V | WHT | 20 | 180 | XT0380:4 | GEN
FU0120:LI | FU0332 | WHT | 14 | 180 | XT0130:1 | GEN
XT0120:1 | -0V | WHT | 14 | 180 | XT0130:2 | GEN

## JB72 R RAIL_S
JB72 RIGHT RAIL
Project # | 4M081
Project Name
Revision | C
Controls DE | J. UNGER
Phone: | 0
Controls ME | K. MURPHY
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0181:26 | -018126 | WHT | 20 | 80 | XT0338:2 | JB72 R RAIL | AF
AF0181:COM | -0V | WHT | 16 | 80 | XT0180:2 | JB72 R RAIL
AF0182:COM | -0V | WHT | 16 | 60 | XT0180:2 | JB72 R RAIL
AU0180:COM | -0V | WHT | 16 | 60 | XT0180:1 | JB72 R RAIL
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | JB72 R RAIL
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | JB72 R RAIL
AF0182:V+ | FU0182 | WHT | 16 | 60 | FU0182:LD | JB72 R RAIL
KA0180:A1 | -018100 | WHT | 20 | 60 | AF0181:00 | JB72 R RAIL | KA A1/A2
KA0181:A1 | -018102 | WHT | 20 | 80 | AF0181:02 | JB72 R RAIL
KA0185:A1 | -018110 | WHT | 20 | 80 | AF0181:10 | JB72 R RAIL
KA0180:A2 | -018116 | WHT | 20 | 60 | AF0181:16 | JB72 R RAIL
KA0181:A2 | -018118 | WHT | 20 | 60 | AF0181:18 | JB72 R RAIL
KA0185:A2 | KA0185A2 | WHT | 20 | 60 | XT0338:1 | JB72 R RAIL
KA0185:11 | KA018511 | WHT | 20 | 200 | XT0337:13 | GEN | KA-GEN
KA0185:14 | KA0332A1 | WHT | 20 | 200 | XT0337:14 | GEN
XT0180:1 | -0V | WHT | 20 | 200 | XT0130:3 | GEN | FU/XT-GEN
FU0180:LI | FU0332 | WHT | 14 | 200 | XT0130:1 | GEN
KA0183:A1 | -007606 | WHT | 20 |  | AF0076:06 | PANEL B | MRCA
KA0182:A1 | -007614 | WHT | 20 |  | AF0076:14 | PANEL B
KA0183:A2 | -007622 | WHT | 20 |  | AF0076:22 | PANEL B
KA0182:A2 | -007630 | WHT | 20 |  | AF0076:30 | PANEL B

## GEN PNL_S
GENERATOR PANEL
JB72
Project # | 4M081
Project Name
Revision | C
Controls DE | J. UNGER
Phone: | 0
Controls ME | K. MURPHY
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0410:53 | -0V | WHT | 16 | 60 | XT0130:4 | GEN | 1444s
AF0410:54 | AF0410N | WHT | 16 | 60 | AF0420:53 | GEN
AF0410:56 | AF0410P | WHT | 16 | 60 | AF0420:55 | GEN
AF0420:54 | AF0420N | WHT | 16 | 60 | AF0440:53 | GEN
AF0420:56 | AF0420P | WHT | 16 | 60 | AF0440:55 | GEN
AF0440:54 | AF0440N | WHT | 16 | 60 | AF0450:53 | GEN
AF0440:56 | AF0440P | WHT | 16 | 60 | AF0450:55 | GEN
AF0410:55 | FU0113 | WHT | 16 | 60 | FU0113:LD | GEN
AT0140:29 FLT | KA0310A2 | WHT | 20 | 120 | KA0310:A2 | GEN | AT
AT0140:3 EX-D(-) | -0V | WHT | 16 | 120 | XT0336:4 | GEN
AT0140:48 BAT(-) | -0V | WHT | 16 | 120 | XT0336:4 | GEN
AT0140:47 BAT(+) | FU0334 | WHT | 16 | 120 | XT0335:2 | GEN
AT0140:4 EX-D(+) | KA012314 | WHT | 16 | 120 | KA0123:14 | GEN
AT0140:30 FLT | -0V | WHT | 14 | 120 | XT0336:4 | GEN
AT0140:17 VBUS-A | VBUSA | RED | 16R | 120 | XT0351:2 | GEN | AT RED
AT0140:18 VBUS-B | VBUSB | RED | 16R | 120 | XT0351:3 | GEN
AT0140:19 VBUS-C | VBUSC | RED | 16R | 120 | XT0351:5 | GEN
AT0140:13 VGEN-A | VGENA | RED | 16R | 120 | XT0351:7 | GEN
AT0140:14 VGEN-B | VGENB | RED | 16R | 120 | XT0351:9 | GEN
AT0140:15 VGEN-C | VGENC | RED | 16R | 120 | XT0351:11 | GEN
AT0140:36 I1(+) | MCTA | BLU | 12B | 120 | XT0352:1 | GEN | AT BLUE
AT0140:37 I1(-) | MCTAN | BLU | 12B | 120 | XT0352:14 | GEN
AT0140:38 I2(+) | MCTB | BLU | 12B | 120 | XT0352:2 | GEN
AT0140:39 I2(-) | MCTBN | BLU | 12B | 120 | XT0352:15 | GEN
AT0140:40 I3(+) | MCTC | BLU | 12B | 120 | XT0352:3 | GEN
AT0140:41 I3(-) | MCTCN | BLU | 12B | 120 | XT0352:16 | GEN
FU0333:LD | FU0333 | WHT | 16 | 60 | XT0335:1 | GEN | FU
FU0332:LD | FU0332 | WHT | 14 | 60 | FU0333:LI | GEN
FU0332:LD | FU0332 | WHT | 14 | 80 | XT0130:1 | GEN
FU0334:LI | FU0332 | WHT | 14 | 60 | XT0345:1 | GEN
FU0335:LI | FU0332 | WHT | 14 | 60 | FU0113:LI | GEN
FU0335:LI | FU0332 | WHT | 14 | 60 | XT0345:1 | GEN
FU0334:LD | FU0334 | WHT | 14 | 60 | XT0335:2 | GEN
FU0335:LD | FU0335 | WHT | 14 | 60 | XT0335:3 | GEN
FU0332:LI | FU0136 | WHT | 12 | 60 | XT0334:1 | GEN
KA0123:A1 | -012103 | WHT | 20 | 80 | KA0313:A1 | GEN | KA A1
KA0335:A1 | ESTOP | WHT | 20 | 60 | XT0336:1 | GEN
KA0310:A1 | FU0334 | WHT | 20 | 60 | KA0123:11 | GEN
KA0310:A1 | FU0334 | WHT | 20 | 60 | XT0335:2 | GEN
KA0330:A1 | KA0330A1 | WHT | 20 | 60 | XT0337:9 | GEN
KA0331:A1 | KA0331A1 | WHT | 20 | 60 | XT0337:11 | GEN
KA0332:A1 | KA0332A1 | WHT | 20 | 60 | XT0337:14 | GEN
KA0333:A1 | KA0333A1 | WHT | 20 | 60 | XT0337:8 | GEN
KA4100:A1 | KA033614 | WHT | 20 | 80 | KA0336:14 | GEN
KA0336:A1 | KA0231A1 | WHT | 14 | 60 | XT0334:4 | GEN
KA0123:A2 | -012119 | WHT | 20 | 80 | KA0313:A2 | GEN | KA A2
KA0330:A2 | -0V | WHT | 20 | 60 | KA0333:A2 | GEN
KA0332:A2 | -0V | WHT | 20 | 60 | XT0337:15 | GEN
KA0335:A2 | -0V | WHT | 20 | 60 | XT0336:2 | GEN
KA0336:A2 | -0V | WHT | 14 | 60 | XT0336:2 | GEN
KA0121:14 | FU0333 | WHT | 20 | 60 | XT0337:12 | GEN | KA
KA0128:14 | FU0333 | WHT | 20 | 60 | KA0335:22 | GEN
KA0128:14 | FU0333 | WHT | 20 | 60 | XT0337:7 | GEN
KA0310:24 | FU0333 | WHT | 20 | 60 | KA0335:22 | GEN
KA0128:21 | KA012821 | WHT | 20 | 60 | XT0337:1 | GEN
KA0128:24 | KA012824 | WHT | 20 | 60 | XT0337:2 | GEN
KA0121:11 | KA018511 | WHT | 20 | 60 | XT0337:13 | GEN
KA0332:11 | KA033211 | WHT | 20 | 60 | XT0337:3 | GEN
KA0332:14 | KA033214 | WHT | 20 | 60 | XT0337:4 | GEN
KA0333:11 | KA033311 | WHT | 20 | 60 | KA0335:11 | GEN
KA0333:11 | KA033311 | WHT | 20 | 60 | XT0337:5 | GEN
KA0333:14 | KA033314 | WHT | 20 | 60 | KA0335:12 | GEN
KA0333:14 | KA033314 | WHT | 20 | 60 | XT0337:6 | GEN
KA0128:11 | KA0333A1 | WHT | 20 | 60 | KA0335:21 | GEN
KA0310:21 | KA0333A1 | WHT | 20 | 60 | KA0335:21 | GEN
KA0310:21 | KA0333A1 | WHT | 20 | 60 | XT0337:8 | GEN
XT0336:3 | -0V | WHT | 20 | 60 | XT0130:2 | GEN | XT
XT0336:3 | -0V | WHT | 20 | 60 | XT0337:15 | GEN
XT0334:2 | ESTOP | WHT | 20 | 60 | XT0336:1 | GEN
XT0335:1 | FU0333 | WHT | 16 | 60 | XT0337:12 | GEN
XT0130:4 | -0V | WHT | 14 | 60 | XT0336:4 | GEN
XT0334:3 | -0V | WHT | 12 | 60 | XT0336:2 | GEN

## MEDIA CONV_S
MEDIA CONVERTER
Project # | 4M081
Project Name
Revision | C
Controls DE | J. UNGER
Phone: | 0
Controls ME | K. MURPHY
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0005:V1(-) | -0V | WHT | 16 | 60 | XT0003:2 | MEDIA | BA
BA0005:V1(+) | FU0005 | WHT | 16 | 60 | FU0005:LD | MEDIA
BA0006:V1(-) | -0V | WHT | 16 | 60 | XT0003:4 | MEDIA
BA0006:V1(+) | FU0006 | WHT | 16 | 60 | FU0006:LD | MEDIA
FU0005:LI | FU0210 | WHT | 16 | 60 | XT0003:1 | MEDIA | FU
FU0006:LI | FU0210 | WHT | 16 | 60 | XT0003:3 | MEDIA

## JB367_S
JB367
Project # | 4M081
Project Name
Revision | C
Controls DE | J. UNGER
Phone: | 0
Controls ME | K. MURPHY
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0250:54 | -0V | WHT | 20 | 100 | XT2510:5 | JB367 | AT
AT0250:56 | -0V | WHT | 20 | 100 | XT2510:7 | JB367
AT0250:5 | AT0250IN1 | WHT | 20 | 100 | KA2502:11 | JB367
AT0250:23 | AT0250IN10 | WHT | 20 | 100 | KA2511:11 | JB367
AT0250:24 | AT0250IN10C | WHT | 20 | 100 | KA2511:14 | JB367
AT0250:25 | AT0250IN11 | WHT | 20 | 100 | KA2512:11 | JB367
AT0250:26 | AT0250IN11C | WHT | 20 | 100 | KA2512:14 | JB367
AT0250:27 | AT0250IN12 | WHT | 20 | 100 | KA2513:11 | JB367
AT0250:28 | AT0250IN12C | WHT | 20 | 100 | KA2513:14 | JB367
AT0250:29 | AT0250IN13 | WHT | 20 | 100 | KA2514:11 | JB367
AT0250:30 | AT0250IN13C | WHT | 20 | 100 | KA2514:14 | JB367
AT0250:31 | AT0250IN14 | WHT | 20 | 100 | KA2515:11 | JB367
AT0250:32 | AT0250IN14C | WHT | 20 | 100 | KA2515:14 | JB367
AT0250:6 | AT0250IN1C | WHT | 20 | 100 | KA2502:14 | JB367
AT0250:7 | AT0250IN2 | WHT | 20 | 100 | KA2503:11 | JB367
AT0250:8 | AT0250IN2C | WHT | 20 | 100 | KA2503:14 | JB367
AT0250:9 | AT0250IN3 | WHT | 20 | 100 | KA2504:11 | JB367
AT0250:10 | AT0250IN3C | WHT | 20 | 100 | KA2504:14 | JB367
AT0250:11 | AT0250IN4 | WHT | 20 | 100 | KA2505:11 | JB367
AT0250:12 | AT0250IN4C | WHT | 20 | 100 | KA2505:14 | JB367
AT0250:13 | AT0250IN5 | WHT | 20 | 100 | KA2506:11 | JB367
AT0250:14 | AT0250IN5C | WHT | 20 | 100 | KA2506:14 | JB367
AT0250:15 | AT0250IN6 | WHT | 20 | 100 | KA2507:11 | JB367
AT0250:16 | AT0250IN6C | WHT | 20 | 100 | KA2507:14 | JB367
AT0250:17 | AT0250IN7 | WHT | 20 | 100 | KA2508:11 | JB367
AT0250:18 | AT0250IN7C | WHT | 20 | 100 | KA2508:14 | JB367
AT0250:19 | AT0250IN8 | WHT | 20 | 100 | KA2509:11 | JB367
AT0250:20 | AT0250IN8C | WHT | 20 | 100 | KA2509:14 | JB367
AT0250:21 | AT0250IN9 | WHT | 20 | 100 | KA2510:11 | JB367
AT0250:22 | AT0250IN9C | WHT | 20 | 100 | KA2510:14 | JB367
AT0250:72 | AT0250R10N | WHT | 20 | 100 | XT2510:23 | JB367
AT0250:71 | AT0250R10P | WHT | 20 | 100 | XT2510:22 | JB367
AT0250:74 | AT0250R11N | WHT | 20 | 100 | XT2510:25 | JB367
AT0250:73 | AT0250R11P | WHT | 20 | 100 | XT2510:24 | JB367
AT0250:53 | AT0250R1P | WHT | 20 | 100 | XT2510:4 | JB367
AT0250:55 | AT0250R2P | WHT | 20 | 100 | XT2510:6 | JB367
AT0250:58 | AT0250R3N | WHT | 20 | 100 | XT2510:9 | JB367
AT0250:57 | AT0250R3P | WHT | 20 | 100 | XT2510:8 | JB367
AT0250:60 | AT0250R4N | WHT | 20 | 100 | XT2510:11 | JB367
AT0250:59 | AT0250R4P | WHT | 20 | 100 | XT2510:10 | JB367
AT0250:62 | AT0250R5N | WHT | 20 | 100 | XT2510:13 | JB367
AT0250:61 | AT0250R5P | WHT | 20 | 100 | XT2510:12 | JB367
AT0250:64 | AT0250R6N | WHT | 20 | 100 | XT2510:15 | JB367
AT0250:63 | AT0250R6P | WHT | 20 | 100 | XT2510:14 | JB367
AT0250:66 | AT0250R7N | WHT | 20 | 100 | XT2510:17 | JB367
AT0250:65 | AT0250R7P | WHT | 20 | 100 | XT2510:16 | JB367
AT0250:68 | AT0250R8N | WHT | 20 | 100 | XT2510:19 | JB367
AT0250:67 | AT0250R8P | WHT | 20 | 100 | XT2510:18 | JB367
AT0250:70 | AT0250R9N | WHT | 20 | 100 | XT2510:21 | JB367
AT0250:69 | AT0250R9P | WHT | 20 | 100 | XT2510:20 | JB367
AT0250:1 | AT0250START | WHT | 20 | 100 | KA2500:11 | JB367
AT0250:2 | AT0250STARTC | WHT | 20 | 100 | KA2500:14 | JB367
AT0250:3 | AT0250STOP | WHT | 20 | 100 | KA2501:11 | JB367
AT0250:4 | AT0250STOPC | WHT | 20 | 100 | KA2501:14 | JB367
AT0250:50 | AT0250W1P | WHT | 20 | 100 | XT2510:1 | JB367
AT0250:52 | AT0250W2P | WHT | 20 | 100 | XT2510:3 | JB367
AT0250:51 | AT0250WC | WHT | 20 | 100 | XT2510:2 | JB367
AT0250:87 | -0V | WHT | 12 | 80 | XT2501:2 | JB367
AT0250:86 | FU0250 | WHT | 12 | 80 | FU0250:LD | JB367
AT0250:41 | VBUSA | RED | 16R | 120 | XT2552:4 | JB367 | AT RED
AT0250:42 | VBUSB | RED | 16R | 120 | XT2552:5 | JB367
AT0250:43 | VBUSC | RED | 16R | 120 | XT2552:6 | JB367
AT0250:37 | VGENA | RED | 16R | 120 | XT2552:1 | JB367
AT0250:38 | VGENB | RED | 16R | 120 | XT2552:2 | JB367
AT0250:39 | VGENC | RED | 16R | 120 | XT2552:3 | JB367
AT0250:82 | CCT1(-) | BLU | 12B | 120 | XT2551:8 | JB367 | AT BLU
AT0250:81 | CCT1(+) | BLU | 12B | 120 | XT2551:7 | JB367
AT0250:75 | MCTAN | BLU | 12B | 120 | XT2551:1 | JB367
AT0250:77 | MCTBN | BLU | 12B | 120 | XT2551:2 | JB367
AT0250:79 | MCTCN | BLU | 12B | 120 | XT2551:3 | JB367
AT0250:76 | MCTN | BLU | 12B | 120 | XT2551:4 | JB367
AT0250:78 | MCTN | BLU | 12B | 120 | XT2551:5 | JB367
AT0250:80 | MCTN | BLU | 12B | 120 | XT2551:6 | JB367
FU0250:LI | FU0332 | WHT | 14 | 60 | XT2501:1 | JB367 | FU
KA2500:A1 | KA2500A1 | WHT | 20 | 60 | XT2510:26 | JB367 | KA A1
KA2501:A1 | KA2501A1 | WHT | 20 | 60 | XT2510:28 | JB367
KA2502:A1 | KA2502A1 | WHT | 20 | 60 | XT2510:30 | JB367
KA2503:A1 | KA2503A1 | WHT | 20 | 60 | XT2510:32 | JB367
KA2504:A1 | KA2504A1 | WHT | 20 | 60 | XT2510:34 | JB367
KA2505:A1 | KA2505A1 | WHT | 20 | 60 | XT2510:36 | JB367
KA2506:A1 | KA2506A1 | WHT | 20 | 60 | XT2510:38 | JB367
KA2507:A1 | KA2507A1 | WHT | 20 | 60 | XT2510:40 | JB367
KA2508:A1 | KA2508A1 | WHT | 20 | 60 | XT2510:42 | JB367
KA2509:A1 | KA2509A1 | WHT | 20 | 60 | XT2510:44 | JB367
KA2510:A1 | KA2510A1 | WHT | 20 | 60 | XT2510:46 | JB367
KA2511:A1 | KA2511A1 | WHT | 20 | 60 | XT2510:48 | JB367
KA2512:A1 | KA2512A1 | WHT | 20 | 60 | XT2510:50 | JB367
KA2513:A1 | KA2513A1 | WHT | 20 | 60 | XT2510:52 | JB367
KA2514:A1 | KA2514A1 | WHT | 20 | 60 | XT2510:54 | JB367
KA2515:A1 | KA2515A1 | WHT | 20 | 60 | XT2510:56 | JB367
KA2513:A2 | KA2413A2 | WHT | 20 | 60 | XT2510:53 | JB367 | KA A2
KA2500:A2 | KA2500A2 | WHT | 20 | 60 | XT2510:27 | JB367
KA2501:A2 | KA2501A2 | WHT | 20 | 60 | XT2510:29 | JB367
KA2502:A2 | KA2502A2 | WHT | 20 | 60 | XT2510:31 | JB367
KA2504:A2 | KA2504A2 | WHT | 20 | 60 | XT2510:35 | JB367
KA2505:A2 | KA2505A2 | WHT | 20 | 60 | XT2510:37 | JB367
KA2506:A2 | KA2506A2 | WHT | 20 | 60 | XT2510:39 | JB367
KA2507:A2 | KA2507A2 | WHT | 20 | 60 | XT2510:41 | JB367
KA2508:A2 | KA2508A2 | WHT | 20 | 60 | XT2510:43 | JB367
KA2509:A2 | KA2509A2 | WHT | 20 | 60 | XT2510:45 | JB367
KA2510:A2 | KA2510A2 | WHT | 20 | 60 | XT2510:47 | JB367
KA2511:A2 | KA2511A2 | WHT | 20 | 60 | XT2510:49 | JB367
KA2512:A2 | KA2512A2 | WHT | 20 | 60 | XT2510:51 | JB367
KA2514:A2 | KA2514A2 | WHT | 20 | 60 | XT2510:55 | JB367
KA2515:A2 | KA2515A2 | WHT | 20 | 60 | XT2510:57 | JB367
KA2503:A2 | KS2503A2 | WHT | 20 | 60 | XT2510:33 | JB367

## Bundle Tag Info
SR-C70
4M081
C.1
JB70 | JB70 R RAIL | PLC | A | B | JB72 L RAIL | JB72 R RAIL | GEN | MEDIA CONV | JB367 | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT1100 | FU | BA | UJ | UA | AF/AU120s | AF | 1444s | BA | AT
BA0014 |  | ATFU | PC0470 | BA | FU/XT | KA A1/A2 | AT | FU | AT RED
SA0471 |  | UV-A | AU | FU | KA A1/A2 | KA-GEN | AT RED |  | AT BLU
SA0472 |  | FU/XT-B | AF | KA A1 | KA | FU/XT-GEN | AT BLUE |  | FU
SA0473 |  |  | KA A1 | KA A2 | AF121s-GEN |  | FU |  | KA A1
SB0471 |  |  | KA A2 | KA | AF122s-GEN |  | KA A1 |  | KA A2
SB0472 |  |  | KA | XT | AF123s-GEN |  | KA A2
SB0473 |  |  | KT R/S |  | AF124s-GEN |  | KA
SB0474 |  |  | KT L/S |  | KA-GEN |  | XT
SH0470 |  |  | XT/FU |  | FU/XT-GEN
SH0471 |  |  | AF-B
SH0472 |  |  | KA-B
KT-B
XT-B

## Bundle Tags2
JB70 | JB70 R RAIL | PLC | A | B | JB72 L RAIL | JB72 R RAIL | GEN | MEDIA CONV | JB367
SR-C70 4M081 C.1 JB70 AT1100 | SR-C70 4M081 C.1 JB70 R RAIL FU | SR-C70 4M081 C.1 PLC BA | SR-C70 4M081 C.1 A UJ | SR-C70 4M081 C.1 B UA | SR-C70 4M081 C.1 JB72 L RAIL AF/AU120s | SR-C70 4M081 C.1 JB72 R RAIL AF | SR-C70 4M081 C.1 GEN 1444s | SR-C70 4M081 C.1 MEDIA CONV BA | SR-C70 4M081 C.1 JB367 AT
SR-C70 4M081 C.1 JB70 BA0014 |  | SR-C70 4M081 C.1 PLC ATFU | SR-C70 4M081 C.1 A PC0470 | SR-C70 4M081 C.1 B BA | SR-C70 4M081 C.1 JB72 L RAIL FU/XT | SR-C70 4M081 C.1 JB72 R RAIL KA A1/A2 | SR-C70 4M081 C.1 GEN AT | SR-C70 4M081 C.1 MEDIA CONV FU | SR-C70 4M081 C.1 JB367 AT RED
SR-C70 4M081 C.1 JB70 SA0471 |  | SR-C70 4M081 C.1 PLC UV-A | SR-C70 4M081 C.1 A AU | SR-C70 4M081 C.1 B FU | SR-C70 4M081 C.1 JB72 L RAIL KA A1/A2 | SR-C70 4M081 C.1 JB72 R RAIL KA-GEN | SR-C70 4M081 C.1 GEN AT RED |  | SR-C70 4M081 C.1 JB367 AT BLU
SR-C70 4M081 C.1 JB70 SA0472 |  | SR-C70 4M081 C.1 PLC FU/XT-B | SR-C70 4M081 C.1 A AF | SR-C70 4M081 C.1 B KA A1 | SR-C70 4M081 C.1 JB72 L RAIL KA | SR-C70 4M081 C.1 JB72 R RAIL FU/XT-GEN | SR-C70 4M081 C.1 GEN AT BLUE |  | SR-C70 4M081 C.1 JB367 FU
SR-C70 4M081 C.1 JB70 SA0473 |  |  | SR-C70 4M081 C.1 A KA A1 | SR-C70 4M081 C.1 B KA A2 | SR-C70 4M081 C.1 JB72 L RAIL AF121s-GEN |  | SR-C70 4M081 C.1 GEN FU |  | SR-C70 4M081 C.1 JB367 KA A1
SR-C70 4M081 C.1 JB70 SB0471 |  |  | SR-C70 4M081 C.1 A KA A2 | SR-C70 4M081 C.1 B KA | SR-C70 4M081 C.1 JB72 L RAIL AF122s-GEN |  | SR-C70 4M081 C.1 GEN KA A1 |  | SR-C70 4M081 C.1 JB367 KA A2
SR-C70 4M081 C.1 JB70 SB0472 |  |  | SR-C70 4M081 C.1 A KA | SR-C70 4M081 C.1 B XT | SR-C70 4M081 C.1 JB72 L RAIL AF123s-GEN |  | SR-C70 4M081 C.1 GEN KA A2
SR-C70 4M081 C.1 JB70 SB0473 |  |  | SR-C70 4M081 C.1 A KT R/S |  | SR-C70 4M081 C.1 JB72 L RAIL AF124s-GEN |  | SR-C70 4M081 C.1 GEN KA
SR-C70 4M081 C.1 JB70 SB0474 |  |  | SR-C70 4M081 C.1 A KT L/S |  | SR-C70 4M081 C.1 JB72 L RAIL KA-GEN |  | SR-C70 4M081 C.1 GEN XT
SR-C70 4M081 C.1 JB70 SH0470 |  |  | SR-C70 4M081 C.1 A XT/FU |  | SR-C70 4M081 C.1 JB72 L RAIL FU/XT-GEN
SR-C70 4M081 C.1 JB70 SH0471 |  |  | SR-C70 4M081 C.1 A AF-B
SR-C70 4M081 C.1 JB70 SH0472 |  |  | SR-C70 4M081 C.1 A KA-B
SR-C70 4M081 C.1 A KT-B
SR-C70 4M081 C.1 A XT-B

## ALL
ALL
SR-C70 4M081 C.1 JB70 AT1100
SR-C70 4M081 C.1 JB70 BA0014
SR-C70 4M081 C.1 JB70 SA0471
SR-C70 4M081 C.1 JB70 SA0472
SR-C70 4M081 C.1 JB70 SA0473
SR-C70 4M081 C.1 JB70 SB0471
SR-C70 4M081 C.1 JB70 SB0472
SR-C70 4M081 C.1 JB70 SB0473
SR-C70 4M081 C.1 JB70 SB0474
SR-C70 4M081 C.1 JB70 SH0470
SR-C70 4M081 C.1 JB70 SH0471
SR-C70 4M081 C.1 JB70 SH0472
SR-C70 4M081 C.1 JB70 R RAIL FU
SR-C70 4M081 C.1 PLC BA
SR-C70 4M081 C.1 PLC ATFU
SR-C70 4M081 C.1 PLC UV-A
SR-C70 4M081 C.1 PLC FU/XT-B
SR-C70 4M081 C.1 A UJ
SR-C70 4M081 C.1 A PC0470
SR-C70 4M081 C.1 A AU
SR-C70 4M081 C.1 A AF
SR-C70 4M081 C.1 A KA A1
SR-C70 4M081 C.1 A KA A2
SR-C70 4M081 C.1 A KA
SR-C70 4M081 C.1 A KT R/S
SR-C70 4M081 C.1 A KT L/S
SR-C70 4M081 C.1 A XT/FU
SR-C70 4M081 C.1 A AF-B
SR-C70 4M081 C.1 A KA-B
SR-C70 4M081 C.1 A KT-B
SR-C70 4M081 C.1 A XT-B
SR-C70 4M081 C.1 B UA
SR-C70 4M081 C.1 B BA
SR-C70 4M081 C.1 B FU
SR-C70 4M081 C.1 B KA A1
SR-C70 4M081 C.1 B KA A2
SR-C70 4M081 C.1 B KA
SR-C70 4M081 C.1 B XT
SR-C70 4M081 C.1 JB72 L RAIL AF/AU120s
SR-C70 4M081 C.1 JB72 L RAIL FU/XT
SR-C70 4M081 C.1 JB72 L RAIL KA A1/A2
SR-C70 4M081 C.1 JB72 L RAIL KA
SR-C70 4M081 C.1 JB72 L RAIL AF121s-GEN
SR-C70 4M081 C.1 JB72 L RAIL AF122s-GEN
SR-C70 4M081 C.1 JB72 L RAIL AF123s-GEN
SR-C70 4M081 C.1 JB72 L RAIL AF124s-GEN
SR-C70 4M081 C.1 JB72 L RAIL KA-GEN
SR-C70 4M081 C.1 JB72 L RAIL FU/XT-GEN
SR-C70 4M081 C.1 JB72 R RAIL AF
SR-C70 4M081 C.1 JB72 R RAIL KA A1/A2
SR-C70 4M081 C.1 JB72 R RAIL KA-GEN
SR-C70 4M081 C.1 JB72 R RAIL FU/XT-GEN
SR-C70 4M081 C.1 GEN 1444s
SR-C70 4M081 C.1 GEN AT
SR-C70 4M081 C.1 GEN AT RED
SR-C70 4M081 C.1 GEN AT BLUE
SR-C70 4M081 C.1 GEN FU
SR-C70 4M081 C.1 GEN KA A1
SR-C70 4M081 C.1 GEN KA A2
SR-C70 4M081 C.1 GEN KA
SR-C70 4M081 C.1 GEN XT
SR-C70 4M081 C.1 MEDIA CONV BA
SR-C70 4M081 C.1 MEDIA CONV FU
SR-C70 4M081 C.1 JB367 AT
SR-C70 4M081 C.1 JB367 AT RED
SR-C70 4M081 C.1 JB367 AT BLU
SR-C70 4M081 C.1 JB367 FU
SR-C70 4M081 C.1 JB367 KA A1
SR-C70 4M081 C.1 JB367 KA A2