## JB70 DOOR_S
CONTROL,JB70;TT6
DOOR
Project # | 4M082
Project Name | STEEL REEF BURKE LLC
Revision | C
Controls DE | J. UNGER
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:NEG | -0V | WHT | 14 | 180 | XT0111:22 | JB70 RIGHT RAIL | AT1100
AT1100:POS | FU1100 | WHT | 14 | 200 | FU1100:LD | B
SA0471:B1-13 | SA0471B113 | WHT | 20 | 240 | AF0087:40 | A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 240 | AF0087:08 | A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 240 | AF0087:39 | A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 240 | AF0087:07 | A
SA0472:B1-13 | SA0472B113 | WHT | 20 | 240 | AF0091:47 | A | SA0472
SA0472:B1-14 | SA0472B114 | WHT | 20 | 240 | AF0091:15 | A
SA0472:B2-13 | SA0472B213 | WHT | 20 | 240 | AF0091:46 | A
SA0472:B2-14 | SA0472B214 | WHT | 20 | 240 | AF0091:14 | A
SA0473:11 | SA047311 | WHT | 20 | 240 | AF0087:37 | A | SA0473
SA0473:12 | SA047312 | WHT | 20 | 240 | AF0087:05 | A
SA0473:13 | SA047313 | WHT | 20 | 240 | AF0087:38 | A
SA0473:14 | SA047314 | WHT | 20 | 240 | AF0087:06 | A
SB0471:11 | SB047111 | WHT | 20 | 240 | AF0087:34 | A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 240 | AF0087:02 | A
SB0472:B1-12 | ESTOPA | WHT | 20 | 180 | XT0111:20 | JB70 RIGHT RAIL | SB0472
SB0472:B1-11 | ESTOPB | WHT | 20 | 180 | XT0111:19 | JB70 RIGHT RAIL
SB0472:B2-11 | SB0472B211 | WHT | 20 | 240 | AF0081:36 | A
SB0472:B2-12 | SB0472B212 | WHT | 20 | 240 | AF0081:04 | A
SB0473:13 | SB047313 | WHT | 20 | 240 | AF0087:35 | A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 240 | AF0087:03 | A
SB0474:13 | SB047413 | WHT | 20 | 240 | AF0087:36 | A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 240 | AF0087:04 | A
SH0470:11 | SH047011 | WHT | 20 | 180 | XT0111:7 | JB70 RIGHT RAIL | SH0470
SH0470:12 | SH047012 | WHT | 20 | 180 | XT0111:8 | JB70 RIGHT RAIL
SH0470:13 | SH047013 | WHT | 20 | 180 | XT0111:9 | JB70 RIGHT RAIL
SH0470:14 | SH047014 | WHT | 20 | 180 | XT0111:10 | JB70 RIGHT RAIL
SH0470:X1 | SH0470X1 | WHT | 20 | 180 | XT0111:12 | JB70 RIGHT RAIL
SH0470:X2 | SH0470X2 | WHT | 20 | 180 | XT0111:11 | JB70 RIGHT RAIL
SH0471:11 | SH047111 | WHT | 20 | 180 | XT0111:1 | JB70 RIGHT RAIL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 180 | XT0111:2 | JB70 RIGHT RAIL
SH0471:13 | SH047113 | WHT | 20 | 180 | XT0111:3 | JB70 RIGHT RAIL
SH0471:14 | SH047114 | WHT | 20 | 180 | XT0111:4 | JB70 RIGHT RAIL
SH0471:X1 | SH0471X1 | WHT | 20 | 180 | XT0111:6 | JB70 RIGHT RAIL
SH0471:X2 | SH0471X2 | WHT | 20 | 180 | XT0111:5 | JB70 RIGHT RAIL
SH0472:13 | FU0139 | WHT | 20 | 180 | XT0111:15 | JB70 RIGHT RAIL | SH0472
SH0472:14 | KA0241A1 | WHT | 20 | 180 | XT0111:16 | JB70 RIGHT RAIL
SH0472:11 | SH047211 | WHT | 20 | 180 | XT0111:13 | JB70 RIGHT RAIL
SH0472:12 | SH047212 | WHT | 20 | 180 | XT0111:14 | JB70 RIGHT RAIL
SH0472:X1 | SH0472X1 | WHT | 20 | 180 | XT0111:18 | JB70 RIGHT RAIL
SH0472:X2 | SH0472X2 | WHT | 20 | 180 | XT0111:17 | JB70 RIGHT RAIL

## JB70 R RAIL_S
JB70 RIGHT RAIL
Project # | 4M082
Project Name | STEEL REEF BURKE LLC
Revision | C
Controls DE | J. UNGER
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
XT0111:20 | ESTOPA | WHT | 20 | 200 | XT0089:4 | A | XT
XT0111:19 | ESTOPB | WHT | 20 | 200 | XT0089:3 | A
XT0111:15 | FU0139 | WHT | 20 | 200 | XT0081:6 | A
XT0111:24 | HA047201 | WHT | 20 | 200 | AF0092:28 | A
XT0111:23 | HA047202 | WHT | 20 | 200 | AF0092:12 | A
XT0111:16 | KA0241A1 | WHT | 20 | 200 | XT0081:7 | A
XT0111:7 | SH047011 | WHT | 20 | 200 | AF0087:33 | A
XT0111:8 | SH047012 | WHT | 20 | 200 | AF0087:01 | A
XT0111:12 | SH0470X1 | WHT | 20 | 200 | AF0093:22 | A
XT0111:11 | SH0470X2 | WHT | 20 | 200 | AF0093:06 | A
XT0111:3 | SH047113 | WHT | 20 | 200 | AF0087:32 | A
XT0111:4 | SH047114 | WHT | 20 | 200 | AF0087:00 | A
XT0111:6 | SH0471X1 | WHT | 20 | 200 | AF0093:31 | A
XT0111:5 | SH0471X2 | WHT | 20 | 200 | AF0093:15 | A
XT0111:18 | SH0472X1 | WHT | 20 | 200 | AF0092:29 | A
XT0111:17 | SH0472X2 | WHT | 20 | 200 | AF0092:13 | A
XT0111:17 | SH0472X2 | WHT | 20 | 200 | KA0240:21 | A
XT0111:22 | -0V | WHT | 14 | 200 | XT0003:6 | A
XT0111:21 | FU0136 | WHT | 14 | 200 | XT0002:6 | A
XT0111:21 | FU0136 | WHT | 16 | 180 | FU0291:LI | B | XT-B
XT0111:21 | FU0136 | WHT | 16 | 180 | FU1100:LI | B
XT0111:22 | -0V | WHT | 14 | 180 | UV0291:24V(-) | B

## PLC_S
JB70 PLC PANEL
Project # | 4M082
Project Name | STEEL REEF BURKE LLC
Revision | C
Controls DE | J. UNGER
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0001:V1(+) | FU0021 | WHT | 16 | 60 | FU0021:LD | PLC | BA
BA0002:V1(+) | FU0022 | WHT | 16 | 60 | FU0022:LD | PLC
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | PLC | AT
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
FU0010:LD | FU0010 | WHT | 14 | 60 | UV0600:(+) | PLC | FU
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
UV0600:(-) | -0V | WHT | 14 | 80 | XT0003:4 | A | FU/UV-A
FU0010:LI | FU0136 | WHT | 14 | 80 | XT0002:4 | A
BA0001:V1(-) | -0V | WHT | 16 | 80 | XT0051:5 | B | BA-B
BA0002:V1(-) | -0V | WHT | 16 | 80 | XT0051:6 | B
FU0021:LI | FU0136 | WHT | 16 | 80 | XT0051:1 | B | FU/XT-B
FU0022:LI | FU0136 | WHT | 16 | 80 | XT0051:2 | B
FU0680:LI | FU0136 | WHT | 16 | 80 | XT0051:4 | B
XT0680:2 | -0V | WHT | 14 | 80 | XT0051:8 | B

## A_S
JB70 PANEL A
Project # | 4M082
Project Name | STEEL REEF BURKE LLC
Revision | C
Controls DE | J. UNGER
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0086:12 | FT21082 | WHT | 20 | 60 | XT0050:2 | A | AF/AU080s
AF0081:00 | UA1200J21 | WHT | 20 | 80 | XT0089:20 | A
AF0086:28 | -0V | WHT | 16 | 60 | XT0050:3 | A
AU0080:COM | -0V | WHT | 16 | 60 | XT0080:1 | A
AF0083:COM | AF0083N | WHT | 16 | 60 | AF0084:COM | A
AF0083:V+ | AF0083P | WHT | 16 | 60 | AF0084:V+ | A
AF0086:60 | FT2108S | WHT | 16 | 60 | XT0050:4 | A
AU0080:V+ | FU0081 | WHT | 16 | 60 | FU0081:LD | A
AF0094:05 | -0V | WHT | 20 | 80 | XT0082:5 | A | AF/AU090s
AF0094:07 | -0V | WHT | 20 | 80 | XT0082:5 | A
AF0092:COM | -0V | WHT | 16 | 80 | XT0080:2 | A
AF0093:COM | -0V | WHT | 16 | 80 | XT0080:3 | A
AF0095:COM | -0V | WHT | 16 | 80 | XT0080:4 | A
AU0090:COM | -0V | WHT | 16 | 60 | XT0080:2 | A
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | A
AF0091:V+ | AF0091P | WHT | 16 | 60 | AF0094:V+ | A
AU0090:V+ | FU0090 | WHT | 16 | 60 | FU0090:LD | A
AF0092:V+ | FU0091 | WHT | 16 | 60 | FU0091:LD | A
AF0093:V+ | FU0092 | WHT | 16 | 60 | FU0092:LD | A
AF0095:V+ | FU0093 | WHT | 16 | 60 | FU0093:LD | A
FU0139:LD | FU0139 | WHT | 16 | 60 | XT0081:1 | A | FU
FU0387:LD | FU0387 | WHT | 16 | 60 | XT0089:17 | A
FU0389:LD | FU0389 | WHT | 16 | 60 | XT0089:21 | A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0080:LD | A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0090:LI | A
FU0137:LI | FU0136 | WHT | 12 | 80 | XT0002:2 | A
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0137:LD | A
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0139:LI | A
KA3330:A1 | -009201 | WHT | 20 | 60 | AF0092:01 | A | KA A1
KA3331:A1 | -009203 | WHT | 20 | 60 | AF0092:03 | A
KA0239:A1 | ESTOP | WHT | 20 | 60 | KA0240:A1 | A
KA0130:A1 | KA0130A1 | WHT | 20 | 80 | AF0081:35 | A
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | KA0130:11 | A
KA0132:A1 | KA0131A1 | WHT | 20 | 60 | KA0141:A1 | A
KA0141:A1 | KA0131A1 | WHT | 20 | 60 | KA0230:A1 | A
KA0230:A1 | KA0131A1 | WHT | 20 | 60 | KA0231:A1 | A
KA0231:A1 | KA0131A1 | WHT | 20 | 60 | KA0232:A1 | A
KA0131:A1 | KA0131A1 | WHT | 20 | 60 | KA0242:14 | A
KA0133:A1 | KA0133A1 | WHT | 20 | 60 | AF0092:02 | A
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0091:12 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 60 | KA0131:11 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 80 | XT0089:23 | A
KA0138:A1 | KA0138A1 | WHT | 20 | 60 | KA0132:21 | A
KA0241:A1 | KA0241A1 | WHT | 20 | 80 | XT0081:7 | A
KA2160:A1 | KA2160A1 | WHT | 20 | 60 | AF0092:04 | A
KA2161:A1 | KA2161A1 | WHT | 20 | 60 | AF0092:07 | A
KA3103:A1 | KA3103A1 | WHT | 20 | 60 | AF0092:08 | A
KA0243:A1 | KA9982C | WHT | 20 | 60 | XT0089:10 | A
KA0245:A1 | KA9984C | WHT | 20 | 60 | XT0089:11 | A
KA0136:A1 | PS32002 | WHT | 20 | 60 | XT0089:14 | A
KA3330:A2 | -009217 | WHT | 20 | 60 | AF0092:17 | A | KA A2
KA3331:A2 | -009219 | WHT | 20 | 60 | AF0092:19 | A
KA0133:A2 | -0V | WHT | 20 | 60 | KA0136:A2 | A
KA0135:A2 | -0V | WHT | 20 | 80 | KA0137:A2 | A
KA0136:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | A
KA0239:A2 | -0V | WHT | 20 | 60 | KA0240:A2 | A
KA0241:A2 | -0V | WHT | 20 | 80 | XT0080:8 | A
KA0243:A2 | -0V | WHT | 20 | 80 | XT0080:7 | A
KA0131:A2 | KA0131A2 | WHT | 20 | 80 | AF0081:24 | A
KA0132:A2 | KA0131A2 | WHT | 20 | 60 | KA0141:A2 | A
KA0141:A2 | KA0131A2 | WHT | 20 | 60 | KA0230:A2 | A
KA0230:A2 | KA0131A2 | WHT | 20 | 60 | KA0231:A2 | A
KA0231:A2 | KA0131A2 | WHT | 20 | 60 | KA0232:A2 | A
KA2160:A2 | KA2160A2 | WHT | 20 | 60 | AF0092:20 | A
KA2161:A2 | KA2161A2 | WHT | 20 | 60 | AF0092:23 | A
KA3103:A2 | KA3103A2 | WHT | 20 | 60 | AF0092:24 | A
KA0243:24 | ESTOPD | WHT | 20 |  | XT0089:1 | A | KA
KA0132:11 | FU0139 | WHT | 20 |  | KA0133:11 | A
KA0132:11 | FU0139 | WHT | 20 |  | XT0081:1 | A
KA0134:11 | FU0139 | WHT | 20 |  | KA0136:11 | A
KA0137:21 | FU0139 | WHT | 20 |  | KA0244:11 | A
KA0236:11 | FU0139 | WHT | 20 |  | XT0081:5 | A
KA0244:11 | FU0139 | WHT | 20 |  | XT0081:2 | A
KA0130:14 | KA013014 | WHT | 20 |  | AF0081:03 | A
KA0131:12 | KA013112 | WHT | 20 |  | KA0137:24 | A
KA0137:24 | KA013112 | WHT | 20 |  | AF0087:09 | A
KA0131:14 | KA013114 | WHT | 20 |  | AF0092:06 | A
KA0242:14 | KA0131A1 | WHT | 20 |  | KA0231:14 | A
KA0132:24 | KA013224 | WHT | 20 |  | KA0134:14 | A
KA0136:21 | KA013621 | WHT | 20 |  | AF0087:43 | A
KA0136:24 | KA013624 | WHT | 20 |  | AF0087:11 | A
KA0136:14 | KA013821 | WHT | 20 |  | KA0138:21 | A
KA0141:11 | KA014111 | WHT | 20 |  | AF0091:39 | A
KA0141:14 | KA014114 | WHT | 20 |  | AF0091:07 | A
KA0141:24 | KA014124 | WHT | 20 |  | AF0081:40 | A
KA0141:24 | KA014124 | WHT | 20 |  | KA0241:24 | A
KA0231:24 | KA023124 | WHT | 20 |  | KA0245:21 | A
KA0239:11 | KA023911 | WHT | 20 |  | AF0081:41 | A
KA0239:14 | KA023914 | WHT | 20 |  | AF0081:09 | A
KA0240:22 | KA024022 | WHT | 20 |  | AF0092:45 | A
KA0236:24 | KA024114 | WHT | 20 |  | KA0241:14 | A
KA0241:14 | KA024114 | WHT | 20 |  | KA0231:21 | A
KA0242:21 | KA024221 | WHT | 20 |  | XT0237:1 T2 | A
KA0243:11 | KA024311 | WHT | 20 |  | AF0081:33 | A
KA0243:14 | KA024314 | WHT | 20 |  | AF0081:01 | A
KA0245:11 | KA024511 | WHT | 20 |  | AF0081:34 | A
KA0245:14 | KA024514 | WHT | 20 |  | AF0081:02 | A
KA0243:21 | KA024524 | WHT | 20 |  | KA0245:24 | A
KA0138:11 | KM3170EP | WHT | 20 |  | XT0081:8 | A
KA0132:12 | KT014315 | WHT | 20 |  | KA0133:12 | A
KA0242:11 | KT014618 | WHT | 20 |  | KA0231:11 | A
KA0141:21 | KT0146A1 | WHT | 20 |  | KA0241:21 | A
KA0240:11 | PS32004 | WHT | 20 |  | XT0089:15 | A
KA0236:21 | UA1200J21 | WHT | 20 |  | KA0241:11 | A
KA0241:11 | UA1200J21 | WHT | 20 |  | XT0089:20 | A
KA0240:14 | UF1300 | WHT | 20 |  | XT0084:1 | A
KA0138:14 | FU0388 | WHT | 16 |  | FU0388:LD | A
KA0239:22 | KA024224 | WHT | 16 |  | KA0242:24 | A
KT0140:A2 | -0V | WHT | 20 | 80 | XT0080:5 | A | KT L/S
KT0142:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | A
KT0143:A2 | -0V | WHT | 20 | 60 | KA0134:A2 | A
KT0143:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | A
KT0144:A2 | -0V | WHT | 20 | 60 | KA0133:A2 | A
KT0145:A2 | -0V | WHT | 20 | 80 | KA0135:A2 | A
KT0145:A2 | -0V | WHT | 20 | 80 | XT0080:6 | A
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0132:22 | A
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0137:14 | A
KT0144:18 | KA013222 | WHT | 20 | 60 | KA0137:14 | A
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KA0137:A1 | A
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KT0142:18 | A
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | A
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | A
KT0146:18 | KT014618 | WHT | 20 | 80 | AF0081:08 | A
KT0146:18 | KT014618 | WHT | 20 | 60 | KA0242:11 | A
KT0140:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | A | KT R/S
KT0142:15 | FU0139 | WHT | 20 | 60 | KA0137:21 | A
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0145:15 | A
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0134:11 | A
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | A
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0133:11 | A
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0136:11 | A
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | A
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0143:15 | A
KT0142:A1 | KT014315 | WHT | 20 | 60 | KA0132:12 | A
KT0144:B1 | KT0144B1 | WHT | 20 | 60 | KA0138:24 | A
KT0145:A1 | KT0145A1 | WHT | 20 | 60 | KA0244:12 | A
KT0146:A1 | KT0146A1 | WHT | 20 | 60 | KA0141:21 | A
UA1200:J1-9 | -0V | WHT | 20 | 100 | XT0089:22 | A | UA
UA1200:J1-10 | FU0389 | WHT | 20 | 100 | XT0089:21 | A
UA1200:J2-2 | FU0389 | WHT | 20 | 100 | XT0089:21 | A
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | A
UA1200:J1-5 | UA1200J15 | WHT | 20 | 80 | XT0237:1 B1 | A
UA1200:J2-1 | UA1200J21 | WHT | 20 | 100 | XT0089:20 | A
UA1200:J2-6 | UA1200J26 | WHT | 20 | 100 | KA0130:A2 | A
UA1200:J2-7 | UA1200J27 | WHT | 20 | 80 | AF0081:19 | A
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 80 | AF0094:06 | A | UJ
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0091:41 | A
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0091:09 | A
UJ0131:VIN | UJ0131VIN | WHT | 20 | 80 | AF0094:04 | A
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | A
XT0082:2 | -0V | WHT | 20 | 60 | XT0080:5 | A | XT
XT0082:3 | -0V | WHT | 20 | 60 | XT0089:19 | A
XT0081:3 | FU0139 | WHT | 20 | 60 | XT0089:12 | A
XT0089:13 | FU0139 | WHT | 20 | 60 | XT0081:4 | A
XT0082:4 | -0V | WHT | 16 | 80 | XT0089:22 | A
XT0050:3 | -0V | WHT | 14 | 60 | XT0003:5 | A
XT0080:1 | -0V | WHT | 14 | 80 | XT0082:2 | A
XT0050:1 | FU0136 | WHT | 14 | 60 | XT0002:5 | A
XT0003:2 | -0V | WHT | 12 | 60 | XT0082:1 | A
AF0093:12 | -009312 | WHT | 20 | 160 | PC0470:INP_A | B | AF-B
AF0093:28 | -009328 | WHT | 20 | 160 | PC0470:-PWR | B
AF0093:44 | -009344 | WHT | 20 | 160 | PC0470:+PWR | B
AF0095:02 | -009502 | WHT | 20 | 160 | KA0221:14 | B
KA0236:A1 | ESTOP | WHT | 20 | 160 | KA0235:A1 | B | KA-B
KA0236:A1 | ESTOP | WHT | 20 | 160 | KA0237:A1 | B
KA0239:A1 | ESTOP | WHT | 20 | 160 | KA0237:A1 | B
KA0240:A1 | ESTOP | WHT | 20 | 160 | KA0251:A1 | B
KA0232:A1 | KA0131A1 | WHT | 20 | 160 | KA0233:A1 | B
KA0134:A1 | KA0134A1 | WHT | 20 | 160 | AF0067:12 | B
KA0236:A2 | -0V | WHT | 20 | 160 | KA0237:A2 | B
KA0236:A2 | -0V | WHT | 20 | 160 | KA0235:A2 | B
KA0239:A2 | -0V | WHT | 20 | 160 | KA0237:A2 | B
KA0240:A2 | -0V | WHT | 20 | 160 | KA0251:A2 | B
KA0242:A2 | -0V | WHT | 20 | 160 | KA0235:A2 | B
KA0232:A2 | KA0131A2 | WHT | 20 | 160 | KA0233:A2 | B
KA0239:21 | FU0212 | WHT | 16 | 160 | FU0212:LD | B
KT0146:15 | KT014615 | WHT | 20 | 160 | AF0076:10 | B | KT-B
KT0146:A2 | KT0146A2 | WHT | 20 | 160 | AF0076:29 | B
KT0146:B1 | KT0146B1 | WHT | 20 | 160 | AF0076:13 | B
UA1200:J1-4 | UA1200J14 | WHT | 20 | 180 | AF0076:11 | B | UA-B
XT0089:18 | -007405 | WHT | 20 | 160 | AF0074:05 | B | XT-B
XT0237:1 B2 | -007612 | WHT | 20 | 160 | AF0076:12 | B
XT0089:19 | -0V | WHT | 20 | 160 | AF0074:21 | B
XT0089:5 | ESTOP | WHT | 20 | 160 | KA0235:A1 | B
XT0089:6 | ESTOP | WHT | 20 | 160 | KA0251:A1 | B
XT0089:8 | KA0131A1 | WHT | 20 | 160 | KA0234:A1 | B
XT0003:3 | -0V | WHT | 14 | 160 | XT0401:1 | B
XT0003:7 | -0V | WHT | 14 | 160 | XT0051:5 | B
XT0002:1 | FU0136 | WHT | 14 | 160 | FU0210:LI | B
XT0002:3 | FU0136 | WHT | 14 | 160 | FU0410:LI | B
XT0002:7 | FU0136 | WHT | 14 | 160 | XT0051:1 | B
XT0003:1 | -0V | WHT | 12 | 160 | XT0062:1 | B

## B_S
JB70 PANEL B
Project # | 4M082
Project Name | STEEL REEF BURKE LLC
Revision | C
Controls DE | J. UNGER
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0061:COM | -0V | WHT | 16 | 100 | XT0060:2 | B | AF/AU060s
AF0062:COM | -0V | WHT | 16 | 100 | XT0060:3 | B
AF0067:COM | -0V | WHT | 16 | 80 | XT0060:3 | B
AU0060:COM | -0V | WHT | 16 | 100 | XT0060:2 | B
AF0066:COM | AF0066N | WHT | 16 | 60 | AF0068:COM | B
AF0066:V+ | AF0066P | WHT | 16 | 60 | AF0068:V+ | B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | B
AU0060:V+ | FU0061 | WHT | 16 | 80 | FU0061:LD | B
AF0061:V+ | FU0062 | WHT | 16 | 80 | FU0062:LD | B
AF0062:V+ | FU0063 | WHT | 16 | 80 | FU0063:LD | B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | B
AF0076:COM | -0V | WHT | 16 | 80 | XT0060:4 | B | AF/AU070s
AU0070:COM | -0V | WHT | 16 | 60 | XT0060:4 | B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | B
AF0076:V+ | FU0076 | WHT | 16 | 80 | FU0076:LD | B
AF0410:53 | -0V | WHT | 16 | 60 | XT0401:2 | B | 1444s
AF0410:54 | -0V | WHT | 16 | 60 | AF0420:53 | B
AF0420:54 | -0V | WHT | 16 | 60 | AF0450:53 | B
AF0410:55 | FU0410 | WHT | 16 | 60 | FU0410:LD | B
AF0410:56 | FU0410 | WHT | 16 | 60 | AF0420:55 | B
AF0420:56 | FU0410 | WHT | 16 | 60 | AF0450:55 | B
BA0003:V1(-) | -0V | WHT | 16 | 60 | XT0051:7 | B | BA
BA0011:V1(-) | -0V | WHT | 16 | 60 | XT0051:7 | B
BA1100:NEG | BA1100N | WHT | 16 | 60 | UV0291:OUT1(-) | B
BA0003:V1(+) | FU0023 | WHT | 16 | 60 | FU0023:LD | B
BA0011:V1(+) | FU0031 | WHT | 16 | 60 | FU0031:LD | B
BA1100:POS | FU1101LD | WHT | 16 | 60 | FU1101:LD | B
FU0031:LI | FU0136 | WHT | 16 | 60 | XT0051:3 | B | FU
FU0291:LD | FU0291LD | WHT | 16 | 60 | UV0291:24V(+) | B
FU1101:LI | FU1101LI | WHT | 16 | 60 | UV0291:OUT1(+) | B
FU0061:LI | FU0060 | WHT | 14 | 60 | FU0060:LD | B
FU0064:LI | FU0060 | WHT | 14 | 80 | FU0070:LI | B
FU0023:LI | FU0136 | WHT | 14 | 60 | XT0051:3 | B
FU0060:LI | FU0210 | WHT | 12 | 80 | FU0100:LI | B
FU0060:LI | FU0210 | WHT | 12 | 60 | FU0210:LD | B
FU0100:LI | FU0210 | WHT | 12 | 80 | FU0113:LI | B
FU0115:LI | FU0210 | WHT | 12 | 60 | FU0212:LI | B
KA0221:A1 | -007602 | WHT | 20 | 80 | AF0076:02 | B | KA A1/A2
KA0222:A1 | -007604 | WHT | 20 | 80 | AF0076:04 | B
KA0224:A1 | -007615 | WHT | 20 | 80 | AF0076:15 | B
KA1020:A1 | KA1020A1 | WHT | 20 | 80 | AF0076:08 | B
KA0221:A2 | -007618 | WHT | 20 | 80 | AF0076:18 | B
KA0222:A2 | -007620 | WHT | 20 | 80 | AF0076:20 | B
KA0224:A2 | -007631 | WHT | 20 | 80 | AF0076:31 | B
KA1020:A2 | KA1020A2 | WHT | 20 | 80 | AF0076:24 | B
KA0233:14 | -006102 | WHT | 20 | 100 | AF0061:02 | B | KA
KA0234:14 | -006114 | WHT | 20 | 100 | AF0061:14 | B
KA0222:14 | -006200 | WHT | 20 | 100 | AF0062:00 | B
KA0221:11 | -023524 | WHT | 20 | 60 | KA0235:24 | B
KA0222:11 | -023724 | WHT | 20 | 60 | KA0237:24 | B
KA0224:11 | KA022411 | WHT | 20 | 60 | XT0224:1 | B
KA0224:14 | KA022414 | WHT | 20 | 60 | XT0224:2 | B
KA0235:14 | KA023514 | WHT | 20 | 80 | AF0076:00 | B
KA0237:14 | KA023714 | WHT | 20 | 80 | AF0076:01 | B
KA1020:14 | FU0100 | WHT | 16 | 60 | FU0100:LD | B
KA1020:24 | -0V | WHT | 14 | 80 | XT0062:2 | B
XT0062:2 | -0V | WHT | 14 | 60 | XT0060:1 | B | XT

## JB72 L RAIL_S
JB72 LEFT RAIL
Project # | 4M082
Project Name | STEEL REEF BURKE LLC
Revision | C
Controls DE | J. UNGER
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0181:26 | -018126 | WHT | 20 | 60 | XT0181:2 | JB72 L RAIL | AF/AU180s
AF0181:COM | -0V | WHT | 16 | 60 | XT0180:1 | JB72 L RAIL
AU0180:COM | -0V | WHT | 16 | 60 | XT0180:1 | JB72 L RAIL
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | JB72 L RAIL
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | JB72 L RAIL
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | JB72 L RAIL
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | JB72 L RAIL
BA0120:V1(-) | -0V | WHT | 16 | 60 | XT1207:2 | JB72 L RAIL | BA
BA0121:V1(-) | -0V | WHT | 16 | 60 | XT1207:2 | JB72 L RAIL
BA0120:V1(+) | FU0133LD | WHT | 16 | 60 | FU0133:LD | JB72 L RAIL
BA0121:V1(+) | FU0134LD | WHT | 16 | 60 | FU0134:LD | JB72 L RAIL
FU0133:LI | FU0332 | WHT | 16 | 120 | XT1207:1 | JB72 L RAIL | FU
FU0134:LI | FU0332 | WHT | 16 | 120 | XT1207:1 | JB72 L RAIL
FU0180:LI | FU0182 | WHT | 14 | 120 | FU0182:LD | JB72 L RAIL
KA0180:A1 | -018100 | WHT | 20 | 120 | AF0181:00 | JB72 L RAIL | KA A1/A2
KA0185:A1 | -018110 | WHT | 20 | 120 | AF0181:10 | JB72 L RAIL
KA0181:A1 | KA0181A1 | WHT | 20 | 120 | AF0181:02 | JB72 L RAIL
KA0180:A2 | -018116 | WHT | 20 | 120 | AF0181:16 | JB72 L RAIL
KA0181:A2 | KA0181A2 | WHT | 20 | 120 | AF0181:18 | JB72 L RAIL
KA0185:A2 | KA0185A2 | WHT | 20 | 120 | XT0181:1 | JB72 L RAIL
KA0185:11 | KA018511 | WHT | 20 | 200 | XT0338:3 | GEN | KA-GEN
KA0185:14 | KA0332A1 | WHT | 20 | 200 | XT0338:4 | GEN
XT0180:1 | -0V | WHT | 14 | 200 | XT0336:3 | GEN | FU/XT-GEN
XT1207:2 | -0V | WHT | 14 | 200 | XT0336:8 | GEN
FU0182:LI | FU0332 | WHT | 14 | 200 | XT0335:3 | GEN
XT1207:1 | FU0332 | WHT | 12 | 200 | XT0335:8 | GEN

## JB72 VIB_S
JB72 VIB PANEL
Project # | 4M082
Project Name | STEEL REEF BURKE LLC
Revision | C
Controls DE | J. UNGER
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0510:53 | -0V | WHT | 16 | 60 | XT0501:2 | JB72 VIB | 1444s
AF0510:55 | FU0510 | WHT | 16 | 60 | FU0510:LD | JB72 VIB
XT0501:1 | -0V | WHT | 14 | 120 | XT0336:3 | GEN | FU/XT-GEN
FU0510:LI | FU0332 | WHT | 14 | 120 | XT0335:3 | GEN

## JB72 GEN_S
JB72 GEN PANEL
Project # | 4M082
Project Name | STEEL REEF BURKE LLC
Revision | C
Controls DE | J. UNGER
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0121:COM | -0V | WHT | 16 | 60 | XT0120:2 | GEN | AF/AU120s
AU0120:COM | -0V | WHT | 16 | 60 | XT0120:2 | GEN
AF0122:COM | AU0120N | WHT | 16 | 60 | AU0120:COM | GEN
AF0122:V+ | AU0120P | WHT | 16 | 60 | AU0120:V+ | GEN
AU0120:V+ | FU0120 | WHT | 16 | 80 | FU0120:LD | GEN
AF0121:V+ | FU0121 | WHT | 16 | 80 | FU0121:LD | GEN
AT0140:FLT 29 | KA0310A2 | WHT | 20 | 60 | KA0310:A2 | GEN | AT
AT0140:3 EX-D(-) | -0V | WHT | 16 | 60 | XT0336:6 | GEN
AT0140:BAT(-) 48 | -0V | WHT | 16 | 60 | XT0336:6 | GEN
AT0140:FLT 30 | -0V | WHT | 16 | 60 | XT0336:6 | GEN
AT0140:BAT(+) 47 | FU0334 | WHT | 16 | 60 | XT0339:1 | GEN
AT0140:4 EX-D(+) | KA012314 | WHT | 16 | 60 | KA0123:14 | GEN
AT0140:17 VBUS-A | VBUSA | RED | 16R | 120 | XT0351:2 | GEN | AT RED
AT0140:18 VBUS-B | VBUSB | RED | 16R | 120 | XT0351:3 | GEN
AT0140:19 VBUS-C | VBUSC | RED | 16R | 120 | XT0351:5 | GEN
AT0140:13 VGEN-A | VGENA | RED | 16R | 120 | XT0351:9 | GEN
AT0140:14 VGEN-B | VGENB | RED | 16R | 120 | XT0351:11 | GEN
AT0140:15 VGEN-C | VGENC | RED | 16R | 120 | XT0351:13 | GEN
AT0140:36 I1(+) | MCTA | BLU | 12B | 120 | XT0352:1 | GEN | AT BLU
AT0140:37 I1(-) | MCTAN | BLU | 12B | 120 | XT0352:10 | GEN
AT0140:38 I2(+) | MCTB | BLU | 12B | 120 | XT0352:2 | GEN
AT0140:39 I2(-) | MCTBN | BLU | 12B | 120 | XT0352:9 | GEN
AT0140:40 I3(+) | MCTC | BLU | 12B | 120 | XT0352:3 | GEN
AT0140:41 I3(-) | MCTCN | BLU | 12B | 120 | XT0352:8 | GEN
KA0121:A1 | -012101 | WHT | 20 | 60 | AF0121:01 | GEN | KA A1
KA0128:A1 | -012108 | WHT | 20 | 60 | AF0121:08 | GEN
KA0310:A1 | FU0334 | WHT | 20 | 60 | XT0339:1 | GEN
KA0123:A1 | KA0123A1 | WHT | 20 | 80 | AF0121:03 | GEN
KA0123:A1 | KA0123A1 | WHT | 20 | 80 | KA0313:2 | GEN
KA0330:A1 | KA0330A1 | WHT | 20 | 60 | XT0338:5 | GEN
KA0331:A1 | KA0331A1 | WHT | 20 | 60 | XT0338:6 | GEN
KA0332:A1 | KA0332A1 | WHT | 20 | 60 | XT0338:4 | GEN
KA0333:A1 | KA0333A1 | WHT | 20 | 60 | XT0338:2 | GEN
KA4100:A1 | KA4100A1 | WHT | 20 | 60 | KA0336:14 | GEN
KA7610:A1 | KA7610A1 | WHT | 20 | 60 | AF0121:09 | GEN
KA0335:A1 | ESTOP | WHT | 16 | 60 | XT0120:4 | GEN
KA0336:A1 | KA0131A1 | WHT | 16 | 60 | XT0120:5 | GEN
KA0121:A2 | -012117 | WHT | 20 | 60 | AF0121:17 | GEN | KA A2
KA0128:A2 | -012124 | WHT | 20 | 60 | AF0121:24 | GEN
KA0331:A2 | -0V | WHT | 20 | 80 | XT0336:5 | GEN
KA0333:A2 | -0V | WHT | 20 | 80 | XT0336:4 | GEN
KA0335:A2 | -0V | WHT | 20 | 60 | XT0120:3 | GEN
KA0123:A2 | KA0123A2 | WHT | 20 | 80 | AF0121:19 | GEN
KA0123:A2 | KA0123A2 | WHT | 20 | 80 | KA0313:7 | GEN
KA4100:A2 | KA4100A2 | WHT | 20 | 80 | AF0121:30 | GEN
KA7610:A2 | KA7610A2 | WHT | 20 | 60 | AF0121:25 | GEN
KA0330:11 | -012200 | WHT | 20 | 60 | AF0122:00 | GEN | KA
KA0331:11 | -012201 | WHT | 20 | 60 | AF0122:01 | GEN
KA0330:14 | -012232 | WHT | 20 | 60 | AF0122:32 | GEN
KA0331:14 | -012233 | WHT | 20 | 60 | AF0122:33 | GEN
KA0121:11 | FU0333 | WHT | 20 | 60 | XT0338:1 | GEN
KA0128:11 | FU0333 | WHT | 20 | 60 | KA0335:21 | GEN
KA0128:11 | FU0333 | WHT | 20 | 60 | XT0338:1 | GEN
KA0335:21 | FU0333 | WHT | 20 | 60 | KA0310:21 | GEN
KA0313:2 | KA0123A1 | WHT | 20 | 60 | KA0314:2 | GEN
KA0313:7 | KA0123A2 | WHT | 20 | 60 | KA0314:7 | GEN
KA0128:21 | KA012821 | WHT | 20 | 60 | XT0337:1 | GEN
KA0128:24 | KA012824 | WHT | 20 | 60 | XT0337:2 | GEN
KA0121:14 | KA018511 | WHT | 20 | 60 | XT0338:3 | GEN
KA0310:11 | KA031011 | WHT | 20 | 80 | AF0122:02 | GEN
KA0310:14 | KA031014 | WHT | 20 | 80 | AF0122:34 | GEN
KA0332:11 | KA033211 | WHT | 20 | 60 | XT0337:3 | GEN
KA0332:14 | KA033214 | WHT | 20 | 60 | XT0337:4 | GEN
KA0333:11 | KA033311 | WHT | 20 | 60 | KA0335:11 | GEN
KA0333:11 | KA033311 | WHT | 20 | 60 | XT0337:5 | GEN
KA0333:14 | KA033314 | WHT | 20 | 60 | KA0335:12 | GEN
KA0333:14 | KA033314 | WHT | 20 | 60 | XT0337:6 | GEN
KA0310:24 | KA0333A1 | WHT | 20 | 60 | KA0335:22 | GEN
KA0310:24 | KA0333A1 | WHT | 20 | 80 | XT0338:2 | GEN
KA0335:22 | KA0333A1 | WHT | 20 | 60 | KA0128:14 | GEN
KA0336:11 | KA033611 | WHT | 20 | 60 | AF0121:14 | GEN
KA0123:11 | FU0334 | WHT | 16 | 80 | XT0339:1 | GEN
FU0333:LI | FU0332 | WHT | 16 | 60 | XT0335:4 | GEN | FU/XT
FU0334:LI | FU0332 | WHT | 16 | 60 | XT0335:6 | GEN
FU0333:LD | FU0333 | WHT | 16 | 60 | XT0338:1 | GEN
FU0334:LD | FU0334 | WHT | 16 | 60 | XT0339:1 | GEN
XT0336:2 | -0V | WHT | 14 | 60 | XT0120:1 | GEN
FU0120:LI | FU0122 | WHT | 14 | 60 | FU0122:LD | GEN
FU0122:LI | FU0332 | WHT | 14 | 60 | XT0335:2 | GEN
FU0332:LD | FU0332 | WHT | 12 | 60 | XT0335:1 | GEN
AF0123:SH | AU0120G | GRN | 14 |  | AU0120:GND | GEN
Note on C107: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Grounds should be GRN Was: WHT Changed to: GRN MRCA: 1992376

## JB1123_S
JB1123 FO PANEL
Project # | 4M082
Project Name | STEEL REEF BURKE LLC
Revision | C
Controls DE | J. UNGER
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0005:V1(-) | -0V | WHT | 16 | 60 | XT1123:2 | JB1123 | FU/BA
BA0006:V1(-) | -0V | WHT | 16 | 60 | XT1123:2 | JB1123
BA0005:V1(+) | FU1123 | WHT | 16 | 60 | FU1123:LD | JB1123
BA0006:V1(+) | FU1124 | WHT | 16 | 60 | FU1124:LD | JB1123
FU1123:LI | FU0136 | WHT | 16 | 60 | XT1123:1 | JB1123
FU1124:LI | FU0136 | WHT | 16 | 60 | XT1123:1 | JB1123

## MCC RAIL_S
MCC RAIL
Project # | 4M082
Project Name | STEEL REEF BURKE LLC
Revision | C
Controls DE | J. UNGER
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0112:V+ | FU0111 | WHT | 16 | 100 | FU0111:LD | MCC RAIL | AF/AU110s
AF0112:COM | -0V | WHT | 14 | 100 | XT0100:2 | MCC RAIL
AU0110:V+ | FU0110 | WHT | 14 | 100 | FU0110:LD | MCC RAIL
BA0110:V1(-) | -0V | WHT | 16 | 60 | XT1124:4 | MCC RAIL | BA
BA0111:V1(-) | -0V | WHT | 16 | 60 | XT1124:5 | MCC RAIL
BA0112:V1(-) | -0V | WHT | 16 | 60 | XT1124:8 | MCC RAIL
BA0110:V1(+) | FU1110 | WHT | 16 | 60 | FU1110:LD | MCC RAIL
BA0111:V1(+) | FU1111 | WHT | 16 | 60 | FU1111:LD | MCC RAIL
BA0112:V1(+) | FU1112 | WHT | 16 | 60 | FU1112:LD | MCC RAIL
KA7000:A1 | -011100 | WHT | 20 | 60 | AF0111:00 | MCC RAIL | KA A1
KA7001:A1 | -011101 | WHT | 20 | 60 | AF0111:01 | MCC RAIL
KA7002:A1 | -011102 | WHT | 20 | 60 | AF0111:02 | MCC RAIL
KA7003:A1 | -011103 | WHT | 20 | 60 | AF0111:03 | MCC RAIL
KA7004:A1 | -011104 | WHT | 20 | 60 | AF0111:04 | MCC RAIL
KA7005:A1 | -011105 | WHT | 20 | 60 | AF0111:05 | MCC RAIL
KA7006:A1 | -011106 | WHT | 20 | 60 | AF0111:06 | MCC RAIL
KA7007:A1 | -011107 | WHT | 20 | 60 | AF0111:07 | MCC RAIL
KA7009:A1 | -011109 | WHT | 20 | 60 | AF0111:09 | MCC RAIL
KA7010:A1 | -011110 | WHT | 20 | 60 | AF0111:10 | MCC RAIL
KA7011:A1 | -011111 | WHT | 20 | 60 | AF0111:11 | MCC RAIL
KA7012:A1 | -011112 | WHT | 20 | 60 | AF0111:12 | MCC RAIL
KA7013:A1 | -011113 | WHT | 20 | 60 | AF0111:13 | MCC RAIL
KA7000:A2 | -011116 | WHT | 20 | 60 | AF0111:16 | MCC RAIL | KA A2
KA7001:A2 | -011117 | WHT | 20 | 60 | AF0111:17 | MCC RAIL
KA7002:A2 | -011118 | WHT | 20 | 60 | AF0111:18 | MCC RAIL
KA7003:A2 | -011119 | WHT | 20 | 60 | AF0111:19 | MCC RAIL
KA7004:A2 | -011120 | WHT | 20 | 60 | AF0111:20 | MCC RAIL
KA7005:A2 | -011121 | WHT | 20 | 60 | AF0111:21 | MCC RAIL
KA7006:A2 | -011122 | WHT | 20 | 60 | AF0111:22 | MCC RAIL
KA7007:A2 | -011123 | WHT | 20 | 60 | AF0111:23 | MCC RAIL
KA7008:A2 | -011124 | WHT | 20 | 60 | AF0111:24 | MCC RAIL
KA7009:A2 | -011125 | WHT | 20 | 60 | AF0111:25 | MCC RAIL
KA7010:A2 | -011126 | WHT | 20 | 60 | AF0111:26 | MCC RAIL
KA7011:A2 | -011127 | WHT | 20 | 60 | AF0111:27 | MCC RAIL
KA7012:A2 | -011128 | WHT | 20 | 60 | AF0111:28 | MCC RAIL
KA7013:A2 | -011129 | WHT | 20 | 60 | AF0111:29 | MCC RAIL
KA7002:11 | KA700211 | WHT | 20 | 60 | KA7003:22 | MCC RAIL | KA
KA7002:14 | KA700214 | WHT | 20 | 60 | KA7003:14 | MCC RAIL
KA7002:22 | KA700311 | WHT | 20 | 60 | KA7003:11 | MCC RAIL
KA7004:11 | KA700411 | WHT | 20 | 60 | KA7005:22 | MCC RAIL
KA7004:14 | KA700414 | WHT | 20 | 60 | KA7005:14 | MCC RAIL
KA7004:22 | KA700511 | WHT | 20 | 60 | KA7005:11 | MCC RAIL
KA7006:11 | KA700611 | WHT | 20 | 60 | KA7007:22 | MCC RAIL
KA7006:14 | KA700614 | WHT | 20 | 60 | KA7007:14 | MCC RAIL
KA7006:22 | KA700711 | WHT | 20 | 60 | KA7007:11 | MCC RAIL
XT1124:6 | -0V | WHT | 14 | 60 | XT0100:1 | MCC RAIL | FU/XT
FU0110:LI | FU0332 | WHT | 14 | 60 | XT1124:3 | MCC RAIL
FU1110:LI | FU0332 | WHT | 14 | 60 | XT1124:1 | MCC RAIL
FU1111:LI | FU0332 | WHT | 14 | 60 | XT1124:2 | MCC RAIL
FU1112:LI | FU0332 | WHT | 14 | 60 | XT1124:7 | MCC RAIL

## Bundle Tag Info
Project Name and Unit #
PD #
Revision
Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
Insert
Tag Names
Here

## Bundle Tags2
Project Name and Unit # PD # Revision Panel Name Insert
Project Name and Unit # PD # Revision Panel Name Tag Names
Project Name and Unit # PD # Revision Panel Name Here

## ALL
Project Name and Unit # PD # Revision Panel Name Insert
Project Name and Unit # PD # Revision Panel Name Tag Names
Project Name and Unit # PD # Revision Panel Name Here