## JB70_S
CONTROL,JB70;TT6
JB70
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:NEG | -0V | WHT | 14 | 180 | XT0111:22 | JB70 RAIL R | AT1100
AT1100:POS | FU1100 | WHT | 14 | 100 | FU1100:LD | HMI-S PWR
HL0171:X1 | HL0171X1 | WHT | 20 | 100 | XT0173:3 | FS CTRL | HL0171
HL0171:X2 | HL0171X2 | WHT | 20 | 100 | XT0173:1 | FS CTRL
HL0172:X1 | HL0172X1 | WHT | 20 | 100 | XT0173:6 | FS CTRL | HL0172
HL0172:X2 | HL0172X2 | WHT | 20 | 100 | XT0173:4 | FS CTRL
HL0173:X1 | HL0173X1 | WHT | 20 | 100 | XT0173:9 | FS CTRL | HL0173
HL0173:X2 | HL0173X2 | WHT | 20 | 100 | XT0173:7 | FS CTRL
SA0170:B2-13 | SA0170B213 | WHT | 20 | 100 | XT0173:10 | FS CTRL | SA0170
SA0170:B2-14 | SA0170B214 | WHT | 20 | 100 | XT0173:11 | FS CTRL
SA0471:B1-13 | SA0471B113 | WHT | 20 | 220 | AF0087:40 | CTRL A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 220 | AF0087:08 | CTRL A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 220 | AF0087:39 | CTRL A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 220 | AF0087:07 | CTRL A
SA0472:B1-13 | SA0472B113 | WHT | 20 | 220 | AF0091:47 | CTRL A | SA0472
SA0472:B1-14 | SA0472B114 | WHT | 20 | 220 | AF0091:15 | CTRL A
SA0472:B2-13 | SA0472B213 | WHT | 20 | 220 | AF0091:46 | CTRL A
SA0472:B2-14 | SA0472B214 | WHT | 20 | 220 | AF0091:14 | CTRL A
SA0473:11 | SA047311 | WHT | 20 | 220 | AF0087:37 | CTRL A | SA0473
SA0473:12 | SA047312 | WHT | 20 | 220 | AF0087:05 | CTRL A
SA0473:13 | SA047313 | WHT | 20 | 220 | AF0087:38 | CTRL A
SA0473:14 | SA047314 | WHT | 20 | 220 | AF0087:06 | CTRL A
SB0170:13 | SB017013 | WHT | 20 | 100 | XT0173:12 | FS CTRL | SB0170
SB0170:14 | SB017014 | WHT | 20 | 100 | XT0173:13 | FS CTRL
SB0471:11 | SB047111 | WHT | 20 | 220 | AF0087:34 | CTRL A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 220 | AF0087:02 | CTRL A
SB0472:B1-11 | ESTOPB | WHT | 20 | 180 | XT0111:19 | JB70 RAIL R | SB0472
SB0472:B1-12 | ESTOPA | WHT | 20 | 180 | XT0111:20 | JB70 RAIL R
SB0472:B2-11 | SB0472B211 | WHT | 20 | 220 | AF0081:36 | CTRL A
SB0472:B2-12 | SB0472B212 | WHT | 20 | 220 | AF0081:04 | CTRL A
SB0473:13 | SB047313 | WHT | 20 | 220 | AF0087:35 | CTRL A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 220 | AF0087:03 | CTRL A
SB0474:13 | SB047413 | WHT | 20 | 220 | AF0087:36 | CTRL A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 220 | AF0087:04 | CTRL A
SH0470:11 | SH047011 | WHT | 20 | 180 | XT0111:7 | JB70 RAIL R | SH0470
SH0470:12 | SH047012 | WHT | 20 | 180 | XT0111:8 | JB70 RAIL R
SH0470:13 | SH047013 | WHT | 20 | 180 | XT0111:9 | JB70 RAIL R
SH0470:14 | SH047014 | WHT | 20 | 180 | XT0111:10 | JB70 RAIL R
SH0470:X1 | SH0470X1 | WHT | 20 | 180 | XT0111:12 | JB70 RAIL R
SH0470:X2 | SH0470X2 | WHT | 20 | 180 | XT0111:11 | JB70 RAIL R
SH0471:11 | SH047111 | WHT | 20 | 180 | XT0111:1 | JB70 RAIL R | SH0471
SH0471:12 | SH047112 | WHT | 20 | 180 | XT0111:2 | JB70 RAIL R
SH0471:13 | SH047113 | WHT | 20 | 180 | XT0111:3 | JB70 RAIL R
SH0471:14 | SH047114 | WHT | 20 | 180 | XT0111:4 | JB70 RAIL R
SH0471:X1 | SH0471X1 | WHT | 20 | 180 | XT0111:6 | JB70 RAIL R
SH0471:X2 | SH0471X2 | WHT | 20 | 180 | XT0111:5 | JB70 RAIL R
SH0472:11 | SH047211 | WHT | 20 | 180 | XT0111:13 | JB70 RAIL R | SH0472
SH0472:12 | SH047212 | WHT | 20 | 180 | XT0111:14 | JB70 RAIL R
SH0472:13 | FU0139 | WHT | 20 | 180 | XT0111:15 | JB70 RAIL R
SH0472:14 | KA0241A1 | WHT | 20 | 180 | XT0111:16 | JB70 RAIL R
SH0472:X1 | SH0472X1 | WHT | 20 | 180 | XT0111:18 | JB70 RAIL R
SH0472:X2 | SH0472X2 | WHT | 20 | 180 | XT0111:17 | JB70 RAIL R

## FS CTRL_S
F&G PWR,ONSK
JB70
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0170:11 | SA0170B213 | WHT | 20 | 60 | XT0173:10 | FS CTRL | AT
AT0170:12 | SA0170B214 | WHT | 20 | 60 | XT0173:11 | FS CTRL
AT0170:2 | LON0N | WHT | 14 | 60 | XT0174:4 | FS CTRL
AT0170:1 | LON0P | WHT | 14 | 60 | XT0174:2 | FS CTRL
GFM0170:6 | GFM01706 | WHT | 16 | 60 | XT0173:14 | FS CTRL | GFM
GFM0170:8 | GFM01708 | WHT | 16 | 60 | XT0173:15 | FS CTRL
GFM0170:3 | GFM01703 | WHT | 14 | 60 | AT0170:3 | FS CTRL
GFM0170:4 | GFM01704 | WHT | 14 | 60 | AT0170:4 | FS CTRL
GFM0170:2 | LON0N | WHT | 14 | 60 | XT0174:5 | FS CTRL
GFM0170:1 | LON0P | WHT | 14 | 60 | XT0174:3 | FS CTRL
UV0170:13 | AT018214 | WHT | 16 | 60 | XT0173:16 | FS CTRL | UV
UV0170:14 | AT018215 | WHT | 16 | 60 | XT0173:17 | FS CTRL
UV0171:13 | AT018217 | WHT | 16 | 60 | XT0173:18 | FS CTRL
UV0171:14 | AT018218 | WHT | 16 | 60 | XT0173:19 | FS CTRL
UV0172:OUT(-) | LON0N | WHT | 14 | 60 | XT0174:4 | FS CTRL
UV0172:OUT1(+) | LON0P | WHT | 14 | 60 | XT0174:1 | FS CTRL
UV0170:OUT1(-) | UV0172IN1(-) | WHT | 14 | 60 | UV0172:IN1(-) | FS CTRL
UV0170:OUT1(+) | UV0172IN1(+) | WHT | 14 | 60 | UV0172:IN1(+) | FS CTRL
UV0171:OUT1(-) | UV0172IN2(-) | WHT | 14 | 60 | UV0172:IN2(-) | FS CTRL
UV0171:OUT1(+) | UV0172IN2(+) | WHT | 14 | 60 | UV0172:IN2(+) | FS CTRL

## HMI-S PWR_S
HMI-S PWR
JB70
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
FU1101:LD | FU1101 | WHT | 16 | 60 | UJ1100:24V(+) | HMI-S PWR | FU/BA
BA1100:NEG | BA1100(-) | WHT | 14 | 60 | UJ1100:OUT1(-) | HMI-S PWR
BA1100:POS | BA1100(+) | WHT | 14 | 60 | UJ1100:OUT1(+) | HMI-S PWR
UJ1100:24V(-) | -0V | WHT | 14 | 180 | XT0111:22 | JB70 RAIL R | UJ/FU-JB70 R RAIL
FU1100:LI | FU0136 | WHT | 14 | 180 | XT0111:21 | JB70 RAIL R
FU1101:LI | FU0136 | WHT | 14 | 180 | XT0111:21 | JB70 RAIL R

## JB70 RAIL L_S
RAIL,LEFT,JB70
JB70
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0178:23 | AT017823 | WHT | 20 | 120 | XT0171:2 | JB70 L/RAIL | AT
AT0178:24 | AT017824 | WHT | 20 | 120 | XT0171:3 | JB70 L/RAIL
AT0175:11 | KA651012 | WHT | 20 | 120 | KA6510:12 | JB70 L/RAIL
AT0176:17 | KA651022 | WHT | 20 | 120 | KA6510:22 | JB70 L/RAIL
AT0175:5P1 | KA6510A2 | WHT | 20 | 120 | KA6510:A2 | JB70 L/RAIL
AT0176:5 | DT65001 | WHT | 16 | 120 | XT0171:15 | JB70 L/RAIL
AT0176:6 | DT65002 | WHT | 16 | 120 | XT0171:16 | JB70 L/RAIL
AT0178:20 | ZS61P | WHT | 16 | 120 | XT0290:7 | JB70 L/RAIL
AT0178:21 | ZS61S | WHT | 16 | 120 | XT0290:8 | JB70 L/RAIL
AT0176:4P1 | AT01764P1 | WHT | 14 | 60 | AT0178:1P1 | JB70 L/RAIL
AT0176:5P1 | AT01765P1 | WHT | 14 | 60 | AT0178:2P1 | JB70 L/RAIL
AT0178:4P1 | AT01784P1 | WHT | 14 | 60 | AT0182:1P1 | JB70 L/RAIL
AT0178:5P1 | AT01785P1 | WHT | 14 | 60 | AT0182:2P1 | JB70 L/RAIL
AT0171:1P1 | AT01824P1 | WHT | 14 | 60 | AT0182:4P1 | JB70 L/RAIL
AT0171:2P1 | AT01825P1 | WHT | 14 | 60 | AT0182:5P1 | JB70 L/RAIL
FU0172:LD | FU0172 | WHT | 16 | 80 | XT0170:5 | JB70 L/RAIL | FU
FU0170:LI | FU0535 | WHT | 14 | 100 | XT0170:2 | JB70 L/RAIL
FU0171:LI | FU0535 | WHT | 14 | 100 | XT0170:2 | JB70 L/RAIL
FU0172:LI | FU0535 | WHT | 14 | 100 | XT0170:1 | JB70 L/RAIL
FU0294:LI | FU0535 | WHT | 14 | 160 | XT0535:4 | JB70 L/RAIL
FU0535:LD | FU0535 | WHT | 12 | 60 | XT0535:1 | JB70 L/RAIL
KA0178:A1 | KA0178A1 | WHT | 20 | 140 | XT0171:1 | JB70 L/RAIL | KA A1
KA0246:A1 | KA0254A1 | WHT | 20 | 60 | KA0247:A1 | JB70 L/RAIL
KA0247:A1 | KA0254A1 | WHT | 20 | 60 | KA0254:A1 | JB70 L/RAIL
KA0176:A1 | KT017618 | WHT | 20 | 60 | KA0177:A1 | JB70 L/RAIL
KA0145:A2 | -0V | WHT | 20 | 60 | KA0246:A2 | JB70 L/RAIL | KA A2
KA0172:A2 | -0V | WHT | 20 | 100 | XT0170:4 | JB70 L/RAIL
KA0176:A2 | -0V | WHT | 20 | 60 | KA0177:A2 | JB70 L/RAIL
KA0179:A2 | -0V | WHT | 20 | 60 | KA0255:A2 | JB70 L/RAIL
KA0246:A2 | -0V | WHT | 20 | 60 | KA0247:A2 | JB70 L/RAIL
KA0247:A2 | -0V | WHT | 20 | 60 | KA0254:A2 | JB70 L/RAIL
KA0178:A2 | AT017824 | WHT | 20 | 140 | XT0171:3 | JB70 L/RAIL
KA0177:11 | -009313 | WHT | 20 | 60 | KA0247:11 | JB70 L/RAIL | KA
KA0176:11 | KA017611 | WHT | 20 | 60 | KA0246:11 | JB70 L/RAIL
KA0145:21 | KA025522 | WHT | 20 | 60 | KA0249:11 | JB70 L/RAIL
KA0145:21 | KA025522 | WHT | 20 | 60 | KA0255:22 | JB70 L/RAIL
KA0145:22 | KT0176A1 | WHT | 20 | 60 | KA0249:12 | JB70 L/RAIL
KT0176:A2 | -0V | WHT | 20 | 60 | KA0176:A2 | JB70 L/RAIL | KT L/S
KT0176:18 | KT017618 | WHT | 20 | 60 | KA0176:A1 | JB70 L/RAIL
KT0176:15 | KT0176A1 | WHT | 20 | 60 | XT0290:1 | JB70 L/RAIL | KT R/S
KT0176:A1 | KT0176A1 | WHT | 20 | 60 | KA0145:22 | JB70 L/RAIL
XT0536:4 | -0V | WHT | 16 | 60 | XT0171:14 | JB70 L/RAIL | XT
XT0536:3 | -0V | WHT | 14 | 80 | XT0170:3 | JB70 L/RAIL
XT0535:3 | FU0535 | WHT | 14 | 80 | XT0170:2 | JB70 L/RAIL
KA0255:A1 | KA0131A1 | WHT | 20 | 240 | XT0089:13 | CTRL A | KA A1-A
KA0145:A1 | KA0135A1 | WHT | 20 | 240 | XT0089:26 | CTRL A
KA0249:A1 | KA0245A1 | WHT | 20 | 240 | XT0089:15 | CTRL A
KA0246:A1 | KA0254A1 | WHT | 20 | 240 | XT0089:14 | CTRL A
KA0177:11 | -009313 | WHT | 20 | 180 | AF0093:13 | CTRL A | KA-A
KA0176:14 | -009336 | WHT | 20 | 180 | AF0093:36 | CTRL A
KA0177:14 | -009345 | WHT | 20 | 180 | AF0093:45 | CTRL A
KA0255:21 | FU0139 | WHT | 20 | 180 | XT0081:3 | CTRL A
KA0178:14 | FU0535 | WHT | 20 | 180 | KA0875:14 | CTRL A
KA0176:11 | KA017611 | WHT | 20 | 180 | AF0093:04 | CTRL A
KA0246:14 | KA6244A1 | WHT | 20 | 180 | KA6244:A1 | CTRL A
KA0247:14 | KA6254A1 | WHT | 20 | 180 | KA6254:A1 | CTRL A
KT0176:A2 | -0V | WHT | 20 | 220 | XT0080:8 | CTRL A | KT-A
XT0170:1 | FU0535 | WHT | 20 | 180 | KA0875:14 | CTRL A | FU/XT-A
XT0536:1 | -0V | WHT | 12 | 180 | XT0003:7 | CTRL A
FU0535:LI | FU0136 | WHT | 12 | 180 | XT0002:7 | CTRL A
KA0178:11 | KA023212 | WHT | 20 | 200 | KA0232:12 | CTRL B | KA-B
AT0171:17 | -017117 | WHT | 20 | 200 | XT0273:2 | FS CTRL | AT-FS CTRL
AT0171:18 | -017118 | WHT | 20 | 200 | XT0273:3 | FS CTRL
AT0171:2 | -01712 | WHT | 20 | 200 | XT0273:10 | FS CTRL
AT0171:20 | -017120 | WHT | 20 | 200 | XT0273:5 | FS CTRL
AT0171:21 | -017121 | WHT | 20 | 200 | XT0273:6 | FS CTRL
AT0171:23 | -017123 | WHT | 20 | 200 | XT0273:8 | FS CTRL
AT0171:24 | -017124 | WHT | 20 | 200 | XT0273:9 | FS CTRL
AT0171:3 | -01713 | WHT | 20 | 200 | XT0273:11 | FS CTRL
AT0175:17 | AT017517 | WHT | 20 | 200 | XT0173:2 | FS CTRL
AT0175:20 | AT017520 | WHT | 20 | 200 | XT0173:5 | FS CTRL
AT0175:23 | AT017523 | WHT | 20 | 200 | XT0173:8 | FS CTRL
AT0175:18 | HL0171X1 | WHT | 20 | 200 | XT0173:3 | FS CTRL
AT0175:21 | HL0172X1 | WHT | 20 | 200 | XT0173:6 | FS CTRL
AT0175:24 | HL0173X1 | WHT | 20 | 200 | XT0173:9 | FS CTRL
AT0175:2 | SB017013 | WHT | 20 | 200 | XT0173:12 | FS CTRL
AT0175:3 | SB017014 | WHT | 20 | 200 | XT0173:13 | FS CTRL
AT0182:14 | AT018214 | WHT | 16 | 200 | XT0173:16 | FS CTRL
AT0182:15 | AT018215 | WHT | 16 | 200 | XT0173:17 | FS CTRL
AT0182:17 | AT018217 | WHT | 16 | 200 | XT0173:18 | FS CTRL
AT0182:18 | AT018218 | WHT | 16 | 200 | XT0173:19 | FS CTRL
AT0182:20 | GFM01706 | WHT | 16 | 200 | XT0173:14 | FS CTRL
AT0182:21 | GFM01708 | WHT | 16 | 200 | XT0173:15 | FS CTRL
AT0175:2P1 | LON0N | WHT | 14 | 200 | XT0174:5 | FS CTRL
AT0176:2P1 | LON0N | WHT | 14 | 200 | XT0174:5 | FS CTRL
AT0175:1P1 | LON0P | WHT | 14 | 200 | XT0174:3 | FS CTRL
AT0176:1P1 | LON0P | WHT | 14 | 200 | XT0174:3 | FS CTRL
FU0170:LD | FU0170 | WHT | 14 | 240 | UV0170:IN(+) | FS CTRL | FU-FS CTRL
FU0171:LD | FU0171 | WHT | 14 | 240 | UV0171:IN(+) | FS CTRL
KA0172:A1 | AT017025 | WHT | 20 | 200 | AT0170:25 | FS CTRL | KA-FS CTRL
KA0174:A1 | AT017031 | WHT | 20 | 200 | AT0170:31 | FS CTRL
KA0249:A1 | KA0245A1 | WHT | 20 | 200 | AT0170:32 | FS CTRL
KA0254:A1 | KA0254A1 | WHT | 20 | 200 | AT0170:26 | FS CTRL
XT0170:12 | LON0P | WHT | 14 | 200 | XT0174:1 | FS CTRL | XT-FS CTRL
XT0170:13 | LON0N | WHT | 14 | 200 | XT0174:4 | FS CTRL
XT0170:3 | -0V | WHT | 14 | 240 | UV0170:IN(-) | FS CTRL
XT0170:3 | -0V | WHT | 14 | 240 | UV0171:IN(-) | FS CTRL
XT0170:5 | FU0172 | WHT | 20 | 200 | AT0170:24 | FS CTRL
XT0170:5 | FU0172 | WHT | 20 | 200 | AT0170:30 | FS CTRL
XT0170:6 | LON0P | WHT | 14 | 200 | XT0174:1 | FS CTRL
XT0170:7 | LON0N | WHT | 14 | 200 | XT0174:5 | FS CTRL
AT0175:4P1 | AT01754P1 | WHT | 20 | 180 | SA0170:B1-13 | JB70 | AT/KA-JB70
KA6510:A1 | SA0170B114 | WHT | 20 | 180 | SA0170:B1-14 | JB70
XT0171:13 | SH650012 | WHT | 20 | 180 | XT0111:26 | JB70 RAIL R | FU/XT-JB70 R RAIL
FU0294:LD | FU0294 | WHT | 16 | 180 | XT0111:25 | JB70 RAIL R
SH6500:11 | FU0294 | WHT | 20 | 320 | XT0111:25 | JB70 RAIL R | THRU RAIL
SH6500:12 | SH650012 | WHT | 20 | 320 | XT0111:26 | JB70 RAIL R
SH6500:13 | SH650013 | WHT | 20 | 320 | XT0111:29 | JB70 RAIL R
SH6500:14 | SH650014 | WHT | 20 | 320 | XT0111:30 | JB70 RAIL R
SH6500:X1 | SH6500X1 | WHT | 20 | 320 | XT0111:28 | JB70 RAIL R
SH6500:X2 | SH6500X2 | WHT | 20 | 320 | XT0111:27 | JB70 RAIL R

## JB70 RAIL R_S
RAIL,RIGHT,JB70
JB70
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UV0740:11+ | UV07418+ | WHT | 14 | 60 | UV0741:8+ | JB70 RAIL R | UV
UV0740:12- | UV07419- | WHT | 14 | 60 | UV0741:9- | JB70 RAIL R
XT0111:20 | ESTOPA | WHT | 20 | 180 | XT0089:8 | CTRL A | XT
XT0111:19 | ESTOPB | WHT | 20 | 180 | XT0089:7 | CTRL A
XT0111:15 | FU0139 | WHT | 20 | 180 | XT0081:6 | CTRL A
XT0111:24 | HA047201 | WHT | 20 | 180 | KA0875:A2 | CTRL A
XT0111:24 | HA047201 | WHT | 20 | 180 | AF0092:28 | CTRL A
XT0111:23 | HA047202 | WHT | 20 | 180 | KA0875:11 | CTRL A
XT0111:16 | KA0241A1 | WHT | 20 | 180 | XT0081:7 | CTRL A
XT0111:7 | SH047011 | WHT | 20 | 180 | AF0087:33 | CTRL A
XT0111:8 | SH047012 | WHT | 20 | 180 | AF0087:01 | CTRL A
XT0111:12 | SH0470X1 | WHT | 20 | 180 | AF0093:22 | CTRL A
XT0111:11 | SH0470X2 | WHT | 20 | 180 | AF0093:06 | CTRL A
XT0111:3 | SH047113 | WHT | 20 | 180 | AF0087:32 | CTRL A
XT0111:4 | SH047114 | WHT | 20 | 180 | AF0087:00 | CTRL A
XT0111:6 | SH0471X1 | WHT | 20 | 180 | AF0093:31 | CTRL A
XT0111:5 | SH0471X2 | WHT | 20 | 180 | AF0093:15 | CTRL A
XT0111:18 | SH0472X1 | WHT | 20 | 180 | AF0092:29 | CTRL A
XT0111:17 | SH0472X2 | WHT | 20 | 180 | AF0092:13 | CTRL A
XT0111:28 | SH6500X1 | WHT | 20 | 180 | AF0093:16 | CTRL A
XT0111:27 | SH6500X2 | WHT | 20 | 180 | AF0093:00 | CTRL A
XT0111:22 | -0V | WHT | 14 | 180 | XT0003:6 | CTRL A
XT0111:21 | FU0136 | WHT | 14 | 180 | XT0002:6 | CTRL A
XT0111:17 | SH0472X2 | WHT | 20 | 160 | KA0240:21 | CTRL B | UV/XT-B
UV0740:9- | -0V | WHT | 14 | 180 | XT0062:4 | CTRL B
UV0740:8+ | FU0116 | WHT | 14 | 180 | FU0116:LD | CTRL B

## PLC_S
PLC
JB70
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | PLC | AT/FU
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
UV0600:(-) | -0V | WHT | 14 | 100 | XT0003:4 | CTRL A | UV0600
UV0600:(+) | FU0010 | WHT | 14 | 100 | FU0010:LD | CTRL B
BA0009:V1(-) | -0V | WHT | 16 | 80 | XT0051:7 | CTRL B | BA-B
BA0011:V1(-) | -0V | WHT | 16 | 80 | XT0051:8 | CTRL B
BA0009:V1(+) | FU0029 | WHT | 16 | 80 | FU0029:LD | CTRL B
BA0011:V1(+) | FU0035 | WHT | 16 | 80 | FU0035:LD | CTRL B
FU0680:LI | FU0136 | WHT | 14 | 80 | XT0051:4 | CTRL B | FU/XT-B
XT0680:2 | -0V | WHT | 14 | 80 | XT0051:8 | CTRL B

## A_S
CONTROL A
JB70
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0081:37 | SB6472B111 | WHT | 20 | 80 | XT0089:5 | CTRL A | AF/AU080s
AF0081:05 | SB6472B112 | WHT | 20 | 80 | XT0089:6 | CTRL A
AF0081:00 | UA1200J21 | WHT | 20 | 80 | XT0089:23 | CTRL A
AU0080:COM | -0V | WHT | 16 | 80 | XT0080:1 | CTRL A
AU0080:V+ | FU0081 | WHT | 16 | 80 | FU0081:LD | CTRL A
AF0086:28 | -0V | WHT | 12 | 80 | XT0050:2 | CTRL A
AF0094:05 | -0V | WHT | 20 | 60 | XT0082:5 | CTRL A | AF/AU090s
AF0094:07 | -0V | WHT | 20 | 60 | XT0082:5 | CTRL A
AF0092:COM | -0V | WHT | 16 | 100 | XT0080:3 | CTRL A
AF0093:COM | -0V | WHT | 16 | 100 | XT0080:4 | CTRL A
AF0095:COM | -0V | WHT | 16 | 120 | XT0080:5 | CTRL A
AU0090:COM | -0V | WHT | 16 | 100 | XT0080:3 | CTRL A
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | CTRL A
AF0091:V+ | AF0091P | WHT | 16 | 60 | AF0094:V+ | CTRL A
AF0094:COM | AF0094N | WHT | 16 | 60 | AF0096:COM | CTRL A
AF0094:V+ | AF0094P | WHT | 16 | 60 | AF0096:V+ | CTRL A
AU0090:V+ | FU0090 | WHT | 16 | 60 | FU0090:LD | CTRL A
AF0092:V+ | FU0091 | WHT | 16 | 60 | FU0091:LD | CTRL A
AF0093:V+ | FU0092 | WHT | 16 | 60 | FU0092:LD | CTRL A
AF0095:V+ | FU0093 | WHT | 16 | 60 | FU0093:LD | CTRL A
FU0139:LD | FU0139 | WHT | 16 | 100 | XT0081:1 | CTRL A | FU
FU0389:LD | FU0389 | WHT | 16 | 60 | XT0089:24 | CTRL A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0080:LD | CTRL A
FU0081:LI | FU0080 | WHT | 14 | 100 | FU0090:LI | CTRL A
FU0094:LD | FU0094 | WHT | 12 | 100 | XT0050:1 | CTRL A
FU0137:LI | FU0136 | WHT | 12 | 60 | XT0002:2 | CTRL A
FU0080:LI | FU0137 | WHT | 12 | 100 | FU0137:LD | CTRL A
FU0080:LI | FU0137 | WHT | 12 | 100 | FU0139:LI | CTRL A
FU0389:LI | FU0137 | WHT | 12 | 60 | FU0385:LI | CTRL A
KA0875:A1 | -009212 | WHT | 20 | 120 | AF0092:12 | CTRL A | KA A1
KA1306:A1 | -009303 | WHT | 20 | 120 | AF0093:03 | CTRL A
KA0130:A1 | KA0130A1 | WHT | 20 | 100 | AF0081:35 | CTRL A
KA0130:A1 | KA0130A1 | WHT | 20 | 120 | KA0130:11 | CTRL A
KA0133:A1 | KA0133A1 | WHT | 20 | 60 | AF0092:02 | CTRL A
KA0134:A1 | KA0134A1 | WHT | 20 | 80 | AF0091:12 | CTRL A
KA0135:A1 | KA0135A1 | WHT | 20 | 60 | XT0089:26 | CTRL A
KA0135:A1 | KA0135A1 | WHT | 20 | 60 | KA0131:11 | CTRL A
KA0138:A1 | KA0138A1 | WHT | 20 | 140 | KA0132:21 | CTRL A
KA0181:A1 | KA0181A1 | WHT | 20 | 80 | AF0092:15 | CTRL A
KA2160:A1 | KA2160A1 | WHT | 20 | 120 | AF0092:04 | CTRL A
KA2161:A1 | KA2161A1 | WHT | 20 | 120 | AF0092:07 | CTRL A
KA0136:A1 | PS32002 | WHT | 20 | 60 | XT0089:17 | CTRL A
KA0140:A1 | PS32002 | WHT | 20 | 60 | XT0089:17 | CTRL A
KA1306:A2 | -009319 | WHT | 20 | 120 | AF0093:19 | CTRL A | KA A2
KA6244:A2 | -009320 | WHT | 20 | 120 | AF0093:20 | CTRL A
KA6254:A2 | -009329 | WHT | 20 | 120 | AF0093:29 | CTRL A
KA0133:A2 | -0V | WHT | 20 | 60 | KA0136:A2 | CTRL A
KA0135:A2 | -0V | WHT | 20 | 60 | KA0137:A2 | CTRL A
KA0136:A2 | -0V | WHT | 20 | 60 | KA0140:A2 | CTRL A
KA0138:A2 | -0V | WHT | 20 | 60 | KA0140:A2 | CTRL A
KA0131:A2 | KA0131A2 | WHT | 20 | 100 | AF0081:24 | CTRL A
KA0181:A2 | KA0181A2 | WHT | 20 | 80 | AF0092:31 | CTRL A
KA2160:A2 | KA2160A2 | WHT | 20 | 120 | AF0092:20 | CTRL A
KA2161:A2 | KA2161A2 | WHT | 20 | 120 | AF0092:23 | CTRL A
KA0132:11 | FU0139 | WHT | 20 | 60 | KA0133:11 | CTRL A | KA
KA0132:11 | FU0139 | WHT | 20 | 60 | XT0081:1 | CTRL A
KA0130:14 | KA013014 | WHT | 20 | 80 | AF0081:03 | CTRL A
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | CTRL A
KA0137:24 | KA013112 | WHT | 20 | 60 | AF0087:09 | CTRL A
KA0131:14 | KA013114 | WHT | 20 | 100 | AF0092:06 | CTRL A
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | CTRL A
KA0136:21 | KA013621 | WHT | 20 | 60 | AF0087:43 | CTRL A
KA0136:24 | KA013624 | WHT | 20 | 60 | AF0087:11 | CTRL A
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | CTRL A
KA0141:11 | KA014111 | WHT | 20 | 100 | AF0091:39 | CTRL A
KA0141:14 | KA014114 | WHT | 20 | 100 | AF0091:07 | CTRL A
KA0141:24 | KA014124 | WHT | 20 | 80 | AF0081:40 | CTRL A
KA1306:11 | KM1306EP | WHT | 20 | 120 | XT0082:7 | CTRL A
KA0138:11 | KM3170EP | WHT | 20 | 60 | XT0081:8 | CTRL A
KA0132:12 | KT014315 | WHT | 20 | 60 | KA0133:12 | CTRL A
KA0140:24 | FU0385 | WHT | 16 | 100 | FU0385:LD | CTRL A
KA0138:14 | FU0388 | WHT | 16 | 100 | FU0388:LD | CTRL A
KA0140:21 | KA130614 | WHT | 16 | 60 | KA1306:14 | CTRL A
KT0140:A2 | -0V | WHT | 20 | 140 | XT0080:6 | CTRL A | KT L/S
KT0142:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | CTRL A
KT0143:A2 | -0V | WHT | 20 | 60 | KA0134:A2 | CTRL A
KT0143:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | CTRL A
KT0144:A2 | -0V | WHT | 20 | 60 | KA0133:A2 | CTRL A
KT0145:A2 | -0V | WHT | 20 | 60 | KA0135:A2 | CTRL A
KT0145:A2 | -0V | WHT | 20 | 140 | XT0080:7 | CTRL A
KT0141:18 | KA013222 | WHT | 20 | 140 | KA0132:22 | CTRL A
KT0141:18 | KA013222 | WHT | 20 | 140 | KA0137:14 | CTRL A
KT0144:18 | KA013222 | WHT | 20 | 140 | KA0137:14 | CTRL A
KT0145:18 | KA0137A1 | WHT | 20 | 140 | KA0137:A1 | CTRL A
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KT0142:18 | CTRL A
KT0140:18 | KT0143A1 | WHT | 20 | 140 | KT0143:A1 | CTRL A
KT0146:18 | KT014618 | WHT | 20 | 100 | AF0081:08 | CTRL A
KT0140:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | CTRL A | KT R/S
KT0142:15 | FU0139 | WHT | 20 | 60 | KA0137:21 | CTRL A
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0145:15 | CTRL A
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0134:11 | CTRL A
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | CTRL A
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0133:11 | CTRL A
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0136:11 | CTRL A
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | CTRL A
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | CTRL A
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0143:15 | CTRL A
KT0142:A1 | KT014315 | WHT | 20 | 60 | KA0132:12 | CTRL A
KT0144:B1 | KT0144B1 | WHT | 20 | 60 | KA0138:24 | CTRL A
KT0146:A1 | KT0146A1 | WHT | 20 | 60 | KA0141:21 | CTRL A
PC0470:INP_A | -009312 | WHT | 20 | 60 | AF0093:12 | CTRL A | PC0470
PC0470:-PWR | -009328 | WHT | 20 | 60 | AF0093:28 | CTRL A
PC0470:+PWR | -009344 | WHT | 20 | 60 | AF0093:44 | CTRL A
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 60 | AF0094:06 | CTRL A | UJ0131
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0091:41 | CTRL A
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0091:09 | CTRL A
UJ0131:VIN | UJ0131VIN | WHT | 20 | 60 | AF0094:04 | CTRL A
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | CTRL A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | CTRL A
XT0089:16 | FU0139 | WHT | 20 | 60 | XT0081:4 | CTRL A | XT
XT0082:4 | -0V | WHT | 16 | 60 | XT0089:25 | CTRL A
XT0003:9 | -0V | WHT | 14 | 60 | XT0089:22 | CTRL A
XT0080:1 | -0V | WHT | 14 | 60 | XT0082:2 | CTRL A
XT0080:5 | -0V | WHT | 14 | 60 | XT0080:13 | CTRL A
XT0082:2 | -0V | WHT | 14 | 60 | XT0080:6 | CTRL A
XT0002:9 | FU0136 | WHT | 14 | 60 | XT0089:20 | CTRL A
XT0003:2 | -0V | WHT | 12 | 60 | XT0082:1 | CTRL A
XT0050:2 | -0V | WHT | 12 | 60 | XT0080:13 | CTRL A
AF0081:41 | KA023911 | WHT | 20 | 160 | KA0239:11 | CTRL B | AF080s-B
AF0081:09 | KA023914 | WHT | 20 | 160 | KA0239:14 | CTRL B
AF0081:33 | KA024311 | WHT | 20 | 160 | KA0243:11 | CTRL B
AF0081:01 | KA024314 | WHT | 20 | 160 | KA0243:14 | CTRL B
AF0081:34 | KA024511 | WHT | 20 | 160 | KA0245:11 | CTRL B
AF0081:02 | KA024514 | WHT | 20 | 160 | KA0245:14 | CTRL B
AF0081:19 | UA1200J27 | WHT | 20 | 160 | UA1200:J2-7 | CTRL B
AF0095:02 | -009502 | WHT | 20 | 160 | KA0221:14 | CTRL B | AF090s-B
AF0093:09 | KA023224 | WHT | 20 | 160 | KA0232:24 | CTRL B
AF0095:04 | KA023324 | WHT | 20 | 160 | KA0233:24 | CTRL B
AF0095:06 | KA023424 | WHT | 20 | 160 | KA0234:24 | CTRL B
AF0092:45 | KA024022 | WHT | 20 | 160 | KA0240:22 | CTRL B
KA0131:A1 | KA0131A1 | WHT | 20 | 160 | KA0242:14 | CTRL B | KA A1/A2-B
KA0141:A1 | KA0131A1 | WHT | 20 | 160 | KA0230:A1 | CTRL B
KA0134:A1 | KA0134A1 | WHT | 20 | 160 | AF0067:12 | CTRL B
KA0141:A2 | KA0131A2 | WHT | 20 | 160 | KA0230:A2 | CTRL B
KA0130:A2 | UA1200J26 | WHT | 20 | 160 | UA1200:J2-6 | CTRL B
KA0137:21 | FU0139 | WHT | 20 | 160 | KA0244:11 | CTRL B | KA-B
KA0875:11 | HA047202 | WHT | 20 | 160 | KA0232:11 | CTRL B
KA0141:24 | KA014124 | WHT | 20 | 160 | KA0241:24 | CTRL B
KA0141:21 | KT0146A1 | WHT | 20 | 160 | KA0241:21 | CTRL B
KT0146:18 | KT014618 | WHT | 20 | 160 | KA0242:11 | CTRL B | KT-B
KT0146:A2 | KT0146A2 | WHT | 20 | 160 | AF0076:29 | CTRL B
KT0145:A1 | KT0145A1 | WHT | 20 | 160 | KA0244:12 | CTRL B
KT0146:15 | KT014615 | WHT | 20 | 160 | AF0076:10 | CTRL B
KT0146:B1 | KT0146B1 | WHT | 20 | 160 | AF0076:13 | CTRL B
XT0089:21 | -007405 | WHT | 20 | 160 | AF0074:05 | CTRL B | XT-B
XT0080:8 | -0V | WHT | 20 | 160 | KA0243:A2 | CTRL B
XT0080:9 | -0V | WHT | 20 | 160 | KA0241:A2 | CTRL B
XT0089:22 | -0V | WHT | 20 | 160 | AF0074:21 | CTRL B
XT0089:25 | -0V | WHT | 20 | 160 | UA1200:J1-9 | CTRL B
XT0089:10 | ESTOP | WHT | 20 | 160 | KA0251:A1 | CTRL B
XT0089:9 | ESTOP | WHT | 20 | 160 | KA0235:A1 | CTRL B
XT0089:1 | ESTOPD | WHT | 20 | 160 | KA0243:24 | CTRL B
XT0081:2 | FU0139 | WHT | 20 | 160 | KA0244:11 | CTRL B
XT0089:24 | FU0389 | WHT | 20 | 160 | UA1200:J2-2 | CTRL B
XT0089:24 | FU0389 | WHT | 20 | 160 | UA1200:J1-10 | CTRL B
XT0089:12 | KA0131A1 | WHT | 20 | 160 | KA0234:A1 | CTRL B
XT0081:7 | KA0241A1 | WHT | 20 | 160 | KA0241:A1 | CTRL B
XT0089:15 | KA0245A1 | WHT | 20 | 160 | KA0245:A1 | CTRL B
XT0089:14 | KA0254A1 | WHT | 20 | 160 | KA0243:A1 | CTRL B
XT0089:18 | PS32004 | WHT | 20 | 160 | KA0240:11 | CTRL B
XT0089:23 | UA1200J21 | WHT | 20 | 160 | UA1200:J2-1 | CTRL B
XT0089:23 | UA1200J21 | WHT | 20 | 160 | KA0241:11 | CTRL B
XT0084:1 | UF1300 | WHT | 20 | 160 | KA0240:14 | CTRL B
XT0003:1 | -0V | WHT | 14 | 160 | XT0062:1 | CTRL B
XT0003:7 | -0V | WHT | 14 | 160 | XT0051:5 | CTRL B
XT0002:1 | FU0136 | WHT | 14 | 160 | FU0210:LI | CTRL B
XT0002:4 | FU0136 | WHT | 14 | 160 | FU0010:LI | CTRL B
XT0002:7 | FU0136 | WHT | 14 | 160 | XT0051:1 | CTRL B

## B_S
CONTROL B
JB70
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0061:COM | -0V | WHT | 16 | 80 | XT0060:2 | CTRL B | AF/AU060s
AF0062:COM | -0V | WHT | 16 | 80 | XT0060:3 | CTRL B
AF0067:COM | -0V | WHT | 16 | 60 | XT0060:3 | CTRL B
AU0060:COM | -0V | WHT | 16 | 80 | XT0060:2 | CTRL B
AF0066:COM | AF0066N | WHT | 16 | 60 | AF0068:COM | CTRL B
AF0066:V+ | AF0066P | WHT | 16 | 60 | AF0068:V+ | CTRL B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | CTRL B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | CTRL B
AU0060:V+ | FU0061 | WHT | 16 | 80 | FU0061:LD | CTRL B
AF0061:V+ | FU0062 | WHT | 16 | 80 | FU0062:LD | CTRL B
AF0062:V+ | FU0063 | WHT | 16 | 80 | FU0063:LD | CTRL B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | CTRL B
AF0076:12 | -007612 | WHT | 20 | 60 | XT0237:1 B2 | CTRL B | AF/AU070s
AF0076:COM | -0V | WHT | 16 | 60 | XT0060:4 | CTRL B
AU0070:COM | -0V | WHT | 16 | 60 | XT0060:4 | CTRL B
AF0075:COM | AF0075N | WHT | 16 | 60 | AF0077:COM | CTRL B
AF0075:V+ | AF0075P | WHT | 16 | 60 | AF0077:V+ | CTRL B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | CTRL B
AF0076:V+ | FU0076 | WHT | 16 | 60 | FU0076:LD | CTRL B
AU0700:COM | -0V | WHT | 16 | 60 | XT7000:2 | CTRL B | AU700
AU0700:V+ | FU0701 | WHT | 16 | 60 | FU0701:LD | CTRL B
FU0029:LI | FU0136 | WHT | 16 | 60 | XT0051:3 | CTRL B | FU
FU0035:LI | FU0136 | WHT | 16 | 60 | XT0051:4 | CTRL B
FU0061:LI | FU0060 | WHT | 14 | 60 | FU0060:LD | CTRL B
FU0118:LD | FU0118 | WHT | 14 | 60 | FU0701:LI | CTRL B
FU0060:LI | FU0210 | WHT | 12 | 60 | FU0210:LD | CTRL B
KA0221:A1 | -007602 | WHT | 20 | 100 | AF0076:02 | CTRL B | KA A1
KA0222:A1 | -007604 | WHT | 20 | 100 | AF0076:04 | CTRL B
KA0240:A1 | ESTOP | WHT | 20 | 60 | KA0251:A1 | CTRL B
KA0182:A1 | KA0182A1 | WHT | 20 | 60 | AF0076:05 | CTRL B
KA0183:A1 | KA0183A1 | WHT | 20 | 60 | AF0076:03 | CTRL B
KA1020:A1 | KA1020A1 | WHT | 20 | 100 | AF0076:08 | CTRL B
KA1021:A1 | KA1021A1 | WHT | 20 | 100 | AF0076:07 | CTRL B
KA0221:A2 | -007618 | WHT | 20 | 100 | AF0076:18 | CTRL B | KA A2
KA0222:A2 | -007620 | WHT | 20 | 100 | AF0076:20 | CTRL B
KA0235:A2 | -0V | WHT | 20 | 60 | KA0242:A2 | CTRL B
KA0240:A2 | -0V | WHT | 20 | 60 | KA0251:A2 | CTRL B
KA0182:A2 | KA0182A2 | WHT | 20 | 60 | AF0076:21 | CTRL B
KA0183:A2 | KA0183A2 | WHT | 20 | 60 | AF0076:19 | CTRL B
KA1020:A2 | KA1020A2 | WHT | 20 | 100 | AF0076:24 | CTRL B
KA1021:A2 | KA1021A2 | WHT | 20 | 100 | AF0076:23 | CTRL B
KA0251:24 | -006106 | WHT | 20 | 100 | AF0061:06 | CTRL B | KA
KA0222:14 | -006200 | WHT | 20 | 100 | AF0062:00 | CTRL B
KA0221:11 | -023524 | WHT | 20 | 60 | KA0235:24 | CTRL B
KA0222:11 | -023724 | WHT | 20 | 60 | KA0237:24 | CTRL B
KA0242:14 | KA0131A1 | WHT | 20 | 60 | KA0231:14 | CTRL B
KA0231:24 | KA023124 | WHT | 20 | 60 | KA0245:21 | CTRL B
KA0233:14 | KA023314 | WHT | 20 | 100 | AF0061:02 | CTRL B
KA0234:14 | KA023414 | WHT | 20 | 100 | AF0061:14 | CTRL B
KA0235:14 | KA023514 | WHT | 20 | 60 | AF0076:00 | CTRL B
KA0237:14 | KA023714 | WHT | 20 | 60 | AF0076:01 | CTRL B
KA0236:24 | KA024114 | WHT | 20 | 60 | KA0241:14 | CTRL B
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:21 | CTRL B
KA0242:21 | KA024221 | WHT | 20 | 80 | XT0237:1 T2 | CTRL B
KA0239:21 | KA024224 | WHT | 20 | 60 | KA0242:24 | CTRL B
KA0243:21 | KA024524 | WHT | 20 | 60 | KA0245:24 | CTRL B
KA0251:14 | KA025114 | WHT | 20 | 60 | AF0076:06 | CTRL B
KA0242:11 | KT014618 | WHT | 20 | 60 | KA0231:11 | CTRL B
KA0236:21 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | CTRL B
KA1021:14 | FU0117 | WHT | 16 | 80 | FU0117:LD | CTRL B
KA1020:24 | -0V | WHT | 14 | 100 | XT0062:2 | CTRL B
KA1021:24 | -0V | WHT | 14 | 100 | XT0062:4 | CTRL B
KA1020:14 | FU0100 | WHT | 14 | 80 | FU0100:LD | CTRL B
KA0239:22 | FU0115 | WHT | 14 | 80 | FU0115:LD | CTRL B
UA1200:J1-4 | UA1200J14 | WHT | 20 | 80 | AF0076:11 | CTRL B | UA1200
UA1200:J1-5 | UA1200J15 | WHT | 20 | 80 | XT0237:1 B1 | CTRL B
UA1200:J1-8 | UA1200J1-8 | WHT | 20 | 60 | UA1200:J3-5 | CTRL B
XT0062:2 | -0V | WHT | 14 | 60 | XT0060:1 | CTRL B | XT
XT0062:5 | -0V | WHT | 14 | 60 | XT7000:1 | CTRL B

## JB5 RAIL R_S
RAIL,RIGHT,JB5
JB5
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
FU0111:LD | UV0110P | WHT | 14 | 60 | UV0110:8+ | JB5 RAIL R | FU

## JB5_S
JB5
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0381:00 | -038100 | WHT | 20 | 60 | XT0381:2 | JB5 | AF380s
AF0381:01 | -038101 | WHT | 20 | 60 | XT0381:4 | JB5
AF0381:02 | -038102 | WHT | 20 | 60 | XT0381:6 | JB5
AF0381:03 | -038103 | WHT | 20 | 60 | XT0381:8 | JB5
AF0381:06 | -038106 | WHT | 20 | 60 | XT0381:14 | JB5
AF0381:07 | -038107 | WHT | 20 | 60 | XT0381:16 | JB5
AF0381:08 | -038108 | WHT | 20 | 60 | XT0381:18 | JB5
AF0381:09 | -038109 | WHT | 20 | 60 | XT0381:20 | JB5
AF0381:17 | SV6244C2 | WHT | 20 | 60 | XT0382:4 | JB5
AF0381:16 | SV6244O2 | WHT | 20 | 60 | XT0382:2 | JB5
AF0381:19 | SV6254C2 | WHT | 20 | 60 | XT0382:9 | JB5
AF0381:18 | SV6254O2 | WHT | 20 | 60 | XT0382:7 | JB5
AF0381:23 | SV6274C2 | WHT | 20 | 60 | XT0382:19 | JB5
AF0381:22 | SV6274O2 | WHT | 20 | 60 | XT0382:17 | JB5
AF0381:25 | SV6284C2 | WHT | 20 | 60 | XT0382:24 | JB5
AF0381:24 | SV6284O2 | WHT | 20 | 60 | XT0382:22 | JB5
AF0382:09 | ZS62285 | WHT | 20 | 60 | XT0382:25 | JB5
AF0382:01 | ZS62444 | WHT | 20 | 60 | XT0382:5 | JB5
AF0382:03 | ZS62544 | WHT | 20 | 60 | XT0382:10 | JB5
AF0382:07 | ZS62744 | WHT | 20 | 60 | XT0382:20 | JB5
AF0381:COM | -0V | WHT | 16 | 60 | XT0371:3 | JB5
AU0380:COM | -0V | WHT | 16 | 60 | XT0371:3 | JB5
AF0382:V+ | AU0380P | WHT | 16 | 60 | AU0380:V+ | JB5
AU0380:V+ | FU0380 | WHT | 16 | 60 | FU0380:LD | JB5
AF0382:COM | AU0380N | WHT | 14 | 60 | AU0380:COM | JB5
AF0381:V+ | FU0381 | WHT | 14 | 60 | FU0381:LD | JB5
AF0410:53 | -0V | WHT | 16 | 60 | XT0401:2 | JB5 | AF400s
AF0410:54 | AF0410N | WHT | 16 | 60 | AF0420:53 | JB5
AF0410:56 | AF0410P | WHT | 16 | 60 | AF0420:55 | JB5
AF0420:54 | AF0420N | WHT | 16 | 60 | AF0430:53 | JB5
AF0420:56 | AF0420P | WHT | 16 | 60 | AF0430:55 | JB5
AF0430:54 | AF0430N | WHT | 16 | 60 | AF0440:53 | JB5
AF0430:56 | AF0430P | WHT | 16 | 60 | AF0440:55 | JB5
AF0440:54 | AF0440N | WHT | 16 | 60 | AF0450:53 | JB5
AF0440:56 | AF0440P | WHT | 16 | 60 | AF0450:55 | JB5
AF0450:54 | AF0450N | WHT | 16 | 60 | AF0460:53 | JB5
AF0450:56 | AF0450P | WHT | 16 | 60 | AF0460:55 | JB5
AF0410:55 | FU0410 | WHT | 16 | 60 | FU0410:LD | JB5
AF0910:53 | -0V | WHT | 16 | 80 | XT0910:2 | JB5 | AF900s
AF0910:54 | -0V | WHT | 16 | 60 | AF0920:53 | JB5
AF0920:54 | -0V | WHT | 16 | 60 | AF0930:53 | JB5
AF0930:54 | -0V | WHT | 16 | 60 | AF0940:53 | JB5
AF0910:55 | AF0910P | WHT | 16 | 80 | FU0910:LD | JB5
AF0910:56 | AF0910P | WHT | 16 | 60 | AF0920:55 | JB5
AF0920:56 | AF0910P | WHT | 16 | 60 | AF0930:55 | JB5
AF0930:56 | AF0910P | WHT | 16 | 60 | AF0940:55 | JB5
FU0370:LI | FU0400 | WHT | 16 | 60 | XT0402:3 | JB5 | FU
FU0401:LI | FU0400 | WHT | 16 | 60 | XT0402:3 | JB5
FU6244:LD | FU6244 | WHT | 16 | 60 | XT0402:5 | JB5
FU0371:LI | FU0370 | WHT | 14 | 60 | FU0370:LD | JB5
FU0410:LI | FU0400 | WHT | 14 | 80 | XT0402:1 | JB5
FU0910:LI | FU0400 | WHT | 14 | 80 | XT0402:2 | JB5
FU0400:LD | FU0400 | WHT | 12 | 60 | XT0402:1 | JB5
FU6244:LI | FU0400 | WHT | 12 | 60 | XT0402:4 | JB5
KA0258:A1 | KA0131A1 | WHT | 20 | 60 | XT0404:1 | JB5 | KA A1
KA0415:A1 | KA0254A1 | WHT | 20 | 60 | XT0404:3 | JB5
KA6244C:A1 | KA624511 | WHT | 20 | 60 | XT0381:3 | JB5
KA6254C:A1 | KA625511 | WHT | 20 | 60 | XT0381:7 | JB5
KA6274C:A1 | KA627511 | WHT | 20 | 60 | XT0381:15 | JB5
KA6284C:A1 | KA628511 | WHT | 20 | 60 | XT0381:19 | JB5
KA0410:A1 | KT0176A1 | WHT | 20 | 60 | XT0404:2 | JB5
KA6284O:A1 | KA041714 | WHT | 20 | 100 | KA0417:14 | JB5
KA6244O:A1 | KA6244OA1 | WHT | 20 | 100 | KA0415:14 | JB5
KA6254O:A1 | KA6254OA1 | WHT | 20 | 100 | KA0415:24 | JB5
KA6274O:A1 | KA6274OA1 | WHT | 20 | 100 | KA0416:24 | JB5
KA0258:A2 | -0V | WHT | 20 | 60 | XT0403:4 | JB5 | KA A2
KA6244C:A2 | SV6244C2 | WHT | 20 | 60 | XT0382:4 | JB5
KA6244O:A2 | SV6244O2 | WHT | 20 | 60 | XT0382:2 | JB5
KA6254C:A2 | SV6254C2 | WHT | 20 | 60 | XT0382:9 | JB5
KA6254O:A2 | SV6254O2 | WHT | 20 | 60 | XT0382:7 | JB5
KA6274C:A2 | SV6274C2 | WHT | 20 | 60 | XT0382:19 | JB5
KA6274O:A2 | SV6274O2 | WHT | 20 | 60 | XT0382:17 | JB5
KA6284C:A2 | SV6284C2 | WHT | 20 | 60 | XT0382:24 | JB5
KA6284O:A2 | SV6284O2 | WHT | 20 | 60 | XT0382:22 | JB5
KA0410:14 | FU6244 | WHT | 20 | 60 | KA6244C:14 | JB5 | KA
KA0410:14 | FU6244 | WHT | 20 | 60 | KA6244O:14 | JB5
KA0410:24 | FU6244 | WHT | 20 | 60 | KA6254C:14 | JB5
KA0410:24 | FU6244 | WHT | 20 | 60 | KA6254O:14 | JB5
KA0411:24 | FU6244 | WHT | 20 | 60 | KA6274C:14 | JB5
KA0411:24 | FU6244 | WHT | 20 | 60 | KA6274O:14 | JB5
KA0412:14 | FU6244 | WHT | 20 | 60 | KA6284C:14 | JB5
KA0412:14 | FU6244 | WHT | 20 | 60 | KA6284O:14 | JB5
KA6244C:14 | FU6244 | WHT | 20 | 60 | KA6245:14 | JB5
KA6244O:14 | FU6244 | WHT | 20 | 60 | XT0402:5 | JB5
KA6254C:14 | FU6244 | WHT | 20 | 60 | KA6255:14 | JB5
KA6254O:14 | FU6244 | WHT | 20 | 60 | XT0402:6 | JB5
KA6274C:14 | FU6244 | WHT | 20 | 60 | KA6275:14 | JB5
KA6274O:14 | FU6244 | WHT | 20 | 60 | XT0402:5 | JB5
KA6284C:14 | FU6244 | WHT | 20 | 60 | KA6285:14 | JB5
KA6284O:14 | FU6244 | WHT | 20 | 60 | XT0402:5 | JB5
KA0258:12 | KA025812 | WHT | 20 | 60 | KA0418:21 | JB5
KA0412:11 | KA041211 | WHT | 20 | 60 | XT0381:17 | JB5
KA0417:11 | KA041211 | WHT | 20 | 60 | XT0381:17 | JB5
KA0410:11 | KA041511 | WHT | 20 | 60 | XT0381:1 | JB5
KA0415:11 | KA041511 | WHT | 20 | 60 | XT0381:1 | JB5
KA0410:21 | KA041521 | WHT | 20 | 60 | XT0381:5 | JB5
KA0415:21 | KA041521 | WHT | 20 | 60 | XT0381:5 | JB5
KA0411:21 | KA041621 | WHT | 20 | 60 | XT0381:13 | JB5
KA0416:21 | KA041621 | WHT | 20 | 60 | XT0381:13 | JB5
KA0418:22 | KA041822 | WHT | 20 | 60 | KT6244:16 | JB5
KA6245:11 | KA624511 | WHT | 20 | 60 | XT0381:3 | JB5
KA6255:11 | KA625511 | WHT | 20 | 60 | XT0381:7 | JB5
KA6275:11 | KA627511 | WHT | 20 | 60 | XT0381:15 | JB5
KA6285:11 | KA628511 | WHT | 20 | 60 | XT0381:19 | JB5
KA6244C:11 | SV6244C1 | WHT | 20 | 60 | XT0382:3 | JB5
KA6244O:11 | SV6244O1 | WHT | 20 | 60 | XT0382:1 | JB5
KA6254C:11 | SV6254C1 | WHT | 20 | 60 | XT0382:8 | JB5
KA6254O:11 | SV6254O1 | WHT | 20 | 60 | XT0382:6 | JB5
KA6274C:11 | SV6274C1 | WHT | 20 | 60 | XT0382:18 | JB5
KA6274O:11 | SV6274O1 | WHT | 20 | 60 | XT0382:16 | JB5
KA6284C:11 | SV6284C1 | WHT | 20 | 60 | XT0382:23 | JB5
KA6284O:11 | SV6284O1 | WHT | 20 | 60 | XT0382:21 | JB5
KA0258:11 | FU0401 | WHT | 16 | 60 | FU0401:LD | JB5
KT6244:A2 | -038217 | WHT | 20 | 80 | AF0382:17 | JB5 | KT L/S
KT6254:A2 | -038219 | WHT | 20 | 80 | AF0382:19 | JB5
KT6274:A2 | -038223 | WHT | 20 | 80 | AF0382:23 | JB5
KT6284:A2 | -038225 | WHT | 20 | 80 | AF0382:25 | JB5
KT6244:15 | KA6245A1 | WHT | 20 | 80 | KA6245:A1 | JB5 | KT R/S
KT6254:15 | KA6255A1 | WHT | 20 | 80 | KA6255:A1 | JB5
KT6274:15 | KA6275A1 | WHT | 20 | 80 | KA6275:A1 | JB5
KT6284:15 | KA6285A1 | WHT | 20 | 80 | KA6285:A1 | JB5
KT6284:A1 | ZS62285 | WHT | 20 | 80 | XT0382:25 | JB5
KT6244:A1 | ZS62444 | WHT | 20 | 60 | XT0382:5 | JB5
KT6254:A1 | ZS62544 | WHT | 20 | 60 | XT0382:10 | JB5
KT6274:A1 | ZS62744 | WHT | 20 | 60 | XT0382:20 | JB5
XT0403:3 | -0V | WHT | 20 | 60 | XT0371:1 | JB5 | XT
XT0403:1 | -0V | WHT | 14 | 80 | XT0401:1 | JB5
XT0403:2 | -0V | WHT | 14 | 80 | XT0910:1 | JB5

## JB72 RAIL L_S
RAIL,LEFT,JB72
JB72
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0181:COM | -0V | WHT | 16 | 60 | XT0180:1 | JB72 RAIL L | AF/AU
AU0180:COM | -0V | WHT | 16 | 60 | XT0180:1 | JB72 RAIL L
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | JB72 RAIL L
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | JB72 RAIL L
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | JB72 RAIL L
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | JB72 RAIL L
KA0180:A1 | -018100 | WHT | 20 | 60 | AF0181:00 | JB72 RAIL L | FU/KA
KA0185:A1 | -018110 | WHT | 20 | 60 | AF0181:10 | JB72 RAIL L
KA0180:A2 | -018116 | WHT | 20 | 60 | AF0181:16 | JB72 RAIL L
FU0180:LI | FU0182 | WHT | 14 | 60 | FU0182:LD | JB72 RAIL L
AF0181:26 | -018126 | WHT | 20 | 180 | KA7364:11 | GEN CTRL | AF/KA-GEN
KA0185:11 | KA018511 | WHT | 20 | 180 | XT0338:3 | GEN CTRL
KA0185:14 | KA0332A1 | WHT | 20 | 180 | XT0338:4 | GEN CTRL
KA0185:A2 | KA0185A2 | WHT | 20 | 180 | KA7364:14 | GEN CTRL
XT0180:1 | -0V | WHT | 14 | 160 | XT0336:3 | GEN CTRL | XT/FU-GEN
FU0182:LI | FU0332 | WHT | 14 | 160 | XT0335:3 | GEN CTRL

## GEN VIB_S
GEN VIB
JB72
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0510:53 | -0V | WHT | 16 | 60 | XT0501:2 | GEN VIB | AF
AF0510:55 | FU0510 | WHT | 16 | 60 | FU0510:LD | GEN VIB
FU0510:LI | FU0332 | WHT | 14 | 220 | XT0335:3 | GEN CTRL | XT/FU-GEN
XT0501:1 | -0V | WHT | 14 | 220 | XT0336:3 | GEN CTRL

## GEN CTRL_S
GEN CTRL
JB72
Project # | 4M371
Project Name | MER-SOL
Revision | B.11M.2
Controls DE | J. PECACHE
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0127:02 | -012702 | WHT | 20 | 60 | XT0127:2 | GEN CTRL | AF
AF0127:03 | -012703 | WHT | 20 | 60 | XT7001:2 | GEN CTRL
AF0127:04 | -012704 | WHT | 20 | 60 | XT7001:4 | GEN CTRL
AF0127:34 | -012734 | WHT | 20 | 60 | XT0127:1 | GEN CTRL
AF0127:35 | -012735 | WHT | 20 | 60 | XT7001:1 | GEN CTRL
AF0127:36 | -012736 | WHT | 20 | 60 | XT7001:3 | GEN CTRL
AF0122:03 | AF012203 | WHT | 20 | 60 | XT0123:2 | GEN CTRL
AF0122:05 | AF012205 | WHT | 20 | 60 | XT0123:4 | GEN CTRL
AF0122:07 | AF012207 | WHT | 20 | 60 | XT0123:6 | GEN CTRL
AF0122:15 | KA9602NC | WHT | 20 | 60 | XT0338:7 | GEN CTRL
AF0122:08 | WX77045 | WHT | 20 | 60 | XT0338:9 | GEN CTRL
AU0120:COM | -0V | WHT | 16 | 80 | XT0120:2 | GEN CTRL
AF0121:COM | -0V | WHT | 16 | 80 | XT0120:2 | GEN CTRL
AF0124:COM | -0V | WHT | 16 | 80 | XT0120:4 | GEN CTRL
AF0123:COM | AF0123N | WHT | 16 | 60 | AF0125:COM | GEN CTRL
AF0123:V+ | AF0123P | WHT | 16 | 60 | AF0125:V+ | GEN CTRL
AF0122:COM | AU0120N | WHT | 16 | 60 | AU0120:COM | GEN CTRL
AF0122:V+ | AU0120P | WHT | 16 | 60 | AU0120:V+ | GEN CTRL
AU0120:V+ | FU0120 | WHT | 16 | 80 | FU0120:LD | GEN CTRL
AF0121:V+ | FU0121 | WHT | 16 | 80 | FU0121:LD | GEN CTRL
AF0124:V+ | FU0123 | WHT | 16 | 80 | FU0123:LD | GEN CTRL
AT0140:FLT 29 | KA0310A2 | WHT | 20 | 80 | KA0310:A2 | GEN CTRL | AT
AT0140:3 EX-D(-) | -0V | WHT | 16 | 60 | XT0336:6 | GEN CTRL
AT0140:BAT(-) 48 | -0V | WHT | 16 | 60 | XT0336:6 | GEN CTRL
AT0140:FLT 30 | -0V | WHT | 16 | 60 | XT0336:6 | GEN CTRL
AT0140:34 ID RES(-) | AT014034 | WHT | 16 | 60 | AT0140:42 ID(+) | GEN CTRL
AT0140:BAT(+) 47 | FU0334 | WHT | 16 | 60 | XT0339:1 | GEN CTRL
AT0140:4 EX-D(+) | KA012314 | WHT | 16 | 60 | KA0123:14 | GEN CTRL
AT0140:19 VBUS-C | BUSPTN | RED | 16R | 60 | AT0140:20 VBUS-N | GEN CTRL | AT/RED
AT0140:20 VBUS-N | BUSPTN | RED | 16R | 120 | XT0780:5 | GEN CTRL
AT0140:17 VBUS-A | QF07812 | RED | 16R | 120 | XT0122:1 | GEN CTRL
AT0140:18 VBUS-B | QF07822 | RED | 16R | 120 | XT0122:3 | GEN CTRL
AT0140:13 VGEN-A | XT07822 | RED | 16R | 120 | XT0782:2 | GEN CTRL
AT0140:14 VGEN-B | XT07823 | RED | 16R | 120 | XT0782:3 | GEN CTRL
AT0140:15 VGEN-C | XT07825 | RED | 16R | 120 | XT0782:5 | GEN CTRL
AT0140:16 VGEN-N | XT07827 | RED | 16R | 120 | XT0122:11 | GEN CTRL
AT0140:28 ID RLY | CCT1(-) | BLU | 12B | 120 | XT0350:4 | GEN CTRL | AT/BLU
AT0140:43 ID(-) | CCT1(-) | BLU | 12B | 120 | XT0350:3 | GEN CTRL
AT0140:27 ID RLY | CCT1(+) | BLU | 12B | 120 | XT0350:2 | GEN CTRL
AT0140:33 ID RES(+) | CCT1(+) | BLU | 12B | 120 | XT0350:1 | GEN CTRL
AT0140:36 I1(+) | MCTA | BLU | 12B | 120 | XT0352:1 | GEN CTRL
AT0140:37 I1(-) | MCTAN | BLU | 12B | 120 | XT0352:6 | GEN CTRL
AT0140:38 I2(+) | MCTB | BLU | 12B | 120 | XT0352:2 | GEN CTRL
AT0140:39 I2(-) | MCTBN | BLU | 12B | 120 | XT0352:5 | GEN CTRL
AT0140:40 I3(+) | MCTC | BLU | 12B | 120 | XT0352:3 | GEN CTRL
AT0140:41 I3(-) | MCTCN | BLU | 12B | 120 | XT0352:4 | GEN CTRL
FU0127:LD | FU0127 | WHT | 16 | 60 | XT0123:1 | GEN CTRL | FU
FU0333:LI | FU0332 | WHT | 16 | 60 | XT0335:4 | GEN CTRL
FU0334:LI | FU0332 | WHT | 16 | 60 | XT0335:6 | GEN CTRL
FU0333:LD | FU0333 | WHT | 16 | 60 | XT0338:1 | GEN CTRL
FU0334:LD | FU0334 | WHT | 16 | 60 | XT0339:1 | GEN CTRL
FU0120:LI | FU0122 | WHT | 14 | 80 | FU0122:LD | GEN CTRL
FU0121:LI | FU0122 | WHT | 14 | 60 | FU0123:LI | GEN CTRL
FU0122:LI | FU0332 | WHT | 14 | 60 | XT0335:2 | GEN CTRL
FU0332:LD | FU0332 | WHT | 12 | 60 | XT0335:1 | GEN CTRL
FV0721:14 | FV072114 | WHT | 20 | 80 | AF0122:10 | GEN CTRL | FV
FV0721:21 | FV072121 | WHT | 20 | 80 | AF0122:42 | GEN CTRL
FV0722:14 | FV072214 | WHT | 20 | 80 | AF0122:14 | GEN CTRL
FV0722:21 | FV072221 | WHT | 20 | 80 | AF0122:46 | GEN CTRL
FV0722:L1 | QF07812 | RED | 16R | 60 | XT0122:1 | GEN CTRL | FV/RED
FV0722:L2 | QF07814 | RED | 16R | 60 | XT0122:2 | GEN CTRL
FV0722:L3 | QF07816 | RED | 16R | 60 | QF0781:6 | GEN CTRL
FV0721:L1 | QF07822 | RED | 16R | 60 | XT0122:3 | GEN CTRL
FV0721:L2 | QF07824 | RED | 16R | 60 | XT0122:4 | GEN CTRL
FV0721:L3 | QF07826 | RED | 16R | 60 | QF0782:6 | GEN CTRL
KA0342:A1 | KA0342A1 | WHT | 20 | 80 | KA0186:14 | GEN CTRL | KA LARGE
KA0342:A2 | KA0342A2 | WHT | 20 | 60 | AF0121:27 | GEN CTRL
KA0364:14 | KA036414 | WHT | 20 | 60 | KA0365:A1 | GEN CTRL
KA0364:11 | FU0125 | WHT | 16 | 60 | FU0125:LD | GEN CTRL
KA0188:61 | KA018861 | WHT | 16 | 80 | AF0121:05 | GEN CTRL
KA0188:A1 | KA0188A1 | WHT | 16 | 60 | KA0189:62 | GEN CTRL
KA0188:A2 | KA0188A2 | WHT | 16 | 80 | AF0121:20 | GEN CTRL
KA0189:61 | KA018961 | WHT | 16 | 80 | AF0121:04 | GEN CTRL
KA0188:62 | KA0189A1 | WHT | 16 | 60 | KA0189:A1 | GEN CTRL
KA0189:A2 | KA0189A2 | WHT | 16 | 80 | AF0121:21 | GEN CTRL
KA0342:14 | KA034214 | WHT | 16 | 60 | KA0342:23 | GEN CTRL
KA0342:13 | XT03321 | WHT | 16 | 60 | XT0332:1 | GEN CTRL
KA0342:24 | XT03322 | WHT | 16 | 60 | XT0332:2 | GEN CTRL
KA0188:14 | KA018914 | RED | 16R | 60 | XT0122:5 | GEN CTRL | KA/RED LARGE
KA0189:14 | KA018914 | RED | 16R | 60 | XT0122:5 | GEN CTRL
KA0364:3-BUS | KA018914 | RED | 16R | 60 | XT0122:5 | GEN CTRL
KA0188:24 | KA018924 | RED | 16R | 60 | XT0122:6 | GEN CTRL
KA0189:24 | KA018924 | RED | 16R | 60 | XT0122:6 | GEN CTRL
KA0364:4-BUS | KA018924 | RED | 16R | 60 | XT0122:6 | GEN CTRL
KA0188:34 | KA018934 | RED | 16R | 60 | XT0122:7 | GEN CTRL
KA0189:34 | KA018934 | RED | 16R | 60 | XT0122:7 | GEN CTRL
KA0364:1-GEN | KA018934 | RED | 16R | 60 | XT0122:7 | GEN CTRL
KA0188:44 | KA018944 | RED | 16R | 60 | XT0122:8 | GEN CTRL
KA0189:44 | KA018944 | RED | 16R | 60 | XT0122:8 | GEN CTRL
KA0364:2-GEN | KA018944 | RED | 16R | 60 | XT0122:8 | GEN CTRL
KA0189:13 | QF07812 | RED | 16R | 60 | XT0122:1 | GEN CTRL
KA0189:23 | QF07814 | RED | 16R | 60 | XT0122:2 | GEN CTRL
KA0188:13 | QF07822 | RED | 16R | 60 | XT0122:10 | GEN CTRL
KA0189:33 | QF07822 | RED | 16R | 60 | XT0122:10 | GEN CTRL
KA0188:23 | QF07824 | RED | 16R | 60 | XT0122:9 | GEN CTRL
KA0189:43 | QF07824 | RED | 16R | 60 | XT0122:9 | GEN CTRL
KA0188:33 | QF07842 | RED | 16R | 60 | QF0784:2 | GEN CTRL
KA0188:43 | QF07844 | RED | 16R | 60 | QF0784:4 | GEN CTRL
KA0121:A1 | -012101 | WHT | 20 | 60 | AF0121:01 | GEN CTRL | KA A1
KA0128:A1 | -012108 | WHT | 20 | 60 | AF0121:08 | GEN CTRL
KA7001:A1 | -012402 | WHT | 20 | 60 | AF0124:02 | GEN CTRL
KA0335:A1 | ESTOP | WHT | 20 | 60 | KA0337:A1 | GEN CTRL
KA0335:A1 | ESTOP | WHT | 20 | 60 | XT0121:1 | GEN CTRL
KA0310:A1 | FU0334 | WHT | 20 | 60 | XT0339:1 | GEN CTRL
KA0123:A1 | KA0123A1 | WHT | 20 | 100 | AF0121:03 | GEN CTRL
KA0123:A1 | KA0123A1 | WHT | 20 | 60 | KA0313:A1 | GEN CTRL
KA0186:A1 | KA0186A1 | WHT | 20 | 60 | KA0365:24 | GEN CTRL
KA0330:A1 | KA0330A1 | WHT | 20 | 60 | XT0338:5 | GEN CTRL
KA0331:A1 | KA0331A1 | WHT | 20 | 60 | XT0338:6 | GEN CTRL
KA0332:A1 | KA0332A1 | WHT | 20 | 60 | XT0338:4 | GEN CTRL
KA0333:A1 | KA0333A1 | WHT | 20 | 60 | XT0338:2 | GEN CTRL
KA0351:A1 | KA0351A1 | WHT | 20 | 60 | XT0123:3 | GEN CTRL
KA0352:A1 | KA0352A1 | WHT | 20 | 60 | XT0123:5 | GEN CTRL
KA0336:A1 | KA0131A1 | WHT | 16 | 60 | XT0121:2 | GEN CTRL
KA0121:A2 | -012117 | WHT | 20 | 60 | AF0121:17 | GEN CTRL | KA A2
KA0128:A2 | -012124 | WHT | 20 | 60 | AF0121:24 | GEN CTRL
KA7001:A2 | -012418 | WHT | 20 | 60 | AF0124:18 | GEN CTRL
KA0331:A2 | -0V | WHT | 20 | 60 | XT0336:5 | GEN CTRL
KA0333:A2 | -0V | WHT | 20 | 60 | XT0336:4 | GEN CTRL
KA0335:A2 | -0V | WHT | 20 | 60 | KA0337:A2 | GEN CTRL
KA0335:A2 | -0V | WHT | 20 | 60 | XT0120:8 | GEN CTRL
KA0351:A2 | -0V | WHT | 20 | 60 | XT0120:7 | GEN CTRL
KA7364:A2 | -0V | WHT | 20 | 60 | XT0120:5 | GEN CTRL
KA0123:A2 | KA0123A2 | WHT | 20 | 80 | AF0121:19 | GEN CTRL
KA0123:A2 | KA0123A2 | WHT | 20 | 80 | KA0313:A2 | GEN CTRL
KA0186:A2 | KA0186A2 | WHT | 20 | 60 | AF0121:28 | GEN CTRL
KA0330:11 | -012200 | WHT | 20 | 80 | AF0122:00 | GEN CTRL | KA
KA0331:11 | -012201 | WHT | 20 | 80 | AF0122:01 | GEN CTRL
KA7364:21 | -012209 | WHT | 20 | 60 | AF0122:09 | GEN CTRL
KA0330:14 | -012232 | WHT | 20 | 80 | AF0122:32 | GEN CTRL
KA0331:14 | -012233 | WHT | 20 | 80 | AF0122:33 | GEN CTRL
KA7364:24 | -012241 | WHT | 20 | 60 | AF0122:41 | GEN CTRL
KA0121:11 | FU0333 | WHT | 20 | 60 | XT0338:1 | GEN CTRL
KA0128:14 | FU0333 | WHT | 20 | 80 | KA0335:21 | GEN CTRL
KA0128:14 | FU0333 | WHT | 20 | 60 | XT0338:1 | GEN CTRL
KA0310:21 | FU0333 | WHT | 20 | 60 | KA0335:21 | GEN CTRL
KA0310:21 | FU0333 | WHT | 20 | 80 | KA0351:21 | GEN CTRL
KA0128:21 | KA012821 | WHT | 20 | 60 | XT0337:1 | GEN CTRL
KA0128:24 | KA012824 | WHT | 20 | 60 | XT0337:2 | GEN CTRL
KA0121:14 | KA018511 | WHT | 20 | 60 | XT0338:3 | GEN CTRL
KA0186:11 | KA018611 | WHT | 20 | 100 | AF0121:11 | GEN CTRL
KA0310:11 | KA031011 | WHT | 20 | 80 | AF0122:02 | GEN CTRL
KA0310:14 | KA031014 | WHT | 20 | 80 | AF0122:34 | GEN CTRL
KA0332:11 | KA033211 | WHT | 20 | 60 | XT0337:3 | GEN CTRL
KA0332:14 | KA033214 | WHT | 20 | 60 | XT0337:4 | GEN CTRL
KA0333:11 | KA033311 | WHT | 20 | 80 | KA0335:11 | GEN CTRL
KA0333:11 | KA033311 | WHT | 20 | 60 | XT0337:5 | GEN CTRL
KA0333:14 | KA033314 | WHT | 20 | 80 | KA0335:12 | GEN CTRL
KA0333:14 | KA033314 | WHT | 20 | 60 | XT0337:6 | GEN CTRL
KA0310:24 | KA0333A1 | WHT | 20 | 60 | KA0335:22 | GEN CTRL
KA0310:24 | KA0333A1 | WHT | 20 | 80 | XT0338:2 | GEN CTRL
KA0335:22 | KA0333A1 | WHT | 20 | 80 | KA0128:11 | GEN CTRL
KA0351:24 | KA0333A1 | WHT | 20 | 60 | XT0338:2 | GEN CTRL
KA0352:24 | KA0333A1 | WHT | 20 | 60 | XT0338:2 | GEN CTRL
KA0351:14 | KA035111 | WHT | 20 | 80 | AF0122:36 | GEN CTRL
KA0351:11 | KA035114 | WHT | 20 | 80 | AF0122:04 | GEN CTRL
KA0352:14 | KA035211 | WHT | 20 | 80 | AF0122:38 | GEN CTRL
KA0352:11 | KA035214 | WHT | 20 | 80 | AF0122:06 | GEN CTRL
KA0365:21 | KA036521 | WHT | 20 | 80 | AF0121:12 | GEN CTRL
KA7001:11 | KA700111 | WHT | 20 | 60 | XT7001:5 | GEN CTRL
KA7001:14 | KA700114 | WHT | 20 | 60 | XT7001:6 | GEN CTRL
KA0123:11 | FU0334 | WHT | 16 | 60 | XT0339:1 | GEN CTRL
QF0781:11 | QF078111 | WHT | 20 | 60 | AF0127:33 | GEN CTRL | QF
QF0781:14 | QF078211 | WHT | 20 | 60 | QF0782:11 | GEN CTRL
QF0782:14 | QF078411 | WHT | 20 | 60 | QF0784:11 | GEN CTRL
QF0784:14 | QF078414 | WHT | 20 | 60 | AF0127:01 | GEN CTRL
QF0782:1 | BUSPTA | RED | 16R | 60 | XT0780:6 | GEN CTRL | QF/RED
QF0782:3 | BUSPTB | RED | 16R | 60 | XT0780:7 | GEN CTRL
QF0782:5 | BUSPTC | RED | 16R | 60 | XT0780:8 | GEN CTRL
QF0781:2 | QF07812 | RED | 16R | 60 | XT0122:1 | GEN CTRL
QF0781:4 | QF07814 | RED | 16R | 60 | XT0122:2 | GEN CTRL
QF0782:2 | QF07822 | RED | 16R | 60 | XT0122:3 | GEN CTRL
QF0782:4 | QF07824 | RED | 16R | 60 | XT0122:4 | GEN CTRL
QF0781:1 | UTLPTA | RED | 16R | 60 | XT0780:1 | GEN CTRL
QF0781:3 | UTLPTB | RED | 16R | 60 | XT0780:2 | GEN CTRL
QF0781:5 | UTLPTC | RED | 16R | 60 | XT0780:3 | GEN CTRL
QF0784:3 | XT078010 | RED | 16R | 60 | XT0780:10 | GEN CTRL
QF0784:5 | XT078011 | RED | 16R | 60 | XT0780:11 | GEN CTRL
QF0784:1 | XT07809 | RED | 16R | 60 | XT0780:9 | GEN CTRL
XT0335:5 | FU0332 | WHT | 20 | 60 | XT0338:8 | GEN CTRL | XT
XT0336:2 | -0V | WHT | 14 | 60 | XT0120:1 | GEN CTRL
XT0122:10 | QF07822 | RED | 16R | 60 | XT0122:3 | GEN CTRL | XT/RED
XT0122:11 | XT07827 | RED | 16R | 60 | XT0782:7 | GEN CTRL
XT0782:1 | XT07827 | RED | 16R | 60 | XT0122:11 | GEN CTRL

## Bundle Tag Info
MER-SOL #11
4M371
B.11_M.2
JB70 | FS CTRL | HMI-S PWR | JB70 RAIL L | JB70 RAIL R | PLC | A | B | JB5 RAIL R | JB5 | JB72 RAIL L | GEN VIB | GEN CTRL | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT1100 | AT | FU/BA | AT | UV | AT/FU | AF/AU080s | AF/AU060s | FU | AF380s | AF/AU | AF | AF
HL0171 | GFM | UJ/FU-JB70 R RAIL | FU | XT | UV0600 | AF/AU090s | AF/AU070s |  | AF400s | FU/KA | XT/FU-GEN | AT
HL0172 | UV |  | KA A1 | UV/XT-B | BA-B | FU | AU700 |  | AF900s | AF/KA-GEN |  | AT/RED
HL0173 |  |  | KA A2 |  | FU/XT-B | KA A1 | FU |  | FU | XT/FU-GEN |  | AT/BLU
SA0170 |  |  | KA |  |  | KA A2 | KA A1 |  | KA A1 |  |  | FU
SA0471 |  |  | KT L/S |  |  | KA | KA A2 |  | KA A2 |  |  | FV
SA0472 |  |  | KT R/S |  |  | KT L/S | KA |  | KA |  |  | FV/RED
SA0473 |  |  | XT |  |  | KT R/S | UA1200 |  | KT L/S |  |  | KA LARGE
SB0170 |  |  | KA A1-A |  |  | PC0470 | XT |  | KT R/S |  |  | KA/RED LARGE
SB0471 |  |  | KA-A |  |  | UJ0131 |  |  | XT |  |  | KA A1
SB0472 |  |  | KT-A |  |  | XT | [5 empty] | KA A2
SB0473 |  |  | FU/XT-A |  |  | AF080s-B | [5 empty] | KA
SB0474 |  |  | KA-B |  |  | AF090s-B | [5 empty] | QF
SH0470 |  |  | AT-FS CTRL |  |  | KA A1/A2-B | [5 empty] | QF/RED
SH0471 |  |  | FU-FS CTRL |  |  | KA-B | [5 empty] | XT
SH0472 |  |  | KA-FS CTRL |  |  | KT-B | [5 empty] | XT/RED
|  |  | XT-FS CTRL |  |  | XT-B
AT/KA-JB70
FU/XT-JB70 R RAIL
THRU RAIL

## Bundle Tags2
JB70 | FS CTRL | HMI-S PWR | JB70 RAIL L | JB70 RAIL R | PLC | A | B | JB5 RAIL R | JB5 | JB72 RAIL L | GEN VIB | GEN CTRL
MER-SOL #11 4M371 B.11_M.2 JB70 AT1100 | MER-SOL #11 4M371 B.11_M.2 FS CTRL AT | MER-SOL #11 4M371 B.11_M.2 HMI-S PWR FU/BA | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L AT | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL R UV | MER-SOL #11 4M371 B.11_M.2 PLC AT/FU | MER-SOL #11 4M371 B.11_M.2 A AF/AU080s | MER-SOL #11 4M371 B.11_M.2 B AF/AU060s | MER-SOL #11 4M371 B.11_M.2 JB5 RAIL R FU | MER-SOL #11 4M371 B.11_M.2 JB5 AF380s | MER-SOL #11 4M371 B.11_M.2 JB72 RAIL L AF/AU | MER-SOL #11 4M371 B.11_M.2 GEN VIB AF | MER-SOL #11 4M371 B.11_M.2 GEN CTRL AF
MER-SOL #11 4M371 B.11_M.2 JB70 HL0171 | MER-SOL #11 4M371 B.11_M.2 FS CTRL GFM | MER-SOL #11 4M371 B.11_M.2 HMI-S PWR UJ/FU-JB70 R RAIL | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L FU | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL R XT | MER-SOL #11 4M371 B.11_M.2 PLC UV0600 | MER-SOL #11 4M371 B.11_M.2 A AF/AU090s | MER-SOL #11 4M371 B.11_M.2 B AF/AU070s |  | MER-SOL #11 4M371 B.11_M.2 JB5 AF400s | MER-SOL #11 4M371 B.11_M.2 JB72 RAIL L FU/KA | MER-SOL #11 4M371 B.11_M.2 GEN VIB XT/FU-GEN | MER-SOL #11 4M371 B.11_M.2 GEN CTRL AT
MER-SOL #11 4M371 B.11_M.2 JB70 HL0172 | MER-SOL #11 4M371 B.11_M.2 FS CTRL UV |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA A1 | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL R UV/XT-B | MER-SOL #11 4M371 B.11_M.2 PLC BA-B | MER-SOL #11 4M371 B.11_M.2 A FU | MER-SOL #11 4M371 B.11_M.2 B AU700 |  | MER-SOL #11 4M371 B.11_M.2 JB5 AF900s | MER-SOL #11 4M371 B.11_M.2 JB72 RAIL L AF/KA-GEN |  | MER-SOL #11 4M371 B.11_M.2 GEN CTRL AT/RED
MER-SOL #11 4M371 B.11_M.2 JB70 HL0173 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA A2 |  | MER-SOL #11 4M371 B.11_M.2 PLC FU/XT-B | MER-SOL #11 4M371 B.11_M.2 A KA A1 | MER-SOL #11 4M371 B.11_M.2 B FU |  | MER-SOL #11 4M371 B.11_M.2 JB5 FU | MER-SOL #11 4M371 B.11_M.2 JB72 RAIL L XT/FU-GEN |  | MER-SOL #11 4M371 B.11_M.2 GEN CTRL AT/BLU
MER-SOL #11 4M371 B.11_M.2 JB70 SA0170 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA |  |  | MER-SOL #11 4M371 B.11_M.2 A KA A2 | MER-SOL #11 4M371 B.11_M.2 B KA A1 |  | MER-SOL #11 4M371 B.11_M.2 JB5 KA A1 |  |  | MER-SOL #11 4M371 B.11_M.2 GEN CTRL FU
MER-SOL #11 4M371 B.11_M.2 JB70 SA0471 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KT L/S |  |  | MER-SOL #11 4M371 B.11_M.2 A KA | MER-SOL #11 4M371 B.11_M.2 B KA A2 |  | MER-SOL #11 4M371 B.11_M.2 JB5 KA A2 |  |  | MER-SOL #11 4M371 B.11_M.2 GEN CTRL FV
MER-SOL #11 4M371 B.11_M.2 JB70 SA0472 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KT R/S |  |  | MER-SOL #11 4M371 B.11_M.2 A KT L/S | MER-SOL #11 4M371 B.11_M.2 B KA |  | MER-SOL #11 4M371 B.11_M.2 JB5 KA |  |  | MER-SOL #11 4M371 B.11_M.2 GEN CTRL FV/RED
MER-SOL #11 4M371 B.11_M.2 JB70 SA0473 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L XT |  |  | MER-SOL #11 4M371 B.11_M.2 A KT R/S | MER-SOL #11 4M371 B.11_M.2 B UA1200 |  | MER-SOL #11 4M371 B.11_M.2 JB5 KT L/S |  |  | MER-SOL #11 4M371 B.11_M.2 GEN CTRL KA LARGE
MER-SOL #11 4M371 B.11_M.2 JB70 SB0170 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA A1-A |  |  | MER-SOL #11 4M371 B.11_M.2 A PC0470 | MER-SOL #11 4M371 B.11_M.2 B XT |  | MER-SOL #11 4M371 B.11_M.2 JB5 KT R/S |  |  | MER-SOL #11 4M371 B.11_M.2 GEN CTRL KA/RED LARGE
MER-SOL #11 4M371 B.11_M.2 JB70 SB0471 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA-A |  |  | MER-SOL #11 4M371 B.11_M.2 A UJ0131 |  |  | MER-SOL #11 4M371 B.11_M.2 JB5 XT |  |  | MER-SOL #11 4M371 B.11_M.2 GEN CTRL KA A1
MER-SOL #11 4M371 B.11_M.2 JB70 SB0472 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KT-A |  |  | MER-SOL #11 4M371 B.11_M.2 A XT | [5 empty] | MER-SOL #11 4M371 B.11_M.2 GEN CTRL KA A2
MER-SOL #11 4M371 B.11_M.2 JB70 SB0473 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L FU/XT-A |  |  | MER-SOL #11 4M371 B.11_M.2 A AF080s-B | [5 empty] | MER-SOL #11 4M371 B.11_M.2 GEN CTRL KA
MER-SOL #11 4M371 B.11_M.2 JB70 SB0474 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA-B |  |  | MER-SOL #11 4M371 B.11_M.2 A AF090s-B | [5 empty] | MER-SOL #11 4M371 B.11_M.2 GEN CTRL QF
MER-SOL #11 4M371 B.11_M.2 JB70 SH0470 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L AT-FS CTRL |  |  | MER-SOL #11 4M371 B.11_M.2 A KA A1/A2-B | [5 empty] | MER-SOL #11 4M371 B.11_M.2 GEN CTRL QF/RED
MER-SOL #11 4M371 B.11_M.2 JB70 SH0471 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L FU-FS CTRL |  |  | MER-SOL #11 4M371 B.11_M.2 A KA-B | [5 empty] | MER-SOL #11 4M371 B.11_M.2 GEN CTRL XT
MER-SOL #11 4M371 B.11_M.2 JB70 SH0472 |  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA-FS CTRL |  |  | MER-SOL #11 4M371 B.11_M.2 A KT-B | [5 empty] | MER-SOL #11 4M371 B.11_M.2 GEN CTRL XT/RED
|  |  | MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L XT-FS CTRL |  |  | MER-SOL #11 4M371 B.11_M.2 A XT-B
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L AT/KA-JB70
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L FU/XT-JB70 R RAIL
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L THRU RAIL

## ALL
ALL
MER-SOL #11 4M371 B.11_M.2 JB70 AT1100
MER-SOL #11 4M371 B.11_M.2 JB70 HL0171
MER-SOL #11 4M371 B.11_M.2 JB70 HL0172
MER-SOL #11 4M371 B.11_M.2 JB70 HL0173
MER-SOL #11 4M371 B.11_M.2 JB70 SA0170
MER-SOL #11 4M371 B.11_M.2 JB70 SA0471
MER-SOL #11 4M371 B.11_M.2 JB70 SA0472
MER-SOL #11 4M371 B.11_M.2 JB70 SA0473
MER-SOL #11 4M371 B.11_M.2 JB70 SB0170
MER-SOL #11 4M371 B.11_M.2 JB70 SB0471
MER-SOL #11 4M371 B.11_M.2 JB70 SB0472
MER-SOL #11 4M371 B.11_M.2 JB70 SB0473
MER-SOL #11 4M371 B.11_M.2 JB70 SB0474
MER-SOL #11 4M371 B.11_M.2 JB70 SH0470
MER-SOL #11 4M371 B.11_M.2 JB70 SH0471
MER-SOL #11 4M371 B.11_M.2 JB70 SH0472
MER-SOL #11 4M371 B.11_M.2 FS CTRL AT
MER-SOL #11 4M371 B.11_M.2 FS CTRL GFM
MER-SOL #11 4M371 B.11_M.2 FS CTRL UV
MER-SOL #11 4M371 B.11_M.2 HMI-S PWR FU/BA
MER-SOL #11 4M371 B.11_M.2 HMI-S PWR UJ/FU-JB70 R RAIL
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L AT
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L FU
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA A1
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA A2
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KT L/S
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KT R/S
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L XT
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA A1-A
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA-A
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KT-A
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L FU/XT-A
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA-B
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L AT-FS CTRL
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L FU-FS CTRL
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L KA-FS CTRL
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L XT-FS CTRL
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L AT/KA-JB70
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L FU/XT-JB70 R RAIL
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL L THRU RAIL
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL R UV
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL R XT
MER-SOL #11 4M371 B.11_M.2 JB70 RAIL R UV/XT-B
MER-SOL #11 4M371 B.11_M.2 PLC AT/FU
MER-SOL #11 4M371 B.11_M.2 PLC UV0600
MER-SOL #11 4M371 B.11_M.2 PLC BA-B
MER-SOL #11 4M371 B.11_M.2 PLC FU/XT-B
MER-SOL #11 4M371 B.11_M.2 A AF/AU080s
MER-SOL #11 4M371 B.11_M.2 A AF/AU090s
MER-SOL #11 4M371 B.11_M.2 A FU
MER-SOL #11 4M371 B.11_M.2 A KA A1
MER-SOL #11 4M371 B.11_M.2 A KA A2
MER-SOL #11 4M371 B.11_M.2 A KA
MER-SOL #11 4M371 B.11_M.2 A KT L/S
MER-SOL #11 4M371 B.11_M.2 A KT R/S
MER-SOL #11 4M371 B.11_M.2 A PC0470
MER-SOL #11 4M371 B.11_M.2 A UJ0131
MER-SOL #11 4M371 B.11_M.2 A XT
MER-SOL #11 4M371 B.11_M.2 A AF080s-B
MER-SOL #11 4M371 B.11_M.2 A AF090s-B
MER-SOL #11 4M371 B.11_M.2 A KA A1/A2-B
MER-SOL #11 4M371 B.11_M.2 A KA-B
MER-SOL #11 4M371 B.11_M.2 A KT-B
MER-SOL #11 4M371 B.11_M.2 A XT-B
MER-SOL #11 4M371 B.11_M.2 B AF/AU060s
MER-SOL #11 4M371 B.11_M.2 B AF/AU070s
MER-SOL #11 4M371 B.11_M.2 B AU700
MER-SOL #11 4M371 B.11_M.2 B FU
MER-SOL #11 4M371 B.11_M.2 B KA A1
MER-SOL #11 4M371 B.11_M.2 B KA A2
MER-SOL #11 4M371 B.11_M.2 B KA
MER-SOL #11 4M371 B.11_M.2 B UA1200
MER-SOL #11 4M371 B.11_M.2 B XT
MER-SOL #11 4M371 B.11_M.2 JB5 RAIL R FU
MER-SOL #11 4M371 B.11_M.2 JB5 AF380s
MER-SOL #11 4M371 B.11_M.2 JB5 AF400s
MER-SOL #11 4M371 B.11_M.2 JB5 AF900s
MER-SOL #11 4M371 B.11_M.2 JB5 FU
MER-SOL #11 4M371 B.11_M.2 JB5 KA A1
MER-SOL #11 4M371 B.11_M.2 JB5 KA A2
MER-SOL #11 4M371 B.11_M.2 JB5 KA
MER-SOL #11 4M371 B.11_M.2 JB5 KT L/S
MER-SOL #11 4M371 B.11_M.2 JB5 KT R/S
MER-SOL #11 4M371 B.11_M.2 JB5 XT
MER-SOL #11 4M371 B.11_M.2 JB72 RAIL L AF/AU
MER-SOL #11 4M371 B.11_M.2 JB72 RAIL L FU/KA
MER-SOL #11 4M371 B.11_M.2 JB72 RAIL L AF/KA-GEN
MER-SOL #11 4M371 B.11_M.2 JB72 RAIL L XT/FU-GEN
MER-SOL #11 4M371 B.11_M.2 GEN VIB AF
MER-SOL #11 4M371 B.11_M.2 GEN VIB XT/FU-GEN
MER-SOL #11 4M371 B.11_M.2 GEN CTRL AF
MER-SOL #11 4M371 B.11_M.2 GEN CTRL AT
MER-SOL #11 4M371 B.11_M.2 GEN CTRL AT/RED
MER-SOL #11 4M371 B.11_M.2 GEN CTRL AT/BLU
MER-SOL #11 4M371 B.11_M.2 GEN CTRL FU
MER-SOL #11 4M371 B.11_M.2 GEN CTRL FV
MER-SOL #11 4M371 B.11_M.2 GEN CTRL FV/RED
MER-SOL #11 4M371 B.11_M.2 GEN CTRL KA LARGE
MER-SOL #11 4M371 B.11_M.2 GEN CTRL KA/RED LARGE
MER-SOL #11 4M371 B.11_M.2 GEN CTRL KA A1
MER-SOL #11 4M371 B.11_M.2 GEN CTRL KA A2
MER-SOL #11 4M371 B.11_M.2 GEN CTRL KA
MER-SOL #11 4M371 B.11_M.2 GEN CTRL QF
MER-SOL #11 4M371 B.11_M.2 GEN CTRL QF/RED
MER-SOL #11 4M371 B.11_M.2 GEN CTRL XT
MER-SOL #11 4M371 B.11_M.2 GEN CTRL XT/RED