## DOOR_S
DOOR,JB70
JB70 DOORS
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:NEG | -0V | WHT | 14 | 240 | XT0134:3 | A | AT1100
AT1100:POS | FU1100 | WHT | 14 | 180 | FU1100:LD | JB70 R RAIL
HL0171:X1 | HL0171X1 | WHT | 20 | 140 | XT0174:5 | FS CTRL | HL0171
HL0171:X2 | HL0171X2 | WHT | 20 | 140 | XT0174:3 | FS CTRL
HL0172:X1 | HL0172X1 | WHT | 20 | 140 | XT0174:8 | FS CTRL | HL0172
HL0172:X2 | HL0172X2 | WHT | 20 | 140 | XT0174:6 | FS CTRL
HL0173:X1 | HL0173X1 | WHT | 20 | 140 | XT0174:11 | FS CTRL | HL0173
HL0173:X2 | HL0173X2 | WHT | 20 | 140 | XT0174:9 | FS CTRL
SA0170:B2-13 | AT01754P1 | WHT | 20 | 180 | AT0175:4P1 | JB70 L RAIL | SA0170
SA0170:B1-13 | SA0170B113 | WHT | 20 | 140 | XT0170:11 | FS CTRL
SA0170:B1-14 | SA0170B114 | WHT | 20 | 140 | XT0170:12 | FS CTRL
SA0170:B2-14 | SA0170B214 | WHT | 20 | 180 | KA6510:A1 | JB70 L RAIL
SA0471:B1-13 | SA0471B113 | WHT | 20 | 240 | AF0087:40 | A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 240 | AF0087:08 | A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 240 | AF0087:39 | A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 240 | AF0087:07 | A
SA0473:11 | SA047311 | WHT | 20 | 240 | AF0087:37 | A | SA0473
SA0473:12 | SA047312 | WHT | 20 | 240 | AF0087:05 | A
SA0473:13 | SA047313 | WHT | 20 | 240 | AF0087:38 | A
SA0473:14 | SA047314 | WHT | 20 | 240 | AF0087:06 | A
SA0474:B1-13 | SA0474B113 | WHT | 20 | 240 | AF0087:45 | A | SA0474
SA0474:B1-14 | SA0474B114 | WHT | 20 | 240 | AF0087:13 | A
SA0474:B2-13 | SA0474B213 | WHT | 20 | 240 | AF0087:44 | A
SA0474:B2-14 | SA0474B214 | WHT | 20 | 240 | AF0087:12 | A
SB0170:13 | SB017013 | WHT | 20 | 140 | XT0174:1 | FS CTRL | SB0170
SB0170:14 | SB017014 | WHT | 20 | 140 | XT0174:2 | FS CTRL
SB0471:11 | SB047111 | WHT | 20 | 240 | AF0087:34 | A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 240 | AF0087:02 | A
SB0472:B1-12 | ESTOP | WHT | 20 | 180 | XT0137:2 | JB70 R RAIL | SB0472
SB0472:B1-11 | SB0472AB111 | WHT | 20 | 180 | XT0137:1 | JB70 R RAIL
SB0472:B2-11 | SB0472AB211 | WHT | 20 | 180 | XT0137:9 | JB70 R RAIL
SB0472:B2-12 | SB0472B212 | WHT | 20 | 240 | AF0081:04 | A
SB0473:13 | SB047313 | WHT | 20 | 240 | AF0087:35 | A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 240 | AF0087:03 | A
SB0474:13 | SB047413 | WHT | 20 | 240 | AF0087:36 | A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 240 | AF0087:04 | A
SH0470:11 | SH047011 | WHT | 20 | 240 | AF0087:33 | A | SH0470
SH0470:12 | SH047012 | WHT | 20 | 240 | AF0087:01 | A
SH0470:13 | SH047013 | WHT | 20 | 180 | XT0137:5 | JB70 R RAIL
SH0470:14 | SH047014 | WHT | 20 | 180 | XT0137:6 | JB70 R RAIL
SH0470:X1 | SH0470X1 | WHT | 20 | 240 | AF0093:22 | A
SH0470:X2 | SH0470X2 | WHT | 20 | 240 | AF0093:06 | A
SH0471:11 | SH047111 | WHT | 20 | 180 | XT0137:3 | JB70 R RAIL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 180 | XT0137:4 | JB70 R RAIL
SH0471:13 | SH047113 | WHT | 20 | 240 | AF0087:32 | A
SH0471:14 | SH047114 | WHT | 20 | 240 | AF0087:00 | A
SH0471:X1 | SH0471X1 | WHT | 20 | 240 | AF0093:31 | A
SH0471:X2 | SH0471X2 | WHT | 20 | 240 | AF0093:15 | A
SH0472:X1 | -0V | WHT | 20 | 200 | XT0236:3 | B | SH0472
SH0472:13 | FU0139 | WHT | 20 | 200 | XT0236:1 | B
SH0472:14 | KA0241A1 | WHT | 20 | 200 | XT0236:2 | B
SH0472:11 | SH047211 | WHT | 20 | 200 | XT0236:4 | B
SH0472:12 | SH047212 | WHT | 20 | 200 | XT0236:5 | B
SH0472:X2 | SH0472X2 | WHT | 20 | 200 | XT0237:2 B1 | B

## FS CTRL_S
FIRE PNL,JB70
CONTROL CONSOLE DOOR^(FIRE SYSTEM PANEL)
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0170:45 | AT017045 | WHT | 20 | 60 | XT0170:5 | FS CTRL | AT
AT0170:46 | AT017046 | WHT | 20 | 60 | XT0170:6 | FS CTRL
AT0170:11 | SA0170B113 | WHT | 20 | 60 | XT0170:11 | FS CTRL
AT0170:12 | SA0170B114 | WHT | 20 | 60 | XT0170:12 | FS CTRL
AT0170:1 | UV01705 | WHT | 14 | 60 | UV0170:5(+) | FS CTRL
AT0170:2 | UV01706 | WHT | 14 | 60 | UV0170:6(-) | FS CTRL
AT0170:3 | UV01707 | WHT | 14 | 60 | UV0170:7(+) | FS CTRL
AT0170:4 | UV01708 | WHT | 14 | 60 | UV0170:8(-) | FS CTRL
UV0170:2(-) | -0V | WHT | 14 | 60 | XT0170:3 | FS CTRL | UV
UV0170:4(-) | -0V | WHT | 14 | 60 | XT0170:3 | FS CTRL
UV0170:1(+) | FU0170 | WHT | 14 | 60 | XT0170:2 | FS CTRL
UV0170:3(+) | FU0170 | WHT | 14 | 60 | XT0170:2 | FS CTRL
UV0170:14(-) | LON0N | WHT | 14 | 60 | XT0170:19 | FS CTRL
UV0170:13(+) | LON0P | WHT | 14 | 60 | XT0170:18 | FS CTRL
UV0170:16(-) | LON2N | WHT | 14 | 60 | XT0170:22 | FS CTRL
UV0170:15(+) | LON2P | WHT | 14 | 60 | XT0170:21 | FS CTRL
XT0170:4 | -0V | WHT | 20 | 60 | XT0170:14 | FS CTRL | FU/XT
FU0170:LD | FU0170 | WHT | 14 | 60 | XT0170:2 | FS CTRL

## JB70 L RAIL_S
JB70 LEFT RAIL
TURBINE CONTROL BOX, LEFT RAIL
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0176:4P1 | AT01764P1 | WHT | 14 | 60 | AT0178:1P1 | JB70 L RAIL | AT
AT0176:5P1 | AT01765P1 | WHT | 14 | 60 | AT0178:2P1 | JB70 L RAIL
KA6510:A2 | KA6510A2 | WHT | 20 | 120 | AT0175:5P1 | JB70 L RAIL | KA
KA6510:12 | KA651012 | WHT | 20 | 120 | AT0175:11 | JB70 L RAIL
KA6511:22 | KA651122 | WHT | 20 | 120 | AT0176:17 | JB70 L RAIL
XT0172:6 | LON1S2 | WHT | 16 | 60 | XT0172:18 | JB70 L RAIL | XT
XT0172:17 | -0V | WHT | 14 | 60 | XT0172:8 | JB70 L RAIL
XT0172:5 | -0V | WHT | 14 | 60 | XT0172:17 | JB70 L RAIL
XT0172:16 | FU0170 | WHT | 14 | 60 | XT0172:7 | JB70 L RAIL
XT0172:4 | FU0170 | WHT | 14 | 60 | XT0172:16 | JB70 L RAIL
XT0172:18 | LON1S2 | WHT | 14 | 60 | XT0172:9 | JB70 L RAIL
KA0875:A1 | -009212 | WHT | 20 | 200 | AF0092:12 | A | KA-A
KA0875:A2 | -009228 | WHT | 20 | 200 | AF0092:28 | A
KA0875:14 | FU0170 | WHT | 20 | 220 | KA0232:12 | B | KA-B
KA0178:14 | KA017814 | WHT | 20 | 220 | KA0232:11 | B
AT0175:18 | HL0171X1 | WHT | 20 | 140 | XT0174:5 | FS CTRL | AT-FS CTRL
AT0175:21 | HL0172X1 | WHT | 20 | 140 | XT0174:8 | FS CTRL
AT0175:24 | HL0173X1 | WHT | 20 | 140 | XT0174:11 | FS CTRL
AT0178:24 | KA0178A2 | WHT | 20 | 140 | XT0170:17 | FS CTRL
AT0175:2 | SB017013 | WHT | 20 | 140 | XT0174:1 | FS CTRL
AT0175:3 | SB017014 | WHT | 20 | 140 | XT0174:2 | FS CTRL
AT0175:17 | VD0175A | WHT | 20 | 140 | XT0174:4 | FS CTRL
AT0175:23 | VD0175D | WHT | 20 | 140 | XT0174:10 | FS CTRL
AT0175:20 | VD0175I | WHT | 20 | 140 | XT0174:7 | FS CTRL
AT0178:23 | VD0178 | WHT | 20 | 140 | XT0170:16 | FS CTRL
AT0178:20 | ZS61P | WHT | 20 | 140 | XT0170:24 | FS CTRL
AT0178:21 | ZS61S | WHT | 20 | 140 | XT0170:25 | FS CTRL
AT0175:2P1 | UV017010 | WHT | 14 | 200 | UV0170:10(-) | FS CTRL
AT0176:1P1 | UV017011 | WHT | 14 | 200 | UV0170:11(+) | FS CTRL
AT0176:2P1 | UV017012 | WHT | 14 | 200 | UV0170:12(-) | FS CTRL
AT0175:1P1 | UV01709 | WHT | 14 | 200 | UV0170:9(+) | FS CTRL
KA0172:A1 | AT017025 | WHT | 20 | 160 | AT0170:25 | FS CTRL | KA A1/A2-FS CTRL
KA0174:A1 | AT017031 | WHT | 20 | 160 | AT0170:31 | FS CTRL
KA0178:A1 | KA0178A1 | WHT | 20 | 160 | XT0170:15 | FS CTRL
KA0172:A2 | -0V | WHT | 20 | 140 | XT0170:4 | FS CTRL
KA0178:A2 | KA0178A2 | WHT | 20 | 140 | XT0170:17 | FS CTRL
KA0875:14 | FU0170 | WHT | 20 | 200 | XT0170:1 | FS CTRL | KA-FS CTRL
KA0875:11 | HA04722 | WHT | 20 | 200 | XT0170:13 | FS CTRL
KA0172:11 | KA017211 | WHT | 20 | 200 | XT0170:7 | FS CTRL
KA0172:12 | KA017212 | WHT | 20 | 200 | XT0170:8 | FS CTRL
KA0174:11 | KA017411 | WHT | 20 | 200 | XT0170:9 | FS CTRL
KA0174:12 | KA017412 | WHT | 20 | 200 | XT0170:10 | FS CTRL
XT0172:5 | -0V | WHT | 20 | 200 | XT0170:4 | FS CTRL | XT-FS CTRL
XT0172:4 | FU0170 | WHT | 14 | 200 | XT0170:1 | FS CTRL
XT0170:3 | -0V | WHT | 14 | 300 | XT0134:2 | A | THRU RAIL(A)
FU0170:LI | FU0136 | WHT | 12 | 300 | XT0138:2 | A
AT0170:24 | FU0139 | WHT | 20 | 360 | XT0240:12 | B | THRU RAIL(B)
AT0170:30 | FU0139 | WHT | 20 | 360 | XT0240:12 | B
AT0170:26 | KA0243A1 | WHT | 20 | 360 | XT0240:7 | B
AT0170:32 | KA0245A1 | WHT | 20 | 360 | XT0240:8 | B
XT0170:3 | -0V | WHT | 20 | 360 | KA0176:A2 | B
XT0170:2 | FU0170 | WHT | 20 | 360 | KA0232:22 | B
XT0170:14 | -0V | WHT | 20 | 400 | XT0137:12 | JB70 R RAIL | THRU RAIL(R RAIL)
XT0170:13 | HA04722 | WHT | 20 | 400 | XT0137:11 | JB70 R RAIL

## JB70 R RAIL_S
JB70 RIGHT RAIL
TURBINE CONTROL BOX, RIGHT RAIL
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0609:V1(-) | -0V | WHT | 16 | 60 | XT0005:2 | JB70 R RAIL | BA
BA1100:NEG | BA1100N | WHT | 16 | 60 | XT0291:6 | JB70 R RAIL
BA1100:POS | BA1100P | WHT | 16 | 60 | XT0291:3 | JB70 R RAIL
BA0609:V1(+) | FU0009LD | WHT | 16 | 60 | FU0009:LD | JB70 R RAIL
UJ1100:OUT1(-) | BA1100N | WHT | 16 | 60 | XT0291:4 | JB70 R RAIL | UJ
UJ1100:OUT1(+) | BA1100P | WHT | 16 | 60 | XT0291:1 | JB70 R RAIL
UJ1100:24V(+) | FU1101LD | WHT | 16 | 60 | FU1101:LD | JB70 R RAIL
XT0137:1 | SB0472AB111 | WHT | 20 | 60 | XT0137:7 | JB70 R RAIL | FU/XT
FU0009:LI | FU0210 | WHT | 16 | 60 | XT0005:1 | JB70 R RAIL
XT0137:2 | ESTOP | WHT | 20 | 180 | XT0240:4 | B | XT-B
XT0137:8 | ESTOPA | WHT | 20 | 180 | XT0240:3 | B
UJ1100:24V(-) | -0V | WHT | 16 | 200 | XT0135:2 | A | UJ-A
XT0005:2 | -0V | WHT | 20 | 200 | XT0235:3 | A | FU/XT-A
XT0137:10 | SB0472AB212 | WHT | 20 | 200 | AF0081:36 | A
FU1101:LI | FU0137 | WHT | 16 | 200 | XT0139:1 | A
XT0005:1 | FU0210 | WHT | 16 | 200 | XT0233:3 | A
FU1100:LI | FU0136 | WHT | 14 | 200 | XT0138:3 | A

## PLC_S
PLC
PLC PANEL,JB70
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | PLC | FU/AT
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
UV0600:(-) | -0V | WHT | 14 | 80 | XT0135:1 | A | UV-A
UV0600:(+) | FU0010 | WHT | 14 | 80 | FU0010:LD | A
XT0680:2 | -0V | WHT | 14 | 80 | XT0235:3 | A | FU/XT-A
FU0680:LI | FU0210 | WHT | 14 | 80 | XT0233:3 | A
Note on D18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Gauge mismatch Was: 16G Changed to: 14G MRCA:

## A_S
PANEL A
CONTROL A,JB70
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
PC0470:INP_A | -009312 | WHT | 20 | 80 | AF0093:12 | A | PC
PC0470:-PWR | -009328 | WHT | 20 | 80 | AF0093:28 | A
PC0470:+PWR | -009344 | WHT | 20 | 80 | AF0093:44 | A
AU0080:V+ | -0V | WHT | 14 | 60 | XT0080:1 | A | AU080
AU0080:V+ | FU0080 | WHT | 14 | 60 | FU0080:LD | A
AF0092:03 | -009203 | WHT | 20 | 60 | XT0171:4 | A | AF/AU090s
AF0093:00 | -009300 | WHT | 20 | 60 | XT0171:2 | A
AF0093:14 | -009314 | WHT | 20 | 60 | XT0171:6 | A
AF0094:05 | -0V | WHT | 20 | 60 | XT0135:4 | A
AF0094:07 | -0V | WHT | 20 | 60 | XT0135:4 | A
AF0094:10 | UJ0031IOUT | WHT | 20 | 60 | XT0085:4 | A
AF0091:40 | UJ0031OK1 | WHT | 20 | 60 | XT0085:6 | A
AF0091:08 | UJ0031OK2 | WHT | 20 | 60 | XT0085:7 | A
AF0094:08 | UJ0031VIN | WHT | 20 | 60 | XT0085:3 | A
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | A
AF0092:COM | -0V | WHT | 14 | 60 | XT0081:1 | A
AF0093:COM | -0V | WHT | 14 | 60 | XT0081:2 | A
AF0094:09 | -0V | WHT | 14 | 60 | XT0135:3 | A
AF0094:11 | -0V | WHT | 14 | 60 | XT0135:3 | A
AF0095:COM | -0V | WHT | 14 | 60 | XT0081:2 | A
AU0090:COM | -0V | WHT | 14 | 60 | XT0081:1 | A
AF0091:V+ | AF0091P | WHT | 14 | 60 | AF0094:V+ | A
AF0094:COM | AF0094N | WHT | 14 | 60 | AF0096:COM | A
AF0094:V+ | AF0094P | WHT | 14 | 60 | AF0096:V+ | A
AU0090:V+ | FU0090 | WHT | 14 | 60 | FU0090:LD | A
AF0092:V+ | FU0091 | WHT | 14 | 80 | FU0091:LD | A
AF0093:V+ | FU0092 | WHT | 14 | 80 | FU0092:LD | A
AF0095:V+ | FU0093 | WHT | 14 | 80 | FU0093:LD | A
FU0212:LD | FU0212 | WHT | 16 | 60 | XT0233:4 | A | FU
FU0010:LI | FU0137 | WHT | 14 | 60 | XT0139:1 | A
FU0080:LI | FU0137 | WHT | 14 | 60 | XT0139:1 | A
FU0090:LI | FU0137 | WHT | 14 | 60 | XT0139:2 | A
FU0211:LI | FU0137 | WHT | 14 | 60 | XT0139:3 | A
FU0139:LD | FU0139 | WHT | 14 | 80 | XT0136:1 | A
FU0212:LI | FU0210 | WHT | 14 | 60 | XT0233:1 | A
FU0137:LI | FU0136 | WHT | 12 | 60 | XT0138:1 | A
FU0210:LI | FU0136 | WHT | 12 | 60 | XT0138:4 | A
FU0137:LD | FU0137 | WHT | 12 | 60 | XT0139:1 | A
FU0210:LD | FU0210 | WHT | 12 | 60 | XT0233:1 | A
KA1306:A1 | -009200 | WHT | 20 | 120 | AF0092:00 | A | KA A1
KA3103:A1 | -009201 | WHT | 20 | 60 | AF0092:01 | A
KA2160:A1 | -009204 | WHT | 20 | 60 | AF0092:04 | A
KA2161:A1 | -009207 | WHT | 20 | 60 | AF0092:07 | A
KA401:A1 | -009301 | WHT | 20 | 120 | AF0093:01 | A
KA402:A1 | -009302 | WHT | 20 | 120 | AF0093:02 | A
KA403:A1 | -009303 | WHT | 20 | 120 | AF0093:03 | A
KA404:A1 | -009304 | WHT | 20 | 120 | AF0093:04 | A
KA405:A1 | -009305 | WHT | 20 | 120 | AF0093:05 | A
KA406:A1 | -009307 | WHT | 20 | 120 | AF0093:07 | A
KA407:A1 | -009308 | WHT | 20 | 120 | AF0093:08 | A
KA408:A1 | -009311 | WHT | 20 | 120 | AF0093:11 | A
KA0140:A1 | PS32002 | WHT | 20 | 60 | XT0136:5 | A
KA1306:A2 | -009216 | WHT | 20 | 120 | AF0092:16 | A | KA A2
KA3103:A2 | -009217 | WHT | 20 | 60 | AF0092:17 | A
KA6241:A2 | -009219 | WHT | 20 | 60 | AF0092:19 | A
KA2160:A2 | -009220 | WHT | 20 | 60 | AF0092:20 | A
KA2161:A2 | -009223 | WHT | 20 | 60 | AF0092:23 | A
KA6211:A2 | -009316 | WHT | 20 | 60 | AF0093:16 | A
KA401:A2 | -009317 | WHT | 20 | 120 | AF0093:17 | A
KA402:A2 | -009318 | WHT | 20 | 120 | AF0093:18 | A
KA403:A2 | -009319 | WHT | 20 | 120 | AF0093:19 | A
KA404:A2 | -009320 | WHT | 20 | 120 | AF0093:20 | A
KA405:A2 | -009321 | WHT | 20 | 120 | AF0093:21 | A
KA406:A2 | -009323 | WHT | 20 | 120 | AF0093:23 | A
KA407:A2 | -009324 | WHT | 20 | 120 | AF0093:24 | A
KA408:A2 | -009327 | WHT | 20 | 120 | AF0093:27 | A
KA6212:A2 | -009330 | WHT | 20 | 120 | AF0093:30 | A
KA0177:14 | -009346 | WHT | 20 | 120 | AF0093:46 | A | KA
KA0140:24 | FU0139 | WHT | 20 | 60 | XT0136:11 | A
KA0177:11 | KA017711 | WHT | 20 | 60 | XT0171:5 | A
KA0140:21 | KA130614 | WHT | 20 | 60 | KA1306:14 | A
KA1306:11 | KM1306EP | WHT | 16 | 60 | XT0136:9 | A
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 60 | AF0094:06 | A | UJ
UJ0131:IS | UJ0131IS | WHT | 20 | 60 | XT0085:5 | A
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0091:41 | A
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0091:09 | A
UJ0131:VIN | UJ0131VIN | WHT | 20 | 60 | AF0094:04 | A
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | A
XT0085:9 | -007405 | WHT | 20 | 60 | XT0085:2 | A | XT
XT0135:2 | -0V | WHT | 20 | 60 | XT0081:1 | A
XT0136:12 | -0V | WHT | 20 | 60 | XT0136:3 | A
XT0136:1 | FU0139 | WHT | 20 | 60 | XT0136:11 | A
XT0080:1 | -0V | WHT | 14 | 60 | XT0135:2 | A
XT0134:4 | -0V | WHT | 14 | 60 | XT0235:1 | A
XT0135:1 | -0V | WHT | 14 | 80 | XT0136:3 | A
XT0086:1 | -0V | WHT | 12 | 60 | XT0085:8 | A
XT0135:1 | -0V | WHT | 12 | 60 | XT0134:1 | A
XT0085:1 | FU0136LI | WHT | 12 | 60 | XT0086:6 | A
AF0081:00 | UA1200J21 | WHT | 20 | 160 | KA0241:11 | B | AF080s-B
AF0081:01 | KA024314 | WHT | 20 | 160 | KA0243:14 | B
AF0081:02 | KA024524 | WHT | 20 | 160 | KA0245:24 | B
AF0081:03 | -008103 | WHT | 20 | 160 | KA0130:14 | B
AF0081:08 | KA024214 | WHT | 20 | 160 | KA0242:14 | B
AF0081:09 | KA023924 | WHT | 20 | 160 | KA0239:24 | B
AF0081:19 | UA1200J27 | WHT | 20 | 180 | UA1200:J2-7 | B
AF0081:33 | KA024311 | WHT | 20 | 160 | KA0243:11 | B
AF0081:34 | KA024521 | WHT | 20 | 160 | KA0245:21 | B
AF0081:35 | -008135 | WHT | 20 | 160 | KA0130:A1 | B
AF0081:41 | KA023921 | WHT | 20 | 160 | KA0239:21 | B
AF0087:09 | KA013724 | WHT | 20 | 160 | KA0137:24 | B
AF0087:11 | KA013624 | WHT | 20 | 160 | KA0136:24 | B
AF0087:43 | KA013621 | WHT | 20 | 160 | KA0136:21 | B
AF0091:07 | KA014114 | WHT | 20 | 160 | KA0141:14 | B | AF090s-B
AF0091:12 | KA0134A1 | WHT | 20 | 160 | KA0134:A1 | B
AF0091:39 | KA014111 | WHT | 20 | 160 | KA0141:11 | B
AF0092:02 | KA0133A1 | WHT | 20 | 160 | KA0133:A1 | B
AF0092:06 | KA013114 | WHT | 20 | 160 | KA0131:14 | B
AF0092:13 | -009213 | WHT | 20 | 160 | XT0237:2 T2 | B
AF0092:35 | -009235 | WHT | 20 | 160 | KA0176:24 | B
AF0093:09 | -009309 | WHT | 20 | 160 | KA0233:24 | B
AF0093:32 | -009332 | WHT | 20 | 160 | KA0176:14 | B
AF0095:02 | -009502 | WHT | 20 | 160 | KA0221:14 | B
AF0095:18 | SV21202 | WHT | 20 | 160 | XT0060:4 | B
FU0212:LD | FU0212 | WHT | 16 | 160 | KA0248:21 | B | FU-B
FU0211:LD | FU0211 | WHT | 14 | 160 | KA1020:14 | B
KA0135:A1 | KA0135A1 | WHT | 20 | 160 | KA0144:A1 | B | KA A1-B
KA0135:A1 | KA0135A1 | WHT | 20 | 160 | KA0131:11 | B
KA0177:A1 | KA014421 | WHT | 20 | 160 | KA0176:A1 | B
KA6211:A1 | KA6211A1 | WHT | 20 | 160 | KA0246:14 | B
KA6212:A1 | KA6212A1 | WHT | 20 | 160 | KA0247:14 | B
KA6241:A1 | KA6241A1 | WHT | 20 | 160 | KA0244:24 | B
KA0135:A2 | -0V | WHT | 20 | 160 | KA0136:A2 | B | KA A2-B
KA0135:A2 | -0V | WHT | 20 | 160 | KA0144:A2 | B
KA0140:A2 | -0V | WHT | 20 | 160 | KA0138:A2 | B
KA0177:A2 | -0V | WHT | 20 | 160 | KA0176:A2 | B
XT0085:2 | -007405 | WHT | 20 | 160 | AF0074:05 | B | XT-B
XT0136:3 | -0V | WHT | 20 | 160 | KT0140:A2 | B
XT0136:3 | -0V | WHT | 20 | 160 | XT0240:10 | B
XT0235:4 | -0V | WHT | 20 | 180 | UA1200:J1-9 | B
XT0136:1 | FU0139 | WHT | 20 | 160 | XT0240:12 | B
XT0136:11 | FU0139 | WHT | 20 | 160 | KA0138:14 | B
XT0136:2 | FU0139 | WHT | 20 | 160 | KA0141:24 | B
XT0136:2 | FU0139 | WHT | 20 | 160 | KT0140:15 | B
XT0233:4 | FU0212 | WHT | 20 | 180 | UA1200:J1-10 | B
XT0233:4 | FU0212 | WHT | 20 | 180 | UA1200:J2-2 | B
XT0171:1 | KA017611 | WHT | 20 | 160 | KA0176:11 | B
XT0171:1 | KA017611 | WHT | 20 | 160 | KA0246:11 | B
XT0171:5 | KA017711 | WHT | 20 | 160 | KA0247:11 | B
XT0139:4 | KA0231A1 | WHT | 20 | 160 | KA0230:A1 | B
XT0171:3 | KA024421 | WHT | 20 | 160 | KA0176:21 | B
XT0171:3 | KA024421 | WHT | 20 | 160 | KA0244:21 | B
XT0136:13 | KM3170EP | WHT | 20 | 160 | KA0138:11 | B
XT0136:5 | PS32002 | WHT | 20 | 160 | KA0136:A1 | B
XT0136:6 | PS32004 | WHT | 20 | 160 | KA0240:11 | B
XT0136:7 | UF1300 | WHT | 20 | 160 | KA0240:14 | B
XT0134:2 | -0V | WHT | 14 | 160 | AF0074:21 | B
XT0135:1 | -0V | WHT | 14 | 160 | KA1020:24 | B
XT0235:1 | -0V | WHT | 14 | 160 | XT0060:1 | B
XT0235:1 | -0V | WHT | 14 | 160 | XT0070:1 | B
XT0233:1 | FU0210 | WHT | 14 | 160 | FU0060:LI | B
XT0233:2 | FU0210 | WHT | 14 | 160 | FU0070:LI | B

## B_S
CONTROL PANEL B, JB70
JB70
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0062:16 | SV21242 | WHT | 20 | 60 | XT0060:5 | B | AF/AU060s
AF0065:COM | AF0065N | WHT | 16 | 60 | AF0068:COM | B
AF0065:V+ | AF0065P | WHT | 16 | 60 | AF0068:V+ | B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | B
AF0066:V+ | FU0063 | WHT | 16 | 60 | FU0063:LD | B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | B
AF0061:COM | -0V | WHT | 14 | 80 | XT0060:2 | B
AF0062:COM | -0V | WHT | 14 | 60 | XT0060:2 | B
AF0066:COM | -0V | WHT | 14 | 60 | XT0060:2 | B
AF0067:COM | -0V | WHT | 14 | 60 | XT0060:2 | B
AU0060:COM | -0V | WHT | 14 | 60 | XT0060:1 | B
AU0060:V+ | FU0060 | WHT | 14 | 80 | FU0060:LD | B
AF0061:V+ | FU0061 | WHT | 14 | 80 | FU0061:LD | B
AF0062:V+ | FU0062 | WHT | 14 | 60 | FU0062:LD | B
AF0076:12 | -007612 | WHT | 20 | 100 | XT0237:1 B2 | B | AF/AU070s
AF0075:COM | AF0075N | WHT | 16 | 60 | AF0077:COM | B
AF0075:V+ | AF0075P | WHT | 16 | 60 | AF0077:V+ | B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | B
AF0076:V+ | FU0071 | WHT | 16 | 60 | FU0071:LD | B
AF0076:COM | -0V | WHT | 14 | 80 | XT0070:1 | B
AU0070:COM | -0V | WHT | 14 | 60 | XT0070:1 | B
KA0221:A1 | -007602 | WHT | 20 | 60 | AF0076:02 | B | KA A1
KA0222:A1 | -007604 | WHT | 20 | 120 | AF0076:04 | B
KA1020:A1 | -007608 | WHT | 20 | 100 | AF0076:08 | B
KA0224:A1 | -007615 | WHT | 20 | 100 | AF0076:15 | B
KA0130:A1 | -008135 | WHT | 20 | 80 | KA0130:11 | B
KA0235:A1 | ESTOP | WHT | 20 | 60 | XT0240:4 | B
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0067:12 | B
KA0138:A1 | KA0138A1 | WHT | 20 | 80 | KA0132:21 | B
KA0131:A1 | KA0231A1 | WHT | 20 | 60 | KA0242:11 | B
KA0241:A1 | KA0241A1 | WHT | 20 | 60 | XT0240:6 | B
KA0243:A1 | KA0243A1 | WHT | 20 | 60 | XT0240:7 | B
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | XT0240:8 | B
KA0221:A2 | -007618 | WHT | 20 | 60 | AF0076:18 | B | KA A2
KA0222:A2 | -007620 | WHT | 20 | 100 | AF0076:20 | B
KA1020:A2 | -007624 | WHT | 20 | 100 | AF0076:24 | B
KA0224:A2 | -007631 | WHT | 20 | 100 | AF0076:31 | B
KA0249:A2 | -0V | WHT | 20 | 60 | XT0240:10 | B
KA0231:A2 | KA0231A2 | WHT | 20 | 80 | AF0076:26 | B
KA0233:14 | -006102 | WHT | 20 | 100 | AF0061:02 | B | KA
KA0234:14 | -006114 | WHT | 20 | 100 | AF0061:14 | B
KA0222:14 | -006200 | WHT | 20 | 100 | AF0062:00 | B
KA0237:14 | -007600 | WHT | 20 | 60 | AF0076:00 | B
KA0237:24 | -007601 | WHT | 20 | 60 | AF0076:01 | B
KA0242:21 | -024221 | WHT | 20 | 80 | XT0237:1 T2 | B
KA0242:24 | -024822 | WHT | 20 | 60 | KA0248:22 | B
KA0243:21 | CCESD2A1/B1 | WHT | 20 | 60 | XT0240:1 | B
KA0134:11 | FU0139 | WHT | 20 | 60 | KA0136:11 | B
KA0141:24 | FU0139 | WHT | 20 | 60 | KA0241:24 | B
KA0236:11 | FU0139 | WHT | 20 | 60 | KA0244:11 | B
KA0236:11 | FU0139 | WHT | 20 | 60 | XT0240:12 | B
KA0132:22 | KA013222 | WHT | 20 | 60 | KA0137:14 | B
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | B
KA0131:12 | KA013724 | WHT | 20 | 60 | KA0137:24 | B
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | B
KA0144:21 | KA014421 | WHT | 20 | 80 | KA0176:A1 | B
KA0144:21 | KA014421 | WHT | 20 | 60 | KA0249:11 | B
KA0221:11 | KA022111 | WHT | 20 | 80 | KA0235:24 | B
KA0222:11 | KA022211 | WHT | 20 | 60 | KA0236:24 | B
KA0231:21 | KA023121 | WHT | 20 | 60 | KA0245:14 | B
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0231:A1 | B
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0242:11 | B
KA0232:21 | KA023221 | WHT | 20 | 60 | KA0144:22 | B
KA0232:21 | KA023221 | WHT | 20 | 60 | KA0249:12 | B
KA0236:12 | KA023612 | WHT | 20 | 60 | XT0240:13 | B
KA0235:14 | KA024114 | WHT | 20 | 60 | KA0241:14 | B
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:24 | B
KA0231:14 | KA024214 | WHT | 20 | 60 | KA0242:14 | B
KA0243:24 | KA024511 | WHT | 20 | 60 | KA0245:11 | B
KA0141:21 | KT0146A1 | WHT | 20 | 60 | KA0241:21 | B
KA0235:11 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | B
KA0235:11 | UA1200J21 | WHT | 20 | 80 | XT0060:3 | B
KT0145:A2 | -0V | WHT | 20 | 60 | KA0131:A2 | B | KT L/S
KT0141:18 | KA013222 | WHT | 20 | 80 | KA0132:22 | B
KT0141:18 | KA013222 | WHT | 20 | 60 | KT0144:18 | B
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KA0137:A1 | B
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KT0145:18 | B
KT0146:18 | KA024214 | WHT | 20 | 60 | KA0231:14 | B
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | B
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | B
KT0146:A2 | KT0146A2 | WHT | 20 | 100 | AF0076:29 | B
KT0140:15 | FU0139 | WHT | 20 | 60 | KT0142:15 | B | KT R/S
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0144:A1 | B
KT0145:15 | FU0139 | WHT | 20 | 80 | KA0132:11 | B
KT0145:A1 | KA024412 | WHT | 20 | 60 | KA0244:12 | B
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | B
KT0141:A1 | KT0141A1 | WHT | 20 | 60 | KT0143:15 | B
KT0142:A1 | KT0141A1 | WHT | 20 | 60 | KA0132:12 | B
KT0144:B1 | KT0144B1 | WHT | 20 | 80 | KA0138:24 | B
KT0146:15 | KT014615 | WHT | 20 | 80 | AF0076:10 | B
KT0146:A1 | KT0146A1 | WHT | 20 | 80 | KA0141:21 | B
KT0146:B1 | KT0146B1 | WHT | 20 | 80 | AF0076:13 | B
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | B | UA1200
UA1200:J1-4 | UA1200J14 | WHT | 20 | 80 | AF0076:11 | B
UA1200:J1-5 | UA1200J15 | WHT | 20 | 140 | XT0237:1 B1 | B
UA1200:J2-1 | UA1200J21 | WHT | 20 | 140 | XT0060:3 | B
UA1200:J2-6 | UA1200J26 | WHT | 20 | 120 | KA0130:A2 | B
XT0236:3 | -0V | WHT | 20 | 80 | XT0240:9 | B | XT
XT0236:1 | FU0139 | WHT | 20 | 80 | XT0240:11 | B
XT0237:2 B2 | KA023612 | WHT | 20 | 60 | XT0240:13 | B
XT0236:2 | KA0241A1 | WHT | 20 | 80 | XT0240:6 | B

## JB73_S
JB73
COMPRESSOR CONTROL BOX,JB73
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0510:54 | -052053 | WHT | 16 | 60 | AF0520:53 | JB73 | 1444s
AF0510:56 | -052055 | WHT | 16 | 60 | AF0520:55 | JB73
AF0510:53 | -0V | WHT | 16 | 60 | XT0130:2 | JB73
AF0510:55 | FU0133 | WHT | 16 | 60 | FU0133:LD | JB73
AF1201:COM | -0V | WHT | 16 | 80 | XT0130:3 | JB73 | AF/AU1200s
AU1200:COM | -0V | WHT | 16 | 80 | XT0130:4 | JB73
AF1207:COM | AF1207N | WHT | 16 | 60 | AF1208:COM | JB73
AF1207:V+ | AF1207P | WHT | 16 | 60 | AF1208:V+ | JB73
AF1202:COM | AU1200N | WHT | 16 | 60 | AU1200:COM | JB73
AF1202:V+ | AU1200P | WHT | 16 | 60 | AU1200:V+ | JB73
AU1200:V+ | FU0120 | WHT | 16 | 60 | FU0120:LD | JB73
AF1201:V+ | FU0121 | WHT | 16 | 60 | FU0121:LD | JB73
FU0120:LI | FU0130 | WHT | 14 | 80 | FU0130:LD | JB73 | FU
FU0121:LI | FU0130 | WHT | 14 | 80 | FU0133:LI | JB73
FU0130:LD | FU0130 | WHT | 14 | 60 | XT0121:3 | JB73
FU0130:LI | FU0136 | WHT | 14 | 60 | XT0130:1 | JB73
KA0120:A2 | -0V | WHT | 20 | 60 | XT0130:3 | JB73 | KA A1/A2
KA4401:A2 | -120716 | WHT | 20 | 60 | AF1207:16 | JB73
KA4401:A1 | PS44013 | WHT | 20 | 60 | XT0121:2 | JB73
KA0120:A1 | KA0231A1 | WHT | 14 | 60 | XT0130:5 | JB73
KA0120:14 | -120100 | WHT | 20 | 80 | AF1201:00 | JB73 | KA
KA4401:22 | -120132 | WHT | 20 | 80 | AF1201:32 | JB73
KA4401:14 | -120700 | WHT | 20 | 60 | AF1207:00 | JB73
KA0120:12 | KA012012 | WHT | 20 | 60 | KA4401:21 | JB73
KA4401:11 | PS44012 | WHT | 20 | 60 | AF1207:32 | JB73
KA4401:11 | PS44012 | WHT | 20 | 60 | XT0121:1 | JB73
SB0472A:B1-12 | ESTOPA | WHT | 20 | 140 | XT0121:10 | JB73 | SB
SB0472A:B1-11 | SB0472AB111 | WHT | 20 | 140 | XT0121:9 | JB73
SB0472A:B2-11 | SB0472AB211 | WHT | 20 | 140 | XT0121:5 | JB73
SB0472A:B2-12 | SB0472AB212 | WHT | 20 | 140 | XT0121:6 | JB73
XT0121:7 | -0V | WHT | 14 | 80 | XT0130:3 | JB73 | XT
XT0130:4 | -0V | WHT | 14 | 60 | XT0520:2 | JB73
XT0130:1 | FU0136 | WHT | 14 | 60 | XT0520:1 | JB73
XT0520:3 | KA0231A1 | WHT | 14 | 60 | XT0130:5 | JB73

## JB75 L RAIL_S
JB75 LEFT RAIL
Balance of Plant,JB75, Left Rail
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA1213:NEG | BA1100N | WHT | 16 | 60 | XT0391:2 | JB75 L RAIL | FU/BA
FU1213:LI | BA1100P | WHT | 16 | 60 | XT0391:1 | JB75 L RAIL
BA1213:POS | FU1213LD | WHT | 16 | 60 | FU1213:LD | JB75 L RAIL

## JB75 BOP_S
JB75 BOP
BALANCE OF PLANT,JB75
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0341:18 | SV2002 | WHT | 20 | 60 | XT0572:4 | JB75 BOP | AF/AU340s
AF0341:20 | SV4142 | WHT | 20 | 60 | XT0572:5 | JB75 BOP
AF0342:03 | ZSC2012 | WHT | 20 | 60 | XT0572:1 | JB75 BOP
AF0346:COM | -0V | WHT | 16 | 80 | XT0340:3 | JB75 BOP
AF0342:COM | AU0340N | WHT | 16 | 60 | AU0340:COM | JB75 BOP
AF0342:V+ | AU0340P | WHT | 16 | 60 | AU0340:V+ | JB75 BOP
AU0340:V+ | FU0340 | WHT | 16 | 60 | FU0340:LD | JB75 BOP
AF0341:V+ | FU0341 | WHT | 16 | 60 | FU0341:LD | JB75 BOP
AF0346:V+ | FU0342 | WHT | 16 | 80 | FU0342:LD | JB75 BOP
AF0341:COM | -0V | WHT | 14 | 60 | XT0340:3 | JB75 BOP
AU0340:COM | -0V | WHT | 14 | 60 | XT0340:2 | JB75 BOP
AF0383:00 | ZSC2002 | WHT | 20 | 80 | XT0572:2 | JB75 BOP | AF/AU380s
AF0383:01 | ZSC4142 | WHT | 20 | 80 | XT0572:3 | JB75 BOP
AF0383:COM | AF0383N | WHT | 16 | 60 | AF0385:COM | JB75 BOP
AF0383:V+ | AF0383P | WHT | 16 | 60 | AF0385:V+ | JB75 BOP
AF0382:COM | AU0380N | WHT | 16 | 60 | AU0380:COM | JB75 BOP
AF0382:V+ | AU0380P | WHT | 16 | 60 | AU0380:V+ | JB75 BOP
AU0380:V+ | FU0380 | WHT | 16 | 60 | FU0380:LD | JB75 BOP
AF0381:V+ | FU0381 | WHT | 16 | 60 | FU0381:LD | JB75 BOP
AF0384:V+ | FU0384 | WHT | 16 | 60 | FU0384:LD | JB75 BOP
AF0381:COM | -0V | WHT | 14 | 60 | XT0380:2 | JB75 BOP
AF0384:COM | -0V | WHT | 14 | 60 | XT0380:1 | JB75 BOP
AU0380:COM | -0V | WHT | 14 | 60 | XT0380:1 | JB75 BOP
FU0343:LD | FU0343 | WHT | 16 | 60 | XT0340:7 | JB75 BOP | FU
FU0340:LI | FU0580 | WHT | 14 | 60 | FU0580:LD | JB75 BOP
FU0342:LI | FU0580 | WHT | 14 | 60 | FU0343:LI | JB75 BOP
FU0343:LI | FU0580 | WHT | 14 | 60 | FU0380:LI | JB75 BOP
FU0580:LI | FU0136 | WHT | 12 | 60 | XT0340:1 | JB75 BOP
KA0561:A1 | ESTOP | WHT | 20 | 60 | XT0340:6 | JB75 BOP | KA A1
KA0565:A1 | KA0231A1 | WHT | 20 | 60 | XT0340:5 | JB75 BOP
KA0550:A1 | KA0550A1 | WHT | 20 | 80 | AF0384:00 | JB75 BOP
KA0551:A1 | KA0551A1 | WHT | 20 | 80 | AF0384:01 | JB75 BOP
KA0554:A1 | KA0554A1 | WHT | 20 | 80 | AF0384:02 | JB75 BOP
KA0540:A1 | KA056214 | WHT | 20 | 60 | KA0562:14 | JB75 BOP
KA0541:A1 | KA056224 | WHT | 20 | 60 | KA0562:24 | JB75 BOP
KA0565:A2 | -0V | WHT | 20 | 60 | XT0340:4 | JB75 BOP | KA A2
KA0550:A2 | KA0550A2 | WHT | 20 | 80 | AF0384:16 | JB75 BOP
KA0551:A2 | KA0551A2 | WHT | 20 | 80 | AF0384:17 | JB75 BOP
KA0554:A2 | KA0554A2 | WHT | 20 | 80 | AF0384:18 | JB75 BOP
KA0540:A2 | SV2002 | WHT | 20 | 60 | XT0572:4 | JB75 BOP
KA0541:A2 | SV4142 | WHT | 20 | 60 | XT0572:5 | JB75 BOP
KA0561:11 | -034100 | WHT | 20 | 60 | AF0341:00 | JB75 BOP | KA
KA0540:11 | KA054011 | WHT | 20 | 60 | AF0341:34 | JB75 BOP
KA0541:11 | KA054111 | WHT | 20 | 60 | AF0341:36 | JB75 BOP
KA0550:14 | KA055014 | WHT | 20 | 60 | AF0341:02 | JB75 BOP
KA0551:14 | KA055114 | WHT | 20 | 60 | AF0341:04 | JB75 BOP
KA0554:14 | KA055414 | WHT | 20 | 60 | AF0341:06 | JB75 BOP
KA0550:11 | KA056211 | WHT | 20 | 60 | KA0562:11 | JB75 BOP
KA0551:11 | KA056221 | WHT | 20 | 60 | KA0562:21 | JB75 BOP
KA0563:12 | KA056312 | WHT | 20 | 60 | KT0573:15 | JB75 BOP
KA0554:11 | KA056511 | WHT | 20 | 60 | KA0565:11 | JB75 BOP
KA0565:14 | KA056514 | WHT | 20 | 60 | XT0573:1 B2 | JB75 BOP
KA0566:12 | KA056612 | WHT | 20 | 60 | XT0573:1 T1 | JB75 BOP
KA0566:11 | XT05732B1 | WHT | 20 | 60 | XT0573:2 B1 | JB75 BOP
KA0563:11 | FU0343 | WHT | 14 | 60 | XT0340:7 | JB75 BOP
KT0571:A2 | -034219 | WHT | 20 | 60 | AF0342:19 | JB75 BOP | KT L/S
KT0572:A2 | -038316 | WHT | 20 | 80 | AF0383:16 | JB75 BOP
KT0572:16 | KT057216 | WHT | 20 | 60 | XT0572:7 | JB75 BOP
KT0572:16 | KT057216 | WHT | 20 | 60 | XT0573:2 B2 | JB75 BOP
KT0573:16 | KT057316 | WHT | 20 | 60 | XT0572:6 | JB75 BOP
KT0573:16 | KT057316 | WHT | 20 | 60 | XT0573:2 T2 | JB75 BOP
KT0573:A2 | KT0573A2 | WHT | 20 | 80 | AF0383:17 | JB75 BOP
KT0572:A1 | ZSC2002 | WHT | 20 | 60 | XT0572:2 | JB75 BOP | KT R/S
KT0571:A1 | ZSC2012 | WHT | 20 | 60 | XT0572:1 | JB75 BOP
KT0573:A1 | ZSC4142 | WHT | 20 | 60 | XT0572:3 | JB75 BOP
XT0380:1 | -0V | WHT | 16 | 60 | XT0340:4 | JB75 BOP | XT
XT0340:2 | -0V | WHT | 14 | 60 | XT0580:2 | JB75 BOP
XT0340:1 | FU0136 | WHT | 12 | 60 | XT0580:1 | JB75 BOP
XT0580:3 | KA0231A1 | WHT | 12 | 60 | XT0340:5 | JB75 BOP

## JB74 L RAIL_S
JB74 LEFT RAIL
Balance of Plant, Left Rail
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA1212:NEG | BA1100N | WHT | 16 | 60 | XT0392:2 | JB74 L RAIL | FU/BA
FU1212:LI | BA1100P | WHT | 16 | 60 | XT0392:1 | JB74 L RAIL
BA1212:POS | FU1212LD | WHT | 16 | 60 | FU1212:LD | JB74 L RAIL
KA3220:A1 | -018108 | WHT | 20 | 140 | AF0181:08 | JB74 BOP | KA
KA3220:A2 | -018124 | WHT | 20 | 140 | AF0181:24 | JB74 BOP

## JB74 BOP_S
JB74 BOP
BALANCE OF PLANT,JB74
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0142:COM | AU0140N | WHT | 16 | 60 | AU0140:COM | JB74 BOP | AF/AU140s
AF0142:V+ | AU0140P | WHT | 16 | 60 | AU0140:V+ | JB74 BOP
AU0140:V+ | FU0140 | WHT | 16 | 60 | FU0140:LD | JB74 BOP
AF0141:V+ | FU0141 | WHT | 16 | 60 | FU0141:LD | JB74 BOP
AF0146:V+ | FU0142 | WHT | 16 | 60 | FU0142:LD | JB74 BOP
AF0141:COM | -0V | WHT | 14 | 60 | XT0140:3 | JB74 BOP
AF0146:COM | -0V | WHT | 14 | 80 | XT0140:3 | JB74 BOP
AU0140:COM | -0V | WHT | 14 | 60 | XT0140:2 | JB74 BOP
AF0183:COM | AF0183N | WHT | 16 | 60 | AF0185:COM | JB74 BOP | AF/AU180s
AF0183:V+ | AF0183P | WHT | 16 | 60 | AF0185:V+ | JB74 BOP
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | JB74 BOP
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | JB74 BOP
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | JB74 BOP
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | JB74 BOP
AF0184:V+ | FU0184 | WHT | 16 | 80 | FU0184:LD | JB74 BOP
AF0181:COM | -0V | WHT | 14 | 60 | XT0180:2 | JB74 BOP
AF0184:COM | -0V | WHT | 14 | 60 | XT0180:1 | JB74 BOP
AU0180:COM | -0V | WHT | 14 | 60 | XT0180:1 | JB74 BOP
FU0570:LI | FU0136 | WHT | 14 | 60 | XT0140:1 | JB74 BOP | FU
FU0140:LI | FU0570 | WHT | 14 | 60 | FU0570:LD | JB74 BOP
FU0142:LI | FU0570 | WHT | 14 | 60 | FU0180:LI | JB74 BOP
KA1447:A1 | -014600 | WHT | 20 | 100 | AF0146:00 | JB74 BOP | KA A1
KA1448:A1 | -014602 | WHT | 20 | 100 | AF0146:02 | JB74 BOP
KA1441:A1 | -014604 | WHT | 20 | 100 | AF0146:04 | JB74 BOP
KA1442:A1 | -014606 | WHT | 20 | 100 | AF0146:06 | JB74 BOP
KA1443:A1 | -014608 | WHT | 20 | 100 | AF0146:08 | JB74 BOP
KA1444:A1 | -014610 | WHT | 20 | 100 | AF0146:10 | JB74 BOP
KA1445:A1 | -014612 | WHT | 20 | 100 | AF0146:12 | JB74 BOP
KA1446:A1 | -014614 | WHT | 20 | 100 | AF0146:14 | JB74 BOP
KA5201:A1 | -018100 | WHT | 20 | 80 | AF0181:00 | JB74 BOP
KA5202:A1 | -018106 | WHT | 20 | 80 | AF0181:06 | JB74 BOP
KA0531:A1 | ESTOP | WHT | 20 | 60 | XT0140:6 | JB74 BOP
KA0535:A1 | KA0231A1 | WHT | 20 | 60 | XT0140:5 | JB74 BOP
KA0555:A1 | KA0555A2 | WHT | 20 | 80 | AF0184:00 | JB74 BOP
KA1440:A1 | KA1440A1 | WHT | 20 | 80 | AF0141:08 | JB74 BOP
KA1447:A2 | -014616 | WHT | 20 | 100 | AF0146:16 | JB74 BOP | KA A2
KA1448:A2 | -014618 | WHT | 20 | 100 | AF0146:18 | JB74 BOP
KA1441:A2 | -014620 | WHT | 20 | 100 | AF0146:20 | JB74 BOP
KA1442:A2 | -014622 | WHT | 20 | 100 | AF0146:22 | JB74 BOP
KA1443:A2 | -014624 | WHT | 20 | 100 | AF0146:24 | JB74 BOP
KA1444:A2 | -014626 | WHT | 20 | 100 | AF0146:26 | JB74 BOP
KA1445:A2 | -014628 | WHT | 20 | 100 | AF0146:28 | JB74 BOP
KA1446:A2 | -014630 | WHT | 20 | 100 | AF0146:30 | JB74 BOP
KA5201:A2 | -018116 | WHT | 20 | 80 | AF0181:16 | JB74 BOP
KA5202:A2 | -018122 | WHT | 20 | 80 | AF0181:22 | JB74 BOP
KA0535:A2 | -0V | WHT | 20 | 60 | XT0140:4 | JB74 BOP
KA0555:A2 | KA0555A1 | WHT | 20 | 80 | AF0184:16 | JB74 BOP
KA1440:A2 | KA1440A2 | WHT | 20 | 80 | AF0141:24 | JB74 BOP
KA0535:11 | KA053511 | WHT | 20 | 60 | XT1522:1 T1 | JB74 BOP | KA
KA0535:12 | KA053512 | WHT | 20 | 60 | XT1522:2 B1 | JB74 BOP
KA0536:11 | KA053611 | WHT | 20 | 60 | XT1522:1 B2 | JB74 BOP
KA0536:14 | KA053614 | WHT | 20 | 60 | AF0141:02 | JB74 BOP
XT1522:2 B2 | KT057216 | WHT | 20 | 60 | XT0575:2 | JB74 BOP | XT
XT1522:2 T2 | KT057316 | WHT | 20 | 60 | XT0575:1 | JB74 BOP
XT0180:1 | -0V | WHT | 16 | 60 | XT0140:4 | JB74 BOP
XT0140:2 | -0V | WHT | 14 | 60 | XT0570:1 | JB74 BOP
XT0140:1 | FU0136 | WHT | 12 | 60 | XT0570:3 | JB74 BOP
XT0570:5 | KA0231A1 | WHT | 12 | 60 | XT0140:5 | JB74 BOP

## PWR SUPPLY_S
POWER SUPPLY BOX
PWR SUPPLY (JB130)
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UJ0031:IOUT | UJ0031IOUT | WHT | 20 | 80 | XT0033:2 | PWR SUPPLY | UJ
UJ0031:OK1 | UJ0031OK1 | WHT | 20 | 80 | XT0033:4 | PWR SUPPLY
UJ0031:OK2 | UJ0031OK2 | WHT | 20 | 80 | XT0033:5 | PWR SUPPLY
UJ0031:VIN | UJ0031VIN | WHT | 20 | 80 | XT0033:1 | PWR SUPPLY
UJ0031:IS | UJ0131IS | WHT | 20 | 80 | XT0033:3 | PWR SUPPLY
UJ0031:- | CCUJ0031N | WHT | 12 | 60 | XT0019:1 | PWR SUPPLY
UJ0031:+ | FU0019 | WHT | 12 | 60 | FU0019:LD | PWR SUPPLY

## JB5_S
JB5
TURBINE VIBRATION PANEL
Project # | 4M411
Project Name | WHITEWATER MIDSTREAM
Revision | A.1M2
Controls DE | J. LI
Phone: | 0
Controls ME | test
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0410:53 | -0V | WHT | 16 | 60 | XT0110:3 | JB5 | 1444s
AF0410:54 | AF0410N | WHT | 16 | 60 | AF0420:53 | JB5
AF0410:55 | FU0113 | WHT | 16 | 80 | FU0113:LD | JB5
AF0410:56 | AF0410P | WHT | 16 | 60 | AF0420:55 | JB5
AF0420:54 | AF0420N | WHT | 16 | 60 | AF0430:53 | JB5
AF0420:56 | AF0420P | WHT | 16 | 60 | AF0430:55 | JB5
AF0430:54 | AF0430N | WHT | 16 | 60 | AF0450:53 | JB5
AF0430:56 | AF0430P | WHT | 16 | 60 | AF0450:55 | JB5
FU0110:LI | FU0136 | WHT | 14 | 60 | XT0110:1 | JB5 | FU

## Bundle Tag Info
WP-NH #2
4M411
A.1M2
DOOR | FS CTRL | JB70 L RAIL | JB70 R RAIL | PLC | A | B | JB73 | JB75 L RAIL | JB75 BOP | JB74 L RAIL | JB74 BOP | PWR SUPP | JB5 | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT1100 | AT | AT | BA | FU/AT | PC | AF/AU060s | 1444s | FU/BA | AF/AU340s | FU/BA | AF/AU140s | UJ | 1444s
HL0171 | UV | KA | UJ | UV-A | AU080 | AF/AU070s | AF/AU1200s |  | AF/AU380s | KA | AF/AU180s |  | FU
HL0172 | FU/XT | XT | FU/XT | FU/XT-A | AF/AU090s | KA A1 | FU |  | FU |  | FU
HL0173 |  | KA-A | XT-B |  | FU | KA A2 | KA A1/A2 |  | KA A1 |  | KA A1
SA0170 |  | KA-B | UJ-A |  | KA A1 | KA | KA |  | KA A2 |  | KA A2
SA0471 |  | AT-FS CTRL | FU/XT-A |  | KA A2 | KT L/S | SB |  | KA |  | KA
SA0473 |  | KA A1/A2-FS CTRL |  |  | KA | KT R/S | XT |  | KT L/S |  | XT
SA0474 |  | KA-FS CTRL |  |  | UJ | UA1200 |  |  | KT R/S
SB0170 |  | XT-FS CTRL |  |  | XT | XT |  |  | XT
SB0471 |  | THRU RAIL(A) |  |  | AF080s-B
SB0472 |  | THRU RAIL(B) |  |  | AF090s-B
SB0473 |  | THRU RAIL(R RAIL) |  |  | FU-B
SB0474 |  |  |  |  | KA A1-B
SH0470 |  |  |  |  | KA A2-B
SH0471 |  |  |  |  | XT-B
SH0472

## Bundle Tags2
DOOR | FS CTRL | JB70 L RAIL | JB70 R RAIL | PLC | A | B | JB73 | JB75 L RAIL | JB75 BOP | JB74 L RAIL | JB74 BOP | PWR SUPP | JB5
WP-NH #2 4M411 A.1M2 DOOR AT1100 | WP-NH #2 4M411 A.1M2 FS CTRL AT | WP-NH #2 4M411 A.1M2 JB70 L RAIL AT | WP-NH #2 4M411 A.1M2 JB70 R RAIL BA | WP-NH #2 4M411 A.1M2 PLC FU/AT | WP-NH #2 4M411 A.1M2 A PC | WP-NH #2 4M411 A.1M2 B AF/AU060s | WP-NH #2 4M411 A.1M2 JB73 1444s | WP-NH #2 4M411 A.1M2 JB75 L RAIL FU/BA | WP-NH #2 4M411 A.1M2 JB75 BOP AF/AU340s | WP-NH #2 4M411 A.1M2 JB74 L RAIL FU/BA | WP-NH #2 4M411 A.1M2 JB74 BOP AF/AU140s | WP-NH #2 4M411 A.1M2 PWR SUPP UJ | WP-NH #2 4M411 A.1M2 JB5 1444s
WP-NH #2 4M411 A.1M2 DOOR HL0171 | WP-NH #2 4M411 A.1M2 FS CTRL UV | WP-NH #2 4M411 A.1M2 JB70 L RAIL KA | WP-NH #2 4M411 A.1M2 JB70 R RAIL UJ | WP-NH #2 4M411 A.1M2 PLC UV-A | WP-NH #2 4M411 A.1M2 A AU080 | WP-NH #2 4M411 A.1M2 B AF/AU070s | WP-NH #2 4M411 A.1M2 JB73 AF/AU1200s |  | WP-NH #2 4M411 A.1M2 JB75 BOP AF/AU380s | WP-NH #2 4M411 A.1M2 JB74 L RAIL KA | WP-NH #2 4M411 A.1M2 JB74 BOP AF/AU180s |  | WP-NH #2 4M411 A.1M2 JB5 FU
WP-NH #2 4M411 A.1M2 DOOR HL0172 | WP-NH #2 4M411 A.1M2 FS CTRL FU/XT | WP-NH #2 4M411 A.1M2 JB70 L RAIL XT | WP-NH #2 4M411 A.1M2 JB70 R RAIL FU/XT | WP-NH #2 4M411 A.1M2 PLC FU/XT-A | WP-NH #2 4M411 A.1M2 A AF/AU090s | WP-NH #2 4M411 A.1M2 B KA A1 | WP-NH #2 4M411 A.1M2 JB73 FU |  | WP-NH #2 4M411 A.1M2 JB75 BOP FU |  | WP-NH #2 4M411 A.1M2 JB74 BOP FU
WP-NH #2 4M411 A.1M2 DOOR HL0173 |  | WP-NH #2 4M411 A.1M2 JB70 L RAIL KA-A | WP-NH #2 4M411 A.1M2 JB70 R RAIL XT-B |  | WP-NH #2 4M411 A.1M2 A FU | WP-NH #2 4M411 A.1M2 B KA A2 | WP-NH #2 4M411 A.1M2 JB73 KA A1/A2 |  | WP-NH #2 4M411 A.1M2 JB75 BOP KA A1 |  | WP-NH #2 4M411 A.1M2 JB74 BOP KA A1
WP-NH #2 4M411 A.1M2 DOOR SA0170 |  | WP-NH #2 4M411 A.1M2 JB70 L RAIL KA-B | WP-NH #2 4M411 A.1M2 JB70 R RAIL UJ-A |  | WP-NH #2 4M411 A.1M2 A KA A1 | WP-NH #2 4M411 A.1M2 B KA | WP-NH #2 4M411 A.1M2 JB73 KA |  | WP-NH #2 4M411 A.1M2 JB75 BOP KA A2 |  | WP-NH #2 4M411 A.1M2 JB74 BOP KA A2
WP-NH #2 4M411 A.1M2 DOOR SA0471 |  | WP-NH #2 4M411 A.1M2 JB70 L RAIL AT-FS CTRL | WP-NH #2 4M411 A.1M2 JB70 R RAIL FU/XT-A |  | WP-NH #2 4M411 A.1M2 A KA A2 | WP-NH #2 4M411 A.1M2 B KT L/S | WP-NH #2 4M411 A.1M2 JB73 SB |  | WP-NH #2 4M411 A.1M2 JB75 BOP KA |  | WP-NH #2 4M411 A.1M2 JB74 BOP KA
WP-NH #2 4M411 A.1M2 DOOR SA0473 |  | WP-NH #2 4M411 A.1M2 JB70 L RAIL KA A1/A2-FS CTRL |  |  | WP-NH #2 4M411 A.1M2 A KA | WP-NH #2 4M411 A.1M2 B KT R/S | WP-NH #2 4M411 A.1M2 JB73 XT |  | WP-NH #2 4M411 A.1M2 JB75 BOP KT L/S |  | WP-NH #2 4M411 A.1M2 JB74 BOP XT
WP-NH #2 4M411 A.1M2 DOOR SA0474 |  | WP-NH #2 4M411 A.1M2 JB70 L RAIL KA-FS CTRL |  |  | WP-NH #2 4M411 A.1M2 A UJ | WP-NH #2 4M411 A.1M2 B UA1200 |  |  | WP-NH #2 4M411 A.1M2 JB75 BOP KT R/S
WP-NH #2 4M411 A.1M2 DOOR SB0170 |  | WP-NH #2 4M411 A.1M2 JB70 L RAIL XT-FS CTRL |  |  | WP-NH #2 4M411 A.1M2 A XT | WP-NH #2 4M411 A.1M2 B XT |  |  | WP-NH #2 4M411 A.1M2 JB75 BOP XT
WP-NH #2 4M411 A.1M2 DOOR SB0471 |  | WP-NH #2 4M411 A.1M2 JB70 L RAIL THRU RAIL(A) |  |  | WP-NH #2 4M411 A.1M2 A AF080s-B
WP-NH #2 4M411 A.1M2 DOOR SB0472 |  | WP-NH #2 4M411 A.1M2 JB70 L RAIL THRU RAIL(B) |  |  | WP-NH #2 4M411 A.1M2 A AF090s-B
WP-NH #2 4M411 A.1M2 DOOR SB0473 |  | WP-NH #2 4M411 A.1M2 JB70 L RAIL THRU RAIL(R RAIL) |  |  | WP-NH #2 4M411 A.1M2 A FU-B
WP-NH #2 4M411 A.1M2 DOOR SB0474 |  |  |  |  | WP-NH #2 4M411 A.1M2 A KA A1-B
WP-NH #2 4M411 A.1M2 DOOR SH0470 |  |  |  |  | WP-NH #2 4M411 A.1M2 A KA A2-B
WP-NH #2 4M411 A.1M2 DOOR SH0471 |  |  |  |  | WP-NH #2 4M411 A.1M2 A XT-B
WP-NH #2 4M411 A.1M2 DOOR SH0472

## ALL
ALL
WP-NH #2 4M411 A.1M2 DOOR AT1100
WP-NH #2 4M411 A.1M2 DOOR HL0171
WP-NH #2 4M411 A.1M2 DOOR HL0172
WP-NH #2 4M411 A.1M2 DOOR HL0173
WP-NH #2 4M411 A.1M2 DOOR SA0170
WP-NH #2 4M411 A.1M2 DOOR SA0471
WP-NH #2 4M411 A.1M2 DOOR SA0473
WP-NH #2 4M411 A.1M2 DOOR SA0474
WP-NH #2 4M411 A.1M2 DOOR SB0170
WP-NH #2 4M411 A.1M2 DOOR SB0471
WP-NH #2 4M411 A.1M2 DOOR SB0472
WP-NH #2 4M411 A.1M2 DOOR SB0473
WP-NH #2 4M411 A.1M2 DOOR SB0474
WP-NH #2 4M411 A.1M2 DOOR SH0470
WP-NH #2 4M411 A.1M2 DOOR SH0471
WP-NH #2 4M411 A.1M2 DOOR SH0472
WP-NH #2 4M411 A.1M2 FS CTRL AT
WP-NH #2 4M411 A.1M2 FS CTRL UV
WP-NH #2 4M411 A.1M2 FS CTRL FU/XT
WP-NH #2 4M411 A.1M2 JB70 L RAIL AT
WP-NH #2 4M411 A.1M2 JB70 L RAIL KA
WP-NH #2 4M411 A.1M2 JB70 L RAIL XT
WP-NH #2 4M411 A.1M2 JB70 L RAIL KA-A
WP-NH #2 4M411 A.1M2 JB70 L RAIL KA-B
WP-NH #2 4M411 A.1M2 JB70 L RAIL AT-FS CTRL
WP-NH #2 4M411 A.1M2 JB70 L RAIL KA A1/A2-FS CTRL
WP-NH #2 4M411 A.1M2 JB70 L RAIL KA-FS CTRL
WP-NH #2 4M411 A.1M2 JB70 L RAIL XT-FS CTRL
WP-NH #2 4M411 A.1M2 JB70 L RAIL THRU RAIL(A)
WP-NH #2 4M411 A.1M2 JB70 L RAIL THRU RAIL(B)
WP-NH #2 4M411 A.1M2 JB70 L RAIL THRU RAIL(R RAIL)
WP-NH #2 4M411 A.1M2 JB70 R RAIL BA
WP-NH #2 4M411 A.1M2 JB70 R RAIL UJ
WP-NH #2 4M411 A.1M2 JB70 R RAIL FU/XT
WP-NH #2 4M411 A.1M2 JB70 R RAIL XT-B
WP-NH #2 4M411 A.1M2 JB70 R RAIL UJ-A
WP-NH #2 4M411 A.1M2 JB70 R RAIL FU/XT-A
WP-NH #2 4M411 A.1M2 PLC FU/AT
WP-NH #2 4M411 A.1M2 PLC UV-A
WP-NH #2 4M411 A.1M2 PLC FU/XT-A
WP-NH #2 4M411 A.1M2 A PC
WP-NH #2 4M411 A.1M2 A AU080
WP-NH #2 4M411 A.1M2 A AF/AU090s
WP-NH #2 4M411 A.1M2 A FU
WP-NH #2 4M411 A.1M2 A KA A1
WP-NH #2 4M411 A.1M2 A KA A2
WP-NH #2 4M411 A.1M2 A KA
WP-NH #2 4M411 A.1M2 A UJ
WP-NH #2 4M411 A.1M2 A XT
WP-NH #2 4M411 A.1M2 A AF080s-B
WP-NH #2 4M411 A.1M2 A AF090s-B
WP-NH #2 4M411 A.1M2 A FU-B
WP-NH #2 4M411 A.1M2 A KA A1-B
WP-NH #2 4M411 A.1M2 A KA A2-B
WP-NH #2 4M411 A.1M2 A XT-B
WP-NH #2 4M411 A.1M2 B AF/AU060s
WP-NH #2 4M411 A.1M2 B AF/AU070s
WP-NH #2 4M411 A.1M2 B KA A1
WP-NH #2 4M411 A.1M2 B KA A2
WP-NH #2 4M411 A.1M2 B KA
WP-NH #2 4M411 A.1M2 B KT L/S
WP-NH #2 4M411 A.1M2 B KT R/S
WP-NH #2 4M411 A.1M2 B UA1200
WP-NH #2 4M411 A.1M2 B XT
WP-NH #2 4M411 A.1M2 JB73 1444s
WP-NH #2 4M411 A.1M2 JB73 AF/AU1200s
WP-NH #2 4M411 A.1M2 JB73 FU
WP-NH #2 4M411 A.1M2 JB73 KA A1/A2
WP-NH #2 4M411 A.1M2 JB73 KA
WP-NH #2 4M411 A.1M2 JB73 SB
WP-NH #2 4M411 A.1M2 JB73 XT
WP-NH #2 4M411 A.1M2 JB75 L RAIL FU/BA
WP-NH #2 4M411 A.1M2 JB75 BOP AF/AU340s
WP-NH #2 4M411 A.1M2 JB75 BOP AF/AU380s
WP-NH #2 4M411 A.1M2 JB75 BOP FU
WP-NH #2 4M411 A.1M2 JB75 BOP KA A1
WP-NH #2 4M411 A.1M2 JB75 BOP KA A2
WP-NH #2 4M411 A.1M2 JB75 BOP KA
WP-NH #2 4M411 A.1M2 JB75 BOP KT L/S
WP-NH #2 4M411 A.1M2 JB75 BOP KT R/S
WP-NH #2 4M411 A.1M2 JB75 BOP XT
WP-NH #2 4M411 A.1M2 JB74 L RAIL FU/BA
WP-NH #2 4M411 A.1M2 JB74 L RAIL KA
WP-NH #2 4M411 A.1M2 JB74 BOP AF/AU140s
WP-NH #2 4M411 A.1M2 JB74 BOP AF/AU180s
WP-NH #2 4M411 A.1M2 JB74 BOP FU
WP-NH #2 4M411 A.1M2 JB74 BOP KA A1
WP-NH #2 4M411 A.1M2 JB74 BOP KA A2
WP-NH #2 4M411 A.1M2 JB74 BOP KA
WP-NH #2 4M411 A.1M2 JB74 BOP XT
WP-NH #2 4M411 A.1M2 PWR SUPP UJ
WP-NH #2 4M411 A.1M2 JB5 1444s
WP-NH #2 4M411 A.1M2 JB5 FU