## DOOR_S
CONTROL,JB70;TT6
JB70 DOOR
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:NEG | -0V | WHT | 14 | 180 | XT0111:22 | JB70 R RAIL | AT1100
AT1100:POS | FU1100 | WHT | 14 | 160 | FU1100:LD | HMI-S PWR
SA0170:B1-13 | AT01754P1 | WHT | 20 | 340 | AT0175:4P1 | JB70 L RAIL | SA0170
SA0170:B1-14 | SA0170B114 | WHT | 20 | 340 | KA6510:A1 | JB70 L RAIL
SA0170:B2-13 | SA0170B213 | WHT | 20 | 140 | XT0173:10 | FS CTRL
SA0170:B2-14 | SA0170B214 | WHT | 20 | 140 | XT0173:11 | FS CTRL
SA0471:B1-13 | SA0471B113 | WHT | 20 | 220 | AF0087:40 | A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 220 | AF0087:08 | A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 220 | AF0087:39 | A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 220 | AF0087:07 | A
SA0473:B-A3 | SA0473B-A3 | WHT | 20 | 220 | AF0082:05 | A | SA0473
SA0473:B-A4 | SA0473B-A4 | WHT | 20 | 220 | AF0082:37 | A
SA0473:B-B1 | SA0473B-B1 | WHT | 20 | 220 | AF0082:04 | A
SA0473:B-B2 | SA0473B-B2 | WHT | 20 | 220 | AF0082:36 | A
SA0473:W-B1 | SA0473W-B1 | WHT | 20 | 220 | AF0082:03 | A
SA0473:W-B2 | SA0473W-B2 | WHT | 20 | 220 | AF0082:35 | A
SA0474:B1-13 | SA0474B113 | WHT | 20 | 220 | AF0087:45 | A | SA0474
SA0474:B1-14 | SA0474B114 | WHT | 20 | 220 | AF0087:13 | A
SA0474:B2-13 | SA0474B213 | WHT | 20 | 220 | AF0087:44 | A
SA0474:B2-14 | SA0474B214 | WHT | 20 | 220 | AF0087:12 | A
SB0170:13 | SB017013 | WHT | 20 | 140 | XT0173:12 | FS CTRL | SB0170
SB0170:14 | SB017014 | WHT | 20 | 140 | XT0173:13 | FS CTRL
SB0471:11 | SB047111 | WHT | 20 | 220 | AF0087:34 | A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 220 | AF0087:02 | A
SB0472:B1-12 | ESTOPA | WHT | 20 | 180 | XT0111:20 | JB70 R RAIL | SB0472
SB0472:B1-11 | ESTOPB | WHT | 20 | 180 | XT0111:19 | JB70 R RAIL
SB0472:B2-11 | SB0472B211 | WHT | 20 | 220 | AF0081:36 | A
SB0472:B2-12 | SB0472B212 | WHT | 20 | 220 | AF0081:04 | A
SB0473:13 | SB047313 | WHT | 20 | 220 | AF0087:35 | A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 220 | AF0087:03 | A
SB0474:13 | SB047413 | WHT | 20 | 220 | AF0087:36 | A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 220 | AF0087:04 | A
SH0470:11 | SH047011 | WHT | 20 | 180 | XT0111:7 | JB70 R RAIL | SH0470
SH0470:12 | SH047012 | WHT | 20 | 180 | XT0111:8 | JB70 R RAIL
SH0470:13 | SH047013 | WHT | 20 | 180 | XT0111:9 | JB70 R RAIL
SH0470:14 | SH047014 | WHT | 20 | 180 | XT0111:10 | JB70 R RAIL
SH0470:X1 | SH0470X1 | WHT | 20 | 180 | XT0111:12 | JB70 R RAIL
SH0470:X2 | SH0470X2 | WHT | 20 | 180 | XT0111:11 | JB70 R RAIL
SH0471:11 | SH047111 | WHT | 20 | 180 | XT0111:1 | JB70 R RAIL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 180 | XT0111:2 | JB70 R RAIL
SH0471:13 | SH047113 | WHT | 20 | 180 | XT0111:3 | JB70 R RAIL
SH0471:14 | SH047114 | WHT | 20 | 180 | XT0111:4 | JB70 R RAIL
SH0471:X1 | SH0471X1 | WHT | 20 | 180 | XT0111:6 | JB70 R RAIL
SH0471:X2 | SH0471X2 | WHT | 20 | 180 | XT0111:5 | JB70 R RAIL
SH0472:13 | FU0139 | WHT | 20 | 180 | XT0111:15 | JB70 R RAIL | SH0472
SH0472:14 | KA0241A1 | WHT | 20 | 180 | XT0111:16 | JB70 R RAIL
SH0472:11 | SH047211 | WHT | 20 | 180 | XT0111:13 | JB70 R RAIL
SH0472:12 | SH047212 | WHT | 20 | 180 | XT0111:14 | JB70 R RAIL
SH0472:X1 | SH0472X1 | WHT | 20 | 180 | XT0111:18 | JB70 R RAIL
SH0472:X2 | SH0472X2 | WHT | 20 | 180 | XT0111:17 | JB70 R RAIL
Note on D14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Monitors are usually 14G, and AT wire G should be uniform Was: 16G Changed to: 14G MRCA: 1990461

## HMI-S PWR_S
HMI-S PWR
JB70
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA1100:POS | FU1101LD | WHT | 16 | 60 | FU1101:LD | HMI-S PWR | FU/BA
FU0291:LD | FU0291 | WHT | 14 | 60 | UV0291:24V(+) | HMI-S PWR
FU1101:LI | UJ0291OUT+ | WHT | 16 | 160 | XT0291:2 | JB70 R RAIL | BA/FU-R RAIL
BA1100:NEG | UV0291OUT- | WHT | 16 | 160 | XT0291:6 | JB70 R RAIL
FU1100:LI | FU0136 | WHT | 14 | 160 | XT0111:21 | JB70 R RAIL
UV0291:OUT1(+) | UJ0291OUT+ | WHT | 16 | 160 | XT0291:1 | JB70 R RAIL | UV-R RAIL
UV0291:OUT1(-) | UV0291OUT- | WHT | 16 | 160 | XT0291:5 | JB70 R RAIL
UV0291:24V(-) | -0V | WHT | 14 | 160 | XT0111:22 | JB70 R RAIL

## JB70 L RAIL_S
F&G EDIO ONSK
JB70 LEFT RAIL
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0178:23 | AT017823 | WHT | 20 | 120 | XT0171:2 | JB70 L RAIL | AT
AT0178:24 | AT017824 | WHT | 20 | 120 | XT0171:3 | JB70 L RAIL
AT0178:21 | ZS61N | WHT | 16 | 100 | XT0290:8 | JB70 L RAIL
AT0178:20 | ZS61P | WHT | 16 | 100 | XT0290:7 | JB70 L RAIL
AT0176:4P1 | AT01764P1 | WHT | 14 | 60 | AT0178:1P1 | JB70 L RAIL
AT0176:5P1 | AT01765P1 | WHT | 14 | 60 | AT0178:2P1 | JB70 L RAIL
FU0172:LD | FU0172 | WHT | 16 | 60 | XT0170:5 | JB70 L RAIL | FU
FU0170:LD | FU0170 | WHT | 14 | 60 | XT0171:4 | JB70 L RAIL
FU0170:LI | FU0535 | WHT | 14 | 140 | XT0170:2 | JB70 L RAIL
FU0171:LI | FU0535 | WHT | 14 | 140 | XT0170:2 | JB70 L RAIL
FU0172:LI | FU0535 | WHT | 14 | 140 | XT0170:1 | JB70 L RAIL
FU0294:LI | FU0535 | WHT | 12 | 140 | XT0535:4 | JB70 L RAIL
FU0295:LI | FU0535 | WHT | 12 | 140 | XT0535:5 | JB70 L RAIL
FU0535:LD | FU0535 | WHT | 12 | 140 | XT0535:1 | JB70 L RAIL
KA0176:A1 | KA0176A1 | WHT | 20 | 60 | KA0177:A1 | JB70 L RAIL | KA A1/A2
KA0176:A1 | KA0176A1 | WHT | 20 | 120 | KA0145:22 | JB70 L RAIL
KA0178:A1 | KA0178A1 | WHT | 20 | 60 | XT0171:1 | JB70 L RAIL
KA0246:A1 | KA0243A1 | WHT | 20 | 60 | KA0247:A1 | JB70 L RAIL
KA0247:A1 | KA0243A1 | WHT | 20 | 60 | KA0254:A1 | JB70 L RAIL
KA0145:A2 | -0V | WHT | 20 | 60 | KA0246:A2 | JB70 L RAIL
KA0172:A2 | -0V | WHT | 20 | 60 | KA0174:A2 | JB70 L RAIL
KA0172:A2 | -0V | WHT | 20 | 140 | XT0170:4 | JB70 L RAIL
KA0176:A2 | -0V | WHT | 20 | 60 | KA0177:A2 | JB70 L RAIL
KA0179:A2 | -0V | WHT | 20 | 60 | KA0255:A2 | JB70 L RAIL
KA0246:A2 | -0V | WHT | 20 | 60 | KA0247:A2 | JB70 L RAIL
KA0247:A2 | -0V | WHT | 20 | 60 | KA0254:A2 | JB70 L RAIL
KA0178:A2 | AT017824 | WHT | 20 | 140 | XT0171:3 | JB70 L RAIL
KA6510:A2 | KA6510A2 | WHT | 20 | 140 | AT0175:5P1 | JB70 L RAIL
KA0176:11 | KA017611 | WHT | 20 | 60 | KA0246:11 | JB70 L RAIL | KA
KA0145:22 | KA0176A1 | WHT | 20 | 60 | KA0249:12 | JB70 L RAIL
KA0145:21 | KA025522 | WHT | 20 | 60 | KA0249:11 | JB70 L RAIL
KA0145:21 | KA025522 | WHT | 20 | 60 | KA0255:22 | JB70 L RAIL
KA6510:12 | KA651012 | WHT | 20 | 60 | AT0175:11 | JB70 L RAIL
KA6510:22 | KA651022 | WHT | 20 | 60 | AT0176:17 | JB70 L RAIL
XT0170:3 | -0V | WHT | 14 | 60 | XT0171:5 | JB70 L RAIL | XT
XT0536:3 | -0V | WHT | 14 | 60 | XT0170:3 | JB70 L RAIL
XT0535:3 | FU0535 | WHT | 14 | 60 | XT0170:2 | JB70 L RAIL
KA0173:A1 | -009201 | WHT | 20 | 220 | AF0092:01 | A | KA A1/A2-A
KA0255:A1 | KA0131A1 | WHT | 20 | 200 | XT0089:9 | A
KA0145:A1 | KA0135A1 | WHT | 20 | 200 | XT0089:23 | A
KA0246:A1 | KA0243A1 | WHT | 20 | 200 | XT0089:10 | A
KA0249:A1 | KA0245A1 | WHT | 20 | 200 | XT0089:11 | A
KA0173:A2 | -009217 | WHT | 20 | 220 | AF0092:17 | A
KA0176:A2 | -0V | WHT | 20 | 220 | XT0080:8 | A
KA0176:14 | -009336 | WHT | 20 | 140 | AF0093:36 | A | KA-A
KA0255:21 | FU0139 | WHT | 20 | 140 | XT0081:3 | A
KA0178:14 | FU0535 | WHT | 20 | 140 | KA0875:14 | A
KA0176:11 | KA017611 | WHT | 20 | 140 | AF0093:04 | A
KA0178:11 | KA023212 | WHT | 20 | 140 | KA0232:12 | A
KA0246:14 | KA6211A1 | WHT | 20 | 140 | KA6211:A1 | A
XT0170:1 | FU0535 | WHT | 20 | 140 | KA0875:14 | A | FU/XT-A
XT0536:1 | -0V | WHT | 12 | 140 | XT0003:7 | A
FU0535:LI | FU0136 | WHT | 12 | 200 | XT0002:7 | A
AT0175:17 | AT017517 | WHT | 20 | 160 | XT0173:2 | FS CTRL | AT-FS CTRL
AT0175:20 | AT017520 | WHT | 20 | 160 | XT0173:5 | FS CTRL
AT0175:23 | AT017523 | WHT | 20 | 160 | XT0173:8 | FS CTRL
AT0175:18 | HL0171X1 | WHT | 20 | 160 | XT0173:3 | FS CTRL
AT0175:21 | HL0172X1 | WHT | 20 | 160 | XT0173:6 | FS CTRL
AT0175:24 | HL0173X1 | WHT | 20 | 160 | XT0173:9 | FS CTRL
AT0175:2 | SB017013 | WHT | 20 | 160 | XT0173:12 | FS CTRL
AT0175:3 | SB017014 | WHT | 20 | 160 | XT0173:13 | FS CTRL
AT0175:2P1 | UV017010 | WHT | 14 | 180 | UV0170:10(-) | FS CTRL
AT0176:1P1 | UV017011 | WHT | 14 | 180 | UV0170:11(+) | FS CTRL
AT0176:2P1 | UV017012 | WHT | 14 | 180 | UV0170:12(-) | FS CTRL
AT0175:1P1 | UV01709 | WHT | 14 | 180 | UV0170:9(+) | FS CTRL
KA0172:A1 | AT017025 | WHT | 20 | 160 | AT0170:25 | FS CTRL | KA-FS CTRL
KA0174:A1 | AT017031 | WHT | 20 | 160 | AT0170:31 | FS CTRL
KA0254:A1 | KA0243A1 | WHT | 20 | 160 | AT0170:26 | FS CTRL
KA0249:A1 | KA0245A1 | WHT | 20 | 160 | AT0170:32 | FS CTRL
XT0170:5 | FU0172 | WHT | 20 | 180 | AT0170:24 | FS CTRL | FU/XT-FS CTRL
XT0170:5 | FU0172 | WHT | 20 | 180 | AT0170:30 | FS CTRL
XT0170:3 | -0V | WHT | 14 | 180 | UV0170:2(-) | FS CTRL
XT0170:3 | -0V | WHT | 14 | 180 | UV0170:4(-) | FS CTRL
XT0171:5 | -0V | WHT | 14 | 180 | XT0173:25 | FS CTRL
XT0171:4 | FU0170 | WHT | 14 | 180 | XT0173:24 | FS CTRL
FU0171:LD | FU0171 | WHT | 14 | 180 | UV0170:3(+) | FS CTRL
FU0171:LD | FU0171 | WHT | 14 | 180 | UV0170:1(+) | FS CTRL
XT0171:6 | LON1S2 | WHT | 14 | 180 | XT0173:23 | FS CTRL

## FS CTRL_S
FS CTRL
JB70
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0170:11 | SA0170B213 | WHT | 20 | 60 | XT0173:10 | FS CTRL | AT
AT0170:12 | SA0170B214 | WHT | 20 | 60 | XT0173:11 | FS CTRL
AT0170:1 | UV01705 | WHT | 14 | 60 | UV0170:5(+) | FS CTRL
AT0170:2 | UV01706 | WHT | 14 | 60 | UV0170:6(-) | FS CTRL
AT0170:3 | UV01707 | WHT | 14 | 60 | UV0170:7(+) | FS CTRL
AT0170:4 | UV01708 | WHT | 14 | 60 | UV0170:8(-) | FS CTRL
UV0170:14(-) | LON0N | WHT | 16 | 60 | XT0173:27 | FS CTRL | UV
UV0170:13(+) | LON0P | WHT | 16 | 60 | XT0173:26 | FS CTRL
UV0170:15(+) | LON2N | WHT | 16 | 60 | XT0173:29 | FS CTRL
UV0170:16(-) | LON2P | WHT | 16 | 60 | XT0173:28 | FS CTRL
XT0173:25 | -0V | WHT | 14 | 60 | XT0173:18 | FS CTRL | XT
XT0173:24 | FU0170 | WHT | 14 | 60 | XT0173:17 | FS CTRL
XT0173:23 | LON1S2 | WHT | 14 | 60 | XT0173:19 | FS CTRL

## JB70 R RAIL_S
JB70 RIGHT RAIL
JB70
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0001:V1(-) | -0V | WHT | 16 | 60 | XT0051:5 | JB70 R RAIL | BA
BA0002:V1(-) | -0V | WHT | 16 | 60 | XT0051:6 | JB70 R RAIL
BA0009:V1(-) | -0V | WHT | 16 | 60 | XT0051:7 | JB70 R RAIL
BA0001:V1(+) | FU0001 | WHT | 16 | 60 | FU0001:LD | JB70 R RAIL
BA0002:V1(+) | FU0002 | WHT | 16 | 60 | FU0002:LD | JB70 R RAIL
BA0009:V1(+) | FU0029 | WHT | 16 | 60 | FU0029:LD | JB70 R RAIL
FU0029:LI | FU0136 | WHT | 16 | 60 | XT0051:3 | JB70 R RAIL | FU
FU0001:LI | FU0136 | WHT | 12 | 60 | XT0051:1 | JB70 R RAIL
FU0002:LI | FU0136 | WHT | 12 | 60 | XT0051:2 | JB70 R RAIL
FU0010:LI | FU0136 | WHT | 14 | 200 | XT0002:4 | A | FU-A
XT0111:20 | ESTOPA | WHT | 20 | 200 | XT0089:4 | A | XT-A
XT0111:19 | ESTOPB | WHT | 20 | 200 | XT0089:3 | A
XT0111:15 | FU0139 | WHT | 20 | 200 | XT0081:6 | A
XT0111:24 | HA047201 | WHT | 20 | 200 | KA0875:A2 | A
XT0111:24 | HA047201 | WHT | 20 | 200 | AF0092:28 | A
XT0111:23 | HA047202 | WHT | 20 | 200 | KA0875:11 | A
XT0111:16 | KA0241A1 | WHT | 20 | 200 | XT0081:7 | A
XT0111:7 | SH047011 | WHT | 20 | 200 | AF0087:33 | A
XT0111:8 | SH047012 | WHT | 20 | 200 | AF0087:01 | A
XT0111:12 | SH0470X1 | WHT | 20 | 200 | AF0093:22 | A
XT0111:11 | SH0470X2 | WHT | 20 | 200 | AF0093:06 | A
XT0111:3 | SH047113 | WHT | 20 | 200 | AF0087:32 | A
XT0111:4 | SH047114 | WHT | 20 | 200 | AF0087:00 | A
XT0111:6 | SH0471X1 | WHT | 20 | 200 | AF0093:31 | A
XT0111:5 | SH0471X2 | WHT | 20 | 200 | AF0093:15 | A
XT0111:18 | SH0472X1 | WHT | 20 | 200 | AF0092:29 | A
XT0111:17 | SH0472X2 | WHT | 20 | 200 | KA0240:21 | A
XT0111:17 | SH0472X2 | WHT | 20 | 200 | AF0092:13 | A
XT0051:5 | -0V | WHT | 14 | 200 | XT0003:7 | A
XT0111:22 | -0V | WHT | 14 | 200 | XT0003:6 | A
XT0051:1 | FU0136 | WHT | 14 | 200 | XT0002:7 | A
XT0111:21 | FU0136 | WHT | 14 | 200 | XT0002:6 | A
XT0051:8 | -0V | WHT | 14 | 180 | XT0680:2 | PLC | FU/XT-PLC
FU0010:LD | FU0010 | WHT | 14 | 180 | UV0600:(+) | PLC
XT0051:4 | FU0136 | WHT | 14 | 180 | FU0680:LI | PLC

## PLC_S
PLC
JB70
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | PLC | FU/AT
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
UV0600:(-) | -0V | WHT | 14 | 80 | XT0003:4 | A | UV-A

## A_S
CONTROL A
JB70
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0081:00 | UA1200J21 | WHT | 20 | 80 | XT0089:20 | A | AF/AU080s
AF0086:28 | -0V | WHT | 16 | 60 | XT0080:12 | A
AU0080:COM | -0V | WHT | 16 | 60 | XT0080:1 | A
AU0080:V+ | FU0081 | WHT | 16 | 60 | FU0081:LD | A
AF0094:05 | -0V | WHT | 20 | 60 | XT0082:5 | A | AF/AU090s
AF0094:07 | -0V | WHT | 20 | 60 | XT0082:5 | A
AF0092:COM | -0V | WHT | 16 | 60 | XT0080:3 | A
AF0093:COM | -0V | WHT | 16 | 80 | XT0080:4 | A
AF0095:COM | -0V | WHT | 16 | 80 | XT0080:5 | A
AU0090:COM | -0V | WHT | 16 | 60 | XT0080:3 | A
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | A
AF0091:V+ | AF0091P | WHT | 16 | 60 | AF0094:V+ | A
AU0090:V+ | FU0090 | WHT | 16 | 60 | FU0090:LD | A
AF0092:V+ | FU0091 | WHT | 16 | 60 | FU0091:LD | A
AF0093:V+ | FU0092 | WHT | 16 | 60 | FU0092:LD | A
AF0095:V+ | FU0093 | WHT | 16 | 60 | FU0093:LD | A
FU0390:LD | FT21081 | WHT | 16 | 60 | XT0080:11 | A | FU
FU0139:LD | FU0139 | WHT | 16 | 60 | XT0081:1 | A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0080:LD | A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0090:LI | A
FU0137:LI | FU0136 | WHT | 12 | 80 | XT0002:2 | A
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0137:LD | A
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0139:LI | A
FU0139:LI | FU0137 | WHT | 12 | 60 | FU0387:LI | A
FU0389:LD | FU0389 | WHT | 12 | 60 | XT0089:21 | A
KA00920:A1 | -009200 | WHT | 20 | 60 | AF0092:00 | A | KA A1
KA0875:A1 | -009212 | WHT | 20 | 60 | AF0092:12 | A
KA0239:A1 | ESTOP | WHT | 20 | 60 | KA0240:A1 | A
KA0130:A1 | KA0130A1 | WHT | 20 | 80 | AF0081:35 | A
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | KA0130:11 | A
KA0131:A1 | KA0131A1 | WHT | 20 | 60 | KA0242:14 | A
KA0132:A1 | KA0131A1 | WHT | 20 | 60 | KA0141:A1 | A
KA0141:A1 | KA0131A1 | WHT | 20 | 60 | KA0230:A1 | A
KA0230:A1 | KA0131A1 | WHT | 20 | 60 | KA0231:A1 | A
KA0231:A1 | KA0131A1 | WHT | 20 | 60 | KA0232:A1 | A
KA0133:A1 | KA0133A1 | WHT | 20 | 60 | AF0092:02 | A
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0091:12 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 100 | XT0089:23 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 80 | KA0131:11 | A
KA0138:A1 | KA0138A1 | WHT | 20 | 60 | KA0132:21 | A
KA0241:A1 | KA0241A1 | WHT | 20 | 60 | XT0081:7 | A
KA0243:A1 | KA0243A1 | WHT | 20 | 60 | XT0089:10 | A
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | XT0089:11 | A
KA2160:A1 | KA2160A1 | WHT | 20 | 60 | AF0092:04 | A
KA2161:A1 | KA2161A1 | WHT | 20 | 60 | AF0092:07 | A
KA3103:A1 | KA3103A1 | WHT | 20 | 60 | AF0092:08 | A
KA0136:A1 | PS32002 | WHT | 20 | 60 | XT0089:14 | A
KA00920:A2 | -009216 | WHT | 20 | 60 | AF0092:16 | A | KA A2
KA6211:A2 | -009320 | WHT | 20 | 60 | AF0093:20 | A
KA0133:A2 | -0V | WHT | 20 | 60 | KA0136:A2 | A
KA0135:A2 | -0V | WHT | 20 | 60 | KA0137:A2 | A
KA0136:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | A
KA0239:A2 | -0V | WHT | 20 | 60 | KA0240:A2 | A
KA0241:A2 | -0V | WHT | 20 | 80 | XT0080:9 | A
KA0243:A2 | -0V | WHT | 20 | 80 | XT0080:8 | A
KA0131:A2 | KA0131A2 | WHT | 20 | 80 | AF0081:24 | A
KA0132:A2 | KA0131A2 | WHT | 20 | 60 | KA0141:A2 | A
KA0141:A2 | KA0131A2 | WHT | 20 | 60 | KA0230:A2 | A
KA0230:A2 | KA0131A2 | WHT | 20 | 60 | KA0231:A2 | A
KA0231:A2 | KA0131A2 | WHT | 20 | 60 | KA0232:A2 | A
KA2160:A2 | KA2160A2 | WHT | 20 | 60 | AF0092:20 | A
KA2161:A2 | KA2161A2 | WHT | 20 | 60 | AF0092:23 | A
KA3103:A2 | KA3103A2 | WHT | 20 | 60 | AF0092:24 | A
KA0243:24 | ESTOPD | WHT | 20 | 60 | XT0089:1 | A | KA
KA0132:11 | FU0139 | WHT | 20 | 60 | XT0081:1 | A
KA0137:21 | FU0139 | WHT | 20 | 60 | KA0244:11 | A
KA0236:11 | FU0139 | WHT | 20 | 60 | XT0081:5 | A
KA0244:11 | FU0139 | WHT | 20 | 60 | XT0081:2 | A
KA0130:14 | KA013014 | WHT | 20 | 60 | AF0081:03 | A
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | A
KA0137:24 | KA013112 | WHT | 20 | 80 | AF0087:09 | A
KA0131:14 | KA013114 | WHT | 20 | 60 | AF0092:06 | A
KA0242:14 | KA0131A1 | WHT | 20 | 60 | KA0231:14 | A
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | A
KA0136:21 | KA013621 | WHT | 20 | 80 | AF0087:43 | A
KA0136:24 | KA013624 | WHT | 20 | 80 | AF0087:11 | A
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | A
KA0141:11 | KA014111 | WHT | 20 | 60 | AF0091:39 | A
KA0141:14 | KA014114 | WHT | 20 | 60 | AF0091:07 | A
KA0141:24 | KA014124 | WHT | 20 | 80 | AF0081:40 | A
KA0141:24 | KA014124 | WHT | 20 | 60 | KA0241:24 | A
KA0231:24 | KA023124 | WHT | 20 | 60 | KA0245:21 | A
KA0239:11 | KA023911 | WHT | 20 | 80 | AF0081:41 | A
KA0239:14 | KA023914 | WHT | 20 | 80 | AF0081:09 | A
KA0239:22 | KA023922 | WHT | 20 | 60 | KA0242:24 | A
KA0240:22 | KA024022 | WHT | 20 | 60 | AF0092:45 | A
KA0236:24 | KA024114 | WHT | 20 | 60 | KA0241:14 | A
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:21 | A
KA0242:21 | KA024221 | WHT | 20 | 60 | XT0237:1 T2 | A
KA0243:11 | KA024311 | WHT | 20 | 80 | AF0081:33 | A
KA0243:14 | KA024314 | WHT | 20 | 80 | AF0081:01 | A
KA0245:11 | KA024511 | WHT | 20 | 80 | AF0081:34 | A
KA0245:14 | KA024514 | WHT | 20 | 80 | AF0081:02 | A
KA0243:21 | KA024524 | WHT | 20 | 60 | KA0245:24 | A
KA0138:11 | KM3170EP | WHT | 20 | 80 | XT0080:10 | A
KA0242:11 | KT014618 | WHT | 20 | 60 | KA0231:11 | A
KA0141:21 | KT0146A1 | WHT | 20 | 60 | KA0241:21 | A
KA0240:11 | PS32004 | WHT | 20 | 60 | XT0089:15 | A
KA0236:21 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | A
KA0241:11 | UA1200J21 | WHT | 20 | 60 | XT0089:20 | A
KA0240:14 | UF1300 | WHT | 20 | 60 | XT0084:1 | A
KA00920:14 | FU0387 | WHT | 16 | 80 | FU0387:LD | A
KA0138:14 | FU0388 | WHT | 16 | 60 | FU0388:LD | A
KA00920:11 | VS32203 | WHT | 14 | 60 | XT0091:1 | A
KT0140:A2 | -0V | WHT | 20 | 60 | XT0080:6 | A | KT L/S
KT0142:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | A
KT0143:A2 | -0V | WHT | 20 | 60 | KA0134:A2 | A
KT0143:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | A
KT0144:A2 | -0V | WHT | 20 | 60 | KA0133:A2 | A
KT0145:A2 | -0V | WHT | 20 | 60 | KA0135:A2 | A
KT0145:A2 | -0V | WHT | 20 | 80 | XT0080:7 | A
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0132:22 | A
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0137:14 | A
KT0144:18 | KA013222 | WHT | 20 | 60 | KA0137:14 | A
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KA0137:A1 | A
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KT0142:18 | A
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | A
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | A
KT0146:18 | KT014618 | WHT | 20 | 80 | AF0081:08 | A
KT0146:18 | KT014618 | WHT | 20 | 60 | KA0242:11 | A
KT0140:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | A | KT R/S
KT0142:15 | FU0139 | WHT | 20 | 60 | KA0137:21 | A
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0145:15 | A
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0134:11 | A
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | A
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0133:11 | A
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0136:11 | A
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | A
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0142:A1 | A
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0143:15 | A
KT0142:A1 | KT014315 | WHT | 20 | 60 | KA0132:12 | A
KT0144:B1 | KT0144B1 | WHT | 20 | 60 | KA0138:24 | A
KT0145:A1 | KT0145A1 | WHT | 20 | 60 | KA0244:12 | A
KT0146:A1 | KT0146A1 | WHT | 20 | 60 | KA0141:21 | A
UA1200:J1-9 | -0V | WHT | 20 | 120 | XT0089:22 | A | UA
UA1200:J1-10 | FU0389 | WHT | 20 | 120 | XT0089:21 | A
UA1200:J2-2 | FU0389 | WHT | 20 | 120 | XT0089:21 | A
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | A
UA1200:J1-5 | UA1200J15 | WHT | 20 | 80 | XT0237:1 B1 | A
UA1200:J2-1 | UA1200J21 | WHT | 20 | 120 | XT0089:20 | A
UA1200:J2-6 | UA1200J26 | WHT | 20 | 100 | KA0130:A2 | A
UA1200:J2-7 | UA1200J27 | WHT | 20 | 100 | AF0081:19 | A
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 60 | AF0094:06 | A | UJ
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0091:41 | A
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0091:09 | A
UJ0131:VIN | UJ0131VIN | WHT | 20 | 60 | AF0094:04 | A
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | A
XT0080:6 | -0V | WHT | 20 | 60 | XT0089:19 | A | XT
XT0082:2 | -0V | WHT | 20 | 60 | XT0080:6 | A
XT0081:4 | FU0139 | WHT | 20 | 60 | XT0089:13 | A
XT0082:6 | -0V | WHT | 16 | 60 | XT0080:12 | A
XT0089:22 | -0V | WHT | 16 | 60 | XT0082:4 | A
XT0081:1 | FU0139 | WHT | 16 | 60 | XT0089:17 | A
XT0080:1 | -0V | WHT | 14 | 60 | XT0082:2 | A
XT0082:3 | -0V | WHT | 14 | 60 | XT0091:2 | A
XT0003:2 | -0V | WHT | 12 | 60 | XT0082:1 | A
AF0093:12 | -009312 | WHT | 20 | 160 | PC0470:INP_A | B | AF-B
AF0093:28 | -009328 | WHT | 20 | 160 | PC0470:-PWR | B
AF0093:44 | -009344 | WHT | 20 | 160 | PC0470:+PWR | B
AF0095:02 | -009502 | WHT | 20 | 160 | KA0221:14 | B
KA0236:A1 | ESTOP | WHT | 20 | 160 | KA0235:A1 | B | KA-B
KA0236:A1 | ESTOP | WHT | 20 | 160 | KA0237:A1 | B
KA0239:A1 | ESTOP | WHT | 20 | 160 | KA0237:A1 | B
KA0240:A1 | ESTOP | WHT | 20 | 160 | KA0251:A1 | B
KA0232:A1 | KA0131A1 | WHT | 20 | 160 | KA0233:A1 | B
KA0134:A1 | KA0134A1 | WHT | 20 | 160 | AF0067:12 | B
KA0236:A2 | -0V | WHT | 20 | 160 | KA0235:A2 | B
KA0236:A2 | -0V | WHT | 20 | 160 | KA0237:A2 | B
KA0239:A2 | -0V | WHT | 20 | 160 | KA0237:A2 | B
KA0240:A2 | -0V | WHT | 20 | 160 | KA0251:A2 | B
KA0242:A2 | -0V | WHT | 20 | 160 | KA0235:A2 | B
KA0232:A2 | KA0131A2 | WHT | 20 | 160 | KA0233:A2 | B
KA0239:21 | FU0212 | WHT | 16 | 160 | FU0212:LD | B
KT0146:15 | KT014615 | WHT | 20 | 160 | AF0076:10 | B | KT-B
KT0146:A2 | KT0146A2 | WHT | 20 | 160 | AF0076:29 | B
KT0146:B1 | KT0146B1 | WHT | 20 | 160 | AF0076:13 | B
UA1200:J1-4 | UA1200J14 | WHT | 20 | 180 | AF0076:27 | B | UA-B
XT0089:18 | -007405 | WHT | 20 | 160 | AF0074:05 | B | XT-B
XT0237:1 B2 | -007612 | WHT | 20 | 160 | AF0076:12 | B
XT0089:19 | -0V | WHT | 20 | 160 | AF0074:21 | B
XT0089:5 | ESTOP | WHT | 20 | 160 | KA0235:A1 | B
XT0089:6 | ESTOP | WHT | 20 | 160 | KA0251:A1 | B
XT0089:8 | KA0131A1 | WHT | 20 | 160 | KA0234:A1 | B
XT0003:1 | -0V | WHT | 14 | 160 | XT0062:1 | B
XT0003:3 | -0V | WHT | 14 | 160 | XT0401:1 | B
XT0002:1 | FU0136 | WHT | 14 | 160 | FU0210:LI | B
XT0002:3 | FU0136 | WHT | 14 | 160 | FU0410:LI | B
Note on D162: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: BUOS wires are usually 20G Was: 16G Changed to: 20G MRCA: 1990463

## B_S
CONTROL B
JB70
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0061:COM | -0V | WHT | 16 | 100 | XT0060:2 | B | AF/AU060s
AF0062:COM | -0V | WHT | 16 | 100 | XT0060:3 | B
AF0067:COM | -0V | WHT | 16 | 80 | XT0060:3 | B
AU0060:COM | -0V | WHT | 16 | 100 | XT0060:2 | B
AF0066:COM | AF0066N | WHT | 16 | 60 | AF0068:COM | B
AF0066:V+ | AF0066P | WHT | 16 | 60 | AF0068:V+ | B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | B
AU0060:V+ | FU0061 | WHT | 16 | 60 | FU0061:LD | B
AF0061:V+ | FU0062 | WHT | 16 | 60 | FU0062:LD | B
AF0062:V+ | FU0063 | WHT | 16 | 60 | FU0063:LD | B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | B
AF0076:COM | -0V | WHT | 16 | 80 | XT0060:4 | B | AF/AU070s
AU0070:COM | -0V | WHT | 16 | 60 | XT0060:4 | B
AF0075:COM | AF0075N | WHT | 16 | 60 | AF0077:COM | B
AF0075:V+ | AF0075P | WHT | 16 | 60 | AF0077:V+ | B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | B
AF0076:V+ | FU0076 | WHT | 16 | 80 | FU0076:LD | B
AF0410:53 | -0V | WHT | 16 | 60 | XT0401:2 | B | 1444s
AF0410:54 | -0V | WHT | 16 | 60 | AF0420:53 | B
AF0420:54 | -0V | WHT | 16 | 60 | AF0430:53 | B
AF0430:54 | -0V | WHT | 16 | 60 | AF0450:53 | B
AF0410:55 | FU0410 | WHT | 16 | 80 | FU0410:LD | B
AF0410:56 | FU0410 | WHT | 16 | 60 | AF0420:55 | B
AF0420:56 | FU0410 | WHT | 16 | 60 | AF0430:55 | B
AF0430:56 | FU0410 | WHT | 16 | 60 | AF0450:55 | B
KA0221:A1 | -007602 | WHT | 20 | 60 | AF0076:02 | B | KA A1/A2
KA0222:A1 | -007604 | WHT | 20 | 60 | AF0076:04 | B
KA0224:A1 | -007615 | WHT | 20 | 60 | AF0076:15 | B
KA1020:A1 | KA1020A1 | WHT | 20 | 60 | AF0076:08 | B
KA0221:A2 | -007618 | WHT | 20 | 60 | AF0076:18 | B
KA0222:A2 | -007620 | WHT | 20 | 60 | AF0076:20 | B
KA0224:A2 | -007631 | WHT | 20 | 60 | AF0076:31 | B
KA1020:A2 | KA1020A2 | WHT | 20 | 60 | AF0076:24 | B
KA0233:14 | -006102 | WHT | 20 | 100 | AF0061:02 | B | KA
KA0234:14 | -006114 | WHT | 20 | 100 | AF0061:14 | B
KA0222:14 | -006200 | WHT | 20 | 100 | AF0062:00 | B
KA0221:11 | -023524 | WHT | 20 | 60 | KA0235:24 | B
KA0222:11 | -023724 | WHT | 20 | 60 | KA0237:24 | B
KA0235:14 | KA023514 | WHT | 20 | 60 | AF0076:00 | B
KA0237:14 | KA023714 | WHT | 20 | 60 | AF0076:01 | B
KA1020:14 | FU0100 | WHT | 16 | 60 | FU0100:LD | B
KA1020:24 | -0V | WHT | 14 | 60 | XT0062:2 | B
XT0060:1 | -0V | WHT | 14 | 60 | XT0062:2 | B | FU/XT
FU0061:LI | FU0060 | WHT | 14 | 60 | FU0060:LD | B
FU0064:LI | FU0060 | WHT | 14 | 80 | FU0070:LI | B
FU0060:LI | FU0210 | WHT | 12 | 80 | FU0100:LI | B
FU0060:LI | FU0210 | WHT | 12 | 80 | FU0210:LD | B
FU0100:LI | FU0210 | WHT | 12 | 80 | FU0113:LI | B

## JB74 L RAIL_S
JB74 LEFT RAIL
JB74
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0007:V1(-) | -0V | WHT | 16 | 60 | XT0007:4 | JB74 L RAIL | BA
BA0008:V1(-) | -0V | WHT | 16 | 60 | XT0007:4 | JB74 L RAIL
BA0007:V1(+) | FU0007 | WHT | 16 | 60 | FU0007:LD | JB74 L RAIL
BA0008:V1(+) | FU0008 | WHT | 16 | 60 | FU0008:LD | JB74 L RAIL
BA1212:POS | FU1212LD | WHT | 16 | 60 | FU1212:LD | JB74 L RAIL
BA1212:NEG | UV0291OUT- | WHT | 16 | 60 | XT1212:2 | JB74 L RAIL
FU0007:LI | FU0183 | WHT | 16 | 60 | XT0007:2 | JB74 L RAIL | FU
FU0008:LI | FU0183 | WHT | 16 | 60 | XT0007:2 | JB74 L RAIL
FU1212:LI | UJ0291OUT+ | WHT | 16 | 60 | XT1212:1 | JB74 L RAIL
KT05722:18 | KT0572218 | WHT | 20 | 60 | KT05732:15 | JB74 L RAIL | KT
KT0572:A2 | KT0572A2 | WHT | 20 | 60 | KT05722:A2 | JB74 L RAIL
KT0573:A2 | KT0573A2 | WHT | 20 | 60 | KT05732:A2 | JB74 L RAIL
KT0571:15 | KA053312 | WHT | 20 | 60 | KT0572:15 | JB74 L RAIL
KT0571:15 | KA053312 | WHT | 20 | 60 | KT05722:15 | JB74 L RAIL
KT0572:15 | KA053312 | WHT | 20 | 60 | KT0573:15 | JB74 L RAIL
KT05722:A1 | KA054012 | WHT | 20 | 60 | KT0572:A1 | JB74 L RAIL
KT05732:A1 | KA054112 | WHT | 20 | 60 | KT0573:A1 | JB74 L RAIL
KT0571:A2 | -014223 | WHT | 20 | 160 | AF0142:23 | BOP | KT L/S-BOP
KT0571:16 | KT057116 | WHT | 20 | 160 | XT0573:1 T2 | BOP
KT0572:16 | KT057216 | WHT | 20 | 160 | XT0573:6 B2 | BOP
KT0572:16 | KT057216 | WHT | 20 | 160 | XT0573:8 T2 | BOP
KT0572:A2 | KT0572A2 | WHT | 20 | 160 | AF0183:20 | BOP
KT0573:16 | KT057316 | WHT | 20 | 160 | XT0573:6 T2 | BOP
KT0573:16 | KT057316 | WHT | 20 | 160 | XT0573:9 T2 | BOP
KT05732:18 | KT0573218 | WHT | 20 | 160 | KA0535:21 | BOP
KT0573:A2 | KT0573A2 | WHT | 20 | 160 | AF0183:21 | BOP
KT0573:15 | KA053312 | WHT | 20 | 160 | KA0533:12 | BOP | KT R/S-BOP
KT0572:A1 | KA054012 | WHT | 20 | 160 | KA0540:22 | BOP
KT0573:A1 | KA054112 | WHT | 20 | 160 | KA0541:12 | BOP
KT0571:A1 | ZSC76112 | WHT | 20 | 160 | XT0572:2 | BOP
XT0007:3 | -0V | WHT | 16 | 160 | XT0140:6 | BOP | XT-BOP
XT0007:1 | FU0183 | WHT | 16 | 160 | FU0183:LD | BOP

## BOP_S
BOP CTRL
JB74
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0141:10 | -014110 | WHT | 20 | 60 | XT0573:1 B2 | BOP | AF/AU140s
AF0141:16 | SV76212 | WHT | 20 | 80 | XT0572:3 | BOP
AF0141:20 | SV76412 | WHT | 20 | 80 | XT0572:5 | BOP
AF0142:07 | ZSC76112 | WHT | 20 | 80 | XT0572:2 | BOP
AF0141:COM | -0V | WHT | 16 | 80 | XT0140:2 | BOP
AF0146:COM | -0V | WHT | 16 | 100 | XT0140:3 | BOP
AU0140:COM | -0V | WHT | 16 | 80 | XT0140:2 | BOP
AF0142:COM | AU0140N | WHT | 16 | 60 | AU0140:COM | BOP
AF0142:V+ | AU0140P | WHT | 16 | 60 | AU0140:V+ | BOP
AU0140:V+ | FU0140 | WHT | 16 | 60 | FU0140:LD | BOP
AF0141:V+ | FU0141 | WHT | 16 | 60 | FU0141:LD | BOP
AF0146:V+ | FU0142 | WHT | 16 | 60 | FU0142:LD | BOP
AF0183:04 | ZSC76212 | WHT | 20 | 60 | XT0572:4 | BOP | AF/AU180s
AF0183:05 | ZSC76412 | WHT | 20 | 60 | XT0572:6 | BOP
AU0180:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP
AF0181:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP
AF0184:COM | -0V | WHT | 16 | 60 | XT0140:5 | BOP
AF0183:COM | AF0183N | WHT | 16 | 60 | AF0185:COM | BOP
AF0183:V+ | AF0183P | WHT | 16 | 60 | AF0185:V+ | BOP
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | BOP
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | BOP
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | BOP
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | BOP
AF0184:V+ | FU0182 | WHT | 16 | 80 | FU0182:LD | BOP
FU0143:LD | FU0143 | WHT | 16 | 100 | XT0140:9 | BOP | FU
FU0140:LI | FU0146 | WHT | 14 | 80 | FU0146:LD | BOP
FU0143:LI | FU0146 | WHT | 14 | 60 | FU0180:LI | BOP
KA0531:A1 | ESTOP | WHT | 20 | 80 | XT0140:8 | BOP | KA A1
KA0534:A1 | ESTOP | WHT | 20 | 60 | KA0537:A1 | BOP
KA0535:A1 | KA0131A1 | WHT | 20 | 80 | XT0140:7 | BOP
KA0536:A1 | KA0131A1 | WHT | 20 | 60 | KA0538:A1 | BOP
KA0540:A1 | KA053124 | WHT | 20 | 60 | KA0531:21 | BOP
KA0541:A1 | KA053224 | WHT | 20 | 60 | KA0532:24 | BOP
KA0550:A1 | KA0550A1 | WHT | 20 | 80 | AF0184:00 | BOP
KA0551:A1 | KA0551A1 | WHT | 20 | 80 | AF0184:02 | BOP
KA0552:A1 | KA0552A1 | WHT | 20 | 80 | AF0184:01 | BOP
KA0553:A1 | KA0553A1 | WHT | 20 | 80 | AF0184:03 | BOP
KA0554:A1 | KA0554A1 | WHT | 20 | 80 | AF0184:05 | BOP
KA0555:A1 | KA0555A1 | WHT | 20 | 80 | AF0184:04 | BOP
KA7320:A1 | KA7320A1 | WHT | 20 | 60 | AF0181:00 | BOP
KA7321:A1 | KA7321A1 | WHT | 20 | 60 | AF0181:02 | BOP
KA0531:A2 | -0V | WHT | 20 | 60 | KA0538:A2 | BOP | KA A2
KA0534:A2 | -0V | WHT | 20 | 60 | KA0537:A2 | BOP
KA0535:A2 | -0V | WHT | 20 | 80 | XT0140:6 | BOP
KA0536:A2 | -0V | WHT | 20 | 60 | KA0538:A2 | BOP
KA0550:A2 | KA0550A2 | WHT | 20 | 80 | AF0184:16 | BOP
KA0551:A2 | KA0551A2 | WHT | 20 | 80 | AF0184:18 | BOP
KA0552:A2 | KA0552A2 | WHT | 20 | 80 | AF0184:17 | BOP
KA0553:A2 | KA0553A2 | WHT | 20 | 80 | AF0184:19 | BOP
KA0554:A2 | KA0554A2 | WHT | 20 | 80 | AF0184:21 | BOP
KA0555:A2 | KA0555A2 | WHT | 20 | 80 | AF0184:20 | BOP
KA7320:A2 | KA7320A2 | WHT | 20 | 60 | AF0181:16 | BOP
KA7321:A2 | KA7321A2 | WHT | 20 | 60 | AF0181:18 | BOP
KA0540:A2 | SV76212 | WHT | 20 | 60 | XT0572:3 | BOP
KA0541:A2 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
KA0552:14 | -014102 | WHT | 20 | 60 | AF0141:02 | BOP | KA
KA0532:14 | -014612 | WHT | 20 | 60 | AF0146:12 | BOP
KA0531:11 | KA053111 | WHT | 20 | 60 | AF0141:14 | BOP
KA0531:24 | KA053121 | WHT | 20 | 60 | AF0141:00 | BOP
KA0532:21 | KA053221 | WHT | 20 | 60 | AF0141:04 | BOP
KA0535:11 | KA053511 | WHT | 20 | 60 | KA0554:14 | BOP
KA0535:14 | KA053514 | WHT | 20 | 60 | XT0573:5 B2 | BOP
KA0535:22 | KA053522 | WHT | 20 | 60 | XT0573:10 T1 | BOP
KA0536:11 | KA053611 | WHT | 20 | 60 | XT0573:6 B1 | BOP
KA0536:12 | KA053612 | WHT | 20 | 60 | XT0573:5 T1 | BOP
KA0540:14 | KA054011 | WHT | 20 | 60 | KA0550:11 | BOP
KA0541:21 | KA054121 | WHT | 20 | 60 | KA0551:14 | BOP
KA0550:14 | KA055011 | WHT | 20 | 60 | AF0141:32 | BOP
KA0551:11 | KA055111 | WHT | 20 | 60 | AF0141:36 | BOP
KA0552:11 | KA055211 | WHT | 20 | 60 | XT0573:8 B2 | BOP
KA0553:11 | KA055311 | WHT | 20 | 60 | AF0141:06 | BOP
KA0553:14 | KA055314 | WHT | 20 | 60 | XT0573:9 B2 | BOP
KA0554:11 | KA055411 | WHT | 20 | 60 | AF0141:12 | BOP
KA0555:11 | KA055511 | WHT | 20 | 60 | XT0573:10 B2 | BOP
KA0555:14 | KA055514 | WHT | 20 | 60 | AF0141:08 | BOP
KA0531:14 | SV76111 | WHT | 20 | 80 | XT0572:1 | BOP
KA0540:21 | ZSC76212 | WHT | 20 | 80 | XT0572:4 | BOP
KA0541:11 | ZSC76412 | WHT | 20 | 80 | XT0572:6 | BOP
KA0533:11 | FU0143 | WHT | 16 | 60 | XT0140:9 | BOP

## HPC_S
HPC CTRL
JB73
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0510:53 | -0V | WHT | 16 | 60 | XT0510:2 | HPC | 1444s
AF0510:54 | -0V | WHT | 16 | 60 | AF0520:53 | HPC
AF0510:55 | FU0510 | WHT | 16 | 60 | FU0510:LD | HPC
AF0510:56 | FU0510 | WHT | 16 | 60 | AF0520:55 | HPC
AF1201:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC | AF/AU1200s
AU1200:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC
AF1202:COM | AF1202N | WHT | 16 | 60 | AU1200:COM | HPC
AF1202:V+ | AF1202P | WHT | 16 | 60 | AU1200:V+ | HPC
AF1206:COM | AF1207N | WHT | 16 | 60 | AF1207:COM | HPC
AF1206:V+ | AF1207P | WHT | 16 | 60 | AF1207:V+ | HPC
AU1200:V+ | FU0120 | WHT | 16 | 100 | FU0120:LD | HPC
AF1201:V+ | FU0121 | WHT | 16 | 100 | FU0121:LD | HPC
KA0120:A1 | KA0131A1 | WHT | 20 | 60 | XT0120:4 | HPC | KA
KA0120:A2 | -0V | WHT | 20 | 60 | XT0120:3 | HPC
KA4401:A2 | -120718 | WHT | 20 | 80 | AF1207:18 | HPC
KA4401:14 | -120702 | WHT | 20 | 80 | AF1207:02 | HPC
KA4401:11 | PS44012 | WHT | 20 | 80 | AF1207:34 | HPC
KA4401:11 | PS44012 | WHT | 20 | 60 | XT0120:5 | HPC
XT0120:3 | -0V | WHT | 20 | 60 | XT0510:1 | HPC | FU/XT
XT0510:2 | -0V | WHT | 14 | 80 | XT0121:3 | HPC
FU0120:LI | FU0122 | WHT | 14 | 60 | FU0122:LD | HPC
FU0121:LI | FU0122 | WHT | 14 | 80 | FU0510:LI | HPC
FU0510:LI | FU0122 | WHT | 14 | 80 | XT0121:1 | HPC
XT0336:2 | -0V | WHT | 12 | 60 | XT0120:1 | HPC
FU0122:LI | FU0332 | WHT | 12 | 60 | XT0335:2 | HPC
FU0332:LD | FU0332 | WHT | 12 | 60 | XT0335:1 | HPC

## VFD_S
FO CONV,VFD
JB1123
Project # | 4M471
Project Name | ET-DE
Revision | B.5M3
Controls DE | J. SHORTER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0005:V1(+) | FU0005 | WHT | 16 | 60 | FU0005:LD | VFD | BA
BA0006:V1(+) | FU0006 | WHT | 16 | 60 | FU0006:LD | VFD
BA0005:V1(-) | UJ0012V1N | WHT | 16 | 60 | XT0005:3 | VFD
BA0006:V1(-) | UJ0012V1N | WHT | 16 | 60 | XT0005:4 | VFD
UJ0012:V3(-) | UJ0012V1N | WHT | 16 | 60 | XT0005:3 | VFD | UJ
UJ0012:V1(+) | UJ0012V1P | WHT | 16 | 60 | XT0005:1 | VFD
XT0005:3 | UJ0012V1N | WHT | 16 | 60 | XT0005:4 | VFD | FU/XT
FU0005:LI | UJ0012V1P | WHT | 16 | 60 | XT0005:1 | VFD
FU0006:LI | UJ0012V1P | WHT | 16 | 60 | XT0005:2 | VFD
XT0005:1 | UJ0012V1P | WHT | 16 | 60 | XT0005:2 | VFD

## Bundle Tag Info
ET-DE #2
4M471
B.5M3
DOOR | HMI-S PWR | JB70 L RAIL | FS CTRL | JB70 R RAIL | PLC | A | B | JB74 L RAIL | BOP | HPC | VFD | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT1100 | FU/BA | AT | AT | BA | FU/AT | AF/AU080s | AF/AU060s | BA | AF/AU140s | 1444s | BA
SA0170 | BA/FU-R RAIL | FU | UV | FU | UV-A | AF/AU090s | AF/AU070s | FU | AF/AU180s | AF/AU1200s | UJ
SA0471 | UV-R RAIL | KA A1/A2 | XT | FU-A |  | FU | 1444s | KT | FU | KA | FU/XT
SA0473 |  | KA |  | XT-A |  | KA A1 | KA A1/A2 | KT L/S-BOP | KA A1 | FU/XT
SA0474 |  | XT |  | FU/XT-PLC |  | KA A2 | KA | KT R/S-BOP | KA A2
SB0170 |  | KA A1/A2-A |  |  |  | KA | FU/XT | XT-BOP | KA
SB0471 |  | KA-A |  |  |  | KT L/S
SB0472 |  | FU/XT-A |  |  |  | KT R/S
SB0473 |  | AT-FS CTRL |  |  |  | UA
SB0474 |  | KA-FS CTRL |  |  |  | UJ
SH0470 |  | FU/XT-FS CTRL |  |  |  | XT
SH0471 | [5 empty] | AF-B
SH0472 | [5 empty] | KA-B
KT-B
UA-B
XT-B

## Bundle Tags2
DOOR | HMI-S PWR | JB70 L RAIL | FS CTRL | JB70 R RAIL | PLC | A | B | JB74 L RAIL | BOP | HPC | VFD
ET-DE #2 4M471 B.5M3 DOOR AT1100 | ET-DE #2 4M471 B.5M3 HMI-S PWR FU/BA | ET-DE #2 4M471 B.5M3 JB70 L RAIL AT | ET-DE #2 4M471 B.5M3 FS CTRL AT | ET-DE #2 4M471 B.5M3 JB70 R RAIL BA | ET-DE #2 4M471 B.5M3 PLC FU/AT | ET-DE #2 4M471 B.5M3 A AF/AU080s | ET-DE #2 4M471 B.5M3 B AF/AU060s | ET-DE #2 4M471 B.5M3 JB74 L RAIL BA | ET-DE #2 4M471 B.5M3 BOP AF/AU140s | ET-DE #2 4M471 B.5M3 HPC 1444s | ET-DE #2 4M471 B.5M3 VFD BA
ET-DE #2 4M471 B.5M3 DOOR SA0170 | ET-DE #2 4M471 B.5M3 HMI-S PWR BA/FU-R RAIL | ET-DE #2 4M471 B.5M3 JB70 L RAIL FU | ET-DE #2 4M471 B.5M3 FS CTRL UV | ET-DE #2 4M471 B.5M3 JB70 R RAIL FU | ET-DE #2 4M471 B.5M3 PLC UV-A | ET-DE #2 4M471 B.5M3 A AF/AU090s | ET-DE #2 4M471 B.5M3 B AF/AU070s | ET-DE #2 4M471 B.5M3 JB74 L RAIL FU | ET-DE #2 4M471 B.5M3 BOP AF/AU180s | ET-DE #2 4M471 B.5M3 HPC AF/AU1200s | ET-DE #2 4M471 B.5M3 VFD UJ
ET-DE #2 4M471 B.5M3 DOOR SA0471 | ET-DE #2 4M471 B.5M3 HMI-S PWR UV-R RAIL | ET-DE #2 4M471 B.5M3 JB70 L RAIL KA A1/A2 | ET-DE #2 4M471 B.5M3 FS CTRL XT | ET-DE #2 4M471 B.5M3 JB70 R RAIL FU-A |  | ET-DE #2 4M471 B.5M3 A FU | ET-DE #2 4M471 B.5M3 B 1444s | ET-DE #2 4M471 B.5M3 JB74 L RAIL KT | ET-DE #2 4M471 B.5M3 BOP FU | ET-DE #2 4M471 B.5M3 HPC KA | ET-DE #2 4M471 B.5M3 VFD FU/XT
ET-DE #2 4M471 B.5M3 DOOR SA0473 |  | ET-DE #2 4M471 B.5M3 JB70 L RAIL KA |  | ET-DE #2 4M471 B.5M3 JB70 R RAIL XT-A |  | ET-DE #2 4M471 B.5M3 A KA A1 | ET-DE #2 4M471 B.5M3 B KA A1/A2 | ET-DE #2 4M471 B.5M3 JB74 L RAIL KT L/S-BOP | ET-DE #2 4M471 B.5M3 BOP KA A1 | ET-DE #2 4M471 B.5M3 HPC FU/XT
ET-DE #2 4M471 B.5M3 DOOR SA0474 |  | ET-DE #2 4M471 B.5M3 JB70 L RAIL XT |  | ET-DE #2 4M471 B.5M3 JB70 R RAIL FU/XT-PLC |  | ET-DE #2 4M471 B.5M3 A KA A2 | ET-DE #2 4M471 B.5M3 B KA | ET-DE #2 4M471 B.5M3 JB74 L RAIL KT R/S-BOP | ET-DE #2 4M471 B.5M3 BOP KA A2
ET-DE #2 4M471 B.5M3 DOOR SB0170 |  | ET-DE #2 4M471 B.5M3 JB70 L RAIL KA A1/A2-A |  |  |  | ET-DE #2 4M471 B.5M3 A KA | ET-DE #2 4M471 B.5M3 B FU/XT | ET-DE #2 4M471 B.5M3 JB74 L RAIL XT-BOP | ET-DE #2 4M471 B.5M3 BOP KA
ET-DE #2 4M471 B.5M3 DOOR SB0471 |  | ET-DE #2 4M471 B.5M3 JB70 L RAIL KA-A |  |  |  | ET-DE #2 4M471 B.5M3 A KT L/S
ET-DE #2 4M471 B.5M3 DOOR SB0472 |  | ET-DE #2 4M471 B.5M3 JB70 L RAIL FU/XT-A |  |  |  | ET-DE #2 4M471 B.5M3 A KT R/S
ET-DE #2 4M471 B.5M3 DOOR SB0473 |  | ET-DE #2 4M471 B.5M3 JB70 L RAIL AT-FS CTRL |  |  |  | ET-DE #2 4M471 B.5M3 A UA
ET-DE #2 4M471 B.5M3 DOOR SB0474 |  | ET-DE #2 4M471 B.5M3 JB70 L RAIL KA-FS CTRL |  |  |  | ET-DE #2 4M471 B.5M3 A UJ
ET-DE #2 4M471 B.5M3 DOOR SH0470 |  | ET-DE #2 4M471 B.5M3 JB70 L RAIL FU/XT-FS CTRL |  |  |  | ET-DE #2 4M471 B.5M3 A XT
ET-DE #2 4M471 B.5M3 DOOR SH0471 | [5 empty] | ET-DE #2 4M471 B.5M3 A AF-B
ET-DE #2 4M471 B.5M3 DOOR SH0472 | [5 empty] | ET-DE #2 4M471 B.5M3 A KA-B
ET-DE #2 4M471 B.5M3 A KT-B
ET-DE #2 4M471 B.5M3 A UA-B
ET-DE #2 4M471 B.5M3 A XT-B

## ALL
ALL
ET-DE #2 4M471 B.5M3 DOOR AT1100
ET-DE #2 4M471 B.5M3 DOOR SA0170
ET-DE #2 4M471 B.5M3 DOOR SA0471
ET-DE #2 4M471 B.5M3 DOOR SA0473
ET-DE #2 4M471 B.5M3 DOOR SA0474
ET-DE #2 4M471 B.5M3 DOOR SB0170
ET-DE #2 4M471 B.5M3 DOOR SB0471
ET-DE #2 4M471 B.5M3 DOOR SB0472
ET-DE #2 4M471 B.5M3 DOOR SB0473
ET-DE #2 4M471 B.5M3 DOOR SB0474
ET-DE #2 4M471 B.5M3 DOOR SH0470
ET-DE #2 4M471 B.5M3 DOOR SH0471
ET-DE #2 4M471 B.5M3 DOOR SH0472
ET-DE #2 4M471 B.5M3 HMI-S PWR FU/BA
ET-DE #2 4M471 B.5M3 HMI-S PWR BA/FU-R RAIL
ET-DE #2 4M471 B.5M3 HMI-S PWR UV-R RAIL
ET-DE #2 4M471 B.5M3 JB70 L RAIL AT
ET-DE #2 4M471 B.5M3 JB70 L RAIL FU
ET-DE #2 4M471 B.5M3 JB70 L RAIL KA A1/A2
ET-DE #2 4M471 B.5M3 JB70 L RAIL KA
ET-DE #2 4M471 B.5M3 JB70 L RAIL XT
ET-DE #2 4M471 B.5M3 JB70 L RAIL KA A1/A2-A
ET-DE #2 4M471 B.5M3 JB70 L RAIL KA-A
ET-DE #2 4M471 B.5M3 JB70 L RAIL FU/XT-A
ET-DE #2 4M471 B.5M3 JB70 L RAIL AT-FS CTRL
ET-DE #2 4M471 B.5M3 JB70 L RAIL KA-FS CTRL
ET-DE #2 4M471 B.5M3 JB70 L RAIL FU/XT-FS CTRL
ET-DE #2 4M471 B.5M3 FS CTRL AT
ET-DE #2 4M471 B.5M3 FS CTRL UV
ET-DE #2 4M471 B.5M3 FS CTRL XT
ET-DE #2 4M471 B.5M3 JB70 R RAIL BA
ET-DE #2 4M471 B.5M3 JB70 R RAIL FU
ET-DE #2 4M471 B.5M3 JB70 R RAIL FU-A
ET-DE #2 4M471 B.5M3 JB70 R RAIL XT-A
ET-DE #2 4M471 B.5M3 JB70 R RAIL FU/XT-PLC
ET-DE #2 4M471 B.5M3 PLC FU/AT
ET-DE #2 4M471 B.5M3 PLC UV-A
ET-DE #2 4M471 B.5M3 A AF/AU080s
ET-DE #2 4M471 B.5M3 A AF/AU090s
ET-DE #2 4M471 B.5M3 A FU
ET-DE #2 4M471 B.5M3 A KA A1
ET-DE #2 4M471 B.5M3 A KA A2
ET-DE #2 4M471 B.5M3 A KA
ET-DE #2 4M471 B.5M3 A KT L/S
ET-DE #2 4M471 B.5M3 A KT R/S
ET-DE #2 4M471 B.5M3 A UA
ET-DE #2 4M471 B.5M3 A UJ
ET-DE #2 4M471 B.5M3 A XT
ET-DE #2 4M471 B.5M3 A AF-B
ET-DE #2 4M471 B.5M3 A KA-B
ET-DE #2 4M471 B.5M3 A KT-B
ET-DE #2 4M471 B.5M3 A UA-B
ET-DE #2 4M471 B.5M3 A XT-B
ET-DE #2 4M471 B.5M3 B AF/AU060s
ET-DE #2 4M471 B.5M3 B AF/AU070s
ET-DE #2 4M471 B.5M3 B 1444s
ET-DE #2 4M471 B.5M3 B KA A1/A2
ET-DE #2 4M471 B.5M3 B KA
ET-DE #2 4M471 B.5M3 B FU/XT
ET-DE #2 4M471 B.5M3 JB74 L RAIL BA
ET-DE #2 4M471 B.5M3 JB74 L RAIL FU
ET-DE #2 4M471 B.5M3 JB74 L RAIL KT
ET-DE #2 4M471 B.5M3 JB74 L RAIL KT L/S-BOP
ET-DE #2 4M471 B.5M3 JB74 L RAIL KT R/S-BOP
ET-DE #2 4M471 B.5M3 JB74 L RAIL XT-BOP
ET-DE #2 4M471 B.5M3 BOP AF/AU140s
ET-DE #2 4M471 B.5M3 BOP AF/AU180s
ET-DE #2 4M471 B.5M3 BOP FU
ET-DE #2 4M471 B.5M3 BOP KA A1
ET-DE #2 4M471 B.5M3 BOP KA A2
ET-DE #2 4M471 B.5M3 BOP KA
ET-DE #2 4M471 B.5M3 HPC 1444s
ET-DE #2 4M471 B.5M3 HPC AF/AU1200s
ET-DE #2 4M471 B.5M3 HPC KA
ET-DE #2 4M471 B.5M3 HPC FU/XT
ET-DE #2 4M471 B.5M3 VFD BA
ET-DE #2 4M471 B.5M3 VFD UJ
ET-DE #2 4M471 B.5M3 VFD FU/XT