## JB70_S
JB70
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:NEG | -0V | WHT | 14 | 220 | XT0134:3 | A | AT1100
AT1100:POS | FU1100 | WHT | 14 | 180 | FU1100:LD | JB70 R RAIL
HL0171:X1 | HL0171X1 | WHT | 20 | 180 | XT0174:5 | JB70 L RAIL | HL0171
HL0171:X2 | HL0171X2 | WHT | 20 | 180 | XT0174:3 | JB70 L RAIL
HL0172:X1 | HL0172X1 | WHT | 20 | 180 | XT0174:8 | JB70 L RAIL | HL0172
HL0172:X2 | HL0172X2 | WHT | 20 | 180 | XT0174:6 | JB70 L RAIL
HL0173:X1 | HL0173X1 | WHT | 20 | 180 | XT0174:11 | JB70 L RAIL | HL0173
HL0173:X2 | HL0173X2 | WHT | 20 | 180 | XT0174:9 | JB70 L RAIL
SA0170:B2-13 | AT01754P1 | WHT | 20 | 180 | AT0175:4P1 | JB70 L RAIL | SA0170
SA0170:B1-13 | SA0170B113 | WHT | 20 | 120 | XT0170:11 | FIRE PANEL
SA0170:B1-14 | SA0170B114 | WHT | 20 | 120 | XT0170:12 | FIRE PANEL
SA0170:B2-14 | SA0170B214 | WHT | 20 | 180 | KA6510:A1 | JB70 L RAIL
SA0471:B1-13 | SA0471B113 | WHT | 20 | 220 | AF0087:40 | A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 220 | AF0087:08 | A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 220 | AF0087:39 | A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 220 | AF0087:07 | A
SA0473:B1 | SA0473B1 | WHT | 20 | 220 | AF0082:36 | A | SA0473
SA0473:B2 | SA0473B2 | WHT | 20 | 220 | AF0082:04 | A
SA0473:B3 | SA0473B3 | WHT | 20 | 220 | AF0082:37 | A
SA0473:B4 | SA0473B4 | WHT | 20 | 220 | AF0082:05 | A
SA0473:W-B1 | SA0473W-B1 | WHT | 20 | 220 | AF0082:03 | A
SA0473:W-B2 | SA0473W-B2 | WHT | 20 | 220 | AF0082:35 | A
SA0474:B1-13 | SA0474B113 | WHT | 20 | 220 | AF0087:45 | A | SA0474
SA0474:B1-14 | SA0474B114 | WHT | 20 | 220 | AF0087:13 | A
SA0474:B2-13 | SA0474B213 | WHT | 20 | 220 | AF0087:44 | A
SA0474:B2-14 | SA0474B214 | WHT | 20 | 220 | AF0087:12 | A
SB0170:13 | SB017013 | WHT | 20 | 180 | XT0174:1 | JB70 L RAIL | SB0170
SB0170:14 | SB017014 | WHT | 20 | 180 | XT0174:2 | JB70 L RAIL
SB0471:11 | SB047111 | WHT | 20 | 220 | AF0087:34 | A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 220 | AF0087:02 | A
SB0472:B1-12 | ESTOP | WHT | 20 | 180 | XT0137:2 | JB70 R RAIL | SB0472
SB0472:B1-11 | ESTOPA | WHT | 20 | 180 | XT0137:1 | JB70 R RAIL
SB0472:B2-11 | SB0472B211 | WHT | 20 | 220 | AF0081:36 | A
SB0472:B2-12 | SB0472B212 | WHT | 20 | 220 | AF0081:04 | A
SB0473:13 | SB047313 | WHT | 20 | 220 | AF0087:35 | A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 220 | AF0087:03 | A
SB0474:13 | SB047413 | WHT | 20 | 220 | AF0087:36 | A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 220 | AF0087:04 | A
SH0470:11 | SH047011 | WHT | 20 | 220 | AF0087:33 | A | SH0470
SH0470:12 | SH047012 | WHT | 20 | 220 | AF0087:01 | A
SH0470:13 | SH047013 | WHT | 20 | 180 | XT0137:5 | JB70 R RAIL
SH0470:14 | SH047014 | WHT | 20 | 180 | XT0137:6 | JB70 R RAIL
SH0470:X1 | SH0470X1 | WHT | 20 | 220 | AF0093:22 | A
SH0470:X2 | SH0470X2 | WHT | 20 | 220 | AF0093:06 | A
SH0471:11 | SH047111 | WHT | 20 | 180 | XT0137:3 | JB70 R RAIL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 180 | XT0137:4 | JB70 R RAIL
SH0471:13 | SH047113 | WHT | 20 | 220 | AF0087:32 | A
SH0471:14 | SH047114 | WHT | 20 | 220 | AF0087:00 | A
SH0471:X1 | SH0471X1 | WHT | 20 | 220 | AF0093:31 | A
SH0471:X2 | SH0471X2 | WHT | 20 | 220 | AF0093:15 | A
SH0472:X1 | -0V | WHT | 20 | 200 | XT0236:3 | B | SH0472
SH0472:13 | FU0139 | WHT | 20 | 200 | XT0236:1 | B
SH0472:14 | KA0241A1 | WHT | 20 | 200 | XT0236:2 | B
SH0472:11 | SH047211 | WHT | 20 | 200 | XT0236:4 | B
SH0472:12 | SH047212 | WHT | 20 | 200 | XT0236:5 | B
SH0472:X2 | SH0472X2 | WHT | 20 | 200 | XT0237:2 B1 | B

## JB70 LEFT RAIL_S
JB70 LEFT RAIL
TURBINE CONTROL BOX, LEFT RAIL
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0175:18 | HL0171X1 | WHT | 20 | 120 | XT0174:5 | JB70 L RAIL | AT
AT0175:21 | HL0172X1 | WHT | 20 | 120 | XT0174:8 | JB70 L RAIL
AT0175:24 | HL0173X1 | WHT | 20 | 120 | XT0174:11 | JB70 L RAIL
AT0175:2 | SB017013 | WHT | 20 | 120 | XT0174:1 | JB70 L RAIL
AT0175:3 | SB017014 | WHT | 20 | 120 | XT0174:2 | JB70 L RAIL
AT0175:17 | VD0175A | WHT | 20 | 120 | XT0174:4 | JB70 L RAIL
AT0175:23 | VD0175D | WHT | 20 | 120 | XT0174:10 | JB70 L RAIL
AT0175:20 | VD0175I | WHT | 20 | 120 | XT0174:7 | JB70 L RAIL
AT0176:4P1 | AT01764P1 | WHT | 14 | 60 | AT0178:1P1 | JB70 L RAIL
AT0176:5P1 | AT01765P1 | WHT | 14 | 60 | AT0178:2P1 | JB70 L RAIL
KA6510:A2 | KA6510A2 | WHT | 20 | 140 | AT0175:5P1 | JB70 L RAIL | KA
KA0875:11 | HA047224V | WHT | 20 | 60 | KA0178:11 | JB70 L RAIL
KA6510:12 | KA651012 | WHT | 20 | 120 | AT0175:11 | JB70 L RAIL
KA6511:12 | KA651112 | WHT | 20 | 120 | AT0176:17 | JB70 L RAIL
XT0172:6 | LON1S2 | WHT | 16 | 60 | XT0172:15 | JB70 L RAIL | XT
XT0172:14 | -0V | WHT | 14 | 60 | XT0172:8 | JB70 L RAIL
XT0172:5 | -0V | WHT | 14 | 60 | XT0172:14 | JB70 L RAIL
XT0172:13 | FU0170 | WHT | 14 | 60 | XT0172:7 | JB70 L RAIL
XT0172:4 | FU0170 | WHT | 14 | 60 | XT0172:13 | JB70 L RAIL
XT0172:15 | LON1S2 | WHT | 14 | 60 | XT0172:9 | JB70 L RAIL
AT0178:24 | KA0178A2 | WHT | 20 | 260 | XT0170:17 | FIRE PANEL | AT-FIRE PNL
AT0178:23 | VD0178 | WHT | 20 | 260 | XT0170:16 | FIRE PANEL
AT0178:20 | ZS61P | WHT | 20 | 260 | XT0170:24 | FIRE PANEL
AT0178:21 | ZS61S | WHT | 20 | 260 | XT0170:25 | FIRE PANEL
AT0175:2P1 | UV017010 | WHT | 14 | 260 | UV0170:10(-) | FIRE PANEL
AT0176:1P1 | UV017011 | WHT | 14 | 260 | UV0170:11(+) | FIRE PANEL
AT0176:2P1 | UV017012 | WHT | 14 | 260 | UV0170:12(-) | FIRE PANEL
AT0175:1P1 | UV01709 | WHT | 14 | 260 | UV0170:9(+) | FIRE PANEL
KA0172:A1 | AT017025 | WHT | 20 | 260 | AT0170:25 | FIRE PANEL | KA A1/A2-FIRE PNL
KA0174:A1 | AT017031 | WHT | 20 | 260 | AT0170:31 | FIRE PANEL
KA0178:A1 | KA0178A1 | WHT | 20 | 260 | XT0170:15 | FIRE PANEL
KA0172:A2 | -0V | WHT | 20 | 260 | XT0170:4 | FIRE PANEL
KA0178:A2 | KA0178A2 | WHT | 20 | 260 | XT0170:17 | FIRE PANEL
KA0875:14 | FU0170 | WHT | 20 | 260 | XT0170:1 | FIRE PANEL | KA-FIRE PNL
KA0172:11 | KA017211 | WHT | 20 | 260 | XT0170:7 | FIRE PANEL
KA0172:12 | KA017212 | WHT | 20 | 260 | XT0170:8 | FIRE PANEL
KA0174:11 | KA017411 | WHT | 20 | 260 | XT0170:9 | FIRE PANEL
KA0174:12 | KA017412 | WHT | 20 | 260 | XT0170:10 | FIRE PANEL
XT0172:16 | LON2A | WHT | 16 | 260 | AT0170:53 | FIRE PANEL | XT-FIRE PNL
XT0172:17 | LON2B | WHT | 16 | 260 | AT0170:52 | FIRE PANEL
XT0172:18 | LON2S1 | WHT | 16 | 260 | AT0170:51 | FIRE PANEL
XT0172:5 | -0V | WHT | 14 | 260 | XT0170:4 | FIRE PANEL
XT0172:4 | FU0170 | WHT | 14 | 260 | XT0170:1 | FIRE PANEL
KA0875:A1 | -009212 | WHT | 20 | 200 | AF0092:12 | A | KA-A
KA0875:A2 | -009228 | WHT | 20 | 200 | AF0092:28 | A
KA0875:14 | FU0170 | WHT | 20 | 220 | KA0232:12 | B | KA-B
KA0178:14 | KA017814 | WHT | 20 | 220 | KA0232:11 | B
KA0875:11 | HA047224V | WHT | 20 | 260 | XT0472:1 | JB70 R RAIL | KA-JB70 R RAIL
XT0170:4 | -0V | WHT | 20 | 260 | XT0472:2 | R RAIL | F/S-R RAIL
KA0173:A1 | -009200 | WHT | 20 | 300 | AF0092:00 | A | THRU RAIL A
KA0173:A2 | -009216 | WHT | 20 | 300 | AF0092:16 | A
XT0170:3 | -0V | WHT | 14 | 300 | XT0134:2 | A
FU0170:LI | FU0136 | WHT | 12 | 300 | XT0138:2 | A
AT0170:24 | FU0139 | WHT | 20 | 320 | XT0240:12 | B | THRU RAIL B
AT0170:30 | FU0139 | WHT | 20 | 320 | XT0240:12 | B
AT0170:26 | KA0243A1 | WHT | 20 | 320 | XT0240:7 | B
AT0170:32 | KA0245A1 | WHT | 20 | 320 | XT0240:8 | B
XT0170:3 | -0V | WHT | 20 | 320 | KA0176:A2 | B
XT0170:2 | FU0170 | WHT | 20 | 320 | KA0232:21 | B

## JB70 RIGHT RAIL_S
JB70 RIGHT RAIL
TURBINE CONTROL BOX, RIGHT RAIL
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0001:V1(-) | -0V | WHT | 16 | 60 | XT0001:2 | JB70 R RAIL | BA
BA0002:V1(-) | -0V | WHT | 16 | 60 | XT0001:5 | JB70 R RAIL
BA0009:V1(-) | -0V | WHT | 16 | 60 | XT0005:2 | JB70 R RAIL
BA0001:V1(+) | FU0001 | WHT | 16 | 60 | FU0001:LD | JB70 R RAIL
BA0002:V1(+) | FU0002 | WHT | 16 | 60 | FU0002:LD | JB70 R RAIL
BA0009:V1(+) | FU0009 | WHT | 16 | 60 | FU0009:LD | JB70 R RAIL
XT0001:6 | -0V | WHT | 16 | 60 | XT0005:2 | JB70 R RAIL | XT
FU0001:LI | FU0210 | WHT | 16 | 60 | XT0001:1 | JB70 R RAIL
FU0002:LI | FU0210 | WHT | 16 | 60 | XT0001:4 | JB70 R RAIL
FU0009:LI | FU0210 | WHT | 16 | 60 | XT0005:1 | JB70 R RAIL
XT0001:3 | FU0210 | WHT | 16 | 60 | XT0005:1 | JB70 R RAIL
UJ1100:OUT1(-) | BA1100N | WHT | 16 | 60 | BA1100:NEG | JB70 R RAIL | UJ
UJ1100:OUT1(+) | BA1100P | WHT | 16 | 60 | BA1100:POS | JB70 R RAIL
UJ1100:24V(+) | FU1101 | WHT | 16 | 60 | FU1101:LD | JB70 R RAIL
FU1100:LI | FU0136 | WHT | 14 | 200 | XT0138:3 | A | FU-A
FU1101:LI | FU0136 | WHT | 14 | 200 | XT0138:3 | A
UJ1100:24V(-) | -0V | WHT | 14 | 200 | XT0134:3 | A | UJ-A
XT0001:2 | -0V | WHT | 14 | 200 | XT0235:3 | A | XT-A
XT0001:5 | -0V | WHT | 14 | 200 | XT0235:3 | A
XT0001:1 | FU0210 | WHT | 12 | 200 | XT0233:3 | A
XT0001:4 | FU0210 | WHT | 12 | 200 | XT0233:3 | A
XT0137:2 | ESTOP | WHT | 20 | 180 | XT0240:4 | B | XT-B
XT0137:1 | ESTOPA | WHT | 20 | 180 | XT0240:3 | B

## FIRE PANEL_S
FIRE PANEL
CONTROL CONSOLE DOOR^(FIRE SYSTEM PANEL)
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0170:45 | AT017045 | WHT | 20 | 60 | XT0170:5 | FIRE PANEL | AT
AT0170:46 | AT017046 | WHT | 20 | 60 | XT0170:6 | FIRE PANEL
AT0170:11 | SA0170B113 | WHT | 20 | 60 | XT0170:11 | FIRE PANEL
AT0170:12 | SA0170B114 | WHT | 20 | 60 | XT0170:12 | FIRE PANEL
AT0170:1 | UV01705 | WHT | 14 | 60 | UV0170:5(+) | FIRE PANEL
AT0170:2 | UV01706 | WHT | 14 | 60 | UV0170:6(-) | FIRE PANEL
AT0170:3 | UV01707 | WHT | 14 | 60 | UV0170:7(+) | FIRE PANEL
AT0170:4 | UV01708 | WHT | 14 | 60 | UV0170:8(-) | FIRE PANEL
KA0173:11 | KA017311 | WHT | 20 | 60 | XT0170:26 | FIRE PANEL | KA/FU
KA0173:12 | KA017312 | WHT | 20 | 60 | XT0170:27 | FIRE PANEL
FU0170:LD | FU0170 | WHT | 14 | 60 | XT0170:2 | FIRE PANEL
UV0170:16(-) | LON2N | WHT | 16 | 60 | XT0170:22 | FIRE PANEL | UV
UV0170:15(+) | LON2P | WHT | 16 | 60 | XT0170:21 | FIRE PANEL
UV0170:2(-) | -0V | WHT | 14 | 60 | XT0170:3 | FIRE PANEL
UV0170:4(-) | -0V | WHT | 14 | 60 | XT0170:3 | FIRE PANEL
UV0170:1(+) | FU0170 | WHT | 14 | 60 | XT0170:2 | FIRE PANEL
UV0170:3(+) | FU0170 | WHT | 14 | 60 | XT0170:2 | FIRE PANEL
UV0170:14(-) | LON0N | WHT | 14 | 60 | XT0170:19 | FIRE PANEL
UV0170:13(+) | LON0P | WHT | 14 | 60 | XT0170:18 | FIRE PANEL

## PLC_S
PLC
PLC PANEL,JB70
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UV0600:(-) | -0V | WHT | 14 | 80 | XT0135:1 | A | UV-A
UV0600:(+) | FU0010 | WHT | 14 | 80 | FU0010:LD | A
AT0680:NEG | -0V | WHT | 14 | 80 | XT0680:2 | B | AT-B
AT0680:POS | AT0680POS | WHT | 14 | 80 | XT0680:1 | B

## A_S
PANEL A
CONTROL A,JB70
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0086:28 | -0V | WHT | 16 | 60 | XT0091:4 | A | AF/AU080s
AU0080:COM | -0V | WHT | 14 | 60 | XT0080:1 | A
AU0080:V+ | FU0080 | WHT | 14 | 60 | FU0080:LD | A
AF0092:14 | -009214 | WHT | 20 | 60 | XT0171:4 | A | AF/AU090s
AF0093:04 | -009304 | WHT | 20 | 60 | XT0171:2 | A
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | A
AF0092:COM | -0V | WHT | 14 | 60 | XT0081:1 | A
AF0093:COM | -0V | WHT | 14 | 60 | XT0081:2 | A
AF0094:05 | -0V | WHT | 14 | 60 | XT0135:4 | A
AF0094:07 | -0V | WHT | 14 | 60 | XT0135:4 | A
AF0095:COM | -0V | WHT | 14 | 60 | XT0081:2 | A
AU0090:COM | -0V | WHT | 14 | 60 | XT0081:1 | A
AF0091:V+ | AF0091P | WHT | 14 | 60 | AF0094:V+ | A
AF0094:COM | AF0094N | WHT | 14 | 60 | AF0096:COM | A
AF0094:V+ | AF0094P | WHT | 14 | 60 | AF0096:V+ | A
AU0090:V+ | FU0090 | WHT | 14 | 60 | FU0090:LD | A
AF0092:V+ | FU0091 | WHT | 14 | 60 | FU0091:LD | A
AF0093:V+ | FU0092 | WHT | 14 | 60 | FU0092:LD | A
AF0095:V+ | FU0093 | WHT | 14 | 80 | FU0093:LD | A
FU0145:LD | FT21081 | WHT | 16 | 60 | XT0091:3 | A | FU
FU0145:LI | FU0137 | WHT | 16 | 100 | XT0139:3 | A
FU0212:LD | FU0212 | WHT | 16 | 60 | XT0233:4 | A
FU0010:LI | FU0137 | WHT | 14 | 60 | XT0139:1 | A
FU0080:LI | FU0137 | WHT | 14 | 60 | XT0139:1 | A
FU0090:LI | FU0137 | WHT | 14 | 60 | XT0139:2 | A
FU0138:LI | FU0137 | WHT | 14 | 60 | XT0139:3 | A
FU0211:LI | FU0137 | WHT | 14 | 60 | XT0139:3 | A
FU0139:LD | FU0139 | WHT | 14 | 60 | XT0136:1 | A
FU0212:LI | FU0210 | WHT | 14 | 60 | XT0233:1 | A
FU0137:LI | FU0136 | WHT | 12 | 60 | XT0138:1 | A
FU0210:LI | FU0136 | WHT | 12 | 60 | XT0138:4 | A
FU0137:LD | FU0137 | WHT | 12 | 60 | XT0139:1 | A
FU0210:LD | FU0210 | WHT | 12 | 60 | XT0233:1 | A
KA0920:A1 | -009201 | WHT | 20 | 100 | AF0092:01 | A | KA A1
KA2160:A1 | -009204 | WHT | 20 | 60 | AF0092:04 | A
KA2161:A1 | -009207 | WHT | 20 | 60 | AF0092:07 | A
KA3103:A1 | -009208 | WHT | 20 | 60 | AF0092:08 | A
KA0920:A2 | -009217 | WHT | 20 | 100 | AF0092:17 | A | KA A2
KA2160:A2 | -009220 | WHT | 20 | 60 | AF0092:20 | A
KA2161:A2 | -009223 | WHT | 20 | 60 | AF0092:23 | A
KA3103:A2 | -009224 | WHT | 20 | 60 | AF0092:24 | A
KA6241:A2 | -009230 | WHT | 20 | 80 | AF0092:30 | A
KA6211:A2 | -009320 | WHT | 20 | 60 | AF0093:20 | A
KA0920:14 | -092014 | WHT | 14 | 100 | FU0138:LD | A | KA
KA0920:11 | VS3220POS | WHT | 14 | 60 | XT0091:1 | A
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 60 | AF0094:06 | A | UJ
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0091:41 | A
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0091:09 | A
UJ0131:VIN | UJ0131VIN | WHT | 20 | 60 | AF0094:04 | A
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | A
PC0470:INP_A | -009312 | WHT | 20 | 60 | AF0093:12 | A | PC
PC0470:-PWR | -009328 | WHT | 20 | 60 | AF0093:28 | A
PC0470:+PWR | -009344 | WHT | 20 | 60 | AF0093:44 | A
XT0136:10 | -0V | WHT | 20 | 60 | XT0136:3 | A | XT
XT0136:1 | FU0139 | WHT | 20 | 60 | XT0136:9 | A
XT0091:4 | -0V | WHT | 16 | 120 | XT0135:3 | A
XT0080:1 | -0V | WHT | 14 | 80 | XT0135:2 | A
XT0091:2 | -0V | WHT | 14 | 120 | XT0135:3 | A
XT0134:4 | -0V | WHT | 14 | 60 | XT0235:1 | A
XT0135:1 | -0V | WHT | 14 | 60 | XT0134:1 | A
XT0135:1 | -0V | WHT | 14 | 60 | XT0136:3 | A
XT0135:2 | -0V | WHT | 14 | 60 | XT0081:1 | A
AF0081:03 | -008103 | WHT | 20 | 160 | KA0130:14 | B | AF080s-B
AF0081:35 | -008135 | WHT | 20 | 160 | KA0130:A1 | B
AF0087:43 | KA013621 | WHT | 20 | 160 | KA0136:21 | B
AF0087:11 | KA013624 | WHT | 20 | 160 | KA0136:24 | B
AF0087:09 | KA013724 | WHT | 20 | 160 | KA0137:24 | B
AF0081:41 | KA023921 | WHT | 20 | 160 | KA0239:21 | B
AF0081:09 | KA023924 | WHT | 20 | 160 | KA0239:24 | B
AF0081:08 | KA024214 | WHT | 20 | 160 | KA0242:14 | B
AF0081:33 | KA024311 | WHT | 20 | 160 | KA0243:11 | B
AF0081:01 | KA024314 | WHT | 20 | 160 | KA0243:14 | B
AF0081:34 | KA024521 | WHT | 20 | 160 | KA0245:21 | B
AF0081:02 | KA024524 | WHT | 20 | 160 | KA0245:24 | B
AF0081:00 | UA1200J21 | WHT | 20 | 160 | KA0241:11 | B
AF0081:19 | UA1200J27 | WHT | 20 | 160 | UA1200:J2-7 | B
AF0092:13 | -009213 | WHT | 20 | 160 | XT0237:2 T2 | B | AF090s-B
AF0092:46 | -009246 | WHT | 20 | 160 | KA0176:24 | B
AF0093:09 | -009309 | WHT | 20 | 160 | KA0233:24 | B
AF0093:36 | -009336 | WHT | 20 | 160 | KA0176:14 | B
AF0095:02 | -009502 | WHT | 20 | 160 | KA0221:14 | B
AF0092:06 | KA013114 | WHT | 20 | 160 | KA0131:14 | B
AF0092:02 | KA0133A1 | WHT | 20 | 160 | KA0133:A1 | B
AF0091:12 | KA0134A1 | WHT | 20 | 160 | KA0134:A1 | B
AF0091:39 | KA014111 | WHT | 20 | 160 | KA0141:11 | B
AF0091:07 | KA014114 | WHT | 20 | 160 | KA0141:14 | B
AF0095:18 | SV21202 | WHT | 20 | 160 | XT0060:5 | B
FU0212:LD | FU0212 | WHT | 16 | 160 | KA0248:21 | B | FU-B
FU0139:LD | FU0139 | WHT | 14 | 160 | XT0085:1 | B
FU0211:LD | FU0211 | WHT | 14 | 160 | KA1020:14 | B
KA0135:A1 | KA0135A1 | WHT | 20 | 160 | KA0144:A1 | B | KA A1-B
KA0135:A1 | KA0135A1 | WHT | 20 | 160 | KA0131:11 | B
KA6211:A1 | KA6211A1 | WHT | 20 | 160 | KA0246:14 | B
KA6241:A1 | KA6241A1 | WHT | 20 | 160 | KA0244:24 | B
KA0135:A2 | -0V | WHT | 20 | 160 | KA0136:A2 | B | KA A2-B
KA0135:A2 | -0V | WHT | 20 | 160 | KA0144:A2 | B
XT0135:4 | -0V | WHT | 20 | 160 | XT0085:3 | B | XT-B
XT0136:3 | -0V | WHT | 20 | 160 | KT0140:A2 | B
XT0136:3 | -0V | WHT | 20 | 160 | XT0240:10 | B
XT0235:4 | -0V | WHT | 20 | 180 | UA1200:J1-9 | B
XT0136:1 | FU0139 | WHT | 20 | 160 | XT0240:12 | B
XT0136:2 | FU0139 | WHT | 20 | 160 | KA0141:24 | B
XT0136:2 | FU0139 | WHT | 20 | 160 | KT0140:15 | B
XT0136:9 | FU0139 | WHT | 20 | 160 | KA0138:14 | B
XT0233:4 | FU0212 | WHT | 20 | 180 | UA1200:J1-10 | B
XT0233:4 | FU0212 | WHT | 20 | 180 | UA1200:J2-2 | B
XT0171:1 | KA017611 | WHT | 20 | 160 | KA0176:11 | B
XT0171:1 | KA017611 | WHT | 20 | 160 | KA0246:11 | B
XT0139:4 | KA0231A1 | WHT | 20 | 160 | KA0230:A1 | B
XT0171:3 | KA024421 | WHT | 20 | 160 | KA0176:21 | B
XT0171:3 | KA024421 | WHT | 20 | 160 | KA0244:21 | B
XT0136:11 | KM3170EP | WHT | 20 | 160 | KA0138:11 | B
XT0136:5 | PS32002 | WHT | 20 | 160 | KA0136:A1 | B
XT0136:6 | PS32004 | WHT | 20 | 160 | KA0240:11 | B
XT0136:7 | UF1300 | WHT | 20 | 160 | KA0240:14 | B
XT0135:1 | -0V | WHT | 14 | 160 | KA1020:24 | B
XT0235:1 | -0V | WHT | 14 | 160 | XT0060:1 | B
XT0235:1 | -0V | WHT | 14 | 160 | XT0070:1 | B
XT0235:3 | -0V | WHT | 14 | 160 | XT0680:2 | B
XT0233:1 | FU0210 | WHT | 14 | 160 | FU0060:LI | B
XT0233:2 | FU0210 | WHT | 14 | 160 | FU0070:LI | B
XT0233:3 | FU0210 | WHT | 14 | 160 | FU0680:LI | B

## B_S
PANEL B
JB70
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0062:16 | SV21242 | WHT | 20 | 60 | XT0060:4 | B | AF/AU060s
AF0065:COM | AF0065N | WHT | 16 | 60 | AF0068:COM | B
AF0065:V+ | AF0065P | WHT | 16 | 60 | AF0068:V+ | B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | B
AF0066:V+ | FU0063 | WHT | 16 | 60 | FU0063:LD | B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | B
AF0061:COM | -0V | WHT | 14 | 80 | XT0060:2 | B
AF0062:COM | -0V | WHT | 14 | 80 | XT0060:2 | B
AF0066:COM | -0V | WHT | 14 | 60 | XT0060:2 | B
AF0067:COM | -0V | WHT | 14 | 60 | XT0060:2 | B
AU0060:COM | -0V | WHT | 14 | 80 | XT0060:1 | B
AU0060:V+ | FU0060 | WHT | 14 | 80 | FU0060:LD | B
AF0061:V+ | FU0061 | WHT | 14 | 80 | FU0061:LD | B
AF0062:V+ | FU0062 | WHT | 14 | 80 | FU0062:LD | B
AF0074:05 | -007404 | WHT | 20 | 60 | XT0085:2 | B | AF/AU070s
AF0076:12 | -007612 | WHT | 20 | 100 | XT0237:1 B2 | B
AF0074:21 | -0V | WHT | 20 | 60 | XT0085:3 | B
AF0075:COM | AF0075N | WHT | 16 | 60 | AF0077:COM | B
AF0075:V+ | AF0075P | WHT | 16 | 60 | AF0077:V+ | B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | B
AF0076:V+ | FU0071 | WHT | 16 | 60 | FU0071:LD | B
AF0076:COM | -0V | WHT | 14 | 80 | XT0070:1 | B
AU0070:COM | -0V | WHT | 14 | 60 | XT0070:1 | B
KA0221:A1 | -007602 | WHT | 20 | 60 | AF0076:02 | B | KA A1
KA0222:A1 | -007604 | WHT | 20 | 100 | AF0076:04 | B
KA1020:A1 | -007608 | WHT | 20 | 100 | AF0076:08 | B
KA0224:A1 | -007615 | WHT | 20 | 100 | AF0076:15 | B
KA0130:A1 | -008135 | WHT | 20 | 80 | KA0130:11 | B
KA0235:A1 | ESTOP | WHT | 20 | 60 | XT0240:4 | B
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0067:12 | B
KA0138:A1 | KA0138A1 | WHT | 20 | 80 | KA0132:21 | B
KA0131:A1 | KA0231A1 | WHT | 20 | 80 | KA0242:11 | B
KA0241:A1 | KA0241A1 | WHT | 20 | 60 | XT0240:6 | B
KA0243:A1 | KA0243A1 | WHT | 20 | 60 | XT0240:7 | B
KA0245:A1 | KA0245A1 | WHT | 20 | 80 | XT0240:8 | B
KA0221:A2 | -007618 | WHT | 20 | 60 | AF0076:18 | B | KA A2
KA0222:A2 | -007620 | WHT | 20 | 100 | AF0076:20 | B
KA1020:A2 | -007624 | WHT | 20 | 100 | AF0076:24 | B
KA0224:A2 | -007631 | WHT | 20 | 100 | AF0076:31 | B
KA0249:A2 | -0V | WHT | 20 | 80 | XT0240:10 | B
KA0231:A2 | KA0231A2 | WHT | 20 | 80 | AF0076:26 | B
KA0233:14 | -006102 | WHT | 20 | 100 | AF0061:02 | B | KA
KA0234:14 | -006114 | WHT | 20 | 100 | AF0061:14 | B
KA0222:14 | -006200 | WHT | 20 | 100 | AF0062:00 | B
KA0237:14 | -007600 | WHT | 20 | 60 | AF0076:00 | B
KA0237:24 | -007601 | WHT | 20 | 60 | AF0076:01 | B
KA0242:21 | -024221 | WHT | 20 | 60 | XT0237:1 T2 | B
KA0242:24 | -024822 | WHT | 20 | 60 | KA0248:22 | B
KA0243:21 | ESTOPC | WHT | 20 | 60 | XT0240:1 | B
KA0132:11 | FU0139 | WHT | 20 | 60 | KA0133:11 | B
KA0141:24 | FU0139 | WHT | 20 | 60 | KA0241:24 | B
KA0236:11 | FU0139 | WHT | 20 | 60 | KA0244:11 | B
KA0236:11 | FU0139 | WHT | 20 | 60 | XT0240:12 | B
KA0132:22 | KA013222 | WHT | 20 | 60 | KA0137:14 | B
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | B
KA0131:12 | KA013724 | WHT | 20 | 60 | KA0137:24 | B
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | B
KA0144:22 | KA014422 | WHT | 20 | 80 | KA0176:A1 | B
KA0144:22 | KA014422 | WHT | 20 | 60 | KA0249:12 | B
KA0222:11 | KA022211 | WHT | 20 | 60 | KA0236:24 | B
KA0231:21 | KA023121 | WHT | 20 | 60 | KA0245:14 | B
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0231:A1 | B
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0242:11 | B
KA0232:22 | KA023222 | WHT | 20 | 60 | KA0144:21 | B
KA0232:22 | KA023222 | WHT | 20 | 60 | KA0249:11 | B
KA0221:11 | KA023524 | WHT | 20 | 60 | KA0235:24 | B
KA0236:12 | KA023612 | WHT | 20 | 60 | XT0240:13 | B
KA0235:14 | KA024114 | WHT | 20 | 60 | KA0241:14 | B
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:24 | B
KA0231:14 | KA024214 | WHT | 20 | 60 | KA0242:14 | B
KA0243:24 | KA024511 | WHT | 20 | 60 | KA0245:11 | B
KA0132:12 | KT0141A1 | WHT | 20 | 60 | KA0133:12 | B
KA0141:21 | KT0146A1 | WHT | 20 | 60 | KA0241:21 | B
KA0235:11 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | B
KA0235:11 | UA1200J21 | WHT | 20 | 80 | XT0060:3 | B
KT0145:A2 | -0V | WHT | 20 | 60 | KA0131:A2 | B | KT L/S
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0132:22 | B
KT0141:18 | KA013222 | WHT | 20 | 60 | KT0144:18 | B
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KA0137:A1 | B
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KT0145:18 | B
KT0146:18 | KA024214 | WHT | 20 | 60 | KA0231:14 | B
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | B
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | B
KT0146:A2 | KT0146A2 | WHT | 20 | 100 | AF0076:29 | B
KT0140:15 | FU0139 | WHT | 20 | 60 | KT0142:15 | B | KT R/S
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0144:A1 | B
KT0145:15 | FU0139 | WHT | 20 | 60 | KA0132:11 | B
KT0145:A1 | KA024412 | WHT | 20 | 60 | KA0244:12 | B
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | B
KT0141:A1 | KT0141A1 | WHT | 20 | 60 | KT0143:15 | B
KT0142:A1 | KT0141A1 | WHT | 20 | 60 | KA0132:12 | B
KT0144:B1 | KT0144B1 | WHT | 20 | 60 | KA0138:24 | B
KT0146:15 | KT014615 | WHT | 20 | 100 | AF0076:10 | B
KT0146:A1 | KT0146A1 | WHT | 20 | 60 | KA0141:21 | B
KT0146:B1 | KT0146B1 | WHT | 20 | 100 | AF0076:13 | B
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | B | UA
UA1200:J1-4 | UA1200J14 | WHT | 20 | 60 | AF0076:11 | B
UA1200:J1-5 | UA1200J15 | WHT | 20 | 120 | XT0237:1 B1 | B
UA1200:J2-1 | UA1200J21 | WHT | 20 | 140 | XT0060:3 | B
UA1200:J2-6 | UA1200J26 | WHT | 20 | 120 | KA0130:A2 | B
XT0236:3 | -0V | WHT | 20 | 80 | XT0240:9 | B | FU/XT
XT0236:1 | FU0139 | WHT | 20 | 80 | XT0240:11 | B
XT0237:2 B2 | KA023612 | WHT | 20 | 80 | XT0240:13 | B
XT0236:2 | KA0241A1 | WHT | 20 | 80 | XT0240:6 | B
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | B

## JB74 LEFT RAIL_S
JB74 LEFT RAIL
Balance of Plant, Left Rail
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0007:V1(-) | -0V | WHT | 16 | 60 | XT0004:2 | JB74 L RAIL | BA
BA0008:V1(-) | -0V | WHT | 16 | 60 | XT0004:4 | JB74 L RAIL
BA1212:POS | FU1212LD | WHT | 16 | 60 | FU1212:LD | JB74 L RAIL
BA0007:V1(+) | FU0007 | WHT | 16 | 100 | FU0007:LD | BOP | BA-BOP
BA0008:V1(+) | FU0008 | WHT | 16 | 100 | FU0008:LD | BOP
XT0004:1 | FU0210 | WHT | 16 | 80 | FU0007:LI | BOP | XT-BOP
XT0004:3 | FU0210 | WHT | 16 | 80 | FU0008:LI | BOP

## BOP_S
BOP,JB74
BALANCE OF PLANT,JB74
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0141:10 | -014110 | WHT | 20 | 60 | XT0574:5 B2 | BOP | AF/AU140s
AF0141:16 | SV76212 | WHT | 20 | 60 | XT0572:4 | BOP
AF0141:20 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
AF0142:07 | ZSC76112 | WHT | 20 | 60 | XT0572:1 | BOP
AF0141:COM | -0V | WHT | 16 | 60 | XT0140:3 | BOP
AF0146:COM | -0V | WHT | 16 | 60 | XT0140:3 | BOP
AU0140:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP
AF0142:COM | AU0140N | WHT | 16 | 60 | AU0140:COM | BOP
AF0142:V+ | AU0140P | WHT | 16 | 60 | AU0140:V+ | BOP
AU0140:V+ | FU0140 | WHT | 16 | 60 | FU0140:LD | BOP
AF0141:V+ | FU0141 | WHT | 16 | 60 | FU0141:LD | BOP
AF0183:05 | -018305 | WHT | 20 | 80 | XT0572:3 | BOP | AF/AU180s
AF0183:04 | ZSC76212 | WHT | 20 | 80 | XT0572:2 | BOP
AF0181:COM | -0V | WHT | 16 | 60 | XT0180:2 | BOP
AF0184:COM | -0V | WHT | 16 | 60 | XT0180:1 | BOP
AU0180:COM | -0V | WHT | 16 | 60 | XT0180:1 | BOP
AF0183:COM | AF0183N | WHT | 16 | 60 | AF0185:COM | BOP
AF0183:V+ | AF0183P | WHT | 16 | 60 | AF0185:V+ | BOP
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | BOP
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | BOP
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | BOP
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | BOP
AF0184:V+ | FU0184 | WHT | 16 | 60 | FU0184:LD | BOP
FU0570:LI | FU0136 | WHT | 14 | 60 | XT0140:1 | BOP | FU
FU0142:LD | FU0142 | WHT | 14 | 60 | AF0146:V+ | BOP
FU0142:LD | FU0142 | WHT | 14 | 60 | XT0140:7 | BOP
FU0140:LI | FU0570 | WHT | 14 | 60 | FU0570:LD | BOP
FU0142:LI | FU0570 | WHT | 14 | 60 | FU0180:LI | BOP
KA0550:A1 | -018400 | WHT | 20 | 80 | AF0184:00 | BOP | KA A1
KA0552:A1 | -018401 | WHT | 20 | 80 | AF0184:01 | BOP
KA0531:A1 | ESTOP | WHT | 20 | 60 | XT0140:6 | BOP
KA0535:A1 | KA0231A1 | WHT | 20 | 60 | XT0140:5 | BOP
KA0541:A1 | KA053224 | WHT | 20 | 60 | KA0532:11 | BOP
KA0540:A1 | KA0540A1 | WHT | 20 | 60 | KA0531:21 | BOP
KA0551:A1 | KA0551A1 | WHT | 20 | 80 | AF0184:02 | BOP
KA0553:A1 | KA0553A1 | WHT | 20 | 80 | AF0184:03 | BOP
KA0554:A1 | KA0554A1 | WHT | 20 | 80 | AF0184:05 | BOP
KA0555:A1 | KA0555A1 | WHT | 20 | 80 | AF0184:06 | BOP
KA7320:A1 | KA7320A1 | WHT | 20 | 80 | AF0181:00 | BOP
KA7321:A1 | KA7321A1 | WHT | 20 | 80 | AF0181:02 | BOP
KA0550:A2 | -018416 | WHT | 20 | 80 | AF0184:16 | BOP | KA A2
KA0552:A2 | -018417 | WHT | 20 | 80 | AF0184:17 | BOP
KA0531:A2 | -0V | WHT | 20 | 60 | KA0536:A2 | BOP
KA0535:A2 | -0V | WHT | 20 | 60 | XT0140:4 | BOP
KA0551:A2 | KA0551A2 | WHT | 20 | 80 | AF0184:18 | BOP
KA0553:A2 | KA0553A2 | WHT | 20 | 80 | AF0184:19 | BOP
KA0554:A2 | KA0554A2 | WHT | 20 | 80 | AF0184:21 | BOP
KA0555:A2 | KA0555A2 | WHT | 20 | 80 | AF0184:22 | BOP
KA7320:A2 | KA7320A2 | WHT | 20 | 80 | AF0181:16 | BOP
KA7321:A2 | KA7321A2 | WHT | 20 | 80 | AF0181:18 | BOP
KA0540:A2 | SV76212 | WHT | 20 | 60 | XT0572:4 | BOP
KA0541:A2 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
KA0554:11 | -014102 | WHT | 20 | 60 | AF0141:02 | BOP | KA
KA0552:11 | -014106 | WHT | 20 | 60 | AF0141:06 | BOP
KA0553:11 | -014108 | WHT | 20 | 60 | AF0141:08 | BOP
KA0532:24 | -014612 | WHT | 20 | 60 | AF0146:12 | BOP
KA0541:21 | -018305 | WHT | 20 | 60 | XT0572:3 | BOP
KA0531:11 | KA053111 | WHT | 20 | 60 | AF0141:14 | BOP
KA0531:24 | KA053124 | WHT | 20 | 60 | AF0141:00 | BOP
KA0532:14 | KA053221 | WHT | 20 | 60 | AF0141:04 | BOP
KA0533:12 | KA053312 | WHT | 20 | 60 | KT0573:15 | BOP
KA0535:11 | KA053511 | WHT | 20 | 60 | KA0554:14 | BOP
KA0535:14 | KA053514 | WHT | 20 | 60 | XT0574:6 B2 | BOP
KA0535:22 | KA053522 | WHT | 20 | 60 | XT0574:6 T2 | BOP
KA0536:11 | KA053611 | WHT | 20 | 60 | XT0574:1 T1 | BOP
KA0536:12 | KA053612 | WHT | 20 | 60 | XT0574:7 B1 | BOP
KA0536:24 | KA053624 | WHT | 20 | 60 | KA0555:11 | BOP
KA0540:14 | KA054014 | WHT | 20 | 60 | KA0550:11 | BOP
KA0541:11 | KA054111 | WHT | 20 | 60 | KA0551:14 | BOP
KA0550:14 | KA055014 | WHT | 20 | 60 | AF0141:32 | BOP
KA0551:11 | KA055111 | WHT | 20 | 60 | AF0141:36 | BOP
KA0552:14 | KA055214 | WHT | 20 | 60 | XT0574:3 B2 | BOP
KA0553:14 | KA055314 | WHT | 20 | 60 | XT0574:4 B2 | BOP
KA0555:14 | KA055514 | WHT | 20 | 60 | AF0141:12 | BOP
KA0536:21 | XT05741B2 | WHT | 20 | 60 | XT0574:1 B2 | BOP
KA0541:22 | ZSC76412 | WHT | 20 | 60 | KT0573:A1 | BOP
KA0533:11 | FU0142 | WHT | 14 | 60 | XT0140:7 | BOP
KT0571:A2 | -014223 | WHT | 20 | 60 | AF0142:23 | BOP | KT L/S
KT0571:16 | KT057116 | WHT | 20 | 60 | XT0574:2 T2 | BOP
KT0571:16 | KT057116 | WHT | 20 | 60 | XT0574:5 T2 | BOP
KT0571:18 | KT057118 | WHT | 20 | 60 | KA0535:21 | BOP
KT0572:16 | KT057216 | WHT | 20 | 60 | XT0574:3 T2 | BOP
KT0572:16 | KT057216 | WHT | 20 | 60 | XT0574:7 B2 | BOP
KT0572:18 | KT057218 | WHT | 20 | 60 | KT05732:15 | BOP
KT0572:A2 | KT0572A2 | WHT | 20 | 80 | AF0183:20 | BOP
KT0573:16 | KT057316 | WHT | 20 | 60 | XT0574:2 B2 | BOP
KT0573:16 | KT057316 | WHT | 20 | 60 | XT0574:4 T2 | BOP
KT0573:A2 | KT0573A2 | WHT | 20 | 80 | AF0183:21 | BOP
KT0571:A1 | ZSC76112 | WHT | 20 | 60 | XT0572:1 | BOP | KT R/S
KT0572:A1 | ZSC76212 | WHT | 20 | 60 | XT0572:2 | BOP
XT0574:2 B1 | XT05742B1 | WHT | 20 | 60 | XT0574:7 T1 | BOP | XT
XT0180:1 | -0V | WHT | 16 | 60 | XT0140:4 | BOP
XT0140:2 | -0V | WHT | 14 | 60 | XT0570:2 | BOP
XT0140:1 | FU0136 | WHT | 12 | 60 | XT0570:1 | BOP
XT0570:3 | KA0231A1 | WHT | 12 | 60 | XT0140:5 | BOP

## JB73_S
JB73
COMPRESSOR CONTROL BOX,JB73
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0510:54 | -052053 | WHT | 16 | 60 | AF0520:53 | JB73 | 1444s
AF0510:56 | -052055 | WHT | 16 | 60 | AF0520:55 | JB73
AF0510:53 | -0V | WHT | 16 | 60 | XT0130:2 | JB73
AF0510:55 | FU0133 | WHT | 16 | 60 | FU0133:LD | JB73
AF1201:COM | -0V | WHT | 16 | 80 | XT0130:3 | JB73 | AF/AU1200s
AU1200:COM | -0V | WHT | 16 | 80 | XT0130:4 | JB73
AF1207:COM | AF1207N | WHT | 16 | 60 | AF1208:COM | JB73
AF1207:V+ | AF1207P | WHT | 16 | 60 | AF1208:V+ | JB73
AF1202:COM | AU1200N | WHT | 16 | 60 | AU1200:COM | JB73
AF1202:V+ | AU1200P | WHT | 16 | 60 | AU1200:V+ | JB73
AU1200:V+ | FU0120 | WHT | 16 | 60 | FU0120:LD | JB73
AF1201:V+ | FU0121 | WHT | 16 | 60 | FU0121:LD | JB73
FU0120:LI | FU0130 | WHT | 14 | 60 | FU0130:LD | JB73 | FU
FU0121:LI | FU0130 | WHT | 14 | 60 | FU0133:LI | JB73
FU0130:LD | FU0130 | WHT | 14 | 60 | XT0121:3 | JB73
FU0130:LI | FU0136 | WHT | 14 | 60 | XT0130:1 | JB73
KA4401:A1 | PS44013 | WHT | 20 | 60 | XT0121:2 | JB73 | KA A1
KA0120:A1 | KA0231A1 | WHT | 14 | 60 | XT0130:5 | JB73
KA4401:A2 | -120718 | WHT | 20 | 60 | AF1207:18 | JB73 | KA A2
KA0120:A2 | -0V | WHT | 16 | 60 | XT0130:3 | JB73
KA4401:14 | -120702 | WHT | 20 | 60 | AF1207:02 | JB73 | KA
KA4401:11 | PS44012 | WHT | 20 | 60 | AF1207:34 | JB73
KA4401:11 | PS44012 | WHT | 20 | 60 | XT0121:1 | JB73
XT0121:5 | -0V | WHT | 14 | 80 | XT0130:3 | JB73 | XT
XT0130:4 | -0V | WHT | 14 | 60 | XT0520:2 | JB73
XT0130:1 | FU0136 | WHT | 14 | 60 | XT0520:1 | JB73
XT0520:3 | KA0231A1 | WHT | 14 | 60 | XT0130:5 | JB73

## TURBINE VIB_S
JB5
TURBINE VIBRATION PANEL
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0410:53 | -0V | WHT | 16 | 60 | XT0110:3 | VIB | 1444s
AF0410:54 | AF0410N | WHT | 16 | 60 | AF0420:53 | VIB
AF0410:56 | AF0410P | WHT | 16 | 60 | AF0420:55 | VIB
AF0420:54 | AF0420N | WHT | 16 | 60 | AF0430:53 | VIB
AF0420:56 | AF0420P | WHT | 16 | 60 | AF0430:55 | VIB
AF0430:54 | AF0430N | WHT | 16 | 60 | AF0450:53 | VIB
AF0430:56 | AF0430P | WHT | 16 | 60 | AF0450:55 | VIB
AF0410:55 | FU0113 | WHT | 16 | 60 | FU0113:LD | VIB
FU0110:LI | FU0136 | WHT | 14 | 60 | XT0110:1 | VIB | FU

## MEDIA CONVERTER_S
JB1123
VFD MEDIA CONVERTER BOX,MEDIA CONVERT
Project # | 4M491
Project Name | ET-NMP2
Revision | B.4
Controls DE | J. LI
Phone: | 0
Controls ME | H. Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0005:V1(+) | FU0005 | WHT | 16 | 60 | FU0005:LD | MEDIA CONVERT | BA
BA0006:V1(+) | FU0006 | WHT | 16 | 60 | FU0006:LD | MEDIA CONVERT
BA0005:V1(-) | UJ0012V1N | WHT | 16 | 60 | XT0003:2 | MEDIA CONVERT
BA0006:V1(-) | UJ0012V1N | WHT | 16 | 60 | XT0003:4 | MEDIA CONVERT
UJ0012:V3(-) | UJ0012V1N | WHT | 16 | 60 | XT0003:2 | MEDIA CONVERT | UJ
UJ0012:V1(+) | UJ0012V1P | WHT | 16 | 60 | XT0003:1 | MEDIA CONVERT
XT0003:2 | UJ0012V1N | WHT | 16 | 60 | XT0003:4 | MEDIA CONVERT | FU/XT
FU0005:LI | UJ0012V1P | WHT | 16 | 60 | XT0003:1 | MEDIA CONVERT
FU0006:LI | UJ0012V1P | WHT | 16 | 60 | XT0003:3 | MEDIA CONVERT

## Bundle Tag Info
ET-NMP2
4M491
B.4
JB70 | JB70 LEFT RAIL | JB70 RIGHT RAIL | FIRE PNL | PLC | A | B | JB74 LEFT RAIL | BOP | JB73 | TURBINE VIB | MEDIA | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT1100 | AT | BA | AT | UV-A | AF/AU080s | AF/AU060s | BA | AF/AU140s | 1444s | 1444s | BA
HL0171 | KA | XT | KA/FU | AT-B | AF/AU090s | AF/AU070s | BA-BOP | AF/AU180s | AF/AU1200s | FU | UJ
HL0172 | XT | UJ | UV |  | FU | KA A1 | XT-BOP | FU | FU |  | FU/XT
HL0173 | AT-FIRE PNL | FU-A |  |  | KA A1 | KA A2 |  | KA A1 | KA A1
SA0170 | KA A1/A2-FIRE PNL | UJ-A |  |  | KA A2 | KA |  | KA A2 | KA A2
SA0471 | KA-FIRE PNL | XT-A |  |  | KA | KT L/S |  | KA | KA
SA0473 | XT-FIRE PNL | XT-B |  |  | UJ | KT R/S |  | KT L/S | XT
SA0474 | KA-A | XT-FIRE PNL |  |  | PC | UA |  | KT R/S
SB0170 | KA-B |  |  |  | XT | FU/XT |  | XT
SB0471 | KA-JB70 R RAIL |  |  |  | AF080s-B
SB0472 | THRU RAIL A |  |  |  | AF090s-B
SB0473 | THRU RAIL B |  |  |  | FU-B
SB0474 |  |  |  |  | KA A1-B
SH0470 |  |  |  |  | KA A2-B
SH0471 |  |  |  |  | XT-B
SH0472

## Bundle Tags2
JB70 | JB70 LEFT RAIL | JB70 RIGHT RAIL | FIRE PNL | PLC | A | B | JB74 LEFT RAIL | BOP | JB73 | TURBINE VIB | MEDIA
ET-NMP2 4M491 B.4 JB70 AT1100 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL AT | ET-NMP2 4M491 B.4 JB70 RIGHT RAIL BA | ET-NMP2 4M491 B.4 FIRE PNL AT | ET-NMP2 4M491 B.4 PLC UV-A | ET-NMP2 4M491 B.4 A AF/AU080s | ET-NMP2 4M491 B.4 B AF/AU060s | ET-NMP2 4M491 B.4 JB74 LEFT RAIL BA | ET-NMP2 4M491 B.4 BOP AF/AU140s | ET-NMP2 4M491 B.4 JB73 1444s | ET-NMP2 4M491 B.4 TURBINE VIB 1444s | ET-NMP2 4M491 B.4 MEDIA BA
ET-NMP2 4M491 B.4 JB70 HL0171 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA | ET-NMP2 4M491 B.4 JB70 RIGHT RAIL XT | ET-NMP2 4M491 B.4 FIRE PNL KA/FU | ET-NMP2 4M491 B.4 PLC AT-B | ET-NMP2 4M491 B.4 A AF/AU090s | ET-NMP2 4M491 B.4 B AF/AU070s | ET-NMP2 4M491 B.4 JB74 LEFT RAIL BA-BOP | ET-NMP2 4M491 B.4 BOP AF/AU180s | ET-NMP2 4M491 B.4 JB73 AF/AU1200s | ET-NMP2 4M491 B.4 TURBINE VIB FU | ET-NMP2 4M491 B.4 MEDIA UJ
ET-NMP2 4M491 B.4 JB70 HL0172 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL XT | ET-NMP2 4M491 B.4 JB70 RIGHT RAIL UJ | ET-NMP2 4M491 B.4 FIRE PNL UV |  | ET-NMP2 4M491 B.4 A FU | ET-NMP2 4M491 B.4 B KA A1 | ET-NMP2 4M491 B.4 JB74 LEFT RAIL XT-BOP | ET-NMP2 4M491 B.4 BOP FU | ET-NMP2 4M491 B.4 JB73 FU |  | ET-NMP2 4M491 B.4 MEDIA FU/XT
ET-NMP2 4M491 B.4 JB70 HL0173 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL AT-FIRE PNL | ET-NMP2 4M491 B.4 JB70 RIGHT RAIL FU-A |  |  | ET-NMP2 4M491 B.4 A KA A1 | ET-NMP2 4M491 B.4 B KA A2 |  | ET-NMP2 4M491 B.4 BOP KA A1 | ET-NMP2 4M491 B.4 JB73 KA A1
ET-NMP2 4M491 B.4 JB70 SA0170 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA A1/A2-FIRE PNL | ET-NMP2 4M491 B.4 JB70 RIGHT RAIL UJ-A |  |  | ET-NMP2 4M491 B.4 A KA A2 | ET-NMP2 4M491 B.4 B KA |  | ET-NMP2 4M491 B.4 BOP KA A2 | ET-NMP2 4M491 B.4 JB73 KA A2
ET-NMP2 4M491 B.4 JB70 SA0471 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA-FIRE PNL | ET-NMP2 4M491 B.4 JB70 RIGHT RAIL XT-A |  |  | ET-NMP2 4M491 B.4 A KA | ET-NMP2 4M491 B.4 B KT L/S |  | ET-NMP2 4M491 B.4 BOP KA | ET-NMP2 4M491 B.4 JB73 KA
ET-NMP2 4M491 B.4 JB70 SA0473 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL XT-FIRE PNL | ET-NMP2 4M491 B.4 JB70 RIGHT RAIL XT-B |  |  | ET-NMP2 4M491 B.4 A UJ | ET-NMP2 4M491 B.4 B KT R/S |  | ET-NMP2 4M491 B.4 BOP KT L/S | ET-NMP2 4M491 B.4 JB73 XT
ET-NMP2 4M491 B.4 JB70 SA0474 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA-A | ET-NMP2 4M491 B.4 JB70 RIGHT RAIL XT-FIRE PNL |  |  | ET-NMP2 4M491 B.4 A PC | ET-NMP2 4M491 B.4 B UA |  | ET-NMP2 4M491 B.4 BOP KT R/S
ET-NMP2 4M491 B.4 JB70 SB0170 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA-B |  |  |  | ET-NMP2 4M491 B.4 A XT | ET-NMP2 4M491 B.4 B FU/XT |  | ET-NMP2 4M491 B.4 BOP XT
ET-NMP2 4M491 B.4 JB70 SB0471 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA-JB70 R RAIL |  |  |  | ET-NMP2 4M491 B.4 A AF080s-B
ET-NMP2 4M491 B.4 JB70 SB0472 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL THRU RAIL A |  |  |  | ET-NMP2 4M491 B.4 A AF090s-B
ET-NMP2 4M491 B.4 JB70 SB0473 | ET-NMP2 4M491 B.4 JB70 LEFT RAIL THRU RAIL B |  |  |  | ET-NMP2 4M491 B.4 A FU-B
ET-NMP2 4M491 B.4 JB70 SB0474 |  |  |  |  | ET-NMP2 4M491 B.4 A KA A1-B
ET-NMP2 4M491 B.4 JB70 SH0470 |  |  |  |  | ET-NMP2 4M491 B.4 A KA A2-B
ET-NMP2 4M491 B.4 JB70 SH0471 |  |  |  |  | ET-NMP2 4M491 B.4 A XT-B
ET-NMP2 4M491 B.4 JB70 SH0472

## ALL
ALL
ET-NMP2 4M491 B.4 JB70 AT1100
ET-NMP2 4M491 B.4 JB70 HL0171
ET-NMP2 4M491 B.4 JB70 HL0172
ET-NMP2 4M491 B.4 JB70 HL0173
ET-NMP2 4M491 B.4 JB70 SA0170
ET-NMP2 4M491 B.4 JB70 SA0471
ET-NMP2 4M491 B.4 JB70 SA0473
ET-NMP2 4M491 B.4 JB70 SA0474
ET-NMP2 4M491 B.4 JB70 SB0170
ET-NMP2 4M491 B.4 JB70 SB0471
ET-NMP2 4M491 B.4 JB70 SB0472
ET-NMP2 4M491 B.4 JB70 SB0473
ET-NMP2 4M491 B.4 JB70 SB0474
ET-NMP2 4M491 B.4 JB70 SH0470
ET-NMP2 4M491 B.4 JB70 SH0471
ET-NMP2 4M491 B.4 JB70 SH0472
ET-NMP2 4M491 B.4 JB70 LEFT RAIL AT
ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA
ET-NMP2 4M491 B.4 JB70 LEFT RAIL XT
ET-NMP2 4M491 B.4 JB70 LEFT RAIL AT-FIRE PNL
ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA A1/A2-FIRE PNL
ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA-FIRE PNL
ET-NMP2 4M491 B.4 JB70 LEFT RAIL XT-FIRE PNL
ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA-A
ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA-B
ET-NMP2 4M491 B.4 JB70 LEFT RAIL KA-JB70 R RAIL
ET-NMP2 4M491 B.4 JB70 LEFT RAIL THRU RAIL A
ET-NMP2 4M491 B.4 JB70 LEFT RAIL THRU RAIL B
ET-NMP2 4M491 B.4 JB70 RIGHT RAIL BA
ET-NMP2 4M491 B.4 JB70 RIGHT RAIL XT
ET-NMP2 4M491 B.4 JB70 RIGHT RAIL UJ
ET-NMP2 4M491 B.4 JB70 RIGHT RAIL FU-A
ET-NMP2 4M491 B.4 JB70 RIGHT RAIL UJ-A
ET-NMP2 4M491 B.4 JB70 RIGHT RAIL XT-A
ET-NMP2 4M491 B.4 JB70 RIGHT RAIL XT-B
ET-NMP2 4M491 B.4 JB70 RIGHT RAIL XT-FIRE PNL
ET-NMP2 4M491 B.4 FIRE PNL AT
ET-NMP2 4M491 B.4 FIRE PNL KA/FU
ET-NMP2 4M491 B.4 FIRE PNL UV
ET-NMP2 4M491 B.4 PLC UV-A
ET-NMP2 4M491 B.4 PLC AT-B
ET-NMP2 4M491 B.4 A AF/AU080s
ET-NMP2 4M491 B.4 A AF/AU090s
ET-NMP2 4M491 B.4 A FU
ET-NMP2 4M491 B.4 A KA A1
ET-NMP2 4M491 B.4 A KA A2
ET-NMP2 4M491 B.4 A KA
ET-NMP2 4M491 B.4 A UJ
ET-NMP2 4M491 B.4 A PC
ET-NMP2 4M491 B.4 A XT
ET-NMP2 4M491 B.4 A AF080s-B
ET-NMP2 4M491 B.4 A AF090s-B
ET-NMP2 4M491 B.4 A FU-B
ET-NMP2 4M491 B.4 A KA A1-B
ET-NMP2 4M491 B.4 A KA A2-B
ET-NMP2 4M491 B.4 A XT-B
ET-NMP2 4M491 B.4 B AF/AU060s
ET-NMP2 4M491 B.4 B AF/AU070s
ET-NMP2 4M491 B.4 B KA A1
ET-NMP2 4M491 B.4 B KA A2
ET-NMP2 4M491 B.4 B KA
ET-NMP2 4M491 B.4 B KT L/S
ET-NMP2 4M491 B.4 B KT R/S
ET-NMP2 4M491 B.4 B UA
ET-NMP2 4M491 B.4 B FU/XT
ET-NMP2 4M491 B.4 JB74 LEFT RAIL BA
ET-NMP2 4M491 B.4 JB74 LEFT RAIL BA-BOP
ET-NMP2 4M491 B.4 JB74 LEFT RAIL XT-BOP
ET-NMP2 4M491 B.4 BOP AF/AU140s
ET-NMP2 4M491 B.4 BOP AF/AU180s
ET-NMP2 4M491 B.4 BOP FU
ET-NMP2 4M491 B.4 BOP KA A1
ET-NMP2 4M491 B.4 BOP KA A2
ET-NMP2 4M491 B.4 BOP KA
ET-NMP2 4M491 B.4 BOP KT L/S
ET-NMP2 4M491 B.4 BOP KT R/S
ET-NMP2 4M491 B.4 BOP XT
ET-NMP2 4M491 B.4 JB73 1444s
ET-NMP2 4M491 B.4 JB73 AF/AU1200s
ET-NMP2 4M491 B.4 JB73 FU
ET-NMP2 4M491 B.4 JB73 KA A1
ET-NMP2 4M491 B.4 JB73 KA A2
ET-NMP2 4M491 B.4 JB73 KA
ET-NMP2 4M491 B.4 JB73 XT
ET-NMP2 4M491 B.4 TURBINE VIB 1444s
ET-NMP2 4M491 B.4 TURBINE VIB FU
ET-NMP2 4M491 B.4 MEDIA BA
ET-NMP2 4M491 B.4 MEDIA UJ
ET-NMP2 4M491 B.4 MEDIA FU/XT