## CONTROL,JB70;TT6
CONTROL,JB70;TT6
Project # | 4M576
Project Name | TRP-NWY
Revision | B.1
Controls DE | MADDI, A.
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | To Location | Bundle Name
SA
SA0471:B1-13 | SA0471B113 | WHT | 20 | 120.0 | AF0087:40 | JB70 PANEL A | SA0471 - JB70 PANEL A
SA0471:B1-14 | SA0471B114 | WHT | 20 | 120.0 | AF0087:08 | JB70 PANEL A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 120.0 | AF0087:39 | JB70 PANEL A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 120.0 | AF0087:07 | JB70 PANEL A
SA0473:11 | SA047311 | WHT | 20 | 120.0 | AF0087:37 | JB70 PANEL A | SA0473 - JB70 PANEL A
SA0473:12 | SA047312 | WHT | 20 | 120.0 | AF0087:05 | JB70 PANEL A
SA0473:13 | SA047313 | WHT | 20 | 120.0 | AF0087:38 | JB70 PANEL A
SA0473:14 | SA047314 | WHT | 20 | 120.0 | AF0087:06 | JB70 PANEL A
SA0474:B1-13 | SA0474B113 | WHT | 20 | 120.0 | AF0087:45 | JB70 PANEL A | SA0474 - JB70 PANEL A
SA0474:B1-14 | SA0474B114 | WHT | 20 | 120.0 | AF0087:13 | JB70 PANEL A
SA0474:B2-13 | SA0474B213 | WHT | 20 | 120.0 | AF0087:44 | JB70 PANEL A
SA0474:B2-14 | SA0474B214 | WHT | 20 | 120.0 | AF0087:12 | JB70 PANEL A
SB
SB0471:11 | SB047111 | WHT | 20 | 120.0 | AF0087:34 | JB70 PANEL A | SB0471 - JB70 PANEL A
SB0471:12 | SB047112 | WHT | 20 | 120.0 | AF0087:02 | JB70 PANEL A
SB0472:B2-11 | SB0472B211 | WHT | 20 | 120.0 | AF0081:36 | JB70 PANEL A | SB0472 - JB70 PANEL A
SB0473:13 | SB047313 | WHT | 20 | 120.0 | AF0087:35 | JB70 PANEL A | SB0473 - JB70 PANEL A
SB0473:14 | SB047314 | WHT | 20 | 120.0 | AF0087:03 | JB70 PANEL A
SB0474:13 | SB047413 | WHT | 20 | 120.0 | AF0087:36 | JB70 PANEL A | SB0474 - JB70 PANEL A
SB0474:14 | SB047414 | WHT | 20 | 120.0 | AF0087:04 | JB70 PANEL A
AT
AT1100:POS | FU1100 | WHT | 14 | 120.0 | FU1100:LD | JB70 PANEL B | AT - FU - JB70 PANEL B
SB
SB0472:B1-11 | ESTOPB | WHT | 20 | 120.0 | XT0111:19 | JB70 RIGHT RAIL | SB0472 - JB70 RIGHT RAIL
SB0472:B2-12 | SB0472AB111 | WHT | 20 | 120.0 | XT0111:25 | JB70 RIGHT RAIL
SB0472:B1-12 | SB0472AB211 | WHT | 20 | 120.0 | XT0111:20 | JB70 RIGHT RAIL
SH
SH0470:X1 | SH0470X1 | WHT | 20 | 120.0 | XT0111:12 | JB70 RIGHT RAIL | SH0470 - JB70 RIGHT RAIL
SH0470:X2 | SH0470X2 | WHT | 20 | 120.0 | XT0111:11 | JB70 RIGHT RAIL
SH0470:11 | SH047011 | WHT | 20 | 120.0 | XT0111:7 | JB70 RIGHT RAIL
SH0470:12 | SH047012 | WHT | 20 | 120.0 | XT0111:8 | JB70 RIGHT RAIL
SH0470:13 | SH047013 | WHT | 20 | 120.0 | XT0111:9 | JB70 RIGHT RAIL
SH0470:14 | SH047014 | WHT | 20 | 120.0 | XT0111:10 | JB70 RIGHT RAIL
SH0471:X1 | SH0471X1 | WHT | 20 | 120.0 | XT0111:6 | JB70 RIGHT RAIL | SH0471 - JB70 RIGHT RAIL
SH0471:X2 | SH0471X2 | WHT | 20 | 120.0 | XT0111:5 | JB70 RIGHT RAIL
SH0471:11 | SH047111 | WHT | 20 | 120.0 | XT0111:1 | JB70 RIGHT RAIL
SH0471:12 | SH047112 | WHT | 20 | 120.0 | XT0111:2 | JB70 RIGHT RAIL
SH0471:13 | SH047113 | WHT | 20 | 120.0 | XT0111:3 | JB70 RIGHT RAIL
SH0471:14 | SH047114 | WHT | 20 | 120.0 | XT0111:4 | JB70 RIGHT RAIL
SH0472:13 | FU0139 | WHT | 20 | 120.0 | XT0111:15 | JB70 RIGHT RAIL | SH0472 - JB70 RIGHT RAIL
SH0472:14 | KA0241A1 | WHT | 20 | 120.0 | XT0111:16 | JB70 RIGHT RAIL
SH0472:X1 | SH0472X1 | WHT | 20 | 120.0 | XT0111:18 | JB70 RIGHT RAIL
SH0472:X2 | SH0472X2 | WHT | 20 | 120.0 | XT0111:17 | JB70 RIGHT RAIL
SH0472:11 | SH047211 | WHT | 20 | 120.0 | XT0111:13 | JB70 RIGHT RAIL
SH0472:12 | SH047212 | WHT | 20 | 120.0 | XT0111:14 | JB70 RIGHT RAIL
SH1120:X1 | SH1120X1 | WHT | 20 | 120.0 | XT0111:34 | JB70 RIGHT RAIL | SH1120 - JB70 RIGHT RAIL
SH1120:X2 | SH1120X2 | WHT | 20 | 120.0 | XT0111:33 | JB70 RIGHT RAIL
SH1120:11 | SH112011 | WHT | 20 | 120.0 | XT0111:31 | JB70 RIGHT RAIL
SH1120:12 | SH112012 | WHT | 20 | 120.0 | XT0111:32 | JB70 RIGHT RAIL
SH1120:13 | SH112013 | WHT | 20 | 120.0 | XT0111:29 | JB70 RIGHT RAIL
SH1120:14 | SH112014 | WHT | 20 | 120.0 | XT0111:30 | JB70 RIGHT RAIL
AT
AT1100:NEG | -0V | WHT | 14 | 120.0 | XT0111:28 | JB70 RIGHT RAIL | AT - XT - JB70 RIGHT RAIL

## CONTROL,JB73;TT6
CONTROL,JB73;TT6
Project # | 4M576
Project Name | TRP-NWY
Revision | B.1
Controls DE | MADDI, A.
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | To Location | Bundle Name
SB
SB0472A:B2-12 | ESTOPA | WHT | 20 | 120.0 | XT0121:6 | JB73 HPC PANEL | SB0472A - JB73 HPC PANEL
SB0472A:B1-11 | SB0472AB111 | WHT | 20 | 120.0 | XT0121:7 | JB73 HPC PANEL
SB0472A:B1-12 | SB0472AB112 | WHT | 20 | 120.0 | XT0121:8 | JB73 HPC PANEL
SB0472A:B2-11 | SB0472AB211 | WHT | 20 | 120.0 | XT0121:5 | JB73 HPC PANEL

## JB1123 PANEL
JB1123 PANEL
Project # | 4M576
Project Name | TRP-NWY
Revision | B.1
Controls DE | MADDI, A.
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | To Location | Bundle Name
BA
BA0005:V1(+) | FU1123 | WHT | 16 | 60.0 | FU1123:LD | JB1123 PANEL | BA0005
BA0005:V1(-) | JB1123N | WHT | 16 | 60.0 | XT1123:2 | JB1123 PANEL
BA0006:V1(+) | FU1124 | WHT | 16 | 60.0 | FU1124:LD | JB1123 PANEL | BA0006
BA0006:V1(-) | JB1123N | WHT | 16 | 60.0 | XT1123:2 | JB1123 PANEL
FU
FU1123:LI | JB1123P | WHT | 16 | 60.0 | XT1123:1 | JB1123 PANEL | FU - XT
FU1124:LI | JB1123P | WHT | 16 | 60.0 | XT1123:1 | JB1123 PANEL

## JB70 PANEL A
JB70 PANEL A
Project # | 4M576
Project Name | TRP-NWY
Revision | B.1
Controls DE | MADDI, A.
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | To Location | Bundle Name
KA0131:A1 | KA0131A1 | WHT | 20 | 60.0 | KA0132:A1 | JB70 PANEL A | KA0131:A1 / KA0131A1
KA0131:A1 | KA0131A1 | WHT | 20 | 60.0 | KA0242:14 | JB70 PANEL A
KA0132:11 | FU0139 | WHT | 20 | 60.0 | KA0133:11 | JB70 PANEL A | KA0132:11 / FU0139
KA0132:11 | FU0139 | WHT | 20 | 80.0 | XT0081:1 | JB70 PANEL A
KA0132:12 | KT014315 | WHT | 20 | 60.0 | KA0133:12 | JB70 PANEL A | KA0132:12 / KT014315
KA0132:12 | KT014315 | WHT | 20 | 60.0 | KT0142:A1 | JB70 PANEL A
KA0134:11 | FU0139 | WHT | 20 | 60.0 | KA0136:11 | JB70 PANEL A | KA0134:11 / FU0139
KA0134:11 | FU0139 | WHT | 20 | 60.0 | KT0144:15 | JB70 PANEL A
KA0137:11 | FU0139 | WHT | 20 | 60.0 | KT0140:15 | JB70 PANEL A | KA0137:11 / FU0139
KA0137:11 | FU0139 | WHT | 20 | 60.0 | KT0144:15 | JB70 PANEL A
KA0137:14 | KA013222 | WHT | 20 | 60.0 | KT0141:18 | JB70 PANEL A | KA0137:14 / KA013222
KA0137:14 | KA013222 | WHT | 20 | 60.0 | KT0144:18 | JB70 PANEL A
KA0137:21 | FU0139 | WHT | 20 | 60.0 | KA0244:11 | JB70 PANEL A | KA0137:21 / FU0139
KA0137:21 | FU0139 | WHT | 20 | 60.0 | KT0142:15 | JB70 PANEL A
KA0141:21 | KT0146A1 | WHT | 20 | 60.0 | KA0241:21 | JB70 PANEL A | KA0141:21 / KT0146A1
KA0141:21 | KT0146A1 | WHT | 20 | 60.0 | KT0146:A1 | JB70 PANEL A
KA0241:A1 | KA0241A1 | WHT | 20 | 60.0 | KA0242:A1 | JB70 PANEL A | KA0241:A1 / KA0241A1
KA0241:A1 | KA0241A1 | WHT | 20 | 60.0 | XT0081:7 | JB70 PANEL A
KA0242:11 | KT014618 | WHT | 20 | 60.0 | KA0231:11 | JB70 PANEL A | KA0242:11 / KT014618
KA0242:11 | KT014618 | WHT | 20 | 60.0 | KT0146:18 | JB70 PANEL A
KA0243:A1 | KA9982C | WHT | 20 | 60.0 | KA0244:A1 | JB70 PANEL A | KA0243:A1 / KA9982C
KA0243:A1 | KA9982C | WHT | 20 | 60.0 | XT0089:10 | JB70 PANEL A
AF
AF0091:V+ | AF0091P | WHT | 16 | 60.0 | AF0094:V+ | JB70 PANEL A | AF0091
AF0091:COM | AF0091N | WHT | 16 | 60.0 | AF0094:COM | JB70 PANEL A
AF0091:39 | KA014111 | WHT | 20 | 60.0 | KA0141:11 | JB70 PANEL A
AF0091:12 | KA0134A1 | WHT | 20 | 60.0 | KA0134:A1 | JB70 PANEL A
AF0091:07 | KA014114 | WHT | 20 | 60.0 | KA0141:14 | JB70 PANEL A
AF0091:41 | UJ0131OK1 | WHT | 20 | 60.0 | UJ0131:OK1 | JB70 PANEL A
AF0091:09 | UJ0131OK2 | WHT | 20 | 60.0 | UJ0131:OK2 | JB70 PANEL A
AF0092:V+ | FU0091 | WHT | 16 | 120.0 | FU0091:LD | JB70 PANEL A | AF0092
AF0092:45 | KA024022 | WHT | 20 | 100.0 | KA0240:22 | JB70 PANEL A
AF0092:24 | KA3103A2 | WHT | 20 | 60.0 | KA3103:A2 | JB70 PANEL A
AF0092:23 | KA2161A2 | WHT | 20 | 120.0 | KA2161:A2 | JB70 PANEL A
AF0092:20 | KA2160A2 | WHT | 20 | 120.0 | KA2160:A2 | JB70 PANEL A
AF0092:08 | KA3103A1 | WHT | 20 | 60.0 | KA3103:A1 | JB70 PANEL A
AF0092:07 | KA2161A1 | WHT | 20 | 120.0 | KA2161:A1 | JB70 PANEL A
AF0092:06 | KA013114 | WHT | 20 | 60.0 | KA0131:14 | JB70 PANEL A
AF0092:04 | KA2160A1 | WHT | 20 | 120.0 | KA2160:A1 | JB70 PANEL A
AF0092:02 | KA0133A1 | WHT | 20 | 60.0 | KA0133:A1 | JB70 PANEL A
AF0092:COM | -0V | WHT | 16 | 120.0 | XT0080:2 | JB70 PANEL A
AF0093:V+ | FU0092 | WHT | 16 | 120.0 | FU0092:LD | JB70 PANEL A | AF0093
AF0093:17 | KA3220A2 | WHT | 20 | 60.0 | KA3220:A2 | JB70 PANEL A
AF0093:01 | KA3220A1 | WHT | 20 | 60.0 | KA3220:A1 | JB70 PANEL A
AF0093:COM | -0V | WHT | 16 | 100.0 | XT0080:3 | JB70 PANEL A
AF0095:V+ | FU0093 | WHT | 16 | 120.0 | FU0093:LD | JB70 PANEL A | AF0095
AF0095:COM | -0V | WHT | 16 | 100.0 | XT0080:4 | JB70 PANEL A
AF0081:41 | KA023911 | WHT | 20 | 80.0 | KA0239:11 | JB70 PANEL A | AF0081
AF0081:40 | KA014124 | WHT | 20 | 80.0 | KA0141:24 | JB70 PANEL A
AF0081:35 | KA0130A1 | WHT | 20 | 60.0 | KA0130:A1 | JB70 PANEL A
AF0081:34 | KA024511 | WHT | 20 | 80.0 | KA0245:11 | JB70 PANEL A
AF0081:33 | KA024311 | WHT | 20 | 80.0 | KA0243:11 | JB70 PANEL A
AF0081:24 | KA0131A2 | WHT | 20 | 60.0 | KA0131:A2 | JB70 PANEL A
AF0081:09 | KA023914 | WHT | 20 | 80.0 | KA0239:14 | JB70 PANEL A
AF0081:03 | KA013014 | WHT | 20 | 60.0 | KA0130:14 | JB70 PANEL A
AF0081:02 | KA024514 | WHT | 20 | 80.0 | KA0245:14 | JB70 PANEL A
AF0081:01 | KA024314 | WHT | 20 | 80.0 | KA0243:14 | JB70 PANEL A
AF0081:08 | KT014618 | WHT | 20 | 60.0 | KT0146:18 | JB70 PANEL A
AF0081:19 | UA1200J27 | WHT | 20 | 60.0 | UA1200:J2-7 | JB70 PANEL A
AF0081:00 | UA1200J21 | WHT | 20 | 60.0 | XT0089:20 | JB70 PANEL A
AF0087:43 | KA013621 | WHT | 20 | 80.0 | KA0136:21 | JB70 PANEL A | AF0087
AF0087:11 | KA013624 | WHT | 20 | 60.0 | KA0136:24 | JB70 PANEL A
AF0094:06 | UJ0131IOUT | WHT | 20 | 60.0 | UJ0131:IOUT | JB70 PANEL A | AF0094
AF0094:04 | UJ0131VIN | WHT | 20 | 60.0 | UJ0131:VIN | JB70 PANEL A
AF0094:07 | -0V | WHT | 20 | 100.0 | XT0082:5 | JB70 PANEL A
AF0094:05 | -0V | WHT | 20 | 100.0 | XT0082:5 | JB70 PANEL A
AU
AU0080:V+ | FU0081 | WHT | 16 | 60.0 | FU0081:LD | JB70 PANEL A | AU0080
AU0080:COM | -0V | WHT | 16 | 120.0 | XT0080:1 | JB70 PANEL A
AU0090:V+ | FU0090 | WHT | 16 | 120.0 | FU0090:LD | JB70 PANEL A | AU0090
AU0090:COM | -0V | WHT | 16 | 120.0 | XT0080:2 | JB70 PANEL A
FU
FU0080:LI | FU0137 | WHT | 12 | 60.0 | FU0137:LD | JB70 PANEL A | FU - FU
FU0081:LI | FU0080 | WHT | 14 | 60.0 | FU0080:LD | JB70 PANEL A
FU0388:LD | FU0388 | WHT | 16 | 60.0 | KA0138:14 | JB70 PANEL A | FU - KA
FU0011:LD | UJ0131P | WHT | 12 | 60.0 | UJ0131:+ | JB70 PANEL A | FU - UJ
FU0137:LI | FU0136 | WHT | 14 | 120.0 | XT0002:2 | JB70 PANEL A | FU - XT
FU0139:LD | FU0139 | WHT | 16 | 100.0 | XT0081:1 | JB70 PANEL A
FU0389:LD | FU0389 | WHT | 12 | 60.0 | XT0089:21 | JB70 PANEL A
KA
KA0137:24 | KA013112 | WHT | 20 | 60.0 | AF0087:09 | JB70 PANEL A | KA0137
KA0137:A1 | KA0137A1 | WHT | 20 | 60.0 | KT0145:18 | JB70 PANEL A
KA0131:11 | KA0135A1 | WHT | 20 | 60.0 | KA0135:A1 | JB70 PANEL A | KA0131
KA0131:12 | KA013112 | WHT | 20 | 60.0 | KA0137:24 | JB70 PANEL A
KA0131:A2 | KA0131A2 | WHT | 20 | 60.0 | KA0132:A2 | JB70 PANEL A
KA0132:21 | KA0138A1 | WHT | 20 | 60.0 | KA0138:A1 | JB70 PANEL A | KA0132
KA0132:24 | KA013224 | WHT | 20 | 60.0 | KA0134:14 | JB70 PANEL A
KA0132:22 | KA013222 | WHT | 20 | 60.0 | KT0141:18 | JB70 PANEL A
KA0132:A1 | KA0131A1 | WHT | 20 | 60.0 | KA0141:A1 | JB70 PANEL A
KA0132:A2 | KA0131A2 | WHT | 20 | 60.0 | KA0141:A2 | JB70 PANEL A
KA0136:14 | KA013821 | WHT | 20 | 60.0 | KA0138:21 | JB70 PANEL A | KA0136
KA0136:11 | FU0139 | WHT | 20 | 60.0 | KT0144:A1 | JB70 PANEL A
KA0136:A1 | PS32002 | WHT | 20 | 60.0 | XT0089:14 | JB70 PANEL A
KA0136:A2 | -0V | WHT | 20 | 60.0 | KA0138:A2 | JB70 PANEL A
KA0141:24 | KA014124 | WHT | 20 | 60.0 | KA0241:24 | JB70 PANEL A | KA0141
KA0141:A1 | KA0131A1 | WHT | 20 | 60.0 | KA0230:A1 | JB70 PANEL A
KA0141:A2 | KA0131A2 | WHT | 20 | 60.0 | KA0230:A2 | JB70 PANEL A
KA0231:24 | KA023124 | WHT | 20 | 60.0 | KA0245:21 | JB70 PANEL A | KA0231
KA0231:A1 | KA0131A1 | WHT | 20 | 60.0 | KA0232:A1 | JB70 PANEL A
KA0231:A2 | KA0131A2 | WHT | 20 | 60.0 | KA0232:A2 | JB70 PANEL A
KA0236:24 | KA024114 | WHT | 20 | 60.0 | KA0241:14 | JB70 PANEL A | KA0236
KA0236:21 | UA1200J21 | WHT | 20 | 60.0 | KA0241:11 | JB70 PANEL A
KA0236:11 | FU0139 | WHT | 20 | 60.0 | XT0081:5 | JB70 PANEL A
KA0236:A1 | ESTOP | WHT | 20 | 60.0 | KA0237:A1 | JB70 PANEL A
KA0236:A2 | -0V | WHT | 20 | 60.0 | KA0237:A2 | JB70 PANEL A
KA0239:22 | KA024224 | WHT | 20 | 60.0 | KA0242:24 | JB70 PANEL A | KA0239
KA0239:A1 | ESTOP | WHT | 20 | 60.0 | KA0240:A1 | JB70 PANEL A
KA0239:A2 | -0V | WHT | 20 | 60.0 | KA0240:A2 | JB70 PANEL A
KA0241:14 | KA024114 | WHT | 20 | 60.0 | KA0231:21 | JB70 PANEL A | KA0241
KA0241:11 | UA1200J21 | WHT | 20 | 60.0 | XT0089:20 | JB70 PANEL A
KA0241:A2 | -0V | WHT | 20 | 60.0 | KA0242:A2 | JB70 PANEL A
KA0241:A2 | -0V | WHT | 20 | 60.0 | XT0080:8 | JB70 PANEL A
KA0242:14 | KA0131A1 | WHT | 20 | 60.0 | KA0231:14 | JB70 PANEL A | KA - KA
KA0243:21 | KA024524 | WHT | 20 | 60.0 | KA0245:24 | JB70 PANEL A | KA0243
KA0243:24 | ESTOPD | WHT | 20 | 60.0 | XT0089:1 | JB70 PANEL A
KA0243:A2 | -0V | WHT | 20 | 60.0 | KA0244:A2 | JB70 PANEL A
KA0243:A2 | -0V | WHT | 20 | 60.0 | XT0080:7 | JB70 PANEL A
KA0133:11 | FU0139 | WHT | 20 | 60.0 | KT0144:A1 | JB70 PANEL A | KA0133
KA0133:A2 | -0V | WHT | 20 | 60.0 | KA0136:A2 | JB70 PANEL A
KA0133:A2 | -0V | WHT | 20 | 60.0 | KT0144:A2 | JB70 PANEL A
KA0138:24 | KT0144B1 | WHT | 20 | 60.0 | KT0144:B1 | JB70 PANEL A | KA0138
KA0138:11 | KM3170EP | WHT | 20 | 60.0 | XT0080:9 | JB70 PANEL A
KA0138:A2 | -0V | WHT | 20 | 60.0 | KT0143:A2 | JB70 PANEL A
KA0244:12 | KT0145A1 | WHT | 20 | 60.0 | KT0145:A1 | JB70 PANEL A | KA0244
KA0244:11 | FU0139 | WHT | 20 | 60.0 | XT0081:2 | JB70 PANEL A
KA0244:A2 | -0V | WHT | 20 | 60.0 | KA0245:A2 | JB70 PANEL A
KA0240:11 | PS32004 | WHT | 20 | 80.0 | XT0089:15 | JB70 PANEL A | KA0240
KA0240:14 | UF1300 | WHT | 20 | 60.0 | XT0084:1 | JB70 PANEL A
KA0240:A1 | ESTOP | WHT | 20 | 60.0 | KA0251:A1 | JB70 PANEL A
KA0240:A2 | -0V | WHT | 20 | 60.0 | KA0251:A2 | JB70 PANEL A
KA0130:A1 | KA0130A1 | WHT | 20 | 60.0 | KA0130:11 | JB70 PANEL A | KA0130
KA0130:A2 | UA1200J26 | WHT | 20 | 60.0 | UA1200:J2-6 | JB70 PANEL A
KA0230:A1 | KA0131A1 | WHT | 20 | 60.0 | KA0231:A1 | JB70 PANEL A | KA0230
KA0230:A2 | KA0131A2 | WHT | 20 | 60.0 | KA0231:A2 | JB70 PANEL A
KA0235:A1 | ESTOP | WHT | 20 | 60.0 | KA0236:A1 | JB70 PANEL A | KA0235
KA0235:A1 | ESTOP | WHT | 20 | 80.0 | XT0089:5 | JB70 PANEL A
KA0235:A2 | -0V | WHT | 20 | 60.0 | KA0236:A2 | JB70 PANEL A
KA0235:A2 | -0V | WHT | 20 | 60.0 | KA0242:A2 | JB70 PANEL A
KA0237:A1 | ESTOP | WHT | 20 | 60.0 | KA0239:A1 | JB70 PANEL A | KA0237
KA0237:A2 | -0V | WHT | 20 | 60.0 | KA0239:A2 | JB70 PANEL A
KA0135:A1 | KA0135A1 | WHT | 20 | 60.0 | XT0089:23 | JB70 PANEL A | KA0135
KA0135:A2 | -0V | WHT | 20 | 60.0 | KA0137:A2 | JB70 PANEL A
KA0135:A2 | -0V | WHT | 20 | 60.0 | KT0145:A2 | JB70 PANEL A
KA0245:A1 | KA9984C | WHT | 20 | 60.0 | XT0089:11 | JB70 PANEL A | KA:A1 - XT
KA0251:A1 | ESTOP | WHT | 20 | 80.0 | XT0089:6 | JB70 PANEL A
KA0134:A2 | -0V | WHT | 20 | 60.0 | KT0143:A2 | JB70 PANEL A | KA:A2 - KT
KT
KT0140:A1 | KT0140A1 | WHT | 20 | 60.0 | KT0143:16 | JB70 PANEL A | KT0140
KT0140:18 | KT0143A1 | WHT | 20 | 60.0 | KT0143:A1 | JB70 PANEL A
KT0140:16 | KT014115 | WHT | 20 | 60.0 | KT0141:15 | JB70 PANEL A
KT0140:A2 | -0V | WHT | 20 | 100.0 | XT0080:5 | JB70 PANEL A
KT0141:A1 | KT014315 | WHT | 20 | 60.0 | KT0143:15 | JB70 PANEL A | KT - KT
KT0142:A2 | -0V | WHT | 20 | 60.0 | KT0144:A2 | JB70 PANEL A | KT0142
KT0142:15 | FU0139 | WHT | 20 | 60.0 | KT0145:15 | JB70 PANEL A
KT0145:18 | KA0137A1 | WHT | 20 | 60.0 | KT0142:18 | JB70 PANEL A | KT0145
KT0145:A2 | -0V | WHT | 20 | 80.0 | XT0080:6 | JB70 PANEL A
UA
UA1200:J1-8 | UA1200J | WHT | 20 | 60.0 | UA1200:J3-5 | JB70 PANEL A | UA1200
UA1200:J1-9 | -0V | WHT | 14 | 60.0 | XT0089:22 | JB70 PANEL A
UA1200:J1-10 | FU0389 | WHT | 20 | 60.0 | XT0089:21 | JB70 PANEL A
UA1200:J2-2 | FU0389 | WHT | 20 | 60.0 | XT0089:21 | JB70 PANEL A
UA1200:J2-1 | UA1200J21 | WHT | 20 | 60.0 | XT0089:20 | JB70 PANEL A
UJ
UJ0131:- | 521NEG | WHT | 12 | 60.0 | XT0011:1 | JB70 PANEL A | UJ - XT
XT
XT0002:5 | FU0136 | WHT | 12 | 100.0 | XT0089:17 | JB70 PANEL A | XT - XT
XT0080:1 | -0V | WHT | 14 | 60.0 | XT0082:2 | JB70 PANEL A
XT0081:3 | FU0139 | WHT | 20 | 100.0 | XT0089:12 | JB70 PANEL A
XT0089:13 | FU0139 | WHT | 20 | 100.0 | XT0081:4 | JB70 PANEL A
XT0003:2 | -0V | WHT | 12 | 60.0 | XT0082:1 | JB70 PANEL A | XT0003
XT0003:5 | -0V | WHT | 14 | 100.0 | XT0089:19 | JB70 PANEL A
XT0082:4 | -0V | WHT | 12 | 100.0 | XT0089:22 | JB70 PANEL A | XT0082
XT0082:2 | -0V | WHT | 20 | 60.0 | XT0080:5 | JB70 PANEL A
AF
AF0095:02 | 009502 | WHT | 20 | 120.0 | KA0221:14 | JB70 PANEL B | AF - KA - JB70 PANEL B
AF0093:44 | 009344 | WHT | 20 | 120.0 | PC0470:+PWR | JB70 PANEL B | AF0093 - JB70 PANEL B
AF0093:28 | 009328 | WHT | 20 | 120.0 | PC0470:-PWR | JB70 PANEL B
AF0093:12 | 009312 | WHT | 20 | 120.0 | PC0470:INP_A | JB70 PANEL B
KA
KA0235:14 | KA023514 | WHT | 20 | 120.0 | AF0076:00 | JB70 PANEL B | KA0235 - JB70 PANEL B
KA0235:24 | 023524 | WHT | 20 | 120.0 | KA0221:11 | JB70 PANEL B
KA0237:14 | KA023714 | WHT | 20 | 120.0 | AF0076:01 | JB70 PANEL B | KA0237 - JB70 PANEL B
KA0237:24 | 023724 | WHT | 20 | 120.0 | KA0222:11 | JB70 PANEL B
KA0239:21 | FU0212 | WHT | 16 | 120.0 | FU0212:LI | JB70 PANEL B | KA - FU - JB70 PANEL B
KA0242:21 | KA024221 | WHT | 20 | 120.0 | XT0237:1 T2 | JB70 PANEL B | KA - XT - JB70 PANEL B
KA0134:A1 | KA0134A1 | WHT | 20 | 120.0 | AF0067:12 | JB70 PANEL B | KA:A1 - AF - JB70 PANEL B
KA6310:A1 | 006202 | WHT | 20 | 120.0 | AF0062:02 | JB70 PANEL B | KA6310 - JB70 PANEL B
KA6310:A2 | 006218 | WHT | 20 | 120.0 | AF0062:18 | JB70 PANEL B
KA0232:A1 | KA0131A1 | WHT | 20 | 120.0 | KA0233:A1 | JB70 PANEL B | KA0232 - JB70 PANEL B
KA0232:A2 | KA0131A2 | WHT | 20 | 120.0 | KA0233:A2 | JB70 PANEL B
KT
KT0146:A2 | KT0146A2 | WHT | 20 | 120.0 | AF0076:29 | JB70 PANEL B | KT0146 - JB70 PANEL B
KT0146:B1 | KT0146B1 | WHT | 20 | 120.0 | AF0076:13 | JB70 PANEL B
KT0146:15 | KT014615 | WHT | 20 | 120.0 | AF0076:10 | JB70 PANEL B
UA
UA1200:J1-4 | UA1200J14 | WHT | 20 | 120.0 | AF0076:11 | JB70 PANEL B | UA1200 - JB70 PANEL B
UA1200:J1-5 | UA1200J15 | WHT | 20 | 120.0 | XT0237:1 B1 | JB70 PANEL B
XT
XT0089:19 | -0V | WHT | 20 | 120.0 | AF0074:21 | JB70 PANEL B | XT0089 - JB70 PANEL B
XT0089:18 | 007405 | WHT | 20 | 120.0 | AF0074:05 | JB70 PANEL B
XT0089:8 | KA0131A1 | WHT | 20 | 120.0 | KA0234:A1 | JB70 PANEL B
XT0002:1 | FU0136 | WHT | 14 | 120.0 | FU0210:LI | JB70 PANEL B | XT0002 - JB70 PANEL B
XT0002:3 | FU0136 | WHT | 14 | 120.0 | FU0410:LI | JB70 PANEL B
XT0002:4 | FU0136 | WHT | 14 | 120.0 | FU0010:LI | JB70 PANEL B
XT0002:7 | FU0136 | WHT | 14 | 120.0 | XT0051:1 | JB70 PANEL B
XT0003:1 | -0V | WHT | 14 | 120.0 | XT0062:1 | JB70 PANEL B | XT0003 - JB70 PANEL B
XT0003:3 | -0V | WHT | 14 | 120.0 | XT0401:1 | JB70 PANEL B
XT0003:7 | -0V | WHT | 14 | 120.0 | XT0051:5 | JB70 PANEL B

## JB70 PANEL B
JB70 PANEL B
Project # | 4M576
Project Name | TRP-NWY
Revision | B.1
Controls DE | MADDI, A.
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | To Location | Bundle Name
KA0233:A1 | KA0131A1 | WHT | 20 | 60.0 | KA0234:A1 | JB70 PANEL B | KA0233:A1 / KA0131A1
KA0233:A2 | KA0131A2 | WHT | 20 | 60.0 | KA0234:A2 | JB70 PANEL B | KA0233:A2 / KA0131A2
AF
AF0066:V+ | AF0066P | WHT | 16 | 60.0 | AF0068:V+ | JB70 PANEL B | AF0066
AF0066:COM | AF0066N | WHT | 16 | 60.0 | AF0068:COM | JB70 PANEL B
AF0075:V+ | AF0075P | WHT | 16 | 60.0 | AF0077:V+ | JB70 PANEL B | AF0075
AF0075:COM | AF0075N | WHT | 16 | 60.0 | AF0077:COM | JB70 PANEL B
AF0410:56 | FU0410 | WHT | 16 | 60.0 | AF0420:55 | JB70 PANEL B | AF0410
AF0410:54 | -0V | WHT | 16 | 60.0 | AF0420:53 | JB70 PANEL B
AF0410:55 | FU0410 | WHT | 16 | 60.0 | FU0410:LD | JB70 PANEL B
AF0410:53 | -0V | WHT | 16 | 60.0 | XT0401:2 | JB70 PANEL B
AF0420:56 | FU0410 | WHT | 16 | 60.0 | AF0430:55 | JB70 PANEL B | AF0420
AF0420:54 | -0V | WHT | 16 | 60.0 | AF0430:53 | JB70 PANEL B
AF0430:56 | FU0410 | WHT | 16 | 60.0 | AF0450:55 | JB70 PANEL B | AF0430
AF0430:54 | -0V | WHT | 16 | 60.0 | AF0450:53 | JB70 PANEL B
AF0063:V+ | AU0060P | WHT | 16 | 60.0 | AU0060:V+ | JB70 PANEL B | AF0063
AF0063:COM | AU0060N | WHT | 16 | 60.0 | AU0060:COM | JB70 PANEL B
AF0061:V+ | FU0062 | WHT | 16 | 60.0 | FU0062:LD | JB70 PANEL B | AF0061
AF0061:14 | 006114 | WHT | 20 | 60.0 | KA0234:14 | JB70 PANEL B
AF0061:02 | 006102 | WHT | 20 | 60.0 | KA0233:14 | JB70 PANEL B
AF0061:COM | -0V | WHT | 16 | 60.0 | XT0060:2 | JB70 PANEL B
AF0062:V+ | FU0063 | WHT | 16 | 60.0 | FU0063:LD | JB70 PANEL B | AF0062
AF0062:00 | 006200 | WHT | 20 | 60.0 | KA0222:14 | JB70 PANEL B
AF0062:COM | -0V | WHT | 16 | 60.0 | XT0060:3 | JB70 PANEL B
AF0067:V+ | FU0064 | WHT | 16 | 60.0 | FU0064:LD | JB70 PANEL B | AF0067
AF0067:COM | -0V | WHT | 16 | 60.0 | XT0060:3 | JB70 PANEL B
AF0076:V+ | FU0076 | WHT | 16 | 60.0 | FU0076:LD | JB70 PANEL B | AF0076
AF0076:24 | KA1020A2 | WHT | 20 | 60.0 | KA1020:A2 | JB70 PANEL B
AF0076:20 | 007620 | WHT | 20 | 60.0 | KA0222:A2 | JB70 PANEL B
AF0076:19 | 007619 | WHT | 20 | 60.0 | KA0224:A2 | JB70 PANEL B
AF0076:18 | 007618 | WHT | 20 | 60.0 | KA0221:A2 | JB70 PANEL B
AF0076:08 | KA1020A1 | WHT | 20 | 60.0 | KA1020:A1 | JB70 PANEL B
AF0076:04 | 007604 | WHT | 20 | 60.0 | KA0222:A1 | JB70 PANEL B
AF0076:03 | 007603 | WHT | 20 | 60.0 | KA0224:A1 | JB70 PANEL B
AF0076:02 | 007602 | WHT | 20 | 60.0 | KA0221:A1 | JB70 PANEL B
AF0076:COM | -0V | WHT | 16 | 60.0 | XT0060:4 | JB70 PANEL B
AF0076:12 | 007612 | WHT | 20 | 60.0 | XT0237:1 B2 | JB70 PANEL B
AT
AT0680:NEG | -0V | WHT | 14 | 60.0 | XT0680:2 | JB70 PANEL B | AT0680
AT0680:POS | AT0680POS | WHT | 14 | 60.0 | XT0680:1 | JB70 PANEL B
AU
AU0060:V+ | FU0061 | WHT | 16 | 60.0 | FU0061:LD | JB70 PANEL B | AU0060
AU0060:COM | -0V | WHT | 16 | 60.0 | XT0060:2 | JB70 PANEL B
AU0070:V+ | FU0070 | WHT | 16 | 60.0 | FU0070:LD | JB70 PANEL B | AU0070
AU0070:COM | -0V | WHT | 16 | 60.0 | XT0060:4 | JB70 PANEL B
BA
BA0001:V1(+) | FU0021 | WHT | 16 | 60.0 | FU0021:LD | JB70 PANEL B | BA0001
BA0001:V1(-) | -0V | WHT | 16 | 60.0 | XT0051:5 | JB70 PANEL B
BA0002:V1(+) | FU0022 | WHT | 16 | 60.0 | FU0022:LD | JB70 PANEL B | BA0002
BA0002:V1(-) | -0V | WHT | 16 | 60.0 | XT0051:6 | JB70 PANEL B
BA0009:V1(+) | FU0029 | WHT | 16 | 60.0 | FU0029:LD | JB70 PANEL B | BA0009
BA0009:V1(-) | -0V | WHT | 16 | 60.0 | XT0051:7 | JB70 PANEL B
BA1100:POS | FU1101LD | WHT | 16 | 60.0 | FU1101:LD | JB70 PANEL B | BA - FU
FU
FU0060:LI | FU0210 | WHT | 12 | 60.0 | FU0210:LD | JB70 PANEL B | FU - FU
FU0061:LI | FU0060 | WHT | 14 | 60.0 | FU0060:LD | JB70 PANEL B
FU0115:LI | FU0210 | WHT | 12 | 60.0 | FU0212:LD | JB70 PANEL B
FU0100:LD | FU0100 | WHT | 16 | 60.0 | KA1020:14 | JB70 PANEL B | FU - KA
FU0021:LI | FU0136 | WHT | 16 | 60.0 | XT0051:1 | JB70 PANEL B | FU - XT
FU0022:LI | FU0136 | WHT | 16 | 60.0 | XT0051:2 | JB70 PANEL B
FU0029:LI | FU0136 | WHT | 16 | 60.0 | XT0051:3 | JB70 PANEL B
FU0680:LD | AT0680POS | WHT | 14 | 60.0 | XT0680:1 | JB70 PANEL B | FU0680
FU0680:LI | FU0136 | WHT | 14 | 60.0 | XT0051:4 | JB70 PANEL B
KA
KA0224:11 | KA022411 | WHT | 20 | 60.0 | XT0224:1 | JB70 PANEL B | KA0224
KA0224:14 | KA022414 | WHT | 20 | 60.0 | XT0224:2 | JB70 PANEL B
KA1020:24 | -0V | WHT | 16 | 60.0 | XT0062:2 | JB70 PANEL B | KA - XT
PC
PC0470:INP_A | 009312 | WHT | 20 | 60.0 | PC0470:INP_B | JB70 PANEL B | PC - PC
XT
XT0062:2 | -0V | WHT | 14 | 60.0 | XT0060:1 | JB70 PANEL B | XT - XT
XT0680:2 | -0V | WHT | 14 | 60.0 | XT0051:8 | JB70 PANEL B

## JB70 PLC
JB70 PLC
Project # | 4M576
Project Name | TRP-NWY
Revision | B.1
Controls DE | MADDI, A.
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | To Location | Bundle Name
UV
UV0600:(-) | -0V | WHT | 14 | 120.0 | XT0003:4 | JB70 PANEL A | UV - XT - JB70 PANEL A
UV
UV0600:(+) | FU0010 | WHT | 14 | 120.0 | FU0010:LD | JB70 PANEL B | UV - FU - JB70 PANEL B

## JB70 RIGHT RAIL
JB70 RIGHT RAIL
Project # | 4M576
Project Name | TRP-NWY
Revision | B.1
Controls DE | MADDI, A.
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | To Location | Bundle Name
FU
FU0291:LD | FU0291LD | WHT | 16 | 60.0 | UV0291:24V(+) | JB70 RIGHT RAIL | FU0291
FU0291:LI | FU0136 | WHT | 16 | 60.0 | XT0111:27 | JB70 RIGHT RAIL
UV
UV0291:24V(-) | -0V | WHT | 14 | 60.0 | XT0111:28 | JB70 RIGHT RAIL | UV0291
UV0291:OUT1(-) | UV0291NEG | WHT | 16 | 60.0 | XT0291:4 | JB70 RIGHT RAIL
UV0291:OUT1(+) | UV0291POS | WHT | 16 | 60.0 | XT0291:1 | JB70 RIGHT RAIL
XT
XT0111:20 | SB0472AB211 | WHT | 20 | 60.0 | XT0111:23 | JB70 RIGHT RAIL | XT - XT
SB
SB0472:B1-11 | ESTOPB | WHT | 20 | 120.0 | XT0111:19 | CONTROL,JB70;TT6 | SB0472 - CONTROL,JB70;TT6
SB0472:B2-12 | SB0472AB111 | WHT | 20 | 120.0 | XT0111:25 | CONTROL,JB70;TT6
SB0472:B1-12 | SB0472AB211 | WHT | 20 | 120.0 | XT0111:20 | CONTROL,JB70;TT6
SH
SH0470:X1 | SH0470X1 | WHT | 20 | 120.0 | XT0111:12 | CONTROL,JB70;TT6 | SH0470 - CONTROL,JB70;TT6
SH0470:X2 | SH0470X2 | WHT | 20 | 120.0 | XT0111:11 | CONTROL,JB70;TT6
SH0470:11 | SH047011 | WHT | 20 | 120.0 | XT0111:7 | CONTROL,JB70;TT6
SH0470:12 | SH047012 | WHT | 20 | 120.0 | XT0111:8 | CONTROL,JB70;TT6
SH0470:13 | SH047013 | WHT | 20 | 120.0 | XT0111:9 | CONTROL,JB70;TT6
SH0470:14 | SH047014 | WHT | 20 | 120.0 | XT0111:10 | CONTROL,JB70;TT6
SH0471:X1 | SH0471X1 | WHT | 20 | 120.0 | XT0111:6 | CONTROL,JB70;TT6 | SH0471 - CONTROL,JB70;TT6
SH0471:X2 | SH0471X2 | WHT | 20 | 120.0 | XT0111:5 | CONTROL,JB70;TT6
SH0471:11 | SH047111 | WHT | 20 | 120.0 | XT0111:1 | CONTROL,JB70;TT6
SH0471:12 | SH047112 | WHT | 20 | 120.0 | XT0111:2 | CONTROL,JB70;TT6
SH0471:13 | SH047113 | WHT | 20 | 120.0 | XT0111:3 | CONTROL,JB70;TT6
SH0471:14 | SH047114 | WHT | 20 | 120.0 | XT0111:4 | CONTROL,JB70;TT6
SH0472:13 | FU0139 | WHT | 20 | 120.0 | XT0111:15 | CONTROL,JB70;TT6 | SH0472 - CONTROL,JB70;TT6
SH0472:14 | KA0241A1 | WHT | 20 | 120.0 | XT0111:16 | CONTROL,JB70;TT6
SH0472:X1 | SH0472X1 | WHT | 20 | 120.0 | XT0111:18 | CONTROL,JB70;TT6
SH0472:X2 | SH0472X2 | WHT | 20 | 120.0 | XT0111:17 | CONTROL,JB70;TT6
SH0472:11 | SH047211 | WHT | 20 | 120.0 | XT0111:13 | CONTROL,JB70;TT6
SH0472:12 | SH047212 | WHT | 20 | 120.0 | XT0111:14 | CONTROL,JB70;TT6
SH1120:X1 | SH1120X1 | WHT | 20 | 120.0 | XT0111:34 | CONTROL,JB70;TT6 | SH1120 - CONTROL,JB70;TT6
SH1120:X2 | SH1120X2 | WHT | 20 | 120.0 | XT0111:33 | CONTROL,JB70;TT6
SH1120:11 | SH112011 | WHT | 20 | 120.0 | XT0111:31 | CONTROL,JB70;TT6
SH1120:12 | SH112012 | WHT | 20 | 120.0 | XT0111:32 | CONTROL,JB70;TT6
SH1120:13 | SH112013 | WHT | 20 | 120.0 | XT0111:29 | CONTROL,JB70;TT6
SH1120:14 | SH112014 | WHT | 20 | 120.0 | XT0111:30 | CONTROL,JB70;TT6
XT
XT0111:28 | -0V | WHT | 14 | 120.0 | AT1100:NEG | CONTROL,JB70;TT6 | XT - AT - CONTROL,JB70;TT6
XT
XT0111:22 | HA047201 | WHT | 20 | 120.0 | AF0092:28 | JB70 PANEL A | XT0111 - JB70 PANEL A
XT0111:21 | HA047202 | WHT | 20 | 120.0 | AF0092:12 | JB70 PANEL A
XT0111:26 | SB0472AB112 | WHT | 20 | 120.0 | AF0081:04 | JB70 PANEL A
XT0111:12 | SH0470X1 | WHT | 20 | 120.0 | AF0093:22 | JB70 PANEL A
XT0111:11 | SH0470X2 | WHT | 20 | 120.0 | AF0093:06 | JB70 PANEL A
XT0111:6 | SH0471X1 | WHT | 20 | 120.0 | AF0093:31 | JB70 PANEL A
XT0111:5 | SH0471X2 | WHT | 20 | 120.0 | AF0093:15 | JB70 PANEL A
XT0111:18 | SH0472X1 | WHT | 20 | 120.0 | AF0092:29 | JB70 PANEL A
XT0111:17 | SH0472X2 | WHT | 20 | 120.0 | AF0092:13 | JB70 PANEL A
XT0111:7 | SH047011 | WHT | 20 | 120.0 | AF0087:33 | JB70 PANEL A
XT0111:8 | SH047012 | WHT | 20 | 120.0 | AF0087:01 | JB70 PANEL A
XT0111:3 | SH047113 | WHT | 20 | 120.0 | AF0087:32 | JB70 PANEL A
XT0111:4 | SH047114 | WHT | 20 | 120.0 | AF0087:00 | JB70 PANEL A
XT0111:29 | SH112013 | WHT | 20 | 120.0 | AF0087:42 | JB70 PANEL A
XT0111:30 | SH112014 | WHT | 20 | 120.0 | AF0087:10 | JB70 PANEL A
XT0111:17 | SH0472X2 | WHT | 20 | 120.0 | KA0240:21 | JB70 PANEL A
XT0111:28 | -0V | WHT | 14 | 120.0 | XT0003:6 | JB70 PANEL A
XT0111:27 | FU0136 | WHT | 14 | 120.0 | XT0002:6 | JB70 PANEL A
XT0111:24 | ESTOPA | WHT | 20 | 120.0 | XT0089:4 | JB70 PANEL A
XT0111:19 | ESTOPB | WHT | 20 | 120.0 | XT0089:3 | JB70 PANEL A
XT0111:15 | FU0139 | WHT | 20 | 120.0 | XT0081:6 | JB70 PANEL A
XT0111:16 | KA0241A1 | WHT | 20 | 120.0 | XT0081:7 | JB70 PANEL A
XT
XT0111:34 | SH1120X1 | WHT | 20 | 120.0 | AF0076:21 | JB70 PANEL B | XT0111 - JB70 PANEL B
XT0111:33 | SH1120X2 | WHT | 20 | 120.0 | AF0076:05 | JB70 PANEL B
XT0111:27 | FU0136 | WHT | 16 | 120.0 | FU1100:LI | JB70 PANEL B
XT0291:6 | UV0291NEG | WHT | 16 | 120.0 | BA1100:NEG | JB70 PANEL B | XT0291 - JB70 PANEL B
XT0291:3 | UV0291POS | WHT | 16 | 120.0 | FU1101:LI | JB70 PANEL B

## JB73 HPC PANEL
JB73 HPC PANEL
Project # | 4M576
Project Name | TRP-NWY
Revision | B.1
Controls DE | MADDI, A.
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | To Location | Bundle Name
AF
AF0510:56 | FU0510 | WHT | 16 | 60.0 | AF0520:55 | JB73 HPC PANEL | AF0510
AF0510:54 | -0V | WHT | 16 | 60.0 | AF0520:53 | JB73 HPC PANEL
AF0510:55 | FU0510 | WHT | 16 | 60.0 | FU0510:LD | JB73 HPC PANEL
AF0510:53 | -0V | WHT | 16 | 60.0 | XT0510:2 | JB73 HPC PANEL
AF1202:V+ | AF1202P | WHT | 16 | 60.0 | AU1200:V+ | JB73 HPC PANEL | AF1202
AF1202:COM | AF1202N | WHT | 16 | 60.0 | AU1200:COM | JB73 HPC PANEL
AF1201:V+ | FU0121 | WHT | 16 | 60.0 | FU0121:LD | JB73 HPC PANEL | AF1201
AF1201:32 | 120132 | WHT | 20 | 60.0 | KA4401:22 | JB73 HPC PANEL
AF1201:16 | 120116 | WHT | 20 | 60.0 | KA7120:A2 | JB73 HPC PANEL
AF1201:00 | 120100 | WHT | 20 | 60.0 | KA0120:14 | JB73 HPC PANEL
AF1201:COM | -0V | WHT | 16 | 60.0 | XT0120:2 | JB73 HPC PANEL
AF1207:34 | PS44012 | WHT | 20 | 60.0 | KA4401:11 | JB73 HPC PANEL | AF1207
AF1207:18 | 120718 | WHT | 20 | 60.0 | KA4401:A2 | JB73 HPC PANEL
AF1207:02 | 120702 | WHT | 20 | 60.0 | KA4401:14 | JB73 HPC PANEL
AU
AU1200:V+ | FU0120 | WHT | 16 | 60.0 | FU0120:LD | JB73 HPC PANEL | AU1200
AU1200:COM | -0V | WHT | 16 | 60.0 | XT0120:2 | JB73 HPC PANEL
FU
FU0120:LI | FU0122 | WHT | 14 | 60.0 | FU0122:LD | JB73 HPC PANEL | FU - FU
FU0122:LI | FU0332 | WHT | 12 | 60.0 | XT0335:2 | JB73 HPC PANEL | FU - XT
FU0332:LD | FU0332 | WHT | 12 | 60.0 | XT0335:1 | JB73 HPC PANEL
FU0510:LI | FU0122 | WHT | 14 | 60.0 | XT0121:1 | JB73 HPC PANEL
KA
KA0120:11 | KA012011 | WHT | 20 | 60.0 | KA7120:A1 | JB73 HPC PANEL | KA0120
KA0120:12 | KA012012 | WHT | 20 | 60.0 | KA4401:21 | JB73 HPC PANEL
KA0120:A1 | KA0131A1 | WHT | 20 | 60.0 | XT0120:4 | JB73 HPC PANEL
KA0120:A2 | -0V | WHT | 20 | 60.0 | XT0120:3 | JB73 HPC PANEL
KA4401:11 | PS44012 | WHT | 20 | 60.0 | XT0120:5 | JB73 HPC PANEL | KA4401
KA4401:A1 | PS44013 | WHT | 20 | 60.0 | XT0120:6 | JB73 HPC PANEL
XT
XT0120:3 | -0V | WHT | 16 | 60.0 | XT0510:1 | JB73 HPC PANEL | XT - XT
XT0121:3 | -0V | WHT | 14 | 60.0 | XT0510:2 | JB73 HPC PANEL
XT0336:2 | -0V | WHT | 16 | 60.0 | XT0120:1 | JB73 HPC PANEL
SB
XT0121:6 | ESTOPA | WHT | 20 | 120.0 | SB0472A:B2-12 | CONTROL,JB73;TT6 | SB0472A - CONTROL,JB73;TT6
XT0121:7 | SB0472AB111 | WHT | 20 | 120.0 | SB0472A:B1-11 | CONTROL,JB73;TT6
XT0121:8 | SB0472AB112 | WHT | 20 | 120.0 | SB0472A:B1-12 | CONTROL,JB73;TT6
XT0121:5 | SB0472AB211 | WHT | 20 | 120.0 | SB0472A:B2-11 | CONTROL,JB73;TT6

## JB74 PANEL
JB74 PANEL
Project # | 4M576
Project Name | TRP-NWY
Revision | B.1
Controls DE | MADDI, A.
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | To Location | Bundle Name
KA0535:A1 | KA0131A1 | WHT | 20 | 60.0 | KA0536:A1 | JB74 PANEL | KA0535:A1 / KA0131A1
KA0535:A1 | KA0131A1 | WHT | 20 | 60.0 | XT0140:7 | JB74 PANEL
AF
AF0183:V+ | AF0183P | WHT | 16 | 60.0 | AF0185:V+ | JB74 PANEL | AF0183
AF0183:COM | AF0183N | WHT | 16 | 60.0 | AF0185:COM | JB74 PANEL
AF0183:21 | 018321 | WHT | 20 | 80.0 | KT0573:A2 | JB74 PANEL
AF0183:20 | 018320 | WHT | 20 | 80.0 | KT0572:A2 | JB74 PANEL
AF0183:05 | ZSC76412 | WHT | 20 | 60.0 | XT0572:6 | JB74 PANEL
AF0183:04 | ZSC76212 | WHT | 20 | 60.0 | XT0572:4 | JB74 PANEL
AF0142:V+ | AU0140P | WHT | 16 | 60.0 | AU0140:V+ | JB74 PANEL | AF0142
AF0142:COM | AU0140N | WHT | 16 | 60.0 | AU0140:COM | JB74 PANEL
AF0142:07 | ZSC76112 | WHT | 20 | 60.0 | XT0572:2 | JB74 PANEL
AF0182:V+ | AU0180P | WHT | 16 | 60.0 | AU0180:V+ | JB74 PANEL | AF0182
AF0182:COM | AU0180N | WHT | 16 | 60.0 | AU0180:COM | JB74 PANEL
AF0141:V+ | FU0141 | WHT | 16 | 60.0 | FU0141:LD | JB74 PANEL | AF0141
AF0141:36 | KA055111 | WHT | 20 | 60.0 | KA0551:11 | JB74 PANEL
AF0141:32 | KA055011 | WHT | 20 | 60.0 | KA0550:11 | JB74 PANEL
AF0141:14 | KA053111 | WHT | 20 | 60.0 | KA0531:11 | JB74 PANEL
AF0141:12 | KA055411 | WHT | 20 | 60.0 | KA0554:11 | JB74 PANEL
AF0141:04 | KA053221 | WHT | 20 | 60.0 | KA0532:21 | JB74 PANEL
AF0141:00 | KA053121 | WHT | 20 | 60.0 | KA0531:21 | JB74 PANEL
AF0141:COM | -0V | WHT | 16 | 60.0 | XT0140:2 | JB74 PANEL
AF0141:20 | SV76412 | WHT | 20 | 60.0 | XT0572:5 | JB74 PANEL
AF0141:16 | SV76212 | WHT | 20 | 60.0 | XT0572:3 | JB74 PANEL
AF0146:V+ | FU0142 | WHT | 16 | 60.0 | FU0142:LD | JB74 PANEL | AF0146
AF0146:COM | -0V | WHT | 16 | 60.0 | XT0140:3 | JB74 PANEL
AF0181:V+ | FU0181 | WHT | 16 | 60.0 | FU0181:LD | JB74 PANEL | AF0181
AF0181:COM | -0V | WHT | 16 | 60.0 | XT0140:4 | JB74 PANEL
AF0184:V+ | FU0182 | WHT | 16 | 60.0 | FU0182:LD | JB74 PANEL | AF0184
AF0184:21 | KA0554A2 | WHT | 20 | 80.0 | KA0554:A2 | JB74 PANEL
AF0184:18 | KA0551A2 | WHT | 20 | 60.0 | KA0551:A2 | JB74 PANEL
AF0184:16 | KA0550A2 | WHT | 20 | 60.0 | KA0550:A2 | JB74 PANEL
AF0184:05 | KA0554A1 | WHT | 20 | 60.0 | KA0554:A1 | JB74 PANEL
AF0184:02 | KA0551A1 | WHT | 20 | 60.0 | KA0551:A1 | JB74 PANEL
AF0184:00 | KA0550A1 | WHT | 20 | 60.0 | KA0550:A1 | JB74 PANEL
AF0184:COM | -0V | WHT | 16 | 60.0 | XT0140:5 | JB74 PANEL
AU
AU0140:V+ | FU0140 | WHT | 16 | 60.0 | FU0140:LD | JB74 PANEL | AU0140
AU0140:COM | -0V | WHT | 16 | 60.0 | XT0140:2 | JB74 PANEL
AU0180:V+ | FU0180 | WHT | 16 | 60.0 | FU0180:LD | JB74 PANEL | AU0180
AU0180:COM | -0V | WHT | 16 | 60.0 | XT0140:4 | JB74 PANEL
BA
BA1212:POS | FU1212LD | WHT | 16 | 60.0 | FU1212:LD | JB74 PANEL | BA1212
BA1212:NEG | UV0291NEG | WHT | 16 | 60.0 | XT0392:1 | JB74 PANEL
FU
FU0140:LI | FU0146 | WHT | 14 | 60.0 | FU0146:LD | JB74 PANEL | FU - FU
FU0143:LD | FU0143 | WHT | 16 | 60.0 | XT0140:9 | JB74 PANEL | FU - XT
FU1212:LI | UV0291POS | WHT | 16 | 60.0 | XT0392:2 | JB74 PANEL
KA
KA0531:24 | KA053124 | WHT | 20 | 60.0 | KA0540:A1 | JB74 PANEL | KA0531
KA0531:14 | SV76111 | WHT | 20 | 60.0 | XT0572:1 | JB74 PANEL
KA0531:A1 | ESTOP | WHT | 20 | 60.0 | KA0532:A1 | JB74 PANEL
KA0531:A1 | ESTOP | WHT | 20 | 60.0 | XT0140:8 | JB74 PANEL
KA0531:A2 | -0V | WHT | 20 | 60.0 | KA0532:A2 | JB74 PANEL
KA0531:A2 | -0V | WHT | 20 | 60.0 | KA0536:A2 | JB74 PANEL
KA0532:24 | KA053224 | WHT | 20 | 60.0 | KA0541:A1 | JB74 PANEL | KA0532
KA0532:A1 | ESTOP | WHT | 20 | 60.0 | KA0533:A1 | JB74 PANEL
KA0532:A2 | -0V | WHT | 20 | 60.0 | KA0533:A2 | JB74 PANEL
KA0535:11 | KA053511 | WHT | 20 | 60.0 | KA0554:14 | JB74 PANEL | KA0535
KA0535:14 | KA053514 | WHT | 20 | 60.0 | XT0573:1 B2 | JB74 PANEL
KA0535:A2 | -0V | WHT | 20 | 60.0 | KA0536:A2 | JB74 PANEL
KA0535:A2 | -0V | WHT | 20 | 60.0 | XT0140:6 | JB74 PANEL
KA0540:11 | KA054011 | WHT | 20 | 60.0 | KA0550:14 | JB74 PANEL | KA0540
KA0540:A2 | SV76212 | WHT | 20 | 60.0 | XT0572:3 | JB74 PANEL
KA0541:11 | KA054111 | WHT | 20 | 60.0 | KA0551:14 | JB74 PANEL | KA0541
KA0541:A2 | SV76412 | WHT | 20 | 60.0 | XT0572:5 | JB74 PANEL
KA0533:11 | FU0143 | WHT | 16 | 60.0 | XT0140:9 | JB74 PANEL | KA0533
KA0533:A1 | ESTOP | WHT | 20 | 60.0 | KA0534:A1 | JB74 PANEL
KA0533:A2 | -0V | WHT | 20 | 60.0 | KA0534:A2 | JB74 PANEL
KA0536:11 | KA053611 | WHT | 20 | 60.0 | XT0573:2 B1 | JB74 PANEL | KA0536
KA0536:12 | KA053612 | WHT | 20 | 60.0 | XT0573:1 T1 | JB74 PANEL
KA0534:A1 | ESTOP | WHT | 20 | 60.0 | KA0537:A1 | JB74 PANEL | KA0534
KA0534:A2 | -0V | WHT | 20 | 60.0 | KA0537:A2 | JB74 PANEL
KT
KT0573:15 | KA053312 | WHT | 20 | 60.0 | KA0533:12 | JB74 PANEL | KT0573
KT0573:16 | KT057316 | WHT | 20 | 60.0 | XT0573:2 T2 | JB74 PANEL
KT0573:A1 | ZSC76412 | WHT | 20 | 60.0 | XT0572:6 | JB74 PANEL
KT0572:16 | KT057216 | WHT | 20 | 60.0 | XT0573:2 B2 | JB74 PANEL | KT0572
KT0572:A1 | ZSC76212 | WHT | 20 | 60.0 | XT0572:4 | JB74 PANEL