## DOOR_S
CONTROL,JB70;TT6
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:NEG | -0V | WHT | 14 | 180 | XT0111:22 | JB70 R RAIL | AT1100
AT1100:POS | FU1100 | WHT | 14 | 140 | FU1100:LD | HMI
HL0171:X1 | HL0171X1 | WHT | 20 | 140 | XT0173:3 | FS CTRL | HL0171
HL0171:X2 | HL0171X2 | WHT | 20 | 140 | XT0173:1 | FS CTRL
HL0172:X1 | HL0172X1 | WHT | 20 | 140 | XT0173:6 | FS CTRL | HL0172
HL0172:X2 | HL0172X2 | WHT | 20 | 140 | XT0173:4 | FS CTRL
HL0173:X1 | HL0173X1 | WHT | 20 | 140 | XT0173:9 | FS CTRL | HL0173
HL0173:X2 | HL0173X2 | WHT | 20 | 140 | XT0173:7 | FS CTRL
SA0170:B1-13 | AT01754P1 | WHT | 20 | 180 | AT0175:4P1 | JB70 L RAIL | SA0170
SA0170:B1-14 | SA0170B114 | WHT | 20 | 180 | KA6510:A1 | JB70 L RAIL
SA0170:B2-13 | SA0170B213 | WHT | 20 | 140 | XT0173:10 | FS CTRL
SA0170:B2-14 | SA0170B214 | WHT | 20 | 140 | XT0173:11 | FS CTRL
SA0471:B1-13 | SA0471B113 | WHT | 20 | 240 | AF0087:40 | A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 240 | AF0087:08 | A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 240 | AF0087:39 | A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 240 | AF0087:07 | A
SA0473:11 | SA047311 | WHT | 20 | 240 | AF0087:37 | A | SA0473
SA0473:12 | SA047312 | WHT | 20 | 240 | AF0087:05 | A
SA0473:13 | SA047313 | WHT | 20 | 240 | AF0087:38 | A
SA0473:14 | SA047314 | WHT | 20 | 240 | AF0087:06 | A
SA0474:B1-13 | SA0474B113 | WHT | 20 | 240 | AF0087:45 | A | SA0474
SA0474:B1-14 | SA0474B114 | WHT | 20 | 240 | AF0087:13 | A
SA0474:B2-13 | SA0474B213 | WHT | 20 | 240 | AF0087:44 | A
SA0474:B2-14 | SA0474B214 | WHT | 20 | 240 | AF0087:12 | A
SB0170:13 | SB017013 | WHT | 20 | 140 | XT0173:12 | FS CTRL | SB0170
SB0170:14 | SB017014 | WHT | 20 | 140 | XT0173:13 | FS CTRL
SB0471:11 | SB047111 | WHT | 20 | 240 | AF0087:34 | A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 240 | AF0087:02 | A
SB0472:B1-12 | ESTOPA | WHT | 20 | 180 | XT0111:20 | JB70 R RAIL | SB0472
SB0472:B1-11 | ESTOPB | WHT | 20 | 180 | XT0111:19 | JB70 R RAIL
SB0472:B2-11 | SB0472B211 | WHT | 20 | 240 | AF0081:36 | A
SB0472:B2-12 | SB0472B212 | WHT | 20 | 240 | AF0081:04 | A
SB0473:13 | SB047313 | WHT | 20 | 240 | AF0087:35 | A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 240 | AF0087:03 | A
SB0474:13 | SB047413 | WHT | 20 | 240 | AF0087:36 | A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 240 | AF0087:04 | A
SH0470:11 | SH047011 | WHT | 20 | 180 | XT0111:7 | JB70 R RAIL | SH0470
SH0470:12 | SH047012 | WHT | 20 | 180 | XT0111:8 | JB70 R RAIL
SH0470:13 | SH047013 | WHT | 20 | 180 | XT0111:9 | JB70 R RAIL
SH0470:14 | SH047014 | WHT | 20 | 180 | XT0111:10 | JB70 R RAIL
SH0470:X1 | SH0470X1 | WHT | 20 | 180 | XT0111:12 | JB70 R RAIL
SH0470:X2 | SH0470X2 | WHT | 20 | 180 | XT0111:11 | JB70 R RAIL
SH0471:11 | SH047111 | WHT | 20 | 180 | XT0111:1 | JB70 R RAIL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 180 | XT0111:2 | JB70 R RAIL
SH0471:13 | SH047113 | WHT | 20 | 180 | XT0111:3 | JB70 R RAIL
SH0471:14 | SH047114 | WHT | 20 | 180 | XT0111:4 | JB70 R RAIL
SH0471:X1 | SH0471X1 | WHT | 20 | 180 | XT0111:6 | JB70 R RAIL
SH0471:X2 | SH0471X2 | WHT | 20 | 180 | XT0111:5 | JB70 R RAIL
SH0472:13 | FU0139 | WHT | 20 | 180 | XT0111:15 | JB70 R RAIL | SH0472
SH0472:14 | KA0241A1 | WHT | 20 | 180 | XT0111:16 | JB70 R RAIL
SH0472:11 | SH047211 | WHT | 20 | 180 | XT0111:13 | JB70 R RAIL
SH0472:12 | SH047212 | WHT | 20 | 180 | XT0111:14 | JB70 R RAIL
SH0472:X1 | SH0472X1 | WHT | 20 | 180 | XT0111:18 | JB70 R RAIL
SH0472:X2 | SH0472X2 | WHT | 20 | 180 | XT0111:17 | JB70 R RAIL

## JB70 L RAIL_S
F&G EDIO ONSK
JB70 LEFT RAIL
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0178:23 | AT017823 | WHT | 20 | 120 | XT0171:2 | JB70 L RAIL | AT
AT0178:24 | AT017824 | WHT | 20 | 120 | XT0171:3 | JB70 L RAIL
AT0178:20 | ZS61P | WHT | 16 | 120 | XT0290:1 | JB70 L RAIL
AT0178:21 | ZS61S | WHT | 16 | 120 | XT0290:2 | JB70 L RAIL
AT0176:4P1 | AT01764P1 | WHT | 14 | 60 | AT0178:1P1 | JB70 L RAIL
AT0176:5P1 | AT01765P1 | WHT | 14 | 60 | AT0178:2P1 | JB70 L RAIL
FU0172:LD | FU0172 | WHT | 16 | 60 | XT0170:5 | JB70 L RAIL | FU
FU0170:LD | FU0170 | WHT | 14 | 60 | XT0171:4 | JB70 L RAIL
FU0170:LI | FU0535 | WHT | 14 | 140 | XT0170:2 | JB70 L RAIL
FU0171:LI | FU0535 | WHT | 14 | 140 | XT0170:2 | JB70 L RAIL
FU0172:LI | FU0535 | WHT | 14 | 140 | XT0170:1 | JB70 L RAIL
FU0294:LI | FU0535 | WHT | 12 | 140 | XT0535:4 | JB70 L RAIL
FU0295:LI | FU0535 | WHT | 12 | 140 | XT0535:5 | JB70 L RAIL
FU0535:LD | FU0535 | WHT | 12 | 140 | XT0535:1 | JB70 L RAIL
KA0178:A1 | KA0178A1 | WHT | 20 | 120 | XT0171:1 | JB70 L RAIL | KA A1/A2
KA0172:A2 | -0V | WHT | 20 | 120 | XT0170:4 | JB70 L RAIL
KA0178:A2 | AT017824 | WHT | 20 | 120 | XT0171:3 | JB70 L RAIL
KA6510:A2 | KA6510A2 | WHT | 20 | 120 | AT0175:5P1 | JB70 L RAIL
KA6510:12 | KA651012 | WHT | 20 | 120 | AT0175:11 | JB70 L RAIL | KA
KA6510:22 | KA651022 | WHT | 20 | 120 | AT0176:17 | JB70 L RAIL
KA6511:11 | KA651111 | WHT | 20 | 120 | AT0176:11 | JB70 L RAIL
KA6511:22 | KA651122 | WHT | 20 | 120 | AT0176:14 | JB70 L RAIL
XT0170:3 | -0V | WHT | 14 | 60 | XT0171:5 | JB70 L RAIL | XT
XT0536:3 | -0V | WHT | 14 | 60 | XT0170:3 | JB70 L RAIL
XT0170:2 | FU0535 | WHT | 14 | 60 | XT0535:3 | JB70 L RAIL
KA0178:14 | FU0535 | WHT | 20 | 160 | KA0875:14 | A | KA-A
KA0178:11 | KA023212 | WHT | 20 | 160 | KA0232:12 | A
XT0170:1 | FU0535 | WHT | 20 | 160 | KA0875:14 | A | FU/XT-A
XT0536:1 | -0V | WHT | 12 | 160 | XT0003:7 | A
FU0535:LI | FU0136 | WHT | 12 | 240 | XT0002:7 | A
AT0175:17 | AT017517 | WHT | 20 | 140 | XT0173:2 | FS CTRL | AT-FS CTRL
AT0175:20 | AT017520 | WHT | 20 | 140 | XT0173:5 | FS CTRL
AT0175:23 | AT017523 | WHT | 20 | 140 | XT0173:8 | FS CTRL
AT0175:18 | HL0171X1 | WHT | 20 | 140 | XT0173:3 | FS CTRL
AT0175:21 | HL0172X1 | WHT | 20 | 140 | XT0173:6 | FS CTRL
AT0175:24 | HL0173X1 | WHT | 20 | 140 | XT0173:9 | FS CTRL
AT0175:2 | SB017013 | WHT | 20 | 140 | XT0173:12 | FS CTRL
AT0175:3 | SB017014 | WHT | 20 | 140 | XT0173:13 | FS CTRL
AT0175:2P1 | UV017010 | WHT | 14 | 200 | UV0170:10(-) | FS CTRL
AT0176:1P1 | UV017011 | WHT | 14 | 200 | UV0170:11(+) | FS CTRL
AT0176:2P1 | UV017012 | WHT | 14 | 200 | UV0170:12(-) | FS CTRL
AT0175:1P1 | UV01709 | WHT | 14 | 200 | UV0170:9(+) | FS CTRL
KA0172:A1 | AT017025 | WHT | 20 | 160 | AT0170:25 | FS CTRL | KA-FS CTRL
KA0174:A1 | AT017031 | WHT | 20 | 160 | AT0170:31 | FS CTRL
XT0170:5 | FU0172 | WHT | 20 | 200 | AT0170:30 | FS CTRL | FU/XT-FS CTRL
XT0170:5 | FU0172 | WHT | 20 | 200 | AT0170:24 | FS CTRL
XT0170:3 | -0V | WHT | 14 | 200 | UV0170:4(-) | FS CTRL
XT0170:3 | -0V | WHT | 14 | 200 | UV0170:2(-) | FS CTRL
XT0171:5 | -0V | WHT | 14 | 200 | XT0173:22 | FS CTRL
XT0171:4 | FU0170 | WHT | 14 | 200 | XT0173:21 | FS CTRL
FU0171:LD | FU0171 | WHT | 14 | 200 | UV0170:3(+) | FS CTRL
FU0171:LD | FU0171 | WHT | 14 | 200 | UV0170:1(+) | FS CTRL
XT0171:6 | LON1S2 | WHT | 14 | 200 | XT0173:20 | FS CTRL
AT0170:26 | KA0243A1 | WHT | 20 | 300 | KA0254:A1 | A | THRU RAIL(A)
AT0170:32 | KA0245A1 | WHT | 20 | 300 | KA0249:A1 | A

## JB70 R RAIL_S
JB70 RIGHT RAIL
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
XT0111:20 | ESTOPA | WHT | 20 | 160 | XT0089:4 | A | XT
XT0111:19 | ESTOPB | WHT | 20 | 160 | XT0089:3 | A
XT0111:15 | FU0139 | WHT | 20 | 160 | XT0081:6 | A
XT0111:24 | HA047201 | WHT | 20 | 160 | AF0092:28 | A
XT0111:24 | HA047201 | WHT | 20 | 160 | KA0875:A2 | A
XT0111:23 | HA047202 | WHT | 20 | 160 | KA0875:11 | A
XT0111:16 | KA0241A1 | WHT | 20 | 160 | XT0081:7 | A
XT0111:7 | SH047011 | WHT | 20 | 160 | AF0087:33 | A
XT0111:8 | SH047012 | WHT | 20 | 160 | AF0087:01 | A
XT0111:12 | SH0470X1 | WHT | 20 | 160 | AF0093:22 | A
XT0111:11 | SH0470X2 | WHT | 20 | 160 | AF0093:06 | A
XT0111:3 | SH047113 | WHT | 20 | 160 | AF0087:32 | A
XT0111:4 | SH047114 | WHT | 20 | 160 | AF0087:00 | A
XT0111:6 | SH0471X1 | WHT | 20 | 160 | AF0093:31 | A
XT0111:5 | SH0471X2 | WHT | 20 | 160 | AF0093:15 | A
XT0111:18 | SH0472X1 | WHT | 20 | 160 | AF0092:29 | A
XT0111:17 | SH0472X2 | WHT | 20 | 160 | AF0092:13 | A
XT0111:17 | SH0472X2 | WHT | 20 | 160 | KA0240:21 | A
XT0111:22 | -0V | WHT | 14 | 160 | XT0003:6 | A
XT0111:21 | FU0136 | WHT | 14 | 160 | XT0002:6 | A
XT0111:21 | FU0136 | WHT | 16 | 160 | FU1100:LI | HMI | XT-HMI
XT0291:7 | UV0291,0V | WHT | 14 | 100 | BA1100:NEG | HMI
XT0291:5 | UV0291,0V | WHT | 14 | 100 | UV0291:OUT1(-) | HMI
XT0291:1 | UV0291,24V | WHT | 14 | 100 | UV0291:OUT1(+) | HMI
XT0291:3 | UV0291,24V | WHT | 14 | 100 | FU1101:LI | HMI
Note on D38: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wires terminating to BA are usually only 16G/14G Was: 20G Changed to: 14G MRCA: 1991440

## FS CTRL_S
F&G PWR,ONSK
FS CTRL
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0170:11 | SA0170B213 | WHT | 20 | 60 | XT0173:10 | FS CTRL | AT
AT0170:12 | SA0170B214 | WHT | 20 | 60 | XT0173:11 | FS CTRL
AT0170:1 | UV01705 | WHT | 14 | 60 | UV0170:5(+) | FS CTRL
AT0170:2 | UV01706 | WHT | 14 | 60 | UV0170:6(-) | FS CTRL
AT0170:3 | UV01707 | WHT | 14 | 60 | UV0170:7(+) | FS CTRL
AT0170:4 | UV01708 | WHT | 14 | 60 | UV0170:8(-) | FS CTRL
UV0170:14(-) | LON0N | WHT | 16 | 60 | XT0173:24 | FS CTRL | UV
UV0170:13(+) | LON0P | WHT | 16 | 60 | XT0173:23 | FS CTRL
XT0173:22 | -0V | WHT | 14 | 60 | XT0173:15 | FS CTRL | XT
XT0173:21 | FU0170 | WHT | 14 | 60 | XT0173:14 | FS CTRL
XT0173:20 | LON1S2 | WHT | 14 | 60 | XT0173:16 | FS CTRL

## HMI-S PWR_S
HMI-S PWR
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
FU0291:LD | FU0291 | WHT | 16 | 60 | UV0291:24V(+) | HMI | FU/BA
BA1100:POS | FU1101LD | WHT | 16 | 60 | FU1101:LD | HMI
UV0291:24V(-) | -0V | WHT | 14 | 220 | XT0003:6 | A | FU/UV-A
FU0291:LI | FU0136 | WHT | 14 | 220 | XT0002:6 | A

## PLC_S
PLC
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0606:V1(+) | FU0606 | WHT | 16 | 60 | FU0606:LD | PLC | FU/BA
FU0010:LD | FU0010 | WHT | 14 | 60 | UV0600:(+) | PLC
UV0600:(-) | -0V | WHT | 14 | 80 | XT0003:4 | A | FU/UV-A
FU0010:LI | FU0136 | WHT | 14 | 80 | XT0002:4 | A
AT0680:NEG | -0V | WHT | 14 | 80 | XT0680:2 | B | AT-B
AT0680:POS | AT0680POS | WHT | 14 | 80 | XT0680:1 | B
BA0001:V1(-) | -0V | WHT | 16 | 80 | XT0051:5 | B | FU/BA-B
BA0002:V1(-) | -0V | WHT | 16 | 80 | XT0051:6 | B
BA0009:V1(-) | -0V | WHT | 16 | 80 | XT0051:7 | B
BA0606:V1(-) | -0V | WHT | 16 | 80 | XT0062:4 | B
BA0001:V1(+) | FU0021 | WHT | 16 | 80 | FU0021:LD | B
BA0002:V1(+) | FU0022 | WHT | 16 | 80 | FU0022:LD | B
BA0009:V1(+) | FU0029 | WHT | 16 | 80 | FU0029:LD | B
FU0606:LI | FU0115 | WHT | 16 | 80 | FU0115:LD | B

## A_S
CONTROL A
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0081:00 | UA1200J21 | WHT | 20 | 80 | XT0089:19 | A | AF/AU080s
AU0080:COM | -0V | WHT | 16 | 60 | XT0080:1 | A
AU0080:V+ | FU0081 | WHT | 16 | 60 | FU0081:LD | A
AF0094:05 | -0V | WHT | 20 | 60 | XT0082:5 | A | AF/AU090s
AF0094:07 | -0V | WHT | 20 | 60 | XT0082:5 | A
AF0092:COM | -0V | WHT | 16 | 80 | XT0080:2 | A
AF0093:COM | -0V | WHT | 16 | 80 | XT0080:3 | A
AF0095:COM | -0V | WHT | 16 | 80 | XT0080:4 | A
AU0090:COM | -0V | WHT | 16 | 60 | XT0080:2 | A
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | A
AF0091:V+ | AF0091P | WHT | 16 | 60 | AF0094:V+ | A
AU0090:V+ | FU0090 | WHT | 16 | 60 | FU0090:LD | A
AF0092:V+ | FU0091 | WHT | 16 | 60 | FU0091:LD | A
AF0093:V+ | FU0092 | WHT | 16 | 80 | FU0092:LD | A
AF0095:V+ | FU0093 | WHT | 16 | 80 | FU0093:LD | A
FU0139:LD | FU0139 | WHT | 16 | 60 | XT0081:1 | A | FU
FU0390:LD | FU0390 | WHT | 16 | 60 | XT0080:10 | A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0080:LD | A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0090:LI | A
FU0137:LI | FU0136 | WHT | 14 | 80 | XT0002:2 | A
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0137:LD | A
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0139:LI | A
FU0389:LD | FU0389 | WHT | 12 | 60 | XT0089:20 | A
KA0875:A1 | -009212 | WHT | 20 | 120 | AF0092:12 | A | KA A1
KA0235:A1 | ESTOP | WHT | 20 | 60 | XT0089:5 | A
KA0251:A1 | ESTOP | WHT | 20 | 60 | XT0089:6 | A
KA0130:A1 | KA0130A1 | WHT | 20 | 80 | AF0081:35 | A
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | KA0130:11 | A
KA0131:A1 | KA0131A1 | WHT | 20 | 60 | KA0242:14 | A
KA0132:A1 | KA0131A1 | WHT | 20 | 60 | KA0141:A1 | A
KA0255:A1 | KA0131A1 | WHT | 20 | 100 | XT0089:9 | A
KA0133:A1 | KA0133A1 | WHT | 20 | 120 | AF0092:02 | A
KA0134:A1 | KA0134A1 | WHT | 20 | 120 | AF0091:12 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 120 | XT0089:22 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 60 | KA0131:11 | A
KA0145:A1 | KA0135A1 | WHT | 20 | 100 | XT0089:22 | A
KA0138:A1 | KA0138A1 | WHT | 20 | 60 | KA0132:21 | A
KA0241:A1 | KA0241A1 | WHT | 20 | 120 | XT0081:7 | A
KA0243:A1 | KA0243A1 | WHT | 20 | 120 | XT0089:10 | A
KA0246:A1 | KA0243A1 | WHT | 20 | 100 | XT0089:10 | A
KA0245:A1 | KA0245A1 | WHT | 20 | 120 | XT0089:11 | A
KA0249:A1 | KA0245A1 | WHT | 20 | 100 | XT0089:11 | A
KA6212:A1 | KA024714 | WHT | 20 | 60 | KA0247:14 | A
KA2160:A1 | KA2160A1 | WHT | 20 | 120 | AF0092:04 | A
KA2161:A1 | KA2161A1 | WHT | 20 | 120 | AF0092:07 | A
KA3103:A1 | KA3103A1 | WHT | 20 | 120 | AF0092:08 | A
KA3220:A1 | KA3220A1 | WHT | 20 | 120 | AF0093:01 | A
KA6211:A1 | KA6211A1 | WHT | 20 | 60 | KA0246:14 | A
KA0136:A1 | PS32002 | WHT | 20 | 120 | XT0089:13 | A
KA6211:A2 | -009320 | WHT | 20 | 120 | AF0093:20 | A | KA A2
KA6212:A2 | -009329 | WHT | 20 | 120 | AF0093:29 | A
KA0133:A2 | -0V | WHT | 20 | 60 | KA0136:A2 | A
KA0133:A2 | -0V | WHT | 20 | 120 | KT0144:A2 | A
KA0134:A2 | -0V | WHT | 20 | 120 | KT0143:A2 | A
KA0135:A2 | -0V | WHT | 20 | 60 | KA0137:A2 | A
KA0135:A2 | -0V | WHT | 20 | 120 | KT0145:A2 | A
KA0136:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | A
KA0138:A2 | -0V | WHT | 20 | 120 | KT0143:A2 | A
KA0176:A2 | -0V | WHT | 20 | 80 | XT0080:7 | A
KA0179:A2 | -0V | WHT | 20 | 120 | KA0255:A2 | A
KA0235:A2 | -0V | WHT | 20 | 140 | KA0242:A2 | A
KA0241:A2 | -0V | WHT | 20 | 80 | XT0080:8 | A
KA0243:A2 | -0V | WHT | 20 | 100 | XT0080:7 | A
KA0131:A2 | KA0131A2 | WHT | 20 | 80 | AF0081:24 | A
KA0132:A2 | KA0131A2 | WHT | 20 | 60 | KA0141:A2 | A
KA2160:A2 | KA2160A2 | WHT | 20 | 120 | AF0092:20 | A
KA2161:A2 | KA2161A2 | WHT | 20 | 120 | AF0092:23 | A
KA3103:A2 | KA3103A2 | WHT | 20 | 120 | AF0092:24 | A
KA3220:A2 | KA3220A2 | WHT | 20 | 120 | AF0093:17 | A
KA0176:14 | -009336 | WHT | 20 | 60 | AF0093:36 | A | KA
KA0177:14 | -009345 | WHT | 20 | 60 | AF0093:45 | A
KA0239:22 | -023922 | WHT | 20 | 120 | KA0242:24 | A
KA0242:21 | -024221 | WHT | 20 | 120 | XT0237:1 T2 | A
KA0243:24 | ESTOPD | WHT | 20 | 120 | XT0089:1 | A
KA0132:11 | FU0139 | WHT | 20 | 120 | XT0081:1 | A
KA0137:21 | FU0139 | WHT | 20 | 60 | KA0244:11 | A
KA0236:11 | FU0139 | WHT | 20 | 60 | XT0081:5 | A
KA0244:11 | FU0139 | WHT | 20 | 120 | XT0081:2 | A
KA0255:21 | FU0139 | WHT | 20 | 120 | XT0081:3 | A
KA0232:11 | HA047202 | WHT | 20 | 60 | KA0875:11 | A
KA0130:14 | KA013014 | WHT | 20 | 60 | AF0081:03 | A
KA0130:24 | KA013021 | WHT | 20 | 120 | XT0130:1 | A
KA0130:21 | KA013024 | WHT | 20 | 120 | XT0130:2 | A
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | A
KA0137:24 | KA013112 | WHT | 20 | 60 | AF0087:09 | A
KA0131:14 | KA013114 | WHT | 20 | 100 | AF0092:06 | A
KA0242:14 | KA0131A1 | WHT | 20 | 60 | KA0231:14 | A
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | A
KA0136:21 | KA013621 | WHT | 20 | 60 | AF0087:43 | A
KA0136:24 | KA013624 | WHT | 20 | 60 | AF0087:11 | A
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | A
KA0141:11 | KA014111 | WHT | 20 | 100 | AF0091:39 | A
KA0141:14 | KA014114 | WHT | 20 | 100 | AF0091:07 | A
KA0141:24 | KA014124 | WHT | 20 | 60 | AF0081:40 | A
KA0141:24 | KA014124 | WHT | 20 | 60 | KA0241:24 | A
KA0176:11 | KA017611 | WHT | 20 | 60 | AF0093:04 | A
KA0176:11 | KA017611 | WHT | 20 | 100 | KA0246:11 | A
KA0145:22 | KA0176A1 | WHT | 20 | 120 | KA0176:A1 | A
KA0145:22 | KA0176A1 | WHT | 20 | 60 | KA0249:12 | A
KA0177:11 | KA017711 | WHT | 20 | 60 | AF0093:13 | A
KA0177:11 | KA017711 | WHT | 20 | 100 | KA0247:11 | A
KA0231:24 | KA023124 | WHT | 20 | 60 | KA0245:21 | A
KA0239:11 | KA023911 | WHT | 20 | 80 | AF0081:41 | A
KA0239:14 | KA023914 | WHT | 20 | 80 | AF0081:09 | A
KA0240:22 | KA024022 | WHT | 20 | 60 | AF0092:45 | A
KA0236:24 | KA024114 | WHT | 20 | 120 | KA0241:14 | A
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:21 | A
KA0243:11 | KA024311 | WHT | 20 | 80 | AF0081:33 | A
KA0243:14 | KA024314 | WHT | 20 | 80 | AF0081:01 | A
KA0245:11 | KA024511 | WHT | 20 | 80 | AF0081:34 | A
KA0245:14 | KA024514 | WHT | 20 | 80 | AF0081:02 | A
KA0243:21 | KA024524 | WHT | 20 | 60 | KA0245:24 | A
KA0145:21 | KA025522 | WHT | 20 | 60 | KA0249:11 | A
KA0145:21 | KA025522 | WHT | 20 | 60 | KA0255:22 | A
KA0138:11 | KM3170EP | WHT | 20 | 80 | XT0080:9 | A
KA0242:11 | KT014618 | WHT | 20 | 60 | KA0231:11 | A
KA0141:21 | KT0146A1 | WHT | 20 | 60 | KA0241:21 | A
KA0240:11 | PS32004 | WHT | 20 | 60 | XT0089:14 | A
KA0236:21 | UA1200J21 | WHT | 20 | 120 | KA0241:11 | A
KA0241:11 | UA1200J21 | WHT | 20 | 120 | XT0089:19 | A
KA0240:14 | UF1300 | WHT | 20 | 60 | XT0084:1 | A
KA0239:21 | FU0212 | WHT | 16 | 60 | FU0212:LD | A
KA0138:14 | FU0388 | WHT | 16 | 100 | FU0388:LD | A
KT0140:A2 | -0V | WHT | 20 | 80 | XT0080:5 | A | KT L/S
KT0142:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | A
KT0145:A2 | -0V | WHT | 20 | 80 | XT0080:6 | A
KT0141:18 | KA013222 | WHT | 20 | 100 | KA0132:22 | A
KT0141:18 | KA013222 | WHT | 20 | 120 | KA0137:14 | A
KT0144:18 | KA013222 | WHT | 20 | 120 | KA0137:14 | A
KT0145:18 | KA0137A1 | WHT | 20 | 120 | KA0137:A1 | A
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KT0142:18 | A
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | A
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | A
KT0146:18 | KT014618 | WHT | 20 | 80 | AF0081:08 | A
KT0146:18 | KT014618 | WHT | 20 | 120 | KA0242:11 | A
KT0140:15 | FU0139 | WHT | 20 | 100 | KA0137:11 | A | KT R/S
KT0142:15 | FU0139 | WHT | 20 | 100 | KA0137:21 | A
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0145:15 | A
KT0144:15 | FU0139 | WHT | 20 | 100 | KA0134:11 | A
KT0144:15 | FU0139 | WHT | 20 | 100 | KA0137:11 | A
KT0144:A1 | FU0139 | WHT | 20 | 100 | KA0133:11 | A
KT0144:A1 | FU0139 | WHT | 20 | 100 | KA0136:11 | A
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | A
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0143:15 | A
KT0142:A1 | KT014315 | WHT | 20 | 100 | KA0132:12 | A
KT0144:B1 | KT0144B1 | WHT | 20 | 100 | KA0138:24 | A
KT0145:A1 | KT0145A1 | WHT | 20 | 120 | KA0244:12 | A
KT0146:A1 | KT0146A1 | WHT | 20 | 120 | KA0141:21 | A
UA1200:J1-9 | -0V | WHT | 20 | 140 | XT0089:21 | A | UA
UA1200:J1-10 | FU0389 | WHT | 20 | 140 | XT0089:20 | A
UA1200:J2-2 | FU0389 | WHT | 20 | 140 | XT0089:20 | A
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | A
UA1200:J1-5 | UA1200J15 | WHT | 20 | 140 | XT0237:1 B1 | A
UA1200:J2-1 | UA1200J21 | WHT | 20 | 140 | XT0089:19 | A
UA1200:J2-6 | UA1200J26 | WHT | 20 | 60 | KA0130:A2 | A
UA1200:J2-7 | UA1200J27 | WHT | 20 | 100 | AF0081:19 | A
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 60 | AF0094:06 | A | UJ
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0091:41 | A
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0091:09 | A
UJ0131:VIN | UJ0131VIN | WHT | 20 | 60 | AF0094:04 | A
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | A
XT0080:5 | -0V | WHT | 20 | 80 | XT0089:18 | A | XT
XT0082:2 | -0V | WHT | 20 | 80 | XT0080:5 | A
XT0081:1 | FU0139 | WHT | 20 | 60 | XT0089:16 | A
XT0089:12 | FU0139 | WHT | 20 | 60 | XT0081:4 | A
XT0080:12 | -0V | WHT | 16 | 80 | XT0082:6 | A
XT0082:4 | -0V | WHT | 16 | 60 | XT0089:21 | A
XT0080:1 | -0V | WHT | 14 | 80 | XT0082:2 | A
XT0003:2 | -0V | WHT | 12 | 60 | XT0082:1 | A
AF0093:12 | -009312 | WHT | 20 | 160 | PC0470:INP_A | B | AF-B
AF0093:28 | -009328 | WHT | 20 | 160 | PC0470:-PWR | B
AF0093:44 | -009344 | WHT | 20 | 160 | PC0470:+PWR | B
AF0095:02 | -009502 | WHT | 20 | 160 | KA0221:14 | B
KA0232:A1 | KA0131A1 | WHT | 20 | 160 | KA0233:A1 | B | KA-B
KA0134:A1 | KA0134A1 | WHT | 20 | 160 | AF0067:12 | B
KA0232:A2 | KA0131A2 | WHT | 20 | 160 | KA0233:A2 | B
KA0235:24 | -023524 | WHT | 20 | 160 | KA0221:11 | B
KA0237:24 | -023724 | WHT | 20 | 160 | KA0222:11 | B
KA0235:14 | KA023514 | WHT | 20 | 160 | AF0076:00 | B
KA0237:14 | KA023714 | WHT | 20 | 160 | AF0076:01 | B
KT0146:A2 | KT0146A2 | WHT | 20 | 160 | AF0076:29 | B | KT-B
KT0146:15 | KT014615 | WHT | 20 | 160 | AF0076:10 | B
KT0146:B1 | KT0146B1 | WHT | 20 | 160 | AF0076:13 | B
UA1200:J1-4 | UA1200J14 | WHT | 20 | 180 | AF0076:11 | B | UA-B
XT0089:17 | -007405 | WHT | 20 | 160 | AF0074:05 | B | XT-B
XT0237:1 B2 | -007612 | WHT | 20 | 160 | AF0076:12 | B
XT0089:18 | -0V | WHT | 20 | 160 | AF0074:21 | B
XT0089:8 | KA0131A1 | WHT | 20 | 160 | KA0234:A1 | B
XT0003:3 | -0V | WHT | 14 | 160 | XT0401:1 | B
XT0003:7 | -0V | WHT | 14 | 160 | XT0051:5 | B
XT0002:1 | FU0136 | WHT | 14 | 160 | FU0210:LI | B
XT0002:3 | FU0136 | WHT | 14 | 160 | FU0410:LI | B
XT0002:7 | FU0136 | WHT | 14 | 160 | XT0051:1 | B
XT0003:1 | -0V | WHT | 12 | 160 | XT0062:1 | B
FU0212:LI | FU0210 | WHT | 12 | 160 | FU0115:LI | B

## B_S
CONTROL B
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0061:COM | -0V | WHT | 16 | 60 | XT0060:2 | B | AF/AU060s
AF0062:COM | -0V | WHT | 16 | 60 | XT0060:3 | B
AF0067:COM | -0V | WHT | 16 | 60 | XT0060:3 | B
AU0060:COM | -0V | WHT | 16 | 60 | XT0060:2 | B
AF0066:COM | AF0066N | WHT | 16 | 60 | AF0068:COM | B
AF0066:V+ | AF0066P | WHT | 16 | 60 | AF0068:V+ | B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | B
AU0060:V+ | FU0061 | WHT | 16 | 80 | FU0061:LD | B
AF0061:V+ | FU0062 | WHT | 16 | 80 | FU0062:LD | B
AF0062:V+ | FU0063 | WHT | 16 | 80 | FU0063:LD | B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | B
AF0076:COM | -0V | WHT | 16 | 60 | XT0060:4 | B | AF/AU070s
AF0075:COM | AF0075N | WHT | 16 | 60 | AF0077:COM | B
AF0075:V+ | AF0075P | WHT | 16 | 60 | AF0077:V+ | B
AF0076:V+ | FU0076 | WHT | 16 | 60 | FU0076:LD | B
AF0271:COM | -0V | WHT | 16 | 60 | XT0270:2 | B | AF/AU270s
AF0272:COM | -0V | WHT | 16 | 60 | XT0270:2 | B
AU0070:COM | -0V | WHT | 16 | 60 | XT0060:4 | B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | B
AU0270:V+ | FU0270 | WHT | 16 | 60 | FU0270:LD | B
AF0271:V+ | FU0271 | WHT | 16 | 60 | FU0271:LD | B
AF0272:V+ | FU0272 | WHT | 16 | 60 | FU0272:LD | B
AU0270:COM | -0V | WHT | 14 | 60 | XT0270:1 | B
AF0410:53 | -0V | WHT | 16 | 60 | XT0401:2 | B | 1444s
AF0410:54 | -0V | WHT | 16 | 60 | AF0420:53 | B
AF0420:54 | -0V | WHT | 16 | 60 | AF0430:53 | B
AF0430:54 | -0V | WHT | 16 | 60 | AF0450:53 | B
AF0410:55 | FU0410 | WHT | 16 | 60 | FU0410:LD | B
AF0410:56 | FU0410 | WHT | 16 | 60 | AF0420:55 | B
AF0420:56 | FU0410 | WHT | 16 | 60 | AF0430:55 | B
AF0430:56 | FU0410 | WHT | 16 | 60 | AF0450:55 | B
FU0021:LI | FU0136 | WHT | 16 | 60 | XT0051:1 | B | FU
FU0022:LI | FU0136 | WHT | 16 | 60 | XT0051:2 | B
FU0029:LI | FU0136 | WHT | 16 | 60 | XT0051:3 | B
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | B
FU0061:LI | FU0060 | WHT | 14 | 80 | FU0060:LD | B
FU0064:LI | FU0060 | WHT | 14 | 80 | FU0070:LI | B
FU0270:LI | FU0114 | WHT | 14 | 60 | FU0114:LD | B
FU0680:LI | FU0136 | WHT | 14 | 60 | XT0051:4 | B
FU0060:LI | FU0210 | WHT | 12 | 60 | FU0100:LI | B
FU0060:LI | FU0210 | WHT | 12 | 60 | FU0210:LD | B
KA0221:A1 | -007602 | WHT | 20 | 120 | AF0076:02 | B | KA A1/A2
KA0222:A1 | -007604 | WHT | 20 | 120 | AF0076:04 | B
KA1020:A1 | KA1020A1 | WHT | 20 | 120 | AF0076:08 | B
KA0221:A2 | -007618 | WHT | 20 | 120 | AF0076:18 | B
KA0222:A2 | -007620 | WHT | 20 | 120 | AF0076:20 | B
KA1020:A2 | KA1020A2 | WHT | 20 | 120 | AF0076:24 | B
KA0233:14 | -006102 | WHT | 20 | 80 | AF0061:02 | B | KA
KA0234:14 | -006114 | WHT | 20 | 80 | AF0061:14 | B
KA0222:14 | -006200 | WHT | 20 | 80 | AF0062:00 | B
KA1020:14 | FU0100 | WHT | 16 | 60 | FU0100:LD | B
KA1020:24 | -0V | WHT | 14 | 60 | XT0062:2 | B
XT0062:2 | -0V | WHT | 14 | 60 | XT0060:1 | B | XT
XT0062:3 | -0V | WHT | 14 | 60 | XT0270:1 | B
XT0680:2 | -0V | WHT | 14 | 60 | XT0051:8 | B

## HPC_S
HPC CTRL
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0510:53 | -0V | WHT | 16 | 60 | XT0510:2 | HPC | 1444s
AF0510:54 | -0V | WHT | 16 | 60 | AF0520:53 | HPC
AF0510:55 | FU0510 | WHT | 16 | 60 | FU0510:LD | HPC
AF0510:56 | FU0510 | WHT | 16 | 60 | AF0520:55 | HPC
AF1201:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC | AF/AU1200s
AU1200:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC
AF1202:COM | AF1202N | WHT | 16 | 60 | AU1200:COM | HPC
AF1202:V+ | AF1202P | WHT | 16 | 60 | AU1200:V+ | HPC
AF1206:COM | AF1207N | WHT | 16 | 60 | AF1207:COM | HPC
AF1206:V+ | AF1207P | WHT | 16 | 60 | AF1207:V+ | HPC
AU1200:V+ | FU0120 | WHT | 16 | 100 | FU0120:LD | HPC
AF1201:V+ | FU0121 | WHT | 16 | 100 | FU0121:LD | HPC
FU0120:LI | FU0122 | WHT | 14 | 60 | FU0122:LD | HPC | FU
FU0121:LI | FU0122 | WHT | 14 | 60 | FU0510:LI | HPC
FU0510:LI | FU0122 | WHT | 14 | 60 | XT0121:1 | HPC
FU0122:LI | FU0332 | WHT | 12 | 60 | XT0335:2 | HPC
FU0332:LD | FU0332 | WHT | 12 | 60 | XT0335:1 | HPC
KA0120:A1 | KA0131A1 | WHT | 20 | 60 | XT0120:4 | HPC | KA
KA0120:A2 | -0V | WHT | 20 | 60 | XT0120:3 | HPC
KA4401:A2 | -120718 | WHT | 20 | 80 | AF1207:18 | HPC
KA4401:14 | -120702 | WHT | 20 | 80 | AF1207:02 | HPC
KA4401:11 | PS44012 | WHT | 20 | 80 | AF1207:34 | HPC
KA4401:11 | PS44012 | WHT | 20 | 60 | XT0120:5 | HPC
XT0121:3 | -0V | WHT | 14 | 80 | XT0510:2 | HPC | XT
XT0510:1 | -0V | WHT | 14 | 80 | XT0120:3 | HPC
XT0336:2 | -0V | WHT | 12 | 60 | XT0120:1 | HPC

## VFD_S
FO CONV,VFD
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0005:V1(-) | -0V | WHT | 16 | 60 | XT1123:2 | VFD | FU/BA
BA0006:V1(-) | -0V | WHT | 16 | 60 | XT1123:2 | VFD
BA0005:V1(+) | FU1123 | WHT | 16 | 60 | FU1123:LD | VFD
BA0006:V1(+) | FU1124 | WHT | 16 | 60 | FU1124:LD | VFD
FU1123:LI | FU0136 | WHT | 16 | 60 | XT1123:1 | VFD
FU1124:LI | FU0136 | WHT | 16 | 60 | XT1123:1 | VFD

## JB74 R RAIL_S
JB74, RIGHT SIDE RAIL
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0007:V1(-) | -0V | WHT | 20 | 60 | XT0007:2 | JB74 R RAIL | BA
BA0008:V1(-) | -0V | WHT | 20 | 60 | XT0007:2 | JB74 R RAIL
BA1212:NEG | UV0291,0V | WHT | 20 | 60 | XT0392:2 | JB74 R RAIL
BA1212:POS | FU1212 | WHT | 16 | 60 | FU1212:LD | JB74 R RAIL
KA0542:A2 | SV74822 | WHT | 20 | 60 | XT0572:8 | JB74 R RAIL | XT
KA0574:A1 | ZSC74812 | WHT | 20 | 60 | XT0572:7 | JB74 R RAIL
KA0542:14 | KA054214 | WHT | 20 | 60 | XT0573:4 B2 | JB74 R RAIL
KA0574:12 | KA057412 | WHT | 20 | 60 | XT0573:1 T2 | JB74 R RAIL
KT0580:16 | KT058016 | WHT | 20 | 60 | XT0573:4 T2 | JB74 R RAIL | KT
KT0580:B1 | KA013024 | WHT | 20 | 60 | XT0580:1 | JB74 R RAIL
KT0580:A1 | FU0143 | WHT | 16 | 60 | XT0140:9 | JB74 R RAIL
XT0007:2 | -0V | WHT | 20 | 60 | XT0140:6 | JB74 R RAIL | FU/XT
XT0573:1 B1 | XT0573B1 | WHT | 20 | 60 | XT0573:3 T1 | JB74 R RAIL
FU1212:LI | UV0291,24V | WHT | 16 | 60 | XT0392:1 | JB74 R RAIL
BA0007:V1(+) | FU0027 | WHT | 16 | 120 | FU0027:LD | BOP | BA-BOP
BA0008:V1(+) | FU0028 | WHT | 16 | 120 | FU0028:LD | BOP
KA0574:A2 | -018326 | WHT | 20 | 120 | AF0183:26 | BOP | KA-BOP
KA0542:A1 | KA053411 | WHT | 20 | 120 | KA0534:11 | BOP
KA0574:11 | KA053312 | WHT | 20 | 120 | KA0572:11 | BOP
KA0542:11 | KA055711 | WHT | 20 | 120 | KA0557:11 | BOP
KT0580:A2 | -0V | WHT | 20 | 120 | KA0537:A2 | BOP | KT-BOP
KT0580:15 | KA053312 | WHT | 20 | 120 | KA0533:12 | BOP
XT0140:6 | -0V | WHT | 20 | 120 | KA0535:A2 | BOP | XT-BOP
XT0140:8 | ESTOP | WHT | 20 | 120 | KA0531:A1 | BOP
XT0580:2 | KA013021 | WHT | 20 | 120 | KA0533:14 | BOP
XT0140:7 | KA0131A1 | WHT | 20 | 120 | KA0535:A1 | BOP
XT0573:2 B2 | KA053514 | WHT | 20 | 120 | KA0535:14 | BOP
XT0573:3 B1 | KA053611 | WHT | 20 | 120 | KA0536:11 | BOP
XT0573:2 T1 | KA053612 | WHT | 20 | 120 | KA0536:12 | BOP
XT0573:3 B2 | KA057212 | WHT | 20 | 120 | KA0572:12 | BOP
XT0573:1 B2 | KA057312 | WHT | 20 | 120 | KA0573:12 | BOP
XT0572:8 | SV74822 | WHT | 20 | 120 | AF0181:30 | BOP
XT0572:1 | SV76111 | WHT | 20 | 120 | KA0531:14 | BOP
XT0572:3 | SV76212 | WHT | 20 | 120 | AF0141:16 | BOP
XT0572:3 | SV76212 | WHT | 20 | 120 | KA0540:A2 | BOP
XT0572:5 | SV76412 | WHT | 20 | 120 | AF0141:20 | BOP
XT0572:5 | SV76412 | WHT | 20 | 120 | KA0541:A2 | BOP
XT0572:7 | ZSC74812 | WHT | 20 | 120 | AF0183:10 | BOP
XT0572:2 | ZSC76112 | WHT | 20 | 120 | AF0142:07 | BOP
XT0572:4 | ZSC76212 | WHT | 20 | 120 | AF0183:04 | BOP
XT0572:4 | ZSC76212 | WHT | 20 | 120 | KA0572:A1 | BOP
XT0572:6 | ZSC76412 | WHT | 20 | 120 | AF0183:05 | BOP
XT0572:6 | ZSC76412 | WHT | 20 | 120 | KA0573:A1 | BOP
XT0140:2 | -0V | WHT | 16 | 140 | AF0141:COM | BOP
XT0140:2 | -0V | WHT | 16 | 140 | AU0140:COM | BOP
XT0140:3 | -0V | WHT | 16 | 140 | AF0146:COM | BOP
XT0140:4 | -0V | WHT | 16 | 140 | AF0181:COM | BOP
XT0140:4 | -0V | WHT | 16 | 140 | AU0180:COM | BOP
XT0140:5 | -0V | WHT | 16 | 140 | AF0184:COM | BOP
XT0140:9 | FU0143 | WHT | 16 | 140 | KA0533:11 | BOP
XT0140:9 | FU0143 | WHT | 16 | 140 | FU0143:LD | BOP
XT0007:1 | FU0183 | WHT | 16 | 140 | FU0028:LI | BOP
XT0007:1 | FU0183 | WHT | 16 | 140 | FU0183:LD | BOP
XT0007:1 | FU0183 | WHT | 16 | 140 | FU0027:LI | BOP

## BOP CTRL_S
BOP CTRL
Project # | 4M582
Project Name | TRANSPORTADORA DE GAS DEL SUR SA^GPM GAS PIPELINE EXPANSION^DOBLAS
Revision | A
Controls DE | TRINH, J.
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0142:COM | AU0140N | WHT | 16 | 60 | AU0140:COM | BOP | AF/AU140s
AF0142:V+ | AU0140P | WHT | 16 | 60 | AU0140:V+ | BOP
AU0140:V+ | FU0140 | WHT | 16 | 60 | FU0140:LD | BOP
AF0141:V+ | FU0141 | WHT | 16 | 60 | FU0141:LD | BOP
AF0146:V+ | FU0142 | WHT | 16 | 60 | FU0142:LD | BOP
AF0183:COM | AF0183N | WHT | 16 | 60 | AF0185:COM | BOP | AF/AU180s
AF0183:V+ | AF0183P | WHT | 16 | 60 | AF0185:V+ | BOP
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | BOP
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | BOP
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | BOP
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | BOP
AF0184:V+ | FU0182 | WHT | 16 | 60 | FU0182:LD | BOP
FU0140:LI | FU0146 | WHT | 14 | 60 | FU0146:LD | BOP | FU
FU0143:LI | FU0146 | WHT | 14 | 60 | FU0180:LI | BOP
KA0550:A1 | -018400 | WHT | 20 | 80 | AF0184:00 | BOP | KA A1
KA0557:A1 | -018404 | WHT | 20 | 80 | AF0184:04 | BOP
KA0534:A1 | ESTOP | WHT | 20 | 60 | KA0537:A1 | BOP
KA0540:A1 | KA053124 | WHT | 20 | 60 | KA0531:24 | BOP
KA0541:A1 | KA053224 | WHT | 20 | 60 | KA0532:24 | BOP
KA0551:A1 | KA0551A1 | WHT | 20 | 80 | AF0184:02 | BOP
KA0554:A1 | KA0554A2 | WHT | 20 | 80 | AF0184:05 | BOP
KA7901:A1 | KA7901A1 | WHT | 20 | 80 | AF0186:00 | BOP
KA7902:A1 | KA7902A1 | WHT | 20 | 80 | AF0186:01 | BOP
KA7903:A1 | KA7903A1 | WHT | 20 | 80 | AF0186:02 | BOP
KA7904:A1 | KA7904A1 | WHT | 20 | 80 | AF0186:03 | BOP
KA7905:A1 | KA7905A1 | WHT | 20 | 80 | AF0186:04 | BOP
KA7906:A1 | KA7906A1 | WHT | 20 | 80 | AF0186:05 | BOP
KA7907:A1 | KA7907A1 | WHT | 20 | 80 | AF0186:06 | BOP
KA7908:A1 | KA7908A1 | WHT | 20 | 80 | AF0186:07 | BOP
KA7909:A1 | KA7909A1 | WHT | 20 | 80 | AF0186:08 | BOP
KA7910:A1 | KA7910A1 | WHT | 20 | 80 | AF0186:09 | BOP
KA7911:A1 | KA7911A1 | WHT | 20 | 80 | AF0186:10 | BOP
KA7912:A1 | KA7912A1 | WHT | 20 | 80 | AF0186:11 | BOP
KA7913:A1 | KA7913A1 | WHT | 20 | 80 | AF0186:12 | BOP
KA0557:A2 | -018420 | WHT | 20 | 80 | AF0184:20 | BOP | KA A2
KA0531:A2 | -0V | WHT | 20 | 60 | KA0536:A2 | BOP
KA0534:A2 | -0V | WHT | 20 | 60 | KA0537:A2 | BOP
KA0550:A2 | KA0550A1 | WHT | 20 | 80 | AF0184:16 | BOP
KA0551:A2 | KA0551A2 | WHT | 20 | 80 | AF0184:18 | BOP
KA0554:A2 | KA0554A1 | WHT | 20 | 80 | AF0184:21 | BOP
KA0572:A2 | KA0572A2 | WHT | 20 | 80 | AF0183:20 | BOP
KA0573:A2 | KA0573A2 | WHT | 20 | 80 | AF0183:21 | BOP
KA7901:A2 | KA7901A2 | WHT | 20 | 80 | AF0186:16 | BOP
KA7902:A2 | KA7902A2 | WHT | 20 | 80 | AF0186:17 | BOP
KA7903:A2 | KA7903A2 | WHT | 20 | 80 | AF0186:18 | BOP
KA7904:A2 | KA7904A2 | WHT | 20 | 80 | AF0186:19 | BOP
KA7905:A2 | KA7905A2 | WHT | 20 | 80 | AF0186:20 | BOP
KA7906:A2 | KA7906A2 | WHT | 20 | 80 | AF0186:21 | BOP
KA7907:A2 | KA7907A2 | WHT | 20 | 80 | AF0186:22 | BOP
KA7908:A2 | KA7908A2 | WHT | 20 | 80 | AF0186:23 | BOP
KA7909:A2 | KA7909A2 | WHT | 20 | 80 | AF0186:24 | BOP
KA7910:A2 | KA7910A2 | WHT | 20 | 80 | AF0186:25 | BOP
KA7911:A2 | KA7911A2 | WHT | 20 | 80 | AF0186:26 | BOP
KA7912:A2 | KA7912A2 | WHT | 20 | 80 | AF0186:27 | BOP
KA7913:A2 | KA7913A2 | WHT | 20 | 80 | AF0186:28 | BOP
KA0551:14 | -014136 | WHT | 20 | 60 | AF0141:36 | BOP | KA
KA0532:14 | -014612 | WHT | 20 | 60 | AF0146:12 | BOP
KA0534:14 | -018114 | WHT | 20 | 60 | AF0181:14 | BOP
KA0557:14 | -018146 | WHT | 20 | 60 | AF0181:46 | BOP
KA0531:11 | KA053111 | WHT | 20 | 60 | AF0141:14 | BOP
KA0531:21 | KA053121 | WHT | 20 | 60 | AF0141:00 | BOP
KA0532:21 | KA053221 | WHT | 20 | 60 | AF0141:04 | BOP
KA0533:12 | KA053312 | WHT | 20 | 60 | KA0573:11 | BOP
KA0535:11 | KA053511 | WHT | 20 | 60 | KA0554:11 | BOP
KA0540:11 | KA054011 | WHT | 20 | 60 | KA0550:11 | BOP
KA0541:11 | KA054111 | WHT | 20 | 60 | KA0551:11 | BOP
KA0550:14 | KA055014 | WHT | 20 | 60 | AF0141:32 | BOP
KA0554:14 | KA055414 | WHT | 20 | 60 | AF0141:12 | BOP

## Bundle Tag Info
GPM-D #1
4M582
A.1
DOOR | JB70 L RAIL | JB70 R RAIL | FS CTRL | HMI-S | PLC | A | B | HPC | VFD | JB74 R RAIL | BOP | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT1100 | AT | XT | AT | FU/BA | FU/BA | AF/AU080s | AF/AU060s | 1444s | FU/BA | BA | AF/AU140s
HL0171 | FU | XT-HMI | UV | FU/UV-A | FU/UV-A | AF/AU090s | AF/AU070s | AF/AU1200s |  | XT | AF/AU180s
HL0172 | KA A1/A2 |  | XT |  | AT-B | FU | AF/AU270s | FU |  | KT | FU
HL0173 | KA |  |  |  | FU/BA-B | KA A1 | 1444s | KA |  | FU/XT | KA A1
SA0170 | XT |  |  |  |  | KA A2 | FU | XT |  | BA-BOP | KA A2
SA0471 | KA-A |  |  |  |  | KA | KA A1/A2 |  |  | KA-BOP | KA
SA0473 | FU/XT-A |  |  |  |  | KT L/S | KA |  |  | KT-BOP
SA0474 | AT-FS CTRL |  |  |  |  | KT R/S | XT |  |  | XT-BOP
SB0170 | KA-FS CTRL |  |  |  |  | UA
SB0471 | FU/XT-FS CTRL |  |  |  |  | UJ
SB0472 | THRU RAIL(A) |  |  |  |  | XT
SB0473 | [5 empty] | AF-B
SB0474 | [5 empty] | KA-B
SH0470 | [5 empty] | KT-B
SH0471 | [5 empty] | UA-B
SH0472 | [5 empty] | XT-B

## Bundle Tags2
DOOR | JB70 L RAIL | JB70 R RAIL | FS CTRL | HMI-S | PLC | A | B | HPC | VFD | JB74 R RAIL | BOP
GPM-D #1 4M582 A.1 DOOR AT1100 | GPM-D #1 4M582 A.1 JB70 L RAIL AT | GPM-D #1 4M582 A.1 JB70 R RAIL XT | GPM-D #1 4M582 A.1 FS CTRL AT | GPM-D #1 4M582 A.1 HMI-S FU/BA | GPM-D #1 4M582 A.1 PLC FU/BA | GPM-D #1 4M582 A.1 A AF/AU080s | GPM-D #1 4M582 A.1 B AF/AU060s | GPM-D #1 4M582 A.1 HPC 1444s | GPM-D #1 4M582 A.1 VFD FU/BA | GPM-D #1 4M582 A.1 JB74 R RAIL BA | GPM-D #1 4M582 A.1 BOP AF/AU140s
GPM-D #1 4M582 A.1 DOOR HL0171 | GPM-D #1 4M582 A.1 JB70 L RAIL FU | GPM-D #1 4M582 A.1 JB70 R RAIL XT-HMI | GPM-D #1 4M582 A.1 FS CTRL UV | GPM-D #1 4M582 A.1 HMI-S FU/UV-A | GPM-D #1 4M582 A.1 PLC FU/UV-A | GPM-D #1 4M582 A.1 A AF/AU090s | GPM-D #1 4M582 A.1 B AF/AU070s | GPM-D #1 4M582 A.1 HPC AF/AU1200s |  | GPM-D #1 4M582 A.1 JB74 R RAIL XT | GPM-D #1 4M582 A.1 BOP AF/AU180s
GPM-D #1 4M582 A.1 DOOR HL0172 | GPM-D #1 4M582 A.1 JB70 L RAIL KA A1/A2 |  | GPM-D #1 4M582 A.1 FS CTRL XT |  | GPM-D #1 4M582 A.1 PLC AT-B | GPM-D #1 4M582 A.1 A FU | GPM-D #1 4M582 A.1 B AF/AU270s | GPM-D #1 4M582 A.1 HPC FU |  | GPM-D #1 4M582 A.1 JB74 R RAIL KT | GPM-D #1 4M582 A.1 BOP FU
GPM-D #1 4M582 A.1 DOOR HL0173 | GPM-D #1 4M582 A.1 JB70 L RAIL KA |  |  |  | GPM-D #1 4M582 A.1 PLC FU/BA-B | GPM-D #1 4M582 A.1 A KA A1 | GPM-D #1 4M582 A.1 B 1444s | GPM-D #1 4M582 A.1 HPC KA |  | GPM-D #1 4M582 A.1 JB74 R RAIL FU/XT | GPM-D #1 4M582 A.1 BOP KA A1
GPM-D #1 4M582 A.1 DOOR SA0170 | GPM-D #1 4M582 A.1 JB70 L RAIL XT |  |  |  |  | GPM-D #1 4M582 A.1 A KA A2 | GPM-D #1 4M582 A.1 B FU | GPM-D #1 4M582 A.1 HPC XT |  | GPM-D #1 4M582 A.1 JB74 R RAIL BA-BOP | GPM-D #1 4M582 A.1 BOP KA A2
GPM-D #1 4M582 A.1 DOOR SA0471 | GPM-D #1 4M582 A.1 JB70 L RAIL KA-A |  |  |  |  | GPM-D #1 4M582 A.1 A KA | GPM-D #1 4M582 A.1 B KA A1/A2 |  |  | GPM-D #1 4M582 A.1 JB74 R RAIL KA-BOP | GPM-D #1 4M582 A.1 BOP KA
GPM-D #1 4M582 A.1 DOOR SA0473 | GPM-D #1 4M582 A.1 JB70 L RAIL FU/XT-A |  |  |  |  | GPM-D #1 4M582 A.1 A KT L/S | GPM-D #1 4M582 A.1 B KA |  |  | GPM-D #1 4M582 A.1 JB74 R RAIL KT-BOP
GPM-D #1 4M582 A.1 DOOR SA0474 | GPM-D #1 4M582 A.1 JB70 L RAIL AT-FS CTRL |  |  |  |  | GPM-D #1 4M582 A.1 A KT R/S | GPM-D #1 4M582 A.1 B XT |  |  | GPM-D #1 4M582 A.1 JB74 R RAIL XT-BOP
GPM-D #1 4M582 A.1 DOOR SB0170 | GPM-D #1 4M582 A.1 JB70 L RAIL KA-FS CTRL |  |  |  |  | GPM-D #1 4M582 A.1 A UA
GPM-D #1 4M582 A.1 DOOR SB0471 | GPM-D #1 4M582 A.1 JB70 L RAIL FU/XT-FS CTRL |  |  |  |  | GPM-D #1 4M582 A.1 A UJ
GPM-D #1 4M582 A.1 DOOR SB0472 | GPM-D #1 4M582 A.1 JB70 L RAIL THRU RAIL(A) |  |  |  |  | GPM-D #1 4M582 A.1 A XT
GPM-D #1 4M582 A.1 DOOR SB0473 | [5 empty] | GPM-D #1 4M582 A.1 A AF-B
GPM-D #1 4M582 A.1 DOOR SB0474 | [5 empty] | GPM-D #1 4M582 A.1 A KA-B
GPM-D #1 4M582 A.1 DOOR SH0470 | [5 empty] | GPM-D #1 4M582 A.1 A KT-B
GPM-D #1 4M582 A.1 DOOR SH0471 | [5 empty] | GPM-D #1 4M582 A.1 A UA-B
GPM-D #1 4M582 A.1 DOOR SH0472 | [5 empty] | GPM-D #1 4M582 A.1 A XT-B

## ALL
ALL
GPM-D #1 4M582 A.1 DOOR AT1100
GPM-D #1 4M582 A.1 DOOR HL0171
GPM-D #1 4M582 A.1 DOOR HL0172
GPM-D #1 4M582 A.1 DOOR HL0173
GPM-D #1 4M582 A.1 DOOR SA0170
GPM-D #1 4M582 A.1 DOOR SA0471
GPM-D #1 4M582 A.1 DOOR SA0473
GPM-D #1 4M582 A.1 DOOR SA0474
GPM-D #1 4M582 A.1 DOOR SB0170
GPM-D #1 4M582 A.1 DOOR SB0471
GPM-D #1 4M582 A.1 DOOR SB0472
GPM-D #1 4M582 A.1 DOOR SB0473
GPM-D #1 4M582 A.1 DOOR SB0474
GPM-D #1 4M582 A.1 DOOR SH0470
GPM-D #1 4M582 A.1 DOOR SH0471
GPM-D #1 4M582 A.1 DOOR SH0472
GPM-D #1 4M582 A.1 JB70 L RAIL AT
GPM-D #1 4M582 A.1 JB70 L RAIL FU
GPM-D #1 4M582 A.1 JB70 L RAIL KA A1/A2
GPM-D #1 4M582 A.1 JB70 L RAIL KA
GPM-D #1 4M582 A.1 JB70 L RAIL XT
GPM-D #1 4M582 A.1 JB70 L RAIL KA-A
GPM-D #1 4M582 A.1 JB70 L RAIL FU/XT-A
GPM-D #1 4M582 A.1 JB70 L RAIL AT-FS CTRL
GPM-D #1 4M582 A.1 JB70 L RAIL KA-FS CTRL
GPM-D #1 4M582 A.1 JB70 L RAIL FU/XT-FS CTRL
GPM-D #1 4M582 A.1 JB70 L RAIL THRU RAIL(A)
GPM-D #1 4M582 A.1 JB70 R RAIL XT
GPM-D #1 4M582 A.1 JB70 R RAIL XT-HMI
GPM-D #1 4M582 A.1 FS CTRL AT
GPM-D #1 4M582 A.1 FS CTRL UV
GPM-D #1 4M582 A.1 FS CTRL XT
GPM-D #1 4M582 A.1 HMI-S FU/BA
GPM-D #1 4M582 A.1 HMI-S FU/UV-A
GPM-D #1 4M582 A.1 PLC FU/BA
GPM-D #1 4M582 A.1 PLC FU/UV-A
GPM-D #1 4M582 A.1 PLC AT-B
GPM-D #1 4M582 A.1 PLC FU/BA-B
GPM-D #1 4M582 A.1 A AF/AU080s
GPM-D #1 4M582 A.1 A AF/AU090s
GPM-D #1 4M582 A.1 A FU
GPM-D #1 4M582 A.1 A KA A1
GPM-D #1 4M582 A.1 A KA A2
GPM-D #1 4M582 A.1 A KA
GPM-D #1 4M582 A.1 A KT L/S
GPM-D #1 4M582 A.1 A KT R/S
GPM-D #1 4M582 A.1 A UA
GPM-D #1 4M582 A.1 A UJ
GPM-D #1 4M582 A.1 A XT
GPM-D #1 4M582 A.1 A AF-B
GPM-D #1 4M582 A.1 A KA-B
GPM-D #1 4M582 A.1 A KT-B
GPM-D #1 4M582 A.1 A UA-B
GPM-D #1 4M582 A.1 A XT-B
GPM-D #1 4M582 A.1 B AF/AU060s
GPM-D #1 4M582 A.1 B AF/AU070s
GPM-D #1 4M582 A.1 B AF/AU270s
GPM-D #1 4M582 A.1 B 1444s
GPM-D #1 4M582 A.1 B FU
GPM-D #1 4M582 A.1 B KA A1/A2
GPM-D #1 4M582 A.1 B KA
GPM-D #1 4M582 A.1 B XT
GPM-D #1 4M582 A.1 HPC 1444s
GPM-D #1 4M582 A.1 HPC AF/AU1200s
GPM-D #1 4M582 A.1 HPC FU
GPM-D #1 4M582 A.1 HPC KA
GPM-D #1 4M582 A.1 HPC XT
GPM-D #1 4M582 A.1 VFD FU/BA
GPM-D #1 4M582 A.1 JB74 R RAIL BA
GPM-D #1 4M582 A.1 JB74 R RAIL XT
GPM-D #1 4M582 A.1 JB74 R RAIL KT
GPM-D #1 4M582 A.1 JB74 R RAIL FU/XT
GPM-D #1 4M582 A.1 JB74 R RAIL BA-BOP
GPM-D #1 4M582 A.1 JB74 R RAIL KA-BOP
GPM-D #1 4M582 A.1 JB74 R RAIL KT-BOP
GPM-D #1 4M582 A.1 JB74 R RAIL XT-BOP
GPM-D #1 4M582 A.1 BOP AF/AU140s
GPM-D #1 4M582 A.1 BOP AF/AU180s
GPM-D #1 4M582 A.1 BOP FU
GPM-D #1 4M582 A.1 BOP KA A1
GPM-D #1 4M582 A.1 BOP KA A2
GPM-D #1 4M582 A.1 BOP KA