## Bundle Tags2 (2)
JB70 | R/RAIL | PLC | A PNL | B PNL | HPC CTRL | BOP CTRL | MEDIA CONV.
TRP-FA1 4N091 B.1 JB70 SA0471 | TRP-FA1 4N091 B.1 R/RAIL AT | TRP-FA1 4N091 B.1 PLC UV-A | TRP-FA1 4N091 B.1 A PNL UA | TRP-FA1 4N091 B.1 B PNL 1444'S | TRP-FA1 4N091 B.1 HPC CTRL AU/AF | TRP-FA1 4N091 B.1 BOP CTRL AU/AF 140'S | TRP-FA1 4N091 B.1 MEDIA CONV. BA
TRP-FA1 4N091 B.1 JB70 SA0473 | TRP-FA1 4N091 B.1 R/RAIL BA | TRP-FA1 4N091 B.1 PLC XT-A | TRP-FA1 4N091 B.1 A PNL UJ | TRP-FA1 4N091 B.1 B PNL BA | TRP-FA1 4N091 B.1 HPC CTRL AF0510 | TRP-FA1 4N091 B.1 BOP CTRL AU/AF 180'S | TRP-FA1 4N091 B.1 MEDIA CONV. FU
TRP-FA1 4N091 B.1 JB70 SA0474 | TRP-FA1 4N091 B.1 R/RAIL UV | TRP-FA1 4N091 B.1 PLC XT-B | TRP-FA1 4N091 B.1 A PNL AU/AF | TRP-FA1 4N091 B.1 B PNL AU/AF | TRP-FA1 4N091 B.1 HPC CTRL KA A1/2 | TRP-FA1 4N091 B.1 BOP CTRL KA A1/A2
TRP-FA1 4N091 B.1 JB70 SB0471 | TRP-FA1 4N091 B.1 R/RAIL FU/XT |  | TRP-FA1 4N091 B.1 A PNL KA A1 | TRP-FA1 4N091 B.1 B PNL KA A1 | TRP-FA1 4N091 B.1 HPC CTRL KA | TRP-FA1 4N091 B.1 BOP CTRL KA
TRP-FA1 4N091 B.1 JB70 SB0472 | TRP-FA1 4N091 B.1 R/RAIL XT-A |  | TRP-FA1 4N091 B.1 A PNL KA A2 | TRP-FA1 4N091 B.1 B PNL KA A2 | TRP-FA1 4N091 B.1 HPC CTRL SB0472 | TRP-FA1 4N091 B.1 BOP CTRL BA
TRP-FA1 4N091 B.1 JB70 SB0473 | TRP-FA1 4N091 B.1 R/RAIL XT-B |  | TRP-FA1 4N091 B.1 A PNL KA | TRP-FA1 4N091 B.1 B PNL KA | TRP-FA1 4N091 B.1 HPC CTRL FU/XT | TRP-FA1 4N091 B.1 BOP CTRL FU
TRP-FA1 4N091 B.1 JB70 SB0474 | TRP-FA1 4N091 B.1 R/RAIL XT/FU-PLC |  | TRP-FA1 4N091 B.1 A PNL KT R/S | TRP-FA1 4N091 B.1 B PNL FU/XT
TRP-FA1 4N091 B.1 JB70 AT1100 |  |  | TRP-FA1 4N091 B.1 A PNL KT L/S
TRP-FA1 4N091 B.1 JB70 SB0472 |  |  | TRP-FA1 4N091 B.1 A PNL FU/XT
TRP-FA1 4N091 B.1 JB70 SH0470 |  |  | TRP-FA1 4N091 B.1 A PNL UA-B
TRP-FA1 4N091 B.1 JB70 SH0471 |  |  | TRP-FA1 4N091 B.1 A PNL AF-B
TRP-FA1 4N091 B.1 JB70 SH0472 |  |  | TRP-FA1 4N091 B.1 A PNL KA-B
TRP-FA1 4N091 B.1 JB70 SH1120 |  |  | TRP-FA1 4N091 B.1 A PNL KT-B
TRP-FA1 4N091 B.1 A PNL XT-B

## Blue Labels
(SHT 1) JB70 | (SHT 10) HPC CTRL | (SHT 12) PROX,HPC CTRL | (SHT 13) BOP CTRL | (SHT 14) MEDIA CONV. | (SHT 2) JB70 LEFT RAIL | (SHT 3) R/RAIL | (SHT 4) PLC PNL | (SHT 5) A PNL | (SHT 6) B PNL | (SHT 7) PROX,TURB | (SHT 9) RAIL,RIGHT,JB73
AT1100 | WC8058 | UA4460 | KA0535 | FU1123 | XTFGA | AT0680 | UV0600 | AU0090 | AU0060 | UA1210 | XT0845
SB0471 | AF1206 | UA4461 | KA0536 | FU1124 | GR0431 | FU1101 | AP0602 | AF0091 | AF0061 | UA1211 | XTFGE
SB0473 | AF1205 | UA4462 | KA0531 | XT1123 |  | FU1100 | AP0603 | AF0092 | AF0062 | UA1220 | GR1163
SB0474 | AF1204 | UA4470 | KA0532 | GR1125 |  | FU0680 | AP0605 | AF0093 | AF0063 | UA1221
SH0470 | AF1203 | UA4471 | KA0533 | BA1123 |  | FU0291 | AP0606 | AF0094 | AF0064 | UA1230
SH0471 | AF1202 | UA4473 | KA0534 | IEG1123 |  | BA1100 | AP0608 | AF0095 | AF0065 | UA1231
SH0472 | AF1201 | GR4460 | KA0537 | BA0005 |  | UV0291 | AR0600 | XT0082 | AF0066 | UA1240
SH1120 | AU1200 |  | KA0540 | BA0006 |  | XT0680 | AT0600 | XT0084 | AF0067 | UA1241
SA0471 | GR0161 |  | KA0541 | GR1123 |  | XT0291 | AT0601 | XT0003 | AF0068 | GR1210
SA0474 | AF1207 |  | KA0550 |  |  | XT0111 | AP0604 | XT0002 | BA0001 | UA1250
SA0473 | AF1208 |  | KA0551 |  |  | GR0532 | AP0607 | FU0136 | BA0002 | UA1251
HA0472 | AF1209 |  | KA0554 |  |  |  | AP0609 | KA3103 | BA0009 | UA1262
SB0472 | AF1210 |  | KA0572 |  |  |  | XT0051 | KA3220 | KA0222 | UA1263
| AF1211 |  | KA0573 |  |  |  | GR0234 | GR0134 | KA0221 | UA1272
| FU0120 |  | XT0572 |  |  |  | BA0070 | FU0139 | KA0224 | UA1273
| FU0121 |  | XT0573 |  |  |  |  | FU0387 | KA0235 | UA1520
| FU0122 |  | KA6310 |  |  |  |  | FU0388 | KA0236 | XT1521
| GR0163 |  | GR0181 |  |  |  |  | FU0389 | KA0237 | XTFGK
| IEG0160 |  | AU0140 |  |  |  |  | XT0089 | KA0239 | GR1211
| FU0510 |  | AF0141 |  |  |  |  | KT0140 | KA0240
| XT0510 |  | AF0142 |  |  |  |  | KT0141 | KA0251
| AF0500 |  | AF0143 |  |  |  |  | KT0142 | KA0241
| AF0510 |  | AF0144 |  |  |  |  | KT0143 | KA0242
| AF0520 |  | AF0145 |  |  |  |  | KT0144 | KA0243
| XT0500 |  | AF0146 |  |  |  |  | KT0145 | KA0244
| XT0120 |  | FU0146 |  |  |  |  | KT0146 | KA0245
| KA4401 |  | FU0140 |  |  |  |  | KA0135 | KA1020
| KA0120 |  | FU0141 |  |  |  |  | KA0130 | FU0022
| KA7120 |  | FU0142 |  |  |  |  | KA0131 | FU0021
| XT0121 |  | FU0143 |  |  |  |  | KA0132 | FU0100
| FU0332 |  | XT0140 |  |  |  |  | KA0141 | FU0210
| XT0335 |  | BA1212 |  |  |  |  | KA0230 | FU0070
| XT0336 |  | FU1212 |  |  |  |  | KA0231 | FU0076
| GR0162 |  | XT0391 |  |  |  |  | KA0232 | FU0029
| SB0472A |  | GR0182 |  |  |  |  | KA0233 | FU0212
|  |  | IEG0257 |  |  |  |  | KA0234 | GR0233
|  |  | AU0180 |  |  |  |  | KA0133 | XT0400
|  |  | AF0181 |  |  |  |  | KA0136 | XT0401
|  |  | AF0182 |  |  |  |  | KA0138 | FU0410
|  |  | AF0183 |  |  |  |  | KA0134 | AF0400
|  |  | AF0184 |  |  |  |  | KA0137 | AF0410
|  |  | AF0185 |  |  |  |  | KA2160 | AF0420
|  |  | XT0180 |  |  |  |  | KA2161 | AF0430
|  |  | FU0180 |  |  |  |  | GR0132 | AF0450
|  |  | FU0181 |  |  |  |  | XT0011 | PC0470
|  |  | FU0182 |  |  |  |  | XT0012 | XT0062
|  |  | FU0183 |  |  |  |  | FU0011 | XT0237
|  |  | GR0183 |  |  |  |  | FU0012 | XT0060
[8 empty] | FU0013 | FU0060
[8 empty] | FU0014 | FU0061
[8 empty] | FU0015 | FU0062
[8 empty] | FU0016 | FU0063
[8 empty] | FU0017 | FU0064
[8 empty] | FU0018 | AF0077
[8 empty] | GR0131 | AF0076
[8 empty] | FU0080 | AF0075
[8 empty] | FU0081 | AF0074
[8 empty] | FU0137 | AF0073
[8 empty] | FU0090 | AF0072
[8 empty] | FU0091 | AF0071
[8 empty] | FU0092 | AU0070
[8 empty] | FU0093 | GR0231
[8 empty] | FU0010 | IEG0230
XT0080
XT0081
XT0083
XT0091
AU0080
AF0081
AF0082
AF0083
AF0084
AF0085
AF0086
AF0087
GR0133
UJ0131
XT0014
UA1200
IEG0010
PEG0130

## White Labels
(SHT 13) BOP CTRL | (SHT 1) JB70 - (SHT 5) A PNL | (SHT 10) HPC CTRL | (SHT 14) MEDIA CONV. | (SHT 5) A PNL | (SHT 5) A PNL - (SHT 6) B PNL | (SHT 6) B PNL | (SHT 6) B PNL - (SHT 4) PLC PNL | (SHT 6) B PNL - (SHT 3) R/RAIL | (SHT 4) PLC PNL
AF0143SH | AT1100G | AF1204G | GR1125 | AF0083G | IEG00104 | AF0064G | IEG02306 | GR0532 | UV0600G
AF0144SH |  | AF1205G | IEG11231 | AF0084G | IEG02300 | AF0065G
AU0140G |  | AF1206G |  | AF0085G |  | AF0066G
AU0180G |  | AF1208G |  | AU0080G |  | AF0071G
GR0181 |  | AF1209G |  | AU0090G |  | AF0072G
IEG02571 |  | AF1210G |  | IEG001012 |  | AF0073G
IEG02572 |  | AF1211G |  | IEG001013 |  | AF0074G
IEG02573 |  | AU1200G |  | IEG00102 |  | AF0075G
IEG02575 |  | IEG01601 |  | IEG00106 |  | AU0060G,GRN
|  | IEG01602 |  | IEG00108 |  | AU0070G
|  | IEG01603 |  |  |  | IEG02301
|  | IEG01604 |  |  |  | IEG02303
|  | XT05001 |  |  |  | IEG02304
IEG02308
XT04001
XT04002

## Heat Shrink Labels
(SHT 5) A PNL - (SHT 6) B PNL
WC4524

## Panel Errors
Panel Errors
Project # | 4N091
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
Report date: 3/5/2026 3:51 PM |  |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)

## Cable Part Numbers
Cable Part Numbers |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | 4N091
Report date: 3/5/2026 3:53 PM
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
Device ID |  | Part Number |  | Description
WC5072 |  | PART OF 1103208-100 |  | CABLE, 2 CONDUCTOR UNSHIELDED PART OF HORN
WC8058 |  | 2684693-54 |  | CABLE, EXTENSION, BACKPLANE
W0018 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0001 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0003 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0007 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0008 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0009 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0010 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0041 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0042 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0043 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0045 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0051 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0052 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC00701 |  | 1098580-25 |  | FIBER OPTIC CABLE, MULTI-MODE OM1
WC00702 |  | 1098580-25 |  | FIBER OPTIC CABLE, MULTI-MODE OM1
WC0101 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0680 |  | 1302073-36 |  | CABLE
WC11231 |  | 1098580-25 |  | FIBER OPTIC CABLE, MULTI-MODE OM1
WC11232 |  | 1098580-25 |  | FIBER OPTIC CABLE, MULTI-MODE OM1
WC1212 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC4524 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8040 |  | 1322418-90 |  | CABLE, SUPPLIED BY OTHERS
WC8041 |  | 1322418-90 |  | CABLE, SYTSTEM FUNCTION
WC8042 |  | 1322418-90 |  | CABLE, SYTSTEM FUNCTION
WC8043 |  | 1322418-90 |  | CABLE, SUPPLIED BY OTHERS
WC8050 |  | 1322418-90 |  | CABLE, SUPPLIED BY OTHERS
WC8051 |  | 1322418-90 |  | CABLE, SUPPLIED BY OTHERS
WC9001 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES

## Part Number List
Part Number List |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | 4N091
Report date: 3/5/2026 3:53 PM
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
Device ID | Part Number | Description | Location
AF0141 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | BOP CTRL
AF0142 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BOP CTRL
AF0143 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BOP CTRL
AF0144 | 2684693-18,2684693-27 | 5094-OF8IHXT, 8 ANALOG OUTPUT, ISOLATED | BOP CTRL
AF0145 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT, TC/RTD/ I&V | BOP CTRL
AF0146 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | BOP CTRL
AF0181 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | BOP CTRL
AF0182 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BOP CTRL
AF0183 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | BOP CTRL
AF0184 | 2684693-18,2684693-55 | 5094-OB16SXT, 16 DISCRETE OUTPUT, S | BOP CTRL
AF0185 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BOP CTRL
AU0140 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | BOP CTRL
AU0180 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | BOP CTRL
BA1212 | 1337728-12 | SWITCH, ETAP, DLR INTERFACE | BOP CTRL
FU0140 | 1043265-1,1043265-5 | FUSE, 10A | BOP CTRL
FU0141 | 1043265-1,1043265-5 | FUSE, 10A | BOP CTRL
FU0142 | 1043265-1,1043265-5 | FUSE, 10A | BOP CTRL
FU0143 | 1043265-1,1043265-3 | FUSE, 2A | BOP CTRL
FU0146 | 1043265-1,1043265-6 | FUSE, 15A | BOP CTRL
FU0180 | 1043265-1,1043265-5 | FUSE, 10A | BOP CTRL
FU0181 | 1043265-1,1043265-5 | FUSE, 10A | BOP CTRL
FU0182 | 1043265-1,1043265-5 | FUSE, 10A | BOP CTRL
FU0183 | 1043265-1,1043265-4 | FUSE, 5A | BOP CTRL
FU1212 | 1043265-1,1043265-3 | FUSE, 2A | BOP CTRL
GR0181 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BOP CTRL
GR0182 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BOP CTRL
GR0183 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BOP CTRL
IEG0257 | 232941-200 | BUS BAR, BOP - INSTRUMENT EARTH GROUNDING | BOP CTRL
KA0531 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | BOP CTRL
KA0532 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | BOP CTRL
KA0533 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | BOP CTRL
KA0534 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | BOP CTRL
KA0535 | 1061979-1 | RELAY, CONTROLLER ACTIVE | BOP CTRL
KA0536 | 1061979-1 | RELAY, CONTROLLER ACTIVE | BOP CTRL
KA0537 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | BOP CTRL
KA0540 | 1061979-1 | RELAY, OPEN SUCTION VALVE | BOP CTRL
KA0541 | 1061979-1 | RELAY, OPEN DISCHARGE VALVE | BOP CTRL
KA0550 | 1061979-1 | RELAY, OPEN SUCTION VALVE SAFETY | BOP CTRL
KA0551 | 1061979-1 | RELAY, OPEN DISCHARGE VALVE SAFETY | BOP CTRL
KA0554 | 1061979-1 | RELAY, CLOSE VENT VALVE(SAFETY) | BOP CTRL
KA0572 | 1061979-1 | RELAY, SUCTION VALVE CLOSED | BOP CTRL
KA0573 | 1061979-1 | RELAY, DISCHARGE VALVE CLOSED | BOP CTRL
KA6310 | 1061979-1 | RELAY, TURBINE AIR INTAKE FILTER CLEAN | BOP CTRL
XT0140 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | BOP CTRL
XT0391 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | BOP CTRL
XT0572 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | BOP CTRL
XT0573 | 1066730-9 | DIODE TERMINAL STRIP, 4 CONDUCTOR | BOP CTRL
AT1100 | 1577354-4502 | WORKSTATION, VERSA VIEW 1200H | JB70
HA0472 | 1103208-101 | HORN, START SYSTEM ALARM | JB70
SA0471 | 1035040-1652,2380746-2 | SELECTOR SWITCH, SPEED/LOAD | JB70
SA0473 | 1035040-862,2380746-5 | SELECTOR SWITCH, OFF/LOCAL/AUXILIARY | JB70
SA0474 | 1035040-804,2380746-2 | SELECTOR SWITCH, SURGE VALVE | JB70
SB0471 | 1035040-119,2380746-1 | PUSHBUTTON SWITCH, HORN SILENCE | JB70
SB0472 | 1035040-32,2380746-4 | PUSHBUTTON SWITCH, EMERGENCY STOP | JB70
SB0473 | 1035040-855,2380746-1 | PUSHBUTTON SWITCH, ACKNOWLEDGE | JB70
SB0474 | 1035040-856,2380746-1 | PUSHBUTTON SWITCH, RESET | JB70
SH0470 | 1035040-108,2380746-3 | LIGHTED SWITCH, STOP/STOPPING, RED | JB70
SH0471 | 1035040-857,2380746-3 | LIGHTED SWITCH, START/STARTING, GREEN | JB70
SH0472 | 1035040-106,2380746-3 | LIGHTED SWITCH, BACKUP SYSTEM ACTIVE/RESET, AMBER | JB70
SH1120 | 2380746-3 | LIGHTED SWITCH, DEPRESSURIZE COMPRESSOR, WHITE | JB70
GR0431 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | JB70 LEFT RAIL
AF0500 | 1322418-31,1322418-40,1322418-72,1322418-73 | 1444-TSCX02-02RB, 2-CH TACHOMETER INPUT^DYNAMIX 1444 VIBRATION | HPC CTRL
AF0510 | 1322418-11,1322418-20,1322418-70,1322418-71 | 1444-DYN04-01RA, 4-CH VIBRATION INPUT^DYNAMIX 1444 VIBRATION | HPC CTRL
AF0520 | 1322418-11,1322418-20,1322418-70,1322418-71 | 1444-DYN04-01RA, 4-CH VIBRATION INPUT^DYNAMIX 1444 VIBRATION | HPC CTRL
AF1201 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | HPC CTRL
AF1202 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | HPC CTRL
AF1203 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | HPC CTRL
AF1204 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | HPC CTRL
AF1205 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | HPC CTRL
AF1206 | 2684693-21,2684693-36 | 5094-IRT8SXT, 8 RTD/TC ANALOG INPUT, S | HPC CTRL
AF1207 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | HPC CTRL
AF1208 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT, TC/RTD/ I&V | HPC CTRL
AF1209 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT, TC/RTD/ I&V | HPC CTRL
AF1210 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | HPC CTRL
AF1211 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | HPC CTRL
AU1200 | 2684693-50 | 5094-AEN2TRXT, FLEX 5000 I/O | HPC CTRL
FU0120 | 1043265-1,1043265-5 | FUSE, 10A | HPC CTRL
FU0121 | 1043265-1,1043265-5 | FUSE, 10A | HPC CTRL
FU0122 | 1043265-1,1043265-6 | FUSE, 15A | HPC CTRL
FU0332 | 1043265-1,1043265-7 | FUSE, 20A | HPC CTRL
FU0510 | 1043265-1,1043265-4 | FUSE, 5A | HPC CTRL
GR0161 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | HPC CTRL
GR0162 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | HPC CTRL
GR0163 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | HPC CTRL
IEG0160 | 232941-200 | BUS BAR, HP CPSR - INSTRUMENT EARTH GROUNDING | HPC CTRL
KA0120 | 1061979-1 | RELAY, CONTROLLER ACTIVE | HPC CTRL
KA4401 | 1061979-1 | RELAY, HPC CTRL CASE DEPRESSURIZED | HPC CTRL
KA7120 | 1061979-1 | RELAY, SEAL GAS VALVE ENABLE | HPC CTRL
SB0472A | 2380746-4 | PUSHBUTTON SWITCH, EMERGENCY STOP | HPC CTRL
XT0120 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | HPC CTRL
XT0121 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | HPC CTRL
XT0335 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | HPC CTRL
XT0336 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | HPC CTRL
XT0500 | 1066730-1,1066730-2,1067996-4 | TERMINAL STRIP, 4 CONDUCTOR | HPC CTRL
XT0510 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | HPC CTRL
XT4875 | DRIVEN COMMON | TERMINAL STRIP, HP COMPRESSOR CASE PRESSURE | JB75
BA0005 | 1271449-1 | MEDIA CONV., ETHERNET-FIBER OPTIC | MEDIA CONV.
BA0006 | 1271449-1 | MEDIA CONV., ETHERNET-FIBER OPTIC | MEDIA CONV.
BA1123 | 1098580-1,1098580-53 | CLOSET CONNECTOR HOUSING, LC 12 FIBER, DUPLEX^50 MICRON MULTIMODE OM3/4 | MEDIA CONV.
FU1123 | 1043265-1,1043265-3 | FUSE, 2A | MEDIA CONV.
FU1124 | 1043265-1,1043265-3 | FUSE, 2A | MEDIA CONV.
GR1123 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | MEDIA CONV.
GR1125 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | MEDIA CONV.
IEG1123 | 232941-200 | BUS BAR, JB1123 - INSTRUMENT EARTH GROUNDING | MEDIA CONV.
XT1123 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | MEDIA CONV.
SB7510 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, START (CUSTOMER)^NOT USED | PANEL
SB7511 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, NORMAL STOP (CUSTOMER)^NOT USED | PANEL
SB7513 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, FAST STOP (CUSTOMER)^NOT USED | PANEL
SB7514 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, FAST STOP DEPRESSURIZED (CUSTOMER)^USED BY TC | PANEL
AF0081 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | A PNL
AF0082 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | A PNL
AF0083 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT, TC/RTD/ I&V | A PNL
AF0084 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT, TC/RTD/ I&V | A PNL
AF0085 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | A PNL
AF0086 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | A PNL
AF0087 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | A PNL
AF0091 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | A PNL
AF0092 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | A PNL
AF0093 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | A PNL
AF0094 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT, TC/RTD/ I&V | A PNL
AF0095 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | A PNL
AU0080 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | A PNL
AU0090 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | A PNL
FU0010 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0011 | 1043265-1,1043265-7 | FUSE, 20A | A PNL
FU0012 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0013 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0014 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0015 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0016 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0017 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0018 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0080 | 1043265-1,1043265-6 | FUSE, 15A | A PNL
FU0081 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0090 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0091 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0092 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0093 | 1043265-1,1043265-5 | FUSE, 10A | A PNL
FU0136 | 1043265-1,1043265-9 | FUSE, 30A | A PNL
FU0137 | 1043265-1,1043265-7 | FUSE, 20A | A PNL
FU0139 | 1043265-1,1043265-4 | FUSE, 5A | A PNL
FU0387 | 1043265-1,1043265-4 | FUSE, 5A | A PNL
FU0388 | 1043265-1,1043265-4 | FUSE, 5A | A PNL
FU0389 | 1043265-1,1043265-3 | FUSE, 2A | A PNL
GR0131 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | A PNL
GR0132 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | A PNL
GR0133 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | A PNL
GR0134 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | A PNL
IEG0010 | 232941-300 | BUS BAR, PANEL A - INSTRUMENT EARTH GROUNDING | A PNL
KA0130 | 1061979-1 | RELAY, LOWSPEED/OPEN PROBE SETPOINT | A PNL
KA0131 | 1061979-1 | RELAY, CONTROLLER ACTIVE | A PNL
KA0132 | 1061979-1 | RELAY, CONTROLLER ACTIVE | A PNL
KA0133 | 1061979-1 | RELAY, POST LUBE NOT REQUIRED | A PNL
KA0134 | 1061979-1 | RELAY, BACKUP COMMAND OFF | A PNL
KA0135 | 1061979-1 | RELAY, AC PRE/POST PUMP DRIVE | A PNL
KA0136 | 1061979-1 | RELAY, LUBE OIL HEADER^PRESSURE HIGH | A PNL
KA0137 | 1061979-1 | RELAY, LUBE PUMP INHIBIT | A PNL
KA0138 | 1061979-1 | RELAY, BACKUP LUBE OIL PUMP OFF | A PNL
KA0141 | 1061979-1 | RELAY, CONTROLLER ACTIVE | A PNL
KA0230 | 1061979-1 | RELAY, CONTROLLER ACTIVE | A PNL
KA0231 | 1061979-1 | RELAY, CONTROLLER ACTIVE | A PNL
KA0232 | 1061979-1 | RELAY, CONTROLLER ACTIVE | A PNL
KA0233 | 1061979-1 | RELAY, CONTROLLER ACTIVE | A PNL
KA0234 | 1061979-1 | RELAY, CONTROLLER ACTIVE | A PNL
KA2160 | 1061979-1 | RELAY, CLOSE GAS BLOCK VALVE | A PNL
KA2161 | 1061979-1 | RELAY, OPEN GAS BLEED VALVE | A PNL
KA3103 | 1061979-1 | RELAY, LUBE OIL TANK HEATER | A PNL
KA3220 | 1061979-1 | RELAY, LUBE OIL COOLER FAN | A PNL
KT0140 | 2651077-1 | TIMER RELAY, BACKUP PUMP^POST LUBE OFF CYCLE | A PNL
KT0141 | 2651077-1 | TIMER RELAY, BACKUP POST LUBE CONTINUOUS | A PNL
KT0142 | 2651077-1 | TIMER RELAY, TOTAL POST LUBE | A PNL
KT0143 | 2651077-1 | TIMER RELAY, BACKUP PUMP POST LUBE ON CYCLE | A PNL
KT0144 | 2651077-1 | TIMER RELAY, HEADER PRESSURE HIGH^BACKUP PUMP OFF | A PNL
KT0145 | 2651077-1 | TIMER RELAY, FIRE DETECTED ROLLDOWN LUBE | A PNL
KT0146 | 2651077-3 | TIMER RELAY, WATCHDOG | A PNL
PEG0130 | 232941-300 | BUS BAR, PANEL A - POWER EARTH GROUNDING | A PNL
RR0941 | 981090C1 | RESISTOR, 3.01K OHM | A PNL
RR0942 | 981089C1 | RESISTOR, 1.0K OHM | A PNL
UA1200 | 1053834-7,1053834-9 | SIGNAL CONVERTER, BACKUP OVERSPEED | A PNL
UJ0131 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | A PNL
XT0002 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | A PNL
XT0003 | 1066730-16,1066730-17,1066730-18,[2]1066730-32,[2]1066730-7,[2]1066730-8,1067996-82 | TERMINAL STRIP, 2 CONDUCTOR | A PNL
XT0011 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | A PNL
XT0012 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | A PNL
XT0014 | 1247052-1 | BUS BAR, SYSTEM FUNCTION (USE) | A PNL
XT0080 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | A PNL
XT0081 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | A PNL
XT0082 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | A PNL
XT0084 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | A PNL
XT0089 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | A PNL
AF0061 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | B PNL
AF0062 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | B PNL
AF0063 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | B PNL
AF0064 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | B PNL
AF0065 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | B PNL
AF0066 | 2684693-18,2684693-27 | 5094-OF8IHXT, 8 ANALOG OUTPUT, ISOLATED | B PNL
AF0067 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | B PNL
AF0068 | 2684693-21,2684693-36 | 5094-IRT8SXT, 8 RTD/TC ANALOG INPUT, S | B PNL
AF0071 | 2684693-18,2684693-32 | 5094-IJ2ISXT, 2 FAST COUNTER INPUT, S | B PNL
AF0072 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | B PNL
AF0073 | 2684693-21,2684693-36 | 5094-IRT8SXT, 8 RTD/TC ANALOG INPUT, S | B PNL
AF0074 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | B PNL
AF0075 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | B PNL
AF0076 | 2684693-18,2684693-55 | 5094-OB16SXT, 16 DISCRETE OUTPUT, S | B PNL
AF0077 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT, TC/RTD/ I&V | B PNL
AF0400 | 1322418-31,1322418-40,1322418-72,1322418-73 | 1444-TSCX02-02RB, 2-CH TACHOMETER INPUT^DYNAMIX 1444 VIBRATION | B PNL
AF0410 | 1322418-11,1322418-20,1322418-70,1322418-71 | 1444-DYN04-01RA, 4-CH VIBRATION INPUT^DYNAMIX 1444 VIBRATION | B PNL
AF0420 | 1322418-11,1322418-20,1322418-70,1322418-71 | 1444-DYN04-01RA, 4-CH VIBRATION INPUT^DYNAMIX 1444 VIBRATION | B PNL
AF0430 | 1322418-11,1322418-20,1322418-70,1322418-71 | 1444-DYN04-01RA, 4-CH VIBRATION INPUT^DYNAMIX 1444 VIBRATION | B PNL
AF0450 | 1322418-11,1322418-20,1322418-70,1322418-71 | 1444-DYN04-01RA, 4-CH VIBRATION INPUT^DYNAMIX 1444 VIBRATION | B PNL
AU0060 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | B PNL
AU0070 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | B PNL
BA0001 | 1271449-1 | MEDIA CONV., ETHERNET-FIBER OPTIC | B PNL
BA0002 | 1271449-1 | MEDIA CONV., ETHERNET-FIBER OPTIC | B PNL
BA0009 | 1271449-1 | MEDIA CONV., ETHERNET-FIBER OPTIC | B PNL
FU0021 | 1043265-1,1043265-3 | FUSE, 2A | B PNL
FU0022 | 1043265-1,1043265-3 | FUSE, 2A | B PNL
FU0029 | 1043265-1,1043265-3 | FUSE, 2A | B PNL
FU0060 | 1043265-1,1043265-6 | FUSE, 15A | B PNL
FU0061 | 1043265-1,1043265-5 | FUSE, 10A | B PNL
FU0062 | 1043265-1,1043265-5 | FUSE, 10A | B PNL
FU0063 | 1043265-1,1043265-5 | FUSE, 10A | B PNL
FU0064 | 1043265-1,1043265-5 | FUSE, 10A | B PNL
FU0070 | 1043265-1,1043265-5 | FUSE, 10A | B PNL
FU0076 | 1043265-1,1043265-5 | FUSE, 10A | B PNL
FU0100 | 1043265-1,1043265-4 | FUSE, 5A | B PNL
FU0210 | 1043265-1,1043265-7 | FUSE, 20A | B PNL
FU0212 | 1043265-3 | FUSE, 2A | B PNL
FU0410 | 1043265-1,1043265-4 | FUSE, 5A | B PNL
GR0231 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | B PNL
GR0233 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | B PNL
IEG0230 | 232941-300 | BUS BAR, PANEL B - INSTRUMENT EARTH GROUNDING | B PNL
KA0221 | 1061979-1 | RELAY, PRIMARY GAS FUEL SHUTOFF VALVE | B PNL
KA0222 | 1061979-1 | RELAY, SECONDARY GAS FUEL SHUTOFF VALVE | B PNL
KA0224 | 1061979-1 | RELAY, EMERGENCY SHUTDOWN RELAY | B PNL
KA0235 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | B PNL
KA0236 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | B PNL
KA0237 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | B PNL
KA0239 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | B PNL
KA0240 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | B PNL
KA0241 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | B PNL
KA0242 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | B PNL
KA0243 | 1061979-1 | RELAY, NO FIRE DETECTED | B PNL
KA0244 | 1061979-1 | RELAY, NO FIRE DETECTED | B PNL
KA0245 | 1061979-1 | RELAY, NO GAS DETECTED | B PNL
KA0251 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | B PNL
KA1020 | 1061979-1 | RELAY, IGNITION START | B PNL
PC0470 | 2271605-1 | TIMER/COUNTER, ENGINE HOUR / START COUNTER | B PNL
XT0060 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | B PNL
XT0062 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | B PNL
XT0237 | 1066730-10,[3]1066730-9,1067996-4 | DIODE TERMINAL STRIP, 4 CONDUCTOR | B PNL
XT0400 | 1066730-1,1066730-2,1067996-4 | TERMINAL STRIP, 4 CONDUCTOR | B PNL
XT0401 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | B PNL
AP0602 | 1089241-40 | 1756-EN2TRXT, ETHERNET | PLC PNL
AP0603 | 1089241-40 | 1756-EN2TRXT, ETHERNET | PLC PNL
AP0604 | 1089241-20 | MODULE, BLANK FILLER | PLC PNL
AP0605 | 1089241-20 | MODULE, BLANK FILLER | PLC PNL
AP0606 | 1089241-20 | MODULE, BLANK FILLER | PLC PNL
AP0607 | 1089241-36 | 1756-EN2TXT, ETHERNET | PLC PNL
AP0608 | 1089241-20 | MODULE, BLANK FILLER | PLC PNL
AP0609 | 1089241-40 | 1756-EN2TRXT, ETHERNET | PLC PNL
AR0600 | 1057900,1059465,1089241-42,1103759,19298R1,22652R1 | RACK CHASSIS, 1756-A10XT (10 SLOT) | PLC PNL
AT0600 | 1089241-30,1089241-43 | 1756-L83EXTS, CONTROLLER^GUARDLOGIX | PLC PNL
AT0601 | 1089241-30,1089241-43 | 1756-L83EXTS, CONTROLLER^GUARDLOGIX | PLC PNL
BA0070 | 1098580-1,1098580-53 | CLOSET CONNECTOR HOUSING, LC 12 FIBER, DUPLEX^50 MICRON MULTIMODE OM3/4 | PLC PNL
GR0234 | [2]903849C1 | RAIL GROUND, DIN RAIL GROUNDING | PLC PNL
UV0600 | 1089241-28 | POWER SUPPLY, RSLOGIX CHASSIS | PLC PNL
XT0051 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | PLC PNL
AT0680 | 1634974-100 | GATEWAY MODULE, TURBOTRONIC GATEWAY | R/RAIL
BA1100 | 1337728-10 | SWITCH, ETAP, DLR INTERFACE | R/RAIL
FU0291 | 1043265-1,1043265-4 | FUSE, 5A | R/RAIL
FU0680 | 1043265-1,1043265-4 | FUSE, 5A | R/RAIL
FU1100 | 1043265-1,1043265-5 | FUSE, 10A | R/RAIL
FU1101 | 1043265-1,1043265-3 | FUSE, 2A | R/RAIL
GR0532 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | R/RAIL
UV0291 | 1088442-4 | POWER CONVERTER, DC/DC INPUT TO 24V DC OUTPUT | R/RAIL
XT0111 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | R/RAIL
XT0291 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | R/RAIL
XT0680 | 1066730-32,1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | R/RAIL
GR1163 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RAIL,RIGHT,JB73
XT0845 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RAIL,RIGHT,JB73

## JB70_S
JB70
CONTROL,JB70
Project # | 4N091
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
SA0471:B1-13 | SA0471B113 | WHT | 20 | 220 | AF0087:40 | A PNL | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 220 | AF0087:08 | A PNL
SA0471:B2-13 | SA0471B213 | WHT | 20 | 220 | AF0087:39 | A PNL
SA0471:B2-14 | SA0471B214 | WHT | 20 | 220 | AF0087:07 | A PNL
SA0473:11 | SA047311 | WHT | 20 | 220 | AF0087:37 | A PNL | SA0473
SA0473:12 | SA047312 | WHT | 20 | 220 | AF0087:05 | A PNL
SA0473:13 | SA047313 | WHT | 20 | 220 | AF0087:38 | A PNL
SA0473:14 | SA047314 | WHT | 20 | 220 | AF0087:06 | A PNL
SA0474:B1-13 | SA0474B113 | WHT | 20 | 220 | AF0087:45 | A PNL | SA0474
SA0474:B1-14 | SA0474B114 | WHT | 20 | 220 | AF0087:13 | A PNL
SA0474:B2-13 | SA0474B213 | WHT | 20 | 220 | AF0087:44 | A PNL
SA0474:B2-14 | SA0474B214 | WHT | 20 | 220 | AF0087:12 | A PNL
SB0471:11 | SB047111 | WHT | 20 | 220 | AF0087:34 | A PNL | SB0471
SB0471:12 | SB047112 | WHT | 20 | 220 | AF0087:02 | A PNL
SB0472:B2-12 | SB0472B212 | WHT | 20 | 220 | AF0081:04 | A PNL | SB0472
SB0473:13 | SB047313 | WHT | 20 | 220 | AF0087:35 | A PNL | SB0473
SB0473:14 | SB047314 | WHT | 20 | 220 | AF0087:03 | A PNL
SB0474:13 | SB047413 | WHT | 20 | 220 | AF0087:36 | A PNL | SB0474
SB0474:14 | SB047414 | WHT | 20 | 220 | AF0087:04 | A PNL
AT1100:NEG | -0V | WHT | 14 | 200 | XT0111:22 | R/RAIL | AT1100
AT1100:POS | FU1100 | WHT | 14 | 200 | FU1100:LD | R/RAIL
SB0472:B1-12 | ESTOPA | WHT | 20 | 200 | XT0111:20 | R/RAIL | SB0472
SB0472:B2-11 | SB0472AB111 | WHT | 20 | 200 | XT0111:27 | R/RAIL
SB0472:B1-11 | SB0472AB211 | WHT | 20 | 200 | XT0111:19 | R/RAIL
SH0470:11 | SH047011 | WHT | 20 | 200 | XT0111:7 | R/RAIL | SH0470
SH0470:12 | SH047012 | WHT | 20 | 200 | XT0111:8 | R/RAIL
SH0470:13 | SH047013 | WHT | 20 | 200 | XT0111:9 | R/RAIL
SH0470:14 | SH047014 | WHT | 20 | 200 | XT0111:10 | R/RAIL
SH0470:X1 | SH0470X1 | WHT | 20 | 200 | XT0111:12 | R/RAIL
SH0470:X2 | SH0470X2 | WHT | 20 | 200 | XT0111:11 | R/RAIL
SH0471:11 | SH047111 | WHT | 20 | 200 | XT0111:1 | R/RAIL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 200 | XT0111:2 | R/RAIL
SH0471:13 | SH047113 | WHT | 20 | 200 | XT0111:3 | R/RAIL
SH0471:14 | SH047114 | WHT | 20 | 200 | XT0111:4 | R/RAIL
SH0471:X1 | SH0471X1 | WHT | 20 | 200 | XT0111:6 | R/RAIL
SH0471:X2 | SH0471X2 | WHT | 20 | 200 | XT0111:5 | R/RAIL
SH0472:13 | FU0139 | WHT | 20 | 200 | XT0111:15 | R/RAIL | SH0472
SH0472:14 | KA0241A1 | WHT | 20 | 200 | XT0111:16 | R/RAIL
SH0472:11 | SH047211 | WHT | 20 | 200 | XT0111:13 | R/RAIL
SH0472:12 | SH047212 | WHT | 20 | 200 | XT0111:14 | R/RAIL
SH0472:X1 | SH0472X1 | WHT | 20 | 200 | XT0111:18 | R/RAIL
SH0472:X2 | SH0472X2 | WHT | 20 | 200 | XT0111:17 | R/RAIL
SH1120:14 | SH112014 | WHT | 20 | 200 | XT0111:30 | R/RAIL | SH1120
SH1120:11 | SH112011 | WHT | 20 | 200 | XT0111:31 | R/RAIL
SH1120:12 | SH112012 | WHT | 20 | 200 | XT0111:32 | R/RAIL
SH1120:13 | SH112013 | WHT | 20 | 200 | XT0111:29 | R/RAIL
SH1120:X1 | SH1120X1 | WHT | 20 | 200 | XT0111:34 | R/RAIL
SH1120:X2 | SH1120X2 | WHT | 20 | 200 | XT0111:33 | R/RAIL

## R RAIL_S
R/RAIL
0
Project # | 4N091
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:NEG | -0V | WHT | 14 | 120 | XT0680:2 | R/RAIL | AT
AT0680:POS | AT0680POS | WHT | 14 | 120 | XT0680:1 | R/RAIL
BA1100:NEG | UV0271_0V | WHT | 16 | 120 | XT0291:2 | R/RAIL | BA
BA1100:POS | FU1101 | WHT | 16 | 60 | FU1101:LD | R/RAIL
UV0291:24V(-) | -0V | WHT | 16 | 120 | XT0111:22 | R/RAIL | UV
UV0291:OUT1(-) | UV0271_0V | WHT | 16 | 120 | XT0291:2 | R/RAIL
UV0291:OUT1(+) | UV0271_24V | WHT | 16 | 120 | XT0291:1 | R/RAIL
XT0111:19 | SB0472AB211 | WHT | 20 | 60 | XT0111:25 | R/RAIL | FU/XT
FU1101:LI | UV0271_24V | WHT | 16 | 100 | XT0291:1 | R/RAIL
FU0291:LD | FU0291 | WHT | 16 | 120 | UV0291:24V(+) | R/RAIL
FU0291:LI | FU0136 | WHT | 16 | 100 | XT0111:21 | R/RAIL
FU1100:LI | FU0136 | WHT | 16 | 100 | XT0111:21 | R/RAIL
FU0680:LD | AT0680POS | WHT | 14 | 100 | XT0680:1 | R/RAIL
XT0111:28 | SB0472AB112 | WHT | 20 | 200 | AF0081:36 | A PNL | XT-A
XT0111:4 | SH047114 | WHT | 20 | 200 | AF0087:00 | A PNL
XT0111:8 | SH047012 | WHT | 20 | 200 | AF0087:01 | A PNL
XT0111:30 | SH112014 | WHT | 20 | 200 | AF0087:10 | A PNL
XT0111:3 | SH047113 | WHT | 20 | 200 | AF0087:32 | A PNL
XT0111:7 | SH047011 | WHT | 20 | 200 | AF0087:33 | A PNL
XT0111:29 | SH112013 | WHT | 20 | 200 | AF0087:42 | A PNL
XT0111:23 | HA047202 | WHT | 20 | 200 | AF0092:12 | A PNL
XT0111:17 | SH0472X2 | WHT | 20 | 200 | AF0092:13 | A PNL
XT0111:24 | HA047201 | WHT | 20 | 200 | AF0092:28 | A PNL
XT0111:18 | SH0472X1 | WHT | 20 | 200 | AF0092:29 | A PNL
XT0111:11 | SH0470X2 | WHT | 20 | 200 | AF0093:06 | A PNL
XT0111:5 | SH0471X2 | WHT | 20 | 200 | AF0093:15 | A PNL
XT0111:12 | SH0470X1 | WHT | 20 | 200 | AF0093:22 | A PNL
XT0111:6 | SH0471X1 | WHT | 20 | 200 | AF0093:31 | A PNL
XT0111:15 | FU0139 | WHT | 20 | 200 | XT0081:6 | A PNL
XT0111:16 | KA0241A1 | WHT | 20 | 200 | XT0081:7 | A PNL
XT0111:26 | ESTOPB | WHT | 20 | 200 | XT0089:3 | A PNL
XT0111:20 | ESTOPA | WHT | 20 | 200 | XT0089:4 | A PNL
XT0111:22 | -0V | WHT | 14 | 200 | XT0003:6 | A PNL
XT0111:21 | FU0136 | WHT | 14 | 200 | XT0002:6 | A PNL
XT0111:17 | SH0472X2 | WHT | 20 | 240 | KA0240:21 | B PNL | XT-B
XT0111:34 | SH1120X1 | WHT | 20 | 240 | AF0076:19 | B PNL
XT0111:33 | SH1120X2 | WHT | 20 | 240 | AF0076:03 | B PNL
XT0680:2 | -0V | WHT | 14 | 240 | XT0051:8 | PLC PNL | XT/FU-PLC
FU0680:LI | FU0136 | WHT | 14 | 240 | XT0051:4 | PLC PNL

## PLC _S
PLC PNL
JB70
Project # | 4N091
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UV0600:(-) | -0V | WHT | 14 | 140 | XT0003:4 | A PNL | UV-A
UV0600:(+) | FU0010 | WHT | 14 | 140 | FU0010:LD | A PNL
XT0051:5 | -0V | WHT | 14 | 100 | XT0003:7 | A PNL | XT-A
XT0051:1 | FU0136 | WHT | 14 | 100 | XT0002:7 | A PNL
XT0051:5 | -0V | WHT | 16 | 180 | BA0001:V1(-) | B PNL | XT-B
XT0051:6 | -0V | WHT | 16 | 180 | BA0002:V1(-) | B PNL
XT0051:7 | -0V | WHT | 16 | 180 | BA0009:V1(-) | B PNL
XT0051:1 | FU0136 | WHT | 16 | 180 | FU0021:LI | B PNL
XT0051:2 | FU0136 | WHT | 16 | 180 | FU0022:LI | B PNL
XT0051:3 | FU0136 | WHT | 16 | 180 | FU0029:LI | B PNL

## A PNL_S
A PNL
Project # | 4N091
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UA1200:J1-9 | -0V | WHT | 20 | 120 | XT0089:22 | A PNL | UA
UA1200:J1-10 | FU0389 | WHT | 20 | 120 | XT0089:21 | A PNL
UA1200:J2-2 | FU0389 | WHT | 20 | 120 | XT0089:21 | A PNL
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | A PNL
UA1200:J2-1 | UA1200J21 | WHT | 20 | 120 | XT0089:20 | A PNL
UA1200:J2-7 | UA1200J27 | WHT | 20 | 80 | AF0081:19 | A PNL
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0091:41 | A PNL | UJ
UJ0131:VIN | UJ0131VIN | WHT | 20 | 60 | AF0094:04 | A PNL
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 60 | AF0094:06 | A PNL
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0091:09 | A PNL
UJ0131:OUT(-) | -0V | WHT | 14 | 60 | XT0003:1 | A PNL
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | A PNL
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | A PNL
AF0094:05 | -0V | WHT | 20 | 60 | XT0082:5 | A PNL | AU/AF
AF0094:07 | -0V | WHT | 20 | 60 | XT0082:5 | A PNL
AF0081:00 | UA1200J21 | WHT | 20 | 60 | XT0089:20 | A PNL
AF0092:COM | -0V | WHT | 16 | 60 | XT0080:2 | A PNL
AF0093:COM | -0V | WHT | 16 | 60 | XT0080:3 | A PNL
AF0095:COM | -0V | WHT | 16 | 80 | XT0080:4 | A PNL
AU0080:COM | -0V | WHT | 16 | 60 | XT0080:1 | A PNL
AU0090:COM | -0V | WHT | 16 | 80 | XT0080:2 | A PNL
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | A PNL
AF0091:V+ | AF0091P | WHT | 16 | 60 | AF0094:V+ | A PNL
AU0080:V+ | FU0081 | WHT | 16 | 60 | FU0081:LD | A PNL
AU0090:V+ | FU0090 | WHT | 16 | 60 | FU0090:LD | A PNL
AF0092:V+ | FU0091 | WHT | 16 | 60 | FU0091:LD | A PNL
AF0093:V+ | FU0092 | WHT | 16 | 60 | FU0092:LD | A PNL
AF0095:V+ | FU0093 | WHT | 16 | 60 | FU0093:LD | A PNL
KA0130:A1 | KA0130A1 | WHT | 20 | 80 | AF0081:35 | A PNL | KA A1
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | KA0130:11 | A PNL
KA0234:A1 | KA0131A1 | WHT | 20 | 60 | XT0089:8 | A PNL
KA0133:A1 | KA0133A1 | WHT | 20 | 60 | AF0092:02 | A PNL
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0091:12 | A PNL
KA0135:A1 | KA0135A1 | WHT | 20 | 60 | XT0089:23 | A PNL
KA2160:A1 | KA2160A1 | WHT | 20 | 60 | AF0092:04 | A PNL
KA2161:A1 | KA2161A1 | WHT | 20 | 60 | AF0092:07 | A PNL
KA3103:A1 | KA3103A1 | WHT | 20 | 60 | AF0092:08 | A PNL
KA3220:A1 | KA3220A1 | WHT | 20 | 60 | AF0093:01 | A PNL
KA0136:A1 | PS32002 | WHT | 20 | 60 | XT0089:14 | A PNL
KA0135:A2 | -0V | WHT | 20 | 60 | KA0137:A2 | A PNL | KA A2
KA0131:A2 | KA0131A2 | WHT | 20 | 80 | AF0081:24 | A PNL
KA2160:A2 | KA2160A2 | WHT | 20 | 60 | AF0092:20 | A PNL
KA2161:A2 | KA2161A2 | WHT | 20 | 60 | AF0092:23 | A PNL
KA3103:A2 | KA3103A2 | WHT | 20 | 60 | AF0092:24 | A PNL
KA3220:A2 | KA3220A2 | WHT | 20 | 60 | AF0093:17 | A PNL
KA0130:A2 | UA1200J26 | WHT | 20 | 120 | UA1200:J2-6 | A PNL
KA0132:11 | FU0139 | WHT | 20 | 60 | KA0133:11 | A PNL | KA
KA0132:11 | FU0139 | WHT | 20 | 100 | XT0081:1 | A PNL
KA0134:11 | FU0139 | WHT | 20 | 60 | KA0136:11 | A PNL
KA0138:14 | FU0388 | WHT | 16 | 60 | FU0388:LD | A PNL
KA0130:14 | KA013014 | WHT | 20 | 100 | AF0081:03 | A PNL
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | A PNL
KA0137:24 | KA013112 | WHT | 20 | 120 | AF0087:09 | A PNL
KA0131:14 | KA013114 | WHT | 20 | 60 | AF0092:06 | A PNL
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | A PNL
KA0131:11 | KA0135A1 | WHT | 20 | 60 | KA0135:A1 | A PNL
KA0136:21 | KA013621 | WHT | 20 | 120 | AF0087:43 | A PNL
KA0136:24 | KA013624 | WHT | 20 | 120 | AF0087:11 | A PNL
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | A PNL
KA0132:21 | KA0138A1 | WHT | 20 | 60 | KA0138:A1 | A PNL
KA0141:11 | KA014111 | WHT | 20 | 60 | AF0091:39 | A PNL
KA0141:14 | KA014114 | WHT | 20 | 60 | AF0091:07 | A PNL
KA0141:24 | KA014124 | WHT | 20 | 100 | AF0081:40 | A PNL
KA0138:11 | KM3170EP | WHT | 20 | 100 | XT0081:8 | A PNL
KA0132:12 | KT014315 | WHT | 20 | 60 | KA0133:12 | A PNL
KT0140:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | A PNL | KT R/S
KT0142:15 | FU0139 | WHT | 20 | 60 | KA0137:21 | A PNL
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0145:15 | A PNL
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0134:11 | A PNL
KT0144:15 | FU0139 | WHT | 20 | 60 | KA0137:11 | A PNL
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0133:11 | A PNL
KT0144:A1 | FU0139 | WHT | 20 | 60 | KA0136:11 | A PNL
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | A PNL
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0143:15 | A PNL
KT0142:A1 | KT014315 | WHT | 20 | 60 | KA0132:12 | A PNL
KT0144:B1 | KT0144B1 | WHT | 20 | 60 | KA0138:24 | A PNL
KT0146:A1 | KT0146A1 | WHT | 20 | 60 | KA0141:21 | A PNL
KT0140:A2 | -0V | WHT | 20 | 80 | XT0080:6 | A PNL | KT L/S
KT0142:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | A PNL
KT0143:A2 | -0V | WHT | 20 | 60 | KA0134:A2 | A PNL
KT0143:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | A PNL
KT0144:A2 | -0V | WHT | 20 | 60 | KA0133:A2 | A PNL
KT0145:A2 | -0V | WHT | 20 | 60 | KA0135:A2 | A PNL
KT0145:A2 | -0V | WHT | 20 | 80 | XT0080:7 | A PNL
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0132:22 | A PNL
KT0141:18 | KA013222 | WHT | 20 | 60 | KA0137:14 | A PNL
KT0144:18 | KA013222 | WHT | 20 | 60 | KA0137:14 | A PNL
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KA0137:A1 | A PNL
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KT0142:18 | A PNL
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | A PNL
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | A PNL
KT0146:18 | KT014618 | WHT | 20 | 80 | AF0081:08 | A PNL
XT0082:2 | -0V | WHT | 20 | 60 | XT0080:6 | A PNL | FU/XT
XT0080:6 | -0V | WHT | 20 | 60 | XT0089:19 | A PNL
XT0089:13 | FU0139 | WHT | 20 | 60 | XT0081:4 | A PNL
XT0081:3 | FU0139 | WHT | 20 | 60 | XT0089:12 | A PNL
XT0082:4 | -0V | WHT | 16 | 60 | XT0089:22 | A PNL
FU0139:LD | FU0139 | WHT | 16 | 60 | XT0081:1 | A PNL
FU0389:LD | FU0389 | WHT | 16 | 60 | XT0089:21 | A PNL
XT0003:2 | -0V | WHT | 14 | 60 | XT0082:1 | A PNL
XT0080:1 | -0V | WHT | 14 | 60 | XT0082:2 | A PNL
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0080:LD | A PNL
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0090:LI | A PNL
FU0137:LI | FU0136 | WHT | 14 | 60 | XT0002:2 | A PNL
FU0010:LI | FU0136 | WHT | 14 | 60 | XT0002:4 | A PNL
XT0081:1 | FU0139 | WHT | 14 | 60 | XT0089:17 | A PNL
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0137:LD | A PNL
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0139:LI | A PNL
UA1200:J1-4 | UA1200J14 | WHT | 20 | 140 | AF0076:11 | B PNL | UA-B
UA1200:J1-5 | UA1200J15 | WHT | 20 | 120 | XT0237:1 B1 | B PNL
AF0093:12 | -009312 | WHT | 20 | 120 | PC0470:INP_A | B PNL | AF-B
AF0093:28 | -009328 | WHT | 20 | 120 | PC0470:-PWR | B PNL
AF0093:44 | -009344 | WHT | 20 | 120 | PC0470:+PWR | B PNL
AF0095:02 | -009502 | WHT | 20 | 140 | KA0221:14 | B PNL
AF0081:41 | KA023911 | WHT | 20 | 140 | KA0239:11 | B PNL
AF0081:09 | KA023914 | WHT | 20 | 140 | KA0239:14 | B PNL
AF0092:45 | KA024022 | WHT | 20 | 140 | KA0240:22 | B PNL
AF0081:33 | KA024311 | WHT | 20 | 140 | KA0243:11 | B PNL
AF0081:01 | KA024314 | WHT | 20 | 140 | KA0243:14 | B PNL
AF0081:34 | KA024511 | WHT | 20 | 140 | KA0245:11 | B PNL
AF0081:02 | KA024514 | WHT | 20 | 140 | KA0245:14 | B PNL
KA0233:14 | -006102 | WHT | 20 | 140 | AF0061:02 | B PNL | KA-B
KA0234:14 | -006114 | WHT | 20 | 140 | AF0061:14 | B PNL
KA0137:21 | FU0139 | WHT | 20 | 200 | KA0244:11 | B PNL
KA0131:A1 | KA0131A1 | WHT | 20 | 200 | KA0242:14 | B PNL
KA0231:14 | KA0131A1 | WHT | 20 | 200 | KA0242:14 | B PNL
KA0134:A1 | KA0134A1 | WHT | 20 | 180 | AF0067:12 | B PNL
KA0141:24 | KA014124 | WHT | 20 | 200 | KA0241:24 | B PNL
KA0231:24 | KA023124 | WHT | 20 | 200 | KA0245:21 | B PNL
KA0231:21 | KA024114 | WHT | 20 | 200 | KA0241:14 | B PNL
KA0231:11 | KT014618 | WHT | 20 | 200 | KA0242:11 | B PNL
KA0141:21 | KT0146A1 | WHT | 20 | 200 | KA0241:21 | B PNL
KT0145:A1 | KT0145A1 | WHT | 20 | 160 | KA0244:12 | B PNL | KT-B
KT0146:15 | KT014615 | WHT | 20 | 140 | AF0076:10 | B PNL
KT0146:B1 | KT0146B1 | WHT | 20 | 140 | AF0076:13 | B PNL
KT0146:18 | KT014618 | WHT | 20 | 160 | KA0242:11 | B PNL
KT0146:A2 | KT0146A2 | WHT | 20 | 140 | AF0076:29 | B PNL
XT0089:18 | -007405 | WHT | 20 | 160 | AF0074:05 | B PNL | XT-B
XT0080:5 | -0V | WHT | 20 | 160 | KA0241:A2 | B PNL
XT0080:8 | -0V | WHT | 20 | 160 | KA0243:A2 | B PNL
XT0089:19 | -0V | WHT | 20 | 160 | AF0074:21 | B PNL
XT0089:5 | ESTOP | WHT | 20 | 160 | KA0235:A1 | B PNL
XT0089:6 | ESTOP | WHT | 20 | 160 | KA0251:A1 | B PNL
XT0089:1 | ESTOPD | WHT | 20 | 160 | KA0243:24 | B PNL
XT0081:2 | FU0139 | WHT | 20 | 160 | KA0244:11 | B PNL
XT0081:5 | FU0139 | WHT | 20 | 160 | KA0236:11 | B PNL
XT0081:7 | KA0241A1 | WHT | 20 | 160 | KA0241:A1 | B PNL
XT0089:10 | KA9982C | WHT | 20 | 160 | KA0243:A1 | B PNL
XT0089:11 | KA9984C | WHT | 20 | 160 | KA0245:A1 | B PNL
XT0089:15 | PS32004 | WHT | 20 | 160 | KA0240:11 | B PNL
XT0089:20 | UA1200J21 | WHT | 20 | 160 | KA0241:11 | B PNL
XT0084:1 | UF1300 | WHT | 20 | 160 | KA0240:14 | B PNL
XT0003:1 | -0V | WHT | 14 | 120 | XT0062:1 | B PNL
XT0003:3 | -0V | WHT | 14 | 120 | XT0401:1 | B PNL
XT0002:1 | FU0136 | WHT | 14 | 180 | FU0210:LI | B PNL
XT0002:3 | FU0136 | WHT | 14 | 160 | FU0410:LI | B PNL

## B PNL_S
B PNL
Project # | 4N091
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0410:53 | -0V | WHT | 16 | 80 | XT0401:2 | B PNL | 1444'S
AF0410:54 | -0V | WHT | 16 | 60 | AF0420:53 | B PNL
AF0420:54 | -0V | WHT | 16 | 60 | AF0430:53 | B PNL
AF0430:54 | -0V | WHT | 16 | 60 | AF0450:53 | B PNL
AF0410:55 | FU0410 | WHT | 16 | 80 | FU0410:LD | B PNL
AF0410:56 | FU0410 | WHT | 16 | 60 | AF0420:55 | B PNL
AF0420:56 | FU0410 | WHT | 16 | 60 | AF0430:55 | B PNL
AF0430:56 | FU0410 | WHT | 16 | 60 | AF0450:55 | B PNL
BA0001:V1(+) | FU0021 | WHT | 16 | 60 | FU0021:LD | B PNL | BA
BA0002:V1(+) | FU0022 | WHT | 16 | 60 | FU0022:LD | B PNL
BA0009:V1(+) | FU0029 | WHT | 16 | 60 | FU0029:LD | B PNL
AF0076:12 | -007612 | WHT | 20 | 80 | XT0237:1 B2 | B PNL | AU/AF
AF0061:COM | -0V | WHT | 16 | 80 | XT0060:2 | B PNL
AF0062:COM | -0V | WHT | 16 | 80 | XT0060:3 | B PNL
AF0067:COM | -0V | WHT | 16 | 80 | XT0060:3 | B PNL
AF0076:COM | -0V | WHT | 16 | 80 | XT0060:4 | B PNL
AU0060:COM | -0V | WHT | 16 | 60 | XT0060:2 | B PNL
AU0070:COM | -0V | WHT | 16 | 60 | XT0060:4 | B PNL
AF0066:COM | AF0066N | WHT | 16 | 60 | AF0068:COM | B PNL
AF0066:V+ | AF0066P | WHT | 16 | 60 | AF0068:V+ | B PNL
AF0075:COM | AF0075N | WHT | 16 | 60 | AF0077:COM | B PNL
AF0075:V+ | AF0075P | WHT | 16 | 60 | AF0077:V+ | B PNL
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | B PNL
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | B PNL
AU0060:V+ | FU0061 | WHT | 16 | 80 | FU0061:LD | B PNL
AF0061:V+ | FU0062 | WHT | 16 | 80 | FU0062:LD | B PNL
AF0062:V+ | FU0063 | WHT | 16 | 80 | FU0063:LD | B PNL
AF0067:V+ | FU0064 | WHT | 16 | 100 | FU0064:LD | B PNL
AU0070:V+ | FU0070 | WHT | 16 | 160 | FU0070:LD | B PNL
AF0076:V+ | FU0076 | WHT | 16 | 140 | FU0076:LD | B PNL
KA0221:A1 | -007602 | WHT | 20 | 120 | AF0076:02 | B PNL | KA A1
KA0222:A1 | -007604 | WHT | 20 | 120 | AF0076:04 | B PNL
KA0224:A1 | -007615 | WHT | 20 | 120 | AF0076:15 | B PNL
KA1020:A1 | KA1020A1 | WHT | 20 | 120 | AF0076:08 | B PNL
KA1020:14 | FU0100 | WHT | 16 | 60 | FU0100:LD | B PNL
KA1020:24 | -0V | WHT | 14 | 100 | XT0062:2 | B PNL
KA0221:A2 | -007618 | WHT | 20 | 120 | AF0076:18 | B PNL | KA A2
KA0222:A2 | -007620 | WHT | 20 | 120 | AF0076:20 | B PNL
KA0224:A2 | -007631 | WHT | 20 | 120 | AF0076:31 | B PNL
KA1020:A2 | KA1020A2 | WHT | 20 | 120 | AF0076:24 | B PNL
KA0221:11 | -023524 | WHT | 20 | 60 | KA0235:24 | B PNL | KA
KA0222:11 | -023724 | WHT | 20 | 60 | KA0237:24 | B PNL
KA0222:14 | -006200 | WHT | 20 | 80 | AF0062:00 | B PNL
KA0235:14 | KA023514 | WHT | 20 | 120 | AF0076:00 | B PNL
KA0236:21 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | B PNL
KA0236:24 | KA024114 | WHT | 20 | 60 | KA0241:14 | B PNL
KA0237:14 | KA023714 | WHT | 20 | 120 | AF0076:01 | B PNL
KA0239:21 | KA023921 | WHT | 20 | 60 | KA0242:24 | B PNL
KA0242:21 | KA024221 | WHT | 20 | 100 | XT0237:1 T2 | B PNL
KA0243:21 | KA024524 | WHT | 20 | 60 | KA0245:24 | B PNL
KA0239:22 | FU0212 | WHT | 16 | 60 | FU0212:LD | B PNL
XT0062:2 | -0V | WHT | 14 | 60 | XT0060:1 | B PNL | FU/XT
FU0061:LI | FU0060 | WHT | 14 | 60 | FU0060:LD | B PNL
FU0064:LI | FU0060 | WHT | 14 | 140 | FU0070:LI | B PNL
FU0070:LI | FU0060 | WHT | 14 | 140 | FU0076:LI | B PNL
FU0060:LI | FU0210 | WHT | 12 | 140 | FU0100:LI | B PNL
FU0060:LI | FU0210 | WHT | 12 | 140 | FU0210:LD | B PNL
FU0100:LI | FU0210 | WHT | 12 | 60 | FU0212:LI | B PNL

## HPC CTRL_S
HPC CTRL CTRL
0
Project # | 4N091
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF1201:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC CTRL | AU/AF
AU1200:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC CTRL
AF1202:COM | AF1202N | WHT | 16 | 60 | AU1200:COM | HPC CTRL
AF1202:V+ | AF1202P | WHT | 16 | 60 | AU1200:V+ | HPC CTRL
AF1206:COM | AF1207N | WHT | 16 | 60 | AF1207:COM | HPC CTRL
AF1206:V+ | AF1207P | WHT | 16 | 60 | AF1207:V+ | HPC CTRL
AU1200:V+ | FU0120 | WHT | 16 | 100 | FU0120:LD | HPC CTRL
AF1201:V+ | FU0121 | WHT | 16 | 100 | FU0121:LD | HPC CTRL
AF0510:53 | -0V | WHT | 16 | 60 | XT0510:2 | HPC CTRL | AF0510
AF0510:54 | -0V | WHT | 16 | 60 | AF0520:53 | HPC CTRL
AF0510:55 | FU0510 | WHT | 16 | 60 | FU0510:LD | HPC CTRL
AF0510:56 | FU0510 | WHT | 16 | 60 | AF0520:55 | HPC CTRL
KA7120:A2 | -120116 | WHT | 20 | 100 | AF1201:16 | HPC CTRL | KA A1/2
KA4401:A2 | -120718 | WHT | 20 | 80 | AF1207:18 | HPC CTRL
KA7120:A1 | KA012011 | WHT | 20 | 60 | KA0120:11 | HPC CTRL
KA0120:A2 | -0V | WHT | 20 | 60 | XT0120:3 | HPC CTRL
KA0120:A1 | KA0131A1 | WHT | 20 | 60 | XT0120:4 | HPC CTRL
KA4401:A1 | PS44013 | WHT | 20 | 60 | XT0120:6 | HPC CTRL
KA0120:14 | -120100 | WHT | 20 | 100 | AF1201:00 | HPC CTRL | KA
KA4401:22 | -120132 | WHT | 20 | 100 | AF1201:32 | HPC CTRL
KA4401:14 | -120702 | WHT | 20 | 80 | AF1207:02 | HPC CTRL
KA4401:11 | PS44012 | WHT | 20 | 80 | AF1207:34 | HPC CTRL
KA4401:11 | PS44012 | WHT | 20 | 60 | XT0120:5 | HPC CTRL
SB0472A:B1-11 | SB0472AB111 | WHT | 20 | 180 | XT0121:7 | HPC CTRL | SB0472
SB0472A:B1-12 | SB0472AB112 | WHT | 20 | 180 | XT0121:8 | HPC CTRL | DO NOT INSTALL ON PANEL
SB0472A:B2-11 | SB0472AB211 | WHT | 20 | 180 | XT0121:5 | HPC CTRL
SB0472A:B2-12 | ESTOPB | WHT | 20 | 180 | XT0121:6 | HPC CTRL
FU0120:LI | FU0122 | WHT | 14 | 80 | FU0122:LD | HPC CTRL | FU/XT
FU0121:LI | FU0122 | WHT | 14 | 60 | FU0510:LI | HPC CTRL
FU0510:LI | FU0122 | WHT | 14 | 60 | XT0121:1 | HPC CTRL
XT0120:3 | -0V | WHT | 14 | 80 | XT0510:1 | HPC CTRL
XT0121:3 | -0V | WHT | 14 | 80 | XT0510:2 | HPC CTRL
FU0122:LI | FU0332 | WHT | 12 | 100 | XT0335:2 | HPC CTRL
FU0332:LD | FU0332 | WHT | 12 | 60 | XT0335:1 | HPC CTRL
XT0336:2 | -0V | WHT | 12 | 60 | XT0120:1 | HPC CTRL

## BOP CTRL_S
BOP CTRL
JB74
Project # | 4N091
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0141:16 | SV76212 | WHT | 20 | 60 | XT0572:3 | BOP CTRL | AU/AF 140'S
AF0141:20 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP CTRL
AF0141:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP CTRL
AF0146:COM | -0V | WHT | 16 | 60 | XT0140:3 | BOP CTRL
AU0140:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP CTRL
AF0142:COM | AU0140N | WHT | 16 | 60 | AU0140:COM | BOP CTRL
AF0142:V+ | AU0140P | WHT | 16 | 60 | AU0140:V+ | BOP CTRL
AU0140:V+ | FU0140 | WHT | 16 | 80 | FU0140:LD | BOP CTRL
AF0141:V+ | FU0141 | WHT | 16 | 80 | FU0141:LD | BOP CTRL
AF0146:V+ | FU0142 | WHT | 16 | 100 | FU0142:LD | BOP CTRL
AF0183:04 | ZSC76212 | WHT | 20 | 60 | XT0572:4 | BOP CTRL | AU/AF 180'S
AF0183:05 | ZSC76412 | WHT | 20 | 60 | XT0572:6 | BOP CTRL
AF0181:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP CTRL
AF0184:COM | -0V | WHT | 16 | 60 | XT0140:5 | BOP CTRL
AU0180:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP CTRL
AF0183:COM | AF0183N | WHT | 16 | 60 | AF0185:COM | BOP CTRL
AF0183:V+ | AF0183P | WHT | 16 | 60 | AF0185:V+ | BOP CTRL
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | BOP CTRL
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | BOP CTRL
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | BOP CTRL
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | BOP CTRL
AF0184:V+ | FU0182 | WHT | 16 | 60 | FU0182:LD | BOP CTRL
KA6310:A1 | -014102 | WHT | 20 | 100 | AF0141:02 | BOP CTRL | KA A1/A2
KA6310:A2 | -014118 | WHT | 20 | 100 | AF0141:18 | BOP CTRL
KA0572:A2 | KA0572A2 | WHT | 20 | 80 | AF0183:20 | BOP CTRL
KA0573:A2 | KA0573A2 | WHT | 20 | 80 | AF0183:21 | BOP CTRL
KA0550:A1 | KA0550A1 | WHT | 20 | 80 | AF0184:00 | BOP CTRL
KA0551:A1 | KA0551A1 | WHT | 20 | 80 | AF0184:02 | BOP CTRL
KA0554:A1 | KA0554A1 | WHT | 20 | 80 | AF0184:05 | BOP CTRL
KA0550:A2 | KA0550A2 | WHT | 20 | 80 | AF0184:16 | BOP CTRL
KA0551:A2 | KA0551A2 | WHT | 20 | 80 | AF0184:18 | BOP CTRL
KA0554:A2 | KA0554A2 | WHT | 20 | 80 | AF0184:21 | BOP CTRL
KA0531:24 | KA053124 | WHT | 20 | 60 | KA0540:A1 | BOP CTRL
KA0532:24 | KA053224 | WHT | 20 | 60 | KA0541:A1 | BOP CTRL
KA0535:A2 | -0V | WHT | 20 | 100 | XT0140:6 | BOP CTRL
KA0535:A1 | KA0131A1 | WHT | 20 | 100 | XT0140:7 | BOP CTRL
KA0531:A1 | ESTOP | WHT | 20 | 100 | XT0140:8 | BOP CTRL
KA0540:A2 | SV76212 | WHT | 20 | 60 | XT0572:3 | BOP CTRL
KA0572:A1 | ZSC76212 | WHT | 20 | 60 | XT0572:4 | BOP CTRL
KA0541:A2 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP CTRL
KA0573:A1 | ZSC76412 | WHT | 20 | 60 | XT0572:6 | BOP CTRL
KA0533:11 | FU0143 | WHT | 16 | 60 | XT0140:9 | BOP CTRL | KA
KA0531:11 | KA053111 | WHT | 20 | 60 | AF0141:14 | BOP CTRL
KA0531:21 | KA053121 | WHT | 20 | 60 | AF0141:00 | BOP CTRL
KA0532:21 | KA053221 | WHT | 20 | 60 | AF0141:04 | BOP CTRL
KA0573:11 | KA053312 | WHT | 20 | 60 | KA0533:12 | BOP CTRL
KA0572:11 | KA053312 | WHT | 20 | 60 | KA0573:11 | BOP CTRL
KA0535:11 | KA053511 | WHT | 20 | 60 | KA0554:14 | BOP CTRL
KA0535:14 | KA053514 | WHT | 20 | 60 | XT0573:1 B2 | BOP CTRL
KA0536:11 | KA053611 | WHT | 20 | 60 | XT0573:2 B1 | BOP CTRL
KA0536:12 | KA053612 | WHT | 20 | 60 | XT0573:1 T1 | BOP CTRL
KA0540:11 | KA054011 | WHT | 20 | 60 | KA0550:14 | BOP CTRL
KA0541:11 | KA054111 | WHT | 20 | 60 | KA0551:14 | BOP CTRL
KA0550:11 | KA055011 | WHT | 20 | 60 | AF0141:32 | BOP CTRL
KA0551:11 | KA055111 | WHT | 20 | 60 | AF0141:36 | BOP CTRL
KA0554:11 | KA055411 | WHT | 20 | 60 | AF0141:12 | BOP CTRL
KA0572:12 | KA057212 | WHT | 20 | 60 | XT0573:2 B2 | BOP CTRL
KA0573:12 | KA057312 | WHT | 20 | 60 | XT0573:2 T2 | BOP CTRL
KA0531:14 | SV76111 | WHT | 20 | 60 | XT0572:1 | BOP CTRL
BA1212:POS | FU1212 | WHT | 16 | 60 | FU1212:LD | BOP CTRL | BA
BA1212:NEG | UV0271_0V | WHT | 16 | 60 | XT0391:2 | BOP CTRL
FU0143:LD | FU0143 | WHT | 16 | 60 | XT0140:9 | BOP CTRL | FU
FU1212:LI | UV0271_24V | WHT | 16 | 60 | XT0391:1 | BOP CTRL
FU0140:LI | FU0146 | WHT | 14 | 100 | FU0146:LD | BOP CTRL
FU0143:LI | FU0146 | WHT | 14 | 100 | FU0180:LI | BOP CTRL

## MEDIA CONV._S
MEDIA CONV.
VFD MEDIA CONV. BOX (JB1123)
Project # | 4N091
Project Name
Revision | B
Controls DE | D. KIM
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0005:V1(-) | JB1123N | WHT | 16 | 60 | XT1123:2 | MEDIA CONV. | BA
BA0005:V1(+) | FU1123 | WHT | 16 | 60 | FU1123:LD | MEDIA CONV.
BA0006:V1(-) | JB1123N | WHT | 16 | 60 | XT1123:2 | MEDIA CONV.
BA0006:V1(+) | FU1124 | WHT | 16 | 60 | FU1124:LD | MEDIA CONV.
FU1123:LI | JB1123P | WHT | 16 | 60 | XT1123:1 | MEDIA CONV. | FU
FU1124:LI | JB1123P | WHT | 16 | 60 | XT1123:1 | MEDIA CONV.

## Bundle Tag Info
TRP-FA1
4N091
B.1
JB70 | R/RAIL | PLC | A PNL | B PNL | HPC CTRL | BOP CTRL | MEDIA CONV. | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
SA0471 | AT | UV-A | UA | 1444'S | AU/AF | AU/AF 140'S | BA
SA0473 | BA | XT-A | UJ | BA | AF0510 | AU/AF 180'S | FU
SA0474 | UV | XT-B | AU/AF | AU/AF | KA A1/2 | KA A1/A2
SB0471 | FU/XT |  | KA A1 | KA A1 | KA | KA
SB0472 | XT-A |  | KA A2 | KA A2 | SB0472 | BA
SB0473 | XT-B |  | KA | KA | FU/XT | FU
SB0474 | XT/FU-PLC |  | KT R/S | FU/XT
AT1100 |  |  | KT L/S
SB0472 |  |  | FU/XT
SH0470 |  |  | UA-B
SH0471 |  |  | AF-B
SH0472 |  |  | KA-B
SH1120 |  |  | KT-B
XT-B

## Bundle Tags2
JB70 | R/RAIL | PLC | A PNL | B PNL | HPC CTRL | BOP CTRL | MEDIA CONV.
TRP-FA1 4N091 B.1 JB70 SA0471 | TRP-FA1 4N091 B.1 R/RAIL AT | TRP-FA1 4N091 B.1 PLC UV-A | TRP-FA1 4N091 B.1 A PNL UA | TRP-FA1 4N091 B.1 B PNL 1444'S | TRP-FA1 4N091 B.1 HPC CTRL AU/AF | TRP-FA1 4N091 B.1 BOP CTRL AU/AF 140'S | TRP-FA1 4N091 B.1 MEDIA CONV. BA
TRP-FA1 4N091 B.1 JB70 SA0473 | TRP-FA1 4N091 B.1 R/RAIL BA | TRP-FA1 4N091 B.1 PLC XT-A | TRP-FA1 4N091 B.1 A PNL UJ | TRP-FA1 4N091 B.1 B PNL BA | TRP-FA1 4N091 B.1 HPC CTRL AF0510 | TRP-FA1 4N091 B.1 BOP CTRL AU/AF 180'S | TRP-FA1 4N091 B.1 MEDIA CONV. FU
TRP-FA1 4N091 B.1 JB70 SA0474 | TRP-FA1 4N091 B.1 R/RAIL UV | TRP-FA1 4N091 B.1 PLC XT-B | TRP-FA1 4N091 B.1 A PNL AU/AF | TRP-FA1 4N091 B.1 B PNL AU/AF | TRP-FA1 4N091 B.1 HPC CTRL KA A1/2 | TRP-FA1 4N091 B.1 BOP CTRL KA A1/A2
TRP-FA1 4N091 B.1 JB70 SB0471 | TRP-FA1 4N091 B.1 R/RAIL FU/XT |  | TRP-FA1 4N091 B.1 A PNL KA A1 | TRP-FA1 4N091 B.1 B PNL KA A1 | TRP-FA1 4N091 B.1 HPC CTRL KA | TRP-FA1 4N091 B.1 BOP CTRL KA
TRP-FA1 4N091 B.1 JB70 SB0472 | TRP-FA1 4N091 B.1 R/RAIL XT-A |  | TRP-FA1 4N091 B.1 A PNL KA A2 | TRP-FA1 4N091 B.1 B PNL KA A2 | TRP-FA1 4N091 B.1 HPC CTRL SB0472 | TRP-FA1 4N091 B.1 BOP CTRL BA
TRP-FA1 4N091 B.1 JB70 SB0473 | TRP-FA1 4N091 B.1 R/RAIL XT-B |  | TRP-FA1 4N091 B.1 A PNL KA | TRP-FA1 4N091 B.1 B PNL KA | TRP-FA1 4N091 B.1 HPC CTRL FU/XT | TRP-FA1 4N091 B.1 BOP CTRL FU
TRP-FA1 4N091 B.1 JB70 SB0474 | TRP-FA1 4N091 B.1 R/RAIL XT/FU-PLC |  | TRP-FA1 4N091 B.1 A PNL KT R/S | TRP-FA1 4N091 B.1 B PNL FU/XT
TRP-FA1 4N091 B.1 JB70 AT1100 |  |  | TRP-FA1 4N091 B.1 A PNL KT L/S
TRP-FA1 4N091 B.1 JB70 SB0472 |  |  | TRP-FA1 4N091 B.1 A PNL FU/XT
TRP-FA1 4N091 B.1 JB70 SH0470 |  |  | TRP-FA1 4N091 B.1 A PNL UA-B
TRP-FA1 4N091 B.1 JB70 SH0471 |  |  | TRP-FA1 4N091 B.1 A PNL AF-B
TRP-FA1 4N091 B.1 JB70 SH0472 |  |  | TRP-FA1 4N091 B.1 A PNL KA-B
TRP-FA1 4N091 B.1 JB70 SH1120 |  |  | TRP-FA1 4N091 B.1 A PNL KT-B
TRP-FA1 4N091 B.1 A PNL XT-B