## BOP_S
BOP
BALANCE OF PLANT,JB74
Project # | 4N171
Project Name | FLNG Production
Revision | B
Controls DE | CAROLYN CRAIG
Phone:
Controls ME | Hector Medrano
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0146:22 | SV74822 | WHT | 20 | 60 | XT0572:7 | BOP | AF/AU140s
AF0141:16 | SV76212 | WHT | 20 | 60 | XT0572:3 | BOP
AF0141:20 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
AF0142:07 | ZSC76112 | WHT | 20 | 60 | XT0572:2 | BOP
AF0141:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP
AF0146:COM | -0V | WHT | 16 | 60 | XT0140:3 | BOP
AU0140:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP
AU0140:V+ | FU0140 | WHT | 16 | 60 | FU0140:LD | BOP
AF0141:V+ | FU0141 | WHT | 16 | 60 | FU0141:LD | BOP
AF0146:V+ | FU0142 | WHT | 16 | 80 | FU0142:LD | BOP
AF0183:00 | ZSC74822 | WHT | 20 | 80 | XT0572:8 | BOP | AF/AU180s
AF0183:04 | ZSC76212 | WHT | 20 | 80 | XT0572:4 | BOP
AF0183:05 | ZSC76412 | WHT | 20 | 80 | XT0572:6 | BOP
AF0181:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP
AF0184:COM | -0V | WHT | 16 | 80 | XT0140:5 | BOP
AU0180:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP
AF0183:COM | AF0183N | WHT | 16 | 60 | AF0185:COM | BOP
AF0183:V+ | AF0183P | WHT | 16 | 60 | AF0185:V+ | BOP
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | BOP
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | BOP
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | BOP
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | BOP
AF0184:V+ | FU0182 | WHT | 16 | 60 | FU0182:LD | BOP
FU0143:LD | FU0143 | WHT | 16 | 60 | XT0140:9 | BOP | FU
FU0140:LI | FU0146 | WHT | 14 | 60 | FU0146:LD | BOP
FU0181:LI | FU0146 | WHT | 14 | 60 | FU0182:LI | BOP
KA5940:A1 | -014102 | WHT | 20 | 60 | AF0141:02 | BOP | KA A1
KA5941:A1 | -014106 | WHT | 20 | 60 | AF0141:06 | BOP
KA0531:A1 | ESTOP | WHT | 20 | 60 | XT0140:8 | BOP
KA0535:A1 | KA0131A1 | WHT | 20 | 60 | XT0140:7 | BOP
KA0540:A1 | KA053124 | WHT | 20 | 60 | KA0531:24 | BOP
KA0541:A1 | KA053224 | WHT | 20 | 60 | KA0532:24 | BOP
KA7482:A1 | KA053421 | WHT | 20 | 60 | KA0534:21 | BOP
KA0550:A1 | KA0550A1 | WHT | 20 | 80 | AF0184:00 | BOP
KA0551:A1 | KA0551A1 | WHT | 20 | 80 | AF0184:02 | BOP
KA0554:A1 | KA0554A1 | WHT | 20 | 80 | AF0184:05 | BOP
KA5940:A2 | -014118 | WHT | 20 | 60 | AF0141:18 | BOP | KA A2
KA5941:A2 | -014122 | WHT | 20 | 60 | AF0141:22 | BOP
KA0535:A2 | -0V | WHT | 20 | 60 | XT0140:6 | BOP
KA0550:A2 | KA0550A2 | WHT | 20 | 80 | AF0184:16 | BOP
KA0551:A2 | KA0551A2 | WHT | 20 | 80 | AF0184:18 | BOP
KA0554:A2 | KA0554A2 | WHT | 20 | 80 | AF0184:21 | BOP
KA7482:A2 | SV74822 | WHT | 20 | 60 | XT0572:7 | BOP
KA0540:A2 | SV76212 | WHT | 20 | 60 | XT0572:3 | BOP
KA0541:A2 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
KA0534:24 | -014606 | WHT | 20 | 60 | AF0146:06 | BOP | KA
KA0532:14 | -014612 | WHT | 20 | 60 | AF0146:12 | BOP
KA7483:11 | -014638 | WHT | 20 | 60 | AF0146:38 | BOP
KA0531:11 | KA053111 | WHT | 20 | 60 | AF0141:14 | BOP
KA0531:21 | KA053121 | WHT | 20 | 60 | AF0141:00 | BOP
KA0532:21 | KA053221 | WHT | 20 | 60 | AF0141:04 | BOP
KA0535:11 | KA053511 | WHT | 20 | 60 | KA0554:14 | BOP
KA0540:11 | KA054011 | WHT | 20 | 60 | KA0550:14 | BOP
KA0541:11 | KA054111 | WHT | 20 | 60 | KA0551:14 | BOP
KA0550:11 | KA055011 | WHT | 20 | 60 | AF0141:32 | BOP
KA0551:11 | KA055111 | WHT | 20 | 60 | AF0141:36 | BOP
KA0554:11 | KA055411 | WHT | 20 | 60 | AF0141:12 | BOP
KA0531:14 | SV76111 | WHT | 20 | 60 | XT0572:1 | BOP
KA0533:11 | FU0143 | WHT | 16 | 60 | XT0140:9 | BOP
VD0584:+-1N4005/1 | KA053514 | WHT | 20 | 60 | KA0535:14 | BOP | VD
VD0585:--1N4005/1 | KA053611 | WHT | 20 | 60 | KA0536:11 | BOP
VD0584:--1N4005/1 | SV76011 | WHT | 20 | 60 | KA0536:12 | BOP
Note on C85: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Originally blank, changed to WHT

## Bundle Tag Info
SOU-FLN
4N171CB
B.1
DOOR | PWR DST | AUX | JB70 DOOR | JB70 L RAIL | FS CTRL | JB70 R RAIL | PLC | A | B | JB73 R RAIL | HPC | MEDIA | JB74 L RAIL | BOP | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT0190 | [13 empty] | AF/AU140s
EL0273 | [13 empty] | AF/AU180s
ZS0273 | [13 empty] | FU
KA A1
KA A2
KA
VD

## Bundle Tags2
DOOR | PWR DST | AUX | JB70 DOOR | JB70 L RAIL | FS CTRL | JB70 R RAIL | PLC | A | B | JB73 R RAIL | HPC | MEDIA | JB74 L RAIL | BOP
SOU-FLN 4N171CB B.1 DOOR AT0190 | [13 empty] | SOU-FLN 4N171CB B.1 BOP AF/AU140s
SOU-FLN 4N171CB B.1 DOOR EL0273 | [13 empty] | SOU-FLN 4N171CB B.1 BOP AF/AU180s
SOU-FLN 4N171CB B.1 DOOR ZS0273 | [13 empty] | SOU-FLN 4N171CB B.1 BOP FU
SOU-FLN 4N171CB B.1 BOP KA A1
SOU-FLN 4N171CB B.1 BOP KA A2
SOU-FLN 4N171CB B.1 BOP KA
SOU-FLN 4N171CB B.1 BOP VD

## ALL
DOOR | PWR DST | AUX | JB70 DOOR | JB70 L RAIL | FS CTRL | JB70 R RAIL | PLC | A | B | JB73 R RAIL | HPC | MEDIA | JB74 L RAIL | BOP
SOU-FLN 4N171CB B.1 DOOR AT0190 | [13 empty] | SOU-FLN 4N171CB B.1 BOP AF/AU140s
SOU-FLN 4N171CB B.1 DOOR EL0273 | [13 empty] | SOU-FLN 4N171CB B.1 BOP AF/AU180s
SOU-FLN 4N171CB B.1 DOOR ZS0273 | [13 empty] | SOU-FLN 4N171CB B.1 BOP FU
SOU-FLN 4N171CB B.1 BOP KA A1
SOU-FLN 4N171CB B.1 BOP KA A2
SOU-FLN 4N171CB B.1 BOP KA
SOU-FLN 4N171CB B.1 BOP VD