## Panel Errors
Panel Errors
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 2/19/2026 4:51 PM

## JB70 DOOR_S
JB70 DOOR
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:NEG | -0V | WHT | 14 | 180 | XT0111:22 | JB70 R RAIL | AT1100
AT1100:POS | FU1100 | WHT | 14 | 140 | FU1100:LD | HMI-S PWR
SA0471:B1-13 | SA0471B113 | WHT | 20 | 240 | AF0087:40 | A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 240 | AF0087:08 | A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 240 | AF0087:39 | A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 240 | AF0087:07 | A
SA0472:B1-13 | SA0472B113 | WHT | 20 | 220 | AF0091:47 | B | SA0472
SA0472:B1-14 | SA0472B114 | WHT | 20 | 220 | AF0091:15 | B
SA0472:B2-13 | SA0472B213 | WHT | 20 | 220 | AF0091:46 | B
SA0472:B2-14 | SA0472B214 | WHT | 20 | 220 | AF0091:14 | B
SA0473:11 | SA047311 | WHT | 20 | 240 | AF0087:37 | A | SA0473
SA0473:12 | SA047312 | WHT | 20 | 240 | AF0087:05 | A
SA0473:13 | SA047313 | WHT | 20 | 240 | AF0087:38 | A
SA0473:14 | SA047314 | WHT | 20 | 240 | AF0087:06 | A
SB0471:11 | SB047111 | WHT | 20 | 240 | AF0087:34 | A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 240 | AF0087:02 | A
SB0472:B1-12 | ESTOPA | WHT | 20 | 180 | XT0111:20 | JB70 R RAIL | SB0472
SB0472:B1-11 | ESTOPB | WHT | 20 | 180 | XT0111:19 | JB70 R RAIL
SB0472:B2-11 | SB0472B211 | WHT | 20 | 240 | AF0081:36 | A
SB0472:B2-12 | SB0472B212 | WHT | 20 | 240 | AF0081:04 | A
SB0473:13 | SB047313 | WHT | 20 | 240 | AF0087:35 | A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 240 | AF0087:03 | A
SB0474:13 | SB047413 | WHT | 20 | 240 | AF0087:36 | A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 240 | AF0087:04 | A
SH0470:11 | SH047011 | WHT | 20 | 180 | XT0111:7 | JB70 R RAIL | SH0470
SH0470:12 | SH047012 | WHT | 20 | 180 | XT0111:8 | JB70 R RAIL
SH0470:13 | SH047013 | WHT | 20 | 180 | XT0111:9 | JB70 R RAIL
SH0470:14 | SH047014 | WHT | 20 | 180 | XT0111:10 | JB70 R RAIL
SH0470:X1 | SH0470X1 | WHT | 20 | 180 | XT0111:12 | JB70 R RAIL
SH0470:X2 | SH0470X2 | WHT | 20 | 180 | XT0111:11 | JB70 R RAIL
SH0471:11 | SH047111 | WHT | 20 | 180 | XT0111:1 | JB70 R RAIL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 180 | XT0111:2 | JB70 R RAIL
SH0471:13 | SH047113 | WHT | 20 | 180 | XT0111:3 | JB70 R RAIL
SH0471:14 | SH047114 | WHT | 20 | 180 | XT0111:4 | JB70 R RAIL
SH0471:X1 | SH0471X1 | WHT | 20 | 180 | XT0111:6 | JB70 R RAIL
SH0471:X2 | SH0471X2 | WHT | 20 | 180 | XT0111:5 | JB70 R RAIL
SH0472:13 | FU0139 | WHT | 20 | 180 | XT0111:15 | JB70 R RAIL | SH0472
SH0472:14 | KA0241A1 | WHT | 20 | 180 | XT0111:16 | JB70 R RAIL
SH0472:11 | SH047211 | WHT | 20 | 180 | XT0111:13 | JB70 R RAIL
SH0472:12 | SH047212 | WHT | 20 | 180 | XT0111:14 | JB70 R RAIL
SH0472:X1 | SH0472X1 | WHT | 20 | 180 | XT0111:18 | JB70 R RAIL
SH0472:X2 | SH0472X2 | WHT | 20 | 180 | XT0111:17 | JB70 R RAIL
Note on G14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Mislabel; was originally in jb70 RR Was: JB70 Changed to: JB70 R RAIL MRCA: 1991668
Note on G16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: From panel error MRCA: 1991671

## HMI-S PWR_S
HMI-S PWR
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA1100:NEG | -0V | WHT | 16 | 60 | XT0111:22 | HMI-S | BA
BA1100:POS | FU1101LD | WHT | 16 | 60 | FU1101:LD | HMI-S
Note on G14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Copied from panel error MRCA: 1991668
Note on G15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Copied from panel error MRCA: 1991671

## JB70 R RAIL_S
JB70 RIGHT RAIL
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
XT0111:22 | -0V | WHT | 16 | 180 | BA1100:NEG | HMI-S | XT-HMI
XT0111:21 | FU0136 | WHT | 14 | 180 | FU1101:LI | HMI-S
XT0111:21 | FU0136 | WHT | 14 | 180 | FU1100:LI | HM-S
XT0111:20 | ESTOPA | WHT | 20 | 220 | XT0089:4 | A | XT-A
XT0111:19 | ESTOPB | WHT | 20 | 220 | XT0089:3 | A
XT0111:15 | FU0139 | WHT | 20 | 220 | XT0081:6 | A
XT0111:25 | FU0535 | WHT | 20 | 220 | KA0875:14 | A
XT0111:24 | HA047201 | WHT | 20 | 220 | KA0875:A2 | A
XT0111:23 | HA047202 | WHT | 20 | 220 | KA0875:11 | A
XT0111:23 | HA047202 | WHT | 20 | 220 | KA0232:11 | A
XT0111:16 | KA0241A1 | WHT | 20 | 220 | XT0081:7 | A
XT0111:7 | SH047011 | WHT | 20 | 220 | AF0087:33 | A
XT0111:8 | SH047012 | WHT | 20 | 220 | AF0087:01 | A
XT0111:3 | SH047113 | WHT | 20 | 220 | AF0087:32 | A
XT0111:4 | SH047114 | WHT | 20 | 220 | AF0087:00 | A
XT0111:17 | SH0472X2 | WHT | 20 | 220 | KA0240:21 | A
XT0111:22 | -0V | WHT | 14 | 220 | XT0003:6 | A
XT0111:21 | FU0136 | WHT | 14 | 220 | XT0002:6 | A
XT0111:24 | HA047201 | WHT | 20 | 180 | AF0092:28 | B | XT-B
XT0111:12 | SH0470X1 | WHT | 20 | 180 | AF0093:22 | B
XT0111:11 | SH0470X2 | WHT | 20 | 180 | AF0093:06 | B
XT0111:6 | SH0471X1 | WHT | 20 | 180 | AF0093:31 | B
XT0111:5 | SH0471X2 | WHT | 20 | 180 | AF0093:15 | B
XT0111:18 | SH0472X1 | WHT | 20 | 180 | AF0092:29 | B
XT0111:17 | SH0472X2 | WHT | 20 | 180 | AF0092:13 | B

## PLC_S
PLC
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | PLC | FU/AT
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
FU0010:LD | FU0010 | WHT | 14 | 60 | UV0600:(+) | PLC
UV0600:(-) | -0V | WHT | 14 | 80 | XT0003:4 | A | FU/UV-A
FU0010:LI | FU0136 | WHT | 14 | 80 | XT0002:4 | A
BA0001:V1(-) | -0V | WHT | 16 | 80 | XT0051:5 | B | BA-B
BA0002:V1(-) | -0V | WHT | 16 | 80 | XT0051:6 | B
BA0009:V1(-) | -0V | WHT | 16 | 80 | XT0051:7 | B
BA0001:V1(+) | FU0021 | WHT | 16 | 80 | FU0021:LD | B
BA0002:V1(+) | FU0022 | WHT | 16 | 80 | FU0022:LD | B
BA0009:V1(+) | FU0029 | WHT | 16 | 80 | FU0029:LD | B
XT1124:2 | -0V | WHT | 16 | 80 | XT0051:6 | B | FU/XT-B
XT1124:1 | FU5122 | WHT | 16 | 80 | FU5122:LD | B
XT0680:2 | -0V | WHT | 14 | 80 | XT0051:8 | B
FU0680:LI | FU0136 | WHT | 14 | 80 | XT0051:4 | B

## A_S
CONTROL A
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0081:00 | UA1200J21 | WHT | 20 | 80 | XT0089:20 | A | AF
AU0080:COM | -0V | WHT | 16 | 60 | XT0080:1 | A
AU0080:V+ | FU0081 | WHT | 16 | 60 | FU0081:LD | A
FU0139:LD | FU0139 | WHT | 16 | 60 | XT0081:1 | A | FU
FU0389:LD | FU0389 | WHT | 16 | 60 | XT0089:21 | A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0080:LD | A
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0090:LI | A
FU0137:LI | FU0136 | WHT | 14 | 60 | XT0002:2 | A
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0137:LD | A
FU0139:LI | FU0137 | WHT | 12 | 60 | FU0387:LI | A
KA0239:A1 | ESTOP | WHT | 20 | 60 | KA0240:A1 | A | KA A1
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | AF0081:35 | A
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | KA0130:11 | A
KA0131:A1 | KA0131A1 | WHT | 20 | 60 | KA0242:14 | A
KA0132:A1 | KA0131A1 | WHT | 20 | 60 | KA0141:A1 | A
KA0141:A1 | KA0131A1 | WHT | 20 | 60 | KA0230:A1 | A
KA0230:A1 | KA0131A1 | WHT | 20 | 60 | KA0231:A1 | A
KA0231:A1 | KA0131A1 | WHT | 20 | 60 | KA0232:A1 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 80 | XT0089:23 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 100 | KA0131:11 | A
KA0138:A1 | KA0138A1 | WHT | 20 | 60 | KA0132:21 | A
KA0241:A1 | KA0241A1 | WHT | 20 | 60 | XT0081:7 | A
KA0243:A1 | KA0243A1 | WHT | 20 | 60 | XT0089:10 | A
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | XT0089:11 | A
KA0136:A1 | PS32002 | WHT | 20 | 60 | XT0089:14 | A
KA0133:A2 | -0V | WHT | 20 | 60 | KA0136:A2 | A | KA A2
KA0135:A2 | -0V | WHT | 20 | 80 | KA0137:A2 | A
KA0136:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | A
KA0239:A2 | -0V | WHT | 20 | 60 | KA0240:A2 | A
KA0241:A2 | -0V | WHT | 20 | 60 | XT0080:8 | A
KA0243:A2 | -0V | WHT | 20 | 60 | XT0080:7 | A
KA0131:A2 | KA0131A2 | WHT | 20 | 60 | AF0081:24 | A
KA0132:A2 | KA0131A2 | WHT | 20 | 60 | KA0141:A2 | A
KA0141:A2 | KA0131A2 | WHT | 20 | 60 | KA0230:A2 | A
KA0230:A2 | KA0131A2 | WHT | 20 | 60 | KA0231:A2 | A
KA0231:A2 | KA0131A2 | WHT | 20 | 60 | KA0232:A2 | A
KA0243:24 | ESTOPD | WHT | 20 | 80 | XT0089:1 | A | KA
KA0132:11 | FU0139 | WHT | 20 | 60 | XT0081:1 | A
KA0236:11 | FU0139 | WHT | 20 | 60 | XT0081:5 | A
KA0244:11 | FU0139 | WHT | 20 | 60 | XT0081:2 | A
KA0130:14 | KA013014 | WHT | 20 | 60 | AF0081:03 | A
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | A
KA0137:24 | KA013112 | WHT | 20 | 60 | AF0087:09 | A
KA0242:14 | KA0131A1 | WHT | 20 | 60 | KA0231:14 | A
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | A
KA0136:21 | KA013621 | WHT | 20 | 60 | AF0087:43 | A
KA0136:24 | KA013624 | WHT | 20 | 60 | AF0087:11 | A
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | A
KA0141:24 | KA014124 | WHT | 20 | 60 | AF0081:40 | A
KA0141:24 | KA014124 | WHT | 20 | 60 | KA0241:24 | A
KA0231:24 | KA023124 | WHT | 20 | 60 | KA0245:21 | A
KA0239:11 | KA023911 | WHT | 20 | 60 | AF0081:41 | A
KA0239:14 | KA023914 | WHT | 20 | 60 | AF0081:09 | A
KA0239:22 | KA023922 | WHT | 20 | 60 | KA0242:24 | A
KA0236:24 | KA024114 | WHT | 20 | 60 | KA0241:14 | A
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:21 | A
KA0242:21 | KA024221 | WHT | 20 | 60 | VD0232:+-1N4005/1 | A
KA0243:11 | KA024311 | WHT | 20 | 60 | AF0081:33 | A
KA0243:14 | KA024314 | WHT | 20 | 60 | AF0081:01 | A
KA0245:11 | KA024511 | WHT | 20 | 60 | AF0081:34 | A
KA0245:14 | KA024514 | WHT | 20 | 60 | AF0081:02 | A
KA0243:21 | KA024524 | WHT | 20 | 60 | KA0245:24 | A
KA0138:11 | KM3170EP | WHT | 20 | 60 | XT0081:12 | A
KA0242:11 | KT014618 | WHT | 20 | 60 | KA0231:11 | A
KA0141:21 | KT0146A1 | WHT | 20 | 60 | KA0241:21 | A
KA0240:11 | PS32004 | WHT | 20 | 80 | XT0089:15 | A
KA0236:21 | UA1200J21 | WHT | 20 | 80 | KA0241:11 | A
KA0241:11 | UA1200J21 | WHT | 20 | 80 | XT0089:20 | A
KA0240:14 | UF1300 | WHT | 20 | 60 | XT0084:1 | A
KA0138:14 | FU0388 | WHT | 16 | 60 | FU0388:LD | A
RR0941:-4.7K OHM | -007405 | WHT | 20 | 100 | XT0089:18 | A | RR
RR0942:-1.0K OHM | -007405 | WHT | 20 | 100 | XT0089:18 | A
RR0942:-1.0K OHM | -0V | WHT | 20 | 100 | XT0089:19 | A
RR0941:-4.7K OHM | FU0139 | WHT | 20 | 100 | XT0089:17 | A
UA1200:J1-9 | -0V | WHT | 20 | 140 | XT0089:22 | A | UA
UA1200:J1-10 | FU0389 | WHT | 20 | 140 | XT0089:21 | A
UA1200:J2-2 | FU0389 | WHT | 20 | 140 | XT0089:21 | A
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | A
UA1200:J1-5 | UA1200J15 | WHT | 20 | 80 | VD0231:--1N4005/1 | A
UA1200:J1-5 | UA1200J15 | WHT | 20 | 80 | VD0232:--1N4005/1 | A
UA1200:J2-1 | UA1200J21 | WHT | 20 | 140 | XT0089:20 | A
UA1200:J2-6 | UA1200J26 | WHT | 20 | 120 | KA0130:A2 | A
UA1200:J2-7 | UA1200J27 | WHT | 20 | 100 | AF0081:19 | A
UJ0031:- | UJ0031N | WHT | 12 | 60 | XT0033:1 | A | UJ
UJ0031:+ | UJ0031P | WHT | 12 | 60 | FU0033:LD | A
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | A
XT0080:5 | -0V | WHT | 20 | 60 | XT0089:19 | A | XT
XT0082:2 | -0V | WHT | 20 | 60 | XT0080:5 | A
XT0081:1 | FU0139 | WHT | 20 | 60 | XT0089:17 | A
XT0081:4 | FU0139 | WHT | 20 | 60 | XT0089:13 | A
XT0089:22 | -0V | WHT | 16 | 60 | XT0082:4 | A
XT0003:2 | -0V | WHT | 14 | 60 | XT0082:1 | A
XT0080:1 | -0V | WHT | 14 | 60 | XT0082:2 | A
AF0081:08 | KT014618 | WHT | 20 | 160 | KT0146:18 | B | FU/AF-B
FU0090:LD | FU0090 | WHT | 16 | 160 | AU0090:V+ | B
FU0091:LD | FU0091 | WHT | 16 | 160 | AF0092:V+ | B
FU0092:LD | FU0092 | WHT | 16 | 160 | AF0093:V+ | B
FU0093:LD | FU0093 | WHT | 16 | 160 | AF0095:V+ | B
KA0875:A1 | -009212 | WHT | 20 | 160 | AF0092:12 | B | KA A1-B
KA0236:A1 | ESTOP | WHT | 20 | 160 | KA0235:A1 | B
KA0236:A1 | ESTOP | WHT | 20 | 160 | KA0237:A1 | B
KA0239:A1 | ESTOP | WHT | 20 | 160 | KA0237:A1 | B
KA0240:A1 | ESTOP | WHT | 20 | 160 | KA0251:A1 | B
KA0232:A1 | KA0131A1 | WHT | 20 | 160 | KA0233:A1 | B
KA0133:A1 | KA0133A1 | WHT | 20 | 160 | AF0092:02 | B
KA0134:A1 | KA0134A1 | WHT | 20 | 160 | AF0091:12 | B
KA0134:A1 | KA0134A1 | WHT | 20 | 160 | AF0067:12 | B
KA0137:A1 | KA0137A1 | WHT | 20 | 160 | KT0145:18 | B
KA1020:A1 | KA1020A1 | WHT | 20 | 160 | AF0076:08 | B
KA3103:A1 | KA3103A1 | WHT | 20 | 160 | AF0092:08 | B
KA3220:A1 | KA3220A1 | WHT | 20 | 160 | AF0093:01 | B
KA6211:A1 | KA6211A1 | WHT | 20 | 160 | KA0246:14 | B
KA6211:A2 | -009320 | WHT | 20 | 160 | AF0093:20 | B | KA A2-B
KA6212:A2 | -009329 | WHT | 20 | 160 | AF0093:29 | B
KA0133:A2 | -0V | WHT | 20 | 160 | KT0144:A2 | B
KA0134:A2 | -0V | WHT | 20 | 160 | KT0143:A2 | B
KA0137:A2 | -0V | WHT | 20 | 160 | KT0145:A2 | B
KA0138:A2 | -0V | WHT | 20 | 160 | KT0143:A2 | B
KA0236:A2 | -0V | WHT | 20 | 160 | KA0237:A2 | B
KA0236:A2 | -0V | WHT | 20 | 160 | KA0235:A2 | B
KA0239:A2 | -0V | WHT | 20 | 160 | KA0237:A2 | B
KA0240:A2 | -0V | WHT | 20 | 160 | KA0251:A2 | B
KA0242:A2 | -0V | WHT | 20 | 160 | KA0235:A2 | B
KA0232:A2 | KA0131A2 | WHT | 20 | 160 | KA0233:A2 | B
KA1020:A2 | KA1020A2 | WHT | 20 | 160 | AF0076:24 | B
KA3103:A2 | KA3103A2 | WHT | 20 | 160 | AF0092:24 | B
KA3220:A2 | KA3220A2 | WHT | 20 | 160 | AF0093:17 | B
KA0133:11 | FU0139 | WHT | 20 | 160 | KT0144:A1 | B | KA-B
KA0134:11 | FU0139 | WHT | 20 | 160 | KT0144:15 | B
KA0136:11 | FU0139 | WHT | 20 | 160 | KT0144:A1 | B
KA0137:11 | FU0139 | WHT | 20 | 160 | KT0140:15 | B
KA0137:11 | FU0139 | WHT | 20 | 160 | KT0144:15 | B
KA0137:21 | FU0139 | WHT | 20 | 160 | KT0145:15 | B
KA0244:11 | FU0139 | WHT | 20 | 160 | KT0142:15 | B
KA0131:14 | KA013114 | WHT | 20 | 160 | AF0092:06 | B
KA0132:22 | KA013222 | WHT | 20 | 160 | KT0141:18 | B
KA0137:14 | KA013222 | WHT | 20 | 160 | KT0141:18 | B
KA0137:14 | KA013222 | WHT | 20 | 160 | KT0144:18 | B
KA0141:11 | KA014111 | WHT | 20 | 160 | AF0091:39 | B
KA0141:14 | KA014114 | WHT | 20 | 160 | AF0091:07 | B
KA0240:22 | KA024022 | WHT | 20 | 160 | AF0092:45 | B
KA0132:12 | KT014315 | WHT | 20 | 160 | KT0142:A1 | B
KA0138:24 | KT0144B1 | WHT | 20 | 160 | KT0144:B1 | B
KA0244:12 | KT0145A1 | WHT | 20 | 160 | KT0145:A1 | B
KA0242:11 | KT014618 | WHT | 20 | 160 | KT0146:18 | B
KA0141:21 | KT0146A1 | WHT | 20 | 160 | KT0146:A1 | B
KA1020:24 | -0V | WHT | 16 | 160 | XT0062:2 | B
KA1020:14 | FU0100 | WHT | 16 | 160 | FU0100:LD | B
KA0239:21 | FU0212 | WHT | 16 | 160 | FU0212:LD | B
UA1200:J1-4 | UA1200J14 | WHT | 20 | 180 | AF0076:11 | B | UA/UJ-B
UJ0031:IOUT | UJ0031IOUT | WHT | 20 | 180 | AF0094:10 | B
UJ0031:OK1 | UJ0031OK1 | WHT | 20 | 180 | AF0091:42 | B
UJ0031:VIN | UJ0031VIN | WHT | 20 | 180 | AF0094:08 | B
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 180 | AF0094:06 | B
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 180 | AF0091:41 | B
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 180 | AF0091:09 | B
UJ0131:VIN | UJ0131VIN | WHT | 20 | 180 | AF0094:04 | B
UJ0031:OK2 | UJ0031OK2 | WHT | 14 | 180 | AF0091:10 | B
VD0231:+-1N4005/1 | -007612 | WHT | 20 | 160 | AF0076:12 | B | VD-B
XT0089:18 | -007405 | WHT | 20 | 160 | AF0074:05 | B | XT-B
XT0080:5 | -0V | WHT | 20 | 160 | KT0140:A2 | B
XT0080:6 | -0V | WHT | 20 | 160 | KT0145:A2 | B
XT0080:7 | -0V | WHT | 20 | 160 | KA0176:A2 | B
XT0082:5 | -0V | WHT | 20 | 160 | AF0094:07 | B
XT0082:5 | -0V | WHT | 20 | 160 | AF0094:05 | B
XT0082:6 | -0V | WHT | 20 | 160 | AF0094:11 | B
XT0082:6 | -0V | WHT | 20 | 160 | AF0094:09 | B
XT0089:19 | -0V | WHT | 20 | 160 | AF0074:21 | B
XT0089:5 | ESTOP | WHT | 20 | 160 | KA0235:A1 | B
XT0089:6 | ESTOP | WHT | 20 | 160 | KA0251:A1 | B
XT0089:8 | KA0131A1 | WHT | 20 | 160 | KA0234:A1 | B
XT0080:2 | -0V | WHT | 16 | 160 | AF0092:COM | B
XT0080:2 | -0V | WHT | 16 | 160 | AU0090:COM | B
XT0080:3 | -0V | WHT | 16 | 160 | AF0093:COM | B
XT0080:4 | -0V | WHT | 16 | 160 | AF0095:COM | B
XT0003:1 | -0V | WHT | 14 | 160 | XT0062:1 | B
XT0003:3 | -0V | WHT | 14 | 160 | XT0401:1 | B
XT0003:7 | -0V | WHT | 14 | 160 | XT0051:5 | B
XT0002:1 | FU0136 | WHT | 14 | 160 | FU0210:LI | B
XT0002:7 | FU0136 | WHT | 14 | 160 | XT0051:1 | B
XT0002:3 | FU0136 | WHT | 12 | 160 | FU0410:LI | B

## B_S
CONTROL B
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
PC0470:INP_A | -009312 | WHT | 20 | 80 | AF0093:12 | B | PC
PC0470:-PWR | -009328 | WHT | 20 | 80 | AF0093:28 | B
PC0470:+PWR | -009344 | WHT | 20 | 80 | AF0093:44 | B
AF0061:COM | -0V | WHT | 16 | 60 | XT0060:2 | B | AF/AU060s
AF0062:COM | -0V | WHT | 16 | 80 | XT0060:3 | B
AF0067:COM | -0V | WHT | 16 | 80 | XT0060:3 | B
AU0060:COM | -0V | WHT | 16 | 60 | XT0060:2 | B
AF0066:COM | AF0066N | WHT | 16 | 60 | AF0068:COM | B
AF0066:V+ | AF0066P | WHT | 16 | 60 | AF0068:V+ | B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | B
AU0060:V+ | FU0061 | WHT | 16 | 60 | FU0061:LD | B
AF0061:V+ | FU0062 | WHT | 16 | 60 | FU0062:LD | B
AF0062:V+ | FU0063 | WHT | 16 | 60 | FU0063:LD | B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | B
AF0076:COM | -0V | WHT | 16 | 80 | XT0060:4 | B | AF/AU070s
AU0070:COM | -0V | WHT | 16 | 60 | XT0060:4 | B
AF0075:COM | AF0075N | WHT | 16 | 60 | AF0077:COM | B
AF0075:V+ | AF0075P | WHT | 16 | 60 | AF0077:V+ | B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | B
AF0076:V+ | FU0076 | WHT | 16 | 60 | FU0076:LD | B
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | B | AF090s
AF0091:V+ | AF0091P | WHT | 16 | 60 | AF0094:V+ | B
AF0410:53 | -0V | WHT | 16 | 60 | XT0401:2 | B | 1444s
AF0410:54 | -0V | WHT | 16 | 60 | AF0420:53 | B
AF0420:54 | -0V | WHT | 16 | 60 | AF0440:53 | B
AF0440:54 | -0V | WHT | 16 | 60 | AF0450:53 | B
AF0410:55 | FU0410 | WHT | 16 | 120 | FU0410:LD | B
AF0410:56 | FU0410 | WHT | 16 | 60 | AF0420:55 | B
AF0420:56 | FU0410 | WHT | 16 | 60 | AF0440:55 | B
AF0440:56 | FU0410 | WHT | 16 | 60 | AF0450:55 | B
FU0021:LI | FU0136 | WHT | 16 | 60 | XT0051:1 | B | FU
FU0022:LI | FU0136 | WHT | 16 | 60 | XT0051:2 | B
FU0029:LI | FU0136 | WHT | 16 | 60 | XT0051:3 | B
FU5122:LI | FU0136 | WHT | 16 | 60 | XT0051:2 | B
XT0060:1 | -0V | WHT | 14 | 80 | XT0062:2 | B
FU0061:LI | FU0060 | WHT | 14 | 60 | FU0060:LD | B
FU0064:LI | FU0060 | WHT | 14 | 100 | FU0070:LI | B
FU0060:LI | FU0210 | WHT | 12 | 80 | FU0100:LI | B
FU0060:LI | FU0210 | WHT | 12 | 80 | FU0210:LD | B
FU0100:LI | FU0210 | WHT | 12 | 80 | FU0113:LI | B
KA0221:A1 | -007602 | WHT | 20 | 80 | AF0076:02 | B | KA A1
KA0222:A1 | -007604 | WHT | 20 | 80 | AF0076:04 | B
KA0233:A1 | KA0131A1 | WHT | 20 | 60 | KA0234:A1 | B
KA2160:A1 | KA2160A1 | WHT | 20 | 60 | AF0092:04 | B
KA2161:A1 | KA2161A1 | WHT | 20 | 60 | AF0092:07 | B
KA0221:A2 | -007618 | WHT | 20 | 80 | AF0076:18 | B | KA A2
KA0222:A2 | -007620 | WHT | 20 | 80 | AF0076:20 | B
KA0233:A2 | KA0131A2 | WHT | 20 | 60 | KA0234:A2 | B
KA2160:A2 | KA2160A2 | WHT | 20 | 60 | AF0092:20 | B
KA2161:A2 | KA2161A2 | WHT | 20 | 60 | AF0092:23 | B
KA0222:14 | -006200 | WHT | 20 | 80 | AF0062:00 | B | KA
KA0233:14 | -006202 | WHT | 20 | 80 | AF0062:02 | B
KA0234:14 | -006212 | WHT | 20 | 80 | AF0062:12 | B
KA0176:14 | -009336 | WHT | 20 | 60 | AF0093:36 | B
KA0221:14 | -009502 | WHT | 20 | 80 | AF0095:02 | B
KA0221:11 | -023524 | WHT | 20 | 60 | KA0235:24 | B
KA0222:11 | -023724 | WHT | 20 | 60 | KA0237:24 | B
KA0176:11 | KA017611 | WHT | 20 | 60 | AF0093:04 | B
KA0235:14 | KA023514 | WHT | 20 |  | AF0076:00 | B
KT0142:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | B | KT L/S
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KT0142:18 | B
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | B
KT0146:A2 | KT0146A2 | WHT | 20 | 60 | AF0076:29 | B
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0145:15 | B | KT R/S
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | B
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0142:A1 | B
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0143:15 | B
KT0146:15 | KT014615 | WHT | 20 | 100 | AF0076:10 | B
KT0146:B1 | KT0146B1 | WHT | 20 | 100 | AF0076:13 | B

## JB72 DOOR_S
CONTROL,JB72
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
HL0171:X1 | HL0171X1 | WHT | 20 | 220 | XT0173:3 | FG&E CTRL | HL0171
HL0171:X2 | HL0171X2 | WHT | 20 | 220 | XT0173:1 | FG&E CTRL
HL0172:X1 | HL0172X1 | WHT | 20 | 220 | XT0173:6 | FG&E CTRL | HL0172
HL0172:X2 | HL0172X2 | WHT | 20 | 220 | XT0173:4 | FG&E CTRL
HL0173:X1 | HL0173X1 | WHT | 20 | 220 | XT0173:9 | FG&E CTRL | HL0173
HL0173:X2 | HL0173X2 | WHT | 20 | 220 | XT0173:7 | FG&E CTRL
SA0170:B1-13 | AT01754P1 | WHT | 20 | 240 | AT0175:4P1 | FG&E CTRL | SA0170
SA0170:B1-14 | SA0170B114 | WHT | 20 | 240 | KA6510:A1 | FG&E CTRL
SA0170:B2-13 | SA0170B213 | WHT | 20 | 220 | XT0173:10 | FG&E CTRL
SA0170:B2-14 | SA0170B214 | WHT | 20 | 220 | XT0173:11 | FG&E CTRL
SB0170:13 | SB017013 | WHT | 20 | 220 | XT0173:12 | FG&E CTRL | SB0170
SB0170:14 | SB017014 | WHT | 20 | 220 | XT0173:13 | FG&E CTRL

## FG&E CTRL_S
FG&E CTRL
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0181:26 | -018126 | WHT | 20 | 60 | XT0181:2 | FG&E CTRL | AF/AU180s
AF0181:COM | -0V | WHT | 16 | 60 | XT0180:1 | FG&E CTRL
AU0180:COM | -0V | WHT | 16 | 60 | XT0180:1 | FG&E CTRL
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | FG&E CTRL
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | FG&E CTRL
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | FG&E CTRL
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | FG&E CTRL
AT0175:14 | AT017514 | WHT | 20 | 60 | RR1755: -10K OHM | FG&E CTRL | AT
AT0175:15 | AT017515 | WHT | 20 | 60 | RR1755: -10K OHM | FG&E CTRL
AT0175:17 | AT017517 | WHT | 20 | 60 | XT0173:2 | FG&E CTRL
AT0175:20 | AT017520 | WHT | 20 | 60 | XT0173:5 | FG&E CTRL
AT0175:23 | AT017523 | WHT | 20 | 60 | XT0173:8 | FG&E CTRL
AT0178:23 | AT017823 | WHT | 20 | 60 | XT0171:2 | FG&E CTRL
AT0178:24 | AT017824 | WHT | 20 | 60 | XT0171:3 | FG&E CTRL
AT0170:24 | FU0172 | WHT | 20 | 60 | XT0170:5 | FG&E CTRL
AT0170:30 | FU0172 | WHT | 20 | 60 | XT0170:5 | FG&E CTRL
AT0175:18 | HL0171X1 | WHT | 20 | 60 | XT0173:3 | FG&E CTRL
AT0175:21 | HL0172X1 | WHT | 20 | 60 | XT0173:6 | FG&E CTRL
AT0175:24 | HL0173X1 | WHT | 20 | 60 | XT0173:9 | FG&E CTRL
AT0170:26 | KA0243A1 | WHT | 20 | 80 | XT0291:3 | FG&E CTRL
AT0170:32 | KA0245A1 | WHT | 20 | 80 | XT0291:4 | FG&E CTRL
AT0170:11 | SA0170B213 | WHT | 20 | 80 | XT0173:10 | FG&E CTRL
AT0170:12 | SA0170B214 | WHT | 20 | 80 | XT0173:11 | FG&E CTRL
AT0175:2 | SB017013 | WHT | 20 | 60 | XT0173:12 | FG&E CTRL
AT0175:3 | SB017014 | WHT | 20 | 60 | XT0173:13 | FG&E CTRL
AT0176:11 | AT017611 | WHT | 16 | 60 | RR1764:-10K OHM | FG&E CTRL
AT0176:12 | AT017612 | WHT | 16 | 60 | RR1764:-10K OHM | FG&E CTRL
AT0176:14 | AT017614 | WHT | 16 | 60 | RR1765:-10K OHM | FG&E CTRL
AT0176:15 | AT017615 | WHT | 16 | 60 | RR1765:-10K OHM | FG&E CTRL
AT0176:17 | AT017617 | WHT | 16 | 60 | RR1766:-10K OHM | FG&E CTRL
AT0176:18 | AT017618 | WHT | 16 | 60 | RR1766:-10K OHM | FG&E CTRL
AT0176:20 | AT017620 | WHT | 16 | 60 | RR1767:-10K OHM | FG&E CTRL
AT0176:21 | AT017621 | WHT | 16 | 60 | RR1767:-10K OHM | FG&E CTRL
AT0178:20 | ZS61P | WHT | 16 | 60 | XT0290:7 | FG&E CTRL
AT0178:21 | ZS61S | WHT | 16 | 60 | XT0290:8 | FG&E CTRL
AT0176:4P1 | AT01764P1 | WHT | 14 | 60 | AT0178:1P1 | FG&E CTRL
AT0176:5P1 | AT01765P1 | WHT | 14 | 60 | AT0178:2P1 | FG&E CTRL
AT0175:2P1 | UV017010 | WHT | 14 | 60 | UV0170:10(-) | FG&E CTRL
AT0176:1P1 | UV017011 | WHT | 14 | 60 | UV0170:11(+) | FG&E CTRL
AT0176:2P1 | UV017012 | WHT | 14 | 60 | UV0170:12(-) | FG&E CTRL
AT0170:1 | UV01705 | WHT | 14 | 60 | UV0170:5(+) | FG&E CTRL
AT0170:2 | UV01706 | WHT | 14 | 60 | UV0170:6(-) | FG&E CTRL
AT0170:3 | UV01707 | WHT | 14 | 60 | UV0170:7(+) | FG&E CTRL
AT0170:4 | UV01708 | WHT | 14 | 60 | UV0170:8(-) | FG&E CTRL
AT0175:1P1 | UV01709 | WHT | 14 | 60 | UV0170:9(+) | FG&E CTRL
FU0172:LD | FU0172 | WHT | 16 | 60 | XT0170:5 | FG&E CTRL | FU
FU0170:LD | FU0170 | WHT | 14 | 60 | XT0171:4 | FG&E CTRL
FU0180:LI | FU0182 | WHT | 14 | 60 | FU0182:LD | FG&E CTRL
FU0170:LI | FU0535 | WHT | 14 | 60 | XT0170:2 | FG&E CTRL
FU0171:LI | FU0535 | WHT | 14 | 60 | XT0170:2 | FG&E CTRL
FU0172:LI | FU0535 | WHT | 14 | 60 | XT0170:1 | FG&E CTRL
FU0294:LI | FU0535 | WHT | 12 | 60 | XT0535:4 | FG&E CTRL
FU0295:LI | FU0535 | WHT | 12 | 60 | XT0535:5 | FG&E CTRL
FU0535:LD | FU0535 | WHT | 12 | 60 | XT0535:1 | FG&E CTRL
KA0180:A1 | -018100 | WHT | 20 | 60 | AF0181:00 | FG&E CTRL | KA A1
KA0185:A1 | -018110 | WHT | 20 | 60 | AF0181:10 | FG&E CTRL
KA0172:A1 | AT017025 | WHT | 20 | 80 | AT0170:25 | FG&E CTRL
KA0174:A1 | AT017031 | WHT | 20 | 80 | AT0170:31 | FG&E CTRL
KA0255:A1 | KA0131A1 | WHT | 20 | 60 | XT0291:1 | FG&E CTRL
KA0145:A1 | KA0135A1 | WHT | 20 | 60 | XT0291:2 | FG&E CTRL
KA0178:A1 | KA0178A1 | WHT | 20 | 60 | XT0171:1 | FG&E CTRL
KA0247:A1 | KA0243A1 | WHT | 20 | 60 | KA0254:A1 | FG&E CTRL
KA0254:A1 | KA0243A1 | WHT | 20 | 60 | XT0291:3 | FG&E CTRL
KA0249:A1 | KA0245A1 | WHT | 20 | 60 | XT0291:4 | FG&E CTRL
KA0180:A2 | -018116 | WHT | 20 | 60 | AF0181:16 | FG&E CTRL | KA A2
KA0172:A2 | -0V | WHT | 20 | 60 | XT0170:4 | FG&E CTRL
KA0179:A2 | -0V | WHT | 20 | 60 | KA0255:A2 | FG&E CTRL
KA0247:A2 | -0V | WHT | 20 | 60 | KA0254:A2 | FG&E CTRL
KA0178:A2 | AT017824 | WHT | 20 | 60 | XT0171:3 | FG&E CTRL
KA0185:A2 | KA0185A2 | WHT | 20 | 60 | XT0181:1 | FG&E CTRL
KA6510:A2 | KA6510A2 | WHT | 20 | 60 | AT0175:5P1 | FG&E CTRL
KA0145:22 | KA0176A1 | WHT | 20 | 60 | KA0249:12 | FG&E CTRL | KA
KA0145:21 | KA025522 | WHT | 20 | 60 | KA0249:11 | FG&E CTRL
KA0145:21 | KA025522 | WHT | 20 | 60 | KA0255:22 | FG&E CTRL
KA6510:12 | KA651012 | WHT | 20 | 60 | AT0175:11 | FG&E CTRL
KA9599:11 | KA959911 | WHT | 20 | 60 | AF0182:37 | FG&E CTRL
KA9599:14 | KA959914 | WHT | 20 | 60 | AF0182:05 | FG&E CTRL
RR1756: -10K OHM | AT017517 | WHT | 20 | 60 | XT0173:2 | FG&E CTRL | RR
RR1757: -10K OHM | AT017520 | WHT | 20 | 60 | XT0173:5 | FG&E CTRL
RR1758: -10K OHM | AT017523 | WHT | 20 | 60 | XT0173:8 | FG&E CTRL
RR1788: -10K OHM | AT017823 | WHT | 20 | 60 | XT0171:2 | FG&E CTRL
RR1788: -10K OHM | AT017824 | WHT | 20 | 60 | XT0171:3 | FG&E CTRL
RR1756: -10K OHM | HL0171X1 | WHT | 20 | 60 | XT0173:3 | FG&E CTRL
RR1757: -10K OHM | HL0172X1 | WHT | 20 | 60 | XT0173:6 | FG&E CTRL
RR1758: -10K OHM | HL0173X1 | WHT | 20 | 60 | XT0173:9 | FG&E CTRL
RR1751: -10K OHM | SB017013 | WHT | 20 | 60 | XT0173:12 | FG&E CTRL
RR1751: -10K OHM | SB017014 | WHT | 20 | 60 | XT0173:13 | FG&E CTRL
UV0170:14(-) | LON0N | WHT | 16 | 60 | XT0173:27 | FG&E CTRL | UV
UV0170:13(+) | LON0P | WHT | 16 | 60 | XT0173:26 | FG&E CTRL
UV0170:2(-) | -0V | WHT | 14 | 60 | XT0170:3 | FG&E CTRL
UV0170:4(-) | -0V | WHT | 14 | 60 | XT0170:3 | FG&E CTRL
UV0170:1(+) | FU0171 | WHT | 14 | 60 | FU0171:LD | FG&E CTRL
UV0170:3(+) | FU0171 | WHT | 14 | 60 | FU0171:LD | FG&E CTRL
VD1756:+-1N4005/1 | AT017517 | WHT | 20 | 60 | XT0173:2 | FG&E CTRL | VD
VD1757:+-1N4005/1 | AT017520 | WHT | 20 | 60 | XT0173:5 | FG&E CTRL
VD1758:+-1N4005/1 | AT017523 | WHT | 20 | 60 | XT0173:8 | FG&E CTRL
VD1788:+-1N4005/1 | AT017823 | WHT | 20 | 60 | XT0171:2 | FG&E CTRL
VD1756:--1N4005/1 | HL0171X2 | WHT | 20 | 60 | XT0173:1 | FG&E CTRL
VD1757:--1N4005/1 | HL0172X2 | WHT | 20 | 60 | XT0173:4 | FG&E CTRL
VD1758:--1N4005/1 | HL0173X2 | WHT | 20 | 60 | XT0173:7 | FG&E CTRL
VD1788:--1N4005/1 | KA0178A1 | WHT | 20 | 60 | XT0171:1 | FG&E CTRL
XT0170:3 | -0V | WHT | 14 | 60 | XT0171:5 | FG&E CTRL | XT
XT0171:5 | -0V | WHT | 14 | 60 | XT0173:25 | FG&E CTRL
XT0173:25 | -0V | WHT | 14 | 60 | XT0173:18 | FG&E CTRL
XT0536:3 | -0V | WHT | 14 | 60 | XT0170:3 | FG&E CTRL
XT0171:4 | FU0170 | WHT | 14 | 60 | XT0173:24 | FG&E CTRL
XT0173:24 | FU0170 | WHT | 14 | 60 | XT0173:17 | FG&E CTRL
XT0535:3 | FU0535 | WHT | 14 | 60 | XT0170:2 | FG&E CTRL
XT0171:6 | LON1S2 | WHT | 14 | 60 | XT0173:23 | FG&E CTRL
XT0173:23 | LON1S2 | WHT | 14 | 60 | XT0173:19 | FG&E CTRL
KA0185:11 | KA018511 | WHT | 20 | 120 | XT0338:3 | GEN | KA-GEN
KA0185:14 | KA0332A1 | WHT | 20 | 120 | XT0338:4 | GEN
XT0180:1 | -0V | WHT | 14 | 80 | XT0336:3 | GEN | FU/XT-GEN
FU0182:LI | FU0332 | WHT | 14 | 80 | XT0335:3 | GEN
XT0536:1 | -0V | WHT | 12 | 80 | XT0336:9 | GEN
FU0535:LI | FU0332 | WHT | 12 | 80 | XT0335:9 | GEN

## GEN_S
GEN CTRL
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0121:COM | -0V | WHT | 16 | 60 | XT0120:2 | GEN | AF/AU120s
AU0120:COM | -0V | WHT | 16 | 60 | XT0120:2 | GEN
AF0122:COM | AU0120N | WHT | 16 | 60 | AU0120:COM | GEN
AF0122:V+ | AU0120P | WHT | 16 | 60 | AU0120:V+ | GEN
AU0120:V+ | FU0120 | WHT | 16 | 60 | FU0120:LD | GEN
AF0121:V+ | FU0121 | WHT | 16 | 60 | FU0121:LD | GEN
AT0140:FLT 29 | KA0310A2 | WHT | 20 | 100 | KA0310:A2 | GEN | AT
AT0140:3 EX-D(-) | -0V | WHT | 16 | 60 | XT0336:6 | GEN
AT0140:BAT(-) 48 | -0V | WHT | 16 | 60 | XT0336:6 | GEN
AT0140:FLT 30 | -0V | WHT | 16 | 60 | XT0336:6 | GEN
AT0140:BAT(+) 47 | FU0334 | WHT | 16 | 60 | XT0339:1 | GEN
AT0140:4 EX-D(+) | KA012314 | WHT | 16 | 100 | KA0123:14 | GEN
AT0140:17 VBUS-A | VBUSA | RED | 16R | 120 | XT0351:2 | GEN | AT RED
AT0140:18 VBUS-B | VBUSB | RED | 16R | 120 | XT0351:3 | GEN
AT0140:19 VBUS-C | VBUSC | RED | 16R | 120 | XT0351:5 | GEN
AT0140:13 VGEN-A | VGENA | RED | 16R | 120 | XT0351:9 | GEN
AT0140:14 VGEN-B | VGENB | RED | 16R | 120 | XT0351:11 | GEN
AT0140:15 VGEN-C | VGENC | RED | 16R | 120 | XT0351:13 | GEN
AT0140:36 I1(+) | MCTA | BLU | 12B | 120 | XT0352:1 | GEN | AT BLU
AT0140:37 I1(-) | MCTAN | BLU | 12B | 120 | XT0352:6 | GEN
AT0140:38 I2(+) | MCTB | BLU | 12B | 120 | XT0352:2 | GEN
AT0140:39 I2(-) | MCTBN | BLU | 12B | 120 | XT0352:5 | GEN
AT0140:40 I3(+) | MCTC | BLU | 12B | 120 | XT0352:3 | GEN
AT0140:41 I3(-) | MCTN | BLU | 12B | 120 | XT0352:4 | GEN
FU0333:LD | FU0333 | WHT | 16 | 60 | XT0338:1 | GEN | FU/XT
FU0334:LD | FU0334 | WHT | 16 | 60 | XT0339:1 | GEN
XT0336:2 | -0V | WHT | 14 | 80 | XT0120:1 | GEN
FU0120:LI | FU0122 | WHT | 14 | 60 | FU0122:LD | GEN
FU0122:LI | FU0332 | WHT | 12 | 80 | XT0335:2 | GEN
FU0332:LD | FU0332 | WHT | 12 | 60 | XT0335:1 | GEN
FU0333:LI | FU0332 | WHT | 12 | 80 | XT0335:4 | GEN
FU0334:LI | FU0332 | WHT | 12 | 60 | XT0335:6 | GEN
KA0121:A1 | -012101 | WHT | 20 | 60 | AF0121:01 | GEN | KA A1
KA0128:A1 | -012108 | WHT | 20 | 60 | AF0121:08 | GEN
KA0310:A1 | FU0334 | WHT | 20 | 80 | XT0339:1 | GEN
KA0123:A1 | KA0123A1 | WHT | 20 | 60 | AF0121:03 | GEN
KA0123:A1 | KA0123A1 | WHT | 20 | 60 | KA0313:A1 | GEN
KA0330:A1 | KA0330A1 | WHT | 20 | 60 | XT0338:5 | GEN
KA0331:A1 | KA0331A1 | WHT | 20 | 60 | XT0338:6 | GEN
KA0332:A1 | KA0332A1 | WHT | 20 | 60 | XT0338:4 | GEN
KA0333:A1 | KA0333A1 | WHT | 20 | 60 | XT0338:2 | GEN
KA4100:A1 | KA4100A1 | WHT | 20 | 60 | KA0336:14 | GEN
KA9607:A1 | KA9607A1 | WHT | 20 | 60 | AF0121:05 | GEN
KA0335:A1 | ESTOP | WHT | 16 | 60 | XT0120:4 | GEN
KA0336:A1 | KA0131A1 | WHT | 16 | 60 | XT0120:5 | GEN
KA0121:A2 | -012117 | WHT | 20 | 60 | AF0121:17 | GEN | KA A2
KA0128:A2 | -012124 | WHT | 20 | 60 | AF0121:24 | GEN
KA0331:A2 | -0V | WHT | 20 | 80 | XT0336:5 | GEN
KA0333:A2 | -0V | WHT | 20 | 80 | XT0336:4 | GEN
KA0335:A2 | -0V | WHT | 20 | 60 | XT0120:3 | GEN
KA0123:A2 | KA0123A2 | WHT | 20 | 60 | AF0121:19 | GEN
KA0123:A2 | KA0123A2 | WHT | 20 | 60 | KA0313:A2 | GEN
KA4100:A2 | KA4100A2 | WHT | 20 | 60 | AF0121:30 | GEN
KA9607:A2 | KA9607A2 | WHT | 20 | 60 | AF0121:21 | GEN
KA0330:11 | -012200 | WHT | 20 | 60 | AF0122:00 | GEN | KA
KA0331:11 | -012201 | WHT | 20 | 60 | AF0122:01 | GEN
KA0330:14 | -012232 | WHT | 20 | 60 | AF0122:32 | GEN
KA0331:14 | -012233 | WHT | 20 | 60 | AF0122:33 | GEN
KA0121:11 | FU0333 | WHT | 20 | 60 | XT0338:1 | GEN
KA0128:11 | FU0333 | WHT | 20 | 60 | KA0335:21 | GEN
KA0128:11 | FU0333 | WHT | 20 | 60 | XT0338:1 | GEN
KA0335:21 | FU0333 | WHT | 20 | 60 | KA0310:21 | GEN
KA0128:21 | KA012821 | WHT | 20 | 60 | XT0337:1 | GEN
KA0128:24 | KA012824 | WHT | 20 | 60 | XT0337:2 | GEN
KA0121:14 | KA018511 | WHT | 20 | 60 | XT0338:3 | GEN
KA0310:11 | KA031011 | WHT | 20 | 60 | AF0122:02 | GEN
KA0310:14 | KA031014 | WHT | 20 | 60 | AF0122:34 | GEN
KA0332:11 | KA033211 | WHT | 20 | 60 | XT0337:3 | GEN
KA0332:14 | KA033214 | WHT | 20 | 60 | XT0337:4 | GEN
KA0333:11 | KA033311 | WHT | 20 | 60 | KA0335:11 | GEN
KA0333:11 | KA033311 | WHT | 20 | 60 | XT0337:5 | GEN
KA0333:14 | KA033314 | WHT | 20 | 60 | KA0335:12 | GEN
KA0333:14 | KA033314 | WHT | 20 | 60 | XT0337:6 | GEN
KA0310:24 | KA0333A1 | WHT | 20 | 60 | KA0335:22 | GEN
KA0310:24 | KA0333A1 | WHT | 20 | 60 | XT0338:2 | GEN
KA0335:22 | KA0333A1 | WHT | 20 | 60 | KA0128:14 | GEN
KA0336:11 | KA033611 | WHT | 20 | 80 | AF0121:14 | GEN
KA0123:11 | FU0334 | WHT | 16 | 80 | XT0339:1 | GEN

## VFD_S
FO CONV,VFD
Project # | 4P101
Project Name | DEPLETION COMPRESSION SYSTEM & SRU
Revision | C
Controls DE
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0005:V1(-) | -0V | WHT | 16 | 60 | XT1123:2 | VFD | FU/BA
BA0006:V1(-) | -0V | WHT | 16 | 60 | XT1123:2 | VFD
BA0005:V1(+) | FU1123 | WHT | 16 | 60 | FU1123:LD | VFD
BA0006:V1(+) | FU1124 | WHT | 16 | 60 | FU1124:LD | VFD
FU1123:LI | FU5122 | WHT | 16 | 60 | XT1123:1 | VFD
FU1124:LI | FU5122 | WHT | 16 | 60 | XT1123:1 | VFD

## Bundle Tag Info
KOC-JPF #1
4P101
C.1
JB70 DOOR | HMI-S PWR | JB70 R RAIL | PLC | A | B | JB72 DOOR | FG&E | GEN | VFD | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT1100 | BA | XT-HMI | FU/AT | AF | PC | HL0171 | AF/AU180s | AF/AU120s | FU/BA
SA0471 |  | XT-A | FU/UV-A | FU | AF/AU060s | HL0172 | AT | AT
SA0472 |  | XT-B | BA-B | KA A1 | AF/AU070s | HL0173 | FU | AT RED
SA0473 |  |  | FU/XT-B | KA A2 | AF090s | SA0170 | KA A1 | AT BLU
SB0471 |  |  |  | KA | 1444s | SB0170 | KA A2 | FU/XT
SB0472 |  |  |  | RR | FU |  | KA | KA A1
SB0473 |  |  |  | UA | KA A1 |  | RR | KA A2
SB0474 |  |  |  | UJ | KA A2 |  | UV | KA
SH0470 |  |  |  | XT | KA |  | VD
SH0471 |  |  |  | FU/AF-B | KT L/S |  | XT
SH0472 |  |  |  | KA A1-B | KT R/S |  | KA-GEN
|  |  |  | KA A2-B |  |  | FU/XT-GEN
KA-B
UA/UJ-B
VD-B
XT-B

## Bundle Tags2
JB70 DOOR | HMI-S PWR | JB70 R RAIL | PLC | A | B | JB72 DOOR | FG&E | GEN | VFD
KOC-JPF #1 4P101 C.1 JB70 DOOR AT1100 | KOC-JPF #1 4P101 C.1 HMI-S PWR BA | KOC-JPF #1 4P101 C.1 JB70 R RAIL XT-HMI | KOC-JPF #1 4P101 C.1 PLC FU/AT | KOC-JPF #1 4P101 C.1 A AF | KOC-JPF #1 4P101 C.1 B PC | KOC-JPF #1 4P101 C.1 JB72 DOOR HL0171 | KOC-JPF #1 4P101 C.1 FG&E AF/AU180s | KOC-JPF #1 4P101 C.1 GEN AF/AU120s | KOC-JPF #1 4P101 C.1 VFD FU/BA
KOC-JPF #1 4P101 C.1 JB70 DOOR SA0471 |  | KOC-JPF #1 4P101 C.1 JB70 R RAIL XT-A | KOC-JPF #1 4P101 C.1 PLC FU/UV-A | KOC-JPF #1 4P101 C.1 A FU | KOC-JPF #1 4P101 C.1 B AF/AU060s | KOC-JPF #1 4P101 C.1 JB72 DOOR HL0172 | KOC-JPF #1 4P101 C.1 FG&E AT | KOC-JPF #1 4P101 C.1 GEN AT
KOC-JPF #1 4P101 C.1 JB70 DOOR SA0472 |  | KOC-JPF #1 4P101 C.1 JB70 R RAIL XT-B | KOC-JPF #1 4P101 C.1 PLC BA-B | KOC-JPF #1 4P101 C.1 A KA A1 | KOC-JPF #1 4P101 C.1 B AF/AU070s | KOC-JPF #1 4P101 C.1 JB72 DOOR HL0173 | KOC-JPF #1 4P101 C.1 FG&E FU | KOC-JPF #1 4P101 C.1 GEN AT RED
KOC-JPF #1 4P101 C.1 JB70 DOOR SA0473 |  |  | KOC-JPF #1 4P101 C.1 PLC FU/XT-B | KOC-JPF #1 4P101 C.1 A KA A2 | KOC-JPF #1 4P101 C.1 B AF090s | KOC-JPF #1 4P101 C.1 JB72 DOOR SA0170 | KOC-JPF #1 4P101 C.1 FG&E KA A1 | KOC-JPF #1 4P101 C.1 GEN AT BLU
KOC-JPF #1 4P101 C.1 JB70 DOOR SB0471 |  |  |  | KOC-JPF #1 4P101 C.1 A KA | KOC-JPF #1 4P101 C.1 B 1444s | KOC-JPF #1 4P101 C.1 JB72 DOOR SB0170 | KOC-JPF #1 4P101 C.1 FG&E KA A2 | KOC-JPF #1 4P101 C.1 GEN FU/XT
KOC-JPF #1 4P101 C.1 JB70 DOOR SB0472 |  |  |  | KOC-JPF #1 4P101 C.1 A RR | KOC-JPF #1 4P101 C.1 B FU |  | KOC-JPF #1 4P101 C.1 FG&E KA | KOC-JPF #1 4P101 C.1 GEN KA A1
KOC-JPF #1 4P101 C.1 JB70 DOOR SB0473 |  |  |  | KOC-JPF #1 4P101 C.1 A UA | KOC-JPF #1 4P101 C.1 B KA A1 |  | KOC-JPF #1 4P101 C.1 FG&E RR | KOC-JPF #1 4P101 C.1 GEN KA A2
KOC-JPF #1 4P101 C.1 JB70 DOOR SB0474 |  |  |  | KOC-JPF #1 4P101 C.1 A UJ | KOC-JPF #1 4P101 C.1 B KA A2 |  | KOC-JPF #1 4P101 C.1 FG&E UV | KOC-JPF #1 4P101 C.1 GEN KA
KOC-JPF #1 4P101 C.1 JB70 DOOR SH0470 |  |  |  | KOC-JPF #1 4P101 C.1 A XT | KOC-JPF #1 4P101 C.1 B KA |  | KOC-JPF #1 4P101 C.1 FG&E VD
KOC-JPF #1 4P101 C.1 JB70 DOOR SH0471 |  |  |  | KOC-JPF #1 4P101 C.1 A FU/AF-B | KOC-JPF #1 4P101 C.1 B KT L/S |  | KOC-JPF #1 4P101 C.1 FG&E XT
KOC-JPF #1 4P101 C.1 JB70 DOOR SH0472 |  |  |  | KOC-JPF #1 4P101 C.1 A KA A1-B | KOC-JPF #1 4P101 C.1 B KT R/S |  | KOC-JPF #1 4P101 C.1 FG&E KA-GEN
|  |  |  | KOC-JPF #1 4P101 C.1 A KA A2-B |  |  | KOC-JPF #1 4P101 C.1 FG&E FU/XT-GEN
KOC-JPF #1 4P101 C.1 A KA-B
KOC-JPF #1 4P101 C.1 A UA/UJ-B
KOC-JPF #1 4P101 C.1 A VD-B
KOC-JPF #1 4P101 C.1 A XT-B

## ALL
ALL
KOC-JPF #1 4P101 C.1 JB70 DOOR AT1100
KOC-JPF #1 4P101 C.1 JB70 DOOR SA0471
KOC-JPF #1 4P101 C.1 JB70 DOOR SA0472
KOC-JPF #1 4P101 C.1 JB70 DOOR SA0473
KOC-JPF #1 4P101 C.1 JB70 DOOR SB0471
KOC-JPF #1 4P101 C.1 JB70 DOOR SB0472
KOC-JPF #1 4P101 C.1 JB70 DOOR SB0473
KOC-JPF #1 4P101 C.1 JB70 DOOR SB0474
KOC-JPF #1 4P101 C.1 JB70 DOOR SH0470
KOC-JPF #1 4P101 C.1 JB70 DOOR SH0471
KOC-JPF #1 4P101 C.1 JB70 DOOR SH0472
KOC-JPF #1 4P101 C.1 HMI-S PWR BA
KOC-JPF #1 4P101 C.1 JB70 R RAIL XT-HMI
KOC-JPF #1 4P101 C.1 JB70 R RAIL XT-A
KOC-JPF #1 4P101 C.1 JB70 R RAIL XT-B
KOC-JPF #1 4P101 C.1 PLC FU/AT
KOC-JPF #1 4P101 C.1 PLC FU/UV-A
KOC-JPF #1 4P101 C.1 PLC BA-B
KOC-JPF #1 4P101 C.1 PLC FU/XT-B
KOC-JPF #1 4P101 C.1 A AF
KOC-JPF #1 4P101 C.1 A FU
KOC-JPF #1 4P101 C.1 A KA A1
KOC-JPF #1 4P101 C.1 A KA A2
KOC-JPF #1 4P101 C.1 A KA
KOC-JPF #1 4P101 C.1 A RR
KOC-JPF #1 4P101 C.1 A UA
KOC-JPF #1 4P101 C.1 A UJ
KOC-JPF #1 4P101 C.1 A XT
KOC-JPF #1 4P101 C.1 A FU/AF-B
KOC-JPF #1 4P101 C.1 A KA A1-B
KOC-JPF #1 4P101 C.1 A KA A2-B
KOC-JPF #1 4P101 C.1 A KA-B
KOC-JPF #1 4P101 C.1 A UA/UJ-B
KOC-JPF #1 4P101 C.1 A VD-B
KOC-JPF #1 4P101 C.1 A XT-B
KOC-JPF #1 4P101 C.1 B PC
KOC-JPF #1 4P101 C.1 B AF/AU060s
KOC-JPF #1 4P101 C.1 B AF/AU070s
KOC-JPF #1 4P101 C.1 B AF090s
KOC-JPF #1 4P101 C.1 B 1444s
KOC-JPF #1 4P101 C.1 B FU
KOC-JPF #1 4P101 C.1 B KA A1
KOC-JPF #1 4P101 C.1 B KA A2
KOC-JPF #1 4P101 C.1 B KA
KOC-JPF #1 4P101 C.1 B KT L/S
KOC-JPF #1 4P101 C.1 B KT R/S
KOC-JPF #1 4P101 C.1 JB72 DOOR HL0171
KOC-JPF #1 4P101 C.1 JB72 DOOR HL0172
KOC-JPF #1 4P101 C.1 JB72 DOOR HL0173
KOC-JPF #1 4P101 C.1 JB72 DOOR SA0170
KOC-JPF #1 4P101 C.1 JB72 DOOR SB0170
KOC-JPF #1 4P101 C.1 FG&E AF/AU180s
KOC-JPF #1 4P101 C.1 FG&E AT
KOC-JPF #1 4P101 C.1 FG&E FU
KOC-JPF #1 4P101 C.1 FG&E KA A1
KOC-JPF #1 4P101 C.1 FG&E KA A2
KOC-JPF #1 4P101 C.1 FG&E KA
KOC-JPF #1 4P101 C.1 FG&E RR
KOC-JPF #1 4P101 C.1 FG&E UV
KOC-JPF #1 4P101 C.1 FG&E VD
KOC-JPF #1 4P101 C.1 FG&E XT
KOC-JPF #1 4P101 C.1 FG&E KA-GEN
KOC-JPF #1 4P101 C.1 FG&E FU/XT-GEN
KOC-JPF #1 4P101 C.1 GEN AF/AU120s
KOC-JPF #1 4P101 C.1 GEN AT
KOC-JPF #1 4P101 C.1 GEN AT RED
KOC-JPF #1 4P101 C.1 GEN AT BLU
KOC-JPF #1 4P101 C.1 GEN FU/XT
KOC-JPF #1 4P101 C.1 GEN KA A1
KOC-JPF #1 4P101 C.1 GEN KA A2
KOC-JPF #1 4P101 C.1 GEN KA
KOC-JPF #1 4P101 C.1 VFD FU/BA