## JB70
JB70
Project # | 4P441
Project Name | TCM-70
Revision | B.1 | [5 empty] | delete
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
HL
HL0171:X1 | HL0171X1 | WHT | 20 | 120.0 | XT0173:3 | RAIL,LEFT,JB70 | HL0171 - RAIL,LEFT,JB70
HL0171:X2 | HL0171X2 | WHT | 20 | 120.0 | XT0173:1 | RAIL,LEFT,JB70
HL0172:X1 | HL0172X1 | WHT | 20 | 120.0 | XT0173:6 | RAIL,LEFT,JB70 | HL0172 - RAIL,LEFT,JB70
HL0172:X2 | HL0172X2 | WHT | 20 | 120.0 | XT0173:4 | RAIL,LEFT,JB70
HL0173:X1 | HL0173X1 | WHT | 20 | 120.0 | XT0173:9 | RAIL,LEFT,JB70 | HL0173 - RAIL,LEFT,JB70
HL0173:X2 | HL0173X2 | WHT | 20 | 120.0 | XT0173:7 | RAIL,LEFT,JB70
SA
SA0170:B2-13 | AT01754P1 | WHT | 20 | 120.0 | AT0175:4P1 | RAIL,LEFT,JB70 | SA0170 - RAIL,LEFT,JB70
SA0170:B2-14 | SA0170B214 | WHT | 20 | 120.0 | KA6510:A1 | RAIL,LEFT,JB70
SA0170:B1-13 | SA0170B113 | WHT | 20 | 120.0 | XT0173:10 | RAIL,LEFT,JB70
SA0170:B1-14 | SA0170B114 | WHT | 20 | 120.0 | XT0173:11 | RAIL,LEFT,JB70
SB
SB0170:13 | SB017013 | WHT | 20 | 120.0 | XT0173:12 | RAIL,LEFT,JB70 | SB0170 - RAIL,LEFT,JB70
SB0170:14 | SB017014 | WHT | 20 | 120.0 | XT0173:13 | RAIL,LEFT,JB70
SB
SB0472:B1-12 | ESTOPA | WHT | 20 | 120.0 | XT0111:20 | RAIL,RIGHT,JB70 | SB0472 - RAIL,RIGHT,JB70
SB0472:B1-11 | ESTOPB | WHT | 20 | 120.0 | XT0111:19 | RAIL,RIGHT,JB70
SH
SH0470:X1 | SH0470X1 | WHT | 20 | 120.0 | XT0111:12 | RAIL,RIGHT,JB70 | SH0470 - RAIL,RIGHT,JB70
SH0470:X2 | SH0470X2 | WHT | 20 | 120.0 | XT0111:11 | RAIL,RIGHT,JB70
SH0470:11 | SH047011 | WHT | 20 | 120.0 | XT0111:7 | RAIL,RIGHT,JB70
SH0470:12 | SH047012 | WHT | 20 | 120.0 | XT0111:8 | RAIL,RIGHT,JB70
SH0470:13 | SH047013 | WHT | 20 | 120.0 | XT0111:9 | RAIL,RIGHT,JB70
SH0470:14 | SH047014 | WHT | 20 | 120.0 | XT0111:10 | RAIL,RIGHT,JB70
SH0471:X1 | SH0471X1 | WHT | 20 | 120.0 | XT0111:6 | RAIL,RIGHT,JB70 | SH0471 - RAIL,RIGHT,JB70
SH0471:X2 | SH0471X2 | WHT | 20 | 120.0 | XT0111:5 | RAIL,RIGHT,JB70
SH0471:11 | SH047111 | WHT | 20 | 120.0 | XT0111:1 | RAIL,RIGHT,JB70
SH0471:12 | SH047112 | WHT | 20 | 120.0 | XT0111:2 | RAIL,RIGHT,JB70
SH0471:13 | SH047113 | WHT | 20 | 120.0 | XT0111:3 | RAIL,RIGHT,JB70
SH0471:14 | SH047114 | WHT | 20 | 120.0 | XT0111:4 | RAIL,RIGHT,JB70
SH0472:13 | FU0139 | WHT | 20 | 120.0 | XT0111:15 | RAIL,RIGHT,JB70 | SH0472 - RAIL,RIGHT,JB70
SH0472:14 | KA0241A1 | WHT | 20 | 120.0 | XT0111:16 | RAIL,RIGHT,JB70
SH0472:X1 | SH0472X1 | WHT | 20 | 120.0 | XT0111:18 | RAIL,RIGHT,JB70
SH0472:X2 | SH0472X2 | WHT | 20 | 120.0 | XT0111:17 | RAIL,RIGHT,JB70
SH0472:11 | SH047211 | WHT | 20 | 120.0 | XT0111:13 | RAIL,RIGHT,JB70
SH0472:12 | SH047212 | WHT | 20 | 120.0 | XT0111:14 | RAIL,RIGHT,JB70
AT
AT1100:POS | FU1100 | WHT | 14 | 120.0 | FU1100:LD | RAIL,RIGHT,JB70 | AT1100 - RAIL,RIGHT,JB70
AT1100:NEG | -0V | WHT | 14 | 120.0 | XT0111:22 | RAIL,RIGHT,JB70
SA
SA0471:B1-13 | SA0471B113 | WHT | 20 | 120.0 | AF0087:40 | PANEL A | SA0471 - PANEL A
SA0471:B1-14 | SA0471B114 | WHT | 20 | 120.0 | AF0087:08 | PANEL A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 120.0 | AF0087:39 | PANEL A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 120.0 | AF0087:07 | PANEL A
SA0473:11 | SA047311 | WHT | 20 | 120.0 | AF0087:37 | PANEL A | SA0473 - PANEL A
SA0473:12 | SA047312 | WHT | 20 | 120.0 | AF0087:05 | PANEL A
SA0473:13 | SA047313 | WHT | 20 | 120.0 | AF0087:38 | PANEL A
SA0473:14 | SA047314 | WHT | 20 | 120.0 | AF0087:06 | PANEL A
SA0474:B1-13 | SA0474B113 | WHT | 20 | 120.0 | AF0087:45 | PANEL A | SA0474 - PANEL A
SA0474:B1-14 | SA0474B114 | WHT | 20 | 120.0 | AF0087:13 | PANEL A
SA0474:B2-13 | SA0474B213 | WHT | 20 | 120.0 | AF0087:44 | PANEL A
SA0474:B2-14 | SA0474B214 | WHT | 20 | 120.0 | AF0087:12 | PANEL A
SB
SB0471:11 | SB047111 | WHT | 20 | 120.0 | AF0087:34 | PANEL A | SB0471 - PANEL A
SB0471:12 | SB047112 | WHT | 20 | 120.0 | AF0087:02 | PANEL A
SB0472:B2-11 | SB0472B211 | WHT | 20 | 120.0 | AF0081:36 | PANEL A | SB0472 - PANEL A
SB0472:B2-12 | SB0472B212 | WHT | 20 | 120.0 | AF0081:04 | PANEL A
SB0473:13 | SB047313 | WHT | 20 | 120.0 | AF0087:35 | PANEL A | SB0473 - PANEL A
SB0473:14 | SB047314 | WHT | 20 | 120.0 | AF0087:03 | PANEL A
SB0474:13 | SB047413 | WHT | 20 | 120.0 | AF0087:36 | PANEL A | SB0474 - PANEL A
SB0474:14 | SB047414 | WHT | 20 | 120.0 | AF0087:04 | PANEL A

## RAIL,LEFT,JB70
RAIL,LEFT,JB70
Project # | 4P441
Project Name | TCM-70
Revision | B.1
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT
AT0176:4P1 | AT01764P1 | WHT | 14 | 60.0 | AT0178:1P1 | RAIL,LEFT,JB70 | AT0176
AT0176:5P1 | AT01765P1 | WHT | 14 | 60.0 | AT0178:2P1 | RAIL,LEFT,JB70
AT0175:5P1 | KA6510A2 | WHT | 20 | 60.0 | KA6510:A2 | RAIL,LEFT,JB70 | AT0175
AT0175:11 | KA651012 | WHT | 20 | 60.0 | KA6510:12 | RAIL,LEFT,JB70
AT0175:2 | SB017013 | WHT | 20 | 60.0 | XT0173:12 | RAIL,LEFT,JB70
AT0175:3 | SB017014 | WHT | 20 | 60.0 | XT0173:13 | RAIL,LEFT,JB70
AT0175:17 | AT017517 | WHT | 20 | 60.0 | XT0173:2 | RAIL,LEFT,JB70
AT0175:18 | HL0171X1 | WHT | 20 | 60.0 | XT0173:3 | RAIL,LEFT,JB70
AT0175:20 | AT017520 | WHT | 20 | 60.0 | XT0173:5 | RAIL,LEFT,JB70
AT0175:21 | HL0172X1 | WHT | 20 | 60.0 | XT0173:6 | RAIL,LEFT,JB70
AT0175:23 | AT017523 | WHT | 20 | 60.0 | XT0173:8 | RAIL,LEFT,JB70
AT0175:24 | HL0173X1 | WHT | 20 | 60.0 | XT0173:9 | RAIL,LEFT,JB70
AT0178:23 | AT017823 | WHT | 20 | 60.0 | XT0171:2 | RAIL,LEFT,JB70 | AT0178
AT0178:24 | AT017824 | WHT | 20 | 60.0 | XT0171:3 | RAIL,LEFT,JB70
FU
FU0294:LI | FU0535 | WHT | 12 | 60.0 | XT0535:4 | RAIL,LEFT,JB70 | FU - XT
FU0295:LI | FU0535 | WHT | 12 | 60.0 | XT0535:5 | RAIL,LEFT,JB70
FU0535:LD | FU0535 | WHT | 12 | 60.0 | XT0535:1 | RAIL,LEFT,JB70
KA
KA0178:A1 | KA0178A1 | WHT | 20 | 60.0 | XT0171:1 | RAIL,LEFT,JB70 | KA0178
KA0178:A2 | AT017824 | WHT | 20 | 60.0 | XT0171:3 | RAIL,LEFT,JB70
XT
XT0171:5 | -0V | WHT | 14 | 60.0 | XT0173:25 | RAIL,LEFT,JB70 | XT0171
XT0171:4 | FU0170 | WHT | 14 | 60.0 | XT0173:24 | RAIL,LEFT,JB70
XT0171:6 | LON1S2 | WHT | 14 | 60.0 | XT0173:23 | RAIL,LEFT,JB70
AT
AT0175:1P1 | UV01709 | WHT | 14 | 120.0 | UV0170:9(+) | FIRE PANEL | AT0175 - FIRE PANEL
AT0175:2P1 | UV017010 | WHT | 14 | 120.0 | UV0170:10(-) | FIRE PANEL
AT0176:1P1 | UV017011 | WHT | 14 | 120.0 | UV0170:11(+) | FIRE PANEL | AT0176 - FIRE PANEL
AT0176:2P1 | UV017012 | WHT | 14 | 120.0 | UV0170:12(-) | FIRE PANEL
KA
KA0172:A1 | AT017025 | WHT | 20 | 120.0 | AT0170:25 | FIRE PANEL | KA0172 - FIRE PANEL
KA0172:A2 | -0V | WHT | 20 | 120.0 | XT0170:4 | FIRE PANEL
KA0174:A1 | AT017031 | WHT | 20 | 120.0 | AT0170:31 | FIRE PANEL | KA:A1 - AT - FIRE PANEL
XT
XT0173:10 | SA0170B113 | WHT | 20 | 120.0 | AT0170:11 | FIRE PANEL | XT0173 - FIRE PANEL
XT0173:11 | SA0170B114 | WHT | 20 | 120.0 | AT0170:12 | FIRE PANEL
XT0173:27 | LON0N | WHT | 14 | 120.0 | UV0170:14(-) | FIRE PANEL
XT0173:26 | LON0P | WHT | 14 | 120.0 | UV0170:13(+) | FIRE PANEL
XT0171:4 | FU0170 | WHT | 14 | 120.0 | FU0170:LD | FIRE PANEL | XT0171 - FIRE PANEL
XT0171:5 | -0V | WHT | 14 | 120.0 | XT0170:3 | FIRE PANEL
XT0535:3 | FU0535 | WHT | 14 | 120.0 | XT0170:2 | FIRE PANEL | XT - XT - FIRE PANEL
XT0536:3 | -0V | WHT | 14 | 120.0 | XT0170:3 | FIRE PANEL
FU
FU0535:LI | FU0136 | WHT | 12 | 120.0 | XT0002:7 | PANEL A | FU - XT - PANEL A
KA
KA0178:14 | FU0535 | WHT | 20 | 120.0 | KA0875:14 | PANEL A | KA - KA - PANEL A
XT
XT0536:1 | -0V | WHT | 12 | 120.0 | XT0003:7 | PANEL A | XT - XT - PANEL A
KA
KA0178:11 | KA023212 | WHT | 20 | 120.0 | KA0232:12 | PANEL B | KA - KA - PANEL B

## RAIL,RIGHT,JB70
RAIL,RIGHT,JB70
Project # | 4P441
Project Name | TCM-70
Revision | B.1
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
SB
SB0472:B1-12 | ESTOPA | WHT | 20 | 120.0 | XT0111:20 | JB70 | SB0472 - JB70
SB0472:B1-11 | ESTOPB | WHT | 20 | 120.0 | XT0111:19 | JB70
SH
SH0470:X1 | SH0470X1 | WHT | 20 | 120.0 | XT0111:12 | JB70 | SH0470 - JB70
SH0470:X2 | SH0470X2 | WHT | 20 | 120.0 | XT0111:11 | JB70
SH0470:11 | SH047011 | WHT | 20 | 120.0 | XT0111:7 | JB70
SH0470:12 | SH047012 | WHT | 20 | 120.0 | XT0111:8 | JB70
SH0470:13 | SH047013 | WHT | 20 | 120.0 | XT0111:9 | JB70
SH0470:14 | SH047014 | WHT | 20 | 120.0 | XT0111:10 | JB70
SH0471:X1 | SH0471X1 | WHT | 20 | 120.0 | XT0111:6 | JB70 | SH0471 - JB70
SH0471:X2 | SH0471X2 | WHT | 20 | 120.0 | XT0111:5 | JB70
SH0471:11 | SH047111 | WHT | 20 | 120.0 | XT0111:1 | JB70
SH0471:12 | SH047112 | WHT | 20 | 120.0 | XT0111:2 | JB70
SH0471:13 | SH047113 | WHT | 20 | 120.0 | XT0111:3 | JB70
SH0471:14 | SH047114 | WHT | 20 | 120.0 | XT0111:4 | JB70
SH0472:13 | FU0139 | WHT | 20 | 120.0 | XT0111:15 | JB70 | SH0472 - JB70
SH0472:14 | KA0241A1 | WHT | 20 | 120.0 | XT0111:16 | JB70
SH0472:X1 | SH0472X1 | WHT | 20 | 120.0 | XT0111:18 | JB70
SH0472:X2 | SH0472X2 | WHT | 20 | 120.0 | XT0111:17 | JB70
SH0472:11 | SH047211 | WHT | 20 | 120.0 | XT0111:13 | JB70
SH0472:12 | SH047212 | WHT | 20 | 120.0 | XT0111:14 | JB70
FU
FU1100:LD | FU1100 | WHT | 14 | 120.0 | AT1100:POS | JB70 | FU - AT - JB70
XT
XT0111:22 | -0V | WHT | 14 | 120.0 | AT1100:NEG | JB70 | XT - AT - JB70
BA
BA0001:V1(+) | FU0021 | WHT | 16 | 60.0 | FU0021:LD | RAIL,RIGHT,JB70 | BA0001
BA0001:V1(-) | -0V | WHT | 16 | 60.0 | XT0051:5 | RAIL,RIGHT,JB70
BA0002:V1(+) | FU0022 | WHT | 16 | 60.0 | FU0022:LD | RAIL,RIGHT,JB70 | BA0002
BA0002:V1(-) | -0V | WHT | 16 | 60.0 | XT0051:6 | RAIL,RIGHT,JB70
BA0009:V1(+) | FU0029 | WHT | 16 | 60.0 | FU0029:LD | RAIL,RIGHT,JB70 | BA0009
BA0009:V1(-) | -0V | WHT | 16 | 60.0 | XT0051:7 | RAIL,RIGHT,JB70
BA1100:NEG | BA1100N | WHT | 16 | 60.0 | UJ1100:OUT1(-) | RAIL,RIGHT,JB70 | BA1100
BA1100:POS | BA1100P | WHT | 16 | 60.0 | UJ1100:OUT1(+) | RAIL,RIGHT,JB70
FU
FU0021:LI | FU0136 | WHT | 16 | 60.0 | XT0051:1 | RAIL,RIGHT,JB70 | FU - XT
FU0022:LI | FU0136 | WHT | 16 | 60.0 | XT0051:2 | RAIL,RIGHT,JB70
FU0029:LI | FU0136 | WHT | 16 | 60.0 | XT0051:3 | RAIL,RIGHT,JB70
FU1100:LI | FU0136 | WHT | 14 | 60.0 | XT0111:21 | RAIL,RIGHT,JB70
UJ
UJ1100:24V(-) | -0V | WHT | 16 | 60.0 | XT0111:22 | RAIL,RIGHT,JB70 | UJ - XT
UJ
UJ1100:24V(+) | FU1101LD | WHT | 16 | 120.0 | FU1101:LD | PANEL A | UJ - FU - PANEL A
XT
XT0111:24 | HA047201 | WHT | 20 | 120.0 | AF0092:28 | PANEL A | XT0111 - PANEL A
XT0111:12 | SH0470X1 | WHT | 20 | 120.0 | AF0093:22 | PANEL A
XT0111:11 | SH0470X2 | WHT | 20 | 120.0 | AF0093:06 | PANEL A
XT0111:6 | SH0471X1 | WHT | 20 | 120.0 | AF0093:31 | PANEL A
XT0111:5 | SH0471X2 | WHT | 20 | 120.0 | AF0093:15 | PANEL A
XT0111:18 | SH0472X1 | WHT | 20 | 120.0 | AF0092:29 | PANEL A
XT0111:17 | SH0472X2 | WHT | 20 | 120.0 | AF0092:13 | PANEL A
XT0111:7 | SH047011 | WHT | 20 | 120.0 | AF0087:33 | PANEL A
XT0111:8 | SH047012 | WHT | 20 | 120.0 | AF0087:01 | PANEL A
XT0111:3 | SH047113 | WHT | 20 | 120.0 | AF0087:32 | PANEL A
XT0111:4 | SH047114 | WHT | 20 | 120.0 | AF0087:00 | PANEL A
XT0111:21 | FU0136 | WHT | 14 | 120.0 | FU1101:LI | PANEL A
XT0111:24 | HA047201 | WHT | 20 | 120.0 | KA0875:A2 | PANEL A
XT0111:23 | HA047202 | WHT | 20 | 120.0 | KA0875:11 | PANEL A
XT0111:17 | SH0472X2 | WHT | 20 | 120.0 | KA0240:21 | PANEL A
XT0111:22 | -0V | WHT | 14 | 120.0 | XT0003:6 | PANEL A
XT0111:21 | FU0136 | WHT | 14 | 120.0 | XT0002:6 | PANEL A
XT0051:5 | -0V | WHT | 14 | 120.0 | XT0003:7 | PANEL A | XT0051 - PANEL A
XT0051:1 | FU0136 | WHT | 14 | 120.0 | XT0002:7 | PANEL A
XT
XT0111:20 | ESTOPA | WHT | 20 | 120.0 | XT0089:4 | PANEL B | XT0111 - PANEL B
XT0111:19 | ESTOPB | WHT | 20 | 120.0 | XT0089:3 | PANEL B
XT0111:15 | FU0139 | WHT | 20 | 120.0 | XT0081:6 | PANEL B
XT0111:16 | KA0241A1 | WHT | 20 | 120.0 | XT0081:7 | PANEL B
XT
XT0051:4 | FU0136 | WHT | 14 | 120.0 | FU0680:LI | PLC | XT0051 - PLC
XT0051:8 | -0V | WHT | 14 | 120.0 | XT0680:2 | PLC

## FIRE PANEL
FIRE PANEL
Project # | 4P441
Project Name | TCM-70
Revision | B.1
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT
AT0170:1 | UV01705 | WHT | 14 | 60.0 | UV0170:5(+) | FIRE PANEL | AT0170
AT0170:2 | UV01706 | WHT | 14 | 60.0 | UV0170:6(-) | FIRE PANEL
AT0170:3 | UV01707 | WHT | 14 | 60.0 | UV0170:7(+) | FIRE PANEL
AT0170:4 | UV01708 | WHT | 14 | 60.0 | UV0170:8(-) | FIRE PANEL
AT0170:24 | FU0172 | WHT | 20 | 60.0 | XT0170:5 | FIRE PANEL
AT0170:30 | FU0172 | WHT | 20 | 60.0 | XT0170:5 | FIRE PANEL
FU
FU0171:LD | FU0171 | WHT | 14 | 60.0 | UV0170:1(+) | FIRE PANEL | FU0171
FU0171:LD | FU0171 | WHT | 14 | 60.0 | UV0170:3(+) | FIRE PANEL
FU0171:LI | FU0535 | WHT | 14 | 60.0 | XT0170:2 | FIRE PANEL
FU0170:LI | FU0535 | WHT | 14 | 60.0 | XT0170:2 | FIRE PANEL | FU - XT
FU0172:LI | FU0535 | WHT | 14 | 60.0 | XT0170:1 | FIRE PANEL | FU0172
FU0172:LD | FU0172 | WHT | 16 | 60.0 | XT0170:5 | FIRE PANEL
UV
UV0170:2(-) | -0V | WHT | 14 | 60.0 | XT0170:3 | FIRE PANEL | UV0170
UV0170:4(-) | -0V | WHT | 14 | 60.0 | XT0170:3 | FIRE PANEL

## PLC
PLC
Project # | 4P441
Project Name | TCM-70
Revision | B.1
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT
AT0680:NEG | -0V | WHT | 14 | 60.0 | XT0680:2 | PLC | AT0680
AT0680:POS | AT0680POS | WHT | 14 | 60.0 | XT0680:1 | PLC
FU
FU0010:LD | FU0010 | WHT | 14 | 60.0 | UV0600:(+) | PLC | FU - UV
FU0680:LD | AT0680POS | WHT | 14 | 60.0 | XT0680:1 | PLC | FU - XT
FU
FU0010:LI | FU0136 | WHT | 14 | 120.0 | XT0002:4 | PANEL A | FU - XT - PANEL A
UV
UV0600:(-) | -0V | WHT | 14 | 120.0 | XT0003:4 | PANEL A | UV - XT - PANEL A

## PANEL A
PANEL A
Project # | 4P441
Project Name | TCM-70
Revision | B.1 |  |  |  |  | change
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
KA0145:21 | KA025522 | WHT | 20 | 60.0 | KA0249:11 | PANEL A | KA0145:21 / KA025522
KA0145:21 | KA025522 | WHT | 20 | 60.0 | KA0255:22 | PANEL A
KA0145:22 | KA0176A1 | WHT | 20 | 100 | KA0176:A1 | PANEL A | KA0145:22 / KA0176A1
KA0145:22 | KA0176A1 | WHT | 20 | 60.0 | KA0249:12 | PANEL A
KA0246:A1 | KA0243A1 | WHT | 20 | 60.0 | KA0247:A1 | PANEL A | KA0246:A1 / KA0243A1
AF
AF0091:V+ | AF0091P | WHT | 16 | 60.0 | AF0094:V+ | PANEL A | AF0091
AF0091:COM | AF0091N | WHT | 16 | 60.0 | AF0094:COM | PANEL A
AF0091:41 | UJ0131OK1 | WHT | 20 | 60 | UJ0131:OK1 | PANEL A
AF0091:09 | UJ0131OK2 | WHT | 20 | 60 | UJ0131:OK2 | PANEL A
AF0092:V+ | FU0091 | WHT | 16 | 60.0 | FU0091:LD | PANEL A | AF0092
AF0092:45 | KA024022 | WHT | 20 | 100 | KA0240:22 | PANEL A
AF0092:24 | KA3103A2 | WHT | 20 | 80 | KA3103:A2 | PANEL A
AF0092:23 | KA2161A2 | WHT | 20 | 80 | KA2161:A2 | PANEL A
AF0092:20 | KA2160A2 | WHT | 20 | 80 | KA2160:A2 | PANEL A
AF0092:12 | 009212 | WHT | 20 | 60.0 | KA0875:A1 | PANEL A
AF0092:08 | KA3103A1 | WHT | 20 | 80 | KA3103:A1 | PANEL A
AF0092:07 | KA2161A1 | WHT | 20 | 80 | KA2161:A1 | PANEL A
AF0092:04 | KA2160A1 | WHT | 20 | 80 | KA2160:A1 | PANEL A
AF0092:COM | -0V | WHT | 16 | 60.0 | XT0080:2 | PANEL A
AF0093:V+ | FU0092 | WHT | 16 | 60.0 | FU0092:LD | PANEL A | AF0093
AF0093:37 | 009337 | WHT | 20 | 60.0 | KA0177:14 | PANEL A
AF0093:36 | 009336 | WHT | 20 | 60.0 | KA0176:14 | PANEL A
AF0093:21 | 009321 | WHT | 20 | 80.0 | KA6212:A2 | PANEL A
AF0093:20 | 009320 | WHT | 20 | 60.0 | KA6211:A2 | PANEL A
AF0093:17 | KA3220A2 | WHT | 20 | 60.0 | KA3220:A2 | PANEL A
AF0093:05 | KA017711 | WHT | 20 | 60.0 | KA0177:11 | PANEL A
AF0093:05 | KA017711 | WHT | 20 | 60.0 | KA0247:11 | PANEL A
AF0093:04 | KA017611 | WHT | 20 | 60.0 | KA0176:11 | PANEL A
AF0093:01 | KA3220A1 | WHT | 20 | 60.0 | KA3220:A1 | PANEL A
AF0093:44 | 009344 | WHT | 20 | 80.0 | PC0470:+PWR | PANEL A
AF0093:28 | 009328 | WHT | 20 | 80.0 | PC0470:-PWR | PANEL A
AF0093:12 | 009312 | WHT | 20 | 80.0 | PC0470:INP_A | PANEL A
AF0093:COM | -0V | WHT | 16 | 80 | XT0080:3 | PANEL A
AF0095:V+ | FU0093 | WHT | 16 | 60.0 | FU0093:LD | PANEL A | AF0095
AF0095:COM | -0V | WHT | 16 | 60.0 | XT0080:4 | PANEL A
AF0081:41 | KA023911 | WHT | 20 | 80.0 | KA0239:11 | PANEL A | AF0081
AF0081:09 | KA023914 | WHT | 20 | 80.0 | KA0239:14 | PANEL A
AF0094:06 | UJ0131IOUT | WHT | 20 | 80.0 | UJ0131:IOUT | PANEL A | AF0094
AF0094:04 | UJ0131VIN | WHT | 20 | 80.0 | UJ0131:VIN | PANEL A
AU
AU0080:V+ | FU0081 | WHT | 16 | 60.0 | FU0081:LD | PANEL A | AU0080
AU0080:COM | -0V | WHT | 16 | 60.0 | XT0080:1 | PANEL A
AU0090:V+ | FU0090 | WHT | 16 | 60.0 | FU0090:LD | PANEL A | AU0090
AU0090:COM | -0V | WHT | 16 | 60.0 | XT0080:2 | PANEL A
FU
FU0237:LD | FU0237 | WHT | 16 | 60.0 | KA0239:22 | PANEL A | FU - KA
FU0011:LD | UJ0131P | WHT | 12 | 60.0 | UJ0131:+ | PANEL A | FU - UJ
FU0390:LD | FU0390 | WHT | 16 | 60.0 | XT0083:1 | PANEL A | FU - XT
KA
KA0176:11 | KA017611 | WHT | 20 | 60.0 | KA0246:11 | PANEL A | KA0176
KA0176:A1 | KA0176A1 | WHT | 20 | 60.0 | KA0177:A1 | PANEL A
KA0176:A2 | -0V | WHT | 20 | 60.0 | KA0177:A2 | PANEL A
KA0176:A2 | -0V | WHT | 20 | 60.0 | XT0080:7 | PANEL A
KA0246:14 | KA6211A1 | WHT | 20 | 60.0 | KA6211:A1 | PANEL A | KA0246
KA0246:A2 | -0V | WHT | 20 | 60.0 | KA0247:A2 | PANEL A
KA0247:14 | KA024714 | WHT | 20 | 60.0 | KA6212:A1 | PANEL A | KA0247
KA0247:A1 | KA0243A1 | WHT | 20 | 60.0 | KA0254:A1 | PANEL A
KA0247:A2 | -0V | WHT | 20 | 60.0 | KA0254:A2 | PANEL A
KA0145:A2 | -0V | WHT | 20 | 60.0 | KA0255:A2 | PANEL A | KA:A2 - KA
KA0179:A2 | -0V | WHT | 20 | 60.0 | KA0255:A2 | PANEL A
KA0249:A2 | -0V | WHT | 20 | 60.0 | KA0254:A2 | PANEL A
PC
PC0470:INP_A | 009312 | WHT | 20 | 60.0 | PC0470:INP_B | PANEL A | PC - PC
UJ
UJ0131:- | 521NEG | WHT | 12 | 60.0 | XT0011:1 | PANEL A | UJ - XT
KA0135:A1 | KA0135A1 | WHT | 20 | 120.0 | KA0131:11 | PANEL B | KA0135:A1 / KA0135A1 - PANEL B
KA0135:A1 | KA0135A1 | WHT | 20 | 120.0 | XT0089:22 | PANEL B
KA0246:A1 | KA0243A1 | WHT | 20 | 120.0 | XT0089:10 | PANEL B | KA0246:A1 / KA0243A1 - PANEL B
KA0249:A1 | KA0245A1 | WHT | 20 | 120.0 | XT0089:11 | PANEL B | KA0249:A1 / KA0245A1 - PANEL B
KA0875:11 | HA047202 | WHT | 20 | 120.0 | KA0232:11 | PANEL B | KA0875:11 / HA047202 - PANEL B
AF
AF0081:40 | KA014124 | WHT | 20 | 120.0 | KA0141:24 | PANEL B | AF0081 - PANEL B
AF0081:35 | KA0130A1 | WHT | 20 | 120.0 | KA0130:A1 | PANEL B
AF0081:34 | KA024511 | WHT | 20 | 120.0 | KA0245:11 | PANEL B
AF0081:33 | KA024311 | WHT | 20 | 120.0 | KA0243:11 | PANEL B
AF0081:24 | KA0131A2 | WHT | 20 | 120.0 | KA0131:A2 | PANEL B
AF0081:03 | KA013014 | WHT | 20 | 120.0 | KA0130:14 | PANEL B
AF0081:02 | KA024514 | WHT | 20 | 120.0 | KA0245:14 | PANEL B
AF0081:01 | KA024314 | WHT | 20 | 120.0 | KA0243:14 | PANEL B
AF0081:08 | KT014618 | WHT | 20 | 120.0 | KT0146:18 | PANEL B
AF0081:19 | UA1200J27 | WHT | 20 | 120.0 | UA1200:J2-7 | PANEL B
AF0081:00 | UA1200J21 | WHT | 20 | 120.0 | XT0089:19 | PANEL B
AF0087:43 | KA013621 | WHT | 20 | 120.0 | KA0136:21 | PANEL B | AF0087 - PANEL B
AF0087:11 | KA013624 | WHT | 20 | 120.0 | KA0136:24 | PANEL B
AF0087:09 | KA013112 | WHT | 20 | 120.0 | KA0137:24 | PANEL B
AF0091:39 | KA014111 | WHT | 20 | 120.0 | KA0141:11 | PANEL B | AF0091 - PANEL B
AF0091:12 | KA0134A1 | WHT | 20 | 120.0 | KA0134:A1 | PANEL B
AF0091:07 | KA014114 | WHT | 20 | 120.0 | KA0141:14 | PANEL B
AF0092:06 | KA013114 | WHT | 20 | 120.0 | KA0131:14 | PANEL B | AF0092 - PANEL B
AF0092:02 | KA0133A1 | WHT | 20 | 120.0 | KA0133:A1 | PANEL B
AF0095:02 | 009502 | WHT | 20 | 120.0 | KA0221:14 | PANEL B | AF - KA - PANEL B
AF0094:07 | -0V | WHT | 20 | 120.0 | XT0082:5 | PANEL B | AF0094 - PANEL B
AF0094:05 | -0V | WHT | 20 | 120.0 | XT0082:5 | PANEL B
FU
FU0081:LI | FU0080 | WHT | 14 | 120.0 | FU0080:LD | PANEL B | FU - FU - PANEL B
KA
KA0235:14 | KA023514 | WHT | 20 | 120.0 | AF0076:00 | PANEL B | KA0235 - PANEL B
KA0235:24 | 023524 | WHT | 20 | 120.0 | KA0221:11 | PANEL B
KA0235:A1 | ESTOP | WHT | 20 | 120.0 | XT0089:5 | PANEL B
KA0235:A2 | -0V | WHT | 20 | 120.0 | KA0242:A2 | PANEL B
KA0237:14 | KA023714 | WHT | 20 | 120.0 | AF0076:01 | PANEL B | KA0237 - PANEL B
KA0237:24 | 023724 | WHT | 20 | 120.0 | KA0222:11 | PANEL B
KA0236:24 | KA024114 | WHT | 20 | 120.0 | KA0241:14 | PANEL B | KA0236 - PANEL B
KA0236:21 | UA1200J21 | WHT | 20 | 120.0 | KA0241:11 | PANEL B
KA0236:11 | FU0139 | WHT | 20 | 120.0 | XT0081:5 | PANEL B
KA0239:21 | KA023921 | WHT | 20 | 120.0 | KA0242:24 | PANEL B | KA - KA - PANEL B
KA0240:11 | PS32004 | WHT | 20 | 120.0 | XT0089:14 | PANEL B | KA0240 - PANEL B
KA0240:14 | UF1300 | WHT | 20 | 120.0 | XT0084:1 | PANEL B
KA0255:21 | FU0139 | WHT | 20 | 120.0 | XT0081:3 | PANEL B | KA0255 - PANEL B
KA0255:A1 | KA0131A1 | WHT | 20 | 120.0 | XT0089:9 | PANEL B
KA0145:A1 | KA0135A1 | WHT | 20 | 120.0 | XT0089:22 | PANEL B | KA:A1 - XT - PANEL B
KA0251:A1 | ESTOP | WHT | 20 | 120.0 | XT0089:6 | PANEL B
KA0135:A2 | -0V | WHT | 20 | 120.0 | KA0137:A2 | PANEL B | KA:A2 - KA - PANEL B
XT
XT0002:1 | FU0136 | WHT | 14 | 120.0 | FU0210:LI | PANEL B | XT0002 - PANEL B
XT0002:2 | FU0136 | WHT | 14 | 120.0 | FU0137:LI | PANEL B
XT0002:3 | FU0136 | WHT | 14 | 120.0 | FU0410:LI | PANEL B
XT0080:7 | -0V | WHT | 20 | 120.0 | KA0243:A2 | PANEL B | XT0080 - PANEL B
XT0080:8 | -0V | WHT | 20 | 120.0 | KA0241:A2 | PANEL B
XT0080:9 | KM3170EP | WHT | 20 | 120.0 | KA0138:11 | PANEL B
XT0080:5 | -0V | WHT | 20 | 120.0 | KT0140:A2 | PANEL B
XT0080:6 | -0V | WHT | 20 | 120.0 | KT0145:A2 | PANEL B
XT0080:1 | -0V | WHT | 14 | 120.0 | XT0082:2 | PANEL B
XT0080:5 | -0V | WHT | 20 | 120.0 | XT0082:2 | PANEL B
XT0080:5 | -0V | WHT | 20 | 120.0 | XT0089:18 | PANEL B
XT0003:1 | -0V | WHT | 12 | 120.0 | XT0062:1 | PANEL B | XT0003 - PANEL B
XT0003:2 | -0V | WHT | 12 | 120.0 | XT0082:1 | PANEL B
XT0003:3 | -0V | WHT | 14 | 120.0 | XT0401:1 | PANEL B
XT0083:3 | -0V | WHT | 16 | 120.0 | XT0082:6 | PANEL B | XT - XT - PANEL B

## PANEL B
PANEL B
Project # | 4P441
Project Name | TCM-70
Revision | B.1
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
KA0130:A1 | KA0130A1 | WHT | 20 | 60.0 | KA0130:11 | PANEL B | KA0130:A1 / KA0130A1
KA0132:11 | FU0139 | WHT | 20 | 60.0 | KA0133:11 | PANEL B | KA0132:11 / FU0139
KA0132:11 | FU0139 | WHT | 20 | 100.0 | XT0081:1 | PANEL B
KA0132:12 | KT014315 | WHT | 20 | 60.0 | KA0133:12 | PANEL B | KA0132:12 / KT014315
KA0132:12 | KT014315 | WHT | 20 | 80.0 | KT0142:A1 | PANEL B
KA0134:11 | FU0139 | WHT | 20 | 60.0 | KA0136:11 | PANEL B | KA0134:11 / FU0139
KA0134:11 | FU0139 | WHT | 20 | 60.0 | KT0144:15 | PANEL B
KA0134:A1 | KA0134A1 | WHT | 20 | 60.0 | AF0067:12 | PANEL B | KA0134:A1 / KA0134A1
KA0137:11 | FU0139 | WHT | 20 | 80.0 | KT0140:15 | PANEL B | KA0137:11 / FU0139
KA0137:11 | FU0139 | WHT | 20 | 60.0 | KT0144:15 | PANEL B
KA0137:14 | KA013222 | WHT | 20 | 60.0 | KT0141:18 | PANEL B | KA0137:14 / KA013222
KA0137:14 | KA013222 | WHT | 20 | 60.0 | KT0144:18 | PANEL B
KA0141:21 | KT0146A1 | WHT | 20 | 60.0 | KA0241:21 | PANEL B | KA0141:21 / KT0146A1
KA0141:21 | KT0146A1 | WHT | 20 | 60.0 | KT0146:A1 | PANEL B
KA0141:24 | KA014124 | WHT | 20 | 60.0 | KA0241:24 | PANEL B | KA0141:24 / KA014124
KA0241:11 | UA1200J21 | WHT | 20 | 80.0 | XT0089:19 | PANEL B | KA0241:11 / UA1200J21
KA0241:14 | KA024114 | WHT | 20 | 60.0 | KA0231:21 | PANEL B | KA0241:14 / KA024114
KA0242:11 | KT014618 | WHT | 20 | 60.0 | KA0231:11 | PANEL B | KA0242:11 / KT014618
KA0242:11 | KT014618 | WHT | 20 | 60.0 | KT0146:18 | PANEL B
KA0244:11 | FU0139 | WHT | 20 | 80.0 | KT0142:15 | PANEL B | KA0244:11 / FU0139
KA0244:11 | FU0139 | WHT | 20 | 100.0 | XT0081:2 | PANEL B
AF
AF0066:V+ | AF0066P | WHT | 16 | 60.0 | AF0068:V+ | PANEL B | AF0066
AF0066:COM | AF0066N | WHT | 16 | 60.0 | AF0068:COM | PANEL B
AF0410:56 | FU0410 | WHT | 16 | 60.0 | AF0420:55 | PANEL B | AF0410
AF0410:54 | -0V | WHT | 16 | 60.0 | AF0420:53 | PANEL B
AF0410:55 | FU0410 | WHT | 16 | 60.0 | FU0410:LD | PANEL B
AF0410:53 | -0V | WHT | 16 | 60.0 | XT0401:2 | PANEL B
AF0420:56 | FU0410 | WHT | 16 | 60.0 | AF0430:55 | PANEL B | AF0420
AF0420:54 | -0V | WHT | 16 | 60.0 | AF0430:53 | PANEL B
AF0430:56 | FU0410 | WHT | 16 | 60.0 | AF0450:55 | PANEL B | AF0430
AF0430:54 | -0V | WHT | 16 | 60.0 | AF0450:53 | PANEL B
AF0063:V+ | AU0060P | WHT | 16 | 60.0 | AU0060:V+ | PANEL B | AF0063
AF0063:COM | AU0060N | WHT | 16 | 60.0 | AU0060:COM | PANEL B
AF0061:V+ | FU0062 | WHT | 16 | 60.0 | FU0062:LD | PANEL B | AF0061
AF0061:14 | 006114 | WHT | 20 | 60.0 | KA0234:14 | PANEL B
AF0061:02 | 006102 | WHT | 20 | 60.0 | KA0233:14 | PANEL B
AF0061:COM | -0V | WHT | 16 | 60.0 | XT0060:2 | PANEL B
AF0062:V+ | FU0063 | WHT | 16 | 60.0 | FU0063:LD | PANEL B | AF0062
AF0062:00 | 006200 | WHT | 20 | 60.0 | KA0222:14 | PANEL B
AF0062:COM | -0V | WHT | 16 | 60.0 | XT0060:3 | PANEL B
AF0067:V+ | FU0064 | WHT | 16 | 60.0 | FU0064:LD | PANEL B | AF0067
AF0067:COM | -0V | WHT | 16 | 60.0 | XT0060:3 | PANEL B
AF0076:V+ | FU0076 | WHT | 16 | 60.0 | FU0076:LD | PANEL B | AF0076
AF0076:24 | KA1020A2 | WHT | 20 | 60.0 | KA1020:A2 | PANEL B
AF0076:20 | 007620 | WHT | 20 | 60.0 | KA0222:A2 | PANEL B
AF0076:18 | 007618 | WHT | 20 | 60.0 | KA0221:A2 | PANEL B
AF0076:08 | KA1020A1 | WHT | 20 | 60.0 | KA1020:A1 | PANEL B
AF0076:04 | 007604 | WHT | 20 | 60.0 | KA0222:A1 | PANEL B
AF0076:02 | 007602 | WHT | 20 | 60.0 | KA0221:A1 | PANEL B
AF0076:29 | KT0146A2 | WHT | 20 | 60.0 | KT0146:A2 | PANEL B
AF0076:13 | KT0146B1 | WHT | 20 | 60.0 | KT0146:B1 | PANEL B
AF0076:10 | KT014615 | WHT | 20 | 60.0 | KT0146:15 | PANEL B
AF0076:11 | UA1200J14 | WHT | 20 | 60.0 | UA1200:J1-4 | PANEL B
AF0076:COM | -0V | WHT | 16 | 60.0 | XT0060:4 | PANEL B
AF0076:12 | 007612 | WHT | 20 | 60.0 | XT0237:1 B2 | PANEL B
AF0074:21 | -0V | WHT | 20 | 60.0 | XT0089:18 | PANEL B | AF0074
AF0074:05 | 007405 | WHT | 20 | 60.0 | XT0089:17 | PANEL B
AU
AU0060:V+ | FU0061 | WHT | 16 | 60.0 | FU0061:LD | PANEL B | AU0060
AU0060:COM | -0V | WHT | 16 | 60.0 | XT0060:2 | PANEL B
AU0070:V+ | FU0070 | WHT | 16 | 60.0 | FU0070:LD | PANEL B | AU0070
AU0070:COM | -0V | WHT | 16 | 60.0 | XT0060:4 | PANEL B
FU
FU0060:LI | FU0210 | WHT | 12 | 60.0 | FU0210:LD | PANEL B | FU - FU
FU0061:LI | FU0060 | WHT | 14 | 60.0 | FU0060:LD | PANEL B
FU0080:LI | FU0137 | WHT | 12 | 60.0 | FU0137:LD | PANEL B
FU0100:LD | FU0100 | WHT | 16 | 60.0 | KA1020:14 | PANEL B | FU - KA
FU0388:LD | FU0388 | WHT | 16 | 80.0 | KA0138:14 | PANEL B
FU0139:LD | FU0139 | WHT | 16 | 60.0 | XT0081:1 | PANEL B | FU - XT
FU0389:LD | FU0389 | WHT | 16 | 60.0 | XT0089:20 | PANEL B
KA
KA0131:12 | KA013112 | WHT | 20 | 60.0 | KA0137:24 | PANEL B | KA0131
KA0131:A1 | KA0131A1 | WHT | 20 | 60.0 | KA0242:14 | PANEL B
KA0132:21 | KA0138A1 | WHT | 20 | 60.0 | KA0138:A1 | PANEL B | KA0132
KA0132:24 | KA013224 | WHT | 20 | 60.0 | KA0134:14 | PANEL B
KA0132:22 | KA013222 | WHT | 20 | 80.0 | KT0141:18 | PANEL B
KA0136:14 | KA013821 | WHT | 20 | 60.0 | KA0138:21 | PANEL B | KA0136
KA0136:11 | FU0139 | WHT | 20 | 60.0 | KT0144:A1 | PANEL B
KA0136:A1 | PS32002 | WHT | 20 | 60.0 | XT0089:13 | PANEL B
KA0136:A2 | -0V | WHT | 20 | 60.0 | KA0138:A2 | PANEL B
KA0231:24 | KA023124 | WHT | 20 | 60.0 | KA0245:21 | PANEL B | KA - KA
KA0242:14 | KA0131A1 | WHT | 20 | 60.0 | KA0231:14 | PANEL B | KA0242
KA0242:21 | KA024221 | WHT | 20 | 80.0 | XT0237:1 T2 | PANEL B
KA0243:21 | KA024524 | WHT | 20 | 60.0 | KA0245:24 | PANEL B | KA0243
KA0243:24 | ESTOPD | WHT | 20 | 100.0 | XT0089:1 | PANEL B
KA0243:A1 | KA0243A1 | WHT | 20 | 100.0 | XT0089:10 | PANEL B
KA0133:11 | FU0139 | WHT | 20 | 60.0 | KT0144:A1 | PANEL B | KA0133
KA0133:A2 | -0V | WHT | 20 | 60.0 | KA0136:A2 | PANEL B
KA0133:A2 | -0V | WHT | 20 | 60.0 | KT0144:A2 | PANEL B
KA0138:24 | KT0144B1 | WHT | 20 | 60.0 | KT0144:B1 | PANEL B | KA0138
KA0138:A2 | -0V | WHT | 20 | 60.0 | KT0143:A2 | PANEL B
KA0244:12 | KT0145A1 | WHT | 20 | 80.0 | KT0145:A1 | PANEL B | KA0244
KA0244:A2 | -0V | WHT | 20 | 60.0 | KA0245:A2 | PANEL B
KA1020:24 | -0V | WHT | 14 | 60.0 | XT0062:2 | PANEL B | KA - XT
KA0137:A1 | KA0137A1 | WHT | 20 | 60.0 | KT0145:18 | PANEL B | KA0137
KA0137:A2 | -0V | WHT | 20 | 60.0 | KT0145:A2 | PANEL B
KA0234:A1 | KA0131A1 | WHT | 20 | 100.0 | XT0089:8 | PANEL B | KA:A1 - XT
KA0241:A1 | KA0241A1 | WHT | 20 | 80.0 | XT0081:7 | PANEL B
KA0245:A1 | KA0245A1 | WHT | 20 | 60.0 | XT0089:11 | PANEL B
KA0134:A2 | -0V | WHT | 20 | 60.0 | KT0143:A2 | PANEL B | KA:A2 - KT
KA0130:A2 | UA1200J26 | WHT | 20 | 60.0 | UA1200:J2-6 | PANEL B | KA:A2 - UA
KT
KT0145:15 | FU0139 | WHT | 20 | 60.0 | KA0137:21 | PANEL B | KT0145
KT0145:18 | KA0137A1 | WHT | 20 | 60.0 | KT0142:18 | PANEL B
KT0140:A1 | KT0140A1 | WHT | 20 | 60.0 | KT0143:16 | PANEL B | KT0140
KT0140:18 | KT0143A1 | WHT | 20 | 60.0 | KT0143:A1 | PANEL B
KT0140:16 | KT014115 | WHT | 20 | 60.0 | KT0141:15 | PANEL B
KT0141:A1 | KT014315 | WHT | 20 | 60.0 | KT0143:15 | PANEL B | KT - KT
KT0142:A2 | -0V | WHT | 20 | 60.0 | KT0144:A2 | PANEL B | KT0142
KT0142:15 | FU0139 | WHT | 20 | 60.0 | KT0145:15 | PANEL B
UA
UA1200:J1-8 | UA1200J | WHT | 20 | 60.0 | UA1200:J3-5 | PANEL B | UA1200
UA1200:J1-9 | -0V | WHT | 20 | 60.0 | XT0089:21 | PANEL B
UA1200:J1-10 | FU0389 | WHT | 20 | 60.0 | XT0089:20 | PANEL B
UA1200:J2-2 | FU0389 | WHT | 20 | 60.0 | XT0089:20 | PANEL B
UA1200:J1-5 | UA1200J15 | WHT | 20 | 60.0 | XT0237:1 B1 | PANEL B
UA1200:J2-1 | UA1200J21 | WHT | 20 | 60.0 | XT0089:19 | PANEL B
XT
XT0062:2 | -0V | WHT | 14 | 60.0 | XT0060:1 | PANEL B | XT - XT
XT0081:1 | FU0139 | WHT | 20 | 60.0 | XT0089:16 | PANEL B
XT0089:21 | -0V | WHT | 16 | 60.0 | XT0082:3 | PANEL B | XT0089
XT0089:12 | FU0139 | WHT | 20 | 60.0 | XT0081:4 | PANEL B

## HPC CTRL
HPC CTRL
Project # | 4P441
Project Name | TCM-70
Revision | B.1
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF
AF0510:56 | FU0510 | WHT | 16 | 60.0 | AF0520:55 | HPC CTRL | AF0510
AF0510:54 | -0V | WHT | 16 | 60.0 | AF0520:53 | HPC CTRL
AF0510:55 | FU0510 | WHT | 16 | 60.0 | FU0510:LD | HPC CTRL
AF0510:53 | -0V | WHT | 16 | 60.0 | XT0510:2 | HPC CTRL
AF1202:V+ | AF1202P | WHT | 16 | 60.0 | AU1200:V+ | HPC CTRL | AF1202
AF1202:COM | AF1202N | WHT | 16 | 60.0 | AU1200:COM | HPC CTRL
AF1201:V+ | FU0121 | WHT | 16 | 100 | FU0121:LD | HPC CTRL | AF1201
AF1201:32 | 120132 | WHT | 20 | 100 | KA4401:22 | HPC CTRL
AF1201:00 | 120100 | WHT | 20 | 100 | KA0120:14 | HPC CTRL
AF1201:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC CTRL
AF1207:34 | PS44012 | WHT | 20 | 60.0 | KA4401:11 | HPC CTRL | AF1207
AF1207:18 | 120718 | WHT | 20 | 80 | KA4401:A2 | HPC CTRL
AF1207:02 | 120702 | WHT | 20 | 60.0 | KA4401:14 | HPC CTRL
AU
AU1200:V+ | FU0120 | WHT | 16 | 100 | FU0120:LD | HPC CTRL | AU1200
AU1200:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC CTRL
FU
FU0120:LI | FU0122 | WHT | 14 | 60.0 | FU0122:LD | HPC CTRL | FU - FU
FU0122:LI | FU0332 | WHT | 12 | 60.0 | XT0335:2 | HPC CTRL | FU - XT
FU0332:LD | FU0332 | WHT | 12 | 60.0 | XT0335:1 | HPC CTRL
FU0510:LI | FU0122 | WHT | 14 | 60.0 | XT0121:1 | HPC CTRL
KA
KA0120:12 | KA012012 | WHT | 20 | 60.0 | KA4401:21 | HPC CTRL | KA0120 | (JUMPER WIRE)
KA0120:A1 | KA0131A1 | WHT | 20 | 60.0 | XT0120:4 | HPC CTRL
KA0120:A2 | -0V | WHT | 20 | 60.0 | XT0120:3 | HPC CTRL
KA4401:11 | PS44012 | WHT | 20 | 60.0 | XT0120:5 | HPC CTRL | KA - XT
XT
XT0120:3 | -0V | WHT | 14 | 60.0 | XT0510:1 | HPC CTRL | XT - XT
XT0121:3 | -0V | WHT | 14 | 80 | XT0510:2 | HPC CTRL
XT0336:2 | -0V | WHT | 12 | 60.0 | XT0120:1 | HPC CTRL

## BOP
BOP
Project # | 4P441
Project Name | TCM-70
Revision | B.1
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
KA0572:12 | KA057212 | WHT | 20 | 60.0 | XT0573:2 B2 | BOP | KA0572:12 / KA057212
KA0572:12 | KA057212 | WHT | 20 | 60.0 | XT0573:3 T2 | BOP
KA0573:12 | KA057312 | WHT | 20 | 60.0 | XT0573:2 T2 | BOP | KA0573:12 / KA057312
KA0573:12 | KA057312 | WHT | 20 | 60.0 | XT0573:4 T2 | BOP
AF
AF0183:V+ | AF0183P | WHT | 16 | 60.0 | AF0185:V+ | BOP | AF0183
AF0183:COM | AF0183N | WHT | 16 | 60.0 | AF0185:COM | BOP
AF0183:21 | KA0573A2 | WHT | 20 | 60.0 | KA0573:A2 | BOP
AF0183:20 | KA0572A2 | WHT | 20 | 60.0 | KA0572:A2 | BOP
AF0183:05 | ZSC76412 | WHT | 20 | 60.0 | XT0572:6 | BOP
AF0183:04 | ZSC76212 | WHT | 20 | 60.0 | XT0572:4 | BOP
AF0142:V+ | AU0140P | WHT | 16 | 60.0 | AU0140:V+ | BOP | AF0142
AF0142:COM | AU0140N | WHT | 16 | 60.0 | AU0140:COM | BOP
AF0142:07 | ZSC76112 | WHT | 20 | 60.0 | XT0572:2 | BOP
AF0182:V+ | AU0180P | WHT | 16 | 60.0 | AU0180:V+ | BOP | AF0182
AF0182:COM | AU0180N | WHT | 16 | 60.0 | AU0180:COM | BOP
AF0141:V+ | FU0141 | WHT | 16 | 60.0 | FU0141:LD | BOP | AF0141
AF0141:36 | KA055111 | WHT | 20 | 60.0 | KA0551:11 | BOP
AF0141:32 | KA055011 | WHT | 20 | 60.0 | KA0550:11 | BOP
AF0141:14 | KA053111 | WHT | 20 | 60.0 | KA0531:11 | BOP
AF0141:12 | KA055411 | WHT | 20 | 60.0 | KA0554:11 | BOP
AF0141:06 | 014106 | WHT | 20 | 60.0 | KA0553:11 | BOP
AF0141:04 | KA053221 | WHT | 20 | 60.0 | KA0532:21 | BOP
AF0141:02 | 014102 | WHT | 20 | 60.0 | KA0552:11 | BOP
AF0141:00 | KA053121 | WHT | 20 | 60.0 | KA0531:21 | BOP
AF0141:COM | -0V | WHT | 16 | 60.0 | XT0140:2 | BOP
AF0141:20 | SV76412 | WHT | 20 | 60.0 | XT0572:5 | BOP
AF0141:16 | SV76212 | WHT | 20 | 60.0 | XT0572:3 | BOP
AF0146:V+ | FU0142 | WHT | 16 | 60.0 | FU0142:LD | BOP | AF0146
AF0146:COM | -0V | WHT | 16 | 60.0 | XT0140:3 | BOP
AF0181:V+ | FU0181 | WHT | 16 | 60.0 | FU0181:LD | BOP | AF0181
AF0181:COM | -0V | WHT | 16 | 80.0 | XT0140:4 | BOP
AF0184:V+ | FU0182 | WHT | 16 | 60.0 | FU0182:LD | BOP | AF0184
AF0184:21 | KA0554A2 | WHT | 20 | 60.0 | KA0554:A2 | BOP
AF0184:20 | 018420 | WHT | 20 | 60.0 | KA7173:A2 | BOP
AF0184:19 | KA0553A2 | WHT | 20 | 80.0 | KA0553:A2 | BOP
AF0184:18 | KA0551A2 | WHT | 20 | 60.0 | KA0551:A2 | BOP
AF0184:17 | KA0552A2 | WHT | 20 | 60.0 | KA0552:A2 | BOP
AF0184:16 | KA0550A2 | WHT | 20 | 60.0 | KA0550:A2 | BOP
AF0184:05 | KA0554A1 | WHT | 20 | 60.0 | KA0554:A1 | BOP
AF0184:04 | 018404 | WHT | 20 | 60.0 | KA7173:A1 | BOP
AF0184:03 | KA0553A1 | WHT | 20 | 80.0 | KA0553:A1 | BOP
AF0184:02 | KA0551A1 | WHT | 20 | 60.0 | KA0551:A1 | BOP
AF0184:01 | KA0552A1 | WHT | 20 | 60.0 | KA0552:A1 | BOP
AF0184:00 | KA0550A1 | WHT | 20 | 60.0 | KA0550:A1 | BOP
AF0184:COM | -0V | WHT | 16 | 80.0 | XT0140:5 | BOP
AU
AU0140:V+ | FU0140 | WHT | 16 | 60.0 | FU0140:LD | BOP | AU0140
AU0140:COM | -0V | WHT | 16 | 60.0 | XT0140:2 | BOP
AU0180:V+ | FU0180 | WHT | 16 | 60.0 | FU0180:LD | BOP | AU0180
AU0180:COM | -0V | WHT | 16 | 80.0 | XT0140:4 | BOP
FU
FU0140:LI | FU0146 | WHT | 14 | 60.0 | FU0146:LD | BOP | FU - FU
FU0143:LD | FU0143 | WHT | 16 | 80.0 | XT0140:9 | BOP | FU - XT
KA
KA0531:24 | KA053124 | WHT | 20 | 60.0 | KA0540:A1 | BOP | KA0531
KA0531:14 | SV76111 | WHT | 20 | 60.0 | XT0572:1 | BOP
KA0531:A1 | ESTOP | WHT | 20 | 60.0 | XT0140:8 | BOP
KA0532:24 | KA053224 | WHT | 20 | 60.0 | KA0541:A1 | BOP | KA - KA
KA0535:11 | KA053511 | WHT | 20 | 60.0 | KA0554:14 | BOP | KA0535
KA0535:14 | KA053514 | WHT | 20 | 60.0 | XT0573:1 B2 | BOP
KA0535:A1 | KA0131A1 | WHT | 20 | 60.0 | XT0140:7 | BOP
KA0535:A2 | -0V | WHT | 20 | 60.0 | XT0140:6 | BOP
KA0540:11 | KA054011 | WHT | 20 | 60.0 | KA0550:14 | BOP | KA0540
KA0540:A2 | SV76212 | WHT | 20 | 60.0 | XT0572:3 | BOP
KA0541:11 | KA054111 | WHT | 20 | 60.0 | KA0551:14 | BOP | KA0541
KA0541:A2 | SV76412 | WHT | 20 | 60.0 | XT0572:5 | BOP
KA0573:11 | KA053312 | WHT | 20 | 60.0 | KA0533:12 | BOP | KA0573
KA0573:A1 | ZSC76412 | WHT | 20 | 60.0 | XT0572:6 | BOP
KA0533:11 | FU0143 | WHT | 16 | 60.0 | XT0140:9 | BOP | KA - XT
KA0552:14 | KA055214 | WHT | 20 | 60.0 | XT0573:3 B2 | BOP
KA0553:14 | KA055314 | WHT | 20 | 60.0 | XT0573:4 B2 | BOP
KA0536:11 | KA053611 | WHT | 20 | 60.0 | XT0573:2 B1 | BOP | KA0536
KA0536:12 | KA053612 | WHT | 20 | 60.0 | XT0573:1 T1 | BOP
KA0572:A1 | ZSC76212 | WHT | 20 | 60.0 | XT0572:4 | BOP | KA:A1 - XT

## JB74,LEFT RAIL
JB74,LEFT RAIL
Project # | 4P441
Project Name | TCM-70
Revision | B.1
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA
BA0007:V1(+) | FU0027 | WHT | 16 | 60.0 | FU0027:LD | JB74,LEFT RAIL | BA - FU
BA0008:V1(+) | FU0028 | WHT | 16 | 60.0 | FU0028:LD | JB74,LEFT RAIL
BA1212:POS | FU1212 | WHT | 16 | 60.0 | FU1212:LD | JB74,LEFT RAIL
BA
BA1212:NEG | BA1212N | WHT | 20 | 120.0 | XT1212:2 | BOP | BA - XT - BOP
MRCA
FU
FU1212:LI | BA1212P | WHT | 16 | 120.0 | XT1212:1 | BOP | FU - XT - BOP

## JB1123
JB1123
Project # | 4P441
Project Name | TCM-70
Revision | B.1
Controls DE | A. CHEN
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA
BA0005:V1(+) | FU1123 | WHT | 16 | 60.0 | FU1123:LD | JB1123 | BA0005
BA0005:V1(-) | -0V | WHT | 16 | 60.0 | XT1123:2 | JB1123
BA0006:V1(+) | FU1124 | WHT | 16 | 60.0 | FU1124:LD | JB1123 | BA0006
BA0006:V1(-) | -0V | WHT | 16 | 60.0 | XT1123:2 | JB1123
FU
FU1123:LI | FU0136 | WHT | 16 | 60.0 | XT1123:1 | JB1123 | FU - XT
FU1124:LI | FU0136 | WHT | 16 | 60.0 | XT1123:1 | JB1123