## JB70_S
JB70
CONTROL,JB70
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:NEG | -0V | WHT | 14 | 120 | XT0111:22 | JB70 RIGHT RAIL | AT
AT1100:POS | FU1100 | WHT | 14 | 120 | FU1100:LD | JB70 RIGHT RAIL
SA0474:B1-13 | SA0474B113 | WHT | 20 | 180 | AF0087:45 | PANEL A | SA0474
SA0474:B1-14 | SA0474B114 | WHT | 20 | 180 | AF0087:13 | PANEL A
SA0474:B2-13 | SA0474B213 | WHT | 20 | 180 | AF0087:44 | PANEL A
SA0474:B2-14 | SA0474B214 | WHT | 20 | 180 | AF0087:12 | PANEL A
SA0471:B1-13 | SA0471B113 | WHT | 20 | 180 | AF0087:40 | PANEL A | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 180 | AF0087:08 | PANEL A
SA0471:B2-13 | SA0471B213 | WHT | 20 | 180 | AF0087:39 | PANEL A
SA0471:B2-14 | SA0471B214 | WHT | 20 | 180 | AF0087:07 | PANEL A
SA0473:11 | SA047311 | WHT | 20 | 180 | AF0087:37 | PANEL A | SA0473
SA0473:12 | SA047312 | WHT | 20 | 180 | AF0087:05 | PANEL A
SA0473:13 | SA047313 | WHT | 20 | 180 | AF0087:38 | PANEL A
SA0473:14 | SA047314 | WHT | 20 | 180 | AF0087:06 | PANEL A
SH0472:11 | SH047211 | WHT | 20 | 140 | XT0111:13 | JB70 RIGHT RAIL | SH0472
SH0472:12 | SH047212 | WHT | 20 | 140 | XT0111:14 | JB70 RIGHT RAIL
SH0472:13 | FU0139 | WHT | 20 | 140 | XT0111:15 | JB70 RIGHT RAIL
SH0472:14 | KA0241A1 | WHT | 20 | 140 | XT0111:16 | JB70 RIGHT RAIL
SH0472:X1 | SH0472X1 | WHT | 20 | 140 | XT0111:18 | JB70 RIGHT RAIL
SH0472:X2 | SH0472X2 | WHT | 20 | 140 | XT0111:17 | JB70 RIGHT RAIL
SH0471:11 | SH047111 | WHT | 20 | 140 | XT0111:1 | JB70 RIGHT RAIL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 140 | XT0111:2 | JB70 RIGHT RAIL
SH0471:13 | SH047113 | WHT | 20 | 140 | XT0111:3 | JB70 RIGHT RAIL
SH0471:14 | SH047114 | WHT | 20 | 140 | XT0111:4 | JB70 RIGHT RAIL
SH0471:X1 | SH0471X1 | WHT | 20 | 140 | XT0111:6 | JB70 RIGHT RAIL
SH0471:X2 | SH0471X2 | WHT | 20 | 140 | XT0111:5 | JB70 RIGHT RAIL
SH0470:11 | SH047011 | WHT | 20 | 140 | XT0111:7 | JB70 RIGHT RAIL | SH0470
SH0470:12 | SH047012 | WHT | 20 | 140 | XT0111:8 | JB70 RIGHT RAIL
SH0470:13 | SH047013 | WHT | 20 | 140 | XT0111:9 | JB70 RIGHT RAIL
SH0470:14 | SH047014 | WHT | 20 | 140 | XT0111:10 | JB70 RIGHT RAIL
SH0470:X1 | SH0470X1 | WHT | 20 | 140 | XT0111:12 | JB70 RIGHT RAIL
SH0470:X2 | SH0470X2 | WHT | 20 | 140 | XT0111:11 | JB70 RIGHT RAIL
SB0474:13 | SB047413 | WHT | 20 | 180 | AF0087:36 | PANEL A | SB0474
SB0474:14 | SB047414 | WHT | 20 | 180 | AF0087:04 | PANEL A
SB0472:B2-11 | SB0472B211 | WHT | 20 | 160 | AF0081:36 | PANEL A | SB0472
SB0472:B2-12 | SB0472B212 | WHT | 20 | 160 | AF0081:04 | PANEL A
SB0472:B1-11 | ESTOPB | WHT | 20 |  | XT0111:19 | JB70 RIGHT RAIL
SB0472:B1-12 | ESTOPA | WHT | 20 |  | XT0111:20 | JB70 RIGHT RAIL
SB0473:13 | SB047313 | WHT | 20 | 180 | AF0087:35 | PANEL A | SB0473
SB0473:14 | SB047314 | WHT | 20 | 180 | AF0087:03 | PANEL A
SB0471:11 | SB047111 | WHT | 20 | 180 | AF0087:34 | PANEL A | SB0471
SB0471:12 | SB047112 | WHT | 20 | 180 | AF0087:02 | PANEL A

## RAIL,LEFT,JB70_S
RAIL,LEFT,JB70
TURBINE CONTROL BOX, LEFT RAIL
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0175:17 | AT017517 | WHT | 20 | 120 | XT0173:2 | RAIL,LEFT,JB70 | AT
AT0175:18 | HL0171X1 | WHT | 20 | 120 | XT0173:3 | RAIL,LEFT,JB70
AT0175:2 | SB017013 | WHT | 20 | 120 | XT0173:12 | RAIL,LEFT,JB70
AT0175:20 | AT017520 | WHT | 20 | 120 | XT0173:5 | RAIL,LEFT,JB70
AT0175:21 | HL0172X1 | WHT | 20 | 120 | XT0173:6 | RAIL,LEFT,JB70
AT0175:23 | AT017523 | WHT | 20 | 120 | XT0173:8 | RAIL,LEFT,JB70
AT0175:24 | HL0173X1 | WHT | 20 | 120 | XT0173:9 | RAIL,LEFT,JB70
AT0175:3 | SB017014 | WHT | 20 | 120 | XT0173:13 | RAIL,LEFT,JB70
AT0178:23 | AT017823 | WHT | 20 | 120 | XT0171:2 | RAIL,LEFT,JB70
AT0178:24 | AT017824 | WHT | 20 | 120 | XT0171:3 | RAIL,LEFT,JB70
AT0176:4P1 | AT01764P1 | WHT | 14 | 60 | AT0178:1P1 | RAIL,LEFT,JB70
AT0176:5P1 | AT01765P1 | WHT | 14 | 60 | AT0178:2P1 | RAIL,LEFT,JB70
KA0178:A1 | KA0178A1 | WHT | 20 | 120 | XT0171:1 | RAIL,LEFT,JB70 | KA
KA0178:A2 | AT017824 | WHT | 20 | 120 | XT0171:3 | RAIL,LEFT,JB70
KA6510:12 | KA651012 | WHT | 20 | 140 | AT0175:11 | RAIL,LEFT,JB70
KA6510:A2 | KA6510A2 | WHT | 20 | 140 | AT0175:5P1 | RAIL,LEFT,JB70
XT0171:4 | FU0170 | WHT | 14 | 60 | XT0173:24 | RAIL,LEFT,JB70 | XT/FU
XT0171:5 | -0V | WHT | 14 | 60 | XT0173:25 | RAIL,LEFT,JB70
XT0171:6 | LON1S2 | WHT | 14 | 60 | XT0173:23 | RAIL,LEFT,JB70
FU0294:LI | FU0535 | WHT | 12 | 120 | XT0535:4 | RAIL,LEFT,JB70
FU0295:LI | FU0535 | WHT | 12 | 120 | XT0535:5 | RAIL,LEFT,JB70
FU0535:LD | FU0535 | WHT | 12 | 60 | XT0535:1 | RAIL,LEFT,JB70
XT0173:3 | HL0171X1 | WHT | 20 | 160 | HL0171:X1 | JB70 | RAIL - JB70
XT0173:1 | HL0171X2 | WHT | 20 | 160 | HL0171:X2 | JB70
XT0173:6 | HL0172X1 | WHT | 20 | 160 | HL0172:X1 | JB70
XT0173:4 | HL0172X2 | WHT | 20 | 160 | HL0172:X2 | JB70
XT0173:9 | HL0173X1 | WHT | 20 | 160 | HL0173:X1 | JB70
XT0173:7 | HL0173X2 | WHT | 20 | 160 | HL0173:X2 | JB70
XT0173:10 | SA0170B113 | WHT | 20 | 160 | SA0170:B1-13 | JB70
XT0173:11 | SA0170B114 | WHT | 20 | 160 | SA0170:B1-14 | JB70
AT0175:4P1 | AT01754P1 | WHT | 20 | 180 | SA0170:B2-13 | JB70
KA6510:A1 | SA0170B214 | WHT | 20 | 120 | SA0170:B2-14 | JB70
XT0173:12 | SB017013 | WHT | 20 | 160 | SB0170:13 | JB70
XT0173:13 | SB017014 | WHT | 20 | 160 | SB0170:14 | JB70
KA0172:A1 | AT017025 | WHT | 20 | 140 | AT0170:25 | FIRE PANEL | KA / AT - FS
KA0172:A2 | -0V | WHT | 20 | 140 | XT0170:4 | FIRE PANEL
KA0174:A1 | AT017031 | WHT | 20 | 140 | AT0170:31 | FIRE PANEL
AT0175:1P1 | UV01709 | WHT | 14 | 200 | UV0170:9(+) | FIRE PANEL
AT0175:2P1 | UV017010 | WHT | 14 | 200 | UV0170:10(-) | FIRE PANEL
AT0176:1P1 | UV017011 | WHT | 14 | 200 | UV0170:11(+) | FIRE PANEL
AT0176:2P1 | UV017012 | WHT | 14 | 200 | UV0170:12(-) | FIRE PANEL
XT0173:10 | SA0170B113 | WHT | 20 | 180 | AT0170:11 | FIRE PANEL | XT - FS
XT0173:11 | SA0170B114 | WHT | 20 | 180 | AT0170:12 | FIRE PANEL
XT0171:4 | FU0170 | WHT | 14 | 180 | FU0170:LD | FIRE PANEL
XT0171:5 | -0V | WHT | 14 | 180 | XT0170:3 | FIRE PANEL
XT0173:26 | LON0P | WHT | 14 | 180 | UV0170:13(+) | FIRE PANEL
XT0173:27 | LON0N | WHT | 14 | 180 | UV0170:14(-) | FIRE PANEL
XT0535:3 | FU0535 | WHT | 14 | 180 | XT0170:2 | FIRE PANEL
XT0536:3 | -0V | WHT | 14 | 180 | XT0170:3 | FIRE PANEL
KA0178:14 | FU0535 | WHT | 20 | 140 | KA0875:14 | PANEL A
FU0535:LI | FU0136 | WHT | 12 | 200 | XT0002:7 | PANEL A
XT0536:1 | -0V | WHT | 12 | 140 | XT0003:7 | PANEL A
KA0178:11 | KA023212 | WHT | 20 | 260 | KA0232:12 | PANEL B
AT0170:26 | KA0243A1 | WHT | 20 | 260 | KA0254:A1 | PANEL A | THRU
AT0170:32 | KA0245A1 | WHT | 20 | 260 | KA0249:A1 | PANEL A
XT0170:1 | FU0535 | WHT | 20 | 260 | KA0875:14 | PANEL A

## FIRE PANEL_S
FIRE PANEL
CONTROL CONSOLE DOOR^(FIRE SYSTEM PANEL)
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0170:24 | FU0172 | WHT | 20 | 60 | XT0170:5 | FIRE PANEL | AT
AT0170:30 | FU0172 | WHT | 20 | 60 | XT0170:5 | FIRE PANEL
FU0172:LD | FU0172 | WHT | 16 | 60 | XT0170:5 | FIRE PANEL
AT0170:1 | UV01705 | WHT | 14 | 60 | UV0170:5(+) | FIRE PANEL
AT0170:2 | UV01706 | WHT | 14 | 60 | UV0170:6(-) | FIRE PANEL
AT0170:3 | UV01707 | WHT | 14 | 60 | UV0170:7(+) | FIRE PANEL
AT0170:4 | UV01708 | WHT | 14 | 60 | UV0170:8(-) | FIRE PANEL
FU0170:LI | FU0535 | WHT | 14 | 60 | XT0170:2 | FIRE PANEL | FU/UV
FU0171:LD | FU0171 | WHT | 14 | 60 | UV0170:1(+) | FIRE PANEL
FU0171:LD | FU0171 | WHT | 14 | 60 | UV0170:3(+) | FIRE PANEL
FU0171:LI | FU0535 | WHT | 14 | 60 | XT0170:2 | FIRE PANEL
FU0172:LI | FU0535 | WHT | 14 | 60 | XT0170:1 | FIRE PANEL
UV0170:2(-) | -0V | WHT | 14 | 60 | XT0170:3 | FIRE PANEL
UV0170:4(-) | -0V | WHT | 14 | 60 | XT0170:3 | FIRE PANEL

## RAIL,RIGHT,JB70_S
JB70 RIGHT RAIL
TURBINE CONTROL BOX, RIGHT RAIL
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0001:V1(-) | -0V | WHT | 16 | 60 | XT0051:5 | JB70 RIGHT RAIL | BA
BA0001:V1(+) | FU0021 | WHT | 16 | 60 | FU0021:LD | JB70 RIGHT RAIL
BA0002:V1(-) | -0V | WHT | 16 | 60 | XT0051:6 | JB70 RIGHT RAIL
BA0002:V1(+) | FU0022 | WHT | 16 | 60 | FU0022:LD | JB70 RIGHT RAIL
BA0009:V1(-) | -0V | WHT | 16 | 60 | XT0051:7 | JB70 RIGHT RAIL
BA0009:V1(+) | FU0029 | WHT | 16 | 60 | FU0029:LD | JB70 RIGHT RAIL
BA1100:NEG | BA1100N | WHT | 16 | 80 | UJ1100:OUT1(-) | JB70 RIGHT RAIL
BA1100:POS | BA1100P | WHT | 16 | 80 | UJ1100:OUT1(+) | JB70 RIGHT RAIL
FU0021:LI | FU0136 | WHT | 16 | 60 | XT0051:1 | JB70 RIGHT RAIL | FU/UJ
FU0022:LI | FU0136 | WHT | 16 | 60 | XT0051:2 | JB70 RIGHT RAIL
FU0029:LI | FU0136 | WHT | 16 | 60 | XT0051:3 | JB70 RIGHT RAIL
UJ1100:24V(-) | -0V | WHT | 16 | 80 | XT0111:22 | JB70 RIGHT RAIL
FU1100:LI | FU0136 | WHT | 14 | 60 | XT0111:21 | JB70 RIGHT RAIL
XT0111:4 | SH047114 | WHT | 20 | 140 | AF0087:00 | PANEL A | XT - AF A
XT0111:8 | SH047012 | WHT | 20 | 140 | AF0087:01 | PANEL A
XT0111:3 | SH047113 | WHT | 20 | 140 | AF0087:32 | PANEL A
XT0111:7 | SH047011 | WHT | 20 | 140 | AF0087:33 | PANEL A
XT0111:17 | SH0472X2 | WHT | 20 | 140 | AF0092:13 | PANEL A
XT0111:24 | HA047201 | WHT | 20 | 140 | AF0092:28 | PANEL A
XT0111:18 | SH0472X1 | WHT | 20 | 140 | AF0092:29 | PANEL A
XT0111:11 | SH0470X2 | WHT | 20 | 140 | AF0093:06 | PANEL A
XT0111:5 | SH0471X2 | WHT | 20 | 140 | AF0093:15 | PANEL A
XT0111:12 | SH0470X1 | WHT | 20 | 140 | AF0093:22 | PANEL A
XT0111:6 | SH0471X1 | WHT | 20 | 140 | AF0093:31 | PANEL A
UJ1100:24V(+) | FU1101LD | WHT | 16 | 160 | FU1101:LD | PANEL A | XT/UJ - A
XT0111:21 | FU0136 | WHT | 14 | 140 | FU1101:LI | PANEL A
XT0111:17 | SH0472X2 | WHT | 20 | 160 | KA0240:21 | PANEL A
XT0111:23 | HA047202 | WHT | 20 | 160 | KA0875:11 | PANEL A
XT0111:24 | HA047201 | WHT | 20 | 160 | KA0875:A2 | PANEL A
XT0111:21 | FU0136 | WHT | 14 | 160 | XT0002:6 | PANEL A
XT0051:1 | FU0136 | WHT | 14 | 140 | XT0002:7 | PANEL A
XT0111:22 | -0V | WHT | 14 | 160 | XT0003:6 | PANEL A
XT0051:5 | -0V | WHT | 14 | 160 | XT0003:7 | PANEL A
XT0111:15 | FU0139 | WHT | 20 | 140 | XT0081:6 | PANEL B | XT - B
XT0111:16 | KA0241A1 | WHT | 20 | 140 | XT0081:7 | PANEL B
XT0111:19 | ESTOPB | WHT | 20 | 140 | XT0089:3 | PANEL B
XT0111:20 | ESTOPA | WHT | 20 | 140 | XT0089:4 | PANEL B
XT0051:4 | FU0136 | WHT | 14 | 140 | FU0680:LI | PLC | XT - PLC
XT0051:8 | -0V | WHT | 14 | 140 | XT0680:2 | PLC

## PLC_S
PLC
PLC PANEL,JB70
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | PLC | PLC
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
FU0010:LD | FU0010 | WHT | 14 | 60 | UV0600:(+) | PLC
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PLC
FU0010:LI | FU0136 | WHT | 14 | 120 | XT0002:4 | PANEL A | PLC - A
UV0600:(-) | -0V | WHT | 14 | 120 | XT0003:4 | PANEL A

## PANEL A_S
PANEL A
CONTROL PANEL A,JB70
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0091:09 | PANEL A | UJ0131
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0091:41 | PANEL A
UJ0131:VIN | UJ0131VIN | WHT | 20 | 60 | AF0094:04 | PANEL A
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 60 | AF0094:06 | PANEL A
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | PANEL A
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | PANEL A
AF0093:12 | -009312 | WHT | 20 | 60 | PC0470:INP_A | PANEL A | AF
AF0093:28 | -009328 | WHT | 20 | 60 | PC0470:-PWR | PANEL A
AF0093:44 | -009344 | WHT | 20 | 60 | PC0470:+PWR | PANEL A
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | PANEL A
AF0091:V+ | AF0091P | WHT | 16 | 60 | AF0094:V+ | PANEL A
AU0080:V+ | FU0081 | WHT | 16 | 60 | FU0081:LD | PANEL A
AU0090:V+ | FU0090 | WHT | 16 | 60 | FU0090:LD | PANEL A
AF0092:V+ | FU0091 | WHT | 16 | 60 | FU0091:LD | PANEL A
AF0093:V+ | FU0092 | WHT | 16 | 60 | FU0092:LD | PANEL A
AF0095:V+ | FU0093 | WHT | 16 | 80 | FU0093:LD | PANEL A
AU0080:COM | -0V | WHT | 16 | 60 | XT0080:1 | PANEL A
AF0092:COM | -0V | WHT | 16 | 60 | XT0080:2 | PANEL A
AU0090:COM | -0V | WHT | 16 | 60 | XT0080:2 | PANEL A
AF0093:COM | -0V | WHT | 16 | 80 | XT0080:3 | PANEL A
AF0095:COM | -0V | WHT | 16 | 80 | XT0080:4 | PANEL A
KA2160:A1 | KA2160A1 | WHT | 20 | 80 | AF0092:04 | PANEL A | KA A1/2
KA2161:A1 | KA2161A1 | WHT | 20 | 80 | AF0092:07 | PANEL A
KA3103:A1 | KA3103A1 | WHT | 20 | 80 | AF0092:08 | PANEL A
KA0875:A1 | -009212 | WHT | 20 | 60 | AF0092:12 | PANEL A
KA2160:A2 | KA2160A2 | WHT | 20 | 80 | AF0092:20 | PANEL A
KA2161:A2 | KA2161A2 | WHT | 20 | 80 | AF0092:23 | PANEL A
KA3103:A2 | KA3103A2 | WHT | 20 | 80 | AF0092:24 | PANEL A
KA3220:A1 | KA3220A1 | WHT | 20 | 60 | AF0093:01 | PANEL A
KA3220:A2 | KA3220A2 | WHT | 20 | 60 | AF0093:17 | PANEL A
KA6211:A2 | -009320 | WHT | 20 | 60 | AF0093:20 | PANEL A
KA6212:A2 | -009321 | WHT | 20 | 60 | AF0093:21 | PANEL A
KA0176:A1 | KA0176A1 | WHT | 20 | 120 | KA0145:22 | PANEL A
KA0176:A1 | KA0176A1 | WHT | 20 | 60 | KA0177:A1 | PANEL A
KA0176:A2 | -0V | WHT | 20 | 60 | KA0177:A2 | PANEL A
KA6211:A1 | KA6211A1 | WHT | 20 | 120 | KA0246:14 | PANEL A
KA6212:A1 | KA024714 | WHT | 20 | 120 | KA0247:14 | PANEL A
KA0246:A1 | KA0243A1 | WHT | 20 | 60 | KA0247:A1 | PANEL A
KA0246:A2 | -0V | WHT | 20 | 60 | KA0247:A2 | PANEL A
KA0247:A1 | KA0243A1 | WHT | 20 | 60 | KA0254:A1 | PANEL A
KA0247:A2 | -0V | WHT | 20 | 60 | KA0254:A2 | PANEL A
KA0249:A2 | -0V | WHT | 20 | 60 | KA0254:A2 | PANEL A
KA0145:A2 | -0V | WHT | 20 | 60 | KA0255:A2 | PANEL A
KA0176:A2 | -0V | WHT | 20 | 80 | XT0080:7 | PANEL A
KA0176:14 | -009336 | WHT | 20 | 100 | AF0093:36 | PANEL A | KA
KA0177:14 | -009337 | WHT | 20 | 100 | AF0093:37 | PANEL A
KA0176:11 | KA017611 | WHT | 20 | 100 | AF0093:04 | PANEL A
KA0176:11 | KA017611 | WHT | 20 | 60 | KA0246:11 | PANEL A
KA0145:22 | KA0176A1 | WHT | 20 | 60 | KA0249:12 | PANEL A
KA0177:11 | KA017711 | WHT | 20 | 100 | AF0093:05 | PANEL A
KA0247:11 | KA017711 | WHT | 20 | 100 | AF0093:05 | PANEL A
KA0239:11 | KA023911 | WHT | 20 | 60 | AF0081:41 | PANEL A
KA0239:14 | KA023914 | WHT | 20 | 60 | AF0081:09 | PANEL A
KA0240:22 | KA024022 | WHT | 20 | 100 | AF0092:45 | PANEL A
KA0145:21 | KA025522 | WHT | 20 | 60 | KA0249:11 | PANEL A
KA0145:21 | KA025522 | WHT | 20 | 60 | KA0255:22 | PANEL A
KA0239:22 | FU0237 | WHT | 16 | 60 | FU0237:LD | PANEL A
FU0390:LD | FU0390 | WHT | 16 | 60 | XT0083:1 | PANEL A | FU
FU0081:LI | FU0080 | WHT | 14 | 60 | FU0090:LI | PANEL A
AF0081:00 | UA1200J21 | WHT | 20 | 120 | XT0089:19 | PANEL B | AF0080's - B
AF0081:01 | KA024314 | WHT | 20 | 140 | KA0243:14 | PANEL B
AF0081:02 | KA024514 | WHT | 20 | 140 | KA0245:14 | PANEL B
AF0081:03 | KA013014 | WHT | 20 | 140 | KA0130:14 | PANEL B
AF0081:08 | KT014618 | WHT | 20 | 120 | KT0146:18 | PANEL B
AF0081:19 | UA1200J27 | WHT | 20 | 160 | UA1200:J2-7 | PANEL B
AF0081:24 | KA0131A2 | WHT | 20 | 140 | KA0131:A2 | PANEL B
AF0081:33 | KA024311 | WHT | 20 | 140 | KA0243:11 | PANEL B
AF0081:34 | KA024511 | WHT | 20 | 140 | KA0245:11 | PANEL B
AF0081:35 | KA0130A1 | WHT | 20 | 140 | KA0130:A1 | PANEL B
AF0081:40 | KA014124 | WHT | 20 | 140 | KA0141:24 | PANEL B
AF0087:09 | KA013112 | WHT | 20 | 160 | KA0137:24 | PANEL B
AF0087:11 | KA013624 | WHT | 20 | 160 | KA0136:24 | PANEL B
AF0087:43 | KA013621 | WHT | 20 | 160 | KA0136:21 | PANEL B
AF0092:06 | KA013114 | WHT | 20 | 160 | KA0131:14 | PANEL B | AF0090's - B
AF0092:02 | KA0133A1 | WHT | 20 | 160 | KA0133:A1 | PANEL B
AF0091:12 | KA0134A1 | WHT | 20 | 160 | KA0134:A1 | PANEL B
AF0091:39 | KA014111 | WHT | 20 | 140 | KA0141:11 | PANEL B
AF0091:07 | KA014114 | WHT | 20 | 140 | KA0141:14 | PANEL B
AF0095:02 | -009502 | WHT | 20 | 140 | KA0221:14 | PANEL B
AF0094:05 | -0V | WHT | 20 | 120 | XT0082:5 | PANEL B
AF0094:07 | -0V | WHT | 20 | 120 | XT0082:5 | PANEL B
KA0135:A2 | -0V | WHT | 20 | 180 | KA0137:A2 | PANEL B | KA A1/2 - B
KA0235:A2 | -0V | WHT | 20 | 180 | KA0242:A2 | PANEL B
KA0235:A1 | ESTOP | WHT | 20 | 140 | XT0089:5 | PANEL B
KA0251:A1 | ESTOP | WHT | 20 | 140 | XT0089:6 | PANEL B
KA0255:A1 | KA0131A1 | WHT | 20 | 140 | XT0089:9 | PANEL B
KA0135:A1 | KA0135A1 | WHT | 20 | 140 | XT0089:22 | PANEL B
KA0135:A1 | KA0135A1 | WHT | 20 | 160 | KA0131:11 | PANEL B
KA0145:A1 | KA0135A1 | WHT | 20 | 140 | XT0089:22 | PANEL B
KA0246:A1 | KA0243A1 | WHT | 20 | 140 | XT0089:10 | PANEL B
KA0249:A1 | KA0245A1 | WHT | 20 | 140 | XT0089:11 | PANEL B
KA0235:24 | -023524 | WHT | 20 | 180 | KA0221:11 | PANEL B | KA - B
KA0237:24 | -023724 | WHT | 20 | 180 | KA0222:11 | PANEL B
KA0255:21 | FU0139 | WHT | 20 | 140 | XT0081:3 | PANEL B
KA0236:11 | FU0139 | WHT | 20 | 140 | XT0081:5 | PANEL B
KA0875:11 | HA047202 | WHT | 20 | 180 | KA0232:11 | PANEL B
KA0235:14 | KA023514 | WHT | 20 | 160 | AF0076:00 | PANEL B
KA0237:14 | KA023714 | WHT | 20 | 160 | AF0076:01 | PANEL B
KA0239:21 | KA023921 | WHT | 20 | 180 | KA0242:24 | PANEL B
KA0236:24 | KA024114 | WHT | 20 | 180 | KA0241:14 | PANEL B
KA0240:11 | PS32004 | WHT | 20 | 140 | XT0089:14 | PANEL B
KA0236:21 | UA1200J21 | WHT | 20 | 180 | KA0241:11 | PANEL B
KA0240:14 | UF1300 | WHT | 20 | 140 | XT0084:1 | PANEL B
XT0080:8 | -0V | WHT | 20 | 160 | KA0241:A2 | PANEL B | XT/FU - B
XT0080:7 | -0V | WHT | 20 | 160 | KA0243:A2 | PANEL B
XT0080:5 | -0V | WHT | 20 | 120 | KT0140:A2 | PANEL B
XT0080:6 | -0V | WHT | 20 | 120 | KT0145:A2 | PANEL B
XT0080:5 | -0V | WHT | 20 | 120 | XT0082:2 | PANEL B
XT0080:5 | -0V | WHT | 20 | 120 | XT0089:18 | PANEL B
XT0080:9 | KM3170EP | WHT | 20 | 140 | KA0138:11 | PANEL B
XT0083:3 | -0V | WHT | 16 | 120 | XT0082:6 | PANEL B
XT0080:1 | -0V | WHT | 14 | 120 | XT0082:2 | PANEL B
XT0003:3 | -0V | WHT | 14 | 120 | XT0401:1 | PANEL B
FU0081:LI | FU0080 | WHT | 14 | 120 | FU0080:LD | PANEL B
XT0002:2 | FU0136 | WHT | 14 | 120 | FU0137:LI | PANEL B
XT0002:1 | FU0136 | WHT | 14 | 120 | FU0210:LI | PANEL B
XT0002:3 | FU0136 | WHT | 14 | 120 | FU0410:LI | PANEL B
XT0003:1 | -0V | WHT | 12 | 120 | XT0062:1 | PANEL B
XT0003:2 | -0V | WHT | 12 | 120 | XT0082:1 | PANEL B
FU0390:LI | FU0137 | WHT | 12 | 120 | FU0389:LI | PANEL B
FU0237:LI | FU0210 | WHT | 12 | 120 | FU0115:LI | PANEL B

## PANEL B_S
PANEL B
JB70
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0074:05 | -007405 | WHT | 20 | 60 | XT0089:17 | PANEL B | AU/AF
AF0074:21 | -0V | WHT | 20 | 60 | XT0089:18 | PANEL B
AF0076:12 | -007612 | WHT | 20 | 60 | XT0237:1 B2 | PANEL B
AF0066:COM | AF0066N | WHT | 16 | 60 | AF0068:COM | PANEL B
AF0066:V+ | AF0066P | WHT | 16 | 60 | AF0068:V+ | PANEL B
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | PANEL B
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | PANEL B
AU0060:V+ | FU0061 | WHT | 16 | 80 | FU0061:LD | PANEL B | AU/AF - FU/XT
AF0061:V+ | FU0062 | WHT | 16 | 80 | FU0062:LD | PANEL B
AF0062:V+ | FU0063 | WHT | 16 | 60 | FU0063:LD | PANEL B
AF0067:V+ | FU0064 | WHT | 16 | 60 | FU0064:LD | PANEL B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | PANEL B
AF0076:V+ | FU0076 | WHT | 16 | 60 | FU0076:LD | PANEL B
AF0061:COM | -0V | WHT | 16 | 80 | XT0060:2 | PANEL B
AU0060:COM | -0V | WHT | 16 | 80 | XT0060:2 | PANEL B
AF0062:COM | -0V | WHT | 16 | 80 | XT0060:3 | PANEL B
AF0067:COM | -0V | WHT | 16 | 60 | XT0060:3 | PANEL B
AF0076:COM | -0V | WHT | 16 | 120 | XT0060:4 | PANEL B
AU0070:COM | -0V | WHT | 16 | 100 | XT0060:4 | PANEL B
AF0410:53 | -0V | WHT | 16 | 60 | XT0401:2 | PANEL B | AF0400's
AF0410:54 | -0V | WHT | 16 | 60 | AF0420:53 | PANEL B
AF0420:54 | -0V | WHT | 16 | 60 | AF0430:53 | PANEL B
AF0430:54 | -0V | WHT | 16 | 60 | AF0450:53 | PANEL B
AF0410:55 | FU0410 | WHT | 16 | 60 | FU0410:LD | PANEL B
AF0410:56 | FU0410 | WHT | 16 | 60 | AF0420:55 | PANEL B
AF0420:56 | FU0410 | WHT | 16 | 60 | AF0430:55 | PANEL B
AF0430:56 | FU0410 | WHT | 16 | 60 | AF0450:55 | PANEL B
KA0130:A1 | KA0130A1 | WHT | 20 | 120 | KA0130:11 | PANEL B | KA A1/2
KA0131:A1 | KA0131A1 | WHT | 20 | 140 | KA0242:14 | PANEL B
KA0132:21 | KA0138A1 | WHT | 20 | 60 | KA0138:A1 | PANEL B
KA0133:A2 | -0V | WHT | 20 | 60 | KA0136:A2 | PANEL B
KA0133:A2 | -0V | WHT | 20 | 100 | KT0144:A2 | PANEL B
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0067:12 | PANEL B
KA0134:A2 | -0V | WHT | 20 | 100 | KT0143:A2 | PANEL B
KA0136:A1 | PS32002 | WHT | 20 | 120 | XT0089:13 | PANEL B
KA0136:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | PANEL B
KA0137:A1 | KA0137A1 | WHT | 20 | 100 | KT0145:18 | PANEL B
KA0137:A2 | -0V | WHT | 20 | 100 | KT0145:A2 | PANEL B
KA0138:A2 | -0V | WHT | 20 | 100 | KT0143:A2 | PANEL B
KA0221:A1 | -007602 | WHT | 20 | 140 | AF0076:02 | PANEL B
KA0221:A2 | -007618 | WHT | 20 | 140 | AF0076:18 | PANEL B
KA0222:A1 | -007604 | WHT | 20 | 140 | AF0076:04 | PANEL B
KA0222:A2 | -007620 | WHT | 20 | 140 | AF0076:20 | PANEL B
KA0234:A1 | KA0131A1 | WHT | 20 | 120 | XT0089:8 | PANEL B
KA0241:A1 | KA0241A1 | WHT | 20 | 120 | XT0081:7 | PANEL B
KA0243:A1 | KA0243A1 | WHT | 20 | 120 | XT0089:10 | PANEL B
KA0245:A1 | KA0245A1 | WHT | 20 | 120 | XT0089:11 | PANEL B
KA1020:A1 | KA1020A1 | WHT | 20 | 140 | AF0076:08 | PANEL B
KA1020:A2 | KA1020A2 | WHT | 20 | 140 | AF0076:24 | PANEL B
KA0133:11 | FU0139 | WHT | 20 | 100 | KT0144:A1 | PANEL B | KA DOUBLES
KA0132:11 | FU0139 | WHT | 20 | 60 | KA0133:11 | PANEL B
KA0132:11 | FU0139 | WHT | 20 | 80 | XT0081:1 | PANEL B
KA0136:11 | FU0139 | WHT | 20 | 120 | KT0144:A1 | PANEL B
KA0134:11 | FU0139 | WHT | 20 |  | KA0136:11 | PANEL B | (Jumper wire)
KA0134:11 | FU0139 | WHT | 20 | 100 | KT0144:15 | PANEL B
KA0137:11 | FU0139 | WHT | 20 | 100 | KT0140:15 | PANEL B
KA0137:11 | FU0139 | WHT | 20 | 100 | KT0144:15 | PANEL B
KA0244:11 | FU0139 | WHT | 20 | 80 | XT0081:2 | PANEL B
KA0244:11 | FU0139 | WHT | 20 | 100 | KT0142:15 | PANEL B
KA0137:14 | KA013222 | WHT | 20 | 100 | KT0141:18 | PANEL B
KA0137:14 | KA013222 | WHT | 20 | 100 | KT0144:18 | PANEL B
KA0132:12 | KT014315 | WHT | 20 | 100 | KT0142:A1 | PANEL B
KA0132:12 | KT014315 | WHT | 20 | 60 | KA0133:12 | PANEL B
KA0242:11 | KT014618 | WHT | 20 | 60 | KA0231:11 | PANEL B
KA0242:11 | KT014618 | WHT | 20 | 100 | KT0146:18 | PANEL B
KA0141:21 | KT0146A1 | WHT | 20 | 100 | KT0146:A1 | PANEL B
KA0141:21 | KT0146A1 | WHT | 20 | 60 | KA0241:21 | PANEL B
KA0244:12 | KT0145A1 | WHT | 20 | 100 | KT0145:A1 | PANEL B | KA
KA0243:24 | ESTOPD | WHT | 20 | 80 | XT0089:1 | PANEL B
KA0243:21 | KA024524 | WHT | 20 | 60 | KA0245:24 | PANEL B
KA0242:21 | KA024221 | WHT | 20 | 60 | XT0237:1 T2 | PANEL B
KA0242:14 | KA0131A1 | WHT | 20 | 60 | KA0231:14 | PANEL B
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:21 | PANEL B
KA0241:11 | UA1200J21 | WHT | 20 | 80 | XT0089:19 | PANEL B
KA0234:14 | -006114 | WHT | 20 | 140 | AF0061:14 | PANEL B
KA0233:14 | -006102 | WHT | 20 | 140 | AF0061:02 | PANEL B
KA0231:24 | KA023124 | WHT | 20 | 60 | KA0245:21 | PANEL B
KA0222:14 | -006200 | WHT | 20 | 140 | AF0062:00 | PANEL B
KA0141:24 | KA014124 | WHT | 20 | 60 | KA0241:24 | PANEL B
KA0138:24 | KT0144B1 | WHT | 20 | 100 | KT0144:B1 | PANEL B
KA0138:14 | FU0388 | WHT | 16 | 80 | FU0388:LD | PANEL B
KA0137:21 | FU0139 | WHT | 20 | 100 | KT0145:15 | PANEL B
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | PANEL B
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | PANEL B
KA0132:22 | KA013222 | WHT | 20 | 100 | KT0141:18 | PANEL B
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | PANEL B
KA1020:14 | FU0100 | WHT | 16 | 100 | FU0100:LD | PANEL B
KA1020:24 | -0V | WHT | 14 | 120 | XT0062:2 | PANEL B
KT0142:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | PANEL B | KT
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0145:15 | PANEL B
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KT0142:18 | PANEL B
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | PANEL B
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | PANEL B
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0143:15 | PANEL B
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | PANEL B
KT0146:15 | KT014615 | WHT | 20 | 100 | AF0076:10 | PANEL B
KT0146:A2 | KT0146A2 | WHT | 20 | 100 | AF0076:29 | PANEL B
KT0146:B1 | KT0146B1 | WHT | 20 | 100 | AF0076:13 | PANEL B
UA1200:J1-10 | FU0389 | WHT | 20 | 100 | XT0089:20 | PANEL B | UA1200
UA1200:J1-5 | UA1200J15 | WHT | 20 | 60 | XT0237:1 B1 | PANEL B
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | PANEL B
UA1200:J1-9 | -0V | WHT | 20 | 100 | XT0089:21 | PANEL B
UA1200:J2-1 | UA1200J21 | WHT | 20 | 100 | XT0089:19 | PANEL B
UA1200:J2-2 | FU0389 | WHT | 20 | 100 | XT0089:20 | PANEL B
UA1200:J1-4 | UA1200J14 | WHT | 20 | 60 | AF0076:11 | PANEL B
UA1200:J2-6 | UA1200J26 | WHT | 20 | 160 | KA0130:A2 | PANEL B
XT0081:1 | FU0139 | WHT | 20 | 60 | XT0089:16 | PANEL B | XT/FU
XT0089:12 | FU0139 | WHT | 20 | 60 | XT0081:4 | PANEL B
XT0089:21 | -0V | WHT | 16 | 60 | XT0082:3 | PANEL B
FU0139:LD | FU0139 | WHT | 16 | 60 | XT0081:1 | PANEL B
FU0389:LD | FU0389 | WHT | 16 | 60 | XT0089:20 | PANEL B
XT0062:2 | -0V | WHT | 14 | 60 | XT0060:1 | PANEL B
FU0061:LI | FU0060 | WHT | 14 | 60 | FU0060:LD | PANEL B
FU0064:LI | FU0060 | WHT | 14 | 80 | FU0070:LI | PANEL B
FU0060:LI | FU0210 | WHT | 12 | 60 | FU0210:LD | PANEL B
FU0080:LI | FU0137 | WHT | 12 | 60 | FU0137:LD | PANEL B

## HPC CTRL_S
HPC CTRL
HPC CTRL,COMPRESSOR BOX
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0510:53 | -0V | WHT | 16 | 60 | XT0510:2 | HPC CTRL | AF0510
AF0510:54 | -0V | WHT | 16 | 60 | AF0520:53 | HPC CTRL
AF0510:55 | FU0510 | WHT | 16 | 60 | FU0510:LD | HPC CTRL
AF0510:56 | FU0510 | WHT | 16 | 60 | AF0520:55 | HPC CTRL
AF1206:COM | AF1207N | WHT | 16 | 60 | AF1207:COM | HPC CTRL | AF
AF1206:V+ | AF1207P | WHT | 16 | 60 | AF1207:V+ | HPC CTRL
AF1202:COM | AF1202N | WHT | 16 | 60 | AU1200:COM | HPC CTRL
AF1202:V+ | AF1202P | WHT | 16 | 60 | AU1200:V+ | HPC CTRL
AU1200:V+ | FU0120 | WHT | 16 | 100 | FU0120:LD | HPC CTRL
AF1201:V+ | FU0121 | WHT | 16 | 100 | FU0121:LD | HPC CTRL
AF1201:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC CTRL
AU1200:COM | -0V | WHT | 16 | 100 | XT0120:2 | HPC CTRL
KA0120:A1 | KA0131A1 | WHT | 20 | 60 | XT0120:4 | HPC CTRL | KA A1/2
KA4401:A2 | -120718 | WHT | 20 | 80 | AF1207:18 | HPC CTRL
KA0120:A2 | -0V | WHT | 20 | 60 | XT0120:3 | HPC CTRL
KA0120:14 | -120100 | WHT | 20 | 100 | AF1201:00 | HPC CTRL | KA
KA4401:22 | -120132 | WHT | 20 | 100 | AF1201:32 | HPC CTRL
KA4401:14 | -120702 | WHT | 20 | 80 | AF1207:02 | HPC CTRL
KA4401:11 | PS44012 | WHT | 20 | 80 | AF1207:34 | HPC CTRL
KA4401:11 | PS44012 | WHT | 20 | 60 | XT0120:5 | HPC CTRL
FU0120:LI | FU0122 | WHT | 14 | 60 | FU0122:LD | HPC CTRL | FU/XT
FU0121:LI | FU0122 | WHT | 14 | 60 | FU0510:LI | HPC CTRL
FU0510:LI | FU0122 | WHT | 14 | 60 | XT0121:1 | HPC CTRL
XT0120:3 | -0V | WHT | 14 | 60 | XT0510:1 | HPC CTRL
XT0121:3 | -0V | WHT | 14 | 80 | XT0510:2 | HPC CTRL
XT0336:2 | -0V | WHT | 12 | 60 | XT0120:1 | HPC CTRL
FU0332:LD | FU0332 | WHT | 12 | 60 | XT0335:1 | HPC CTRL
FU0122:LI | FU0332 | WHT | 12 | 60 | XT0335:2 | HPC CTRL

## JB74,LEFT RAIL_S
JB74,LEFT RAIL
Balance of Plant, Left Rail
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0007:V1(+) | FU0027 | WHT | 16 | 60 | FU0027:LD | JB74,LEFT RAIL | BA
BA0008:V1(+) | FU0028 | WHT | 16 | 60 | FU0028:LD | JB74,LEFT RAIL
BA1212:POS | FU1212 | WHT | 16 | 60 | FU1212:LD | JB74,LEFT RAIL
BA1212:NEG | BA1212N | WHT | 16 | 120 | XT1212:2 | BOP | RAIL - BOP
|  | MRCA | 1996192
FU1212:LI | BA1212P | WHT | 16 | 120 | XT1212:1 | BOP

## BOP_S
BOP
BALANCE OF PLANT,JB74
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0142:07 | ZSC76112 | WHT | 20 | 60 | XT0572:2 | BOP | AU/AF
AF0141:16 | SV76212 | WHT | 20 | 60 | XT0572:3 | BOP
AF0183:04 | ZSC76212 | WHT | 20 | 80 | XT0572:4 | BOP
AF0141:20 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
AF0183:05 | ZSC76412 | WHT | 20 | 80 | XT0572:6 | BOP
AF0183:COM | AF0183N | WHT | 16 | 60 | AF0185:COM | BOP
AF0183:V+ | AF0183P | WHT | 16 | 60 | AF0185:V+ | BOP
AF0142:COM | AU0140N | WHT | 16 | 60 | AU0140:COM | BOP
AF0142:V+ | AU0140P | WHT | 16 | 60 | AU0140:V+ | BOP
AF0182:COM | AU0180N | WHT | 16 | 60 | AU0180:COM | BOP
AF0182:V+ | AU0180P | WHT | 16 | 60 | AU0180:V+ | BOP
AU0140:V+ | FU0140 | WHT | 16 | 60 | FU0140:LD | BOP | AU/AF - XT/FU
AF0141:V+ | FU0141 | WHT | 16 | 60 | FU0141:LD | BOP
AF0146:V+ | FU0142 | WHT | 16 | 80 | FU0142:LD | BOP
AU0180:V+ | FU0180 | WHT | 16 | 60 | FU0180:LD | BOP
AF0181:V+ | FU0181 | WHT | 16 | 60 | FU0181:LD | BOP
AF0184:V+ | FU0182 | WHT | 16 | 60 | FU0182:LD | BOP
AF0141:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP
AU0140:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP
AF0146:COM | -0V | WHT | 16 | 60 | XT0140:3 | BOP
AF0181:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP
AU0180:COM | -0V | WHT | 16 | 60 | XT0140:4 | BOP
AF0184:COM | -0V | WHT | 16 | 80 | XT0140:5 | BOP
KA0572:A2 | KA0572A2 | WHT | 20 | 80 | AF0183:20 | BOP | KA A1/2
KA0573:A2 | KA0573A2 | WHT | 20 | 80 | AF0183:21 | BOP
KA0550:A1 | KA0550A1 | WHT | 20 | 80 | AF0184:00 | BOP
KA0552:A1 | KA0552A1 | WHT | 20 | 80 | AF0184:01 | BOP
KA0551:A1 | KA0551A1 | WHT | 20 | 80 | AF0184:02 | BOP
KA0553:A1 | KA0553A1 | WHT | 20 | 80 | AF0184:03 | BOP
KA7173:A1 | -018404 | WHT | 20 | 80 | AF0184:04 | BOP
KA0554:A1 | KA0554A1 | WHT | 20 | 80 | AF0184:05 | BOP
KA0550:A2 | KA0550A2 | WHT | 20 | 80 | AF0184:16 | BOP
KA0552:A2 | KA0552A2 | WHT | 20 | 80 | AF0184:17 | BOP
KA0551:A2 | KA0551A2 | WHT | 20 | 80 | AF0184:18 | BOP
KA0553:A2 | KA0553A2 | WHT | 20 | 80 | AF0184:19 | BOP
KA7173:A2 | -018420 | WHT | 20 | 80 | AF0184:20 | BOP
KA0554:A2 | KA0554A2 | WHT | 20 | 80 | AF0184:21 | BOP
KA0531:24 | KA053124 | WHT | 20 | 60 | KA0540:A1 | BOP
KA0532:24 | KA053224 | WHT | 20 | 60 | KA0541:A1 | BOP
KA0535:A2 | -0V | WHT | 20 | 60 | XT0140:6 | BOP
KA0535:A1 | KA0131A1 | WHT | 20 | 60 | XT0140:7 | BOP
KA0531:A1 | ESTOP | WHT | 20 | 60 | XT0140:8 | BOP
KA0540:A2 | SV76212 | WHT | 20 | 60 | XT0572:3 | BOP
KA0572:A1 | ZSC76212 | WHT | 20 | 60 | XT0572:4 | BOP
KA0541:A2 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
KA0573:A1 | ZSC76412 | WHT | 20 | 60 | XT0572:6 | BOP
KA0531:21 | KA053121 | WHT | 20 | 60 | AF0141:00 | BOP | KA
KA0552:11 | -014102 | WHT | 20 | 60 | AF0141:02 | BOP
KA0532:21 | KA053221 | WHT | 20 | 60 | AF0141:04 | BOP
KA0553:11 | -014106 | WHT | 20 | 60 | AF0141:06 | BOP
KA0554:11 | KA055411 | WHT | 20 | 60 | AF0141:12 | BOP
KA0531:11 | KA053111 | WHT | 20 | 60 | AF0141:14 | BOP
KA0550:11 | KA055011 | WHT | 20 | 60 | AF0141:32 | BOP
KA0551:11 | KA055111 | WHT | 20 | 60 | AF0141:36 | BOP
KA0573:11 | KA053312 | WHT | 20 | 60 | KA0533:12 | BOP
KA0540:11 | KA054011 | WHT | 20 | 60 | KA0550:14 | BOP
KA0541:11 | KA054111 | WHT | 20 | 60 | KA0551:14 | BOP
KA0535:11 | KA053511 | WHT | 20 | 60 | KA0554:14 | BOP
KA0533:11 | FU0143 | WHT | 16 | 60 | XT0140:9 | BOP
KA0531:14 | SV76111 | WHT | 20 | 60 | XT0572:1 | BOP
KA0535:14 | KA053514 | WHT | 20 | 60 | XT0573:1 B2 | BOP
KA0536:12 | KA053612 | WHT | 20 | 60 | XT0573:1 T1 | BOP
KA0536:11 | KA053611 | WHT | 20 | 60 | XT0573:2 B1 | BOP
KA0572:12 | KA057212 | WHT | 20 | 60 | XT0573:2 B2 | BOP
KA0573:12 | KA057312 | WHT | 20 | 60 | XT0573:2 T2 | BOP
KA0552:14 | KA055214 | WHT | 20 | 60 | XT0573:3 B2 | BOP
KA0572:12 | KA057212 | WHT | 20 | 60 | XT0573:3 T2 | BOP
KA0553:14 | KA055314 | WHT | 20 | 60 | XT0573:4 B2 | BOP
KA0573:12 | KA057312 | WHT | 20 | 60 | XT0573:4 T2 | BOP
FU0140:LI | FU0146 | WHT | 14 | 60 | FU0146:LD | BOP | FU
FU0143:LD | FU0143 | WHT | 16 | 60 | XT0140:9 | BOP
FU0181:LI | FU0146 | WHT | 14 | 60 | FU0182:LI | BOP

## JB1123_S
JB1123
FIBER OPTIC MEDIA CONVERTER BOX, JB1123
Project # | 4P441
Project Name | Pallette Compressor Station
Revision | B
Controls DE | A. CHEN
Phone:
Controls ME | A. PLVAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
BA0005:V1(-) | -0V | WHT | 16 | 60 | XT1123:2 | JB1123 | BA
BA0005:V1(+) | FU1123 | WHT | 16 | 60 | FU1123:LD | JB1123
BA0006:V1(-) | -0V | WHT | 16 | 60 | XT1123:2 | JB1123
BA0006:V1(+) | FU1124 | WHT | 16 | 60 | FU1124:LD | JB1123
FU1123:LI | FU0136 | WHT | 16 | 60 | XT1123:1 | JB1123 | FU
FU1124:LI | FU0136 | WHT | 16 | 60 | XT1123:1 | JB1123

## Bundle Tag Info
TCM-70 #1
4P441
B.1
JB70 | JB70 LEFT RAIL | FIRE PANEL | JB70 RIGHT RAIL | PLC | A | B | HPC | JB74 L RAIL | BOP | JB1123 | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT | AT | AT | BA | PLC | UJ0131 | AU/AF | AF0510 | BA | AU/AF | BA
SA0474 | KA | FU/UV | FU/UJ | PLC-A | AF | AU/AF - FU/XT | AF | RAIL - BOP | AU/AF - XT/FU | FU
SA0471 | XT/FU |  | XT - AF A |  | KA A1/2 | AF0400's | KA A1/2 |  | KA A1/2
SA0473 | RAIL - JB70 |  | XT/UJ - A |  | KA | KA A1/2 | KA |  | KA
SH0472 | KA / AT - FS |  | XT - B |  | FU | KA DOUBLES | FU/XT |  | FU
SH0471 | XT - FS |  | XT - PLC |  | AF0080's - B | KA
SH0470 | THRU |  |  |  | AF0090's - B | KT
SB0474 |  |  |  |  | KA A1/2 - B | UA1200
SB0472 |  |  |  |  | KA - B | XT/FU
SB0473 |  |  |  |  | XT/FU - B
SB0471

## Bundle Tags2
JB70 | JB70 LEFT RAIL | FIRE PANEL | JB70 RIGHT RAIL | PLC | A | B | HPC | JB74 L RAIL | BOP | JB1123
TCM-70 #1 4P441 B.1 JB70 AT | TCM-70 #1 4P441 B.1 JB70 LEFT RAIL AT | TCM-70 #1 4P441 B.1 FIRE PANEL AT | TCM-70 #1 4P441 B.1 JB70 RIGHT RAIL BA | TCM-70 #1 4P441 B.1 PLC PLC | TCM-70 #1 4P441 B.1 A UJ0131 | TCM-70 #1 4P441 B.1 B AU/AF | TCM-70 #1 4P441 B.1 HPC AF0510 | TCM-70 #1 4P441 B.1 JB74 L RAIL BA | TCM-70 #1 4P441 B.1 BOP AU/AF | TCM-70 #1 4P441 B.1 JB1123 BA
TCM-70 #1 4P441 B.1 JB70 SA0474 | TCM-70 #1 4P441 B.1 JB70 LEFT RAIL KA | TCM-70 #1 4P441 B.1 FIRE PANEL FU/UV | TCM-70 #1 4P441 B.1 JB70 RIGHT RAIL FU/UJ | TCM-70 #1 4P441 B.1 PLC PLC-A | TCM-70 #1 4P441 B.1 A AF | TCM-70 #1 4P441 B.1 B AU/AF - FU/XT | TCM-70 #1 4P441 B.1 HPC KA A1/2 | TCM-70 #1 4P441 B.1 JB74 L RAIL RAIL - BOP | TCM-70 #1 4P441 B.1 BOP AU/AF - XT/FU | TCM-70 #1 4P441 B.1 JB1123 FU
TCM-70 #1 4P441 B.1 JB70 SA0471 | TCM-70 #1 4P441 B.1 JB70 LEFT RAIL XT/FU |  | TCM-70 #1 4P441 B.1 JB70 RIGHT RAIL XT - AF A |  | TCM-70 #1 4P441 B.1 A KA A1/2 | TCM-70 #1 4P441 B.1 B AF0400's | TCM-70 #1 4P441 B.1 HPC KA |  | TCM-70 #1 4P441 B.1 BOP KA A1/2
TCM-70 #1 4P441 B.1 JB70 SA0473 | TCM-70 #1 4P441 B.1 JB70 LEFT RAIL RAIL - JB70 |  | TCM-70 #1 4P441 B.1 JB70 RIGHT RAIL XT/UJ - A |  | TCM-70 #1 4P441 B.1 A KA | TCM-70 #1 4P441 B.1 B KA A1/2 | TCM-70 #1 4P441 B.1 HPC FU/XT |  | TCM-70 #1 4P441 B.1 BOP KA
TCM-70 #1 4P441 B.1 JB70 SH0472 | TCM-70 #1 4P441 B.1 JB70 LEFT RAIL KA / AT - FS |  | TCM-70 #1 4P441 B.1 JB70 RIGHT RAIL XT - B |  | TCM-70 #1 4P441 B.1 A FU | TCM-70 #1 4P441 B.1 B KA DOUBLES |  |  | TCM-70 #1 4P441 B.1 BOP FU
TCM-70 #1 4P441 B.1 JB70 SH0471 | TCM-70 #1 4P441 B.1 JB70 LEFT RAIL XT - FS |  | TCM-70 #1 4P441 B.1 JB70 RIGHT RAIL XT - PLC |  | TCM-70 #1 4P441 B.1 A AF0080's - B | TCM-70 #1 4P441 B.1 B KA
TCM-70 #1 4P441 B.1 JB70 SH0470 | TCM-70 #1 4P441 B.1 JB70 LEFT RAIL THRU |  |  |  | TCM-70 #1 4P441 B.1 A AF0090's - B | TCM-70 #1 4P441 B.1 B KT
TCM-70 #1 4P441 B.1 JB70 SB0474 |  |  |  |  | TCM-70 #1 4P441 B.1 A KA A1/2 - B | TCM-70 #1 4P441 B.1 B UA1200
TCM-70 #1 4P441 B.1 JB70 SB0472 |  |  |  |  | TCM-70 #1 4P441 B.1 A KA - B | TCM-70 #1 4P441 B.1 B XT/FU
TCM-70 #1 4P441 B.1 JB70 SB0473 |  |  |  |  | TCM-70 #1 4P441 B.1 A XT/FU - B
TCM-70 #1 4P441 B.1 JB70 SB0471