## Panel Errors
Panel Errors
Project # | 4M093_CORE
Project Name | PGMATO3
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
QF0782:14 | GEN | SC | WHT | QF078311 | 20 | 64.A5 | QF0783:11 | PANEL | 64.A5
XT0780:5 | GEN | SC | RED | BUSPTA | 16 | 58.B3 | QF0783:1 | PANEL | 58.B4
XT0780:6 | GEN | SC | RED | BUSPTB | 16 | 58.B3 | QF0783:3 | PANEL | 58.B4
XT0780:7 | GEN | SC | RED | BUSPTC | 16 | 58.B3 | QF0783:5 | PANEL | 58.B4
XT0140:3 | GEN | WC8009 | SH | XT01403 | 16 | 20.D2 | FWAT0140:3 | PANEL | 20.D6
QF0783:14 | PANEL | SC | WHT | QF078411 | 20 | 64.A5 | QF0784:11 | GEN | 64.A6
QF0783:2 | PANEL | SC | RED | QF07832 | 16 | 58.B4 | KA0189:33 | GEN | 58.D6
QF0783:4 | PANEL | SC | RED | QF07834 | 16 | 58.B4 | KA0189:43 | GEN | 58.D6
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 3/2/2026 4:24 AM
XT0140:3 | XT01403 |  |  |  | IEG0010:9 | DC
XT0142:3 | EXCS |  |  |  | PEG0130:2 | DC |  |  | gen to dc pwr
XT0313:2 | * |  |  |  | PEG0130:3 | DC

## LIGHTS_S
JB71 B,BOX CONTROL
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
EL0100:2- | -0V | WHT | 16 | 220 | XT0005:4 | DC | EL0
EL0101:2- | -0V | WHT | 16 | 120 | XT0005:3 | DC
EL0100:1+ | FU0005 | WHT | 16 | 220 | XT0005:2 | DC
EL0101:1+ | FU0005 | WHT | 16 | 120 | XT0005:1 | DC

## DOOR CTRL(B)_S
JB71 B,DOOR CTRL
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT1100:NEG | -0V | WHT | 14 | 220 | XT0070:12 | CTRL1 | AT
AT1100:POS | FU1100 | WHT | 14 | 220 | FU1100:LD | CTRL1

## DOOR OPR(B)_S
JB71 B,DOOR OPR
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
HA0472:N | -0V | WHT | 20 | 280 | XT0070:11 | CTRL1 | HA0472
HA0472:Lb | KA087511 | WHT | 20 | 280 | KA0875:11 | CTRL1
280
SA0471:13 | SA047113 | WHT | 20 | 280 | AF0091:36 | CTRL1 | SA0471
SA0471:14 | SA047114 | WHT | 20 | 280 | AF0091:04 | CTRL1
SA0471:23 | SA047123 | WHT | 20 | 280 | AF0091:35 | CTRL1
SA0471:24 | SA047124 | WHT | 20 | 280 | AF0091:03 | CTRL1
280
SA0473:13 | SA047313 | WHT | 20 | 280 | AF0091:40 | CTRL1 | SA0473
SA0473:14 | SA047314 | WHT | 20 | 280 | AF0091:08 | CTRL1
SA0473:21 | SA047321 | WHT | 20 | 280 | AF0091:39 | CTRL1
SA0473:22 | SA047322 | WHT | 20 | 280 | AF0091:07 | CTRL1
280
SA0475:13 | SA047513 | WHT | 20 | 280 | AF0091:38 | CTRL1 | SA0475
SA0475:14 | SA047514 | WHT | 20 | 280 | AF0091:06 | CTRL1
SA0475:23 | SA047523 | WHT | 20 | 280 | AF0091:37 | CTRL1
SA0475:24 | SA047524 | WHT | 20 | 280 | AF0091:05 | CTRL1
280
SB0333:11 | FU0125 | WHT | 20 | 280 | XT0091:9 | CTRL1 | SB0333
SB0333:12 | SB033312 | WHT | 20 | 280 | XT0091:10 | CTRL1
SB0333:21 | SB033321 | WHT | 20 | 280 | AF0091:43 | CTRL1
SB0333:22 | SB033322 | WHT | 20 | 280 | AF0091:11 | CTRL1
280
SB0471:1 | SB04711 | WHT | 20 | 280 | AF0091:32 | CTRL1 | SB0471
SB0471:2 | SB04712 | WHT | 20 | 280 | AF0091:00 | CTRL1
280
SB0472:11 | ESTOPA | WHT | 20 | 280 | XT0091:7 | CTRL1 | SB0472
SB0472:12 | SB047212 | WHT | 20 | 280 | XT0091:8 | CTRL1
SB0472:21 | SB047221 | WHT | 20 | 160 | AF0381:38 | CTRL2
SB0472:22 | SB047222 | WHT | 20 | 160 | AF0381:06 | CTRL2
SB0473:3 | SB04733 | WHT | 20 | 280 | AF0091:33 | CTRL1 | SB0473
SB0473:4 | SB04734 | WHT | 20 | 280 | AF0091:01 | CTRL1
280
SB0474:3 | SB04743 | WHT | 20 | 280 | AF0091:34 | CTRL1 | SB0474
SB0474:4 | SB04744 | WHT | 20 | 280 | AF0091:02 | CTRL1
280
SH0470:1 | SH04701 | WHT | 20 | 280 | AF0091:42 | CTRL1 | SH0470
SH0470:2 | SH04702 | WHT | 20 | 280 | AF0091:10 | CTRL1
SH0470:X1 | SH0470X1 | WHT | 20 | 280 | AF0092:01 | CTRL1
SH0470:X2 | SH0470X2 | WHT | 20 | 280 | AF0092:17 | CTRL1
280
SH0471:3 | SH04713 | WHT | 20 | 280 | AF0091:41 | CTRL1 | SH0471
SH0471:4 | SH04714 | WHT | 20 | 280 | AF0091:09 | CTRL1
SH0471:X1 | SH0471X1 | WHT | 20 | 280 | AF0092:00 | CTRL1
SH0471:X2 | SH0471X2 | WHT | 20 | 280 | AF0092:16 | CTRL1
280
SH0472:3 | FU0387 | WHT | 20 | 280 | XT0091:1 | CTRL1 | SH0472
SH0472:X1 | KA023822 | WHT | 20 | 280 | XT0091:3 | CTRL1
SH0472:4 | KA0241A1 | WHT | 20 | 280 | XT0091:2 | CTRL1
SH0472:X2 | SH0472X2 | WHT | 20 | 280 | AF0092:18 | CTRL1

## DOOR EQP(C)_S
JB71 C,DOOR PNL EQP
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
HL0171:X2 | HL0171X2 | WHT | 16 | 260 | XT0171:38 | EQP CTRL | HL0171
HL0171:X2 | HL0171X2 | WHT | 16 | 260 | XT0171:37 | EQP CTRL
HL0171:X3(+) | HL0171X3 | WHT | 16 | 260 | XT0171:36 | EQP CTRL
HL0171:X3(+) | HL0171X3 | WHT | 16 | 260 | XT0171:35 | EQP CTRL
HL0172:X2 | HL0172X2 | WHT | 16 | 260 | XT0171:42 | EQP CTRL | HL0172
HL0172:X2 | HL0172X2 | WHT | 16 | 260 | XT0171:41 | EQP CTRL
HL0172:X3(+) | HL0172X3 | WHT | 16 | 260 | XT0171:40 | EQP CTRL
HL0172:X3(+) | HL0172X3 | WHT | 16 | 260 | XT0171:39 | EQP CTRL
SA0170:13 | SA017013 | WHT | 16 | 260 | AT0170:11 | EQP CTRL | SA0170
SA0170:14 | SA017014 | WHT | 16 | 260 | AT0170:12 | EQP CTRL
SA0170:21 | SA01702C | WHT | 16 | 260 | AT0175:11 | EQP CTRL
SA0170:22 | SV66111 | WHT | 16 | 260 | XT0171:1 | EQP CTRL
SA0170:31 | SA01703C | WHT | 16 | 260 | AT0176:17 | EQP CTRL
SA0170:32 | SV66121 | WHT | 16 | 260 | XT0171:3 | EQP CTRL
SH6500:1 | FU0172 | WHT | 20 | 300 | XT0175:7 | EQP PWR | SH6500
SH6500:2 | SH65002 | WHT | 20 | 260 | XT0171:13 | EQP CTRL
SH6500:X1 | SH6500X1 | WHT | 20 | 300 | AF0182:11 | CUST
SH6500:X2 | SH6500X2 | WHT | 20 | 300 | AF0182:27 | CUST

## CTRL2(B)_S
JB71 B,PNL CTRL2
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | CTRL2 | UA1200
UA1200:J1-10 | FU0389 | WHT | 20 | 60 | XT1200:16 | CTRL2
UA1200:J1-4 | UA1200J14 | WHT | 20 | 60 | XT1200:11 | CTRL2
UA1200:J1-5 | UA1200J15 | WHT | 20 | 60 | XT1200:12 | CTRL2
UA1200:J1-9 | -0V | WHT | 20 | 60 | XT1200:17 | CTRL2
UA1200:J2-1 | UA1200J21 | WHT | 20 | 60 | XT1200:15 | CTRL2
UA1200:J2-2 | FU0389 | WHT | 20 | 60 | XT1200:16 | CTRL2
UA1200:J2-6 | UA1200J26 | WHT | 20 | 60 | XT1200:13 | CTRL2
UA1200:J2-7 | UA1200J27 | WHT | 20 | 60 | XT1200:14 | CTRL2
AF0061:08 | SA047222 | WHT | 20 | 80 | SA0472:22 | CTRL2 | AU/AF0060's
AF0061:40 | SA047221 | WHT | 20 | 80 | SA0472:21 | CTRL2
AF0066:20 | SV21202 | WHT | 20 | 60 | XT0069:1 | CTRL2
AF0066:28 | SV21132 | WHT | 20 | 60 | XT0069:3 | CTRL2
AU0060:COM | -0V | WHT | 16 | 80 | XT0060:2 | CTRL2
AF0066:COM | -0V | WHT | 16 | 80 | XT0060:3 | CTRL2
AU0060:V+ | FU0061 | WHT | 16 | 100 | FU0061:LD | CTRL2
AF0066:V+ | FU0062 | WHT | 16 | 100 | FU0062:LD | CTRL2
AF0381:00 | SB75122 | WHT | 20 | 60 | XT0089:15 | CTRL2 | AU/AF0380's
AF0381:03 | SB647222 | WHT | 20 | 60 | XT0089:19 | CTRL2
AF0381:20 | UA1200J27 | WHT | 20 | 60 | XT1200:14 | CTRL2
AF0381:32 | SB7512C1 | WHT | 20 | 60 | XT0089:14 | CTRL2
AF0381:35 | SB647221 | WHT | 20 | 60 | XT0089:18 | CTRL2
AF0383:09 | UA1200J14 | WHT | 20 | 60 | XT1200:11 | CTRL2
AF0384:30 | SV21242 | WHT | 20 | 60 | XT0069:2 | CTRL2
AF0385:05 | -038505 | WHT | 20 | 60 | XT0087:2 | CTRL2
AF0385:21 | -0V | WHT | 20 | 60 | XT0087:3 | CTRL2
AF0385:25 | -0V | WHT | 20 | 60 | XT0080:6 | CTRL2
AF0385:28 | -0V | WHT | 20 | 60 | XT0060:10 | CTRL2
AF0383:COM | -0V | WHT | 16 | 60 | XT0060:5 | CTRL2
AF0384:COM | -0V | WHT | 16 | 60 | XT0060:6 | CTRL2
AU0380:COM | -0V | WHT | 16 | 60 | XT0060:4 | CTRL2
AF0382:COM | AF0382N | WHT | 16 | 60 | AF0385:COM | CTRL2
AF0382:V+ | AF0382P | WHT | 16 | 60 | AF0385:V+ | CTRL2
AU0380:V+ | FU0380 | WHT | 16 | 60 | FU0380:LD | CTRL2
AF0383:V+ | FU0381 | WHT | 16 | 60 | FU0381:LD | CTRL2
AF0384:V+ | FU0382 | WHT | 16 | 60 | FU0382:LD | CTRL2
KA0060:A1 | ESTOP | WHT | 20 | 60 | KA0061:A1 | CTRL2 | KA A1
KA0060:A1 | ESTOP | WHT | 20 | 80 | SA0472:12 | CTRL2
KA0062:A1 | ESTOP | WHT | 20 | 60 | KA0238:A1 | CTRL2
KA0235:A1 | ESTOP | WHT | 20 | 60 | KA0248:A1 | CTRL2
KA0235:A1 | ESTOP | WHT | 20 | 80 | XT0089:10 | CTRL2
KA0240:A1 | ESTOP | WHT | 20 | 60 | KA0248:A1 | CTRL2
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | AF0381:36 | CTRL2
KA0130:A1 | KA0130A1 | WHT | 20 | 60 | KA0130:11 | CTRL2
KA0131:A1 | KA0131A1 | WHT | 20 | 80 | KA0242:14 | CTRL2
KA0132:A1 | KA0131A1 | WHT | 20 | 60 | KA0141:A1 | CTRL2
KA0141:A1 | KA0131A1 | WHT | 20 | 60 | KA0231:A1 | CTRL2
KA0232:A1 | KA0131A1 | WHT | 20 | 80 | XT0089:21 | CTRL2
KA0133:A1 | KA0133A1 | WHT | 20 | 60 | AF0066:14 | CTRL2
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0061:12 | CTRL2
KA0135:A1 | KA0135A1 | WHT | 20 | 60 | KA0131:11 | CTRL2
KA0137:A1 | KA0137A1 | WHT | 20 | 60 | KT0145:18 | CTRL2
KA0138:A1 | KA0138A1 | WHT | 20 | 60 | KA0132:21 | CTRL2
KA0176:A1 | KA0177A1 | WHT | 20 | 60 | KA0135:22 | CTRL2
KA0243:A1 | KA0243A1 | WHT | 20 | 60 | KA0246:A1 | CTRL2
KA0243:A1 | KA0243A1 | WHT | 20 | 80 | XT0089:3 | CTRL2
KA0244:A1 | KA0243A1 | WHT | 20 | 60 | KA0246:A1 | CTRL2
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | KA0249:A1 | CTRL2
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | XT0089:4 | CTRL2
KA0382:A1 | KA0382A1 | WHT | 20 | 60 | AF0383:03 | CTRL2
KA0136:A1 | PS32002 | WHT | 20 | 80 | XT0089:26 | CTRL2
KA0060:A2 | -0V | WHT | 20 | 60 | KA0061:A2 | CTRL2 | KA A2
KA0060:A2 | -0V | WHT | 20 | 60 | KA0242:A2 | CTRL2
KA0062:A2 | -0V | WHT | 20 | 60 | KA0238:A2 | CTRL2
KA0133:A2 | -0V | WHT | 20 | 60 | KA0136:A2 | CTRL2
KA0133:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | CTRL2
KA0134:A2 | -0V | WHT | 20 | 60 | KT0143:A2 | CTRL2
KA0135:A2 | -0V | WHT | 20 | 60 | KA0137:A2 | CTRL2
KA0135:A2 | -0V | WHT | 20 | 60 | KT0145:A2 | CTRL2
KA0136:A2 | -0V | WHT | 20 | 60 | KA0138:A2 | CTRL2
KA0138:A2 | -0V | WHT | 20 | 60 | KT0143:A2 | CTRL2
KA0176:A2 | -0V | WHT | 20 | 60 | XT0080:4 | CTRL2
KA0235:A2 | -0V | WHT | 20 | 60 | KA0248:A2 | CTRL2
KA0235:A2 | -0V | WHT | 20 | 80 | XT0089:11 | CTRL2
KA0240:A2 | -0V | WHT | 20 | 60 | KA0248:A2 | CTRL2
KA0241:A2 | -0V | WHT | 20 | 60 | XT0080:5 | CTRL2
KA0243:A2 | -0V | WHT | 20 | 60 | KA0246:A2 | CTRL2
KA0243:A2 | -0V | WHT | 20 | 60 | XT0080:3 | CTRL2
KA0244:A2 | -0V | WHT | 20 | 60 | KA0245:A2 | CTRL2
KA0244:A2 | -0V | WHT | 20 | 60 | KA0246:A2 | CTRL2
KA0245:A2 | -0V | WHT | 20 | 60 | KA0249:A2 | CTRL2
KA0132:A2 | KA0131A2 | WHT | 20 | 60 | KA0141:A2 | CTRL2
KA0141:A2 | KA0131A2 | WHT | 20 | 60 | KA0231:A2 | CTRL2
KA0232:A2 | KA0131A2 | WHT | 20 | 80 | XT0089:22 | CTRL2
KA0382:A2 | KA0382A2 | WHT | 20 | 60 | AF0383:19 | CTRL2
KA0130:A2 | UA1200J26 | WHT | 20 | 80 | XT1200:13 | CTRL2
KA0070:11 | KA007011 | WHT | 20 | 60 | KA0061:24 | CTRL2 | KA ICE CUBE
KA0070:14 | KA007014 | WHT | 20 | 60 | AF0384:14 | CTRL2
KA0380:11 | KA038011 | WHT | 20 | 60 | KA0060:14 | CTRL2
KA0380:14 | KA038014 | WHT | 20 | 60 | AF0066:04 | CTRL2
KA0380:A1 | KA0380A1 | WHT | 20 | 60 | AF0383:01 | CTRL2
KA0380:A2 | KA0380A2 | WHT | 20 | 60 | AF0383:17 | CTRL2
KA0132:11 | FU0387 | WHT | 20 | 80 | XT0081:1 | CTRL2 | KA Doubles
KA0133:11 | FU0387 | WHT | 20 | 60 | KT0144:A1 | CTRL2
KA0134:11 | FU0387 | WHT | 20 | 60 | KA0136:11 | CTRL2
KA0134:11 | FU0387 | WHT | 20 | 60 | KT0144:15 | CTRL2
KA0136:11 | FU0387 | WHT | 20 | 60 | KT0144:A1 | CTRL2
KA0137:11 | FU0387 | WHT | 20 | 60 | KT0140:15 | CTRL2
KA0137:11 | FU0387 | WHT | 20 | 60 | KT0144:15 | CTRL2
KA0137:21 | FU0387 | WHT | 20 | 60 | KA0244:11 | CTRL2
KA0137:21 | FU0387 | WHT | 20 | 60 | KT0142:15 | CTRL2
KA0244:11 | FU0387 | WHT | 20 | 80 | XT0081:2 | CTRL2
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | CTRL2
KA0137:24 | KA013112 | WHT | 20 | 80 | AF0061:07 | CTRL2
KA0137:14 | KA013222 | WHT | 20 | 80 | KT0141:18 | CTRL2
KA0137:14 | KA013222 | WHT | 20 | 80 | KT0144:18 | CTRL2
KA0239:14 | KA024114 | WHT | 20 | 60 | KA0241:14 | CTRL2
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:21 | CTRL2
KA0135:21 | KA024911 | WHT | 20 | 60 | KA0232:12 | CTRL2
KA0135:21 | KA024911 | WHT | 20 | 60 | KA0249:11 | CTRL2
KA0242:11 | KT014618 | WHT | 20 | 60 | KA0231:11 | CTRL2
KA0242:11 | KT014618 | WHT | 20 | 60 | KT0146:18 | CTRL2
KA0131:21 | KT0146A1 | WHT | 20 | 60 | KA0241:21 | CTRL2
KA0131:21 | KT0146A1 | WHT | 20 | 60 | KT0146:A1 | CTRL2
KA0241:11 | UA1200J21 | WHT | 20 | 60 | KA0239:11 | CTRL2
KA0241:11 | UA1200J21 | WHT | 20 | 80 | XT1200:15 | CTRL2
KA0244:24 | -038101 | WHT | 20 | 60 | AF0381:01 | CTRL2 | KA
KA0249:24 | -038102 | WHT | 20 | 60 | AF0381:02 | CTRL2
KA0244:21 | -038133 | WHT | 20 | 60 | AF0381:33 | CTRL2
KA0249:21 | -038134 | WHT | 20 | 60 | AF0381:34 | CTRL2
KA0177:11 | -065336 | WHT | 20 | 80 | XT0089:38 | CTRL2
KA0243:14 | ESTOPC | WHT | 20 | 80 | XT0089:12 | CTRL2
KA0131:24 | FU0071 | WHT | 20 | 60 | KA0241:24 | CTRL2
KA0232:11 | FU0387 | WHT | 20 | 80 | XT0081:4 | CTRL2
KA0248:11 | FU0389 | WHT | 20 | 80 | FU0389:LD | CTRL2
KA0061:11 | KA006111 | WHT | 20 | 80 | AF0383:06 | CTRL2
KA0062:21 | KA006221 | WHT | 20 | 80 | AF0383:05 | CTRL2
KA0130:14 | KA013014 | WHT | 20 | 80 | AF0381:04 | CTRL2
KA0131:14 | KA013114 | WHT | 20 | 80 | AF0384:00 | CTRL2
KA0242:14 | KA0131A1 | WHT | 20 | 60 | KA0231:14 | CTRL2
KA0132:22 | KA013222 | WHT | 20 | 80 | KT0141:18 | CTRL2
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | CTRL2
KA0135:11 | KA013511 | WHT | 20 | 80 | XT0089:29 | CTRL2
KA0135:14 | KA013514 | WHT | 20 | 80 | XT0089:30 | CTRL2
KA0136:21 | KA013621 | WHT | 20 | 80 | AF0061:38 | CTRL2
KA0136:24 | KA013624 | WHT | 20 | 80 | AF0061:06 | CTRL2
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | CTRL2
KA0141:11 | KA014111 | WHT | 20 | 80 | AF0061:42 | CTRL2
KA0141:14 | KA014114 | WHT | 20 | 80 | AF0061:10 | CTRL2
KA0176:11 | KA017611 | WHT | 20 | 80 | XT0089:7 | CTRL2
KA0176:14 | KA017614 | WHT | 20 | 80 | XT0089:8 | CTRL2
KA0177:14 | KA017714 | WHT | 20 | 80 | XT0089:39 | CTRL2
KA0135:22 | KA0177A1 | WHT | 20 | 60 | KA0249:12 | CTRL2
KA0231:24 | KA023124 | WHT | 20 | 60 | KA0245:11 | CTRL2
KA0235:14 | KA023514 | WHT | 20 | 80 | XT0089:37 | CTRL2
KA0240:11 | KA024011 | WHT | 20 | 80 | XT0089:34 | CTRL2
KA0242:21 | KA024221 | WHT | 20 | 60 | KA0248:12 | CTRL2
KA0246:11 | KA024611 | WHT | 20 | 80 | XT0089:5 | CTRL2
KA0246:14 | KA024614 | WHT | 20 | 80 | XT0089:6 | CTRL2
KA0062:11 | KA038211 | WHT | 20 | 60 | KA0382:11 | CTRL2
KA0382:14 | KA038214 | WHT | 20 | 80 | AF0066:12 | CTRL2
KA0132:12 | KT014315 | WHT | 20 | 60 | KT0142:A1 | CTRL2
KA0138:24 | KT0144B1 | WHT | 20 | 60 | KT0144:B1 | CTRL2
KA0244:12 | KT0145A1 | WHT | 20 | 60 | KT0145:A1 | CTRL2
KA0240:14 | PS32004 | WHT | 20 | 80 | XT0089:27 | CTRL2
KA0235:11 | SB033312 | WHT | 20 | 80 | XT0089:36 | CTRL2
KA0138:11 | KA013811 | WHT | 16 | 80 | XT0089:31 | CTRL2
KA0138:14 | FU0388 | WHT | 16 | 80 | XT0060:11 | CTRL2
KT0140:A2 | -0V | WHT | 20 | 60 | XT0080:1 | CTRL2 | KT
KT0142:A2 | -0V | WHT | 20 | 60 | KT0144:A2 | CTRL2
KT0145:A2 | -0V | WHT | 20 | 60 | XT0080:2 | CTRL2
KT0142:15 | FU0387 | WHT | 20 | 60 | KT0145:15 | CTRL2
KT0145:18 | KA0137A1 | WHT | 20 | 60 | KT0142:18 | CTRL2
KT0143:16 | KT0140A1 | WHT | 20 | 60 | KT0140:A1 | CTRL2
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | CTRL2
KT0141:A1 | KT014315 | WHT | 20 | 60 | KT0143:15 | CTRL2
KT0140:18 | KT0143A1 | WHT | 20 | 60 | KT0143:A1 | CTRL2
KT0146:15 | KT014615 | WHT | 20 | 60 | AF0383:00 | CTRL2
XT0060:9 | -0V | WHT | 20 | 80 | XT1200:17 | CTRL2 | XT/FU
XT0080:6 | -0V | WHT | 20 | 80 | XT0087:3 | CTRL2
XT0089:2 | -0V | WHT | 20 | 80 | XT0080:3 | CTRL2
XT0081:3 | FU0387 | WHT | 20 | 80 | XT0089:1 | CTRL2
XT0087:1 | FU0387 | WHT | 20 | 80 | XT0081:1 | CTRL2
XT0089:25 | FU0387 | WHT | 20 | 80 | XT0081:5 | CTRL2
XT0089:28 | PS32005 | WHT | 20 | 60 | XT0089:35 | CTRL2
XT0060:7 | -0V | WHT | 16 | 60 | XT0080:1 | CTRL2
XT0089:32 | -0V | WHT | 16 | 80 | XT0060:8 | CTRL2
FU0387:LD | FU0387 | WHT | 16 | 60 | XT0081:1 | CTRL2
FU0388:LD | FU0388 | WHT | 16 | 60 | XT0060:11 | CTRL2
FU2108:LD | FU2108 | WHT | 16 | 60 | XT0060:12 | CTRL2
FU0061:LI | FU0060 | WHT | 14 | 60 | FU0060:LD | CTRL2
FU0389:LD | FU0389 | WHT | 14 | 80 | XT1200:16 | CTRL2 | MRCA 1992845
KA0070:A1 | KA0070A1 | WHT | 20 | 180 | AF0073:02 | CTRL1 | KA/KT - CTRL1
KA0070:A2 | KA0070A2 | WHT | 20 | 180 | AF0073:18 | CTRL1
KA0131:A2 | KA0131A2 | WHT | 20 | 180 | AF0072:20 | CTRL1
KA0134:A1 | KA0134A1 | WHT | 20 | 180 | AF0092:12 | CTRL1
KA0241:A1 | KA0241A1 | WHT | 20 | 180 | XT0091:2 | CTRL1
KT0146:18 | KT014618 | WHT | 20 | 180 | AF0072:04 | CTRL1
KT0146:A2 | KT0146A2 | WHT | 20 | 180 | AF0073:20 | CTRL1
KA0238:21 | -009234 | WHT | 20 | 180 | AF0092:34 | CTRL1
KA0241:24 | FU0071 | WHT | 20 | 180 | XT0070:4 | CTRL1
KA0238:11 | KA023811 | WHT | 20 | 180 | AF0072:35 | CTRL1
KA0238:14 | KA023814 | WHT | 20 | 180 | AF0072:03 | CTRL1
KA0238:22 | KA023822 | WHT | 20 | 180 | XT0091:3 | CTRL1
KT0146:B1 | KT0146B1 | WHT | 20 | 180 | AF0073:04 | CTRL1
XT0081:5 | FU0387 | WHT | 20 | 180 | XT0091:1 | CTRL1 | XT - CTRL1
XT0089:17 | ESTOPA | WHT | 20 | 180 | XT0091:7 | CTRL1
XT0089:20 | SB047212 | WHT | 20 | 180 | XT0091:8 | CTRL1
XT0089:21 | KA0131A1 | WHT | 20 | 180 | XT0091:11 | CTRL1
XT0089:22 | KA0131A2 | WHT | 20 | 180 | XT0091:12 | CTRL1
XT1200:15 | UA1200J21 | WHT | 20 | 180 | AF0072:05 | CTRL1
AF0381:07 | KA71732 | WHT | 20 | 240 | XT0189:62 | CUST | AF - CUST
AF0381:08 | KA71712 | WHT | 20 | 240 | XT0189:56 | CUST
AF0381:39 | KA71731 | WHT | 20 | 240 | XT0189:61 | CUST
AF0381:40 | KA71711 | WHT | 20 | 240 | XT0189:55 | CUST
AF0383:12 | KA0190A1 | WHT | 20 | 200 | KA0190:A1 | CUST
AF0383:13 | KA0192A1 | WHT | 20 | 200 | KA0192:A1 | CUST
AF0383:28 | KA0190A2 | WHT | 20 | 200 | KA0190:A2 | CUST
AF0383:29 | KA0192A2 | WHT | 20 | 200 | KA0192:A2 | CUST
XT0089:20 | SB047212 | WHT | 20 | 240 | XT6210:38 | CUST | KA/XT - CUST
XT0089:38 | -065336 | WHT | 20 | 240 | XT0291:8 | CUST
XT0089:39 | KA017714 | WHT | 20 | 240 | XT0291:7 | CUST
KA0235:21 | KA023521 | WHT | 16 | 240 | XT6210:24 | CUST
KA0235:24 | KA023524 | WHT | 16 | 240 | XT6210:25 | CUST
KA0248:21 | KA024821 | WHT | 16 | 240 | XT6210:22 | CUST
KA0248:24 | KA024824 | WHT | 16 | 240 | XT6210:23 | CUST
SA0472:11 | SA047211 | WHT | 16 | 240 | XT6210:39 | CUST
AF0061:09 | UJ0131OK2 | WHT | 20 | 280 | UJ0131:OK2 | DC | AF/FU/XT - DC
AF0061:41 | UJ0131OK1 | WHT | 20 | 280 | UJ0131:OK1 | DC
AF0385:07 | UJ0131VIN | WHT | 20 | 280 | UJ0131:VIN | DC
AF0385:09 | UJ0131IOUT | WHT | 20 | 280 | UJ0131:IOUT | DC
FU0060:LI | FU0136 | WHT | 12 | 260 | XT0002:2 | DC
XT0060:1 | -0V | WHT | 12 | 260 | XT0003:2 | DC
XT0089:36 | SB033312 | WHT | 20 | 220 | XT0121:1 | GEN | XT - GEN
XT0089:37 | KA023514 | WHT | 20 | 220 | XT0121:3 | GEN
XT0089:1 | FU0387 | WHT | 20 | 140 | XT0170:1 | EQP CTRL | XT - EQP CTRL
XT0089:2 | -0V | WHT | 20 | 140 | XT0170:3 | EQP CTRL
XT0089:3 | KA0243A1 | WHT | 20 | 140 | XT0170:2 | EQP CTRL
XT0089:4 | KA0245A1 | WHT | 20 | 140 | XT0170:4 | EQP CTRL
AF0385:SH | IEG00115 | GRN | 14 | 160 | IEG0011:5 | CTRL1 | EXTERNAL GROUNDS
XT6410:1 | PT6410S | GRN | 14 | 160 | IEG0011:13 | CTRL1
GR0060: | GR0060 | GRN | 14 | 260 | IEG0010:14 | DC PWR
XT1200:18 | IEG00101 | GRN | 14 | 260 | IEG0010:1 | DC PWR
AF0065:SH | IEG00108 | GRN | 14 | 240 | IEG0010:8 | DC PWR

## CTRL1(B)_S
JB71 B,PNL CTRL1
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
PC0470:+PWR | -009243 | WHT | 20 | 120 | AF0092:43 | CTRL1 | PC0470
PC0470:INP A | -009211 | WHT | 20 | 120 | AF0092:11 | CTRL1
PC0470:-PWR | -009227 | WHT | 20 | 120 | AF0092:27 | CTRL1
PC0472:+PWR | -009245 | WHT | 20 | 120 | AF0092:45 | CTRL1
PC0472:INP_A | -009213 | WHT | 20 | 120 | AF0092:13 | CTRL1
PC0472:-PWR | -009229 | WHT | 20 | 120 | AF0092:29 | CTRL1
AF0092:02 | KA023822 | WHT | 20 | 60 | XT0091:3 | CTRL1 | AU / AF
AF0073:COM | -0V | WHT | 16 | 100 | XT0070:5 | CTRL1
AF0092:COM | -0V | WHT | 16 | 120 | XT0070:7 | CTRL1
AF0093:COM | -0V | WHT | 16 | 120 | XT0070:9 | CTRL1
AU0070:COM | -0V | WHT | 16 | 80 | XT0070:3 | CTRL1
AU0090:COM | -0V | WHT | 16 | 120 | XT0070:7 | CTRL1
AF0093:COM | AF0093N | WHT | 16 | 60 | AF0094:COM | CTRL1
AF0093:V+ | AF0093P | WHT | 16 | 60 | AF0094:V+ | CTRL1
AU0070:V+ | FU0070 | WHT | 16 | 100 | FU0070:LD | CTRL1
AF0073:V+ | FU0071 | WHT | 16 | 100 | XT0070:4 | CTRL1
AF0074:V+ | FU0072 | WHT | 16 | 100 | FU0072:LD | CTRL1
AU0090:V+ | FU0091 | WHT | 16 | 120 | FU0091:LD | CTRL1
AF0092:V+ | FU0092 | WHT | 16 | 120 | FU0092:LD | CTRL1
AF0093:V+ | FU0093 | WHT | 16 | 120 | XT0070:8 | CTRL1
AF0074:COM | -0V | WHT | 14 | 100 | XT0070:6 | CTRL1
UV0600:(+) | FU0010 | WHT | 14 | 120 | FU0010:LD | CTRL1 | UV0600
UV0600:(-) | -0V | WHT | 14 | 120 | XT0070:2 | CTRL1
FU0071:LD | FU0071 | WHT | 16 | 60 | XT0070:4 | CTRL1 | FU
FU0093:LD | FU0093 | WHT | 16 | 60 | XT0070:8 | CTRL1
FU0094:LD | FU0094 | WHT | 16 | 60 | XT0070:13 | CTRL1
FU0099:LD | FU0099 | WHT | 16 | 120 | XT0091:5 | CTRL1
FU0070:LI | FU0210 | WHT | 14 | 60 | FU0210:LD | CTRL1
FU0072:LI | FU0210 | WHT | 14 | 60 | FU0091:LI | CTRL1
FU0010:LI | FU0136 | WHT | 12 | 60 | XT0070:1 | CTRL1
FU0100:LI | FU0136 | WHT | 12 | 60 | XT0070:1 | CTRL1
FU0210:LI | FU0136 | WHT | 12 | 60 | XT0070:1 | CTRL1
KA0234:A1 | KA0131A1 | WHT | 20 | 60 | XT0091:11 | CTRL1
KA0875:A1 | KA0875A1 | WHT | 20 | 60 | AF0092:03 | CTRL1
KA1020:A1 | KA1020A1 | WHT | 20 | 60 | AF0073:00 | CTRL1
KA0234:A2 | KA0131A2 | WHT | 20 | 60 | XT0091:12 | CTRL1
KA1020:A2 | KA1020A2 | WHT | 20 | 60 | AF0073:16 | CTRL1
KA0875:A2 | KA0875A2 | WHT | 20 | 60 | AF0092:19 | CTRL1
KA0875:14 | FU0099 | WHT | 20 | 60 | XT0091:5 | CTRL1
KA0233:14 | KA023314 | WHT | 20 | 60 | AF0092:06 | CTRL1
KA0234:14 | KA023414 | WHT | 20 | 60 | AF0092:08 | CTRL1
KA0234:22 | KA023422 | WHT | 20 | 60 | XT0091:4 | CTRL1
KA0234:21 | KA087511 | WHT | 20 | 60 | KA0875:11 | CTRL1
KA1020:14 | FU0100 | WHT | 14 | 120 | FU0100:LD | CTRL1
KA1020:24 | -0V | WHT | 14 | 120 | XT0070:2 | CTRL1
AF0073:05 | KA0191A1 | WHT | 20 | 100 | KA0191:A1 | CUST | AF - CUST
AF0073:21 | KA0191A2 | WHT | 20 | 100 | KA0191:A2 | CUST
AF0073:06 | KA0193A1 | WHT | 20 | 100 | KA0193:A1 | CUST
AF0073:22 | KA0193A2 | WHT | 20 | 100 | KA0193:A2 | CUST
AF0072:39 | KA71771 | WHT | 20 | 120 | XT0189:57 | CUST
AF0072:07 | KA71772 | WHT | 20 | 120 | XT0189:58 | CUST
AF0072:38 | KA71781 | WHT | 20 | 120 | XT0189:63 | CUST
AF0072:06 | KA71782 | WHT | 20 | 120 | XT0189:64 | CUST
XT0070:1 | FU0136 | WHT | 14 | 180 | XT0002:2 | DC | XT - DC
XT0070:2 | -0V | WHT | 12 | 180 | XT0003:2 | DC
XT0091:10 | SB033312 | WHT | 20 | 140 | XT0121:1 | GEN | XT - GEN
XT0091:9 | FU0125 | WHT | 20 | 140 | XT0121:2 | GEN
XT0091:4 | KA023422 | WHT | 20 | 80 | XT0170:8 | EQP CTRL | XT - EQP CTRL
XT0091:5 | FU0099 | WHT | 16 | 80 | XT0170:9 | EQP CTRL
IEG0011:0 | IEG0011G | GRN | 8 | 160 | IEG0010:00 | DC PWR | GROUND

## EQP CTRL(C)_S
JB71 C,PNL EQP CTRL
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0170:45 | AT017045 | WHT | 20 | 60 | XT0170:12 | EQP CTRL | AT0170
AT0170:46 | AT017046 | WHT | 20 | 60 | XT0170:13 | EQP CTRL
AT0170:24 | FU0387 | WHT | 20 | 60 | XT0170:1 | EQP CTRL
AT0170:30 | FU0387 | WHT | 20 | 60 | XT0170:1 | EQP CTRL
AT0170:26 | KA0243A1 | WHT | 20 | 60 | XT0170:2 | EQP CTRL
AT0170:32 | KA0245A1 | WHT | 20 | 60 | XT0170:4 | EQP CTRL
AT0175:18 | HL0171X2 | WHT | 20 | 60 | XT0171:37 | EQP CTRL | AT0175
AT0175:17 | HL0171X3 | WHT | 20 | 60 | XT0171:36 | EQP CTRL
AT0175:21 | HL0172X2 | WHT | 20 | 60 | XT0171:41 | EQP CTRL
AT0175:20 | HL0172X3 | WHT | 20 | 60 | XT0171:40 | EQP CTRL
AT0175:24 | HL6173N | WHT | 16 | 60 | XT0171:44 | EQP CTRL
AT0175:3 | SB6170N | WHT | 16 | 60 | XT0171:46 | EQP CTRL
AT0175:2 | SB6170P | WHT | 16 | 60 | XT0171:45 | EQP CTRL
AT0175:12 | SV66112 | WHT | 16 | 60 | XT0171:2 | EQP CTRL
AT0175:5 | TS65431 | WHT | 16 | 60 | XT0171:17 | EQP CTRL
AT0175:6 | TS65432 | WHT | 16 | 60 | XT0171:18 | EQP CTRL
AT0175:23 | VD6173P | WHT | 16 | 60 | XT0171:43 | EQP CTRL
AT0176:8 | DT65001 | WHT | 16 | 60 | XT0171:15 | EQP CTRL | AT0176
AT0176:9 | DT65002 | WHT | 16 | 60 | XT0171:16 | EQP CTRL
AT0176:23 | HAL67101 | WHT | 16 | 60 | XT0171:5 | EQP CTRL
AT0176:24 | HAL67102 | WHT | 16 | 60 | XT0171:6 | EQP CTRL
AT0176:2 | HAL67103 | WHT | 16 | 60 | XT0171:7 | EQP CTRL
AT0176:3 | HAL67104 | WHT | 16 | 60 | XT0171:8 | EQP CTRL
AT0176:18 | SV66122 | WHT | 16 | 60 | XT0171:4 | EQP CTRL
AT0176:4P1 | AT01764P1 | WHT | 14 | 60 | AT0178:1P1 | EQP CTRL
AT0176:5P1 | AT01765P1 | WHT | 14 | 60 | AT0178:2P1 | EQP CTRL
AT0178:23 | VD0178 | WHT | 20 | 60 | XT0173:2 | EQP CTRL | AT0178
AT0178:24 | KA0178A2 | WHT | 20 | 60 | XT0173:3 | EQP CTRL
AT0178:14 | PS66111 | WHT | 16 | 60 | XT0171:19 | EQP CTRL
AT0178:15 | PS66112 | WHT | 16 | 60 | XT0171:20 | EQP CTRL
AT0178:17 | PS66211 | WHT | 16 | 60 | XT0171:25 | EQP CTRL
AT0178:18 | PS66212 | WHT | 16 | 60 | XT0171:26 | EQP CTRL
AT0178:2 | ZS66111 | WHT | 16 | 60 | XT0171:21 | EQP CTRL
AT0178:3 | ZS66112 | WHT | 16 | 60 | XT0171:22 | EQP CTRL
AT0178:8 | ZS66211 | WHT | 16 | 60 | XT0171:27 | EQP CTRL
AT0178:9 | ZS66212 | WHT | 16 | 60 | XT0171:28 | EQP CTRL
AT0178:11 | ZS66221 | WHT | 16 | 60 | XT0171:29 | EQP CTRL
AT0178:12 | ZS66222 | WHT | 16 | 60 | XT0171:30 | EQP CTRL
AT0178:5 | ZSC66121 | WHT | 16 | 60 | XT0171:23 | EQP CTRL
AT0178:6 | ZSC66122 | WHT | 16 | 60 | XT0171:24 | EQP CTRL
KA0172:A2 | -0V | WHT | 20 | 60 | XT0170:3 | EQP CTRL | KA
KA0174:A2 | -0V | WHT | 20 | 60 | XT0170:3 | EQP CTRL
KA0178:14 | FU0099 | WHT | 20 | 60 | XT0170:9 | EQP CTRL
KA0172:11 | KA017211 | WHT | 20 | 60 | XT0170:14 | EQP CTRL
KA0172:12 | KA017212 | WHT | 20 | 60 | XT0170:15 | EQP CTRL
KA0172:A1 | KA0172A1 | WHT | 20 | 60 | AT0170:25 | EQP CTRL
KA0174:11 | KA017411 | WHT | 20 | 60 | XT0170:16 | EQP CTRL
KA0174:12 | KA017412 | WHT | 20 | 60 | XT0170:17 | EQP CTRL
KA0174:A1 | KA0174A1 | WHT | 20 | 60 | AT0170:31 | EQP CTRL
KA0178:A1 | KA0178A1 | WHT | 20 | 60 | XT0173:1 | EQP CTRL
KA0178:A2 | KA0178A2 | WHT | 20 | 60 | XT0173:3 | EQP CTRL
KA0178:11 | KA023422 | WHT | 20 | 60 | XT0170:8 | EQP CTRL
XT0172:7 | -0V | WHT | 14 | 60 | XT0172:6 | EQP CTRL | XT
XT0172:5 | FU0171 | WHT | 14 | 60 | XT0172:4 | EQP CTRL
XT0170:3 | -0V | WHT | 20 | 120 | XT0291:2 | CUST | XT - CUST
XT0170:2 | KA0243A1 | WHT | 20 | 120 | XT0291:1 | CUST
AT0175:2P1 | UV017010 | WHT | 14 | 200 | UV0170:10(-) | EQP PWR | AT - EQP PWR
AT0176:1P1 | UV017011 | WHT | 14 | 200 | UV0170:11(+) | EQP PWR
AT0176:2P1 | UV017012 | WHT | 14 | 200 | UV0170:12(-) | EQP PWR
AT0170:1 | UV01705 | WHT | 14 | 180 | UV0170:5(+) | EQP PWR
AT0170:2 | UV01706 | WHT | 14 | 180 | UV0170:6(-) | EQP PWR
AT0170:3 | UV01707 | WHT | 14 | 180 | UV0170:7(+) | EQP PWR
AT0170:4 | UV01708 | WHT | 14 | 180 | UV0170:8(-) | EQP PWR
AT0175:1P1 | UV01709 | WHT | 14 | 200 | UV0170:9(+) | EQP PWR
XT0171:14 | -0V | WHT | 20 | 180 | XT0175:3 | EQP PWR | XT - EQP PWR
XT0172:6 | -0V | WHT | 14 | 180 | XT0175:2 | EQP PWR
XT0172:4 | FU0171 | WHT | 14 | 180 | XT0175:6 | EQP PWR
XT0172:17 | LON0N | WHT | 14 | 180 | UV0170:14(-) | EQP PWR
XT0172:16 | LON0P | WHT | 14 | 180 | UV0170:13(+) | EQP PWR
XT0172:20 | LON2N | WHT | 14 | 180 | UV0170:16(-) | EQP PWR
XT0172:19 | LON2P | WHT | 14 | 180 | UV0170:15(+) | EQP PWR

## CUST(B)_S
JB71 B,PNL CUST
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0181:00 | KA71702 | WHT | 20 | 60 | XT0189:54 | CUST | AF0180'S
AF0181:01 | KA71722 | WHT | 20 | 60 | XT0189:60 | CUST
AF0181:02 | SB75102 | WHT | 20 | 60 | XT0189:2 | CUST
AF0181:03 | SB75112 | WHT | 20 | 60 | XT0189:4 | CUST
AF0181:04 | SB75562 | WHT | 20 | 60 | XT0189:14 | CUST
AF0181:05 | SB75572 | WHT | 20 | 60 | XT0189:16 | CUST
AF0181:06 | SB75582 | WHT | 20 | 60 | XT0189:18 | CUST
AF0181:07 | SB75542 | WHT | 20 | 60 | XT0189:6 | CUST
AF0181:08 | SB75552 | WHT | 20 | 60 | XT0189:8 | CUST
AF0181:09 | SB75512 | WHT | 20 | 60 | XT0189:10 | CUST
AF0181:10 | SB75522 | WHT | 20 | 60 | XT0189:12 | CUST
AF0181:11 | ZS628124 | WHT | 20 | 60 | XT0299:35 | CUST
AF0181:12 | ZS626124 | WHT | 20 | 60 | XT0299:31 | CUST
AF0181:13 | ZS627124 | WHT | 20 | 60 | XT0299:33 | CUST
AF0181:14 | ZS629124 | WHT | 20 | 60 | XT0299:37 | CUST
AF0181:32 | KA71701 | WHT | 20 | 60 | XT0189:53 | CUST
AF0181:33 | KA71721 | WHT | 20 | 60 | XT0189:59 | CUST
AF0181:34 | SB75101 | WHT | 20 | 60 | XT0189:1 | CUST
AF0181:35 | SB75111 | WHT | 20 | 60 | XT0189:3 | CUST
AF0181:36 | SB75561 | WHT | 20 | 60 | XT0189:13 | CUST
AF0181:37 | SB75571 | WHT | 20 | 60 | XT0189:15 | CUST
AF0181:38 | SB75581 | WHT | 20 | 60 | XT0189:17 | CUST
AF0181:39 | SB75541 | WHT | 20 | 60 | XT0189:5 | CUST
AF0181:40 | SB75551 | WHT | 20 | 60 | XT0189:7 | CUST
AF0181:41 | SB75511 | WHT | 20 | 60 | XT0189:9 | CUST
AF0181:42 | SB75521 | WHT | 20 | 60 | XT0189:11 | CUST
AF0181:43 | ZS628123 | WHT | 20 | 60 | XT0299:34 | CUST
AF0181:44 | ZS626123 | WHT | 20 | 60 | XT0299:30 | CUST
AF0181:45 | ZS627123 | WHT | 20 | 60 | XT0299:32 | CUST
AF0181:46 | ZS629123 | WHT | 20 | 60 | XT0299:36 | CUST
AF0182:08 | -018208 | WHT | 20 | 100 | XT0188:8 | CUST
AF0182:40 | -018240 | WHT | 20 | 100 | XT0188:7 | CUST
AF0182:COM | -0V | WHT | 16 | 80 | XT0180:2 | CUST
AU0180:COM | -0V | WHT | 16 | 80 | XT0180:2 | CUST
AF0183:COM | -0V | WHT | 16 | 80 | XT0180:3 | CUST
AF0184:COM | -0V | WHT | 16 | 80 | XT0180:4 | CUST
AU0180:V+ | FU0181 | WHT | 16 | 80 | FU0181:LD | CUST
AF0182:V+ | FU0182 | WHT | 16 | 80 | FU0182:LD | CUST
AF0183:V+ | FU0183 | WHT | 16 | 80 | FU0183:LD | CUST
AF0184:V+ | FU0184 | WHT | 16 | 80 | FU0184:LD | CUST
AF0651:00 | -065100 | WHT | 20 | 60 | XT0188:2 | CUST | AF0650'S
AF0651:01 | -065101 | WHT | 20 | 60 | XT0188:4 | CUST
AF0651:02 | -065102 | WHT | 20 | 60 | XT0188:6 | CUST
AF0651:32 | -065132 | WHT | 20 | 60 | XT0188:1 | CUST
AF0651:33 | -065133 | WHT | 20 | 60 | XT0188:3 | CUST
AF0651:34 | -065134 | WHT | 20 | 60 | XT0188:5 | CUST
AF0653:00 | -065300 | WHT | 20 | 60 | XT0291:3 | CUST
AF0653:02 | -065302 | WHT | 20 | 60 | XT0291:4 | CUST
AF0653:04 | -065304 | WHT | 20 | 60 | XT0291:5 | CUST
AF0653:36 | -065336 | WHT | 20 | 60 | XT0291:8 | CUST
AF0651:35 | H6210A31 | WHT | 20 | 120 | XT6210:26 | CUST
AF0651:09 | H6210A310 | WHT | 20 | 120 | XT6210:35 | CUST
AF0651:03 | H6210A32 | WHT | 20 | 120 | XT6210:27 | CUST
AF0651:38 | H6210A33 | WHT | 20 | 120 | XT6210:28 | CUST
AF0651:06 | H6210A34 | WHT | 20 | 120 | XT6210:29 | CUST
AF0651:39 | H6210A35 | WHT | 20 | 120 | XT6210:30 | CUST
AF0651:07 | H6210A36 | WHT | 20 | 120 | XT6210:31 | CUST
AF0651:40 | H6210A37 | WHT | 20 | 120 | XT6210:32 | CUST
AF0651:08 | H6210A38 | WHT | 20 | 120 | XT6210:33 | CUST
AF0651:41 | H6210A39 | WHT | 20 | 120 | XT6210:34 | CUST
AF0651:37 | H6210ESD21 | WHT | 20 | 120 | XT6210:36 | CUST
AF0651:05 | H6210ESD22 | WHT | 20 | 120 | XT6210:37 | CUST
AF0651:36 | KA71801 | WHT | 20 | 60 | XT0189:19 | CUST
AF0651:04 | KA71802 | WHT | 20 | 60 | XT0189:20 | CUST
AF0651:43 | KA71811 | WHT | 20 | 60 | XT0189:21 | CUST
AF0651:11 | KA71812 | WHT | 20 | 60 | XT0189:22 | CUST
AF0651:45 | KA7182 | WHT | 20 | 60 | XT0189:23 | CUST
AF0651:13 | KA71822 | WHT | 20 | 60 | XT0189:24 | CUST
AF0651:47 | KA71831 | WHT | 20 | 60 | XT0189:25 | CUST
AF0651:15 | KA71832 | WHT | 20 | 60 | XT0189:26 | CUST
AF0653:16 | SV62612 | WHT | 20 | 120 | XT0299:23 | CUST
AF0653:18 | SV62712 | WHT | 20 | 120 | XT0299:25 | CUST
AF0653:20 | SV62802 | WHT | 20 | 120 | XT0299:27 | CUST
AF0651:46 | ZS621023 | WHT | 20 | 120 | XT0299:16 | CUST
AF0651:14 | ZS621024 | WHT | 20 | 120 | XT0299:17 | CUST
AF0651:44 | ZS631023 | WHT | 20 | 120 | XT0299:18 | CUST
AF0651:12 | ZS631224 | WHT | 20 | 120 | XT0299:39 | CUST
AF0653:COM | -0V | WHT | 16 | 60 | XT0180:5 | CUST
AU0650:COM | -0V | WHT | 16 | 60 | XT0180:5 | CUST
AU0650:V+ | FU0650 | WHT | 16 | 80 | FU0650:LD | CUST
AF0653:V+ | FU0651 | WHT | 16 | 80 | FU0651:LD | CUST
AF0654:COM | -0V | WHT | 12 | 60 | XT0180:6 | CUST
AF0654:V+ | FU0652 | WHT | 12 | 80 | FU0652:LD | CUST
KA0180:A1 | KA0180A1 | WHT | 20 | 60 | AF0182:01 | CUST | KA A1
KA0181:A1 | KA0181A1 | WHT | 20 | 60 | AF0182:00 | CUST
KA0290:A1 | KA0243A1 | WHT | 20 | 60 | XT0291:1 | CUST
KA0650:A1 | KA0650A1 | WHT | 20 | 60 | AF0182:13 | CUST
KA0651:A1 | KA0651A1 | WHT | 20 | 60 | AF0182:14 | CUST
KA0652:A1 | KA0652A1 | WHT | 20 | 60 | AF0182:04 | CUST
KA0653:A1 | KA0653A1 | WHT | 20 | 60 | AF0182:05 | CUST
KA0654:A1 | KA0654A1 | WHT | 20 | 60 | AF0182:06 | CUST
KA0655:A1 | KA0655A1 | WHT | 20 | 60 | AF0182:09 | CUST
KA0656:A1 | KA0656A1 | WHT | 20 | 60 | AF0182:10 | CUST
KA0657:A1 | KA0657A1 | WHT | 20 | 60 | AF0182:02 | CUST
KA0658:A1 | KA0658A1 | WHT | 20 | 60 | AF0182:03 | CUST
KA0184:A2 | -0V | WHT | 20 | 80 | XT0180:7 | CUST | KA A2
KA0291:A2 | -0V | WHT | 20 | 60 | XT0291:2 | CUST
KA0180:A2 | KA0180A2 | WHT | 20 | 60 | AF0182:17 | CUST
KA0181:A2 | KA0181A2 | WHT | 20 | 60 | AF0182:16 | CUST
KA0650:A2 | KA0650A2 | WHT | 20 | 60 | AF0182:29 | CUST
KA0651:A2 | KA0651A2 | WHT | 20 | 60 | AF0182:30 | CUST
KA0652:A2 | KA0652A2 | WHT | 20 | 60 | AF0182:20 | CUST
KA0653:A2 | KA0653A2 | WHT | 20 | 60 | AF0182:21 | CUST
KA0654:A2 | KA0654A2 | WHT | 20 | 60 | AF0182:22 | CUST
KA0655:A2 | KA0655A2 | WHT | 20 | 60 | AF0182:25 | CUST
KA0656:A2 | KA0656A2 | WHT | 20 | 60 | AF0182:26 | CUST
KA0657:A2 | KA0657A2 | WHT | 20 | 60 | AF0182:18 | CUST
KA0658:A2 | KA0658A2 | WHT | 20 | 60 | AF0182:19 | CUST
KA0184:11 | KA065711 | WHT | 20 | 100 | XT0187:3 | CUST | KA
KA0184:14 | KA018414 | WHT | 20 | 100 | XT0187:4 | CUST
KA0290:11 | SV62611 | WHT | 20 | 120 | XT0299:22 | CUST
KA0290:14 | -065300 | WHT | 20 | 120 | XT0291:3 | CUST
KA0290:21 | SV62711 | WHT | 20 | 120 | XT0299:24 | CUST
KA0290:24 | -065302 | WHT | 20 | 120 | XT0291:4 | CUST
KA0291:11 | -065304 | WHT | 20 | 120 | XT0291:5 | CUST
KA0291:14 | SV62801 | WHT | 20 | 60 | XT0299:26 | CUST
KA0657:11 | KA065711 | WHT | 20 | 100 | XT0187:1 | CUST
KA0657:14 | KA065714 | WHT | 20 | 100 | XT0187:2 | CUST
KA0658:11 | KA065711 | WHT | 20 | 100 | XT0187:5 | CUST
KA0658:14 | KA065814 | WHT | 20 | 100 | XT0187:6 | CUST
KA0181:11 | CC71741 | WHT | 16 | 80 | XT0189:73 | CUST
KA0181:14 | CC71742 | WHT | 16 | 80 | XT0189:74 | CUST
KA0190:11 | CC71751 | WHT | 16 | 140 | XT0189:65 | CUST
KA0190:14 | CC71752 | WHT | 16 | 140 | XT0189:66 | CUST
KA0192:11 | CC71761 | WHT | 16 | 140 | XT0189:69 | CUST
KA0192:14 | CC71762 | WHT | 16 | 140 | XT0189:70 | CUST
KA0191:11 | CC717913 | WHT | 16 | 140 | XT0189:67 | CUST
KA0191:14 | CC717914 | WHT | 16 | 140 | XT0189:68 | CUST
KA0193:11 | CC718013 | WHT | 16 | 140 | XT0189:71 | CUST
KA0193:14 | CC718014 | WHT | 16 | 140 | XT0189:72 | CUST
KA0180:11 | CC75801 | WHT | 16 | 80 | XT0189:75 | CUST
KA0180:14 | CC75802 | WHT | 16 | 80 | XT0189:76 | CUST
KA0650:11 | KA065011 | WHT | 16 | 80 | XT0189:77 | CUST
KA0650:14 | KA065014 | WHT | 16 | 80 | XT0189:78 | CUST
KA0651:11 | KA065111 | WHT | 16 | 80 | XT0189:79 | CUST
KA0651:14 | KA065114 | WHT | 16 | 80 | XT0189:80 | CUST
KA0652:11 | KA065211 | WHT | 16 | 60 | XT0186:1 | CUST
KA0652:14 | KA065214 | WHT | 16 | 60 | XT0186:2 | CUST
KA0653:11 | KA065311 | WHT | 16 | 60 | XT0186:3 | CUST
KA0653:14 | KA065314 | WHT | 16 | 60 | XT0186:4 | CUST
KA0654:11 | KA065411 | WHT | 16 | 60 | XT0186:5 | CUST
KA0654:14 | KA065414 | WHT | 16 | 60 | XT0186:6 | CUST
KA0655:11 | KA065511 | WHT | 16 | 60 | XT0186:7 | CUST
KA0655:14 | KA065514 | WHT | 16 | 60 | XT0186:8 | CUST
KA0656:11 | KA065611 | WHT | 16 | 60 | XT0186:9 | CUST
KA0656:14 | KA065614 | WHT | 16 | 60 | XT0186:10 | CUST
FU0659:LD | FU0659 | WHT | 20 | 60 | XT0180:8 | CUST | FU/XT
FU0660:LD | FU0660 | WHT | 16 | 60 | XT0180:10 | CUST
FU0181:LI | FU0180 | WHT | 14 | 60 | FU0180:LD | CUST
FU0180:LI | FU0136 | WHT | 12 | 200 | XT0002:4 | DC | FU/XT - DC
XT0180:1 | -0V | WHT | 12 | 200 | XT0003:4 | DC
AF0182:07 | KA6210A1 | WHT | 20 | 180 | KA6210:A1 | GEN | AF-GEN
AF0182:23 | KA6210A2 | WHT | 20 | 180 | KA6210:A2 | GEN
AF0182:12 | KA6211A1 | WHT | 20 | 180 | KA6211:A1 | GEN
AF0182:28 | KA6211A2 | WHT | 20 | 180 | KA6211:A2 | GEN
AF0182:15 | KA6213A1 | WHT | 20 | 180 | KA6213:A1 | GEN
AF0182:31 | KA6213A2 | WHT | 20 | 180 | KA6213:A2 | GEN
KA0184:A1 | KA018954 | WHT | 20 | 180 | XT0121:5 | GEN | KA/XT - GEN
XT0180:8 | FU0659 | WHT | 20 | 180 | XT0121:4 | GEN
XT6210:16 | KA621021 | WHT | 16 | 180 | KA6210:21 | GEN
XT6210:17 | KA621024 | WHT | 16 | 180 | KA6210:24 | GEN
XT6210:18 | KA621121 | WHT | 16 | 180 | KA6211:21 | GEN
XT6210:19 | KA621124 | WHT | 16 | 180 | KA6211:24 | GEN
XT6210:20 | KA621321 | WHT | 16 | 180 | KA6213:21 | GEN
XT6210:21 | KA621324 | WHT | 16 | 180 | KA6213:24 | GEN
GR0180: | GR0180 | GRN | 14 | 140 | IEG0010:3 | DC PWR | EXTERNAL GROUNDS
GR0650: | GR0650 | GRN | 14 | 140 | IEG0010:4 | DC PWR
XT1170:1 | PT1170S | GRN | 14 | 140 | IEG0010:10 | DC PWR
AF0183:SH | IEG00116 | GRN | 14 | 80 | IEG0011:6 | CTRL1
AF0655:SH | IEG00117 | GRN | 14 | 80 | IEG0011:7 | CTRL1

## VIB(B)_S
JB71 B,PNL VIB
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0410:53 | -0V | WHT | 16 | 60 | XT0401:1 | VIB | AF0400's
AF0410:54 | AF0410N | WHT | 16 | 60 | AF0420:53 | VIB
AF0410:55 | FU0400 | WHT | 16 | 60 | FU0400:LD | VIB
AF0410:56 | AF0410P | WHT | 16 | 60 | AF0420:55 | VIB
AF0420:54 | AF0420N | WHT | 16 | 60 | AF0450:53 | VIB
AF0420:56 | AF0420P | WHT | 16 | 60 | AF0450:55 | VIB
AF0450:54 | AF0450N | WHT | 16 | 60 | AF0510:53 | VIB
AF0450:56 | AF0450P | WHT | 16 | 60 | AF0510:55 | VIB
AT0680:NEG | -0V | WHT | 14 | 60 | XT0401:7 | VIB | AT0680
AT0680:POS | FU0680 | WHT | 14 | 60 | XT0401:8 | VIB
FU0680:LD | FU0680 | WHT | 14 | 60 | XT0401:8 | VIB | FU
FU0412:LI | FU0136 | WHT | 12 | 60 | FU0413:LI | VIB
FU0414:LI | FU0136 | WHT | 12 | 60 | FU0680:LI | VIB
FU0400:LI | FU0136 | WHT | 12 | 180 | XT0002:3 | DC | FU/XT - DC
XT0401:1 | -0V | WHT | 12 | 180 | XT0003:3 | DC

## GEN(B)_S
JB71 B,PNL GEN CTRL
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0121:02 | -012102 | WHT | 20 | 60 | XT0144:2 | GEN | AU/AF
AF0121:03 | -012103 | WHT | 20 | 60 | XT0125:7 | GEN
AF0121:07 | -012107 | WHT | 20 | 60 | XT0124:2 | GEN
AF0121:08 | -012108 | WHT | 20 | 60 | XT0121:7 | GEN
AF0121:11 | -012111 | WHT | 20 | 60 | XT0124:5 | GEN
AF0121:12 | -012112 | WHT | 20 | 60 | XT0124:6 | GEN
AF0121:34 | -012134 | WHT | 20 | 60 | XT0144:1 | GEN
AF0121:40 | -012140 | WHT | 20 | 60 | XT0121:6 | GEN
AF0122:04 | -012204 | WHT | 20 | 60 | XT4002:2 | GEN
AF0122:05 | -012205 | WHT | 20 | 60 | XT4002:4 | GEN
AF0122:06 | -012206 | WHT | 20 | 60 | XT4002:6 | GEN
AF0122:09 | -012209 | WHT | 20 | 60 | XT4002:11 | GEN
AF0122:11 | -012211 | WHT | 20 | 60 | XT0128:2 | GEN
AF0122:12 | -012212 | WHT | 20 | 60 | XT0128:4 | GEN
AF0122:13 | -012213 | WHT | 20 | 60 | XT0128:6 | GEN
AF0122:36 | -012236 | WHT | 20 | 60 | XT4002:1 | GEN
AF0122:37 | -012237 | WHT | 20 | 60 | XT4002:3 | GEN
AF0122:38 | -012238 | WHT | 20 | 60 | XT4002:5 | GEN
AF0122:41 | -012241 | WHT | 20 | 60 | XT4002:10 | GEN
AF0122:43 | -012243 | WHT | 20 | 60 | XT0128:1 | GEN
AF0122:44 | -012244 | WHT | 20 | 60 | XT0128:3 | GEN
AF0122:45 | -012245 | WHT | 20 | 60 | XT0128:5 | GEN
AF0121:15 | AF012115 | WHT | 20 | 60 | XT0123:2 | GEN
AF0122:01 | AF012201 | WHT | 20 | 60 | XT0123:4 | GEN
AF0122:03 | AF012203 | WHT | 20 | 60 | XT0123:6 | GEN
AF0121:04 | GENCBGRNDFB | WHT | 20 | 60 | XT0125:6 | GEN
AF0121:01 | GENCBREADY | WHT | 20 | 60 | XT0125:5 | GEN
AU0120:COM | -0V | WHT | 16 | 60 | XT0120:2 | GEN
AF0123:COM | -0V | WHT | 16 | 60 | XT0120:2 | GEN
AF0124:COM | -0V | WHT | 16 | 60 | XT0120:3 | GEN
AU0120:V+ | FU0121 | WHT | 16 | 80 | FU0121:LD | GEN
AF0123:V+ | FU0122 | WHT | 16 | 60 | FU0122:LD | GEN
AF0124:V+ | FU0123 | WHT | 16 | 60 | FU0123:LD | GEN
FV0721:21 | FV072121 | WHT | 20 | 80 | AF0121:42 | GEN | FV
FV0721:14 | FV072114 | WHT | 20 | 80 | AF0121:10 | GEN
FV0722:14 | FV072214 | WHT | 20 | 80 | AF0121:13 | GEN
FV0722:21 | FV072221 | WHT | 20 | 80 | AF0121:45 | GEN
QF0781:11 | QF078111 | WHT | 20 | 60 | AF0121:37 | GEN | QF
QF0784:14 | QF078414 | WHT | 20 | 60 | AF0121:05 | GEN
QF0781:14 | QF078211 | WHT | 20 | 60 | QF0782:11 | GEN
QF0782:14 | QF078311 | WHT | 20 | 60 | QF0783:11 | GEN
QF0783:14 | QF078411 | WHT | 20 | 60 | QF0784:11
KA0123:A1 | KA0123A1 | WHT | 20 | 80 | KA0313:A1 | GEN | KA A1
KA0123:A1 | KA0123A1 | WHT | 20 | 60 | AF0123:03 | GEN
KA0128:A1 | KA0128A1 | WHT | 20 | 60 | AF0123:02 | GEN
KA0185:A1 | KA0185A1 | WHT | 20 | 60 | KA0365:14 | GEN
KA0186:A1 | KA0186A1 | WHT | 20 | 60 | KA0365:24 | GEN
KA0330:A1 | KA0330A1 | WHT | 20 | 60 | XT0125:3 | GEN
KA0336:A1 | KA0336A1 | WHT | 20 | 60 | XT0125:4 | GEN
KA0351:A1 | KA0351A1 | WHT | 20 | 60 | XT0123:3 | GEN
KA0352:A1 | KA0352A1 | WHT | 20 | 60 | XT0123:5 | GEN
KA0365:A1 | KA0365A1 | WHT | 20 | 60 | KA0364:14 | GEN
KA4001:A1 | AF012310 | WHT | 16 | 60 | AF0123:10 | GEN
KA4002:A1 | AF012311 | WHT | 16 | 60 | AF0123:11 | GEN
KA4003:A1 | AF012312 | WHT | 16 | 60 | AF0123:12 | GEN
KA0310:A1 | FU0124 | WHT | 16 | 60 | XT0120:8 | GEN
KA0330:A2 | -0V | WHT | 20 | 60 | XT0120:6 | GEN | KA A2
KA0351:A2 | -0V | WHT | 20 | 60 | XT0120:6 | GEN
KA0365:A2 | -0V | WHT | 20 | 60 | XT0120:4 | GEN
KA0123:A2 | KA0123A2 | WHT | 20 | 80 | KA0313:A2 | GEN
KA0123:A2 | KA0123A2 | WHT | 20 | 60 | AF0123:19 | GEN
KA0128:A2 | KA0128A2 | WHT | 20 | 60 | AF0123:18 | GEN
KA0185:A2 | KA0185A2 | WHT | 20 | 60 | AF0123:17 | GEN
KA0186:A2 | KA0186A2 | WHT | 20 | 60 | AF0123:22 | GEN
KA4001:A2 | AF012326 | WHT | 16 | 60 | AF0123:26 | GEN
KA4002:A2 | AF012327 | WHT | 16 | 60 | AF0123:27 | GEN
KA4003:A2 | AF012328 | WHT | 16 | 60 | AF0123:28 | GEN
KA0185:11 | KA018511 | WHT | 20 | 60 | AF0123:00 | GEN | KA
KA0186:11 | KA018611 | WHT | 20 | 60 | AF0123:05 | GEN
KA0128:11 | KA023514 | WHT | 20 | 60 | XT0121:3 | GEN
KA0310:11 | KA031011 | WHT | 20 | 60 | AF0121:38 | GEN
KA0310:14 | KA031014 | WHT | 20 | 60 | AF0121:06 | GEN
KA0330:11 | KA033011 | WHT | 20 | 60 | AF0121:32 | GEN
KA0330:14 | KA033014 | WHT | 20 | 60 | AF0121:00 | GEN
KA0351:14 | KA035111 | WHT | 20 | 60 | AF0122:32 | GEN
KA0351:11 | KA035114 | WHT | 20 | 60 | AF0122:00 | GEN
KA0310:22 | KA035121 | WHT | 20 | 60 | KA0351:21 | GEN
KA0352:14 | KA035211 | WHT | 20 | 60 | AF0122:34 | GEN
KA0352:11 | KA035214 | WHT | 20 | 60 | AF0122:02 | GEN
KA0365:11 | KA036511 | WHT | 20 | 60 | AF0123:01 | GEN
KA0365:21 | KA036521 | WHT | 20 | 60 | AF0123:06 | GEN
KA4001:11 | KA400111 | WHT | 20 | 60 | XT4001:3 | GEN
KA4001:14 | KA400114 | WHT | 20 | 60 | XT4001:4 | GEN
KA4002:11 | KA400211 | WHT | 20 | 60 | XT4001:5 | GEN
KA4002:14 | KA400214 | WHT | 20 | 60 | XT4001:6 | GEN
KA4003:11 | KA400311 | WHT | 20 | 60 | XT4001:7 | GEN
KA4003:14 | KA400314 | WHT | 20 | 60 | XT4001:8 | GEN
KA0123:11 | FU0124 | WHT | 16 | 60 | XT0120:8 | GEN
KA0333:A2 | -0V | WHT | 20 | 60 | XT0120:4 | GEN | KA LRG
KA0189:53 | FU0659 | WHT | 20 | 60 | XT0121:4 | GEN
KA0189:54 | KA018954 | WHT | 20 | 60 | XT0121:5 | GEN
KA0332:A1 | KA0332A1 | WHT | 20 | 60 | KA0185:14 | GEN
KA0332:A2 | KA0332A2 | WHT | 20 | 80 | AF0123:16 | GEN
KA0333:A1 | KA0333A1 | WHT | 20 | 60 | KA0352:22 | GEN
KA0342:A1 | KA0342A1 | WHT | 20 | 60 | KA0186:14 | GEN
KA0342:A2 | KA0342A2 | WHT | 20 | 80 | AF0123:21 | GEN
KA0364:11 | FU0125 | WHT | 16 | 60 | FU0125:LD | GEN
KA0188:61 | KA018861 | WHT | 16 | 80 | AF0123:09 | GEN
KA0188:A1 | KA0188A1 | WHT | 16 | 60 | KA0189:62 | GEN
KA0188:A2 | KA0188A2 | WHT | 16 | 60 | AF0123:20 | GEN
KA0189:61 | KA018961 | WHT | 16 | 80 | AF0123:04 | GEN
KA0188:62 | KA0189A1 | WHT | 16 | 60 | KA0189:A1 | GEN
KA0189:A2 | KA0189A2 | WHT | 16 | 60 | AF0123:25 | GEN
KA0333:21 | XT03371 | WHT | 16 | 60 | XT0337:1 | GEN
KA0333:32 | XT03372 | WHT | 16 | 60 | XT0337:2 | GEN
KA0333:13 | XT03373 | WHT | 16 | 60 | XT0337:3 | GEN
KA0333:44 | XT03374 | WHT | 16 | 60 | XT0337:4 | GEN
KA0332:13 | XT03375 | WHT | 16 | 60 | XT0337:5 | GEN
KA0332:24 | XT03376 | WHT | 16 | 60 | XT0337:6 | GEN
KA0342:13 | XT03381 | WHT | 16 | 60 | XT0338:1 | GEN
KA0342:24 | XT03382 | WHT | 16 | 60 | XT0338:2 | GEN
XT0120:3 | -0V | WHT | 16 | 60 | XT0120:9 | GEN | FU/XT
XT4001:2 | -0V | WHT | 16 | 60 | XT0120:5 | GEN
FU0124:LD | FU0124 | WHT | 16 | 60 | XT0120:8 | GEN
FU0126:LD | FU0126 | WHT | 16 | 60 | XT0128:7 | GEN
FU0126:LD | FU0126 | WHT | 16 | 60 | XT4001:1 | GEN
FU0127:LD | FU0127 | WHT | 16 | 60 | XT0124:1 | GEN
XT0120:7 | FU0127 | WHT | 16 | 60 | XT0123:1 | GEN
XT0125:1 | FU0127 | WHT | 16 | 60 | XT0120:7 | GEN
FU0125:LD | FU0125 | WHT | 14 | 60 | XT0121:2 | GEN | MRCA 1992851
FU0121:LI | FU0120 | WHT | 14 | 80 | FU0120:LD | GEN
AT0140:3 EX-D(-) | -0V | WHT | 16 | 80 | XT0120:10 | GEN | AT0140
AT0140:30 FLT | -0V | WHT | 16 | 60 | AT0140:48 BAT(-) | GEN
AT0140:30 FLT | -0V | WHT | 16 | 80 | XT0120:9 | GEN
AT0140:34 ID RES(-) | AT014034 | WHT | 16 | 60 | AT0140:42 ID(+) | GEN
AT0140:47 BAT(+) | FU0124 | WHT | 16 | 80 | XT0120:8 | GEN
AT0140:4 EX-D(+) | KA012314 | WHT | 16 | 80 | KA0123:14 | GEN
AT0140:29 FLT | KA0310A2 | WHT | 16 | 80 | KA0310:A2 | GEN
AT0140:20 VBUS-N | BUSPTN | RED | 16R | 100 | XT0780:12 | GEN | AT RED
AT0140:18 VBUS-B | QF07812 | RED | 16R | 120 | XT0122:1 | GEN
AT0140:17 VBUS-A | QF07822 | RED | 16R | 120 | XT0122:3 | GEN
AT0140:15 VGEN-C | XT07822 | RED | 16R | 100 | XT0782:2 | GEN
AT0140:14 VGEN-B | XT07823 | RED | 16R | 100 | XT0782:3 | GEN
AT0140:13 VGEN-A | XT07825 | RED | 16R | 100 | XT0782:5 | GEN
AT0140:16 VGEN-N | XT07827 | RED | 16R | 120 | XT0122:11 | GEN
AT0140:28 ID RLY | XT01411 | BLU | 12B | 120 | XT0141:1 | GEN | AT BLU
AT0140:43 ID(-) | XT01412 | BLU | 12B | 120 | XT0141:2 | GEN
AT0140:27 ID RLY | XT01413 | BLU | 12B | 120 | XT0141:3 | GEN
AT0140:33 ID RES(+) | XT01414 | BLU | 12B | 120 | XT0141:4 | GEN
AT0140:41 I3(-) | XT07831 | BLU | 12B | 120 | XT0783:1 | GEN
AT0140:39 I2(-) | XT07832 | BLU | 12B | 120 | XT0783:2 | GEN
AT0140:37 I1(-) | XT07833 | BLU | 12B | 120 | XT0783:3 | GEN
AT0140:40 I3(+) | XT07835 | BLU | 12B | 120 | XT0783:5 | GEN
AT0140:38 I2(+) | XT07836 | BLU | 12B | 120 | XT0783:6 | GEN
AT0140:36 I1(+) | XT07837 | BLU | 12B | 120 | XT0783:7 | GEN
FV0722:L1 | QF07812 | RED | 16R | 60 | XT0122:1 | GEN | FV RD
FV0722:L2 | QF07814 | RED | 16R | 60 | XT0122:2 | GEN
FV0722:L3 | QF07816 | RED | 16R | 80 | QF0781:6 | GEN
FV0721:L1 | QF07822 | RED | 16R | 60 | XT0122:3 | GEN
FV0721:L2 | QF07824 | RED | 16R | 60 | XT0122:4 | GEN
FV0721:L3 | QF07826 | RED | 16R | 80 | QF0782:6 | GEN
QF0781:1 | UTLPTA | RED | 16R | 60 | XT0780:1 | GEN | QF RD
QF0781:2 | QF07812 | RED | 16R | 60 | XT0122:1 | GEN
QF0781:3 | UTLPTB | RED | 16R | 60 | XT0780:2 | GEN
QF0781:4 | QF07814 | RED | 16R | 60 | XT0122:2 | GEN
QF0781:5 | UTLPTC | RED | 16R | 60 | XT0780:3 | GEN
QF0782:1 | BUSPTA | RED | 16R | 60 | XT0780:9 | GEN
QF0782:2 | QF07822 | RED | 16R | 60 | XT0122:3 | GEN
QF0782:3 | BUSPTB | RED | 16R | 60 | XT0780:10 | GEN
QF0782:4 | QF07824 | RED | 16R | 60 | XT0122:4 | GEN
QF0782:5 | BUSPTC | RED | 16R | 60 | XT0780:11 | GEN
QF0783:1 | BUSPTA | RED | 16R | 60 | XT0780:5 | GEN
QF0783:2 | QF07832 | RED | 16R | 80 | KA0189:33 | GEN
QF0783:3 | BUSPTB | RED | 16R | 60 | XT0780:6 | GEN
QF0783:4 | QF07834 | RED | 16R | 80 | KA0189:43 | GEN
QF0783:5 | BUSPTC | RED | 16R | 60 | XT0780:7 | GEN
QF0784:1 | XT07809 | RED | 16R | 60 | XT0780:13 | GEN
QF0784:2 | QF07842 | RED | 16R | 80 | KA0188:33 | GEN
QF0784:3 | XT078010 | RED | 16R | 60 | XT0780:14 | GEN
QF0784:4 | QF07844 | RED | 16R | 80 | KA0188:43 | GEN
QF0784:5 | XT078011 | RED | 16R | 60 | XT0780:15 | GEN
KA0188:13 | QF07822 | RED | 16R | 60 | XT0122:10 | GEN | KA RD
KA0188:14 | KA018914 | RED | 16R | 60 | XT0122:5 | GEN
KA0188:23 | QF07824 | RED | 16R | 60 | XT0122:9 | GEN
KA0188:24 | KA018924 | RED | 16R | 60 | XT0122:6 | GEN
KA0188:34 | KA018934 | RED | 16R | 60 | XT0122:7 | GEN
KA0188:44 | KA018944 | RED | 16R | 60 | XT0122:8 | GEN
KA0189:13 | QF07812 | RED | 16R | 60 | XT0122:1 | GEN
KA0189:14 | KA018914 | RED | 16R | 60 | XT0122:5 | GEN
KA0189:23 | QF07814 | RED | 16R | 60 | XT0122:2 | GEN
KA0189:24 | KA018924 | RED | 16R | 60 | XT0122:6 | GEN
KA0189:34 | KA018934 | RED | 16R | 60 | XT0122:7 | GEN
KA0189:44 | KA018944 | RED | 16R | 60 | XT0122:8 | GEN
KA0364:1-GEN | KA018934 | RED | 16R | 60 | XT0122:7 | GEN
KA0364:2-GEN | KA018944 | RED | 16R | 60 | XT0122:8 | GEN
KA0364:3-BUS | KA018914 | RED | 16R | 60 | XT0122:5 | GEN
KA0364:4-BUS | KA018924 | RED | 16R | 60 | XT0122:6 | GEN
XT0122:10 | QF07822 | RED | 16R | 60 | XT0122:3 | GEN | XT RD
XT0122:9 | QF07824 | RED | 16R | 60 | XT0122:4 | GEN
XT0122:11 | XT07827 | RED | 16R | 80 | XT0782:7 | GEN
XT0782:1 | XT07827 | RED | 16R | 80 | XT0122:11 | GEN
FU0120:LI | FU0136 | WHT | 12 | 240 | XT0002:4 | DC | FU/XT - DC
XT0120:1 | -0V | WHT | 12 | 240 | XT0003:4 | DC
XT0142:3 | EXCS | GRN/YEL | 16 | 140 | PEG0130:2 | DC PWR | EXTERNAL GROUNDS
XT0313:2 | PMGS | GRN/YEL | 16 | 140 | PEG0130:3 | DC PWR
GR0120: | GR0120 | GRN | 14 | 100 | IEG0010:12 | DC PWR
AF0124:SH | IEG001011 | GRN | 14 | 120 | IEG0010:11 | DC PWR
XT0140:3 | XT01403 | GRN | 14 | 100 | IEG0010:9 | DC PWR

## EQP PWR(C)_S
JB71 C,PNL EQP PWR
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UV0170:2(-) | -0V | WHT | 14 | 60 | XT0175:1 | EQP PWR | UV
UV0170:4(-) | -0V | WHT | 14 | 60 | XT0175:1 | EQP PWR
UV0170:1(+) | FU0170 | WHT | 14 | 60 | XT0175:5 | EQP PWR
UV0170:3(+) | FU0170 | WHT | 14 | 60 | XT0175:5 | EQP PWR
FU0171:LD | FU0171 | WHT | 14 | 60 | XT0175:6 | EQP PWR | FU
FU0172:LD | FU0172 | WHT | 14 | 60 | XT0175:7 | EQP PWR
FU0170:LD | FU0170 | WHT | 12 | 60 | XT0175:5 | EQP PWR
FU0171:LI | FU0170 | WHT | 12 | 60 | FU0172:LI | EQP PWR
FU0171:LI | FU0170 | WHT | 12 | 60 | XT0175:5 | EQP PWR
FU0170:LI | FU0136 | WHT | 12 | 120 | XT0002:3 | DC | FU/XT - DC
XT0175:1 | -0V | WHT | 12 | 120 | XT0003:3 | DC

## DC(B)_S
JB71 B,PNL DC PWR
Project # | ANG02
Project Name | STOCK2
Revision | A.4
Controls DE | Poovarasan M
Phone:
Controls ME
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
XT0003:7 | -0V | WHT | 14 | 60 | XT0004:3 | DC | XT / FU
XT0005:3 | -0V | WHT | 14 | 60 | XT0003:7 | DC
FU0004:LD | FU0004 | WHT | 14 | 60 | XT0004:1 | DC
FU0005:LD | FU0005 | WHT | 14 | 60 | XT0005:1 | DC
FU0004:LI | FU0136 | WHT | 14 | 60 | XT0002:7 | DC
FU0005:LI | FU0136 | WHT | 14 | 60 | XT0002:7 | DC
FU0011:LD | FU0011 | WHT | 12 | 60 | UJ0131:+ | DC
UJ0131:- | QF7752NEG | WHT | 12 | 60 | XT0011:2 | DC
FU0011:LI | QF7752POS | WHT | 12 | 60 | XT0011:1 | DC

## Bundle Tag Info
STOCK 2
ANG02
A.4
LIGHTS | DOOR CTRL | DOOR OPR | DOOR EQP | CTRL 2 | CTRL 1 | EQP CTRL | CUST | VIB | GEN | EQP PWR | DC | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
EL0 | AT | HA0472 | HL0171 | UA1200 | PC0470 | AT0170 | AF0180'S | AF0400's | AU/AF | UV | XT / FU
|  | SA0471 | HL0172 | AU/AF0060's | AU / AF | AT0175 | AF0650'S | AT0680 | FV | FU
|  | SA0473 | SA0170 | AU/AF0380's | UV0600 | AT0176 | KA A1 | FU | QF | FU/XT - DC
|  | SA0475 | SH6500 | KA A1 | FU | AT0178 | KA A2 | FU/XT - DC | KA A1
|  | SB0333 |  | KA A2 | AF - CUST | KA | KA |  | KA A2
|  | SB0471 |  | KA ICE CUBE | XT - DC | XT | FU/XT |  | KA
|  | SB0472 |  | KA Doubles | XT - GEN | XT - CUST | FU/XT - DC |  | KA LRG
|  | SB0473 |  | KA | XT - EQP CTRL | AT - EQP PWR | AF-GEN |  | FU/XT
|  | SB0474 |  | KT |  | XT - EQP PWR | KA/XT - GEN |  | AT0140
|  | SH0470 |  | XT/FU |  |  |  |  | AT RED
|  | SH0471 |  | KA/KT - CTRL1 |  |  |  |  | AT BLU
|  | SH0472 |  | XT - CTRL1 |  |  |  |  | FV RD
|  |  |  | AF - CUST |  |  |  |  | QF RD
|  |  |  | KA/XT - CUST |  |  |  |  | KA RD
|  |  |  | AF/FU/XT - DC |  |  |  |  | XT RD
|  |  |  | XT - GEN |  |  |  |  | FU/XT - DC
XT - EQP CTRL

## Bundle Tags2
LIGHTS | DOOR CTRL | DOOR OPR | DOOR EQP | CTRL 2 | CTRL 1 | EQP CTRL | CUST | VIB | GEN | EQP PWR | DC
STOCK 2 ANG02 A.4 LIGHTS EL0 | STOCK 2 ANG02 A.4 DOOR CTRL AT | STOCK 2 ANG02 A.4 DOOR OPR HA0472 | STOCK 2 ANG02 A.4 DOOR EQP HL0171 | STOCK 2 ANG02 A.4 CTRL 2 UA1200 | STOCK 2 ANG02 A.4 CTRL 1 PC0470 | STOCK 2 ANG02 A.4 EQP CTRL AT0170 | STOCK 2 ANG02 A.4 CUST AF0180'S | STOCK 2 ANG02 A.4 VIB AF0400's | STOCK 2 ANG02 A.4 GEN AU/AF | STOCK 2 ANG02 A.4 EQP PWR UV | STOCK 2 ANG02 A.4 DC XT / FU
|  | STOCK 2 ANG02 A.4 DOOR OPR SA0471 | STOCK 2 ANG02 A.4 DOOR EQP HL0172 | STOCK 2 ANG02 A.4 CTRL 2 AU/AF0060's | STOCK 2 ANG02 A.4 CTRL 1 AU / AF | STOCK 2 ANG02 A.4 EQP CTRL AT0175 | STOCK 2 ANG02 A.4 CUST AF0650'S | STOCK 2 ANG02 A.4 VIB AT0680 | STOCK 2 ANG02 A.4 GEN FV | STOCK 2 ANG02 A.4 EQP PWR FU
|  | STOCK 2 ANG02 A.4 DOOR OPR SA0473 | STOCK 2 ANG02 A.4 DOOR EQP SA0170 | STOCK 2 ANG02 A.4 CTRL 2 AU/AF0380's | STOCK 2 ANG02 A.4 CTRL 1 UV0600 | STOCK 2 ANG02 A.4 EQP CTRL AT0176 | STOCK 2 ANG02 A.4 CUST KA A1 | STOCK 2 ANG02 A.4 VIB FU | STOCK 2 ANG02 A.4 GEN QF | STOCK 2 ANG02 A.4 EQP PWR FU/XT - DC
|  | STOCK 2 ANG02 A.4 DOOR OPR SA0475 | STOCK 2 ANG02 A.4 DOOR EQP SH6500 | STOCK 2 ANG02 A.4 CTRL 2 KA A1 | STOCK 2 ANG02 A.4 CTRL 1 FU | STOCK 2 ANG02 A.4 EQP CTRL AT0178 | STOCK 2 ANG02 A.4 CUST KA A2 | STOCK 2 ANG02 A.4 VIB FU/XT - DC | STOCK 2 ANG02 A.4 GEN KA A1
|  | STOCK 2 ANG02 A.4 DOOR OPR SB0333 |  | STOCK 2 ANG02 A.4 CTRL 2 KA A2 | STOCK 2 ANG02 A.4 CTRL 1 AF - CUST | STOCK 2 ANG02 A.4 EQP CTRL KA | STOCK 2 ANG02 A.4 CUST KA |  | STOCK 2 ANG02 A.4 GEN KA A2
|  | STOCK 2 ANG02 A.4 DOOR OPR SB0471 |  | STOCK 2 ANG02 A.4 CTRL 2 KA ICE CUBE | STOCK 2 ANG02 A.4 CTRL 1 XT - DC | STOCK 2 ANG02 A.4 EQP CTRL XT | STOCK 2 ANG02 A.4 CUST FU/XT |  | STOCK 2 ANG02 A.4 GEN KA
|  | STOCK 2 ANG02 A.4 DOOR OPR SB0472 |  | STOCK 2 ANG02 A.4 CTRL 2 KA Doubles | STOCK 2 ANG02 A.4 CTRL 1 XT - GEN | STOCK 2 ANG02 A.4 EQP CTRL XT - CUST | STOCK 2 ANG02 A.4 CUST FU/XT - DC |  | STOCK 2 ANG02 A.4 GEN KA LRG
|  | STOCK 2 ANG02 A.4 DOOR OPR SB0473 |  | STOCK 2 ANG02 A.4 CTRL 2 KA | STOCK 2 ANG02 A.4 CTRL 1 XT - EQP CTRL | STOCK 2 ANG02 A.4 EQP CTRL AT - EQP PWR | STOCK 2 ANG02 A.4 CUST AF-GEN |  | STOCK 2 ANG02 A.4 GEN FU/XT
|  | STOCK 2 ANG02 A.4 DOOR OPR SB0474 |  | STOCK 2 ANG02 A.4 CTRL 2 KT |  | STOCK 2 ANG02 A.4 EQP CTRL XT - EQP PWR | STOCK 2 ANG02 A.4 CUST KA/XT - GEN |  | STOCK 2 ANG02 A.4 GEN AT0140
|  | STOCK 2 ANG02 A.4 DOOR OPR SH0470 |  | STOCK 2 ANG02 A.4 CTRL 2 XT/FU |  |  |  |  | STOCK 2 ANG02 A.4 GEN AT RED
|  | STOCK 2 ANG02 A.4 DOOR OPR SH0471 |  | STOCK 2 ANG02 A.4 CTRL 2 KA/KT - CTRL1 |  |  |  |  | STOCK 2 ANG02 A.4 GEN AT BLU
|  | STOCK 2 ANG02 A.4 DOOR OPR SH0472 |  | STOCK 2 ANG02 A.4 CTRL 2 XT - CTRL1 |  |  |  |  | STOCK 2 ANG02 A.4 GEN FV RD
|  |  |  | STOCK 2 ANG02 A.4 CTRL 2 AF - CUST |  |  |  |  | STOCK 2 ANG02 A.4 GEN QF RD
|  |  |  | STOCK 2 ANG02 A.4 CTRL 2 KA/XT - CUST |  |  |  |  | STOCK 2 ANG02 A.4 GEN KA RD
|  |  |  | STOCK 2 ANG02 A.4 CTRL 2 AF/FU/XT - DC |  |  |  |  | STOCK 2 ANG02 A.4 GEN XT RD
|  |  |  | STOCK 2 ANG02 A.4 CTRL 2 XT - GEN |  |  |  |  | STOCK 2 ANG02 A.4 GEN FU/XT - DC
STOCK 2 ANG02 A.4 CTRL 2 XT - EQP CTRL

## ALL
LIGHTS | DOOR CTRL | DOOR OPR | DOOR EQP | CTRL 2 | CTRL 1 | EQP CTRL | CUST | VIB | GEN | EQP PWR | DC
STOCK 2 ANG02 A.4 LIGHTS EL0 | STOCK 2 ANG02 A.4 DOOR CTRL AT | STOCK 2 ANG02 A.4 DOOR OPR HA0472 | STOCK 2 ANG02 A.4 DOOR EQP HL0171 | STOCK 2 ANG02 A.4 CTRL 2 UA1200 | STOCK 2 ANG02 A.4 CTRL 1 PC0470 | STOCK 2 ANG02 A.4 EQP CTRL AT0170 | STOCK 2 ANG02 A.4 CUST AF0180'S | STOCK 2 ANG02 A.4 VIB AF0400's | STOCK 2 ANG02 A.4 GEN AU/AF | STOCK 2 ANG02 A.4 EQP PWR UV | STOCK 2 ANG02 A.4 DC XT / FU
|  | STOCK 2 ANG02 A.4 DOOR OPR SA0471 | STOCK 2 ANG02 A.4 DOOR EQP HL0172 | STOCK 2 ANG02 A.4 CTRL 2 AU/AF0060's | STOCK 2 ANG02 A.4 CTRL 1 AU / AF | STOCK 2 ANG02 A.4 EQP CTRL AT0175 | STOCK 2 ANG02 A.4 CUST AF0650'S | STOCK 2 ANG02 A.4 VIB AT0680 | STOCK 2 ANG02 A.4 GEN FV | STOCK 2 ANG02 A.4 EQP PWR FU
|  | STOCK 2 ANG02 A.4 DOOR OPR SA0473 | STOCK 2 ANG02 A.4 DOOR EQP SA0170 | STOCK 2 ANG02 A.4 CTRL 2 AU/AF0380's | STOCK 2 ANG02 A.4 CTRL 1 UV0600 | STOCK 2 ANG02 A.4 EQP CTRL AT0176 | STOCK 2 ANG02 A.4 CUST KA A1 | STOCK 2 ANG02 A.4 VIB FU | STOCK 2 ANG02 A.4 GEN QF | STOCK 2 ANG02 A.4 EQP PWR FU/XT - DC
|  | STOCK 2 ANG02 A.4 DOOR OPR SA0475 | STOCK 2 ANG02 A.4 DOOR EQP SH6500 | STOCK 2 ANG02 A.4 CTRL 2 KA A1 | STOCK 2 ANG02 A.4 CTRL 1 FU | STOCK 2 ANG02 A.4 EQP CTRL AT0178 | STOCK 2 ANG02 A.4 CUST KA A2 | STOCK 2 ANG02 A.4 VIB FU/XT - DC | STOCK 2 ANG02 A.4 GEN KA A1
|  | STOCK 2 ANG02 A.4 DOOR OPR SB0333 |  | STOCK 2 ANG02 A.4 CTRL 2 KA A2 | STOCK 2 ANG02 A.4 CTRL 1 AF - CUST | STOCK 2 ANG02 A.4 EQP CTRL KA | STOCK 2 ANG02 A.4 CUST KA |  | STOCK 2 ANG02 A.4 GEN KA A2
|  | STOCK 2 ANG02 A.4 DOOR OPR SB0471 |  | STOCK 2 ANG02 A.4 CTRL 2 KA ICE CUBE | STOCK 2 ANG02 A.4 CTRL 1 XT - DC | STOCK 2 ANG02 A.4 EQP CTRL XT | STOCK 2 ANG02 A.4 CUST FU/XT |  | STOCK 2 ANG02 A.4 GEN KA
|  | STOCK 2 ANG02 A.4 DOOR OPR SB0472 |  | STOCK 2 ANG02 A.4 CTRL 2 KA Doubles | STOCK 2 ANG02 A.4 CTRL 1 XT - GEN | STOCK 2 ANG02 A.4 EQP CTRL XT - CUST | STOCK 2 ANG02 A.4 CUST FU/XT - DC |  | STOCK 2 ANG02 A.4 GEN KA LRG
|  | STOCK 2 ANG02 A.4 DOOR OPR SB0473 |  | STOCK 2 ANG02 A.4 CTRL 2 KA | STOCK 2 ANG02 A.4 CTRL 1 XT - EQP CTRL | STOCK 2 ANG02 A.4 EQP CTRL AT - EQP PWR | STOCK 2 ANG02 A.4 CUST AF-GEN |  | STOCK 2 ANG02 A.4 GEN FU/XT
|  | STOCK 2 ANG02 A.4 DOOR OPR SB0474 |  | STOCK 2 ANG02 A.4 CTRL 2 KT |  | STOCK 2 ANG02 A.4 EQP CTRL XT - EQP PWR | STOCK 2 ANG02 A.4 CUST KA/XT - GEN |  | STOCK 2 ANG02 A.4 GEN AT0140
|  | STOCK 2 ANG02 A.4 DOOR OPR SH0470 |  | STOCK 2 ANG02 A.4 CTRL 2 XT/FU |  |  |  |  | STOCK 2 ANG02 A.4 GEN AT RED
|  | STOCK 2 ANG02 A.4 DOOR OPR SH0471 |  | STOCK 2 ANG02 A.4 CTRL 2 KA/KT - CTRL1 |  |  |  |  | STOCK 2 ANG02 A.4 GEN AT BLU
|  | STOCK 2 ANG02 A.4 DOOR OPR SH0472 |  | STOCK 2 ANG02 A.4 CTRL 2 XT - CTRL1 |  |  |  |  | STOCK 2 ANG02 A.4 GEN FV RD
|  |  |  | STOCK 2 ANG02 A.4 CTRL 2 AF - CUST |  |  |  |  | STOCK 2 ANG02 A.4 GEN QF RD
|  |  |  | STOCK 2 ANG02 A.4 CTRL 2 KA/XT - CUST |  |  |  |  | STOCK 2 ANG02 A.4 GEN KA RD
|  |  |  | STOCK 2 ANG02 A.4 CTRL 2 AF/FU/XT - DC |  |  |  |  | STOCK 2 ANG02 A.4 GEN XT RD
|  |  |  | STOCK 2 ANG02 A.4 CTRL 2 XT - GEN |  |  |  |  | STOCK 2 ANG02 A.4 GEN FU/XT - DC
STOCK 2 ANG02 A.4 CTRL 2 XT - EQP CTRL

## Bundle Tag Info
STOCK2 #2
ANG02
A.4
LIGHTS | DOOR CTRL | DOOR OPR | DOOR EQP | CTRL 2 | CTRL 1 | EQP CTRL | CUST | VIB | GEN | EQP PWR | DC | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
EL0 | AT | HA0472 | HL0171 | UA1200 | PC0470 | AT0170 | AF0180'S | AF0400's | AU/AF | UV | XT / FU
|  | SA0471 | HL0172 | AU/AF0060's | AU / AF | AT0175 | AF0650'S | AT0680 | FV | FU
|  | SA0473 | SA0170 | AU/AF0380's | UV0600 | AT0176 | KA A1 | FU | QF | FU/XT - DC
|  | SA0475 | SH6500 | KA A1 | FU | AT0178 | KA A2 | FU/XT - DC | KA A1
|  | SB0333 |  | KA A2 | AF - CUST | KA | KA |  | KA A2
|  | SB0471 |  | KA ICE CUBE | XT - DC | XT | FU/XT |  | KA
|  | SB0472 |  | KA Doubles | XT - GEN | XT - CUST | FU/XT - DC |  | KA LRG
|  | SB0473 |  | KA | XT - EQP CTRL | AT - EQP PWR | AF-GEN |  | FU/XT
|  | SB0474 |  | KT |  | XT - EQP PWR | KA/XT - GEN |  | AT0140
|  | SH0470 |  | XT/FU |  |  |  |  | AT RED
|  | SH0471 |  | KA/KT - CTRL1 |  |  |  |  | AT BLU
|  | SH0472 |  | XT - CTRL1 |  |  |  |  | FV RD
|  |  |  | AF - CUST |  |  |  |  | QF RD
|  |  |  | KA/XT - CUST |  |  |  |  | KA RD
|  |  |  | AF/FU/XT - DC |  |  |  |  | XT RD
|  |  |  | XT - GEN |  |  |  |  | FU/XT - DC
XT - EQP CTRL