## Panel Errors
Panel Errors
Project # | J0401
Project Name | NOC ASABB-C-4401
Revision | 0.1
Controls DE | N.GONZALEZ
Phone: | 0
Controls ME | R.DURAN
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
AT0190:USB2 | CONSOLE | SC |  | * |  | 9.B4 | CC1000:1 | PANEL | 9.C5
TS8000:1 | PANEL | SC | WHT | 006336 | 20 | 25.C5 | AF0063:36 | R SIDE WALL | 25.C7
TS8000:2 | PANEL | SC | WHT | 006304 | 20 | 25.C5 | AF0063:04 | R SIDE WALL | 25.C7
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 1/29/2026 3:49 PM

## CONSOLE_S
CONSOLE
CONTROL CONSOLE & CONTROL CONSOLE (DOOR PANELS)
Project # | J0401
Project Name | NOC ASABB-C-4401
Revision | 0.1
Controls DE | N.GONZALEZ
Phone: | 0
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
EL0273:B1 | ZS0273 | WHT | 14 | 100 | ZS0273:2 | CONSOLE | EL
AT0190:NEG | -0V1 | WHT | 14 | 160 | XT0562:2 | PWR DST RAIL | AT-PDR
AT0190:POS | FU0190 | WHT | 14 | 160 | FU0190:LD | PWR DST RAIL
EL0273:W1 | -0V1 | WHT | 14 | 160 | XT0562:1 | PWR DST RAIL | EL/ZS-PDR
ZS0273:1 | FU0273 | WHT | 14 | 160 | FU0273:LD | PWR DST RAIL

## PWR SUPPLY_S
POWER SUPPLY
Project # | J0401
Project Name | NOC ASABB-C-4401
Revision | 0.1
Controls DE | N.GONZALEZ
Phone: | 0
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UJ0031:IS | UJ0131IS | WHT | 20 | 60 | UJ0131:IS | POWER SUPPLY | UJ/QS
QS0031:LD-3 | UJ0031N | WHT | 12 | 60 | UJ0031:- | POWER SUPPLY
QS0031:LD-1 | UJ0031P | WHT | 12 | 60 | UJ0031:+ | POWER SUPPLY
QS0011:LD-3 | UJ0131N | WHT | 12 | 60 | UJ0131:- | POWER SUPPLY
QS0011:LD-1 | UJ0131P | WHT | 12 | 60 | UJ0131:+ | POWER SUPPLY
UJ0031:IOUT | UJ0031IOUT | WHT | 20 | 240 | AF0094:10 | L BACK | UJ-L BACK
UJ0031:OK1 | UJ0031OK1 | WHT | 20 | 240 | AF0091:42 | L BACK
UJ0031:OK2 | UJ0031OK2 | WHT | 20 | 240 | AF0091:10 | L BACK
UJ0031:VIN | UJ0031VIN | WHT | 20 | 240 | AF0094:08 | L BACK
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 240 | AF0094:06 | L BACK
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 240 | AF0091:41 | L BACK
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 240 | AF0091:09 | L BACK
UJ0131:VIN | UJ0131VIN | WHT | 20 | 240 | AF0094:04 | L BACK
XT0032:3 | -0V | WHT | 12 | 240 | XT0085:3 | L BACK | XT-L BACK
XT0032:1 | -24V | WHT | 12 | 240 | XT0085:1 | L BACK
XT0033:3 | -0V | WHT | 10 | 220 | XT0134:1 | L SIDE WALL | XT-LS WALL
XT0033:2 | -24V | WHT | 10 | 220 | FU0136:LI | L SIDE WALL

## PWR DST RAIL_S
PWR DISTRIBUTION RAIL
CONTROL CONSOLE DOOR (PWR DIST RAIL)
Project # | J0401
Project Name | NOC ASABB-C-4401
Revision | 0.1
Controls DE | N.GONZALEZ
Phone: | 0
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | PWR DST RAIL | AT
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PWR DST RAIL
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PWR DST RAIL | FU
FU0190:LI | FU0200LI | WHT | 14 | 60 | FU0273:LI | PWR DST RAIL
FU0200:LI | FU0200LI | WHT | 14 | 60 | FU0201:LI | PWR DST RAIL
FU0200:LI | FU0200LI | WHT | 14 | 60 | XT0561:1 | PWR DST RAIL
FU0201:LI | FU0200LI | WHT | 14 | 60 | FU0273:LI | PWR DST RAIL
FU0560:LD | FU0200LI | WHT | 14 | 60 | XT0561:1 | PWR DST RAIL
FU0560:LI | FU0139 | WHT | 12 | 60 | XT0560:1 | PWR DST RAIL
XT0563:8 | TCP18B1 | WHT | 20 | 280 | AF0081:37 | L BACK | XT-L BACK
XT0563:9 | TCP18B2 | WHT | 20 | 280 | AF0081:05 | L BACK
XT0561:2 | FU9999L1 | WHT | 14 | 240 | FU9999:LI | L SIDE WALL | XT-LS WALL
XT0560:2 | -0V | WHT | 12 | 240 | XT0134:2 | L SIDE WALL
XT0560:1 | FU0139 | WHT | 12 | 240 | XT0138:2 | L SIDE WALL
FU0680:LI | FU0210 | WHT | 14 | 340 | XT0233:3 | R SIDE WALL | FU/XT-RS WALL
XT0563:4 | -0V | WHT | 20 | 340 | XT0240:9 | R SIDE WALL
XT0563:2 | ESTOPA | WHT | 20 | 340 | XT0240:3 | R SIDE WALL
XT0563:1 | ESTOPB | WHT | 20 | 340 | XT0240:2 | R SIDE WALL
XT0563:6 | FU0139 | WHT | 20 | 340 | XT0240:11 | R SIDE WALL
XT0563:3 | KA023612 | WHT | 20 | 340 | XT0240:13 | R SIDE WALL
XT0563:5 | KA0241A1 | WHT | 20 | 340 | XT0240:6 | R SIDE WALL
XT0680:2 | -0V | WHT | 14 | 340 | XT0235:3 | R SIDE WALL
XT0561:1 | JW4 | CLIP |  |  | XT0561:2 | PWR DST RAIL
Note on D45: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was: [BLANK] Changed to: CLIP MRCA:1990680

## ORBIT_S
ORBIT 60^DOOR PANEL
CONTROL CONSOLE^(ORBIT 60 RACK DOOR PANEL)
Project # | J0401
Project Name | NOC ASABB-C-4401
Revision | 0.1
Controls DE | N.GONZALEZ
Phone: | 0
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AP0612:ARM | -0612ARM | WHT | 20 | 300 | AF0082:38 | L BACK | AP
AP0612:NO | -0612NO | WHT | 20 | 300 | AF0082:06 | L BACK
AP0628:ARM1 | -0628ARM1 | WHT | 20 | 300 | AF0082:39 | L BACK
AP0628:ARM2 | -0628ARM2 | WHT | 20 | 300 | AF0082:40 | L BACK
AP0628:ARM3 | -0628ARM3 | WHT | 20 | 300 | AF0082:41 | L BACK
AP0628:NO1 | -0628NO1 | WHT | 20 | 300 | AF0082:07 | L BACK
AP0628:NO2 | -0628NO2 | WHT | 20 | 300 | AF0082:08 | L BACK
AP0628:NO3 | -0628NO3 | WHT | 20 | 300 | AF0082:09 | L BACK
AP0612:COM | -0612COM | WHT | 20 | 400 | KA0701:14 | L SIDE WALL | AP-LS WALL
AP0612:TM | -0612TM | WHT | 20 | 400 | KA0701:11 | L SIDE WALL
UV0610:+DC | FU0111 | WHT | 14 | 400 | FU0111:LD | L SIDE WALL | UV-LS WALL
UV0611:+DC | FU0112 | WHT | 14 | 400 | FU0112:LD | L SIDE WALL
UV0610:COM | -0V | WHT | 14 | 200 | XT0110:2 | R SIDE WALL | UV-RS WALL
UV0611:COM | -0V | WHT | 14 | 200 | XT0110:3 | R SIDE WALL

## LS WALL_S
LEFT SIDE WALL^PANEL
Project # | J0401
Project Name | NOC ASABB-C-4401
Revision | 0.1
Controls DE | N.GONZALEZ
Phone: | 0
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
FU0082:LD | FU0082 | WHT | 16 | 100 | XT9002:4 | L SIDE WALL | FU
FU0111:LI | FU0110 | WHT | 14 | 100 | FU0110:LD | L SIDE WALL
FU0120:LI | FU0130 | WHT | 14 | 80 | FU0130:LD | L SIDE WALL
FU0010:LI | FU0137 | WHT | 14 | 60 | FU0139:LI | L SIDE WALL
FU0010:LI | FU0137 | WHT | 14 | 60 | XT0139:1 | L SIDE WALL
FU0080:LI | FU0137 | WHT | 14 | 60 | XT0139:1 | L SIDE WALL
FU0090:LI | FU0137 | WHT | 14 | 60 | XT0139:2 | L SIDE WALL
FU0170:LI | FU0137 | WHT | 14 | 60 | XT0139:3 | L SIDE WALL
FU0211:LI | FU0137 | WHT | 14 | 60 | XT0139:3 | L SIDE WALL
FU0271:LI | FU0137 | WHT | 14 | 60 | XT0139:2 | L SIDE WALL
FU0272:LI | FU0137 | WHT | 14 | 60 | XT0139:3 | L SIDE WALL
FU0140:LI | FU0570 | WHT | 14 | 100 | FU0570:LD | L SIDE WALL
FU0142:LI | FU0570 | WHT | 14 | 60 | FU0180:LI | L SIDE WALL
FU0137:LD | FU0137 | WHT | 12 | 60 | XT0139:1 | L SIDE WALL
FU0137:LI | FU0139 | WHT | 12 | 60 | XT0138:1 | L SIDE WALL
FU0210:LI | FU0139 | WHT | 12 | 60 | XT0138:4 | L SIDE WALL
K9982C:A2 | CC9982-1 | WHT | 20 | 120 | XT9001K:27 | L SIDE WALL | K9
K9982C:A1 | CC9982-2 | WHT | 20 | 120 | XT9001K:28 | L SIDE WALL
K9984C:A2 | CC9984-1 | WHT | 20 | 120 | XT9001K:29 | L SIDE WALL
K9984C:A1 | CC9984-2 | WHT | 20 | 120 | XT9001K:30 | L SIDE WALL
KA0130:A1 | -008135 | WHT | 20 | 80 | KA0130:11 | L SIDE WALL | KA A1
KA0240:A1 | ESTOP | WHT | 20 | 60 | KA0248:A1 | L SIDE WALL
KA0248:A1 | ESTOP | WHT | 20 | 60 | KA0250:A1 | L SIDE WALL
KA0534:A1 | ESTOP | WHT | 20 | 60 | KA0537:A1 | L SIDE WALL
KA0131:A1 | KA0231A1 | WHT | 20 | 80 | KA0242:11 | L SIDE WALL
KA0132:A1 | KA0231A1 | WHT | 20 | 60 | KA0141:A1 | L SIDE WALL
KA0230:A1 | KA0231A1 | WHT | 20 | 60 | KA0234:A1 | L SIDE WALL
KA0230:A1 | KA0231A1 | WHT | 20 | 60 | XT0139:4 | L SIDE WALL
KA0244:A1 | KA0243A1 | WHT | 20 | 60 | KA0246:A1 | L SIDE WALL
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | KA0249:A1 | L SIDE WALL
KA0540:A1 | KA053214 | WHT | 20 | 100 | KA0532:14 | L SIDE WALL
KA0541:A1 | KA053224 | WHT | 20 | 100 | KA0532:24 | L SIDE WALL
KA0542:A1 | KA053424 | WHT | 20 | 100 | KA0534:24 | L SIDE WALL
KA9982:A1 | KA9982A1 | WHT | 20 | 120 | K9982C:11 | L SIDE WALL
KA9984:A1 | KA9984A1 | WHT | 20 | 120 | K9984C:11 | L SIDE WALL
KA0136:A1 | PS3200-2 | WHT | 20 | 120 | XT9001K:44 | L SIDE WALL
KA0817:A1 | SB7512-1 | WHT | 20 | 120 | XT9002K:22 | L SIDE WALL
KA1823:A1 | SB7513-1 | WHT | 20 | 120 | XT9002K:20 | L SIDE WALL
KA0132:A2 | -0V | WHT | 20 | 60 | KA0141:A2 | L SIDE WALL | KA A2
KA0133:A2 | -0V | WHT | 20 | 60 | KA0141:A2 | L SIDE WALL
KA0134:A2 | -0V | WHT | 20 | 60 | KA0144:A2 | L SIDE WALL
KA0176:A2 | -0V | WHT | 20 | 60 | XT0135:3 | L SIDE WALL
KA0240:A2 | -0V | WHT | 20 | 60 | KA0248:A2 | L SIDE WALL
KA0241:A2 | -0V | WHT | 20 | 60 | KA0250:A2 | L SIDE WALL
KA0244:A2 | -0V | WHT | 20 | 60 | KA0246:A2 | L SIDE WALL
KA0245:A2 | -0V | WHT | 20 | 60 | KA0247:A2 | L SIDE WALL
KA0245:A2 | -0V | WHT | 20 | 60 | KA0249:A2 | L SIDE WALL
KA0248:A2 | -0V | WHT | 20 | 60 | KA0250:A2 | L SIDE WALL
KA0531:A2 | -0V | WHT | 20 | 60 | KA0536:A2 | L SIDE WALL
KA0534:A2 | -0V | WHT | 20 | 60 | KA0537:A2 | L SIDE WALL
KA0234:A2 | KA0231A2 | WHT | 20 | 60 | KA0230:A2 | L SIDE WALL
KA0817:A2 | SB7512-2 | WHT | 20 | 120 | XT9002K:23 | L SIDE WALL
KA1823:A2 | SB7513-2 | WHT | 20 | 120 | XT9002K:21 | L SIDE WALL
KA0130:A2 | UA1200J26 | WHT | 20 | 100 | XT9000K:77 | L SIDE WALL
KA1810:11 | CC9001-1 | WHT | 20 | 100 | XT9002K:27 | L SIDE WALL | KA
KA1810:14 | CC9001-2 | WHT | 20 | 100 | XT9002K:28 | L SIDE WALL
KA1811:11 | CC9002-1 | WHT | 20 | 100 | XT9002K:29 | L SIDE WALL
KA1811:14 | CC9002-2 | WHT | 20 | 100 | XT9002K:30 | L SIDE WALL
KA1812:11 | CC9005-1 | WHT | 20 | 100 | XT9002K:31 | L SIDE WALL
KA1812:14 | CC9005-2 | WHT | 20 | 100 | XT9002K:32 | L SIDE WALL
KA0234:11 | FCE14407 | WHT | 20 | 100 | XT9000K:1 | L SIDE WALL
KA0237:11 | FCE21307 | WHT | 20 | 100 | XT9000K:83 | L SIDE WALL
KA0136:11 | FU0139 | WHT | 20 | 60 | KA0137:21 | L SIDE WALL
KA0141:24 | FU0139 | WHT | 20 | 60 | KA0241:24 | L SIDE WALL
KA0236:11 | FU0139 | WHT | 20 | 60 | KA0244:11 | L SIDE WALL
KA0232:21 | FU0170 | WHT | 20 | 80 | FU0170:LD | L SIDE WALL
KA0132:22 | KA013222 | WHT | 20 | 60 | KA0137:14 | L SIDE WALL
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | L SIDE WALL
KA0131:12 | KA013724 | WHT | 20 | 60 | KA0137:24 | L SIDE WALL
KA0144:22 | KA014422 | WHT | 20 | 100 | KA0176:A1 | L SIDE WALL
KA0144:22 | KA014422 | WHT | 20 | 60 | KA0249:12 | L SIDE WALL
KA0221:11 | KA022111 | WHT | 20 | 60 | KA0235:24 | L SIDE WALL
KA0222:11 | KA022211 | WHT | 20 | 60 | KA0236:24 | L SIDE WALL
KA0231:21 | KA023121 | WHT | 20 | 60 | KA0245:14 | L SIDE WALL
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0231:A1 | L SIDE WALL
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0242:11 | L SIDE WALL
KA0232:22 | KA023222 | WHT | 20 | 60 | KA0144:21 | L SIDE WALL
KA0232:22 | KA023222 | WHT | 20 | 60 | KA0249:11 | L SIDE WALL
KA0235:14 | KA024114 | WHT | 20 | 60 | KA0241:14 | L SIDE WALL
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:24 | L SIDE WALL
KA0231:14 | KA024214 | WHT | 20 | 60 | KA0242:14 | L SIDE WALL
KA0243:24 | KA024511 | WHT | 20 | 60 | KA0245:11 | L SIDE WALL
KA0242:24 | KA024812 | WHT | 20 | 60 | KA0248:12 | L SIDE WALL
KA0535:11 | KA053511 | WHT | 20 | 60 | KA0553:14 | L SIDE WALL
KA0540:14 | KA055011 | WHT | 20 | 60 | KA0550:11 | L SIDE WALL
KA0542:14 | KA055111 | WHT | 20 | 60 | KA0551:11 | L SIDE WALL
KA0541:14 | KA055211 | WHT | 20 | 60 | KA0552:11 | L SIDE WALL
KA0132:12 | KT0141A1 | WHT | 20 | 60 | KA0133:12 | L SIDE WALL
KA0141:21 | KT0146A1 | WHT | 20 | 60 | KA0241:21 | L SIDE WALL
KA0240:14 | SB1300-111 | WHT | 20 | 80 | XT9001K:31 | L SIDE WALL
KA0233:21 | SV1420-A1 | WHT | 20 | 100 | XT9000K:7 | L SIDE WALL
KA0233:11 | SV1420-B1 | WHT | 20 | 100 | XT9000K:9 | L SIDE WALL
KA0235:21 | SV2120-1 | WHT | 20 | 80 | XT9001K:39 | L SIDE WALL
KA0236:21 | SV2124-1 | WHT | 20 | 80 | XT9001K:41 | L SIDE WALL
KA0531:14 | SV7611-1 | WHT | 20 | 80 | XT9002K:6 | L SIDE WALL
KA0550:14 | SV7621-1 | WHT | 20 | 100 | XT9002K:8 | L SIDE WALL
KA0552:14 | SV7641-1 | WHT | 20 | 100 | XT9002K:10 | L SIDE WALL
KA0551:14 | SV7643-1 | WHT | 20 | 100 | XT9002K:12 | L SIDE WALL
KA0235:11 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | L SIDE WALL
KA0240:11 | UF1300-D2P | WHT | 20 | 80 | XT9001K:33 | L SIDE WALL
KA0248:11 | FU0212 | WHT | 16 | 80 | FU0212:LD | L SIDE WALL
KA1020:24 | -0V | WHT | 14 | 100 | XT0135:1 | L SIDE WALL
KA1020:14 | FU0211 | WHT | 14 | 100 | FU0211:LD | L SIDE WALL
KA1020:21 | LZ1020-A | WHT | 14 | 100 | XT9001K:37 | L SIDE WALL
KA1020:11 | LZ1020-B | WHT | 14 | 100 | XT9001K:36 | L SIDE WALL
XT0135:1 | -0V | WHT | 12 | 60 | XT0134:1 | L SIDE WALL | XT
FU0113:LD | FU0113 | WHT | 16 | 200 | XT9004K:7 | L BACK | FU-L BACK
FU0010:LD | FU0010 | WHT | 14 | 200 | UV0600:(+) | L BACK
FU0080:LD | FU0080 | WHT | 14 | 200 | AU0080:V+ | L BACK
FU0090:LD | FU0090 | WHT | 14 | 200 | AU0090:V+ | L BACK
FU0091:LD | FU0091 | WHT | 14 | 200 | AF0092:V+ | L BACK
FU0092:LD | FU0092 | WHT | 14 | 200 | AF0093:V+ | L BACK
FU0093:LD | FU0093 | WHT | 14 | 200 | AF0095:V+ | L BACK
FU0139:LD | FU0139 | WHT | 14 | 200 | XT0136:1 | L BACK
KA0130:A1 | -008135 | WHT | 20 | 200 | AF0081:35 | L BACK | KA A1/A2-L BACK
KA0133:A1 | KA0133A1 | WHT | 20 | 200 | AF0092:02 | L BACK
KA0134:A1 | KA0134A1 | WHT | 20 | 200 | AF0091:12 | L BACK
KA0144:A1 | KA0135A1 | WHT | 20 | 200 | KA0135:A1 | L BACK
KA0137:A1 | KA0137A1 | WHT | 20 | 200 | KT0142:18 | L BACK
KA0131:A2 | -0V | WHT | 20 | 200 | KT0145:A2 | L BACK
KA0136:A2 | -0V | WHT | 20 | 200 | KA0135:A2 | L BACK
KA0137:A2 | -0V | WHT | 20 | 200 | KA0138:A2 | L BACK
KA0144:A2 | -0V | WHT | 20 | 200 | KA0135:A2 | L BACK
KA0130:14 | -008103 | WHT | 20 | 200 | AF0081:03 | L BACK | KA-L BACK
KA0817:11 | -008107 | WHT | 20 | 200 | AF0081:07 | L BACK
KA0817:14 | -008139 | WHT | 20 | 200 | AF0081:39 | L BACK
KA0176:14 | -009336 | WHT | 20 | 200 | AF0093:36 | L BACK
KA0177:14 | -009337 | WHT | 20 | 200 | AF0093:37 | L BACK
KA0221:14 | -009502 | WHT | 20 | 200 | AF0095:02 | L BACK
KA0132:11 | FU0139 | WHT | 20 | 200 | KT0145:15 | L BACK
KA0141:24 | FU0139 | WHT | 20 | 200 | XT0136:2 | L BACK
KA0131:14 | KA013114 | WHT | 20 | 200 | AF0092:06 | L BACK
KA0132:22 | KA013222 | WHT | 20 | 200 | KT0141:18 | L BACK
KA0131:11 | KA0135A1 | WHT | 20 | 200 | KA0135:A1 | L BACK
KA0136:21 | KA013621 | WHT | 20 | 200 | AF0087:43 | L BACK
KA0136:24 | KA013624 | WHT | 20 | 200 | AF0087:11 | L BACK
KA0137:24 | KA013724 | WHT | 20 | 200 | AF0087:09 | L BACK
KA0136:14 | KA013821 | WHT | 20 | 200 | KA0138:21 | L BACK
KA0132:21 | KA0138A1 | WHT | 20 | 200 | KA0138:A1 | L BACK
KA0141:11 | KA014111 | WHT | 20 | 200 | AF0091:39 | L BACK
KA0141:14 | KA014114 | WHT | 20 | 200 | AF0091:07 | L BACK
KA0176:11 | KA017611 | WHT | 20 | 200 | XT0171:1 | L BACK
KA0246:11 | KA017611 | WHT | 20 | 200 | XT0171:1 | L BACK
KA0177:11 | KA017711 | WHT | 20 | 200 | XT0171:5 | L BACK
KA0247:11 | KA017711 | WHT | 20 | 200 | XT0171:5 | L BACK
KA0239:21 | KA023921 | WHT | 20 | 200 | AF0081:41 | L BACK
KA0239:24 | KA023924 | WHT | 20 | 200 | AF0081:09 | L BACK
KA0231:14 | KA024214 | WHT | 20 | 200 | KT0146:18 | L BACK
KA0242:14 | KA024214 | WHT | 20 | 200 | AF0081:08 | L BACK
KA0243:11 | KA024311 | WHT | 20 | 200 | AF0081:33 | L BACK
KA0243:14 | KA024314 | WHT | 20 | 200 | AF0081:01 | L BACK
KA0244:12 | KA024412 | WHT | 20 | 200 | KT0145:A1 | L BACK
KA0245:21 | KA024521 | WHT | 20 | 200 | AF0081:34 | L BACK
KA0245:24 | KA024524 | WHT | 20 | 200 | AF0081:02 | L BACK
KA0533:12 | KA053312 | WHT | 20 | 200 | KT0573:15 | L BACK
KA0246:14 | KA6211A1 | WHT | 20 | 200 | KA6211:A1 | L BACK
KA0247:14 | KA6212A1 | WHT | 20 | 200 | KA6212:A1 | L BACK
KA0132:12 | KT0141A1 | WHT | 20 | 200 | KT0142:A1 | L BACK
KA0141:21 | KT0146A1 | WHT | 20 | 200 | KT0146:A1 | L BACK
KA0241:11 | UA1200J21 | WHT | 20 | 200 | AF0081:00 | L BACK
XT0135:4 | -0V | WHT | 20 | 200 | AF0094:07 | L BACK | XT-L BACK
XT0135:4 | -0V | WHT | 20 | 200 | AF0094:05 | L BACK
XT0135:1 | -0V | WHT | 14 | 200 | XT0136:3 | L BACK
XT0135:1 | -0V | WHT | 14 | 200 | UV0600:(-) | L BACK
XT0135:2 | -0V | WHT | 14 | 200 | XT0081:1 | L BACK
XT0135:2 | -0V | WHT | 14 | 200 | XT0080:1 | L BACK
XT9001K:43 | FU0139 | WHT | 20 | 200 | XT0136:1 | L BACK | XT9K-L BACK
XT9001K:23 | HL6200-1 | WHT | 20 | 200 | AF0093:15 | L BACK
XT9001K:24 | HL6200-2 | WHT | 20 | 200 | AF0093:31 | L BACK
XT9000K:101 | PDS6210-1 | WHT | 20 | 200 | AF0082:45 | L BACK
XT9000K:102 | PDS6210-2 | WHT | 20 | 200 | AF0082:13 | L BACK
XT9000K:99 | PS3150-1 | WHT | 20 | 200 | AF0082:32 | L BACK
XT9000K:100 | PS3150-2 | WHT | 20 | 200 | AF0082:00 | L BACK
XT9000K:97 | PS3170-1 | WHT | 20 | 200 | AF0082:34 | L BACK
XT9000K:98 | PS3170-2 | WHT | 20 | 200 | AF0082:02 | L BACK
XT9000K:95 | SA047511 | WHT | 20 | 200 | AF0082:43 | L BACK
XT9000K:96 | SA047512 | WHT | 20 | 200 | AF0082:11 | L BACK
XT9000K:93 | SA047523 | WHT | 20 | 200 | AF0082:44 | L BACK
XT9000K:94 | SA047524 | WHT | 20 | 200 | AF0082:12 | L BACK
XT9000K:85 | SB047221 | WHT | 20 | 200 | AF0081:38 | L BACK
XT9000K:86 | SB047222 | WHT | 20 | 200 | AF0081:06 | L BACK
XT9000K:89 | SB047321 | WHT | 20 | 200 | AF0081:36 | L BACK
XT9000K:90 | SB047322 | WHT | 20 | 200 | AF0081:04 | L BACK
XT9001K:22 | SB3170-111 | WHT | 20 | 200 | AF0091:00 | L BACK
XT9001K:21 | SB3170-112 | WHT | 20 | 200 | AF0091:32 | L BACK
XT9001K:19 | SB6200-23 | WHT | 20 | 200 | AF0087:37 | L BACK
XT9001K:20 | SB6200-24 | WHT | 20 | 200 | AF0087:05 | L BACK
XT9000K:78 | UA1200J27 | WHT | 20 | 200 | AF0081:19 | L BACK
XT9001K:26 | HA1300-1 | WHT | 16 | 200 | AF0095:16 | L BACK
XT9001K:25 | HA1300-2 | WHT | 16 | 200 | AF0095:00 | L BACK
XT9002:5 | -0V | WHT | 16 | 200 | XT0080:2 | L BACK
XT0135:3 | -0V | WHT | 16 | 220 | UV0274:9- | ISOLATOR | FU/XT-ISO
FU0272:LD | UV0274-P | WHT | 16 | 220 | UV0274:8+ | ISOLATOR
XT0135:3 | -0V | WHT | 14 | 220 | UV0271:9- | ISOLATOR
FU0271:LD | UV0271-P | WHT | 14 | 220 | UV0271:8+ | ISOLATOR
FU0063:LD | FU0063 | WHT | 16 | 260 | AF0066:V+ | R SIDE WALL | FU-RS WALL
FU0064:LD | FU0064 | WHT | 16 | 260 | AF0067:V+ | R SIDE WALL
FU0070:LD | FU0070 | WHT | 16 | 260 | AU0070:V+ | R SIDE WALL
FU0071:LD | FU0071 | WHT | 16 | 260 | AF0076:V+ | R SIDE WALL
FU0212:LD | FU0212 | WHT | 16 | 260 | XT0233:4 | R SIDE WALL
FU0060:LD | FU0060 | WHT | 14 | 260 | AU0060:V+ | R SIDE WALL
FU0061:LD | FU0061 | WHT | 14 | 260 | AF0061:V+ | R SIDE WALL
FU0062:LD | FU0062 | WHT | 14 | 260 | AF0062:V+ | R SIDE WALL
FU0120:LD | FU0120 | WHT | 14 | 260 | AU1200:V+ | R SIDE WALL
FU0121:LD | FU0121 | WHT | 14 | 260 | AF1201:V+ | R SIDE WALL
FU0110:LI | FU0139 | WHT | 14 | 260 | XT0110:1 | R SIDE WALL
FU0113:LI | FU0139 | WHT | 14 | 260 | XT0110:1 | R SIDE WALL
FU0130:LI | FU0139 | WHT | 14 | 260 | XT0130:1 | R SIDE WALL
FU0570:LI | FU0139 | WHT | 14 | 260 | XT0140:1 | R SIDE WALL
FU0140:LD | FU0140 | WHT | 14 | 260 | AU0140:V+ | R SIDE WALL
FU0141:LD | FU0141 | WHT | 14 | 260 | AF0141:V+ | R SIDE WALL
FU0142:LD | FU0142 | WHT | 14 | 260 | XT0140:7 | R SIDE WALL
FU0142:LD | FU0142 | WHT | 14 | 260 | AF0146:V+ | R SIDE WALL
FU0180:LD | FU0180 | WHT | 14 | 260 | AU0180:V+ | R SIDE WALL
FU0181:LD | FU0181 | WHT | 14 | 260 | AF0181:V+ | R SIDE WALL
FU0184:LD | FU0184 | WHT | 14 | 260 | AF0184:V+ | R SIDE WALL
FU0060:LI | FU0210 | WHT | 14 | 260 | XT0233:1 | R SIDE WALL
FU0070:LI | FU0210 | WHT | 14 | 260 | XT0233:2 | R SIDE WALL
FU0212:LI | FU0210 | WHT | 14 | 260 | XT0233:1 | R SIDE WALL
FU0210:LD | FU0210 | WHT | 12 | 260 | XT0233:1 | R SIDE WALL
K9982C:14 | FU0139 | WHT | 20 | 260 | XT0520:1 | R SIDE WALL | K9-RS WALL
K9984C:14 | FU0139 | WHT | 20 | 260 | XT0520:1 | R SIDE WALL
KA0701:A1 | -006100 | WHT | 20 | 260 | AF0061:00 | R SIDE WALL | KA A1-RS WALL
KA0221:A1 | -007602 | WHT | 20 | 260 | AF0076:02 | R SIDE WALL
KA0222:A1 | -007604 | WHT | 20 | 260 | AF0076:04 | R SIDE WALL
KA1020:A1 | -007608 | WHT | 20 | 260 | AF0076:08 | R SIDE WALL
KA1810:A1 | -018100 | WHT | 20 | 260 | AF0181:00 | R SIDE WALL
KA1811:A1 | -018102 | WHT | 20 | 260 | AF0181:02 | R SIDE WALL
KA1812:A1 | -018104 | WHT | 20 | 260 | AF0181:04 | R SIDE WALL
KA0550:A1 | -018400 | WHT | 20 | 260 | AF0184:00 | R SIDE WALL
KA0552:A1 | -018401 | WHT | 20 | 260 | AF0184:01 | R SIDE WALL
KA0551:A1 | -018402 | WHT | 20 | 260 | AF0184:02 | R SIDE WALL
KA0553:A1 | -018405 | WHT | 20 | 260 | AF0184:05 | R SIDE WALL
KA0235:A1 | ESTOP | WHT | 20 | 260 | XT0240:4 | R SIDE WALL
KA0531:A1 | ESTOP | WHT | 20 | 260 | XT0140:6 | R SIDE WALL
KA0134:A1 | KA0134A1 | WHT | 20 | 260 | AF0067:12 | R SIDE WALL
KA0535:A1 | KA0231A1 | WHT | 20 | 260 | XT0140:5 | R SIDE WALL
KA0241:A1 | KA0241A1 | WHT | 20 | 260 | XT0240:6 | R SIDE WALL
KA0243:A1 | KA0243A1 | WHT | 20 | 260 | XT0240:7 | R SIDE WALL
KA0245:A1 | KA0245A1 | WHT | 20 | 260 | XT0240:8 | R SIDE WALL
KA0120:A1 | KA0231A1 | WHT | 14 | 260 | XT0130:5 | R SIDE WALL
KA0701:A2 | -006116 | WHT | 20 | 260 | AF0061:16 | R SIDE WALL | KA A2-RS WALL
KA0221:A2 | -007618 | WHT | 20 | 260 | AF0076:18 | R SIDE WALL
KA0222:A2 | -007620 | WHT | 20 | 260 | AF0076:20 | R SIDE WALL
KA1020:A2 | -007624 | WHT | 20 | 260 | AF0076:24 | R SIDE WALL
KA1810:A2 | -018116 | WHT | 20 | 260 | AF0181:16 | R SIDE WALL
KA1811:A2 | -018118 | WHT | 20 | 260 | AF0181:18 | R SIDE WALL
KA1812:A2 | -018120 | WHT | 20 | 260 | AF0181:20 | R SIDE WALL
KA0550:A2 | -018416 | WHT | 20 | 260 | AF0184:16 | R SIDE WALL
KA0552:A2 | -018417 | WHT | 20 | 260 | AF0184:17 | R SIDE WALL
KA0551:A2 | -018418 | WHT | 20 | 260 | AF0184:18 | R SIDE WALL
KA0553:A2 | -018421 | WHT | 20 | 260 | AF0184:21 | R SIDE WALL
KA0249:A2 | -0V | WHT | 20 | 260 | XT0240:10 | R SIDE WALL
KA0535:A2 | -0V | WHT | 20 | 260 | XT0140:4 | R SIDE WALL
KA0231:A2 | KA0231A2 | WHT | 20 | 260 | AF0076:26 | R SIDE WALL
KA0540:A2 | SV7621-2 | WHT | 20 | 260 | XT0572:4 | R SIDE WALL
KA0541:A2 | SV7641-2 | WHT | 20 | 260 | XT0572:5 | R SIDE WALL
KA0542:A2 | SV7643-2 | WHT | 20 | 260 | XT0572:10 | R SIDE WALL
KA0120:A2 | -0V | WHT | 14 | 260 | XT0130:3 | R SIDE WALL
KA9982:A2 | -0V | WHT | 14 | 260 | XT0110:3 | R SIDE WALL
KA9984:A2 | -0V | WHT | 14 | 260 | XT0110:3 | R SIDE WALL
KA0234:14 | -006114 | WHT | 20 | 260 | AF0061:14 | R SIDE WALL | KA-RS WALL
KA0222:14 | -006200 | WHT | 20 | 260 | AF0062:00 | R SIDE WALL
KA0233:14 | -006202 | WHT | 20 | 260 | AF0062:02 | R SIDE WALL
KA0233:24 | -006208 | WHT | 20 | 260 | AF0062:08 | R SIDE WALL
KA0233:22 | -006240 | WHT | 20 | 260 | AF0062:40 | R SIDE WALL
KA0237:14 | -007600 | WHT | 20 | 260 | AF0076:06 | R SIDE WALL
KA0532:21 | -014104 | WHT | 20 | 260 | AF0141:04 | R SIDE WALL
KA0531:11 | -014114 | WHT | 20 | 260 | AF0141:14 | R SIDE WALL
KA0541:11 | -014136 | WHT | 20 | 260 | AF0141:36 | R SIDE WALL
KA0542:11 | -014138 | WHT | 20 | 260 | AF0141:38 | R SIDE WALL
KA1823:11 | -018203 | WHT | 20 | 260 | AF0182:03 | R SIDE WALL
KA1823:14 | -018235 | WHT | 20 | 260 | AF0182:35 | R SIDE WALL
KA0242:21 | -024221 | WHT | 20 | 260 | XT0237:1 T2 | R SIDE WALL
KA0817:24 | ESTOPB | WHT | 20 | 260 | XT0240:2 | R SIDE WALL
KA0243:21 | ESTOPC | WHT | 20 | 260 | XT0240:1 | R SIDE WALL
KA0817:21 | ESTOPC | WHT | 20 | 260 | XT0240:1 | R SIDE WALL
KA0236:11 | FU0139 | WHT | 20 | 260 | XT0240:12 | R SIDE WALL
KA9982:11 | FU0139 | WHT | 20 | 260 | XT0240:12 | R SIDE WALL
KA9984:11 | FU0139 | WHT | 20 | 260 | XT0240:12 | R SIDE WALL
KA0236:12 | KA023612 | WHT | 20 | 260 | XT0240:13 | R SIDE WALL
KA9982:14 | KA0243A1 | WHT | 20 | 260 | XT0240:7 | R SIDE WALL
KA9984:14 | KA0245A1 | WHT | 20 | 260 | XT0240:8 | R SIDE WALL
KA0532:11 | KA053211 | WHT | 20 | 260 | AF0141:00 | R SIDE WALL
KA0534:21 | KA053421 | WHT | 20 | 260 | AF0141:06 | R SIDE WALL
KA0535:14 | KA053514 | WHT | 20 | 260 | XT0573:1 B2 | R SIDE WALL
KA0536:12 | KA053612 | WHT | 20 | 260 | XT0573:1 T1 | R SIDE WALL
KA0540:11 | KA054011 | WHT | 20 | 260 | AF0141:32 | R SIDE WALL
KA0553:11 | KA055311 | WHT | 20 | 260 | AF0141:12 | R SIDE WALL
KA0235:11 | UA1200J21 | WHT | 20 | 260 | XT0060:3 | R SIDE WALL
KA0536:11 | XT05732B1 | WHT | 20 | 260 | XT0573:2 B1 | R SIDE WALL
KA0533:11 | FU0142 | WHT | 14 | 260 | XT0140:7 | R SIDE WALL
XT0139:4 | KA0231A1 | WHT | 16 | 260 | XT0110:5 | R SIDE WALL | XT-RS WALL
XT0134:4 | -0V | WHT | 14 | 260 | XT0110:2 | R SIDE WALL
XT0138:4 | FU0139 | WHT | 14 | 260 | XT0110:1 | R SIDE WALL
XT0134:4 | -0V | WHT | 12 | 260 | XT0235:1 | R SIDE WALL
XT9000K:82 | -0V | WHT | 20 | 260 | XT0235:4 | R SIDE WALL | XT9K-RS WALL
XT9000K:92 | ESTOP | WHT | 20 | 260 | XT0240:4 | R SIDE WALL
XT9000K:87 | ESTOPA | WHT | 20 | 260 | XT0240:3 | R SIDE WALL
XT9000K:4 | FCE144010 | WHT | 20 | 260 | AF0061:28 | R SIDE WALL
XT9000K:15 | FCE144011 | WHT | 20 | 260 | AF0063:39 | R SIDE WALL
XT9000K:16 | FCE144012 | WHT | 20 | 260 | AF0063:07 | R SIDE WALL
XT9000K:17 | FCE144013 | WHT | 20 | 260 | AF0063:38 | R SIDE WALL
XT9000K:18 | FCE144014 | WHT | 20 | 260 | AF0063:06 | R SIDE WALL
XT9000K:2 | FCE14408 | WHT | 20 | 260 | AF0061:30 | R SIDE WALL
XT9000K:3 | FCE14409 | WHT | 20 | 260 | AF0061:12 | R SIDE WALL
XT9000K:6 | FCE213010 | WHT | 20 | 260 | AF0061:20 | R SIDE WALL
XT9000K:19 | FCE213011 | WHT | 20 | 260 | AF0063:35 | R SIDE WALL
XT9000K:20 | FCE213012 | WHT | 20 | 260 | AF0063:03 | R SIDE WALL
XT9000K:21 | FCE213013 | WHT | 20 | 260 | AF0063:34 | R SIDE WALL
XT9000K:22 | FCE213014 | WHT | 20 | 260 | AF0063:02 | R SIDE WALL
XT9000K:84 | FCE21308 | WHT | 20 | 260 | AF0076:22 | R SIDE WALL
XT9000K:5 | FCE21309 | WHT | 20 | 260 | AF0061:04 | R SIDE WALL
XT9000K:80 | FU0212 | WHT | 20 | 260 | XT0233:4 | R SIDE WALL
XT9002K:16 | SB7510-1 | WHT | 20 | 260 | AF0182:32 | R SIDE WALL
XT9002K:17 | SB7510-2 | WHT | 20 | 260 | AF0182:00 | R SIDE WALL
XT9002K:18 | SB7511-1 | WHT | 20 | 260 | AF0182:33 | R SIDE WALL
XT9002K:19 | SB7511-2 | WHT | 20 | 260 | AF0182:01 | R SIDE WALL
XT9000K:8 | SV1420-A2 | WHT | 20 | 260 | AF0062:24 | R SIDE WALL
XT9000K:10 | SV1420-B2 | WHT | 20 | 260 | AF0062:18 | R SIDE WALL
XT9000K:43 | SV1710-1 | WHT | 20 | 260 | AF0067:10 | R SIDE WALL
XT9000K:44 | SV1710-2 | WHT | 20 | 260 | AF0067:26 | R SIDE WALL
XT9000K:41 | SV1720-1 | WHT | 20 | 260 | AF0067:08 | R SIDE WALL
XT9000K:42 | SV1720-2 | WHT | 20 | 260 | AF0067:24 | R SIDE WALL
XT9001K:40 | SV2120-2 | WHT | 20 | 260 | XT0060:4 | R SIDE WALL
XT9000K:11 | SV2121-1 | WHT | 20 | 260 | AF0062:04 | R SIDE WALL
XT9000K:12 | SV2121-2 | WHT | 20 | 260 | AF0062:20 | R SIDE WALL
XT9001K:42 | SV2124-2 | WHT | 20 | 260 | XT0060:6 | R SIDE WALL
XT9000K:13 | SV2150-1 | WHT | 20 | 260 | AF0062:06 | R SIDE WALL
XT9000K:14 | SV2150-2 | WHT | 20 | 260 | AF0062:22 | R SIDE WALL
XT9002K:14 | SV7602-1 | WHT | 20 | 260 | XT0573:1 B1 | R SIDE WALL
XT9002K:15 | SV7602-2 | WHT | 20 | 260 | AF0141:28 | R SIDE WALL
XT9002K:7 | SV7611-2 | WHT | 20 | 260 | AF0141:30 | R SIDE WALL
XT9002K:9 | SV7621-2 | WHT | 20 | 260 | XT0572:4 | R SIDE WALL
XT9002K:4 | SV7631-1 | WHT | 20 | 260 | AF0146:02 | R SIDE WALL
XT9002K:5 | SV7631-2 | WHT | 20 | 260 | AF0146:18 | R SIDE WALL
XT9002K:11 | SV7641-2 | WHT | 20 | 260 | XT0572:5 | R SIDE WALL
XT9002K:13 | SV7643-2 | WHT | 20 | 260 | XT0572:10 | R SIDE WALL
XT9000K:75 | UA1200J14 | WHT | 20 | 260 | AF0076:11 | R SIDE WALL
XT9000K:76 | UA1200J15 | WHT | 20 | 260 | XT0237:1 B1 | R SIDE WALL
XT9000K:79 | UA1200J21 | WHT | 20 | 260 | XT0060:3 | R SIDE WALL
XT9002:10 | ZSC6310-1 | WHT | 20 | 260 | AF0063:46 | R SIDE WALL
XT9002:11 | ZSC6310-2 | WHT | 20 | 260 | AF0063:14 | R SIDE WALL
XT9002:13 | ZSC6311-1 | WHT | 20 | 260 | AF0063:47 | R SIDE WALL
XT9002:14 | ZSC6311-2 | WHT | 20 | 260 | AF0063:15 | R SIDE WALL
XT9000K:125 | FT21082 | CABLE | 16 |  | AF0086:12 | L BACK
XT9000K:127 | FT2108S | CABLE | 16 |  | AF0086:60 | L BACK
Note on D81: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was: [BLANK] Changed to: WHT, 20G MRCA: 1990684
Note on D394: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was: [BLANK] Changed to: CABLE, 16G MRCA: 1990684

## L BACK PNL_S
LEFT BACK^PANEL
Project # | J0401
Project Name | NOC ASABB-C-4401
Revision | 0.1
Controls DE | N.GONZALEZ
Phone: | 0
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
PC0470:INP_A | -009312 | WHT | 20 | 60 | AF0093:12 | L BACK | PC
PC0470:-PWR | -009328 | WHT | 20 | 60 | AF0093:28 | L BACK
PC0470:+PWR | -009344 | WHT | 20 | 60 | AF0093:44 | L BACK
AF0093:04 | -009304 | WHT | 20 | 60 | XT0171:2 | L BACK | AF/AU
AF0093:05 | -009305 | WHT | 20 | 60 | XT0171:6 | L BACK
AF0094:00 | -009400 | WHT | 20 | 60 | XT0085:2 | L BACK
AF0091:COM | AF0091N | WHT | 16 | 60 | AF0094:COM | L BACK
AF0092:COM | -0V | WHT | 14 | 60 | XT0081:1 | L BACK
AF0093:COM | -0V | WHT | 14 | 60 | XT0081:2 | L BACK
AF0095:COM | -0V | WHT | 14 | 60 | XT0081:2 | L BACK
AU0080:COM | -0V | WHT | 14 | 80 | XT0080:1 | L BACK
AU0090:COM | -0V | WHT | 14 | 60 | XT0081:1 | L BACK
AF0091:V+ | AF0091P | WHT | 14 | 60 | AF0094:V+ | L BACK
AF0094:COM | AF0094N | WHT | 14 | 60 | AF0096:COM | L BACK
AF0094:V+ | AF0094P | WHT | 14 | 60 | AF0096:V+ | L BACK
AF0094:01 | -0V | WHT | 12 | 60 | XT0085:3 | L BACK
KA3103:A1 | -009208 | WHT | 20 | 100 | AF0092:08 | L BACK | KA A1/A2
KA3103:A2 | -009224 | WHT | 20 | 100 | AF0092:24 | L BACK
KA6211:A2 | -009320 | WHT | 20 | 100 | AF0093:20 | L BACK
KA6212:A2 | -009321 | WHT | 20 | 100 | AF0093:21 | L BACK
KT0140:A2 | -0V | WHT | 20 | 60 | XT0136:3 | L BACK | KT L/S
KT0141:18 | KA013222 | WHT | 20 | 60 | KT0144:18 | L BACK
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KT0145:18 | L BACK
KT0140:16 | KT014115 | WHT | 20 | 60 | KT0141:15 | L BACK
KT0140:18 | KT0143A1 | WHT | 20 | 80 | KT0143:A1 | L BACK
KT0140:15 | FU0139 | WHT | 20 | 60 | KT0142:15 | L BACK | KT R/S
KT0140:15 | FU0139 | WHT | 20 | 60 | XT0136:2 | L BACK
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0144:A1 | L BACK
KT0572:15 | KA053312 | WHT | 20 | 60 | KT0574:15 | L BACK
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | L BACK
KT0141:A1 | KT0141A1 | WHT | 20 | 60 | KT0143:15 | L BACK
KT0144:B1 | KT0144B1 | WHT | 20 | 100 | KA0138:24 | L BACK
KA0135:11 | KM3150-EN | RED | 16R | 60 | XT9004K:2 | L BACK | KA RED
KA0135:12 | KM3150-EP | RED | 16R | 60 | XT9004K:1 | L BACK
KA0138:11 | FU0113 | RED | 16R | 60 | XT9004K:7 | L BACK
KA0138:12 | SB3170-212 | RED | 16R | 60 | XT9004K:6 | L BACK
KA3103:11 | KM3103-EN | RED | 16R | 60 | XT9004K:8 | L BACK
KA3103:14 | H3103-T2 | RED | 16R | 60 | XT9004K:5 | L BACK
KA6211:11 | KM6211-EN | RED | 16R | 60 | XT9004K:10 | L BACK
KA6211:14 | KM6211-EP | RED | 16R | 60 | XT9004K:9 | L BACK
KA6212:11 | KM6212-EN | RED | 16R | 60 | XT9004K:12 | L BACK
KA6212:14 | KM6212-EP | RED | 16R | 60 | XT9004K:11 | L BACK
AF0087:10 | -008710 | WHT | 20 | 180 | UAI0814:8 | ISOLATOR | AF-ISO
AF0087:42 | -008742 | WHT | 20 | 180 | UAI0814:7 | ISOLATOR
KT0571:A2 | -014223 | WHT | 20 | 240 | AF0142:23 | R SIDE WALL | KT L/S-RS WALL
KT0572:A2 | -018316 | WHT | 20 | 240 | AF0183:16 | R SIDE WALL
KT0573:A2 | -018317 | WHT | 20 | 240 | AF0183:17 | R SIDE WALL
KT0574:A2 | -018318 | WHT | 20 | 240 | AF0183:18 | R SIDE WALL
KT0146:A2 | KT0146A2 | WHT | 20 | 240 | AF0076:29 | R SIDE WALL
KT0572:16 | KT057216 | WHT | 20 | 240 | XT0573:2 B2 | R SIDE WALL
KT0573:16 | KT057316 | WHT | 20 | 240 | XT0573:2 T2 | R SIDE WALL
KT0574:16 | KT057316 | WHT | 20 | 240 | XT0573:2 T1 | R SIDE WALL
KT0571:A1 | -014207 | WHT | 20 | 240 | XT0572:1 | R SIDE WALL | KT R/S-RS WALL
KT0572:A1 | -018300 | WHT | 20 | 240 | XT0572:2 | R SIDE WALL
KT0573:A1 | -018301 | WHT | 20 | 240 | XT0572:3 | R SIDE WALL
KT0574:A1 | -018302 | WHT | 20 | 240 | XT0572:9 | R SIDE WALL
KT0146:15 | KT014615 | WHT | 20 | 240 | AF0076:10 | R SIDE WALL
KT0146:B1 | KT0146B1 | WHT | 20 | 240 | AF0076:13 | R SIDE WALL
XT0136:3 | -0V | WHT | 20 | 240 | XT0240:10 | R SIDE WALL | AF/XT-RS WALL
XT0136:1 | FU0139 | WHT | 20 | 240 | XT0240:12 | R SIDE WALL
AF0095:18 | SV2120-2 | WHT | 20 | 240 | XT0060:4 | R SIDE WALL
XT9004K:4 | -0V | WHT | 14 | 240 | XT0110:2 | R SIDE WALL
GR0134: | * | GRN |  |  | IEG0010:4 | ISOLATOR
XT9004K:6 | SB3170-212 | WHT | 20 |  | XT9004K:3 | L BACK
Note on C92: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was: [BLANK] Changed to: GRN MRCA:1990683
Note on D93: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was: [BLANK] Changed to: WHT, 20G MRCA: 1990683

## ISOLATOR_S
RIGHT BACK^ISOLATOR PANEL
Project # | J0401
Project Name | NOC ASABB-C-4401
Revision | 0.1
Controls DE | N.GONZALEZ
Phone: | 0
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UAI0814:1+ | ZS6151P | WHT | 20 | 140 | XT8001KI:76 | ISOLATOR | UAI
UAI0814:3- | ZS61551 | WHT | 20 | 140 | XT8001KI:77 | ISOLATOR
UAI1426:4+ | ZSC7601-1 | WHT | 20 | 140 | XT8001KI:109 | ISOLATOR
UAI1426:6- | ZSC7601-2 | WHT | 20 | 140 | XT8001KI:110 | ISOLATOR
UAI1428:4+ | ZSC7611-1 | WHT | 20 | 140 | XT8001KI:90 | ISOLATOR
UAI1428:6- | ZSC7611-2 | WHT | 20 | 140 | XT8001KI:91 | ISOLATOR
UAI1429:4+ | ZSC7621-1 | WHT | 20 | 140 | XT8001KI:94 | ISOLATOR
UAI1429:6- | ZSC7621-2 | WHT | 20 | 140 | XT8001KI:95 | ISOLATOR
UAI1831:4+ | ZSC7641-1 | WHT | 20 | 140 | XT8001KI:101 | ISOLATOR
UAI1831:6- | ZSC7641-2 | WHT | 20 | 140 | XT8001KI:102 | ISOLATOR
UAI1832:4+ | ZSC7643-1 | WHT | 20 | 140 | XT8001KI:105 | ISOLATOR
UAI1832:6- | ZSC7643-2 | WHT | 20 | 140 | XT8001KI:106 | ISOLATOR
UAI1426:1+ | ZSO7601-1 | WHT | 20 | 140 | XT8001KI:107 | ISOLATOR
UAI1426:3- | ZSO7601-2 | WHT | 20 | 140 | XT8001KI:108 | ISOLATOR
UAI1428:1+ | ZSO7611-1 | WHT | 20 | 140 | XT8001KI:88 | ISOLATOR
UAI1428:3- | ZSO7611-2 | WHT | 20 | 140 | XT8001KI:89 | ISOLATOR
UAI1429:1+ | ZSO7621-1 | WHT | 20 | 140 | XT8001KI:92 | ISOLATOR
UAI1429:3- | ZSO7621-2 | WHT | 20 | 140 | XT8001KI:93 | ISOLATOR
UAI1831:1+ | ZSO7641-1 | WHT | 20 | 140 | XT8001KI:99 | ISOLATOR
UAI1831:3- | ZSO7641-2 | WHT | 20 | 140 | XT8001KI:100 | ISOLATOR
UAI1832:1+ | ZSO7643-1 | WHT | 20 | 140 | XT8001KI:103 | ISOLATOR
UAI1832:3- | ZSO7643-2 | WHT | 20 | 140 | XT8001KI:104 | ISOLATOR
UV0271:11+ | UV0272-8 | WHT | 16 | 60 | UV0272:8+ | ISOLATOR | UV
UV0271:12- | UV0272-9 | WHT | 16 | 60 | UV0272:9- | ISOLATOR
UV0272:11+ | UV0273-8 | WHT | 16 | 60 | UV0273:8+ | ISOLATOR
UV0272:12- | UV0273-9 | WHT | 16 | 60 | UV0273:9- | ISOLATOR
UAI1426:11 | -014205 | WHT | 20 | 160 | AF0142:05 | R SIDE WALL | UAI-RS WALL
UAI1426:8 | -014206 | WHT | 20 | 160 | AF0142:06 | R SIDE WALL
UAI1428:11 | -014207 | WHT | 20 | 160 | XT0572:1 | R SIDE WALL
UAI1428:8 | -014208 | WHT | 20 | 160 | AF0142:08 | R SIDE WALL
UAI1429:8 | -014209 | WHT | 20 | 160 | AF0142:09 | R SIDE WALL
UAI1831:8 | -014212 | WHT | 20 | 160 | AF0142:12 | R SIDE WALL
UAI1832:8 | -014213 | WHT | 20 | 160 | AF0142:13 | R SIDE WALL
UAI1426:10 | -014237 | WHT | 20 | 160 | AF0142:37 | R SIDE WALL
UAI1426:7 | -014238 | WHT | 20 | 160 | AF0142:38 | R SIDE WALL
UAI1428:10 | -014239 | WHT | 20 | 160 | AF0142:39 | R SIDE WALL
UAI1428:7 | -014240 | WHT | 20 | 160 | AF0142:40 | R SIDE WALL
UAI1429:7 | -014241 | WHT | 20 | 160 | AF0142:41 | R SIDE WALL
UAI1831:7 | -014244 | WHT | 20 | 160 | AF0142:44 | R SIDE WALL
UAI1832:7 | -014245 | WHT | 20 | 160 | AF0142:45 | R SIDE WALL
UAI1429:11 | -018300 | WHT | 20 | 160 | XT0572:2 | R SIDE WALL
UAI1831:11 | -018301 | WHT | 20 | 160 | XT0572:3 | R SIDE WALL
UAI1832:11 | -018302 | WHT | 20 | 160 | XT0572:9 | R SIDE WALL
UAI1429:10 | -018332 | WHT | 20 | 160 | AF0183:32 | R SIDE WALL
UAI1831:10 | -018333 | WHT | 20 | 160 | AF0183:33 | R SIDE WALL
UAI1832:10 | -018334 | WHT | 20 | 160 | AF0183:34 | R SIDE WALL
IEG0010:4 | * |  |  |  | GR0134: | L BACK
Note on D63: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was: [BLANK] Changed to: GRN MRCA:

## RS WALL_S
R SIDE WALL
Project # | J0401
Project Name | NOC ASABB-C-4401
Revision | 0.1
Controls DE | N.GONZALEZ
Phone: | 0
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0062:16 | SV2124-2 | WHT | 20 | 160 | XT0060:6 | R SIDE WALL | AF/AU060s
AF0065:COM | AF0065N | WHT | 16 | 60 | AF0068:COM | R SIDE WALL
AF0065:V+ | AF0065P | WHT | 16 | 60 | AF0068:V+ | R SIDE WALL
AF0063:COM | AU0060N | WHT | 16 | 60 | AU0060:COM | R SIDE WALL
AF0063:V+ | AU0060P | WHT | 16 | 60 | AU0060:V+ | R SIDE WALL
AF0061:COM | -0V | WHT | 14 | 160 | XT0060:2 | R SIDE WALL
AF0062:COM | -0V | WHT | 14 | 160 | XT0060:2 | R SIDE WALL
AF0066:COM | -0V | WHT | 14 | 180 | XT0060:2 | R SIDE WALL
AF0067:COM | -0V | WHT | 14 | 180 | XT0060:2 | R SIDE WALL
AU0060:COM | -0V | WHT | 14 | 160 | XT0060:1 | R SIDE WALL
AF0076:12 | -007612 | WHT | 20 | 60 | XT0237:1 B2 | R SIDE WALL | AF/AU070s
AF0076:COM | -0V | WHT | 14 | 160 | XT0070:1 | R SIDE WALL
AU0070:COM | -0V | WHT | 14 | 160 | XT0070:1 | R SIDE WALL
AF0142:07 | -014207 | WHT | 20 | 100 | XT0572:1 | R SIDE WALL | AF/AU140s
AF0142:COM | AU0140N | WHT | 20 | 60 | AU0140:COM | R SIDE WALL
AF0142:V+ | AU0140P | WHT | 20 | 60 | AU0140:V+ | R SIDE WALL
AF0141:16 | SV7621-2 | WHT | 20 | 100 | XT0572:4 | R SIDE WALL
AF0141:20 | SV7641-2 | WHT | 20 | 100 | XT0572:5 | R SIDE WALL
AF0141:22 | SV7643-2 | WHT | 20 | 100 | XT0572:10 | R SIDE WALL
AF0141:COM | -0V | WHT | 14 | 140 | XT0140:3 | R SIDE WALL
AF0146:COM | -0V | WHT | 14 | 160 | XT0140:3 | R SIDE WALL
AU0140:COM | -0V | WHT | 14 | 140 | XT0140:2 | R SIDE WALL
AF0183:00 | -018300 | WHT | 20 | 80 | XT0572:2 | R SIDE WALL | AF/AU180s
AF0183:01 | -018301 | WHT | 20 | 80 | XT0572:3 | R SIDE WALL
AF0183:02 | -018302 | WHT | 20 | 80 | XT0572:9 | R SIDE WALL
AF0183:COM | AF0183N | WHT | 20 | 60 | AF0185:COM | R SIDE WALL
AF0183:V+ | AF0183P | WHT | 20 | 60 | AF0185:V+ | R SIDE WALL
AF0182:COM | AU0180N | WHT | 20 | 60 | AU0180:COM | R SIDE WALL
AF0182:V+ | AU0180P | WHT | 20 | 60 | AU0180:V+ | R SIDE WALL
AF0181:COM | -0V | WHT | 14 | 160 | XT0180:2 | R SIDE WALL
AF0184:COM | -0V | WHT | 14 | 180 | XT0180:2 | R SIDE WALL
AU0180:COM | -0V | WHT | 14 | 160 | XT0180:1 | R SIDE WALL
AF1202:COM | AU1200N | WHT | 16 | 60 | AU1200:COM | R SIDE WALL | AF/AU1200s
AF1202:V+ | AU1200P | WHT | 16 | 60 | AU1200:V+ | R SIDE WALL
AF1201:COM | -0V | WHT | 14 | 160 | XT0130:3 | R SIDE WALL
AU1200:COM | -0V | WHT | 14 | 160 | XT0130:4 | R SIDE WALL
XT0240:4 | ESTOP | WHT | 20 | 180 | XT0140:6 | R SIDE WALL | XT
XT0130:1 | FU0139 | WHT | 20 | 180 | XT0520:1 | R SIDE WALL
XT0130:4 | -0V | WHT | 14 | 180 | XT0520:2 | R SIDE WALL
XT0070:1 | -0V | WHT | 14 | 60 | XT0235:1 | R SIDE WALL
XT0110:2 | -0V | WHT | 14 | 60 | XT0130:2 | R SIDE WALL
XT0180:1 | -0V | WHT | 14 | 60 | XT0140:4 | R SIDE WALL
XT0235:1 | -0V | WHT | 14 | 60 | XT0060:1 | R SIDE WALL
XT0110:1 | FU0139 | WHT | 14 | 60 | XT0130:1 | R SIDE WALL
XT0130:5 | KA0231A1 | WHT | 14 | 60 | XT0110:5 | R SIDE WALL
XT0520:3 | KA0231A1 | WHT | 14 | 180 | XT0130:5 | R SIDE WALL
XT0140:2 | -0V | WHT | 12 | 160 | XT0570:2 | R SIDE WALL
XT0520:2 | -0V | WHT | 12 | 60 | XT0570:2 | R SIDE WALL
XT0140:1 | FU0139 | WHT | 12 | 160 | XT0570:1 | R SIDE WALL
XT0570:1 | FU0139 | WHT | 12 | 60 | XT0520:1 | R SIDE WALL
XT0520:3 | KA0231A1 | WHT | 12 | 60 | XT0570:3 | R SIDE WALL
XT0570:3 | KA0231A1 | WHT | 12 | 60 | XT0140:5 | R SIDE WALL

## JB44_S
JB44
BUOS BOX
Project # | J0401
Project Name | NOC ASABB-C-4401
Revision | 0.1
Controls DE | N.GONZALEZ
Phone: | 0
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UA1200:J1-9 | -0V | WHT | 20 | 60 | XT1200:11 | JB44 | UA
UA1200:J1-10 | FU0212 | WHT | 20 | 60 | XT1200:10 | JB44
UA1200:J2-2 | FU0212 | WHT | 20 | 60 | XT1200:9 | JB44
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | JB44
UA1200:J1-4 | UA1200J14 | WHT | 20 | 60 | XT1200:4 | JB44
UA1200:J1-5 | UA1200J15 | WHT | 20 | 60 | XT1200:5 | JB44
UA1200:J2-1 | UA1200J21 | WHT | 20 | 60 | XT1200:8 | JB44
UA1200:J2-6 | UA1200J26 | WHT | 20 | 60 | XT1200:6 | JB44
UA1200:J2-7 | UA1200J27 | WHT | 20 | 60 | XT1200:7 | JB44

## Bundle Tag Info
NOC-A-1 #1
J0401CC
0.1
CONSOLE | PWR SUPPLY | PWR DST RAIL | ORBIT | L SIDE WALL | L BACK PNL | ISOLATOR | R SIDE WALL | JB44 | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
EL | UJ/QS | AT | AP | FU | PC | UAI | AF/AU060s | UA
AT-PDR | UJ-L BACK | FU | AP-LS WALL | K9 | AF/AU | UV | AF/AU070s
EL/ZS-PDR | XT-L BACK | XT-L BACK | UV-LS WALL | KA A1 | KA A1/A2 | UAI-RS WALL | AF/AU140s
| XT-LS WALL | XT-LS WALL | UV-RS WALL | KA A2 | KT L/S |  | AF/AU180s
|  | FU/XT-RS WALL |  | KA | KT R/S |  | AF/AU1200s
|  |  |  | XT | KA RED |  | XT
|  |  |  | FU-L BACK | AF-ISO
|  |  |  | KA A1/A2-L BACK | KT L/S-RS WALL
|  |  |  | KA-L BACK | KT R/S-RS WALL
|  |  |  | XT-L BACK | AF/XT-RS WALL
XT9K-L BACK
FU/XT-ISO
FU-RS WALL
K9-RS WALL
KA A1-RS WALL
KA A2-RS WALL
KA-RS WALL
XT-RS WALL
XT9K-RS WALL

## Bundle Tags2
CONSOLE | PWR SUPPLY | PWR DST RAIL | ORBIT | L SIDE WALL | L BACK PNL | ISOLATOR | R SIDE WALL | JB44
NOC-A-1 #1 J0401CC 0.1 CONSOLE EL | NOC-A-1 #1 J0401CC 0.1 PWR SUPPLY UJ/QS | NOC-A-1 #1 J0401CC 0.1 PWR DST RAIL AT | NOC-A-1 #1 J0401CC 0.1 ORBIT AP | NOC-A-1 #1 J0401CC 0.1 L SIDE WALL FU | NOC-A-1 #1 J0401CC 0.1 L BACK PNL PC | NOC-A-1 #1 J0401CC 0.1 ISOLATOR UAI | NOC-A-1 #1 J0401CC 0.1 R SIDE WALL AF/AU060s | NOC-A-1 #1 J0401CC 0.1 JB44 UA
NOC-A-1 #1 J0401CC 0.1 CONSOLE AT-PDR | NOC-A-1 #1 J0401CC 0.1 PWR SUPPLY UJ-L BACK | NOC-A-1 #1 J0401CC 0.1 PWR DST RAIL FU | NOC-A-1 #1 J0401CC 0.1 ORBIT AP-LS WALL | NOC-A-1 #1 J0401CC 0.1 L SIDE WALL K9 | NOC-A-1 #1 J0401CC 0.1 L BACK PNL AF/AU | NOC-A-1 #1 J0401CC 0.1 ISOLATOR UV | NOC-A-1 #1 J0401CC 0.1 R SIDE WALL AF/AU070s
NOC-A-1 #1 J0401CC 0.1 CONSOLE EL/ZS-PDR | NOC-A-1 #1 J0401CC 0.1 PWR SUPPLY XT-L BACK | NOC-A-1 #1 J0401CC 0.1 PWR DST RAIL XT-L BACK | NOC-A-1 #1 J0401CC 0.1 ORBIT UV-LS WALL | NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA A1 | NOC-A-1 #1 J0401CC 0.1 L BACK PNL KA A1/A2 | NOC-A-1 #1 J0401CC 0.1 ISOLATOR UAI-RS WALL | NOC-A-1 #1 J0401CC 0.1 R SIDE WALL AF/AU140s
| NOC-A-1 #1 J0401CC 0.1 PWR SUPPLY XT-LS WALL | NOC-A-1 #1 J0401CC 0.1 PWR DST RAIL XT-LS WALL | NOC-A-1 #1 J0401CC 0.1 ORBIT UV-RS WALL | NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA A2 | NOC-A-1 #1 J0401CC 0.1 L BACK PNL KT L/S |  | NOC-A-1 #1 J0401CC 0.1 R SIDE WALL AF/AU180s
|  | NOC-A-1 #1 J0401CC 0.1 PWR DST RAIL FU/XT-RS WALL |  | NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA | NOC-A-1 #1 J0401CC 0.1 L BACK PNL KT R/S |  | NOC-A-1 #1 J0401CC 0.1 R SIDE WALL AF/AU1200s
|  |  |  | NOC-A-1 #1 J0401CC 0.1 L SIDE WALL XT | NOC-A-1 #1 J0401CC 0.1 L BACK PNL KA RED |  | NOC-A-1 #1 J0401CC 0.1 R SIDE WALL XT
|  |  |  | NOC-A-1 #1 J0401CC 0.1 L SIDE WALL FU-L BACK | NOC-A-1 #1 J0401CC 0.1 L BACK PNL AF-ISO
|  |  |  | NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA A1/A2-L BACK | NOC-A-1 #1 J0401CC 0.1 L BACK PNL KT L/S-RS WALL
|  |  |  | NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA-L BACK | NOC-A-1 #1 J0401CC 0.1 L BACK PNL KT R/S-RS WALL
|  |  |  | NOC-A-1 #1 J0401CC 0.1 L SIDE WALL XT-L BACK | NOC-A-1 #1 J0401CC 0.1 L BACK PNL AF/XT-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL XT9K-L BACK
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL FU/XT-ISO
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL FU-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL K9-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA A1-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA A2-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL XT-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL XT9K-RS WALL

## ALL
ALL
NOC-A-1 #1 J0401CC 0.1 CONSOLE EL
NOC-A-1 #1 J0401CC 0.1 CONSOLE AT-PDR
NOC-A-1 #1 J0401CC 0.1 CONSOLE EL/ZS-PDR
NOC-A-1 #1 J0401CC 0.1 PWR SUPPLY UJ/QS
NOC-A-1 #1 J0401CC 0.1 PWR SUPPLY UJ-L BACK
NOC-A-1 #1 J0401CC 0.1 PWR SUPPLY XT-L BACK
NOC-A-1 #1 J0401CC 0.1 PWR SUPPLY XT-LS WALL
NOC-A-1 #1 J0401CC 0.1 PWR DST RAIL AT
NOC-A-1 #1 J0401CC 0.1 PWR DST RAIL FU
NOC-A-1 #1 J0401CC 0.1 PWR DST RAIL XT-L BACK
NOC-A-1 #1 J0401CC 0.1 PWR DST RAIL XT-LS WALL
NOC-A-1 #1 J0401CC 0.1 PWR DST RAIL FU/XT-RS WALL
NOC-A-1 #1 J0401CC 0.1 ORBIT AP
NOC-A-1 #1 J0401CC 0.1 ORBIT AP-LS WALL
NOC-A-1 #1 J0401CC 0.1 ORBIT UV-LS WALL
NOC-A-1 #1 J0401CC 0.1 ORBIT UV-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL FU
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL K9
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA A1
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA A2
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL XT
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL FU-L BACK
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA A1/A2-L BACK
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA-L BACK
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL XT-L BACK
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL XT9K-L BACK
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL FU/XT-ISO
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL FU-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL K9-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA A1-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA A2-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL KA-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL XT-RS WALL
NOC-A-1 #1 J0401CC 0.1 L SIDE WALL XT9K-RS WALL
NOC-A-1 #1 J0401CC 0.1 L BACK PNL PC
NOC-A-1 #1 J0401CC 0.1 L BACK PNL AF/AU
NOC-A-1 #1 J0401CC 0.1 L BACK PNL KA A1/A2
NOC-A-1 #1 J0401CC 0.1 L BACK PNL KT L/S
NOC-A-1 #1 J0401CC 0.1 L BACK PNL KT R/S
NOC-A-1 #1 J0401CC 0.1 L BACK PNL KA RED
NOC-A-1 #1 J0401CC 0.1 L BACK PNL AF-ISO
NOC-A-1 #1 J0401CC 0.1 L BACK PNL KT L/S-RS WALL
NOC-A-1 #1 J0401CC 0.1 L BACK PNL KT R/S-RS WALL
NOC-A-1 #1 J0401CC 0.1 L BACK PNL AF/XT-RS WALL
NOC-A-1 #1 J0401CC 0.1 ISOLATOR UAI
NOC-A-1 #1 J0401CC 0.1 ISOLATOR UV
NOC-A-1 #1 J0401CC 0.1 ISOLATOR UAI-RS WALL
NOC-A-1 #1 J0401CC 0.1 R SIDE WALL AF/AU060s
NOC-A-1 #1 J0401CC 0.1 R SIDE WALL AF/AU070s
NOC-A-1 #1 J0401CC 0.1 R SIDE WALL AF/AU140s
NOC-A-1 #1 J0401CC 0.1 R SIDE WALL AF/AU180s
NOC-A-1 #1 J0401CC 0.1 R SIDE WALL AF/AU1200s
NOC-A-1 #1 J0401CC 0.1 R SIDE WALL XT
NOC-A-1 #1 J0401CC 0.1 JB44 UA