## CONSOLE_S
CONSOLE
CONTROL CONSOLE & CONTROL CONSOLE (DOOR PANELS)
Project # | J0420
Project Name | ASAFA-A-3515
Revision | A.1
Controls DE | N. Gonzalez
Phone:
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
EL0272:B1 | EL0271B | WHT | 14 | 60 | EL0273:B2 | CONSOLE | EL0
EL0272:W1 | EL0271W | WHT | 14 | 60 | EL0273:W2 | CONSOLE
EL0272:B2 | EL0272B | WHT | 14 | 60 | ZS0271:2 | CONSOLE
EL0273:B1 | ZS0273 | WHT | 14 | 60 | ZS0273:2 | CONSOLE
AT0190:NEG | -0V1 | WHT | 14 | 140 | XT0562:2 | PWR DST RAIL | AT-PWR DST
AT0190:POS | FU0190 | WHT | 14 | 140 | FU0190:LD | PWR DST RAIL
EL0273:W1 | -0V1 | WHT | 14 | 120 | XT0562:1 | PWR DST RAIL | EL/ZS-PWR DST
ZS0271:1 | FU0273 | WHT | 14 | 140 | FU0273:LD | PWR DST RAIL
ZS0273:1 | FU0273 | WHT | 14 | 140 | FU0273:LD | PWR DST RAIL

## PWR DST RAIL_S
PWR DISTRIBUTION RAIL
CONTROL CONSOLE DOOR (PWR DIST RAIL)
Project # | J0420
Project Name | ASAFA-A-3515
Revision | A.1
Controls DE | N. Gonzalez
Phone:
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | PWR DST RAIL | AT
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PWR DST RAIL
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PWR DST RAIL | FU
FU0190:LI | FU0200LI | WHT | 14 | 60 | FU0273:LI | PWR DST RAIL
FU0200:LI | FU0200LI | WHT | 14 | 60 | FU0201:LI | PWR DST RAIL
FU0200:LI | FU0200LI | WHT | 14 | 60 | XT0561:1 | PWR DST RAIL
FU0201:LI | FU0200LI | WHT | 14 | 60 | FU0273:LI | PWR DST RAIL
FU0560:LD | FU0200LI | WHT | 14 | 60 | XT0561:1 | PWR DST RAIL
FU0560:LI | FU0136 | WHT | 12 | 60 | XT0560:1 | PWR DST RAIL
XT0563:2 | ESTOPA | WHT | 20 | 280 | XT0240:3 | LBACK PNL | FU/XT-LBACK
XT0563:1 | ESTOPB | WHT | 20 | 280 | XT0240:2 | LBACK PNL
XT0563:6 | FU0139 | WHT | 20 | 280 | XT0240:11 | LBACK PNL
XT0563:3 | KA023612 | WHT | 20 | 280 | XT0240:13 | LBACK PNL
XT0563:5 | KA0241A1 | WHT | 20 | 280 | XT0240:6 | LBACK PNL
XT0560:2 | -0V | WHT | 14 | 260 | XT0134:2 | LBACK PNL
XT0563:4 | -0V | WHT | 14 | 280 | XT0240:9 | LBACK PNL
XT0680:2 | -0V | WHT | 14 | 280 | XT0235:3 | LBACK PNL
FU0680:LI | FU0210 | WHT | 14 | 280 | XT0233:3 | LBACK PNL
XT0560:1 | FU0136 | WHT | 12 | 260 | XT0138:2 | LBACK PNL

## ORBIT 60_S
ORBIT 60^DOOR PANEL
CONTROL CONSOLE^(ORBIT 60 RACK DOOR PANEL)
Project # | J0420
Project Name | ASAFA-A-3515
Revision | A.1
Controls DE | N. Gonzalez
Phone:
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AP0612:COM | -0612COM | WHT | 20 | 300 | KA0701:14 | LSIDE WALL | AP/UV-LS WALL
AP0612:TM | -0612TM | WHT | 20 | 300 | KA0701:11 | LSIDE WALL
UV0610:+DC | FU0111 | WHT | 14 | 300 | FU0111:LD | LSIDE WALL
UV0611:+DC | FU0112 | WHT | 14 | 300 | FU0112:LD | LSIDE WALL
AP0612:ARM | -0612ARM | WHT | 20 | 400 | AF0082:42 | RSIDE WALL | AP/UV-RS WALL
AP0612:NO | -0612NO | WHT | 20 | 400 | AF0082:10 | RSIDE WALL
AP0628:ARM1 | -0628ARM1 | WHT | 20 | 400 | AF0082:39 | RSIDE WALL
AP0628:ARM2 | -0628ARM2 | WHT | 20 | 400 | AF0082:40 | RSIDE WALL
AP0628:ARM3 | -0628ARM3 | WHT | 20 | 400 | AF0082:41 | RSIDE WALL
AP0628:NO1 | -0628NO1 | WHT | 20 | 400 | AF0082:07 | RSIDE WALL
AP0628:NO2 | -0628NO2 | WHT | 20 | 400 | AF0082:08 | RSIDE WALL
AP0628:NO3 | -0628NO3 | WHT | 20 | 400 | AF0082:09 | RSIDE WALL
UV0610:COM | -0V | WHT | 14 | 400 | XT0110:2 | RSIDE WALL
UV0611:COM | -0V | WHT | 14 | 400 | XT0110:3 | RSIDE WALL

## L SIDE WALL_S
LEFT SIDE WALL^PANEL
Project # | J0420
Project Name | ASAFA-A-3515
Revision | A.1
Controls DE | N. Gonzalez
Phone:
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
FU0111:LI | FU0110 | WHT | 14 | 80 | FU0110:LD | L/S WALL | FU
FU0111:LI | FU0110 | WHT | 14 | 60 | FU0112:LI | L/S WALL
FU0310:LD | FU0310 | WHT | 14 | 100 | FU0320:LI | L/S WALL
KA0130:A1 | -008135 | WHT | 20 | 60 | KA0130:11 | L/S WALL | KA A1/A2
KA0131:A1 | KA0231A1 | WHT | 20 | 60 | KA0242:11 | L/S WALL
KA0132:A1 | KA0231A1 | WHT | 20 | 60 | KA0141:A1 | L/S WALL
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | KA0249:A1 | L/S WALL
KA0136:A1 | PS3200-2 | WHT | 20 | 100 | XT9001K:24 | L/S WALL
KA0130:A2 | UA1200J26 | WHT | 20 | 80 | XT9000K:77 | L/S WALL
KA0233:11 | FCE14207 | WHT | 20 | 100 | XT9001K:32 | L/S WALL | KA
KA0234:11 | FCE14407 | WHT | 20 | 100 | XT9000K:1 | L/S WALL
KA0237:11 | FCE21307 | WHT | 20 | 80 | XT-9329:7 | L/S WALL
KA0236:11 | FU0139 | WHT | 20 | 60 | KA0244:11 | L/S WALL
KA0232:21 | FU0170 | WHT | 20 | 60 | FU0170:LD | L/S WALL
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | L/S WALL
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | L/S WALL
KA0221:11 | KA022111 | WHT | 20 | 60 | KA0235:24 | L/S WALL
KA0222:11 | KA022211 | WHT | 20 | 60 | KA0236:24 | L/S WALL
KA0231:21 | KA023121 | WHT | 20 | 60 | KA0245:14 | L/S WALL
KA0231:11 | KA0231A1 | WHT | 20 | 80 | KA0231:A1 | L/S WALL
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0242:11 | L/S WALL
KA0243:24 | KA024511 | WHT | 20 | 60 | KA0245:11 | L/S WALL
KA0242:24 | KA024812 | WHT | 20 | 60 | KA0248:12 | L/S WALL
KA0240:14 | SB1300-111 | WHT | 20 | 100 | XT9001K:11 | L/S WALL
KA0235:21 | SV2120-1 | WHT | 20 | 100 | XT9001K:19 | L/S WALL
KA0236:21 | SV2124-1 | WHT | 20 | 100 | XT9001K:21 | L/S WALL
KA0235:11 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | L/S WALL
KA0240:11 | UF1300-D2P | WHT | 20 | 100 | XT9001K:13 | L/S WALL
KA0925:11 | YK7502-1 | WHT | 20 | 80 | XT-9311:9 | L/S WALL
KA0925:14 | YK7502-2 | WHT | 20 | 80 | XT-9311:10 | L/S WALL
KA0927:11 | YK7503-1 | WHT | 20 | 80 | XT-9311:11 | L/S WALL
KA0927:14 | YK7503-2 | WHT | 20 | 80 | XT-9311:12 | L/S WALL
KA0929:11 | YK7504-1 | WHT | 20 | 80 | XT-9300:39 | L/S WALL
KA0929:14 | YK7504-2 | WHT | 20 | 80 | XT-9300:40 | L/S WALL
KA0248:11 | FU0212 | WHT | 16 | 80 | FU0212:LD | L/S WALL
KA1020:14 | FU0211 | WHT | 14 | 80 | FU0211:LD | L/S WALL
KT0140:16 | KT014115 | WHT | 20 | 100 | KT0141:15 | L/S WALL | KT
KT0140:18 | KT0143A1 | WHT | 20 | 120 | KT0143:A1 | L/S WALL
KT0145:A1 | KA024412 | WHT | 20 | 60 | KA0244:12 | L/S WALL
KT0140:A1 | KT0140A1 | WHT | 20 | 120 | KT0143:16 | L/S WALL
KT0144:B1 | KT0144B1 | WHT | 20 | 60 | KA0138:24 | L/S WALL
FU0450:LD | FU0450 | WHT | 16 | 220 | UAI1520:+24V | C/B ISO | FU-C/B ISO
FU0271:LD | UV0271P | WHT | 16 | 220 | UV0271:8+ | C/B ISO
FU0281:LD | UV0281P | WHT | 16 | 220 | UV0281:8+ | C/B ISO
FU0212:LD | FU0212 | WHT | 16 | 200 | XT0233:5 | L/B PNL | FU-L/B PNL
FU0010:LD | FU0010 | WHT | 14 | 200 | UV0600:(+) | L/B PNL
FU0137:LI | FU0136 | WHT | 14 | 200 | XT0138:1 | L/B PNL
FU0210:LI | FU0136 | WHT | 14 | 200 | XT0138:4 | L/B PNL
FU0010:LI | FU0137 | WHT | 14 | 200 | XT0139:1 | L/B PNL
FU0080:LI | FU0137 | WHT | 14 | 200 | XT0139:2 | L/B PNL
FU0090:LI | FU0137 | WHT | 14 | 200 | XT0139:2 | L/B PNL
FU0139:LI | FU0137 | WHT | 14 | 200 | XT0139:1 | L/B PNL
FU0271:LI | FU0137 | WHT | 14 | 200 | XT0139:3 | L/B PNL
FU0281:LI | FU0137 | WHT | 14 | 200 | XT0139:3 | L/B PNL
FU0291:LI | FU0137 | WHT | 14 | 200 | XT0139:4 | L/B PNL
FU0139:LD | FU0139 | WHT | 14 | 200 | XT0136:1 | L/B PNL
FU0060:LI | FU0210 | WHT | 14 | 200 | XT0233:1 | L/B PNL
FU0070:LI | FU0210 | WHT | 14 | 200 | XT0233:2 | L/B PNL
FU0212:LI | FU0210 | WHT | 14 | 200 | XT0233:1 | L/B PNL
FU0213:LI | FU0210 | WHT | 14 | 200 | XT0233:2 | L/B PNL
FU0137:LD | FU0137 | WHT | 12 | 200 | XT0139:1 | L/B PNL
FU0211:LI | FU0137 | WHT | 12 | 200 | XT0139:3 | L/B PNL
FU0170:LI | FU0210 | WHT | 12 | 200 | XT0233:4 | L/B PNL
FU0210:LD | FU0210 | WHT | 12 | 200 | XT0233:1 | L/B PNL
FU0031:LD | -24V | WHT | 10 | 200 | XT0031:1 | L/B PNL
FU0032:LD | -24V | WHT | 10 | 200 | XT0032:1 | L/B PNL
FU0136:LI | -24V | WHT | 10 | 200 | XT0031:2 | L/B PNL
FU0032:LI | -24V1 | WHT | 10 | 250 | UJ0131:OUT(+) | L/B PNL
FU0031:LI | -24V2 | WHT | 10 | 250 | UJ0031:OUT(+) | L/B PNL
FU0136:LD | FU0136 | WHT | 10 | 200 | XT0138:1 | L/B PNL
KA0243:A1 | KA0243A1 | WHT | 20 | 200 | XT0240:7 | L/B PNL | KA A1/A2- L/B PNL
KA0245:A1 | KA0245A1 | WHT | 20 | 200 | XT0240:8 | L/B PNL
KA0176:A2 | -0V | WHT | 14 | 200 | XT0235:4 | L/B PNL
KA0242:21 | -024221 | WHT | 20 | 160 | XT0237:1 T2 | L/B PNL | KA- L/B PNL
KA0817:24 | ESTOPB | WHT | 20 | 160 | XT0240:2 | L/B PNL
KA0243:21 | ESTOPC | WHT | 20 | 160 | XT0240:1 | L/B PNL
KA0817:21 | ESTOPC | WHT | 20 | 160 | XT0240:1 | L/B PNL
KA0236:11 | FU0139 | WHT | 20 | 160 | XT0240:12 | L/B PNL
KA0236:12 | KA023612 | WHT | 20 | 160 | XT0240:13 | L/B PNL
KA9982:12 | KA0243A1 | WHT | 20 | 160 | XT0240:7 | L/B PNL
KA9984:11 | KA0245A1 | WHT | 20 | 160 | XT0240:8 | L/B PNL
KA1020:24 | -0V | WHT | 14 | 160 | XT0135:4 | L/B PNL
KA1020:11 | LZ10201 | WHT | 14 | 220 | XT9926:1 | L/B PNL
KA1020:21 | LZ10202 | WHT | 14 | 220 | XT9926:2 | L/B PNL
KT0140:A2 | -0V | WHT | 20 | 140 | XT0136:3 | L/B PNL | KT/XT-L/B PNL
XT9000K:82 | -0V | WHT | 20 | 300 | XT0235:5 | L/B PNL
XT-9014:16 | ESTOP | WHT | 20 | 300 | XT0240:4 | L/B PNL
XT-9014:7 | ESTOPA | WHT | 20 | 300 | XT0240:3 | L/B PNL
XT9001K:23 | FU0139 | WHT | 20 | 300 | XT0136:1 | L/B PNL
XT9000K:80 | FU0212 | WHT | 20 | 300 | XT0233:5 | L/B PNL
XT9000K:76 | UA1200J15 | WHT | 20 | 300 | XT0237:1 B1 | L/B PNL
KA9982:A1 | CC9982-1 | WHT | 20 | 300 | XT-9501:1 | R/B ISO | KA A1/A2-R/B ISO
KA9984:A1 | CC9984-1 | WHT | 20 | 300 | XT-9501:3 | R/B ISO
KA0817:A1 | SB7512-1 | WHT | 20 | 300 | XT-TS270:38 | R/B ISO
KA1823:A1 | SB7513-1 | WHT | 20 | 300 | XT-TS2040:5 | R/B ISO
KA9982:A2 | CC9982-2 | WHT | 20 | 300 | XT-9501:2 | R/B ISO
KA9984:A2 | CC9984-2 | WHT | 20 | 300 | XT-9501:4 | R/B ISO
KA0817:A2 | SB7512-2 | WHT | 20 | 300 | XT-TS270:39 | R/B ISO
KA1823:A2 | SB7513-2 | WHT | 20 | 300 | XT-TS2040:6 | R/B ISO
KA0923:11 | CC9003-1 | WHT | 20 | 300 | XT-TS270:32 | R/B ISO | KA-R/B ISO
KA0923:14 | CC9003-2 | WHT | 20 | 300 | XT-TS270:33 | R/B ISO
KA0924:11 | CC9004-1 | WHT | 20 | 300 | XT-TS270:36 | R/B ISO
KA0924:14 | CC9004-2 | WHT | 20 | 300 | XT-TS270:37 | R/B ISO
KA0237:21 | FCE2140-7 | WHT | 20 | 300 | XT-9334:7 | R/B ISO
KA7174:11 | CC7174-1 | WHT | 16 | 300 | XT-TS257:9 | R/B ISO
KA7174:14 | CC7174-2 | WHT | 16 | 300 | XT-TS257:10 | R/B ISO
KA7175:21 | CC7175-1 | WHT | 16 | 300 | XT-TS257:11 | R/B ISO
KA7175:24 | CC7175-2 | WHT | 16 | 300 | XT-TS257:12 | R/B ISO
KA7176:21 | CC7176-1 | WHT | 16 | 300 | XT-TS257:13 | R/B ISO
KA7176:24 | CC7176-2 | WHT | 16 | 300 | XT-TS257:14 | R/B ISO
XT-9014:12 | ESTOPD |  |  |  | XT-9014:15 | L/S WALL | MRCA:
Note on C294: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was:[BLANK] Changed to: WHT 20G

## L BACK PNL_S
LEFT BACK^PANEL
Project # | J0420
Project Name | ASAFA-A-3515
Revision | A.1
Controls DE | N. Gonzalez
Phone:
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
QS0031:LD-3 | UJ0031N | WHT | 12 | 60 | UJ0031:- | L/B PNL | QS
QS0031:LD-1 | UJ0031P | WHT | 12 | 60 | UJ0031:+ | L/B PNL
QS0131:LD-3 | UJ0131N | WHT | 12 | 80 | UJ0131:- | L/B PNL
QS0131:LD-1 | UJ0131P | WHT | 12 | 80 | UJ0131:+ | L/B PNL
UV0600:(-) | -0V | WHT | 14 | 60 | XT0135:1 | L/B PNL | UV
XT0136:3 | -0V | WHT | 16 | 60 | XT0240:10 | L/B PNL | XT
XT0136:1 | FU0139 | WHT | 16 | 60 | XT0240:12 | L/B PNL
XT0031:3 | -0V | WHT | 14 | 60 | XT0134:1 | L/B PNL
XT0134:1 | -0V | WHT | 14 | 60 | XT0135:1 | L/B PNL
XT0134:4 | -0V | WHT | 14 | 60 | XT0235:1 | L/B PNL
XT0135:1 | -0V | WHT | 14 | 60 | XT0136:3 | L/B PNL
XT0032:3 | -0V | WHT | 12 | 60 | XT0085:3 | L/B PNL
XT0032:1 | -24V | WHT | 12 | 60 | XT0085:1 | L/B PNL
XT0135:3 | -0V | WHT | 14 | 180 | UV0281:9- | C/B ISO | XT-CBACK ISO
XT0135:3 | -0V | WHT | 14 | 180 | UV0271:9- | C/B ISO
UJ0031:IS | UJ0131IS |  |  |  | UJ0131:IS | L/B PNL | MRCA:
Note on C70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Was: [BLANK] Changed to: WHT 20G

## CENTER BACK ISO_S
CENTER BACK^ISOLATOR PANEL
Project # | J0420
Project Name | ASAFA-A-3515
Revision | A.1
Controls DE | N. Gonzalez
Phone:
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UAI0814:1+ | ZS6151P | WHT | 20 | 80 | XT-8621:1 | C/B ISO | UAI
UAI0814:3- | ZS61581 | WHT | 20 | 80 | XT-8621:2 | C/B ISO
UV0271:11+ | UV02718 | WHT | 16 | 60 | UV0272:8+ | C/B ISO | UV
UV0271:12- | UV02719 | WHT | 16 | 60 | UV0272:9- | C/B ISO
UV0281:11+ | UV028118 | WHT | 16 | 60 | UV0282:8+ | C/B ISO
UV0281:12- | UV02819 | WHT | 16 | 60 | UV0282:9- | C/B ISO

## R SIDE WALL_S
RIGHT SIDE WALL
Project # | J0420
Project Name | ASAFA-A-3515
Revision | A.1
Controls DE | N. Gonzalez
Phone:
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0063:COM | AU0060N | WHT | 20 | 60 | AU0060:COM | RSIDE WALL | AF/AU0060'S
AF0063:V+ | AU0060P | WHT | 20 | 60 | AU0060:V+ | RSIDE WALL
AF0061:COM | -0V | WHT | 14 | 100 | XT0060:2 | RSIDE WALL
AF0062:COM | -0V | WHT | 14 | 100 | XT0060:2 | RSIDE WALL
AF0067:COM | -0V | WHT | 14 | 100 | XT0060:2 | RSIDE WALL
AU0060:COM | -0V | WHT | 14 | 100 | XT0060:1 | RSIDE WALL
AF0075:COM | AF0075N | WHT | 20 | 60 | AF0077:COM | RSIDE WALL | AF/AU0070s
AF0075:V+ | AF0075P | WHT | 20 | 60 | AF0077:V+ | RSIDE WALL
AF0076:COM | -0V | WHT | 14 | 80 | XT0070:2 | RSIDE WALL
AU0070:COM | -0V | WHT | 14 | 60 | XT0070:1 | RSIDE WALL
AF0082:COM | -0V | WHT | 16 | 80 | XT0080:2 | RSIDE WALL | AF/AU080s
AU0080:COM | -0V | WHT | 16 | 80 | XT0080:1 | RSIDE WALL
AF0091:COM | AF0091N | WHT | 20 | 60 | AF0094:COM | RSIDE WALL | AF/AU090s
AF0091:V+ | AF0091P | WHT | 20 | 60 | AF0094:V+ | RSIDE WALL
AF0094:COM | AF0094N | WHT | 20 | 60 | AF0096:COM | RSIDE WALL
AF0094:V+ | AF0094P | WHT | 20 | 60 | AF0096:V+ | RSIDE WALL
AF0092:COM | -0V | WHT | 16 | 60 | XT0090:2 | RSIDE WALL
AF0093:COM | -0V | WHT | 16 | 60 | XT0090:2 | RSIDE WALL
AF0095:COM | -0V | WHT | 16 | 60 | XT0090:2 | RSIDE WALL
AU0090:COM | -0V | WHT | 16 | 60 | XT0090:1 | RSIDE WALL
AU0320:COM | -0V | WHT | 14 | 60 | XT0310:2 | RSIDE WALL | AU0320
AF0450:53 | -0V | WHT | 14 | 100 | XT0450:2 | RSIDE WALL | 1444
KA3103:A1 | -009208 | WHT | 20 | 60 | AF0092:08 | RSIDE WALL | KA A1/A2
KA3104:A1 | -009303 | WHT | 20 | 60 | AF0093:03 | RSIDE WALL
KA3103:A2 | -009224 | WHT | 20 | 60 | AF0092:24 | RSIDE WALL
KA3104:A2 | -009319 | WHT | 20 | 60 | AF0093:19 | RSIDE WALL
KA6211:A2 | -009320 | WHT | 20 | 60 | AF0093:20 | RSIDE WALL
KA6212:A2 | -009329 | WHT | 20 | 60 | AF0093:29 | RSIDE WALL
KA3103:14 | H3103-T2 | RED | 16R | 60 | XT9004K:7 | RSIDE WALL | KA RED
KA3103:11 | KM3103-EN | RED | 16R | 60 | XT9004K:8 | RSIDE WALL
KA3104:14 | KM3104-1 | RED | 16R | 60 | XT9004K:9 | RSIDE WALL
KA3104:11 | KM3104-2 | RED | 16R | 60 | XT9004K:10 | RSIDE WALL
KA0135:11 | KM3150-EN | RED | 16R | 60 | XT9004K:2 | RSIDE WALL
KA0135:12 | KM3150-EP | RED | 16R | 60 | XT9004K:1 | RSIDE WALL
KA6211:11 | KM6211-EN | RED | 16R | 60 | XT-7628:2 | RSIDE WALL
KA6211:14 | KM6211-EP | RED | 16R | 60 | XT-7628:1 | RSIDE WALL
KA6212:21 | KM6212-EN | RED | 16R | 60 | XT-7628:5 | RSIDE WALL
KA6212:24 | KM6212-EP | RED | 16R | 60 | XT-7628:4 | RSIDE WALL
QS0201:LI-2 | QS02012 | WHT | 14 | 60 | XT-XS0201:1 | RSIDE WALL | QS
QS0201:LI-4 | QS02014 | WHT | 14 | 60 | XT-XS0201:2 | RSIDE WALL
XT9010:2 | -0V | WHT | 16 | 60 | XT0080:3 | RSIDE WALL | XT
XT-XS0201:3 | QS0201GY | WHT | 14 | 60 | XT-QS0201:1 | RSIDE WALL
FU0082:LD | FU0082 | WHT | 16 |  | XT9010:1 | L/S WALL | FU-L/S WALL
FU0213:LD | FU0213 | WHT | 16 |  | XT9004K:6 | L/S WALL
FU0450:LD | FU0450 | WHT | 16 |  | AF0450:55 | L/S WALL
L/S WALL
FU0060:LD | FU0060 | WHT | 14 |  | AU0060:V+ | L/S WALL
FU0061:LD | FU0061 | WHT | 14 |  | AF0061:V+ | L/S WALL
FU0062:LD | FU0062 | WHT | 14 |  | AF0062:V+ | L/S WALL
FU0063:LD | FU0063 | WHT | 14 |  | AF0067:V+ | L/S WALL
FU0070:LD | FU0070 | WHT | 14 |  | AU0070:V+ | L/S WALL
FU0071:LD | FU0071 | WHT | 14 |  | AF0076:V+ | L/S WALL
FU0080:LD | FU0080 | WHT | 14 |  | AU0080:V+ | L/S WALL
FU0081:LD | FU0081 | WHT | 14 |  | AF0082:V+ | L/S WALL
FU0090:LD | FU0090 | WHT | 14 |  | AU0090:V+ | L/S WALL
FU0091:LD | FU0091 | WHT | 14 |  | AF0092:V+ | L/S WALL
FU0092:LD | FU0092 | WHT | 14 |  | AF0093:V+ | L/S WALL
FU0093:LD | FU0093 | WHT | 14 |  | AF0095:V+ | L/S WALL
FU0110:LI | FU0136 | WHT | 14 |  | XT0110:1 | L/S WALL
FU0310:LI | FU0136 | WHT | 14 |  | XT0310:1 | L/S WALL
FU0450:LI | FU0136 | WHT | 14 |  | XT0450:1 | L/S WALL
FU0320:LD | FU0320 | WHT | 14 |  | AU0320:V+ | L/S WALL
KA0221:A1 | -007602 | WHT | 20 |  | AF0076:02 | L/S WALL | KA A1-L/S WALL
KA7175:A1 | -007603 | WHT | 20 |  | AF0076:03 | L/S WALL
KA0222:A1 | -007604 | WHT | 20 |  | AF0076:04 | L/S WALL
KA1020:A1 | -007607 | WHT | 20 |  | AF0076:07 | L/S WALL
KA0130:A1 | -008135 | WHT | 20 |  | AF0081:35 | L/S WALL
KA0701:A1 | -009200 | WHT | 20 |  | AF0092:00 | L/S WALL
KA0923:A1 | -009203 | WHT | 20 |  | AF0092:03 | L/S WALL
KA0924:A1 | -009204 | WHT | 20 |  | AF0092:04 | L/S WALL
KA0925:A1 | -009205 | WHT | 20 |  | AF0092:05 | L/S WALL
KA0927:A1 | -009207 | WHT | 20 |  | AF0092:07 | L/S WALL
KA0929:A1 | -009209 | WHT | 20 |  | AF0092:09 | L/S WALL
KA7174:A1 | -009504 | WHT | 20 |  | AF0095:04 | L/S WALL
KA7176:A1 | -009506 | WHT | 20 |  | AF0095:06 | L/S WALL
KA0133:A1 | KA0133A1 | WHT | 20 |  | AF0092:02 | L/S WALL
KA0134:A1 | KA0134A1 | WHT | 20 |  | AF0067:12 | L/S WALL
KA0134:A1 | KA0134A1 | WHT | 20 |  | AF0091:12 | L/S WALL
KA6211:A1 | KA6211A1 | WHT | 20 |  | KA0246:14 | L/S WALL
KA6212:A1 | KA6212A1 | WHT | 20 |  | KA0247:14 | L/S WALL
KA0221:A2 | -007618 | WHT | 20 |  | AF0076:18 | L/S WALL | KA A2 L/S WALL
KA7175:A2 | -007619 | WHT | 20 |  | AF0076:19 | L/S WALL
KA0222:A2 | -007620 | WHT | 20 |  | AF0076:20 | L/S WALL
KA1020:A2 | -007623 | WHT | 20 |  | AF0076:23 | L/S WALL
KA0701:A2 | -009216 | WHT | 20 |  | AF0092:16 | L/S WALL
KA0923:A2 | -009219 | WHT | 20 |  | AF0092:19 | L/S WALL
KA0924:A2 | -009220 | WHT | 20 |  | AF0092:20 | L/S WALL
KA0925:A2 | -009221 | WHT | 20 |  | AF0092:21 | L/S WALL
KA0927:A2 | -009223 | WHT | 20 |  | AF0092:23 | L/S WALL
KA0929:A2 | -009225 | WHT | 20 |  | AF0092:25 | L/S WALL
KA7174:A2 | -009520 | WHT | 20 |  | AF0095:20 | L/S WALL
KA7176:A2 | -009522 | WHT | 20 |  | AF0095:22 | L/S WALL
KA0233:14 | -006102 | WHT | 20 |  | AF0061:02 | L/S WALL | KA-L/S WALL
KA0222:14 | -006206 | WHT | 20 |  | AF0062:06 | L/S WALL
KA0237:14 | -007600 | WHT | 20 |  | AF0076:00 | L/S WALL
KA0237:24 | -007601 | WHT | 20 |  | AF0076:01 | L/S WALL
KA0130:14 | -008103 | WHT | 20 |  | AF0081:03 | L/S WALL
KA0817:11 | -008107 | WHT | 20 |  | AF0081:07 | L/S WALL
KA0817:14 | -008139 | WHT | 20 |  | AF0081:39 | L/S WALL
KA0176:14 | -009336 | WHT | 20 |  | AF0093:36 | L/S WALL
KA0177:14 | -009345 | WHT | 20 |  | AF0093:45 | L/S WALL
KA0221:14 | -009502 | WHT | 20 |  | AF0095:02 | L/S WALL
KA1823:11 | -018203 | WHT | 20 |  | AF0082:06 | L/S WALL
KA1823:14 | -018235 | WHT | 20 |  | AF0082:38 | L/S WALL
KA0131:14 | KA013114 | WHT | 20 |  | AF0092:06 | L/S WALL
KA0136:21 | KA013621 | WHT | 20 |  | AF0087:43 | L/S WALL
KA0136:24 | KA013624 | WHT | 20 |  | AF0087:11 | L/S WALL
KA0141:11 | KA014111 | WHT | 20 |  | AF0091:39 | L/S WALL
KA0141:14 | KA014114 | WHT | 20 |  | AF0091:07 | L/S WALL
KA0239:21 | KA023921 | WHT | 20 |  | AF0081:41 | L/S WALL
KA0239:24 | KA023924 | WHT | 20 |  | AF0081:09 | L/S WALL
KA0243:11 | KA024311 | WHT | 20 |  | AF0081:33 | L/S WALL
KA0243:14 | KA024314 | WHT | 20 |  | AF0081:01 | L/S WALL
KA0245:21 | KA024521 | WHT | 20 |  | AF0081:34 | L/S WALL
KA0245:24 | KA024524 | WHT | 20 |  | AF0081:02 | L/S WALL
KA0235:11 | UA1200J21 | WHT | 20 |  | XT0060:3 | L/S WALL
KA0241:11 | UA1200J21 | WHT | 20 |  | AF0081:00 | L/S WALL
KA0138:11 | FU0213 | WHT | 16 |  | XT9004K:6 | L/S WALL
KA0138:12 | SB3170-212 | WHT | 16 |  | XT9004K:5 | L/S WALL
KT0146:A2 | KT0146A2 | WHT | 20 |  | AF0076:29 | L/S WALL | KT-L/S WALL
KT0146:15 | KT014615 | WHT | 20 |  | AF0076:10 | L/S WALL
KT0146:B1 | KT0146B1 | WHT | 20 |  | AF0076:13 | L/S WALL
XT9000K:4 | FCE144010 | WHT | 20 |  | AF0061:28 | L/S WALL | XT9K-L/S WALL
XT9000K:15 | FCE144011 | WHT | 20 |  | AF0063:39 | L/S WALL
XT9000K:16 | FCE144012 | WHT | 20 |  | AF0063:07 | L/S WALL
XT9000K:17 | FCE144013 | WHT | 20 |  | AF0063:38 | L/S WALL
XT9000K:18 | FCE144014 | WHT | 20 |  | AF0063:06 | L/S WALL
XT9000K:2 | FCE14408 | WHT | 20 |  | AF0061:30 | L/S WALL
XT9000K:3 | FCE14409 | WHT | 20 |  | AF0061:12 | L/S WALL
XT9000K:99 | PS3150-1 | WHT | 20 |  | AF0082:32 | L/S WALL
XT9000K:100 | PS3150-2 | WHT | 20 |  | AF0082:00 | L/S WALL
XT9000K:97 | PS3170-1 | WHT | 20 |  | AF0082:34 | L/S WALL
XT9000K:98 | PS3170-2 | WHT | 20 |  | AF0082:02 | L/S WALL
XT9000K:43 | SV1710-1 | WHT | 20 |  | AF0067:10 | L/S WALL
XT9000K:44 | SV1710-2 | WHT | 20 |  | AF0067:26 | L/S WALL
XT9000K:41 | SV1720-1 | WHT | 20 |  | AF0067:08 | L/S WALL
XT9000K:42 | SV1720-2 | WHT | 20 |  | AF0067:24 | L/S WALL
XT9000K:11 | SV2121-1 | WHT | 20 |  | AF0062:04 | L/S WALL
XT9000K:12 | SV2121-2 | WHT | 20 |  | AF0062:20 | L/S WALL
XT9000K:13 | SV2150-1 | WHT | 20 |  | AF0062:00 | L/S WALL
XT9000K:14 | SV2150-2 | WHT | 20 |  | AF0062:16 | L/S WALL
XT9000K:75 | UA1200J14 | WHT | 20 |  | AF0076:11 | L/S WALL
XT9000K:79 | UA1200J21 | WHT | 20 |  | XT0060:3 | L/S WALL
XT9000K:78 | UA1200J27 | WHT | 20 |  | AF0081:19 | L/S WALL
XT9000K:8 | HA1300-1 | WHT | 16 |  | AF0095:16 | L/S WALL
XT9000K:7 | HA1300-2 | WHT | 16 |  | AF0095:00 | L/S WALL
XT9001K:20 | SV2120-2 | WHT | 20 |  | AF0095:18 | L/S WALL | XT9001-L/S WALL
XT9001K:22 | SV2124-2 | WHT | 20 |  | AF0062:22 | L/S WALL
XT9001K:3 | SB3170-112 | WHT | 20 |  | AF0091:32 | L/S WALL
XT9001K:33 | FCE14208 | WHT | 20 |  | AF0061:18 | L/S WALL
XT9001K:34 | FCE14209 | WHT | 20 |  | AF0061:10 | L/S WALL
XT9001K:35 | FCE142010 | WHT | 20 |  | AF0061:26 | L/S WALL
XT9001K:36 | FCE142011 | WHT | 20 |  | AF0063:33 | L/S WALL
XT9001K:37 | FCE142012 | WHT | 20 |  | AF0063:01 | L/S WALL
XT9001K:38 | FCE142013 | WHT | 20 |  | AF0063:32 | L/S WALL
XT9001K:39 | FCE142014 | WHT | 20 |  | AF0063:00 | L/S WALL
XT9001K:4 | SB3170-111 | WHT | 20 |  | AF0091:00 | L/S WALL
XT-9014:1 | SA047523 | WHT | 20 |  | AF0082:44 | L/S WALL | XT9014-L/S WALL
XT-9014:10 | SB0474-22 | WHT | 20 |  | AF0081:10 | L/S WALL
XT-9014:13 | SB047321 | WHT | 20 |  | AF0081:36 | L/S WALL
XT-9014:14 | SB047322 | WHT | 20 |  | AF0081:04 | L/S WALL
XT-9014:17 | SB6200-23 | WHT | 20 |  | AF0087:37 | L/S WALL
XT-9014:18 | SB6200-24 | WHT | 20 |  | AF0087:05 | L/S WALL
XT-9014:19 | HL6200-1 | WHT | 20 |  | AF0093:15 | L/S WALL
XT-9014:2 | SA047524 | WHT | 20 |  | AF0082:12 | L/S WALL
XT-9014:20 | HL6200-2 | WHT | 20 |  | AF0093:31 | L/S WALL
XT-9014:3 | SA047511 | WHT | 20 |  | AF0082:43 | L/S WALL
XT-9014:4 | SA047512 | WHT | 20 |  | AF0082:11 | L/S WALL
XT-9014:5 | SB047221 | WHT | 20 |  | AF0081:38 | L/S WALL
XT-9014:6 | SB047222 | WHT | 20 |  | AF0081:06 | L/S WALL
XT-9014:9 | SB0474-21 | WHT | 20 |  | AF0081:42 | L/S WALL
XT-9329:11 | FCE213010 | WHT | 20 |  | AF0061:20 | L/S WALL | XT9329-L/S WALL
XT-9329:13 | FCE213011 | WHT | 20 |  | AF0063:35 | L/S WALL
XT-9329:14 | FCE213012 | WHT | 20 |  | AF0063:03 | L/S WALL
XT-9329:16 | FCE213013 | WHT | 20 |  | AF0063:34 | L/S WALL
XT-9329:17 | FCE213014 | WHT | 20 |  | AF0063:02 | L/S WALL
XT-9329:8 | FCE21308 | WHT | 20 |  | AF0076:16 | L/S WALL
XT-9329:10 | FCE21309 | WHT | 20 |  | AF0061:04 | L/S WALL
AF0076:12 | -007612 | WHT | 20 | 260 | XT0237:1 B2 | L/B PNL | AF - L/B PNL
AF0093:04 | -009304 | WHT | 20 | 320 | XT0171:2 | L/B PNL
AF0093:12 | -009312 | WHT | 20 | 280 | PC0470:INP_A | L/B PNL
AF0093:13 | -009313 | WHT | 20 | 320 | XT0171:6 | L/B PNL
AF0093:28 | -009328 | WHT | 20 | 280 | PC0470:PWR_COM | L/B PNL
AF0093:44 | -009344 | WHT | 20 | 280 | PC0470:(9-28) VDC | L/B PNL
AF0094:00 | -009400 | WHT | 20 | 320 | XT0085:2 | L/B PNL
AF0094:01 | -0V | WHT | 20 | 320 | XT0085:3 | L/B PNL
AF0094:05 | -0V | WHT | 20 | 320 | XT0085:4 | L/B PNL
AF0094:07 | -0V | WHT | 20 | 320 | XT0085:5 | L/B PNL
AF0082:01 | LZ1020C | WHT | 20 | 260 | XT9926:4 | L/B PNL
AF0082:33 | LZ1020NO | WHT | 20 | 260 | XT9926:3 | L/B PNL
AF0094:10 | UJ0031IOUT | WHT | 20 | 320 | UJ0031:IOUT | L/B PNL
AF0091:42 | UJ0031OK1 | WHT | 20 | 320 | UJ0031:OK1 | L/B PNL
AF0091:10 | UJ0031OK2 | WHT | 20 | 320 | UJ0031:OK2 | L/B PNL
AF0094:08 | UJ0031VIN | WHT | 20 | 320 | UJ0031:VIN | L/B PNL
AF0094:06 | UJ0131IOUT | WHT | 20 | 320 | UJ0131:IOUT | L/B PNL
AF0091:41 | UJ0131OK1 | WHT | 20 | 320 | UJ0131:OK1 | L/B PNL
AF0091:09 | UJ0131OK2 | WHT | 20 | 320 | UJ0131:OK2 | L/B PNL
AF0094:04 | UJ0131VIN | WHT | 20 | 320 | UJ0131:VIN | L/B PNL
XT0110:2 | -0V | WHT | 14 | 280 | XT0134:3 | L/B PNL | XT - L/B PNL
XT0450:2 | -0V | WHT | 14 | 280 | XT0134:3 | L/B PNL
XT0310:2 | -0V | WHT | 14 | 280 | XT0134:4 | L/B PNL
XT0090:1 | -0V | WHT | 14 | 280 | XT0135:2 | L/B PNL
XT0080:1 | -0V | WHT | 14 | 280 | XT0135:2 | L/B PNL
XT0060:1 | -0V | WHT | 14 | 280 | XT0235:1 | L/B PNL
XT0070:1 | -0V | WHT | 14 | 280 | XT0235:1 | L/B PNL
XT9004K:4 | -0V | WHT | 14 | 320 | XT0235:2 | L/B PNL
XT0110:1 | FU0136 | WHT | 14 | 280 | XT0138:3 | L/B PNL
XT0450:1 | FU0136 | WHT | 14 | 280 | XT0138:3 | L/B PNL
XT0310:1 | FU0136 | WHT | 14 | 280 | XT0138:4 | L/B PNL
AF0087:10 | -008710 | WHT | 20 |  | UAI0814:8 | C/B ISO | AF - C/B ISO
AF0087:42 | -008742 | WHT | 20 |  | UAI0814:7 | C/B ISO
AF0091:34 | H3103-TR1 | WHT | 16 |  | XT9928:1 | C/B ISO
AF0091:02 | H3103-TR3 | WHT | 16 |  | XT9928:2 | C/B ISO
AF0091:33 | H3104-TR1 | WHT | 16 |  | XT9927:1 | C/B ISO
AF0091:01 | H3104-TR3 | WHT | 16 |  | XT9927:3 | C/B ISO
XT0450:2 | -0V | WHT | 14 |  | UAI1520:-24V | C/B ISO
AF0063:08 | -006308 | WHT | 20 |  | TS8000:2 | R/B ISO | AF - R/B ISO
AF0063:40 | -006340 | WHT | 20 |  | TS8000:1 | R/B ISO
AF0061:24 | FCE2140-10 | WHT | 20 |  | XT-9334:11 | R/B ISO
AF0063:37 | FCE2140-11 | WHT | 20 |  | XT-9334:13 | R/B ISO
AF0063:05 | FCE2140-12 | WHT | 20 |  | XT-9334:14 | R/B ISO
AF0063:36 | FCE2140-13 | WHT | 20 |  | XT-9334:16 | R/B ISO
AF0063:04 | FCE2140-14 | WHT | 20 |  | XT-9334:17 | R/B ISO
AF0076:17 | FCE2140-8 | WHT | 20 |  | XT-9334:8 | R/B ISO
AF0061:08 | FCE2140-9 | WHT | 20 |  | XT-9334:10 | R/B ISO
AF0087:32 | KA7170-1 | WHT | 20 |  | XT-TS257:1 | R/B ISO
AF0087:00 | KA7170-2 | WHT | 20 |  | XT-TS257:2 | R/B ISO
AF0081:43 | KA7171-1 | WHT | 20 |  | XT-TS257:3 | R/B ISO
AF0081:11 | KA7171-2 | WHT | 20 |  | XT-TS257:4 | R/B ISO
AF0087:33 | KA7172-1 | WHT | 20 |  | XT-TS257:5 | R/B ISO
AF0087:01 | KA7172-2 | WHT | 20 |  | XT-TS257:6 | R/B ISO
AF0081:44 | KA7173-1 | WHT | 20 |  | XT-TS257:7 | R/B ISO
AF0081:12 | KA7173-2 | WHT | 20 |  | XT-TS257:8 | R/B ISO
AF0082:45 | PDS6210-1 | WHT | 20 |  | XT-9625:1 | R/B ISO
AF0082:13 | PDS6210-2 | WHT | 20 |  | XT-9625:2 | R/B ISO
AF0082:36 | SB7510-1 | WHT | 20 |  | XT-TS2040:1 | R/B ISO
AF0082:04 | SB7510-2 | WHT | 20 |  | XT-TS2040:2 | R/B ISO
AF0082:37 | SB7511-1 | WHT | 20 |  | XT-TS2040:3 | R/B ISO
AF0082:05 | SB7511-2 | WHT | 20 |  | XT-TS2040:4 | R/B ISO

## JB44_S
JB44
BUOS BOX
Project # | J0420
Project Name | ASAFA-A-3515
Revision | A.1
Controls DE | N. Gonzalez
Phone:
Controls ME | R.DURAN
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UA1200:J1-9 | -0V | WHT | 20 | 60 | XT1200:11 | JB44 | UAI1200
UA1200:J1-10 | FU0212 | WHT | 20 | 60 | XT1200:10 | JB44
UA1200:J2-2 | FU0212 | WHT | 20 | 60 | XT1200:9 | JB44
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | JB44
UA1200:J1-4 | UA1200J14 | WHT | 20 | 60 | XT1200:4 | JB44
UA1200:J1-5 | UA1200J15 | WHT | 20 | 60 | XT1200:5 | JB44
UA1200:J2-1 | UA1200J21 | WHT | 20 | 60 | XT1200:8 | JB44
UA1200:J2-6 | UA1200J26 | WHT | 20 | 60 | XT1200:6 | JB44
UA1200:J2-7 | UA1200J27 | WHT | 20 | 60 | XT1200:7 | JB44

## Bundle Tag Info
Project Name and Unit #
PD #
Revision
Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name

## ALL
ALL