## Panel Errors
Panel Errors
Project # | J1600
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
Report date: 3/11/2026 2:10 PM |  |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)

## Cable Part Numbers
Cable Part Numbers |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | J1600
Report date: 3/11/2026 2:11 PM
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
Device ID |  | Part Number |  | Description
WC0002 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0003 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0006 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0008 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0009 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0012 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0030 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0041 |  | 1302073-6 |  | CABLE, COMMUNICATION CABLE - 6 INCHES
WC0042 |  | 1302073-6 |  | CABLE, COMMUNICATION CABLE - 6 INCHES
WC0045 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0090 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0101 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0170 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC4524 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC4572 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC4624 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC4710 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC4749 |  | 1022941-13 |  | TPE, 1 TRIAD TWISTED SHIELDED
WC5018 |  | 1022941-22 |  | TPE, 1 PAIR TWISTED SHIELDED
WC5500 |  | 1022941-22 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8009 |  | 1022941-22 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8040 |  | 1322418-90 |  | CABLE, DYNAMIX 1444 BUS
WC8041 |  | 1322418-90 |  | CABLE, DYNAMIX 1444 BUS
WC8042 |  | 1322418-90 |  | CABLE, DYNAMIX 1444 BUS
WC8066 |  | 1022941-22 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8067 |  | 1022941-22 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8069 |  | 1022941-22 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8101 |  | 1022941-32 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8102 |  | 1022941-32 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8201 |  | 1022941-32 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8301 |  | 1022941-32 |  | TPE, 1 PAIR TWISTED SHIELDED

## Part Number List
Part Number List |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | J1600
Report date: 3/11/2026 2:11 PM
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
Device ID | Part Number | Description | Location
AF0400 | 1322418-31,1322418-40,1322418-72,1322418-73 | 1444-TSCX02-02RB, 2-CH TACHOMETER INPUT^DYNAMIX 1444 VIBRATION | GEN PNL
AF0410 | 1322418-11,1322418-20,1322418-70,1322418-71 | 1444-DYN04-01RA, 4-CH VIBRATION INPUT^DYNAMIX 1444 VIBRATION | GEN PNL
AF0420 | 1322418-11,1322418-20,1322418-70,1322418-71 | 1444-DYN04-01RA, 4-CH VIBRATION INPUT^DYNAMIX 1444 VIBRATION | GEN PNL
AF0450 | 1322418-11,1322418-20,1322418-70,1322418-71 | 1444-DYN04-01RA, 4-CH VIBRATION INPUT^DYNAMIX 1444 VIBRATION | GEN PNL
AP0601 | 1089241-36 | 1756-EN2TXT, ETHERNET | GEN PNL
AP0602 | 1089241-40 | 1756-EN2TRXT, ETHERNET | GEN PNL
AP0603 | 1089241-40 | 1756-EN2TRXT, ETHERNET | GEN PNL
AP0604 | 1089241-36 | 1756-EN2TXT, ETHERNET | GEN PNL
AP0605 | 1089241-40 | 1756-EN2TRXT, ETHERNET | GEN PNL
AP0606 | 1089241-36 | 1756-EN2TXT, ETHERNET | GEN PNL
AR0600 | 1057900,1059465,1089241-29,1103759,19298R1,22652R1 | RACK CHASSIS, 1756-A7XT (7 SLOT) | GEN PNL
AT0140 | 2769310-1 | MODULE, DECS-250 | GEN PNL
AT0600 | 1089241-43 | 1756-L83EXTS, CONTROLLER^GUARDLOGIX | GEN PNL
FU0011 | 1043265-1,1043265-7 | FUSE, 20A | GEN PNL
FU0012 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0013 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0014 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0015 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0017 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0050 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0051 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0052 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0053 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0054 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0055 | 1043265-1,1043265-4 | FUSE, 5A | GEN PNL
FU0056 | 1043265-1,1043265-4 | FUSE, 5A | GEN PNL
FU0113 | ...,1043265-4 | FUSE AND CARTRIDGE HOLDER | GEN PNL
FU0120 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0121 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
FU0136 | 1043265-1,1043265-9 | FUSE, 30A | GEN PNL
FU0210 | 1043265-10,1043265-7 | FUSE, 20A | GEN PNL
FU0313 | 1043265-10,1043265-7 | FUSE, 20A | GEN PNL
FU0314 | 1043265-10,1043265-7 | FUSE, 20A | GEN PNL
FU0332 | 1043265-1,1043265-7 | FUSE, 20A | GEN PNL
FU0333 | 1043265-1,1043265-4 | FUSE, 5A | GEN PNL
FU0334 | 1043265-1,1043265-4 | FUSE, 5A | GEN PNL
FU0335 | 1043265-1,1043265-4 | FUSE, 5A | GEN PNL
FU0700 | 1043265-1,1043265-5 | FUSE, 10A | GEN PNL
GR0142 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | GEN PNL
GR0143 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | GEN PNL
GR0144 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | GEN PNL
GR0145 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | GEN PNL
KA0121 | 1061979-1 | RELAY, AUTOMATIC CLOSE CIRCUIT BREAKER | GEN PNL
KA0123 | 1061979-1 | RELAY, CGCM #1 ENABLED | GEN PNL
KA0128 | 1061979-1 | RELAY, LOCKOUT GEN PNLERATOR CIRCUIT BREAKER | GEN PNL
KA0180 | 1061979-1 | RELAY, 90% SPEED | GEN PNL
KA0185 | 1061979-1 | RELAY, PERMISSIVE CLOSE CIRCUIT BREAKER | GEN PNL
KA0310 | 1061979-1 | RELAY, CGCM #1 FAULT | GEN PNL
KA0313 | 1076251-1,1076251-2 | RELAY, PMG INPUT #1 | GEN PNL
KA0330 | 1061979-1 | RELAY, CLOSED CIRCUIT BREAKER | GEN PNL
KA0331 | 1061979-1 | RELAY, UTILITY BREAKER #1 CONTACT CLOSED | GEN PNL
KA0331B | 1061979-1 | RELAY, UTILITY BREAKER #2 CONTACT CLOSED | GEN PNL
KA0332 | 1061979-1 | RELAY, CLOSE CONTROL CIRCUIT BREAKER | GEN PNL
KA0332_UTL | 1061979-1 | RELAY, CLOSE CONTROL UTILITY CIRCUIT BREAKER | GEN PNL
KA0333 | 1061979-1 | RELAY, TRIP CONTROL CIRCUIT BREAKER | GEN PNL
KA0335 | 1061979-1 | RELAY, NO EMERGEN PNLCY SHUTDOWN SUMMARY | GEN PNL
KA0336 | 1061979-1 | RELAY, CONTROLLER ACTIVE | GEN PNL
KA0341 | 1061979-1 | RELAY, LOCKOUT GEN PNLERATOR UTILITY CIRCUIT BREAKER | GEN PNL
KA0342 | 1061979-1 | RELAY, AUTOMATIC CLOSE UTILITY CIRCUIT BREAKER | GEN PNL
KA4100 | 1061979-1 | RELAY, GEN PNLERATOR HEATER DISABLED | GEN PNL
RR0851 | 981090C1 | RESISTOR, 3.01K OHM | GEN PNL
RR0852 | 981089C1 | RESISTOR, 1.0K OHM | GEN PNL
UA1520 | 1105411-11 | SIGNAL CONVERTER, BAM 2 SIGNAL CONDITIONER | GEN PNL
UJ0131 | 1058121-61,1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | GEN PNL
UV0600 | 1089241-28 | POWER SUPPLY, RSLOGIX CHASSIS | GEN PNL
XT0011 | 1066730-16,1066730-17 | TERMINAL STRIP, 2 CONDUCTOR | GEN PNL
XT0014 | 1247052-1 | BUS BAR, SYSTEM FUNCTION (USE) | GEN PNL
XT0055 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0085 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0110 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0120 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0130 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0134 | 1066730-16,1066730-17 | TERMINAL STRIP, 2 CONDUCTOR | GEN PNL
XT0138 | 1066730-16,1066730-17 | TERMINAL STRIP, 2 CONDUCTOR | GEN PNL
XT0313 | 1066730-10,1066730-7,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0335 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0336 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0337 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0338 | 1066730-32,1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0350 | 1066730-16,1066730-17 | TERMINAL STRIP, 2 CONDUCTOR | GEN PNL
XT0351 | 1066730-10,1066730-7,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0352 | 1066730-16,1066730-17 |  | GEN PNL
XT0352 | 1066730-16,1066730-17 |  | GEN PNL
XT0352 | 1066730-16,1066730-17 | TERMINAL STRIP, 2 CONDUCTOR | GEN PNL
XT0352 | 1066730-16,1066730-17 | TERMINAL STRIP, 2 CONDUCTOR | GEN PNL
XT0360 | 1066730-10,1066730-7,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0370 | 1066730-10,1066730-7,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT0400 | 1066730-1,1066730-2 |  | GEN PNL
XT0400 | 1066730-1,1066730-2 |  | GEN PNL
XT0400 | 1066730-1,1066730-2 | TERMINAL STRIP | GEN PNL
XT0400 | 1066730-1,1066730-2 | TERMINAL STRIP | GEN PNL
XT1521 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XT6210AC | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | GEN PNL
XTFGH | 1066730-1,1066730-2 | TERMINAL STRIP, 4 CONDUCTOR | GEN PNL
AF0091 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | JB70
AF0092 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | JB70
AF0093 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | JB70
AF0094 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | JB70
AT0170 | 1056244-29 | CONTROLLER, EAGLE QUANTUM PREMIER | JB70
AT1100 | 1577354-4503 | WORKSTATION, VERSA VIEW 1200H | JB70
AU0090 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | JB70
GR0131 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | JB70
HA0472 | 1103208-101 | HORN, CONTROL SYSTEM ALARM | JB70
HL0171 | 1016815-21,1064851-6 | LIGHT, FIRE SYSTEM AUTO, GREEN | JB70
HL0172 | 1016815-16,1064851-6 | LIGHT, FIRE SYSTEM INHIBIT, AMBER | JB70
HL0173 | 1016815-20,1064851-6 | LIGHT, FIRE SYSTEM DISCHARGED, RED | JB70
PEG0130 | 232941-110 | BUS BAR, TURBINE - POWER EARTH GROUNDING | JB70
SA0170 | 1016815-18,1064851-7 | SELECTOR SWITCH, FIRE SYSTEM AUTO/INHIBIT | JB70
SA0471 | 1035040-1652,2380746-2 | SELECTOR SWITCH, SPEED/LOAD | JB70
SA0472 | 1035040-125,2380746-2 | SELECTOR SWITCH, VOLTAGE | JB70
SA0473 | 2380746-5 | SELECTOR SWITCH, OFF/LOC/AUX | JB70
SB0170 | 1016815-19,1064851-8 | PUSHBUTTON SWITCH, MANUAL RELEASE | JB70
SB0471 | 1035040-119,1064851-1,2380746-1 | PUSHBUTTON SWITCH, HORN SILENCE | JB70
SB0472 | 1035040-32,2380746-4 | PUSHBUTTON SWITCH, EMERGEN PNLCY STOP | JB70
SB0473 | 1035040-120,2380746-1 | PUSHBUTTON SWITCH, ACKNOWLEDGE | JB70
SB0474 | 1035040-121,1064851-1,2380746-1 | PUSHBUTTON SWITCH, RESET | JB70
SH0470 | 1035040-108,2380746-3 | LIGHTED SWITCH, STOP/STOPPING, RED | JB70
SH0471 | 1035040-103,2380746-3 | LIGHTED SWITCH, START/STARTING, GREEN | JB70
SH0472 | 1035040-106,2380746-3 | LIGHTED SWITCH, BACKUP SYSTEM ACTIVE/RESET, AMBER | JB70
UV0170 | 1056244-2 | POWER SUPPLY, EAGLE QUANTUM PREMIER | JB70
XT0090 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | JB70
AF0051 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | JB72
AF0052 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | JB72
AF0053 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | JB72
AF0054 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | JB72
AF0055 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | JB72
AF0056 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | JB72
AF0121 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | JB72
AF0122 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | JB72
AF0123 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | JB72
AF0124 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | JB72
AT0680 | 1634974-100 | GATEWAY MODULE | JB72
AU0050 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | JB72
AU0120 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | JB72
FU0680 | 1043265-1,1043265-4 | FUSE, 5A | JB72
GR0110 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | JB72
GR0171 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | JB72
GR0172 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | JB72
IEG0130 | 232941-110 | BUS BAR, DRIVEN - INSTRUMENT EARTH GROUNDING | JB72
PEG0140 | 232941-110 | BUS BAR, DRIVEN - POWER EARTH GROUNDING | JB72
XT0680 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | JB72
BA1100 | 1043265-1,1043265-3,1337728-1 | SWITCH, ETAP, DLR INTERFACE | L/RAIL
FU0090 | 1043265-1,1043265-5 | FUSE, 10A | L/RAIL
FU0091 | 1043265-1,1043265-5 | TIMER/COUNTER, FUSE AND CARTRIDGE HOLDER | L/RAIL
FU0092 | 1043265-1,1043265-5 | FUSE, 10A | L/RAIL
FU0094 | 1043265-1,1043265-5 | TIMER/COUNTER, FUSE AND CARTRIDGE HOLDER | L/RAIL
FU1100 | 1043265-1,1043265-5 | FUSE, 10A | L/RAIL
FU1101 | 1043265-1,1043265-3,1337728-1 | FUSE, 2A | L/RAIL
GR1100 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | L/RAIL
PC0470 | 2271605-1 | FUSE | L/RAIL
PC0471 | 2271605-1 | FUSE | L/RAIL
RR0175A | 912137C1 | RESISTOR, 10K OHM | L/RAIL
RR0175D | 912137C1 | RESISTOR, 10K OHM | L/RAIL
RR0175I | 912137C1 | RESISTOR, 10K OHM | L/RAIL
RR0175M | 912137C1 | RESISTOR, 10K OHM | L/RAIL
UA1200 | 1053833-100,1053834-3,1053834-8 | BUOS MODULE, BACKUP OVERSPEED | L/RAIL
VD0175A | 960592C1 | DIODE, 15 pF | L/RAIL
VD0175D | 960592C1 | DIODE, 15 pF | L/RAIL
VD0175I | 960592C1 | DIODE, 15 pF | L/RAIL
XT0174 | 1066730-7,1066730-8,1067996-11 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | L/RAIL
BUOSM | REFERENCE |  | PANEL
CC9001 | CUSTOMER DEFINED | CUSTOMER CONTACT, COGEN PNL BREAKER OPEN STATUS | PANEL
CC9002 | CUSTOMER DEFINED | CUSTOMER CONTACT, COGEN PNL BREAKER TRIPPED STATUS | PANEL
CC9003 | CUSTOMER DEFINED | CUSTOMER CONNECTION, TRANSMITTER^UTILITY A IMPORT TRANSDUCER | PANEL
CC9004 | CUSTOMER DEFINED | CUSTOMER CONNECTION, TRANSMITTER^UTILITY B IMPORT TRANSDUCER | PANEL
SB7500 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, START AND AUTO SYNC (CUSTOMER) | PANEL
SB7510 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, START (CUSTOMER) | PANEL
SB7511 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, NORMAL STOP (CUSTOMER) | PANEL
SB7551 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, VOLTAGE INCREASE (EXTERNAL) | PANEL
SB7552 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, VOLTAGE DECREASE (EXTERNAL) | PANEL
SB7554 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, SPEED INCREASE (EXTERNAL) | PANEL
SB7555 | CUSTOMER DEFINED | PUSHBUTTON SWITCH, SPEED DECREASE (EXTERNAL) | PANEL
GR1101 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | PROX JB4
AT0175 | 1056244-5 | 8 CHANNEL ED I/O, EAGLE QUANTUM PREMIER | R/RAIL
AT0176 | 1056244-5 | 8 CHANNEL ED I/O, EAGLE QUANTUM PREMIER | R/RAIL
AT0178 | 1056244-5 | 8 CHANNEL ED I/O, EAGLE QUANTUM PREMIER | R/RAIL
FU0170 | 1043265-1,1043265-6 | FUSE, 15A | R/RAIL
GR0170 | [2]903849C1 | RAIL GROUND, DIN RAIL GROUNDING | R/RAIL
KA0172 | 1061979-1 | RELAY, FIRE DETECTED (CUSTOMER) | R/RAIL
KA0174 | 1061979-1 | RELAY, GAS DETECTED (CUSTOMER) | R/RAIL
KA0176 | 1061979-1 | RELAY, VENTILATION REQUIRED | R/RAIL
KA0178 | 1061979-1 | RELAY, LOCAL HORN CONTROL (EQP) | R/RAIL
KA0875 | 1061979-1 | RELAY, LOCAL HORN CONTROL (PLC) | R/RAIL
KA6510 | 1061979-1 | RELAY, FIRE SYSTEM AUTO/INHIBIT | R/RAIL
KA6511 | 1061979-1 | RELAY, FIRE SYSTEM AUTO/INHIBIT | R/RAIL
RR0176S3 | 912137C1 | RESISTOR, 10K OHM | R/RAIL
RR0178 | 912137C1 | RESISTOR, 10K OHM | R/RAIL
RR0178S7 | 912137C1 | RESISTOR, 10K OHM | R/RAIL
RR0855 | 912137C1 | RESISTOR, 10K OHM | R/RAIL
RR0856 | 912137C1 | RESISTOR, 10K OHM | R/RAIL
RR0857 | 912137C1 | RESISTOR, 10K OHM | R/RAIL
RR0858 | 912137C1 | RESISTOR, 10K OHM | R/RAIL
RR0859 | 912137C1 | RESISTOR, 10K OHM | R/RAIL
VD0178 | 960592C1 | DIODE, 15 pF | R/RAIL
VD6211 | 960592C1 | DIODE, 15 pF | R/RAIL
VD6212 | 960592C1 | DIODE, 15 pF | R/RAIL
XT0170 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | R/RAIL
XT0171 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | R/RAIL
XT0172 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | R/RAIL
AF0061 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | TURB PNL
AF0062 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | TURB PNL
AF0063 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | TURB PNL
AF0064 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | TURB PNL
AF0065 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | TURB PNL
AF0066 | 2684693-18,2684693-27 | 5094-OF8IHXT, 8 ANALOG OUTPUT, ISOLATED | TURB PNL
AF0067 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | TURB PNL
AF0071 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | TURB PNL
AF0072 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | TURB PNL
AF0073 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | TURB PNL
AF0074 | 2684693-18,2684693-55 | 5094-OB16SXT, 16 DISCRETE OUTPUT, S | TURB PNL
AF0075 | 2684693-18,2684693-32 | 5094-IJ2ISXT, 2 FAST COUNTER INPUT, S | TURB PNL
AF0076 | 2684693-21,2684693-36 | 5094-IRT8SXT, 8 RTD/TC ANALOG INPUT, S | TURB PNL
AF0081 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | TURB PNL
AF0082 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | TURB PNL
AF0083 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | TURB PNL
AF0084 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | TURB PNL
AF0085 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | TURB PNL
AF0086 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | TURB PNL
AF0087 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | TURB PNL
AU0060 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | TURB PNL
AU0070 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | TURB PNL
AU0080 | 1066730-7,1066730-8,2684693-22 | TERMINAL BLOCK, FLEX 5000 I/O | TURB PNL
FU0060 | 1043265-1,1043265-5 | FUSE, 10A | TURB PNL
FU0061 | 1043265-1,1043265-5 | FUSE, 10A | TURB PNL
FU0062 | 1043265-1,1043265-5 | FUSE, 10A | TURB PNL
FU0063 | 1043265-5 | FUSE, 10A | TURB PNL
FU0070 | 1043265-1,1043265-5 | FUSE, 10A | TURB PNL
FU0071 | 1043265-1,1043265-5 | FUSE, 10A | TURB PNL
FU0080 | 1043265-1,1043265-5 | FUSE, 10A | TURB PNL
FU0081 | 1043265-1,1043265-5 | FUSE, 10A | TURB PNL
FU0082 | 1043265-1,1043265-5 | FUSE, 10A | TURB PNL
FU0137 | 1043265-1,1043265-7 | FUSE, 20A | TURB PNL
FU0139 | 1043265-1,1043265-4 | FUSE, 5A | TURB PNL
FU0140 | 1043265-1,1043265-4 | FUSE, 5A | TURB PNL
FU0211 | 1043265-1,1043265-4 | FUSE, 5A | TURB PNL
FU0212 | 1043265-1,1043265-4 | FUSE, 5A | TURB PNL
FU0213 | 1043265-1,1043265-4 | FUSE, 5A | TURB PNL
GR0132 | [2]903849C1 | RAIL GROUND, DIN RAIL GROUNDING | TURB PNL
GR0133 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | TURB PNL
GR0134 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | TURB PNL
GR0135 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | TURB PNL
IEG0230 | 232941-300 | BUS BAR, TURBINE - INSTRUMENT EARTH GROUNDING | TURB PNL
KA0130 | 1061979-1 | RELAY, LOWSPEED/OPEN PROBE SETPOINT | TURB PNL
KA0131 | 1061979-1 | RELAY, CONTROLLER ACTIVE | TURB PNL
KA0132 | 1061979-1 | RELAY, CONTROLLER ACTIVE | TURB PNL
KA0133 | 1061979-1 | RELAY, POST LUBE NOT REQUIRED | TURB PNL
KA0134 | 1061979-1 | RELAY, BACKUP COMMAND OFF | TURB PNL
KA0135 | 1061979-1 | RELAY, AC PRE/POST PUMP DRIVE | TURB PNL
KA0136 | 1061979-1 | RELAY, LUBE OIL HEADER^PRESSURE HIGH | TURB PNL
KA0137 | 1061979-1 | RELAY, LUBE PUMP INHIBIT | TURB PNL
KA0138 | 1061979-1 | RELAY, BACKUP LUBE OIL PUMP OFF | TURB PNL
KA0141 | 1061979-1 | RELAY, CONTROLLER ACTIVE | TURB PNL
KA0144 | 1061979-1 | RELAY, AC PRE-POST PUMP | TURB PNL
KA0177 | 1061979-1 | RELAY, VENTILATION REQUIRED | TURB PNL
KA0181 | 1061979-1 | RELAY, TURBINE RUNNING STATUS | TURB PNL
KA0182 | 1061979-1 | RELAY, WHRS PURGE FLOW ESTABLISHED | TURB PNL
KA0183 | 1061979-1 | RELAY, WASTE HEAT READY | TURB PNL
KA0221 | 1061979-1 | RELAY, PRIMARY GAS FUEL^SHUTOFF VALVE | TURB PNL
KA0222 | 1061979-1 | RELAY, SECONDARY GAS FUEL^ SHUTOFF VALVE | TURB PNL
KA0231 | 1061979-1 | RELAY, CONTROLLER ACTIVE | TURB PNL
KA0232 | 1061979-1 | RELAY, CONTROLLER ACTIVE | TURB PNL
KA0233 | 1061979-1 | RELAY, CONTROLLER ACTIVE | TURB PNL
KA0234 | 1061979-1 | RELAY, CONTROLLER ACTIVE | TURB PNL
KA0235 | 1061979-1 | RELAY, NO EMERGEN PNLCY ^SHUTDOWN SUMMARY | TURB PNL
KA0236 | 1061979-1 | RELAY, NO EMERGEN PNLCY ^SHUTDOWN SUMMARY | TURB PNL
KA0237 | 1061979-1 | RELAY, NO EMERGEN PNLCY ^SHUTDOWN SUMMARY | TURB PNL
KA0238 | 1061979-1 | RELAY, NO EMERGEN PNLCY^SHUTDOWN SUMMARY | TURB PNL
KA0239 | 1061979-1 | RELAY, NO EMERGEN PNLCY SHUTDOWN SUMMARY | TURB PNL
KA0240 | 1061979-1 | RELAY, NO EMERGEN PNLCY^SHUTDOWN SUMMARY | TURB PNL
KA0241 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | TURB PNL
KA0242 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | TURB PNL
KA0243 | 1061979-1 | RELAY, NO FIRE DETECTED | TURB PNL
KA0244 | 1061979-1 | RELAY, NO FIRE DETECTED | TURB PNL
KA0245 | 1061979-1 | RELAY, NO GAS DETECTED | TURB PNL
KA0246 | 1061979-1 | RELAY, NO FIRE DETECTED | TURB PNL
KA0247 | 1061979-1 | RELAY, NO FIRE DETECTED | TURB PNL
KA0248 | 1061979-1 | RELAY, NO EMERGEN PNLCY SHUTDOWN SUMMARY | TURB PNL
KA0249 | 1061979-1 | RELAY, NO GAS DETECTED | TURB PNL
KA0250 | 1061979-1 | RELAY, NO EMERGEN PNLCY SHUTDOWN SUMMARY | TURB PNL
KA1020 | 1061979-1 | RELAY, IGNITION START | TURB PNL
KA2160 | 1061979-1 | RELAY, PRIMARY LIQUID FUEL^SHUTOFF VALVE | TURB PNL
KA2161 | 1061979-1 | RELAY, SECONDARY LIQUID FUEL^SHUTOFF VALVE | TURB PNL
KA3103 | 1061979-1 | RELAY, LUBE OIL TANK HEATER | TURB PNL
KA3220 | 1061979-1 | RELAY, LUBE OIL COOLER FAN | TURB PNL
KA6211 | 1061979-1 | RELAY, DRIVER ENCLOSURE^VENT FAN #1 | TURB PNL
KA6212 | 1061979-1 | RELAY, DRIVER ENCLOSURE^VENT FAN #2 | TURB PNL
KA7512 | 1061979-1 | RELAY, EMERGEN PNLCY STOP (CUSTOMER) | TURB PNL
KT0140 | 2651077-1 | TIMER RELAY, BACKUP PUMP POST LUBE OFF CYCLE | TURB PNL
KT0141 | 2651077-1 | TIMER RELAY, BACKUP POST LUBE CONTINUOUS | TURB PNL
KT0142 | 2651077-1 | TIMER RELAY, TOTAL POST LUBE | TURB PNL
KT0143 | 2651077-1 | TIMER RELAY, BACKUP PUMP POST LUBE ON CYCLE | TURB PNL
KT0144 | 2651077-1 | TIMER RELAY, HEADER PRESSURE HIGH BACKUP PUMP OFF | TURB PNL
KT0145 | 2651077-1 | TIMER RELAY, FIRE DETECTED ROLLDOWN LUBE | TURB PNL
KT0146 | 2651077-3 | TIMER RELAY, WATCHDOG | TURB PNL
XT0030 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0050 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0060 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0080 | 1066730-7,1066730-8,2684693-18,2684693-56 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0086 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0089 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0135 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0136 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0137 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0139 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0140 | 1066730-16,1066730-17 | TERMINAL STRIP, 2 CONDUCTOR | TURB PNL
XT0147 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0233 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0235 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0236 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT0237 | 1066730-10,1066730-9 | DIODE TERMINAL STRIP, 4 CONDUCTOR | TURB PNL
XT0240 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL
XT7512 | 1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | TURB PNL

## JB70_S
JB70
Project # | J1600
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0170:1 | UV01705 | WHT | 14 | 80 | UV0170:5(+) | JB70 B/RAIL | AT-B/RAIL
AT0170:2 | UV01706 | WHT | 14 | 80 | UV0170:6(-) | JB70 B/RAIL
AT0170:3 | UV01707 | WHT | 14 | 80 | UV0170:7(+) | JB70 B/RAIL
AT0170:4 | UV01708 | WHT | 14 | 80 | UV0170:8(-) | JB70 B/RAIL
SA0472:B2-14 | SA0472B214 | WHT | 20 | 80 | AF0091:14 | JB70 B/RAIL | SA0472
SA0472:B1-14 | SA0472B114 | WHT | 20 | 80 | AF0091:15 | JB70 B/RAIL
SA0472:B2-13 | SA0472B213 | WHT | 20 | 80 | AF0091:46 | JB70 B/RAIL
SA0472:B1-13 | SA0472B113 | WHT | 20 | 80 | AF0091:47 | JB70 B/RAIL
SH0470:X2 | SH0470X2 | WHT | 20 | 80 | AF0093:06 | JB70 B/RAIL | SH0470
SH0470:X1 | SH0470X1 | WHT | 20 | 80 | AF0093:22 | JB70 B/RAIL
SH0471:X2 | SH0471X2 | WHT | 20 | 80 | AF0093:15 | JB70 B/RAIL | SH0471
SH0471:X1 | SH0471X1 | WHT | 20 | 80 | AF0093:31 | JB70 B/RAIL
HL0171:1 | HL01711 | WHT | 20 | 120 | XT0174:3 | L/RAIL | HL0171
HL0171:2 | HL01712 | WHT | 20 | 120 | XT0174:5 | L/RAIL
HL0172:1 | HL01721 | WHT | 20 | 120 | XT0174:6 | L/RAIL | HL0172
HL0172:2 | HL01722 | WHT | 20 | 120 | XT0174:8 | L/RAIL
HL0173:1 | HL01731 | WHT | 20 | 120 | XT0174:9 | L/RAIL | HL0173
HL0173:2 | HL01732 | WHT | 20 | 120 | XT0174:11 | L/RAIL
SB0170:23 | SB017023 | WHT | 20 | 120 | XT0174:1 | L/RAIL | SB0170
SB0170:24 | SB017024 | WHT | 20 | 120 | XT0174:2 | L/RAIL
AT1100:POS | FU1100 | WHT | 14 | 120 | FU1100:LD | L/RAIL | AT-L/RAIL
AT1100:NEG | -0V | WHT | 14 | 220 | XT0235:3 | TURB PNL | AT-TURB
220
HA0472:BLK-1 | -0V | WHT | 20 | 220 | XT0147:2 | TURB PNL | HA0472
HA0472:BLK-2 | KA087511 | WHT | 20 | 220 | XT0147:1 | TURB PNL
SA0471:B1-13 | SA0471B113 | WHT | 20 | 220 | AF0087:40 | TURB PNL | SA0471
SA0471:B1-14 | SA0471B114 | WHT | 20 | 220 | AF0087:08 | TURB PNL
SA0471:B2-13 | SA0471B213 | WHT | 20 | 220 | AF0087:39 | TURB PNL
SA0471:B2-14 | SA0471B214 | WHT | 20 | 220 | AF0087:07 | TURB PNL
SA0473:11 | SA047311 | WHT | 20 | 220 | AF0087:37 | TURB PNL | SA0473
SA0473:12 | SA047312 | WHT | 20 | 220 | AF0087:05 | TURB PNL
SA0473:13 | SA047313 | WHT | 20 | 220 | AF0087:38 | TURB PNL
SA0473:14 | SA047314 | WHT | 20 | 220 | AF0087:06 | TURB PNL
SB0471:11 | SB047111 | WHT | 20 | 220 | AF0087:34 | TURB PNL | SB0471
SB0471:12 | SB047112 | WHT | 20 | 220 | AF0087:02 | TURB PNL
SB0472:B1-11 | ESTOPA | WHT | 20 | 220 | XT0137:1 | TURB PNL | SB0472
SB0472:B1-12 | ESTOP | WHT | 20 | 220 | XT0137:2 | TURB PNL
SB0472:B2-11 | SB0472B211 | WHT | 20 | 220 | AF0081:36 | TURB PNL
SB0472:B2-12 | SB0472B212 | WHT | 20 | 220 | AF0081:04 | TURB PNL
SB0473:13 | SB047313 | WHT | 20 | 220 | AF0087:35 | TURB PNL | SB0473
SB0473:14 | SB047314 | WHT | 20 | 220 | AF0087:03 | TURB PNL
SB0474:13 | SB047413 | WHT | 20 | 220 | AF0087:36 | TURB PNL | SB0474
SB0474:14 | SB047414 | WHT | 20 | 220 | AF0087:04 | TURB PNL
SH0470:11 | SH047011 | WHT | 20 | 220 | AF0087:33 | TURB PNL | SH0470
SH0470:12 | SH047012 | WHT | 20 | 220 | AF0087:01 | TURB PNL
SH0470:13 | SH047013 | WHT | 20 | 220 | XT0137:5 | TURB PNL
SH0470:14 | SH047014 | WHT | 20 | 220 | XT0137:6 | TURB PNL
SH0471:11 | SH047111 | WHT | 20 | 220 | XT0137:3 | TURB PNL | SH0471
SH0471:12 | SH047112 | WHT | 20 | 220 | XT0137:4 | TURB PNL
SH0471:13 | SH047113 | WHT | 20 | 220 | AF0087:32 | TURB PNL
SH0471:14 | SH047114 | WHT | 20 | 220 | AF0087:00 | TURB PNL
SH0472:11 | SH047211 | WHT | 20 | 220 | XT0236:4 | TURB PNL | SH0472
SH0472:12 | SH047212 | WHT | 20 | 220 | XT0236:5 | TURB PNL
SH0472:13 | FU0139 | WHT | 20 | 220 | XT0236:1 | TURB PNL
SH0472:14 | KA0241A1 | WHT | 20 | 220 | XT0236:2 | TURB PNL
SH0472:X1 | -0V | WHT | 20 | 220 | XT0236:3 | TURB PNL
SH0472:X2 | SH0472X2 | WHT | 20 | 220 | XT0237:2 B1 | TURB PNL
SA0170:13 | SA017013 | WHT | 20 | 260 | XT0170:12 | R/RAIL | SA0170
SA0170:14 | SA017014 | WHT | 20 | 260 | XT0170:11 | R/RAIL
SA0170:23 | KA6510A1 | WHT | 20 | 260 | KA6510:A1 | R/RAIL
SA0170:24 | AT01754P1 | WHT | 20 | 260 | AT0175:4P1 | R/RAIL
AT0170:24 | FU0139 | WHT | 20 | 280 | XT0170:13 | R/RAIL | AT-R/RAIL
AT0170:25 | AT017025 | WHT | 20 | 280 | KA0172:A1 | R/RAIL
AT0170:26 | KA0243A1 | WHT | 20 | 280 | XT0170:14 | R/RAIL
AT0170:30 | FU0139 | WHT | 20 | 280 | XT0170:13 | R/RAIL
AT0170:31 | AT017031 | WHT | 20 | 280 | KA0174:A1 | R/RAIL
AT0170:32 | KA0245A1 | WHT | 20 | 280 | XT0170:15 | R/RAIL
AT0170:36 | AT017036 | WHT | 20 | 280 | XT0170:25 | R/RAIL
AT0170:37 | AT017037 | WHT | 20 | 280 | XT0170:26 | R/RAIL
AT0170:45 | AT017045 | WHT | 20 | 280 | XT0170:5 | R/RAIL
AT0170:46 | AT017046 | WHT | 20 | 280 | XT0170:6 | R/RAIL
AT0170:5 | SA017014 | WHT | 20 | 280 | XT0170:11 | R/RAIL
AT0170:6 | SA017013 | WHT | 20 | 280 | XT0170:12 | R/RAIL
UV0170:1(+) | FU0170 | WHT | 14 | 280 | XT0170:2 | R/RAIL | UV-R/RAIL
UV0170:10(-) | UV017010 | WHT | 14 | 280 | AT0175:2P1 | R/RAIL
UV0170:11(+) | UV017011 | WHT | 14 | 280 | AT0176:1P1 | R/RAIL
UV0170:12(-) | UV017012 | WHT | 14 | 280 | AT0176:2P1 | R/RAIL
UV0170:13(+) | LON0P | WHT | 14 | 280 | XT0170:19 | R/RAIL
UV0170:14(-) | LON0N | WHT | 14 | 280 | XT0170:20 | R/RAIL
UV0170:15(+) | LON2P | WHT | 14 | 280 | XT0170:22 | R/RAIL
UV0170:16(-) | LON2N | WHT | 14 | 280 | XT0170:23 | R/RAIL
UV0170:2(-) | -0V | WHT | 14 | 280 | XT0170:3 | R/RAIL
UV0170:3(+) | FU0170 | WHT | 14 | 280 | XT0170:2 | R/RAIL
UV0170:4(-) | -0V | WHT | 14 | 280 | XT0170:3 | R/RAIL
UV0170:9(+) | UV01709 | WHT | 14 | 280 | AT0175:1P1 | R/RAIL

## JB70 BTTM RAIL
JB70 BOTTOM RAIL
Project # | J1600
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AU0090:COM | -0V | WHT | 14 | 60 | XT0090:1 | JB70 | AU/AF
AF0094:COM | -0V | WHT | 14 | 60 | XT0090:3 | JB70
AF0093:COM | -0V | WHT | 14 | 60 | XT0090:2 | JB70
AF0092:COM | -0V | WHT | 14 | 60 | XT0090:2 | JB70
AF0093:12 | -009312 | WHT | 20 | 140 | PC0470:INP_A | L/RAIL | AU/AF-L/R
AF0093:28 | -009328 | WHT | 20 | 140 | PC0470:-PWR | L/RAIL
AF0093:44 | -009344 | WHT | 20 | 140 | PC0470:+PWR | L/RAIL
AU0090:V+ | FU0090 | WHT | 14 | 140 | FU0090:LD | L/RAIL
AF0092:V+ | FU0091 | WHT | 14 | 140 | FU0091:LD | L/RAIL
AF0093:V+ | FU0092,WHT | WHT | 14 | 140 | FU0092:LD | L/RAIL
AF0094:V+ | FU0094,WHT | WHT | 14 | 140 | FU0094:LD | L/RAIL
AF0092:08 | -009208 | WHT | 20 | 160 | KA3103:A1 | TURB PNL | AF-TURB
AF0092:24 | -009224 | WHT | 20 | 160 | KA3103:A2 | TURB PNL
AF0093:20 | -009320 | WHT | 20 | 160 | KA6211:A2 | TURB PNL
AF0093:29 | -009329 | WHT | 20 | 160 | KA6212:A2 | TURB PNL
AF0093:45 | -009345 | WHT | 20 | 160 | KA0177:14 | TURB PNL
AF0094:00 | -009400 | WHT | 20 | 160 | KA0181:A1 | TURB PNL
AF0094:02 | -009402 | WHT | 20 | 160 | KA0183:A1 | TURB PNL
AF0094:16 | -009416 | WHT | 20 | 160 | KA0181:A2 | TURB PNL
AF0094:18 | -009418 | WHT | 20 | 160 | KA0183:A2 | TURB PNL
AF0092:06 | KA013114 | WHT | 20 | 160 | KA0131:14 | TURB PNL
AF0092:02 | KA0133A1 | WHT | 20 | 160 | KA0133:A1 | TURB PNL
AF0091:12 | KA0134A1 | WHT | 20 | 160 | KA0134:A1 | TURB PNL
AF0091:39 | KA014111 | WHT | 20 | 160 | KA0141:11 | TURB PNL
AF0091:07 | KA014114 | WHT | 20 | 160 | KA0141:14 | TURB PNL
AF0092:13 | XT02372 | WHT | 20 | 160 | XT0237:2 T2 | TURB PNL
XT0090:1 | -0V | WHT | 14 | 160 | XT0135:3 | TURB PNL | XT-TURB
AF0092:12 | -009212 | WHT | 20 | 240 | KA0875:A1 | R/RAIL | AF-R/R
AF0092:28 | -009228 | WHT | 20 | 240 | KA0875:A2 | R/RAIL
AF0093:04 | -009304 | WHT | 20 | 240 | XT0171:2 | R/RAIL
AF0093:13 | -009313 | WHT | 20 | 240 | XT0171:6 | R/RAIL
AF0093:36 | -009336 | WHT | 20 | 240 | KA0176:14 | R/RAIL

## JB70 LEFT RAIL_S
JB70 LEFT RAIL
JB70
Project # | J1600
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UA1200:J1-8 | UA1200J | WHT | 20 | 60 | UA1200:J3-5 | L/RAIL | UA-L/RAIL
BA1100:POS | FU1101LD | WHT | 16 | 60 | FU1101:LD | L/RAIL | BA-L/RAIL
BA1100:NEG | -0V | WHT | 16 | 240 | XT0135:5 | TURB PNL | BA-TURB
UA1200:J1-9 | -0V | WHT | 20 | 240 | XT0235:4 | TURB PNL | UA-TURB
UA1200:J1-10 | FU0212 | WHT | 20 | 240 | XT0233:4 | TURB PNL
UA1200:J2-2 | FU0212 | WHT | 20 | 240 | XT0233:4 | TURB PNL
UA1200:J1-4 | UA1200J14 | WHT | 20 | 240 | AF0074:11 | TURB PNL
UA1200:J1-5 | UA1200J15 | WHT | 20 | 240 | XT0237:1 B1 | TURB PNL
UA1200:J2-1 | UA1200J21 | WHT | 20 | 240 | XT0060:3 | TURB PNL
UA1200:J2-6 | UA1200J26 | WHT | 20 | 240 | KA0130:A2 | TURB PNL
UA1200:J2-7 | UA1200J27 | WHT | 20 | 240 | AF0081:19 | TURB PNL
FU0090:LI | FU0137 | WHT | 14 | 240 | XT0139:3 | TURB PNL | FU-TURB
FU1101:LI | FU0137 | WHT | 16 | 240 | XT0139:2 | TURB PNL
FU1100:LI | FU0210 | WHT | 14 | 240 | XT0233:3 | TURB PNL
XT0174:5 | HL01712 | WHT | 20 | 260 | AT0175:18 | R/RAIL | XT-R/RAIL
XT0174:8 | HL01722 | WHT | 20 | 260 | AT0175:21 | R/RAIL
XT0174:11 | HL01732 | WHT | 20 | 260 | AT0175:24 | R/RAIL
XT0174:1 | SB017023 | WHT | 20 | 260 | AT0175:2 | R/RAIL
XT0174:2 | SB017024 | WHT | 20 | 260 | AT0175:3 | R/RAIL
XT0174:4 | VD0175A | WHT | 20 | 260 | AT0175:17 | R/RAIL
XT0174:10 | VD0175D | WHT | 20 | 260 | AT0175:23 | R/RAIL
XT0174:7 | VD0175I | WHT | 20 | 260 | AT0175:20 | R/RAIL

## TURB PNL_S
JB70 TURBINE PNL
JB70
Project # | J1600
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0074:12 | -007412 | WHT | 20 | 60 | XT0237:1 B2 | TURB PNL | 22:58
AF0073:COM | AF0073N | WHT | 20 | 60 | AF0075:COM | TURB PNL
AF0073:V+ | AF0073P | WHT | 20 | 60 | AF0075:V+ | TURB PNL
AF0081:39 | SB7512AC2 | WHT | 20 | 60 | XT7512:1 | TURB PNL
AF0081:07 | SB7512BC2 | WHT | 20 | 60 | XT7512:2 | TURB PNL
AF0062:18 | SV21202 | WHT | 20 | 80 | XT0060:4 | TURB PNL
AF0062:16 | SV21242 | WHT | 20 | 80 | XT0060:5 | TURB PNL
AF0067:22 | SV22202 | WHT | 16 | 100 | XT0060:6 | TURB PNL
AF0067:18 | SV22222 | WHT | 16 | 100 | XT0060:7 | TURB PNL
AF0061:COM | -0V | WHT | 14 | 80 | XT0060:2 | TURB PNL
AF0062:COM | -0V | WHT | 14 | 80 | XT0060:2 | TURB PNL
AF0067:COM | -0V | WHT | 14 | 100 | XT0060:2 | TURB PNL
AF0074:COM | -0V | WHT | 14 | 60 | XT0030:2 | TURB PNL
AF0082:COM | -0V | WHT | 14 | 60 | XT0080:2 | TURB PNL
AU0060:COM | -0V | WHT | 14 | 80 | XT0060:1 | TURB PNL
AU0070:COM | -0V | WHT | 14 | 60 | XT0030:1 | TURB PNL
AU0080:COM | -0V | WHT | 14 | 60 | XT0080:1 | TURB PNL
AU0060:V+ | FU0060 | WHT | 14 | 60 | FU0060:LD | TURB PNL
AF0061:V+ | FU0061 | WHT | 14 | 60 | FU0061:LD | TURB PNL
AF0062:V+ | FU0062 | WHT | 14 | 60 | FU0062:LD | TURB PNL
AF0067:V+ | FU0063 | WHT | 14 | 60 | FU0063:LD | TURB PNL
AU0070:V+ | FU0070 | WHT | 14 | 80 | FU0070:LD | TURB PNL
AU0080:V+ | FU0080 | WHT | 14 | 120 | FU0080:LD | TURB PNL
AF0082:V+ | FU0081 | WHT | 14 | 120 | FU0081:LD | TURB PNL
KA1020:A1 | -007408 | WHT | 20 | 120 | AF0074:08 | TURB PNL | KA A1
KA0182:A1 | -007414 | WHT | 20 | 120 | AF0074:14 | TURB PNL
KA0240:A1 | ESTOP | WHT | 20 | 60 | KA0248:A1 | TURB PNL
KA0248:A1 | ESTOP | WHT | 20 | 60 | KA0250:A1 | TURB PNL
KA0235:A1 | ESTOP | WHT | 20 | 60 | XT0240:4 | TURB PNL
KA0130:A1 | KA013011 | WHT | 20 | 60 | AF0081:35 | TURB PNL
KA0130:A1 | KA013011 | WHT | 20 | 60 | KA0130:11 | TURB PNL
KA0134:A1 | KA0134A1 | WHT | 20 | 120 | AF0067:12 | TURB PNL
KA0135:A1 | KA0135A1 | WHT | 20 | 120 | KA0144:A1 | TURB PNL
KA0135:A1 | KA0135A1 | WHT | 20 | 120 | KA0131:11 | TURB PNL
KA0138:A1 | KA0138A1 | WHT | 20 | 60 | KA0132:21 | TURB PNL
KA0132:A1 | KA0231A1 | WHT | 20 | 60 | KA0141:A1 | TURB PNL
KA0131:A1 | KA0231A1 | WHT | 20 | 60 | XT0136:10 | TURB PNL
KA0241:A1 | KA0241A1 | WHT | 20 | 60 | XT0240:6 | TURB PNL
KA0244:A1 | KA0243A1 | WHT | 20 | 60 | KA0246:A1 | TURB PNL
KA0243:A1 | KA0243A1 | WHT | 20 | 60 | XT0240:7 | TURB PNL
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | KA0249:A1 | TURB PNL
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | XT0240:8 | TURB PNL
KA6211:A1 | KA6211A1 | WHT | 20 | 120 | KA0246:14 | TURB PNL
KA6212:A1 | KA6212A1 | WHT | 20 | 120 | KA0247:14 | TURB PNL
KA0136:A1 | PS32002 | WHT | 20 | 60 | XT0136:5 | TURB PNL
KA7512:A1 | SB7512BC2 | WHT | 20 | 120 | XT7512:2 | TURB PNL
KA0221:A1 | -007402 | WHT | 16 | 60 | AF0074:02 | TURB PNL
KA0222:A1 | -007404 | WHT | 16 | 60 | AF0074:04 | TURB PNL
KA2161:14 | -006702 | WHT | 20 | 60 | AF0067:02 | TURB PNL | KA A2
KA2160:14 | -006706 | WHT | 20 | 60 | AF0067:06 | TURB PNL
KA2161:A1 | -007403 | WHT | 20 | 120 | AF0074:03 | TURB PNL
KA2160:A1 | -007405 | WHT | 20 | 120 | AF0074:05 | TURB PNL
KA0221:A2 | -007418 | WHT | 20 | 60 | AF0074:18 | TURB PNL
KA2161:A2 | -007419 | WHT | 20 | 120 | AF0074:19 | TURB PNL
KA0222:A2 | -007420 | WHT | 20 | 60 | AF0074:20 | TURB PNL
KA2160:A2 | -007421 | WHT | 20 | 120 | AF0074:21 | TURB PNL
KA1020:A2 | -007424 | WHT | 20 | 120 | AF0074:24 | TURB PNL
KA0182:A2 | -007430 | WHT | 20 | 100 | AF0074:30 | TURB PNL
KA0135:A2 | -0V | WHT | 20 | 120 | KA0136:A2 | TURB PNL
KA0132:A2 | -0V | WHT | 20 | 60 | KA0141:A2 | TURB PNL
KA0133:A2 | -0V | WHT | 20 | 60 | KA0141:A2 | TURB PNL
KA0134:A2 | -0V | WHT | 20 | 60 | KA0144:A2 | TURB PNL
KA0135:A2 | -0V | WHT | 20 | 60 | KA0144:A2 | TURB PNL
KA0244:A2 | -0V | WHT | 20 | 60 | KA0246:A2 | TURB PNL
KA0245:A2 | -0V | WHT | 20 | 60 | KA0247:A2 | TURB PNL
KA0240:A2 | -0V | WHT | 20 | 60 | KA0248:A2 | TURB PNL
KA0245:A2 | -0V | WHT | 20 | 60 | KA0249:A2 | TURB PNL
KA0241:A2 | -0V | WHT | 20 | 60 | KA0250:A2 | TURB PNL
KA0248:A2 | -0V | WHT | 20 | 60 | KA0250:A2 | TURB PNL
KA0249:A2 | -0V | WHT | 20 | 120 | XT0240:10 | TURB PNL
KA0231:A2 | KA0231A2 | WHT | 20 | 60 | AF0074:26 | TURB PNL
KA7512:A2 | KA7512A2 | WHT | 20 | 120 | AF0081:23 | TURB PNL
KA0234:14 | -006114 | WHT | 20 | 80 | AF0061:14 | TURB PNL | KA
KA0222:14 | -006200 | WHT | 20 | 80 | AF0062:00 | TURB PNL
KA0221:14 | -006202 | WHT | 20 | 80 | AF0062:02 | TURB PNL
KA0237:14 | -007400 | WHT | 20 | 60 | AF0074:00 | TURB PNL
KA0222:11 | -022211 | WHT | 20 | 60 | KA0236:24 | TURB PNL
KA0242:21 | -024221 | WHT | 20 | 60 | XT0237:1 T2 | TURB PNL
KA0134:11 | FU0139 | WHT | 20 | 60 | KA0136:11 | TURB PNL
KA0137:11 | FU0139 | WHT | 20 | 60 | KA0137:21 | TURB PNL
KA0138:14 | FU0139 | WHT | 20 | 60 | XT0136:11 | TURB PNL
KA0141:24 | FU0139 | WHT | 20 | 100 | KA0241:24 | TURB PNL
KA0141:24 | FU0139 | WHT | 20 | 60 | XT0136:2 | TURB PNL
KA0236:11 | FU0139 | WHT | 20 | 60 | KA0244:11 | TURB PNL
KA0236:11 | FU0139 | WHT | 20 | 60 | XT0240:12 | TURB PNL
KA0130:14 | KA013014 | WHT | 20 | 60 | AF0081:03 | TURB PNL
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | TURB PNL
KA0137:24 | KA013112 | WHT | 20 | 60 | AF0087:09 | TURB PNL
KA0132:22 | KA013222 | WHT | 20 | 60 | KA0137:14 | TURB PNL
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | TURB PNL
KA0136:21 | KA013621 | WHT | 20 | 60 | AF0087:43 | TURB PNL
KA0136:24 | KA013624 | WHT | 20 | 60 | AF0087:11 | TURB PNL
KA0136:14 | KA013821 | WHT | 20 | 60 | KA0138:21 | TURB PNL
KA0144:22 | KA014422 | WHT | 20 | 100 | KA0249:12 | TURB PNL
KA0178:14 | KA017814 | WHT | 20 | 100 | KA0232:11 | TURB PNL
KA0221:11 | KA022111 | WHT | 20 | 60 | KA0235:24 | TURB PNL
KA0231:21 | KA023121 | WHT | 20 | 60 | KA0245:14 | TURB PNL
KA0231:11 | KA0231A1 | WHT | 20 | 80 | KA0231:A1 | TURB PNL
KA0231:11 | KA0231A1 | WHT | 20 | 60 | KA0242:11 | TURB PNL
KA0242:11 | KA0231A1 | WHT | 20 | 60 | XT0136:10 | TURB PNL
KA0232:22 | KA023222 | WHT | 20 | 100 | KA0144:21 | TURB PNL
KA0232:22 | KA023222 | WHT | 20 | 60 | KA0249:11 | TURB PNL
KA0233:14 | KA023314 | WHT | 20 | 80 | AF0061:06 | TURB PNL
KA0236:12 | KA023612 | WHT | 20 | 60 | XT0240:13 | TURB PNL
KA0237:24 | KA023724 | WHT | 20 | 60 | AF0074:01 | TURB PNL
KA0239:21 | KA023921 | WHT | 20 | 80 | AF0081:41 | TURB PNL
KA0239:24 | KA023924 | WHT | 20 | 80 | AF0081:09 | TURB PNL
KA0235:14 | KA024114 | WHT | 20 | 60 | KA0241:14 | TURB PNL
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:24 | TURB PNL
KA0231:14 | KA024214 | WHT | 20 | 60 | KA0242:14 | TURB PNL
KA0242:14 | KA024214 | WHT | 20 | 80 | AF0081:08 | TURB PNL
KA0243:11 | KA024311 | WHT | 20 | 80 | AF0081:33 | TURB PNL
KA0243:14 | KA024314 | WHT | 20 | 80 | AF0081:01 | TURB PNL
KA0243:24 | KA024511 | WHT | 20 | 60 | KA0245:11 | TURB PNL
KA0245:21 | KA024521 | WHT | 20 | 80 | AF0081:34 | TURB PNL
KA0245:24 | KA024524 | WHT | 20 | 80 | AF0081:02 | TURB PNL
KA0242:24 | KA024822 | WHT | 20 | 60 | KA0248:22 | TURB PNL
KA0178:11 | KA087511 | WHT | 20 | 60 | XT0147:1 | TURB PNL
KA0240:14 | KA216011 | WHT | 20 | 60 | KA2160:11 | TURB PNL
KA0238:14 | KA216111 | WHT | 20 | 60 | KA2161:11 | TURB PNL
KA0243:21 | KA751211 | WHT | 20 | 60 | XT0240:1 | TURB PNL
KA7512:11 | KA751211 | WHT | 20 | 120 | XT0240:1 | TURB PNL
KA7512:14 | KA751214 | WHT | 20 | 120 | XT0240:2 | TURB PNL
KA0138:11 | KM3170EP | WHT | 20 | 60 | XT0136:13 | TURB PNL
KA0141:21 | KT0146A1 | WHT | 20 | 100 | KA0241:21 | TURB PNL
KA0240:21 | PS32004 | WHT | 20 | 60 | XT0136:6 | TURB PNL
KA0235:11 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | TURB PNL
KA0235:11 | UA1200J21 | WHT | 20 | 60 | XT0060:3 | TURB PNL
KA0241:11 | UA1200J21 | WHT | 20 | 80 | AF0081:00 | TURB PNL
KA0240:24 | UF1300 | WHT | 20 | 60 | XT0136:7 | TURB PNL
KA0232:21 | FU0140 | WHT | 16 | 100 | FU0140:LD | TURB PNL
KA0248:21 | FU0212 | WHT | 16 | 100 | FU0212:LD | TURB PNL
KA1020:24 | -0V | WHT | 14 | 60 | XT0135:4 | TURB PNL
KA1020:14 | FU0211 | WHT | 14 | 100 | FU0211:LD | TURB PNL
KT0140:15 | FU0139 | WHT | 20 | 60 | KT0142:15 | TURB PNL | KT R/S
KT0140:15 | FU0139 | WHT | 20 | 120 | XT0136:2 | TURB PNL
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0144:A1 | TURB PNL
KT0145:15 | FU0139 | WHT | 20 | 140 | KA0132:11 | TURB PNL
KT0145:A1 | KA024412 | WHT | 20 | 120 | KA0244:12 | TURB PNL
KT0140:A1 | KT0140A1 | WHT | 20 | 60 | KT0143:16 | TURB PNL
KT0141:15 | KT014115 | WHT | 20 | 60 | KT0140:16 | TURB PNL
KT0141:A1 | KT0141A1 | WHT | 20 | 60 | KT0143:15 | TURB PNL
KT0142:A1 | KT0141A1 | WHT | 20 | 140 | KA0132:12 | TURB PNL
KT0143:A1 | KT0143A1 | WHT | 20 | 60 | KT0140:18 | TURB PNL
KT0144:B1 | KT0144B1 | WHT | 20 | 140 | KA0138:24 | TURB PNL
KT0146:15 | KT014615 | WHT | 20 | 120 | AF0074:10 | TURB PNL
KT0146:A1 | KT0146A1 | WHT | 20 | 140 | KA0141:21 | TURB PNL
KT0146:B1 | KT0146B1 | WHT | 20 | 120 | AF0074:13 | TURB PNL
KT0140:A2 | -0V | WHT | 20 | 120 | XT0136:3 | TURB PNL | KT L/S
KT0145:A2 | -0V | WHT | 20 | 140 | KA0131:A2 | TURB PNL
KT0141:18 | KA013222 | WHT | 20 | 140 | KA0132:22 | TURB PNL
KT0141:18 | KA013222 | WHT | 20 | 60 | KT0144:18 | TURB PNL
KT0142:18 | KA0137A1 | WHT | 20 | 140 | KA0137:A1 | TURB PNL
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KT0145:18 | TURB PNL
KT0146:18 | KA024214 | WHT | 20 | 120 | KA0231:14 | TURB PNL
KT0146:A2 | KT0146A2 | WHT | 20 | 120 | AF0074:29 | TURB PNL
XT0136:12 | -0V | WHT | 20 | 60 | XT0136:3 | TURB PNL | FU/XT
XT0136:3 | -0V | WHT | 20 | 60 | XT0240:10 | TURB PNL
XT0240:9 | -0V | WHT | 20 | 60 | XT0236:3 | TURB PNL
XT0240:4 | ESTOP | WHT | 20 | 60 | XT0137:2 | TURB PNL
XT0240:3 | ESTOPA | WHT | 20 | 60 | XT0137:1 | TURB PNL
XT0136:1 | FU0139 | WHT | 20 | 60 | XT0136:11 | TURB PNL
XT0136:1 | FU0139 | WHT | 20 | 60 | XT0240:12 | TURB PNL
XT0240:11 | FU0139 | WHT | 20 | 60 | XT0236:1 | TURB PNL
XT0240:13 | KA023612 | WHT | 20 | 60 | XT0237:2 B2 | TURB PNL
XT0240:6 | KA0241A1 | WHT | 20 | 60 | XT0236:2 | TURB PNL
XT0086:3 | -0V | WHT | 16 | 60 | XT0135:5 | TURB PNL
FU0212:LD | FU0212 | WHT | 16 | 120 | XT0233:4 | TURB PNL
FU0213:LD | FU0213 | WHT | 16 | 120 | XT0086:1 | TURB PNL
XT0030:1 | -0V | WHT | 14 | 60 | XT0235:1 | TURB PNL
XT0050:1 | -0V | WHT | 14 | 60 | XT0235:2 | TURB PNL
XT0135:2 | -0V | WHT | 14 | 60 | XT0136:3 | TURB PNL
XT0135:3 | -0V | WHT | 14 | 60 | XT0080:1 | TURB PNL
XT0235:1 | -0V | WHT | 14 | 60 | XT0060:1 | TURB PNL
FU0080:LI | FU0137 | WHT | 14 | 60 | XT0139:2 | TURB PNL
FU0139:LI | FU0137 | WHT | 14 | 60 | XT0139:2 | TURB PNL
FU0140:LI | FU0137 | WHT | 14 | 60 | XT0139:4 | TURB PNL
FU0211:LI | FU0137 | WHT | 14 | 60 | XT0139:4 | TURB PNL
FU0139:LD | FU0139 | WHT | 14 | 120 | XT0136:1 | TURB PNL
FU0060:LI | FU0210 | WHT | 14 | 60 | XT0233:1 | TURB PNL
FU0212:LI | FU0210 | WHT | 14 | 60 | XT0233:1 | TURB PNL
FU0213:LI | FU0210 | WHT | 14 | 60 | XT0233:3 | TURB PNL
XT0140:3 | -0V | WHT | 12 | 60 | XT0135:2 | TURB PNL
XT0140:4 | -0V | WHT | 12 | 60 | XT0235:1 | TURB PNL
FU0137:LD | FU0137 | WHT | 12 | 120 | XT0140:1 | TURB PNL
XT0140:1 | FU0137 | WHT | 12 | 60 | XT0139:2 | TURB PNL

## RIGHT RAIL_S
JB70 RIGHT RAIL
JB70
Project # | J1600
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0178:24 | KA0178A2 | WHT | 20 | 60 | XT0170:18 | R/RAIL | AT
AT0175:11 | KA651012 | WHT | 20 | 60 | KA6510:12 | R/RAIL
AT0175:5P1 | KA6510A2 | WHT | 20 | 60 | KA6510:A2 | R/RAIL
AT0178:23 | VD0178 | WHT | 20 | 60 | XT0170:17 | R/RAIL
AT0176:4P1 | AT01764P1 | WHT | 14 | 60 | AT0178:1P1 | R/RAIL
AT0176:5P1 | AT01765P1 | WHT | 14 | 60 | AT0178:2P1 | R/RAIL
KA0178:A1 | KA0178A1 | WHT | 20 | 60 | XT0170:16 | R/RAIL | KA
KA0172:A2 | -0V | WHT | 20 | 60 | XT0170:4 | R/RAIL
KA0178:A2 | KA0178A2 | WHT | 20 | 60 | XT0170:18 | R/RAIL
KA0172:11 | KA017211 | WHT | 20 | 60 | XT0170:7 | R/RAIL
KA0172:12 | KA017212 | WHT | 20 | 60 | XT0170:8 | R/RAIL
KA0174:11 | KA017411 | WHT | 20 | 60 | XT0170:9 | R/RAIL
KA0174:12 | KA017412 | WHT | 20 | 60 | XT0170:10 | R/RAIL
KA0176:11 | KA017611 | WHT | 20 | 60 | XT0171:1 | R/RAIL
KA0875:14 | FU0170 | WHT | 20 | 60 | XT0170:1 | R/RAIL
XT0172:6 | LON1S2 | WHT | 16 | 60 | XT0172:18 | R/RAIL
XT0172:17 | -0V | WHT | 14 | 60 | XT0172:8 | R/RAIL
XT0172:5 | -0V | WHT | 14 | 60 | XT0170:4 | R/RAIL
XT0172:5 | -0V | WHT | 14 | 60 | XT0172:17 | R/RAIL
FU0170:LD | FU0170 | WHT | 14 | 60 | XT0170:2 | R/RAIL
XT0172:16 | FU0170 | WHT | 14 | 60 | XT0172:7 | R/RAIL
XT0172:4 | FU0170 | WHT | 14 | 60 | XT0170:1 | R/RAIL
XT0172:4 | FU0170 | WHT | 14 | 60 | XT0172:16 | R/RAIL
XT0172:18 | LON1S2 | WHT | 14 | 60 | XT0172:9 | R/RAIL
KA0176:A1 | KA014422 | WHT | 20 | 180 | KA0144:22 | TURB PNL | KA A1/A2
KA0176:A1 | KA014422 | WHT | 20 | 180 | KA0177:A1 | TURB PNL
KA0178:A1 | KA0178A1 | WHT | 20 | 180 | XT0170:16 | TURB PNL
KA0176:A2 | -0V | WHT | 20 | 180 | KA0177:A2 | TURB PNL
KA0176:A2 | -0V | WHT | 20 | 180 | XT0135:4 | TURB PNL
KA0178:A2 | KA0178A2 | WHT | 20 | 180 | XT0170:18 | TURB PNL
KA0875:14 | FU0170 | WHT | 20 | 180 | KA0232:12 | TURB PNL | KA
KA0178:14 | KA017814 | WHT | 20 | 180 | KA0232:11 | TURB PNL
KA0178:11 | KA087511 | WHT | 20 | 180 | XT0147:1 | TURB PNL
KA0875:11 | KA087511 | WHT | 20 | 180 | XT0147:1 | TURB PNL
XT0170:4 | -0V | WHT | 20 | 180 | XT0147:2 | TURB PNL | FU/XT
XT0171:1 | KA017611 | WHT | 20 | 180 | KA0246:11 | TURB PNL
XT0171:5 | KA024711 | WHT | 20 | 180 | KA0177:11 | TURB PNL
XT0171:5 | KA024711 | WHT | 20 | 180 | KA0247:11 | TURB PNL
XT0170:3 | -0V | WHT | 14 | 180 | XT0135:2 | TURB PNL
FU0170:LI | FU0137 | WHT | 14 | 180 | XT0139:3 | TURB PNL

## JB72_S
JB72
Project # | J1600
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0055:COM | AF0055N | WHT | 20 | 80 | AF0056:COM | JB72 | AF
AF0055:V+ | AF0055P | WHT | 20 | 80 | AF0056:V+ | JB72
AF0122:COM | AU0120N | WHT | 20 | 60 | AU0120:COM | JB72
AF0122:V+ | AU0120P | WHT | 20 | 60 | AU0120:V+ | JB72
AF0053:08 | -005308 | WHT | 20 | 160 | KA0180:A1 | GEN PNL | AF0050-GEN
AF0053:10 | -005310 | WHT | 20 | 160 | KA0185:A1 | GEN PNL
AF0053:24 | -005324 | WHT | 20 | 160 | KA0180:A2 | GEN PNL
AF0053:26 | -005326 | WHT | 20 |  | XT0338:2 | GEN PNL
AF0056:07 | -005607 | WHT | 20 | 140 | XT0085:2 | GEN PNL
AF0056:23 | -0V | WHT | 20 | 140 | XT0085:3 | GEN PNL
AF0056:11 | UJ0131IOUT | WHT | 20 | 140 | UJ0131:IOUT | GEN PNL
AF0056:09 | UJ0131VIN | WHT | 20 | 140 | UJ0131:VIN | GEN PNL
AU0050:V+ | FU0050 | WHT | 14 | 200 | FU0050:LD | GEN PNL
AF0052:V+ | FU0051 | WHT | 14 | 200 | FU0051:LD | GEN PNL
AF0053:V+ | FU0052 | WHT | 14 | 200 | FU0052:LD | GEN PNL
AF0054:V+ | FU0053 | WHT | 14 | 200 | FU0053:LD | GEN PNL
AF0121:01 | -012101 | WHT | 20 | 200 | KA0121:A1 | GEN PNL | AF0120-GEN
AF0121:03 | -012103 | WHT | 20 | 200 | KA0123:A1 | GEN PNL
AF0121:04 | -012104 | WHT | 20 | 200 | KA0342:A1 | GEN PNL
AF0121:08 | -012108 | WHT | 20 | 200 | KA0128:A1 | GEN PNL
AF0121:10 | -012110 | WHT | 20 | 200 | KA0341:A1 | GEN PNL
AF0121:17 | -012117 | WHT | 20 | 200 | KA0121:A2 | GEN PNL
AF0121:19 | -012119 | WHT | 20 | 200 | KA0123:A2 | GEN PNL
AF0121:20 | -012120 | WHT | 20 | 200 | KA0342:A2 | GEN PNL
AF0121:24 | -012124 | WHT | 20 | 200 | KA0128:A2 | GEN PNL
AF0121:26 | -012126 | WHT | 20 | 200 | KA0341:A2 | GEN PNL
AF0122:00 | -012200 | WHT | 20 | 200 | KA0330:11 | GEN PNL
AF0122:01 | -012201 | WHT | 20 | 200 | KA0331:11 | GEN PNL
AF0122:02 | -012202 | WHT | 20 | 200 | KA0310:11 | GEN PNL
AF0122:06 | -012206 | WHT | 20 | 200 | KA0331B:11 | GEN PNL
AF0122:32 | -012232 | WHT | 20 | 200 | KA0330:14 | GEN PNL
AF0122:33 | -012233 | WHT | 20 | 200 | KA0331:14 | GEN PNL
AF0122:34 | -012234 | WHT | 20 | 200 | KA0310:14 | GEN PNL
AF0122:38 | -012238 | WHT | 20 | 200 | KA0331B:14 | GEN PNL
AF0121:14 | KA033611 | WHT | 20 | 200 | KA0336:11 | GEN PNL
AF0121:30 | KA4100A2 | WHT | 20 | 200 | KA4100:A2 | GEN PNL
AF0122:40 | UJ0131OK1 | WHT | 20 | 160 | UJ0131:OK1 | GEN PNL
AF0122:08 | UJ0131OK2 | WHT | 20 | 160 | UJ0131:OK2 | GEN PNL
AF0121:COM | -0V | WHT | 14 | 200 | XT0120:2 | GEN PNL
AU0120:COM | -0V | WHT | 14 | 200 | XT0120:1 | GEN PNL
AU0120:V+ | FU0120 | WHT | 14 | 200 | FU0120:LD | GEN PNL
AF0121:V+ | FU0121 | WHT | 14 | 200 | FU0121:LD | GEN PNL

## JB72 LEFT RAIL_S
JB72 LEFT RAIL
Project # | J1600
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:NEG | -0V | WHT | 14 | 60 | XT0680:2 | JB72 | AT
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | JB72
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | JB72 | FU

## GEN PNL_S
JB72 GEN PNL
JB72
Project # | J1600
Project Name | EMMC CONTROLS RETROFIT-PRU
Revision | A.2
Controls DE | J. CARAMBAS
Phone:
Controls ME | G. CATO
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0450:01 | -045001 | WHT | 20 | 60 | AF0450:02 | GEN PNL | 1444s
AF0410:53 | -0V | WHT | 16 | 80 | XT0110:2 | GEN PNL
AF0410:54 | AF0410N | WHT | 16 | 60 | AF0420:53 | GEN PNL
AF0410:56 | AF0410P | WHT | 16 | 60 | AF0420:55 | GEN PNL
AF0420:54 | AF0420N | WHT | 16 | 60 | AF0450:53 | GEN PNL
AF0420:56 | AF0420P | WHT | 16 | 60 | AF0450:55 | GEN PNL
AF0410:55 | FU0113 | WHT | 16 | 80 | FU0113:LD | GEN PNL
AT0140:FLT 29 | KA0310A2 | WHT | 20 | 80 | KA0310:A2 | GEN PNL | AT
AT0140:3 EX-D(-) | -0V | WHT | 16 | 80 | XT0336:5 | GEN PNL
AT0140:34 ID RES(-) | AT014034 | WHT | 16 | 60 | AT0140:42 ID(+) | GEN PNL
AT0140:BAT(+) 47 | FU0334 | WHT | 16 | 80 | XT0335:3 | GEN PNL
AT0140:4 EX-D(+) | KA012314 | WHT | 16 | 100 | KA0123:14 | GEN PNL
AT0140:BAT(-) 48 | -0V | WHT | 14 | 80 | XT0336:5 | GEN PNL
AT0140:FLT 30 | -0V | WHT | 14 | 80 | XT0336:5 | GEN PNL
AT0140:13 VGEN PNL-A | VGENA | RED | 16R | 100 | XT0351:9 | GEN PNL | AT RED
AT0140:20 VBUS-N | VBUSA | RED | 16R | 100 | XT0351:2 | GEN PNL
AT0140:17 VBUS-A | VBUSB | RED | 16R | 100 | XT0351:3 | GEN PNL
AT0140:18 VBUS-B | VBUSC | RED | 16R | 100 | XT0351:5 | GEN PNL
AT0140:14 VGEN PNL-B | VGENB | RED | 16R | 100 | XT0351:11 | GEN PNL
AT0140:15 VGEN PNL-C | VGENC | RED | 16R | 100 | XT0351:13 | GEN PNL
AT0140:28 ID RLY | CCT1(-) | BLU | 12B | 100 | XT0350:4 | GEN PNL | AT BLU
AT0140:43 ID(-) | CCT1(-) | BLU | 12B | 100 | XT0350:3 | GEN PNL
AT0140:27 ID RLY | CCT1(+) | BLU | 12B | 100 | XT0350:2 | GEN PNL
AT0140:33 ID RES(+) | CCT1(+) | BLU | 12B | 100 | XT0350:1 | GEN PNL
AT0140:36 I1(+) | MCTA | BLU | 12B | 100 | XT0352:1 | GEN PNL
AT0140:38 I2(+) | MCTB | BLU | 12B | 100 | XT0352:2 | GEN PNL
AT0140:40 I3(+) | MCTC | BLU | 12B | 100 | XT0352:3 | GEN PNL
AT0140:37 I1(-) | MCTCN | BLU | 12B | 100 | XT0352:6 | GEN PNL
AT0140:39 I2(-) | MCTCN | BLU | 12B | 100 | XT0352:5 | GEN PNL
AT0140:41 I3(-) | MCTCN | BLU | 12B | 100 | XT0352:4 | GEN PNL
UJ0131:OUT(-) | -0V | WHT | 14 | 60 | XT0134:1 | GEN PNL | UJ
UJ0131:- | -521NEG | WHT | 12 | 60 | XT0011:1 | GEN PNL
UJ0131:+ | UJ0131P | WHT | 12 | 60 | FU0011:LD | GEN PNL
UV0600:(-) | -0V | WHT | 14 | 100 | XT0134:3 | GEN PNL | UV
UV0600:(+) | FU0700 | WHT | 14 | 100 | FU0700:LD | GEN PNL
KA0123:A1 | -012103 | WHT | 20 | 100 | KA0313:2 | GEN PNL | KA A1
KA0310:A1 | FU0334 | WHT | 20 | 80 | XT0335:3 | GEN PNL
KA0330:A1 | KA0330A1 | WHT | 20 | 60 | XT0337:9 | GEN PNL
KA0331:A1 | KA0331A1 | WHT | 20 | 60 | XT0337:12 | GEN PNL
KA0331B:A1 | KA9604NO | WHT | 20 | 60 | XT0337:11 | GEN PNL
KA0332:A1 | KA0332A1 | WHT | 20 | 60 | XT0337:15 | GEN PNL
KA0332_UTL:A1 | KA034112 | WHT | 20 | 60 | KA0341:12 | GEN PNL
KA0333:A1 | KA0333A1 | WHT | 20 | 60 | XT0337:8 | GEN PNL
KA0335:A1 | ESTOP | WHT | 20 | 60 | XT0336:1 | GEN PNL
KA0336:A1 | KA0231A1 | WHT | 16 | 60 | XT0336:2 | GEN PNL
KA0123:A2 | -012119 | WHT | 20 | 100 | KA0313:7 | GEN PNL | KA A2
KA0185:A2 | KA0185A2 | WHT | 20 | 60 | XT0338:1 | GEN PNL
KA0330:A2 | -0V | WHT | 20 | 60 | KA0331B:A2 | GEN PNL
KA0330:A2 | -0V | WHT | 20 | 60 | KA0333:A2 | GEN PNL
KA0331:A2 | -0V | WHT | 20 | 60 | KA0332:A2 | GEN PNL
KA0332_UTL:A2 | -0V | WHT | 20 | 60 | XT0337:16 | GEN PNL
KA0335:A2 | -0V | WHT | 20 | 60 | XT0336:3 | GEN PNL
KA0336:A2 | -0V | WHT | 20 | 60 | XT0336:3 | GEN PNL
KA0121:11 | KA012111 | WHT | 20 | 60 | XT0337:14 | GEN PNL | KA
KA0128:11 | KA0333A1 | WHT | 20 | 60 | KA0335:21 | GEN PNL
KA0128:14 | FU0333 | WHT | 20 | 60 | KA0335:22 | GEN PNL
KA0128:14 | FU0333 | WHT | 20 | 60 | XT0337:7 | GEN PNL
KA0128:21 | KA012821 | WHT | 20 | 60 | XT0337:1 | GEN PNL
KA0128:24 | KA012824 | WHT | 20 | 60 | XT0337:2 | GEN PNL
KA0185:11 | KA012111 | WHT | 20 | 60 | XT0337:14 | GEN PNL
KA0185:14 | KA0332A1 | WHT | 20 | 60 | XT0337:15 | GEN PNL
KA0310:21 | KA0333A1 | WHT | 20 | 60 | KA0335:21 | GEN PNL
KA0310:21 | KA0333A1 | WHT | 20 | 60 | XT0337:8 | GEN PNL
KA0310:24 | FU0333 | WHT | 20 | 60 | KA0335:22 | GEN PNL
KA0332:11 | KA033211 | WHT | 20 | 60 | XT0337:3 | GEN PNL
KA0332:14 | KA033214 | WHT | 20 | 60 | XT0337:4 | GEN PNL
KA0333:11 | KA033311 | WHT | 20 | 60 | KA0335:11 | GEN PNL
KA0333:11 | KA033311 | WHT | 20 | 60 | XT0337:5 | GEN PNL
KA0333:14 | KA033314 | WHT | 20 | 60 | KA0335:12 | GEN PNL
KA0333:14 | KA033314 | WHT | 20 | 60 | XT0337:6 | GEN PNL
KA0336:14 | KA033614 | WHT | 20 | 80 | KA4100:A1 | GEN PNL
KA0341:11 | KA034111 | WHT | 20 | 60 | KA0342:14 | GEN PNL
KA0342:11 | FU0333 | WHT | 20 | 60 | XT0337:13 | GEN PNL
KA0121:14 | FU0333 | WHT | 16 | 60 | XT0337:13 | GEN PNL
KA0123:11 | FU0334 | WHT | 16 | 80 | XT0335:3 | GEN PNL
KA0332_UTL:11 | KA032211 | WHT | 16 | 60 | XT0337:29 | GEN PNL
KA0332_UTL:14 | KA032214 | WHT | 16 | 60 | XT0337:30 | GEN PNL
XT0085:3 | -0V | WHT | 20 | 60 | XT0336:3 | GEN PNL | FU/XT
XT0336:4 | -0V | WHT | 20 | 60 | XT0337:16 | GEN PNL
XT0337:13 | FU0333 | WHT | 20 | 60 | XT0337:7 | GEN PNL
FU0055:LD | FU0055 | WHT | 16 | 60 | XT0055:1 | GEN PNL
FU0056:LD | FU0056 | WHT | 16 | 60 | XT0055:5 | GEN PNL
FU0333:LD | FU0333 | WHT | 16 | 60 | XT0335:2 | GEN PNL
FU0334:LD | FU0334 | WHT | 16 | 60 | XT0335:3 | GEN PNL
FU0335:LD | FU0335 | WHT | 16 | 60 | XT0335:4 | GEN PNL
XT0336:6 | -0V | WHT | 16 | 60 | XT0110:2 | GEN PNL
XT0335:2 | FU0333 | WHT | 16 | 60 | XT0337:13 | GEN PNL
XT0085:1 | FU0335 | WHT | 16 | 60 | XT0335:4 | GEN PNL
FU0332:LD | FU0332 | WHT | 14 | 60 | XT0335:1 | GEN PNL
FU0113:LI | FU0332 | WHT | 14 | 60 | XT0110:1 | GEN PNL
FU0120:LI | FU0332 | WHT | 14 | 60 | XT0130:1 | GEN PNL
FU0333:LI | FU0332 | WHT | 14 | 60 | XT0335:1 | GEN PNL
FU0700:LI | FU0136 | WHT | 14 | 60 | XT0138:3 | GEN PNL
XT0120:1 | -0V | WHT | 14 | 60 | XT0130:2 | GEN PNL
XT0130:2 | -0V | WHT | 14 | 60 | XT0336:4 | GEN PNL
XT0134:2 | -0V | WHT | 14 | 60 | XT0336:3 | GEN PNL
XT0335:1 | FU0332 | WHT | 14 | 60 | XT0110:1 | GEN PNL
XT0335:1 | FU0332 | WHT | 14 | 60 | XT0130:1 | GEN PNL
FU0332:LI | FU0136 | WHT | 12 | 60 | XT0138:2 | GEN PNL

## Bundle Tag Info
EMMC
J1600
A.2
JB70 | JB70 BTTM RAIL | JB70 L/RAIL | TURB PNL | JB70 R/RAIL | JB72 | JB72 L/RAIL | GEN PNL | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
AT-B/RAIL | AU/AF | UA-L/RAIL | AU/AF | AT | AF | AT | 1444s
SA0472 | AU/AF-L/R | BA-L/RAIL | KA A1 | KA | AF0050-GEN | FU | AT
SH0470 | AF-TURB | BA-TURB | KA A2 |  | AF0120-GEN |  | AT RED
SH0471 | XT-TURB | UA-TURB | KA |  |  |  | AT BLU
HL0171 | AF-R/R | FU-TURB | KT R/S |  |  |  | UJ
HL0172 |  | XT-R/RAIL | KT L/S |  |  |  | UV
HL0173 |  |  | FU/XT |  |  |  | KA A1
SB0170 |  |  | KA-R/RAIL |  |  |  | KA A2
AT-L/RAIL |  |  | XT-R/RAIL |  |  |  | KA
AT-TURB | [6 empty] | FU/XT
HA0472
SA0471
SA0473
SB0471
SB0472
SB0473
SB0474
SH0470
SH0471
SH0472
SA0170
AT-R/RAIL
UV-R/RAIL

## Bundle Tags2
JB70 | JB70 BTTM RAIL | JB70 L/RAIL | TURB PNL | JB70 R/RAIL | JB72 | JB72 L/RAIL | GEN PNL
EMMC J1600 A.2 JB70 AT-B/RAIL | EMMC J1600 A.2 JB70 BTTM RAIL AU/AF | EMMC J1600 A.2 JB70 L/RAIL UA-L/RAIL | EMMC J1600 A.2 TURB PNL AU/AF | EMMC J1600 A.2 JB70 R/RAIL AT | EMMC J1600 A.2 JB72 AF | EMMC J1600 A.2 JB72 L/RAIL AT | EMMC J1600 A.2 GEN PNL 1444s
EMMC J1600 A.2 JB70 SA0472 | EMMC J1600 A.2 JB70 BTTM RAIL AU/AF-L/R | EMMC J1600 A.2 JB70 L/RAIL BA-L/RAIL | EMMC J1600 A.2 TURB PNL KA A1 | EMMC J1600 A.2 JB70 R/RAIL KA | EMMC J1600 A.2 JB72 AF0050-GEN | EMMC J1600 A.2 JB72 L/RAIL FU | EMMC J1600 A.2 GEN PNL AT
EMMC J1600 A.2 JB70 SH0470 | EMMC J1600 A.2 JB70 BTTM RAIL AF-TURB | EMMC J1600 A.2 JB70 L/RAIL BA-TURB | EMMC J1600 A.2 TURB PNL KA A2 |  | EMMC J1600 A.2 JB72 AF0120-GEN |  | EMMC J1600 A.2 GEN PNL AT RED
EMMC J1600 A.2 JB70 SH0471 | EMMC J1600 A.2 JB70 BTTM RAIL XT-TURB | EMMC J1600 A.2 JB70 L/RAIL UA-TURB | EMMC J1600 A.2 TURB PNL KA |  |  |  | EMMC J1600 A.2 GEN PNL AT BLU
EMMC J1600 A.2 JB70 HL0171 | EMMC J1600 A.2 JB70 BTTM RAIL AF-R/R | EMMC J1600 A.2 JB70 L/RAIL FU-TURB | EMMC J1600 A.2 TURB PNL KT R/S |  |  |  | EMMC J1600 A.2 GEN PNL UJ
EMMC J1600 A.2 JB70 HL0172 |  | EMMC J1600 A.2 JB70 L/RAIL XT-R/RAIL | EMMC J1600 A.2 TURB PNL KT L/S |  |  |  | EMMC J1600 A.2 GEN PNL UV
EMMC J1600 A.2 JB70 HL0173 |  |  | EMMC J1600 A.2 TURB PNL FU/XT |  |  |  | EMMC J1600 A.2 GEN PNL KA A1
EMMC J1600 A.2 JB70 SB0170 |  |  | EMMC J1600 A.2 TURB PNL KA-R/RAIL |  |  |  | EMMC J1600 A.2 GEN PNL KA A2
EMMC J1600 A.2 JB70 AT-L/RAIL |  |  | EMMC J1600 A.2 TURB PNL XT-R/RAIL |  |  |  | EMMC J1600 A.2 GEN PNL KA
EMMC J1600 A.2 JB70 AT-TURB | [6 empty] | EMMC J1600 A.2 GEN PNL FU/XT
EMMC J1600 A.2 JB70 HA0472
EMMC J1600 A.2 JB70 SA0471
EMMC J1600 A.2 JB70 SA0473
EMMC J1600 A.2 JB70 SB0471
EMMC J1600 A.2 JB70 SB0472
EMMC J1600 A.2 JB70 SB0473
EMMC J1600 A.2 JB70 SB0474
EMMC J1600 A.2 JB70 SH0470
EMMC J1600 A.2 JB70 SH0471
EMMC J1600 A.2 JB70 SH0472
EMMC J1600 A.2 JB70 SA0170
EMMC J1600 A.2 JB70 AT-R/RAIL
EMMC J1600 A.2 JB70 UV-R/RAIL

## ALL
EMMC J1600 A.2 JB70 AT-B/RAIL
EMMC J1600 A.2 JB70 SA0472
EMMC J1600 A.2 JB70 SH0470
EMMC J1600 A.2 JB70 SH0471
EMMC J1600 A.2 JB70 HL0171
EMMC J1600 A.2 JB70 HL0172
EMMC J1600 A.2 JB70 HL0173
EMMC J1600 A.2 JB70 SB0170
EMMC J1600 A.2 JB70 AT-L/RAIL
EMMC J1600 A.2 JB70 AT-TURB
EMMC J1600 A.2 JB70 HA0472
EMMC J1600 A.2 JB70 SA0471
EMMC J1600 A.2 JB70 SA0473
EMMC J1600 A.2 JB70 SB0471
EMMC J1600 A.2 JB70 SB0472
EMMC J1600 A.2 JB70 SB0473
EMMC J1600 A.2 JB70 SB0474
EMMC J1600 A.2 JB70 SH0470
EMMC J1600 A.2 JB70 SH0471
EMMC J1600 A.2 JB70 SH0472
EMMC J1600 A.2 JB70 SA0170
EMMC J1600 A.2 JB70 AT-R/RAIL
EMMC J1600 A.2 JB70 UV-R/RAIL
EMMC J1600 A.2 GEN PNL 1444s
EMMC J1600 A.2 GEN PNL AT
EMMC J1600 A.2 GEN PNL AT RED
EMMC J1600 A.2 GEN PNL AT BLU
EMMC J1600 A.2 GEN PNL UJ
EMMC J1600 A.2 GEN PNL UV
EMMC J1600 A.2 GEN PNL KA A1
EMMC J1600 A.2 GEN PNL KA A2
EMMC J1600 A.2 GEN PNL KA
EMMC J1600 A.2 GEN PNL FU/XT
EMMC J1600 A.2 JB72 L/RAIL AT
EMMC J1600 A.2 JB72 L/RAIL FU
EMMC J1600 A.2 JB72 AF
EMMC J1600 A.2 JB72 AF0050-GEN
EMMC J1600 A.2 JB72 AF0120-GEN
EMMC J1600 A.2 JB70 R/RAIL AT
EMMC J1600 A.2 JB70 R/RAIL KA
EMMC J1600 A.2 TURB PNL AU/AF
EMMC J1600 A.2 TURB PNL KA A1
EMMC J1600 A.2 TURB PNL KA A2
EMMC J1600 A.2 TURB PNL KA
EMMC J1600 A.2 TURB PNL KT R/S
EMMC J1600 A.2 TURB PNL KT L/S
EMMC J1600 A.2 TURB PNL FU/XT
EMMC J1600 A.2 TURB PNL KA-R/RAIL
EMMC J1600 A.2 TURB PNL XT-R/RAIL
EMMC J1600 A.2 JB70 L/RAIL UA-L/RAIL
EMMC J1600 A.2 JB70 L/RAIL BA-L/RAIL
EMMC J1600 A.2 JB70 L/RAIL BA-TURB
EMMC J1600 A.2 JB70 L/RAIL UA-TURB
EMMC J1600 A.2 JB70 L/RAIL FU-TURB
EMMC J1600 A.2 JB70 L/RAIL XT-R/RAIL
EMMC J1600 A.2 JB70 BTTM RAIL AU/AF
EMMC J1600 A.2 JB70 BTTM RAIL AU/AF-L/R
EMMC J1600 A.2 JB70 BTTM RAIL AF-TURB
EMMC J1600 A.2 JB70 BTTM RAIL XT-TURB
EMMC J1600 A.2 JB70 BTTM RAIL AF-R/R