## LIGHTS_S
ASSEMBLY^CONSOLE
CONTROL CONSOLE
Project # | J1620
Project Name | SOUTHERNSTAR LONEJACK
Revision | A
Controls DE | M.ZUNIGA
Phone:
Controls ME | S.MARTINEZ
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
EL0273:B1 | ZS0273 | WHT | 14 | 60 | ZS0273:2 | LIGHTS | EL0/ZS
EL0273:W1 | -0V1 | WHT | 14 | 120 | XT0562:1 | PWR DST RAIL
ZS0273:1 | FU0273 | WHT | 14 | 120 | FU0273:LD | PWR DST RAIL

## DOOR_S
CONSOLE DOOR^PANELS
CONTROL CONSOLE
Project # | J1620
Project Name | SOUTHERNSTAR LONEJACK
Revision | A
Controls DE | M.ZUNIGA
Phone:
Controls ME | S.MARTINEZ
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0190:NEG | -0V1 | WHT | 14 | 80 | XT0562:2 | PWR DST RAIL | AT0190
AT0190:POS | FU0190 | WHT | 14 | 80 | FU0190:LD | PWR DST RAIL

## PWR DST RAIL_S
PWR DISTRIBUTION RAIL
CONTROL CONSOLE
Project # | J1620
Project Name | SOUTHERNSTAR LONEJACK
Revision | A
Controls DE | M.ZUNIGA
Phone:
Controls ME | S.MARTINEZ
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0680:POS | AT0680POS | WHT | 14 | 60 | XT0680:1 | PWR DST RAIL | AT
AT0680:NEG | -0V | WHT | 12 | 60 | XT0680:2 | PWR DST RAIL
FU0680:LD | AT0680POS | WHT | 14 | 60 | XT0680:1 | PWR DST RAIL | FU
FU0200:LI | FU0200LI | WHT | 14 | 60 | XT0561:1 | PWR DST RAIL
FU0201:LI | FU0200LI | WHT | 14 | 60 | FU0273:LI | PWR DST RAIL
FU0560:LD | FU0200LI | WHT | 14 | 60 | XT0561:1 | PWR DST RAIL
FU0560:LI | FU0136 | WHT | 12 | 60 | XT0560:1 | PWR DST RAIL
XT0560:2 | -0V | WHT | 12 | 160 | XT0134:2 | A | XT-A
XT0560:1 | FU0136 | WHT | 12 | 140 | XT0138:2 | A
XT0563:2 | ESTOPA | WHT | 20 | 180 | XT0240:3 | B | XT/FU-B
XT0563:1 | ESTOPB | WHT | 20 | 180 | XT0240:2 | B
XT0563:6 | FU0139 | WHT | 20 | 180 | XT0240:11 | B
XT0563:3 | KA023612 | WHT | 20 | 180 | XT0240:13 | B
XT0563:5 | KA0241A1 | WHT | 20 | 180 | XT0240:6 | B
XT0563:4 | -0V | WHT | 12 | 180 | XT0240:9 | B
XT0680:2 | -0V | WHT | 12 | 160 | XT0235:3 | B
FU0680:LI | FU0210 | WHT | 12 | 160 | XT0233:3 | B

## BOP_S
BOP^PANEL
CONTROL CONSOLE
Project # | J1620
Project Name | SOUTHERNSTAR LONEJACK
Revision | A
Controls DE | M.ZUNIGA
Phone:
Controls ME | S.MARTINEZ
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0141:16 | SV76212 | WHT | 20 | 60 | XT0572:4 | BOP | AF/AU
AF0141:20 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
AF0141:10 | XT0573B2 | WHT | 20 | 60 | XT0573:4 B2 | BOP
AF0142:07 | ZSC76112 | WHT | 20 | 60 | XT0572:1 | BOP
AF0147:04 | ZSC76212 | WHT | 20 | 80 | XT0572:2 | BOP
AF0147:05 | ZSC76412 | WHT | 20 | 80 | XT0572:3 | BOP
AF0141:COM | -0V | WHT | 16 | 60 | XT0140:3 | BOP
AF0146:COM | -0V | WHT | 16 | 60 | XT0140:3 | BOP
AU0140:COM | -0V | WHT | 16 | 60 | XT0140:2 | BOP
AF0145:COM | AF0145N | WHT | 16 | 60 | AF0147:COM | BOP
AF0145:V+ | AF0145P | WHT | 16 | 60 | AF0147:V+ | BOP
AF0142:COM | AU0140N | WHT | 16 | 60 | AU0140:COM | BOP
AF0142:V+ | AU0140P | WHT | 16 | 60 | AU0140:V+ | BOP
AU0140:V+ | FU0140 | WHT | 16 | 60 | FU0140:LD | BOP
AF0141:V+ | FU0141 | WHT | 16 | 60 | FU0141:LD | BOP
AF0146:V+ | FU0142 | WHT | 16 | 60 | FU0142:LD | BOP
KA0550:A1 | -014602 | WHT | 20 | 100 | AF0146:02 | BOP | KA A1
KA0552:A1 | -014603 | WHT | 20 | 100 | AF0146:03 | BOP
KA0551:A1 | -014605 | WHT | 20 | 100 | AF0146:05 | BOP
KA0553:A1 | -014606 | WHT | 20 | 100 | AF0146:06 | BOP
KA0554:A1 | -014608 | WHT | 20 | 100 | AF0146:08 | BOP
KA0555:A1 | -014609 | WHT | 20 | 100 | AF0146:09 | BOP
KA0531:A1 | ESTOP | WHT | 20 | 60 | XT0140:6 | BOP
KA0535:A1 | KA0120A1 | WHT | 20 | 60 | XT0140:5 | BOP
KA0540:A1 | KA053124 | WHT | 20 | 60 | KA0531:24 | BOP
KA0541:A1 | KA053214 | WHT | 20 | 60 | KA0532:14 | BOP
KA0550:A2 | -014618 | WHT | 20 | 100 | AF0146:18 | BOP | KA A2
KA0552:A2 | -014619 | WHT | 20 | 100 | AF0146:19 | BOP
KA0551:A2 | -014621 | WHT | 20 | 100 | AF0146:21 | BOP
KA0553:A2 | -014622 | WHT | 20 | 100 | AF0146:22 | BOP
KA0554:A2 | -014624 | WHT | 20 | 100 | AF0146:24 | BOP
KA0555:A2 | -014625 | WHT | 20 | 100 | AF0146:25 | BOP
KA0535:A2 | -0V | WHT | 20 | 60 | XT0140:4 | BOP
KA0540:A2 | SV76212 | WHT | 20 | 60 | XT0572:4 | BOP
KA0541:A2 | SV76412 | WHT | 20 | 60 | XT0572:5 | BOP
KA0552:14 | -014102 | WHT | 20 | 60 | AF0141:02 | BOP | KA
KA0553:14 | -014106 | WHT | 20 | 60 | AF0141:06 | BOP
KA0555:14 | -014108 | WHT | 20 | 60 | AF0141:08 | BOP
KA0554:14 | -014112 | WHT | 20 | 60 | AF0141:12 | BOP
KA0550:14 | -014132 | WHT | 20 | 60 | AF0141:32 | BOP
KA0551:14 | -014136 | WHT | 20 | 60 | AF0141:36 | BOP
KA0531:11 | KA053111 | WHT | 20 | 60 | AF0141:14 | BOP
KA0531:21 | KA053121 | WHT | 20 | 60 | AF0141:00 | BOP
KA0532:11 | KA053211 | WHT | 20 | 60 | AF0141:04 | BOP
KA0533:12 | KA053312 | WHT | 20 | 60 | KT0573:15 | BOP
KA0535:11 | KA053511 | WHT | 20 | 60 | KA0554:11 | BOP
KA0535:14 | KA053514 | WHT | 20 | 60 | XT0573:1 B2 | BOP
KA0535:22 | KA053522 | WHT | 20 | 60 | XT0573:6 T1 | BOP
KA0536:12 | KA053612 | WHT | 20 | 60 | XT0573:1 T1 | BOP
KA0540:11 | KA054011 | WHT | 20 | 60 | KA0550:11 | BOP
KA0541:11 | KA054111 | WHT | 20 | 60 | KA0551:11 | BOP
KA0535:21 | KA054214 | WHT | 20 | 60 | KA0542:14 | BOP
KA0552:11 | KA055211 | WHT | 20 | 60 | XT0573:5 B2 | BOP
KA0553:11 | KA055311 | WHT | 20 | 60 | XT0573:3 B2 | BOP
KA0536:21 | KA055511 | WHT | 20 | 60 | KA0555:11 | BOP
KA0536:11 | XT05732B1 | WHT | 20 | 60 | XT0573:2 B1 | BOP
KA0536:24 | XT05736B2 | WHT | 20 | 60 | XT0573:6 B2 | BOP
KA0540:21 | ZSC76212 | WHT | 20 | 60 | XT0572:2 | BOP
KA0541:21 | ZSC76412 | WHT | 20 | 60 | XT0572:3 | BOP
KA0533:11 | FU0143 | WHT | 16 | 60 | XT0140:7 | BOP
KT0573:A2 | AF014721 | WHT | 20 | 80 | AF0147:21 | BOP | KT L/S
KT0571:16 | KT057116 | WHT | 20 | 60 | XT0573:4 T2 | BOP
KT0571:A2 | KT0571A2 | WHT | 20 | 60 | AF0142:23 | BOP
KT0572:16 | KT057216 | WHT | 20 | 60 | XT0573:2 B2 | BOP
KT0572:16 | KT057216 | WHT | 20 | 60 | XT0573:5 T2 | BOP
KT0572:18 | KT057218 | WHT | 20 | 60 | KA0542:11 | BOP
KT0572:A2 | KT0572A2 | WHT | 20 | 80 | AF0147:20 | BOP
KT0573:16 | KT057316 | WHT | 20 | 60 | XT0573:2 T2 | BOP
KT0573:16 | KT057316 | WHT | 20 | 60 | XT0573:3 T2 | BOP
KT0573:18 | KT057318 | WHT | 20 | 60 | KA0542:A1 | BOP
KT0572:A1 | KA054012 | WHT | 20 | 60 | KA0540:22 | BOP | KT R/S
KT0573:A1 | KA054122 | WHT | 20 | 60 | KA0541:22 | BOP
KT0571:A1 | ZSC76112 | WHT | 20 | 60 | XT0572:1 | BOP
FU0140:LI | FU0136 | WHT | 16 | 60 | XT0140:1 | BOP | FU/XT
FU0143:LD | FU0143 | WHT | 16 | 60 | XT0140:7 | BOP
XT0140:1 | FU0136 | WHT | 14 | 60 | XT0570:1 | BOP
XT0140:2 | -0V | WHT | 12 | 60 | XT0570:2 | BOP
XT0570:1 | FU0136 | WHT | 14 | 200 | XT0520:1 | HPC | XT-HPC
XT0140:5 | KA0120A1 | WHT | 14 | 200 | XT0520:3 | HPC
XT0570:2 | -0V | WHT | 12 | 200 | XT0520:2 | HPC
XT0140:6 | ESTOP | WHT | 20 | 140 | XT0240:4 | B | XT-B

## PLC_S
PLC PANEL
CONTROL CONSOLE
Project # | J1620
Project Name | SOUTHERNSTAR LONEJACK
Revision | A
Controls DE | M.ZUNIGA
Phone:
Controls ME | S.MARTINEZ
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
PC0470:INP_A | -009312 | WHT | 20 | 80 | AF0093:12 | A | PC
PC0470:-PWR | -009328 | WHT | 20 | 80 | AF0093:28 | A
PC0470:+PWR | -009344 | WHT | 20 | 80 | AF0093:44 | A
UV0600:(+) | FU0010 | WHT | 14 | 80 | FU0010:LD | A | UV
UV0600:(-) | -0V | WHT | 12 | 80 | XT0135:1 | A

## A_S
TURBINE PANEL A
CONTROL CONSOLE
Project # | J1620
Project Name | SOUTHERNSTAR LONEJACK
Revision | A
Controls DE | M.ZUNIGA
Phone:
Controls ME | S.MARTINEZ
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0082:COM | -0V | WHT | 14 | 60 | XT0080:2 | A | AF/AU080s
AU0080:COM | -0V | WHT | 14 | 60 | XT0080:1 | A
AU0080:V+ | FU0080 | WHT | 14 | 60 | FU0080:LD | A
AF0082:V+ | FU0081 | WHT | 14 | 60 | FU0081:LD | A
AF0093:04 | -009304 | WHT | 20 | 60 | XT0171:2 | A | AF/AU090s
AF0094:00 | -009400 | WHT | 20 | 80 | XT0085:2 | A
AF0094:01 | -0V | WHT | 20 | 80 | XT0085:3 | A
AF0091:COM | AF0091N | WHT | 20 | 60 | AF0094:COM | A
AF0091:V+ | AF0091P | WHT | 20 | 60 | AF0094:V+ | A
AF0094:COM | AF0094N | WHT | 20 | 60 | AF0096:COM | A
AF0094:V+ | AF0094P | WHT | 20 | 60 | AF0096:V+ | A
AF0092:COM | -0V | WHT | 14 | 60 | XT0090:2 | A
AF0093:COM | -0V | WHT | 14 | 60 | XT0090:2 | A
AF0095:COM | -0V | WHT | 14 | 60 | XT0090:2 | A
AU0090:COM | -0V | WHT | 14 | 60 | XT0090:1 | A
AU0090:V+ | FU0090 | WHT | 14 | 60 | FU0090:LD | A
AF0092:V+ | FU0091 | WHT | 14 | 60 | FU0091:LD | A
AF0093:V+ | FU0092 | WHT | 14 | 80 | FU0092:LD | A
AF0095:V+ | FU0093 | WHT | 14 | 80 | FU0093:LD | A
FU0010:LI | FU0137 | WHT | 14 | 60 | XT0139:1 | A | FU
FU0080:LI | FU0137 | WHT | 14 | 60 | XT0139:2 | A
FU0090:LI | FU0137 | WHT | 14 | 60 | XT0139:2 | A
FU0139:LI | FU0137 | WHT | 14 | 60 | XT0139:1 | A
FU0139:LD | FU0139 | WHT | 14 | 60 | XT0136:1 | A
FU0012:LI | -24V | WHT | 12 | 60 | XT0012:3 | A
FU0137:LI | FU0136 | WHT | 12 | 60 | XT0138:1 | A
FU0137:LD | FU0137 | WHT | 12 | 60 | XT0139:1 | A
KA0130:A1 | -008135 | WHT | 20 | 100 | AF0081:35 | A | KA A1
KA0130:A1 | -008135 | WHT | 20 | 100 | KA0130:11 | A
KA2160:A1 | -009204 | WHT | 20 | 60 | AF0092:04 | A
KA2161:A1 | -009207 | WHT | 20 | 60 | AF0092:07 | A
KA3103:A1 | -009208 | WHT | 20 | 60 | AF0092:08 | A
KA7514:A1 | -009241 | WHT | 20 | 100 | AF0092:41 | A
KA0131:A1 | KA0120A1 | WHT | 20 | 60 | XT0136:10 | A
KA0133:A1 | KA0133A1 | WHT | 20 | 60 | AF0092:02 | A
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0091:12 | A
KA0134:A1 | KA0134A1 | WHT | 20 | 60 | AF0095:10 | A
KA0135:A1 | KA0135A1 | WHT | 20 | 120 | KA0131:11 | A
KA0138:A1 | KA0138A1 | WHT | 20 | 120 | KA0132:21 | A
KA3220:A1 | KA32201 | WHT | 20 | 60 | AF0093:01 | A
KA0136:A1 | PS32002 | WHT | 20 | 60 | XT0136:5 | A
KA7514:A2 | -009209 | WHT | 20 | 100 | AF0092:09 | A | KA A2
KA2160:A2 | -009220 | WHT | 20 | 60 | AF0092:20 | A
KA2161:A2 | -009223 | WHT | 20 | 60 | AF0092:23 | A
KA3103:A2 | -009224 | WHT | 20 | 60 | AF0092:24 | A
KA6211:A2 | -009320 | WHT | 20 | 60 | AF0093:20 | A
KA3220:A2 | KA32202 | WHT | 20 | 60 | AF0093:17 | A
KA0130:14 | -008103 | WHT | 20 | 60 | AF0081:03 | A | KA
KA7514:14 | CC75141 | WHT | 20 | 60 | XT0114:1 | A
KA7514:11 | CC75142 | WHT | 20 | 60 | XT0114:2 | A
KA7514:11 | CC75142 | WHT | 20 | 60 | XT0114:2 | A
KA7514:12 | CC75143 | WHT | 20 | 60 | XT0114:3 | A
KA0132:11 | FU0139 | WHT | 20 | 60 | KA0133:11 | A
KA0134:11 | FU0139 | WHT | 20 | 60 | KA0136:11 | A
KA0135:14 | FU0139 | WHT | 20 | 60 | XT0136:2 | A
KA0138:22 | FU0139 | WHT | 20 | 60 | XT0136:11 | A
KA0141:24 | FU0139 | WHT | 20 | 60 | XT0136:2 | A
KA0131:12 | KA013112 | WHT | 20 | 60 | KA0137:24 | A
KA0137:24 | KA013112 | WHT | 20 | 60 | AF0088:09 | A
KA0131:14 | KA013114 | WHT | 20 | 100 | AF0092:06 | A
KA0132:22 | KA013222 | WHT | 20 | 60 | KA0137:14 | A
KA0132:24 | KA013224 | WHT | 20 | 60 | KA0134:14 | A
KA0136:21 | KA013621 | WHT | 20 | 60 | AF0088:42 | A
KA0136:24 | KA013624 | WHT | 20 | 60 | AF0088:10 | A
KA0138:21 | KA013821 | WHT | 20 | 60 | KA0136:14 | A
KA0141:11 | KA014111 | WHT | 20 | 80 | AF0091:39 | A
KA0141:14 | KA014114 | WHT | 20 | 80 | AF0091:07 | A
KA0138:21 | KM3170EP | WHT | 20 | 60 | XT0136:13 | A
KA0132:12 | KT0141A1 | WHT | 20 | 60 | KA0133:12 | A
XT0135:3 | -0V | WHT | 20 | 80 | XT0085:3 | A | XT
XT0136:3 | -0V | WHT | 20 | 60 | XT0136:12 | A
XT0136:1 | FU0139 | WHT | 20 | 60 | XT0136:11 | A
XT0135:1 | -0V | WHT | 14 | 60 | XT0136:3 | A
XT0012:1 | -0V | WHT | 12 | 60 | XT0134:1 | A
XT0090:1 | -0V | WHT | 12 | 60 | XT0135:2 | A
XT0135:1 | -0V | WHT | 12 | 60 | XT0134:1 | A
XT0135:2 | -0V | WHT | 12 | 80 | XT0080:1 | A
XT0085:1 | FU0137 | WHT | 12 | 60 | XT0139:3 | A
XT0139:4 | KA0120A1 | WHT | 16 | 140 | XT0110:3 | HPC | XT-HPC
XT0134:4 | -0V | WHT | 12 | 140 | XT0110:2 | HPC
XT0138:4 | FU0136 | WHT | 12 | 140 | XT0110:1 | HPC
AF0093:36 | -009336 | WHT | 20 | 160 | KA0176:14 | B | AF-B
AF0095:02 | -009502 | WHT | 20 | 160 | KA0221:14 | B
AF0081:41 | KA023921 | WHT | 20 | 160 | KA0239:21 | B
AF0081:09 | KA023924 | WHT | 20 | 160 | KA0239:24 | B
AF0081:08 | KA024214 | WHT | 20 | 160 | KA0242:14 | B
AF0081:33 | KA024311 | WHT | 20 | 160 | KA0243:11 | B
AF0081:01 | KA024314 | WHT | 20 | 160 | KA0243:14 | B
AF0081:34 | KA024521 | WHT | 20 | 160 | KA0245:21 | B
AF0081:02 | KA024524 | WHT | 20 | 160 | KA0245:24 | B
AF0095:18 | SV21202 | WHT | 20 | 160 | XT0060:4 | B
AF0081:00 | UA1200J21 | WHT | 20 | 160 | KA0241:11 | B
FU0016:LD | FU0016 | WHT | 12 | 160 | KA0237:14 | B | FU-B
KA0137:A1 | KA0137A1 | WHT | 20 | 160 | KT0142:18 | B | KA A1/A2-B
KA6211:A1 | KA6211A1 | WHT | 20 | 160 | KA0246:14 | B
KA0131:A2 | -0V | WHT | 20 | 160 | KT0145:A2 | B
KA0132:11 | FU0139 | WHT | 20 | 160 | KT0145:15 | B | KA-B
KA0141:24 | FU0139 | WHT | 20 | 160 | KA0241:24 | B
KA0132:22 | KA013222 | WHT | 20 | 160 | KT0141:18 | B
KA0144:21 | KA014421 | WHT | 20 | 160 | KA0232:22 | B
KA0144:22 | KA014422 | WHT | 20 | 160 | KA0249:12 | B
KA0144:22 | KA014422 | WHT | 20 | 160 | KA0176:A1 | B
KA0132:12 | KT0141A1 | WHT | 20 | 160 | KT0142:A1 | B
KA0138:24 | KT0144B1 | WHT | 20 | 160 | KT0144:B1 | B
KA0141:21 | KT0146A1 | WHT | 20 | 160 | KT0146:A1 | B
KA0141:21 | KT0146A1 | WHT | 20 | 160 | KA0241:21 | B
XT0136:3 | -0V | WHT | 20 | 160 | KT0140:A2 | B | XT-B
XT0136:1 | FU0139 | WHT | 20 | 160 | XT0240:12 | B
XT0136:2 | FU0139 | WHT | 20 | 160 | KT0140:15 | B
XT0136:10 | KA0120A1 | WHT | 20 | 160 | KA0242:11 | B
XT0139:4 | KA0120A1 | WHT | 20 | 160 | KA0234:A1 | B
XT0171:1 | KA017611 | WHT | 20 | 160 | KA0176:11 | B
XT0171:1 | KA017611 | WHT | 20 | 160 | KA0246:11 | B
XT0135:1 | -0V | WHT | 14 | 160 | KA1020:24 | B
XT0134:4 | -0V | WHT | 12 | 160 | XT0235:1 | B
XT0136:3 | -0V | WHT | 12 | 160 | XT0240:10 | B
XT0138:4 | FU0136 | WHT | 12 | 160 | FU0210:LI | B
XT0139:3 | FU0137 | WHT | 12 | 160 | FU0211:LI | B

## B_S
TURBINE PANEL B
CONTROL CONSOLE
Project # | J1620
Project Name | SOUTHERNSTAR LONEJACK
Revision | A
Controls DE | M.ZUNIGA
Phone:
Controls ME | S.MARTINEZ
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0063:COM | AU0060N | WHT | 20 | 60 | AU0060:COM | B | AF/AU060s
AF0063:V+ | AU0060P | WHT | 20 | 60 | AU0060:V+ | B
AF0062:16 | SV21242 | WHT | 20 | 60 | XT0060:6 | B
AF0061:COM | -0V | WHT | 16 | 60 | XT0060:2 | B
AF0062:COM | -0V | WHT | 16 | 60 | XT0060:2 | B
AU0060:COM | -0V | WHT | 16 | 60 | XT0060:1 | B
AU0060:V+ | FU0060 | WHT | 16 | 60 | FU0060:LD | B
AF0061:V+ | FU0061 | WHT | 14 | 60 | FU0061:LD | B
AF0062:V+ | FU0062 | WHT | 14 | 60 | FU0062:LD | B
AF0076:12 | -007612 | WHT | 20 | 60 | XT0237:1 B2 | B | AF/AU070s
AF0076:COM | -0V | WHT | 16 | 60 | XT0070:2 | B
AU0070:COM | -0V | WHT | 16 | 60 | XT0070:1 | B
AU0070:V+ | FU0070 | WHT | 16 | 60 | FU0070:LD | B
AF0076:V+ | FU0071 | WHT | 16 | 60 | FU0071:LD | B
FU0060:LI | FU0210 | WHT | 16 | 60 | XT0233:1 | B | FU
FU0070:LI | FU0210 | WHT | 16 | 60 | XT0233:2 | B
FU0212:LD | FU0212 | WHT | 16 | 60 | XT0233:4 | B
FU0210:LD | FU0210 | WHT | 12 | 60 | XT0233:1 | B
FU0212:LI | FU0210 | WHT | 12 | 60 | XT0233:1 | B
KA0217:A1 | -007600 | WHT | 20 | 80 | AF0076:00 | B | KA A1
KA1020:A1 | -007607 | WHT | 20 | 100 | AF0076:07 | B
KA0235:A1 | ESTOP | WHT | 20 | 60 | XT0240:4 | B
KA0241:A1 | KA0241A1 | WHT | 20 | 60 | XT0240:6 | B
KA0243:A1 | KA0243A1 | WHT | 20 | 60 | XT0240:7 | B
KA0245:A1 | KA0245A1 | WHT | 20 | 60 | XT0240:8 | B
KA0221:A1 | -007602 | WHT | 16 | 100 | AF0076:02 | B
KA0222:A1 | -007604 | WHT | 16 | 100 | AF0076:04 | B
KA0217:A2 | -007616 | WHT | 20 | 80 | AF0076:16 | B | KA A2
KA0221:A2 | -007618 | WHT | 20 | 100 | AF0076:18 | B
KA0222:A2 | -007620 | WHT | 20 | 100 | AF0076:20 | B
KA1020:A2 | -007623 | WHT | 20 | 100 | AF0076:23 | B
KA0176:A2 | -0V | WHT | 20 | 60 | XT0235:3 | B
KA0249:A2 | -0V | WHT | 20 | 80 | XT0240:10 | B
KA0231:A2 | KA0231A2 | WHT | 20 | 100 | AF0076:26 | B
KA0240:14 | -006106 | WHT | 20 | 60 | AF0061:06 | B | KA
KA0222:14 | -006200 | WHT | 20 | 60 | AF0062:00 | B
KA0221:11 | -022111 | WHT | 20 | 60 | KA0235:24 | B
KA0222:11 | -022211 | WHT | 20 | 60 | KA0236:24 | B
KA0242:21 | -024221 | WHT | 20 | 60 | XT0237:1 T2 | B
KA0243:21 | ESTOPC | WHT | 20 | 60 | XT0240:1 | B
KA0236:11 | FU0139 | WHT | 20 | 60 | KA0244:11 | B
KA0236:11 | FU0139 | WHT | 20 | 60 | XT0240:12 | B
KA0232:21 | FU0210 | WHT | 20 | 60 | XT0233:3 | B
KA0231:11 | KA0120A1 | WHT | 20 | 80 | KA0231:A1 | B
KA0231:11 | KA0120A1 | WHT | 20 | 60 | KA0242:11 | B
KA0232:22 | KA014421 | WHT | 20 | 60 | KA0249:11 | B
KA0217:14 | KA021714 | WHT | 20 | 60 | KA0237:11 | B
KA0231:21 | KA023121 | WHT | 20 | 60 | KA0245:14 | B
KA0236:12 | KA023612 | WHT | 20 | 60 | XT0240:13 | B
KA0235:14 | KA024114 | WHT | 20 | 60 | KA0241:14 | B
KA0241:14 | KA024114 | WHT | 20 | 60 | KA0231:24 | B
KA0231:14 | KA024214 | WHT | 20 | 60 | KA0242:14 | B
KA0243:24 | KA024511 | WHT | 20 | 60 | KA0245:11 | B
KA0242:24 | KA024822 | WHT | 20 | 60 | KA0248:22 | B
KA0235:11 | UA1200J21 | WHT | 20 | 60 | KA0241:11 | B
KA0235:11 | UA1200J21 | WHT | 20 | 60 | XT0060:3 | B
KA0248:21 | FU0212 | WHT | 16 | 60 | FU0212:LD | B
KA0217:11 | FCE213019 | WHT | 14 | 60 | XT0236:10 | B
KA1020:14 | FU0211 | WHT | 14 | 60 | FU0211:LD | B
KT0141:18 | KA013222 | WHT | 20 | 60 | KT0144:18 | B | KT L/S
KT0142:18 | KA0137A1 | WHT | 20 | 60 | KT0145:18 | B
KT0146:18 | KA024214 | WHT | 20 | 80 | KA0231:14 | B
KT0140:16 | KT014115 | WHT | 20 | 80 | KT0141:15 | B
KT0140:18 | KT0143A1 | WHT | 20 | 80 | KT0143:A1 | B
KT0146:A2 | KT0146A2 | WHT | 20 | 100 | AF0076:25 | B
KT0140:15 | FU0139 | WHT | 20 | 60 | KT0142:15 | B | KT R/S
KT0142:15 | FU0139 | WHT | 20 | 60 | KT0144:A1 | B
KT0145:A1 | KA024412 | WHT | 20 | 60 | KA0244:12 | B
KT0140:A1 | KT0140A1 | WHT | 20 | 80 | KT0143:16 | B
KT0141:A1 | KT0141A1 | WHT | 20 | 60 | KT0143:15 | B
KT0146:15 | KT014615 | WHT | 20 | 60 | AF0076:10 | B
KT0146:B1 | KT0146B1 | WHT | 20 | 60 | AF0076:09 | B
XT0070:1 | -0V | WHT | 12 | 60 | XT0235:1 | B | XT
XT0235:1 | -0V | WHT | 12 | 60 | XT0060:1 | B

## HPC_S
HP COMPRESSOR^PANEL
CONTROL CONSOLE
Project # | J1620
Project Name | SOUTHERNSTAR LONEJACK
Revision | A
Controls DE | M.ZUNIGA
Phone:
Controls ME | S.MARTINEZ
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0410:53 | -0V | WHT | 16 | 60 | XT0110:2 | HPC | 1444s
AF0510:53 | -0V | WHT | 16 | 60 | XT0130:2 | HPC
AF0410:55 | FU0113 | WHT | 16 | 60 | FU0113:LD | HPC
AF0510:55 | FU0131 | WHT | 16 | 60 | FU0131:LD | HPC
AF1202:COM | AU1200N | WHT | 20 | 60 | AU1200:COM | HPC | AF/AU1200s
AF1202:V+ | AU1200P | WHT | 20 | 60 | AU1200:V+ | HPC
AF1201:COM | -0V | WHT | 16 | 60 | XT0130:3 | HPC
AU1200:COM | -0V | WHT | 16 | 60 | XT0130:4 | HPC
AU1200:V+ | FU0120 | WHT | 14 | 100 | FU0120:LD | HPC
AF1201:V+ | FU0121 | WHT | 14 | 100 | FU0121:LD | HPC
FU0113:LI | FU0136 | WHT | 14 | 60 | XT0110:1 | HPC | FU
FU0121:LI | FU0136 | WHT | 14 | 60 | XT0190:3 | HPC
FU0131:LI | FU0136 | WHT | 14 | 60 | XT0130:1 | HPC
KA0120:A1 | KA0120A1 | WHT | 20 | 60 | XT0130:6 | HPC | KA A1/A2
KA0190:A1 | KA0120A1 | WHT | 20 | 60 | XT0130:6 | HPC
KA4401:A1 | PS44013 | WHT | 20 | 60 | XT0121:2 | HPC
KA0190:A2 | -0V | WHT | 20 | 60 | XT0130:7 | HPC
KA4401:A2 | -120718 | WHT | 20 | 60 | AF1207:18 | HPC
KA0120:A2 | -0V | WHT | 14 | 60 | XT0130:7 | HPC
KA0193:14 | -120106 | WHT | 20 | 80 | AF1201:06 | HPC | KA
KA4401:14 | -120702 | WHT | 20 | 60 | AF1207:02 | HPC
KA0193:12 | KA019312 | WHT | 20 | 60 | XT0190:1 | HPC
KA4401:24 | KA019312 | WHT | 20 | 60 | XT0190:1 | HPC
KA4401:11 | PS44012 | WHT | 20 | 60 | AF1207:34 | HPC
KA4401:11 | PS44012 | WHT | 20 | 60 | XT0121:1 | HPC
XT0110:3 | KA0120A1 | WHT | 20 | 60 | XT0130:5 | HPC | XT
XT0130:4 | -0V | WHT | 14 | 60 | XT0520:2 | HPC
XT0110:1 | FU0136 | WHT | 14 | 60 | XT0130:1 | HPC
XT0110:1 | FU0136 | WHT | 14 | 60 | XT0520:1 | HPC
XT0520:3 | KA0120A1 | WHT | 14 | 60 | XT0130:5 | HPC
XT0110:2 | -0V | WHT | 12 | 60 | XT0130:3 | HPC
XT0130:4 | -0V | WHT | 16 | 80 | UV0271:9- | ISOLATOR | XT-ISO
XT0130:1 | FU0136 | WHT | 14 | 80 | FU0272:LI | ISOLATOR

## ISOLATOR_S
CONSOLE ISOLATOR^PANEL
CONTROL CONSOLE
Project # | J1620
Project Name | SOUTHERNSTAR LONEJACK
Revision | A
Controls DE | M.ZUNIGA
Phone:
Controls ME | S.MARTINEZ
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UV0271:8+ | UV0271P | WHT | 14 | 60 | FU0272:LD | ISOLATOR | UAI

## Bundle Tag Info
SOUTHERN STAR #1
J1620
0.1
LIGHTS | DOOR | PWR DST RAIL | BOP | PLC | A | B | HPC | ISOLATOR | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name | Panel Name
EL0/ZS | AT0190 | AT | AF/AU | PC | AF/AU080s | AF/AU060s | 1444s | UAI
|  | FU | KA A1 | UV | AF/AU090s | AF/AU070s | AF/AU1200s
|  | XT-A | KA A2 |  | FU | FU | FU
|  | XT/FU-B | KA |  | KA A1 | KA A1 | KA A1/A2
|  |  | KT L/S |  | KA A2 | KA A2 | KA
|  |  | KT R/S |  | KA | KA | XT
|  |  | FU/XT |  | XT | KT L/S | XT-ISO
|  |  | XT-HPC |  | XT-HPC | KT R/S
|  |  | XT-B |  | AF-B | XT
FU-B
KA A1/A2-B
KA-B
XT-B

## Bundle Tags2
LIGHTS | DOOR | PWR DST RAIL | BOP | PLC | A | B | HPC | ISOLATOR
SOUTHERN STAR #1 J1620 0.1 LIGHTS EL0/ZS | SOUTHERN STAR #1 J1620 0.1 DOOR AT0190 | SOUTHERN STAR #1 J1620 0.1 PWR DST RAIL AT | SOUTHERN STAR #1 J1620 0.1 BOP AF/AU | SOUTHERN STAR #1 J1620 0.1 PLC PC | SOUTHERN STAR #1 J1620 0.1 A AF/AU080s | SOUTHERN STAR #1 J1620 0.1 B AF/AU060s | SOUTHERN STAR #1 J1620 0.1 HPC 1444s | SOUTHERN STAR #1 J1620 0.1 ISOLATOR UAI
|  | SOUTHERN STAR #1 J1620 0.1 PWR DST RAIL FU | SOUTHERN STAR #1 J1620 0.1 BOP KA A1 | SOUTHERN STAR #1 J1620 0.1 PLC UV | SOUTHERN STAR #1 J1620 0.1 A AF/AU090s | SOUTHERN STAR #1 J1620 0.1 B AF/AU070s | SOUTHERN STAR #1 J1620 0.1 HPC AF/AU1200s
|  | SOUTHERN STAR #1 J1620 0.1 PWR DST RAIL XT-A | SOUTHERN STAR #1 J1620 0.1 BOP KA A2 |  | SOUTHERN STAR #1 J1620 0.1 A FU | SOUTHERN STAR #1 J1620 0.1 B FU | SOUTHERN STAR #1 J1620 0.1 HPC FU
|  | SOUTHERN STAR #1 J1620 0.1 PWR DST RAIL XT/FU-B | SOUTHERN STAR #1 J1620 0.1 BOP KA |  | SOUTHERN STAR #1 J1620 0.1 A KA A1 | SOUTHERN STAR #1 J1620 0.1 B KA A1 | SOUTHERN STAR #1 J1620 0.1 HPC KA A1/A2
|  |  | SOUTHERN STAR #1 J1620 0.1 BOP KT L/S |  | SOUTHERN STAR #1 J1620 0.1 A KA A2 | SOUTHERN STAR #1 J1620 0.1 B KA A2 | SOUTHERN STAR #1 J1620 0.1 HPC KA
|  |  | SOUTHERN STAR #1 J1620 0.1 BOP KT R/S |  | SOUTHERN STAR #1 J1620 0.1 A KA | SOUTHERN STAR #1 J1620 0.1 B KA | SOUTHERN STAR #1 J1620 0.1 HPC XT
|  |  | SOUTHERN STAR #1 J1620 0.1 BOP FU/XT |  | SOUTHERN STAR #1 J1620 0.1 A XT | SOUTHERN STAR #1 J1620 0.1 B KT L/S | SOUTHERN STAR #1 J1620 0.1 HPC XT-ISO
|  |  | SOUTHERN STAR #1 J1620 0.1 BOP XT-HPC |  | SOUTHERN STAR #1 J1620 0.1 A XT-HPC | SOUTHERN STAR #1 J1620 0.1 B KT R/S
|  |  | SOUTHERN STAR #1 J1620 0.1 BOP XT-B |  | SOUTHERN STAR #1 J1620 0.1 A AF-B | SOUTHERN STAR #1 J1620 0.1 B XT
SOUTHERN STAR #1 J1620 0.1 A FU-B
SOUTHERN STAR #1 J1620 0.1 A KA A1/A2-B
SOUTHERN STAR #1 J1620 0.1 A KA-B
SOUTHERN STAR #1 J1620 0.1 A XT-B

## ALL
ALL
SOUTHERN STAR #1 J1620 0.1 LIGHTS EL0/ZS
SOUTHERN STAR #1 J1620 0.1 DOOR AT0190
SOUTHERN STAR #1 J1620 0.1 PWR DST RAIL AT
SOUTHERN STAR #1 J1620 0.1 PWR DST RAIL FU
SOUTHERN STAR #1 J1620 0.1 PWR DST RAIL XT-A
SOUTHERN STAR #1 J1620 0.1 PWR DST RAIL XT/FU-B
SOUTHERN STAR #1 J1620 0.1 BOP AF/AU
SOUTHERN STAR #1 J1620 0.1 BOP KA A1
SOUTHERN STAR #1 J1620 0.1 BOP KA A2
SOUTHERN STAR #1 J1620 0.1 BOP KA
SOUTHERN STAR #1 J1620 0.1 BOP KT L/S
SOUTHERN STAR #1 J1620 0.1 BOP KT R/S
SOUTHERN STAR #1 J1620 0.1 BOP FU/XT
SOUTHERN STAR #1 J1620 0.1 BOP XT-HPC
SOUTHERN STAR #1 J1620 0.1 BOP XT-B
SOUTHERN STAR #1 J1620 0.1 PLC PC
SOUTHERN STAR #1 J1620 0.1 PLC UV
SOUTHERN STAR #1 J1620 0.1 A AF/AU080s
SOUTHERN STAR #1 J1620 0.1 A AF/AU090s
SOUTHERN STAR #1 J1620 0.1 A FU
SOUTHERN STAR #1 J1620 0.1 A KA A1
SOUTHERN STAR #1 J1620 0.1 A KA A2
SOUTHERN STAR #1 J1620 0.1 A KA
SOUTHERN STAR #1 J1620 0.1 A XT
SOUTHERN STAR #1 J1620 0.1 A XT-HPC
SOUTHERN STAR #1 J1620 0.1 A AF-B
SOUTHERN STAR #1 J1620 0.1 A FU-B
SOUTHERN STAR #1 J1620 0.1 A KA A1/A2-B
SOUTHERN STAR #1 J1620 0.1 A KA-B
SOUTHERN STAR #1 J1620 0.1 A XT-B
SOUTHERN STAR #1 J1620 0.1 B AF/AU060s
SOUTHERN STAR #1 J1620 0.1 B AF/AU070s
SOUTHERN STAR #1 J1620 0.1 B FU
SOUTHERN STAR #1 J1620 0.1 B KA A1
SOUTHERN STAR #1 J1620 0.1 B KA A2
SOUTHERN STAR #1 J1620 0.1 B KA
SOUTHERN STAR #1 J1620 0.1 B KT L/S
SOUTHERN STAR #1 J1620 0.1 B KT R/S
SOUTHERN STAR #1 J1620 0.1 B XT
SOUTHERN STAR #1 J1620 0.1 HPC 1444s
SOUTHERN STAR #1 J1620 0.1 HPC AF/AU1200s
SOUTHERN STAR #1 J1620 0.1 HPC FU
SOUTHERN STAR #1 J1620 0.1 HPC KA A1/A2
SOUTHERN STAR #1 J1620 0.1 HPC KA
SOUTHERN STAR #1 J1620 0.1 HPC XT
SOUTHERN STAR #1 J1620 0.1 HPC XT-ISO
SOUTHERN STAR #1 J1620 0.1 ISOLATOR UAI