## Blue Labels
(SHT 1) CONSOLE | (SHT 2) CONSOLE DOORS | (SHT 5) SCS | (SHT 6) LEFT SIDE PANEL | (SHT 7) BACK PNL | (SHT 8) RIGHT SIDE PANEL
EL0273 | AT0191 | SB0402 | IEG0130 | PEG0130 | GR0202
HA0273 | AT0190K | SH0418 | FU0090 | QS0011 | AR0600
ZS0273 | AT0190 | SB0401 | FU0091 | XT0011 | AR0700
FG0130 |  | XT0137 | FU0092 | QS0012 | AR0800
|  | XT0273 | FU0093 | XT0012 | BA0606
|  | FU0273 | FU0094 | XT0970AC | AP0606
|  | GR0121 | FU0095 | FU9700 | AP0605
|  | SB0400 | XT0090 | FU9701 | AP0604
|  | SB0403 | AU0090 | GR0131 | AP0603
|  | SA0500 | AF0091 | XT09701AC | AP0602
|  | AU0020 | AF0092 | XT09702AC | AP0601
|  | AF0021 | AF0093 | XT09703AC | AT0600
|  | AF0022 | AF0094 | XT09704AC | UV0600
|  | FU0023 | AF0095 | H09700 | AP0706
|  | FU0020 | KA0001 | H09701 | AP0705
|  | GR0120 | KA0002 | H09702 | AP0704
|  |  | KA0003 | GR0132 | AP0703
|  |  | KA0004 | XT0138 | AP0702
|  |  | KA0005 | XT0139 | AP0701
|  |  | KA0006 | XT0134 | AT0700
|  |  | KA0007 | XT0135 | UV0700
|  |  | KA0008 | FU0137 | AP0806
|  |  | KA0009 | FU0138 | AP0805
|  |  | KA0010 | FU0260 | AP0804
|  |  | KA0101 | FU0190 | AP0803
|  |  | KA0102 | XT0201 | AP0802
|  |  | KA0103 | XT0260 | AP0800
|  |  | KA0104 | XT0261 | UV0800
|  |  | KA0105 | XT0262 | FU0600
|  |  | KA0106 | FU0050 | FU0700
|  |  | KA0107 | AU0050 | FU0800
|  |  | KA0108 | AF0051 | XT0101
|  |  | KA0109 | AF0052 | XT0102
|  |  | KA0110 | AF0053 | FU0606DH+
|  |  | KA0041 | AF0054 | FU0011
|  |  | KA0042 | FU0060 | FU0012
|  |  | KA0043 | AU0060 | FU0013
|  |  | KA0044 | AF0061 | FU0014
|  |  | KA0045 | AF0062 | FU0016
|  |  | KA0046 | AF0063 | FU0606
|  |  | KA0047 | AF0064 | FU0680
|  |  | KA0048 | AF0065 | FU0681
|  |  | KA0141 | AF0066 | XT0680
|  |  | KA0142 | AF0067 | XT0681
|  |  | KA0143 | GR0111 | BA0680
|  |  | KA0144 | XT0900 | AT0680
|  |  | KA0145 | FU0040 | BA0606DH+
|  |  | KA0146 | AU0040 | GR0203
|  |  | KA0147 | AF0041 | GR0204
|  |  | KA0148 | AF0042
|  |  | KA0081 | AF0043
|  |  | KA0082 | AF0044
|  |  | KA0083 | AF0045
|  |  | KA0084 | AF0046
|  |  | KA0085 | AF0047
|  |  | KA0086 | XT0014
|  |  | KA0087 | XT0015
|  |  | KA0088 | XT0016
|  |  | KA7400 | XT0017
|  |  | KA7500 | XT0018
|  |  | KA7600 | FU0136
|  |  | KA7700 | FU0236
|  |  | KA7800 | GR0110
|  |  | GR0134 | UJ0231
|  |  | XT0095 | UJ0131
|  |  | XT0910 | TS0970
|  |  | XT0920 | TE0970
XT0930
FU0100
FU0101
FU0102
FU0103
FU0104
FU0105
FU0106
XT0100
AU0100
AF0101
AF0102
AF0103
AF0104
AF0105
AF0106
KA0049
KA0050
KA0051
KA0052
KA0053
KA0054
KA0055
KA0056
KA0149
KA0150
KA0151
KA0152
KA0153
KA0154
KA0155
KA0156
GR0133

## White Labels
(SHT 7) BACK PNL | (SHT 7) BACK PNL - (SHT 6) LEFT SIDE PANEL | (SHT 7) BACK PNL - (SHT 5) SCS | (SHT 6) LEFT SIDE PANEL | (SHT 6) LEFT SIDE PANEL - (SHT 8) RIGHT SIDE PANEL | (SHT 6) LEFT SIDE PANEL - (SHT 5) SCS | (SHT 8) RIGHT SIDE PANEL | (SHT 5) SCS
AF0061G | AU0090G | AU0020G | GR0133 | IEG01301 | GR0120 | UV0600G | GR0121
AF0062G | AU0100G |  | GR0134 | IEG01303 |  | UV0700G
AF0063G | GR0110 |  |  | IEG01304 |  | UV0800G
AF0064G | GR0111
AF0065G
AF0066G
AU0040G
AU0050G
AU0060G
H09700G
UJ0131G
UJ0231G

## Heat Shrink Labels
(SHT 7) BACK PNL | (SHT 6) LEFT SIDE PANEL
WC0061 | WCGTGACAP
WC0970 | WCGTGBCAP
WCGTGCCAP
WCGTGDCAP
WCGTGFCAP
WCSPINRES

## Panel Errors
Panel Errors
Project # | J1848
Project Name | Woodside Goodwyn LSP
Revision | B.2
Controls DE | B.HALBIG
Phone:
Controls ME | N. CARPENTER
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
Report date: 4/15/2026 10:11 AM |  |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)

## Cable Part Numbers
Cable Part Numbers |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | J1848
Report date: 4/15/2026 10:11 AM
Project Name | Woodside Goodwyn LSP
Revision | B.2
Controls DE | B.HALBIG
Phone:
Controls ME | N. CARPENTER
Phone:
Device ID |  | Part Number |  | Description
W0702 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
W9700 |  | CF_CAB0_XXGA |  | CABLE, SUPPLIED BY OTHERS
WC0002 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0004 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0005 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0006 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0009 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0010 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0060 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC00602 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0061 |  | 1022941-13 |  | TPE, 1 TRIAD TWISTED SHIELDED
WC0602 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC06061 |  | 1089241-12 |  | CABLE, SYSTEM FUNCTION
WC06062 |  | 1089241-12 |  | CABLE, SYSTEM FUNCTION
WC0680 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0970 |  | 1022941-13 |  | TPE, 1 TRIAD TWISTED SHIELDED
WC5540 |  | PART OF 1113568-200 |  | CABLE, 2 CONDUCTOR TRIMMED SHIELD PART OF HORN
WC9700 |  | CF_CAB0_XXGA |  | CABLE, SUPPLIED BY OTHERS
WC9701 |  | CF_CAB0_XXGA |  | CABLE, SUPPLIED BY OTHERS
WC9702 |  | CF_CAB0_XXGA |  | CABLE, SUPPLIED BY OTHERS
WCAP0601 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WCAP0603 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WCAP0604 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WCAP0701 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WCAP0703 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WCAP0704 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WCBA0005 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WCGTGACAP |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WCGTGBCAP |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WCGTGCCAP |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WCGTGDCAP |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WCGTGFCAP |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WCSPINRES |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED

## Part Number List
Part Number List |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | J1848
Report date: 4/15/2026 10:11 AM
Project Name | Woodside Goodwyn LSP
Revision | B.2
Controls DE | B.HALBIG
Phone:
Controls ME | N. CARPENTER
Phone:
Device ID | Part Number | Description | Location
AF0041 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0042 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0043 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0044 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0045 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0046 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0047 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0051 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0052 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0053 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0054 | 2684693-12,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PNL
AF0061 | 2684693-14,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | BACK PNL
AF0062 | 2684693-13,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BACK PNL
AF0063 | 2684693-13,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BACK PNL
AF0064 | 2684693-13,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BACK PNL
AF0065 | 2684693-13,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BACK PNL
AF0066 | 2684693-13,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BACK PNL
AF0067 | 2684693-13,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BACK PNL
AU0040 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | BACK PNL
AU0050 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | BACK PNL
AU0060 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | BACK PNL
FU0040 | 1043265-1,1043265-5 | FUSE, 10A | BACK PNL
FU0050 | 1043265-1,1043265-5 | FUSE, 10A | BACK PNL
FU0060 | 1043265-1,1043265-5 | FUSE, 10A | BACK PNL
FU0136 | 1043265-1,1043265-9 | FUSE, 30A | BACK PNL
FU0137 | 1043265-1,1043265-7 | FUSE, 20A | BACK PNL
FU0138 | 1043265-1,1043265-3 | FUSE, 2A | BACK PNL
FU0190 | 1043265-1,1043265-5 | FUSE, 10A | BACK PNL
FU0236 | 1043265-1,1043265-9 | FUSE, 30A | BACK PNL
FU0260 | 1043265-1,1043265-7 | FUSE, 20A | BACK PNL
FU9700 | 1043265-4 | FUSE, 5A | BACK PNL
FU9701 | 1043265-4 | FUSE, 5A | BACK PNL
GR0110 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BACK PNL
GR0111 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BACK PNL
GR0131 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BACK PNL
GR0132 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BACK PNL
H09700 | 1070320-101 | HEATER, SPACE, TURBINE BOX | BACK PNL
H09701 | 1070320-101 | HEATER, SPACE, TURBINE BOX | BACK PNL
H09702 | 1070320-101 | HEATER, SPACE, TURBINE BOX | BACK PNL
PEG0130 | 232941-110 | BUS BAR, ONE-BAY CONSOLE | BACK PNL
QS0011 | 1087370 | CIRCUIT BREAKER, DOUBLE POLE - RAIL MOUNTABLE | BACK PNL
QS0012 | 1087370 | CIRCUIT BREAKER, DOUBLE POLE - RAIL MOUNTABLE | BACK PNL
RR0851 | 981090C1 | RESISTOR, 3.01K OHM | BACK PNL
RR0852 | 981089C1 | RESISTOR, 1.0K OHM | BACK PNL
TE0970 | 700226C1 | TEMPERATURE ELEMENT, BOX INTERNAL TEMPERATURE | BACK PNL
TS0970 | 1070320-200 | THERMOSTAT, 120VAC SPACE HEATER CONTROL | BACK PNL
UJ0131 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | BACK PNL
UJ0231 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | BACK PNL
XT0011 | 1067996-20 | TERMINAL STRIP, 2 CONDUCTOR | BACK PNL
XT0012 | 1067996-20 | TERMINAL STRIP, 2 CONDUCTOR | BACK PNL
XT0014 | 1067996-20 | TERMINAL STRIP, 2 CONDUCTOR | BACK PNL
XT0015 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT0016 | 1067996-20 | TERMINAL STRIP, 2 CONDUCTOR | BACK PNL
XT0017 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT0018 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT0134 | 1067996-20 | TERMINAL STRIP, 2 CONDUCTOR | BACK PNL
XT0135 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT0138 | 1067996-20 | TERMINAL STRIP, 2 CONDUCTOR | BACK PNL
XT0139 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT0201 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT0260 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT0261 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT0262 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT0900 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT09701AC | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT09702AC | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT09703AC | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT09704AC | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | BACK PNL
XT0970AC | 1067996-20 | TERMINAL STRIP, 2 CONDUCTOR | BACK PNL
EL0273 | 1015796,1022899,1024594-100 | LIGHT, LED, WHITE | CONSOLE
HA0273 | 1113568-200 | HORN, ACOUSTIC DEVICE | CONSOLE
ZS0273 | 1113474-2 | LIMIT SWITCH, CONSOLE DOOR | CONSOLE
AT0190 | 1577354-5901 | WORKSTATION, VISUAL INTERFACE | CONSOLE DOORS
AT0190K | 1068334 | KEYBOARD, TYPING INTERFACE | CONSOLE DOORS
AT0191 | 1577354-7000 | MONITOR, VISUAL INTERFACE | CONSOLE DOORS
AF0091 | 2684693-12,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
AF0092 | 2684693-12,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
AF0093 | 2684693-12,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
AF0094 | 2684693-12,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
AF0095 | 2684693-12,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
AF0101 | 2684693-12,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
AF0102 | 2684693-12,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
AF0103 | 2684693-12,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
AF0104 | 2684693-12,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
AF0105 | 2684693-13,2684693-27 | 5094-OF8IHXT, 8 ANALOG OUTPUT, ISOLATED | LEFT SIDE PANEL
AF0106 | 2684693-13,2684693-27 | 5094-OF8IHXT, 8 ANALOG OUTPUT, ISOLATED | LEFT SIDE PANEL
AU0090 | 1061979-1,2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | LEFT SIDE PANEL
AU0100 | 2684693-22 | TERMINAL STRIP, FLEX 5000 I/O | LEFT SIDE PANEL
FU0090 | 1043265-1,1043265-5 | RELAY, FUSE AND CARTRIDGE HOLDER | LEFT SIDE PANEL
FU0091 | [2]1043265-1,[2]1043265-5,1061979-1 | RELAY, FUSE AND CARTRIDGE HOLDER | LEFT SIDE PANEL
FU0092 | 1043265-1,1043265-5 | RELAY, FUSE AND CARTRIDGE HOLDER | LEFT SIDE PANEL
FU0093 | 1043265-1,1043265-5 | RELAY, FUSE AND CARTRIDGE HOLDER | LEFT SIDE PANEL
FU0094 | 1043265-1,1043265-5 | RELAY, FUSE AND CARTRIDGE HOLDER | LEFT SIDE PANEL
FU0095 | 1043265-1,1043265-5 | RELAY, FUSE AND CARTRIDGE HOLDER | LEFT SIDE PANEL
FU0100 | 1043265-1,1043265-5,1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
FU0101 | 1043265-1,1043265-5 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
FU0102 | 1043265-1,1043265-5 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
FU0103 | 1043265-1,1043265-5 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
FU0104 | 1043265-1,1043265-5 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
FU0105 | 1043265-1,1043265-5 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
FU0106 | 1043265-1,1043265-5 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
GR0133 | 903849C1 | BUS BAR, DIN RAIL GROUNDING | LEFT SIDE PANEL
GR0134 | 903849C1 | RELAY, DIN RAIL GROUNDING | LEFT SIDE PANEL
IEG0130 | 232941-300,903849C1 | BUS BAR, ONE-BAY CONSOLE | LEFT SIDE PANEL
KA0001 | 1061979-1 | RELAY, AM830-A9 OPEN | LEFT SIDE PANEL
KA0002 | 1061979-1 | RELAY, AM830-A15 OPEN | LEFT SIDE PANEL
KA0003 | 1061979-1 | RELAY, AM830-A17 OPEN | LEFT SIDE PANEL
KA0004 | 1061979-1 | RELAY, AM830-A18 OPEN | LEFT SIDE PANEL
KA0005 | 1061979-1 | RELAY, AM830-A19 OPEN | LEFT SIDE PANEL
KA0006 | 1061979-1 | RELAY, AM830-A20 OPEN | LEFT SIDE PANEL
KA0007 | 1061979-1 | RELAY, AM830-A21 OPEN | LEFT SIDE PANEL
KA0008 | 1061979-1 | RELAY, AM830-A22 OPEN | LEFT SIDE PANEL
KA0009 | 1061979-1 | RELAY, LOAD BREAKER #9 OPEN | LEFT SIDE PANEL
KA0010 | 1061979-1 | RELAY, LOAD BREAKER #10 OPEN | LEFT SIDE PANEL
KA0041 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0042 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0043 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0044 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0045 | 1061979-1 | 5094-OF8IHXT, 8 ANALOG OUTPUT, ISOLATED | LEFT SIDE PANEL
KA0046 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0047 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0048 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0049 | 1061979-1 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
KA0050 | 1061979-1 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
KA0051 | 1061979-1 | FUSE, 10A | LEFT SIDE PANEL
KA0052 | 1061979-1 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
KA0053 | 1061979-1 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
KA0054 | 1061979-1 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
KA0055 | 1061979-1 | FUSE, 10A | LEFT SIDE PANEL
KA0056 | 1061979-1 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
KA0081 | 1061979-1 | RELAY, TEMP WATER PUMPS INHIBIT | LEFT SIDE PANEL
KA0082 | 1061979-1 | RELAY, SEAWATER LIFT PUMPS INHIBIT | LEFT SIDE PANEL
KA0083 | 1061979-1 | RELAY, LARGE LOAD #3 INHIBIT | LEFT SIDE PANEL
KA0084 | 1061979-1 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
KA0085 | 1061979-1 | RELAY, LARGE LOAD #5 INHIBIT | LEFT SIDE PANEL
KA0086 | 1061979-1 | RELAY, LARGE LOAD #6 INHIBIT | LEFT SIDE PANEL
KA0087 | 1061979-1 | RELAY, LARGE LOAD #7 INHIBIT | LEFT SIDE PANEL
KA0088 | 1061979-1 | RELAY, LARGE LOAD #8 INHIBIT | LEFT SIDE PANEL
KA0101 | 1061979-1 | RELAY, LOAD BREAKER #1 CLOSE | LEFT SIDE PANEL
KA0102 | 1061979-1 | RELAY, AM830-A15 CLOSE | LEFT SIDE PANEL
KA0103 | 1061979-1 | RELAY, AM830-A17 CLOSE | LEFT SIDE PANEL
KA0104 | 1061979-1 | RELAY, AM830-A18 CLOSE | LEFT SIDE PANEL
KA0105 | 1061979-1 | RELAY, AM830-A19 CLOSE | LEFT SIDE PANEL
KA0106 | 1061979-1 | RELAY, AM830-A20 CLOSE | LEFT SIDE PANEL
KA0107 | 1061979-1 | RELAY, AM830-A21 CLOSE | LEFT SIDE PANEL
KA0108 | 1061979-1 | RELAY, AM830-A22 CLOSE | LEFT SIDE PANEL
KA0109 | 1061979-1 | RELAY, LOAD BREAKER #9 CLOSE | LEFT SIDE PANEL
KA0110 | 1061979-1 | RELAY, LOAD BREAKER #10 CLOSE | LEFT SIDE PANEL
KA0141 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0142 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0143 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0144 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0145 | 1061979-1 | 5094-OF8IHXT, 8 ANALOG OUTPUT, ISOLATED | LEFT SIDE PANEL
KA0146 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0147 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0148 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0149 | 1061979-1 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
KA0150 | 1061979-1 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
KA0151 | 1061979-1 | FUSE, 10A | LEFT SIDE PANEL
KA0152 | 1061979-1 | RELAY, SPARE | LEFT SIDE PANEL
KA0153 | 1061979-1 | FUSE, 10A | LEFT SIDE PANEL
KA0154 | 1061979-1 | TERMINAL STRIP, 2 CONDUCTOR | LEFT SIDE PANEL
KA0155 | 1061979-1 | TERMINAL STRIP, 2 CONDUCTOR | LEFT SIDE PANEL
KA0156 | 1061979-1 | FUSE, 10A | LEFT SIDE PANEL
KA7400 | 1061979-1 | RELAY, SPINNING RESERVE LOW | LEFT SIDE PANEL
KA7500 | 1061979-1 | RELAY, LOAD SHED STAGE 2 ACTIVE | LEFT SIDE PANEL
KA7600 | 1061979-1 | RELAY, LSS HEALTH/AVAIL STATUS | LEFT SIDE PANEL
KA7700 | 1061979-1 | 5094-OB16XT, LSS INIT PSD100 | LEFT SIDE PANEL
KA7800 | 1061979-1 | RELAY, LSS INIT PSDCOM VIA CSS | LEFT SIDE PANEL
XT0090 | 1067996-7 | RELAY, 4 CONDUCTOR | LEFT SIDE PANEL
XT0095 | 1067996-20 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
XT0100 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
XT0910 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
XT0920 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
XT0930 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | LEFT SIDE PANEL
AP0801 | 1089241-15 | MVI 56-MNETXT, ETHERNET/MODBUS | PANEL
AP0601 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
AP0602 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
AP0603 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
AP0604 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
AP0605 | 1089241-20 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
AP0606 | 1089241-35 | REDUNDANCY MODULE, 1756-RM2XT | RIGHT SIDE PANEL
AP0701 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
AP0702 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
AP0703 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
AP0704 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
AP0705 | 1089241-20 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
AP0706 | 1089241-35 | REDUNDANCY MODULE, 1756-RM2XT | RIGHT SIDE PANEL
AP0800 | 1043265-1,1043265-5,1089241-40 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
AP0802 | 1089241-20 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
AP0803 | 1089241-20 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
AP0804 | 1089241-20 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
AP0805 | 1089241-20 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
AP0806 | 1089241-20 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
AR0600 | 1043265-1,1043265-3,1089241-29 | RACK CHASSIS, 1756-A7XT (7 SLOT) | RIGHT SIDE PANEL
AR0700 | 1089241-29 | RACK CHASSIS, 1756-A7XT (7 SLOT) | RIGHT SIDE PANEL
AR0800 | 1067996-7,1089241-29 | RACK CHASSIS, 1756-A7XT (7 SLOT) | RIGHT SIDE PANEL
AT0600 | 1089241-43 | 1756-L83EXTS, CONTROLLER^GUARDLOGIX | RIGHT SIDE PANEL
AT0680 | 1634974-100 | GATEWAY MODULE, TURBOTRONIC GATEWAY | RIGHT SIDE PANEL
AT0700 | 1089241-43 | 1756-L83EXTS, CONTROLLER^GUARDLOGIX | RIGHT SIDE PANEL
BA0606 | 1116671-10 | SWITCH, ETHERNET, AB STRATIX 2000 | RIGHT SIDE PANEL
BA0606DH+ | 1144558-11 | ETHERNET, DH/RIO CONVERTER | RIGHT SIDE PANEL
BA0680 | 1116671-4 | SWITCH, ETHERNET, AB STRATIX 2000 | RIGHT SIDE PANEL
FU0600 | 1043265-1,1043265-5 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
FU0606 | 1043265-1,1043265-3,1089241-40 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
FU0606DH+ | 1043265-1,1043265-3,1089241-28 | POWER SUPPLY, RSLOGIX CHASSIS | RIGHT SIDE PANEL
FU0680 | 1043265-1,1043265-4 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
FU0681 | 1043265-1,1043265-3,1089241-43 | 1756-L83EXTS, CONTROLLER^GUARDLOGIX | RIGHT SIDE PANEL
FU0700 | 1043265-1,1043265-5 | RACK CHASSIS, 1756-A7XT (7 SLOT) | RIGHT SIDE PANEL
FU0800 | 1043265-1,1043265-5 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
GR0202 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RIGHT SIDE PANEL
GR0203 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RIGHT SIDE PANEL
GR0204 | 903849C1 | TERMINAL STRIP, 4 CONDUCTOR | RIGHT SIDE PANEL
UV0600 | 1067996-7,1089241-28 | POWER SUPPLY, RSLOGIX CHASSIS | RIGHT SIDE PANEL
UV0700 | 1043265-1,1043265-5,1089241-28 | POWER SUPPLY, RSLOGIX CHASSIS | RIGHT SIDE PANEL
UV0800 | 1043265-1,1043265-5,1089241-28 | POWER SUPPLY, RSLOGIX CHASSIS | RIGHT SIDE PANEL
XT0101 | 1067996-7 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
XT0102 | 1067996-7 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
XT0680 | 1067996-7 | MODULE, BLANK FILLER | RIGHT SIDE PANEL
XT0681 | 1067996-7 | 1756-EN2TRXT, ETHERNET | RIGHT SIDE PANEL
AF0021 | 2684693-46,2684693-51 | 5094-IB32XT, 32 DISCRETE INPUT | SCS
AF0022 | 2684693-47,2684693-57 | 5094-OB32XT, 32 DISCRETE OUTPUT | SCS
AU0020 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | SCS
FU0020 | 1043265-1,1043265-5 | FUSE, 10A | SCS
FU0023 | 1043265-1,1043265-5 | FUSE, 10A | SCS
FU0273 | 1043265-1,1043265-3 | FUSE, 2A | SCS
GR0120 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | SCS
GR0121 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | SCS
SA0500 | 1035040-1833,2380746-5 | SELECTOR SWITCH, OFF/LOCAL/CUSTOMER | SCS
SB0400 | 1035040-32,2380746-4 | PUSHBUTTON SWITCH, EMERGENCY STOP | SCS
SB0401 | 1035040-15,964901C1 | PUSHBUTTON SWITCH, HORN SILENCE | SCS
SB0402 | 1035040-12,964901C1,[2]964904C1 | PUSHBUTTON SWITCH, ACKNOWLEDGE | SCS
SB0403 | 1035040-121,2380746-13 | PUSHBUTTON SWITCH, RESET | SCS
SH0418 | 1010205,1017501,1035040-122,1035040-813,964902C1,964904C1 | LIGHTED SWITCH, LAMP TEST | SCS
XT0137 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | SCS
XT0273 | 1067996-7 | TERMINAL STRIP, 4 CONDUCTOR | SCS

## CONSOLE_S
CONSOLE DOOR
STATION CONSOLE
Project # | J1848
Project Name | Woodside Goodwyn LSP
Revision | B.2
Controls DE | B.HALBIG
Phone:
Controls ME | N. CARPENTER
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AT0191:NEG | -0V | WHT | 14 | 280 | XT0262:3 | BACK PNL | AT-BACK
AT0190:NEG | -0V | WHT | 14 | 340 | XT0262:3 | BACK PNL
AT0191:POS | FU0190 | WHT | 14 | 280 | FU0190:LD | BACK PNL
AT0190:POS | FU0190 | WHT | 14 | 340 | FU0190:LD | BACK PNL

## SCS_S
SCS
STATION CONSOLE
Project # | J1848
Project Name | Woodside Goodwyn LSP
Revision | B.2
Controls DE | B.HALBIG
Phone:
Controls ME | N. CARPENTER
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
SB0400:B2-12 | -0V | WHT | 20 | 80 | XT0137:4 | SCS | SB0400
SB0400:B1-11 | FU0138 | WHT | 20 | 80 | XT0137:3 | SCS
SB0403:B1-13 | SB0403B113 | WHT | 20 | 80 | AF0021:46 | SCS | SB0403
SB0403:B1-14 | SB0403B114 | WHT | 20 | 80 | AF0021:14 | SCS
SB0403:B2-13 | SB0403B213 | WHT | 20 | 80 | XT0137:5 | SCS
SB0403:B2-14 | SB0403B214 | WHT | 20 | 80 | XT0137:6 | SCS
SA0500:11 | SA050011 | WHT | 20 | 80 | AF0021:38 | SCS | SA0500
SA0500:12 | SA050012 | WHT | 20 | 80 | AF0021:06 | SCS
SA0500:13 | SA050013 | WHT | 20 | 80 | AF0021:39 | SCS
SA0500:14 | SA050014 | WHT | 20 | 80 | AF0021:07 | SCS
SB0402:C | SB0402C | WHT | 20 | 80 | AF0021:37 | SCS | SB0402
SB0402:NO | SB0402NO | WHT | 20 | 80 | AF0021:05 | SCS
SB0401:C | SB0401C | WHT | 20 | 80 | AF0021:47 | SCS | SB0401
SB0401:NO | SB0401NO | WHT | 20 | 80 | AF0021:15 | SCS
SH0418:A | SH0418A | WHT | 20 | 80 | AF0022:43 | SCS | SH0418
SH0418:A+ | SH0418AP | WHT | 20 | 80 | AF0022:11 | SCS
SH0418:B | SH0418B | WHT | 20 | 80 | AF0022:49 | SCS
SH0418:B+ | SH0418BP | WHT | 20 | 80 | AF0022:17 | SCS
SH0418:C | SH0418C | WHT | 20 | 80 | AF0021:40 | SCS
SH0418:NO | SH0418NO | WHT | 20 | 80 | AF0021:08 | SCS
AU0020:V+ | FU0020 | WHT | 14 | 60 | FU0020:LD | SCS | AU/AF
AF0022:V+ | FU0023 | WHT | 14 | 60 | FU0023:LD | SCS
AF0022:COM | -0V | WHT | 14 | 280 | XT0262:1 | BACK PNL | AU/AF-BACK
AU0020:COM | -0V | WHT | 14 | 280 | XT0262:2 | BACK PNL
XT0137:4 | -0V | WHT | 20 | 280 | XT0135:5 | BACK PNL | FU/XT-BACK
XT0137:3 | FU0138 | WHT | 20 | 280 | FU0138:LD | BACK PNL
XT0273:1 | -0V1 | WHT | 14 | 280 | XT0135:6 | BACK PNL
FU0273:LI | FU0137 | WHT | 14 | 280 | XT0139:6 | BACK PNL
FU0020:LI | FU0260 | WHT | 14 | 280 | XT0261:2 | BACK PNL
FU0023:LI | FU0260 | WHT | 14 | 280 | XT0261:1 | BACK PNL

## LEFT SIDE PANEL_S
LEFT SIDE PANEL
STATION CONSOLE
Project # | J1848
Project Name | Woodside Goodwyn LSP
Revision | B.2
Controls DE | B.HALBIG
Phone:
Controls ME | N. CARPENTER
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
AF0091:COM | -0V | WHT | 14 | 60 | XT0090:3 | L/S PNL | AU/AF
AF0092:COM | -0V | WHT | 14 | 60 | XT0090:3 | L/S PNL
AF0093:COM | -0V | WHT | 14 | 60 | XT0090:4 | L/S PNL
AF0094:COM | -0V | WHT | 14 | 60 | XT0090:4 | L/S PNL
AF0095:COM | -0V | WHT | 14 | 60 | XT0090:5 | L/S PNL
AF0101:COM | -0V | WHT | 14 | 60 | XT0100:2 | L/S PNL
AF0102:COM | -0V | WHT | 14 | 60 | XT0100:3 | L/S PNL
AF0103:COM | -0V | WHT | 14 | 60 | XT0100:4 | L/S PNL
AF0104:COM | -0V | WHT | 14 | 60 | XT0100:5 | L/S PNL
AF0105:COM | -0V | WHT | 14 | 60 | XT0100:6 | L/S PNL
AF0106:COM | -0V | WHT | 14 | 60 | XT0100:7 | L/S PNL
AU0090:COM | -0V | WHT | 14 | 60 | XT0090:2 | L/S PNL
AU0100:COM | -0V | WHT | 14 | 60 | XT0100:1 | L/S PNL
AU0090:V+ | FU0090 | WHT | 14 | 180 | FU0090:LD | L/S PNL
AF0091:V+ | FU0091 | WHT | 14 | 180 | FU0091:LD | L/S PNL
AF0092:V+ | FU0092 | WHT | 14 | 180 | FU0092:LD | L/S PNL
AF0093:V+ | FU0093 | WHT | 14 | 180 | FU0093:LD | L/S PNL
AF0094:V+ | FU0094 | WHT | 14 | 180 | FU0094:LD | L/S PNL
AF0095:V+ | FU0095 | WHT | 14 | 180 | FU0095:LD | L/S PNL
AU0100:V+ | FU0100 | WHT | 14 | 160 | FU0100:LD | L/S PNL
AF0101:V+ | FU0101 | WHT | 14 | 160 | FU0101:LD | L/S PNL
AF0102:V+ | FU0102 | WHT | 14 | 160 | FU0102:LD | L/S PNL
AF0103:V+ | FU0103 | WHT | 14 | 160 | FU0103:LD | L/S PNL
AF0104:V+ | FU0104 | WHT | 14 | 160 | FU0104:LD | L/S PNL
AF0105:V+ | FU0105 | WHT | 14 | 160 | FU0105:LD | L/S PNL
AF0106:V+ | FU0106 | WHT | 14 | 160 | FU0106:LD | L/S PNL
KA0001:A1 | KA0001A1 | WHT | 20 | 60 | AF0092:00 | L/S PNL | KA A1
KA0002:A1 | KA0002A1 | WHT | 20 | 60 | AF0092:01 | L/S PNL
KA0003:A1 | KA0003A1 | WHT | 20 | 60 | AF0092:02 | L/S PNL
KA0004:A1 | KA0004A1 | WHT | 20 | 60 | AF0092:03 | L/S PNL
KA0005:A1 | KA0005A1 | WHT | 20 | 60 | AF0092:04 | L/S PNL
KA0006:A1 | KA0006A1 | WHT | 20 | 60 | AF0092:05 | L/S PNL
KA0007:A1 | KA0007A1 | WHT | 20 | 60 | AF0092:06 | L/S PNL
KA0008:A1 | KA0008A1 | WHT | 20 | 60 | AF0092:07 | L/S PNL
KA0009:A1 | KA0009A1 | WHT | 20 | 60 | AF0092:08 | L/S PNL
KA0010:A1 | KA0010A1 | WHT | 20 | 60 | AF0092:09 | L/S PNL
KA0041:A1 | KA0041A1 | WHT | 20 | 60 | AF0092:14 | L/S PNL
KA0042:A1 | KA0042A1 | WHT | 20 | 60 | AF0092:15 | L/S PNL
KA0043:A1 | KA0043A1 | WHT | 20 | 60 | AF0091:14 | L/S PNL
KA0044:A1 | KA0044A1 | WHT | 20 | 60 | AF0091:15 | L/S PNL
KA0045:A1 | KA0045A1 | WHT | 20 | 60 | AF0093:10 | L/S PNL
KA0046:A1 | KA0046A1 | WHT | 20 | 60 | AF0093:11 | L/S PNL
KA0047:A1 | KA0047A1 | WHT | 20 | 60 | AF0093:12 | L/S PNL
KA0048:A1 | KA0048A1 | WHT | 20 | 60 | AF0093:13 | L/S PNL
KA0049:A1 | KA0049A1 | WHT | 20 | 60 | AF0101:10 | L/S PNL
KA0050:A1 | KA0050A1 | WHT | 20 | 60 | AF0101:11 | L/S PNL
KA0051:A1 | KA0051A1 | WHT | 20 | 60 | AF0101:12 | L/S PNL
KA0052:A1 | KA0052A1 | WHT | 20 | 60 | AF0101:13 | L/S PNL
KA0053:A1 | KA0053A1 | WHT | 20 | 60 | AF0102:10 | L/S PNL
KA0054:A1 | KA0054A1 | WHT | 20 | 60 | AF0102:11 | L/S PNL
KA0055:A1 | KA0055A1 | WHT | 20 | 60 | AF0102:12 | L/S PNL
KA0056:A1 | KA0056A1 | WHT | 20 | 60 | AF0102:13 | L/S PNL
KA0081:A1 | KA0081A1 | WHT | 20 | 80 | AF0091:08 | L/S PNL
KA0082:A1 | KA0082A1 | WHT | 20 | 80 | AF0091:09 | L/S PNL
KA0083:A1 | KA0083A1 | WHT | 20 | 80 | AF0091:10 | L/S PNL
KA0084:A1 | KA0084A1 | WHT | 20 | 80 | AF0091:11 | L/S PNL
KA0085:A1 | KA0085A1 | WHT | 20 | 80 | AF0092:10 | L/S PNL
KA0086:A1 | KA0086A1 | WHT | 20 | 80 | AF0092:11 | L/S PNL
KA0087:A1 | KA0087A1 | WHT | 20 | 80 | AF0092:44 | L/S PNL
KA0088:A1 | KA0088A1 | WHT | 20 | 80 | AF0092:13 | L/S PNL
KA0101:A1 | KA0101A1 | WHT | 20 | 60 | AF0094:00 | L/S PNL
KA0102:A1 | KA0102A1 | WHT | 20 | 60 | AF0094:01 | L/S PNL
KA0103:A1 | KA0103A1 | WHT | 20 | 60 | AF0094:02 | L/S PNL
KA0104:A1 | KA0104A1 | WHT | 20 | 60 | AF0094:03 | L/S PNL
KA0105:A1 | KA0105A1 | WHT | 20 | 60 | AF0094:04 | L/S PNL
KA0106:A1 | KA0106A1 | WHT | 20 | 60 | AF0094:05 | L/S PNL
KA0107:A1 | KA0107A1 | WHT | 20 | 60 | AF0094:06 | L/S PNL
KA0108:A1 | KA0108A1 | WHT | 20 | 60 | AF0094:07 | L/S PNL
KA0109:A1 | KA0109A1 | WHT | 20 | 60 | AF0094:08 | L/S PNL
KA0110:A1 | KA0110A1 | WHT | 20 | 60 | AF0094:09 | L/S PNL
KA0141:A1 | KA0141A1 | WHT | 20 | 60 | AF0094:10 | L/S PNL
KA0142:A1 | KA0142A1 | WHT | 20 | 60 | AF0094:11 | L/S PNL
KA0143:A1 | KA0143A1 | WHT | 20 | 60 | AF0094:12 | L/S PNL
KA0144:A1 | KA0144A1 | WHT | 20 | 60 | AF0094:13 | L/S PNL
KA0145:A1 | KA0145A1 | WHT | 20 | 60 | AF0095:10 | L/S PNL
KA0146:A1 | KA0146A1 | WHT | 20 | 60 | AF0095:11 | L/S PNL
KA0147:A1 | KA0147A1 | WHT | 20 | 60 | AF0095:12 | L/S PNL
KA0148:A1 | KA0148A1 | WHT | 20 | 60 | AF0095:13 | L/S PNL
KA0149:A1 | KA0149A1 | WHT | 20 | 60 | AF0103:10 | L/S PNL
KA0150:A1 | KA0150A1 | WHT | 20 | 60 | AF0103:11 | L/S PNL
KA0151:A1 | KA0151A1 | WHT | 20 | 60 | AF0103:12 | L/S PNL
KA0152:A1 | KA0152A1 | WHT | 20 | 60 | AF0103:13 | L/S PNL
KA0153:A1 | KA0153A1 | WHT | 20 | 60 | AF0104:10 | L/S PNL
KA0154:A1 | KA0154A1 | WHT | 20 | 60 | AF0104:11 | L/S PNL
KA0155:A1 | KA0155A1 | WHT | 20 | 60 | AF0104:12 | L/S PNL
KA0156:A1 | KA0156A1 | WHT | 20 | 60 | AF0104:13 | L/S PNL
KA7400:A1 | KA7400A1 | WHT | 20 | 80 | AF0091:00 | L/S PNL
KA7500:A1 | KA7500A1 | WHT | 20 | 80 | AF0091:01 | L/S PNL
KA7600:A1 | KA7600A1 | WHT | 20 | 80 | AF0091:02 | L/S PNL
KA7700:A1 | KA7700A1 | WHT | 20 | 80 | AF0091:03 | L/S PNL
KA7800:A1 | KA7800A1 | WHT | 20 | 80 | AF0091:04 | L/S PNL
KA0001:A2 | KA0001A2 | WHT | 20 | 60 | AF0092:16 | L/S PNL | KA A2
KA0002:A2 | KA0002A2 | WHT | 20 | 60 | AF0092:17 | L/S PNL
KA0003:A2 | KA0003A2 | WHT | 20 | 60 | AF0092:18 | L/S PNL
KA0004:A2 | KA0004A2 | WHT | 20 | 60 | AF0092:19 | L/S PNL
KA0005:A2 | KA0005A2 | WHT | 20 | 60 | AF0092:20 | L/S PNL
KA0006:A2 | KA0006A2 | WHT | 20 | 60 | AF0092:21 | L/S PNL
KA0007:A2 | KA0007A2 | WHT | 20 | 60 | AF0092:22 | L/S PNL
KA0008:A2 | KA0008A2 | WHT | 20 | 60 | AF0092:23 | L/S PNL
KA0009:A2 | KA0009A2 | WHT | 20 | 60 | AF0092:24 | L/S PNL
KA0010:A2 | KA0010A2 | WHT | 20 | 60 | AF0092:25 | L/S PNL
KA0041:A2 | KA0041A2 | WHT | 20 | 60 | AF0092:30 | L/S PNL
KA0042:A2 | KA0042A2 | WHT | 20 | 60 | AF0092:31 | L/S PNL
KA0043:A2 | KA0043A2 | WHT | 20 | 60 | AF0091:30 | L/S PNL
KA0044:A2 | KA0044A2 | WHT | 20 | 60 | AF0091:31 | L/S PNL
KA0045:A2 | KA0045A2 | WHT | 20 | 60 | AF0093:26 | L/S PNL
KA0046:A2 | KA0046A2 | WHT | 20 | 60 | AF0093:27 | L/S PNL
KA0047:A2 | KA0047A2 | WHT | 20 | 60 | AF0093:28 | L/S PNL
KA0048:A2 | KA0048A2 | WHT | 20 | 60 | AF0093:29 | L/S PNL
KA0049:A2 | KA0049A2 | WHT | 20 | 60 | AF0101:26 | L/S PNL
KA0050:A2 | KA0050A2 | WHT | 20 | 60 | AF0101:27 | L/S PNL
KA0051:A2 | KA0051A2 | WHT | 20 | 60 | AF0101:28 | L/S PNL
KA0052:A2 | KA0052A2 | WHT | 20 | 60 | AF0101:29 | L/S PNL
KA0053:A2 | KA0053A2 | WHT | 20 | 60 | AF0102:26 | L/S PNL
KA0054:A2 | KA0054A2 | WHT | 20 | 60 | AF0102:27 | L/S PNL
KA0055:A2 | KA0055A2 | WHT | 20 | 60 | AF0102:28 | L/S PNL
KA0056:A2 | KA0056A2 | WHT | 20 | 60 | AF0102:29 | L/S PNL
KA0081:A2 | KA0081A2 | WHT | 20 | 80 | AF0091:24 | L/S PNL
KA0082:A2 | KA0082A2 | WHT | 20 | 80 | AF0091:25 | L/S PNL
KA0083:A2 | KA0083A2 | WHT | 20 | 80 | AF0091:26 | L/S PNL
KA0084:A2 | KA0084A2 | WHT | 20 | 80 | AF0091:27 | L/S PNL
KA0085:A2 | KA0085A2 | WHT | 20 | 80 | AF0092:26 | L/S PNL
KA0086:A2 | KA0086A2 | WHT | 20 | 80 | AF0092:27 | L/S PNL
KA0087:A2 | KA0087A2 | WHT | 20 | 80 | AF0092:12 | L/S PNL
KA0088:A2 | KA0088A2 | WHT | 20 | 80 | AF0092:29 | L/S PNL
KA0101:A2 | KA0101A2 | WHT | 20 | 60 | AF0094:16 | L/S PNL
KA0102:A2 | KA0102A2 | WHT | 20 | 60 | AF0094:17 | L/S PNL
KA0103:A2 | KA0103A2 | WHT | 20 | 60 | AF0094:18 | L/S PNL
KA0104:A2 | KA0104A2 | WHT | 20 | 60 | AF0094:19 | L/S PNL
KA0105:A2 | KA0105A2 | WHT | 20 | 60 | AF0094:20 | L/S PNL
KA0106:A2 | KA0106A2 | WHT | 20 | 60 | AF0094:21 | L/S PNL
KA0107:A2 | KA0107A2 | WHT | 20 | 60 | AF0094:22 | L/S PNL
KA0108:A2 | KA0108A2 | WHT | 20 | 60 | AF0094:23 | L/S PNL
KA0109:A2 | KA0109A2 | WHT | 20 | 60 | AF0094:24 | L/S PNL
KA0110:A2 | KA0110A2 | WHT | 20 | 60 | AF0094:25 | L/S PNL
KA0141:A2 | KA0141A2 | WHT | 20 | 60 | AF0094:26 | L/S PNL
KA0142:A2 | KA0142A2 | WHT | 20 | 60 | AF0094:27 | L/S PNL
KA0143:A2 | KA0143A2 | WHT | 20 | 60 | AF0094:28 | L/S PNL
KA0144:A2 | KA0144A2 | WHT | 20 | 60 | AF0094:29 | L/S PNL
KA0145:A2 | KA0145A2 | WHT | 20 | 60 | AF0095:26 | L/S PNL
KA0146:A2 | KA0146A2 | WHT | 20 | 60 | AF0095:27 | L/S PNL
KA0147:A2 | KA0147A2 | WHT | 20 | 60 | AF0095:28 | L/S PNL
KA0148:A2 | KA0148A2 | WHT | 20 | 60 | AF0095:29 | L/S PNL
KA0149:A2 | KA0149A2 | WHT | 20 | 60 | AF0103:26 | L/S PNL
KA0150:A2 | KA0150A2 | WHT | 20 | 60 | AF0103:27 | L/S PNL
KA0151:A2 | KA0151A2 | WHT | 20 | 60 | AF0103:28 | L/S PNL
KA0152:A2 | KA0152A2 | WHT | 20 | 60 | AF0103:29 | L/S PNL
KA0153:A2 | KA0153A2 | WHT | 20 | 60 | AF0104:26 | L/S PNL
KA0154:A2 | KA0154A2 | WHT | 20 | 60 | AF0104:27 | L/S PNL
KA0155:A2 | KA0155A2 | WHT | 20 | 60 | AF0104:28 | L/S PNL
KA0156:A2 | KA0156A2 | WHT | 20 | 60 | AF0104:29 | L/S PNL
KA7400:A2 | KA7400A2 | WHT | 20 | 80 | AF0091:16 | L/S PNL
KA7500:A2 | KA7500A2 | WHT | 20 | 80 | AF0091:17 | L/S PNL
KA7600:A2 | KA7600A2 | WHT | 20 | 80 | AF0091:18 | L/S PNL
KA7700:A2 | KA7700A2 | WHT | 20 | 80 | AF0091:19 | L/S PNL
KA7800:A2 | KA7800A2 | WHT | 20 | 80 | AF0091:20 | L/S PNL
KA7400:11 | KA7400-1 | WHT | 20 | 140 | XT0910:1 | L/S PNL | KA
KA7400:14 | KA7400-2 | WHT | 20 | 140 | XT0910:2 | L/S PNL
KA7500:11 | KA7500-1 | WHT | 20 | 140 | XT0910:3 | L/S PNL
KA7500:14 | KA7500-2 | WHT | 20 | 140 | XT0910:4 | L/S PNL
KA7600:11 | KA7600-1 | WHT | 20 | 140 | XT0910:5 | L/S PNL
KA7600:14 | KA7600-2 | WHT | 20 | 140 | XT0910:6 | L/S PNL
KA7700:11 | KA7700-1 | WHT | 20 | 140 | XT0910:7 | L/S PNL
KA7700:14 | KA7700-2 | WHT | 20 | 140 | XT0910:8 | L/S PNL
KA7800:11 | KA7800-1 | WHT | 20 | 140 | XT0910:9 | L/S PNL
KA7800:14 | KA7800-2 | WHT | 20 | 140 | XT0910:10 | L/S PNL
KA0081:11 | LOAD1-1 | WHT | 20 | 140 | XT0930:1 | L/S PNL
KA0081:14 | LOAD1-2 | WHT | 20 | 140 | XT0930:2 | L/S PNL
KA0082:11 | LOAD2-1 | WHT | 20 | 140 | XT0930:3 | L/S PNL
KA0082:14 | LOAD2-2 | WHT | 20 | 140 | XT0930:4 | L/S PNL
KA0083:11 | LOAD3-1 | WHT | 20 | 140 | XT0930:5 | L/S PNL
KA0083:14 | LOAD3-2 | WHT | 20 | 140 | XT0930:6 | L/S PNL
KA0084:11 | LOAD4-1 | WHT | 20 | 140 | XT0930:7 | L/S PNL
KA0084:14 | LOAD4-2 | WHT | 20 | 140 | XT0930:8 | L/S PNL
KA0085:11 | LOAD5-1 | WHT | 20 | 140 | XT0930:9 | L/S PNL
KA0085:14 | LOAD5-2 | WHT | 20 | 140 | XT0930:10 | L/S PNL
KA0086:11 | LOAD6-1 | WHT | 20 | 140 | XT0930:11 | L/S PNL
KA0086:14 | LOAD6-2 | WHT | 20 | 140 | XT0930:12 | L/S PNL
KA0087:11 | LOAD7-1 | WHT | 20 | 140 | XT0930:13 | L/S PNL
KA0087:14 | LOAD7-2 | WHT | 20 | 140 | XT0930:14 | L/S PNL
KA0088:11 | LOAD8-1 | WHT | 20 | 140 | XT0930:15 | L/S PNL
KA0088:14 | LOAD8-2 | WHT | 20 | 140 | XT0930:16 | L/S PNL
XT0090:2 | -0V | WHT | 14 | 180 | XT0095:2 | L/S PNL | FU/XT
XT0090:6 | -0V | WHT | 14 | 180 | XT0100:1 | L/S PNL
FU0090:LI | FU0137 | WHT | 14 | 60 | XT0090:1 | L/S PNL
FU0100:LI | FU0137 | WHT | 14 | 60 | XT0090:1 | L/S PNL
XT0090:1 | FU0137 | WHT | 14 | 180 | XT0095:1 | L/S PNL
KA0101:11 | CB01CL-1 | WHT | 20 | 200 | XT0900:12 | BACK PNL | KA-BACK
KA0101:14 | CB01CL-2 | WHT | 20 | 200 | XT0900:13 | BACK PNL
KA0001:11 | CB01OP-1 | WHT | 20 | 200 | XT0900:10 | BACK PNL
KA0001:14 | CB01OP-2 | WHT | 20 | 200 | XT0900:11 | BACK PNL
KA0102:11 | CB02CL-1 | WHT | 20 | 200 | XT0900:25 | BACK PNL
KA0102:14 | CB02CL-2 | WHT | 20 | 200 | XT0900:26 | BACK PNL
KA0002:11 | CB02OP-1 | WHT | 20 | 200 | XT0900:23 | BACK PNL
KA0002:14 | CB02OP-2 | WHT | 20 | 200 | XT0900:24 | BACK PNL
KA0103:11 | CB03CL-1 | WHT | 20 | 200 | XT0900:38 | BACK PNL
KA0103:14 | CB03CL-2 | WHT | 20 | 200 | XT0900:39 | BACK PNL
KA0003:11 | CB03OP-1 | WHT | 20 | 200 | XT0900:36 | BACK PNL
KA0003:14 | CB03OP-2 | WHT | 20 | 200 | XT0900:37 | BACK PNL
KA0104:11 | CB04CL-1 | WHT | 20 | 200 | XT0900:51 | BACK PNL
KA0104:14 | CB04CL-2 | WHT | 20 | 200 | XT0900:52 | BACK PNL
KA0004:11 | CB04OP-1 | WHT | 20 | 200 | XT0900:49 | BACK PNL
KA0004:14 | CB04OP-2 | WHT | 20 | 200 | XT0900:50 | BACK PNL
KA0105:11 | CB05CL-1 | WHT | 20 | 200 | XT0900:64 | BACK PNL
KA0105:14 | CB05CL-2 | WHT | 20 | 200 | XT0900:65 | BACK PNL
KA0005:11 | CB05OP-1 | WHT | 20 | 200 | XT0900:62 | BACK PNL
KA0005:14 | CB05OP-2 | WHT | 20 | 200 | XT0900:63 | BACK PNL
KA0106:11 | CB06CL-1 | WHT | 20 | 200 | XT0900:77 | BACK PNL
KA0106:14 | CB06CL-2 | WHT | 20 | 200 | XT0900:78 | BACK PNL
KA0006:11 | CB06OP-1 | WHT | 20 | 200 | XT0900:75 | BACK PNL
KA0006:14 | CB06OP-2 | WHT | 20 | 200 | XT0900:76 | BACK PNL
KA0107:11 | CB07CL-1 | WHT | 20 | 200 | XT0900:90 | BACK PNL
KA0107:14 | CB07CL-2 | WHT | 20 | 200 | XT0900:91 | BACK PNL
KA0007:11 | CB07OP-1 | WHT | 20 | 200 | XT0900:88 | BACK PNL
KA0007:14 | CB07OP-2 | WHT | 20 | 200 | XT0900:89 | BACK PNL
KA0108:11 | CB08CL-1 | WHT | 20 | 200 | XT0900:103 | BACK PNL
KA0108:14 | CB08CL-2 | WHT | 20 | 200 | XT0900:104 | BACK PNL
KA0008:11 | CB08OP-1 | WHT | 20 | 200 | XT0900:101 | BACK PNL
KA0008:14 | CB08OP-2 | WHT | 20 | 200 | XT0900:102 | BACK PNL
KA0109:11 | CB09CL-1 | WHT | 20 | 200 | XT0900:116 | BACK PNL
KA0109:14 | CB09CL-2 | WHT | 20 | 200 | XT0900:117 | BACK PNL
KA0009:11 | CB09OP-1 | WHT | 20 | 200 | XT0900:114 | BACK PNL
KA0009:14 | CB09OP-2 | WHT | 20 | 200 | XT0900:115 | BACK PNL
KA0110:11 | CB10CL-1 | WHT | 20 | 200 | XT0900:129 | BACK PNL
KA0110:14 | CB10CL-2 | WHT | 20 | 200 | XT0900:130 | BACK PNL
KA0010:11 | CB10OP-1 | WHT | 20 | 200 | XT0900:127 | BACK PNL
KA0010:14 | CB10OP-2 | WHT | 20 | 200 | XT0900:128 | BACK PNL
XT0095:2 | -0V | WHT | 14 | 240 | XT0135:4 | BACK PNL | XT-BACK
XT0095:1 | FU0137 | WHT | 14 | 240 | XT0139:4 | BACK PNL

## BACK PANEL_S
BACK PANEL
STATION CONSOLE
Project # | J1848
Project Name | Woodside Goodwyn LSP
Revision | B.2
Controls DE | B.HALBIG
Phone:
Controls ME | N. CARPENTER
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UJ0131:IOUT | UJ0131IOUT | WHT | 20 | 140 | AF0061:34 | BACK PNL | UJ
UJ0131:IS | UJ0131IS | WHT | 20 | 60 | UJ0231:IS | BACK PNL
UJ0131:OK1 | UJ0131OK1 | WHT | 20 | 60 | AF0042:41 | BACK PNL
UJ0131:OK2 | UJ0131OK2 | WHT | 20 | 60 | AF0042:09 | BACK PNL
UJ0131:VIN | UJ0131VIN | WHT | 20 | 140 | AF0061:00 | BACK PNL
UJ0231:IOUT | UJ0231IOUT | WHT | 20 | 120 | AF0061:06 | BACK PNL
UJ0231:OK1 | UJ0231OK1 | WHT | 20 | 60 | AF0042:42 | BACK PNL
UJ0231:OK2 | UJ0231OK2 | WHT | 20 | 60 | AF0042:10 | BACK PNL
UJ0231:VIN | UJ0231VIN | WHT | 20 | 120 | AF0061:04 | BACK PNL
AF0061:08 | -006108 | WHT | 20 | 80 | XT0015:2 | BACK PNL | AU/AF
AF0045:32 | CB01-CL1 | WHT | 20 | 80 | XT0900:3 | BACK PNL
AF0045:00 | CB01-CL2 | WHT | 20 | 80 | XT0900:4 | BACK PNL
AF0043:32 | CB01-OP1 | WHT | 20 | 80 | XT0900:1 | BACK PNL
AF0043:00 | CB01-OP2 | WHT | 20 | 80 | XT0900:2 | BACK PNL
AF0047:32 | CB01-TR1 | WHT | 20 | 80 | XT0900:5 | BACK PNL
AF0047:00 | CB01-TR2 | WHT | 20 | 80 | XT0900:6 | BACK PNL
AF0045:33 | CB02-CL1 | WHT | 20 | 80 | XT0900:16 | BACK PNL
AF0045:01 | CB02-CL2 | WHT | 20 | 80 | XT0900:17 | BACK PNL
AF0043:33 | CB02-OP1 | WHT | 20 | 80 | XT0900:14 | BACK PNL
AF0043:01 | CB02-OP2 | WHT | 20 | 80 | XT0900:15 | BACK PNL
AF0047:33 | CB02-TR1 | WHT | 20 | 80 | XT0900:18 | BACK PNL
AF0047:01 | CB02-TR2 | WHT | 20 | 80 | XT0900:19 | BACK PNL
AF0045:34 | CB03-CL1 | WHT | 20 | 80 | XT0900:29 | BACK PNL
AF0045:02 | CB03-CL2 | WHT | 20 | 80 | XT0900:30 | BACK PNL
AF0043:34 | CB03-OP1 | WHT | 20 | 80 | XT0900:27 | BACK PNL
AF0043:02 | CB03-OP2 | WHT | 20 | 80 | XT0900:28 | BACK PNL
AF0047:34 | CB03-TR1 | WHT | 20 | 80 | XT0900:31 | BACK PNL
AF0047:02 | CB03-TR2 | WHT | 20 | 80 | XT0900:32 | BACK PNL
AF0045:35 | CB04-CL1 | WHT | 20 | 80 | XT0900:42 | BACK PNL
AF0045:03 | CB04-CL2 | WHT | 20 | 80 | XT0900:43 | BACK PNL
AF0043:35 | CB04-OP1 | WHT | 20 | 80 | XT0900:40 | BACK PNL
AF0043:03 | CB04-OP2 | WHT | 20 | 80 | XT0900:41 | BACK PNL
AF0047:35 | CB04-TR1 | WHT | 20 | 80 | XT0900:44 | BACK PNL
AF0047:03 | CB04-TR2 | WHT | 20 | 80 | XT0900:45 | BACK PNL
AF0045:36 | CB05-CL1 | WHT | 20 | 80 | XT0900:55 | BACK PNL
AF0045:04 | CB05-CL2 | WHT | 20 | 80 | XT0900:56 | BACK PNL
AF0043:36 | CB05-OP1 | WHT | 20 | 80 | XT0900:53 | BACK PNL
AF0043:04 | CB05-OP2 | WHT | 20 | 80 | XT0900:54 | BACK PNL
AF0047:36 | CB05-TR1 | WHT | 20 | 80 | XT0900:57 | BACK PNL
AF0047:04 | CB05-TR2 | WHT | 20 | 80 | XT0900:58 | BACK PNL
AF0045:37 | CB06-CL1 | WHT | 20 | 80 | XT0900:68 | BACK PNL
AF0045:05 | CB06-CL2 | WHT | 20 | 80 | XT0900:69 | BACK PNL
AF0043:37 | CB06-OP1 | WHT | 20 | 80 | XT0900:66 | BACK PNL
AF0043:05 | CB06-OP2 | WHT | 20 | 80 | XT0900:67 | BACK PNL
AF0047:37 | CB06-TR1 | WHT | 20 | 80 | XT0900:70 | BACK PNL
AF0047:05 | CB06-TR2 | WHT | 20 | 80 | XT0900:71 | BACK PNL
AF0045:38 | CB07-CL1 | WHT | 20 | 80 | XT0900:81 | BACK PNL
AF0045:06 | CB07-CL2 | WHT | 20 | 80 | XT0900:82 | BACK PNL
AF0043:38 | CB07-OP1 | WHT | 20 | 80 | XT0900:79 | BACK PNL
AF0043:06 | CB07-OP2 | WHT | 20 | 80 | XT0900:80 | BACK PNL
AF0047:38 | CB07-TR1 | WHT | 20 | 80 | XT0900:83 | BACK PNL
AF0047:06 | CB07-TR2 | WHT | 20 | 80 | XT0900:84 | BACK PNL
AF0045:39 | CB08-CL1 | WHT | 20 | 80 | XT0900:94 | BACK PNL
AF0045:07 | CB08-CL2 | WHT | 20 | 80 | XT0900:95 | BACK PNL
AF0043:39 | CB08-OP1 | WHT | 20 | 80 | XT0900:92 | BACK PNL
AF0043:07 | CB08-OP2 | WHT | 20 | 80 | XT0900:93 | BACK PNL
AF0047:39 | CB08-TR1 | WHT | 20 | 80 | XT0900:96 | BACK PNL
AF0047:07 | CB08-TR2 | WHT | 20 | 80 | XT0900:97 | BACK PNL
AF0045:40 | CB09-CL1 | WHT | 20 | 80 | XT0900:107 | BACK PNL
AF0045:08 | CB09-CL2 | WHT | 20 | 80 | XT0900:108 | BACK PNL
AF0043:40 | CB09-OP1 | WHT | 20 | 80 | XT0900:105 | BACK PNL
AF0043:08 | CB09-OP2 | WHT | 20 | 80 | XT0900:106 | BACK PNL
AF0047:40 | CB09-TR1 | WHT | 20 | 80 | XT0900:109 | BACK PNL
AF0047:08 | CB09-TR2 | WHT | 20 | 80 | XT0900:110 | BACK PNL
AF0045:41 | CB10-CL1 | WHT | 20 | 80 | XT0900:120 | BACK PNL
AF0045:09 | CB10-CL2 | WHT | 20 | 80 | XT0900:121 | BACK PNL
AF0043:41 | CB10-OP1 | WHT | 20 | 80 | XT0900:118 | BACK PNL
AF0043:09 | CB10-OP2 | WHT | 20 | 80 | XT0900:119 | BACK PNL
AF0047:41 | CB10-TR1 | WHT | 20 | 80 | XT0900:122 | BACK PNL
AF0047:09 | CB10-TR2 | WHT | 20 | 80 | XT0900:123 | BACK PNL
AF0062:34 | KWCB011 | WHT | 20 | 80 | XT0900:7 | BACK PNL
AF0062:02 | KWCB012 | WHT | 20 | 80 | XT0900:8 | BACK PNL
AF0062:50 | KWCB01S | WHT | 20 | 80 | XT0900:9 | BACK PNL
AF0062:36 | KWCB021 | WHT | 20 | 80 | XT0900:20 | BACK PNL
AF0062:04 | KWCB022 | WHT | 20 | 80 | XT0900:21 | BACK PNL
AF0062:52 | KWCB02S | WHT | 20 | 80 | XT0900:22 | BACK PNL
AF0062:38 | KWCB031 | WHT | 20 | 80 | XT0900:33 | BACK PNL
AF0062:06 | KWCB032 | WHT | 20 | 80 | XT0900:34 | BACK PNL
AF0062:54 | KWCB03S | WHT | 20 | 80 | XT0900:35 | BACK PNL
AF0062:40 | KWCB041 | WHT | 20 | 80 | XT0900:46 | BACK PNL
AF0062:08 | KWCB042 | WHT | 20 | 80 | XT0900:47 | BACK PNL
AF0062:56 | KWCB04S | WHT | 20 | 80 | XT0900:48 | BACK PNL
AF0062:42 | KWCB051 | WHT | 20 | 80 | XT0900:59 | BACK PNL
AF0062:10 | KWCB052 | WHT | 20 | 80 | XT0900:60 | BACK PNL
AF0062:58 | KWCB05S | WHT | 20 | 80 | XT0900:61 | BACK PNL
AF0062:44 | KWCB061 | WHT | 20 | 80 | XT0900:72 | BACK PNL
AF0062:12 | KWCB062 | WHT | 20 | 80 | XT0900:73 | BACK PNL
AF0062:60 | KWCB06S | WHT | 20 | 80 | XT0900:74 | BACK PNL
AF0062:46 | KWCB071 | WHT | 20 | 80 | XT0900:85 | BACK PNL
AF0062:14 | KWCB072 | WHT | 20 | 80 | XT0900:86 | BACK PNL
AF0062:62 | KWCB07S | WHT | 20 | 80 | XT0900:87 | BACK PNL
AF0063:32 | KWCB081 | WHT | 20 | 80 | XT0900:98 | BACK PNL
AF0063:00 | KWCB082 | WHT | 20 | 80 | XT0900:99 | BACK PNL
AF0063:48 | KWCB08S | WHT | 20 | 80 | XT0900:100 | BACK PNL
AF0063:34 | KWCB091 | WHT | 20 | 80 | XT0900:111 | BACK PNL
AF0063:02 | KWCB092 | WHT | 20 | 80 | XT0900:112 | BACK PNL
AF0063:50 | KWCB09S | WHT | 20 | 80 | XT0900:113 | BACK PNL
AF0063:36 | KWCB101 | WHT | 20 | 80 | XT0900:124 | BACK PNL
AF0063:04 | KWCB102 | WHT | 20 | 80 | XT0900:125 | BACK PNL
AF0063:52 | KWCB10S | WHT | 20 | 80 | XT0900:126 | BACK PNL
AF0061:03 | -0V | WHT | 14 | 60 | XT0018:1 | BACK PNL
AF0061:07 | -0V | WHT | 14 | 60 | XT0018:1 | BACK PNL
AU0040:COM | -0V | WHT | 14 | 60 | XT0135:2 | BACK PNL
AU0050:COM | -0V | WHT | 14 | 60 | XT0135:3 | BACK PNL
AU0060:COM | -0V | WHT | 14 | 160 | XT0135:2 | BACK PNL
AF0061:01 | -0V | WHT | 14 | 60 | XT0017:1 | BACK PNL
AF0061:05 | -0V | WHT | 14 | 60 | XT0017:1 | BACK PNL
AU0040:V+ | FU0040 | WHT | 14 | 120 | FU0040:LD | BACK PNL
AU0050:V+ | FU0050 | WHT | 14 | 60 | FU0050:LD | BACK PNL
AU0060:V+ | FU0060 | WHT | 14 | 60 | FU0060:LD | BACK PNL
XT0262:5 | -0V | WHT | 20 | 120 | XT0018:1 | BACK PNL | FU/XT
XT0017:1 | -0V | WHT | 14 | 120 | XT0262:5 | BACK PNL
XT0134:1 | -0V | WHT | 14 | 120 | XT0016:3 | BACK PNL
XT0134:1 | -0V | WHT | 14 | 60 | XT0135:1 | BACK PNL
XT0134:2 | -0V | WHT | 14 | 60 | XT0260:1 | BACK PNL
FU0040:LI | FU0137 | WHT | 14 | 160 | XT0139:2 | BACK PNL
FU0050:LI | FU0137 | WHT | 14 | 60 | XT0139:3 | BACK PNL
FU0060:LI | FU0137 | WHT | 14 | 80 | XT0139:2 | BACK PNL
FU0138:LI | FU0137 | WHT | 14 | 60 | XT0139:6 | BACK PNL
FU0190:LI | FU0260 | WHT | 14 | 60 | XT0261:3 | BACK PNL
FU0260:LD | FU0260 | WHT | 14 | 60 | XT0261:1 | BACK PNL
XT0014:3 | -0V | WHT | 12 | 60 | XT0015:3 | BACK PNL
XT0260:1 | -0V | WHT | 12 | 60 | XT0262:1 | BACK PNL
FU0260:LI | FU0136 | WHT | 12 | 60 | XT0138:2 | BACK PNL
XT0014:1 | FU0136 | WHT | 12 | 60 | XT0015:1 | BACK PNL
FU0137:LD | FU0137 | WHT | 12 | 60 | XT0139:1 | BACK PNL
FU9700:LD | FU9700 | RED | 12R | 80 | XT09702AC:1 | BACK PNL | FU/XT RED
XT09702AC:1 | FU9700 | RED | 12R | 60 | XT09704AC:1 | BACK PNL
XT09702AC:2 | H09700L1 | RED | 12R | 60 | XT09701AC:1 | BACK PNL
XT09702AC:2 | H09700L1 | RED | 12R | 60 | XT09704AC:2 | BACK PNL
FU9701:LD | H09700L2 | RED | 12R | 80 | XT09701AC:4 | BACK PNL
FU9700:LI | H0970L1 | RED | 12R | 80 | XT0970AC:1 | BACK PNL
FU9701:LI | H0970L2 | RED | 12R | 80 | XT0970AC:2 | BACK PNL
QS0011:LI-4 | -525NEG | RED | 12R | 60 | XT0011:2 | BACK PNL | QS RED
QS0011:LI-2 | -525POS | RED | 12R | 60 | XT0011:1 | BACK PNL
QS0011:LD-3 | UJ0131N | RED | 12R | 60 | UJ0131:- | BACK PNL
QS0011:LD-1 | UJ0131P | RED | 12R | 60 | UJ0131:+ | BACK PNL
QS0012:LD-3 | UJ0231N | RED | 12R | 60 | UJ0231:- | BACK PNL
QS0012:LD-1 | UJ0231P | RED | 12R | 60 | UJ0231:+ | BACK PNL
QS0012:LI-2 | -526POS | WHT | 12 | 60 | XT0012:1 | BACK PNL | QS
QS0012:LI-4 | -526NEG | WHT | 12 | 60 | XT0012:2 | BACK PNL
XT0135:1 | -0V | WHT | 14 | 200 | UV0600:(-) | R/S PNL | XT-R/S
XT0135:1 | -0V | WHT | 14 | 200 | XT0681:1 | R/S PNL
XT0135:4 | -0V | WHT | 14 | 200 | XT0102:1 | R/S PNL
XT0135:5 | -0V | WHT | 14 | 200 | UV0700:(-) | R/S PNL
XT0135:5 | -0V | WHT | 14 | 200 | UV0800:(-) | R/S PNL
XT0139:1 | FU0137 | WHT | 14 | 200 | FU0600:LI | R/S PNL
XT0139:1 | FU0137 | WHT | 14 | 200 | XT0680:1 | R/S PNL
XT0139:4 | FU0137 | WHT | 14 | 200 | XT0101:1 | R/S PNL
XT0139:5 | FU0137 | WHT | 14 | 200 | FU0700:LI | R/S PNL
XT0139:5 | FU0137 | WHT | 14 | 200 | FU0800:LI | R/S PNL

## RIGHT SIDE PANEL_S
RIGHT SIDE PANEL
STATION CONSOLE
Project # | J1848
Project Name | Woodside Goodwyn LSP
Revision | B.2
Controls DE | B.HALBIG
Phone:
Controls ME | N. CARPENTER
Phone:
From | [5 empty] | To
Device ID | Wire No. | Wire ID | Gauge/Size | Length | Device ID | Location | Bundle Name
UV0600:(+) | FU0600 | WHT | 14 | 80 | FU0600:LD | R/S PNL | UV
UV0700:(+) | FU0700 | WHT | 14 | 80 | FU0700:LD | R/S PNL
UV0800:(+) | FU0800 | WHT | 14 | 60 | FU0800:LD | R/S PNL
BA0606DH+:+ | FU0606DH+ | WHT | 20 | 60 | FU0606DH+:LD | R/S PNL | BA0606DH+
BA0606DH+:- | -0V | WHT | 14 | 60 | XT0102:2 | R/S PNL
BA0680:POS | FU0681 | WHT | 20 | 60 | FU0681:LD | R/S PNL | BA0680
BA0680:NEG | -0V | WHT | 14 | 60 | XT0681:2 | R/S PNL
BA0606:- | -0V | WHT | 16 | 60 | XT0102:1 | R/S PNL | BA0606
BA0606:+ | FU0606 | WHT | 16 | 60 | FU0606:LD | R/S PNL
AT0680:NEG | -0V | WHT | 14 | 60 | XT0681:1 | R/S PNL | AT0680
AT0680:POS | FU0680 | WHT | 14 | 60 | FU0680:LD | R/S PNL
FU0606:LI | FU0137 | WHT | 14 | 60 | XT0101:1 | R/S PNL | FU
FU0606DH+:LI | FU0137 | WHT | 14 | 60 | XT0101:2 | R/S PNL
FU0681:LI | FU0137 | WHT | 14 | 60 | XT0680:2 | R/S PNL
FU0680:LI | FU0137 | WHT | 14 | 60 | XT0680:1 | R/S PNL

## Bundle Tag Info
WOODSIDE GOODWYNN #1
J1848
Rev. B.2M1
CONSOLE | SCS | L/S PNL | BACK PNL | R/S PNL
AT-BACK | SB0400 | AU/AF | UJ | UV
| SB0403 | KA A1 | AU/AF | BA0606DH+
| SA0500 | KA A2 | FU/XT | BA0680
| SB0402 | KA | FU/XT RED | BA0606
| SB0401 | FU/XT | QS RED | AT0680
| SH0418 | KA-BACK | QS | FU
| AU/AF | XT-BACK | XT-R/S
AU/AF-BACK
FU/XT-BACK

## Bundle Tags2
CONSOLE | SCS | L/S PNL | BACK PNL | R/S PNL | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 CONSOLE AT-BACK | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SB0400 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL AU/AF | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL UJ | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL UV | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SB0403 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL KA A1 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL AU/AF | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL BA0606DH+ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SA0500 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL KA A2 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL FU/XT | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL BA0680 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SB0402 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL KA | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL FU/XT RED | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL BA0606 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SB0401 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL FU/XT | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL QS RED | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL AT0680 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SH0418 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL KA-BACK | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL QS | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL FU | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS AU/AF | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL XT-BACK | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL XT-R/S |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS AU/AF-BACK |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS FU/XT-BACK |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## ALL
CONSOLE | SCS | L/S PNL | BACK PNL | R/S PNL | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 CONSOLE AT-BACK | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SB0400 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL AU/AF | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL UJ | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL UV | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SB0403 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL KA A1 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL AU/AF | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL BA0606DH+ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SA0500 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL KA A2 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL FU/XT | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL BA0680 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SB0402 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL KA | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL FU/XT RED | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL BA0606 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SB0401 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL FU/XT | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL QS RED | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL AT0680 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS SH0418 | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL KA-BACK | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL QS | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 R/S PNL FU | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS AU/AF | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 L/S PNL XT-BACK | WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 BACK PNL XT-R/S |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS AU/AF-BACK |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| WOODSIDE GOODWYNN #1 J1848 Rev. B.2M1 SCS FU/XT-BACK |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!