## Blue Labels
(SHT 1) CONSOLE | (SHT 2) CONSOLE | (SHT 3) SCS | (SHT 4) LEFT SIDE PANEL | (SHT 5) BACK PANEL
EL0273 | AT0191 | HL1753 | XT0095 | AR0600
HA0273 | AT0190K | HL1733 | XT0273 | AP0606
ZS0273 | AT0190 | HL1593 | FU0273 | AP0605
FG0130 |  | HL1143 | FU0090 | AP0604
|  | HL1773 | FU0091 | AP0602
|  | HL1751 | XT0090 | AP0601
|  | HL1731 | AU0090 | AT0600
|  | HL1591 | AF0091 | UV0600
|  | HL1141 | GR0134 | AP0603
|  | HL1771 | FU0023 | XT0085
|  | AU0020 | FU0024 | FU0060
|  | GR0120 | FU0260 | AU0060
|  | SB1283 | FU0020 | AF0061
|  | SB1293 | FU0190 | AF0062
|  | SB1113 | XT0261 | AF0063
|  | SB1263 | XT0262 | AF0064
|  | SB1273 | KA0091 | GR0110
|  | SB0403 | KA0092 | FU0040
|  | SB1281 | KA0093 | AU0040
|  | SB1291 | KA0094 | AF0041
|  | SB1111 | KA0102 | AF0042
|  | SB1261 | KA0103 | AF0043
|  | SB1271 | KA0191 | AF0044
|  | HL1754 | KA0192 | AF0045
|  | HL1734 | KA0193 | AF0046
|  | HL1594 | KA0194 | GR0111
|  | HL1144 | KA0195 | AT0680
|  | HL1774 | KA0196 | FU0680
|  | SB0401 | KA0197 | XT0680
|  | HL1752 | KA0198 | FU1215
|  | HL1732 | XT249 | FU0010
|  | HL1592 | XT250 | FU0138
|  | HL1142 | GR0133 | XT0138
|  | HL1772 | IEG0130 | XT0139
|  | SB1284 |  | XT0134
|  | SB1294 |  | XT0135
|  | SB1114 |  | FU0137
|  | SB1264 |  | FU0136
|  | SB1274 |  | XT0260
|  | SB1282 |  | FU0387
|  | SB1292 |  | XT0087
|  | SB1112 |  | GR0131
|  | SB1262 |  | QS0011
|  | SB1272 |  | XT0011
|  | SB0402 |  | GR0132
|  | SH0418 |  | BA1215
|  | SB0400 |  | UJ0131
|  | SA0500 |  | PEG0130
AF0021
AF0022
XT0137
GR0121

## White Labels
(SHT 5) BACK PANEL | (SHT 5) BACK PANEL - (SHT 4) LEFT SIDE PANEL | (SHT 4) LEFT SIDE PANEL | (SHT 4) LEFT SIDE PANEL - (SHT 3) SCS
AF0061G | GR0110 | GR0134 | GR0120
AF0062G | GR0111 | IEG01308 | GR0121
AF0063G | GR0131 |  | IEG01304
AF0064G | IEG01301
UV0600G | IEG013013
IEG01307

## BACK PANEL
BACK PANEL
ASSY,BACK PANEL,CONSOLE
Project # | 4L228
Project Name | WQ1 6th additional generator
Revision | A.2M2
Controls DE | Keith Nyberg
Phone:
Controls ME | Dennis Figueroa
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
XT0134:1 | JC | 0V | CLIP | --- | 4.C3 | XT0134:2 | BACK PANEL | 4.C3
XT0134:2 | JC | 0V | CLIP | --- | 4.C3 | XT0134:3 | BACK PANEL | 4.C3
XT0135:1 | JC | 0V | CLIP | --- | 4.C4 | XT0135:2 | BACK PANEL | 4.C4
XT0135:2 | JC | 0V | CLIP | --- | 4.C4 | XT0135:3 | BACK PANEL | 4.C4
XT0135:3 | JC | 0V | CLIP | --- | 4.C4 | XT0135:4 | BACK PANEL | 4.C4
XT0135:4 | JC | 0V | CLIP | --- | 4.C4 | XT0135:5 | BACK PANEL | 4.D4
XT0135:5 | JC | 0V | CLIP | --- | 4.D4 | XT0135:6 | BACK PANEL | 4.D4
XT0138:1 | JC | FU0136 | CLIP | --- | 4.A3 | XT0138:2 | BACK PANEL | 4.A3
XT0138:2 | JC | FU0136 | CLIP | --- | 4.A3 | XT0138:3 | BACK PANEL | 4.B3
XT0139:1 | JC | FU0137 | CLIP | --- | 4.A4 | XT0139:2 | BACK PANEL | 4.A4
XT0139:2 | JC | FU0137 | CLIP | --- | 4.A4 | XT0139:3 | BACK PANEL | 4.B4
XT0139:3 | JC | FU0137 | CLIP | --- | 4.B4 | XT0139:4 | BACK PANEL | 4.B4
XT0139:4 | JC | FU0137 | CLIP | --- | 4.B4 | XT0139:5 | BACK PANEL | 4.B4
XT0139:5 | JC | FU0137 | CLIP | --- | 4.B4 | XT0139:6 | BACK PANEL | 4.B4
AF0041:10 | SC | 004110 | WHT | 20 | 13.B7 | UJ0131:OK2 | BACK PANEL | 13.B5
AF0041:42 | SC | 004142 | WHT | 20 | 13.B7 | UJ0131:OK1 | BACK PANEL | 13.B5
AF0041:COM | SC | AF0041N | WHT | 20 | 10.B2 | AF0042:COM | BACK PANEL | 10.B3
AF0041:COM | SC | AU0040N | WHT | 20 | 10.B2 | AU0040:COM | BACK PANEL | 10.A2
AF0041:V+ | SC | AF0041P | WHT | 20 | 10.B2 | AF0042:V+ | BACK PANEL | 10.B3
AF0041:V+ | SC | AU0040P | WHT | 20 | 10.B2 | AU0040:V+ | BACK PANEL | 10.A2
AF0042:COM | SC | AF0042N | WHT | 20 | 10.B3 | AF0043:COM | BACK PANEL | 10.B4
AF0042:V+ | SC | AF0042P | WHT | 20 | 10.B3 | AF0043:V+ | BACK PANEL | 10.B4
AF0043:COM | SC | AF0043N | WHT | 20 | 10.B4 | AF0044:COM | BACK PANEL | 10.B4
AF0043:V+ | SC | AF0043P | WHT | 20 | 10.B4 | AF0044:V+ | BACK PANEL | 10.B4
AF0044:14 | SC | JMP2 | RED | 16 | 29.A6 | AF0044:46 | BACK PANEL | 29.A6
AF0044:15 | SC | JMP1 | RED | 16 | 29.B6 | AF0044:47 | BACK PANEL | 29.B6
AF0044:COM | SC | AF0044N | WHT | 20 | 10.B4 | AF0045:COM | BACK PANEL | 10.B5
AF0044:V+ | SC | AF0044P | WHT | 20 | 10.B4 | AF0045:V+ | BACK PANEL | 10.B5
AF0045:COM | SC | AF0045N | WHT | 20 | 10.B5 | AF0046:COM | BACK PANEL | 10.B5
AF0045:V+ | SC | AF0045P | WHT | 20 | 10.B5 | AF0046:V+ | BACK PANEL | 10.B5
AF0061:04 | SC | 006104 | WHT | 20 | 13.A7 | UJ0131:VIN | BACK PANEL | 13.B5
AF0061:06 | SC | 006106 | WHT | 20 | 13.B7 | UJ0131:IOUT | BACK PANEL | 13.B5
AF0061:COM | SC | AF0061N | WHT | 20 | 11.B2 | AF0062:COM | BACK PANEL | 11.B3
AF0061:COM | SC | AU0060N | WHT | 20 | 11.B2 | AU0060:COM | BACK PANEL | 11.A2
AF0061:SH | SC | AF0062G | GRN | 14 | 11.B2 | AF0062:SH | BACK PANEL | 11.B3
AF0061:SH | SC | AF0061G | GRN | 14 | 11.B2 | AU0060:GND | BACK PANEL | 11.A2
AF0061:V+ | SC | AF0061P | WHT | 20 | 11.B2 | AF0062:V+ | BACK PANEL | 11.B3
AF0061:V+ | SC | AU0060P | WHT | 20 | 11.B2 | AU0060:V+ | BACK PANEL | 11.A2
AF0062:01 | SC | 006200 | WHT | 20 | 13.D6 | XT0087:2 | BACK PANEL | 13.D5
AF0062:17 | SC | 0V | WHT | 20 | 13.D6 | XT0087:3 | BACK PANEL | 13.D5
AF0062:COM | SC | AF0062N | WHT | 20 | 11.B3 | AF0063:COM | BACK PANEL | 11.B3
AF0062:SH | SC | AF0063G | GRN | 14 | 11.B3 | AF0063:SH | BACK PANEL | 11.B3
AF0062:V+ | SC | AF0062P | WHT | 20 | 11.B3 | AF0063:V+ | BACK PANEL | 11.B3
AF0063:COM | SC | AF0063N | WHT | 20 | 11.B3 | AF0064:COM | BACK PANEL | 11.B4
AF0063:SH | SC | AF0064G | GRN | 14 | 11.B3 | AF0064:SH | BACK PANEL | 11.B4
AF0063:V+ | SC | AF0063P | WHT | 20 | 11.B3 | AF0064:V+ | BACK PANEL | 11.B4
AR0600:IE1 | SC | UV0600G | GRN | 14 | 8.A1 | UV0600:GND | BACK PANEL | 8.B2
AT0680:NEG | SC | 0V | WHT | 20 | 6.A4 | XT0680:2 | BACK PANEL | 6.A3
AT0680:POS | SC | AT0680POS | WHT | 14 | 6.A4 | XT0680:1 | BACK PANEL | 6.A3
AU0040:COM | SC | 0V | WHT | 20 | 10.A2 | XT0135:2 | BACK PANEL | 4.C4
AU0040:V+ | SC | FU0040 | WHT | 14 | 10.A2 | FU0040:LD | BACK PANEL | 10.B1
AU0060:COM | SC | 0V | WHT | 20 | 11.A2 | XT0135:2 | BACK PANEL | 4.C4
AU0060:V+ | SC | FU0060 | WHT | 14 | 11.A2 | FU0060:LD | BACK PANEL | 11.B1
BA1215:- | SC | 0V | WHT | 20 | 6.C4 | XT0135:1 | BACK PANEL | 4.C4
BA1215:+ | SC | FU1215 | WHT | 14 | 6.C4 | FU1215:LD | BACK PANEL | 6.D2
FU0010:LD | SC | FU0010 | WHT | 14 | 4.A5 | UV0600:(+) | BACK PANEL | 8.B2
FU0010:LI | SC | FU0137 | WHT | 14 | 4.A5 | XT0139:1 | BACK PANEL | 4.A4
FU0040:LI | SC | FU0137 | WHT | 14 | 10.B1 | XT0139:2 | BACK PANEL | 4.A4
FU0060:LI | SC | FU0137 | WHT | 14 | 11.B1 | XT0139:2 | BACK PANEL | 4.A4
FU0136:LD | SC | FU0136 | WHT | 10 | 13.C5 | XT0138:1 | BACK PANEL | 4.A3
FU0136:LI | SC | 24V | WHT | 10 | 13.C5 | UJ0131:OUT(+) | BACK PANEL | 13.B5
FU0137:LD | SC | FU0137 | WHT | 12 | 4.A4 | XT0139:1 | BACK PANEL | 4.A4
FU0137:LI | SC | FU0136 | WHT | 10 | 4.A4 | XT0138:1 | BACK PANEL | 4.A3
FU0138:LI | SC | FU0137 | WHT | 14 | 4.B5 | XT0139:6 | BACK PANEL | 4.B4
FU0387:LD | SC | FU0387 | WHT | 16 | 5.B5 | XT0087:1 | BACK PANEL | 13.D5
FU0680:LD | SC | AT0680POS | WHT | 14 | 6.A2 | XT0680:1 | BACK PANEL | 6.A3
FU0680:LI | SC | FU0137 | WHT | 14 | 6.A2 | XT0139:1 | BACK PANEL | 4.A4
FU1215:LI | SC | FU0137 | WHT | 14 | 6.D2 | XT0139:1 | BACK PANEL | 4.A4
GR0132: | SC | GR0132 | GRN/YEL | 14 | 3.B6 | FRAME | BACK PANEL | 3.B7
QS0011:LD-1 | SC | UJ0131P | WHT | 12 | 13.B4 | UJ0131:+ | BACK PANEL | 13.B5
QS0011:LD-3 | SC | UJ0131N | WHT | 12 | 13.B4 | UJ0131:- | BACK PANEL | 13.B5
QS0011:LI-2 | SC | 525POS | WHT | 12 | 13.B4 | XT0011:1 | BACK PANEL | 13.B3
QS0011:LI-4 | SC | 525NEG | WHT | 12 | 13.B4 | XT0011:2 | BACK PANEL | 13.B3
RR0811: -3.01K OHM | SC | FU0387 | LEAD | --- | 13.D5 | XT0087:1 | BACK PANEL | 13.D5
RR0811: -3.01K OHM | SC | 006200 | LEAD | --- | 13.D5 | XT0087:2 | BACK PANEL | 13.D5
RR0812: -1.0K OHM | SC | 0V | LEAD | --- | 13.D5 | XT0087:3 | BACK PANEL | 13.D5
RR0812: -1.0K OHM | SC | 006200 | LEAD | --- | 13.D5 | XT0087:2 | BACK PANEL | 13.D5
UJ0131:G | SC | UJ0131G | GRN/YEL | 12 | 13.B5 | FRAME | BACK PANEL | 13.B4
UJ0131:OUT(-) | SC | 0V | WHT | 20 | 13.B5 | XT0134:1 | BACK PANEL | 4.C3
UV0600:(-) | SC | 0V | WHT | 14 | 8.B2 | XT0135:1 | BACK PANEL | 4.C4
XT0134:1 | SC | 0V | WHT | 20 | 4.C3 | XT0135:1 | BACK PANEL | 4.C4
XT0134:2 | SC | 0V | WHT | 20 | 4.C3 | XT0260:1 | BACK PANEL | 5.C3
XT0680:2 | SC | 0V | WHT | 14 | 6.A3 | XT0135:1 | BACK PANEL | 4.C4
AU0040:L2 | WC0004 | AU0040L2 | ENET | CABLE | 10.A2 | AU0060:L1 | BACK PANEL | 11.A2
AP0601:L1 | WC0680 | AT0680LAN1 | ENET | CABLE | 8.A3 | AT0680:LAN1 | BACK PANEL | 6.A4
AT0680:LAN2 | WC0681 | AT0680LAN2 | ENET | CABLE | 6.A4 | BA1215:1 | BACK PANEL | 6.C4
BA1215:2 | WC0060 | BA12152 | ENET | CABLE | 6.C4 | AT0190:ENET2 | CONSOLE | 14.B4
AF0061:05 | SC | 0V | WHT | 20 | 13.A7 | XT0262:4 | LEFT SIDE PANEL | 5.C4
AF0061:07 | SC | 0V | WHT | 20 | 13.B7 | XT0262:4 | LEFT SIDE PANEL | 5.C4
AF0064:SH | SC | IEG013013 | GRN | 14 | 11.B4 | IEG0130:13 | LEFT SIDE PANEL | 11.B5
AR0600:IE2 | SC | IEG01301 | GRN | 12 | 8.A1 | IEG0130:1 | LEFT SIDE PANEL | 8.B6
AU0040:GND | SC | IEG01307 | GRN | 14 | 10.A2 | IEG0130:7 | LEFT SIDE PANEL | 10.B2
FU0387:LI | SC | FU0260 | WHT | 14 | 5.B5 | XT0261:4 | LEFT SIDE PANEL | 5.B4
GR0110: | SC | GR0110 | GRN | 14 | 3.A6 | IEG0130:5 | LEFT SIDE PANEL | 3.A7
GR0111: | SC | GR0111 | GRN | 14 | 3.A6 | IEG0130:6 | LEFT SIDE PANEL | 3.A7
GR0131: | SC | GR0131 | GRN | 14 | 3.B6 | IEG0130:14 | LEFT SIDE PANEL | 3.B7
XT0087:3 | SC | 0V | WHT | 16 | 13.D5 | XT0262:4 | LEFT SIDE PANEL | 5.C4
XT0135:3 | SC | 0V | WHT | 20 | 4.C4 | KA0091:A2 | LEFT SIDE PANEL | 20.A5
XT0135:4 | SC | 0V | WHT | 14 | 4.C4 | XT0095:2 | LEFT SIDE PANEL | 12.B6
XT0135:6 | SC | 0V | WHT | 20 | 4.D4 | XT0273:1 | LEFT SIDE PANEL | 4.D2
XT0138:2 | SC | FU0136 | WHT | 12 | 4.A3 | FU0260:LI | LEFT SIDE PANEL | 5.A3
XT0139:4 | SC | FU0137 | WHT | 14 | 4.B4 | XT0095:1 | LEFT SIDE PANEL | 12.B6
XT0139:6 | SC | FU0137 | WHT | 14 | 4.B4 | FU0273:LI | LEFT SIDE PANEL | 4.B5
XT0260:1 | SC | 0V | WHT | 20 | 5.C3 | XT0262:1 | LEFT SIDE PANEL | 5.C4
AU0060:L2 | WC0006 | AU0060L2 | ENET | CABLE | 11.A2 | AU0090:L1 | LEFT SIDE PANEL | 12.B2
AP0602:L1 | WC0009 | AP0602L1 | ENET | CABLE | 8.A4 | AU0090:L2 | LEFT SIDE PANEL | 12.B2
AF0041:15 | SC | SB0400B112 | WHT | 20 | 15.C3 | SB0400:B1-12 | SCS | 15.C1
AF0041:47 | SC | SB0400B111 | WHT | 20 | 15.C3 | SB0400:B1-11 | SCS | 15.C1
FU0138:LD | SC | FU0138 | WHT | 16 | 4.B5 | XT0137:1 | SCS | 15.C2
AP0602:L2 | WC0001 | AP0602L2 | ENET | CABLE | 8.A4 | AU0020:L1 | SCS | 9.C2
AU0040:L1 | WC0002 | AU0020L2 | ENET | CABLE | 10.A2 | AU0020:L2 | SCS | 9.C2
Report date: 4/10/2026 7:26 AM |  |  |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)

## CONSOLE
CONSOLE
ASSEMBLY CONSOLE & CONSOLE DOORS ONE BAY
Project # | 4L228
Project Name | WQ1 6th additional generator
Revision | A.2M2
Controls DE | Keith Nyberg
Phone:
Controls ME | Dennis Figueroa
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
AT0190:DVI | SC | AT0190D | CABLE | DVI | 14.B4 | AT0191:DVI | CONSOLE | 14.A3
AT0190:GND | SC | AT0190G | GRN/YEL | 14 | 14.B4 | FRAME | CONSOLE | 14.C3
AT0190:USB2 | SC | AT0190U | CABLE | USB | 14.B4 | AT0191:USB | CONSOLE | 14.A3
AT0190:USB4 | SC | AT0190K | CABLE | USB | 14.B4 | AT0190K:KI | CONSOLE | 14.B5
AT0191:GND | SC | AT0191G | GRN/YEL | 14 | 14.A3 | FRAME | CONSOLE | 14.B3
EL0273:B1 | SC | ZS0273 | WHT | 14 | 4.D3 | ZS0273:2 | CONSOLE | 4.D2
AT0190:ENET2 | WC0060 | BA12152 | ENET | CABLE | 14.B4 | BA1215:2 | BACK PANEL | 6.C4
AT0190:NEG | SC | 0V | WHT | 20 | 14.B4 | XT0262:3 | LEFT SIDE PANEL | 5.C4
AT0190:POS | SC | FU0190 | WHT | 14 | 14.B4 | FU0190:LD | LEFT SIDE PANEL | 5.B5
AT0191:NEG | SC | 0V | WHT | 20 | 14.A3 | XT0262:3 | LEFT SIDE PANEL | 5.C4
AT0191:POS | SC | FU0190 | WHT | 14 | 14.A3 | FU0190:LD | LEFT SIDE PANEL | 5.B5
EL0273:W1 | SC | 0V | WHT | 14 | 4.D3 | XT0273:1 | LEFT SIDE PANEL | 4.D2
ZS0273:1 | SC | FU0273 | WHT | 14 | 4.D2 | FU0273:LD | LEFT SIDE PANEL | 4.B5
HA0273:(+) | WC5540 | HA0273P | BLK | 16 | 15.A5 | AF0022:05 | SCS | 15.A6
HA0273:(-) | WC5540 | HA0273N | WHT | 16 | 15.A5 | AF0022:37 | SCS | 15.A6
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 4/10/2026 7:26 AM

## LEFT SIDE PANEL
LEFT SIDE PANEL
ASSY,LEFT SIDE PANEL,CONSOLE
Project # | 4L228
Project Name | WQ1 6th additional generator
Revision | A.2M2
Controls DE | Keith Nyberg
Phone:
Controls ME | Dennis Figueroa
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
XT0090:3 | JC | 0V | CLIP | --- | 12.A5 | XT0090:2 | LEFT SIDE PANEL | 12.B5
XT0090:4 | JC | 0V | CLIP | --- | 12.A5 | XT0090:3 | LEFT SIDE PANEL | 12.A5
XT0090:5 | JC | 0V | CLIP | --- | 12.A5 | XT0090:4 | LEFT SIDE PANEL | 12.A5
XT0090:6 | JC | 0V | CLIP | --- | 12.A5 | XT0090:5 | LEFT SIDE PANEL | 12.A5
XT0261:1 | JC | FU0260 | CLIP | --- | 5.A4 | XT0261:2 | LEFT SIDE PANEL | 5.A4
XT0261:2 | JC | FU0260 | CLIP | --- | 5.A4 | XT0261:3 | LEFT SIDE PANEL | 5.B4
XT0261:3 | JC | FU0260 | CLIP | --- | 5.B4 | XT0261:4 | LEFT SIDE PANEL | 5.B4
XT0262:1 | JC | 0V | CLIP | --- | 5.C4 | XT0262:2 | LEFT SIDE PANEL | 5.C4
XT0262:2 | JC | 0V | CLIP | --- | 5.C4 | XT0262:3 | LEFT SIDE PANEL | 5.C4
XT0262:3 | JC | 0V | CLIP | --- | 5.C4 | XT0262:4 | LEFT SIDE PANEL | 5.C4
AF0091:01 | SC | KA0198A1 | WHT | 20 | 28.B7 | KA0198:A1 | LEFT SIDE PANEL | 28.C6
AF0091:02 | SC | KA0197A1 | WHT | 20 | 28.C7 | KA0197:A1 | LEFT SIDE PANEL | 28.C6
AF0091:05 | SC | KA0195A1 | WHT | 20 | 28.D7 | KA0195:A1 | LEFT SIDE PANEL | 28.D6
AF0091:06 | SC | KA0196A1 | WHT | 20 | 28.D7 | KA0196:A1 | LEFT SIDE PANEL | 28.D6
AF0091:14 | SC | 009114 | WHT | 20 | 31.A6 | KA0102:A1 | LEFT SIDE PANEL | 31.A6
AF0091:15 | SC | 009115 | WHT | 20 | 31.B6 | KA0103:A1 | LEFT SIDE PANEL | 31.B6
AF0091:17 | SC | KA0198A2 | WHT | 20 | 28.B7 | KA0198:A2 | LEFT SIDE PANEL | 28.C6
AF0091:18 | SC | KA0197A2 | WHT | 20 | 28.C7 | KA0197:A2 | LEFT SIDE PANEL | 28.C6
AF0091:21 | SC | KA0195A2 | WHT | 20 | 28.D7 | KA0195:A2 | LEFT SIDE PANEL | 28.D6
AF0091:22 | SC | KA0196A2 | WHT | 20 | 28.D7 | KA0196:A2 | LEFT SIDE PANEL | 28.D6
AF0091:30 | SC | 009130 | WHT | 20 | 31.A6 | KA0102:A2 | LEFT SIDE PANEL | 31.A6
AF0091:31 | SC | 009131 | WHT | 20 | 31.B6 | KA0103:A2 | LEFT SIDE PANEL | 31.B6
AF0091:COM | SC | 0V | WHT | 20 | 12.C3 | XT0090:3 | LEFT SIDE PANEL | 12.A5
AF0091:V+ | SC | FU0091 | WHT | 14 | 12.C3 | FU0091:LD | LEFT SIDE PANEL | 12.C2
AU0090:COM | SC | 0V | WHT | 20 | 12.B2 | XT0090:2 | LEFT SIDE PANEL | 12.B5
AU0090:GND | SC | IEG01308 | GRN | 14 | 12.B2 | IEG0130:8 | LEFT SIDE PANEL | 12.C2
AU0090:V+ | SC | FU0090 | WHT | 14 | 12.B2 | FU0090:LD | LEFT SIDE PANEL | 12.C2
FU0020:LI | SC | FU0260 | WHT | 14 | 9.C1 | XT0261:2 | LEFT SIDE PANEL | 5.A4
FU0023:LI | SC | FU0260 | WHT | 14 | 9.D1 | XT0261:1 | LEFT SIDE PANEL | 5.A4
FU0090:LI | SC | FU0137 | WHT | 14 | 12.C2 | XT0090:1 | LEFT SIDE PANEL | 12.B5
FU0090:LI | SC | FU0137 | WHT | 14 | 12.C2 | FU0091:LI | LEFT SIDE PANEL | 12.C2
FU0190:LI | SC | FU0260 | WHT | 14 | 5.B5 | XT0261:3 | LEFT SIDE PANEL | 5.B4
FU0260:LD | SC | FU0260 | WHT | 14 | 5.A3 | XT0261:1 | LEFT SIDE PANEL | 5.A4
GR0133: | SC | GR0133 | GRN/YEL | 14 | 3.B6 | FRAME | LEFT SIDE PANEL | 3.B7
GR0134: | SC | GR0134 | GRN | 14 | 3.C6 | IEG0130:9 | LEFT SIDE PANEL | 3.C7
KA0091:A1 | SC | SB0400B212 | WHT | 20 | 20.A5 | KA0092:A1 | LEFT SIDE PANEL | 20.B5
KA0091:A2 | SC | 0V | WHT | 20 | 20.A5 | KA0092:A2 | LEFT SIDE PANEL | 20.B5
KA0092:A1 | SC | SB0400B212 | WHT | 20 | 20.B5 | KA0093:A1 | LEFT SIDE PANEL | 20.B5
KA0092:A2 | SC | 0V | WHT | 20 | 20.B5 | KA0093:A2 | LEFT SIDE PANEL | 20.B5
KA0093:A1 | SC | SB0400B212 | WHT | 20 | 20.B5 | KA0094:A1 | LEFT SIDE PANEL | 20.B5
KA0093:A2 | SC | 0V | WHT | 20 | 20.B5 | KA0094:A2 | LEFT SIDE PANEL | 20.B5
KA0094:A1 | SC | SB0400B212 | WHT | 20 | 20.B5 | KA0191:A1 | LEFT SIDE PANEL | 21.A5
KA0094:A2 | SC | 0V | WHT | 20 | 20.B5 | KA0191:A2 | LEFT SIDE PANEL | 21.A5
KA0191:A1 | SC | SB0400B212 | WHT | 20 | 21.A5 | KA0192:A1 | LEFT SIDE PANEL | 21.A5
KA0191:A2 | SC | 0V | WHT | 20 | 21.A5 | KA0192:A2 | LEFT SIDE PANEL | 21.A5
KA0192:A1 | SC | SB0400B212 | WHT | 20 | 21.A5 | KA0193:A1 | LEFT SIDE PANEL | 21.A5
KA0192:A2 | SC | 0V | WHT | 20 | 21.A5 | KA0193:A2 | LEFT SIDE PANEL | 21.A5
KA0193:A1 | SC | SB0400B212 | WHT | 20 | 21.A5 | KA0194:A1 | LEFT SIDE PANEL | 21.B5
KA0193:A2 | SC | 0V | WHT | 20 | 21.A5 | KA0194:A2 | LEFT SIDE PANEL | 21.B5
KA0195:11 | SC | KA019511 | WHT | 20 | 28.D5 | XT250:1 | LEFT SIDE PANEL | 28.D5
KA0195:14 | SC | KA019514 | WHT | 20 | 28.D5 | XT250:2 | LEFT SIDE PANEL | 28.D5
KA0196:11 | SC | KA019611 | WHT | 20 | 28.D5 | XT250:3 | LEFT SIDE PANEL | 28.D5
KA0196:14 | SC | KA019614 | WHT | 20 | 28.D5 | XT250:4 | LEFT SIDE PANEL | 28.D5
KA0197:11 | SC | KA019711 | WHT | 20 | 28.C5 | XT249:3 | LEFT SIDE PANEL | 28.C5
KA0197:14 | SC | KA019714 | WHT | 20 | 28.C5 | XT249:4 | LEFT SIDE PANEL | 28.C5
KA0198:11 | SC | KA019811 | WHT | 20 | 28.C5 | XT249:1 | LEFT SIDE PANEL | 28.C5
KA0198:14 | SC | KA019814 | WHT | 20 | 28.C5 | XT249:2 | LEFT SIDE PANEL | 28.C5
XT0090:1 | SC | FU0137 | WHT | 14 | 12.B5 | XT0095:1 | LEFT SIDE PANEL | 12.B6
XT0090:2 | SC | 0V | WHT | 14 | 12.B5 | XT0095:2 | LEFT SIDE PANEL | 12.B6
FU0260:LI | SC | FU0136 | WHT | 12 | 5.A3 | XT0138:2 | BACK PANEL | 4.A3
FU0273:LI | SC | FU0137 | WHT | 14 | 4.B5 | XT0139:6 | BACK PANEL | 4.B4
IEG0130:1 | SC | IEG01301 | GRN | 12 | 8.B6 | AR0600:IE2 | BACK PANEL | 8.A1
IEG0130:13 | SC | IEG013013 | GRN | 14 | 11.B5 | AF0064:SH | BACK PANEL | 11.B4
IEG0130:14 | SC | GR0131 | GRN | 14 | 3.B7 | GR0131: | BACK PANEL | 3.B6
IEG0130:5 | SC | GR0110 | GRN | 14 | 3.A7 | GR0110: | BACK PANEL | 3.A6
IEG0130:6 | SC | GR0111 | GRN | 14 | 3.A7 | GR0111: | BACK PANEL | 3.A6
IEG0130:7 | SC | IEG01307 | GRN | 14 | 10.B2 | AU0040:GND | BACK PANEL | 10.A2
KA0091:A2 | SC | 0V | WHT | 20 | 20.A5 | XT0135:3 | BACK PANEL | 4.C4
XT0095:1 | SC | FU0137 | WHT | 14 | 12.B6 | XT0139:4 | BACK PANEL | 4.B4
XT0095:2 | SC | 0V | WHT | 14 | 12.B6 | XT0135:4 | BACK PANEL | 4.C4
XT0261:4 | SC | FU0260 | WHT | 14 | 5.B4 | FU0387:LI | BACK PANEL | 5.B5
XT0262:1 | SC | 0V | WHT | 20 | 5.C4 | XT0260:1 | BACK PANEL | 5.C3
XT0262:4 | SC | 0V | WHT | 16 | 5.C4 | XT0087:3 | BACK PANEL | 13.D5
XT0262:4 | SC | 0V | WHT | 20 | 5.C4 | AF0061:07 | BACK PANEL | 13.B7
XT0262:4 | SC | 0V | WHT | 20 | 5.C4 | AF0061:05 | BACK PANEL | 13.A7
XT0273:1 | SC | 0V | WHT | 20 | 4.D2 | XT0135:6 | BACK PANEL | 4.D4
AU0090:L1 | WC0006 | AU0060L2 | ENET | CABLE | 12.B2 | AU0060:L2 | BACK PANEL | 11.A2
AU0090:L2 | WC0009 | AP0602L1 | ENET | CABLE | 12.B2 | AP0602:L1 | BACK PANEL | 8.A4
FU0190:LD | SC | FU0190 | WHT | 14 | 5.B5 | AT0190:POS | CONSOLE | 14.B4
FU0190:LD | SC | FU0190 | WHT | 14 | 5.B5 | AT0191:POS | CONSOLE | 14.A3
FU0273:LD | SC | FU0273 | WHT | 14 | 4.B5 | ZS0273:1 | CONSOLE | 4.D2
XT0262:3 | SC | 0V | WHT | 20 | 5.C4 | AT0190:NEG | CONSOLE | 14.B4
XT0262:3 | SC | 0V | WHT | 20 | 5.C4 | AT0191:NEG | CONSOLE | 14.A3
XT0273:1 | SC | 0V | WHT | 14 | 4.D2 | EL0273:W1 | CONSOLE | 4.D3
FU0020:LD | SC | FU0020 | WHT | 14 | 9.C1 | AU0020:V+ | SCS | 9.C2
FU0023:LD | SC | FU0023 | WHT | 14 | 9.D1 | AF0022:V+ | SCS | 9.C3
IEG0130:2 | SC | GR0120 | GRN | 14 | 3.A7 | GR0120: | SCS | 3.A6
IEG0130:3 | SC | GR0121 | GRN | 14 | 3.B7 | GR0121: | SCS | 3.B6
IEG0130:4 | SC | IEG01304 | GRN | 14 | 9.D2 | AU0020:GND | SCS | 9.C2
KA0091:11 | SC | KA009111 | WHT | 20 | 20.B5 | XT0137:7 | SCS | 20.B3
KA0091:14 | SC | KA009114 | WHT | 20 | 20.B5 | XT0137:8 | SCS | 20.B3
KA0091:A1 | SC | SB0400B212 | WHT | 20 | 20.A5 | XT0137:2 | SCS | 15.C2
KA0191:11 | SC | KA019111 | WHT | 20 | 20.C5 | XT0137:9 | SCS | 20.C3
KA0191:14 | SC | KA019114 | WHT | 20 | 20.C5 | XT0137:10 | SCS | 20.C3
XT0262:1 | SC | 0V | WHT | 20 | 5.C4 | AF0022:COM | SCS | 9.C3
XT0262:2 | SC | 0V | WHT | 20 | 5.C4 | AU0020:COM | SCS | 9.C2
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 4/10/2026 7:26 AM

## SCS
SCS
ASSEMBLY,SCS PANEL
Project # | 4L228
Project Name | WQ1 6th additional generator
Revision | A.2M2
Controls DE | Keith Nyberg
Phone:
Controls ME | Dennis Figueroa
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
AF0021:00 | SC | SB1261NO | WHT | 20 | 16.A7 | SB1261:NO | SCS | 16.A4
AF0021:01 | SC | SB1271NO | WHT | 20 | 16.B7 | SB1271:NO | SCS | 16.B4
AF0021:02 | SC | SB1111NO | WHT | 20 | 16.B7 | SB1111:NO | SCS | 16.B4
AF0021:03 | SC | SB1281NO | WHT | 20 | 16.C7 | SB1281:NO | SCS | 16.C4
AF0021:04 | SC | SB1291NO | WHT | 20 | 16.D7 | SB1291:NO | SCS | 16.D4
AF0021:05 | SC | SB0402NO | WHT | 20 | 15.B3 | SB0402:NO | SCS | 15.B2
AF0021:06 | SC | SA050012 | WHT | 20 | 15.A3 | SA0500:12 | SCS | 15.A2
AF0021:07 | SC | SA050014 | WHT | 20 | 15.A3 | SA0500:14 | SCS | 15.A2
AF0021:08 | SC | SH0418NO | WHT | 20 | 15.A6 | SH0418:NO | SCS | 15.A5
AF0021:09 | SC | SB1262NO | WHT | 20 | 17.A7 | SB1262:NO | SCS | 17.A4
AF0021:10 | SC | SB1272NO | WHT | 20 | 17.B7 | SB1272:NO | SCS | 17.B4
AF0021:11 | SC | SB1112NO | WHT | 20 | 17.B7 | SB1112:NO | SCS | 17.B4
AF0021:12 | SC | SB1282NO | WHT | 20 | 17.C7 | SB1282:NO | SCS | 17.C4
AF0021:13 | SC | SB1292NO | WHT | 20 | 17.D7 | SB1292:NO | SCS | 17.D4
AF0021:14 | SC | SB1263NO | WHT | 20 | 18.A7 | SB1263:NO | SCS | 18.A4
AF0021:15 | SC | SB0403B114 | WHT | 20 | 15.B3 | SB0403:B1-14 | SCS | 15.B2
AF0021:16 | SC | SB0401NO | WHT | 20 | 15.B6 | SB0401:C | SCS | 15.B5
AF0021:17 | SC | SB1273NO | WHT | 20 | 18.B7 | SB1273:NO | SCS | 18.B4
AF0021:18 | SC | SB1113NO | WHT | 20 | 18.B7 | SB1113:NO | SCS | 18.B4
AF0021:19 | SC | SB1283NO | WHT | 20 | 18.C7 | SB1283:NO | SCS | 18.C4
AF0021:20 | SC | SB1293NO | WHT | 20 | 18.D7 | SB1293:NO | SCS | 18.D4
AF0021:21 | SC | SB1264NO | WHT | 20 | 19.A7 | SB1264:NO | SCS | 19.A4
AF0021:22 | SC | SB1274NO | WHT | 20 | 19.B7 | SB1274:NO | SCS | 19.B4
AF0021:23 | SC | SB1114NO | WHT | 20 | 19.B7 | SB1114:NO | SCS | 19.B4
AF0021:24 | SC | SB1284NO | WHT | 20 | 19.C7 | SB1284:NO | SCS | 19.C4
AF0021:25 | SC | SB1294NO | WHT | 20 | 19.D7 | SB1294:NO | SCS | 19.D4
AF0021:32 | SC | SB1261C | WHT | 20 | 16.A7 | SB1261:C | SCS | 16.A4
AF0021:33 | SC | SB1271C | WHT | 20 | 16.B7 | SB1271:C | SCS | 16.B4
AF0021:34 | SC | SB1111C | WHT | 20 | 16.B7 | SB1111:C | SCS | 16.B4
AF0021:35 | SC | SB1281C | WHT | 20 | 16.C7 | SB1281:C | SCS | 16.C4
AF0021:36 | SC | SB1291C | WHT | 20 | 16.D7 | SB1291:C | SCS | 16.D4
AF0021:37 | SC | SB0402C | WHT | 20 | 15.B3 | SB0402:C | SCS | 15.B2
AF0021:38 | SC | SA050011 | WHT | 20 | 15.A3 | SA0500:11 | SCS | 15.A2
AF0021:39 | SC | SA050013 | WHT | 20 | 15.A3 | SA0500:13 | SCS | 15.A2
AF0021:40 | SC | SH0418C | WHT | 20 | 15.A6 | SH0418:C | SCS | 15.A5
AF0021:41 | SC | SB1262C | WHT | 20 | 17.A7 | SB1262:C | SCS | 17.A4
AF0021:42 | SC | SB1272C | WHT | 20 | 17.B7 | SB1272:C | SCS | 17.B4
AF0021:43 | SC | SB1112C | WHT | 20 | 17.B7 | SB1112:C | SCS | 17.B4
AF0021:44 | SC | SB1282C | WHT | 20 | 17.C7 | SB1282:C | SCS | 17.C4
AF0021:45 | SC | SB1292C | WHT | 20 | 17.D7 | SB1292:C | SCS | 17.D4
AF0021:46 | SC | SB1263C | WHT | 20 | 18.A7 | SB1263:C | SCS | 18.A4
AF0021:47 | SC | SB0403B113 | WHT | 20 | 15.B3 | SB0403:B1-13 | SCS | 15.B2
AF0021:48 | SC | SB0401C | WHT | 20 | 15.B6 | SB0401:NC | SCS | 15.B5
AF0021:49 | SC | SB1273C | WHT | 20 | 18.B7 | SB1273:C | SCS | 18.B4
AF0021:50 | SC | SB1113C | WHT | 20 | 18.B7 | SB1113:C | SCS | 18.B4
AF0021:51 | SC | SB1283C | WHT | 20 | 18.C7 | SB1283:C | SCS | 18.C4
AF0021:52 | SC | SB1293C | WHT | 20 | 18.D7 | SB1293:C | SCS | 18.D4
AF0021:53 | SC | SB1264C | WHT | 20 | 19.A7 | SB1264:C | SCS | 19.A4
AF0021:54 | SC | SB1274C | WHT | 20 | 19.B7 | SB1274:C | SCS | 19.B4
AF0021:55 | SC | SB1114C | WHT | 20 | 19.B7 | SB1114:C | SCS | 19.B4
AF0021:56 | SC | SB1284C | WHT | 20 | 19.C7 | SB1284:C | SCS | 19.C4
AF0021:57 | SC | SB1294C | WHT | 20 | 19.D7 | SB1294:C | SCS | 19.D4
AF0021:COM | SC | AF0021N | WHT | 16 | 9.C2 | AU0020:COM | SCS | 9.C2
AF0021:J | SC | * |  |  | 9.C2 | AF0022:P | SCS | 9.C3
AF0021:V+ | SC | AF0021P | WHT | 16 | 9.C2 | AU0020:V+ | SCS | 9.C2
AF0022:00 | SC | HL1771AP | WHT | 20 | 16.A3 | HL1771:A+ | SCS | 16.A1
AF0022:01 | SC | HL1141AP | WHT | 20 | 16.B3 | HL1141:A+ | SCS | 16.B1
AF0022:02 | SC | HL1591AP | WHT | 20 | 16.B3 | HL1591:A+ | SCS | 16.B1
AF0022:03 | SC | HL1731AP | WHT | 20 | 16.C3 | HL1731:A+ | SCS | 16.C1
AF0022:04 | SC | HL1751AP | WHT | 20 | 16.D3 | HL1751:A+ | SCS | 16.D1
AF0022:06 | SC | HL1772AP | WHT | 20 | 17.A3 | HL1772:A+ | SCS | 17.A1
AF0022:07 | SC | HL1142AP | WHT | 20 | 17.B3 | HL1142:A+ | SCS | 17.B1
AF0022:08 | SC | HL1592AP | WHT | 20 | 17.B3 | HL1592:A+ | SCS | 17.B1
AF0022:09 | SC | HL1732AP | WHT | 20 | 17.C3 | HL1732:A+ | SCS | 17.C1
AF0022:10 | SC | HL1752AP | WHT | 20 | 17.D3 | HL1752:A+ | SCS | 17.D1
AF0022:11 | SC | SH0418AP | WHT | 20 | 15.C6 | SH0418:A+ | SCS | 15.C5
AF0022:12 | SC | HL1773AP | WHT | 20 | 18.A3 | HL1773:A+ | SCS | 18.A1
AF0022:13 | SC | HL1143AP | WHT | 20 | 18.B3 | HL1143:A+ | SCS | 18.B1
AF0022:14 | SC | HL1593AP | WHT | 20 | 18.B3 | HL1593:A+ | SCS | 18.B1
AF0022:15 | SC | HL1733AP | WHT | 20 | 18.C3 | HL1733:A+ | SCS | 18.C1
AF0022:16 | SC | HL1753AP | WHT | 20 | 18.D3 | HL1753:A+ | SCS | 18.D1
AF0022:17 | SC | HL1774AP | WHT | 20 | 19.A3 | HL1774:A+ | SCS | 19.A1
AF0022:18 | SC | HL1144AP | WHT | 20 | 19.B3 | HL1144:A+ | SCS | 19.B1
AF0022:19 | SC | HL1594AP | WHT | 20 | 19.B3 | HL1594:A+ | SCS | 19.B1
AF0022:20 | SC | SH0418BP | WHT | 20 | 15.C6 | SH0418:B+ | SCS | 15.C5
AF0022:21 | SC | HL1734AP | WHT | 20 | 19.C3 | HL1734:A+ | SCS | 19.C1
AF0022:22 | SC | HL1754AP | WHT | 20 | 19.D3 | HL1754:A+ | SCS | 19.D1
AF0022:32 | SC | HL1771A | WHT | 20 | 16.A3 | HL1771:A | SCS | 16.A1
AF0022:33 | SC | HL1141A | WHT | 20 | 16.B3 | HL1141:A | SCS | 16.B1
AF0022:34 | SC | HL1591A | WHT | 20 | 16.B3 | HL1591:A | SCS | 16.B1
AF0022:35 | SC | HL1731A | WHT | 20 | 16.C3 | HL1731:A | SCS | 16.C1
AF0022:36 | SC | HL1751A | WHT | 20 | 16.D3 | HL1751:A | SCS | 16.D1
AF0022:38 | SC | HL1772A | WHT | 20 | 17.A3 | HL1772:A | SCS | 17.A1
AF0022:39 | SC | HL1142A | WHT | 20 | 17.B3 | HL1142:A | SCS | 17.B1
AF0022:40 | SC | HL1592A | WHT | 20 | 17.B3 | HL1592:A | SCS | 17.B1
AF0022:41 | SC | HL1732A | WHT | 20 | 17.C3 | HL1732:A | SCS | 17.C1
AF0022:42 | SC | HL1752A | WHT | 20 | 17.D3 | HL1752:A | SCS | 17.D1
AF0022:43 | SC | SH0418A | WHT | 20 | 15.C6 | SH0418:A | SCS | 15.C5
AF0022:44 | SC | HL1773A | WHT | 20 | 18.A3 | HL1773:A | SCS | 18.A1
AF0022:45 | SC | HL1143A | WHT | 20 | 18.B3 | HL1143:A | SCS | 18.B1
AF0022:46 | SC | HL1593A | WHT | 20 | 18.B3 | HL1593:A | SCS | 18.B1
AF0022:47 | SC | HL1733A | WHT | 20 | 18.C3 | HL1733:A | SCS | 18.C1
AF0022:48 | SC | HL1753A | WHT | 20 | 18.D3 | HL1753:A | SCS | 18.D1
AF0022:49 | SC | HL1774A | WHT | 20 | 19.A3 | HL1774:A | SCS | 19.A1
AF0022:50 | SC | HL1144A | WHT | 20 | 19.B3 | HL1144:A | SCS | 19.B1
AF0022:51 | SC | HL1594A | WHT | 20 | 19.B3 | HL1594:A | SCS | 19.B1
AF0022:52 | SC | SH0418B | WHT | 20 | 15.C6 | SH0418:B | SCS | 15.C5
AF0022:53 | SC | HL1734A | WHT | 20 | 19.C3 | HL1734:A | SCS | 19.C1
AF0022:54 | SC | HL1754A | WHT | 20 | 19.D3 | HL1754:A | SCS | 19.D1
HL1141:A | SC | HL1141A | WHT | 20 | 16.B1 | HL1141:B | SCS | 16.B1
HL1141:A+ | SC | HL1141AP | WHT | 20 | 16.B1 | HL1141:B+ | SCS | 16.B1
HL1142:A | SC | HL1142A | WHT | 20 | 17.B1 | HL1142:B | SCS | 17.B1
HL1142:A+ | SC | HL1142AP | WHT | 20 | 17.B1 | HL1142:B+ | SCS | 17.B1
HL1143:A | SC | HL1143A | WHT | 20 | 18.B1 | HL1143:B | SCS | 18.B1
HL1143:A+ | SC | HL1143AP | WHT | 20 | 18.B1 | HL1143:B+ | SCS | 18.B1
HL1144:A | SC | HL1144A | WHT | 20 | 19.B1 | HL1144:B | SCS | 19.B1
HL1144:A+ | SC | HL1144AP | WHT | 20 | 19.B1 | HL1144:B+ | SCS | 19.B1
HL1591:A | SC | HL1591A | WHT | 20 | 16.B1 | HL1591:B | SCS | 16.B1
HL1591:A+ | SC | HL1591AP | WHT | 20 | 16.B1 | HL1591:B+ | SCS | 16.B1
HL1592:A | SC | HL1592A | WHT | 20 | 17.B1 | HL1592:B | SCS | 17.B1
HL1592:A+ | SC | HL1592AP | WHT | 20 | 17.B1 | HL1592:B+ | SCS | 17.B1
HL1593:A | SC | HL1593A | WHT | 20 | 18.B1 | HL1593:B | SCS | 18.B1
HL1593:A+ | SC | HL1593AP | WHT | 20 | 18.B1 | HL1593:B+ | SCS | 18.B1
HL1594:A | SC | HL1594A | WHT | 20 | 19.B1 | HL1594:B | SCS | 19.B1
HL1594:A+ | SC | HL1594AP | WHT | 20 | 19.B1 | HL1594:B+ | SCS | 19.B1
HL1731:A | SC | HL1731A | WHT | 20 | 16.C1 | HL1731:B | SCS | 16.C1
HL1731:A+ | SC | HL1731AP | WHT | 20 | 16.C1 | HL1731:B+ | SCS | 16.C1
HL1732:A | SC | HL1732A | WHT | 20 | 17.C1 | HL1732:B | SCS | 17.C1
HL1732:A+ | SC | HL1732AP | WHT | 20 | 17.C1 | HL1732:B+ | SCS | 17.C1
HL1733:A | SC | HL1733A | WHT | 20 | 18.C1 | HL1733:B | SCS | 18.C1
HL1733:A+ | SC | HL1733AP | WHT | 20 | 18.C1 | HL1733:B+ | SCS | 18.C1
HL1734:A | SC | HL1734A | WHT | 20 | 19.C1 | HL1734:B | SCS | 19.C1
HL1734:A+ | SC | HL1734AP | WHT | 20 | 19.C1 | HL1734:B+ | SCS | 19.C1
HL1751:A | SC | HL1751A | WHT | 20 | 16.D1 | HL1751:B | SCS | 16.D1
HL1751:A+ | SC | HL1751AP | WHT | 20 | 16.D1 | HL1751:B+ | SCS | 16.D1
HL1752:A | SC | HL1752A | WHT | 20 | 17.D1 | HL1752:B | SCS | 17.D1
HL1752:A+ | SC | HL1752AP | WHT | 20 | 17.D1 | HL1752:B+ | SCS | 17.D1
HL1753:A | SC | HL1753A | WHT | 20 | 18.D1 | HL1753:B | SCS | 18.D1
HL1753:A+ | SC | HL1753AP | WHT | 20 | 18.D1 | HL1753:B+ | SCS | 18.D1
HL1754:A | SC | HL1754A | WHT | 20 | 19.D1 | HL1754:B | SCS | 19.D1
HL1754:A+ | SC | HL1754AP | WHT | 20 | 19.D1 | HL1754:B+ | SCS | 19.D1
HL1771:A | SC | HL1771A | WHT | 20 | 16.A1 | HL1771:B | SCS | 16.A1
HL1771:A+ | SC | HL1771AP | WHT | 20 | 16.A1 | HL1771:B+ | SCS | 16.A1
HL1772:A | SC | HL1772A | WHT | 20 | 17.A1 | HL1772:B | SCS | 17.A1
HL1772:A+ | SC | HL1772AP | WHT | 20 | 17.A1 | HL1772:B+ | SCS | 17.A1
HL1773:A | SC | HL1773A | WHT | 20 | 18.A1 | HL1773:B | SCS | 18.A1
HL1773:A+ | SC | HL1773AP | WHT | 20 | 18.A1 | HL1773:B+ | SCS | 18.A1
HL1774:A | SC | HL1774A | WHT | 20 | 19.A1 | HL1774:B | SCS | 19.A1
HL1774:A+ | SC | HL1774AP | WHT | 20 | 19.A1 | HL1774:B+ | SCS | 19.A1
SB0400:B2-11 | SC | FU0138 | WHT | 16 | 15.C1 | XT0137:1 | SCS | 15.C2
SB0400:B2-12 | SC | SB0400B212 | WHT | 20 | 15.C1 | XT0137:2 | SCS | 15.C2
SB0403:B2-13 | SC | SB0403B213 | WHT | 20 | 15.B5 | XT0137:5 | SCS | 15.B6
SB0403:B2-14 | SC | SB0403B214 | WHT | 20 | 15.B5 | XT0137:6 | SCS | 15.B6
SB0400:B1-11 | SC | SB0400B111 | WHT | 20 | 15.C1 | AF0041:47 | BACK PANEL | 15.C3
SB0400:B1-12 | SC | SB0400B112 | WHT | 20 | 15.C1 | AF0041:15 | BACK PANEL | 15.C3
XT0137:1 | SC | FU0138 | WHT | 16 | 15.C2 | FU0138:LD | BACK PANEL | 4.B5
AU0020:L1 | WC0001 | AP0602L2 | ENET | CABLE | 9.C2 | AP0602:L2 | BACK PANEL | 8.A4
AU0020:L2 | WC0002 | AU0020L2 | ENET | CABLE | 9.C2 | AU0040:L1 | BACK PANEL | 10.A2
AF0022:05 | WC5540 | HA0273P | BLK | 16 | 15.A6 | HA0273:(+) | CONSOLE | 15.A5
AF0022:37 | WC5540 | HA0273N | WHT | 16 | 15.A6 | HA0273:(-) | CONSOLE | 15.A5
AF0022:COM | SC | 0V | WHT | 20 | 9.C3 | XT0262:1 | LEFT SIDE PANEL | 5.C4
AF0022:V+ | SC | FU0023 | WHT | 14 | 9.C3 | FU0023:LD | LEFT SIDE PANEL | 9.D1
AU0020:COM | SC | 0V | WHT | 20 | 9.C2 | XT0262:2 | LEFT SIDE PANEL | 5.C4
AU0020:GND | SC | IEG01304 | GRN | 14 | 9.C2 | IEG0130:4 | LEFT SIDE PANEL | 9.D2
AU0020:V+ | SC | FU0020 | WHT | 14 | 9.C2 | FU0020:LD | LEFT SIDE PANEL | 9.C1
GR0120: | SC | GR0120 | GRN | 14 | 3.A6 | IEG0130:2 | LEFT SIDE PANEL | 3.A7
GR0121: | SC | GR0121 | GRN | 14 | 3.B6 | IEG0130:3 | LEFT SIDE PANEL | 3.B7
XT0137:10 | SC | KA019114 | WHT | 20 | 20.C3 | KA0191:14 | LEFT SIDE PANEL | 20.C5
XT0137:2 | SC | SB0400B212 | WHT | 20 | 15.C2 | KA0091:A1 | LEFT SIDE PANEL | 20.A5
XT0137:7 | SC | KA009111 | WHT | 20 | 20.B3 | KA0091:11 | LEFT SIDE PANEL | 20.B5
XT0137:8 | SC | KA009114 | WHT | 20 | 20.B3 | KA0091:14 | LEFT SIDE PANEL | 20.B5
XT0137:9 | SC | KA019111 | WHT | 20 | 20.C3 | KA0191:11 | LEFT SIDE PANEL | 20.C5
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 4/10/2026 7:26 AM

## Panel Errors
Panel Errors
Project # | 4L228
Project Name | WQ1 6th additional generator
Revision | A.2M2
Controls DE | Keith Nyberg
Phone:
Controls ME | Dennis Figueroa
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
AF0201:SHLD | PANEL | SC | WHT | AF0201V+L | 14 | 9.D5 | AF0201:V+L | PANEL | 9.D5
AF0202:COML | PANEL | SC | WHT | AF0202COM-L | 14 | 9.D6 | AF0202:SHLD | PANEL | 9.D6
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 4/10/2026 7:26 AM

## Cable Part Numbers
Cable Part Numbers |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | 4L228
Report date: 4/10/2026 7:27 AM
Project Name | WQ1 6th additional generator
Revision | A.2M2
Controls DE | Keith Nyberg
Phone:
Controls ME | Dennis Figueroa
Phone:
Device ID |  | Part Number |  | Description
WC0001 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0002 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0004 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0006 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0009 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0060 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0680 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0681 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC5540 |  | PART OF 1113568-200 |  | CABLE, 2 CONDUCTOR TRIMMED SHIELD PART OF HORN

## Part Number List
Part Number List |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | 4L228
Report date: 4/10/2026 7:27 AM
Project Name | WQ1 6th additional generator
Revision | A.2M2
Controls DE | Keith Nyberg
Phone:
Controls ME | Dennis Figueroa
Phone:
Device ID | Part Number | Description | Location
AF0041 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PANEL
AF0042 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PANEL
AF0043 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PANEL
AF0044 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PANEL
AF0045 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PANEL
AF0046 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | BACK PANEL
AF0061 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | BACK PANEL
AF0062 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BACK PANEL
AF0063 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BACK PANEL
AF0064 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | BACK PANEL
AP0601 | 1089241-40 | 1756-EN2TRXT, ETHERNET | BACK PANEL
AP0602 | 1089241-40 | 1756-EN2TRXT, ETHERNET | BACK PANEL
AP0603 | 1089241-40 | 1756-EN2TRXT, ETHERNET | BACK PANEL
AP0604 | 1089241-15 | MVI 56-MNETXT, ETHERNET/MODBUS | BACK PANEL
AP0605 | 1089241-20 | MODULE, BLANK FILLER | BACK PANEL
AP0606 | 1089241-20 | MODULE, BLANK FILLER | BACK PANEL
AR0600 | 1089241-29 | RACK CHASSIS, 1756-A7XT (7 SLOT) | BACK PANEL
AT0600 | 1089241-43 | 1756-L83EXTS, CONTROLLER^GUARDLOGIX | BACK PANEL
AT0680 | 1634974-100 | GATEWAY MODULE, TURBOTRONIC GATEWAY | BACK PANEL
AU0040 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | BACK PANEL
AU0060 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | BACK PANEL
BA1215 | 1116671-4 | SWITCH, ETHERNET, AB STRATIX 2000 | BACK PANEL
FU0010 | 1043265-5 | FUSE, 10A | BACK PANEL
FU0040 | 1043265-5 | FUSE, 10A | BACK PANEL
FU0060 | 1043265-5 | FUSE, 10A | BACK PANEL
FU0136 | 1043265-1,1043265-9 | FUSE, 30A | BACK PANEL
FU0137 | 1043265-7 | FUSE, 20A | BACK PANEL
FU0138 | 1043265-3 | FUSE, 2A | BACK PANEL
FU0387 | 1043265-1,1043265-4 | FUSE, 5A | BACK PANEL
FU0680 | 1043265-4 | FUSE, 5A | BACK PANEL
FU1215 | 1043265-3 | FUSE, 2A | BACK PANEL
GR0110 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BACK PANEL
GR0111 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BACK PANEL
GR0131 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BACK PANEL
GR0132 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | BACK PANEL
PEG0130 | 232941-110 | BUS BAR, ONE-BAY CONSOLE | BACK PANEL
QS0011 | 1047316 | CIRCUIT BREAKER, DOUBLE POLE - RAIL MOUNTABLE | BACK PANEL
RR0811 | 981090C1 | RESISTOR, 3.01K OHM | BACK PANEL
RR0812 | 981089C1 | RESISTOR, 1.0K OHM | BACK PANEL
UJ0131 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | BACK PANEL
UV0600 | 1046415-57 | POWER SUPPLY, RSLOGIX CHASSIS | BACK PANEL
XT0011 | 1066730-16 | TERMINAL STRIP, 2 CONDUCTOR | BACK PANEL
XT0087 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | BACK PANEL
XT0134 | 1066730-16 | TERMINAL STRIP, 2 CONDUCTOR | BACK PANEL
XT0135 | [4]1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | BACK PANEL
XT0138 | 1066730-16 | TERMINAL STRIP, 2 CONDUCTOR | BACK PANEL
XT0139 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | BACK PANEL
XT0260 | 1066730-16 | TERMINAL STRIP, 2 CONDUCTOR | BACK PANEL
XT0680 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | BACK PANEL
AT0190 | 1577354-5900 | WORKSTATION, VISUAL INTERFACE | CONSOLE
AT0190K | 1068334 | KEYBOARD, TYPING INTERFACE | CONSOLE
AT0191 | 1084352-4030 | MONITOR, VISUAL INTERFACE | CONSOLE
EL0273 | 1022899 | LIGHT, LED, WHITE | CONSOLE
HA0273 | 1113568-200 | HORN, ACOUSTIC DEVICE | CONSOLE
ZS0273 | 1015596 | LIMIT SWITCH, CONSOLE DOOR | CONSOLE
AF0091 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | LEFT SIDE PANEL
AU0090 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | LEFT SIDE PANEL
FU0020 | 1043265-5 | FUSE, 10A | LEFT SIDE PANEL
FU0023 | 1043265-5 | FUSE, 10A | LEFT SIDE PANEL
FU0090 | 1043265-5 | FUSE, 10A | LEFT SIDE PANEL
FU0091 | 1043265-5 | FUSE, 10A | LEFT SIDE PANEL
FU0190 | 1043265-5 | FUSE, 10A | LEFT SIDE PANEL
FU0260 | 1043265-7 | FUSE, 20A | LEFT SIDE PANEL
FU0273 | 1043265-3 | FUSE, 2A | LEFT SIDE PANEL
GR0133 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LEFT SIDE PANEL
GR0134 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | LEFT SIDE PANEL
IEG0130 | 232941-300 | BUS BAR, ONE-BAY CONSOLE | LEFT SIDE PANEL
KA0091 | 1061979-1 | RELAY, EMERGENCY STOP A | LEFT SIDE PANEL
KA0092 | 1061979-1 | RELAY, EMERGENCY STOP A | LEFT SIDE PANEL
KA0093 | 1061979-1 | RELAY, EMERGENCY STOP A | LEFT SIDE PANEL
KA0094 | 1061979-1 | RELAY, EMERGENCY STOP A | LEFT SIDE PANEL
KA0102 | 1061979-1 | RELAY, TRANSFORMER FEEDER CLOSING CMD | LEFT SIDE PANEL
KA0103 | 1061979-1 | RELAY, TRANSFORMER FEEDER OPENING CMD | LEFT SIDE PANEL
KA0191 | 1061979-1 | RELAY, EMERGENCY STOP B | LEFT SIDE PANEL
KA0192 | 1061979-1 | RELAY, EMERGENCY STOP B | LEFT SIDE PANEL
KA0193 | 1061979-1 | RELAY, EMERGENCY STOP B | LEFT SIDE PANEL
KA0194 | 1061979-1 | RELAY, EMERGENCY STOP B | LEFT SIDE PANEL
KA0195 | 1061979-1 | RELAY | LEFT SIDE PANEL
KA0196 | 1061979-1 | RELAY | LEFT SIDE PANEL
KA0197 | 1061979-1 | RELAY | LEFT SIDE PANEL
KA0198 | 1061979-1 | RELAY | LEFT SIDE PANEL
XT0090 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LEFT SIDE PANEL
XT0095 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LEFT SIDE PANEL
XT0261 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LEFT SIDE PANEL
XT0262 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LEFT SIDE PANEL
XT0273 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LEFT SIDE PANEL
XT249 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LEFT SIDE PANEL
XT250 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | LEFT SIDE PANEL
AF0201 | 2684693-48,2684693-51 | 5094-IB32XT, 32 DISCRETE INPUT | PANEL
AF0202 | 2684693-49,2684693-52 | 5094-OB32XT, 32 DISCRETE OUTPUT | PANEL
CCUNIT1 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, MULTI UNIT DISPLAY^TURBOTRONIC GATEWAY UNIT1 | PANEL
AF0021 | 2684693-48,2684693-51 | 5094-IB32XT, 32 DISCRETE INPUT | SCS
AF0022 | 2684693-49,2684693-57 | 5094-OB32XT, 32 DISCRETE OUTPUT | SCS
AU0020 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | SCS
GR0120 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | SCS
GR0121 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | SCS
HL1141 | 964903C1 | LIGHT, STARTING, WHITE | SCS
HL1142 | 964903C1 | LIGHT, STARTING, WHITE | SCS
HL1143 | 964903C1 | LIGHT, STARTING, WHITE | SCS
HL1144 | 964903C1 | LIGHT, STARTING, WHITE | SCS
HL1591 | 964903C1 | LIGHT, ON LOAD, WHITE | SCS
HL1592 | 964903C1 | LIGHT, ON LOAD, WHITE | SCS
HL1593 | 964903C1 | LIGHT, ON LOAD, WHITE | SCS
HL1594 | 964903C1 | LIGHT, ON LOAD, WHITE | SCS
HL1731 | 964903C1 | LIGHT, ALARM SUMMARY, AMBER | SCS
HL1732 | 964903C1 | LIGHT, ALARM SUMMARY, AMBER | SCS
HL1733 | 964903C1 | LIGHT, ALARM SUMMARY, AMBER | SCS
HL1734 | 964903C1 | LIGHT, ALARM SUMMARY, AMBER | SCS
HL1751 | 964903C1 | LIGHT, SHUTDOWN SUMMARY, RED | SCS
HL1752 | 964903C1 | LIGHT, SHUTDOWN SUMMARY, RED | SCS
HL1753 | 964903C1 | LIGHT, SHUTDOWN SUMMARY, RED | SCS
HL1754 | 964903C1 | LIGHT, SHUTDOWN SUMMARY, RED | SCS
HL1771 | 964903C1 | LIGHT, READY, GREEN | SCS
HL1772 | 964903C1 | LIGHT, READY, GREEN | SCS
HL1773 | 964903C1 | LIGHT, READY, GREEN | SCS
HL1774 | 964903C1 | LIGHT, READY, GREEN | SCS
SA0500 | 2380746-5 | SELECTOR SWITCH, OFF/LOCAL/CUSTOMER | SCS
SB0400 | 2380746-4 | PUSHBUTTON SWITCH, EMERGENCY STOP | SCS
SB0401 | 1035040-15 | PUSHBUTTON SWITCH, HORN SILENCE | SCS
SB0402 | 1035040-12 | SWITCH, ACKNOWLEDGE | SCS
SB0403 | 2380746-13 | PUSHBUTTON SWITCH, RESET | SCS
SB1111 | 964901C1 | PUSHBUTTON SWITCH, UNIT #1 NORMAL STOP | SCS
SB1112 | 964901C1 | PUSHBUTTON SWITCH, SPARE NORMAL STOP | SCS
SB1113 | 964901C1 | PUSHBUTTON SWITCH, SPARE NORMAL STOP | SCS
SB1114 | 964901C1 | PUSHBUTTON SWITCH, SPARE NORMAL STOP | SCS
SB1261 | 964901C1 | PUSHBUTTON SWITCH, UNIT #1 SPEED DECREASE | SCS
SB1262 | 964901C1 | PUSHBUTTON SWITCH, SPARE SPEED DECREASE | SCS
SB1263 | 964901C1 | PUSHBUTTON SWITCH, SPARE SPEED DECREASE | SCS
SB1264 | 964901C1 | PUSHBUTTON SWITCH, SPARE SPEED DECREASE | SCS
SB1271 | 964901C1 | PUSHBUTTON SWITCH, UNIT #1 SPEED INCREASE | SCS
SB1272 | 964901C1 | PUSHBUTTON SWITCH, SPARE SPEED INCREASE | SCS
SB1273 | 964901C1 | PUSHBUTTON SWITCH, SPARE SPEED INCREASE | SCS
SB1274 | 964901C1 | PUSHBUTTON SWITCH, SPARE SPEED INCREASE | SCS
SB1281 | 964901C1 | PUSHBUTTON SWITCH, UNIT #1 VOLTAGE DECREASE | SCS
SB1282 | 964901C1 | PUSHBUTTON SWITCH, SPARE VOLTAGE DECREASE | SCS
SB1283 | 964901C1 | PUSHBUTTON SWITCH, SPARE VOLTAGE DECREASE | SCS
SB1284 | 964901C1 | PUSHBUTTON SWITCH, SPARE VOLTAGE DECREASE | SCS
SB1291 | 964901C1 | PUSHBUTTON SWITCH, UNIT #1 VOLTAGE INCREASE | SCS
SB1292 | 964901C1 | PUSHBUTTON SWITCH, SPARE VOLTAGE INCREASE | SCS
SB1293 | 964901C1 | PUSHBUTTON SWITCH, SPARE VOLTAGE INCREASE | SCS
SB1294 | 964901C1 | PUSHBUTTON SWITCH, SPARE VOLTAGE INCREASE | SCS
SH0418 | 964902C1 | LIGHTED SWITCH, LAMP TEST | SCS
XT0137 | 1066730-7 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | SCS