## Blue Labels
(SHT 1) RECMPR 2X7 BOX | (SHT 2) RECMPR 2X7^PANEL
PEG0141 | AR0600
BA1101 | AP0601
FU1102 | AT0600
FU1320 | UV0600
KA1261 | AP0606
KA1262 | BA0011
KA1263 | FU0011
UJ1100 | XT1404
GR1305 | AU1300
AT1101 | AF1301
HL7776 | AF1302
HL7778 | AF1303
SB7771 | AF1304
SA7774 | AF1305
HL7777 | AF1306
HL7779 | GR1304
SB7770 | AP0605
SB7540 | AP0604
HA0454 | AP0603
HL7775 | AP0602
SB7773 | FU1301
SB7772 | FU1302
SH0455 | FU1303
IEG0141 | FU1305
UAI7763 | FU1306
UV0773 | FU1307
FU0773 | KT1325
GR1306 | XT1302
XT1303
XT1304
XT1305
XT1311
XT1312
XT1354
XT1355
XT1385
FU7701
FU7763
KA0351
KA0352
KA0353
KA0354
KA0355
KA0356
KA0357
KA0358
KA0359
KA0360
KA0361
KA0362
KA1344
KA1345
KA7701
KA7702
KA7703
KA7705
KA7760
KA7661
KA7770
GR1303
AF1326
AF1325
AF1324
AF1323
AF1322
AF1321
AU1320
FU1321
FU1322
FU1323
XT1320
GR1301
FU0131
XT1300
XTFGA
GR1302
UJ0131

## White Labels
(SHT 1) RECMPR 2X7 BOX | (SHT 1) RECMPR 2X7 BOX - (SHT 2) RECMPR 2X7^PANEL | (SHT 2) RECMPR 2X7^PANEL
AT1101G | GR1301 | AF1301G
GR1305 | GR1304 | AF1324G
GR1306 | IEG01415 | AU1300G
IEG01412 | IEG01416,GRN | AU1320G
| IEG01417 | UV0600G

## RECMPR 2X7 BOX
RECMPR 2X7 BOX
JB40
Project # | 4L869
Project Name | ENB-SUN
Revision | C.3_M2
Controls DE | J. UNGER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
AT1101:GND | SC | AT1101G | GRN/YEL | 14 | 5.D3 | PEG0141:1 | RECMPR 2X7 BOX | 5.D5
BA1101:NEG | SC | BA1101(-) | WHT | 14 | 5.D2 | UJ1100:OUT1(-) | RECMPR 2X7 BOX | 5.C3
BA1101:POS | SC | BA1101(+) | WHT | 14 | 5.D2 | UJ1100:OUT1(+) | RECMPR 2X7 BOX | 5.C3
FU0773:LD | SC | FU0773 | WHT | 14 | 22.B6 | UV0773:8+ | RECMPR 2X7 BOX | 22.B5
FU1102:LD | SC | FU1102 | WHT | 16 | 5.C4 | UJ1100:24V(+) | RECMPR 2X7 BOX | 5.C3
GR1305: | SC | GR1305 | GRN | 14 | 3.A4 | IEG0141:4 | RECMPR 2X7 BOX | 3.A3
GR1306: | SC | GR1306 | GRN/YEL | 14 | 3.A4 | FG1:1 | RECMPR 2X7 BOX | 3.A5
IEG0141:2 | SC | IEG01412 | GRN | 14 | 22.B5 | UV0773:IE | RECMPR 2X7 BOX | 22.B5
AT1101:L1 | WC0101 | BA1101DEVICE | ENET | CABLE | 5.D3 | BA1101:DEVICE | RECMPR 2X7 BOX | 5.D2
AT1101:POS | SC | FU1320 | WHT | 14 | 5.D3 | FU1320:LD | JB72 | 5.D4
AT1101:NEG | SC | 0V | WHT | 14 | 5.D3 | XT1302:3 | RECMPR 2X7^PANEL | 4.D5
FU0773:LI | SC | FU1301 | WHT | 14 | 22.B6 | XT1303:5 | RECMPR 2X7^PANEL | 4.C5
FU1102:LI | SC | FU1301 | WHT | 16 | 5.C4 | XT1303:3 | RECMPR 2X7^PANEL | 4.C5
HL7775:X1 | SC | HL7775X1 | WHT | 20 | 12.A1 | AF1302:18 | RECMPR 2X7^PANEL | 12.A6
HL7775:X2 | SC | HL7775X2 | WHT | 20 | 12.A1 | AF1302:02 | RECMPR 2X7^PANEL | 12.A6
HL7776:X1 | SC | HL7776X1 | WHT | 20 | 12.A1 | AF1302:21 | RECMPR 2X7^PANEL | 12.A6
HL7776:X2 | SC | HL7776X2 | WHT | 20 | 12.A1 | AF1302:05 | RECMPR 2X7^PANEL | 12.A6
HL7777:X1 | SC | HL7777X1 | WHT | 20 | 12.B1 | AF1302:22 | RECMPR 2X7^PANEL | 12.B6
HL7777:X2 | SC | HL7777X2 | WHT | 20 | 12.B1 | AF1302:06 | RECMPR 2X7^PANEL | 12.B6
HL7778:X1 | SC | HL7778X1 | WHT | 20 | 12.C1 | AF1302:24 | RECMPR 2X7^PANEL | 12.B6
HL7778:X2 | SC | HL7778X2 | WHT | 20 | 12.C1 | AF1302:08 | RECMPR 2X7^PANEL | 12.B6
HL7779:X1 | SC | HL7779X1 | WHT | 20 | 12.C1 | AF1302:25 | RECMPR 2X7^PANEL | 12.C6
HL7779:X2 | SC | HL7779X2 | WHT | 20 | 12.C1 | AF1302:09 | RECMPR 2X7^PANEL | 12.C6
IEG0141:1 | SC | GR1301 | GRN | 14 | 3.A3 | GR1301: | RECMPR 2X7^PANEL | 3.A4
IEG0141:3 | SC | GR1304 | GRN | 14 | 3.A3 | GR1304: | RECMPR 2X7^PANEL | 3.A4
IEG0141:5 | SC | IEG01415 | GRN | 12 | 5.B5 | AR0600:IE2 | RECMPR 2X7^PANEL | 5.A2
IEG0141:6 | SC | IEG01416,GRN | GRN | 14 | 7.B7 | AF1306:SH | RECMPR 2X7^PANEL | 7.B6
IEG0141:7 | SC | IEG01417 | GRN | 14 | 9.B6 | AF1326:SH | RECMPR 2X7^PANEL | 9.A5
KA1261:A1 | SC | 132208 | WHT | 20 | 28.A6 | AF1322:08 | RECMPR 2X7^PANEL | 28.A6
KA1261:A2 | SC | 132224 | WHT | 20 | 28.A6 | AF1322:24 | RECMPR 2X7^PANEL | 28.A6
KA1262:A1 | SC | 132209 | WHT | 20 | 28.B6 | AF1322:09 | RECMPR 2X7^PANEL | 28.B6
KA1262:A2 | SC | 132225 | WHT | 20 | 28.B6 | AF1322:25 | RECMPR 2X7^PANEL | 28.B6
SA7774:11 | SC | SA777411 | WHT | 20 | 11.D1 | AF1303:39 | RECMPR 2X7^PANEL | 11.D6
SA7774:12 | SC | SA777412 | WHT | 20 | 11.D1 | AF1303:07 | RECMPR 2X7^PANEL | 11.D6
SA7774:13 | SC | SA777413 | WHT | 20 | 11.D1 | AF1303:40 | RECMPR 2X7^PANEL | 11.D6
SA7774:14 | SC | SA777414 | WHT | 20 | 11.D1 | AF1303:08 | RECMPR 2X7^PANEL | 11.D6
SB7540:B1-11 | SC | ESTOPB | WHT | 20 | 11.A1 | XT1311:3 | RECMPR 2X7^PANEL | 11.A5
SB7540:B1-12 | SC | ESTOPC | WHT | 20 | 11.A1 | XT1311:4 | RECMPR 2X7^PANEL | 11.A5
SB7540:B2-11 | SC | SB7540B211 | WHT | 20 | 11.A1 | AF1304:34 | RECMPR 2X7^PANEL | 11.A6
SB7540:B2-12 | SC | SB7540B212 | WHT | 20 | 11.A1 | AF1304:02 | RECMPR 2X7^PANEL | 11.A6
SB7770:13 | SC | SB777013 | WHT | 20 | 11.A1 | AF1303:35 | RECMPR 2X7^PANEL | 11.A6
SB7770:14 | SC | SB777014 | WHT | 20 | 11.A1 | AF1303:03 | RECMPR 2X7^PANEL | 11.A6
SB7771:13 | SC | SB777113 | WHT | 20 | 11.B1 | AF1303:36 | RECMPR 2X7^PANEL | 11.B6
SB7771:14 | SC | SB777114 | WHT | 20 | 11.B1 | AF1303:04 | RECMPR 2X7^PANEL | 11.B6
SB7772:13 | SC | SB777213 | WHT | 20 | 11.C1 | AF1303:37 | RECMPR 2X7^PANEL | 11.C6
SB7772:14 | SC | SB777214 | WHT | 20 | 11.C1 | AF1303:05 | RECMPR 2X7^PANEL | 11.C6
SB7773:13 | SC | SB777313 | WHT | 20 | 11.C1 | AF1303:38 | RECMPR 2X7^PANEL | 11.C6
SB7773:14 | SC | SB777314 | WHT | 20 | 11.C1 | AF1303:06 | RECMPR 2X7^PANEL | 11.C6
SH0455:11 | SC | SH045511 | WHT | 20 | 10.B1 | XT1354:6 | RECMPR 2X7^PANEL | 10.B5
SH0455:12 | SC | SH045512 | WHT | 20 | 10.B1 | XT1354:7 | RECMPR 2X7^PANEL | 10.B5
SH0455:13 | SC | FU1301 | WHT | 20 | 10.B1 | XT1354:4 | RECMPR 2X7^PANEL | 10.B5
SH0455:14 | SC | SH045514 | WHT | 20 | 10.B1 | XT1354:5 | RECMPR 2X7^PANEL | 10.B5
SH0455:X1 | SC | 0V | WHT | 20 | 10.A1 | XT1354:3 | RECMPR 2X7^PANEL | 10.A5
SH0455:X2 | SC | SH0455X2 | WHT | 20 | 10.A1 | XT1355:1 B1 | RECMPR 2X7^PANEL | 10.A5
UAI7763:7- | SC | 130628 | WHT | 20 | 22.A5 | AF1306:28 | RECMPR 2X7^PANEL | 22.A7 | C.3_M2 d61325 updated for TE7763 isolator to land on IF8IHXT module
UAI7763:8+ | SC | 130612 | WHT | 20 | 22.A5 | AF1306:12 | RECMPR 2X7^PANEL | 22.A7 | C.3_M2 d61325 updated for TE7763 isolator to land on IF8IHXT module
UJ1100:24V(-) | SC | 0V | WHT | 16 | 5.C3 | XT1302:3 | RECMPR 2X7^PANEL | 4.D5
UV0773:9- | SC | 0V | WHT | 16 | 22.B5 | XT1302:5 | RECMPR 2X7^PANEL | 4.D5
HA0454:BLK-2 | WC0454 | HA0454BLK2 | 1 | 18 | 10.A1 | AF1302:04 | RECMPR 2X7^PANEL | 10.A7
HA0454:BLK-1 | WC0454 | HA0454BLK1 | 2 | 18 | 10.A1 | AF1302:20 | RECMPR 2X7^PANEL | 10.A7
BA1101:L1 | WC9016 | AU1320L2 | ENET | CABLE | 2.A6 | AU1320:L2 | RECMPR 2X7^PANEL | 2.A5
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 3/5/2026 1:21 PM

## RECMPR 2X7^PANEL
RECMPR 2X7^PANEL
JB40
Project # | 4L869
Project Name | ENB-SUN
Revision | C.3
Controls DE | J. UNGER
Phone:
Controls ME | S. LOZA
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
XT1302:1 | JC | 0V | CLIP | --- | 4.D5 | XT1302:2 | RECMPR 2X7^PANEL | 4.D5
XT1302:2 | JC | 0V | CLIP | --- | 4.D5 | XT1302:3 | RECMPR 2X7^PANEL | 4.D5
XT1302:3 | JC | 0V | CLIP | --- | 4.D5 | XT1302:4 | RECMPR 2X7^PANEL | 4.D5
XT1302:4 | JC | 0V | CLIP | --- | 4.D5 | XT1302:5 | RECMPR 2X7^PANEL | 4.D5
XT1303:1 | JC | FU1301 | CLIP | --- | 4.C5 | XT1303:2 | RECMPR 2X7^PANEL | 4.C5
XT1303:2 | JC | FU1301 | CLIP | --- | 4.C5 | XT1303:3 | RECMPR 2X7^PANEL | 4.C5
XT1303:3 | JC | FU1301 | CLIP | --- | 4.C5 | XT1303:4 | RECMPR 2X7^PANEL | 4.C5
XT1303:4 | JC | FU1301 | CLIP | --- | 4.C5 | XT1303:5 | RECMPR 2X7^PANEL | 4.C5
XT1304:1 | JC | FU1303 | CLIP | --- | 8.A6 | XT1304:2 | RECMPR 2X7^PANEL | 8.A6
XT1305:1 | JC | 0V | CLIP | --- | 7.B1 | XT1305:2 | RECMPR 2X7^PANEL | 7.B1
XT1305:2 | JC | 0V | CLIP | --- | 7.B1 | XT1305:3 | RECMPR 2X7^PANEL | 7.B1
XT1320:1 | JC | 0V | CLIP | --- | 9.B1 | XT1320:2 | RECMPR 2X7^PANEL | 9.B1
XT1320:2 | JC | 0V | CLIP | --- | 9.B1 | XT1320:3 | RECMPR 2X7^PANEL | 9.C1
AF1301:02 | SC | UJ0131VIN | WHT | 20 | 4.A7 | UJ0131:VIN | RECMPR 2X7^PANEL | 4.B4
AF1301:03 | SC | 0V | WHT | 14 | 4.A7 | XT1302:2 | RECMPR 2X7^PANEL | 4.D5
AF1301:04 | SC | UJ0131IOUT | WHT | 20 | 4.B7 | UJ0131:IOUT | RECMPR 2X7^PANEL | 4.B4
AF1301:05 | SC | 0V | WHT | 14 | 4.B7 | XT1302:3 | RECMPR 2X7^PANEL | 4.D5
AF1301:COM | SC | AF1303N | WHT | 14 | 7.B2 | AF1303:COM | RECMPR 2X7^PANEL | 7.B3
AF1301:COM | SC | AF1301N | WHT | 16 | 7.B2 | AU1300:COM | RECMPR 2X7^PANEL | 7.A2
AF1301:J | SC | * |  |  | 7.B2 | AF1302:P | RECMPR 2X7^PANEL | 7.B3
AF1301:SH | SC | AF1301G | GRN | 14 | 7.B2 | AF1306:SH | RECMPR 2X7^PANEL | 7.B6
AF1301:SH | SC | AU1300G | GRN | 14 | 7.B2 | AU1300:GND | RECMPR 2X7^PANEL | 7.A2
AF1301:V+ | SC | AF1303P | WHT | 14 | 7.B2 | AF1303:V+ | RECMPR 2X7^PANEL | 7.B3
AF1301:V+ | SC | AF1301P | WHT | 14 | 7.B2 | AU1300:V+ | RECMPR 2X7^PANEL | 7.A2
AF1302:00 | SC | 130200 | WHT | 20 | 27.B6 | KA7661:A1 | RECMPR 2X7^PANEL | 27.B6
AF1302:03 | SC | 130203 | WHT | 20 | 10.A7 | XT1355:1 T2 | RECMPR 2X7^PANEL | 10.A5
AF1302:10 | SC | 130210 | WHT | 20 | 26.A6 | KA0359:24 | RECMPR 2X7^PANEL | 26.A6
AF1302:16 | SC | 130216 | WHT | 20 | 27.B6 | KA7661:A2 | RECMPR 2X7^PANEL | 27.B6
AF1302:35 | SC | 130235 | WHT | 20 | 10.A7 | KA0354:12 | RECMPR 2X7^PANEL | 10.A6
AF1302:COM | SC | 0V | WHT | 14 | 7.B3 | XT1305:2 | RECMPR 2X7^PANEL | 7.B1
AF1302:J | SC | * |  |  | 7.B3 | AF1303:P | RECMPR 2X7^PANEL | 7.B3
AF1302:V+ | SC | FU1306 | WHT | 14 | 7.B3 | FU1306:LD | RECMPR 2X7^PANEL | 7.B1
AF1303:00 | SC | 130300 | WHT | 20 | 8.C6 | KA1344:11 | RECMPR 2X7^PANEL | 8.C6
AF1303:02 | SC | UJ0131OK2 | WHT | 20 | 4.B7 | UJ0131:OK2 | RECMPR 2X7^PANEL | 4.B4
AF1303:32 | SC | 130332 | WHT | 20 | 8.C6 | KA1344:14 | RECMPR 2X7^PANEL | 8.C6
AF1303:34 | SC | UJ0131OK1 | WHT | 20 | 4.B7 | UJ0131:OK1 | RECMPR 2X7^PANEL | 4.B4
AF1303:COM | SC | AF1304N | WHT | 14 | 7.B3 | AF1304:COM | RECMPR 2X7^PANEL | 7.A5
AF1303:J | SC | * |  |  | 7.B3 | AF1304:P | RECMPR 2X7^PANEL | 7.A5
AF1303:V+ | SC | AF1304P | WHT | 14 | 7.B3 | AF1304:V+ | RECMPR 2X7^PANEL | 7.A5
AF1304:00 | SC | 130400 | WHT | 20 | 8.B6 | KA0353:24 | RECMPR 2X7^PANEL | 8.B6
AF1304:32 | SC | 130432 | WHT | 20 | 8.B6 | KA0353:21 | RECMPR 2X7^PANEL | 8.B6
AF1304:03 | SC | JP2 | VIO | 20 | 10.C7 | AF1304:35 | RECMPR 2X7^PANEL | 10.C7
AF1304:COM | SC | AF1306N | WHT | 14 | 7.A5 | AF1306:COM | RECMPR 2X7^PANEL | 7.B6
AF1304:J | SC | * |  |  | 7.A5 | AF1305:P | RECMPR 2X7^PANEL | 7.A5
AF1304:V+ | SC | AF1306P | WHT | 14 | 7.A5 | AF1306:V+ | RECMPR 2X7^PANEL | 7.B6
AF1305:01 | SC | 130501 | WHT | 20 | 16.B6 | KA7701:A1 | RECMPR 2X7^PANEL | 16.B6
AF1305:03 | SC | 130503 | WHT | 20 | 17.A6 | KA7703:A1 | RECMPR 2X7^PANEL | 17.A6
AF1305:05 | SC | 130505 | WHT | 20 | 19.A6 | KA7705:A1 | RECMPR 2X7^PANEL | 19.A6
AF1305:07 | SC | KT1325B1 | WHT | 20 | 8.B6 | KT1325:B1 | RECMPR 2X7^PANEL | 8.A6
AF1305:08 | SC | 130508 | WHT | 20 | 8.C6 | KT1325:15 | RECMPR 2X7^PANEL | 8.C6
AF1305:09 | SC | 130509 | WHT | 20 | 21.A6 | KA7702:A1 | RECMPR 2X7^PANEL | 21.A6
AF1305:17 | SC | 130517 | WHT | 20 | 16.B6 | KA7701:A2 | RECMPR 2X7^PANEL | 16.B6
AF1305:19 | SC | 130519 | WHT | 20 | 17.A6 | KA7703:A2 | RECMPR 2X7^PANEL | 17.A6
AF1305:21 | SC | 130521 | WHT | 20 | 19.A6 | KA7705:A2 | RECMPR 2X7^PANEL | 19.A6
AF1305:23 | SC | KT1325A2 | WHT | 20 | 8.B6 | KT1325:A2 | RECMPR 2X7^PANEL | 8.A6
AF1305:25 | SC | 130525 | WHT | 20 | 21.A6 | KA7702:A2 | RECMPR 2X7^PANEL | 21.A6
AF1305:COM | SC | 0V | WHT | 14 | 7.A5 | XT1305:3 | RECMPR 2X7^PANEL | 7.B1
AF1305:J | SC | * |  |  | 7.A5 | AF1306:P | RECMPR 2X7^PANEL | 7.B6
AF1305:V+ | SC | FU1307 | WHT | 14 | 7.A5 | FU1307:LD | RECMPR 2X7^PANEL | 7.B1
AF1306:11 | SC | 130611 | WHT | 20 | 4.A3 | XT1385:2 | RECMPR 2X7^PANEL | 4.A3
AF1306:27 | SC | 0V | WHT | 20 | 4.A3 | XT1385:3 | RECMPR 2X7^PANEL | 4.A3
AF1321:00 | SC | 132100 | WHT | 20 | 14.A6 | KA0355:14 | RECMPR 2X7^PANEL | 14.A6
AF1321:01 | SC | 132101 | WHT | 20 | 14.A6 | KA0355:24 | RECMPR 2X7^PANEL | 14.A6
AF1321:02 | SC | 132102 | WHT | 20 | 16.B6 | KA7701:14 | RECMPR 2X7^PANEL | 16.B6
AF1321:03 | SC | 132103 | WHT | 20 | 16.C6 | KA0356:24 | RECMPR 2X7^PANEL | 16.C5
AF1321:04 | SC | 132104 | WHT | 20 | 17.C6 | KA0357:24 | RECMPR 2X7^PANEL | 17.C5
AF1321:05 | SC | 132105 | WHT | 20 | 19.A6 | KA7705:14 | RECMPR 2X7^PANEL | 19.B6
AF1321:COM | SC | AF1321N | WHT | 14 | 9.B2 | AU1320:COM | RECMPR 2X7^PANEL | 9.A2
AF1321:J | SC | * |  |  | 9.B2 | AF1322:P | RECMPR 2X7^PANEL | 9.B3
AF1321:V+ | SC | AF1321P | WHT | 20 | 9.B2 | AU1320:V+ | RECMPR 2X7^PANEL | 9.A2
AF1322:03 | SC | KA7770A1 | WHT | 20 | 24.B6 | KA7770:A1 | RECMPR 2X7^PANEL | 24.B6
AF1322:05 | SC | 132205 | WHT | 20 | 23.A6 | KA7760:A1 | RECMPR 2X7^PANEL | 23.A6
AF1322:07 | SC | 132207 | WHT | 20 | 17.A6 | KA7703:14 | RECMPR 2X7^PANEL | 17.A6
AF1322:11 | SC | 132211 | WHT | 20 | 15.A6 | KA0360:14 | RECMPR 2X7^PANEL | 15.A6
AF1322:19 | SC | 132219 | WHT | 20 | 24.B6 | KA7770:A2 | RECMPR 2X7^PANEL | 24.B6
AF1322:21 | SC | 132221 | WHT | 20 | 23.A6 | KA7760:A2 | RECMPR 2X7^PANEL | 23.A6
AF1322:COM | SC | 0V | WHT | 14 | 9.B3 | XT1320:2 | RECMPR 2X7^PANEL | 9.B1
AF1322:J | SC | * |  |  | 9.B3 | AF1323:P | RECMPR 2X7^PANEL | 9.B3
AF1322:V+ | SC | FU1322 | WHT | 14 | 9.B3 | FU1322:LD | RECMPR 2X7^PANEL | 9.B1
AF1323:COM | SC | AF1324N | WHT | 14 | 9.B3 | AF1324:COM | RECMPR 2X7^PANEL | 9.B4
AF1323:COM | SC | 0V | WHT | 14 | 9.B3 | XT1320:3 | RECMPR 2X7^PANEL | 9.C1
AF1323:J | SC | * |  |  | 9.B3 | AF1324:P | RECMPR 2X7^PANEL | 9.B4
AF1323:V+ | SC | AF1324P | WHT | 14 | 9.B3 | AF1324:V+ | RECMPR 2X7^PANEL | 9.B4
AF1323:V+ | SC | FU1323 | WHT | 14 | 9.B3 | FU1323:LD | RECMPR 2X7^PANEL | 9.B1
AF1324:COM | SC | AF1325N | WHT | 14 | 9.B4 | AF1325:COM | RECMPR 2X7^PANEL | 9.B5
AF1324:J | SC | * |  |  | 9.B4 | AF1325:P | RECMPR 2X7^PANEL | 9.B5
AF1324:SH | SC | AF1324G | GRN | 14 | 9.B4 | AF1325:SH | RECMPR 2X7^PANEL | 9.B5
AF1324:SH | SC | AU1320G | GRN | 14 | 9.B4 | AU1320:GND | RECMPR 2X7^PANEL | 9.A2
AF1324:V+ | SC | AF1325P | WHT | 14 | 9.B4 | AF1325:V+ | RECMPR 2X7^PANEL | 9.B5
AF1325:COM | SC | AF1326N | WHT | 14 | 9.B5 | AF1326:COM | RECMPR 2X7^PANEL | 9.A5
AF1325:J | SC | * |  |  | 9.B5 | AF1326:P | RECMPR 2X7^PANEL | 9.A5
AF1325:SH | SC | AF1325G | WHT | 14 | 9.B5 | AF1326:SH | RECMPR 2X7^PANEL | 9.A5
AF1325:V+ | SC | AF1326P | WHT | 14 | 9.B5 | AF1326:V+ | RECMPR 2X7^PANEL | 9.A5
AR0600:IE1 | SC | UV0600G | GRN | 14 | 5.A2 | UV0600:GND | RECMPR 2X7^PANEL | 5.A2
AU1300:COM | SC | 0V | WHT | 14 | 7.A2 | XT1305:1 | RECMPR 2X7^PANEL | 7.B1
AU1300:V+ | SC | FU1305 | WHT | 14 | 7.A2 | FU1305:LD | RECMPR 2X7^PANEL | 7.B1
AU1320:COM | SC | 0V | WHT | 14 | 9.A2 | XT1320:1 | RECMPR 2X7^PANEL | 9.B1
AU1320:V+ | SC | FU1321 | WHT | 14 | 9.A2 | FU1321:LD | RECMPR 2X7^PANEL | 9.B1
BA0011:V1(-) | SC | 0V | WHT | 16 | 6.B1 | XT1404:2 | RECMPR 2X7^PANEL | 6.B2
BA0011:V1(+) | SC | BA0011P | WHT | 16 | 6.B1 | FU0011:LD | RECMPR 2X7^PANEL | 6.B2
FU0011:LI | SC | FU1301 | WHT | 16 | 6.B2 | XT1404:1 | RECMPR 2X7^PANEL | 6.B2
FU0131:LD | SC | UJ0131P | WHT | 12 | 4.B3 | UJ0131:+ | RECMPR 2X7^PANEL | 4.B4
FU1301:LD | SC | FU1301 | WHT | 12 | 4.C5 | XT1303:1 | RECMPR 2X7^PANEL | 4.C5
FU1301:LI | SC | 24V | WHT | 10 | 4.C5 | UJ0131:OUT(+) | RECMPR 2X7^PANEL | 4.B4
FU1302:LD | SC | FU1302 | WHT | 12 | 4.C6 | UV0600:(+) | RECMPR 2X7^PANEL | 5.A2
FU1302:LI | SC | FU1301 | WHT | 12 | 4.C6 | XT1303:4 | RECMPR 2X7^PANEL | 4.C5
FU1303:LD | SC | FU1303 | WHT | 14 | 4.C6 | XT1304:1 | RECMPR 2X7^PANEL | 8.A6
FU1303:LI | SC | FU1301 | WHT | 14 | 4.C6 | XT1354:1 | RECMPR 2X7^PANEL | 4.C6
FU1305:LI | SC | FU1301 | WHT | 14 | 7.B1 | XT1303:1 | RECMPR 2X7^PANEL | 4.C5
FU1305:LI | SC | FU1301 | WHT | 14 | 7.B1 | FU1306:LI | RECMPR 2X7^PANEL | 7.B1
FU1306:LI | SC | FU1301 | WHT | 14 | 7.B1 | FU1307:LI | RECMPR 2X7^PANEL | 7.B1
FU1321:LI | SC | FU1301 | WHT | 14 | 9.B1 | FU1322:LI | RECMPR 2X7^PANEL | 9.B1
FU1321:LI | SC | FU1301 | WHT | 14 | 9.B1 | XT1303:3 | RECMPR 2X7^PANEL | 4.C5
FU1322:LI | SC | FU1301 | WHT | 14 | 9.B1 | FU1323:LI | RECMPR 2X7^PANEL | 9.B1
FU7701:LI | SC | FU1301 | WHT | 14 | 4.C5 | XT1303:4 | RECMPR 2X7^PANEL | 4.C5
GR1302: | SC | GR1302 | GRN/YEL | 14 | 3.A4 | FRAME | RECMPR 2X7^PANEL | 3.A3
GR1303: | SC | GR1303 | GRN/YEL | 14 | 3.A4 | FRAME | RECMPR 2X7^PANEL | 3.A3
KA0351:11 | SC | FU1303 | WHT | 20 | 8.A5 | XT1304:1 | RECMPR 2X7^PANEL | 8.A6
KA0351:11 | SC | FU1303 | WHT | 20 | 8.A5 | KA0353:11 | RECMPR 2X7^PANEL | 8.A5
KA0351:14 | SC | KA035114 | WHT | 20 | 8.A5 | KA0353:14 | RECMPR 2X7^PANEL | 8.A5
KA0351:14 | SC | KA035114 | WHT | 20 | 8.A5 | KA1345:11 | RECMPR 2X7^PANEL | 8.A4
KA0351:24 | SC | 130401 | WHT | 20 | 8.B6 | AF1304:01 | RECMPR 2X7^PANEL | 8.B6
KA0351:24 | SC | 130401 | WHT | 20 | 8.B6 | KA1344:24 | RECMPR 2X7^PANEL | 8.C6
KA0351:A1 | SC | SH045514 | WHT | 20 | 8.B2 | XT1354:5 | RECMPR 2X7^PANEL | 10.B5
KA0351:A1 | SC | SH045514 | WHT | 20 | 8.B2 | KA0352:A1 | RECMPR 2X7^PANEL | 8.B2
KA0351:A2 | SC | 0V | WHT | 20 | 8.B2 | KA0352:A2 | RECMPR 2X7^PANEL | 8.B2
KA0352:11 | SC | FU1303 | WHT | 20 | 8.A6 | KA1345:21 | RECMPR 2X7^PANEL | 8.A6
KA0352:11 | SC | FU1303 | WHT | 20 | 8.A6 | XT1304:2 | RECMPR 2X7^PANEL | 8.A6
KA0352:14 | SC | KT1325A1 | WHT | 20 | 8.A6 | KA1345:24 | RECMPR 2X7^PANEL | 8.A6
KA0352:A2 | SC | 0V | WHT | 20 | 8.B2 | KA0353:A2 | RECMPR 2X7^PANEL | 8.B2
KA0353:A1 | SC | ESTOPD | WHT | 20 | 8.B2 | XT1354:9 | RECMPR 2X7^PANEL | 8.B3
KA0353:A1 | SC | ESTOPD | WHT | 20 | 8.B2 | KA0354:A1 | RECMPR 2X7^PANEL | 8.B2
KA0353:A2 | SC | 0V | WHT | 20 | 8.B2 | KA0354:A2 | RECMPR 2X7^PANEL | 8.B2
KA0354:11 | SC | KA035411 | WHT | 20 | 10.A6 | XT1355:1 B2 | RECMPR 2X7^PANEL | 10.A5
KA0354:A1 | SC | ESTOPD | WHT | 20 | 8.B2 | KA0355:A1 | RECMPR 2X7^PANEL | 8.C2
KA0354:A2 | SC | 0V | WHT | 20 | 8.B2 | KA0355:A2 | RECMPR 2X7^PANEL | 8.C2
KA0355:11 | SC | SV77011 | WHT | 20 | 14.A6 | XT1312:1 | RECMPR 2X7^PANEL | 14.A5
KA0355:21 | SC | SV77021 | WHT | 20 | 14.A6 | XT1312:2 | RECMPR 2X7^PANEL | 14.A5
KA0355:A1 | SC | ESTOPD | WHT | 20 | 8.C2 | KA0356:A1 | RECMPR 2X7^PANEL | 8.C2
KA0355:A2 | SC | 0V | WHT | 20 | 8.C2 | KA0356:A2 | RECMPR 2X7^PANEL | 8.C2
KA0356:11 | SC | SV77501 | WHT | 20 | 16.B5 | XT1312:3 | RECMPR 2X7^PANEL | 16.B5
KA0356:14 | SC | KA770111 | WHT | 20 | 16.B5 | KA7701:11 | RECMPR 2X7^PANEL | 16.B6
KA0356:21 | SC | SV77511 | WHT | 20 | 16.C5 | XT1312:4 | RECMPR 2X7^PANEL | 16.C5
KA0356:A1 | SC | ESTOPD | WHT | 20 | 8.C2 | KA0357:A1 | RECMPR 2X7^PANEL | 8.C2
KA0356:A2 | SC | 0V | WHT | 20 | 8.C2 | KA0357:A2 | RECMPR 2X7^PANEL | 8.C2
KA0357:11 | SC | SV77521 | WHT | 20 | 17.A5 | XT1312:5 | RECMPR 2X7^PANEL | 17.A5
KA0357:14 | SC | KA770311 | WHT | 20 | 17.A5 | KA7703:11 | RECMPR 2X7^PANEL | 17.A6
KA0357:21 | SC | SV77601 | WHT | 20 | 17.C5 | XT1312:6 | RECMPR 2X7^PANEL | 17.C5
KA0357:A1 | SC | ESTOPD | WHT | 20 | 8.C2 | KA0358:A1 | RECMPR 2X7^PANEL | 8.C2
KA0357:A2 | SC | 0V | WHT | 20 | 8.C2 | KA0358:A2 | RECMPR 2X7^PANEL | 8.C2
KA0358:11 | SC | SV77701 | WHT | 20 | 19.B5 | XT1312:7 | RECMPR 2X7^PANEL | 19.B5
KA0358:14 | SC | KA770511 | WHT | 20 | 19.B5 | KA7705:11 | RECMPR 2X7^PANEL | 19.B6
KA0358:21 | SC | KA035821 | WHT | 20 | 21.A6 | KA7702:14 | RECMPR 2X7^PANEL | 21.A6
KA0358:A1 | SC | ESTOPD | WHT | 20 | 8.C2 | KA0359:A1 | RECMPR 2X7^PANEL | 8.C2
KA0358:A2 | SC | 0V | WHT | 20 | 8.C2 | KA0359:A2 | RECMPR 2X7^PANEL | 8.C2
KA0359:21 | SC | SV76601 | WHT | 20 | 26.A6 | XT1312:8 | RECMPR 2X7^PANEL | 26.A5
KA0359:A1 | SC | ESTOPD | WHT | 20 | 8.C2 | KA0360:A1 | RECMPR 2X7^PANEL | 8.C2
KA0359:A2 | SC | 0V | WHT | 20 | 8.C2 | KA0360:A2 | RECMPR 2X7^PANEL | 8.C2
KA0360:11 | SC | SV76511 | WHT | 16 | 15.A6 | XT1312:9 | RECMPR 2X7^PANEL | 15.A5
KA0360:A1 | SC | ESTOPD | WHT | 20 | 8.C2 | KA0361:A1 | RECMPR 2X7^PANEL | 8.D2
KA0360:A2 | SC | 0V | WHT | 20 | 8.C2 | KA0361:A2 | RECMPR 2X7^PANEL | 8.D2
KA0361:A1 | SC | ESTOPD | WHT | 20 | 8.D2 | KA0362:A1 | RECMPR 2X7^PANEL | 8.D2
KA0361:A2 | SC | 0V | WHT | 20 | 8.D2 | KA0362:A2 | RECMPR 2X7^PANEL | 8.D2
KA0362:A2 | SC | 0V | WHT | 20 | 8.D2 | XT1302:2 | RECMPR 2X7^PANEL | 4.D5
KA1344:21 | SC | KA035121 | WHT | 20 | 8.C6 | KA0351:21 | RECMPR 2X7^PANEL | 8.B6
KA1344:21 | SC | KA035121 | WHT | 20 | 8.C6 | KA1344:A1 | RECMPR 2X7^PANEL | 8.C6
KA1344:24 | SC | 130401 | WHT | 20 | 8.C6 | KT1325:18 | RECMPR 2X7^PANEL | 8.C6
KA1344:A1 | SC | KA035121 | WHT | 20 | 8.C6 | KA1345:A1 | RECMPR 2X7^PANEL | 8.C6
KA1344:A2 | SC | 130524 | WHT | 20 | 8.C6 | AF1305:24 | RECMPR 2X7^PANEL | 8.C6
KA1344:A2 | SC | 130524 | WHT | 20 | 8.C6 | KA1345:A2 | RECMPR 2X7^PANEL | 8.C6
KA1345:14 | SC | ESTOPA | WHT | 20 | 8.A4 | XT1311:1 | RECMPR 2X7^PANEL | 10.C5
KA1345:24 | SC | KT1325A1 | WHT | 20 | 8.A6 | KT1325:A1 | RECMPR 2X7^PANEL | 8.A6
RR3041: -3.01K OHM | SC | FU1301 | LEAD | --- | 4.A3 | XT1385:1 | RECMPR 2X7^PANEL | 4.A3
RR3041: -3.01K OHM | SC | 130611 | LEAD | --- | 4.A3 | XT1385:2 | RECMPR 2X7^PANEL | 4.A3
RR3042: -1.0K OHM | SC | 0V | LEAD | --- | 4.A3 | XT1385:3 | RECMPR 2X7^PANEL | 4.A3
RR3042: -1.0K OHM | SC | 130611 | LEAD | --- | 4.A3 | XT1385:2 | RECMPR 2X7^PANEL | 4.A3
UJ0131:- | SC | CC0131N | WHT | 12 | 4.B4 | XT1300:1 | RECMPR 2X7^PANEL | 4.B3
UJ0131:G | SC | UJ0131G | GRN/YEL | 14 | 4.B4 | FRAME | RECMPR 2X7^PANEL | 4.B3
UJ0131:OUT(-) | SC | 0V | WHT | 12 | 4.B4 | XT1302:1 | RECMPR 2X7^PANEL | 4.D5
UV0600:(-) | SC | 0V | WHT | 14 | 5.A2 | XT1302:4 | RECMPR 2X7^PANEL | 4.D5
XT1302:1 | SC | 0V | WHT | 16 | 4.D5 | XT1404:2 | RECMPR 2X7^PANEL | 6.B2
XT1302:3 | SC | 0V | WHT | 14 | 4.D5 | XT1320:1 | RECMPR 2X7^PANEL | 9.B1
XT1302:4 | SC | 0V | WHT | 14 | 4.D5 | XT1354:3 | RECMPR 2X7^PANEL | 10.A5
XT1303:1 | SC | FU1301 | WHT | 16 | 4.C5 | XT1404:1 | RECMPR 2X7^PANEL | 6.B2
XT1303:2 | SC | FU1301 | WHT | 20 | 4.C5 | XT1354:4 | RECMPR 2X7^PANEL | 10.B5
XT1303:4 | SC | FU1301 | WHT | 14 | 4.C5 | XT1354:1 | RECMPR 2X7^PANEL | 4.C6
XT1305:1 | SC | 0V | WHT | 14 | 7.B1 | XT1302:1 | RECMPR 2X7^PANEL | 4.D5
XT1311:2 | SC | ESTOPB |  |  | 10.C5 | XT1311:3 | RECMPR 2X7^PANEL | 11.A5
XT1385:1 | SC | FU1301 | WHT | 20 | 4.A3 | XT1303:2 | RECMPR 2X7^PANEL | 4.C5
XT1385:3 | SC | 0V | WHT | 20 | 4.A3 | XT1302:2 | RECMPR 2X7^PANEL | 4.D5
AP0602:L2 | WC0001 | AP0602L2 | ENET | CABLE | 2.A1 | AP0603:L1 | RECMPR 2X7^PANEL | 2.A2
AP0603:L2 | WC0002 | AP0603L2 | ENET | CABLE | 2.A2 | AU1300:L1 | RECMPR 2X7^PANEL | 2.A3
AP0606:L1 | WC0006 | BA0011ENET | ENET | CABLE | 6.A2 | BA0011:RJ45 | RECMPR 2X7^PANEL | 6.A3
AU1300:L2 | WC9014 | AU1300L2 | ENET | CABLE | 2.A3 | AU1320:L1 | RECMPR 2X7^PANEL | 2.A5
XT1303:3 | SC | FU1301 | WHT | 16 | 4.C5 | FU1320:LI | JB72 | 5.D4
AF1302:02 | SC | HL7775X2 | WHT | 20 | 12.A6 | HL7775:X2 | RECMPR 2X7 BOX | 12.A1
AF1302:05 | SC | HL7776X2 | WHT | 20 | 12.A6 | HL7776:X2 | RECMPR 2X7 BOX | 12.A1
AF1302:06 | SC | HL7777X2 | WHT | 20 | 12.B6 | HL7777:X2 | RECMPR 2X7 BOX | 12.B1
AF1302:08 | SC | HL7778X2 | WHT | 20 | 12.B6 | HL7778:X2 | RECMPR 2X7 BOX | 12.C1
AF1302:09 | SC | HL7779X2 | WHT | 20 | 12.C6 | HL7779:X2 | RECMPR 2X7 BOX | 12.C1
AF1302:18 | SC | HL7775X1 | WHT | 20 | 12.A6 | HL7775:X1 | RECMPR 2X7 BOX | 12.A1
AF1302:21 | SC | HL7776X1 | WHT | 20 | 12.A6 | HL7776:X1 | RECMPR 2X7 BOX | 12.A1
AF1302:22 | SC | HL7777X1 | WHT | 20 | 12.B6 | HL7777:X1 | RECMPR 2X7 BOX | 12.B1
AF1302:24 | SC | HL7778X1 | WHT | 20 | 12.B6 | HL7778:X1 | RECMPR 2X7 BOX | 12.C1
AF1302:25 | SC | HL7779X1 | WHT | 20 | 12.C6 | HL7779:X1 | RECMPR 2X7 BOX | 12.C1
AF1303:03 | SC | SB777014 | WHT | 20 | 11.A6 | SB7770:14 | RECMPR 2X7 BOX | 11.A1
AF1303:04 | SC | SB777114 | WHT | 20 | 11.B6 | SB7771:14 | RECMPR 2X7 BOX | 11.B1
AF1303:05 | SC | SB777214 | WHT | 20 | 11.C6 | SB7772:14 | RECMPR 2X7 BOX | 11.C1
AF1303:06 | SC | SB777314 | WHT | 20 | 11.C6 | SB7773:14 | RECMPR 2X7 BOX | 11.C1
AF1303:07 | SC | SA777412 | WHT | 20 | 11.D6 | SA7774:12 | RECMPR 2X7 BOX | 11.D1
AF1303:08 | SC | SA777414 | WHT | 20 | 11.D6 | SA7774:14 | RECMPR 2X7 BOX | 11.D1
AF1303:35 | SC | SB777013 | WHT | 20 | 11.A6 | SB7770:13 | RECMPR 2X7 BOX | 11.A1
AF1303:36 | SC | SB777113 | WHT | 20 | 11.B6 | SB7771:13 | RECMPR 2X7 BOX | 11.B1
AF1303:37 | SC | SB777213 | WHT | 20 | 11.C6 | SB7772:13 | RECMPR 2X7 BOX | 11.C1
AF1303:38 | SC | SB777313 | WHT | 20 | 11.C6 | SB7773:13 | RECMPR 2X7 BOX | 11.C1
AF1303:39 | SC | SA777411 | WHT | 20 | 11.D6 | SA7774:11 | RECMPR 2X7 BOX | 11.D1
AF1303:40 | SC | SA777413 | WHT | 20 | 11.D6 | SA7774:13 | RECMPR 2X7 BOX | 11.D1
AF1304:02 | SC | SB7540B212 | WHT | 20 | 11.A6 | SB7540:B2-12 | RECMPR 2X7 BOX | 11.A1
AF1304:34 | SC | SB7540B211 | WHT | 20 | 11.A6 | SB7540:B2-11 | RECMPR 2X7 BOX | 11.A1
AF1306:SH | SC | IEG01416,GRN | GRN | 14 | 7.B6 | IEG0141:6 | RECMPR 2X7 BOX | 7.B7
AF1322:08 | SC | 132208 | WHT | 20 | 28.A6 | KA1261:A1 | RECMPR 2X7 BOX | 28.A6
AF1322:09 | SC | 132209 | WHT | 20 | 28.B6 | KA1262:A1 | RECMPR 2X7 BOX | 28.B6
AF1322:24 | SC | 132224 | WHT | 20 | 28.A6 | KA1261:A2 | RECMPR 2X7 BOX | 28.A6
AF1322:25 | SC | 132225 | WHT | 20 | 28.B6 | KA1262:A2 | RECMPR 2X7 BOX | 28.B6
AF1326:SH | SC | IEG01417 | GRN | 14 | 9.A5 | IEG0141:7 | RECMPR 2X7 BOX | 9.B6
AR0600:IE2 | SC | IEG01415 | GRN | 12 | 5.A2 | IEG0141:5 | RECMPR 2X7 BOX | 5.B5
GR1301: | SC | GR1301 | GRN | 14 | 3.A4 | IEG0141:1 | RECMPR 2X7 BOX | 3.A3
GR1304: | SC | GR1304 | GRN | 14 | 3.A4 | IEG0141:3 | RECMPR 2X7 BOX | 3.A3
XT1302:3 | SC | 0V | WHT | 14 | 4.D5 | AT1101:NEG | RECMPR 2X7 BOX | 5.D3
XT1302:3 | SC | 0V | WHT | 16 | 4.D5 | UJ1100:24V(-) | RECMPR 2X7 BOX | 5.C3
XT1302:5 | SC | 0V | WHT | 16 | 4.D5 | UV0773:9- | RECMPR 2X7 BOX | 22.B5
XT1303:3 | SC | FU1301 | WHT | 16 | 4.C5 | FU1102:LI | RECMPR 2X7 BOX | 5.C4
XT1303:5 | SC | FU1301 | WHT | 14 | 4.C5 | FU0773:LI | RECMPR 2X7 BOX | 22.B6
XT1311:3 | SC | ESTOPB | WHT | 20 | 11.A5 | SB7540:B1-11 | RECMPR 2X7 BOX | 11.A1
XT1311:4 | SC | ESTOPC | WHT | 20 | 11.A5 | SB7540:B1-12 | RECMPR 2X7 BOX | 11.A1
XT1354:3 | SC | 0V | WHT | 20 | 10.A5 | SH0455:X1 | RECMPR 2X7 BOX | 10.A1
XT1354:4 | SC | FU1301 | WHT | 20 | 10.B5 | SH0455:13 | RECMPR 2X7 BOX | 10.B1
XT1354:5 | SC | SH045514 | WHT | 20 | 10.B5 | SH0455:14 | RECMPR 2X7 BOX | 10.B1
XT1354:6 | SC | SH045511 | WHT | 20 | 10.B5 | SH0455:11 | RECMPR 2X7 BOX | 10.B1
XT1354:7 | SC | SH045512 | WHT | 20 | 10.B5 | SH0455:12 | RECMPR 2X7 BOX | 10.B1
XT1355:1 B1 | SC | SH0455X2 | WHT | 20 | 10.A5 | SH0455:X2 | RECMPR 2X7 BOX | 10.A1
AF1302:04 | WC0454 | HA0454BLK2 | 1 | 18 | 10.A7 | HA0454:BLK-2 | RECMPR 2X7 BOX | 10.A1
AF1302:20 | WC0454 | HA0454BLK1 | 2 | 18 | 10.A7 | HA0454:BLK-1 | RECMPR 2X7 BOX | 10.A1
AU1320:L2 | WC9016 | AU1320L2 | ENET | CABLE | 2.A5 | BA1101:L1 | RECMPR 2X7 BOX | 2.A6
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 3/5/2026 1:21 PM

## Panel Errors
Panel Errors
Project # | 4L869
Project Name | ENB-SUN
Revision | C.3
Controls DE | J. UNGER
Phone:
Controls ME | S. LOZA
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
Report date: 3/5/2026 1:21 PM |  |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)

## Cable Part Numbers
Cable Part Numbers |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | 4L869
Report date: 3/5/2026 1:21 PM
Project Name | ENB-SUN
Revision | C.3
Controls DE | J. UNGER
Phone:
Controls ME | S. LOZA
Phone:
Device ID |  | Part Number |  | Description
WC0101 |  | 1302073-36 |  | CABLE, COMMUNICATION CABLE - 36 INCHES
WC0001 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0002 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0006 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0454 |  | PART OF 1103208-1 |  | CABLE, 2 CONDUCTOR UNSHIELDED PART OF HORN
WC9014 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC9016 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES

## Part Number List
Part Number List |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | 4L869
Report date: 3/5/2026 1:21 PM
Project Name | ENB-SUN
Revision | C.3
Controls DE | J. UNGER
Phone:
Controls ME | S. LOZA
Phone:
Device ID | Part Number | Description | Location
FU1320 | 1043265-1,1043265-3 | FUSE, 2A | JB72
XT0783 | DRIVEN COMMON | TERMINAL STRIP, SYSTEM FUNCTION (USE) | JB783
AT1101 | 1577354-4502 | WORKSTATION, VERSA VIEW 1200H | RECMPR 2X7 BOX
BA1101 | 1337728-1 | SWITCH, ETAP, DLR INTERFACE | RECMPR 2X7 BOX
FU0773 | 1043265-1,1043265-4 | FUSE, 5A | RECMPR 2X7 BOX
FU1102 | 1043265-1,1043265-5 | FUSE, 10A | RECMPR 2X7 BOX
GR1305 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECMPR 2X7 BOX
GR1306 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECMPR 2X7 BOX
HA0454 | 1103208-101 | HORN, AUDIBLE ALARM | RECMPR 2X7 BOX
HL7775 | 2380746-7 | LIGHT, ALARM SUMMARY, AMBER | RECMPR 2X7 BOX
HL7776 | 2380746-7 | LIGHT, STOPPED, RED | RECMPR 2X7 BOX
HL7777 | 2380746-7 | LIGHT, RUNNING, GREEN | RECMPR 2X7 BOX
HL7778 | 2380746-7 | LIGHT, SYSTEM DISABLED, RED | RECMPR 2X7 BOX
HL7779 | 2380746-7 | LIGHT, SYSTEM ENABLED, GREEN | RECMPR 2X7 BOX
IEG0141 | 232941-110 | BUS BAR, INSTRUMENT EARTH GROUNDING | RECMPR 2X7 BOX
KA1261 | 1061979-1 | RELAY, U20_DSR_ALARM | RECMPR 2X7 BOX
KA1262 | 1061979-1 | RELAY, U20_DSR_ALARM | RECMPR 2X7 BOX
PEG0141 | 232941-200 | BUS BAR, POWER EARTH GROUNDING | RECMPR 2X7 BOX
SA7774 | 2380746-5 | SELECTOR SWITCH, OFF / LOCAL / REMOTE | RECMPR 2X7 BOX
SB7540 | 2380746-4 | PUSHBUTTON SWITCH, EMERGENCY STOP | RECMPR 2X7 BOX
SB7770 | 2380746-1 | PUSHBUTTON SWITCH, SYSTEM RESET | RECMPR 2X7 BOX
SB7771 | 2380746-1 | PUSHBUTTON SWITCH, ACKNOWLEDGE | RECMPR 2X7 BOX
SB7772 | 2380746-1 | PUSHBUTTON SWITCH, HORN SILENCE | RECMPR 2X7 BOX
SB7773 | 2380746-1 | PUSHBUTTON SWITCH, LAMP TEST | RECMPR 2X7 BOX
SH0455 | 2380746-3 | LIGHTED SWITCH, BACKUP SYSTEM ACTIVE/RESET, AMBER | RECMPR 2X7 BOX
UAI7763 | 1053038-37 | ISOLATOR, UNIVERSAL TEMPRATURE INPUT | RECMPR 2X7 BOX
UJ1100 | 1088442-4 | POWER CONVERTER, DC/DC INPUT TO 24V DC OUTPUT | RECMPR 2X7 BOX
UV0773 | 1053038-19 | POWER FEED MODULE, INTRINSIC SAFETY | RECMPR 2X7 BOX
AF1301 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT, TC/RTD/ I&V | RECMPR 2X7^PANEL
AF1302 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | RECMPR 2X7^PANEL
AF1303 | 2684693-48,2684693-51 | 5094-IB32XT, 32 DISCRETE INPUT | RECMPR 2X7^PANEL
AF1304 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | RECMPR 2X7^PANEL
AF1305 | 2684693-18,2684693-55 | 5094-OB16SXT, 16 DISCRETE OUTPUT, S | RECMPR 2X7^PANEL
AF1306 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | RECMPR 2X7^PANEL
AF1321 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | RECMPR 2X7^PANEL
AF1322 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | RECMPR 2X7^PANEL
AF1323 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | RECMPR 2X7^PANEL
AF1324 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | RECMPR 2X7^PANEL
AF1325 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT, TC/RTD/ I&V | RECMPR 2X7^PANEL
AF1326 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | RECMPR 2X7^PANEL
AP0601 | 1089241-20 | MODULE, BLANK FILLER | RECMPR 2X7^PANEL
AP0602 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RECMPR 2X7^PANEL
AP0603 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RECMPR 2X7^PANEL
AP0604 | 1089241-36 | 1756-EN2TXT, ETHERNET | RECMPR 2X7^PANEL
AP0605 | 1089241-15 | MVI 56-MNETXT, ETHERNET/MODBUS | RECMPR 2X7^PANEL
AP0606 | 1089241-36 | 1756-EN2TXT, ETHERNET | RECMPR 2X7^PANEL
AR0600 | 1089241-29 | RACK CHASSIS, 1756-A7XT (7 SLOT) | RECMPR 2X7^PANEL
AT0600 | 1089241-43 | 1756-L83EXTS, CONTROLLER^GUARDLOGIX | RECMPR 2X7^PANEL
AU1300 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | RECMPR 2X7^PANEL
AU1320 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | RECMPR 2X7^PANEL
BA0011 | 1271449-4 | MEDIA CONVERTER, ETHERNET-FIBER OPTIC | RECMPR 2X7^PANEL
FU0011 | 1043265-1,1043265-3 | FUSE, 2A | RECMPR 2X7^PANEL
FU0131 | 1043265-1,1043265-5 | FUSE, 10A | RECMPR 2X7^PANEL
FU1301 | 1043265-1,1043265-7 | FUSE, 20A | RECMPR 2X7^PANEL
FU1302 | 1043265-1,1043265-7 | FUSE, 20A | RECMPR 2X7^PANEL
FU1303 | 1043265-1,1043265-5 | FUSE, 10A | RECMPR 2X7^PANEL
FU1305 | 1043265-1,1043265-5 | FUSE, 10A | RECMPR 2X7^PANEL
FU1306 | 1043265-1,1043265-5 | FUSE, 10A | RECMPR 2X7^PANEL
FU1307 | 1043265-1,1043265-5 | FUSE, 10A | RECMPR 2X7^PANEL
FU1321 | 1043265-1,1043265-5 | FUSE, 10A | RECMPR 2X7^PANEL
FU1322 | 1043265-1,1043265-5 | FUSE, 10A | RECMPR 2X7^PANEL
FU1323 | 1043265-1,1043265-5 | FUSE, 10A | RECMPR 2X7^PANEL
FU7701 | 1043265-1,1043265-5 | FUSE, 10A | RECMPR 2X7^PANEL
GR1301 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECMPR 2X7^PANEL
GR1302 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECMPR 2X7^PANEL
GR1303 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECMPR 2X7^PANEL
GR1304 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECMPR 2X7^PANEL
KA0351 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | RECMPR 2X7^PANEL
KA0352 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | RECMPR 2X7^PANEL
KA0353 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECMPR 2X7^PANEL
KA0354 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECMPR 2X7^PANEL
KA0355 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECMPR 2X7^PANEL
KA0356 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECMPR 2X7^PANEL
KA0357 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECMPR 2X7^PANEL
KA0358 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWDN SUMMARY | RECMPR 2X7^PANEL
KA0359 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECMPR 2X7^PANEL
KA0360 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECMPR 2X7^PANEL
KA0361 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECMPR 2X7^PANEL
KA0362 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECMPR 2X7^PANEL
KA1344 | 1061979-1 | RELAY, CONTROLLER ACTIVE | RECMPR 2X7^PANEL
KA1345 | 1061979-1 | RELAY, CONTROLLER ACTIVE | RECMPR 2X7^PANEL
KA7661 | 1061979-1 | RELAY, PROCESS GAS HEATER | RECMPR 2X7^PANEL
KA7701 | 1061979-1 | RELAY, RECOMPRESSOR INLET SHUTOFF | RECMPR 2X7^PANEL
KA7702 | 1061979-1 | RELAY, RECOMPRESSOR ENABLE | RECMPR 2X7^PANEL
KA7703 | 1061979-1 | RELAY, RECOMPRESSOR VENT VALVE | RECMPR 2X7^PANEL
KA7705 | 1061979-1 | RELAY, RECOMPRESSOR OUTLET SHUTOFF | RECMPR 2X7^PANEL
KA7760 | 1061979-1 | RELAY, LUBE OIL HEATER | RECMPR 2X7^PANEL
KA7770 | 1061979-1 | RELAY, COMPRESSOR DISCHARGE GAS | RECMPR 2X7^PANEL
KT1325 | 2651077-3 | TIMER RELAY, WATCHDOG | RECMPR 2X7^PANEL
RR3041 | 981090C1 | RESISTOR, 3.01K OHM | RECMPR 2X7^PANEL
RR3042 | 981089C1 | RESISTOR, 1.0K OHM | RECMPR 2X7^PANEL
UJ0131 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | RECMPR 2X7^PANEL
UV0600 | 1089241-28 | POWER SUPPLY, RSLOGIX CHASSIS | RECMPR 2X7^PANEL
XT1300 | 1066730-16,1066730-8,1067996-4 | TERMINAL STRIP, 2 CONDUCTOR | RECMPR 2X7^PANEL
XT1302 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECMPR 2X7^PANEL
XT1303 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECMPR 2X7^PANEL
XT1304 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECMPR 2X7^PANEL
XT1305 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECMPR 2X7^PANEL
XT1311 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECMPR 2X7^PANEL
XT1312 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECMPR 2X7^PANEL
XT1320 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECMPR 2X7^PANEL
XT1354 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECMPR 2X7^PANEL
XT1355 | 1066730-9 | DIODE TERMINAL STRIP, 4 CONDUCTOR | RECMPR 2X7^PANEL
XT1385 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECMPR 2X7^PANEL
XT1404 | [4]1066730-7,1066730-8 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECMPR 2X7^PANEL
XTFGA | 1066730-1 | TERMINAL STRIP, 4 CONDUCTOR | RECMPR 2X7^PANEL