## Blue Labels
(SHT 1) RECOMPRESSOR BOX | (SHT 2) RECOMPRESSOR PANEL
AT1101 | AR0600
HL7776 | AP0606
HL7778 | AP0605
SB7771 | AP0604
SA7774 | AP0602
HL7777 | AP0601
HL7779 | AT0600
SB7770 | UV0600
SB7540 | AP0603
HA0454 | FU1321P
HL7775 | FU1321N
SB7773 | FU1322P
SB7772 | FU1322N
SH0455 | FU1323P
FU1323N
XT1320
AF1321
AF1322
AF1323
AF1324
AF1325
AF1326
XT1304
KA0351
KA0352
KA0353
KA0354
KA0355
KA0356
KA0357
KA0358
KA0359
KA0360
KA0361
KA0362
KA0363
KA0364
KA0365
KA1344
KA1345
KT1325
GR1303
FU1320P
FU1320N
FU1102P
FU1102N
GR1301
FU1305P
FU1305N
FU1306P
FU1306N
FU1307P
FU1307N
XT1305
AF1301
AF1302
AF1303
AF1304
AF1305
AF1306
XT1385
KA1261
KA1262
KA7701
KA7702
KA7703
KA7705
KA7760
KA7770
GR1304
XT1311
XT1312
XT1354
XT1355
XT1302
XT1303
FU1301P
FU1301N
FU1302P
FU1302N
FU1303P
FU1303N
FU7701P
FU7701N
FU7763P
FU7763N
BA1101
UJ1101
GR1305
FU0131P
FU0131N
XT1300G
GR1302
AU1300
AU1320
PEG0141
UJ0131
IEG0141

## White Labels
(SHT 1) RECOMPRESSOR BOX - (SHT 2) RECOMPRESSOR PANEL | (SHT 2) RECOMPRESSOR PANEL
AT1101G | AF1301G
AF1324G
AF1325G
AU1300G
AU1320G
GR1303
GR1304
GR1305
IEG01415
IEG01416
IEG01417
UV0600G

## Heat Shrink Labels
(SHT 2) RECOMPRESSOR PANEL - JB771
WC2521

## RECOMPRESSOR BOX
RECOMPRESSOR BOX
JB40
Project # | J0856
Project Name | NWPL BUHL 1 ERP DGS CATCH4
Revision | A
Controls DE | A.DOMINGUEZ
Phone:
Controls ME | N. CARPENTER
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
AT1101:GND | SC | AT1101G | GRN/YEL | 14 | 5.D3 | PEG0141:1 | RECOMPRESSOR PANEL | 5.D6
AT1101:NEG | SC | 0V | WHT | 16 | 5.D3 | FU1320N:LD | RECOMPRESSOR PANEL | 5.D5
AT1101:POS | SC | FU1320 | WHT | 14 | 5.D3 | FU1320P:LD | RECOMPRESSOR PANEL | 5.D5
HL7775:X1 | SC | HL7775X1 | WHT | 20 | 11.A1 | AF1302:18 | RECOMPRESSOR PANEL | 11.A6
HL7775:X2 | SC | HL7775X2 | WHT | 20 | 11.A1 | AF1302:02 | RECOMPRESSOR PANEL | 11.A6
HL7776:X1 | SC | HL7776X1 | WHT | 20 | 11.A1 | AF1302:21 | RECOMPRESSOR PANEL | 11.A6
HL7776:X2 | SC | HL7776X2 | WHT | 20 | 11.A1 | AF1302:05 | RECOMPRESSOR PANEL | 11.A6
HL7777:X1 | SC | HL7777X1 | WHT | 20 | 11.B1 | AF1302:22 | RECOMPRESSOR PANEL | 11.B6
HL7777:X2 | SC | HL7777X2 | WHT | 20 | 11.B1 | AF1302:06 | RECOMPRESSOR PANEL | 11.B6
HL7778:X1 | SC | HL7778X1 | WHT | 20 | 11.C1 | AF1302:16 | RECOMPRESSOR PANEL | 11.B6
HL7778:X2 | SC | HL7778X2 | WHT | 20 | 11.C1 | AF1302:00 | RECOMPRESSOR PANEL | 11.B6
HL7779:X1 | SC | HL7779X1 | WHT | 20 | 11.C1 | AF1302:17 | RECOMPRESSOR PANEL | 11.C6
HL7779:X2 | SC | HL7779X2 | WHT | 20 | 11.C1 | AF1302:01 | RECOMPRESSOR PANEL | 11.C6
SA7774:11 | SC | SA777411 | WHT | 20 | 10.D1 | AF1303:39 | RECOMPRESSOR PANEL | 10.D6
SA7774:12 | SC | SA777412 | WHT | 20 | 10.D1 | AF1303:07 | RECOMPRESSOR PANEL | 10.D6
SA7774:13 | SC | SA777413 | WHT | 20 | 10.D1 | AF1303:40 | RECOMPRESSOR PANEL | 10.D6
SA7774:14 | SC | SA777414 | WHT | 20 | 10.D1 | AF1303:08 | RECOMPRESSOR PANEL | 10.D6
SB7540:B1-11 | SC | ESTOPB | WHT | 20 | 10.A1 | XT1311:5 | RECOMPRESSOR PANEL | 10.A5
SB7540:B1-12 | SC | ESTOPD | WHT | 20 | 10.A1 | XT1311:6 | RECOMPRESSOR PANEL | 10.A5
SB7540:B2-11 | SC | SB7540B211 | WHT | 20 | 10.A1 | AF1304:34 | RECOMPRESSOR PANEL | 10.A6
SB7540:B2-12 | SC | SB7540B212 | WHT | 20 | 10.A1 | AF1304:02 | RECOMPRESSOR PANEL | 10.A6
SB7770:13 | SC | SB777013 | WHT | 20 | 10.A1 | AF1303:35 | RECOMPRESSOR PANEL | 10.A6
SB7770:14 | SC | SB777014 | WHT | 20 | 10.A1 | AF1303:03 | RECOMPRESSOR PANEL | 10.A6
SB7771:13 | SC | SB777113 | WHT | 20 | 10.B1 | AF1303:36 | RECOMPRESSOR PANEL | 10.B6
SB7771:14 | SC | SB777114 | WHT | 20 | 10.B1 | AF1303:04 | RECOMPRESSOR PANEL | 10.B6
SB7772:13 | SC | SB777213 | WHT | 20 | 10.C1 | AF1303:37 | RECOMPRESSOR PANEL | 10.C6
SB7772:14 | SC | SB777214 | WHT | 20 | 10.C1 | AF1303:05 | RECOMPRESSOR PANEL | 10.C6
SB7773:13 | SC | SB777313 | WHT | 20 | 10.C1 | AF1303:38 | RECOMPRESSOR PANEL | 10.C6
SB7773:14 | SC | SB777314 | WHT | 20 | 10.C1 | AF1303:06 | RECOMPRESSOR PANEL | 10.C6
SH0455:11 | SC | SH045511 | WHT | 20 | 9.B1 | XT1354:5 | RECOMPRESSOR PANEL | 9.B5
SH0455:12 | SC | SH045512 | WHT | 20 | 9.B1 | XT1354:6 | RECOMPRESSOR PANEL | 9.B5
SH0455:13 | SC | FU1301P | WHT | 20 | 9.B1 | XT1354:3 | RECOMPRESSOR PANEL | 9.B5
SH0455:14 | SC | SH045514 | WHT | 20 | 9.B1 | XT1354:4 | RECOMPRESSOR PANEL | 9.B5
SH0455:X1 | SC | FU1301N | WHT | 20 | 9.A1 | XT1354:2 | RECOMPRESSOR PANEL | 9.B5
SH0455:X2 | SC | SH0455X2 | WHT | 20 | 9.A1 | XT1355:1 B1 | RECOMPRESSOR PANEL | 9.A5
AT1101:L1 | WC0101 | BA1101DEVICE | ENET | CABLE | 5.D3 | BA1101:DEVICE | RECOMPRESSOR PANEL | 5.D2
HA0454:BLK-2 | WC0454 | HA0454BLK2 | 1 | 18 | 9.A1 | AF1302:04 | RECOMPRESSOR PANEL | 9.A6
HA0454:BLK-1 | WC0454 | HA0454BLK1 | 2 | 18 | 9.A1 | AF1302:20 | RECOMPRESSOR PANEL | 9.A6
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 4/10/2026 8:54 AM

## RECOMPRESSOR PANEL
RECOMPRESSOR PANEL
JB40
Project # | J0856
Project Name | NWPL BUHL 1 ERP DGS CATCH4
Revision | A
Controls DE | A.DOMINGUEZ
Phone:
Controls ME | N. CARPENTER
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
XT1302:1 | JC | FU1301N | CLIP | --- | 4.D5 | XT1302:2 | RECOMPRESSOR PANEL | 4.D5
XT1302:2 | JC | FU1301N | CLIP | --- | 4.D5 | XT1302:3 | RECOMPRESSOR PANEL | 4.D5
XT1302:3 | JC | FU1301N | CLIP | --- | 4.D5 | XT1302:4 | RECOMPRESSOR PANEL | 4.D5
XT1302:4 | JC | FU1301N | CLIP | --- | 4.D5 | XT1302:5 | RECOMPRESSOR PANEL | 4.D5
XT1303:1 | JC | FU1301P | CLIP | --- | 4.C5 | XT1303:2 | RECOMPRESSOR PANEL | 4.C5
XT1303:2 | JC | FU1301P | CLIP | --- | 4.C5 | XT1303:3 | RECOMPRESSOR PANEL | 4.C5
XT1303:3 | JC | FU1301P | CLIP | --- | 4.C5 | XT1303:4 | RECOMPRESSOR PANEL | 4.C5
XT1303:4 | JC | FU1301P | CLIP | --- | 4.C5 | XT1303:5 | RECOMPRESSOR PANEL | 4.C5
XT1304:1 | JC | FU1303P | CLIP | --- | 7.A6 | XT1304:2 | RECOMPRESSOR PANEL | 7.A6
XT1305:1 | JC | FU1301N | CLIP | --- | 6.B1 | XT1305:2 | RECOMPRESSOR PANEL | 6.B1
XT1305:2 | JC | FU1301N | CLIP | --- | 6.B1 | XT1305:3 | RECOMPRESSOR PANEL | 6.B1
XT1320:1 | JC | FU1301N | CLIP | --- | 8.B1 | XT1320:2 | RECOMPRESSOR PANEL | 8.B1
XT1320:2 | JC | FU1301N | CLIP | --- | 8.B1 | XT1320:3 | RECOMPRESSOR PANEL | 8.C1
AF1301:02 | SC | UJ0131VIN | WHT | 20 | 4.A7 | UJ0131:VIN | RECOMPRESSOR PANEL | 4.B4
AF1301:03 | SC | FU1301N | WHT | 14 | 4.A7 | XT1302:2 | RECOMPRESSOR PANEL | 4.D5
AF1301:04 | SC | UJ0131IOUT | WHT | 20 | 4.B7 | UJ0131:IOUT | RECOMPRESSOR PANEL | 4.B4
AF1301:05 | SC | FU1301N | WHT | 14 | 4.B7 | XT1302:2 | RECOMPRESSOR PANEL | 4.D5
AF1301:COM | SC | AF1303N | WHT | 14 | 6.B2 | AF1303:COM | RECOMPRESSOR PANEL | 6.B3
AF1301:COM | SC | AF1301N | WHT | 16 | 6.B2 | AU1300:COM | RECOMPRESSOR PANEL | 6.A2
AF1301:J | SC | * |  |  | 6.B2 | AF1302:P | RECOMPRESSOR PANEL | 6.B3
AF1301:SH | SC | AF1301G | GRN | 14 | 6.B2 | AF1306:SH | RECOMPRESSOR PANEL | 6.B6
AF1301:SH | SC | AU1300G | GRN | 14 | 6.B2 | AU1300:GND | RECOMPRESSOR PANEL | 6.A2
AF1301:V+ | SC | AF1303P | WHT | 14 | 6.B2 | AF1303:V+ | RECOMPRESSOR PANEL | 6.B3
AF1301:V+ | SC | AF1301P | WHT | 14 | 6.B2 | AU1300:V+ | RECOMPRESSOR PANEL | 6.A2
AF1302:03 | SC | 130203 | WHT | 20 | 9.A6 | XT1355:1 T2 | RECOMPRESSOR PANEL | 9.A5
AF1302:35 | SC | 130235 | WHT | 20 | 9.A6 | KA0354:12 | RECOMPRESSOR PANEL | 9.A6
AF1302:COM | SC | FU2306 | WHT | 14 | 6.B3 | FU1306N:LD | RECOMPRESSOR PANEL | 6.B1
AF1302:J | SC | * |  |  | 6.B3 | AF1303:P | RECOMPRESSOR PANEL | 6.B3
AF1302:V+ | SC | FU1306 | WHT | 14 | 6.B3 | FU1306P:LD | RECOMPRESSOR PANEL | 6.B1
AF1303:00 | SC | 130300 | WHT | 20 | 7.C6 | KA1344:11 | RECOMPRESSOR PANEL | 7.C6
AF1303:02 | SC | UJ0131OK2 | WHT | 20 | 4.B7 | UJ0131:OK2 | RECOMPRESSOR PANEL | 4.B4
AF1303:32 | SC | 130332 | WHT | 20 | 7.C6 | KA1344:14 | RECOMPRESSOR PANEL | 7.C6
AF1303:34 | SC | UJ0131OK1 | WHT | 20 | 4.B7 | UJ0131:OK1 | RECOMPRESSOR PANEL | 4.B4
AF1303:COM | SC | AF1304N | WHT | 14 | 6.B3 | AF1304:COM | RECOMPRESSOR PANEL | 6.A5
AF1303:J | SC | * |  |  | 6.B3 | AF1304:P | RECOMPRESSOR PANEL | 6.A5
AF1303:SHLD | SC | AF1393VP | WHT | 20 | 6.C6 | AF1303:V+ | RECOMPRESSOR PANEL | 6.C6
AF1303:V+ | SC | AF1304P | WHT | 14 | 6.B3 | AF1304:V+ | RECOMPRESSOR PANEL | 6.A5
AF1304:00 | SC | 130400 | WHT | 20 | 7.B6 | KA0353:24 | RECOMPRESSOR PANEL | 7.B6
AF1304:03 | SC | SB74722B1 | WHT | 16 | 9.C6 | XT1311:4 | RECOMPRESSOR PANEL | 9.C5
AF1304:32 | SC | 130432 | WHT | 20 | 7.B6 | KA0353:21 | RECOMPRESSOR PANEL | 7.B6
AF1304:35 | SC | SB74722B2 | WHT | 16 | 9.C6 | XT1311:3 | RECOMPRESSOR PANEL | 9.C5
AF1304:COM | SC | AF1306N | WHT | 14 | 6.A5 | AF1306:COM | RECOMPRESSOR PANEL | 6.B6
AF1304:J | SC | * |  |  | 6.A5 | AF1305:P | RECOMPRESSOR PANEL | 6.A5
AF1304:V+ | SC | AF1306P | WHT | 14 | 6.A5 | AF1306:V+ | RECOMPRESSOR PANEL | 6.B6
AF1305:00 | SC | 130500 | WHT | 20 | 20.A6 | KA7702:A1 | RECOMPRESSOR PANEL | 20.A6
AF1305:01 | SC | 130501 | WHT | 20 | 15.B6 | KA7701:A1 | RECOMPRESSOR PANEL | 15.B6
AF1305:03 | SC | 130503 | WHT | 20 | 16.A6 | KA7703:A1 | RECOMPRESSOR PANEL | 16.A6
AF1305:05 | SC | 130505 | WHT | 20 | 19.A6 | KA7705:A1 | RECOMPRESSOR PANEL | 19.A6
AF1305:07 | SC | KT1325B1 | WHT | 20 | 7.B6 | KT1325:B1 | RECOMPRESSOR PANEL | 7.A6
AF1305:08 | SC | 130508 | WHT | 20 | 7.C6 | KT1325:15 | RECOMPRESSOR PANEL | 7.C6
AF1305:16 | SC | 130516 | WHT | 20 | 20.A6 | KA7702:A2 | RECOMPRESSOR PANEL | 20.A6
AF1305:17 | SC | 130517 | WHT | 20 | 15.B6 | KA7701:A2 | RECOMPRESSOR PANEL | 15.B6
AF1305:19 | SC | 130519 | WHT | 20 | 16.A6 | KA7703:A2 | RECOMPRESSOR PANEL | 16.A6
AF1305:21 | SC | 130521 | WHT | 20 | 19.A6 | KA7705:A2 | RECOMPRESSOR PANEL | 19.A6
AF1305:23 | SC | KT1325A2 | WHT | 20 | 7.B6 | KT1325:A2 | RECOMPRESSOR PANEL | 7.A6
AF1305:COM | SC | FU2308 | WHT | 14 | 6.A5 | FU1307N:LD | RECOMPRESSOR PANEL | 6.B1
AF1305:J | SC | * |  |  | 6.A5 | AF1306:P | RECOMPRESSOR PANEL | 6.B6
AF1305:V+ | SC | FU1307 | WHT | 14 | 6.A5 | FU1307P:LD | RECOMPRESSOR PANEL | 6.B1
AF1306:11 | SC | 130611 | WHT | 20 | 4.A5 | XT1385:2 | RECOMPRESSOR PANEL | 4.A4
AF1306:27 | SC | FU1301N | WHT | 14 | 4.A5 | XT1385:3 | RECOMPRESSOR PANEL | 4.A4
AF1306:SH | SC | IEG01416 | GRN | 14 | 6.B6 | IEG0141:6 | RECOMPRESSOR PANEL | 6.B7
AF1321:00 | SC | 132100 | WHT | 20 | 13.A6 | KA0355:14 | RECOMPRESSOR PANEL | 13.A6
AF1321:01 | SC | 132101 | WHT | 20 | 13.A6 | KA0355:24 | RECOMPRESSOR PANEL | 13.A6
AF1321:02 | SC | 132102 | WHT | 20 | 15.B6 | KA7701:14 | RECOMPRESSOR PANEL | 15.B6
AF1321:03 | SC | 132103 | WHT | 20 | 15.C6 | KA0356:24 | RECOMPRESSOR PANEL | 15.C5
AF1321:04 | SC | 132104 | WHT | 20 | 16.C6 | KA0357:24 | RECOMPRESSOR PANEL | 16.C5
AF1321:05 | SC | 132105 | WHT | 20 | 19.A6 | KA7705:14 | RECOMPRESSOR PANEL | 19.B6
AF1321:16 | SC | SV77012 | WHT | 20 | 13.A6 | XT1312:2 | RECOMPRESSOR PANEL | 13.A5
AF1321:17 | SC | SV77022 | WHT | 20 | 13.A6 | XT1312:4 | RECOMPRESSOR PANEL | 13.B5
AF1321:21 | SC | SV77702 |  |  | 19.A6 | XT1312:14 | RECOMPRESSOR PANEL | 19.B5
AF1321:COM | SC | AF1321N | WHT | 14 | 8.B2 | AU1320:COM | RECOMPRESSOR PANEL | 8.A2
AF1321:J | SC | * |  |  | 8.B2 | AF1322:P | RECOMPRESSOR PANEL | 8.B3
AF1321:V+ | SC | AF1321P | WHT | 20 | 8.B2 | AU1320:V+ | RECOMPRESSOR PANEL | 8.A2
AF1322:05 | SC | 132205 | WHT | 20 | 22.A6 | KA7760:A1 | RECOMPRESSOR PANEL | 22.A6
AF1322:07 | SC | 132207 | WHT | 20 | 16.A6 | KA7703:14 | RECOMPRESSOR PANEL | 16.A6
AF1322:08 | SC | 132208 | WHT | 20 | 25.A6 | KA1261:A1 | RECOMPRESSOR PANEL | 25.A6
AF1322:09 | SC | 132209 | WHT | 20 | 25.C6 | KA1262:A1 | RECOMPRESSOR PANEL | 25.C6
AF1322:11 | SC | 132211 | WHT | 20 | 14.A6 | KA0354:14 | RECOMPRESSOR PANEL | 14.A6
AF1322:12 | SC | 132212 | WHT | 20 | 14.C6 | KA0354:24 | RECOMPRESSOR PANEL | 14.C6
AF1322:14 | SC | KA7770A1 | WHT | 20 | 23.B6 | KA7770:A1 | RECOMPRESSOR PANEL | 23.B6
AF1322:21 | SC | 132221 | WHT | 20 | 22.A6 | KA7760:A2 | RECOMPRESSOR PANEL | 22.A6
AF1322:24 | SC | 132224 | WHT | 20 | 25.A6 | KA1261:A2 | RECOMPRESSOR PANEL | 25.A6
AF1322:25 | SC | 132225 | WHT | 20 | 25.C6 | KA1262:A2 | RECOMPRESSOR PANEL | 25.C6
AF1322:27 | SC | SV76512 | WHT | 20 | 14.A6 | XT1312:6 | RECOMPRESSOR PANEL | 14.A5
AF1322:28 | SC | SV76522 | WHT | 20 | 14.C6 | XT1312:8 | RECOMPRESSOR PANEL | 14.C5
AF1322:30 | SC | 132230 | WHT | 20 | 23.B6 | KA7770:A2 | RECOMPRESSOR PANEL | 23.B6
AF1322:COM | SC | 0V | WHT | 14 | 8.B3 | FU1322N:LD | RECOMPRESSOR PANEL | 8.B1
AF1322:J | SC | * |  |  | 8.B3 | AF1323:P | RECOMPRESSOR PANEL | 8.B3
AF1322:V+ | SC | FU1322 | WHT | 14 | 8.B3 | FU1322P:LD | RECOMPRESSOR PANEL | 8.B1
AF1323:04 | SC | JP4 | VIO | 20 | 26.A6 | AF1323:36 | RECOMPRESSOR PANEL | 26.A6
XT1311:2 | SC | JP2 | VIO | 20 | 9.C5 | XT1311:1 | RECOMPRESSOR PANEL | 9.C5
XT1311:4 | SC | JP3 | VIO | 20 | 9.C5 | XT1311:3 | RECOMPRESSOR PANEL | 9.C5
XT1311:8 | SC | JP5 | VIO | 20 | 26.A5 | XT1311:7 | RECOMPRESSOR PANEL | 26.A5
AF1323:COM | SC | AF1324N | WHT | 14 | 8.B3 | AF1324:COM | RECOMPRESSOR PANEL | 8.B4
AF1323:COM | SC | 0V | WHT | 14 | 8.B3 | FU1323N:LD | RECOMPRESSOR PANEL | 8.C1
AF1323:J | SC | * |  |  | 8.B3 | AF1324:P | RECOMPRESSOR PANEL | 8.B4
AF1323:V+ | SC | AF1324P | WHT | 14 | 8.B3 | AF1324:V+ | RECOMPRESSOR PANEL | 8.B4
AF1323:V+ | SC | FU1323 | WHT | 14 | 8.B3 | FU1323P:LD | RECOMPRESSOR PANEL | 8.B1
AF1324:COM | SC | AF1325N | WHT | 14 | 8.B4 | AF1325:COM | RECOMPRESSOR PANEL | 8.B5
AF1324:J | SC | * |  |  | 8.B4 | AF1325:P | RECOMPRESSOR PANEL | 8.B5
AF1324:SH | SC | AF1324G | GRN | 14 | 8.B4 | AF1325:SH | RECOMPRESSOR PANEL | 8.B5
AF1324:SH | SC | AU1320G | GRN | 14 | 8.B4 | AU1320:GND | RECOMPRESSOR PANEL | 8.A2
AF1324:V+ | SC | AF1325P | WHT | 14 | 8.B4 | AF1325:V+ | RECOMPRESSOR PANEL | 8.B5
AF1325:COM | SC | AF1326N | WHT | 14 | 8.B5 | AF1326:COM | RECOMPRESSOR PANEL | 8.A5
AF1325:J | SC | * |  |  | 8.B5 | AF1326:P | RECOMPRESSOR PANEL | 8.A5
AF1325:SH | SC | AF1325G | GRN | 14 | 8.B5 | AF1326:SH | RECOMPRESSOR PANEL | 8.A5
AF1325:V+ | SC | AF1326P | WHT | 14 | 8.B5 | AF1326:V+ | RECOMPRESSOR PANEL | 8.A5
AF1326:SH | SC | IEG01417 | GRN | 14 | 8.A5 | IEG0141:7 | RECOMPRESSOR PANEL | 8.B6
AR0600:IE1 | SC | UV0600G | GRN | 14 | 5.A2 | UV0600:GND | RECOMPRESSOR PANEL | 5.A2
AR0600:IE2 | SC | IEG01415 | GRN | 12 | 5.A2 | IEG0141:5 | RECOMPRESSOR PANEL | 5.B5
AU1300:COM | SC | FU2305 | WHT | 14 | 6.A2 | FU1305N:LD | RECOMPRESSOR PANEL | 6.B1
AU1300:V+ | SC | FU1305 | WHT | 14 | 6.A2 | FU1305P:LD | RECOMPRESSOR PANEL | 6.B1
AU1320:COM | SC | FU1324 | WHT | 14 | 8.A2 | FU1321N:LD | RECOMPRESSOR PANEL | 8.B1
AU1320:V+ | SC | FU1321 | WHT | 14 | 8.A2 | FU1321P:LD | RECOMPRESSOR PANEL | 8.B1
BA1101:NEG | SC | UJ1101N | WHT | 16 | 5.D2 | UJ1101:OUT1(-) | RECOMPRESSOR PANEL | 5.C8
BA1101:POS | SC | UJ1101P | WHT | 16 | 5.D2 | UJ1101:OUT1(+) | RECOMPRESSOR PANEL | 5.C8
FU0131N:LD | SC | UJ0131N | RED | 12 | 4.B3 | UJ0131:- | RECOMPRESSOR PANEL | 4.B4
FU0131P:LD | SC | UJ0131P | RED | 12 | 4.B3 | UJ0131:+ | RECOMPRESSOR PANEL | 4.B4
FU1102N:LD | SC | FU1102N | WHT | 16 | 5.C5 | UJ1101:24V(-) | RECOMPRESSOR PANEL | 5.C8
FU1102N:LI | SC | FU1301N | WHT | 16 | 5.C5 | XT1302:3 | RECOMPRESSOR PANEL | 4.D5
FU1102P:LD | SC | FU1102 | WHT | 16 | 5.C5 | UJ1101:24V(+) | RECOMPRESSOR PANEL | 5.C8
FU1102P:LI | SC | FU1301P | WHT | 16 | 5.C5 | XT1303:3 | RECOMPRESSOR PANEL | 4.C5
FU1301N:LD | SC | FU1301N | WHT | 12 | 4.D5 | XT1302:1 | RECOMPRESSOR PANEL | 4.D5
FU1301N:LI | SC | FU2301 | WHT | 12 | 4.D5 | UJ0131:OUT(-) | RECOMPRESSOR PANEL | 4.B4
FU1301P:LD | SC | FU1301P | WHT | 12 | 4.C5 | XT1303:1 | RECOMPRESSOR PANEL | 4.C5
FU1301P:LI | SC | 24V | WHT | 10 | 4.C5 | UJ0131:OUT(+) | RECOMPRESSOR PANEL | 4.B4
FU1302N:LD | SC | FU1302N | WHT | 14 | 4.D6 | UV0600:(-) | RECOMPRESSOR PANEL | 5.A2
FU1302N:LI | SC | FU1301N | WHT | 14 | 4.D6 | XT1302:4 | RECOMPRESSOR PANEL | 4.D5
FU1302P:LD | SC | FU1302P | WHT | 12 | 4.C6 | UV0600:(+) | RECOMPRESSOR PANEL | 5.A2
FU1302P:LI | SC | FU1301P | WHT | 14 | 4.C6 | XT1303:4 | RECOMPRESSOR PANEL | 4.C5
FU1303N:LD | SC | FU1301N | WHT | 20 | 7.D2 | XT1302:2 | RECOMPRESSOR PANEL | 4.D5
FU1303N:LI | SC | FU1303N | WHT | 20 | 7.D2 | KA0365:A2 | RECOMPRESSOR PANEL | 7.D2
FU1303P:LD | SC | FU1303P | WHT | 14 | 4.C6 | XT1304:1 | RECOMPRESSOR PANEL | 7.A6
FU1303P:LI | SC | FU1301P | WHT | 14 | 4.C6 | XT1354:1 | RECOMPRESSOR PANEL | 4.C6
FU1305N:LI | SC | FU1301N | WHT | 14 | 6.B1 | XT1305:1 | RECOMPRESSOR PANEL | 6.B1
FU1305P:LI | SC | FU1301P | WHT | 14 | 6.B1 | FU1306P:LI | RECOMPRESSOR PANEL | 6.B1
FU1305P:LI | SC | FU1301P | WHT | 14 | 6.B1 | XT1303:1 | RECOMPRESSOR PANEL | 4.C5
FU1306N:LI | SC | FU1301N | WHT | 14 | 6.B1 | XT1305:2 | RECOMPRESSOR PANEL | 6.B1
FU1306P:LI | SC | FU1301P | WHT | 14 | 6.B1 | FU1307P:LI | RECOMPRESSOR PANEL | 6.B1
FU1307N:LI | SC | FU1301N | WHT | 14 | 6.B1 | XT1305:3 | RECOMPRESSOR PANEL | 6.B1
FU1320N:LI | SC | FU1301N | WHT | 14 | 5.D5 | XT1302:3 | RECOMPRESSOR PANEL | 4.D5
FU1320P:LI | SC | FU1301P | WHT | 14 | 5.D5 | XT1303:3 | RECOMPRESSOR PANEL | 4.C5
FU1321N:LI | SC | FU1301N | WHT | 14 | 8.B1 | XT1320:1 | RECOMPRESSOR PANEL | 8.B1
FU1321P:LI | SC | FU1301P | WHT | 14 | 8.B1 | FU1322P:LI | RECOMPRESSOR PANEL | 8.B1
FU1321P:LI | SC | FU1301P | WHT | 20 | 8.B1 | XT1303:3 | RECOMPRESSOR PANEL | 4.C5
FU1322N:LI | SC | FU1301N | WHT | 14 | 8.B1 | XT1320:2 | RECOMPRESSOR PANEL | 8.B1
FU1322P:LI | SC | FU1301P | WHT | 14 | 8.B1 | FU1323P:LI | RECOMPRESSOR PANEL | 8.B1
FU1323N:LI | SC | FU1301N | WHT | 14 | 8.C1 | XT1320:3 | RECOMPRESSOR PANEL | 8.C1
FU7701N:LI | SC | FU1301N | WHT | 14 | 4.D5 | XT1302:4 | RECOMPRESSOR PANEL | 4.D5
FU7701P:LI | SC | FU1301P | WHT | 14 | 4.C5 | XT1303:4 | RECOMPRESSOR PANEL | 4.C5
FU7763N:LI | SC | FU1301N | WHT | 14 | 21.A5 | XT1302:5 | RECOMPRESSOR PANEL | 4.D5
FU7763P:LI | SC | FU1301P | WHT | 14 | 21.A5 | XT1303:5 | RECOMPRESSOR PANEL | 4.C5
GR1301: | SC | GR1301 | GRN/YEL | 14 | 3.A4 | FRAME | RECOMPRESSOR PANEL | 3.A3
GR1302: | SC | GR1302 | GRN/YEL | 14 | 3.A4 | FRAME | RECOMPRESSOR PANEL | 3.A3
GR1303: | SC | GR1303 | GRN | 14 | 3.A4 | IEG0141:2 | RECOMPRESSOR PANEL | 3.A3
GR1304: | SC | GR1304 | GRN | 14 | 3.A4 | IEG0141:3 | RECOMPRESSOR PANEL | 3.A3
GR1305: | SC | GR1305 | GRN | 14 | 3.A4 | IEG0141:4 | RECOMPRESSOR PANEL | 3.A3
KA0351:11 | SC | FU1303P | WHT | 20 | 7.A5 | XT1304:1 | RECOMPRESSOR PANEL | 7.A6
KA0351:11 | SC | FU1303P | WHT | 20 | 7.A5 | KA0353:11 | RECOMPRESSOR PANEL | 7.A5
KA0351:14 | SC | KA035114 | WHT | 20 | 7.A5 | KA0353:14 | RECOMPRESSOR PANEL | 7.A5
KA0351:14 | SC | KA035114 | WHT | 20 | 7.A5 | KA1345:11 | RECOMPRESSOR PANEL | 7.A4
KA0351:24 | SC | 130401 | WHT | 20 | 7.B6 | AF1304:01 | RECOMPRESSOR PANEL | 7.B6
KA0351:24 | SC | 130401 | WHT | 20 | 7.B6 | KA1344:24 | RECOMPRESSOR PANEL | 7.C6
KA0351:A1 | SC | SH045514 | WHT | 20 | 7.A2 | XT1354:4 | RECOMPRESSOR PANEL | 9.B5
KA0351:A1 | SC | SH045514 | WHT | 20 | 7.A2 | KA0352:A1 | RECOMPRESSOR PANEL | 7.A2
KA0352:11 | SC | FU1303P | WHT | 20 | 7.A7 | KA1345:21 | RECOMPRESSOR PANEL | 7.A7
KA0352:11 | SC | FU1303P | WHT | 20 | 7.A7 | XT1304:2 | RECOMPRESSOR PANEL | 7.A6
KA0352:14 | SC | KT1325A1 | WHT | 20 | 7.A7 | KA1345:24 | RECOMPRESSOR PANEL | 7.A7
KA0352:A2 | SC | FU1303N | WHT | 20 | 7.A2 | KA0351:A2 | RECOMPRESSOR PANEL | 7.A2
KA0352:A2 | SC | FU1303N | WHT | 20 | 7.A2 | KA0353:A2 | RECOMPRESSOR PANEL | 7.B2
KA0353:A1 | SC | ESTOPD | WHT | 20 | 7.B2 | XT1354:7 | RECOMPRESSOR PANEL | 7.B3
KA0353:A1 | SC | ESTOPD | WHT | 20 | 7.B2 | KA0354:A1 | RECOMPRESSOR PANEL | 7.B2
KA0353:A2 | SC | FU1303N | WHT | 20 | 7.B2 | KA0354:A2 | RECOMPRESSOR PANEL | 7.B2
KA0354:11 | SC | SV76511 | WHT | 20 | 14.A6 | XT1312:5 | RECOMPRESSOR PANEL | 14.A5
KA0354:11 | SC | KA035411 | WHT | 20 | 9.A6 | XT1355:1 B2 | RECOMPRESSOR PANEL | 9.A5
KA0354:21 | SC | SV76521 | WHT | 20 | 14.C6 | XT1312:7 | RECOMPRESSOR PANEL | 14.C5
KA0354:A1 | SC | ESTOPD | WHT | 20 | 7.B2 | KA0355:A1 | RECOMPRESSOR PANEL | 7.B2
KA0354:A2 | SC | FU1303N | WHT | 20 | 7.B2 | KA0355:A2 | RECOMPRESSOR PANEL | 7.B2
KA0355:11 | SC | SV77011 | WHT | 20 | 13.A6 | XT1312:1 | RECOMPRESSOR PANEL | 13.A5
KA0355:21 | SC | SV77021 | WHT | 20 | 13.A6 | XT1312:3 | RECOMPRESSOR PANEL | 13.A5
KA0355:A1 | SC | ESTOPD | WHT | 20 | 7.B2 | KA0356:A1 | RECOMPRESSOR PANEL | 7.B2
KA0355:A2 | SC | FU1303N | WHT | 20 | 7.B2 | KA0356:A2 | RECOMPRESSOR PANEL | 7.B2
KA0356:11 | SC | SV77501 | WHT | 20 | 15.B5 | XT1312:9 | RECOMPRESSOR PANEL | 15.B5
KA0356:14 | SC | KA770111 | WHT | 20 | 15.B5 | KA7701:11 | RECOMPRESSOR PANEL | 15.B6
KA0356:21 | SC | SV77511 | WHT | 20 | 15.C5 | XT1312:10 | RECOMPRESSOR PANEL | 15.C5
KA0356:A1 | SC | ESTOPD | WHT | 20 | 7.B2 | KA0357:A1 | RECOMPRESSOR PANEL | 7.B2
KA0356:A2 | SC | FU1303N | WHT | 20 | 7.B2 | KA0357:A2 | RECOMPRESSOR PANEL | 7.B2
KA0357:11 | SC | SV77521 | WHT | 20 | 16.A5 | XT1312:11 | RECOMPRESSOR PANEL | 16.A5
KA0357:14 | SC | KA770311 | WHT | 20 | 16.A5 | KA7703:11 | RECOMPRESSOR PANEL | 16.A6
KA0357:21 | SC | SV77601 | WHT | 20 | 16.C5 | XT1312:12 | RECOMPRESSOR PANEL | 16.C5
KA0357:A1 | SC | ESTOPD | WHT | 20 | 7.B2 | KA0358:A1 | RECOMPRESSOR PANEL | 7.C2
KA0357:A2 | SC | FU1303N | WHT | 20 | 7.B2 | KA0358:A2 | RECOMPRESSOR PANEL | 7.C2
KA0358:11 | SC | SV77701 | WHT | 20 | 19.B5 | XT1312:13 | RECOMPRESSOR PANEL | 19.B5
KA0358:14 | SC | KA770511 | WHT | 20 | 19.B5 | KA7705:11 | RECOMPRESSOR PANEL | 19.B6
KA0358:21 | SC | KA770214 | WHT | 20 | 20.A6 | KA7702:14 | RECOMPRESSOR PANEL | 20.A6
KA0358:A1 | SC | ESTOPD | WHT | 20 | 7.C2 | KA0359:A1 | RECOMPRESSOR PANEL | 7.C2
KA0358:A2 | SC | FU1303N | WHT | 20 | 7.C2 | KA0359:A2 | RECOMPRESSOR PANEL | 7.C2
KA0359:A1 | SC | ESTOPD | WHT | 20 | 7.C2 | KA0360:A1 | RECOMPRESSOR PANEL | 7.C2
KA0359:A2 | SC | FU1303N | WHT | 20 | 7.C2 | KA0360:A2 | RECOMPRESSOR PANEL | 7.C2
KA0360:A1 | SC | ESTOPD | WHT | 20 | 7.C2 | KA0361:A1 | RECOMPRESSOR PANEL | 7.C2
KA0360:A2 | SC | FU1303N | WHT | 20 | 7.C2 | KA0361:A2 | RECOMPRESSOR PANEL | 7.C2
KA0361:A1 | SC | ESTOPD | WHT | 20 | 7.C2 | KA0362:A1 | RECOMPRESSOR PANEL | 7.C2
KA0361:A2 | SC | FU1303N | WHT | 20 | 7.C2 | KA0362:A2 | RECOMPRESSOR PANEL | 7.C2
KA0362:A1 | SC | ESTOPD | WHT | 20 | 7.C2 | KA0363:A1 | RECOMPRESSOR PANEL | 7.D2
KA0362:A2 | SC | FU1303N | WHT | 20 | 7.C2 | KA0363:A2 | RECOMPRESSOR PANEL | 7.D2
KA0363:A1 | SC | ESTOPD | WHT | 20 | 7.D2 | KA0364:A1 | RECOMPRESSOR PANEL | 7.D2
KA0363:A2 | SC | FU1303N | WHT | 20 | 7.D2 | KA0364:A2 | RECOMPRESSOR PANEL | 7.D2
KA0364:A1 | SC | ESTOPD | WHT | 20 | 7.D2 | KA0365:A1 | RECOMPRESSOR PANEL | 7.D2
KA0364:A2 | SC | FU1303N | WHT | 20 | 7.D2 | KA0365:A2 | RECOMPRESSOR PANEL | 7.D2
KA1344:21 | SC | KA035121 | WHT | 20 | 7.C6 | KA0351:21 | RECOMPRESSOR PANEL | 7.B6
KA1344:21 | SC | KA035121 | WHT | 20 | 7.C6 | KA1344:A1 | RECOMPRESSOR PANEL | 7.C6
KA1344:24 | SC | 130401 | WHT | 20 | 7.C6 | KT1325:18 | RECOMPRESSOR PANEL | 7.C6
KA1344:A1 | SC | KA035121 | WHT | 20 | 7.C6 | KA1345:A1 | RECOMPRESSOR PANEL | 7.C6
KA1344:A2 | SC | 130524 | WHT | 20 | 7.C6 | AF1305:24 | RECOMPRESSOR PANEL | 7.C6
KA1344:A2 | SC | 130524 | WHT | 20 | 7.C6 | KA1345:A2 | RECOMPRESSOR PANEL | 7.C6
KA1345:14 | SC | ESTOPA | WHT | 20 | 7.A4 | XT1311:1 | RECOMPRESSOR PANEL | 9.C5
KA1345:24 | SC | KT1325A1 | WHT | 20 | 7.A7 | KT1325:A1 | RECOMPRESSOR PANEL | 7.A6
RR3041: -3.01K OHM | SC | FU1301P | LEAD | --- | 4.A4 | XT1385:1 | RECOMPRESSOR PANEL | 4.A4
RR3041: -3.01K OHM | SC | 130611 | LEAD | --- | 4.A4 | XT1385:2 | RECOMPRESSOR PANEL | 4.A4
RR3042: -1.0K OHM | SC | FU1301N | LEAD | --- | 4.A4 | XT1385:3 | RECOMPRESSOR PANEL | 4.A4
RR3042: -1.0K OHM | SC | 130611 | LEAD | --- | 4.A4 | XT1385:2 | RECOMPRESSOR PANEL | 4.A4
UJ0131:G | SC | UJ0131G | GRN/YEL | 14 | 4.B4 | FRAME | RECOMPRESSOR PANEL | 4.B3
XT1302:1 | SC | FU1301N | WHT | 14 | 4.D5 | XT1305:1 | RECOMPRESSOR PANEL | 6.B1
XT1302:3 | SC | FU1301N | WHT | 14 | 4.D5 | XT1320:1 | RECOMPRESSOR PANEL | 8.B1
XT1303:4 | SC | FU1301P | WHT | 14 | 4.C5 | XT1354:1 | RECOMPRESSOR PANEL | 4.C6
XT1311:10 | SC | ESTOPG | WHT | 20 | 18.B5 | XT1311:7 | RECOMPRESSOR PANEL | 26.A5
XT1311:2 | SC | ESTOPB | WHT | 20 | 9.C5 | XT1311:9 | RECOMPRESSOR PANEL | 18.B5
XT1311:5 | SC | ESTOPB | WHT | 20 | 10.A5 | XT1311:8 | RECOMPRESSOR PANEL | 26.A5
XT1354:2 | SC | FU1301N | WHT | 14 | 9.B5 | XT1302:4 | RECOMPRESSOR PANEL | 4.D5
XT1354:3 | SC | FU1301P | WHT | 20 | 9.B5 | XT1303:2 | RECOMPRESSOR PANEL | 4.C5
XT1354:7 | SC | ESTOPD | WHT | 20 | 7.B3 | XT1311:6 | RECOMPRESSOR PANEL | 10.A5
XT1385:1 | SC | FU1301P | WHT | 14 | 4.A4 | XT1303:2 | RECOMPRESSOR PANEL | 4.C5
XT1385:3 | SC | FU1301N | WHT | 14 | 4.A4 | XT1302:5 | RECOMPRESSOR PANEL | 4.D5
AP0602:L2 | WC0001 | AP0602L2 | ENET | CABLE | 2.A1 | AP0603:L1 | RECOMPRESSOR PANEL | 2.A2
AP0603:L2 | WC0002 | AP0603L2 | ENET | CABLE | 2.A2 | AU1300:L1 | RECOMPRESSOR PANEL | 2.A3
AU1300:L2 | WC9014 | AU1300L2 | ENET | CABLE | 2.A3 | AU1320:L1 | RECOMPRESSOR PANEL | 2.A5
AU1320:L2 | WC9016 | AU1320L2 | ENET | CABLE | 2.A5 | BA1101:L1 | RECOMPRESSOR PANEL | 2.A6
AF1325:17 | WC2517 | TE77601 | RED | 20 | 19.C6 | XT0168:1 | JB771 | 19.C2
AF1325:01 | WC2517 | TE77602 | CLR | 20 | 19.C6 | XT0168:2 | JB771 | 19.C2
AF1325:00 | WC2517 | TE77603 | BLK | 20 | 19.C6 | XT0168:3 | JB771 | 19.D2
AF1325:19 | WC2521 | TE77701 | RED | 20 | 19.D6 | XT0771:1 | JB771 | 19.D2
AF1325:03 | WC2521 | TE77702 | CLR | 20 | 19.D6 | XT0771:2 | JB771 | 19.D2
AF1325:02 | WC2521 | TE77703 | BLK | 20 | 19.D6 | XT0771:3 | JB771 | 19.D2
AF1325:50 | WC2521 | 132550 | SH | 20 | 19.D6 | FW5:4 | JB771 | 19.D2
AF1306:12 | WC7764 | UAI77631 | WHT | 18 | 21.A6 | UAI7763:+1 | JB7763 | 21.A2
AF1306:28 | WC7764 | UAI77632 | BLK | 18 | 21.A6 | UAI7763:-2 | JB7763 | 21.A2
AF1306:60 | WC7764 | AF130660 | SH | 18 | 21.A6 | FLOATING | JB7763 | 21.A3
FU7763P:LD | WC7765 | FU7763P | WHT | 18 | 21.A5 | UAI7763:7+ | JB7763 | 21.A2
FU7763N:LD | WC7765 | FU7763N | BLK | 18 | 21.A5 | UAI7763:9- | JB7763 | 21.A2
AF1302:00 | SC | HL7778X2 | WHT | 20 | 11.B6 | HL7778:X2 | RECOMPRESSOR BOX | 11.C1
AF1302:01 | SC | HL7779X2 | WHT | 20 | 11.C6 | HL7779:X2 | RECOMPRESSOR BOX | 11.C1
AF1302:02 | SC | HL7775X2 | WHT | 20 | 11.A6 | HL7775:X2 | RECOMPRESSOR BOX | 11.A1
AF1302:05 | SC | HL7776X2 | WHT | 20 | 11.A6 | HL7776:X2 | RECOMPRESSOR BOX | 11.A1
AF1302:06 | SC | HL7777X2 | WHT | 20 | 11.B6 | HL7777:X2 | RECOMPRESSOR BOX | 11.B1
AF1302:16 | SC | HL7778X1 | WHT | 20 | 11.B6 | HL7778:X1 | RECOMPRESSOR BOX | 11.C1
AF1302:17 | SC | HL7779X1 | WHT | 20 | 11.C6 | HL7779:X1 | RECOMPRESSOR BOX | 11.C1
AF1302:18 | SC | HL7775X1 | WHT | 20 | 11.A6 | HL7775:X1 | RECOMPRESSOR BOX | 11.A1
AF1302:21 | SC | HL7776X1 | WHT | 20 | 11.A6 | HL7776:X1 | RECOMPRESSOR BOX | 11.A1
AF1302:22 | SC | HL7777X1 | WHT | 20 | 11.B6 | HL7777:X1 | RECOMPRESSOR BOX | 11.B1
AF1303:03 | SC | SB777014 | WHT | 20 | 10.A6 | SB7770:14 | RECOMPRESSOR BOX | 10.A1
AF1303:04 | SC | SB777114 | WHT | 20 | 10.B6 | SB7771:14 | RECOMPRESSOR BOX | 10.B1
AF1303:05 | SC | SB777214 | WHT | 20 | 10.C6 | SB7772:14 | RECOMPRESSOR BOX | 10.C1
AF1303:06 | SC | SB777314 | WHT | 20 | 10.C6 | SB7773:14 | RECOMPRESSOR BOX | 10.C1
AF1303:07 | SC | SA777412 | WHT | 20 | 10.D6 | SA7774:12 | RECOMPRESSOR BOX | 10.D1
AF1303:08 | SC | SA777414 | WHT | 20 | 10.D6 | SA7774:14 | RECOMPRESSOR BOX | 10.D1
AF1303:35 | SC | SB777013 | WHT | 20 | 10.A6 | SB7770:13 | RECOMPRESSOR BOX | 10.A1
AF1303:36 | SC | SB777113 | WHT | 20 | 10.B6 | SB7771:13 | RECOMPRESSOR BOX | 10.B1
AF1303:37 | SC | SB777213 | WHT | 20 | 10.C6 | SB7772:13 | RECOMPRESSOR BOX | 10.C1
AF1303:38 | SC | SB777313 | WHT | 20 | 10.C6 | SB7773:13 | RECOMPRESSOR BOX | 10.C1
AF1303:39 | SC | SA777411 | WHT | 20 | 10.D6 | SA7774:11 | RECOMPRESSOR BOX | 10.D1
AF1303:40 | SC | SA777413 | WHT | 20 | 10.D6 | SA7774:13 | RECOMPRESSOR BOX | 10.D1
AF1304:02 | SC | SB7540B212 | WHT | 20 | 10.A6 | SB7540:B2-12 | RECOMPRESSOR BOX | 10.A1
AF1304:34 | SC | SB7540B211 | WHT | 20 | 10.A6 | SB7540:B2-11 | RECOMPRESSOR BOX | 10.A1
FU1320N:LD | SC | 0V | WHT | 16 | 5.D5 | AT1101:NEG | RECOMPRESSOR BOX | 5.D3
FU1320P:LD | SC | FU1320 | WHT | 14 | 5.D5 | AT1101:POS | RECOMPRESSOR BOX | 5.D3
PEG0141:1 | SC | AT1101G | GRN/YEL | 14 | 5.D6 | AT1101:GND | RECOMPRESSOR BOX | 5.D3
XT1311:5 | SC | ESTOPB | WHT | 20 | 10.A5 | SB7540:B1-11 | RECOMPRESSOR BOX | 10.A1
XT1311:6 | SC | ESTOPD | WHT | 20 | 10.A5 | SB7540:B1-12 | RECOMPRESSOR BOX | 10.A1
XT1354:2 | SC | FU1301N | WHT | 20 | 9.B5 | SH0455:X1 | RECOMPRESSOR BOX | 9.A1
XT1354:3 | SC | FU1301P | WHT | 20 | 9.B5 | SH0455:13 | RECOMPRESSOR BOX | 9.B1
XT1354:4 | SC | SH045514 | WHT | 20 | 9.B5 | SH0455:14 | RECOMPRESSOR BOX | 9.B1
XT1354:5 | SC | SH045511 | WHT | 20 | 9.B5 | SH0455:11 | RECOMPRESSOR BOX | 9.B1
XT1354:6 | SC | SH045512 | WHT | 20 | 9.B5 | SH0455:12 | RECOMPRESSOR BOX | 9.B1
XT1355:1 B1 | SC | SH0455X2 | WHT | 20 | 9.A5 | SH0455:X2 | RECOMPRESSOR BOX | 9.A1
BA1101:DEVICE | WC0101 | BA1101DEVICE | ENET | CABLE | 5.D2 | AT1101:L1 | RECOMPRESSOR BOX | 5.D3
AF1302:04 | WC0454 | HA0454BLK2 | 1 | 18 | 9.A6 | HA0454:BLK-2 | RECOMPRESSOR BOX | 9.A1
AF1302:20 | WC0454 | HA0454BLK1 | 2 | 18 | 9.A6 | HA0454:BLK-1 | RECOMPRESSOR BOX | 9.A1
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 4/10/2026 8:54 AM

## Panel Errors
Panel Errors
Project # | J0856
Project Name | NWPL BUHL 1 ERP DGS CATCH4
Revision | A
Controls DE | A.DOMINGUEZ
Phone:
Controls ME | N. CARPENTER
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
Report date: 4/10/2026 8:54 AM |  |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)

## Cable Part Numbers
Cable Part Numbers |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | J0856
Report date: 4/10/2026 8:55 AM
Project Name | NWPL BUHL 1 ERP DGS CATCH4
Revision | A
Controls DE | A.DOMINGUEZ
Phone:
Controls ME | N. CARPENTER
Phone:
Device ID |  | Part Number |  | Description
WC0101 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0001 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0002 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0454 |  | PART OF 1103208-1 |  | CABLE, 2 CONDUCTOR UNSHIELDED PART OF HORN
WC9014 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC9016 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES

## Part Number List
Part Number List |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | J0856
Report date: 4/10/2026 8:54 AM
Project Name | NWPL BUHL 1 ERP DGS CATCH4
Revision | A
Controls DE | A.DOMINGUEZ
Phone:
Controls ME | N. CARPENTER
Phone:
Device ID | Part Number | Description | Location
XT0168 | DRIVEN COMMON | TERMINAL STRIP, SYSTEM FUNCTION (USE) | JB771
XT0771 | DRIVEN COMMON | TERMINAL STRIP, SYSTEM FUNCTION (USE) | JB771
UAI7763 | PART OF JB7763 | ISOLATOR, LUBE OIL TEMPERATURE | JB7763
KA1260_U1 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, U1_DRY SEAL RECOMPRESSOR ENABLE | PANEL
KA1260_U2 | CUSTOMER CONNECTION | CUSTOMER CONNECTION, U2_DRY SEAL RECOMPRESSOR ENABLE | PANEL
U1_DSR_ALARM | CUSTOMER DEFINED | SOLAR CS CONNECTION, DRY SEAL GAS ^RECOMPRESSION SYSTEM READY TO RUN | PANEL
U2_DSR_ALARM | CUSTOMER DEFINED | SOLAR CS CONNECTION, DRY SEAL GAS ^RECOMPRESSION SYSTEM READY TO RUN | PANEL
AT1101 | 1577354-4501 | WORKSTATION, VERSA VIEW 1200H | RECOMPRESSOR BOX
HA0454 | 1103208-101 | HORN, AUDIBLE ALARM | RECOMPRESSOR BOX
HL7775 | 1035040-107,2380746-7 | LIGHT, ALARM SUMMARY, AMBER | RECOMPRESSOR BOX
HL7776 | 1035040-2025,2380746-7 | LIGHT, STOPPED, RED | RECOMPRESSOR BOX
HL7777 | 1035040-2026,2380746-7 | LIGHT, RUNNING, GREEN | RECOMPRESSOR BOX
HL7778 | 1035040-2027,2380746-7 | LIGHT, SYSTEM DISABLED, RED | RECOMPRESSOR BOX
HL7779 | 1035040-2028,2380746-7 | LIGHT, SYSTEM ENABLED, GREEN | RECOMPRESSOR BOX
SA7774 | 1035040-123,2380746-5 | SELECTOR SWITCH, OFF / LOCAL / REMOTE | RECOMPRESSOR BOX
SB7540 | 1035040-32,2380746-4 | PUSHBUTTON SWITCH, EMERGENCY STOP | RECOMPRESSOR BOX
SB7770 | 1035040-2029,2380746-1 | PUSHBUTTON SWITCH, SYSTEM RESET | RECOMPRESSOR BOX
SB7771 | 1035040-120,2380746-1 | PUSHBUTTON SWITCH, ACKNOWLEDGE | RECOMPRESSOR BOX
SB7772 | 1035040-119,2380746-1 | PUSHBUTTON SWITCH, HORN SILENCE | RECOMPRESSOR BOX
SB7773 | 2380746-1 | PUSHBUTTON SWITCH, LAMP TEST | RECOMPRESSOR BOX
SH0455 | 1035040-106,2380746-3 | LIGHTED SWITCH, BACKUP SYSTEM ACTIVE/RESET, AMBER | RECOMPRESSOR BOX
AF1301 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | RECOMPRESSOR PANEL
AF1302 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | RECOMPRESSOR PANEL
AF1303 | 2684693-48,2684693-51 | 5094-IB32XT, 32 DISCRETE INPUT | RECOMPRESSOR PANEL
AF1304 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | RECOMPRESSOR PANEL
AF1305 | 2684693-18,2684693-55 | 5094-OB16SXT, 16 DISCRETE OUTPUT, S | RECOMPRESSOR PANEL
AF1306 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | RECOMPRESSOR PANEL
AF1321 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | RECOMPRESSOR PANEL
AF1322 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | RECOMPRESSOR PANEL
AF1323 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | RECOMPRESSOR PANEL
AF1324 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | RECOMPRESSOR PANEL
AF1325 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT,TC/RTD/I&V | RECOMPRESSOR PANEL
AF1326 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | RECOMPRESSOR PANEL
AP0601 | 1089241-20 | MODULE, BLANK FILLER | RECOMPRESSOR PANEL
AP0602 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RECOMPRESSOR PANEL
AP0603 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RECOMPRESSOR PANEL
AP0604 | 1089241-40 | 1756-EN2TRXT, ETHERNET | RECOMPRESSOR PANEL
AP0605 | 1089241-20 | MODULE, BLANK FILLER | RECOMPRESSOR PANEL
AP0606 | 1089241-36 | 1756-EN2TXT, ETHERNET | RECOMPRESSOR PANEL
AR0600 | 1089241-29 | RACK CHASSIS, 1756-A7XT (7 SLOT) | RECOMPRESSOR PANEL
AT0600 | 1089241-43 | 1756-L83EXTS, CONTROLLER^GUARDLOGIX | RECOMPRESSOR PANEL
AU1300 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | RECOMPRESSOR PANEL
AU1320 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | RECOMPRESSOR PANEL
BA1101 | 1337728-1 | SWITCH, ETAP, DLR INTERFACE | RECOMPRESSOR PANEL
FU0131N | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU0131P | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1102N | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1102P | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1301N | 1043265-1,1043265-7 | FUSE, 20A | RECOMPRESSOR PANEL
FU1301P | 1043265-1,1043265-7 | FUSE, 20A | RECOMPRESSOR PANEL
FU1302N | 1043265-1,1043265-7 | FUSE, 20A | RECOMPRESSOR PANEL
FU1302P | 1043265-1,1043265-7 | FUSE, 20A | RECOMPRESSOR PANEL
FU1303N | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1303P | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1305N | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1305P | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1306N | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1306P | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1307N | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1307P | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1320N | 1043265-1,1043265-3 | FUSE, 2A | RECOMPRESSOR PANEL
FU1320P | 1043265-1,1043265-3 | FUSE, 2A | RECOMPRESSOR PANEL
FU1321N | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1321P | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1322N | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1322P | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1323N | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU1323P | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU7701N | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU7701P | 1043265-1,1043265-5 | FUSE, 10A | RECOMPRESSOR PANEL
FU7763N | 1043265-1,1043265-3 | FUSE, 2A | RECOMPRESSOR PANEL
FU7763P | 1043265-1,1043265-3 | FUSE, 2A | RECOMPRESSOR PANEL
GR1301 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECOMPRESSOR PANEL
GR1302 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECOMPRESSOR PANEL
GR1303 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECOMPRESSOR PANEL
GR1304 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECOMPRESSOR PANEL
GR1305 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | RECOMPRESSOR PANEL
IEG0141 | 232941-110 | BUS BAR, INSTRUMENT EARTH GROUNDING | RECOMPRESSOR PANEL
KA0351 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | RECOMPRESSOR PANEL
KA0352 | 1061979-1 | RELAY, BACKUP SYSTEM RESET | RECOMPRESSOR PANEL
KA0353 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0354 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0355 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0356 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0357 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0358 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWDN SUMMARY | RECOMPRESSOR PANEL
KA0359 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0360 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0361 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0362 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0363 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0364 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA0365 | 1061979-1 | RELAY, NO EMERGENCY SHUTDOWN SUMMARY | RECOMPRESSOR PANEL
KA1261 | 1061979-1 | RELAY, U1_DSR_ALARM | RECOMPRESSOR PANEL
KA1262 | 1061979-1 | RELAY, U2_DSR_ALARM | RECOMPRESSOR PANEL
KA1344 | 1061979-1 | RELAY, CONTROLLER ACTIVE | RECOMPRESSOR PANEL
KA1345 | 1061979-1 | RELAY, CONTROLLER ACTIVE | RECOMPRESSOR PANEL
KA7701 | 1061979-1 | RELAY, RECOMPRESSOR INLET SHUTOFF | RECOMPRESSOR PANEL
KA7702 | 1061979-1 | RELAY, RECOMPRESSOR ENABLE | RECOMPRESSOR PANEL
KA7703 | 1061979-1 | RELAY, RECOMPRESSOR VENT VALVE | RECOMPRESSOR PANEL
KA7705 | 1061979-1 | RELAY, RECOMPRESSOR OUTLET SHUTOFF | RECOMPRESSOR PANEL
KA7760 | 1061979-1 | RELAY, LUBE OIL HEATER | RECOMPRESSOR PANEL
KA7770 | 1061979-1 | RELAY, COMPRESSOR DISCHARGE GAS | RECOMPRESSOR PANEL
KT1325 | 2651077-3 | TIMER RELAY, WATCHDOG | RECOMPRESSOR PANEL
PEG0141 | 232941-200 | BUS BAR, POWER EARTH GROUNDING | RECOMPRESSOR PANEL
RR3041 | 981090C1 | RESISTOR, 3.01K OHM | RECOMPRESSOR PANEL
RR3042 | 981089C1 | RESISTOR, 1.0K OHM | RECOMPRESSOR PANEL
UJ0131 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | RECOMPRESSOR PANEL
UJ1101 | 1088442-4 | POWER CONVERTER, DC/DC INPUT TO 24V DC OUTPUT | RECOMPRESSOR PANEL
UV0600 | 1089241-28 | POWER SUPPLY, RSLOGIX CHASSIS | RECOMPRESSOR PANEL
XT1302 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECOMPRESSOR PANEL
XT1303 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECOMPRESSOR PANEL
XT1304 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECOMPRESSOR PANEL
XT1305 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECOMPRESSOR PANEL
XT1311 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECOMPRESSOR PANEL
XT1312 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECOMPRESSOR PANEL
XT1320 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECOMPRESSOR PANEL
XT1354 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECOMPRESSOR PANEL
XT1355 | 1066730-9 | DIODE TERMINAL STRIP, 4 CONDUCTOR | RECOMPRESSOR PANEL
XT1385 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | RECOMPRESSOR PANEL