## Blue Labels
(SHT 1) DOOR | (SHT 2) PANEL
XY0190A | AR0600
XY0190B | AP0606
AU0200 | AP0605
AF0201 | AP0604
AF0202 | AP0602
FU0190 | AP0601
FU0200 | AT0600
FU0201 | UV0600
FU0273 | AP0603
FU0560 | FU0090
XT0201 | FU0091
XT0560 | FU0093
XT0561 | AU0090
XT0562 | AF0091
XT0563 | AF0092
KA0080 | AF0093
KA0081 | AF0094
KA0082 | AF0095
XT8010 | XT9000
XT8020 | GR0132
XT0086 | XY0604A
GR0200 | XY0604B
AT0190 | FU0010
SB0400 | FU0136
SA0400 | FU0137
SA0501 | FU0138
HA0273 | FU0139
SB0401 | FU0140
SB0500 | FU0141
FU0142
FU0143
XT0085
XT0032
XT0134
XT0135
XT0138
XT0139
FU0032
XT0032
XT0033
GR0031
QS0011
XT-QS0011
GR0131
FU0080
FU0081
XT0080
XT0081
AU0080
AF0081
AF0082
AF0083
AF0084
AF0085
AF0086
GR0232
KA0006
KA0007
KA0005
UJ0131
FU0271
UV0271
UAI8000
UAI8001
UAI8002
UAI8003
UAI8004
UAI8005
GR0301
PEG0130
IEG0230

## White Labels
(SHT 1) DOOR | (SHT 1) DOOR - (SHT 2) PANEL | (SHT 2) PANEL
0V1 | IEG02303 | AF0084G
AU0200G |  | AF0085G
AF0086G
AU0080G
IEG02301
IEG02304
UV0271IE
UV0600G

## Heat Shrink Labels
(SHT 1) DOOR - (SHT 2) PANEL | (SHT 2) PANEL
WC8010 | WC8020
WC8011 | WC8021
WC8012 | WC8022
WC8013 | WC8023
WC8120 | WC8024
WC8121 | WC8025
WC8122 | WC9010
WC8123 | WC9011
WC8124 | WC9012
WC8125 | WC9013
WC9014
WC9015
WC9016

## DOOR
DOOR
Project # | J1500
Project Name | NOC ASCAB-A-4201
Revision | 0.2
Controls DE | F.CASTANEDA
Phone: | 0
Controls ME | G.CATO
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
XT0561:2 | JC | FU0200LI | CLIP | --- | 6.A2 | XT0561:1 | DOOR | 6.B2
XT0562:1 | JC | 0V1 | CLIP | --- | 6.B2 | XT0562:2 | DOOR | 6.B2
XT0562:2 | JC | 0V1 | CLIP | --- | 6.B2 | XT0562:3 | DOOR | 6.C2
AF0201:00 | SC | 020100 | WHT | 20 | 7.B6 | SB0500:14 | DOOR | 7.B5
AF0201:01 | SC | 020101 | WHT | 20 | 7.B3 | SA0400:B1-14 | DOOR | 7.B1
AF0201:02 | SC | 020102 | WHT | 20 | 7.C3 | SA0400:B2-14 | DOOR | 7.C1
AF0201:03 | SC | 020103 | WHT | 20 | 7.B6 | SB0500:12 | DOOR | 7.B5
AF0201:04 | SC | 040114 | WHT | 20 | 7.A3 | SB0401:14 | DOOR | 7.A1
AF0201:05 | SC | 020105 | WHT | 20 | 7.B3 | SB0401:12 | DOOR | 7.B1
AF0201:14 | SC | 020114 | WHT | 20 | 7.A6 | SA0501:14 | DOOR | 7.A5
AF0201:15 | SC | 020115 | WHT | 20 | 7.A6 | SA0501:12 | DOOR | 7.A5
AF0201:32 | SC | 020132 | WHT | 20 | 7.B6 | SB0500:13 | DOOR | 7.B5
AF0201:33 | SC | 020133 | WHT | 20 | 7.B3 | SA0400:B1-13 | DOOR | 7.B1
AF0201:34 | SC | 020134 | WHT | 20 | 7.C3 | SA0400:B2-13 | DOOR | 7.C1
AF0201:35 | SC | 020135 | WHT | 20 | 7.B6 | SB0500:11 | DOOR | 7.B5
AF0201:36 | SC | 040113 | WHT | 20 | 7.A3 | SB0401:13 | DOOR | 7.A1
AF0201:37 | SC | 020137 | WHT | 20 | 7.B3 | SB0401:11 | DOOR | 7.B1
AF0201:46 | SC | 020146 | WHT | 20 | 7.A6 | SA0501:13 | DOOR | 7.A5
AF0201:47 | SC | 020147 | WHT | 20 | 7.A6 | SA0501:11 | DOOR | 7.A5
AF0201:COM | SC | AU0200N | WHT | 16 | 6.B4 | AU0200:COM | DOOR | 6.A3
AF0201:SHLD | SC | AF0201V+L | WHT | 16 | 6.C6 | AF0201:V+L | DOOR | 6.C6
AF0201:V+ | SC | AU0200P | WHT | 16 | 6.B4 | AU0200:V+ | DOOR | 6.A3
AF0202:00 | SC | 020200 | WHT | 20 | 7.C6 | SB0500:X2 | DOOR | 7.C5
AF0202:32 | SC | 020232 | WHT | 20 | 7.C6 | SB0500:X1 | DOOR | 7.C5
AF0202:COM | SC | 0V1 | GRN | 14 | 6.B5 | XT0562:1 | DOOR | 6.B2
AF0202:COML | SC | AF0202COM-L | WHT | 16 | 6.C6 | AF0202:SHLD | DOOR | 6.C6
AF0202:V+ | SC | FU0201 | WHT | 14 | 6.B5 | FU0201:LD | DOOR | 6.B3
AT0190:GND | SC | AT0190G | GRN/YEL | 14 | 6.C4 | FRAME | DOOR | 6.D3
AT0190:NEG | SC | 0V1 | WHT | 14 | 6.C4 | XT0562:2 | DOOR | 6.B2
AT0190:POS | SC | FU0190 | WHT | 14 | 6.C4 | FU0190:LD | DOOR | 6.D3
AU0200:COM | SC | 0V1 | WHT | 14 | 6.A3 | XT0562:1 | DOOR | 6.B2
AU0200:GND | SC | AU0200G | GRN | 14 | 6.A3 | XT0201:1 | DOOR | 6.B4
AU0200:V+ | SC | FU0200 | WHT | 14 | 6.A3 | FU0200:LD | DOOR | 6.B3
FU0190:LI | SC | FU0200LI | WHT | 14 | 6.D3 | FU0201:LI | DOOR | 6.B3
FU0200:LI | SC | FU0200LI | WHT | 14 | 6.B3 | FU0201:LI | DOOR | 6.B3
FU0200:LI | SC | FU0200LI | WHT | 14 | 6.B3 | XT0561:1 | DOOR | 6.B2
FU0560:LD | SC | FU0200LI | WHT | 14 | 6.B2 | XT0561:1 | DOOR | 6.B2
FU0560:LI | SC | FU0136 | WHT | 12 | 6.B2 | XT0560:1 | DOOR | 6.B2
SB0400:B1-11 | SC | SB0400B1-11 | WHT | 20 | 7.C5 | XT0563:10 | DOOR | 7.C6
SB0400:B1-12 | SC | SB0400B1-12 | WHT | 20 | 7.C5 | XT0563:11 | DOOR | 7.D6
XT0560:2 | SC | JW0 | CLIP | -- | 6.B2 | XT0562:1 | DOOR | 6.B2
AF0202:23 | WC5540 | HA0273P | BLK | 16 | 7.A3 | HA0273:BLK-2 | DOOR | 7.A1
AF0202:55 | WC5540 | HA0273N | WHT | 16 | 7.A3 | HA0273:BLK-1 | DOOR | 7.A1
GR0200: | SC | IEG02303 | GRN | 14 | 2.A5 | IEG0230:3 | PANEL | 2.A5
KA0080:11 | SC | 008232 | WHT | 20 | 11.A5 | AF0082:32 | PANEL | 11.A6
KA0080:14 | SC | 008200 | WHT | 20 | 11.A5 | AF0082:00 | PANEL | 11.A6
KA0080:A1 | SC | 008300 | WHT | 20 | 11.B5 | AF0083:00 | PANEL | 11.A6
KA0080:A2 | SC | 008316 | WHT | 20 | 11.B5 | AF0083:16 | PANEL | 11.A6
KA0081:11 | SC | 008234 | WHT | 20 | 11.B5 | AF0082:34 | PANEL | 11.B6
KA0081:14 | SC | 008202 | WHT | 20 | 11.B5 | AF0082:02 | PANEL | 11.B6
KA0081:A1 | SC | 008301 | WHT | 20 | 11.C5 | AF0083:01 | PANEL | 11.C6
KA0081:A2 | SC | 008317 | WHT | 20 | 11.C5 | AF0083:17 | PANEL | 11.C6
KA0082:11 | SC | 008235 | WHT | 20 | 11.C5 | AF0082:35 | PANEL | 11.C6
KA0082:14 | SC | 008203 | WHT | 20 | 11.C5 | AF0082:03 | PANEL | 11.C6
KA0082:A1 | SC | 008302 | WHT | 20 | 11.D5 | AF0083:02 | PANEL | 11.D6
KA0082:A2 | SC | 008318 | WHT | 20 | 11.D5 | AF0083:18 | PANEL | 11.D6
SB0400:B2-11 | SC | 008137 | WHT | 20 | 7.D5 | AF0081:37 | PANEL | 7.D6
SB0400:B2-12 | SC | 008105 | WHT | 20 | 7.D5 | AF0081:05 | PANEL | 7.D6
XT0086:1 | SC | 008132 | WHT | 20 | 10.A5 | AF0081:32 | PANEL | 10.A6
XT0086:10 | SC | 008104 | WHT | 20 | 10.C5 | AF0081:04 | PANEL | 10.C6
XT0086:2 | SC | 008100 | WHT | 20 | 10.A5 | AF0081:00 | PANEL | 10.A6
XT0086:3 | SC | 008133 | WHT | 20 | 10.A5 | AF0081:33 | PANEL | 10.A6
XT0086:4 | SC | 008101 | WHT | 20 | 10.B5 | AF0081:01 | PANEL | 10.A6
XT0086:5 | SC | 008134 | WHT | 20 | 10.B5 | AF0081:34 | PANEL | 10.B6
XT0086:6 | SC | 008102 | WHT | 20 | 10.B5 | AF0081:02 | PANEL | 10.B6
XT0086:7 | SC | 008135 | WHT | 20 | 10.C5 | AF0081:35 | PANEL | 10.C6
XT0086:8 | SC | 008103 | WHT | 20 | 10.C5 | AF0081:03 | PANEL | 10.C6
XT0086:9 | SC | 008136 | WHT | 20 | 10.C5 | AF0081:36 | PANEL | 10.C6
XT0560:1 | SC | FU0136 | WHT | 12 | 6.B2 | XT0138:2 | PANEL | 9.A3
XT0560:2 | SC | 0V | WHT | 12 | 6.B2 | XT0134:2 | PANEL | 9.C3
AU0200:L1 | WC0004 | AU0090L2 | ENET | CABLE | 4.B6 | AU0090:L2 | PANEL | 4.B5
AU0200:L2 | WC0005 | AU0200L2 | ENET | CABLE | 4.B6 | AP0602:L1 | PANEL | 4.B2
XT8010:1 | WC8010 | 008432 | RED | 20 | 12.A5 | AF0084:32 | PANEL | 12.A6
XT8010:2 | WC8010 | 008400 | BLK | 20 | 12.A5 | AF0084:00 | PANEL | 12.A6
XT8010:3 | WC8010 | 008448 | SH | 20 | 12.A5 | AF0084:48 | PANEL | 12.A6
XT8010:4 | WC8011 | 008434 | RED | 20 | 12.B5 | AF0084:34 | PANEL | 12.B6
XT8010:5 | WC8011 | 008402 | BLK | 20 | 12.B5 | AF0084:02 | PANEL | 12.B6
XT8010:6 | WC8011 | 008450 | SH | 20 | 12.B5 | AF0084:50 | PANEL | 12.B6
XT8010:7 | WC8012 | 008436 | RED | 20 | 12.B5 | AF0084:36 | PANEL | 12.B6
XT8010:8 | WC8012 | 008404 | BLK | 20 | 12.B5 | AF0084:04 | PANEL | 12.B6
XT8010:9 | WC8012 | 008452 | SH | 20 | 12.C5 | AF0084:52 | PANEL | 12.B6
XT8010:10 | WC8013 | 008438 | RED | 20 | 12.C5 | AF0084:38 | PANEL | 12.C6
XT8010:11 | WC8013 | 008406 | BLK | 20 | 12.C5 | AF0084:06 | PANEL | 12.C6
XT8010:12 | WC8013 | 008454 | SH | 20 | 12.C5 | AF0084:54 | PANEL | 12.C6
XT8020:1 | WC8120 | UAI80004 | RED | 20 | 13.A3 | UAI8000:4 | PANEL | 13.A5
XT8020:2 | WC8120 | UAI80003 | WHT | 20 | 13.A3 | UAI8000:3 | PANEL | 13.A5
XT8020:3 | WC8120 | UAI80002 | BLK | 20 | 13.A3 | UAI8000:2 | PANEL | 13.A5
XT8020:4 | WC8120 | UAI8000S | SH | 20 | 13.A3 | UAI8000:IE | PANEL | 13.A5
XT8020:5 | WC8121 | UAI80014 | RED | 20 | 13.B3 | UAI8001:4 | PANEL | 13.B5
XT8020:6 | WC8121 | UAI80013 | WHT | 20 | 13.B3 | UAI8001:3 | PANEL | 13.B5
XT8020:7 | WC8121 | UAI80012 | BLK | 20 | 13.B3 | UAI8001:2 | PANEL | 13.B5
XT8020:8 | WC8121 | UAI8001S | SH | 20 | 13.B3 | UAI8001:IE | PANEL | 13.B5
XT8020:9 | WC8122 | UAI80024 | RED | 20 | 13.C3 | UAI8002:4 | PANEL | 13.C5
XT8020:10 | WC8122 | UAI80023 | WHT | 20 | 13.C3 | UAI8002:3 | PANEL | 13.C5
XT8020:11 | WC8122 | UAI80022 | BLK | 20 | 13.C3 | UAI8002:2 | PANEL | 13.C5
XT8020:12 | WC8122 | UAI8002S | SH | 20 | 13.C3 | UAI8002:IE | PANEL | 13.C5
XT8020:13 | WC8123 | UAI80034 | RED | 20 | 14.A4 | UAI8003:4+ | PANEL | 14.A5
XT8020:14 | WC8123 | UAI80035 | BLK | 20 | 14.A4 | UAI8003:5- | PANEL | 14.A5
XT8020:15 | WC8123 | UAI8003S | SH | 20 | 14.A4 | UAI8003:IE | PANEL | 14.A5
XT8020:16 | WC8124 | UAI80044 | RED | 20 | 14.B4 | UAI8004:4+ | PANEL | 14.B5
XT8020:17 | WC8124 | UAI80045 | BLK | 20 | 14.B4 | UAI8004:5- | PANEL | 14.B5
XT8020:18 | WC8124 | UAI8004S | SH | 20 | 14.B4 | UAI8004:IE | PANEL | 14.B5
XT8020:19 | WC8125 | UAI80054 | RED | 20 | 14.B4 | UAI8005:4+ | PANEL | 14.B5
XT8020:20 | WC8125 | UAI80055 | BLK | 20 | 14.B4 | UAI8005:5- | PANEL | 14.B5
XT8020:21 | WC8125 | UAI8005S | SH | 20 | 14.B4 | UAI8005:IE | PANEL | 14.B5
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 3/6/2026 6:04 AM

## PANEL
PANEL
Project # | J1500
Project Name | NOC ASCAB-A-4201
Revision | 0.2
Controls DE | F.CASTANEDA
Phone: | 0
Controls ME | G.CATO
Phone:
From | [5 empty] | To
Device ID | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire No. | Wire ID | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
XT0032:1 | JC | 24V | CLIP | --- | 8.C5 | XT0032:2 | PANEL | 8.C5
XT0080:1 | JC | 0V | CLIP | --- | 5.B1 | XT0080:2 | PANEL | 5.B1
XT0081:1 | JC | 0V | CLIP | --- | 5.D1 | XT0081:2 | PANEL | 5.D1
XT0134:1 | JC | 0V | CLIP | --- | 9.C3 | XT0134:2 | PANEL | 9.C3
XT0134:2 | JC | 0V | CLIP | --- | 9.C3 | XT0134:3 | PANEL | 9.C3
XT0134:3 | JC | 0V | CLIP | --- | 9.C3 | XT0134:4 | PANEL | 9.C3
XT0134:4 | JC | 0V | CLIP | --- | 9.C3 | XT0134:5 | PANEL | 9.C3
XT0138:1 | JC | FU0136 | CLIP | --- | 9.A3 | XT0138:2 | PANEL | 9.A3
XT0138:2 | JC | FU0136 | CLIP | --- | 9.A3 | XT0138:3 | PANEL | 9.A3
XT0138:3 | JC | FU0136 | CLIP | --- | 9.A3 | XT0138:4 | PANEL | 9.B3
XT0139:1 | JC | FU0137 | CLIP | --- | 9.A5 | XT0139:2 | PANEL | 9.A5
XT0139:2 | JC | FU0137 | CLIP | --- | 9.A5 | XT0139:3 | PANEL | 9.A5
XT0139:3 | JC | FU0137 | CLIP | --- | 9.A5 | XT0139:4 | PANEL | 9.B5
AF0081:COM | SC | AF0081N | WHT | 16 | 5.A2 | AF0082:COM | PANEL | 5.B3
AF0081:COM | SC | AU0080N | WHT | 20 | 5.A2 | AU0080:COM | PANEL | 5.A1
AF0081:V+ | SC | AF0081P | WHT | 16 | 5.A2 | AF0082:V+ | PANEL | 5.B3
AF0081:V+ | SC | AU0080P | WHT | 20 | 5.A2 | AU0080:V+ | PANEL | 5.A1
AF0082:01 | SC | UJ0131OK2 | WHT | 20 | 8.B7 | UJ0131:OK2 | PANEL | 8.B4
AF0082:33 | SC | UJ0131OK1 | WHT | 20 | 8.B7 | UJ0131:OK1 | PANEL | 8.B4
AF0082:COM | SC | AF0082N | WHT | 16 | 5.B3 | AF0084:COM | PANEL | 5.B4
AF0082:V+ | SC | AF0082P | WHT | 16 | 5.B3 | AF0084:V+ | PANEL | 5.B4
AF0083:COM | SC | 0V | WHT | 16 | 5.B3 | XT0080:2 | PANEL | 5.B1
AF0083:V+ | SC | FU0081 | WHT | 16 | 5.B3 | FU0081:LD | PANEL | 5.B1
AF0084:COM | SC | AF0084N | WHT | 16 | 5.B4 | AF0085:COM | PANEL | 5.B4
AF0084:SH | SC | AF0084G | GRN | 14 | 5.B4 | AF0085:SH | PANEL | 5.B4
AF0084:SH | SC | AU0080G | GRN | 14 | 5.B4 | AU0080:GND | PANEL | 5.A1
AF0084:V+ | SC | AF0084P | WHT | 16 | 5.B4 | AF0085:V+ | PANEL | 5.B4
AF0085:00 | SC | 008500 | WHT | 20 | 8.C7 | XT0085:2 | PANEL | 8.C6
AF0085:04 | SC | UJ0131VIN | WHT | 20 | 8.A7 | UJ0131:VIN | PANEL | 8.B4
AF0085:05 | SC | 0V | WHT | 20 | 8.A7 | XT0135:4 | PANEL | 9.C4
AF0085:06 | SC | UJ0131IOUT | WHT | 20 | 8.A7 | UJ0131:IOUT | PANEL | 8.B4
AF0085:07 | SC | 0V | WHT | 14 | 8.A7 | XT0135:4 | PANEL | 9.C4
AF0085:COM | SC | AF0085N | WHT | 16 | 5.B4 | AF0086:COM | PANEL | 5.B5
AF0085:SH | SC | AF0085G | GRN | 14 | 5.B4 | AF0086:SH | PANEL | 5.B5
AF0085:V+ | SC | AF0085P | WHT | 16 | 5.B4 | AF0086:V+ | PANEL | 5.B5
AF0086:SH | SC | AF0086G | GRN | 14 | 5.B5 | IEG0230:2 | PANEL | 5.B6
AF0091:00 | SC | 009100 | WHT | 20 | 15.A6 | XT9000:1 | PANEL | 15.A5
AF0091:02 | SC | 009102 | WHT | 20 | 15.B6 | XT9000:3 | PANEL | 15.B5
AF0091:04 | SC | 009104 | WHT | 20 | 15.B6 | XT9000:5 | PANEL | 15.B5
AF0091:06 | SC | 009106 | WHT | 20 | 15.C6 | XT9000:7 | PANEL | 15.C5
AF0091:16 | SC | 009116 | WHT | 20 | 15.A6 | XT9000:2 | PANEL | 15.A5
AF0091:18 | SC | 009118 | WHT | 20 | 15.B6 | XT9000:4 | PANEL | 15.B5
AF0091:20 | SC | 009120 | WHT | 20 | 15.B6 | XT9000:6 | PANEL | 15.B5
AF0091:22 | SC | 009122 | WHT | 20 | 15.C6 | XT9000:8 | PANEL | 15.C5
AF0091:COM | SC | 0V | WHT | 14 | 5.D2 | XT0081:2 | PANEL | 5.D1
AF0091:V+ | SC | FU0091 | WHT | 16 | 5.D2 | FU0091:LD | PANEL | 5.D1
AF0092:00 | SC | 009200 | WHT | 16 | 16.A6 | KA0005:A1 | PANEL | 16.A4
AF0092:01 | SC | 009201 | WHT | 16 | 16.B6 | KA0006:A1 | PANEL | 16.B4
AF0092:02 | SC | 009202 | WHT | 16 | 16.B6 | KA0007:A1 | PANEL | 16.B4
AF0092:16 | SC | 009216 | WHT | 16 | 16.A6 | KA0005:A2 | PANEL | 16.A4
AF0092:17 | SC | 009217 | WHT | 16 | 16.B6 | KA0006:A2 | PANEL | 16.B4
AF0092:18 | SC | 009218 | WHT | 16 | 16.B6 | KA0007:A2 | PANEL | 16.B4
AF0092:COM | SC | 0V | WHT | 14 | 5.C3 | XT0081:2 | PANEL | 5.D1
AF0092:V+ | SC | FU0093 | WHT | 16 | 5.C3 | FU0093:LD | PANEL | 5.D1
AF0093:COM | SC | AF0094N | WHT | 16 | 5.D3 | AF0094:COM | PANEL | 5.D4
AF0093:COM | SC | AU0090N | WHT | 16 | 5.D3 | AU0090:COM | PANEL | 5.C1
AF0093:SH | SC | AU0090G | WHT | 14 | 5.D3 | AU0090:GND | PANEL | 5.C1
AF0093:SH | SC | AF0094G | WHT | 16 | 5.D3 | AF0094:SH | PANEL | 5.D4
AF0093:V+ | SC | AF0094P | WHT | 16 | 5.D3 | AF0094:V+ | PANEL | 5.D4
AF0093:V+ | SC | AU0090P | WHT | 16 | 5.D3 | AU0090:V+ | PANEL | 5.C1
AF0094:COM | SC | AF0095N | WHT | 16 | 5.D4 | AF0095:COM | PANEL | 5.C4
AF0094:SH | SC | AF0095G | WHT | 16 | 5.D4 | AF0095:SH | PANEL | 5.C4
AF0094:V+ | SC | AF0095P | WHT | 16 | 5.D4 | AF0095:V+ | PANEL | 5.C4
AF0095:SH | SC | IEG02304 | GRN | 14 | 5.C4 | IEG0230:4 | PANEL | 5.D5
AR0600:IE1 | SC | UV0600G | GRN | 14 | 3.A1 | UV0600:GND | PANEL | 3.B2
AR0600:IE2 | SC | IEG02301 | GRN | 12 | 3.A1 | IEG0230:1 | PANEL | 3.B5
AU0080:COM | SC | 0V | WHT | 14 | 5.A1 | XT0080:1 | PANEL | 5.B1
AU0080:V+ | SC | FU0080 | WHT | 14 | 5.A1 | FU0080:LD | PANEL | 5.B1
AU0090:COM | SC | 0V | WHT | 14 | 5.C1 | XT0081:1 | PANEL | 5.D1
AU0090:V+ | SC | FU0090 | WHT | 14 | 5.C1 | FU0090:LD | PANEL | 5.D1
FU0010:LD | SC | FU0010 | WHT | 14 | 9.A6 | UV0600:(+) | PANEL | 3.B2
FU0010:LI | SC | FU0137 | WHT | 14 | 9.A6 | XT0139:1 | PANEL | 9.A5
FU0080:LI | SC | FU0137 | WHT | 14 | 5.B1 | FU0081:LI | PANEL | 5.B1
FU0080:LI | SC | FU0137 | WHT | 14 | 5.B1 | XT0139:1 | PANEL | 9.A5
FU0090:LI | SC | FU0137 | WHT | 14 | 5.D1 | FU0091:LI | PANEL | 5.D1
FU0090:LI | SC | FU0137 | WHT | 14 | 5.D1 | XT0139:2 | PANEL | 9.A5
FU0091:LI | SC | FU0137 | WHT | 14 | 5.D1 | FU0093:LI | PANEL | 5.D1
FU0136:LD | SC | FU0136 | WHT | 12 | 9.A2 | XT0138:1 | PANEL | 9.A3
FU0136:LI | SC | 24V | WHT | 10 | 9.A2 | XT0032:2 | PANEL | 8.C5
FU0137:LD | SC | FU0137 | WHT | 12 | 9.A4 | XT0139:1 | PANEL | 9.A5
FU0137:LI | SC | FU0136 | WHT | 12 | 9.A4 | XT0138:1 | PANEL | 9.A3
FU0138:LI | SC | FU0136 | WHT | 10 | 9.A2 | XT0138:3 | PANEL | 9.A3
FU0139:LI | SC | FU0136 | WHT | 10 | 9.A3 | XT0138:3 | PANEL | 9.A3
FU0140:LI | SC | FU0136 | WHT | 10 | 9.B2 | XT0138:4 | PANEL | 9.B3
FU0141:LI | SC | FU0136 | WHT | 10 | 9.B3 | XT0138:4 | PANEL | 9.B3
FU0142:LI | SC | FU0137 | WHT | 12 | 9.B4 | XT0139:4 | PANEL | 9.B5
FU0143:LI | SC | FU0137 | WHT | 12 | 9.B6 | XT0139:4 | PANEL | 9.B5
FU0271:LD | SC | UV0271-P | WHT | 14 | 9.D2 | UV0271:8+ | PANEL | 9.D1
FU0271:LI | SC | FU0137 | WHT | 12 | 9.D2 | XT0139:3 | PANEL | 9.A5
GR0031: | SC | GR0031 | GRN/YEL | 14 | 2.A5 | FRAME | PANEL | 2.A5
GR0131: | SC | GR0131 | GRN/YEL | 14 | 2.A4 | FRAME | PANEL | 2.A3
GR0132: | SC | GR0132 | GRN/YEL | 14 | 2.A5 | FRAME | PANEL | 2.A4
GR0232: | SC | GR0232 | GRN/YEL | 14 | 2.A4 | FRAME | PANEL | 2.A3
GR0301: | SC | GR0301 | GRN/YEL | 14 | 2.A4 | FRAME | PANEL | 2.A4
IEG0230:6 | SC | UV0271IE | GRN | 14 | 9.D1 | UV0271:IE | PANEL | 9.D1
QS0011:LD-1 | SC | UJ0131P | WHT | 12 | 8.B3 | UJ0131:+ | PANEL | 8.B4
QS0011:LD-3 | SC | UJ0131N | WHT | 12 | 8.B3 | UJ0131:- | PANEL | 8.B4
RR0851: -3.01K OHM | SC | FU0136 | LEAD | --- | 8.C6 | XT0085:1 | PANEL | 8.C6
RR0851: -3.01K OHM | SC | 008500 | LEAD | --- | 8.C6 | XT0085:2 | PANEL | 8.C6
RR0852: -1.0K OHM | SC | 0V | LEAD | --- | 8.C6 | XT0085:3 | PANEL | 8.C6
RR0852: -1.0K OHM | SC | 008500 | LEAD | --- | 8.C6 | XT0085:2 | PANEL | 8.C6
UAI8000:1 | SC | UAI80002 | WHT | 20 | 13.A5 | UAI8000:2 | PANEL | 13.A5
UAI8001:1 | SC | UAI80012 | WHT | 20 | 13.B5 | UAI8001:2 | PANEL | 13.B5
UAI8002:1 | SC | UAI80022 | WHT | 20 | 13.C5 | UAI8002:2 | PANEL | 13.C5
UJ0131:G | SC | UJ0131G | GRN/YEL | 12 | 8.B4 | FRAME | PANEL | 8.B3
UJ0131:OUT(-) | SC | 0V | WHT | 10 | 8.B4 | XT0033:1 | PANEL | 8.C5
UJ0131:OUT(+) | SC | 24V | WHT | 10 | 8.B4 | XT0032:1 | PANEL | 8.C5
UV0271:9- | SC | 0V | WHT | 14 | 9.D1 | XT0135:3 | PANEL | 9.C4
UV0600:(-) | SC | 0V | WHT | 14 | 3.B2 | XT0135:1 | PANEL | 9.C4
XT0033:1 | SC | 0V | WHT | 10 | 8.C5 | XT0033:2 | PANEL | 8.C5
XT0033:2 | SC | 0V | WHT | 10 | 8.C5 | XT0134:1 | PANEL | 9.C3
XT0080:1 | SC | 0V | WHT | 14 | 5.B1 | XT0135:2 | PANEL | 9.C4
XT0085:1 | SC | FU0136 | WHT | 20 | 8.C6 | XT0138:2 | PANEL | 9.A3
XT0085:3 | SC | 0V | WHT | 20 | 8.C6 | XT0134:3 | PANEL | 9.C3
XT0134:1 | SC | 0V | WHT | 14 | 9.C3 | XT0135:1 | PANEL | 9.C4
XT0135:1 | SC | 0V | WHT | 10 | 9.C4 | XT0135:2 | PANEL | 9.C4
XT0135:2 | SC | 0V | WHT | 10 | 9.C4 | XT0135:3 | PANEL | 9.C4
XT0135:2 | SC | 0V | WHT | 14 | 9.C4 | XT0081:1 | PANEL | 5.D1
XT0135:3 | SC | 0V | WHT | 10 | 9.C4 | XT0135:4 | PANEL | 9.C4
XT0135:4 | SC | 0V | WHT | 10 | 9.C4 | XT0135:5 | PANEL | 9.C4
AP0602:L2 | WC0001 | AP0602L2 | ENET | CABLE | 4.B2 | AP0603:L1 | PANEL | 4.B3
AP0603:L2 | WC0002 | AP0603L2 | ENET | CABLE | 4.B3 | AU0080:L1 | PANEL | 4.B4
AU0080:L2 | WC0003 | AU0080L2 | ENET | CABLE | 4.B4 | AU0090:L1 | PANEL | 4.B5
AF0085:19 | WC8020 | 008519 | RED | 20 | 13.A6 | UAI8000:+6 | PANEL | 13.A5
AF0085:03 | WC8020 | 008503 | WHT | 20 | 13.A6 | UAI8000:+8 | PANEL | 13.A5
AF0085:02 | WC8020 | 008502 | BLK | 20 | 13.A6 | UAI8000:-7 | PANEL | 13.A5
AF0085:50 | WC8020 | 008550 | SH | 20 | 13.A6 | FW0:1 | PANEL | 13.A5
AF0085:25 | WC8021 | 008525 | RED | 20 | 13.B6 | UAI8001:+6 | PANEL | 13.B5
AF0085:09 | WC8021 | 008509 | WHT | 20 | 13.B6 | UAI8001:+8 | PANEL | 13.B5
AF0085:08 | WC8021 | 008508 | BLK | 20 | 13.B6 | UAI8001:-7 | PANEL | 13.B5
AF0085:56 | WC8021 | 008556 | SH | 20 | 13.B6 | FW0:2 | PANEL | 13.B5
AF0085:27 | WC8022 | 008527 | RED | 20 | 13.C6 | UAI8002:+6 | PANEL | 13.C5
AF0085:11 | WC8022 | 008511 | WHT | 20 | 13.C6 | UAI8002:+8 | PANEL | 13.C5
AF0085:10 | WC8022 | 008510 | BLK | 20 | 13.C6 | UAI8002:-7 | PANEL | 13.C5
AF0085:58 | WC8022 | 008558 | SH | 20 | 13.C6 | FW0:3 | PANEL | 13.C5
AF0086:00 | WC8023 | 008600 | RED | 20 | 14.A6 | UAI8003:+7 | PANEL | 14.A5
AF0086:01 | WC8023 | 008601 | BLK | 20 | 14.A6 | UAI8003:-8 | PANEL | 14.A5
AF0086:48 | WC8023 | 008648 | SH | 20 | 14.A6 | FW1:1 | PANEL | 14.A5
AF0086:02 | WC8024 | 008602 | RED | 20 | 14.B6 | UAI8004:+7 | PANEL | 14.B5
AF0086:03 | WC8024 | 008603 | BLK | 20 | 14.B6 | UAI8004:-8 | PANEL | 14.B5
AF0086:50 | WC8024 | 008650 | SH | 20 | 14.B6 | FW1:2 | PANEL | 14.B5
AF0086:04 | WC8025 | 008604 | RED | 20 | 14.B6 | UAI8005:+7 | PANEL | 14.B5
AF0086:05 | WC8025 | 008605 | BLK | 20 | 14.B6 | UAI8005:-8 | PANEL | 14.B5
AF0086:52 | WC8025 | 008652 | SH | 20 | 14.B6 | FW1:3 | PANEL | 14.B5
AF0093:04 | WC9010 | 009304 | RED | 20 | 16.C6 | XT9000:9 | PANEL | 16.C3
AF0093:20 | WC9010 | 009320 | BLK | 20 | 16.C6 | XT9000:10 | PANEL | 16.C3
AF0093:52 | WC9010 | 009352 | SH | 20 | 16.C6 | XT9000:11 | PANEL | 16.C3
AF0093:12 | WC9011 | 009312 | RED | 20 | 16.C6 | XT9000:12 | PANEL | 16.C3
AF0093:28 | WC9011 | 009328 | BLK | 20 | 16.C6 | XT9000:13 | PANEL | 16.C3
AF0093:60 | WC9011 | 009360 | SH | 20 | 16.C6 | XT9000:14 | PANEL | 16.D3
AF0094:00 | WC9012 | 009400 | RED | 20 | 17.A6 | XT9000:15 | PANEL | 17.A4
AF0094:16 | WC9012 | 009416 | BLK | 20 | 17.A6 | XT9000:16 | PANEL | 17.A4
AF0094:48 | WC9012 | 009448 | SH | 20 | 17.A6 | XT9000:17 | PANEL | 17.A4
AF0094:02 | WC9013 | 009402 | RED | 20 | 17.B6 | XT9000:18 | PANEL | 17.B4
AF0094:18 | WC9013 | 009418 | BLK | 20 | 17.B6 | XT9000:19 | PANEL | 17.B4
AF0094:50 | WC9013 | 009450 | SH | 20 | 17.B6 | XT9000:20 | PANEL | 17.B4
AF0094:04 | WC9014 | 009404 | RED | 20 | 17.B6 | XT9000:21 | PANEL | 17.B4
AF0094:20 | WC9014 | 009420 | BLK | 20 | 17.B6 | XT9000:22 | PANEL | 17.B4
AF0094:52 | WC9014 | 009452 | SH | 20 | 17.B6 | XT9000:23 | PANEL | 17.C4
AF0095:32 | WC9015 | 009532 | RED | 20 | 17.C6 | XT9000:24 | PANEL | 17.C4
AF0095:00 | WC9015 | 009500 | BLK | 20 | 17.C6 | XT9000:25 | PANEL | 17.C4
AF0095:48 | WC9015 | 009548 | SH | 20 | 17.C6 | XT9000:26 | PANEL | 17.C4
AF0095:36 | WC9016 | 009536 | RED | 20 | 17.D6 | XT9000:27 | PANEL | 17.D4
AF0095:04 | WC9016 | 009504 | BLK | 20 | 17.D6 | XT9000:28 | PANEL | 17.D4
AF0095:52 | WC9016 | 009552 | SH | 20 | 17.D6 | XT9000:29 | PANEL | 17.D4
AF0081:00 | SC | 008100 | WHT | 20 | 10.A6 | XT0086:2 | DOOR | 10.A5
AF0081:01 | SC | 008101 | WHT | 20 | 10.A6 | XT0086:4 | DOOR | 10.B5
AF0081:02 | SC | 008102 | WHT | 20 | 10.B6 | XT0086:6 | DOOR | 10.B5
AF0081:03 | SC | 008103 | WHT | 20 | 10.C6 | XT0086:8 | DOOR | 10.C5
AF0081:04 | SC | 008104 | WHT | 20 | 10.C6 | XT0086:10 | DOOR | 10.C5
AF0081:05 | SC | 008105 | WHT | 20 | 7.D6 | SB0400:B2-12 | DOOR | 7.D5
AF0081:32 | SC | 008132 | WHT | 20 | 10.A6 | XT0086:1 | DOOR | 10.A5
AF0081:33 | SC | 008133 | WHT | 20 | 10.A6 | XT0086:3 | DOOR | 10.A5
AF0081:34 | SC | 008134 | WHT | 20 | 10.B6 | XT0086:5 | DOOR | 10.B5
AF0081:35 | SC | 008135 | WHT | 20 | 10.C6 | XT0086:7 | DOOR | 10.C5
AF0081:36 | SC | 008136 | WHT | 20 | 10.C6 | XT0086:9 | DOOR | 10.C5
AF0081:37 | SC | 008137 | WHT | 20 | 7.D6 | SB0400:B2-11 | DOOR | 7.D5
AF0082:00 | SC | 008200 | WHT | 20 | 11.A6 | KA0080:14 | DOOR | 11.A5
AF0082:02 | SC | 008202 | WHT | 20 | 11.B6 | KA0081:14 | DOOR | 11.B5
AF0082:03 | SC | 008203 | WHT | 20 | 11.C6 | KA0082:14 | DOOR | 11.C5
AF0082:32 | SC | 008232 | WHT | 20 | 11.A6 | KA0080:11 | DOOR | 11.A5
AF0082:34 | SC | 008234 | WHT | 20 | 11.B6 | KA0081:11 | DOOR | 11.B5
AF0082:35 | SC | 008235 | WHT | 20 | 11.C6 | KA0082:11 | DOOR | 11.C5
AF0083:00 | SC | 008300 | WHT | 20 | 11.A6 | KA0080:A1 | DOOR | 11.B5
AF0083:01 | SC | 008301 | WHT | 20 | 11.C6 | KA0081:A1 | DOOR | 11.C5
AF0083:02 | SC | 008302 | WHT | 20 | 11.D6 | KA0082:A1 | DOOR | 11.D5
AF0083:16 | SC | 008316 | WHT | 20 | 11.A6 | KA0080:A2 | DOOR | 11.B5
AF0083:17 | SC | 008317 | WHT | 20 | 11.C6 | KA0081:A2 | DOOR | 11.C5
AF0083:18 | SC | 008318 | WHT | 20 | 11.D6 | KA0082:A2 | DOOR | 11.D5
IEG0230:3 | SC | IEG02303 | GRN | 14 | 2.A5 | GR0200: | DOOR | 2.A5
XT0134:2 | SC | 0V | WHT | 12 | 9.C3 | XT0560:2 | DOOR | 6.B2
XT0138:2 | SC | FU0136 | WHT | 12 | 9.A3 | XT0560:1 | DOOR | 6.B2
AU0090:L2 | WC0004 | AU0090L2 | ENET | CABLE | 4.B5 | AU0200:L1 | DOOR | 4.B6
AP0602:L1 | WC0005 | AU0200L2 | ENET | CABLE | 4.B2 | AU0200:L2 | DOOR | 4.B6
AF0084:32 | WC8010 | 008432 | RED | 20 | 12.A6 | XT8010:1 | DOOR | 12.A5
AF0084:00 | WC8010 | 008400 | BLK | 20 | 12.A6 | XT8010:2 | DOOR | 12.A5
AF0084:48 | WC8010 | 008448 | SH | 20 | 12.A6 | XT8010:3 | DOOR | 12.A5
AF0084:34 | WC8011 | 008434 | RED | 20 | 12.B6 | XT8010:4 | DOOR | 12.B5
AF0084:02 | WC8011 | 008402 | BLK | 20 | 12.B6 | XT8010:5 | DOOR | 12.B5
AF0084:50 | WC8011 | 008450 | SH | 20 | 12.B6 | XT8010:6 | DOOR | 12.B5
AF0084:36 | WC8012 | 008436 | RED | 20 | 12.B6 | XT8010:7 | DOOR | 12.B5
AF0084:04 | WC8012 | 008404 | BLK | 20 | 12.B6 | XT8010:8 | DOOR | 12.B5
AF0084:52 | WC8012 | 008452 | SH | 20 | 12.B6 | XT8010:9 | DOOR | 12.C5
AF0084:38 | WC8013 | 008438 | RED | 20 | 12.C6 | XT8010:10 | DOOR | 12.C5
AF0084:06 | WC8013 | 008406 | BLK | 20 | 12.C6 | XT8010:11 | DOOR | 12.C5
AF0084:54 | WC8013 | 008454 | SH | 20 | 12.C6 | XT8010:12 | DOOR | 12.C5
UAI8000:4 | WC8120 | UAI80004 | RED | 20 | 13.A5 | XT8020:1 | DOOR | 13.A3
UAI8000:3 | WC8120 | UAI80003 | WHT | 20 | 13.A5 | XT8020:2 | DOOR | 13.A3
UAI8000:2 | WC8120 | UAI80002 | BLK | 20 | 13.A5 | XT8020:3 | DOOR | 13.A3
UAI8000:IE | WC8120 | UAI8000S | SH | 20 | 13.A5 | XT8020:4 | DOOR | 13.A3
UAI8001:4 | WC8121 | UAI80014 | RED | 20 | 13.B5 | XT8020:5 | DOOR | 13.B3
UAI8001:3 | WC8121 | UAI80013 | WHT | 20 | 13.B5 | XT8020:6 | DOOR | 13.B3
UAI8001:2 | WC8121 | UAI80012 | BLK | 20 | 13.B5 | XT8020:7 | DOOR | 13.B3
UAI8001:IE | WC8121 | UAI8001S | SH | 20 | 13.B5 | XT8020:8 | DOOR | 13.B3
UAI8002:4 | WC8122 | UAI80024 | RED | 20 | 13.C5 | XT8020:9 | DOOR | 13.C3
UAI8002:3 | WC8122 | UAI80023 | WHT | 20 | 13.C5 | XT8020:10 | DOOR | 13.C3
UAI8002:2 | WC8122 | UAI80022 | BLK | 20 | 13.C5 | XT8020:11 | DOOR | 13.C3
UAI8002:IE | WC8122 | UAI8002S | SH | 20 | 13.C5 | XT8020:12 | DOOR | 13.C3
UAI8003:4+ | WC8123 | UAI80034 | RED | 20 | 14.A5 | XT8020:13 | DOOR | 14.A4
UAI8003:5- | WC8123 | UAI80035 | BLK | 20 | 14.A5 | XT8020:14 | DOOR | 14.A4
UAI8003:IE | WC8123 | UAI8003S | SH | 20 | 14.A5 | XT8020:15 | DOOR | 14.A4
UAI8004:4+ | WC8124 | UAI80044 | RED | 20 | 14.B5 | XT8020:16 | DOOR | 14.B4
UAI8004:5- | WC8124 | UAI80045 | BLK | 20 | 14.B5 | XT8020:17 | DOOR | 14.B4
UAI8004:IE | WC8124 | UAI8004S | SH | 20 | 14.B5 | XT8020:18 | DOOR | 14.B4
UAI8005:4+ | WC8125 | UAI80054 | RED | 20 | 14.B5 | XT8020:19 | DOOR | 14.B4
UAI8005:5- | WC8125 | UAI80055 | BLK | 20 | 14.B5 | XT8020:20 | DOOR | 14.B4
UAI8005:IE | WC8125 | UAI8005S | SH | 20 | 14.B5 | XT8020:21 | DOOR | 14.B4
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 3/6/2026 6:04 AM

## Panel Errors
Panel Errors
Project # | J1500
Project Name | NOC ASCAB-A-4201
Revision | 0.2
Controls DE | F.CASTANEDA
Phone: | 0
Controls ME | G.CATO
Phone:
From | [6 empty] | To
Device ID | Location | Cable (W) Conductor (SC) Jumper Clip (JC) | Wire ID | Wire No. | Gauge/Size | Page/Zone | Device ID | Location | Page/Zone
AT0190:USB | DOOR | SC | CABLE | AT0190K | USB | 6.C4 | AT0190K:KI | PANEL | 6.D5
RR0190A: -75 OHM | PANEL | SC | LEAD | * | --- | 3.D2 | XY0190A:BNC1 | PANEL | 3.D3
RR0190B: -75 OHM | PANEL | SC | LEAD | * | --- | 3.D2 | XY0190B:BNC1 | PANEL | 3.D3
RR0604A: -75 OHM | PANEL | SC | LEAD | * | --- | 3.C2 | XY0604A:BNC1 | PANEL | 3.C3
RR0604B: -75 OHM | PANEL | SC | LEAD | * | --- | 3.C2 | XY0604B:BNC1 | PANEL | 3.C3
XY0190B:BNC2 | PANEL | WC0190 | COAX | XY0190B | RG6/U | 3.D3 | XY0604B:BNC2 | PANEL | 3.C3
XY0190A:BNC2 | PANEL | WC0604 | COAX | XY0190A | RG6/U | 3.D3 | XY0604A:BNC2 | PANEL | 3.C3
XY0190A:T | PANEL | WC0190A | COAX | AT0190A | RG6/U | 3.D3 | AT0190:A | DOOR | 3.D3
XY0190B:T | PANEL | WC0190B | COAX | AT0190B | RG6/U | 3.D3 | AT0190:B | DOOR | 3.D3
XY0604A:T | PANEL | WC0604A | COAX | AP0604A | RG6/U | 3.C3 | AP0604:A | PANEL | 3.C3
XY0604B:T | PANEL | WC0604B | COAX | AP0604B | RG6/U | 3.C3 | AP0604:B | PANEL | 3.C3
SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Report date: 3/6/2026 6:04 AM

## Cable Part Numbers
Cable Part Numbers |  |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | J1500
Report date: 3/6/2026 6:04 AM
Project Name | NOC ASCAB-A-4201
Revision | 0.2
Controls DE | F.CASTANEDA
Phone: | 0
Controls ME | G.CATO
Phone:
Device ID |  | Part Number |  | Description
WC0001 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0002 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0003 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0004 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0005 |  | 1302073-36 |  | CABLE, ETHERNET - 36 INCHES
WC0190 |  | 1016769 |  | COAX, COMMUNICATION
WC0604 |  | 1016769 |  | COAX, COMMUNICATION
WC5540 |  | PART OF 1113568-200 |  | CABLE, 2 CONDUCTOR TRIMMED SHIELD PART OF HORN
WC8010 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8011 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8012 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8013 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8020 |  | 1022941-13 |  | TPE, 1 TRIAD TWISTED SHIELDED
WC8021 |  | 1022941-13 |  | TPE, 1 TRIAD TWISTED SHIELDED
WC8022 |  | 1022941-13 |  | TPE, 1 TRIAD TWISTED SHIELDED
WC8023 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8024 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8025 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8120 |  | 1022941-13 |  | TPE, 1 TRIAD TWISTED SHIELDED
WC8121 |  | 1022941-13 |  | TPE, 1 TRIAD TWISTED SHIELDED
WC8122 |  | 1022941-13 |  | TPE, 1 TRIAD TWISTED SHIELDED
WC8123 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8124 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC8125 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC9010 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC9011 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC9012 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC9013 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC9014 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC9015 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED
WC9016 |  | 1022941-12 |  | TPE, 1 PAIR TWISTED SHIELDED

## Part Number List
Part Number List |  | SolarTools ver. 24.0.84.24712 (Jul 31, 2025)
Project # | J1500
Report date: 3/6/2026 6:04 AM
Project Name | NOC ASCAB-A-4201
Revision | 0.2
Controls DE | F.CASTANEDA
Phone: | 0
Controls ME | G.CATO
Phone:
Device ID | Part Number | Description | Location
AF0201 | 2684693-48,2684693-51 | 5094-IB32XT, 32 DISCRETE INPUT | DOOR
AF0202 | 2684693-49,2684693-52 | 5094-OB32XT, 32 DISCRETE OUTPUT | DOOR
AT0190 | 1577354-4502 | WORKSTATION, VERSA VIEW 1200H | DOOR
AU0200 | 2684693-22,PART OF TCP ASSEMBLY | 5094-AENTRXT, FLEX 5000 I/O | DOOR
FU0190 | 1043265-1,1043265-5 | FUSE, 10A | DOOR
FU0200 | 1043265-1,1043265-5 | FUSE, 10A | DOOR
FU0201 | 1043265-1,1043265-5 | FUSE, 10A | DOOR
FU0560 | 1043265-1,1043265-7 | FUSE, 20A | DOOR
GR0200 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | DOOR
HA0273 | 1103208-101 | HORN, AUDIBLE ALARM | DOOR
KA0080 | 1061979-1 | RELAY, SPARE RELAY | DOOR
KA0081 | 1061979-1 | RELAY, SPARE RELAY | DOOR
KA0082 | 1061979-1 | RELAY, SPARE RELAY | DOOR
RR0190A | 1046415-30 | RESISTOR, 75 OHM | DOOR
RR0190B | 1046415-30 | RESISTOR, 75 OHM | DOOR
SA0400 | 2380746-2 | SELECTOR SWITCH, SELECTOR RIGHT - N.O. | DOOR
SA0501 | 2380746-5 | SELECTOR SWITCH, SELECTOR CENTER - N.O. | DOOR
SB0400 | 2380746-4 | PUSHBUTTON SWITCH, EMERGENCY STOP | DOOR
SB0401 | 2380746-1 | PUSHBUTTON SWITCH, SPARE PUSHBUTTON | DOOR
SB0500 | 2380746-3 | LIGHTED SWITCH, SPARE LIGHTED PUSHBUTTON, GREEN | DOOR
XT0086 | 1074259-1 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | DOOR
XT0201 | 1066730-1 | TERMINAL STRIP, 4 CONDUCTOR | DOOR
XT0560 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | DOOR
XT0561 | 1066730-53,1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | DOOR
XT0562 | 1066730-53,1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | DOOR
XT0563 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | DOOR
XT8010 | 1074259-1 | TERMINAL STRIP, SYSTEM FUNCTION (USE) | DOOR
XT8020 | 1074259-2 | TERMINAL STRIP, IS, 2 CONDUCTOR | DOOR
AF0081 | 2684693-18,2684693-28 | 5094-IB16SXT, 16 DISCRETE INPUT, S | PANEL
AF0082 | 2684693-17,2684693-23 | 5094-IB16XT, 16 DISCRETE INPUT | PANEL
AF0083 | 2684693-17,2684693-24 | 5094-OB16XT, 16 DISCRETE OUTPUT | PANEL
AF0084 | 2684693-18,2684693-56 | 5094-IF8IHXT, 8 ANALOG INPUT, ISOLATED | PANEL
AF0085 | 2684693-19,2684693-33 | 5094-IY8XT, 8 ANALOG INPUT, TC/RTD/ I&V | PANEL
AF0086 | 2684693-21,2684693-36 | 5094-IRT8SXT, 8 RTD/TC ANALOG INPUT, S | PANEL
AF0091 | 2684693-17,2684693-25 | 5094-OB8XT, 8 DISCRETE OUTPUT | PANEL
AF0092 | 2684693-18,2684693-55 | 5094-OB16SXT, 16 DISCRETE OUTPUT, S | PANEL
AF0093 | 2684693-18,2684693-32 | 5094-IJ2ISXT, 2 FAST COUNTER INPUT, S | PANEL
AF0094 | 2684693-18,2684693-27 | 5094-OF8IHXT, 8 ANALOG OUTPUT, ISOLATED | PANEL
AF0095 | 2684693-18,2684693-30 | 5094-IF4IHSXT, 4 ANALOG INPUT, S | PANEL
AP0601 | 1089241-20 | MODULE, BLANK FILLER | PANEL
AP0602 | 1089241-40 | 1756-EN2TRXT, ETHERNET | PANEL
AP0603 | 1089241-40 | 1756-EN2TRXT, ETHERNET | PANEL
AP0604 | 1089241-41 | 1756-CN2RXT, CONTROLNET BRIDGE | PANEL
AP0605 | 1089241-20 | MODULE, BLANK FILLER | PANEL
AP0606 | 1089241-20 | MODULE, BLANK FILLER | PANEL
AR0600 | 1089241-29 | RACK CHASSIS, 1756-A7XT (7 SLOT) | PANEL
AT0190K | 1068334 | KEYBOARD, TYPING INTERFACE | PANEL
AT0600 | 1089241-43 | CONTROLLER^GUARDLOGIX, 1756-CONTROLLER | PANEL
AU0080 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | PANEL
AU0090 | 2684693-22 | 5094-AENTRXT, FLEX 5000 I/O | PANEL
CCGB0523 | CUSTOMER DEFINED | CUSTOMER CONNECTION, VOLTAGE INPUT: 100-240VAC/90-340VDC^FREQ INPUT: 50/60HZ^UPS POWER-1 | PANEL
FU0010 | 1043265-1,1043265-5 | FUSE, 10A | PANEL
FU0080 | 1043265-1,1043265-5 | FUSE, 10A | PANEL
FU0081 | 1043265-1,1043265-5 | FUSE, 10A | PANEL
FU0090 | 1043265-1,1043265-5 | FUSE, 10A | PANEL
FU0091 | 1043265-1,1043265-5 | FUSE, 10A | PANEL
FU0093 | 1043265-1,1043265-5 | FUSE, 10A | PANEL
FU0136 | 1043265-1,1043265-9 | FUSE, 30A | PANEL
FU0137 | 1043265-1,1043265-7 | FUSE, 20A | PANEL
FU0138 | 1043265-1,1043265-5 | FUSE, 10A | PANEL
FU0139 | 1043265-1,1043265-5 | FUSE, 10A | PANEL
FU0140 | 1043265-1,1043265-4 | FUSE, 5A | PANEL
FU0141 | 1043265-1,1043265-4 | FUSE, 5A | PANEL
FU0142 | 1043265-1,1043265-3 | FUSE, 2A | PANEL
FU0143 | 1043265-1,1043265-3 | FUSE, 2A | PANEL
FU0271 | 1043265-1,1043265-4 | FUSE, 5A | PANEL
GR0031 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | PANEL
GR0131 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | PANEL
GR0132 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | PANEL
GR0232 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | PANEL
GR0301 | 903849C1 | RAIL GROUND, DIN RAIL GROUNDING | PANEL
IEG0230 | 232941-300 | BUS BAR, INSTRUMENT EARTH GROUNDING | PANEL
KA0005 | 1119193-1 | RELAY, SPARE RELAY | PANEL
KA0006 | 1119193-1 | RELAY, SPARE RELAY | PANEL
KA0007 | 1119193-1 | RELAY, SPARE RELAY | PANEL
PEG0130 | 232941-110 | BUS BAR, PANEL POWER EARTH GROUNDING | PANEL
QS0011 | 1126803 | CIRCUIT BREAKER, DOUBLE POLE - RAIL MOUNTABLE | PANEL
RR0604A | 1046415-30 | RESISTOR, 75 OHM | PANEL
RR0604B | 1046415-30 | RESISTOR, 75 OHM | PANEL
RR0851 | 981090C1 | RESISTOR, 3.01K OHM | PANEL
RR0852 | 981089C1 | RESISTOR, 1.0K OHM | PANEL
UAI8000 | 1106298-11 | ISOLATOR, RESISTIVE TEMPERATURE DEVICE | PANEL
UAI8001 | 1106298-11 | ISOLATOR, RESISTIVE TEMPERATURE DEVICE | PANEL
UAI8002 | 1106298-11 | ISOLATOR, RESISTIVE TEMPERATURE DEVICE | PANEL
UAI8003 | 1053038-35 | ISOLATOR, THERMOCOUPLE ELEMENT | PANEL
UAI8004 | 1053038-35 | ISOLATOR, THERMOCOUPLE ELEMENT | PANEL
UAI8005 | 1053038-35 | ISOLATOR, THERMOCOUPLE ELEMENT | PANEL
UJ0131 | 1286570-1 | POWER CONVERTER, AC/DC INPUT TO 28V DC OUTPUT | PANEL
UV0271 | 1053038-19 | POWER FEED MODULE, INTRINSIC SAFETY | PANEL
UV0600 | 1089241-28 | POWER SUPPLY, RSLOGIX CHASSIS | PANEL
XT0032 | [2]1066730-7,[2]1066730-8,[2]1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | PANEL
XT0033 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | PANEL
XT0080 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | PANEL
XT0081 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | PANEL
XT0085 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | PANEL
XT0134 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | PANEL
XT0135 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | PANEL
XT0138 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | PANEL
XT0139 | 1066730-7,1066730-8,1067996-4 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | PANEL
XT9000 | 1074259-1 | TERMINAL BLOCK, SPRING, 4 CONDUCTOR,30-12 AWG (0.05-3.31 MM2),NON-IS | PANEL
XT-QS0011 | 1066730-16,1066730-17,1066730-18 | TERMINAL STRIP, 2 CONDUCTOR | PANEL
XY0190A | 1046415-100,1046415-28,1046415-30 | Y-TAP, CONTROL NET DISTRIBUTION | PANEL
XY0190B | 1046415-100,1046415-28,1046415-30 | Y-TAP, CONTROL NET DISTRIBUTION | PANEL
XY0604A | 1046415-100,1046415-28,1046415-30 | Y-TAP, CONTROL NET DISTRIBUTION | PANEL
XY0604B | 1046415-100,1046415-28,1046415-30 | Y-TAP, CONTROL NET DISTRIBUTION | PANEL